Part A - Prostheses List
December 2007
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Angioplasty, Laser

Pacing Importers Pty Ltd - Life Systems
PI001
Excimer Laser Stent
Polyester Fibre optic catheter
2.5 and 2.2mm
$6,800.00
PI002
Excimer Laser Stent
Polyester Fibre optic fibre catheter
0.457mm, 0.9mm, 1.4mm, 1.7mm and
$6,800.00

 2.0mm
Coronary Stents

Drug Eluting Stents

Abbott Australasia Pty Ltd
AY023
Xience V Everolimus Eluting Coronary 
Everolimus Eluting Coronary Stent System
2.50mm to 4.0mm diameter, 8mm to 
$3,450.00

Stent System
28mm length

Boston Scientific Australia Pty Ltd
BS074
Taxus on Express2 Coronary Stent System 
balloon expandable stent with conformal 
Length 8 - 32mm; Diameter 2.25 - 
$3,450.00

Models 38001-0822 to 0840; 38001-1222 to 
polymer/drug matrix coating, pre-mounted 
5.0mm

1250; 38001-1622 to 1650;
on high pressure monorail delivery catheter

38001-2022 to 2050; 38001-2422 to 2450; 

38001-2827 to 2850; 38001-3227 to

3250
BS099
Taxus Liberte Paclitaxel-Eluting Coronary 
316L Stainless Steel Stent with Translute 
2.0mm-5.0mm & 8.0mm-38mm
$3,450.00

Stent System
Polymer and Paclitaxel
BS125
Promus Everolimus Coronary Stent System
Cobalt chromium alloy stent coated with a 
Diameter 2.5, 3.0, 3.5 4.0mm. 
$3,450.00

blended polymer mixed with Everolimus.
Lengths 8, 12, 15, 18, 23, 28mm
Prostheses List by Category, Groups and Sponsor
Page 1 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
JJ302
CYPHER Sirolimus-Eluting Stent & 
Stainless steel coronary stent with 
Diameter 2.25 - 5.0mm, length 8-
$3,450.00

Delivery System Model  CRS - 23300, 
Rapamycin (an immunosuppressive and 
33mm

08225, 08250, 08275, 08300, 28225, 28250, 
antiproliferative drug) bound to the stent 

28275, 28300, 33225, 33250, 33275, 33300, 

13225, 13250, 13275, 18225, 18250, 18275, 

18300, 23225, 23250, 23275, 23350, 23400, 

08350, 08400, 28350, 28400, 33350, 33400, 

13300, 13350, 13400, 18350, 18400, 23450, 

23500, 28450, 28500, 33450, 33500, 08450, 

13450, 18450, 18500
JJ481
CYPHER SELECT Sirolimus-Eluting Stent 
Stainless steel coronary stent with Sirolimus 
Diameter 2.25 - 5.0mm, length 8 - 
$3,450.00

& Delivery System
(an immunosuppressive and anti-
33mm

proliferative drug) bound to the stent by a 

polymer. Model CRA-23300, 08225, 08250, 

08275, 08300, 28225, 28250, 28275, 28300, 

33225, 33250, 33275, 33300, 13225, 13250, 

13275, 18225, 18250, 18275, 18300, 23225, 

23250, 23275, 23350, 23400, 08350, 08400, 

28350, 238400, 33350, 33400, 13300, 13350, 

13400, 18350, 18400, 23450, 23500, 28450, 

28500, 33450, 33500, 08450, 13450, 18450, 

18500
JJ587
CYPHER Select Plus Sirolimus Eluting 
Stainless steel coronary stent with Sirolimus 
Diameter 2.25 - 5.00mm, Length 8 - 
$3,450.00

Coronary Stent
bound to the stent by a polymer
33mm

Medtronic Australasia Pty Ltd
MC732
Endeavour Drug Eluting Coronary Stent 
Cobalt Alloy, ABT - 578
Diameter: 2.25mm-4.5mm; Length: 
$3,450.00

System
8.00mm-38.0mm

General Purpose Bare Metal Stents

Abbott Australasia Pty Ltd
AY025
Stents
ACS Multilink Coronary Stent; ACS 
1.5mm - 8.0mm
$1,248.00

Megalink Peripheral Stent; ACS RX 

Herculink Peripheral Stent. Stainless steel
AY026
Multilink Coronary Stent System
Stainless Steel
Length 1.5mm - 8.0mm
$1,248.00
AY027
Multilink Coronary Stent System - Frontier
316L Stainless steel stent
Length 1.5 - 8.0mm
$2,496.00
AY028
Multilink Coronary Stent System - Vision
Cobalt chrome stent
Length 1.5 - 8.0mm
$1,248.00
Prostheses List by Category, Groups and Sponsor
Page 2 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Atrium Australia - Pacific Rim Pty Limited
AC022
Flyer RX Coronary Stent System
Stainless Steel Coronary Stent
Dia 2-5mm, Length 6-40mm
$780.00

Biotronik Australia Pty Ltd
BT058
Lekton Motion
Coated flexible stent, Balloon mounted
Diameter 2.5mm to 4mm, Length 8 -
$1,248.00

 30mm
BT065
Lekton Motion Mega
Amorphous silicon carbide coated
Diameter 4.5 and 5 mm; Length 13 -
$1,248.00

 40 mm
BT069
Lekton Motion Petite
Amorphous silicon carbide coated
Diameter 2, 2.25, 2.5mm; Length 8-
$1,248.00

20mm
BT082
PRO-Kinetic
Cobalth Chromium coronary stent system
8-40mm length 2-5mm diameter
$1,200.00

Boston Scientific Australia Pty Ltd
BS069
Express 2/Liberte Coronary Stent System,
Consists of a balloon expandable stent, pre-
Stent lengths: 8,12,16,20,24,28 & 32
$1,248.00

mounted on a Maverick 2 Monorail delivery 
 mm Stent diameters: 2.25, 2.5, 2.75,

catheter.
 3.0, 3.5, 4.0, 4.5 & 5.0 mm

Daralan Pty Ltd
DA001
S-Stent SRX1
316L Stainless Steel
SRX1 - 2510 2.5 x 8.5mm; SRX1 - 
$600.00

3010 3.0 x 8.5mm; SRX1 - 3510L 3.5 

x 8.5mm; SRX1 - 4010L 4.0 x 8.5mm;

 SRX1- 2512 2.5 x 11mm; SRX1 

23012 3.0 x 11mm; SRX1 - 3512L 3.5

 x 11mm; SRX1 - 4012L 4.0 x 11mm; 

SRX1 - 2515 2.5 x 14.4mm; SRX1 - 

3015 3.0 x 14.4mm; SRX1 - 3515L 3

Johnson & Johnson Medical Pty Ltd
JJ026
BX Velocity with Hepacoat System
Balloon expandable, stainless steel, heparin 
$1,220.00

coated
JJ200
BX Velocity Stent and Delivery System
Stainless steel stent
Diameter: 2.25-5.0 mm; Length 8 - 
$1,220.00

33 mm
JJ239
BX Sonic
Stainless steel coronary stent mounted on a 
Dia 2.25 - 4.0mm, lengths 8 - 33mm
$1,220.00

balloon delivery system
Prostheses List by Category, Groups and Sponsor
Page 3 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC197
Medtronic AVE S660 Coronary Stents, 
Stainless Steel
S660 Coronary Stent - Diameter 
$1,144.00

S670 Coronary Stents, S7 Coronary Stents, 
(2.5mm-2.75mm), Length (9mm-

BeStent2,
24mm); S670 & S7 Coronary Stent -

 Diameter (3mm-4mm), Length 

(9mm-30mm); BeStent2 - Diameter 

(2.5mm-4mm), Length (9mm-30mm);
MC329
Medtronic Driver, Micro Driver Coronary 
Cobalt Alloy
Driver Stent: diameter (2.25 - 
$1,248.00

Stent System
4.5mm), length (8-30mm); Micro-

Driver Stent: diameter (2.25 - 

2.75mm), length (8 - 24mm)

Neich Medical Pty Ltd
NM003
R Stent Evolution 2 Coronary Delivery 
316LVM Stainless Steel Balloon Expandable 
Lengths - 9-33mm; Diameters - 2.5-
$1,144.00

System
Stent (Tubular)
4.0mm

Pacing Importers Pty Ltd - Life Systems
PI003
Med-X-Flexy Stent
Tubular Stent, Stainless steel 316L, Gold 
Dia 5 - 9mm  length: 20 - 100mm
$780.00

markers

Terumo Corporation Australia
TU001
Tsunami Gold Coronary Stent
Stainless Steel mounted on balloon catheter
Diameter 2.0mm - 4.0mm, Length 
$1,248.00

10mm - 30mm length

Special Purpose Stents

Abbott Australasia Pty Ltd
AY012
JoStent Coronary Stent Graft
Stainless Steel/PTFE
9 - 26 mm x 2.5 - 5 mm
$3,222.00
CRT Pacemakers

Generation 1

Guidant Australia Pty Ltd
GU143
Contak Renewal TR CRT -P Model H120, 
Implantable cardiac pacemaker
45x54x8.5mm, 14cc, 26gm
$9,360.00

Model H125

Medtronic Australasia Pty Ltd
MC006
InSync model 8040 Stimulator
Titanium
14.4cc
$9,360.00
Prostheses List by Category, Groups and Sponsor
Page 4 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Generation 2

Biotronik Australia Pty Ltd
BT056
Stratos LV
Multiprogrammable, Biventricular, DDDRV
One size only
$12,480.00
BT085
Stratos LV-T
Multiprogrammable Biventricular DDDRV 
One size only
$12,480.00

with Home Monitoring

Guidant Australia Pty Ltd
GU142
Contak Renewal TR2 CRT - P Model H140, 
Implantable Cardiac pacemaker
45x54x8.5mm, 14cc, 26gm
$12,480.00

Model H145

Medtronic Australasia Pty Ltd
MC226
Medtronic Insync III Triple Chamber 
Titanium
One size only
$12,480.00

Pacemaker Model 8042

St. Jude Medical Australia Pty Ltd
SJ072
Frontier II - Model 5596
Biventricular Cardiac Resynchronisation 
49mm(h) x 52(1) x 6(t), 25g
$12,480.00

Device with AF suppression algorithm - 

Titanum
Dual Chamber ICDs

Generation 2

Progressive Medical
PG004
Alto II DR Dual Chamber Implantable 
One size only
$38,480.00

Cardioverter Defibrillator

Generation 3

Biotronik Australia Pty Ltd
BT053
Lexos DR
Dual chamber ICD, rate responsive pacing.
One size only.
$43,680.00
BT076
Lumos DR-T
Dual Chamber ICD with home monitoring
one size only
$43,680.00
BT091
Lumax 300 DR-T
ICD-DR with bidirectional Home Monitoring
One size only
$43,680.00

Guidant Australia Pty Ltd
GU111
Ventak Prizm II DR
Model 1861, titanium, dual chamber, 
One size only
$43,680.00

adaptive rate
Prostheses List by Category, Groups and Sponsor
Page 5 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GU132
Vitality DR Model 1871
This device acts to defibrillate the heart 
Model 1871 Vitality DR Dual 
$43,680.00

chambers when the patient enters into an 
Chamber Rate Responsive 

arrhythmia or uses shocks or anti tachy 
Pacemaker/Defibrillator

pacing to revert Ventricular Tachycardia 

(VT) or Ventricular Fibrillation (VF). While 

also acting as a dual chamber pacemaker.
GU149
Vitality 2 DR - Model T165
Implantable Cardiac Defibrillator
30cc ; 82g
$43,680.00
GU150
Vitality 2 EL DR - Model T167
Implantable cardiac Defibrillator
35cc ; 90g
$43,680.00

Medtronic Australasia Pty Ltd
MC363
EnTrust
Model D153DRG, Dual chamber, VT 
33cc, 63g
$43,680.00

Therapies, 30J
33cc, 63g

Progressive Medical
PG009
OVATIO DR 6550
Titanium dual chamber ICD, 29 cc
29cc
$43,680.00

St. Jude Medical Australia Pty Ltd
SJ049
Epic Plus DR Model V-236 Implantable 
Dual Chamber sensing, bradycardia pacing 
33cc
$43,680.00

Cardioverter Defibrillator
with atrial fibrillation suppression
SJ070
Epic + DR Model V-233 ICD
Dual Chamber Implantable Cardio-verter 
33cc 70g
$43,680.00

Defibrillator
SJ071
Epic + DR Model V-239 ICD
Dual chamber implantable cardio-verter 
33cc 70g
$43,680.00

defibrillator
SJ092
Epic II + DR V-258
Epic II + DR V-258 Implantable Cardioverter 
35cc, 72g
$43,680.00

Defibrillator
SJ101
Epic II DR V-255
Epic II DR V-255 Implantable Cardioverter 
34cc, 72g
$43,680.00

Defibrillator
Dual Chamber ICDs with CRT

Generation 1

Biotronik Australia Pty Ltd
BT081
Kronos LV-T
CRT ICD with home monitoring
one size
$40,560.00

Generation 2

Biotronik Australia Pty Ltd
BT088
Lumax 300 HF-T
CRT-D with bidirectional Home Monitoring
One size only
$45,760.00
Prostheses List by Category, Groups and Sponsor
Page 6 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Boston Scientific Australia Pty Ltd
BS112
Contak Renewal 4 RF CRT-D
CRT-D with RF telemetry, IS-1 connector 
39cc, 82g
$47,840.00

H230
BS113
Contak Renewal 4 RF CRT-D
CRT-D with RF telemetry, IS-1 connector 
39cc, 82g
$47,840.00

H235

Guidant Australia Pty Ltd
GU134
Contak Renewal 2
This device acts to defibrillate the heart 
One Size Only
$45,760.00

chambers when the patient enters into an 

arrhythmia or uses shocks or anti tachy 

pacing to revert Ventricular Tachycardia 

(VT) or Ventricular Fibrillation (VF). While 

also acting as a biventricular pacemaker.
GU147
Contak Renewal 4 CRT-D Model H190, 
Implantable dual-chamber defibrillator
One size only
$45,760.00

Model H195

Progressive Medical
PG007
OVATIO CRT-D 6750
Titanium, dual chamber ICD with CRT
30cc
$45,760.00

St. Jude Medical Australia Pty Ltd
SJ062
Epic HF Model V-339 Implantable Cardiac 
Cardioverter/defibrillator with dual chamber 
One size only
$45,760.00

Defibrillator
(atrial and RV) sensing and bradycardia 

pacing with ventricular resynchronisation
SJ067
Epic + HF Model V-350 ICD
Epic + HF V-350 ICD is a cardioverter 
36cc / 73g
$45,760.00

defibrillator with dual chamber (atrial and 

RV) sensing and bradycardia pacing with 

ventricular resynchronisation therapy.
SJ098
Epic II+ HF V-357
Epic II + HF V-357 Cardiac 
36cc, 74g
$45,760.00

Resynchronisation Therapy Defibrillator 

with V-V Timing programmability
SJ100
Epic II HF V-355
Epic II HF V-355 Cardiac resynchronisation 
36cc,73g
$45,760.00

Therapy Defibrillator with V-V Timing 

programmability
Dual Chamber Pacemakers

Generation 1

Boston Scientific Australia Pty Ltd
BS123
Insignia AVT 882
VDD Pacemaker
10.0cc, 23.5g
$5,200.00
Prostheses List by Category, Groups and Sponsor
Page 7 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Guidant Australia Pty Ltd
GU079
Pulsar Model VDD 870
Titanium
3.2mm/IS-1
$5,200.00

Medtronic Australasia Pty Ltd
MC727
Adapta Pacemaker
DDD Pacemaker
12.1cc
$5,200.00
$6,500.00

Models ADD01
27.1g

St. Jude Medical Australia Pty Ltd
SJ050
Verity ADx Model XL DC 5256 Dual - 
Dual Chamber multi-programmable rate-
11cc, 23.5g
$5,200.00

Chamber pacemaker
adaptive pacing devices with extended 

longevity
SJ061
Identity Adx Model XL DC 5286 Dual 
Identity ADx Model XL DC Model 5286 is 
11cc, 23.5g
$5,200.00

Chamber Pacemaker
an implantable, multi-programmable rate-

adaptive pacing device with AF suppression

Generation 2

Medtronic Australasia Pty Ltd
MC713
Adapta Pacemaker
VDDR Pacemaker
11.1cc
$6,760.00

Models ADVDD01
23.6g

St. Jude Medical Australia Pty Ltd
SJ054
Identity ADx Model VDR 5480 implantable 
Single Chamber multi-programmable rate-
8cc, 18g
$6,760.00

pacemaker
adaptive pacing device with extended 

longevity
SJ057
Verity ADx Model XL VDR 5456 
Single Chamber multi-programmable rate-
11cc, 23.5g
$6,760.00

implantable pacemaker
adaptive pacing device with extended 

longevity

Generation 3

Biotronik Australia Pty Ltd
BT029
Philos DR-A Model 122600 Implantable 
Multiprogrammable, rate responsive, DDDR
5mm ports, One size only
$9,360.00

Pacemaker
BT047
Protos DR/CLS
Dual chamber, rate responsive, closed loop 
One size only.
$9,360.00

system.
BT060
Philos II DR
Multiprogrammable, rate responsive, DDDR
One size only
$9,360.00
BT071
Philos II DR-T
Dual Chamber Rate Responsive with Home 
One size only
$9,360.00

Monitoring
Prostheses List by Category, Groups and Sponsor
Page 8 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BT079
Cylos DR-T
Dual chamber dual sensor rate responsive 
one size
$9,360.00

with home monitoring system option

Boston Scientific Australia Pty Ltd
BS126
Insignia AVT 1292
Dual chamber pacemaker
10.8cc, 25.4g
$9,360.00

Guidant Australia Pty Ltd
GU120
Insignia Plus DR Model 1297, Insignia Plus
Dual Chamber Rate Responsive Permanent 
One size only
$9,360.00

 DR Model 1298
Pacemaker
GU121
Insignia Entra DR Models 1294,1295,1296
Dual Chamber Rate Responsive Permanent 
One size only
$9,360.00

Pacemaker
GU140
Insignia Ultra DR Model 1291
Implantable Cardiac Pacemaker
One size only
$9,360.00
GU141
Insignia Ultra DR Model 1290
Implantable Cardiac Pacemaker
One size only
$9,360.00

Progressive Medical
PG002
Talent II DR Pacemaker Model 233
Dula Chamber Pacemaker. 99% titanium
57.5 x 37.2 x 8mm
$9,360.00
PG005
Symphony DR 2550
Active Implantable pacemaker
1 size only
$9,360.00

St. Jude Medical Australia Pty Ltd
SJ051
Verity Adx Implantable Pacemaker, Models
Dual - Chamber, multi-programmable, rate-
45x52x6mm,11cc, 23g, 5mm or 6mm 
$9,360.00

 XL DR 5356 and XL DR 5357M/S
responsive pacemaker withAF suppression
M/S
SJ056
Integrity ADx Model DR 5360 and XL DR 
Dual-Chamber, multi-programmable, rate-
Model DR 5360 - 8cc, 18g, Model 
$9,360.00

5366
responsive pacemaker with AF suppression
XL DR 5366 - 11cc, 23.5g
SJ059
Identity ADx Models DR 5380 and XL DR 
Dual-Chamber, multi-programmable, rate-
ADx DR 5380: 43x44x6mm, 18g and 
$9,360.00

5386
adaptive pacing devices with AF suppression
8cc

ADx XL DR 5386: 44x52x6mm, 

23.5g and 11cc
SJ089
Victory XL DR 5816 and DR 5810
Dual Chamber Rate Responsive Pacemakers
44x52x6mm; 23.5g; 11cc
$9,360.00

Generation 4

Medtronic Australasia Pty Ltd
MC726
Adapta Pacemaker
DR Pacemaker
11.1-14.2cc
$11,440.00

Models ADDR01, ADDRS1, ADDRL1, 
23.6g-31.3g

ADDR06, ADDR03

St. Jude Medical Australia Pty Ltd
SJ103
Zephyr XL DR 5826 and DR 5820
Dual Chamber Rate-Responsive Pacemaker
5826 - 23.5g, 11cc and 5820 - 18g, 
$11,440.00

8.5cc
Prostheses List by Category, Groups and Sponsor
Page 9 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Device, Internal, Plate

Biomet Australia Pty Ltd
BI930
Sternalock
Plates - xyphoid, "L" & square
4 hole
$195.00
BI931
Sternalock
Plates - "X" & "T"
5-8 hole
$300.00
Fixation Device, Internal, Screw

Biomet Australia Pty Ltd
BI929
Sternalock
Screws Ti
2.4-2.7mm x 8-12mm
$44.00
Group 1- Cardiothoracic Mechanical Valves

Group 1a - Ball Valve, Standard

Edwards Lifesciences Pty Ltd
EL029
SE SIL Ball Valve Aortic Models 1200/1260,
Starr Edwards - Silastic Ball Valve. 
16mm-34mm
$3,930.00

 SE SIL Ball Valve Mitral Model 6120
Composition: Stellite Alloy No. 21; 

Polytetrafluroethelyne; polypropylene cloth;

 Silicone rubber (contains 2% by weight 

barium sulphate for radiopacity)

Group 1c - Bi-Leaflet, rotatable

Advanced Biomedical Pty Ltd
AB002
ATS medical open pivot heart valve model 
Pyrolythic Carbon, Double Velour Polyester,
16-33mm
$6,000.00
$6,200.00

500FA standard flexi-cuff aortic valve 
 Titanium

series, ATS medical open pivot heart valve

 model 500DM standard flexi-cuff mitral 

valve series
AB064
ATS medical open pivot heart valve model 
Pyrolythic Carbon, Double Velour Polyester,
16-33mm
$6,000.00
$6,200.00

501DA advanced performance (AP) aortic 
 Titanium

valve series, ATS medical open pivot heart

 valve model 501DM advanced 

performance (AP) mitral valve series
Prostheses List by Category, Groups and Sponsor
Page 10 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC292
Advantage Heart Valve - Aortic Model 
A7760 - Pyrolytic carbon, PET
Diameter 19-31 mm
$6,000.00

A7760
MC324
Advantage Supra Aortic  Heart Valve
Mechanical Heart Valve Pyrolite Carbon 
Diameter (mm): 19 - 25
$6,000.00

leaflets Pyrolite carbon ring
MC681
Advantage Mitral
Mechanical Heart Valve
23mm-33mm
$6,000.00

Reid Healthcare
RH001
Aortic On-X Prosthetic Heart Valve 
27-29mm, 19mm, 21mm, 23mm, 
$5,500.00

Models ONXA-19; ONXA-21; ONXA-23; 
25mm, 25-33mm, 27-29mm, 31-

ONXA-25; ONXA-27/29; ONXM-23; 
33mm, 23mm, 25mm

ONXM-25; ONXM-27/29; ONXM31/33; 

ONXMC25/33

St. Jude Medical Australia Pty Ltd
SJ037
St Jude Medical Aortic Expanded Cuff 
Aortic Expanded Cuff, Aortic Hemodynamic 
Aortic Expanded 19 -31mm, Aortic 
$6,000.00

Heart Valve; St Jude Medical Aortic 
Plus Cuff, Mitral Hemodynamic Cuff, Aortic 
Hemodynamic 17 - 27mm, Mitral 

Hemodynamic Plus Cuff Heart Valve; St 
& Mitral Rotatable Cuff
Hemodynamic 17 -27mm, Rotatable

Jude Medical Mitral Hemodynamic Plus 
 17 - 33mm

Cuff Heart Valve; St Jude Medical 

Mechanical Heart Valve Masters Series
SJ039
Regent Prosthestic Heart Valves
Standard Cuff - Model 17AGFN-751 - 
Standard cuff - 17-23mm, Flex cuff -
$6,500.00

23AGFN-751, Flex Cuff - Mode 17AGFN-756 
 17-23mm

- 23AGFN-756
SJ116
Regent Prosthestic Heart Valves
Standard Cuff - Model 25AGFN-751 - 
Standard cuff - 25-29mm, Flex cuff -
$6,000.00

29AGFN-751, Flex Cuff - Mode 25AGFN-756 
 25-29mm

- 29AGFN-756

Tag Medical
TM003
Optiform
Mechanical Valve
19mm to 33mm
$5,500.00

Group 1e - Tilting Disc, rotatable

Medtronic Australasia Pty Ltd
MC013
Medtronic Hall Heart Valve Aortic Model 
A7700/M7700 Titanium. Pyrolite. Dacron, 
A7700 - Diameter 20-31mm, M7700 
$5,100.00
$5,625.00

A7700, Medtronic Hall Heart Valve Mitral 
A7700EZ/M7700EZ Titanium. Pyrolite. PET
- Diameter 23-33mm, A7700EZ - 

Model M7700, Hall Easy Fit Aortic Heart 
Diameter 19-29mm, M7700EZ - 

Valve Model A7700, Hall Easy Fit Mitral 
Diameter 23-31mm

Heart Valve Model M7700
Prostheses List by Category, Groups and Sponsor
Page 11 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 2 - Cardiothoracic Tissue Valves

Group 2a - Stented, porcine

Edwards Lifesciences Pty Ltd
EL030
CE Supra Annular Aortic Valve Model 
Carpentier-Edwards SAV Bioprosthesis. 
19mm-33mm
$4,445.00

2650 Carpentier-Edwards S.A.V 
Composition: Porcine Valve; Elgiloy Alloy; 

Bioprosthesis Model 6650 Mitral Valve
Silicone Rubber, Polytetrafluoroethylene

Medtronic Australasia Pty Ltd
MC701
Mosaic Cinch, Aortic, Mitral
Models 305cxx, 310cxx
19mm - 35mm
$4,445.00
$5,345.00

St. Jude Medical Australia Pty Ltd
SJ069
St Jude Medical Biocor Porcine Prosthetic 
St Jude Medical Biocor Porcine Prosthetic 
Aortic Valves - Tissue Annulus 
$4,445.00

Heart Valve
Heart Valve is manufactured from selected 
Diameter - 21-29mm,  Implant 

procine aortic valve cusps that have been 
Height - 11-15c;  Mitral Valves - 

cross-linked with a glutaraldehyde solution
Tissue Annulus Diameter - 25-

35mm, Implant Height - 8-10mm

Group 2b - Stented, pericardial

Edwards Lifesciences Pty Ltd
EL031
Carpentier-Edwards Perimount Pericardial 
Carpentier-Edwards Pericardial 
Models 2900/6900 19-33mm, Model
$5,000.00

Bioprosthesis - Models 2900/6900  
Bioprosthesis. Composition: Bovine 
 6900P 25, 27, 29, 31, 33mm

Carpentier-Edwards Perimount Plus 
Pericardium; Elgiloy Alloy; Silicone Rubber, 

Pericardial Bioprosthesis Mitral - Model 
Polytetrafluoroethylene

6900P
EL039
Edwards Perimount Magna Model 3000
Carpentier-Edwards Perimount Magna 
19MM Aortic Pericardial Tissue 
$5,000.00
$5,690.00

composition: Glutaraldehyde treated bovine 
Valve; 21MM Aortic Pericardial 

pericardium/elgiloy wireform stent/polyester 
Tissue Valve; 23MM Aortic 

band/silicone rubber suture 
Pericardial Tissue Valve; 25MM 

ring/polytetrafluoroethylene cloth/polyester 
Aortic Pericardial Tissue Valve; 

cloth.
27MM Aortic Pericardial Tissue 

Valve; 29MM Aortic Pericardial 

Tissue Valve

Tag Medical
TM039
Mitroflow
Pericardial Bioprosthesis
19-27mm
$4,700.00
Prostheses List by Category, Groups and Sponsor
Page 12 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2c - Non-Stented, porcine

Edwards Lifesciences Pty Ltd
EL032
Baxter Edwards Prima Plus Stentless 
Edwards Prima Plus. Porcine Valve; Woven 
19mm-29mm for pack of 7 items
$4,841.00

Bioprosthesis Model 2500P Prosthetic 
Polyester Cloth.

Heart Valve

Medtronic Australasia Pty Ltd
MC015
Freestyle bioprosthesis
Models 995xx, 995MSxx
19 - 35mm
$5,110.00
$5,350.00

St. Jude Medical Australia Pty Ltd
SJ038
St Jude Medical Toronto SPV Valve Model
Tissue Heart Valves, Bioimplant
TSPV: 21 - 29mm, Bioimplant 
$4,900.00

 SPA-101, St Jude Medical Bioimplant 
Aortic: 21-27mm, Bioimplant 

Heart Valve
Mitral: 27-32mm
Group 3 - Cardiothoracic Valve Conduits

Group 3a - Mechanical Valve

Advanced Biomedical Pty Ltd
AB001
ATS Medical open pivot aortic valved 
Pyrolythic Carbon, Double Velour Polyester,
21- 33mm
$6,950.00
$7,100.00

graft model 502AG
 Titanium

Medtronic Australasia Pty Ltd
MC198
Medtronic Hall rotatable aortic valved 
Titanium, pyrolite, dacron
20 - 33mm
$6,950.00

collagen impregnated conduit Model 

St. Jude Medical Australia Pty Ltd
SJ036
St Jude Medical Coated Aortic Valved 
Coated Aortic Valved Graft 
21mm - 33mm
$6,950.00
SJ104
SJM Masters Series Aortic Valved 
St Jude Medical Mechanical Heart Valve 
Annulus Diameter 19-29mm
$6,950.00

Prosthesis - VAVGJ
sewn into the base of a woven polyester 

fibre graft which has been impregnated with 

bovine-derived gelatin

Tag Medical
TM002
CarboSeal Ascending Aortic Prosthesis, 
Mechanical Conduit
AP 21-33mm, CP 21 - 33mm
$6,950.00

sterile, CarboSeal Ascending Aortic 

Prosthesis with Handle Model AP21, 

Model AP23, Model AP25, Model AP27, 

Model AP29, Model AP31, Model AP33, 

Carboseal Valsalva
Prostheses List by Category, Groups and Sponsor
Page 13 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 3b - Tissue Valve, stented porcine

Medtronic Australasia Pty Ltd
MC012
Medtronic Hancock Valved Conduit Model
Porcine bioprosthesis, dacron
12, 14, 16, 18, 20, 22, 25, 30mm.
$5,900.00
$6,800.00

 100/150
Group 4 - Cardiothoracic Atrio-Ventricular Rings and Bands

Group 4a - Ring, Standard

Edwards Lifesciences Pty Ltd
EL028
Baxter Sterile Grafts, Implants & 
Carpentier-Edwards Classic Annuloplasty 
24mm-40mm
$2,200.00

Prostheses, Non-Animal Origin 
Ring. Composition: Titanium Alloy; Silicone 

Annuloplasty: Ring-Mitral Ring with 
Rubber; Polyester Fabric Carpentier-

Holder; Mitral Cosgrove-Edwards 
Edwards Physio Annuloplasty Ring. 

Annuloplasty System Model 4600; Classic 
Composition: Elgiloy Bands; Polyester Film 

Annuloplasty Ring-Tricuspid
Strips; Silicone Rubber; Polyester Cloth, 

Cosgrove-Edwards Annuloplasty Band. 

Composition: Silicone Rubber; Polyester 

Cloth. Carpentier-Edwards Tricuspid Ring. 

Composition: Titanium Alloy; Silicone 

Rubber; Polyester Fabric

Medtronic Australasia Pty Ltd
MC005
Medtronic Duran Annuloplasty Ring; 
Annuloplasty Devices - Models 610R & 
Model 610R 25-35mm & Model 
$2,200.00

Duran Ancore Ring 620R; Duran Ancore 
620R Silicone / Barium Sulphate, Dacron.
620R 23-35mm

Chordal Model 620RG

St. Jude Medical Australia Pty Ltd
SJ035
SJM Tailor Annuloplasty Ring
Fully Flexible
25mm - 35mm
$2,200.00

Tag Medical
TM001
AnnuloFlo Annuloplasty System
Annuloflex Ring or AnnuloFlo Ring
26-36mm
$2,000.00

Group 4b - Ring, with modification

Edwards Lifesciences Pty Ltd
EL049
Edwards Etlogix Annuloplasty Ring
Titanium/silicon/dacron polyester 
24mm/26mm/28mm/30mm/32mm/34
$2,400.00

cloth/plastic template Mitral valve annular 
mmd

repair device designed specifically for 

patients with Ischemic Mitral regurgitation
Prostheses List by Category, Groups and Sponsor
Page 14 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC745
CG Future Composite Ring
Semi-rigid mitral annuloplasty ring, with 
24, 26, 28, 30, 32, 34, 36 & 38mm
$2,400.00

anterior flexibility

St. Jude Medical Australia Pty Ltd
SJ087
St Jude Medical Rigid Saddle Ring
Rigid Annuloplasty Ring
24 - 34mm
$2,400.00

Group 4c - Band, Standard

Edwards Lifesciences Pty Ltd
EL050
Edwards MC3 Tricuspid Annuloplasty 
Annuloplasty Ring, 
26mm to 36mm in 2mm increment
$2,400.00

System
titanium/silicone/polyester velour 

cloth/plastic template

Group 4d - Band, with modification

Medtronic Australasia Pty Ltd
MC709
Posterior Annuloplasty Band;  Colvin - 
Annuloplasty - Model 610B & 620B Silicone 
Model 610B: 25-35mm; Models 
$2,200.00

Galloway Future Band Model 638B; Duran 
/ Barium Sulphate, Dacron. Models 638B 
620B & 620BG: 23-35mm, Model 

Ancore Band 620B; Duran Ancore Chordal
semi-regid metal alloy core, silicone coating, 
638B - 26-38mm

 Model 620BG
polyester knit fabric, kit includes-band, 

malleable handle, template with suture 

markers, sizers

St. Jude Medical Australia Pty Ltd
SJ088
SJM Tailor Annuloplasty Band
Flexible double-velour, polyester fabric
25 - 35mm
$2,200.00
Group 5 - Cardiothoracic Membranes and Patches

Group 5a - Tissue

Edwards Lifesciences Pty Ltd
EL033
Baxter Augmentation / Substitution 
Edwards Pericardial Patch. Bovine 
10cm x 16cm
$760.00

Material, Human or Animal Origin, Sterile 
Pericardium.

Pericardial Patch. 

Group 5b - Synthetic, Cardiovascular

W L Gore & Associates
GT117
Gore-Tex - Cardiovascular Patch
ePTFE
0.4mm Thickness 2 x 9cm
$240.00
Prostheses List by Category, Groups and Sponsor
Page 15 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT118
Gore-Tex - Cardiovascular Patch
ePTFE
0.4mm - 3 x 6cm
$280.00

0.6mm - 2.5cm x 15cm & 5cm x 

7.5cm
GT120
Gore-Tex  Cardiovascular Patch
ePTFE
0.6mm Thickness 5 x 15cm
$521.00
GT121
Gore-Tex Cardiovascular Patch
ePTFE
0.6mm Thickness 10 x 15cm
$945.00
GT126
Acuseal Cardiovascular Patch Vascular
ePTFE
0.5mm Thickness 1 x 9cm; 0.8 x 7.5cm
$223.00
GT127
Acuseal Cardiovascular Patch Cardiac
ePTFE
0.5mm Thickness 3 x 6cm & 5 x 7.5cm
$270.00

Group 5c - Synthetic, Non-cardiovascular

W L Gore & Associates
GT122
Preclude Pericardial Membrane
ePTFE
0.1mm Thickness 6 x 12cm
$360.00
GT123
Preclude Pericardial Membrane
ePTFE
0.1mm Thickness 8 x 16cm
$643.00
GT124
Preclude Pericardial Membrane
ePTFE
0.1mm Thickness 12 x 12cm
$748.00
GT125
Preclude Pericardial Membrane
ePTFE
0.1mm Thickness 15 x 20cm
$1,455.00
Group 6 - Cardiothoracic Assisted Anastomic Devices

Medtronic Australasia Pty Ltd
MC680
Spyder
Proximal Anastomotic Device
6-clip assembly
$590.00
Group 7 - Cardiothoracic Assisted Fixation Devices

Medtronic Australasia Pty Ltd
MC714
U-Clips (Valve Repair)
Double Arm, Mitral Valve Repair
2-packs
$510.00
Prostheses List by Category, Groups and Sponsor
Page 16 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 8 - Cardiothoracic Grafts (Proximal Aorta)

Group 8b Modified Tube

Terumo Corporation Australia
TU036
Gelweave Valsalva Graft
Woven vascular prosthesis, polyester, 
Diameter 24 - 34 mm, Overall length
$3,320.00

gelatin sealed
 18.4 - 19.6cm

Group 8c Tube with one side branch

Terumo Corporation Australia
TU038
Gelweave Graft
Straight Thoracic Graft, with antiflo side 
20 -34 mm x 20-40 cm
$1,715.00

branch, Polyester, woven, gelatin sealed

Group 8d Tube with multiple side branches (more than 1)

Terumo Corporation Australia
TU037
Gelweave Plexus Graft
Multi Branched, for Aortic Arch 
20 - 34 mm x 40 cm
$2,150.00

reconstruction, Polyester, Woven, gelatin 

sealed
ICD Leads

Group 1 - Coronary Sinus Leads

Medtronic Australasia Pty Ltd
MC026
Medtronic Transvene SVC Lead Model 
Model 6937-35, Model 6937-52, Model 6937-
35 - 110cm x  660mm
$2,340.00

6937;
58, Model 6937-110; Silicone;

Group 4 - Transvenous/Non steroid/Passive Leads

Progressive Medical
PG003
Swift 4040 1CT lead
length 58 cm - 69 cm
$7,280.00

Group 5 - Transvenous/Steroid/Passive Leads

Biotronik Australia Pty Ltd
BT077
Kentrox SL steriod
Dual shock coil fractal steroid eluting 
65, 75cm lengths
$9,000.00

passive fixation electrode
Prostheses List by Category, Groups and Sponsor
Page 17 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BT078
Kentrox RV Steroid
single shock coil fractal steroid eluting 
65, 75 cm lenghts
$9,000.00

passive fixation electrode
BT092
Linox TD
Fractal and steroid coated passive fixation 
65, 74 or 100cm length and 16 or 
$9,360.00

quadripolar ICD lead
18mm electrode spacing
BT093
Linox T
Passive fix RV bipolar fractal coated steroid 
65, 75cm length
$9,360.00

ICD lead

Guidant Australia Pty Ltd
GU112
Endotak Reliance S Lead
Model 0127 & Model 0128, defibrillation 
59cm, 64cm
$7,500.00

lead, 9fr introducer (silicone coated), steroid 

eluting, high impedence
GU115
Endotak Reliance Lead
Model 0147, Model 0148 & Model 0149, 
59cm, 64cm, 90cm
$7,500.00

defibrillation lead, 9fr introducer (silicone 

coated), steroid eluting, high impedence
GU158
Endotak Reliance SG Passive Fixation Lead
Endotak Reliance SG Passive Fixation Lead: 
54cm - 90cm
$7,200.00

Models 0170, 0171, 0172, and 0173 

Implantable cardioverter defibrillator lead 

with GORE ™ ePTFE covered coils.
GU159
Endotak Reliance G Passive Fixation Lead
Endotak Reliance G Passive Fixation Lead: 
54cm -90cm
$7,200.00

Models 0174, 0175, 0176 and 0177. 

Implantable Cardioverter defibrillator lead 

with GORE ™ ePTFE covered coils

Medtronic Australasia Pty Ltd
MC002
Medtronic Sprint Quattro Lead Model 
Silicone and polyurethane
65-100cm
$9,360.00

6944RV/SVC 65cm; Model 6944RV/SVC 

75cm; or Model 6944RV/SVC 100cm; 

Medtronic Sprint Quattro Lead Model 

6944RV/SVC 58cm
MC696
Sprint Fidelis Lead
Model 6948, dual-coil, tined
58-100cm
$9,360.00
$10,000.00
MC698
Sprint Fidelis Lead
Model 6930, single-coil, tined
58-100cm
$9,360.00
$10,000.00

St. Jude Medical Australia Pty Ltd
SJ016
Riata Transvenous Tachyarrhythmia Lead 
Quadripolar, dual-coil, steroid eluting, active
One size only
$9,360.00

Model 1570, Model 1571
 fixation tachyarrhythmia leads
SJ083
Riata Transvenous Tachyarrhythmia Lead 
Tri-polar Passive-Fixation, Steroid Eluting, 
60cm, 65cm, 8F introducer
$9,360.00

Model 1572
Single Shock Coil Tachyarrhythmia Lead
SJ085
Riata iTransvenous Tachyarrhythmia 
Passive Fixation, Steroid-Eluting, Dual 
60cm, 65cm, 70cm, 8F introducer
$9,360.00

Leads Models 1560 and 1561
Shock Coil Defibrillation Lead
Prostheses List by Category, Groups and Sponsor
Page 18 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SJ086
Riata i Transvenous Tachyarrhythmia Lead
Passive Fixation, Steroid Eluting, Single 
60cm, 65cm, 70cm, 8F introducer
$9,360.00

 Model 1562
Shock Coil Defibrillation Lead
SJ110
Riata ST Transvenous Tachyarrhythmia 
Riata ST 7040/41 Passive-Fixation True-
60 - 75cm, 6.3 Fr, 7 Fr Introducer
$9,360.00

Leads 7040/41/42 and 7050/51/52
Bipolar, Dual-Coil, Steroid-eluting, 

Endocardial Defibrillation Leads, 7042 - 

Single Coil, 7050/51 - Integrated Bipolar, 

Dual Coil, 7052 - Integrated Bipolar, Single 

Coil
SJ113
Riata i TransvenousTachyarrhythmia 
Riata i 1950/51 - Passive-Fixation Integrated-
60 - 75cm
$9,360.00

Leads  1950/51
Bipolar, Dual-Coil, Steroid-Eluting, 

Endocardial Defibrillation Leads

Group 6 - Transvenous/ Steroid/Active Leads

Biotronik Australia Pty Ltd
BT064
Kentrox SL-S steroid
Fractal coated steroid electrode, dual shock 
16 and 18 cms tip to second shock 
$7,488.00

coil
coil
BT068
Kentrox RV-S steroid
Fractal coated steroid electrode, single 
65cm lengths
$7,488.00

shock coil
BT084
Linox SD
Fractal coated and steroid electrode, active 
65, 75cm length, 16, 18mm elec dis
$9,360.00

fixation quadrapolar
BT096
Linox S
Active fix RV bipolar fractal coated steroid 
65, 75cm length
$9,360.00

IC lead

Guidant Australia Pty Ltd
GU118
Endotak Endurance EZ Leads Model 0154, 
Defibrillation lead, steroid eluting, trilumen 
64, 70, 100cm
$7,500.00

Model 0155, Model 0156
lead body contains one conductor for 

pacing/sensing and two conductors for 

defibrillation.  The helix is composed of 

platinum iridium.
GU145
Endotak Reliance G Lead Model 0164, 
Implantable defibrillator/pacemaker lead
Lead Lengths: 59 - 90cm
$9,000.00

Model 0165, Model 0166, Model 0167
GU146
Endotak Reliance SG Lead Model 0160, 
Implantable defibrillator/pacemaker lead
Lead Lengths: 59 - 90cm
$9,000.00

Model 0161, Model 0162, Model 0163
GU160
Endotak Reliance Active Fixation Lead
Endotak Reliance Active Fixation Lead: 
54cm - 90cm
$7,200.00

Models 0157, 0158 and 0159 Implantable 

cardioverter defibrillator lead
GU161
Endotak Reliance S Active Fixation Lead
Endotak Reliance S Active Fixation Lead: 
54cm - 90cm
$7,200.00

Models 0137, 0138 and 0139
Prostheses List by Category, Groups and Sponsor
Page 19 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GU163
ENDOTAK RELIANCE G Lead 018 Series
Endotak Reliance G Lead: Models 0184 to 
59-90cm
$7,200.00

0187.  Implantable cardioverter defribrillator 

lead.  Active fixation.
GU164
ENDOTAK RELIANCE SG Lead 018 Series
Endotak Reliance SG Lead: Models 0180 to 
59-90cm
$7,200.00

0183.  Implantable cardioverter defibrillator 

lead.  Active fixation.

Medtronic Australasia Pty Ltd
MC208
Medtronic Sprint Quattro Secure Lead 
Leads, Defibrillator, Implantable, Silicone, 
58-100cm
$9,360.00

Model 6947 58cm; Model 6947 65cm; 
polyurethane, platinized tantalum coils, 

Model 6947 75cm; Model 6947 100cm
steroid eluting tip
MC695
Sprint Fidelis Lead
Model 6949, dual-coil, screw-in
58-100cm
$9,360.00
$10,000.00
MC697
Sprint Fidelis Lead
Model 6931, single-coil, screw-in
58-100cm
$9,360.00
$10,000.00

St. Jude Medical Australia Pty Ltd
SJ074
Riata Transvenous tachyarrhythmia Leads 
Tri-polar Active - Fixation, Steroid-Eluting, 
60cm, 65cm, 8F introducer
$9,360.00

Model 1582
Single shock Coil Tachyarrhythmia; Lead
SJ075
Riata Transvenous Tachyarrhythmia Lead 
Quadripolar, dual-coil, steroid eluting, active
One size only
$9,360.00

Model 1580, Model 1581
 fixation tachyarrhythmia leads
SJ081
Riata i Transvenous Tachyarrhythmia 
Active fixation leads, Steroid Eluting, Dual 
60cm, 65cm, 75cm, 8F introducer
$9,360.00

Leads Model 1590/1591
Shock Coil Defibrillation Lead
SJ084
Riata i Transvenous Tachyarrhythmia Lead
Active Fixation, Steroid Eluting, Single 
60cm, 65cm, 75cm, 8F introducer
$9,360.00

 Model 1592
Shock Coil Defibrillation Lead
SJ096
Riata ST 7000/7001/7002
Active-Fixation True-Bipolar, Dual-Coil, 
60, 65cm 7F introducer
$9,360.00

(7002 - Single-Coil) Steroid-Eluting Steroid 

Eluting, Endocardial Defibrillation Leads
SJ102
Riata ST Transvenous Tachyarrhythmia 
Riata ST 7010/7011 Active-Fixation 
60 - 75cm 6.3Fr, 7 Fr Introducer
$9,360.00

Leads 7010/7011/7012
Integrated-Biopolar, Dual-Coil, Steroid-

eluting, Endocardial Defibrillation Leads, 

7012 - Single Coil
SJ106
Riata Transvenous Tachyarrhythmia Leads
Riata 1940/41 Active-Fixation True-bipolar, 
60-75cm
$9,360.00

 1940/41/42
Dual-Coil, Steroid-eluting, Endocardial 

Defibrillation Leads, 1942 - Single Coil
SJ108
Riata i Transvenous Tachyarrhythmia 
Riata i 1962 - Active Fixation Integrated-
60 - 75cm
$9,360.00

Leads 1962
Bipolar, Single-Coil, Steroid-Eluting, 

Endocardial Defibrillation Leads
Prostheses List by Category, Groups and Sponsor
Page 20 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Limited Functionality ICDs

Generation 2

Biotronik Australia Pty Ltd
BT052
Cardiac Airbag
Single chamber ICD rate responsive pacing.
One size only.
$15,600.00
Mesh, Polymeric

W L Gore & Associates
GT128
Helex Septal Occluder
ePTFE
15-35mm
$10,200.00
Occluders

Medtel Australia Pty Ltd
ME068
Amplatzer PFO Occluder
Nitinol Wire Mesh
25mm & 35mm
$10,200.00

St. Jude Medical Australia Pty Ltd
SJ091
Premere PFO Closure System
Percutaneous, transcatheter, self-expanding,
Left Atrial Anchor diameter 20mm 
$10,036.00

 dual anchor, occlusion device
and 25mm
Occluders, Vascular

Medtel Australia Pty Ltd
ME065
Amplatzer Duct Occluder
Nitinol Wire Mesh
5 - 24mm
$10,200.00
ME066
Amplatzer Septal Occluder
Nitinol Wire Mesh
4mm - 40mm
$10,200.00
ME067
Amplatzer Muscular VSD Occluder
Nitinol Wire Mesh
4 - 24mm
$10,200.00
ME074
Amplatzer Membranous VSD Occluder
Nitinol wire mesh, double disc occluder and 
4-24mm, Length 7-10mm
$10,200.00

delivery system
Prostheses List by Category, Groups and Sponsor
Page 21 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Pacemaker Lead Adapters, Implantable

Guidant Australia Pty Ltd
GU129
LV-1 Lead Adaptor to IS-1
Connects Left ventricular leads to IS-1 ports 
One size only
$500.00

in pacemakers and defibrillators to replace 

abnormal cardiac excitation
GU130
Y Adaptor
Connects multiple defibrillator electrodes to 
One size only
$500.00

a common port, enabling the use of shocks 

to revert Ventricular Tachycardia and normal

 cardiac function to return

Medtronic Australasia Pty Ltd
MC035
Medtronic lead Extender Kit Model: 
Silicone
14 - 50cm
$530.00

6984M, 6981M, 6985M, 5866-24M, 5866-

38M, 5866-40M, 6986M, 5866-37M; Bipolar 

Lead Adaptor Kit Model 2872
MC036
Medtronic Lead End Cap Kit Model: 5867-
Silicone or Polyurethane; Plug to Seal IS-1 
10 - 25mm, IS-1 Pin Plug - One Size 
$80.00

3M; Medtronic Adaptor Kit Line 5866-23; 
connector in a pacemaker or defibrillator, 
only

Connector Sleeve 5866-45;   Metronic lead 
Silicone

sleeve kit model: 5866-46; Medtronic 

Pinplug kit. Model 6719 (DF - 1), 6725 (IS-1)

 Pin Plug
MC246
DF-I Y-Adaptor/Extender Model 6726 25cm
Silicone
Lengths 25cm, 37cm
$537.00

 & 37cm
Pacemaker leads

Group 1 - Non-transvenous, Bi-Polar, Steroid

Medtronic Australasia Pty Ltd
MC011
Capsure EPI steroid eluting bipolar 
Silicone
25 - 60cm
$1,716.00

epicardial lead Model 4968 - ventricle

Group 11 - Transvenous, Bi-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd
BT095
Corox OTW BP
Coronary Sinus bipolar steroid
77, 87 cm length
$6,240.00
Prostheses List by Category, Groups and Sponsor
Page 22 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Guidant Australia Pty Ltd
GU138
Easytrak 2, Model 4514,4515, 4516, 4517, 
The Easytrak 2 lead is a dual electrode 
$6,240.00

4518, 4519, 4520
version of the Easytrak lead.  The Easytrak 2

 lead is a coronary sinus lead, steroid 

eluting, dual electrode, pace/sense lead.  

The lead provides chronic pacing and 

sensing of the left ventricle by placement in 

the coronary venous vasculature.
GU153
Easytrak 2 Is-1 Lead - Models 4542, 4543 &
Implantable left ventricular pacemaker lead
80 to 100cm
$6,240.00

 4544
GU156
Easytrak 3 Lead - Models 4521, 4522, 4523, 
Implantable left ventricular pacemaker lead
80 to 100cm
$6,240.00

4524, 4525, 4526 and 4527
GU162
Easytrak 3 IS-1 Lead
Models 4548, 4549 and 4550. Silicone and 
Sizes 80 to 100cm
$6,240.00

polyurethane insulation and polyurethane 

protective sleeve
GU165
Acuity Steerable Lead
Steerable IS-1 bipolar CS LV Lead
80cm, 90 cm, 100cm
$6,240.00

Models 4554, 4555, 4556

Medtronic Australasia Pty Ltd
MC699
Attain OTW Model 4194 Lead
Model 4194
78cm, 88cm
$6,240.00

St. Jude Medical Australia Pty Ltd
SJ099
QuickSite 1056T
Bipolar Steroid-Eluting, Titanium Nitride 
75cm, 6F and 86cm, 6F
$6,240.00

Coated Electrodes Guidewire/Stylet-Placed 

Keft Heart Lead with Fast-Pass Coating

Group 2 - Non-transvenous, Uni-Polar, Steroid

Medtronic Australasia Pty Ltd
MC053
Capsure EPI steroid eluting unipolar 
Silicone
25 - 50cm
$1,544.00

epicardial lead Model 4965 ventricle

Group 3 - Non-Transvenous, Uni-Polar, Non-Steroid

Guidant Australia Pty Ltd
GU037
Myocardial Pacing Lead
Model 4312 and 4316
54cm and 35cm
$1,144.00

Medtronic Australasia Pty Ltd
MC009
Medtronic Epicardial Pacing Leads IS-1 
Silicone
35 - 53cm
$1,144.00

Model 5071
Prostheses List by Category, Groups and Sponsor
Page 23 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 4 - Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/Atrial

Medtronic Australasia Pty Ltd
MC254
CapSure Sense pacemaker lead Models 4073
Titanium Nitride
30 - 85cm
$1,248.00
Also grouped in Pacemaker Lead 

Group 8

St. Jude Medical Australia Pty Ltd
SJ078
IsoFlex S, Models 1645K, 1643K, 1635K
Endocardial, Steroid Eluting, Silicone, 
34cm, 40cm, 46cm, 52cm, 58cm, 
$1,248.00

Passive Fixation Leads with Fast-Pass 
85cm, 7F

Group 5 - Transvenous, Uni-Polar, Passive, Non- Steroid, Left Ventricular

St. Jude Medical Australia Pty Ltd
SJ033
Aescula LV Model 1055K
Left Ventricular Pacing Lead
75cm
$2,735.00

Group 6 - Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular

Biotronik Australia Pty Ltd
BT070
Corox OTW UP Steroid
Coronary Sinus Lead
77, 87cm
$3,000.00

Guidant Australia Pty Ltd
GU056
Easytrak Lead
Model 4510, Model 4511, Model 4512 
65cm, 72cm, 80cm
$3,120.00

Transvenous Coronary Sinus Lead
GU152
Easytrak IS-1 Lead, Models 4535 to 4538
Implantable left ventricular pacemaker lead
80 - 90cm
$3,120.00

Medtronic Australasia Pty Ltd
MC225
Attain Over the Wire Model 4193
Titanium, polyurethane
78-88cm
$3,120.00
MC730
Attain StarFix LV Lead
Over the wire left Ventrucular Lead
78, 88, 103cm
$5,000.00
$6,240.00

St. Jude Medical Australia Pty Ltd
SJ079
QuickSite Model 1056K
Unipolar, Steroid Eluting, Titanium Nitride 
75cm, 6F and 86cm, 6F
$3,120.00

Electrode, Guidewire/Stylet-placed Left 

Heart Lead with Fast-Pass Coating

Group 8 - Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd
BT066
Selox ST
Transvenous Bipolar Passive Steroid 
53 and 60cm lengths
$1,248.00

Ventricular Pacing Lead, fractal coated
Prostheses List by Category, Groups and Sponsor
Page 24 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BT067
Selox JT
Fractal coated steroid electrode
45 and 53cm lengths
$1,248.00

Guidant Australia Pty Ltd
GU009
Fineline II Sterox IROX Lead
Model 4458, Model 4459
52cm, 58cm
$1,248.00
GU011
Fineline II Sterox IROX Lead
Model 4456, Model 4457
52cm, 58cm
$1,248.00
GU012
Fineline II Sterox IROX Lead
Model 4479, Model 4480
45cm, 52cm
$1,248.00
GU023
Guidant Aust Selute Picotip Steroid Eluting
Model 4033, Model 4034, Model 4035, 
45cm , 52cm, 59cm
$1,248.00

 Bipolar Lead
Model 4063, Model 4064

Medtronic Australasia Pty Ltd
MC010
Medtronic Capsure SP Novus Model 5092;
Silicone Polyurethane
45 -110cm
$1,144.00

 Capsure SP Novus Lead Model 5592; 

Medtronic Capsure Model 4023 Lead; 

Medtronic Capsure Model 4024 Lead 

(med.dexamethasone) Medtronic Capsure 

Model 4523(MED) Medtronic Capsure 

Model 4524 Lead; Medtronic Capsure 

Model 5023M Lead; Medtronic Model 

5024M Capsure Lead; Medtronic Model 

5024M Capsure Lead; Medtronic Capsure 

Model 5524M SP Bipolar Lead
MC229
Medtronic Capsure SP Novus Model 5594 
Silicone, platinum
30-100cm
$1,144.00

Lead 30cm
MC336
Medtronic Capsure Z Novus Model 5054 
Silicone; Contents: 1 x lead with anchoring 
45-58cm
$1,248.00

Pacing Lead
sleeve, stylet & guide, 1 x vein lifter, 2 x 

fixation tools, extra stylets
MC337
Medtronic Capsure Z Novus Model 5554 
Silicone; Contents: 1 x lead with anchoring 
45-58cm
$1,248.00

Pacing Lead
sleeve, stylet & guide, 1 x vein lifter, 2 x 

fixation tools, extra stylets
MC371
Medtronic Capsurefix Model 6940 Pacing 
Silicone Polyurethane
30 - 85cm
$1,144.00

Lead;  Medtronic Tined IS-1 Model 

4557M; Medtronic Capsurefix Model 

4067/8/4568 Pacing Leads;  Medtronic 

Capsurefix Model 5067 Pacing Leads; 

Medtronic Capsurefix Model 5068 Pacing 

Leads; Capsure SP Novus Pacing Lead 

Model 4092; Capsure SP Novus Pacing 
MC372
CapSure Sense pacemaker lead Models 
Titanium Nitride
CapSure Sense Lead Model 4074 - 
$1,248.00

4074 & 4574
30cm to 85cm; CapSure Sense 

Lead Model 4574 - 30cm to 53cm
Prostheses List by Category, Groups and Sponsor
Page 25 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

St. Jude Medical Australia Pty Ltd
SJ024
PASSIVE PLUS DX 1342T, 1343K, 1345K, 
Single, passive fixation, steroid eluting, low 
46-58cm
$1,248.00

1346T
polarisation lead; Models: Bipolar Atrial 

Lead, IS-1 Unipolar Atrial Lead, IS-1 

Unipolar Ventricular Lead, IS-1 or Bipolar 

Ventricular Lead, IS-1
SJ082
Isoflex S, Models 1646T, 1642T and 1636T
endocardial, Steroid Eluting, Silicone, 
34cm, 40cm, 46cm, 52cm, 58cm, 
$1,248.00

Passive Fixation Pacing Leads with Fast-
85cm, 7F, 120cm 8F

Pass Coating
SJ097
Isoflex P 1644T and 1648T
Endocardial, Steroid Eluting, Polyurethane, 
1648T - 34-85cm 1644T - 34-42cm
$1,248.00

Passive-Fixation Bipolar Pacing Leads with 

Fast-Pass Coating

Group 9 - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial

Biotronik Australia Pty Ltd
BT063
Selox SR
Lead, pacemaker, implantable, endocardial
45, 53, 60cm length
$1,248.00
BT083
Setrox S
Bipolar active fixation lead with fractal 
length 45, 53, 60cm
$1,248.00

coated and steroid eluting electrode
BT097
Dextrus (marketed by Boston Scientific)
Bipolar, silicone, active fixation, steroid 
7Fr, with 45cm, 53cm and 60cm 
$1,248.00

eluting, pacing lead
length options

Guidant Australia Pty Ltd
GU013
Fineline II EZ Sterox IROX Lead
Model 4472, Model 4473 & Model 4474
45cm, 52cm, 58cm
$1,248.00
GU016
Fineline II EZ Sterox IROX Lead
Model 4469, Model 4470 & Model 4471
45cm, 52cm, 58cm
$1,248.00
GU122
Flextend Lead Models 4086, 4087 & 4088
Bipolar, steroid eluting, transvenous silicon 
45,52,59cm
$1,248.00

pace/sense leads with an 

extendable/retractable active fixation for 

implantation into the atrium or ventricle

Medtronic Australasia Pty Ltd
MC008
Medtronic Capsurefix Model 5568 Pacing 
Silicone Polyurethane
30 - 85cm
$1,144.00

Leads
MC338
Medtronic Capsurefix Novus Model 5076 
Silicone; Contents: 1 x lead with anchoring 
45-85cm
$1,248.00

Pacing Lead
sleeve, stylet & guide, 1 x vein lifter, 2 x 

fixation tools, extra stylets

St. Jude Medical Australia Pty Ltd
SJ023
TENDRIL SDX 1488T, 1388T
Single, Active Fixation, Steroid Eluting, Low 
46cm-58cm
$1,248.00

Polarisation Lead, IS-1
Prostheses List by Category, Groups and Sponsor
Page 26 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SJ073
Tendril SDX Models 1688T and 1688TC
Endocardial Steroid-Eluting Active Fixation 
100cm, 25cm, 34cm, 40cm, 46cm, 
$1,248.00

Pacing Lead
52cm, 58cm, 85cm, 7F
Recorders, Long Term, ECG, Implantable

Medtronic Australasia Pty Ltd
MC028
Medtronic Reveal ILR Model 9525, 
Titanium
8cc
$3,635.00

Implantable Cardiogram Recorder;  Reveal 

Plus Implantable Loop Recorder Model 9526
Single Chamber ICDs

Generation 2

Biotronik Australia Pty Ltd
BT054
Lexos VR
Single chamber ICD, Rate responsive pacing
One size only.
$36,400.00

Progressive Medical
PG001
Alto II VR Single Chamber ICD
Debrillator, implantable, automatic
$36,400.00

Generation 3

Biotronik Australia Pty Ltd
BT075
Lumos VR-T
Single Chamber ICD with home monitoring 
one size only
$40,560.00

and IEGM online
BT087
Lumax 300 VR-T
ICD-VR with bidirectional Home Monitoring.
One Size Only
$40,560.00

 Single chamber

Guidant Australia Pty Ltd
GU110
Ventak Prizm II VR
Model 1860, titanium, single chamber, 
One size only
$40,560.00

adaptive rate
GU133
Vitality VR Model 1870
This device acts to defibrillate the heart 
Model 1870 Vitality VR Single 
$40,560.00

chambers when the patient enters into an 
Chamber Rate Responsive 

arrhythmia or uses shocks or anti tachy 
Pacemaker/Defibrillator

pacing to revert Ventricular Tachycardia 

(VT) or Ventricular Fibrillation (VF). While 

also acting as a single chamber pacemaker.
GU148
Vitality 2 EL VR - Model T177
Implantable Cardiac Defibrillator
35cc 90g
$40,560.00
Prostheses List by Category, Groups and Sponsor
Page 27 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GU151
Vitality 2 VR - Model T 175
Implantable cardiac defibrillator
30cc; 82g
$40,560.00

Medtronic Australasia Pty Ltd
MC365
EnTrust
Model D153VRC, Single chamber, 30J
33cc, 63g
$40,560.00

Progressive Medical
PG008
OVATIO VR 6250
Titanium, single chamber, sterile, VR 6250, 34J
29cc
$40,560.00

St. Jude Medical Australia Pty Ltd
SJ048
Epic Plus VR Model V-196 Implantable 
Single Chamber sensing and bradycardia 
32cc
$40,560.00

Cardioverter Defibrillator
pacing
SJ093
Epic II VR V-158 Implantable Cardiac 
Single Chamber Cardioverter Defibrillator
34cc, 70g
$40,560.00

Defibrillator
Single Chamber Pacemakers

Generation 1

St. Jude Medical Australia Pty Ltd
SJ053
Verity Adx Model XL SC 5056 implantable 
Single Chamber multi-programmable rate-
10.5cc, 23g
$4,264.00

pacemaker
adaptive pacing device with extended 

longevity

Generation 2

St. Jude Medical Australia Pty Ltd
SJ076
Verity Adx Model  XL SR 5157 M/S 
Single Chamber  multi-programmable rate-
11cc, 23g
$5,928.00

implantable pacemaker
adaptive pacing devices with extended 

longevity

Generation 3

Biotronik Australia Pty Ltd
BT046
Protos VR/CLS
Single chamber rate responsive, closed loop 
One size only
$5,928.00

system.
BT062
Philos II SR
Multiprogrammable, Rate Responsive, SSIR 
One size only
$5,928.00

pacemaker
BT080
Cylos VR
single chamber dual sensor rate responsive
one size only
$5,700.00
Prostheses List by Category, Groups and Sponsor
Page 28 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Boston Scientific Australia Pty Ltd
BS124
Insignia AVT 1192
Single chamber pacemaker
10cc, 23.4g
$6,000.00

Guidant Australia Pty Ltd
GU124
Insignia Entra SR Models 1195 & 1198
Single Chamber Rate Responsive Permanent 
One size only
$5,928.00

Pacemaker
GU126
Insignia Plus SR Model 1194
Single Chamber Rate Responsive Permanent 
One size only
$5,928.00

Pacemaker
GU139
Insignia Ultra SR Lodel 1190
Implantable Cardiac Pacemaker
One size only
$5,928.00

Medtronic Australasia Pty Ltd
MC321
EnPulse SR Series: Model E2SR01, Model 
EnPulse SR - Pacemakers - with IS1 
One size only
$6,000.00

E2SR03, Model E2SR06
connector; with 3.2mm low profile 

connector; with 5mm connector. Titanium 
MC728
Adapta Pacemaker
SR Pacemaker
9.7 - 11.0cc
$5,928.00
$6,188.00

Models ADSR01, ADSR06, ADSR03
21.5 - 22.5g

Progressive Medical
PG006
Symphony SR
Titanium
one size only
$5,928.00

St. Jude Medical Australia Pty Ltd
SJ055
Integrity ADx Model SR 5160 implantable 
Single Chamber multi-programmable rate-
8cc, 17g
$5,928.00

pacemaker
adaptive pacing device
SJ060
Identity ADx Model SR 5180 implantable 
Single Chamber multi-programmable rate-
8cc, 18g
$5,928.00

pacemaker
adaptive pacing device
SJ077
Verity Adx Models XL SR 5156 implantable
Single Chamber  multi-programmable rate-
11cc, 23g
$5,928.00

 pacemaker
adaptive pacing devices with extended 

longevity
SJ090
Victory SR 5610
single chamber rate responsive pacemaker
41x44x46mm 17g 8cc
$5,928.00
SJ105
Zephyr SR 5620
Single Chamber Rate-Responsive Pacemaker
8cc, 17g
$5,928.00
Special Implantable Cardioverter Defibrillator Leads

Group 2 - Subcutaneous Leads

Guidant Australia Pty Ltd
GU123
Endotak SQ Array XP Lead Model 0085
Endotak SQ Array XP Lead Model 0085 is 
70 cm
$4,680.00

used in addition to an Endotak endocardial 

leads for patients with a high DFT 

(Defibrillation Threshold)
Prostheses List by Category, Groups and Sponsor
Page 29 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC251
Implantable Subcutaneous Defibrillator 
Silicone and Platinum Alloy
Lengths 41-85cm inclusive
$4,680.00

Lead Model 6996SQ 41cm, 58cm, 85cm

Group 7 - Epicardial Patches

Medtronic Australasia Pty Ltd
MC027
Model 6721 Unipolar Epicardial Patch 
Model 6721S-50, Model 6721M-50, Model 
370, 660, 840mm
$2,340.00

Leads S/M/L
6721L-50; Silicone
Special Purpose Dual Chamber Pacemaker - Custom Header

Generation 3

Medtronic Australasia Pty Ltd
MC241
Medtronic Kappa Pacemaker Model KDR 
Cardiac Pacemaker, Titanium
13.9cc
$9,048.00

933
MC332
Medtronic Kappa Pacemaker KDR 903 and 
Cardiac Pacemaker, Titanium
13cc, 14.2cc
$9,048.00

KDR 906
MC340
Medtronic Kappa 400 pacemaker Model 
Titanium
13.9cc
$9,048.00

KDR403
Special Purpose ICDs - High energy products

Generation 2

Guidant Australia Pty Ltd
GU107
Ventak Prizm HE DR
Model 1853 & Model 1858, titanium, dual 
One size only
$40,560.00

chamber, adaptive rate

Generation 3

Biotronik Australia Pty Ltd
BT074
Xelos DR-T
High energy ICD with home monitoring. 
Packed in one small size
$45,760.00

Dual chamber
BT086
Lumax 340 DR-T
ICD-DR 34 J with bidirectional Home 
One Size Only
$45,760.00

Monitoring. Dual chamber
BT090
Lumax 340 VR-T
ICD-VR 34 J with bidirectional Home 
One size only
$42,640.00

Monitoring. Single chamber
Prostheses List by Category, Groups and Sponsor
Page 30 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC362
EnTrust
Model D154DRG, dual chamber, VT 
35cc, 68g
$45,760.00

Therapies, 35J
MC366
EnTrust
Model D154VRC,  Single chamber, 35J
35cc, 68g
$42,640.00
MC722
Virtuoso
VR Model
37cc, 68g
$42,640.00

Implantable Cardioverter Defibrillator, Single

 Chamber

St. Jude Medical Australia Pty Ltd
SJ011
Atlas DR Model V-240
Dual chamber implantable cardioverter 
37cc
$45,760.00

defibrillator with rate response
SJ012
Atlas VR Model V-199
Single chamber implantable cardioverter 
36cc
$42,588.00

defibrillator with rate response
SJ063
Atlas DR Model V-242 ICD
Implantable Dual Chamber Cardio-verter 
38cc/78g
$45,760.00

Defibrillator
SJ065
Atlas + VR Model V-193 ICD
Single chamber implantable cardio-verter 
38cc, 77g
$42,640.00

defibrillator
SJ066
Atlas + VR - C Model V-193C ICD
Single chamber implantable cardio-verter 
38cc, 77g
$42,640.00

defibrillator
SJ068
Atlas + DR Model V-243 ICD
Implantable Dual Chamber Cardio-verter 
38cc, 78g
$45,760.00

Defibrillator
SJ114
Atlas II VR-168
Single chamber cardioverter defibrillator
38cc, 77g
$42,640.00
SJ115
Atlas II+ DR V-268
Dual Chamber Cardioverter Defibrillator
39cc, 78g
$45,760.00
Special Purpose ICDs - With therapies for Atrial Tachyarrhythmia

Generation 3

Guidant Australia Pty Ltd
GU137
Vitality AVT
Dual chamber defibrillator, with atrial and 
One size only
$45,760.00

ventricular therapy
GU157
Vitality AVT - Model A155
Implantable cardiac defibrillator with both 
30cc
$45,760.00

Atrial and Ventricular tachyarrhythmia 

therapy

Medtronic Australasia Pty Ltd
MC349
Entrust
Model D 153ATG, Dual chamber, AT 
33cc, 63g
$45,760.00

Therapies, 30J
Prostheses List by Category, Groups and Sponsor
Page 31 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC364
EnTrust
Model D154ATG, Dual chamber, AT 
35cc, 68g
$45,760.00

Therapies, 35J
MC721
Virtuoso
DR Model
37cc, 68g
$45,760.00

Implantable Cardioverter Defibrillator, Dual 

Chamber
Special Purpose ICDs with CRT - High energy products

Boston Scientific Australia Pty Ltd
BS114
Contak Renewal 4 RF CRT-D
CRT-D with RF telemetry, IS-1 connector 
43cc, 90g
$47,840.00

H239 High Energy

Generation 2

Biotronik Australia Pty Ltd
BT089
Lumax 340 HF-T
CRT-D 34 J with bidirectional Home 
One Size Only
$47,840.00

Monitoring

Guidant Australia Pty Ltd
GU144
Contak Renewal 4 HE CRT-D Model H197, 
Implantable dual-chamber defibrillator
one size only
$47,840.00

Model H199

Medtronic Australasia Pty Ltd
MC325
InSync Sentry Model 7298
Defibrillator, Titanium
40cc
$50,000.00
MC720
Concerto CRT-D
Implantable Cardioverter Defibrillator with 
38cc
$50,000.00

Cardiac Resynchronisation Therapy

St. Jude Medical Australia Pty Ltd
SJ064
Atlas + HF Model V - 341 ICD - 
Atlas + HF ICD is a cardioverter defibrillator 
40cc/81g
$47,840.00

Defibrillator, Implantable, automatic, dual-
with dual chamber (atrial and RV) sensing 

chamber
and bradycardia Pacing with ventricular 

resynchronisation therapy.
SJ109
Atlas II+ HF V-367
Cardiac Resynchronisation Therapy 
41cc, 79g
$47,840.00

Defibrillator with V-V Timing 

Programmability
Prostheses List by Category, Groups and Sponsor
Page 32 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Special Purpose ICDs with CRT - With therapies for Atrial 

Generation 2

Guidant Australia Pty Ltd
GU154
Contak Renewal 4 AVT CRT -D - Model 
Implantable Cardioverter Defibrillator with 
37cc; 89g
$50,960.00

M170 and M175
Cardiac Resynchronisation Therapy
GU155
Contak Renewal 4 AVT HE CRT - D - 
Implantable Cardioverter Defibrillator with 
40cc; 89g
$52,000.00

Model M177, M179
cardiac resynchronisation Therapy
Special Purpose Pacemaker - Small size (<7cc) for pacing in infants

Generation 3

St. Jude Medical Australia Pty Ltd
SJ027
St Jude Medical Microny II SR+ Model 
Single Chamber Rate Responsive Pacemaker
Volume 5.9cc, Weight 12.8gm
$5,928.00

2525T Pacemaker
Special Purpose Pacemaker - with Therapies for Atrial Tachyarrhythmias

Generation 3

Medtronic Australasia Pty Ltd
MC200
Medtronic A/Asia AT500 DDDRP Pacing 
Titanium, silicone
One size only, 14.9cc
$11,440.00

System Model AT501
MC360
EnRhythm
Model P150 1DR, Rate Responsive dual 
21g, 13cc
$11,440.00

chamber pacemaker with Anti-Tachycardia 

functions: DDDRP
Special Purpose Pacemaker Leads - Catheter Delivered

Group 9 - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atrial

Medtronic Australasia Pty Ltd
MC301
Model 3830 PACING LEADS
Active fixation pacemaker lead
59 - 75 cm
$2,600.00

Composition: Insulation is polyurethane, 

Electrodes are Titanium Nitride coated 

Platinum, the screw is steriod-coated
Prostheses List by Category, Groups and Sponsor
Page 33 of 724
CARDIO-THORACIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Special Purpose Pacemaker Leads - VDD Leads

Group 8 - Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atrial

Guidant Australia Pty Ltd
GU028
Guidant Aust Selute Picotip VDD Lead
Model 4340, Model 4341, Model 4342 & 
$1,544.00

Model 4343

Medtronic Australasia Pty Ltd
MC052
Medtronic Capsure VDD2 Model 5038 AV 
Silicone; Contents: 1 x lead with anchoring 
11.5cm, 13.5cm, 15.5cm
$1,544.00

Pacing Lead
sleeve, stylet & guide, 1 x vein lifter, 2 x 

fixation tools, extra stylets
Special Purpose Single Chamber Pacemaker - Custom Header

Generation 3

Medtronic Australasia Pty Ltd
MC030
Medtronic Kappa 400 Pacemaker Model 
Titanium
11.6cc, 11.7cc
$5,616.00

KSR401
MC242
Medtronic Kappa KSR 900 Model KSR 
Cardiac Pacemaker, Titanium
9.7,10.5,11.0 cc
$5,928.00

901,903, 906
MC330
Medtronic Kappa 400 Pacemaker Model 
Titanium
11.6cc, 11.7cc
$5,616.00

KSR 403
Prostheses List by Category, Groups and Sponsor
Page 34 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Cannulae, Eye, Lacrimal

Device Technologies Australia Pty Ltd
DE191
Canaliculus Intubation Sets 
Silicone, SS & Nylon
17.7 x .064 x 29cm, 15.5 x .051 x 33cm
$165.00
Caps, Bone

Cochlear Limited
CO028
BAHA - Bone Anchored Hearing Aids
Cover screw unigrip
One size only
$364.00
Cement

Endotherapeutics Pty Ltd
ET031
Serenocem Cement
Reaction bonded polymer composite formed 
One size only - box of 2
$1,560.00

by the neutralisation gelletation of a basic 

inorganic ionomer
ET032
Serenocem Granules
Reaction bonded polymer composite formed 
0.5 - 1mm granules, 1gm or 5gm; 2 -
$1,070.00

by the neutralisation gelletation of a basic 
 3mm granules, 1gm or 5gm - 3 

inorganic ionomer
pouches
Cochlear Implants

Cochlear Limited
CO017
SPrint Speech Processor 
Consists of: SPrint Speech Processor - body 
Processor: One Size Only, 
$4,282.25

worn speech processor to suit Nucleus 24 
Transmit Cable, 8-28cm, Headset 

cochlear implant system; transmit cable; 
Cable 45-100cm, Headset: 0.5-4.0 

headset cable; headset; battery case - 
magnet strength, Hook small and 

double; batteries - AA; microphone cover; 

belt clip; and hook
Prostheses List by Category, Groups and Sponsor
Page 35 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CO019
ESPrit 3G Speech Processor - Replacement
Includes speech processor with titanium ear 
Cable lengths: 6, 8, 10, 20, 28cm
$6,790.00

hook, 6 high powered zinc air batteries, 

cleaning brush, microphone puffer, earmould

 compatible earhook, soft earhook cover, 

magnet, drying capsules, accessory adaptor 

and socket covers, signal check, coil/cable 

(x2), document pack
CO024
Nucleus Freedom Implant with Straight 
Cochlear implant with straight electrode in a 
One size only
$12,570.00

Electrode
titanium casing, with a removable magnet, 

banded platinum electrodes moulded in a 

silicone seal.

Pacing Importers Pty Ltd - Life Systems
PI005
Combi C40+ Implantable Auditory 
One Size Only
$11,450.00

Stimulator
Ear/Nose/Throat Treatment Units

LMA PacMed Pty Ltd
PM065
Tympo Vent
Otological ventilation tubes, short medium 
Length 2.2
$12.59

term, Donaldson fluoroplastic/blue
PM066
Tympo Vent
Otological ventilation tubes, straight tube
Length 7.0 - 7.2mm
$7.50
PM068
Tympo Vent
Otological ventilation tubes, short medium 
Length 2.8
$20.00

term, star tube, silicone
PM072
Tympo Vent
Otological ventilation tubes, short medium 
Length 12.4
$13.32

term, shepard with tail, silicone/blue
PM074
Tympo Vent
Otological ventilation tubes,  paparella with 
Length 2.2mm
$17.83

tab
PM075
Tympo Vent
Otological ventilation tubes, collar button, 
Length 1.5mm
$29.92

tubingen type gold, gilded silver
PM079
Tympo Vent
Otological ventilation tubes, t-tube
Length 6 - 12mm
$19.08
PM083
Tympo Vent
Otological ventilation tubes, long term, 
Length 1.5
$26.78

collar button - tubingen type, titanium
PM086
Tympo Vent
Otological ventilation tubes, short medium 
Length 1.6
$50.10

term, reuter bobbin without holes, titanium
PM088
Tympo Vent
Otological ventilation tubes, donaldson, 
Length 1.5mm - 9.8mm
$9.00

reuter bobbin, shepard
Prostheses List by Category, Groups and Sponsor
Page 36 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PM089
Tympo Vent
Otological ventilation tubes, short medium 
Length 1.8
$10.55

term, bevel bobbin, fluoroplastic/blue
PM090
Tympo Vent
Otological ventilation tubes, armstrong
Length 3.8 - 10.0mm
$13.10
PM091
Tympo Vent
Otological ventilation tubes, short medium 
Length 2.0
$8.62

term, collar button, fluoroplastic/blue
Grafts

LMA PacMed Pty Ltd
PM107
Laryngeal Keel
12-16mm Keel
$251.00
Hearing aid, bone-anchored

Cochlear Limited
CO041
Baha Intenso™
Head-worn Baha sound processor
One size
$6,000.00
Hearing Aids

Cochlear Limited
CO033
BAHA - Bone Anchored Hearing Aid - 
The BAHA Hearing Aids (Compact  & 
$6,000.00
To be claimed only for patients 

Various Models
Cordelle II in various colours) are the 
with deafness who have problems 

external hearing processors which are 
using air conduction or 

attached to the implanted titanium fixture by 
conventional hearing aids which is 

a snap coupling.   This allows the sound 
made worse when a hearing aid 

transmission using bone conduction for 

patients where conventional hearing devices

 are not indicted.
CO040
Baha Divino
Digital sound processor for Baha hearing 
One Size But Left/Right Ear 
$6,000.00

system
Orientations
Prostheses List by Category, Groups and Sponsor
Page 37 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Larynxes, Artificial

LMA PacMed Pty Ltd
PM057
Provox Voice Prosthesis
Long term indwelling; Silicone
4.5,6,8,10,12.5mm
$335.00
$356.00
Only able to be claimed once for 

the initial implant
Middle Ear Analyzers

Medtronic Australasia Pty Ltd
MC256
Pressure Pulse Generator Meniett 20
Composition - Polycarbonate
One size only
$5,060.00
To be claimed only where medical 

therapy such as lifestyle (general 

health assessment and stress 

reduction) and oral medications 

(diuretics, anti-emetics, anti-vertigo

 and steriods) have been 
Nasal Septum Buttons

Gyrus Australasia Pty Ltd
GY018
Septal Button
Plastipore
One size only
$149.00

Medtronic Australasia Pty Ltd
MC264
Septal Button 
Silicone
3cm 
$149.00
Plugs

Cochlear Limited
CO025
BAHA - Bone Anchored Hearing Aids
Abutment Snap Coupling
5.5mm - 9035, 8.5mm - 90410
$895.00
Prostheses List by Category, Groups and Sponsor
Page 38 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Ear

Gyrus Australasia Pty Ltd
GY001
Canal Wall Prosthesis
Grote, HA
Small - Large
$543.00

LMA PacMed Pty Ltd
PM028
Stapes
Bell/Aerial/Angular Prosthesis/Piston  - 
1.75 - 7.00mm
$330.00
$444.00

Gold/Titanium
PM032
K-Piston
Gold/Titanium
ID 0.4,0.6mm
$221.75
$249.00
Prostheses, Larynx

Endotherapeutics Pty Ltd
ET040
Vox Implants
Vox Implants are solid, irregularly textured, 
One size only
$8,200.00

medical grade Polydimethylsiloxane 

Elastomer implants suspended in a hydrogel 

carrier

Gyrus Australasia Pty Ltd
GY072
Vocal Cord Medialisation Implant
Vocom Larynx Medial Implant - 
3 - 7mm Head
$675.00

Hydroxylapatite
GY073
Vocal Cord Medialisation Implant
Vocom Shim for Medial Implant - 
1mm - 3mm Offset
$345.00

Hydroxylapatite

LMA PacMed Pty Ltd
PM033
Montgomery Thyroplasty Implant System
Silicone
6,7,8,9,10,11,12
$1,172.00
$1,928.00
Prostheses, Ossicular

O R Paradigm Pty Ltd
OS008
Ossicular Prosthese - PORP
Dense HA Footplate Shoe
Width 2.0mm; Height 1.32mm
$150.00
OS011
Ossicular Prostheses - PORP
Gator Stapes
Shaft Diameter 0.6mm; Length 
$450.00

3.5mm - 5.5mm
Prostheses List by Category, Groups and Sponsor
Page 39 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OS012
Ossicular Prostheses - PORP
Titanium Bucket
Shaft Diameter 0.4mm - 0.8mm; 
$490.00

Length 4.0mm - 5.0mm
OS013
Ossicular Prostheses - PORP
Causse Type Fluoroplastic Stapes
Shaft Diameter 0.4mm - 0.8mm; 
$90.00

Length 3.5mm - 6.0mm; Loop 

Diameter 0.6mm
Prostheses, Ossicular, Incus and Stapes

Gyrus Australasia Pty Ltd
GY002
Ossicular Prosthesis Malleus, Incus and 
Goldenberg Footplate - HA
One size only
$126.00
$915.00

Stapes
GY003
Ossicular Prosthesis
Attic Defect Plate, HA
7-14mm
$335.00
GY004
Ossicular Prosthesis Incus 
a) Applebaum HA,  b) Goldenberg HA,  c) 
a) small - large, b) one size only, c) 
$580.00

Kartusch HA , d) Grote HA, e) Wehrs 
short, medium, long, d) 7-10mm, e) 

(single & double notched) HA
short, average, medium, long
GY005
Ossicular Prosthesis - PORP
Sheehy plastipore, Drum to stapes, Grote 
One size only
$190.00
$360.00

Malleus to stapes, modified, centered or 

offcentered
GY006
Ossicular Prosthesis - PORP/TORP
Goldenberg Malleable/HA
One Size Only
$360.00
$580.00
GY007
Ossicular Prosthesis Incus 
a) Grote HA, b) Wehrs (single & double 
a) one size only, b) Short, medium, 
$625.00

notched) HA
long
GY008
Piston: Stapes Prosthesis
a) Schuknecht Malleus att Piston. Stainless 
a) 0.6x5.5mm-0.8x6.5, b) 0.3x0.8x3.5-
$90.00

steel, b) Cawthorne. Fluoroplastic, c) 
0.3x0.8x6mm, c) 0.6x0.6x3.5-

Fluoroplastic, d) Schuknecht. Stainless steel,
0.8x0.6x6mm, 

 e) Causse.  Fluoroplastic
d) 0.4x3.5-0.5x5mm, e) one size only
GY012
Piston: Stapes Prosthesis
a) Armstrong. Platinum, b) McGee. Stainless 
a) 0.6x3.5-0.8x5mm, b) 0.6x3.25-
$104.00

steel, c) Richards.  Teflon & platinum
0.8x5.5mm, 

c) 0.4x4-0.4x5mm
GY013
Piston: Stapes Prosthesis
Fisch-Type Platinum or Stainless Steel
0.4mm  x 6mm
$104.00
GY014
Piston: Stapes Prosthesis
Bucket Handle Fluoroplastic and stainless 
0.4 x 1 x 3.5mm - 0.6 x 1 x 5mm
$104.00

steel
GY015
Piston: Stapes Prosthesis
Platinum Fluoroplastic
0.6x3.5mm - 0.8x5mm
$104.00
GY016
Piston: Stapes Prosthesis
Platinum Fluoroplastic
0.6x3mm - 0.8x5.75mm
$104.00
GY017
Piston: Stapes Prosthesis
McGee Shepherd's Crook - Stainless Steel
0.6x3.5mm - 0.6x5.5mm
$104.00
Prostheses List by Category, Groups and Sponsor
Page 40 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GY074
Wehrs II Stapes Prostheses
Wehrs HAPEX Incus Prostheses, Single & 
0.6 - 1.57mm Shaft Dia
$675.00

Double Notch
GY078
Dornhoffer Prostheses
Hydroxyapetite head/HAPEX shaft PORP 
0.8mm Shaft Dia TORP, 1.3mm 
$360.00

and TORP
Shaft Diameter PORP
GY080
Ossicular Chain Prosthesis
Micron adjustable TORP/PORP. Titanium
2-10mm, 2-5mm
$360.00
$500.00
GY081
Piston: Stapes Prosthesis
Smart: Nitinol/Flouroplastic
0.5, 0.6, 0.8 x 3.75-4.75mm
$255.00
$535.00

Medtronic Australasia Pty Ltd
MC258
Ossicular, Incus and Stapes
Flex H/A, Dense H/A, Titanium, SS, 
0.4 - 1.17mm x 0.9 - 4.0mm x 4.0 x 
$330.00

Fluroplastic, Polycel; Roberson Stapes 
10.2mm; 4.0 - 4.75mm

Prostheses & Big Easy Piston. Middle Ear 

Prostheses
MC259
Ossicular, Incus and Stapes
Flex H/A, Polycel, SS
Small, Medium, Large, 0.6 x 2.2 x 
$190.00

8.0mm
MC260
Ossicular, Incus and Stapes
H/A, Polycel, SS
0.6 - 0.8mm x 3.0 - 4.0mm x 7.0 - 
$236.00

8.0mm
MC261
Ossicular, Incus and Stapes
Polycel, SS, Fluroplastic
0.6 - 1.17mm x 0.3 - 4.0mm x 4.75 - 
$106.00

8.0mm
MC262
Ossicular, Incus and Stapes
Platinum, Fluroplastic, SS, Polycel
0.4 - 1.17mm x 2.2 - 8.8mm x 3.5 - 
$104.00

10.0mm
MC263
Ossicular, Incus and Stapes
SS, Fluroplastic, Polycel
0.5 - 0.6mm x 3.5 - 6.0mm and One 
$104.00

Size Only
MC266
Prostheses Ossicular Incus and Stapes
H/A, Polycel, SS
0.6 - 4.0mm x 2.7 - 5.0mm x 1.5 - 
$179.00

10.0mm
Prostheses, Ossicular, Total

Gyrus Australasia Pty Ltd
GY009
Ossicular Prosthesis -TORP 
a) black spanner strut HA, b) black oval top 
a) one size only, b) 7-10mm, c) 0.5-
$360.00
$675.00

TORP HA, c) black oval top PORP, 
0.7mm

universal, HA/fluoroplastic
GY010
Ossicular Prosthesis -TORP 
Fisch plastipore, Causse modified plastipore,
One size only
$360.00

 Shea modified plastipore/ fluoroplastic, 

Austin modified plastipore, Tilt top plastipore
GY011
Ossicular Prosthesis -TORP 
a) Shea malleable, HA/plastipore, b) Shea 
a) one size only, b) 4-8mm
$360.00

plastipore
Prostheses List by Category, Groups and Sponsor
Page 41 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC267
Ossicular, Incus and Stapes
Universal Middle Ear Prosthesis, titanium 
2.5 - 4.0mm x 10.0mm
$360.00

round and cam head design

O R Paradigm Pty Ltd
OS001
Ossicular Prosthesis
ALTO
Head Size 2.5mm x 3.5mm; Length 
$675.00

2.0mm - 8.0mm; Distal Diameter 

0.8mm - 1.2mm
OS003
Ossicular Prosthesis
Otosil
Head Size 3.0mm - 4.0mm; Length 
$450.00

6.0mm -8.0mm; Shaft Diameter 

1.0mm -  2.0 mm
OS006
Ossicular Prosthesis
Dense HA
Head Size 3.0mm - 4.0mm; length 
$360.00

4.0mm - 8.0mm;  Shaft Diameter 

0.8mm - 2.0mm

Stryker Australia Pty Ltd
ST795
Titanium Middle Ear Prostheses
Fisch Incus Prostheses: short, medium, 
All Sizes
$238.00

large, Titanium
ST796
Titanium Middle Ear Prostheses
Fisch Neomalleus Prostheses, Titanium
1.1x5mm
$190.00
ST798
Titanium Middle Ear Prostheses
Fisch Total Prostheses: with foot, Titanium
0.6x10mm
$360.00
Prosthesis, Internal, Tube, Tympanostomy

Gary L Hinz & Associates Pty Ltd
GH001
NeoZoline Otological Ventilation Tubes
Armstrong, Collar Button, Shepard, Reuter, 
1.10mm, 1.14mm, 1.27mm, 1.40mm, 
$13.00

Donaldson, Paparella, Shah
0.76mm
Prosthesis, Internal, Valve, Speech, Tracheostomy

LMA PacMed Pty Ltd
PM117
Passy-Muir Speaking Valve
Tracheostomy and Ventilator
15mm I.D./ 22 & 23mm O.D.
$102.00
Prostheses List by Category, Groups and Sponsor
Page 42 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Reconstruction Blocks, Plastic Surgery

Medtronic Australasia Pty Ltd
MC255
Medtronic Xomed Australia Material 
ePTFE - expanded polytetrafluroethyelene
0.75cm x 40cm x 0.6mm; 0.4cm x 
$1,110.00

Implantable Sterile - Gore Thyroplasty
20cm x 0.6mm; 0.6cm x 20cm x 

0.6mm
MC265
Silicone Blocks 
Netterville Phonoform Block - Right, Left, 
Right - One size only, Left - One 
$275.00

Wedge & Strip
size only, Wedge - One size only 

& Strip - One size only
Screws, Bone

Cochlear Limited
CO027
BAHA - Bone Anchored Hearing Aids
Flange fixture
4mm and 3mm
$895.00
CO030
BAHA - Bone Anchored Hearing Aids
Flange Fixture - Titanium
Self Tapping 4mm and 3mm
$1,035.00
CO032
BAHA - Bone Anchored Hearing Aids
Flange Fixture - Titanium
Self Tapping 4mm and 3mm with 
$2,500.00

BAHA Abutment
Stents

Medical Vision Australia Pty Ltd
MF001
Endoxane
Silicone tracheal and bronchial stents - 
10 - 20mm diameter, 20 - 60mm 
$1,000.00

Dumon
length
Stents, Bronchial

Medical Vision Australia Pty Ltd
MF002
Tracheobronxane Silmet
Nitinol wire - tracheal and bronchial stenets -
12 - 20mm diameter, 20 - 90mm 
$2,500.00

 Dumon
length
Prostheses List by Category, Groups and Sponsor
Page 43 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Stents, Tracheal

William A Cook Australia Pty Ltd
WC073
Tracheal/broncheal stent
Gianturco-Rosch Trancheobronchial Stent
Expanded Diameter 15-40 mm 
$1,240.00

Length 5cm
Stimulator, electrical, auditory, cochlea

Pacing Importers Pty Ltd - Life Systems
PI007
Duet EAS Hearing System
DUET is the first hearing system worldwide 
Length 53.5mm, width 8.5mm, 
$12,950.00

to integrate cochler implant speech 
Height 58.4mm (one size only)

processing and hearing aid technology in 

one comfortable, compact device.
PI008
PULSAR CI 100
Cochlear implant
Standard deep insertion electrode 
$13,570.00

31.5mm-2.4
Stimulators, Auditory

Cochlear Limited
CO013
Nucleus 24k Cochlear Implant
Model CI24R (ST)
One size only
$10,600.00
CO014
Nucleus 24 Contour Advance Cochlear 
Model CI24R (CA)
One size only
$11,600.00

Implant
CO021
Nucleus Freedom Implant with Contour 
Cochlear implant.  Titanium casing, 
one size only
$13,570.00

Advance Electrode
removable magnet, 22 half-banded platinum 

electrodes, moulded in a durable silicone 
CO022
Nucleus Freedom Speech Processor
Speech processor, and accessories - 
One size only
$11,500.00
CO023
Nucleus Freedom Speech Processor
Speech processor, and accessories - 
one size only
$8,050.00

REPLACEMENT

Pacing Importers Pty Ltd - Life Systems
PI006
Tempo+ Auditory Implant Speech 
Tempo+ Auditory  Implant Speech 
One Size Only
$12,450.00
Prostheses List by Category, Groups and Sponsor
Page 44 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Telephone Aids, Hearing-Impaired

Cochlear Limited
CO006
Nucleus 24 Cochlear Implant System 
Set of assistive listening & maintenance 
Lapel Microphone: 40-150cm, 
$785.00

Accessories for SPrint Adult
devices, consisting of: Lapel Microphone; 
Personal Audiocable - one size 

Personal Audiocable; Battery Charger; 
only, Battery Charger - one size 

Pouch (adult style), Ear Hook; Battery case; 
only, Pouch (adult style),  Ear 

Mic Lock; Lapel clip; TV/Hi-Fi Cable; Mic 
Hook (small and large) Battery 

sleeve; Dry pack; Accessory case; AC 
case - single, Mic Lock - one size 

adaptor; Telecoil; and Mic clip
only, Lapel clip - one size only, 

TV/Hi-Fi Cable - one size only     

Mic sleeve - one size only, Dry 

pack - one size only    Accessory 

case - one size only, AC adaptor - 

one size only, Telecoil - one size 

only, Mic clip - one size only
CO007
Nucleus 24 Cochlear Implant System 
Set of assistive listening & maintenance 
Lapel Microphone: 40-150cm, 
$785.00

Accessories for SPrint Child
devices, consisting of: Lapel Microphone: 
Personal Audiocable - one size 

40-150cm, Personal Audiocable; Battery 
only,Battery Charger - one size 

Charger; Pouch (adult style), Ear Hook; 
only, Pouch (adult style), Ear Hook

Battery case; Mic Lock; Lapel clip; TV/Hi-Fi 
 (small and large), Battery case - 

Cable; Mic sleeve; Dry pack; Accessory 
single, Mic Lock - one size only, 

case; AC adaptor; Telecoil; Mic clip; and 
Lapel clip - one size only, TV/Hi-Fi 

Cable - one size only, Mic sleeve - 

one size only, Dry pack - one size 

only, Accessory case - one size 

only, AC adaptor - one size only, 

Telecoil - one size only, Mic clip - 

one size only,  FM Cable - to suit 

Sonic Air Easy Listener
CO020
Nucleus Cochlear Implant Accessory Kit - 
Accessory set consists of accessory 
Lapel microphone comes in 
$500.00

ESPrit 3G Speech Processor
adapter cable, lapel microphone & lapel clip, 
lengths of 40-150cm

battery cover set and accessory case
Prostheses List by Category, Groups and Sponsor
Page 45 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Tubes, Myringotomy

BR & CT Enterprises Pty Ltd
BC010
Ventilation tube
Ventilation tube - Silicone - T-tube, T-tube 
1.1mm; 1.27mm lumen
$19.00

grommet
BC011
Ventilation Tubes - Collar Button
Teflon, w/o wire
1.10mm, 1.25mm, 1.50mm lumen
$12.00
BC012
Ventilation Tubes - Collar Button
Teflon w/wire, and titanium w/o wire
0.76mm, 1.00mm, 1.25mm, 1.50mm 
$15.00

lumen
BC013
Ventilation Tubes - Collar Button
Titanium w wire
1.00mm, 1.25mm, 1.50mm lumen
$19.00
BC014
Ventilation Tubes - Shepherd
Teflon, w or w/o wire
1.15mm lumen
$12.00
BC015
Ventilation Tubes - Shepherd
Titanium, w/o wire
1.00mm, 1.25mm lumen
$17.00
BC016
Ventilation Tubes - Shepherd
Titanium with wire
1.00mm, 1.25mm lumen
$19.00
BC017
Ventilation Tubes - Silicone
Armstrong Grommet, Donaldson w & w/o 
1.1mm & 1.5mm lumen
$15.00

Tab, Paparella 1 and Paparella 2 (1.5mm)

Endocorp Pty Ltd
EC018
Exmoor Plastics Ear Vent Drains -  Reuter 
Without hole, teflon
1.14 mm lumen dia x 2.54 mm inner 
$13.00

Bobbin 
flange dia x 2.54 mm outer flange 

dia x 0.76 inter flange. 1.52mm total 

length
EC019
Exmoor Plastics Ear Vent Drains -  Collar 
Teflon 
1.14 mm lumen dia x 2.24 mm inner 
$12.00

Button
flange dia x 2.24 mm outer flange 

dia x 1.27 inter flange. 1.78 mm total

 length
EC020
Exmoor Plastics Ear Vent Drains  -  Collar 
Teflon 
1.14 mm lumen dia x 3.0 mm inner 
$14.00

Button
flange dia x 3.0 mm outer flange dia

 x 1.27 inter flange. 1.78 mm total 

length
EC021
Exmoor Plastics Ear Vent Drains  -  Collar 
Teflon 
1.4 mm lumen dia x 2.55 mm inner 
$14.00

Button
flange dia x 2.55 mm outer flange 

dia x 0.85 inter flange. 1.35 mm total

 length
EC022
Exmoor Plastics Ear Vent Drains - Collar 
Teflon 
1.75 mm lumen dia x 2.85 mm inner 
$15.00

Button 
flange dia x 2.85 mm outer flange 

dia x 0.95 inter flange. 1.46 mm total

 length
Prostheses List by Category, Groups and Sponsor
Page 46 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EC024
Exmoor Plastics Ear Vent Drains - Shepards
Teflon Shephards Drain
1.14 mm lumen dia x 2.36 mm inner 
$14.00

 Drain
flange dia x 2.36 mm outer flange 

dia x 1.42 inter flange. 2.41 mm total

 length
EC026
Exmoor Plastics Ear Vent Drains - Teflon 
Teflon Shephards Drain with wire
0.97 mm lumen dia x 2.08 mm inner 
$14.00

Shephards Drain with wire grasping feature
flange dia x 2.08 mm outer flange 

dia x 1.42 inter flange. 2.41 mm total

 length
EC031
Exmoor Plastics Ear Vent Drains - 
With tab, silicone rubber
1.1 mm lumen dia x 2.25 mm inner 
$20.00

Donaldson Grommet
flange dia x 2.25 mm outer flange 

dia x 0.76 inter flange. 2.25 mm total

 length

Enta Surgical
ES001
Trocar Myringotomy Tube
Myringotomy Tube with Trocar - Gold 
One Size Only
$20.00
$38.00

Coated Silver; Myringotomy Tube with 

Trocar - Titanium; Myringotomy Tube with 

Trocar, with wire - Gold Coated Silver; 

Myringotomy Tube with Trocar, with wire - 

Titanium

Gyrus Australasia Pty Ltd
GY019
Ventilation Tube
Shepard grommet, fluoroplastic or silicon, 
1.02 -1.14mm
$20.00

vent tube w/wire. 
GY020
Ventilation Tube
Shepard, fluoroplastic, w/Tab & wire
1.02 -1.14mm
$20.00
GY021
Ventilation Tube
Shepard, Ultrasil Silicon & Blue Poly
1.02 - 1.14mm
$20.00
GY027
Ventilation Tube
T-Tube Richards Silicon, Soft Silicon, Ultrasil
1.14mm
$20.00
GY028
Ventilation Tube
T-Tube Richards Modified Silicon & Ultrasil
1.32mm
$20.00
GY029
Ventilation Tube
T-Tube Richards Modified Soft Silicon 
1.32mm
$20.00
GY030
Ventilation Tube
Butterfly T-Tube Silicon & Ultrasil
Silicon - one size only. Ultrasil - 
$20.00

one size only.
GY032
Ventilation Tube
Armstrong Beveled Grommet Ultrasil Silicon 
1.14mm
$20.00

w/Tab
GY033
Ventilation Tube
Grommet - Sha Mini. Teflon
0.76mm
$20.00
GY034
Ventilation Tube
Shah. Teflon, Silicon
5.1mm
$20.00
GY035
Ventilation Tube
Shah. Teflon, Fluorplastic w/Wire
1.14mm
$20.00
GY036
Ventilation Tube
Shah. Teflon, Fluorplastic without Wire
1.14mm
$20.00
Prostheses List by Category, Groups and Sponsor
Page 47 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GY037
Ventilation Tube
Armstrong Beveled Plain End Fluoroplastic
One size only
$20.00
GY038
Ventilation Tube
Armstrong Beveled Plain End Silcon
One size only
$20.00
GY039
Ventilation Tube
Bobbin - Reuter Stainless Steel
1mm  
$20.00
GY040
Ventilation Tube
Bobbin - Reuter Stainless Steel
Without Wire 1.14-1.27mm, w/wire 
$20.00

1mm
GY041
Ventilation Tube
Bobbin - Reuter Fluoroplastic 1mm I.F 
1mm
$20.00

Without Holes
GY042
Ventilation Tube
Bobbin - Reuter Fluoroplastic 1mm I.F 
1.14mm
$20.00

Without Holes
GY043
Ventilation Tube
Bobbin - Reuter Fluoroplastic 1mm I.F 
1.14mm
$20.00
GY044
Ventilation Tube
Bobbin - Reuter Fluoroplastic 1mm I.F
1.14mm
$20.00
GY045
Ventilation Tube
Bobbin - Reuter Fluoroplastic 0.5mm I.F
1.27mm
$20.00
GY048
Ventilation Tube
Collar Bobbin Fluoroplastic 
1.27mm
$20.00
GY049
Ventilation Tube
Collar Bobbin Fluoroplastic 
0.75mm
$20.00
GY050
Ventilation Tube
Collar Bobbin Fluoroplastic 
1.14mm
$20.00
GY051
Ventilation Tube
Collar Bobbin Fluoroplastic 
1.27x0.5mm
$20.00
GY052
Ventilation Tube
Collar Button Ultrasil Silicon
1.27mm
$20.00
GY053
Ventilation Tube
Collar Button Fluoroplastic Blue
1.27mm
$20.00
GY054
Ventilation Tube
Collar Button Fluoroplastic w/Wire
1.27mm
$20.00
GY055
Ventilation Tube
Collar Button Silicon
1.27mm
$20.00
GY056
Ventilation Tube
Collar Button Titanium
1.14mm
$20.00
GY057
Ventilation Tube
Collar Button Titanium
1.27mm
$20.00
GY058
Ventilation Tube
Donaldson Silicon
1.14mm
$20.00
GY059
Ventilation Tube
Donaldson Soft Silicon
1.14mm
$20.00
GY060
Ventilation Tube
Donaldson Silicon w/Tab
1.14mm
$20.00
GY061
Ventilation Tube
Donaldson Fluoroplastic
1.14mm
$20.00
GY062
Ventilation Tube
Donaldson Ultrasil Silicon
1.14mm
$20.00
GY063
Ventilation Tube
Duravent Silicon
1.27mm
$20.00
GY064
Ventilation Tube
Duravent Blue Ultrasil
1.27mm
$20.00
GY065
Ventilation Tube
Paparella w/tab Fluoroplastic, Silicon, Soft 
1.02 - 2.03mm
$20.00

Silicon, Ultrasil
Prostheses List by Category, Groups and Sponsor
Page 48 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GY067
Ventilation Tube
Shea  w/Tab - Silicone
0.76mm
$20.00
GY068
Ventilation Tube
Shea Parasol w/Tab Small Flange - Silicone
1.02mm
$20.00
GY069
Ventilation Tube
Shea Parasol w/Tab - Silicone
1.02mm
$20.00
GY070
Ventilation Tube
Shea Parasol w/Tab - Silicone
1.52mm
$20.00
GY071
Ventilation Tube
Straight Fluoroplastic or Polyethylene 
0.89 x 12mm, 0.86 x 7mm, 1.14 x 
$20.00

12mm, 1.14 x 7mm

Medtronic Australasia Pty Ltd
MC268
Activent Antimicrobial Ventilation Tube
Silicone, Silver Oxide, Fluroplastic
0.76 - 1.52mm x 2.1 - 9.5mm x 1.0 - 
$20.00

12.0mm
MC269
Activent Antimicrobial Ventilation Tube
Silicone, Silver Oxide, Fluroplastic
1.02 - 1.27mm x 0.9 - 2.4mm
$20.00
MC270
Activent Antimicrobial Ventilation Tube
Silicone & Silver Oxide. Sheehy
1.27 x 2.9 x 1.3mm
$20.00
MC271
Vent Tube
Silicone, Fluroplastic, Titanium, SS
1.02 - 1.27mm, 1.58 - 2.7mm
$20.00
MC272
Vent Tube
Silicone, Fluroplastic
1.02 - 1.52mm x 0.9 - 4.45mm
$16.00
MC273
Vent Tube
Silcone Fluroplastic
1.02 - 1.27mm x 1.3 - 3.0mm
$12.00
MC274
Vent Tube
Titanium, Fluroplastic
1.02 - 1.27mm x 1.0 - 3.5mm
$12.00
MC275
Vent Tube
Fluroplastic, Silicone
1.14 - 1.27mm x 0.9 - 3.0mm
$14.00
MC276
Vent Tube
Silicone, Fluroplastic, H/C Flex
0.76 - 1.27mm x 1.0 - 7.5mm
$20.00
MC277
Vent Tube
Silicone, Fluroplastic, C-Flex
0.89 - 1.52mm x 2.3 - 12.0mm
$18.00
MC278
Vent Tube
Silicone, Fluroplastic
0.76 - 1.27mm x 1.5 - 12.0mm
$20.00
MC279
Vent Tube
Microgel, Titanium, SS
1.02 - 1.27mm x 2.7 - 9.1mm
$20.00
MC280
Vent Tube
Silicone, Fluroplastic
1.02 - 1.52mm x 1.3 - 12.0mm
$20.00

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG003
Micromedics Ventilation Tubes
Micromedics;Shepard;1.0mm / 
$12.50

1.14mm lumen;Fluroplastic / 

Silicone;w.tab / w.wire;box of 6 / 

box of 50
MG011
Micromedics Ventilation Tubes
Micromedics; Donaldson; 1.14mm 
$19.50

lumen; Silicone / Fluroplastic; 

w.tab; box of 6 / box 50
MG012
Micromedics Ventilation Tubes
Micromedics; Paparella-I / 
$15.50

Paparella-II; 1.14mm / 1.42mm 

lumen; Silicone; box of 6 / box of 50
Prostheses List by Category, Groups and Sponsor
Page 49 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MG013
Micromedics Ventilation Tubes
Micromedics; T-tubes; 
$17.50

(12x10)/(5x8)/(5x4)/(8x5.5); 1.14mm /

 1.27mm / 1.4mm lumen ; silicone; 

box of 6 / box of 50;
MG014
Micromedics Ventilation Tubes
Micromedics;  Armstrong; 
$14.50

bevelled straight / grommit / 

w.wire;  7mm / 7.5mm / 1.14mm; 

silicone / fluroplastic; box of 6 / 
MG015
Micromedics Ventilation Tubes
Micromedics; Collar Button; 
$10.50

1.27mm lumen; fluroplastic; box of 

6 / box of 50
MG016
Micromedics Ventilation Tubes
Micromedics;Reuter 
$11.50

Bobbin;1.0mm / 1.14mm lumen; 

fluroplastic; box of 6 / box of 50
MG017
Micromedics Ventilation Tubes
Micromedics; Shah with wire; mini 
$11.50

0.76mm lumen; fluroplastic;  box of

 6 / box of 50

Precise Medical Supplies
PR001
Medasil Teflon Aural Grommets
Teflon grommets
Shepard with wire
$12.00
PR002
Medasil Teflon Aural Grommets
Teflon grommets
Shepard without wire
$12.00
PR003
Medasil Teflon Aural Grommets
Teflon grommets
Shah with wire
$13.00
PR004
Medasil Teflon Aural Grommets
Teflon grommets
Shah without wire
$13.00
PR005
Medasil Teflon Aural Grommets
Teflon grommets
Collar button
$12.00
PR006
Medasil Teflon Aural Grommets
Teflon grommets
Reuter bobbin
$16.00
Tubing

LMA PacMed Pty Ltd
PM102
Tracheal Cannula System
Short and long term Cannula (Medical Grade
Diameter 9-13mm; Length 37m & 
$298.00

 Silicone)
101mm
PM103
Tracheal Cannula System
Cannula Speaking Valves (Medical Grade 
4-10
$125.00
Only able to be claimed once for 

Plastic)
the intial implant
PM104
Montgomery Safe-T-Tube
Paediatric, Standard, Thoracic, Extra-Long, 
Paediatric/Standard - 
$471.00

Tapered and Hebeler in clear and radiopaque
Clear/Radioplaque
Prostheses List by Category, Groups and Sponsor
Page 50 of 724
EAR, NOSE & THROAT

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PM106
Montgomery Safe-T-Tube
Paediatric, Standard, Thoracic, Extra-Long, 
ID 8/10, 10/13, 12, 15, 18mm; 
$549.00

Tapered, Hebeler and HMS, in clear and 
Length 76, 77, 79, 159, 163mm

radiopaque
PM115
Montgomery Safe-T-Tube
Paediatric, Standard, Thoracic, Extra-Long, 
ID 7, 9, 11mm; Length 100, 110mm
$769.00

Tapered, Hebeler and HMS
Prostheses List by Category, Groups and Sponsor
Page 51 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Accessories, Endoscopes

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS045
STAT TACK* and Endoscopic Tacker 
Endoscopic TACKER*; Titanium; Titanium 
20 tacks; 30 tacks; 5mm; 4mm, 
$429.00
Temporary Approval

Device; PROTACK* Hernia Stapling 
Surgical Stapler.
4.8mm (10 staples).

Product; ENDO UNIVERSAL*
AS073
ENDOCLIP*; Acuclip Single use 
Titanium Surgical Stapler
5mm (12 clips); One size only.
$412.00
Temporary Approval

Endoscopic Multiple Clip Applier.
AS074
ENDOCLIP*
Titanium Surgical Stapler
10mm (ML, M, L)-(20 clips)
$415.00
Temporary Approval

ConMed Linvatec Australia Pty Ltd
LV076
Richard Allan Endoscopic Accessories
Titanium endoscopic clips with applier
Medium-Large, 9mm closed. 20 clips
$243.00
Temporary Approval
LV081
Open Clip Applier
Titanium
25 medium size titanium clips
$149.00
$174.00
Temporary approval

Olympus Australia
OL001
Individual Ligating Clip
Rotatable Clip Fixing Device. Pack of 50 clips
MD-59 - 90 degree, standard; MD-
$11.25
Temporary Approval

850 - 135 degree, standard; HX-

600-090 - standard, sterile; HX-600-

135 - standard, sterile
OL002
Individual Ligating Clip
Rotatable Clip Fixing Device. Pack of 50 clips
MH-858 - 90 degree, long. MH-859 
$10.78
Temporary Approval

- 90 degree, short. MAJ-458 - 90 

degree, short. MAJ-459 -135 

degree, short.
OL006
Individual Ligating Clip
Ligating Device - loops. Pack of 10 loops.
MAJ-254-30mm loop;  MAJ-339- 
$32.69
Temporary Approval

13mm loop; MAJ-340 -20 mm loop
Anchor, Fixation

William A Cook Australia Pty Ltd
WC014
Cope Gastrointestinal Suture Anchor Set 
Standard, pediatric
$125.00

(GIAS)
Prostheses List by Category, Groups and Sponsor
Page 52 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Applier, Surgical Staple, Cutting

Johnson & Johnson Medical Pty Ltd
JJ568
Echelon 60mm Endocutter
Echelon 60mm Endocutter
Standard Compact Long
$595.00
Balloon Disector, Laparoscopic

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS136
Spacemaker™ Plus Dissection Balloon
Dissecting Device
Unilateral and Bilateral, Round and
$600.00

 Oval
Catheterization Kits, Central Venous

William A Cook Australia Pty Ltd
WC195
Cook Central Venous Catheterisation Kits
Long Term Drug Infusion Catheter With or 
Triple Lumen 12.5fr
$257.00

Without Clamp and Cuff
Clip Appliers

Applied Medical Australia Pty Ltd
MH008
Applied Medical Laparoscopic Clip 
Disposable Clip Applier made from 
Medium - large - 20 clips per device
$190.00
Temporary Approval, pending 

Applier - Disposable Cartridge - CA001 
polycarbonate, nylon, stainless steel, liquid 
review of product group

Box of 10
crystal polymer, bone wax, titanium clip.  

The disposable cartridge is used in 

conjunction with a reuseable handle.
MH009
Applied Medical Laparoscopic Clip 
Disposable Clip Applier made from 
Medium - large, 20 clips per device
$200.00
Temporary Approval, pending 

Applier - Disposable CA080 Box of 6
polycarbonate, nylon, stainless steel, liquid 
review of product group

crystal polymer, bone wax, titanium clip

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS001
Endoclip Disposable Loading Unit; 
Single use loading unit with 8 titanium clips; 
One size only
$69.00
Temporary Approval

MultApplier Disposable loading unit.
Disposable clip cartridge with 8 titanium clips
Prostheses List by Category, Groups and Sponsor
Page 53 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

C. R. Kennedy
CK003
Endox Visu-Loc Clip Applier
Single-use laparoscopic clip applier
Medium, Large
$265.00

Johnson & Johnson Medical Pty Ltd
JJ482
LIGAMAX 5mm Endoscopic Clip Applier
LIGAMAX 5mm Endoscopic Clip Applier
Medium / Large
$412.00
Clip, internal, ligating

C. R. Kennedy
CK001
Microline Pentax Disposable 10ml Titanium
Disposable cartridge containing 19 surgical 
medium/large clip
$115.00

 K2 Clip Cartridge
grade titanium clips delivered using a re-

usable hand piece applier
CK002
Microline Pentax Disposable 10ml Titanium
Disposable cartridge containing 10 surgical 
Medium/Large Clip
$90.00

 K2 clip Cartridge
grade titanium clips delivered using a 

reusable hand piece applier.
Clips

Olympus Australia
OL009
Rotatable Clip fixing device
Endoscopic Mechanical
Standard or long clip length, 9 or 
$135.00

11mm jaw opening

William A Cook Australia Pty Ltd
WC213
Endoscopic Clipping Device
TriClip Endoscopic Clipping Device
7Fr - 3 Prong 12mm, 8Fr - 3 prong 
$136.00

12mm
Clips, Hemostatic

Boston Scientific Australia Pty Ltd
BS082
Resolution Clip Device
Pre-loaded endoscopically applied clip, 
7Fr, 11mm jaw opening
$140.00

radiopaque stainless steel & cobalt chrome.
Prostheses List by Category, Groups and Sponsor
Page 54 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Device

Johnson & Johnson Medical Pty Ltd
JJ435
EndoANCHOR
EndoANCHOR System with Nitinal Anchors
Device Length 482; Device Shaft 
$429.00

Length 360mm; Shaft Diameter 

5mm; Implantable Construct Width

 6.7mm, Implantable Construct 

length 5.9mm
JJ564
ECHELON 60mm Endocutter Reload
ECHELON 60mm Endocutter Reload
60mm
$235.00
Ligators

Olympus Australia
OL010
Ligation device
Disposable pre-assembled applier and 
Sheath Length 1650-2300mm
$110.00

ligating loop
Port, Infusion, Implantable

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG018
HAGA Acess Port
Access Port contains Titanium and Silicone
Standard
$600.00
Prostheses, Bile Duct

William A Cook Australia Pty Ltd
WC166
Solus Biliary Stent  Set
Double Pigtail with OASIS introducer. Sof-
Diameter 10 FR, Length:1 - 15 cm 
$296.00

flex material - with radiopaque bands.
Between pigtails
Prosthesis, Internal, Stent

Medtel Australia Pty Ltd
ME124
Emphasys Endobronchial Valve
One way valve
Small, Medium, Large
$6,300.00
Prostheses List by Category, Groups and Sponsor
Page 55 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prosthesis, internal, stent, biliary

ConMed Linvatec Australia Pty Ltd
LV106
Niti-S ComVi Biliary Stent (Fully Covered)
The Niti-S ComVi Biliary Stent (Fully 
8mm to 10mm diameter x 4cm to 
$3,700.00

Covered) is comprised of 2 Nitinol D-type 
12cm length

stents with a layer of polytetraethylene 

(PTFE) between that fully envelopes the 

proximal and distal ends of the stent, 

resulting in an integrated structure designed

 to prevent tissue invasion.
Prosthesis, internal, stent, bronchial

ConMed Linvatec Australia Pty Ltd
LV105
Niti-S Bronchial Stent
Bronchial Nitinol Self Expanding Metal 
10mm to 14mm diameter x 3cm to 
$3,200.00

Stent, Expanded Poly Tetra Fluoro Ethylene 
6cm length

(ePTFE) covered, with retrieval suture
Prosthesis, internal, stent, oesophageal

Ackermann Australia Pty Ltd
AK002
Stent, oesophageal, dudodenal, rectal, 
self expandable nitinol stent with introducer 
20,30,40,50,60,70,80,90,100,110,120
$1,200.00

system
mm

Device Technologies Australia Pty Ltd
DE262
ALIMAXX-E Esophageal Stent System
Esophageal stent, radiopaque, self 
Diameter 18-22mm, Length 70-120mm
$2,500.00

expanding nitinol covered stent, premounted

 on a delivery system
Prosthesis, Internal, Stent, Pancreatic

William A Cook Australia Pty Ltd
WC212
Zimmom Pancreatic Stent
Single pigtail radio-opaque Polyethylene 
Diameter 3 - 7 FR, Length 3 - 18cm
$93.00

Stent with or without ductal flaps
Prostheses List by Category, Groups and Sponsor
Page 56 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prosthesis, internal, stent, tracheal

ConMed Linvatec Australia Pty Ltd
LV104
Niti-S Tracheal Stent
Tracheal Nitinol Self Expanding Metal Stent, 
16mm to 20mm diameter x 3cm to 
$3,200.00

ePTFE covered with retrieval suture
10cm length
Staples, Tissue

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS046
Endo GIA* Universal Stapling System; 
Multifire 30 disposable stapler with titanium 
12mm; One size only.
$415.00
Temporary Approval

Versafire GIA*.
staples; Disposable surgical stapling 

instruments or cartridges.
AS076
ENDO TA* reloading unit
Titanium Surgical Stapler DLU
30mm -2.5, 30mm-3.5
$186.00
Temporary Approval
AS077
ENDO GIA*
Titanium Surgical Stapler
30 - 35mm
$615.00
Temporary Approval
AS081
ENDO GIA* reloading unit
Titanium Surgical Stapler DLU
30 - 35mm; 45mm; 60mm.
$246.00
Temporary Approval
AS092
ENDO - Herna reloading unit; VERSA 
Titanium Surgical Stapler DLU
4mm, 4.8mm (10 staples).
$108.00
Temporary Approval

TACK* reloading unit.
AS095
STAT TACK*  and Endoscopic Tacker 
STAT TACK*
One size only
$231.00
Temporary Approval

Device
Stents

Boston Scientific Australia Pty Ltd
BS071
Ultraflex Precision Colonic Stent System
The Ultraflex Precision Colonic Stent System
Dia 25mm along body and 30mm at
$3,000.00

 consists of a self-expanding metal stent and
 flared distal section.  Stent Length

 a delivery catheter.
 60 - 120mm

ConMed Linvatec Australia Pty Ltd
LV101
Niti-S Colorectal Stent D-type
Niti-S D- type Colorectal self-expanding 
Diameters: 18 - 28mm Lengths: 60 - 
$3,400.00

metal stent made from Nitinol in unique D 
120mm

mesh construction, uncovered OTW or TTS.

  With string for ease of removal.
Prostheses List by Category, Groups and Sponsor
Page 57 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
LV102
Niti-S Colorectal Stent
Niti-S Colorectal self-expanding metal stent 
Stent Dimensions mm: 18x26x30, 
$2,900.00

made from Nitinol.  Stent PTFE covered and 
18x24x30, 20x26x30, 22x30x30, 

uncovered OTW or TTS with string for ease 
24x30x30, 20x28x30 Length mm: 30-

of removal.
90

N Stenning  & Co Pty  Ltd
NG050
Hanarostent Colo-Rectal Stent
Colo-Rectal Stent Silicone covered Nitinol 
16mm - 24mm Diameter, 38mm - 
$1,596.00

Wire 99% Pure Gold complete with delivery 
130mm Length

device
Stents, Biliary

Bard Australia Pty Ltd
BA124
Memotherm Biliary Stent
Nitinol. Includes deployment system
Sizes - Diameter 8 - 10mm, Length 
$2,200.00

40 - 100mm

Boston Scientific Australia Pty Ltd
BS066
Biliary Drainage Stent, Amsterdam Biliary 
The Biliary Stent is supplied with a push 
French Size 7Fr to 12Fr, Length 
$200.00

Stent
catheter and possibly a guide catheter.
between pigtails/barbs:  5cm to 15cm
BS070
Wallstent RX Biliary Endoprosthesis with 
Self-expanding metal stent constructed from 
Diameter: Up to 10mm, Stent 
$3,000.00

Unistep Plus delivery System
a biomedical Cobalt-based super alloy wire, 
Length: Up to 100mm

Eligiloy, with a tantalum core.  The stent is 

either bare or covered with silicone. The 

stent is mounted on a delivery catheter.
BS117
WallFlex Biliary RX Stent
TTS, closed cell, catheter delivery system, 
Lengths up to 10cm
$3,500.00

nitinol

ConMed Linvatec Australia Pty Ltd
LV094
Niti-S Pyloric Stent D-type
Niti-S Pyloric self-expanding metal stent D-
Diameter:  16 - 18mm Length: 40 - 
$3,000.00

type made from Nitinol in D mesh 
120mm

construction, uncovered, OTW or TTS
LV095
Niti-S Biliary Stent D-Type
Niti-S Biliary Stent D-Type Uncovered.  
10mm Diameter x 50 - 120mm length
$3,000.00

Deployed via stent delivery system for use 

TTS or percutaneously
LV096
Niti-S Biliary Stent Y-Type and T-Type
Niti-S Biliary is a self expanding metal stent, 
10mm Diameter x 5 - 10cm Length
$3,000.00

made from Nitinol uncovered.  Stent Y-Type 

for TTS approach, T-Type for percutaneous 

approach.
Prostheses List by Category, Groups and Sponsor
Page 58 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
LV097
Niti-S Biliary Stent
Niti-S Biliary Stent is a self expanding Nitinol
10mm Diameter x 5 - 10cm Length
$2,900.00

 metal stent made from single wire 

construction with shape memory, 

uncovered.  Also available covered with 

5mm bare at both ends.  Loaded via stent 

delivery system for use TTS or 

William A Cook Australia Pty Ltd
WC174
Zilver Biliary Stent System
Self expanding Metal Biliary Stent System
Diameters: 6, 8, 10mm; Lengths: 4, 
$2,500.00

6,8cm
WC200
Fusion Zilver Biliary Stent System
Self expanding Metal Biliary Stent with 
Diameters: 6, 8 & 10mm; length: 4, 
$2,752.00

Fusion Introducer System
6 & 8cm
WC228
Tannenbaum Biliary Stent Set preloaded 
Plastic Biliary Stent
8.5 - 11.5 Fr,   5 - 15 cm
$210.00

on the OASIS Introduction System
Stents, Esophageal

Boston Scientific Australia Pty Ltd
BS089
WallFlex Oesophageal Metal Stent
TTS, closed cell, catheter delivery system, 
Lengths: up to 15cm
$3,500.00

nitinol
BS090
WallFlex Enteral Metal Stent 
TTS, closed cell, catheter delivery system, 
Lengths: up to 15cm
$3,500.00

(Duodenal/Colonic)
nitinol

ConMed Linvatec Australia Pty Ltd
LV099
Niti-S Oesophageal Stent
Niti-S Oesophageal sefl-expanding metal 
Diameter: 24 x 16 to 26 x 18mm  
$3,400.00

stent made from Nitinol.  Available PTFR 
Length:  60 - 150mm

covered, uncovered or bare head with string 

for removal or repositioning.
LV100
Niti-S
Oesophageal Double Stent anti reflux type
16mm - 24mm x 60 - 150mm length
$3,500.00

Endotherapeutics Pty Ltd
ET045
Boubella Esophageal Stent
Self expandable stainless steel wire stent 
Length 90 - 195mm
$4,100.00

with anti-reflux valve

N Stenning  & Co Pty  Ltd
NG048
Hanarostent/Choostent Covered 
Oesophageal Covered Stent Silicone Nitinol 
Diameter: 18mm - 22mm Usable 
$2,500.00

Oesophageal Stent
Wire 99% Pure Gold Complete with delivery 
Length: 30mm - 130mm

device
Prostheses List by Category, Groups and Sponsor
Page 59 of 724
ENDOSCOPIC PRODUCTS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Pyramed (Australia) Limited
PY007
Sinus-Esophageal Stent
Self expanding stent made of nickel - 
Diameter 24-18-24mm, length 
$3,000.00
$3,300.00

titanium alloy
50,70,90,120mm; Diameter 26-20-26,

 length 50,70,90,120mm
Stents, Vascular

Endotherapeutics Pty Ltd
ET038
SX-Ella Biliary Stent
Uncovered, self-expanding nitinol stent
Dia 8-12mm, length 50-77mm
$3,600.00
ET039
SX-Ella Tips Stent
Uncovered, self-expanding nitinol stent
Dia 10-14mm, length 52-77mm
$4,000.00
Prostheses List by Category, Groups and Sponsor
Page 60 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Adhesives, Aerosol

Medical Vision Australia Pty Ltd
MF003
Steritalc
Sterile granules of talc implanted in pleural 
3 grams & 4 grams
$60.00

space to act as permanent adhesive
Adhesives, Liquid

Baxter Healthcare Pty Ltd
BX252
CoSeal Surgical Sealant
Composition: two synthetic polyethelene 
2ml
$320.00
Temporary approval, pending 

glycols (PEG's), COH102 and COH206, 
review of product group

premixed and filled into one syringe, a dilute 

hydrogen chloride solution and a sodium 

phosphate/sodium carbonate solution
BX253
CoSeal Surgical Sealant
Composition: two synthetic polyethelene 
4ml
$600.00
Temporary approval, pending 

glycols (PEG's), COH102 and COH206, 
review of product group+

premixed and filled into a syringe, a dilute 

hydrogen chloride solution and a sodium 

phosphate sodium carbonate solution
BX254
CoSeal Surgical Sealant
Composition: two synthetic polyethelene 
8ml
$1,120.00
Temporary approval, pending 

glycols (PEG's), COH102 and COH206, 
review of product group+

premixed and filled into a syringe, a dilute 

hydrogen chloride solution and a sodium 

phosphate sodium carbonate solution

Johnson & Johnson Medical Pty Ltd
JJ576
Ethicon Omnex Surgical Sealant
Omnex Surgical Sealant
0.5 ml
$275.00
Anchor, Bone-Implanted, Soft-Tissue, Non-Biodegradable

TiMax Surgical Pty Ltd
TI097
ParaFix Anchor
Tendon to bone anchor
ParaFix Anchors are available in: 
$395.00

3mm,5mm and 6.5mm
Prostheses List by Category, Groups and Sponsor
Page 61 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Anesthesia Kits, Other

Ultimate Medical Pty Ltd
UM001
LA Bubble
Balloon based local anaesthetic infusion 
One size only
$180.00

system
Applicator, surgical sealant, dual-channel

Advanced Biomedical Pty Ltd
AB065
Bioglue Surgical Adhesive - Rigid 
34cm Rigid Applicator Tip (used in 
One size only
$250.00

Applicator Tip 34cm
conjunction with Bioglue Solution 

Cartridges and Delivery Device - supplied 

separately, to enable precise delivery of 

BioGlue Surgical Adhesive over an extended

 length via a laparoscope, thoracoscope or 
Appliers

N Stenning  & Co Pty  Ltd
NG042
Weck Hem-o-lok
Hem-o-lok Automatic Open Applier
15 Clips per applier
$229.00
Temporary approval
NG043
Weck Hem-o-lok
Hem-o-lok Automatic Endo Applier
15 Clips per applier
$309.00
Temporary approval
Balloons, Gastric, Appetite-Suppressing

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG002
Heliogast Adjustable Gastric Ring
Silicone and Titanium
HAGM (medium) Inner Diameter 
$3,264.00

27.5mm; HAGS (small) Inner 

Diameter 25mm; HAGA 

(advanced) Inner Diameter 27mm
Prostheses List by Category, Groups and Sponsor
Page 62 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Barrier, Absorbable, Adhesion Prevention

Genzyme Australasia Pty Ltd
GE006
Seprafilm Adhesion Barrier
Sodium hyaluronate carbomethylcellulose 
13cm  x 15cm
$339.00

membrane
Brachytherapy Sources

Global Medical Solutions Australia Pty Ltd
GL001
Advantage I-125 Seed
Advantage I-125 per patient up to 120 seeds
3mm x 0.5mm silver rod within 4.5 x 
$6,500.00

0.8mm sealed titanium capsule
GL002
Advantage I-125 Seed
Advantage I-125 per seed
3mm x 0.5mm silver rod within 4.5 x 
$55.00

0.8mm sealed titanium capsulre

Nucletron Pty Limited
NU001
selectSeed
Nucletron selectSeed Model # 130002 
One size only
$86.00
Only to be funded where used in a 

consists of cylindrical silver rod, coated with
service for which a medicare benefit

 radioactive Iodine-125 layer. Active silver 
 is payable (current MBS items are 

rod is encapsulated in hollow titanium tube. 
37220, 15338)

Laser welding, using sperical shaped end 

welds, seals the tube.

Oncura Pty Limited
ON001
Iodine 125 - 'Rapid Strand' Brachytherapy 
Rapid Strand consists of 10 welded titanium 
One size each
$6,500.00
Only to be funded where used in a 

Implant, Iodine 125 - 'OncoSeeds' 
capsules containing iodine-125 absorbed 
service for which a medicare benefit

Brachytherapy Implant
onto a silver rod.  OncoSeeds consists of 
 is payable (current MBS items are 

the loose seeds only.
37220, 15338)
ON002
Iodine 125 - Rapid Strand Brachytherapy 
I-125 Rapid Strand, code IMC 7000, consists 
One size only
$55.00
$65.00
Only to be funded where used in a 

Implant; OncoSeeds Brachytherapy Implant
of 10 welded titanium capsules containing 
service for which a medicare benefit

iodine 125. This assembly is sterile, the 
 is payable (current MBS items are 

acitivity of the capsules "seeds" is available 
37220, 15338)

from 0.18mCi to 0.70mCi.  Individual I-125 

capsules (seeds) are also available as 

OncoSeeds IMC6711.  To be used only if 

more than 120 seeds are used per patient.
Prostheses List by Category, Groups and Sponsor
Page 63 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Sirtex Medical Limited
SE001
SIR-Spheres including Delivery Apparatus
Biocompatible microspheres 20-60mm 
One size only
$7,650.00
$8,014.00
Temporary listing pending review

(microns) in diameter containing yttrium-90. 

Delivery apparatus is PVC tubing, ABS 

stopcocks, acrylic holders and stainless 

steel needles with PE hubs
Catheter Injection Ports

Mayo group
CM007
Vascular Ports - Implantable Vascular 
Arrow Model No.'s VARRX AP01007, 
Ports - H15.5mm x L28.6mm, 
$507.00

Access System
AP06010, AP06013, AP06014, AP06015, 
Weight 9.2grams, Internal Vol. 

AP06018, AP06520.  Titanium Port with self 
0.8ml.  Catheter 75cm

sealing silicone septum and either attached 

or detached silicone catheters. Include 

relevant size Introducer Kit.
CM008
Vascular Ports - Implantable Vascular 
Arrow Model No.'s   AP6528, AP06530, 
Ports - H15.5/17.1mm x L28.6mm, 
$1,275.00

Access System
AP06535, .  Double Titanium ports with self 
Weight 19.9grams, Internal Vol.  

sealing silicone septums and either attached 
0.8 - 1.0ml each side.  Catheters 75cm

or detached dual lumen silicone catheters. 

Include relevant sized Introducer Kit.
Catheter, Angioplasty, Baloon Dilation

Boston Scientific Australia Pty Ltd
BS122
Wingspan Stent and Gateway Balloon 
Wingspan Self Expanding Nitonol Stent and 
Stent diameters: 2.5mm to 4.5mm; 
$8,750.00

Catheter
Gateway Neurovascular PTA Ballon 
Stent lengths: 9.0mm to 20.0mm
Catheterization Kits

Medtronic Australasia Pty Ltd
MC070
Medtronic AlgoLIne Catheter System 
Model 81104.  Radiopaque silicone
85cm
$385.00
Prostheses List by Category, Groups and Sponsor
Page 64 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheterization Kits, Central Venous

Medical Specialties  Australia Pty Ltd
MS008
Catheterisation kits(Horizon Medical)
Central Venous Catheter - Apheresis Bone 
12.5F
$640.00

Marrow Transplantation Catheter, silicone
Catheterization Kits, Intravenous

Mayo group
CM011
Arrow Peripherally Inserted Central 
Model No.'s VARRC PC01351.  Polyurethane
3Fr x 55cm
$112.00

Catheterisation Sets  
 single lumen catheters with stylet.
CM012
Arrow Peripherally Inserted Central 
Model No.'s VARRC PC01451, PR05041, 
4Fr x 55cm
$112.00

Catheterisation Sets  
Polyurethane single lumen catheters with or 

without stylet.
CM013
Arrow Peripherally Inserted Central 
Model No.'s VARRC PC01552, PR05052, 
5Fr x 55cm & 70cm
$112.00

Catheterisation Sets  
PR07051 Polyurethane single and double 

lumen catheters with or without stylet.

Medtronic Australasia Pty Ltd
MC064
Implantable Drug Pump Accessories
8590-8, 8590-9 - Synchromed catheter 
20cm; one size only;  38-60cm
$163.00

accessory kit -  Radiopaque silicone, 

8590RAC - Right angled connector -  

Titanium, polyurethane,  8591-38, 8691-60, 

8590-41 Tunnelling rods - Stainless Steel, 

8575 Synchromed connector (40 degree) 

with catheter access port, 8577 Isomed 

connector (90 degree) without catheter 

access port, Right Angle Connectors - 

Models 8575 40 Deg, Model 8577 90 Deg;
Prostheses List by Category, Groups and Sponsor
Page 65 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Biliary

William A Cook Australia Pty Ltd
WC071
Nasobiliary Drainage Set
Biliary/Pancreatic
DRAINAGE CATHETER Fr size:  
$250.00

5,6,7,8.5 Length:  250cm Sideports: 

5cm WIRE GUIDE Diameter: .035 

inch Length: 480cm Color 

Connection purple
WC216
Fanelli Laparoscopic Endobiliary Stent Set
Fanelli stent (double flange white 
7.0 French diameter x 6cm length 
$585.00

polyehtylene), tracer Hybrid .035"X150cm 
double flange stent loaded in an 

Guide (slippery wire), 8.5 Fr Introducer and 
8.5 fr delivery system.

Pusher Catheter (TFE) System with four 

radiopaque accuracy markers, two way 

terminal adapter
Catheters, Central Venous, Long Term

Medtronic Australasia Pty Ltd
MC068
Medtronic SynchroMed vascular catheter
Model 8700, 8700A, 8710.  Radiopaque 
62 to 89cm
$830.00

silicone

William A Cook Australia Pty Ltd
WC116
Cook Central Venous Long Term Catheter
Cook TPN single lumen catheter
Fr 3, length 55, 65cm; Fr 4, length 
$142.00

65cm, Fr 6.5, 9.5, length 90cm
WC117
Cook Central Venous Long Term Catheter
Cook TPN single lumen catheter set
Fr 3, length 55; Fr 4, length 65cm, 
$202.00

Fr 6.5 length 65, 90cm, Fr 9.5, 

length 90cm
WC118
Cook Central Venous Long Term Catheter
Cook TPN double lumen catheter
Fr 5, length special; Fr 7, length 
$201.00

65cm, Fr 9 length 80, 90cm, Fr 12, 

length special
WC119
Cook Central Venous Long Term Catheter 
Cook TPN double lumen catheter set
Fr 7, length 65cm, Fr 9 length 90cm,
$261.00

Set
 Fr 12, 90, special
WC121
Cook Central Venous Long Term Catheter
Cook TPN triple lumen catheter
Fr 8, length 90cm
$225.00
WC122
Cook Central Venous Long Term Catheter
Cook TPN triple lumen catheter set
Fr 8, length 90cm
$270.00
Prostheses List by Category, Groups and Sponsor
Page 66 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Epidural

Smiths Medical Australasia Pty Ltd
SI020
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.2 mm O.D. polyurethane catheter
$458.00

CATH II Epidural Low Profile System
SI021
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
0.9 mm O.D. polyurethane catheter
$458.00

CATH II Intraspinal Low Profile System
Catheters, Irrigation

William A Cook Australia Pty Ltd
WC196
Cook Irrigation Catheter
Chait Percutaneous Cecostomy Set 
10fr, Set
$920.31

consisting of: Suture Anchor Set, Drainage 

Catheter, Wireguide, Cecostomy Catheter 

Set, Adapter, Connecting Tube
WC197
Cook Irrigation Catheter
Chait Percutaneous Cecostomy Catheter
10fr, Standard or Extra Long
$351.00
Catheters, Jejunostomy

William A Cook Australia Pty Ltd
WC098
Cook Jejeunostomy Catheters
Composition - Catheter Radiopaque Stripe, 
12fr, length 66cm
$163.00

includes Wireguide, Airplug, Fixation 
WC099
Cook Jejunostomy Catheters
Composition - Catheter Radiopaque Stripe, 
9fr, Length 24cm
$163.00

includes Wireguide, Airplug, Fixation 
WC198
Cook Jejunostomy Catheters
Heidelberg Jejunostomy Catheter
12fr, 60cm
$163.00
Prostheses List by Category, Groups and Sponsor
Page 67 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Peritoneal Dialysis

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd
KA001
Tenckhoff Peritoneal Dialysis Catheter
Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff
42cm to 47cm length. All Peritoneal
$162.64

 Catheters excluding the Swan 

Neck Fast Flow Catheter, have an 

internal diameter of 2.67mm and an 

external diameter of 4.95 mm.
KA002
Tenckhoff Peritoneal Dialysis Catheter
Paediatric 2 cuff, Paediatric 1 cuff, Neonatal 
31cm to 37 cm length. All 
$178.22

1 cuff
Peritoneal Catheters excluding the 

Swan Neck Fast Flow Catheter, 

have an internal diameter of 

2.67mm and an external diameter of

 4.95 mm.
KA003
Fast Flow Peritoneal Dialysis Catheter 
Swan Neck, 2 cuff
Int.diam: 3.2mm; ext diam 
$246.44

5.49mm.All Peritoneal Catheters 

excluding the Swan Neck Fast 

Flow Catheter, have an internal 

diameter of 2.67mm and an external

 diameter of 4.95 mm.
KA004
Swan Neck Curl Peritoneal Dialysis Catheter
Adult 2 cuff, left
62 cm length. All Peritoneal 
$294.99

Catheters excluding the Swan 

Neck Fast Flow Catheter, have an 

internal diameter of 2.67mm and an 

external diameter of 4.95 mm.
KA005
Swan Neck or Swan neck Tenckhoff 
Adult-left, Adult-right, Adult, 2 cuff-left, 
20 to 25cm external segment or 
$213.90

Peritoneal Dialysis Catheter
Adult, 2 cuff-right
43cm length. All Peritoneal 

Catheters excluding the Swan 

Neck Fast Flow Catheter, have an 

internal diameter of 2.67mm and an 

external diameter of 4.95 mm.
KA006
Tenckhoff Peritoneal Dialysis Catheter, Curl
Adult, 2 cuffs
57 to 62cm length. All Peritoneal 
$199.36

Catheters excluding the Swan 

Neck Fast Flow Catheter, have an 

internal diameter of 2.67mm and an 

external diameter of 4.95 mm.
Prostheses List by Category, Groups and Sponsor
Page 68 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Clips, Hemostatic

N Stenning  & Co Pty  Ltd
NG025
Hem-o-Lok Polymer Non-Absorbable 
Hem-o-lok Medium (M), Medium-Large 
Medium, Medium-Large, Large
$40.00
$48.06
Temporary Approval

Ligating Clip
(ML) and Large (L) Polymer Clips
NG044
Hem-o-lok Polymer Non-Absorbable 
Hem-o-lok Extra-large (XL) Polymer Clips
Extra-large (XL)
$40.00
$70.42

Ligating Clip
Clips, Ligating

LMT Surgical Pty Ltd
LM042
Synovis Microclip
Malleable titanium clip
One size only
$25.00
Temporary approval, pending 

review of product group

N Stenning  & Co Pty  Ltd
NG006
Horizon Ligating Clips  
Ligation Clips Titanium 
Small (6 per cartridge)  
$10.00
Temporary Approval
NG007
Horizon Ligating Clips  
Ligation Clips Titanium 
Small  (24 per cartridge)
$39.55
Temporary Approval
NG008
Horizon Ligating Clips  
Ligation Clips Titanium 
Medium (6 per cartridge), Micro (6 
$11.14
Temporary Approval

per cartridge)
NG009
Horizon Ligating Clips  
Ligation Clips Titanium 
Medium  (24 per cartridge)
$41.02
Temporary Approval
NG010
Horizon Ligating Clips  
Ligation Clips Titanium 
Medium/Large (6 per cartridge)
$11.00
$21.87
Temporary Approval
NG011
Horizon Ligating Clips  
Ligation Clips Titanium 
Medium/Large (24 per cartridge)
$40.00
$90.86
Temporary Approval
NG012
Horizon Ligating Clips  
Ligation Clips Titanium 
Large (6 per cartridge)
$11.00
$22.85
Temporary Approval
NG013
Horizon Ligating Clips  
Ligation Clips Titanium 
Large (24 per cartridge)
$40.00
$93.50
Temporary Approval
Clips, Other

N Stenning  & Co Pty  Ltd
NG014
Hemoclip 
Titanium Clips
Small, Medium (25 per cartridge); 
$25.00
$34.02
Temporary Approval

Large (15 per cartridge)
NG016
Hemoclip 
Titanium Clips
Medium  (10 per cartridge) 
$16.00
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 69 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NG017
Hemoclip 
Titanium Clips
Small (10 per cartridge) 
$15.00
Temporary Approval
NG018
Hemoclip  
Titanium Clips
Med-large (10 per cartridge) 
$17.11
Temporary Approval
NG019
Hemoclip 
Titanium Clips
Large (10 per cartridge) 
$17.00
$22.71
Temporary Approval
NG023
Hemoclip Plus 
Ligation System Small and Medium
15 small preloaded clips and 20 
$151.00
Temporary Approval

medium preloaded clips
Clips, Vascular

N Stenning  & Co Pty  Ltd
NG020
EZLoad Ligating Clips  
Titanium Clip 
Small (25 per cartridge); Med-
$24.75
$28.71
Temporary Approval

Large, Large (10 per cartridge) 
NG021
EZLoad Ligating Clips  
Titanium Clip 
Medium (25 per cartridge) 
$34.02
Temporary Approval
NG022
EZLoad Ligating Clips  
Titanium Clip 
Small, Medium (10 per cartridge) 
$17.00
$19.45
Temporary Approval

Tag Medical
TM035
ANASTOCLIP (VCS)
VCS - Small
0.9mm
$410.00
TM036
ANASTOCLIP (VCS)
VCS - MEDIUM
1.4mm
$384.00
TM037
ANASTOCLIP (VCS)
VCS - LARGE
2.0mm
$384.00
TM038
ANASTOCLIP (VCS)
VCS - X-LARGE
3.0mm
$384.00
Cuff, internal, nerve, biodegradable

LMT Surgical Pty Ltd
LM071
Neurolac Nerve Guide
Bioresorbable Nerve Conduit
1mm-10mm diameter, 3cm length
$1,430.00
$1,495.00
Delivery Kits

Surgical Synergies Pty Ltd
SS001
PainBuster
Kit includes catheter, introducer needle, flow
270ml volume x 2 lines x 2 ml per 
$450.00

 restrictor, filter, bolus
hour; 270ml x 2ml, 5ml bolus; 270ml

 x 1-7ml/hr
Prostheses List by Category, Groups and Sponsor
Page 70 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SS002
PainBuster
Kit includes catheter, introducer needle, flow
100ml volume x 2 ml per hour
$250.00

 restrictor, filter
SS003
PainBuster
Kit includes catheter, introducer needle, flow
270ml volume x 2 ml per hour
$300.00

 restrictor, filter
SS004
PainBuster
Kit includes catheter, introducer needle, flow
270ml volume x 5 ml per hour
$300.00

 restrictor, filter
SS005
Painbuster
Kit includes catheter, introducer needle, flow
270ml x 4ml/hr, dual; 400ml x 4ml 
$610.00

 restrictor, filter
per hour, dual
SS006
Painbuster
Kit includes catheter, introducer needle, flow
400ml
$450.00

 restrictor, filter, 2 - 14ml/hour
Drainage system, pleural

Endocorp Pty Ltd
EC046
Pleurx
Pleurx Pleural Catheter Mini Kit
Catheter 24cm x 15.5Fr
$850.00
Dressings, Resorbable, Antiadhesion

Endotherapeutics Pty Ltd
ET051
Surgiwrap
Bio Absorbable Antiadhesion Barrier
All sizes with and without suture 
$495.00
Temporary approval - funded when

holes
 clinical indications are present.

Johnson & Johnson Medical Pty Ltd
JJ010
Interceed Absorbable Adhesion Barrier
Oxidized Regenerated Cellulose
7.6cm x 10.2cm
$168.00
Temporary Approval - Funded 

when clinical indications for use are

 present.
Drug Delivery System

Biomet Australia Pty Ltd
BI280
Septopal Chain Septopal Beads
PMMA, Stainless Steel
30 bead chain
$555.00
Prostheses List by Category, Groups and Sponsor
Page 71 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Enteral Feeding Kits

Abbott Australasia Pty Ltd
AY002
Flexiflo inverta PEG kit Basic, Flexiflo 
Composition - biocompatible silicone tube.  
20F
$200.00

inverta PEG kit with snare
Items included in kit/product - Sliding 

retention disc, Insertion wire, Gastrostomy 

tube with attached Dilator Catheter, 

seldinger needle 14g, magna port connector, 

scalpel, Snare (in kit with snare)
AY003
Durapeg kit
Composition - biocompatible Polyurethene 
16F
$230.00

tube.  Items included in kit/product - Sliding 

retention disc, drum wire dispenser, 16 

french peg tube, pinch clamp, luer lock 

connector, scalpel.  Endoscopically removed
AY004
Hide-A-Port
Composition - biocompatible silicone.  Items 
Size: 14 french, length: 1.5cm; Size: 
$170.00

included in kit/product - 1 low profile 
16 french, Length: 1.5, 2.0cm; Size: 

Balloon Gastrostomy tube, Straight 
18 french, Length: 1.2cm, 1.5cm, 

extension tube, Extension tube with right 
1.7cm, 2.0cm, 2.3cm, 2.5cm, 3.0cm, 

angle adaptor, luer lock syringe, lubricant.
3.5cm, 4.0cm; Size: 20 french, 

Length: 2.0cm, 2.7cm, 3.0cm, 3.5cm,

 4.0cm; Size: 24 french, Length: 

1.7cm, 2.0cm, 2.5cm, 2.7cm, 3.5cm

Bard Australia Pty Ltd
BA047
Gastrostomy Tube
Silicone Tubes and Replacement Tubes
12 - 24 French
$237.00
BA075
Gauderer Ponsky 20Fr PEG Kits and Tubes
Genie PEG/Button System and replacement 
20Fr
$365.00

tubes

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd
KA015
Entristar Skin Level Gastrostomy Kits
Skin level non-balloon internal retention 
16fg x 1.5cm, 16fg x 1.7cm, 16fg x 
$226.60
Temporary approval, pending 

bolster gastrostomy kit, including Entristar 
2.0cm, 16fg x 2.7cm, 16fg x 3.0cm, 
review of product group

gastrostomy tube, accessory bolus and 
16fg x 3.5cm, 20fg x 1.5cm, 20fg x 

continuous feeding tubes, syringes for 
2.ocm, 20fg x 2.5cm, 20fg x 3.0cm, 

inflation and flushin. Patient handbook
20fg x 3.5cm, 20fg x 4.0cm, 20fg x 

4.5cm
KA016
Kangaroo Gastrostomy Feeding Tubes
100% silicone gastrostomy with internal 
12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 
$84.46

retention balloon
24fg
Prostheses List by Category, Groups and Sponsor
Page 72 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
KA017
NutriPort Balloon Skin Level Gastrostomy 
Skin level silicone balloon gastrostomy kit, 
12fg x 0.8 - 5.0cm, 14fg x 0.8 - 
$195.70
Temporary approval, pending 

Kit
including NutriPort gastronomy tube, 
5.0cm, 16fg x 0.8 - 5.0cm
review of product group

accessory bolus and continuous feeding 

tubes, syringes for inflation and flushing, 

Patient handbook

Kimberly-Clark Australia Pty Limited
KI001
Kimberly-Clark Aust Pty Ltd Enteral 
68914 MIC Gastrostomy Tubes Model 100 
MIC* Percutaneous Endoscopic 
$200.00

Feeding Kit
Series
Gastrostomy (P.E.G) Feeding 

Tubes/Kits 14, 20, 24 French #0630

 Series PUSH (OTW) Method & 

#0640Series PULL Method
KI002
Kimberly-Clark Aust Pty Ltd Enteral 
68914 MIC Gastrostomy Tubes Model 100 
MIC* Percutaneous Endoscopic 
$161.00

feeding kit, Mic* Percutaneous 
Series
Gastrostomy (P.E. G) Feeding 

Endoscopic Gastrostomy (P.E.G) Feeding 
BASIC Tubes/Kits 14, 20, 24 

French#0644 Series PULL Method
KI003
Kimberly-Clark Aust Pty Ltd Enteral 
68914 MIC Gastrostomy Tubes Model 100 
Feeding Adaptors (Universal or 
$26.00

feeding kit, Mic* Percutaneous 
Series
Bolus) for use with 14, 20 &24 F 

Endoscopic Gastrostomy (P.E.G) Feeding 
MIC* PEG's#0135 &#0136 Series
KI004
Kimberly-Clark Aust Pty Ltd Enteral 
68914 MIC Gastrostomy Tubes Model 100 
MIC-KEY* Low Profile 
$200.00

feeding kit, MIC-KEY Low Profile 
Series
Gastrostomy Feeding Tubes/Kits 

Gastrostomy Feeding Tubes/Kits
14 - 24 French, 0.8 cm - 4.5 cm
KI005
Kimberly-Clark Aust Pty Ltd Enteral 
68914 MIC Gastrostomy Tubes Model 100 
SECUR-LOK* Extension Sets & 
$120.00

feeding kit, MIC-KEY Low Profile 
Series
Bolus Feeding Sets 30.5 cm & 60.9 

Gastrostomy Feeding Tubes/Kits
cm
KI007
MIC* Gastrostomy Feeding Tube; MIC* 
Medical Grade Silicone Construction. 
12fr - 3-5ml balloon, 14fr - 3-5ml 
$110.00

Bolus Gastrostomy Tube
Silicone Internal Inflatable Retention 
balloon, 16fr - 3-5ml balloon, 18fr - 

Balloon, SECU-LOK* External Retention 
7-10ml balloon, 20fr - 7-10ml 

Ring, Universal Feeding Port Connector, 
balloon, 22fr - 7-10ml balloon, 24fr -

Medication Port, Dual Exit Ports, Tapered 
 7-10ml balloon, 26fr - 7-10ml 

Distal Tip, Radiopaque Strip, Sterile.
balloon, 28fr - 7-10ml balloon, 30fr -

 7-10ml balloon,

Nutricia Australia
NF002
Flocare Percutaneous Endoscopic 
The Flocare PEG set is for endoscopic 
various sizes - charriere 10, 14 and 
$135.00

gastrostomy (PEG) set
placement of a gastrostomy tube, based on 
18

the "Pull" technique.

Promedica Pty Ltd
PO001
Corflo Cubby LPGD Kit
Low profile gastronomy device
12 - 24fg x 1.0 - 4.5cm
$210.00
Prostheses List by Category, Groups and Sponsor
Page 73 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PO002
Corflo Gastronomy Replacement Device
Dual and triple gastronomy tubes
Dual 12 - 24fg 5 - 20cc balloon; 
$69.00

Triple 16 - 24fg 20cc balloon
PO003
Corflo Max 20fg PEG Kit Complete with 7fg
Sterile enteral feeding tube with  accessories
20fg
$190.00

 Snare - "Pull Type"
PO004
Corflo Max 20fg PEG Kit "Pull Type"
Sterile enteral feeding tube with  accessories
20fg
$165.00

Sherwood Davis & Geck
SG001
Gastrostomy Tube
EntriStar Single Pass PEG
16fg, 20fg
$200.00

William A Cook Australia Pty Ltd
WC070
Gastrostomy Tube
PEG Balloon Replacement Tube - Single
18, 24fr
$85.00
WC072
Passport Low Profile Device
Enteral/Gastrostomy
FEEDING TUBE French Sizes: 20.0,
$200.00

 24.0 Length: 1.2,1.7,2.4,3.4,4.4 cm
WC185
Percutaneous Endoscopic Gastrostomy 
PEG Enteral Feeding Kit - Push or Pull 
18, 20, 24 FR
$200.00

(PEG) System
System
Fixation anchor set, soft-tissue implantation, non-biodegradable

Bard Australia Pty Ltd
BA180
Salute II Disposable Fixation System
For the general surgeon who performs both 
38cm (10, 30 or 60 Q-ring), 18cm (10
$429.00
$465.00

inguinal and ventral hernia repairs, the 
 or 30 Q-ring)

Davol Salutell Fixation Device provides 

permanent fixation of mesh to tissue, with no

 sharp points or exposed edges due to the 

smooth, strong, suture-like shape of the Q-
Gastroplasty Bands

Advanced ORT Pty Ltd
OA003
Adjustable Peri Gastric Belt-Midband
Silicon moulded peri gastric band and 
Peri gastric band - 2.2 x 17.5 x 
$3,250.00

implantable chamber
0.8cm, Implantable chamber - one 

size only

City Medical Devices Australia (trading as Energy Orthopaedics)
CD049
Cousin Bioring Gastric Band
Laparoscopically adjustable gastric band. 
27mm diameter
$3,200.00

Silicone. Pre-shaped.
Prostheses List by Category, Groups and Sponsor
Page 74 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Endotherapeutics Pty Ltd
ET042
Soft Gastric Banding System
Sterile long term implant for the treatment of 
One size only
$3,264.00

obesity.  Supplied in kit format with catheter,

 port and huber needles

Inamed Australia Pty Ltd
IN001
Lap-Band Adjustable Gastric Banding 
-
9.75, 10 and 11cm
$3,264.00

(LAGB) System

Johnson & Johnson Medical Pty Ltd
JJ412
Swedish Adjustable Gastric Band
Silicone
One size only
$3,264.00

Rymed Pty Ltd
RY001
MiniMizer Adjustable Gastric Band
Silicon elastomer
14mm wide, 16.6cm band two 
$2,200.00

phase closure, 1: 31mm inner 

diameter, phase 2: 26mm inner 

diameter. 40cm silicon tube attached
Gel, Resorbable, Antiadhesion

Gyrus Australasia Pty Ltd
GY083
SprayGel Adhesion Barrier Polymer Kit
PK-A-6010 SprayGel Polymer Kit; PK-A-
One size only; PK-A-4210 - 5 
$300.00
Temporary approval - funded when

4210 SprayGel Open Surgery Polymer Kit 
Kits/Box
 clinical indications for use are 

(10ml)
present.
Grafts

Bard Australia Pty Ltd
BA160
Bard Crurasoft Patch
Dual sided mesh with PTFE mesh on one 
7cm x 6cm Small
$540.00

side and ePTFE mesh on the other side
BA161
Bard Crurasoft Patch
Dual sided mesh with PTFE mesh on one 
11cm x 8cm Large
$707.00

side and ePTFE mesh on the other side
Prostheses List by Category, Groups and Sponsor
Page 75 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Grafts, Dura, Biological

Advanced Biomedical Pty Ltd
AB012
Peri-Strips Dry
Model No PSD 4506-EN
One size only
$342.00
Temporary Approval
AB013
Peri-Strips Dry
Model No PSD 6006-UN
One size only
$342.00
Temporary Approval
AB018
Peri-Strips Dry
Model No PSD 4506-UN
One size only
$342.00
Temporary Approval
AB020
Peri-Strips Dry
Model No PSD 8006-UN
One size only
$342.00
Temporary Approval
Haemostatic Materials, Animal Origin

Bard Australia Pty Ltd
BA119
Avitene Ultrafoam
Hemostatic sponge applied directly to the 
12.5-7   2 cm x 6.25cm x 7mm
$21.00

source of surgical bleeding
BA120
Avitene Ultrafoam
Hemostatic sponge applied directly to the 
50   8cm x 6.25cm x 1cm
$34.00

source of surgical bleeding
BA121
Avitene Ultrafoam
Hemostatic sponge applied directly to the 
100   8cm x 12.5cm x 1cm
$55.00

source of surgical bleeding
BA122
Avitene Ultrafoam
Hemostatic sponge applied directly to the 
100/Thin   8cm x 12.5cm x 3mm
$58.00

source of surgical bleeding
BA123
Avitene Ultrafoam
Hemostatic sponge applied directly to the 
200   8cm x 25cm x 1cm
$100.00

source of surgical bleeding
Hemorrhage Occluder Pin with Applicator

Design for Vision Pty Ltd
DV024
Haemorrhage Occluder Pin with applicator
Designed to control severe presacral 
Pin size 7mm.
$860.00

bleeding during pelvic surgery.
Application length 30cm. 2 units 

per box
Prostheses List by Category, Groups and Sponsor
Page 76 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Infusion Controller Administration Sets

Baxter Healthcare Pty Ltd
BX245
Patient Control Module
Sterile infusor devices, spring or elastomer 
Module 0.5ml dose, Module 2 ml 
$30.00

driven
dose

Roche Diagnostics Australia Pty Ltd
RO004
"Disetronic Infusion Sets"
Tender II 17/30
Pack 10/10
$7.70
$22.90
The price indicated is per unit and 

there are 10 units per box
RO010
"Disetronic Infusion Sets"
Tender II 17/60
Pack 10/10
$7.70
$29.90
The price indicated is per unit and 

there are 10 units per box
RO011
"Disetronic Infusion Sets"
Tender II 17/80
Pack 10/10
$7.70
$29.90
The price indicated is per unit and 

there are 10 units per box
RO012
"Disetronic Infusion Sets"
Tender I 17/60
Pack 10
$7.70
$21.90
The price indicated is per unit and 

there are 10 units per box
Infusion Pump Administration Sets

Australasian Medical & Scientific Ltd
AN002
Animas IR Insulin Infusion Cartridge
3.0ml Cartridge, sterile, indicated as reservoir
one size only
$7.00

 for insulin by the Animas infusion pump; 

not intended for use with any other infusion 

device.
AN003
Animas Insulin Infusion Sets
(INFUSION SET, COMFORT, 23", HOSP 10, 
one size only
$7.70

INFUSION SET, COMFORT 43", HOSP 10) 

Needle guard, soft cannula, adhesive tape, 

introducer needle, cannula housing, tubing, 

connector needle, circular protective cap 

and disconnect cover.
AN004
Animas Insulin Infusion Set
(INFUSION SET, COMFORT, 23", STD 5/5 
One size only
$7.70

AND INFUSION SET, COMFORT, 43" STD 

5/5) Needle guard, soft cannula, adhesive 

tape, introducer needle, cannula housing, 

tubing, connector needle, circular protective 

cap and disconnect cover.
Prostheses List by Category, Groups and Sponsor
Page 77 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Manufacturing Technology Pty Ltd
GM040
Alpha Infusion Pump
Alpha Infusion Pump Kit, includes Alpha 
450ml
$300.00
Temporary Approval, pending 

Infusion Pump, introducer needle, syringe, 
review of product group

hip pack, labels and instructions for use plus

 Alpha Cath Infusion Catheter

Medical Specialties  Australia Pty Ltd
MS039
Medical Specialties "Deltec Cozmo 
Drug Infusion Reservoir
3ml Cartridges - Box 25
$7.80

Ancillary Equipment"
MS040
Medical Specialties/Unomedical "Deltec 
Drug Infusion Set
Box 10
$7.70

Cozmo Ancillary Equipment"

Medtronic Australasia Pty Ltd
MC058
Medtronic SynchroMed Catheter Model 
Radiopaque Silicone
89cm
$820.00

8709 
MC285
Medtronic MiniMed Insulin Pump Infusion
Ambulatory Insulin Infusion Pump System 
60-110cm
$17.50

 Sets
Administration Sets and Accessories: 

Quick-set MMT-390, MMT-391, MMT-392, 

MMT-393; Sof-set Micro MMT-320, MMT-

321; Sof-set Ultimate MMT-315, MMT-316 

(all tubing with cannula for use with MMT-

507C and MMT-508 insulin infusion pump); 

Silhouette MMT-371, MMT-372, MMT-373, 

MMT-374 (Full Set of 10 complete sets: 10 

sites + 10 tubing, OR Combo Set: 10 sites + 5

 tubing for use with MMT-507C or MMT-

508 insulin infusion pump); Serters MMT-

395, MMT-300, MMT-385 (For use with 

MMT-511 or MMT-507C or MMT-508 

insulin infusion pump); Polyfin MMT-106, 

MMT-306, MMT-307, Polyfin QR MMT-165,

 MMT-365, MMT-366 (bent needles with 

wings for use with MMT-507C and MMT-

508 insulin infusion pump)
Prostheses List by Category, Groups and Sponsor
Page 78 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC286
Medtronic MiniMed Paradigm Insulin 
Ambulatory Insulin Infusion Pump System 
60-110cm
$18.00

Pump Infusion Sets
Adminstration Sets and accessories: Quick-

set MMT-396, MMT-398, MMT-397, MMT-

399; Sof-set Micro MMT-324, MMT-325; 

Sof-set Ultimate MMT-317, MMT-318 (all 

tubing with cannula for use with MMT-511 

insulin infusion pump), Silhouette MMT-

377, MMT-379, MMT-378, MMT-380 (Full 

Set of 10 complete sets: 10 sites + 10 tubing, 

OR Combo Set: 10 sites + 5 tubing for use 

with MMT-511 insulin infusion pump)
MC304
Medtronic Minimed Paradigm Insulin 
Reservoir Model MMT - 332A (for use with 
3.0 ml reservoir
$5.50

Infusion Pump Reservoir
the Paradigm Model MMT - 712). 

Polycarbonate

Roche Diagnostics Australia Pty Ltd
RO003
Disetronic Administration Sets and 
Adaptor D-Tron plus
10/box
$13.00
The price indicated is per unit and 

Accessories
there are 10 units per box
RO005
Disetronic Administration Sets and 
Adaptor H-Tron  plus
Grey/Blue each
$15.00

Accessories
RO006
Disetronic Administration Sets and 
Plastic Cartridge (H-Tron)
3.15mL 25/box
$7.80
$11.96
The price indicated is per unit and 

Accessories
there are 25 units per box
RO007
Disetronic Administration Sets
Plastic Cartridge (D-Tron plus)
3.0mL 5/box
$13.00
The price indicated is per unit and 

there are 5 units per box
RO017
Disetronic Tender Infusion Set
Tender II 13/30 Pack 20/10
13/30mm
$7.70
RO018
Disetronic Tender Infusion Set
Tender II 13/60 Pack 20/10
13/60mm
$7.70
RO019
Disetronic Tender Infusion Set
Tender II 13/80 Pack 20/10
13/80mm
$7.70

Smiths Medical Australasia Pty Ltd
SI024
Medication Cassettes (50ml & 100ml)
Pump
50 mL
$21.00
SI025
Medication Cassettes (50ml & 100ml)
Pump
100 mL
$28.00
SI026
CADD Administration Set 175cm TOTM 
For use with SI036
250 mL
$7.00
$18.75

tubing
SI028
Extention Set (30" & 60")
Pump
76 cm
$6.00
SI029
Extension Set (30" & 60")
Pump
152 cm
$7.00
SI036
Flexible Medication Reservoir, 250ml 
Pump
250 mL
$7.00

Model 21-6167-24
SI040
Adminstration Set
Bag Spike, Integral Anti-Siphon Valve
196cm Bag Spike, Box of 12
$7.00
$18.75
Prostheses List by Category, Groups and Sponsor
Page 79 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SI041
Administration Set
High Volume, with 0.2 Micron Filter, Male 
Box of 15
$7.00
$18.75

Luer, Add On Anti Syphon Valve
SI042
Extension Set
Microbore TOTM with 0.22 Filter, M/M 
152cm
$6.00
The benefit amount/minimum 

Luers, for Flolan
benefit amount is for and individual

 product which comes as a pack of 

six.
SI044
Administration Set
High Volume, TOTM- Plasticized Blue 
305cm
$22.00
The benefit amount/minimum 

Striped with 1.2 Micron Filter, Male Luer, 
benefit amount is for an individual 

Add On Anti-Siphon Valve
product which comes as a pack of 

ten.
Infusion Pumps

Medical Specialties  Australia Pty Ltd
MS031
Medical Specialties "Deltec Cozmo Insulin 
Ambulatory Insulin Infusion Pump
Deltec Cozmo Insulin Pump - each
$7,950.00

Pump"

Medtronic Australasia Pty Ltd
MC300
Medtronic MiniMed Insulin Infusion Pump
Model MMT - 508
One Size Only
$7,000.00

 System
MC302
Medtronic Minimed Insulin Infusion pump 
Paradigm Model MMT - 512. Polycarbonate
One Size Only
$7,950.00

System
MC303
Medtronic Minimed Insulin Infusion Pump 
Paradigm Model MMT - 712 Polycarbonate
One Size Only
$7,950.00

System

Orthocare Pty Limited
OC003
Pain Care 2000L
Pain Care 2000L System
One Size Only
$249.00
OC004
Pain Care 2000L
"Y" Accessory Kit
One Size Only
$80.00
OC005
Pain Care 2000L
Multiport Catheter 54"
One Size Only
$54.00
Infusion Pumps, Ambulatory, Insulin

Australasian Medical & Scientific Ltd
AN001
Animas IR 1000 Insulin Infusion Pump
One size only
$6,500.00
AN005
Animas 2020 Insulin Pump.
Ambulatory Insulin Infusion Pump
7.4cm x 5cm x 1.9cm
$7,750.00
Prostheses List by Category, Groups and Sponsor
Page 80 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AN006
Animas IR 1200 Insulin Infusion Cartridge 
Sterile, indicated as reservoir for insulin by 
Cartridge Capacity - 2.0mL or 200 
$7.50
Temporary Approval, pending 

(Insulin Infusion Pump IR 1200 Series)
the Animas Infusion Pump, not intended for 
units
review of product group

use with any other infusion device.

Diabetes Australia - New South Wales
DB001
DANAII Insulin Pump
Continuous insulin infusion pump
75mm x 45mm x 19mm
$4,000.00

Medtronic Australasia Pty Ltd
MC283
Medtronic MiniMed Paradigm Insulin 
Model MMT-511- One Insulin Pump Only
One Size Only
$7,900.00

Infusion Pump System
MC351
Medtronic MiniMed Insulin Infusion Pump
Paradigm Model MMT - 715
Pump Dimensions: 5.1 x 9.4 x 2.0cm
$7,950.00
MC352
Medtronic MiniMed Insulin Infusion Pump
Paradigm Model MMT - 515
Pump Dimensions: 5.1 x 7.6 x 2.0cm
$7,950.00
MC353
Medtronic MiniMed Insulin Infusion Pump
Paradigm Model MMT-722
Pump dimensions: 5.1 x 9.4 x 2.0cm
$7,950.00
MC354
Medtronic MiniMed Insulin Infusion Pump
Paradigm Model MMT-522
Pump Dimensions: 5.1 x 7.6 x 2.0cm
$7,950.00

Roche Diagnostics Australia Pty Ltd
RO001
"Disetronic Insulin Infusion Pump System"
D-Tron plus
Large Kit Blue or Anthracite
$6,700.00
RO002
"Disetronic Insulin Infusion Pump System"
H-Tron plus
Large Kit Blue or Grey
$5,700.00
RO008
"Disetronic Insulin Infusion Pump System"
H-Tron plus
Small Kit Blue or Grey
$5,400.00
RO009
"Disetronic Insulin Infusion Pump System"
D-Tron plus
Small Kit Blue or Grey
$6,400.00
RO020
Accu-chek Spirit Insulin Pump
Insulin infusion pump
One size only
$5,000.00
Temporary listing pending review 

of product group
Infusion Pumps, Ambulatory, Other

Smiths Medical Australasia Pty Ltd
SI027
CADD Administration Sets, 198cm, with 
Pump
198 cm
$17.00

Bag Spike & Add-on Anti-siphon Valve, 

TOTM Plasticized Tubing, Model No. 21-

7057-24
SI037
CADD Legacy 1 Model 6400 Ambulatory 
Pump
One size only
$4,850.00

Infusion Pump
Prostheses List by Category, Groups and Sponsor
Page 81 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SI038
CADD Legacy Plus Model 6500 
Pump
One size only
$5,445.00

Ambulatory Infusion Pump
Infusion Pumps, Ambulatory, Syringe

Medical Specialties  Australia Pty Ltd
MS019
Infusa T, Infusa TS or Infusa DSLT
Powered Drug Infusion System, Battery 
Small, Medium, Large
$2,400.00

operated, Syringe type

Medtronic Australasia Pty Ltd
MC282
Medtronic MiniMed Insulin Infusion Pump
Ambulatory Insulin Infusion Pump System 
One Size Only
$7.80

 Reservoir
Administration Sets and Accessories; 

Insulin Infusion Pump Reservoir MMT-

103A  (for use with pumps MMT - 507C & 
MC284
Medtronic MiniMed Paradigm Insulin 
Paradigm Insulin Infusion Pump Reservoir 
One Size Only
$5.50

Infusion Pump Reservoir
MMT-326A (for use with Model MMT-511 

insulin infusion pump)
Infusion Pumps, General-Purpose

Medical Specialties  Australia Pty Ltd
MS021
Medical Specialties "Walkmed Infusion 
Ambulatory Infusion Pump System, 
Walkmed Infusion Pump System
$5,445.00

Pump System" Powered Drug Infusion 
Administration Sets and Accessories

System and Ancillary Equipment 

(McKinley, USA)
MS022
Medical Specialties "Walkmed Drug 
Ambulatory Infusion Pump System, 
Walkmed Drug Administration 
$5.00

Administration Reservoir" (McKinley, 
Administration Sets and Accessories
Reservoirs
MS023
Medical Specialties "Walkmed Drug 
Ambulatory Infusion Pump System, 
Walkmed Drug Administration 
$61.00

Administration Sets"  (McKinley, USA)
Administration Sets and Accessories

Nipro Asia Pty Ltd
NQ001
Surefuser
Surefuser 50ml. Sterile infusion devices, 
Volume of 50ml at 10ml/hr, or at 
$48.00

spring or elastometric driven. Various flow 
4.2ml/hr, or at 2.1ml/hr, or at 

rates
1.0ml/hr, or at 0.7ml/hr or at 

0.4ml/hr or at 0.3ml/hr
Prostheses List by Category, Groups and Sponsor
Page 82 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NQ002
Surefuser
Surefuser 100ml. Sterile infusion devices, 
Volume of 100ml at 200ml/hr, or at 
$48.00

spring or elastometric driven. Various flow 
100ml/hr, or at 20ml/hr, or at 

rates
8.3ml/hr, or at 4.2ml/hr, or at 

2.0ml/hr, or at 0.8ml/hr or at 0.6ml/hr
NQ003
Surefuser
Surefuser 250ml. Sterile infusion devices, 
Volume of 250ml at 125ml/hr, or at 
$48.00

spring or elastometric driven. Various flow 
62.5ml/hr, or at 10ml/hr, or at 

rates
5ml/hr, or at 3.5ml/hr, or at 2.0ml/hr,

 or at 1.5ml/hr
Infusion Pumps, Patient-Controlled Analgesic

B Braun Australia Pty Ltd
BB282
Easy-Pump C-Block RA
Elastomeric infusion pump, latex/polymer 
400ml
$185.00
The benefit amount/minimum 

blend. Fixed flow rate 5ml/hr.
benefit amount is for an indivudual 

product which comes in a pack of 

10.
BB283
Easy-Pump C-Block RA
Elastomeric infusion pump, latex/polymer 
400ml
$200.00
The benefit amount/minimum 

blend. Fixed flow rate 5ml/hr + 5ml bolus.  
benefit amount is for an indivudual 

Select-a-flow 2-14ml/hr.
product which comes in a pack of 

10.
BB284
Easy-Pump C-Block RA
Elastomeric infusion pump, latex/polymer 
400ml
$200.00
The benefit amount/minimum 

blend.  Select-a-flow 2-14ml/hr + 5ml bolus.
benefit amount is for an indivudual 

product which comes in a pack of 5.
BB285
Easy-Pump C-Block RA
Elastomeric infusion pump, latex/polymer 
400ml
$185.00
The benefit amount/minimum 

blend. Fixed flow rate 8ml/hr.
benefit amount is for an indivudual 

product which comes in a pack of 

10.
BB286
Easy-Pump C-Block RA
Elastomeric infusion pump, latex/polymer 
400ml
$185.00
The benefit amount/minimum 

blend.  Fixed flow Rate 10ml/hr.
benefit amount is for an indivudual 

product which comes in a pack of 

10.

Medtronic Australasia Pty Ltd
MC316
Personal Therapy Manager Model 8832
One Size Only
$1,350.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Prostheses List by Category, Groups and Sponsor
Page 83 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

National Surgical Corporation Pty Ltd
NI154
Alpha Infusion Pump System
Alpha Infusion Pump Kit 200ml (includes 
200ml
$200.00
Temporary listing pending review 

pump, introducer needle, syringe, carry bag, 
of product group

instructions) sterile
NI155
Alpha Infusion Pump System
Alpha Infusion Pump Kit 450ml (includes 
450ml
$260.00
Temporary listing pending review 

pump, introducer needle, syringe, carry bag, 
of product group

instructions) sterile
NI156
Alpha Infusion Pump System
Alpha Infusion Pump Endhole Catheter
0.5, 1.0, 2.0, 4.0 and 5.0ml/per hour 
$60.00
Temporary listing pending review 

endhole catheters
of product group
NI157
Alpha Infusion Pump System
Alpha Infusion Pump Mulltidrip Catheter
2.0, 4.0ml hour, 6 or 12cm infusion 
$70.00
Temporary listing pending review 

length
of product group
NI158
Alpha Infusion Pump System
STA endhole catheter including attachment 
2.0, 4.0 ml per hour
$70.00
Temporary listing pending review 

suture
of product group

Smiths Medical Australasia Pty Ltd
SI034
CADD-PRIZM VIP (Variable Infusion 
Pump
One size only
$5,445.00

Profile) Model 6100; CADD-PRIZM PCS 

Ambulatory Infusion Pump, Model 6100
SI039
CADD Legacy PCA Model 6300 
Pump
One size only
$5,445.00

Ambulatory Infusion Pump
Infusion/Injection Port Tack

Inamed Australia Pty Ltd
IN003
Rapid Port Tack
Implantable acetal copolymer disk assembly,
Outside diameter for the tack 
$170.00

 rotor assembly with three stainless steel 
30.5mm diameter by 5.6mm Height. 

fasteners.  The fasteners, when deployed by
 The wires extend 3mm below the 

 rotating the rotor, extend about 3mm below 
bottom surface.

the undersurface of the Tack
Prostheses List by Category, Groups and Sponsor
Page 84 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Infusor Devices, Automated Pressure Driven, Non-Implantable

Stryker Australia Pty Ltd
SR068
PainPump 2 Continuous Peripheral Nerve 
Re-programmable & refillable pumps with 
400ml kits
$700.00

Block Kit & PainPump 2 BlockAid Kit
bolus option nd digital display providing 

controlled infusion of a local anaesthetic 

directly innervating the surgical site for 

post-operative pain management.
SR069
Painpump 2
Programmable pump with bolus option and 
250ml & 400ml Dual Site kits
$610.00

digital display providing controlled infusion 

of a local anaesthetic directly into dual 

surgical sites for post-operative pain 

management
Injection/Infusion Ports, Implantable

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS052
Chemosite Implantable Venous Access 
Port - Single Lumen (ChemoSite*)
7-9 french; 10.5 french.
$600.00
* Trademark of United States 

System
Surgical Corporation

B Braun Australia Pty Ltd
BB082
Celsite Epoxy Single Access Port
Epoxy/titanium
Standard/small/baby
$600.00
BB083
Celsite Epoxy Dual Access Port
Epoxy/titanium
Standard/small/baby
$884.00
BB084
Celsite Single Access Port
MBS/PSU
Standard/small
$475.00
BB086
Celsite Epoxy Peritoneal Port
Epoxy/titanium
32x27x13mm
$749.00

Bard Australia Pty Ltd
BA046
The Bard Button Implantable Injection, 
Silicone Replacement Gastrostomy Device
18 - 24 French 
$293.00

Infusion Port
BA165
X Port duo
Intermediate-sized MRI port with open-
Port: Base 38.5 x 28.5mm, Height: 
$715.00

ended attachable Hickman dual lumen 
12.6mm, Weight: 9.6g, Catheter: 

10Fr
BA166
X Port duo
Intermediate-sized MRI port with open-
Port: Base 38.5 x 28.5mm, Height 
$715.00

ended attachable Chronoflex dual lumen 
12.6mm, Weight: 9.6g, Catheter: 

9.5Fr
Prostheses List by Category, Groups and Sponsor
Page 85 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Inamed Australia Pty Ltd
IN002
Lap-Band Access Port
For use with the Lap-Band Adjustable 
Standard, low profile
$618.00
$660.00

Gastric Banding System

Johnson & Johnson Medical Pty Ltd
JJ444
Swedish Adjustable Gastric Band - 
Titanium implantable infusion port & locking
One size only
$618.00

Injection Port & Locking Connector
 connector for the Swedish Adjustable 

Gastric Band.  Replacement port & locking 

connector to the one included with the 

Swedish Adjustable Gastric Band

Mayo group
CM009
Low Profile Ports -  Implantable Vascular 
Arrow Model No.'s VARRX AP01040,  
Ports - H10mm, L25mm, Weight 
$604.00

Access System
AP06046, AP06016, AP06020, AP06012, 
9grams, Internal Vol. 0.3ml.  

AP06022, AP06025.  Plastic low profile ports 
Catheter75cm

with self sealing silicone septum and either 

attached or detached silicone catheters. 

Include relevant sized Introducer Kit.
CM010
Low Profile Ports -  Implantable Vascular 
Arrow Model No.'s VARRX AP06036, 
Ports - H10mm, L25mm, Weight 
$594.00

Access System
AP06040, AP06042, AP06045.  Titanium Low 
9grams, Internal Vol. 0.3ml.  

Profile Ports with self sealing silicone 
Catheter75cm

septum and either attached or detached 

silicone catheters.  Include relevant sized 

Introducer Kit.

Smiths Medical Australasia Pty Ltd
SI001
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
One size only
$459.00

CATH II Trans Arterial Percuataneous 

System
SI003
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.9 mm O.D. PolyFlow 
$490.00

CATH P.A.S Port T2 System
Polyurethane Catheter
SI005
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
One size only
$455.00

CATH Peritoneal System
SI007
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
2.3 mm silicone catheter
$455.00

CATH Arterial Titanium System
SI008
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
2.8 mm silicone catheter & 9 
$470.00

CATH Titanium Venous Portal
French introducer set
SI010
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.9mm polyurethane catheter
$470.00

CATH Implantable Access System - 

Venous Portal, with introducer set
Prostheses List by Category, Groups and Sponsor
Page 86 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SI012
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.9 mm polyurethane catheter
$495.00

CATH Low Profile Implantable Venous 

System, with introducer set
SI014
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
2.8 mm silicone catheter
$450.00

CATH II Titanium Venous System, with 

introducer set 
SI016
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.9 mm polyurethane catheter
$450.00

CATH II Titanium Venous System with 

introducer set
SI017
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
2.6 mm polyurethane catheter
$459.00

CATH Titanium Venous System with 

introducer set
SI019
Injection/Infusion Ports, Sterile - PORT-A-
Port - single lumen
1.9 mm polyurethane catheter
$450.00

CATH II Low Profile Titanium Venous 

System with introducer set
SI023
Injection/Infusion Ports, Sterile - PORT-A-
Port - dual lumen
3.4 mm silicone catheter
$600.00

CATH II Dual Lumen Titanium Venous 

system and introducer set
Mesh

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS121
Parietene-Monofilament Polypropylene 
Parietene-Monofilament Polypropylene 
06 x 11cm, 15 x 10cm, 15 x 15cm
$89.00

mesh
standard mesh / light mesh
AS122
Parietene-Monofilament Polypropylene 
Parietene-Monofilament Polypropylene 
20 x 20 cm
$146.00

mesh
standard mesh / light mesh
AS123
Parietene-Monofilament Polypropylene 
Parietene-Monofilament Polypropylene 
30 X 30 cm, 30 x 32 cm
$250.00

mesh
standard mesh / light mesh/ X-shaped mesh
AS124
Parietene-Monofilament Polypropylene 
Parietene-Monofilament Polypropylene 
06 x 12 cm
$155.00

mesh
mesh Plug and Patch
AS125
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Standard 
13 x 09 cm, 15 x 10 cm, 15 x 15 cm
$200.00

Mesh/ Bi-dimensional, Bi-dimensional Rigid,

 Three Dimensional
AS126
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Preshaped 
12 x 08 cm, 14x 09 cm, 13 x 09 cm
$200.00

Mesh Three-dimensional/Easy Grip, with Slit
Prostheses List by Category, Groups and Sponsor
Page 87 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AS127
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Standard 
20 x 20 cm, 30 x 30 cm
$250.00

Mesh/ Bi-dimensional, Bi-dimensional Rigid,

 Three Dimensional
AS128
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Anatomical 
13 x 09 cm, 15 x 10 cm, 16 x 12cm
$205.00

Mesh Standard / With Slit and Folding / 

With Slit and No Touch System
AS129
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Folding 
14x 10 cm
$185.00

Mesh/ Bi-dimensional with integrated 

Folding System/ With Slit
AS130
Parietex-Multifilament Polyester Mesh
Parietex-Multifilament Polyester Mesh Plug
6 cm, 8 cm
$140.00

Johnson & Johnson Medical Pty Ltd
JJ179
VYPRO Mesh
Vicryl (polyglactin 910) / Prolene 
30cm x 30cm
$230.00

(polypropylene) composite mesh
JJ240
VYPRO II Mesh
Composition - equal part Vicryl polyglactin 
Small 6 x 11cm
$73.67

yarn - non-absorbable Prolene 

polypropylene yarn.  Partly absorbable 

lightweight mesh for tension free-inguinal 
JJ241
VYPRO II Mesh
Composition - equal part Vicryl polyglactin 
Medium 12 x 10cm
$94.00

yarn - non-absorbable Prolene 

polypropylene yarn.  Partly absorbable 

lightweight mesh for tension free-inguinal 
JJ242
VYPRO II Mesh
Composition - equal part Vicryl polyglactin 
Large 15 x 10cm
$112.00

yarn - non-absorbable Prolene 

polypropylene yarn.  Partly absorbable 

lightweight mesh for tension free-inguinal 
JJ243
VYPRO II Mesh
Composition - equal part Vicryl polyglactin 
Extra large 15 x 15cm
$126.00

yarn - non-absorbable Prolene 

polypropylene yarn.  Partly absorbable 

lightweight mesh for tension free-inguinal 
JJ434
GYNECARE GYNEMESH* PS
Gynecare Gynemesh* PS is a non-
10cm x 15cm
$390.00

absorbable Prolene soft mesh indicated for 

tissue reinforcement and long lasting 

stabilisation of fascial structures of the 

pelvic floor in vaginal wall prolapse. 

Gynemesh PS* is constructed of knitted 

filaments of extruded polypropylene 

identical in composition to Prolene* 

polypropylene suture. It is packaged sterile, 

one 10 x 15cm piece per box.
Prostheses List by Category, Groups and Sponsor
Page 88 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ459
GYNECARE GYNEMESH* PS
Gynecare Gynemesh* PS is a non-
25cm x 25cm
$1,050.00

absorbable Prolene soft mesh indicated for 

tissue reinforcement and long lasting 

stabilisation of fascial structures of the 

pelvic floor in vaginal wall prolapse. 

Gynemesh PS* is constructed of knitted 

filaments of extruded polypropylene 

identical in composition to Prolene* 

polypropylene suture. It is packaged sterile, 

one 25 x 25cm piece per box.

Medical Specialties  Australia Pty Ltd
MS030
TiMESH light
Prosthetic warp-knitted fabric made of 
10 x15 cm TiMESH light
$195.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS032
TiMESH extralight
Prosthetic warp-knitted fabric made of monfil
10 x 15cm TiMESH extralight
$239.00

 polypropylene threads with an 

encapsulating titanic coating
MS033
TiMESH light
Prosthetic warp-knitted fabric made of 
15 x 15cm TiMESH light
$221.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS034
TiMESH extralight
Prosthetic warp-knitted fabric made of 
15 x15cm TiMESH extralight
$249.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS035
TiMESH light
Prosthetic warp-knitted fabric made of 
20 x 15cm TiMESH light
$272.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS036
TiMESH extralight
Prosthetic warp-knitted fabric made of 
20 x 15cm TiMESH extralight
$288.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS037
TiMESH Extra Large
Prosthetic warp-knitted fabric made of 
30 x 30cm TiMESH
$1,560.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS038
TiMESH Extra Large
Prosthetic warp-knitted fabric made of 
Extra Large TiMESH
$1,560.00

monofil polypropylene threads with an 

encapsulating titanic coating
MS043
TiPLUG/TiPATCH System
Titanized polypropylene composite. 
TiPLUG
$400.00

Prosthetic warp-knitted fabric made of 

monofilament polypropylene threads with an

 encapsulating titanic coating.
Prostheses List by Category, Groups and Sponsor
Page 89 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MS044
TiPLUG/TiPATCH System
Titanized polypropylene composite. 
TiPATCH
$124.00

Prosthetic warp-knitted fabric made of 

monofilament polypropylene threads with an

 encapsulating titanic coating.
MS049
TiGUARD
Titanized polypropylene composite. 
TiGUARD strong 20 x 15cm
$173.00

Prosthetic warp-knitted fabric made of 

monofilament polypropylene threads with an

 encapsulating titanic coating.
MS050
TiGUARD
Titanized polypropylene composite. 
TiGUARD strong 30 x 30cm
$52.00

Prosthetic warp-knitted fabric made of 

monofilament polypropylene threads with an

 encapsulating titanic coating.
Mesh, Polyglycolic Acid

Johnson & Johnson Medical Pty Ltd
JJ019
Vypro Mesh
Vicryl/Prolene Composite Mesh
Medium - 15cm x 15cm
$112.00
JJ020
Vicryl Mesh
1 sheet/box
Large - 30cm x 30cm
$242.00
JJ173
VICRYL Mesh
Polyglactin 910 - synthetic absorbable mesh.
15cm x 15cm
$84.00

Sherwood Davis & Geck
SG002
Dexon Mesh Danbury 7979-00
Beige polyglycolic acid absorbable surgical 
18 x 23cm
$119.48

mesh fabric
Mesh, Polymeric

Atrium Australia - Pacific Rim Pty Limited
AC005
Atrium polypropolene mesh - surgical 
Polypropolene
7.5 x 15cm
$77.00
$82.00
AC006
Atrium polypropolene mesh - surgical 
Polypropolene
30 x 30cm
$270.00
$282.00
AC007
Atrium polypropolene mesh - surgical 
Polypropolene
15 x 15cm
$87.00
$96.00
AC008
Atrium polypropolene mesh - surgical 
Polypropolene
26 x 36cm
$288.00
$297.00
AC009
Atrium polypropolene mesh - surgical 
Polypropolene - Pre-shaped with hole
6.5 x 12.5cm
$90.00
$96.00
AC010
Atrium polypropolene mesh - surgical 
Polypropolene
5 x 10cm
$77.00
$82.00
Prostheses List by Category, Groups and Sponsor
Page 90 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AC011
Atrium polypropolene mesh - surgical 
Polypropolene mesh plug
Small, Medium, Large and Extra 
$302.00
$317.00

Large

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS055
Mesh Polyproplene; Monofilament 
Multifilament Polypropylene; Monofilament 
7.6cm x 12.7cm Surgipro* mesh (3 x
$52.00
* Trademark of United States 

Polyproplylene.
Polypropylene.
 5 inch)
Surgical Corporation
AS056
Mesh Polyproplene; Monofilament 
Multifilament Polypropylene; Monofilament 
35.6cm x 22.9cm Surgipro* mesh 
$207.00
* Trademark of United States 

Polyproplylene.
Polypropylene.
(14 x 9 inch).
Surgical Corporation
AS057
Mesh Polyproplene; Monofilament 
Multifilament Polypropylene; Monofilament 
2.5cm x 10.2cm Surgipro* mesh (1 x
$51.00
* Trademark of United States 

Polyproplylene.
Polypropylene.
 4 inch)
Surgical Corporation
AS058
Mesh Polyproplene; Monofilament 
Multifilament Polypropylene; Monofilament 
15.3cm x 15.3cm Surgipro* mesh (6 
$67.00
* Trademark of United States 

Polyproplylene; SURGIPRO* Non 
Polypropylene; SURGIPRO, Non-
x 6 inch); SPMM46: 10.2cm x 
Surgical Corporation

Absorbable Monofilament Polypropylene 
Asborbable Polypropylene Monofilament 
15.3cm (4 x 6 inch).

Mesh.
AS068
Surgipro Non Absorbable Polypropylene 
Polypropylene
Medium and Large
$69.00

Hernia Mate Plug System 

B Braun Australia Pty Ltd
BB181
OPTILENE MESH
Polypropylene Mesh
5x30cm, 5 pieces
$142.00
BB182
OPTILENE MESH
Polypropylene Mesh
26x36cm, 5 pieces
$505.00
BB183
OPTILENE MESH
Polypropylene Mesh
7.5x7.5cm, 5 pieces
$124.00
BB184
OPTILENE MESH
Polypropylene Mesh
15x15cm, 5 pieces
$134.00
BB185
OPTILENE MESH
Polypropylene Mesh
30x30cm, 5 pieces
$345.00
BB186
OPTILENE MESH
Polypropylene Mesh
5 x 10cm, 5 pieces
$142.00
BB187
OPTILENE MESH
Polypropylene Mesh
10 x 15cm, 5 pieces
$147.00
BB188
OPTILENE MESH
Polypropylene Mesh
4.5x10cm, 5 pieces
$131.00
BB189
OPTILENE MESH
 Polypropylene Mesh.
7.5 x 15cm, 5 pieces
$137.00
BB190
OPTILENE MESH
Polypropylene Mesh
4.5x10cm
$126.00
BB191
OPTILENE MESH
Polypropylene Mesh
6x14cm, 5 pieces
$138.00
BB192
Premilene Mesh
Premilene Nonabsorbable Polypropylene 
Self-Forming Plug-Small, 5 pieces
$371.00

Surgical Suture Material Low Profile.
BB193
Premilene Mesh
Premilene Nonabsorbable Polypropylene 
Self-Forming Plug-Medium, 5 pieces
$370.00

Surgical Suture Material Low Profile.
BB194
Premilene Mesh
Premilene Nonabsorbable Polypropylene 
Self-Forming Plug-Large, 5 pieces
$371.00

Surgical Suture Material Low Profile.
Prostheses List by Category, Groups and Sponsor
Page 91 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB195
OPTILENE MESH
Polypropylene Mesh
20 x 30cm, 5 pieces
$388.00

Bard Australia Pty Ltd
BA061
Bard Mesh 
PerFix Plug
Small, Medium, Large
$250.00
BA062
Bard Mesh  
Visilex Laparoscopic mesh
3 x 6" & 4.5 x 6"
$150.00
BA063
Bard Mesh  
Composix Ventral mesh
10"x14"
$1,122.00
BA064
Bard Mesh  
Composix Ventral mesh
12"x12"
$1,300.00
BA065
Bard Mesh  
Composix Ventral mesh
2" x 4"
$158.00
BA066
Bard Mesh  
Composix Ventral mesh
3" x 6"
$300.00
BA067
Bard Mesh  
Composix Ventral mesh
4" x 8"
$395.00
BA068
Bard Mesh  
Composix Ventral mesh
6" x 8"
$560.00
BA069
Bard Mesh  
Composix Ventral mesh
8" x 10"
$1,003.00
BA070
Bard Mesh  
Flat mesh
Small - 1" x 4" / 2" x 4" / 2" x 12" / 3
$140.00

 " x 6" / Pre-shaped 1.8" x 4" / Pre-

shaped 2.4" x 5.4"
BA071
Bard Mesh  
3D Mesh 
Large Left
$275.00
BA072
Bard Mesh  
3D Mesh 
Medium Left
$248.00
BA073
Bard Mesh  
3D Mesh 
Large Right
$275.00
BA074
Bard Mesh  
3D Mesh 
Medium Right
$248.00
BA083
Bard Mesh  
Kugel Patch
Small Oval 8 x 12cm
$400.00
BA084
Bard Mesh  
Kugel Patch
Large Oval 14 x 18cm
$570.00
BA085
Bard Mesh  
Kugel Patch
Small Circle 8 x 8cm
$400.00
BA086
Bard Mesh  
Kugel Patch
Large Circle 12 x 12cm
$550.00
BA087
Bard Mesh  
Kugel Patch
Medium Oval 11 x 14cm
$460.00
BA096
Bard Composix Kugel Hernia Patch
Small Oval w/e PTFE
8 x 12 cms
$588.00
BA097
Bard Composix Kugel Hernia Patch
Medium Oval w/e PTFE
11 x 14 cms
$690.00
BA098
Bard Composix Kugel Hernia Patch
Large Oval w/e PTFE
14 x 18 cms
$799.00
BA099
Bard Composix Kugel Hernia Patch
Small Circle w/e PTFE
8 x 8cms
$552.00
BA100
Bard Composix Kugel Hernia Patch
Large Circle w/e PTFE
12 x 12cms
$715.00
BA101
Bard Composix E/X Mesh
Elliptical
4" x 6" (10 x 15cm)
$615.00
BA102
Bard Composix E/X Mesh
Elliptical
6" x 8" (15 x 20cm)
$1,055.00
Prostheses List by Category, Groups and Sponsor
Page 92 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BA103
Bard Composix E/X Mesh
Elliptical
7" x 9" (18 x 23cm)
$1,270.00
BA104
Bard Composix E/X Mesh
Elliptical
8" x 10" (20 x 25 cm)
$1,590.00
BA105
Bard Composix E/X Mesh
Elliptical
10" x 13" (25 x 33 cm)
$1,976.00
BA106
Bard Composix E/X Mesh
Rectangle
10" x 14" (25 x 36 cm)
$2,184.00
BA107
Bard Dulex Mesh
Oval Shaped
7.5 x 10 cm, 1mm thickness
$447.00
BA108
Bard Dulex Mesh
Oval Shaped
8 x 12cm, 1mm thickness
$573.00
BA109
Bard Dulex Mesh
Oval Shaped
10 x 15 cm, 1mm thickness
$812.00
BA110
Bard Dulex Mesh
Oval Shaped
15 x 19 cm, 1mm thickness
$1,248.00
BA111
Bard Dulex Mesh
Oval Shaped
18 x 24 cm, 1mm thickness
$1,723.00
BA112
Bard Dulex Mesh
Oval Shaped
20 x 30cm, 1mm thickness
$2,432.00
BA113
Bard Dulex Mesh
Oval Shaped
26 x 34 cm, 1mm thickness
$2,939.00
BA114
Bard Dulex Mesh
Oval Shaped
10 x 15 cm, 2 mm thickness
$1,320.00
BA115
Bard Dulex Mesh
Oval Shaped
15 x 19 cm, 2 mm thickness
$2,030.00
BA116
Bard Dulex Mesh
Oval Shaped
18 x 24 cm, 2 mm thickness
$3,120.00
BA117
Bard Dulex Mesh
Oval Shaped
20 x 30 cm, 2 mm thickness
$4,060.00
BA118
Bard Dulex Mesh
Oval Shaped
26 x 34 cm, 2 mm thickness
$5,075.00
BA127
Composix Kugel Hernia Patch
Extra large oval - w/e PTFE
20cm X 25cm
$1,600.00
BA128
Composix Kugel Hernia Patch
Extra large oval - w/ePTFE
25cm X 33cm
$1,976.00
BA131
Bard Composix Kugel Hernia Patch
The Bard Composix Kugel Hernia Patch is a 
Extra Large Oval w/e PTFE 18cm x 
$1,270.00

self-expanding, non-absorbable, sterile 
23cm

prosthesis. Two layers of monofilament, 

polypropylene mesh are stitched to an 

ePTFE sheet; an extruded monofilament PET

 polymer "ring" provides memory, adds 

stability to the device.
BA132
Bard Modified Kugel Hernia Patch
The Bard Modified Kugel Hernia Patch is a 
7.5 cm (3") diameter
$415.00

self-expanding, non-absorbable, sterile 

prosthesis.  It consists of two layers of 

monofilament, polypropylene mesh; an 

extruded monofilament PET polymer "ring" 

provides memory, adds stability to the 

device.  The positioning strap facilitates 

placement, positioning and suturing of the 

device.
Prostheses List by Category, Groups and Sponsor
Page 93 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BA133
Bard Modified Kugel Hernia Patch
The Bard Modified Kugel Hernia Patch is a 
10 cm (4") diameter
$475.00

self-expanding, non-absorbable, sterile 

prosthesis.  It consists of two layers of 

monofilament, polypropylene mesh; an 

extruded monofilament PET polymer "ring" 

provides memory, adds stability to the 

device.  The positioning strap facilitates 

placement, positioning and suturing of the 

device.
BA134
Bard Modified Kugel Hernia Patch
The Bard Modified Kugel Hernia Patch is a 
11.5 cm (4.5") diameter
$550.00

self-expanding, non-absorbable, sterile 

prosthesis.  It consists of two layers of 

monofilament, polypropylene mesh; an 

extruded monofilament PET polymer "ring" 

provides memory, adds stability to the 

device.  The positioning strap facilitates 

placement, positioning and suturing of the 

device.
BA135
Bard Composix Kugel Hernia Patch
The Bard Composix Kugel Hernia Patch is a 
Oval w/e PTFE 16cm x 31.2cm
$1,560.00

self-expanding, non-absorbable, sterile 

prosthesis. Two layers of monofilament, 

polypropylene mesh are stitched to an 

ePTFE sheet; an extruded monofilament PET

 polymer "ring" provides memory, adds 

stability to the device.
BA136
Bard Ventralex Hernia Patch
The Bard Ventralex Patch is a self-
4.3 cm x 4.3 cm (1.7" x 1.7")
$365.00

expanding, non-absorbable, sterile 

prosthesis. Two layers of monofilament, 

polypropylene mesh are stitched to an 

ePTFE sheet; an extruded monofilament PET

 polymer "ring" provides memory, adds 

stability to the device. The positioning strap

 facilitates placement, positioning and 
BA137
Bard Ventralex Hernia Patch
The Bard Ventralex Patch is a self-
6.4 cm x 6.4 cm (2.5" x  2.5")
$470.00

expanding, non-absorbable, sterile 

prosthesis. Two layers of monofilament, 

polypropylene mesh are stitched to an 

ePTFE sheet; an extruded monofilament PET

 polymer "ring" provides memory, adds 

stability to the device. The positioning strap

 facilitates placement, positioning and 
Prostheses List by Category, Groups and Sponsor
Page 94 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BA138
Bard 3DMax Mesh
The Bard 3DMax Mesh is a sterile 
Extra Large Left 5" x 7"
$300.00

prosthesis constructed of monofilament 

polypropylene mesh. 3DMax mesh is a 

three-dimensional, anatomically formed 

prosthesis for use in laparoscopic hernia 
BA139
Bard 3DMax Mesh
The Bard 3DMax Mesh is a sterile 
Extra Large Right 5" x 7"
$300.00

prosthesis constructed of monofilament 

polypropylene mesh. 3DMax mesh is a 

three-dimensional, anatomically formed 

prosthesis for use in laparoscopic hernia 
BA157
Bard Mesh
Flat Mesh
Medium - 6" x 6"
$220.00
BA158
Bard Mesh
Flat Mesh
Large - 10" x 14"
$300.00
BA162
Bard CK Parastomal Patch
Bard CK Parastomal Patch
12.5 x 15.5cm, 15.5 x 20.5cm
$1,055.00
$1,225.00
BA179
Bard Ventralex Hernia Patch
Bard Ventrlex Hernia Patch, Large
8cm x 8cm
$552.00
$610.00

EMT Healthcare Pty Ltd
EM004
Biomesh P1/P3 Reinforcement Mesh
Macro porous 100% polypropylene mesh for
2.5 x 10cm; 8 x 13cm; 15 x 15cm
$49.00

 laproscopic and open surgical approaches
EM005
Biomesh P1/P3 Reinforcement Mesh
Macro porous 100% polypropylene mesh for
5 x 10cm; 7 x 15cm, 10c x 15cm
$52.00

 laproscopic and open surgical approaches
EM006
Biomesh P1/P3 Reinforcement Mesh
Macro porous 100% polypropylene mesh for
5cm x 30cm, 6cm x 30cm
$110.00

 laproscopic and open surgical approaches
EM007
Biomesh P1/P3 Reinforcement Mesh
Macro porous 100% polypropylene mesh for
25 x 36cm; 30 x 30cm
$112.00

 laproscopic and open surgical approaches
EM008
Intramesh Reinforcement Mesh
Reinforcement mesh made from two surfaces
20 x 20cm
$801.00

 for intra-peritoneal visceral surgery 

(Polypropylene/ePTFE or Polyester/Silicone)
EM009
Intramesh Reinforcement Mesh
Reinforcement mesh made from two surfaces
15 x 15cm
$555.00

 for intra-peritoneal visceral surgery 

(Polypropylene/ePTFE or Polyester/Silicone)
EM010
Intramesh Reinforcement Mesh
Reinforcement mesh made from two surfaces
30 x 30cm
$997.00

 for intra-peritoneal visceral surgery 

(Polypropylene/ePTFE or Polyester/Silicone)
EM015
BIOMESH HERNIA REINFORCING MESH
Laparoscopic Hernia Repair Kit with 15cm x 
EMT-KIT2BT2PMX2 (bilateral)
$475.00

 KIT
15cm mesh
EM016
BIOMESH HERNIA REINFORCING MESH
Laparoscopic Hernia Repair Kit with 15cm x 
EMT -KIT2NM (Unilateral)
$425.00

 KIT
15cm mesh
Prostheses List by Category, Groups and Sponsor
Page 95 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EM018
Abdominal Wall Reinforcement Implant
Polyester combined with polymerised silicone
12cm x 14cm & 12cm x 16cm
$200.00
EM019
BIOMESH HERNIA REINFORCING MESH
Laparoscopic Hernia Repair Kit with Shape 
EMT-KIT2BT2PMX (Bilateral)
$780.00

 KIT
Mesh
EM020
BIOMESH HERNIA REINFORCING MESH
Laparoscopic Hernia Repair Kit with  Shape 
EMT-KIT2NM (Unilateral)
$592.00

 KIT
Mesh

Genzyme Australasia Pty Ltd
GE007
SEPRAMesh IP Bioresorbable 
Polypropylene & polyglycolic acid polymer 
3 x 6 inch
$377.00

Coating/Permanent Mesh
mesh coated with a biopolymer: a 

bioresorbable coating of modified sodium 

hyaluronate, carboxymethylcellulose & 

polyethylene glycol based hydrogel.
GE008
SEPRAMesh IP Bioresorbable 
Polypropylene & polyglycolic acid polymer 
4 x 8 inch
$690.00

Coating/Permanent Mesh
mesh coated with a biopolymer: a 

bioresorbable coating of modified sodium 

hyaluronate, carboxymethylcellulose & 

polyethylene glycol based hydrogel.
GE009
SEPRAMesh IP Bioresorbable 
Polypropylene & polyglycolic acid polymer 
6 x 8 inch
$1,055.00

Coating/Permanent Mesh
mesh coated with a biopolymer: a 

bioresorbable coating of modified sodium 

hyaluronate, carboxymethylcellulose & 

polyethylene glycol based hydrogel.
GE010
SEPRAMesh IP Bioresorbable 
Polypropylene & polyglycolic acid polymer 
8 x 12 inch
$1,947.00

Coating/Permanent Mesh
mesh coated with a biopolymer: a 

bioresorbable coating of modified sodium 

hyaluronate, carboxymethylcellulose & 

polyethylene glycol based hydrogel.

Jecoli Pty Ltd
JO006
Herniamesh Polypropylene Mesh
Hertra Polypropylene Mesh 
4.5cm x 10cm
$178.00
JO008
Hertra Oval & Round Patch
Pre-Shrunk Polypropylene Mesh for 
Ovals in 8cm x 12cm, 11cm x 14cm, 
$410.00

Inguinal, Laproscopic & Open Hernia Repairs
14cm x 18cm, & 10cm round

Johnson & Johnson Medical Pty Ltd
JJ172
Mersilene Mesh
Non-absorbable polyester mesh
30cm x 30cm
$76.00
JJ174
Prolene Mesh 
Small polypropylene monofilament non 
2.5cm x 10cm
$55.00

absorbable mesh
JJ175
Prolene Mesh
Medium polypropylene monofilament non 
7.6cm x 15cm
$59.56

absorbable mesh
Prostheses List by Category, Groups and Sponsor
Page 96 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ176
Prolene Mesh
Large polypropylene monofilament non 
30cm x 30cm
$220.00

absorbable mesh
JJ177
Prolene Mesh
Small keyhole polypropylene monofilament 
4.6cm x 10.2cm
$133.00

non absorbable mesh
JJ178
Prolene Mesh
Large keyhole polypropylene monofilament 
6cm  x 13.7cm
$95.00

non absorbable mesh
JJ180
Prolene Hernia System
Bilayer polypropylene non absorbable 
Onlay 4.5-5.5cm x 10cm; Connector
$193.00

synthetic mesh with connector
 1.91 x 1.27cm; Underlay 7.5-10cm 

diameter
JJ222
Prolene Mesh - medium
Constructed of knitted filaments of extruded 
Medium - 6" x 6"
$97.00

polypropylene identical to that used in 

Prolene suture.  Material is approx. 0.027mm 

thick.  Non-absorbable mesh for tension 

free-inguinal hernia techniques.
JJ413
Prolene *3D Patch Polypropylene Mesh
Sterile Three-dimensional device consisting 
5.49cm x 12.50cm 3DPatch large 
$260.00

of a flat mesh onlay patch secured to a 
with preshaped overlay

formed expandable diamond-shaped mesh 

patch component.
JJ414
Prolene *3D Patch Polypropylene Mesh
Sterile Three-dimensional device consisting 
5.49cm x 12.50cm 3D Patch with 
$260.00

of a flat mesh onlay patch secured to a 
medium preshaped overlay

formed expandable diamond-shaped mesh 

patch component.
JJ415
Prolene *3D Patch Polypropylene Mesh
Sterile Three-dimensional device consisting 
5.49cm x 12.50cm 3D Patch medium
$250.00

of a flat mesh onlay patch secured to a 
 with extended overlay

formed expandable diamond-shaped mesh 

patch component.
JJ416
Prolene *3D Patch Polypropylene Mesh
Sterile Three-dimensional device consisting 
5.49cm x 12.50cm 3D Patch large 
$250.00

of a flat mesh onlay patch secured to a 
with extended overlay

formed expandable diamond-shaped mesh 

patch component.
JJ446
PROCEED Surgical Mesh
PROCEED Surgical Mesh B1
2x4 (inches)
$247.00
JJ447
PROCEED Surgical Mesh
PROCEED Surgical Mesh R1
3x6 inches
$309.00
JJ448
PROCEED Surgical Mesh
PROCEED Surgical Mesh N1
4x6 inches oval
$490.00
JJ449
PROCEED Surgical Mesh
PROCEED Surgical Mesh D1
4x8 inches
$505.00
JJ450
PROCEED Surgical Mesh
PROCEED Surgical Mesh M1
6x6 inches
$715.00
JJ451
PROCEED Surgical Mesh
PROCEED Surgical Mesh G1
6x8 inches oval
$935.00
JJ452
PROCEED Surgical Mesh
PROCEED Surgical Mesh H1
8x10 inches oval
$1,575.00
Prostheses List by Category, Groups and Sponsor
Page 97 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ453
PROCEED Surgical Mesh
PROCEED Surgical Mesh J1
8x12 inches
$1,750.00
JJ454
PROCEED Surgical Mesh
PROCEED Surgical Mesh T1
10x13 inches oval
$2,300.00
JJ455
PROCEED Surgical Mesh
PROCEED Surgical Mesh W1
10x14 inches
$2,165.00
JJ456
PROCEED Surgical Mesh
PROCEED Surgical Mesh L1
12x12 inches
$2,184.00
JJ465
ULTRAPRO Mesh
ULTRAPRO Mesh S3
6 x 11cm
$84.66
JJ466
ULTRAPRO Mesh
ULTRAPRO Mesh P3
10 x 12cm
$109.00
JJ467
ULTRAPRO Mesh
ULTRAPRO Mesh N3
10 x 15cm
$136.59
JJ468
ULTRAPRO Mesh
ULTRAPRO Mesh M3
15 x 15cm
$149.00
JJ469
ULTRAPRO Mesh
ULTRAPRO Mesh T1
15x30cm
$192.00
JJ470
ULTRAPRO Mesh
ULTRAPRO Mesh L1
30x30cm
$269.58
JJ565
ULTRAPRO Mesh
Composite Mesh
7.6cm x 15cm
$99.00
JJ566
PROLENE Mesh
Polypropylene Mesh
10 x 15cm
$75.00
JJ585
Ultrapro Hernia System
Ultrapro Hernia System. Mesh Made From 
Small to Large Oval
$230.00

Composite of Monocryl & Prolene

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG019
Surgimesh WN / Surgimesh WN non-
Surgimesh WN non-adherent 14x15cm
Tintra S 14x15cm
$985.00

adherent

W L Gore & Associates
GT084
Gore-Tex MycroMesh Plus 
ePTFE
1mm Thickness 20cm x 30
$1,926.00
GT087
Gore-Tex MycroMesh Plus 
ePTFE
1mm thickness Oval 26 x 34cm
$2,536.00
GT104
Gore-Tex DualMesh PLUS  
ePTFE
1mm Thickness 7.5 x 10cm
$350.00
GT107
Gore-Tex DualMesh PLUS  
ePTFE
15.0 x 19.0cm x 1mm Oval
$1,167.00
GT201
Dualmesh Plus Biomaterial
ePTFE
8cm x 12cm x 1mm
$446.00
GT202
Dualmesh Plus Biomaterial
ePTFE, oval
10cm x 15cm x 1mm
$633.00
GT203
Dualmesh Plus Biomaterial
ePTFE
18cm x 24cm x 1mm
$1,823.00
GT204
Dualmesh Plus Biomaterial
ePTFE
20cm x 30cm x 1mm
$2,544.00
GT205
Dualmesh Plus Biomaterial
ePTFE, oval
26cm x 34cm x 1mm
$3,373.00
GT206
Dualmesh Plus Biomaterial
ePTFE, oval
10cm x 15cm x 2mm
$1,020.00
GT207
Dualmesh Plus Biomaterial
ePTFE, oval
15cm x 19cm x 2mm
$2,029.00
GT208
Dualmesh Plus Biomaterial
ePTFE,
18cm x 24cm x 2mm
$2,952.00
Prostheses List by Category, Groups and Sponsor
Page 98 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT209
Dualmesh Plus Biomaterial
ePTFE,
20cm x 30cm x 2mm
$3,986.00
GT210
Dualmesh Plus Biomaterial
ePTFE, oval
26cm x 34cm x 2mm
$5,192.00
Mesh, polymeric, composite

Johnson & Johnson Medical Pty Ltd
JJ602
ULTRAPRO Plug
Partially Absorbable Synthetic Surgical 
Small- Onlay patch plug: 12cm x 
$250.00

Mesh Device
7.5cm, 5cm rim diameter, 3cm 

anchor diameter; Medicum- Onlay 

patch plug: 12cm x 7.5cm, 5cm rim 

diameter, 4cm anchor diameter; 

Large- Onlay patch plug: 12cm x 

7.5cm, 5cm rim diameter, 5cm 

anchor diameter
Port/Catheter, Internal, Subcutaneous

Bard Australia Pty Ltd
BA163
X Port isp
Intermediate-sized MRI port with open-
Port: Base 22.6 x 28.2mm.  Height: 
$640.00

ended pre-attached or attachable Hickman 
11.7mm.  Weight: 5.2g.  Catheter: 

single lumen catheter
9.6Fr
BA164
X Port isp
Intermediate-sized MRI port with open-
Port: Base 22.6 x 28.2mm.  Height: 
$640.00

ended pre-attached or attachable Chronoflex
11.7mm.  Weight: 5.2g.  Catheter: 6 

 single lumen catheter
& 8Fr
Procedure Trays, Surgical

Abbott Australasia Pty Ltd
AY001
Flexiflo Stomate - low profile gastrostomy 
Composition - biocompatible silicone.  Items 
Size: 18 french, length: 2, 2.8, 
$200.00

kit
included in kit/product - 1 low profile 
4.3cm; Size 22 french. Length: 1.7, 

stomate gastronomy tube, Obturator, Y port 
2.8, 4.3cm

connector with right angle adaptor, 
AY005
Flexiflo balloon gastrostomy tube
Composition - biocompatible silicone.  Items 
16 french, 18 french, 20 french
$85.00

included in kit/product - sliding retention 

disc and opened edged feeding port
Prostheses List by Category, Groups and Sponsor
Page 99 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Bile Duct

William A Cook Australia Pty Ltd
WC001
Cotton-Huibregste Biliary Stent Set
7 - 11.5Fr, Length 5 - 15cm
$210.00
WC006
Cotton-Leung Biliary Stent Only
6 - 11.5Fr, Length 3 - 20cm
$80.00
WC008
Cotton-Huibregste Biliary Stent Only
7 - 11.5Fr, Length 5 - 21cm
$80.00
WC010
Zimmon Pancreatic Stent Only
Plastic pancreatic stent
Diameters 5 - 7Fr, Length 2 - 15cm
$80.00
WC012
Zimmon Biliary Stent Only
5 - 11.5Fr, Length 3 - 15cm
$80.00
WC013
Zimmon Biliary Stent Set
Double pigtail plastic biliary stent with 
5 - 11.5Fr, Length 2 - 18cm
$205.00

delivery system
WC017
Cotton-Leung Biliary Stent Set
7 - 11.5Fr, Length 5 - 18cm
$205.00
WC064
Tannenbaum Biliary Stent only
Plastic biliary stent with proximal and distal 
Diameter: 8.5,10,11.5 FR. Length 
$150.00

flaps
Between Flaps: 5 -->15 cm
WC079
Zimmon Pancreatic Stent
Single pigtail with radio-opaque band
Diameter 4 - 10FR, Length 2 - 18cm
$80.00
WC080
Zimmon Pancreatic Stent
Single pigtail plastic biliary stent with long 
Diameter 5 - 7 FR, Length 2 - 15cm
$80.00

curl
WC106
Cotton-Leung Biliary Stent Set
Polyethylene Stent preloaded on an Oasis 
Diameter 7 - 11.5 FR,  length 5 - 15cm
$205.00

Introduction System
WC108
Geenan Pancreatic Stent Set
Radiopaque Polyethylene Stent with or 
Diameter 3 - 11.5 FR, Length 2 - 15cm
$227.00

without ductal flaps - includes pushing 

catheter
WC123
Geenen Pancreatic Stent
Radiopaque Ployethylene Stent
Diameter 3 - 11.5 FR, length 2 -18 cm
$85.00
Prostheses, Esophageal

William A Cook Australia Pty Ltd
WC068
Esophageal Anti-reflux Stent
Self Expanding Metal Stent with 
Flared End Diameter: 25mm
$2,435.00

Polyurethane coating and Dua anti-reflux 
Shaft Diameter: 18mm

valve
Length: 8, 10, 12, 14cm
Prostheses List by Category, Groups and Sponsor
Page 100 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Nerve Sheath

LMT Surgical Pty Ltd
LM017
Neurotube
Bioabsorbable nerve conduit made of 
2.3mm - 8mm
$1,430.00

polyglycolic acid
Prosthesis, Bowel Sphincter

Endotherapeutics Pty Ltd
ET041
PTP Implants
PTP Implants are solid, irregularly textured 
One size only
$9,200.00

medical grade Polydimethyisiloxane 

Elastomer implants suspended in a hydrogel 

carrier
Radionuclide source, therapeutic, brachytherapy, manual, permanent 

Global Medical Solutions Australia Pty Ltd
GL003
InterSource
InterSource implants are hollow, hermetically
Each InterSource seed is 0.8 mm in 
$6,500.00

 sealed radiotherapeutic sources containing 
diameter and 4.5 mm in length.

iodine-125 (0.8 mm OD x 4.5 mm long).
GL004
InterStrand
InterStrand  consists  of 10 InterSource 
Each InterSource seed is 0.8mm in 
$6,500.00

seeds threaded onto a monofilament 
diameter and 4.5mm in length.  

absorbable suture.  The seeds are spaced 
InterStrand consists of 10 

1cm  apart measured centre to centre
interSource seeds threaded on a 

monofilament at 1cm centre to 

centre spaces resulting in a total 

length of approximately 11 cm
GL005
InterSource
InterSource implants are hollow, hermetically
Each InterSource seed is 0.8mm in 
$55.00

 sealed radiotherapeutic sources containing 
diameter and 4.5mm in length

iodine-125 (0.8mm OD x 4.5 mm long)
Prostheses List by Category, Groups and Sponsor
Page 101 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GL006
InterStrand
InterStrand consists of 10 InterSource seeds
Each InterSource seed is 0.8 mm in 
$55.00

 threaded onto a monofilament absorbable 
diameter and 4.5 mm in length.  

suture.  The seeds are spaced 1cm apart 
InterStrand consists of 10 

measured centre to centre
InterSource seeds threaded on a 

monofilament at 1cm centre to 

centre spaces resulting in a total 

length of approximately 11 cm.
Shunts, Peritoneovenous

Endocorp Pty Ltd
EC007
Denver Peritoneo-Venous Shunt
Pleural Effusion Shunt PAK
Pump length 7.5 cm  Pump Height 
$1,624.00
$1,642.00

1.0 cm  Pump Width 1.7 cm (not 

including suture pad)  Tubing Size:

 inside diameter 0.27 cm  Outside 

diameter 0.51 cm
Shunts, Pleuroperitoneal

Endocorp Pty Ltd
EC002
Denver Pleuro-Peritoneal Shunt
Ascites - Single Valved High Flow Rate (25-
Pump length 7.5 cm  Pump Height 
$1,190.00
$1,642.00

40ml/min)
1.0 cm Pump Width 1.7 cm (not 

including suture pad)  Tubing Size:

 inside diameter 0.27 cm  Outside 

diameter 0.51 cm
EC003
Denver Pleuro-Peritoneal Shunt
Ascites - Single Valved Extra High Flow Rate
Pump length 7.5 cm  Pump Height 
$1,642.00

 (48ml/min)
1.0 cm  Pump Width 1.7 cm (not 

including suture pad)  Tubing Size:

 inside diameter 0.27 cm  Outside 

diameter 0.51 cm
EC004
Denver Pleuro-Peritoneal Shunt
Ascites - Double Valved Standard Flow Rate
Pump length 7.5 cm  Pump Height 
$1,642.00

 (25-40ml/min)
1.0 cm  Pump Width 1.7 cm (not 

including suture pad)  Tubing Size:

 inside diameter 0.27 cm  Outside 

diameter 0.51 cm
Prostheses List by Category, Groups and Sponsor
Page 102 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EC005
Denver Pleuro-Peritoneal Shunt
Denver PAK Double Valved Shunt.  Flow 
Pump length 7.5 cm  Pump Height 
$2,038.00

Rate (20-30ml/min)
1.0 cm  Pump Width 1.7 cm (not 

including suture pad)  Tubing Size:

 inside diameter 0.27 cm  Outside 

diameter 0.51 cm
Sponge, haemostatic, absorbable

Baxter Healthcare Pty Ltd
BX258
FloSeal Hemostatic Matrix
FloSeal is a proprietary combination of 
5mL,
$700.00

specially engineered collagen derived 

particles and topical thrombin.  FlowSeal is 

not a sponge or a fibrin glue, rather it is a 

high viscosity gel for hemostasis.  Clinically 

proven (refer Appendix 1; Section 2-4) to 

control bleeding from capillary oozing to 

arterial spurting, FloSeal functions on wet 

and actively bleeding tissues.  FlowSeal 

Matrix consists of a bovine derived Gelatin 

Matrix component, a human derived 

Thrombin component, applicator tips and 

several mixing accessories.  The Gelatin 

Matrix consists of crosslinked gelatin 

granules and is provided sterile and non-

pyrogenic in a standard disposable syringe. 

 The Thrombin (Human) is a sterile, non-

pyrogenic, feeeze-dried, vapour-heated 

powder preparation made from pooled 

human plasma.  A sterile, non-pyrogenic 

calcium chloride solution is provided for 

reconsitution of the thrombin.  After 

reconstitution, the resulting thrombin 

solution contains 500 IU/mL Thrombin 

(Human).  FloSeal Matrix is the combination 

of the Gelatin Matrix component and the 

reconstituted Thrombin (Human) 

component.  Thrombin must be added to the

 Gelatin Matrix component prior to use.
Prostheses List by Category, Groups and Sponsor
Page 103 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BX259
FloSeal Hemostatic Matrix
FloSeal is a proprietary combination of 
10ml
$1,000.00

specially engineered collagen derived 

particles and topical thrombin.  FloSeal is 

not a sponge or a fibrin glue, rather it is a 

high viscosity gel for hemostasis.  Clinically 

proven (refer Appendix 1; Section 2-4) to 

control bleeding from capillary oozing to 

arterial spurting, FloSeal functions on wet 

and actively bleeding tissues.  FloSeal 

Matrix consists of a bovine derived Gelatin 

Matrix componenet, a human derived 

Thrombin component, applicator tips and 

several mixing accessories.  The Gelatin 

Matrix consists of crosslinked gelatin 

granules and is provided sterile and non-

pyrogenic in a standard disposable syringe. 

 The Thrombin (human) is a sterile, non-

pyrogenic, freeze-dried, vapour-heated 

powder preparation made from pooled 

human plasma.  A sterile, non-pyrogenic 

calcium choride solution is provided for 

reconstituion of the thrombin.  After 

reconstitutionm the resulting thrombin 

solution contains 500 IU/mL Thrombin 

(human).  The FloSeal Matrix is the 

combination of the Gelatin Matrix 

componenet and the reconstituted Thrombin

 (human) component.  Thrombin must be 

added to the Gelatin Matrix component prior 

to use
Sponges, Hemostatic, Absorbable

Johnson & Johnson Medical Pty Ltd
JJ003
Spongostan Absorbable Haemostat
Standard (Box of 20)
70 x 50 x 10mm
$10.00
JJ004
Spongostan Absorbable Haemostat
Film (Box of 20)
200 x 70 x 0.5mm
$20.87
JJ005
Spongostan Absorbable Haemostat
Special (Box of 20)
70 x 50 x 1mm
$9.00
JJ006
Spongostan Absorbable Haemostat
Anal 20s (Box of 20)
80 x 30mm
$17.00
JJ007
Spongostan Absorbable Haemostat
Anal 5s (Box of 5)
80 x 30mm
$23.00
JJ008
Surgicel Nu-Knit Absorbable Haemostat
Large (Box of 24)
7.5 x 10cm
$33.00
Prostheses List by Category, Groups and Sponsor
Page 104 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ009
Surgicel Fibrillar Absorbable Haemostat
Small (Box of 24)
2.5 x 5.1cm
$33.00
JJ012
Surgicel Absorbable Haemostat
Large (Box of 24)
5 x 35cm or 10 x 20cm
$30.00
JJ013
Surgicel Absorbable Haemostat
Medium (Box of 24)
5 x 7.5cm
$18.00
JJ014
Surgicel Absorbable Haemostat
Small (Box of 24)
1.2 x 5cm
$10.00
JJ015
Spongostan Absorbable Haemostat
Dental (Box of 24)
10 x 10 x 10mm
$3.00
JJ023
Surgicel Nu-Knit Absorbable Haemostat
Small (Box of 24)
2.5 x 2.5cm
$17.35
JJ029
Surgicel Fibrillar Absorbable Haemostat
Large (Box of 24)
10.2 x 10.2cm
$96.00
JJ030
Surgicel Fibrillar Absorbable Haemostat
Medium (Box of 24)
5.1 x 10.2cm
$64.00
JJ432
SURGICEL Nu knit Absorbable Haemostat
High density , oxidised regenerated 
1in x 3.5in (2.5cm x 8.75cm)
$28.40

cellulose, the material is biocompatible and 

also bactericidal. Box of 10.
JJ433
SURGICEL Nu knit Absorbable Haemostat
High density , oxidised regenerated 
6in x 9in (15cm x 22.5cm)
$101.00

cellulose, the material is biocompatible and 

also bactericidal. Box of 10.

Pharmacia Australia Pty Ltd (Pfizer Australia Pty Ltd)
PU056
Gelfoam Sterile Sponge
Sterile, pliable, nonantigenic surgical sponge
Size 12 - 20mm x 60mm x 7mm, 
$4.00
$35.62

 prepared from specially treated purified 
packet of 4; Size 100 - 80mm x 

gelatin solution
125mm x 10mm in individual packet

Taylor Bryant Pty Ltd
TB136
Curaspon Absorbable Gelatin Sponge
CUR-SP-805001-20 Special 20, Ster, Gel 
80 x 50 x 1mm, Bx /20
$8.00

Sponges 
TB137
Curaspon Absorbable Gelatin Sponge
CUR-ST-1258001-10C Absorb Sterile Gelatin 
100mm, Bx /10
$41.00

Sponges
TB139
Curaspon Absorbable Gelatin Sponge
Sterile Gel Sponges
60 x 20 x 7mm, Bx /10
$7.00
TB140
Curaspon Absorbable Gelatin Sponge
CUR-ST-602007-10NSHS Special Paper Peel 
Bx /10
$7.00

Pack
TB142
Curaspon Absorbable Gelatin Sponge
CUR-ST-805010-10-NSHS Special Paper Peel 
Bx /10
$12.00

Pack
TB314
Curaspon Absorbable Gelatin Powder
Curaspon Powder 1 Gram Fluffy
1 gram
$47.00
Prostheses List by Category, Groups and Sponsor
Page 105 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Spring Infusor, Ambulatory

Baxter Healthcare Pty Ltd
BX246
Infusor
Sterile infusor devices, spring or elastomer 
SV Half day, 5ml/hr, 60ml vol. LV 
$80.00

driven
10, 10ml/hr, 240ml vol. SV Single 

day, 2ml/hr, 48ml vol. LV 5, 5ml/hr, 

240ml vol.
BX247
Intermate
Sterile infusor devices, spring or elastomeric 
SV 200 - 200ml/hr, 100ml vol. SV 
$60.00

driven
100 - 100ml/hr, 100ml vol. LV 250, 

250ml/hr, 275ml vol. SV 50 - 

50ml/hr, 100ml vol.  LV 100  - 

100ml/hr, 275ml vol. LV 50, 50ml/hr,

 275ml vol
BX248
Infusor
Sterile infusor devices, spring or elastomer 
LV 2, 2ml/hr, 275 ml vol; LV 1.5, 
$105.00

driven
1.5ml/hr, 275ml vol; SV Multi day, 

0.5ml/hr. 60ml vol; SV Seven day, 

0.5ml/hr, 96ml vol
BX249
Multirate with PCM
Sterile infusor devices, spring or elastomer 
Multirate 5, 7 or 12 ml/hr with PCM
$250.00

driven
BX250
Basal/Bolus and Multirate Infusors
Sterile infusor devices, spring or elastomer 
Basal/Bolus 60, Basal 0.5ml/hr, 
$125.00

driven
Bolus 0.5ml/hr x 65ml; Basal/Bolus 

15, Basal 0.5ml/hr, Bolus 2ml/hr x 

65ml; Basal/Bolus infusor, Basal 

2ml/hr, Bolus 2ml/hr x 65ml; 

Multirate 5, 7 or 12 ml/hr x 300 ml; 

Multirate 2, 4, or 6 ml/hr x 300 ml; 

Multirate 2, 3, or 5 ml/hr x 300 ml; 

Multirate 1, 2 or 3 ml/hr x 100 ml

Orthocare Pty Limited
OC001
Pain Care 2000
Pain Care 2000 System
One size only
$229.00
OC002
Pain Care 2000
"Y" Accessory Kit
One size only
$80.00
OC006
Breg Paincare 3000
100ml Continuous Infusion device (delivers 
100cc reservoir
$370.00

2ml/hr) with additional 4ml bolus.  Code # 
L=10.4cm, D=3.0cm, W=7.4cm

10314
Prostheses List by Category, Groups and Sponsor
Page 106 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OC007
Breg Paincare 3200
200ml Continuous Infusion device (delivers 
200cc reservoir
$265.00
$395.00

4ml/hr) with additional 4ml bolus Code # 
L=10.4cm, D=6.5cm, W=7.4cm

11030
OC008
Breg Paincare 4200
200ml Continuous Infusion device (delivers 
200cc reservoir
$265.00
$395.00

2ml/hr) with additional 4ml bolus Code # 
L=10.4cm, D=6.0cm, W=7.0cm

11090

Orthotech Pty Ltd
OH065
PC2000 Pain Control Infusion Pump
Plastic spring loaded drug delivery device
0.5 ml - 4 ml
$310.00
OH122
PC2000 Pain Control Infusion Pump 
Plastic spring loaded drug delivery device
0.5ml - 4ml
$130.00

Connector

Stryker Australia Pty Ltd
SK120
Stryker PainPump
Vacuum operated pump providing controlled
120ml Unit Base Infusion Kits
$230.00

 infusion of a Local Anaesthetic directly into

 a surgical site for post-operative pain 

management.
SK121
Stryker PainPump
Vacuum operated pump providing controlled
120ml unit 1-7 Day Infusion Kits
$258.00

 infusion of a Local Anaesthetic directly into

 a surgical site for post-operative pain 

management.
SK122
Stryker PainPump
Vacuum operated pump providing controlled
120ml unit Two Pump 2-4 Day 
$370.00

 infusion of a Local Anaesthetic directly into
Infusion Kits

 a surgical site for post-operative pain 

management.
SK123
Stryker PainPump
Vacuum operated pump providing controlled
270ml unit 1-7 Day Infusion Kits
$300.00

 infusion of a Local Anaesthetic directly into

 a surgical site for post-operative pain 

management.
SK124
Stryker PainPump
Vacuum operated pump providing controlled
270ml unit Base Infusion Kits
$265.00

 infusion of a Local Anaesthetic directly into

 a surgical site for post-operative pain 

management.
SK125
Stryker PainPump
Vacuum operated pump providing controlled
75-150mm Extra Fenestration 
$62.50

 infusion of a Local Anaesthetic directly into
Infusion Catheters

 a surgical site for post-operative pain 

management.
Prostheses List by Category, Groups and Sponsor
Page 107 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK461
PainPump 2
Programmable or Preset pump with bolus 
250ml & 400ml kits
$450.00

option and digital display providing 

controlled infusion of a Local Anaesthetic 

directly into a surgical site for post-

operative pain management
Staples, Tissue

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS091
VERSA TACK* stapler
Titanium Surgical Stapler
4, 4.8mm (10 staples)
$272.00
Temporary Approval
Stents

Bard Australia Pty Ltd
BA088
Memotherm Stents 
Colorectal, Nitinol, Self-expanding
25-30mm D, 60-100mm Length
$2,200.00

Boston Scientific Australia Pty Ltd
BS053
Wallstent Enteral Endoprosthesis 
Enteral Endoprosthesis Wallstent with 
18mm x 60mm, 18mm x 90mm, 20mm
$2,600.00

Delivery System:Monofilament wire, self-
 x 60mm, 20mm x 90mm, 22mm x 

expanding
60mm, 22mm x 90mm

Olympus Australia
OL008
Olympus Biliary Stent Set
Radio-opaque Polyethglare Stent Set
7Fr 3cm - 15cm, 8Fr 3cm - 15cm, 
$195.00

10Fr 3cm - 15cm

William A Cook Australia Pty Ltd
WC100
Colonic Z Stent with Introduction System
Composition of Stent Stainless Steel, 
Dia 25mm, length 4, 6, 8, 10, 12cm
$1,833.00

includes Stent Introducer Set
Stents, Biliary

Boston Scientific Australia Pty Ltd
BS050
Stent (Billiary Wallstent)
Wallstent (Non-covered): Monofilament 
10mm x 56 to 62 mm, 10mm x 78 to 
$2,200.00

wire, self-expanding
86 mm, 10mm x 101 to 111mm
Prostheses List by Category, Groups and Sponsor
Page 108 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BS055
Rapid Exchange Biliary Stent System
Flexima Polyurethane with Glidex 
Diameter 7 FR - 11.5 FR, length 5 - 
$200.00

Hydrophilic Coating, System includes Stent, 
15cm

Guide Catheter and Push Catheter

N Stenning  & Co Pty  Ltd
NG047
Hanarostent Biliary Stent
Biliary Stent Silicone Covered Nitinol Wire 
Diameter: 8mm - 10mm Length: 
$2,200.00

99% Pure Gold complete with delivery 
50mm - 100mm

Olympus Australia
OL003
Bile Duct Stent
Polyethylene Stents
7FR - 12FR 3cm - 15cm
$63.00
OL004
Bile Duct Stent
Polyethylene Stents
7FR - 10FR 3cm - 15cm
$80.00
$179.75
OL005
Bile Duct Stent
Fluorinated Ethylene Propylene
10FR - 14FR 3cm -15cm
$38.00

Pyramed (Australia) Limited
PY003
Sinus-Flex Vascular-Biliary Stent
Nickel Titanium Alloy
4 - 12 x 40 - 80mm
$1,888.00
$2,000.00
PY004
Sinus-Endoflex-Biliary Sinus Stent
Nickel Titanium Alloy
40 x 7, 8, 9, 10mm; 60 x 7, 8, 9, 
$2,500.00

10mm; 80 x 7, 8, 9, 10mm

W L Gore & Associates
GT116
Gore Biliary Endoprostheses
ePTFE
Short or Long Catheter 8-10mmx4-
$3,605.00

8cm

William A Cook Australia Pty Ltd
WC016
Cook Biliary Stents
Gianturco-Rösch Biliary Design
Single, triple and five body
$1,050.00
WC062
Biliary Stents
Miller Set (UBSS-MLR). Double Pigtail Stent
Stent: 10,12,14 Fr Stent Length: 
$165.00

 for Drainage of bile from the Common Duct 
2.5,5,7.5 cm Positioner Length: 

into the Duodenum
25cm.
WC078
Cook Biliary Stents
Composition Plastic, includes Stent, 
French 7.0, length 4cm
$245.00

Wireguide & Positioner

Stents, Biliary

Pyramed (Australia) Limited
PY002
Optimed Biliary Sinus Stent
Nickel Titanium Alloy
4 - 12 x 30 - 100mm
$2,500.00
Stents, Bronchial

Boston Scientific Australia Pty Ltd
BS047
Ultraflex Tracheobronchial Stent
Self expanding, nitinol metallic stent, 
Diameter 8mm - 20mm, Length 
$3,000.00

covered and non-covered
20mm - 80mm
Prostheses List by Category, Groups and Sponsor
Page 109 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BS103
Dynamic (Y) Stent
Bifurcated Tracheobronchial stent. 
Stent inner diameters up to 15mm, 
$3,000.00

Bronchial Limbs made of silicone and 
stent limb lengths up to 110mm

tracheal stem made of silicone with 

embedded stainless steel c-shape rings.

Device Technologies Australia Pty Ltd
DE259
AERO Tracheobronchial Stent System
Radiopaque self-expanding nitinol stent and 
Diameter 10-18mm, length 20-80mm
$3,000.00

delivery system
Stents, Esophageal

Boston Scientific Australia Pty Ltd
BS046
Ultraflex Oesophageal Stent; Ultraflex 
Self expanding, nitinol metallic stent. 
Diameters: Up to 28mm, Lengths: 
$2,500.00

Oesophageal NG Stent
Covered and non-covered.
Up to 15cm
BS048
Covered Oesophageal Wallstent
Wallstent Esophageal II Endoprosthesis: 
(Lengths up to 11cm): 100mm, 
$3,000.00

Monofilament wire, self-expanding
Diameter: 20-28mm
BS049
Covered Oesophageal Wallstent
Flamingo Wallstent, Wallstent Esophageal II
(Lengths over 11cm): Flamingo: 
$3,500.00

 Endoprosthesis: Monofilament wire, self-
120mm x 16-24mm (Diameter), 

expanding 
140mm x 20-30mm (diameter), 

Wallstent Esophageal II 

Endoprosthesis: 150mm x 20-28mm 

(diameter)
BS051
Stent (Non-Vascular)
Wallstent (Non-covered): Monofilament 
8mm x 40mm, 8mm x 60mm, 8mm x 
$2,700.00

wire, self-expanding
80mm, 10mm x 42mm, 10mm x 

68mm, 10mm x 80mm
BS052
Stent (Non-Vascular)
Wallstent (Covered): Monofilament wire, 
10mm x 40mm, 10mm x 60mm, 10mm
$2,750.00

self-expanding
 x 80mm

Endotherapeutics Pty Ltd
ET001
Ferx Ella Esophageal Stent
Kit includes esophageal stent, introducer, 
Diam 20mm, Length 80 - 160mm
$3,500.00

balloon catheter

William A Cook Australia Pty Ltd
WC182
Esophageal EZS Stents Polyurethane 
Uncoated Flange Esophageal Stent with Z-
8, 10, 12, 14cm
$2,350.00

Coating
Speed TM Introducer
Prostheses List by Category, Groups and Sponsor
Page 110 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Stents, Tracheal

Boston Scientific Australia Pty Ltd
BS101
Polyflex Airway Stent
Poylester braided material encapsulated with
Stent inner diameters up to 22mm, 
$2,040.00

 silicone, self expanding stent
stent lengths up to 80mm
BS102
Polyflex Oesophageal Stent
Poylester braided material encapsulated with
Stent inner diameters up to 22mm, 
$2,040.00

 silicone, self expanding stent
stent lengths up to 80mm

N Stenning  & Co Pty  Ltd
NG049
Hanarostent - Covered Tracheal airway 
Tracheal Airway Stent Silicone Nitinol Wire 
Diameter: 12mm - 22mm Usable 
$2,660.00

99% Pure Gold Complete with delivery 
Length: 30mm - 80mm Total 

Length:  40mm - 80mm
Stents, Ureteral

Boston Scientific Australia Pty Ltd
BS054
Flexima Biliary Stent System
Flexima Polyurethane with Glidex 
Dia 7 FR - 11.5 FR, length 5 - 15cm
$200.00

Hydrophilic Coating, System includes Stent, 

Guide Catheter and Push Catheter
Sutures, Polypropylene Monofilament

B Braun Australia Pty Ltd
BB088
Premilene Mesh
Polypropylene
2.5x10cm
$40.00
BB089
Premilene Mesh
Polypropylene
4.5x9.5cm
$77.00
BB090
Premilene Mesh
Polypropylene
4.5x10cm
$75.00
BB091
Premilene Mesh
Polypropylene
5x10 cm
$57.00
BB092
Premilene Mesh
Polypropylene
5x30cm
$85.00
BB093
Premilene Mesh
Polypropylene
6x12.5cm
$83.00
BB094
Premilene Mesh
Polypropylene
6x13.5cm
$80.00
BB095
Premilene Mesh
Polypropylene
7.5x7.5cm
$90.00
BB096
Premilene Mesh
Polypropylene
7.5x12.5cm
$93.00
Prostheses List by Category, Groups and Sponsor
Page 111 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB097
Premilene Mesh
Polypropylene
7.5x15cm
$75.00
BB098
Premilene Mesh
Polypropylene
10x10cm
$85.00
BB099
Premilene Mesh
Polypropylene
10x12.5cm
$78.00
BB100
Premilene Mesh
Polypropylene
10x15cm
$75.00
BB101
Premilene Mesh
Polypropylene
15x15cm
$83.00
BB102
Premilene Mesh
Polypropylene
26x36cm
$265.00
BB103
Premilene Mesh
Polypropylene
30x30cm
$270.00
BB104
Premilene Mesh
Self Forming Plug
All sizes, small, medium, large
$226.00
Tissue Reconstructive Materials

Advanced Biomedical Pty Ltd
AB003
Bioglue Surgical Adhesive - 5ml Starter Kit
Model No BG 3005 S (Bioglue Surgical 
One size only
$665.00
Temporary Approval

Adhesive)
AB004
Bioglue Surgical Adhesive - 10ml Starter Kit
Model No BG 3010 S (Bioglue Surgical 
One size only
$1,030.00
Temporary Approval

Adhesive)
AB005
Bioglue Surgical Adhesive - 5ml Solutions 
Model No BG 3005-5 (Bioglue Surgical 
One size only
$478.00
The benefit amount/minimum 

Cartridge 5 Per pack
Adhesive)
benefit amount is for an individual 

product which comes as a pack of 

five, Temporary Approval.
AB007
Bioglue Surgical Adhesive - 10ml Solutions
Model No BG 3010-5 (Bioglue Surgical 
One size only
$841.00
The benefit amount/minimum 

 Cartridge 5 per pack
Adhesive)
benefit amount is for an individual 

product which comes as a pack of 

five, Temporary Approval.
AB008
Bioglue Surgical Adhesive - Standard 
Model No BGAT (Bioglue Surgical 
One size only
$26.00
Temporary Approval

Applicator Tip
AB009
Bioglue Surgical Adhesive - Applicator Tip
Model No BGAT-10 (Bioglue Surgical 
One size only
$31.00
Temporary Approval

 Extender
Adhesive)
AB010
Bioglue Surgical Adhesive - Applicator Tip
Model No BGAT-27 (Bioglue Surgical 
One size only
$31.00
Temporary Approval

 Extender
Adhesive)
AB011
Bioglue Surgical Adhesive - 2ml Solutions 
Model No BG3002-5 (Bioglue Surgical 
One size only
$394.00
The benefit amount/minimum 

Cartridge  5 per pack
Adhesive)
benefit amount is for an individual 

product which comes as a pack of 

five, Temporary Approval.
Prostheses List by Category, Groups and Sponsor
Page 112 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Baxter Healthcare Pty Ltd
BX214
TISSEEL Duo 500 Two Component Fibrin 
Active ingedients:Sealer Protein Solution & 
1.0 ml (containing 1.0 ml of Sealer 
$371.00
Temporary approval

Sealant Syringe
Thrombin Solution - deep-frozen, steam 
Protein Solution and 1.0 ml of 

treated
Thrombin Solution)
BX215
TISSEEL Duo 500 Two Component Fibrin 
Active ingedients:Sealer Protein Solution & 
2.0 ml (containing 2.0 ml of Sealer 
$700.00
Temporary approval

Sealant Syringe
Thrombin Solution - deep-frozen, steam 
Protein Solution and 2.0 ml of 

treated
Thrombin Solution)
BX216
TISSEEL Duo 500 Two Component Fibrin 
Active ingedients:Sealer Protein Solution & 
5.0 ml (containing 5.0 ml of Sealer 
$1,762.00
Temporary approval

Sealant Syringe
Thrombin Solution - deep-frozen, steam 
Protein Solution and 5.0 ml of 

treated
Thrombin Solution)

Taylor Bryant Pty Ltd
TB377
Durasphere FL
Composition: Pyrolitically carbon coated 
Syringe 1ml
$520.00

silica bead in an aqueous gel. Injectable 

bulking agent for the treatment of Faecal 

Incontinence. Syringe plus needle.
TB378
Durasphere FL
Composition: Pyrolitically carbon coated 
Syringe 3ml
$1,560.00

silica bead in an aqueous gel. Injectable 

bulking agent for the treatment of Faecal 

Incontinence. Syringe plus needle.
Tissue Reconstructive Materials, Solid

W L Gore & Associates
GT001
GORE - Seamguard Staple Line 
1pair of sleeves ePTFE
One Size Only
$206.00
Temporary Approval

Reinforcement Material
GT065
Gore-Tex ePTFE Mycro-Mesh Biomaterial
ePTFE
1mm Thickness 2.5 x 10cm
$92.00
GT066
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness 5 x 10cm 
$172.00

(Rectangle), 5 x 10cm (Key Hole)
GT067
Gore-Tex Mycro-Mesh
ePTFE
1mm Thickness 5 x 13cm 
$217.00

(Configured for Vaginal Prolapse), 

5 x 15cm
GT068
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness 18 x 24cm
$1,288.00
GT069
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness 20 x 30cm
$1,777.00
GT070
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness Oval 26 x 34cm
$2,333.00
GT071
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness Oval 10 x 15cm
$436.00
Prostheses List by Category, Groups and Sponsor
Page 113 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT072
Gore-Tex Mycro-Mesh Biomaterial
ePTFE
1mm Thickness Oval 15 x 19cm
$881.00
GT074
Gore-Tex  Mycro-Mesh Biomaterial
Configured for Inguinal Hernia repair ePTFE
1mm Thickness 6cm x 12cm
$188.00
GT092
Gore-Tex Dual Mesh
ePTFE
1mm Thickness 7.5 x 10cm
$313.00
GT093
Gore-Tex Dual Mesh
ePTFE
1mm Thickness 8 x 12cm
$403.00
GT094
Gore-Tex Dual Mesh
ePTFE
1mm Thickness Oval 10 x 15cm
$605.00
GT095
Gore-Tex Dual Mesh
ePTFE
1mm Thickness Oval 15.0 x 19.0cm
$1,040.00
GT096
Gore-Tex Dual Mesh
ePTFE
1mm Thickness 18 x 24cm
$1,622.00
GT097
Gore-Tex Dual Mesh
ePTFE
1mm Thickness 20 x 30cm
$2,271.00
GT098
Gore-Tex Dual Mesh
ePTFE
1mm Thickness Oval 26 x 34cm
$2,960.00
GT099
Gore-Tex Dual Mesh 
ePTFE
2mm Thickness Oval 10 x 15cm
$923.00
GT100
Gore-Tex Dual Mesh 
ePTFE
2mm Thickness Oval 15 x 19cm
$1,846.00
GT101
Gore-Tex Dual Mesh 
ePTFE
2mm Thickness 18 x 24cm
$2,668.00
GT102
Gore-Tex Dual Mesh 
ePTFE
2mm Thickness 20 x 30cm
$3,543.00
GT103
Gore-Tex Dual Mesh 
ePTFE
2mm Thickness Oval 26 x 34cm
$4,563.00
Tubes, Gastrostomy, Other

Kimberly-Clark Australia Pty Limited
KI006
Kimberly-Clark MIC* Transgastric-Jejunal 
Medical Grade Silicone Construction, 
16-22 French - 45cm jejunal length 
$520.00
$720.00

Feeding Tubes (Surgical Placement Kits)
Silicone Internal Retention Balloon, SECUR-
- 7-10ml balloon

LOK* External Retention ring, Universal 

Jejunal Feeding Port Connector, Gastric 

Decompression Port, Multiple Gastric & 

Jejunal Exit Ports, Tungsten Weighted 

Jejunal Portion, Tapered Distal Tip, 

Radiopaque Stripe, Sterile
KI008
MIC-KEY Low Profile Transgastric-Jejunal 
100% medical grade silicone tube. 40/60 
16, 18 and 22Fr, 1.0 to 3.5cm stomal
$520.00

Feeding Tube
tungsten weighted jejunal post pyloric 
 length, 15 to 45cm jejunal length

feeding tube. Gastric drainage ports, jejunal 

feeding ports
KI009
MIC Transgastric-Jejunal Feeding Tube
100% medical grade silicone tube. 40/60 
16, 18, 22Fr, 15 to 45cm jejunal 
$485.00

tungsten weighted jejunal post pyloric 
length, 7-10ml balloon volume

feeding tube. Gastric drainage ports, jejunal 

feeding ports
Prostheses List by Category, Groups and Sponsor
Page 114 of 724
GENERAL/MISCELLANEOUS

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Nutricia Australia
NF001
Flocare Gastrostomy tube (G-tube)
The Flocare Gastrostomy tube can be used 
Ch10, 14, 18, 20
$60.00

as a replacement of an existing gastrostomy 

tube (PEG or G-tube) or as an initial 

gastrostomy tube during a surgical 

intervention. This balloon tube is made of 

Carbothane, which ensures a longer life than

 tubing made of PUR or silicone.

William A Cook Australia Pty Ltd
WC199
Cook Gastronomy Tubes
Russell Gastronomy Set
14fr, 17cm
$284.98
Tubing, Other

Gyrus Australasia Pty Ltd
GY082
SprayGel Air Assisted Sprayer
SK-A-6001 SprayGel Sprayer Kit; AK-A-
One size only;  AK-A-4210 - 5 
$135.00
Temporary approval - funded when

4210  SprayGel Open Surgery Applicator
Applicators/Box
 clinical indications for use are 

present.
Prostheses List by Category, Groups and Sponsor
Page 115 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Applicators, Clip

Johnson & Johnson Medical Pty Ltd
JJ186
Ligaclip Endoscopic Multiclip Applier
Metal/plastic stapler with titanium clips
10-12mm shaft diameter
$452.00
Temporary Approval
JJ187
Ligaclip Allport 5mm Clip Applier
Metal/plastic stapler with titanium clips
5mm shaft diameter
$398.00
Temporary Approval
Applier, Surgical Stapler, Cutting

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS135
DST™ Series EEA™ XL
Circular Stapler
5 sizes
$780.00
$840.00
Appliers

Johnson & Johnson Medical Pty Ltd
JJ474
Proximate Contour Curved Cutter/Stapler
Contour Curved Cutter/Stapler 30 & 40
30mm &, 40mm
$618.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
JJ475
Proximate Contour Curved Cutter/Stapler
Contour Curved Cutter/Stapler 30 & 40mm 
30mm & 40mm
$253.00
Only to be funded where used in a 

reload cartridges
service for which a Medicare 

Benefit is payable
Clip Appliers

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS006
Ligation Clips - Disposable clip applier and
Surgiclip
Small
$218.00
Temporary Approval

 ligating clips
AS131
Ligation Clips - Disposable clip applier and
Surgiclip
Medium
$246.00

 ligating clips
AS132
Ligation Clips - Disposable clip applier and
Surgiclip
Large
$285.00

 ligating clips
Prostheses List by Category, Groups and Sponsor
Page 116 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
JJ037
Ligaclip* Multiple Clip Applier 
Metal/plastic applier preloaded with titanium
3-12 mm; 20 clips per applier
$246.00
Temporary Approval

 clips
JJ038
Ligaclip* Multiple Clip Applier 
Metal/plastic applier preloaded with titanium
3-12 mm; 30 clips per applier
$285.00
Temporary Approval

 clips
JJ039
Ligaclip* Multiple Clip Applier 
Metal/plastic applier preloaded with titanium
5; 20 clips per applier
$203.00
Temporary Approval

 clips; reloadable 
Clips, Hemostatic

Johnson & Johnson Medical Pty Ltd
JJ033
Ligaclip* Ligating Clips - titanium
Titanium clips contained in a plastic cartridge
3-5mm; 6 clips per cartridge
$10.20
Temporary Approval
JJ034
Ligaclip* Ligating Clips - titanium
Titanium clips contained in a plastic cartridge
9-12 mm; 6 clips per cartage
$11.00
$16.75
Temporary Approval
JJ035
Ligaclip* Ligating Clips - titanium
Titanium clips contained in a plastic cartridge
3-5 mm; 15 clips per cartage
$25.00
$31.60
Temporary Approval
JJ036
Absolok* Extra Absorbable Ligating Clips 
Polydioxanone clips contained in a plastic 
3-12 mm
$90.20
Temporary Approval

cartridge
JJ040
Ligaclip* 20/20 Reload Unit
Metal reload cartridge containing titanium 
5 mm; 20 clips
$100.00
Temporary Approval

clips
Clips, Ligating

ConMed Linvatec Australia Pty Ltd
LV086
Reflex 5mm Automatic Clip Applier
Autofeeding disposable clip applier. 
medium/large
$309.00
$338.00
Temporary Approval, pending 

Contains 15 non absorbable polymer locking
review of product group
Cutters

Johnson & Johnson Medical Pty Ltd
JJ188
Endopath Linear Cutter 
Metal/plastic cutter-stapler with titanium 
45mm; short shaft
$685.00
Temporary Approval

staples
JJ189
Endopath Linear Cutter 
Metal/plastic cutter-stapler with titanium 
45mm; long shaft
$740.00
Temporary Approval

staples
Prostheses List by Category, Groups and Sponsor
Page 117 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ191
Endopath Linear Cutter
Metal/plastic cutter-stapler with titanium 
35mm
$670.00
Temporary Approval

staples
Fixation device, internal, staple, tissue

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS134
DST Series EEA Or Vil
Accessory
21mm, 25mm
$450.00
Mesh, Polymeric

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG001
Aspide Surgimesh
Monofilament polypropylene
AS 59611p - 6 x 11cm Thread 
$40.00

0.14mm Box/5
MG004
Aspide Surgimesh
Monofilament polypropylene
AS 2812p - 8 x 12cm Thread 
$48.50

0.14mm Box/5
MG005
Aspide Surgimesh
Monofilament polypropylene
AS 31013p - 10 x 13cm Thread 
$78.50

0.14mm Box/5
MG006
Aspide Surgimesh
Monofilament polypropylene
AS 511015p - 10 x 15cm Thread 
$55.50

0.14mm Box/5
MG007
Aspide Surgimesh
Monofilament polypropylene
AS 41515p - 15 x 15cm Thread 
$51.50

0.14mm Box/5
MG008
Aspide Surgimesh
Monofilament polypropylene
E33Lg - Easyplug Large Box/5
$144.00
MG009
Aspide Surgimesh
Monofilament polypropylene
E33mg - Easyplug Medium Box/5
$144.00
MG010
Aspide Surgimesh
Monofilament polypropylene
E33Sgp - Easyplug Small Box/5
$144.00
Staples, Tissue

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS011
GIA*, ILA* Staplers
Titanium
75mm (3.8mm, 4.8mm)
$294.00
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 118 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AS012
GIA* Reloading Unit 
Titanium. Multifire 60 Cartridge, 90 Premium 
50-60mm (2.5, 3.8mm)
$233.00
Temporary Approval

Disposable Loading Unit with Titanium 

Staples,  50 Premium Disposable Loading 

Unit with Titanium Staples, Inverted Linear 

Anastomosis Cartridges 3944, 3943, 3978, 

3946, 3945, 3976, 3977
AS013
ILA* 52 Reloading Unit
Titanium. Multifire 60 Cartridge 90 Premium 
50 - 60mm (2.5mm, 3.8mm)
$158.00
Temporary Approval

Disposable Loading Unit with Titanium 

Staples,  50 Premium Disposable Loading 

Unit with Titanium Staple,  Inverted Linear 

Anastomosis Cartridges 3944, 3943, 3978, 

3946, 3945, 3976, 3977
AS016
GIA*, ILA* Reloading Unit 
Titanium. Multifire 60 Cartridge,  Inverted 
90mm (3.8, 4.8mm)
$503.00
Temporary Approval

Linear Anastomosis Cartridges 3944, 3943, 

3978, 3946, 3945, 3976, 3977
AS017
GIA*, ILA* Reloading Unit 
Titanium. Multifire 60 Cartridge, Inverted 
100mm (3.8,4.8mm)
$392.00
Temporary Approval

Linear Anastomosis Cartridges 3944, 3943, 

3978, 3946, 3945, 3976, 3977
AS018
TA* Stapler; DST Series* Linear Staplers
Premium Multifire TA* Disposable Surgical 
DST TA60-3.5; DST TA60-4.8
$315.00
Temporary Approval

Stapler and Loading Unit; Titanium staples 

used for hemostatic closure of specific 

organs and blood vessels (ex bowel, 

stomach and lung).
AS019
PI*, Stapler
Premium Multifire TA* Disposable Surgical 
30mm (2.5, 3.5, 4.8mm)
$264.00
Temporary Approval

Stapler and Loading Unit
AS025
TA* Reloading Units; DST Series* Linear 
Premium Multifire TA* Disposable Surgical 
30mm (2.5, 3.5, 4.8mm); DST TA90-
$243.49
Temporary Approval

Stapler Disposable Loading Units
Stapler and Loading Unit; Titanium staples 
3.5 DLU; DST TA90-4.8 DLU; DST

used for hemostatic closure of specific 
 TA45-3.5 DLU; DST TA45-4.8 

organs and blood vessels (ex bowel, 
DLU; DST TA60-3.5 DLU; DST 

stomach and lung)
TA60-4.8 DLU; DST TA30-3.5 

DLU; DST TA30-4.8 DLU; DST 

TA30V3 DLU.
AS026
PI*, Reloading Unit
Premium Multifire TA* Disposable Surgical 
30mm (2.5, 3.5, 4.8mm)
$144.00
Temporary Approval

Stapler and Loading Unit
AS030
TA* Reloading Units
Premium Multifire TA* Disposable Surgical 
90mm (3.5mm, 4.8mm)
$724.00
Temporary Approval

Stapler and Loading Unit
AS033
Power Stapler and Staples (Powered LDS*)
LDS Instrument & Cartridges (Disposable 
One size only
$343.00
Temporary Approval

Loading Unit)
AS035
Roticulator*
Roticulator 30
30mm (3.5, 4.8mm)
$715.00
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 119 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AS036
Roticulator*
Roticulator 55
55mm (3.5, 4.8mm)
$839.00
Temporary Approval
AS037
ROTICULATOR*
Polysorb 55 Disposable Loading Unit
55mm (3.5, 4.8mm)
$715.00
Temporary Approval
AS072
Staples and Disposable Stapler Applier 
Titanium, curved, PPCEEA*; Titanium 
21-34mm; 21, 25, 28, 31, 34mm.
$769.00
Temporary Approval

and staples; PPCEEA*.
Surgical Stapler.
AS075
ENDO TA*
Titanium Surgical Stapler
30mm
$606.00
Temporary Approval
AS094
GIA*, ILA* Staplers
Titanium
80mm (3.8mm, 4.8mm)
$451.00
Temporary Approval.  * Trademark 

of United States Surgical 

Corporation
AS102
DST Series* Linear Staplers
Titanium staples used for hemostatic closure
DST TA90-3.5; DST TA90-4.8
$398.00
Temporary approval

 of specific organs and blod vessels (ex 

bowel, stomach and lung)
AS110
DFS Disposable Fascia Stapler
Stainless Steel
One Size Only
$183.00
Temporary Approval
AS113
DST Series* GIA* Linear Cutter Stapler 
single use, reloadable stapler
60mm length: sizes 2.5mm, 3.8mm, 
$354.00
Temporary approval, pending 

and single use loading units
4.8mm
review of product group
AS114
DST Series* GIA* Linear Cutter Stapler 
Single Use Loading Units
60mm length: Sizes 2.5mm, 3.8mm, 
$240.00
Temporary approval, pending 

and single use loading units
4.8mm
review of product group
AS115
DST Series* GIA* Linear Cutter Stapler 
Single use, reloadable stapler
80mm length; Sizes 3.8 and 4.8mm
$470.00
Temporary approval, pending 

and single use loading units
review of product group
AS116
DST Series* GIA* Linear Cutter Stapler 
Single Use Loading Units
80mm length: Sizes 3.8 and 4.8mm
$367.00
Temporary approval, pending 

and single use loading units
review of product group
AS117
DST Series* GIA* Linear Cutter Stapler 
Single use, reloadable stapler
100mm length: Sizes 3.8 and 4.8mm
$460.00
Temporary approval, pending 

and single use loading units
review of product group
AS118
DST Series* GIA* Linear Cutter Stapler 
Single use loading units
100mm length: Size 3.8 and 4.8mm
$335.00
Temporary approval, pending 

and single use loading units
review of product group
AS119
DST Series* EEA* Circular Stapler
Circular staplers
21mm to 33mm
$780.00
Temporary approval, pending 

review of product group
AS133
TA* Stapler; DST Series* Linear Staplers
Premium Multifire TA* Disposable Surgical 
30mm (2.5, 3.5, 4.8mm);  DST 
$370.00

Stapler and Loading Unit; Titanium staples 
TA45-3.5;  DST TA45-4.8;  DST 

used for hemostatic closure of specific 
TA30-3.5;  DST TA30-4.8;  DST 

organs and blood vessels (ex bowel, 
TA30V3.

stomach and lung).

Johnson & Johnson Medical Pty Ltd
JJ056
Proximate Articulating Linear Stapler
Articulating linear stapler preloaded with 
55mm
$830.00
Temporary Approval

titanium staples
JJ190
Endopath ETS Linear Cutter reload
Titanium staple cartridge
45mm
$243.49
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 120 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ192
Endopath ETS Linear Cutter reload
Titanium staple cartridge
35mm
$220.00
Temporary Approval
Surgical Procedure Kit

Johnson & Johnson Medical Pty Ltd
JJ443
Proximate Intraluminal Stapler PPH
Proximate Hemorrhoidal Circular Stapler PPH
One Size Only
$725.00
Suture Units, Automatic

Johnson & Johnson Medical Pty Ltd
JJ041
Proximate* Intraluminal Stapler
Metal/plastic circular straight stapler 
21 - 33 mm
$671.00
Temporary Approval

preloaded with titanium staples
JJ042
Proximate* Intraluminal Stapler
Metal/plastic circular curved stapler 
21 - 33mm
$768.02
Temporary Approval

preloaded with titanium staples
JJ043
Proximate* Linear Cutter with Staples 
Metal/Plastic linear cutter preloaded with 
50 - 60mm
$350.00
Temporary Approval

titanium staples
JJ044
Proximate* Linear Cutter with Staples 
Metal/Plastic linear cutter preloaded with 
75 - 80mm
$470.00
Temporary Approval

titanium staples
JJ045
Proximate* Linear Cutter with Staples 
Metal/Plastic linear cutter preloaded with 
100mm
$460.00
Temporary Approval

titanium staples
JJ046
Proximate* Linear Cutter  Staple Reload 
Plastic linear cutter reload cartridge 
50 - 60mm
$233.00
Temporary Approval

Unit 
containing titanium staples
JJ047
Proximate* Linear Cutter  Staple Reload 
Plastic linear cutter reload cartridge 
75 - 80mm
$328.00
Temporary Approval

Unit 
containing titanium staples
JJ048
Proximate* Linear Cutter Staple Reload 
Plastic linear cutter reload cartridge 
100mm
$335.00
Temporary Approval

containing titanium staples
JJ049
Proximate* Linear Stapler
Metal/Plastic linear stapler preloaded with 
30mm
$370.00
Temporary Approval

titanium staples
JJ050
Proximate* Linear Stapler
Metal/Plastic linear stapler preloaded with 
55 - 60mm
$315.00
Temporary Approval

titanium staples, manual closure
JJ051
Proximate* Linear Stapler
Metal/Plastic linear stapler preloaded with 
55 - 60mm
$315.00
Temporary Approval

titanium staples, automatic closure
JJ052
Proximate* Linear Stapler
Metal/Plastic linear stapler preloaded with 
90mm
$398.00
Temporary Approval

titanium staples
Prostheses List by Category, Groups and Sponsor
Page 121 of 724
MECHANICAL INTERNAL WOUND CLOSURE 

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ053
Proximate* Linear Stapler Reload Unit 
Plastic linear stapler reload cartridge 
30mm
$233.00
Temporary Approval

containing titanium staples
JJ054
Proximate* Linear Stapler Reload Unit 
Plastic linear stapler reload cartridge 
55 - 60mm
$235.00
Temporary Approval

containing titanium staples
JJ055
Proximate* Linear Stapler Reload Unit 
Plastic linear stapler reload cartridge 
90mm
$248.00
Temporary Approval

containing titanium staples
JJ184
Endopath Multi Stapler
Endoscopic titanium stapler with staples
11mm shaft diameter
$530.00
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 122 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Anchor, Fixation

Medtronic Australasia Pty Ltd
MC094
Stimulator Accessory Kit - Pisces Quad; 
Model 3550-10 revision kit. 1 x boot, 1 x 
One size only
$545.00
When used in pain therapy - to be 

Pisces Z Lead Revision Kit; Pisces Quad 
twistlock anchor, 2 x silicone anchors, 1 x 
funded when the patient has 

Revision Kit; Octad Revision Kit
hex wrench, 1 x epidural needle 15 gauge, 1 x 
undergone a multi-disciplinary 

percutaneous extension (inline) with set 
assessment and trial of stimulation.

screws, 1 x ball-tipped (bent) 28cm stylet for 

Pisces-Quad lead, 1 x ball-tipped (straight) 

28cm stylet for Pisces-Quad lead, 1 x 

screening cable, 1 x short stylet, 1 x 

tunnelling guide, 1 x tunnelling guide tip. 

Silicone, polycarbonate, polyurethane, 

titanium, stainless steel; 3550-22 & 3550-23 

Curved steering stylets, Epidural Needle, 

Guide Wire, Straight Steering Stylets, 

Torque Wrench, Percutaneous Extension, 

Connector Boot, PERCUPASS II Tunneling 

Tool & Tunneling Tip, Short Stylet, Twist-

Lock Screening Cable, Passing Straw, 

Anchors; Model - 3550-R33 - Pisces Quad 

revision kit with 33cm stylet; Model 3550-

ORK - Octad Revision Kit
MC581
Invisx Locks
Invisx polymer cranial fixation system
Single pack
$95.00
MC582
Invisx Locks
Invisx polymer cranial fixation system
2 pack
$175.00
MC689
Neurostimulation System - Lead Revision 
Octad Lead Revision Kits Model 3550-26 & 
30 & 45cm; 60 & 75cm
$540.00

Kits
3550-27
Barrier, Absorbable, Adhesion Prevention

Global Scientific Pty Ltd
GS199
DuraGen Dural Graft Matrix
Collagen
2.5 x 2.5cm
$360.00
GS200
DuraGen Dural Graft Matrix
Collagen
2.5 x 7.5cm
$545.00
GS201
DuraGen Dural Graft Matrix
Collagen
5 x 5cm
$605.00
GS202
DuraGen Dural Graft Matrix
Collagen
7.5 x 7.5cm
$1,120.00
Prostheses List by Category, Groups and Sponsor
Page 123 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GS203
DuraGen Dural Graft Matrix
Collagen
10 x 12.5cm
$1,890.00

Medtronic Australasia Pty Ltd
MC618
Medishield
Medishield is a co-polmer gel composed of 
3cc Syringe
$1,300.00
Temporary approval - funded when

carboxymethylcellulose and polyethylene.
 clinical indications are present.
Bone Matrix Implants, Artificial

Medtronic Australasia Pty Ltd
MC626
Macropore FRP (fast resorbing polymer)
Polylactide and Polyglycolide polymer
1.8mm x 3-8mm
$82.00
MC627
Macropore FRP (fast resorbing polymer)
Polylactide and Polyglycolide polymer
100mm x 100mm x 0.75mm
$1,940.00
MC628
Macropore FRP (fast resorbing polymer)
Polylactide and Polyglycolide polymer
60mm x 80mm x 0.75mm
$1,230.00
MC629
Macropore FRP (fast resorbing polymer)
Polylactide and Polyglycolide polymer
50mm x 50mm 0.75mm
$985.00
MC630
Macropore FRP (fast resorbing polymer)
Polylactide and Polyglycolide polymer
25mm x 25mm x 0.75mm
$500.00
MC631
Macropore FRP (fast resorbing polymer) 
Polylactide and Polyglycolide polymer
2.1mm x 3-8mm
$100.00

screw
Cables/Leads, Other

Advanced Neuromodulation Systems Australia Pty Ltd
AV001
ANS Spinal Cord Stimulation System (SCS)
Lead Extensions - in addition to 3341, 3342, 
60cm length
$1,510.00
When used in pain therapy - to be 

3343, 3382 and 3383, additional model 3346 - 
funded when the patient has 

Dual Quad Extension and 3386 - single 
undergone a multi-disciplinary 

octrode extension
assessment and trial of stimulation.
AV002
ANS Spinal Cord Stimulation System (SCS)
Octrode Lead. 8 Electrode (thoracic or 
30cm, 60cm, 90cm 110cm
$4,293.00
When used in pain therapy - to be 

cervical placement).
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV003
ANS Spinal Cord Stimulation System (SCS)
Quattrode Lead. 4 Electrode.
30cm, 60cm, 90cm 110cm
$3,400.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Prostheses List by Category, Groups and Sponsor
Page 124 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AV007
ANS Spinal Cord Stimulation System (SCS)
Trial Lead. Temporary Screening Lead
30cm, 60cm
$485.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV011
ANS Spinal Cord Stimulation System (SCS)
Lamitrode Plate Electrode
60cm, 90cm, 110cm
$7,040.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV012
ANS Spinal Cord Stimulation System (SCS)
Lamitrode Dual 8 Plate Electrode Lead
One size only
$7,640.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV021
A127 Lead Extension
A127 Lead Extension
15cm, 40cm, 60cm, 90cm
$1,510.00
Catheter, Infusion

Johnson & Johnson Medical Pty Ltd
JJ488
Prowler Infusion Microcatheters, Prowler 
Proprietary braid / coil reinforced 
Size:  150cm - 170cm.  Distal length:
$719.00

Select LPES, Prowler Select Plus, Prowler 
technology.  Proximal braided shaft.  Prowler
  5cm - 50cm

14, Prowler Select pre-shaped - Coil 
 Select LPES infusion catheter.  Prowler 

delivery system
Select Plus infusion catheter.  Prowler 14 

infusion catheter

Medtronic Australasia Pty Ltd
MC716
Intrathecal Catheter
Model 8731 Radiopaque silicone rubber, 
Length 104.1cm
$820.00
$950.00

titanium
Catheters, Cerebrospinal

Johnson & Johnson Medical Pty Ltd
JJ160
Hakim Ventricular Catheter with Bactiseal 
Silicone antibiotic impregnated catheter
Ventricular catheter length 14 cm
$675.00

Silicone
Prostheses List by Category, Groups and Sponsor
Page 125 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Hydrocephalic

Global Scientific Pty Ltd
GS134
Shunt
Lumbar
80cm
$1,046.00
GS150
Atrial Catheter 
Components - catheter: Atrial Atrial 
Length: 46cm, F7.  OD: 2.1mm; 
$165.00

Catheters  Hydrocephalux Valve 
ID:1.1mm
GS151
Peritoneal Catheter
Peritoneal Catheters
Length: 91cm, F7.  OD: 2.1mm; 
$180.00

ID:1.1mm
GS214
Cardiac/Peritoneal Catheters
SiliconDistal Catheter, ID 1.3mm, OD 2.5mm
90cm, barium impregnated silicone 
$185.00

catheter, closed or open ended, 

with or without slits
GS215
Ventricular Catheters
Silicon Ventricular Catheter
15cm - 25cm, optional flanges or 
$185.00

right angle or endoscopic tip. ID 

1.3mm, OD 2.5mm

Medtronic Australasia Pty Ltd
MC533
Shunt: Components catheter
Ventricular Catheter, CSF Catheter
1.3 - 35cm
$149.00
MC583
CSF - Ventricular Catheters PSM Range
Non metallic latex free. Barium impregnated, 
ID 1.3mm OD 2.5mm Length 15cm, 
$212.00

include stainless steel stylet.  Model Nos 
23cm; ID 1.2mm OD 2.1mm Length 

41101, 41115, 41207, 41103, 41308, Proximal 
15cm, 23cm

ventricular catheter.
MC584
CSF - Distal Catheters
Non metallic and latex free, Models 
Distal cardiac/peritoneal catheters 
$185.00

43418,43103,43111,43209,43522,43551,27211
ID 1.3mm OD 2.5mm Length 90cm, 

96cm, 110cm, 120cm, ID 1.2mm, OD

 2.1mm, Length 90cm, 75cm, 58cm
MC638
Peritoneal Catheter PSM range with Bioglide
Translucent silicone elastomer with Barium 
60-90cm
$255.00

impregnated stripe.  Catheter surface 

bonded with Hydrogel.
MC639
Ventricular Catheter PSM range with 
Translucent silicone elastomer with Barium 
15-23cm
$249.00

Bioglide
impregnated stripe. Catheter surface bonded

 with Hydrogel.
Prostheses List by Category, Groups and Sponsor
Page 126 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Catheters, Intracranial, Ventricular

B Braun Australia Pty Ltd
BB078
Shunt Accessories
Catheter-Ventricular
60cm to 120cm
$289.00

Global Scientific Pty Ltd
GS001
Heyer-Schulte In Line Valve System
Anti Siphon Device
One size only
$390.00
$640.00
GS015
Heyer-Schulte Pudenz Ventricular Catheter
-
small, standard, right-angled
$185.00
GS133
Shunt
Components - catheter: Atrial
55cm - 60cm, Low - High pressure 
$450.00

range
GS135
Shunt
Peritoneal
90 - 120cm
$350.00
GS136
Shunt
Ventricular
14.5cm - 23cm
$475.00
GS139
Heyer Schulte Portnoy Flanged Ventricular
Composition - silicone with tantalum 
Length 18cm, outer diameter 8mm
$475.00

 Catheter
markings

Johnson & Johnson Medical Pty Ltd
JJ227
Codman Medos Straight Ventricular 
14cm, packaged sterile, silicone rubber
14cm
$149.00

Catheter
Catheters, Peritoneal

Johnson & Johnson Medical Pty Ltd
JJ163
Hakim Ventricular and Peritoneal Catheter 
Silicone ventricular/peritoneal catheter
Peritoneal Catheter length 80 cm, 
$469.00

Set with Bactiseal Silicone
Ventricular Catheter length 15 cm
JJ229
Codman Medos Peritoneal Catheter
85cm, packaged sterile, silicone rubber
85cm
$185.00
Clamps, Skull

B Braun Australia Pty Ltd
BB072
Craniofix Titanium Clamps
Titanium
11mm
$86.00
BB073
Craniofix Titanium Clamps
Titanium
16mm
$86.00
$127.00
BB168
Craniofix
Titanium skull fixation clamp
20mm
$86.00
$140.00
Prostheses List by Category, Groups and Sponsor
Page 127 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Clips

Stryker Australia Pty Ltd
SK370
Universal Neuro
NeuroClip
1.5mm
$193.00
Clips, Aneurysm

B Braun Australia Pty Ltd
BB108
Aneurysm Clip
Yasargil
4.5mm x 150g to 25.0mm x 200g
$215.00
$230.00
BB109
Aneurysm Clip
Yasargil Phynox Mini
2.8mm x 110g to 7.0mm x 130g
$205.00
BB110
Aneurysm Clip
Yasargil Titanium
4.9mm x 150g to 20.0mm x 200g
$258.00
BB111
Aneurysm Clip
Yasargil Titanium Mini
2.8mm x 110g to 7.0mm x 110g
$270.00
BB112
Aneurysm Clip
Yasargil Reinforcing, Titanium/Phynox
One size only
$422.00
BB175
Yasargil Aneurysm Clip System
Phynox temporary clips are manufactured 
3mm - 20mm length, phynox 
$230.00

from phynox.
temporary clips.
BB176
Yasargil Aneurysm Clip System
Titanium termporary clips are manufactured 
3mm- 25mm length, titanium 
$280.00

from titanium
temporary clips.
BB218
Kopitnik Microneurosurgical AVM Clips
Composition: Phynox (Cobalt-base-alloy)
2mm, 3mm, 4mm, 5mm - straight. 
$240.00

2mm, 3mm, 4mm, 5mm - curved.
BB290
T-Bar Yasargil Aneurysm Clip
T-Bar Yarsargil Aneurysm Clip, Titanium, 
5mm-9mm, 45 Deg
$620.00
$680.00

Permanent Standard Fenestrated
BB291
T-Bar Yasargil Aneurysm Clip
T-Bar Yarsargil Aneurysm Clip, Titanium, 
5mm-13mm, 90 Deg
$620.00
$680.00

Permanent Standard Fenestrated
BB292
T-Bar Yasargil Aneurysm Clip
T-Bar Yarsargil Aneurysm Clip, Pyhnox 
5mm-9mm, 45 Deg
$460.00
$482.00

Cobalt Alloy, Permanent Standard 
BB293
T-Bar Yasargil Aneurysm Clip
T-Bar Yarsargil Aneurysm Clip, Pyhnox 
5mm-13mm, 90 Deg
$460.00
$482.00

Cobalt Alloy, Permanent Standard 

Johnson & Johnson Medical Pty Ltd
JJ130
Aneurysm Clips
Stainless steel alloy AVM Micro Clip
Blade length 2-9.5 mm
$270.00
JJ131
Aneurysm Clips
Stainless steel Graft Clip (with teflon graft)
Blade 2-5mm diameter, 3-7mm 
$598.00

length 
Prostheses List by Category, Groups and Sponsor
Page 128 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ134
Aneurysm Clips
Stainless steel Reinforcing (booster) Clip
Blade length 2-9.5 mm
$460.00
JJ136
Aneurysm Clips
Stainless steel large clip, curved
Blade 6mm diameter, 7.5mm length
$420.00
JJ137
Aneurysm Clips
Stainless steel large clip, right-angled
Blade 6mm diameter, 5mm length
$408.00
JJ138
Aneurysm Clips
Stainless steel large clip, right-angled
Blade 6mm diameter, 7.5-15mm 
$378.00

length
JJ139
Aneurysm Clips
Stainless steel large clip, 30 degree angle
Blade length 12mm
$424.00
JJ140
Aneurysm Clips
Stainless steel large clip, bayonet
Blade length 5-12mm
$445.00
JJ141
Aneurysm Clips
Stainless steel large clip, fenestrated
Blade 6mm diameter, 24mm length
$408.00
JJ142
Aneurysm Clips
Stainless steel large clip, fenestrated tandem
Blade 6mm diameter, 6 mm length
$378.00
JJ143
Aneurysm Clips
Stainless steel standard clip, straight to right
4.5-10mm length
$258.00

 angled
JJ144
Aneurysm Clips
Stainless steel standard clip, side angle
0.6mm diameter, 10mm length
$260.00
JJ146
Aneurysm Clips
Stainless steel standard clip, slightly curved
0.6mm diameter, 15mm length
$278.00
JJ147
Aneurysm Clips
Stainless steel standard clip, right angle
0.6mm diameter, 5.5 mm length
$269.00
JJ148
Aneurysm Clips
Stainless steel standard clip, straight to right
0.5-0.6mm diameter, 5-15mm length
$295.00

 angle
JJ149
Aneurysm Clips
Stainless steel standard clip, straight to 
5-25mm length
$370.00
JJ150
Aneurysm Clips
Stainless steel standard clip, slightly curved
16mm length
$370.00
JJ151
Aneurysm Clips
Stainless steel standard clip, bayonet
9mm length
$345.00
JJ152
Aneurysm Clips
Stainless steel standard clip, bayonet
15mm length
$350.00
JJ153
Aneurysm Clips
Stainless steel standard clip, curved
10-14mm length
$365.00
JJ154
Aneurysm Clips
Stainless steel standard clip, slightly curved
8-20mm length
$408.00
JJ155
Aneurysm Clips
Stainless steel standard clip, bayonet to 
6-25mm length
$406.00

right angle
JJ217
Aneurysm Clips
Stainless steel large clip
Blade 4-6mm diameter, 5-25mm 
$378.00

length

National Surgical Corporation Pty Ltd
NI143
Medicon Aneurysm Clips
Aneurysym clips titanium, standard 
Large
$310.00

titanium, stainless steel

Taylor Bryant Pty Ltd
TB116
Aneurism Clip
Sugita Clips, Standard Slightly Curved,
One Size Each
$460.00
Prostheses List by Category, Groups and Sponsor
Page 129 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB117
Aneurism Clip
Sugita Clip, Temporary Straight/S,  Sugita 
One Size Each
$405.00

Clip, Temporary Straight/L
TB118
Aneurism Clip
Sugita Clips: Standard Straight-Short 
One Size Each
$342.00

#1/Long #2
TB119
Aneurism Clip
Sugita Titanium Anneurysm Clips: Standard 
One Size Each
$269.00

Straight/s, Straight-L, Bayonet, Angled, 

Straight-Small, STD Temp-STD Small, STD 

Temp-Straight/Large, STD Temp-Bayonet, 

STD Temp-CVD, Mini Straight-Small, Mini 

Straight/Large, Mini Curve, Mini Angled, 

Mini Curve
TB147
Aneurism Clip
Sugita Titanium Clips: Standard Slight 
One Size Each
$318.00

Angle, Side CVD, CVD, Angled, Bayonet-

Small/Large, Straight-Medium, Slight CVD, 

Straight Large, L Angle-

Small/Medium/Large, 45D CVD 

Small/Medium/Large, STD Temp Slight CVD,

 Temp Mini Straight/Large, Temp Mini 

Angle, Standard 1/4 Curved-Small/Large, 

STD Slight Angle, Standard Slight Curve, 

Curve, 1/4 Curve, Mini Curve, Side Curve, 

Angle, Bayonet,
TB148
Aneurism Clip
Sugita Titanium Clips: Standard Side CVD 
One Size Each
$420.00

Bayonet, Small CVD, Side Angled, Slight 

CVD, J Angle-Small/Medium/Large, Slight 

CVD Small, Temp Mini Straight Slim, 

Standard L Curved- Small/Large, Mini 

Straight Slim, Curve Slim,
TB149
Aneurism Clip
Sugita Titanium Clips: Booster
One Size Each
$435.00
TB150
Aneurism Clip
Sugita Clips: Mini Straight Slim, CVD Slim
One Size Each
$460.00
TB151
Aneurism Clip
Sugita Clips: Fenest, Lrg L Shaped W/CVD
One Size Each
$500.00
TB152
Aneurism Clip
Sugita Clips, Mini CVD Slim
One Size Each
$618.00
TB153
Aneurism Clip
Sugita Clips, Long
One Size Each
$620.00
TB154
Aneurism Clip
Sugita Clip,  Large Straight/Short
One Size Each
$220.00
TB155
Aneurism Clip
Sugita Clip, Temporary Bayonet, Bent
One Size Each
$230.00
TB156
Aneurism Clip
Sugita Clip, STD Sideward CVD
One Size Each
$236.00
Prostheses List by Category, Groups and Sponsor
Page 130 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB157
Aneurism Clip
Sugita Clip, Large Sideward Bent, Bent, 
One Size Each
$296.00

Bayonnet-Short/Large, Straight-
TB158
Aneurism Clip
Sugita Clip, Large L Shaped-
One Size Each
$319.00

Short/Medium/Large, Large J Shaped-

Short/Medium/Large, Fenest Large Straight-

S/M/L, Large Bent-S/M/L, Fenest Large L 

Shaped-S/M/L
TB159
Aneurism Clip
Sugita Clip, Temporary Mini Straight, Bent, 
5-7mm length x 1.2mm width, 
$328.00

Mini Straight/Short, Bent, SDEWARD CVD, 
closing force 125gms

CVD
TB160
Aneurism Clip
Sugita Clip, Mini CVD
4mm length x 1.2mm width, closing 
$331.00

force 120 & 124gms
TB161
Aneurism Clip
Sugita Clip, Mini CVD
5mm length x 1.2mm width, closing 
$366.00

force 132gms
TB162
Aneurism Clip
Sugita Clip, Large Slightly Crv-Short/Long
One Size Each
$390.00
TB163
Aneurism Clip
Sugita Clip, Large 45 D Angle/s, Slightlyn 
One Size Each
$380.00

Crv/s, Temporary Slighly Crv, Mini Straight 

Slim, Large 1/4 CVD, Mini
TB164
Aneurism Clip
Sugita Clip, Large Straight, Bayonet, Mini 
One Size Each
$400.00

Bayonet
TB165
Aneurism Clip
Sugita Clip, Large L Shaped W/CRV-S/L, 1/4 
One Size Each
$410.00

CVD-S/L
TB166
Aneurism Clip
Sugita Clip, Large 45D Angle-M/L
One Size Each
$400.00
TB167
Aneurism Clip
Sugita Clip, Fenest Large L Shaped-L, 
One Size Each
$460.00

Bayonet
TB168
Aneurism Clip
Sugita Clip, Fenest Large L Shaped W/CVD
One Size Each
$224.00
TB169
Aneurism Clip
Sugita Clips, Standard Bayonnet, Bent, 
One Size Each
$236.00

Sideward Bent, Sideward Curve, Slight Bent
TB170
Aneurism Clip
Sugita Clips, Standard Sideward Curve, 
One Size Each
$370.00

Curved
TB171
Aneurism Clip
Sugita Clips, Standard Slight CVD, CVD
11mm length x 1.2 width, closing 
$342.00

force 125-160gms; 9mm length x 1.2

 width, closing force 120-155gms
TB294
Mizuho - Titanium Fenestrated Aneuysm 
Straight (S/M/L), Bent (S/ M/L),  L-Shaped 
Closing Force 95 to 160 gms
$568.00

Clips
(S/M/L), Bayonet,  L Shaped curved to left 

(S/M/L),  L-Shaped curved to right (S/M/L)
Prostheses List by Category, Groups and Sponsor
Page 131 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Covers, Burr Hole

Johnson & Johnson Medical Pty Ltd
JJ165
Burr Hole Button
Stainless steel ventriculostomy reservoir
One size only
$375.00
JJ166
Burr Hole Button
Silicone or stainless steel ventriculostomy 
14mm diameter
$450.00

reservoir
JJ167
Burr Hole Button
Silicone ventriculostomy reservoir, flat bottom
One size only
$260.00
JJ168
Burr Hole Button
Silicone ventriculostomy reservoir, standard
One size only
$172.00
JJ169
Burr Hole Button
Silicone ventriculostomy reservoir, large
One size only
$355.00
JJ170
Burr Hole Button
Silicone or stainless steel ventriculostomy 
One size only
$335.00

reservoir, low profile
JJ171
Burr Hole Button
Silicone or stainless steel ventriculostomy 
24mm diameter
$400.00

reservoir
JJ284
BIOPLATE Burr hole cover
1.9mm, titanium, flexible contoured burr hole 
18mm
$176.00

cover, packaged non-sterile
JJ285
BIOPLATE Burr hole cover
1.5mm, titanium, flexible contoured burr hole 
12mm
$176.00

cover, packaged non-sterile
JJ286
BIOPLATE Burr hole cover
1.9mm, titanium, rigid contoured burr hole 
18mm
$170.00

cover, packaged non-sterile
JJ287
BIOPLATE Burr hole cover
1.5mm, titanium, rigid contoured burr hole 
12mm
$176.00

cover, packaged non-sterile
JJ288
BIOPLATE Burr hole cover
1.5mm, titanium, rigid contoured burr hole 
18mm
$182.00

cover, packaged non-sterile
JJ289
BIOPLATE Burr hole cover
Titanium, burr hole cover, 6 hole, packaged 
12mm flat
$185.00

non-sterile
JJ290
Burr hole button
Sterile, 10 per package, silicone rubber
Button length 35mm, cover 
$99.40

diameter 29mm, stem thickness 

4.1mm
JJ291
Burr hole cover
Burr hole cover, sterile, 10 per package, 
Seat diameter 10mm, seat depth 6mm
$99.40

silicone rubber
JJ292
BIOPLATE Burr hole cover
1.5mm, titanium, flexible contoured burr hole 
18mm
$182.00

cover, packaged non-sterile
Prostheses List by Category, Groups and Sponsor
Page 132 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ299
BIOPLATE Burr Hole Cover
1.9mm, titanium, flexible contoured burr hole 
12mm
$172.00

cover, packaged non-sterile
JJ489
Bioplate ZIP
11mm titanium alloy implant
11mm
$85.00
JJ490
Bioplate ZIP
15mm titanium alloy implant
15mm
$114.00
JJ491
Bioplate ZIP
18mm titanium alloy implant
18mm
$145.00
Dressing Kits

Taylor Bryant Pty Ltd
TB296
Duraseal Dural Sealant
DuraSeal is a Synthetic, absorbable, 
5ml of hydrogel sealant
$835.00
Temporary approval, pending 

Polyethylene Glycon, hydrogel sealant used 
review of product group

as an adjunct to sutured dural repair to 

achieve watertight closure.
Dressing, hydrogel

Taylor Bryant Pty Ltd
TB369
DuraSeal Xact Spinal Dural Sealant
Xact Dural Sealant for spine )Packaged in 
2ml vial
$800.00

sterile single use disposable tray with 

MicroMyst Applicator & precurser 
Durepair - Graft, dura mater

Medtronic Australasia Pty Ltd
MC750
Durepair
Dura Substitute, Collagen
1" x 1"
$360.00
MC751
Durepair
Dura Substitute, Collagen
2" x 2"
$605.00
MC752
Durepair
Dura Substitute, Collagen
1" x 3"
$545.00
MC753
Durepair
Dura Substitute, Collagen
3" x 3"
$1,120.00
MC754
Durepair
Dura Substitute, Collagen
4" x 5"
$1,890.00
Prostheses List by Category, Groups and Sponsor
Page 133 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Electrode/Lead, Stimulator, Implantable, Neurological

Advanced Neuromodulation Systems Australia Pty Ltd
AV027
Lamitrode S Series Leads
Lamitrode S Series, 8 Channel, Model # 3283
Length = 30cm
$7,040.00
AV028
Lamitrode S Series
Lamitrode S Series, 8 Channel, Model # 3286
Length = 60cm, 90cm, 110cm
$7,040.00
AV029
Lamitrode S Series Leads
Lamitrode S Series, 4 Channel, Model # 3243
Length = 30cm
$7,040.00
AV030
Lamitrode S Series Leads
Lamitrode S Series, 4 Channel, Model # 3246
Length = 60cm, 90cm, 110cm
$7,040.00
AV031
Lamitrode C Series Leads
Lamitrode C Series, 8 Channel, Model # 3245
Length = 60cm, 90cm, 110cmm
$7,040.00
AV032
Lamitrode C Series Leads
Lamitrode C Series, 16 Channel, Model # 3289
Length = 60cm
$7,640.00
AV033
Axxess Permanent Lead
Axxess Quad Lead:  7mm - Model #4044, 
Length - 45cm
$485.00

9mm - Model # 4054
AV034
Axxess Permanent Lead
Axxess Quad permanent Lead:  7mm - Model
Length 30 - 60cm
$3,400.00

 #4143 & 4146, 9mm- Model # 4153 & 4156

Medtronic Australasia Pty Ltd
MC740
SCS Sub Compact Lead
Octad Sub Compact Lead Kit without 
45, 60 and 75cm
$4,230.00
$4,750.00

Percutaneous Extension Model 3776
MC759
SCS Sub Compact Lead
Ocatd Sub Compact Lead Kit with 
45, 60 and 75cm
$4,230.00
$4,750.00

Percutaneous Extension Model 3876
Electrodes, Neuromuscular Stimulator

Medtronic Australasia Pty Ltd
MC690
Neurostimulation System - Octad Leads
Octad Standard Lead Kit without 
45, 60 & 75cm
$4,370.00

Percutaneous Extension Model 3777,
MC710
Neurostimulation System - Octad Leads
Octad Standard Lead Kit with Percutaneous 
45, 60 & 75cm
$4,230.00

extension model 3877
MC711
Neurostimulation System - Octad Leads
Octad Compact Lead Kit without 
45, 60 & 75cm
$4,230.00

Percutaneous Extension Model 3778
MC712
Neurostimulation System - Octad Leads
Octad Compact Lead Kit with Percutaneous 
45, 60 & 75cm
$4,230.00

Extension Model 3878
Prostheses List by Category, Groups and Sponsor
Page 134 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Embolization Prostheses, Intravascular

N Stenning  & Co Pty  Ltd
NG035
MicroPlex Coil System
Kit includes delivery pusher, introducer 
Coil Size 10, 18 - Loop Diameter 2-
$1,505.00
$1,745.80

sheath, MCS complex coil
14mm, 16,18,20mm, Length 1-4cm, 

6-13cm, 15-21cm, 23-24cm, 26-

28cm, 30-34cm, 38-39cm, 43-44cm, 

49-50cm
NG038
MicroPlex Coil System; Hydrocoil System
MCS Helical Coils Soft; MCS 
$1,505.00
$1,745.80

Helical Coil Regular
NG039
MicroPlex Coil System; Hydrocoil System
HES Helical Coils Hydrocoils
2mm Diameter x 3cm Length to 
$1,854.00
$2,088.00

3mm Diameter x 7cm Length
NG040
MicroPlex Coil System; Hydrocoil System
HES Helical Coils Hydrocoils
4mm Diameter x 5cm Length to 
$2,266.00
$2,552.00

5mm Diameter x 10cm Length
NG041
MicroPlex Coil System, Hydrocoil System
HES Helical Coils Hydrocoils
5mm Diameter x 15cm Length to 
$2,600.00

20mm Diameter x 20cm Length
Fittings/Adapters

Advanced Neuromodulation Systems Australia Pty Ltd
AV013
ANS Spinal Cord Stimulation System (SCS)
Boots, Connectors, Anchors, Strain Relief
One size only
$730.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Fixation Device, Internal, Fracture

Biomet Australia Pty Ltd
BI870
Neurological Packs
Plate & screws: Neuro pack Burr cover or 
1.5mm or 2mm system
$720.00

multi plate set.  Thinflap 4 hole plus plate sets
BI949
Neurological Packs
Plate & screws: Neuro pack - single plate or 
1.5mm or 2mm system
$360.00

thinflip 2 hole plate set
Prostheses List by Category, Groups and Sponsor
Page 135 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
JJ492
BIOPLATE Sterile Packs
813573, 2-Hole straight plate and screws - 
1 kit
$397.00

1.5mm
JJ493
BIOPLATE Sterile Packs
813574, 2-Hole compression plate and 
1 kit
$388.00

screws - 1.5mm
JJ494
BIOPLATE Sterile Plates
813575, 2-Hole straight plate and screws - 
1 kit
$400.00

1.5mm
JJ495
BIOPLATE Sterile Packs
813576, Self drilling screws - 1.5mm
1 kit
$87.00
JJ496
BIOPLATE Sterile Packs
813577, Self Drilling Screws - 1.5mm
1 kit
$260.00
JJ497
BIOPLATE Sterile Packs
813578, X-plate and screws - 1.5mm
1 kit
$515.00
JJ498
BIOPLATE Sterile Packs
813579, 4-Hole plate and screws - 1.5mm
1 kit
$370.00
JJ499
BIOPLATE Sterile Packs
813580, 6-Hole Burr Hole cover and screws - 
1 kit
$442.00

1.5mm
JJ500
BIOPLATE Sterile Packs
813581, 2-Hole straight plate and screws - 
1 kit
$340.00

1.9mm
JJ501
BIOPLATE Sterile Packs
813582, 2-Hole compression plate and 
1 kit
$397.00

screws - 1.9mm
JJ502
BIOPLATE Sterile Packs
813583, 2-Hole compression plate and 
1 kit
$140.00

screws - 1.9mm
JJ503
BIOPLATE Sterile Packs
813584, Self drilling screws - 1.9mm
1 kit
$90.00
JJ504
BIOPLATE Sterile Packs
813585, Self Drilling Screws - 1.9mm
1 kit
$256.00
JJ505
BIOPLATE Sterile Packs
813586, X-plate and Screws - 1.9mm
1 kit
$515.00
JJ506
BIOPLATE Sterile Packs
813587, Boxcar plate and screws - 1.9mm
1 kit
$369.00
JJ507
BIOPLATE Sterile Packs
813588, 6-Hole Burr Hole Cover and Screws -
1 kit
$442.00

 1.9mm
Fixation Device, Internal, Plate

Australian Surgical Innovations Pty Ltd
AI004
ASI Plates and Screws
Plate
Straight, Left, Right, X, T and Y 
$206.00

shaped
AI005
ASI Plates and Screws
Mesh
$1,545.00
AI006
ASI Plates and Screws
Custom Mesh
$6,700.00
Prostheses List by Category, Groups and Sponsor
Page 136 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

B Braun Australia Pty Ltd
BB289
CranioFix Absorbable
Double sided Cranial clamp, absorbable 
11mm
$1,500.00

polyester

Johnson & Johnson Medical Pty Ltd
JJ534
BIOPLATE Low Profile
Low Profile Titanium Screw
1.5mm diam, 3-5mm length
$45.00

Medical & Optical Instruments Australia Pty Ltd
MO244
Martin Micro Plate Osteosynthesis System
1.5mm Titanium Sterile Drill Free Flap Pack 
2 - Hole Plate x 3, 1.5 x 4mm Screws
$460.00
Temporary approval, pending 

Kit
 x 6
review of product group
MO248
Martin Micro Plate Osteosynthesis system
Titanuim Cranial Fixation kit contains on 
0.6mm Profile Plate and 5mm length
$495.00

Burr Hole Cover and 5 Screws
 screws

Synthes Australia Pty Ltd
SY313
AO/ASIF  Plate
Titanium Mesh for reconstruction of cranial 
100mm x 100mm square 0.4-0.6mm 
$1,684.05

defects, Low Profile Neuro Mesh
thick, Contourable
SY314
AO/ASIF  Plate
Titanium Mesh for reconstruction of cranial 
200 x 200mm square, 0.4mm - 0.6mm
$3,605.00

defects, Low Profile Neuro Mesh
 thick, Contourable
SY317
AO/ASIF Plate
Titanium Plate - straight
1.6mm Profile, 2-4 holes
$113.00
SY318
AO/ASIF Plate
Titanium Plate - X, Y Frame, Strut, Adaption
1.6mm Profile, 4-6 holes
$170.00
SY319
AO/ASIF Plate
Titanium Plate - Long Adaption and Burr 
1.6mm Profile, 6-24 holes
$206.00

Hole covers
Fixation Device, Internal, Screw

Australian Surgical Innovations Pty Ltd
AI007
ASI Plates and Screws
Screw
Width 1.0 - 3.0mm. Length 3.0 - 
$82.00

25mm
Group 1- Fixation: Bone Screw

open

Medtronic Australasia Pty Ltd
MC503
CD Horizon
Fixed Angle Screw
25 - 90mm
$933.00
$1,037.00
Prostheses List by Category, Groups and Sponsor
Page 137 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1a  - Bone Screw, Monoaxial

Global Manufacturing Technology Pty Ltd
GM025
Maxima/Optima Anterior Cervical Plate 
Cancellous Bone Screws
3.5 x 10mm to 20mm; 4.0 x 10mm to 
$200.00

System
20mm
GM034
Optimal Spinal System
Pedicle Screw Monoaxial Type
4 x 25 to 8 x 55mm
$810.00
$900.00
GM060
Maxima/Optima Anterior Cervical Plate 
Pedicle Screw - Mono Axial Type
4.5 mm -8.5mm Length 25mm-60mm
$810.00
$900.00

System
GM074
BacFix (Thoracolumbar System)
Smooth profile flexible angle screw - 
5 - 8mm x 30 - 60mm
$720.00

Titanium alloy
GM077
AcuFix
Cancellous bone screw - Anterior cervical 
4mm x 10 - 18mm
$195.00

plate system - Titanium
GM078
AcuFix
Self tapping wide root screw - Anterior 
4mm x 10 - 18mm
$195.00

cervical plate system - Titanium
GM079
AcuFix
Rescue screw - Anterior cervical plate 
4.5mm x 10 - 18mm
$195.00

system - Titanium

Global Orthopaedic Technology
GO089
Incompass
Thoracolumbar Fixation System, Fixed Angle
4.5 - 8.5mm
$900.00

 Screw Open
GO090
Incompass
Thoracolumbar Fixation System, Fixed Angle
4.5 - 8.5mm
$900.00

 Screw Closed
GO105
OctaFix
Occipital Cervical Plating System
Closed Screw 4mm
$904.00
$1,004.00
GO107
OctaFix
Occipital Cervical Plating System
Primary Bone Screw 3.5mm
$792.00
$880.00

Johnson & Johnson Medical Pty Ltd
DP046
VSP System (Titanium)
Pedicle Screw (Standard or +5 No Cut)
4.75-7.75mm x 25-50mm
$450.00
$481.28
DP830
Profile Anterior Thoracolumbar Plate System
Cancellous Screw
6mm x 20 - 60mm
$600.00
$656.38
DP831
Profile Anterior Thoracolumbar Plate System
Cancellous Bolt
7mm x 25 - 60mm
$623.00
$742.40
DP833
Profile Anterior Thoracolumbar Plate System
Graft Screw
15 - 30mm  
$209.00
DY039
TiMX Low Back System
Pedicle Screws (Standard or +5 No Cut)
5.5 - 7.75mm x 30 - 50mm
$536.00
$609.28
DY121
VSP System (Stainless Steel)
Pedicle Screw (Standard or +5 No Cut)
4.75-7.75mm x 25-50mm
$543.00
DY170
Monarch Spinal System
Bolts - Pedicle & Reduction
4.75 - 8.5 mm x 30 - 55mm
$600.00
Prostheses List by Category, Groups and Sponsor
Page 138 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY300
Slim-loc Anterior Cervical Plate System
Screws - Self Tapping
4.5 x 12-26mm
$230.00
DY301
Slim-loc Anterior Cervical Plate System
Screws - Large Diameter
4.8 x 12-16mm
$230.00
DY302
Slim-loc Anterior Cervical Plate System
Screws - Self Drilling
4.5 x 12-18mm
$230.00
DY309
Frontier Anterior Scoliosis System 
Bone Screws
5.5 x 25-40mm, 6.5 x 25-60mm, 7.5 x 
$904.00
$1,352.00

(Titanium)
35-60mm
DY321
Codman Anterior Cervical Plate System
Rescue screw
12 & 15mm
$195.00
DY333
Summit Cervical Rod System
Occipital Bone Screw
4.5 - 5.25 Dia x 6 -16mm length
$217.00
DY338
Summit Cervical Rod System
Cancellous Bone Screw
3.5-4.5mm x 12-48mm
$200.00
DY346
RECO Spinal System
Pedicale Screw
4-7mm
$860.00
DY452
Swift Spine System
Titanium Anterior Cervical Plate System - 
10 - 18mm
$765.00

3.8mm Self-Drilling/Tapping Screw
DY453
Swift Spine System
Titanium Anterior Cervical Plate System - 
18mm
$765.00

4.2mm Self-Drilling/Tapping Screw
DY454
Swift Spine System
Titanium Anterior Cervical Plate System - 
10 - 28mm
$765.00

3.8mm Bicortical Screw
DY455
Swift Spine System
Titanium Anterior Cervical Plate System - 
10mm
$765.00

Graft Screw
JJ603
McGuire Bone Screw
Cancellous Bone Screw
3.5mm x 8 - 60mm
$190.00

LSS Surgical Pty Limited
LS003
Solas Spinal System
Set Screw
One Size
$300.00
LS005
Solas Spinal System
Monoaxial Pedicle
4 x 25mm to 8 x 55mm
$810.00
$900.00
LS008
Solas Spinal System
Axial/Lateral Connectors
Small to Large
$743.00

Medtronic Australasia Pty Ltd
MC294
Vertex Spinal System
Occipital Buttons
Bolt 6 - 30 mm Length
$250.00
$575.00
MC296
Vertex Spinal System
Occipital Screws
 3.0 - 5.0 mm diameter, 4 - 30 mm 
$205.00
$447.00

length
MC384
Colorado 2
Pedicle Screw
Diameter 5.5 - 7.5 Lengths 30 - 70mm
$933.00
$1,037.00
MC402
CD Horizon
Pedicle Screws
Diameter 5.5 - 7.5  Lengths 25 - 80mm
$933.00
$1,037.00
MC483
Axis Cervical Plating System
Screw: Cortical
26 - 54mm
$146.00
MC658
Engage
Bolt
5.5 to 8.5mm diameter
$1,134.00
Prostheses List by Category, Groups and Sponsor
Page 139 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC659
Silo
Screw
4.5 - 8.5mm diameter
$1,004.00
$1,480.00
MC666
CD Horizon
Legacy lliac Screw
6.5mm to 8.5mm Diameter
$1,188.00
$1,320.00

Nuvasive Australia Pty Ltd
NV001
SpheRx
Cannulated Fixed Axis Screw
4.5 - 8.5mm diameter
$904.00

25 - 65mm length

Orthotech Pty Ltd
OH037
Synergy Spinal System
Open/Closed Screws
5.5 to 8.0mm dia
$904.00
$1,300.00
OH047
Synergy Spinal System
Variable Locking Screws
6.5 - 7mm
$765.00
$950.00
OH048
Synergy Spinal System
Variable Locking Screw Seat
6.35mm
$383.00
$450.00
OH049
Synergy Spinal System
Variable Locking Screw Nut
13.8mm
$337.00
$420.00
OH050
Synergy Spinal System
Variable Locking Screw Reduction Seat
6.35mm
$525.00
$750.00
OH051
Synergy Spinal System
Iliac Screw
6.0 - 10.0mm
$909.00
$1,300.00
OH053
Interpore Bone Plate System
TPS Screw
14 - 22mm
$540.00
$850.00
OH064
Anterior Cervical Plate System
Titanium Cancellous Bone Screw
4 - 20mm
$220.00
$260.00
OH174
Omega 21 Spine Fixation System
Screw, Self Tapping, 4.75mm, 5.5mm, 6.35mm,
25mm - 65mm
$900.00
$1,300.00

 7.5mm, 8.5mm diameter
OH207
Altius Occipito-Cervico-Thoracic (OCT) 
Screws
8mm to 32mm
$480.00
$520.00

System
OH210
Array Spinal System
Titanium Alloy Modular Spinal System - 
5.5 - 7.5mm x 30 - 55mm
$999.00
$1,300.00

fixed screw
OH211
Array Spinal System
Titanium Alloy Modular Spinal System - 
5.5 - 7.5mm x 30 - 55mm
$1,134.00
$1,400.00

multiaxial screw
OH253
Intext Cervical Plate/Intext Screws
Intext cervical plate, including (2 - part) 
Screws/ Revision Screws - dia 
$243.00
$350.00

fixation screws
4.4mm, length 11 - 18mm
OH262
OGP posterior lumbar rigid screw fixation 
OGP pedicle screw
6.5 x 35mm, 6.5 x 40mm, 6.5 x 45mm
$270.00
$480.00

system
OH320
Java screw system
Monoaxial pedicle screw
diam 4.5 lg 35, 40, 45; diam 5 lg 35, 
$933.00
$1,275.00

40,45, 50,55, 60; diam 5.5 lg 35, 40, 

45, 50, 55; diam 6 lg 35, 40, 45, 50, 

55, 60; diam 6.5 lg 35, 40, 45, 50, 55, 

60; diam 7 lg 35, 40, 45, 50, 55, 60; 

diam 7.5 lg 35, 40, 55, 60; diam 8 lg 

35, 40, 45, 50, 55, 60
Prostheses List by Category, Groups and Sponsor
Page 140 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW393
Xia Spine System
Bone Screw
One size only
$620.00
SK223
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
Cortical Plate screw Size 3.5mm 
$209.00

(Length 6mm-24mm in 2mm 

increments); Cortical Plate screw 

Size 4.0mm (Length 6mm-24mm in 

2mm increments); Cortical Plate 

screw Size 4.0mm (Length 30mm-

54mm in 4mm increments)
SK249
Maps Spinal Fixation System
Titanium - Long Post Screw
Diameter - 6.50mm, 7.50mm (Length
$923.00

 40-50mm)
SK251
Maps Spinal Fixation System
Titanium - Standard Screw
Diam 4.75mm Length 25-50mm, 
$923.00

Diam 5.75mm Length 25-55mm, 

Diam 6.75 Length 25-60mm, Diam 

7.75mm Length 25-60mm, Diam 8.75

 Length 30-55mm
SK309
Spiral Radius 90D
Locking Screw - Titanium
Diameter 6.75mm Length 30-50mm
$520.00
SR039
Techtonix System
Screw, titanium
5-6mm x 25mm-60mm
$536.00
ST914
REFLEX  Anterior Cervical Plating System
Screw
Diameter 4 - 4.5mm lengths 10mm - 
$261.00

20mm

Synthes Australia Pty Ltd
SY179
Spinal Fixation System
Pedicle Screw (without head)
L:30-100mm, D:4-9mm
$525.00
SY339
Vectra T Anterior Spinal System
Self tapping, self drilling Titanium
4.0/4.5mm. 12mm to 20mm
$270.00

TiMax Surgical Pty Ltd
TI066
CPS Bioabsorbable Fixation System
Anterior Cervical Plate System: PLGA/TMC 
10-20mm
$195.00

Copolymer Screws

Cannulated - Occipital

Global Orthopaedic Technology
GO108
OctaFix
Occipital Cervical Plating System
Bone Screw 3.5 - 4.0mm
$898.00

Cannulated, Closedm Cervical

Medtronic Australasia Pty Ltd
MC448
UCSS
Cortical Lag Screws
36 - 50mm
$637.00
$657.00
Prostheses List by Category, Groups and Sponsor
Page 141 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Cervical

Zimmer Pty Ltd
ZI487
Trinica Screw
Titanium Screws, fixed and variable angle.
4.2mm x 12/14/16/18mm; 4.6mm x 
$214.00
$250.00

12/14/16/18mm

Cervical, Cannulated, Closed

Surgical House
SU091
Bone screw; Olerud Bone Screw
Hook/screw & rod spinal system 
3.5 & 4mm diam, leng 16-65mm; 
$612.00

component; Olerud Bone Screw - Titanium, 
Cannulated: Diameter 3.5, 4.0mm 

cannulated and non-cannulated
Length 45 - 60mm, Non-

cannulated: Diameter 3.5, 4.0 

Length 16 -65mm

Synthes Australia Pty Ltd
SY141
Spinal Plate/Plate System AO/ASIF Spinal 
Cannulated/self tapping screw (odontoid)
3.5mm dia, 36-50mm length
$544.00

Implants

Cervical, Closed

Medtronic Australasia Pty Ltd
MC511
Premier Anterior Cervical Plate System
Screws
10 20mm
$200.00

Scient'x Australia
SX012
Stella
Screw
D: 4-4.5mm, L: 12-20mm
$200.00

Cervical, Open

Synthes Australia Pty Ltd
SY181
Cervical Spine Locking Plate (CSLP) 
Expansion Head Screw
Dia 3.5 - 4.5mm,  Length 12 - 25mm
$300.00

System

Closed

Taylor Bryant Pty Ltd
TB194
Blackstone Medical Inc Anterior Cervical 
Bone Screw, Primary/Rescue Screw
12, 14, 16mm
$335.00

Plate System

Closed - Cerv, Thor, Lumbar, Pelvic, Sacral

Johnson & Johnson Medical Pty Ltd
DP449
Kaneda SR (Smooth Rod) Anterior  (TI)
Closed Screw
1/4" - 6.25mm x 25 - 60mm
$910.00
$1,004.54

Closed - Cervical

B Braun Australia Pty Ltd
BB162
Bone Screw
MACS Locking, Titanium
Dia 12mm, length 4mm
$340.00
$377.00
Prostheses List by Category, Groups and Sponsor
Page 142 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DP577
Kaneda Anterior Scoliosis System  S/S
Closed Screw  - Standard or Blunt
3/16" - 6.25mm x 25 - 50mm
$767.00
$872.45

Medtronic Australasia Pty Ltd
MC343
Venture Self Drilling Screws
single or multi level plate construct, titanium 
4.0mm x 8mm - 21mm ; 4.5mm x 8mm
$200.00

alloy
 -21mm variable Angled
MC344
Venture Self Drilling Screws
single or multi level plate construct, titanium 
4.0mm x 8mm - 21mm, 4.5mm x 8mm 
$200.00

alloy
- 21mm Fixed Angled
MC347
Venture Self tapping Screws
Single or multi level plate construct, titanium
4.0mm x 8mm - 21mm; 4.5mm x 8mm 
$200.00

 alloy.
- 21mm Variable Angled
MC348
Venture Self tapping Screws
Single or multi level plate construct, titanium
4.0mm x 8mm - 21mm; 4.5mm x 8mm 
$200.00

 alloy.
- 21mm Fixed Angled
MC423
Atlantis
Fixed Angle Cancellous Screw
10-20mm
$200.00
MC424
Atlantis
Variable Angle Cancellous Screw
10-20mm
$200.00
MC489
Orion Anterior Cervical System
Cancellous Screw
10 - 17mm
$200.00

Synthes Australia Pty Ltd
SY299
Vectra Anterior Spinal System
Locking Screw
10mm to 26mm
$300.00

Closed - Cervical, Occipital

Medtronic Australasia Pty Ltd
MC482
Axis Cervical Plating System
Screw: Cancellous
6 - 24mm
$106.00

Closed - Lumbar

Synthes Australia Pty Ltd
SY297
SynFix Spinal system
Locking Screw
10mm to 40mm, 4.0mm diameter
$307.00

Zimmer Pty Ltd
ZI333
Dynesys Pedicle Screw
Composition : Titanium alloy
35 to 50mm lengths
$933.00
$1,270.00

Closed - Thoracic, Lumbar

B Braun Australia Pty Ltd
BB163
Bone Screw
MACS Graft, Titanium
Dia 5mm, length 35mm
$121.00

Taylor Bryant Pty Ltd
TB247
Blackstone - Spinal Fixation System - 
Composition - Titanium
5.5mm x 40mm, 5.5mm x 45mm, 
$855.00

Mono Axial Screws
6.5mm x 40mm and 6.5mm x 45mm
Prostheses List by Category, Groups and Sponsor
Page 143 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Closed, Cannulated, Cervical

Medtronic Australasia Pty Ltd
MC447
UCSS
Cortical Screws 
30 - 50mm
$657.00

Closed, Cannulated, Thoracic, Lumbar

Taylor Bryant Pty Ltd
TB036
Advanced Spine - Titanium System
Clamp Bolt Titanium
One size only
$257.00

Closed, Cervical

Medtronic Australasia Pty Ltd
MC462
Zephir
Cancellous Screw
13-17mm
$200.00

Synthes Australia Pty Ltd
SY187
Cervifix Posterior Cervical  System
Screw
Dia 3.2 - 4.5mm, Length 6 - 55mm
$148.00
SY334
Arch Fixation System
Screws, titanium
2.0mm - 2.4mm screws, 4 to 12mm
$181.00

Closed, Thoracic, Lumbar

Synthes Australia Pty Ltd
SY303
TeleFix Spinal System
Anterior Screw
20mm to 70mm in length
$525.00

Taylor Bryant Pty Ltd
TB096
Advanced Spine - Titanium System
200 Ser Ti Screws/Titanium
5/0 x (30, 35, 40, 45mm); 7/5 x (35, 
$395.00

40, 45, 50, 55mm); 6/5 x (35, 40, 45, 

50, 55mm); 5/8 x (40, 45, 50, 55mm)

Lumbar

Zimmer Pty Ltd
ZI517
Trinica Anterior Lumbar/Sacral Screw
Screw, Titanium, Fixed or Variable Axis
22 to 34mm lengths
$492.00
$595.00

Lumbar, Closed

Medtronic Australasia Pty Ltd
MC664
Xantus
Xantus Bone Screws
6.5mm Diameter, 20 - 60mm length 
$378.00

in 5mm increments

Lumbar, Open

Stryker Australia Pty Ltd
ST057
Diapason Millenium - Long Arm Lumbar 
Titanium Alloy
6.7mm diameter; 30-60mm length
$941.00

Screw
Prostheses List by Category, Groups and Sponsor
Page 144 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Occipital

Medtronic Australasia Pty Ltd
MC310
Centerpiece
TiMesh LP
Screw
$144.00

Open

B Braun Australia Pty Ltd
BB011
Spine System Evolution
Screw
Dia 5 - 8mm, length 30 - 55mm
$450.00
BB061
Socon Spinal System
Socon Transpedicular Screw
Length 35mm-65mm, Dia 5mm-7mm
$228.00

Open - Cerv, Thor, Lumbar, Pelvic, Sacral

Johnson & Johnson Medical Pty Ltd
DY078
Kaneda SR Anterior
Kaneda SR Anterior Open Screw
1/4"-6.25mm x 25-60mm, 3/16"
$910.00
$931.84

Open - Cervical

Johnson & Johnson Medical Pty Ltd
DP576
Kaneda Anterior Scoliosis System  S/S
Open Screw - Standard or Blunt
3/16" - 6.25mm x 25 - 50mm
$740.00
$841.73

Open - Cervical, Thoracic

Johnson & Johnson Medical Pty Ltd
DY401
Monarch Monoaxial Pedicle Screw
Monarch Monoaxial Pedicle Screw
4.75mm - 8.5mm x 25 to 80mm 
$904.00
$1,352.00

length

Open - Cervical, Thoracic, Lumbar

B Braun Australia Pty Ltd
BB158
Aesculap Cervical System
Titanium with locking mechanism
Dia 4 - 4.5mm, length 10 - 28mm
$434.00

Johnson & Johnson Medical Pty Ltd
DP306
Moss Miami (Stainless Steel)
Monoaxial Screws
5 - 8mm x 25 - 60mm
$850.00
$904.19
DP407
Moss Miami (Titanium)
Monoaxial Screw
5 - 8mm x 25 - 60mm
$994.00
$1,130.50

Taylor Bryant Pty Ltd
TB325
Lumbar Screw
ECF in PEEK optima
32, 36, 40, 44, 48, 52, 56, 60, 65mm
$880.00

Open - Lumbar

B Braun Australia Pty Ltd
BB161
Bone Screw
HMA Monoaxial, Titanium
Dia 12mm, length 26 - 38mm
$1,035.00
$1,150.00
Prostheses List by Category, Groups and Sponsor
Page 145 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Open - Occipital

Stryker Australia Pty Ltd
HW385
Xia Spine System
Monoaxial Screw
Dia 4.5 - 8.5mm Length 25 - 60mm
$1,103.00

Open - Thoracic, Lumbar

B Braun Australia Pty Ltd
BB226
S4 Spinal System
Monoaxial Screw - titanium various sizes
Diameter 4.5mm & 5mm  - all 
$1,080.00
$1,200.00

lengths 25 - 60mm
BB227
S4 Spinal System
Monoaxial Screw - titanium various sizes
Diameter 6.0mm, 7.0mm & 8.0mm - 
$1,080.00
$1,200.00

all lengths 25 - 60mm

Johnson & Johnson Medical Pty Ltd
DP847
Moss Miami 4mm Anterior System (SS)
Screws - Monoaxial
6mm x 25 - 55mm
$932.00
$1,106.94

Medtronic Australasia Pty Ltd
MC427
Dynalok
Long Post Bolt
30 - 55mm
$536.00
MC428
Dynalok
Short Post Bolt
30 - 55mm
$536.00
MC494
Tenor
Pedicle Screw (incl Self Breaking Nuts)
30 - 55mm
$642.00
MC495
Tenor
Spondylolisthesis Screw - Ti
30 - 55mm
$820.00

Open - Thoracic, Lumbar, Sacral

Johnson & Johnson Medical Pty Ltd
DY441
Expedium Spine System
Monoaxial Screw
4.35, 5, 6, 7 or 8mm diameter x 25-
$904.00
$1,352.00

55mm length

Medtronic Australasia Pty Ltd
MC401
TSRH Spinal Implant System
3D - Bolt
Small, medium, large
$760.00

Open & Closed - Thoracic, Lumbar, Sacral

Johnson & Johnson Medical Pty Ltd
DP504
Anterior Isola System (SS)
Open / Closed Screw
1/4" x 5.5-7mm x 20-55mm
$759.00
$854.02

Open, Cannulated, Thoracic, Lumbar

Synthes Australia Pty Ltd
SY302
TeleFix Spinal System
Posterior Screw
20mm to 70mm in length
$587.00

Open, Thoracic, Lumbar, Sacral

Medtronic Australasia Pty Ltd
MC458
TSRH 3D 
Screw
4.5 -8.5mm diameter
$760.00
Prostheses List by Category, Groups and Sponsor
Page 146 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC459
TSRH 3D 
Extended Post Screw
30-50mm
$760.00
$775.00

Pelvic, thoracic, lumbar, sacral

Johnson & Johnson Medical Pty Ltd
DP473
Isola System (Stainless Steel)
Iliac Screw
6.25 & 7.0mm
$600.00

Sacral, closed

Medtronic Australasia Pty Ltd
MC656
Pyramid
Pyramid Bone Screws
6.5mm Diameter, 20 -60mm length 
$430.00

in 5mm increments

Sacral, Open

Stryker Australia Pty Ltd
ST002
Diapason Millenium - Long Arm Sacral 
Titanium Alloy
40-60mm length
$1,054.00

Screw
ST048
Diapason Millenium - Sacral Screw, 8mm or
Titanium Alloy
8mm length
$904.00

 9mm

thoracic and lumbar, cannulated, open

Medtronic Australasia Pty Ltd
MC636
CD Horizon
Eclipse Dual Head Screws
20-60mm
$933.00
$1,037.00

Thoracic and lumbar, Closed

Synthes Australia Pty Ltd
SY140
Spinal Plate/Plate System AO/ASIF Spinal 
Anterior thoracolumbar screws -  locking
Locking screw 7.5mm, length 25 - 
$525.00

Implants
55mm
SY149
Universal Spine System (USS)
Schanz Screws
 5-7mm dia 
$140.00
SY251
VENTROFIX - MIS
Screw
25-65mm
$525.00
SY291
Anterior Tension Band
Locking Screw
22mm to 36mm
$285.00

Thoracic and lumbar, Open

Stryker Australia Pty Ltd
SK312
Spiral Radius 90D
Standard Screw - Titanium
Diameter 4.75mm Length 25-50mm, 
$1,027.00

Diameter 5.75mm Length 25-55mm, 

Diameter 6.75mm Length 25-60mm, 

Diameter 7.75mm Length 25-60mm, 

Diameter 8.75mm Length 30-55mm
Prostheses List by Category, Groups and Sponsor
Page 147 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY175
Universal Spine System (USS)
Pedicle Screw - USSII
25 - 140mm
$1,215.00
$1,350.00
SY192
Universal Spine System (USS)
Pedicle screw
Length 70 - 140mm
$1,365.00
$1,517.00

Thoracic and lumbar/Open

Medtronic Australasia Pty Ltd
MC611
Vantage
Vantage Plates and Screws; Thoracic Screw
5.5 x 15-50mm
$582.00
MC613
Vantage
Vantage Plates and Screws; ATL Screw
6.5 x 30-55mm
$642.00

Thoracic, lumbar and Sacral, Open

Stryker Australia Pty Ltd
ST685
Dimso/Stryker Implants Diapason
Screw - short arm + ball ring titanium, 
5, 5.5, 6.7, 7.7, 8, 9mm by 30-60mm 
$760.00

thoracic, lumbar, sacral
with 5mm increment
ST687
Dimso/Stryker Implants Diapason
Screw -long arm
5.5, 6.7, 7.7mm by 30-60mm by 5mm
$791.00

 increment

Thoracic, lumbar, Cannulated, Open

Surgical House
SU200
Olerud Pedicle Screw
Titanium
Diameter 4, 5, 6, 7mm Length 45 - 
$587.00

90mm

Thoracic, lumbar, Open

Stryker Australia Pty Ltd
ST042
Diapason Millenium - Thoracic Screw, 
Titanium Alloy
5,5.5, 6.7 & 7.7mm diameter. 30-
$930.00

5mm, 5.5mm, 6.7mm & 7.7mm
60mm length

Thoracic, Lumbar, sacral

Johnson & Johnson Medical Pty Ltd
DP489
Isola Paediatric System (Stainless Steel)
Cable Wire Screw
4.75 - 5.50mm x 25 - 30mm
$610.00
DP492
Isola System (Titanium)
Iliac Screws
6.25mm & 7.0mm
$543.00
$566.27

Thoracic, lumbar, with cap/cover plate, Open

Scient'x Australia
SX001
Isobar TTL
Monoaxial Screw
D: 4.5 - 8mm, L: 25 - 50mm
$1,037.00

Thoracid, lumbar and sacral, Open

Medtronic Australasia Pty Ltd
MC598
Equation Spinal System
Screw
Length 25-55mm
$933.00
Prostheses List by Category, Groups and Sponsor
Page 148 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1b - Bone Screw, Polyaxial

B Braun Australia Pty Ltd
BB013
Spine System Evolution
Head for Polyaxial Screw
For 5.2 and 6mm rods
$228.00

Global Manufacturing Technology Pty Ltd
GM035
Optimal Spinal System
Pedicle Screw-Poly Type
5 x 30 to 8 x 55mm
$1,330.00
GM068
BacFix (Thoracolumbar System)
Multi axial bone screw  - Nitinol
5 - 8mm x 30 - 60mm
$1,330.00

Global Orthopaedic Technology
GO080
Nex-Link
Spinal Fixation System, Polyaxial Screws
3.5mmx10mm - 4.00mmx22mm
$1,330.00
GO088
Incompass
Thoracolumbar Fixation System, Polyaxial 
5.5 - 7.5
$1,330.00

Screw Open

Johnson & Johnson Medical Pty Ltd
DP848
Moss Miami 4mm Anterior System (SS)
Screws - Polyaxial
6mm x 25 - 55mm
$1,330.00
DY171
Monarch Spinal System
Pedicle Screws - Polyaxial
4.75 - 8.5 mm x 30 - 55mm
$1,330.00
DY339
Summit Cervical Rod System
Mini Polyaxial Screw Standard or High
3.5mm x 12-50mm
$1,330.00
$1,550.00
DY431
Expedium Spine System
Si Polyaxial Screw
5,6 or 7mm diameter x 25-55mm 
$1,330.00
$1,550.00

length
DY440
Expedium Spine System
Di Polyaxial Screw
5, 6, or 7mm diameter x 25-55mm 
$1,330.00
$1,800.00

length
DY442
Summit SI System
Polyaxial Screw - Mini Favoured Angle
3.5 or 4mm diameter x 12-48mm 
$1,330.00
$1,550.00

length
JJ586
Expedium Uniplanar Screw
Expedium Uni-Planar Screw (Titanium)
4.35-7mm Diameter, 20- 60mm 
$1,330.00
$1,650.00

Length
JJ593
Mountaineer OCT Spinal System
CT Minipolyaxial Screw - Favoured Angle 
3.5-4.35mm x 12 - 50mm
$1,330.00

and Medial/Lateral

LSS Surgical Pty Limited
LS006
Solas Spinal System
Polyaxial Pedicle
4 x 30mm to 8 x 55mm
$1,330.00

Medtronic Australasia Pty Ltd
MC439
CD Horizon
Cannulated Pedicle Screw
20mm - 80mm
$1,390.00
$1,650.00
MC501
CD Horizon
Multi-Axial screw (Stainless Steel)
25 - 80mm
$1,375.00
MC502
CD Horizon
Multi-axial screw (Titanium)
25 - 80mm
$1,380.00
MC545
Vertex Spinal System
Screws
Dia 3.5 - 4.0mm; length 6 - 24mm
$1,330.00
$1,590.00
Prostheses List by Category, Groups and Sponsor
Page 149 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC675
CD Horizon
Legacy Screw
Diameter 4.0 - 9.5mm
$1,330.00
$1,480.00
MC736
Vertex Max Cannulated Screw
Posterior cannulated cervical screw
50-56mm Diameter 4.0mm
$1,390.00
$1,585.00
MC749
Legacy HA Coated Screw
Hydroxyapatite coated pedicle screw
4.5mm - 8.5mm
$1,330.00
$1,700.00

Orthotech Pty Ltd
OH178
Omega 21 Spine Fixation System
Screw, Spondylolisthesis, 4.75mm, 5.5mm, 
25mm - 65mm
$1,332.00
$1,600.00

6.35mm, 7.5mm diameter
OH181
Spinelink Spinal Fixation System
Polydirectional Screws, Titanium
(5.5,6.5,7.5, 8.5mm) x (35-60mm)
$1,155.00
$1,360.00
OH190
Omega 21 Spine Fixation System
Screw, Expandable, 5.5mm, 6.35mm, 7mm, 
25mm - 65mm
$1,332.00
$1,600.00

8mm
OH323
Java screw system
Poly axial screw
TL pedicle screw diam 4 lg 35; 
$1,330.00
$1,475.00

diam 5 lg 35, 40, 45, 50, 55; diam 6 

lg 35, 40, 45, 50, 55; diam 7 lg 35, 

40, 45, 50, 55; diam 5.5 lg 35, 40, 45, 

50, 55, 60; diam 6 lg 60; diam 6.5 lg 

35, 40, 45, 50, 55, 60; diam 7 lg 60; 

diam 7.5 lg 35, 40, 45, 50, 55, 60

Stryker Australia Pty Ltd
HW384
Xia Spine System
Polyaxial Screw
Dia 4.5 - 8.5mm Length 25 - 60mm
$1,605.00
SK225
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
Cortical Polyaxial screw Size 3.5mm
$1,330.00
$1,605.00

 Length 10mm-24mm (in 2mm 

increments); Cortical Polyaxial 

screw Size 4.0mm Length 10mm-

26mm (in 2mm increments); 

Cortical Polyaxial screw Size 4.0mm

 Length 26mm-46mm (in 4mm 

increments)
SK313
Spiral Radius 90D
Multi Angle Screw - Titanium
Diameter 4.75mm Length 25-50mm, 
$1,330.00

Diameter 5.75mm Length 25-55mm, 

Diameter 6.75mm Length 25-60mm, 

Diameter 7.75mm Length 25-60mm

Synthes Australia Pty Ltd
SY007
Click'X Spinal Fixation System
Pedicle Screw: Preassembled
Length 25-80mm
$1,330.00
SY178
Spinal Fixation System
Pedicle screw head
5 - 6mm
$785.00
SY289
USS llio-Sacral Fixation system
Polyaxial screw
20mm to 140mm
$1,390.00
Prostheses List by Category, Groups and Sponsor
Page 150 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY305
Pangea Spinal System
pedicle Screw
Diameter, 4.0mm to 10mm. Length, 
$1,330.00
$1,400.00

20mm to 120mm
SY309
Axon Spinal System
Variable axis screw
3.0mm - 4.5mm diameter, 4mm to 
$1,330.00

60mm length
SY337
Universal Spinal System (USS)
Polyaxial Pedicle Screw, titanium
4.0mm to 9.00mm
$1,530.00
$1,700.00
SY379
Universal Spine System (USS)
USS II Polyaxial/Lotus Screw or Head
Head 5mm / 6mm
$850.00

Screw diameter 4,5,6,7,8mm, 

Length - 20-110mm

Zimmer Pty Ltd
ZI475
Silhouette Spinal System Implants
Polyaxial Screw Assembly with Tabs
5.5 x 25mm to 8.5 x 60mm
$1,000.00

2

Austspine Pty Ltd
AJ001
Preference II Pedicle Screw and Reduction 
Polyaxial Pedicle Screw and Reduction 
Length 25mm-60mm, Diameter 
$1,390.00
$1,575.00

screw/ Preference- II pedical screw system
4.5mm-8.2mm

Nuvasive Australia Pty Ltd
NV019
System:  SphRX Component: Cannulated 
Cannulated Polyaxial Screw, Fixation Bone 
45-7.5mm Diameter; 25-80mm Length
$1,330.00

Polyaxial Screw
Screws

Cannulated - Thoracic, Lumbar

Global Orthopaedic Technology
GO102
Pathfinder
Minimally invasive pedicle fixation system
Cannulated Polyaxial Screws 6.5 - 
$1,390.00
$1,530.00

7.5mm

Cannulated, Thoracic, Lumbar

Synthes Australia Pty Ltd
SY336
Click'x Spinal System
Cannulated Screws
4.0mm to 9.0mm
$1,390.00

Cap - Cervical

Taylor Bryant Pty Ltd
TB280
Blackstone - Posterior Cervical System
Mini-Multi-Axial Screw
3.5-4mmx10-30mm (2mm increments)
$1,225.00

Cap, Cannulated - Thoracic, Lumbar

Taylor Bryant Pty Ltd
TB310
ICON Modular Spinal Fixation System
Screw
4.5mm - 8.5mm x 25-80mm
$1,023.00
TB311
ICON Modular Spinal Fixation System
Multi-axial body assembly
5.5mm
$255.00
Prostheses List by Category, Groups and Sponsor
Page 151 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Cervical, Thoracic, Lumbar

B Braun Australia Pty Ltd
BB224
S4 Spinal System
Polyaxial Screw - titanium various sizes
All sizes
$1,395.00
$1,550.00
BB225
S4 Spinal System
Polyaxial Screw - Titanium various sizes
Diameter 6.0mm, 7.0mm & 8.0mm - 
$1,395.00
$1,550.00

all lengths 25 - 60mm

Cervical, Thoracic, lumbar, pelvic, sacral

Johnson & Johnson Medical Pty Ltd
DP307
Moss Miami (Stainless Steel)
Polyaxial Screws
5 - 7mm x 25 - 60mm
$1,330.00
DP408
Moss Miami (Titanium)
Polyaxial Screw
5 - 8mm x 25 - 60mm
$1,330.00

Lumbar, Open

Medtronic Australasia Pty Ltd
MC579
CD Horizon
Spondylolisthesis Screw
Diameter: 4.5 - 7.5, Length: 25mm - 
$1,390.00
$1,600.00

50mm

Thoracic and lumbar, with cap/cover plate

Scient'x Australia
SX002
Isobar TTL
Polyaxial Screw
D: 4.5 - 8mm, L: 30 - 55mm
$1,600.00

Thoracic, Lumbar

B Braun Australia Pty Ltd
BB160
Bone Screw
HMA Polyaxial, Titanium
Dia 12mm, length 26 - 38mm
$1,620.00
$1,800.00
BB174
MACS TL Bone Screws
Polyaxial screw - XL
30mm and 40mm
$1,620.00
$1,800.00

Thoracic, lumbar and sacral, Cannulated

Medtronic Australasia Pty Ltd
MC586
CD Horizon Sextant Percutaneous 
Cannulated titanium percutaneous multi axial
Dia 3.5 to 9.5mm, Length 15 to 65mm
$1,390.00
$1,530.00

Cannulated Multi Axial Screw
 screw

Thoracic, lumbar, sacral, Cannulated

Stryker Australia Pty Ltd
SR042
Xia Precision System
Screw, Cannulated, Multi Axial, Titanium
5.5mm - 7.5mm x 35mm - 55mm
$1,390.00
$1,700.00
Prostheses List by Category, Groups and Sponsor
Page 152 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

With Cap / Cover Plate - Thoracic, Lumbar

Taylor Bryant Pty Ltd
TB240
Spinal Fixation System
Multi screw - Titanium
5.5 x 35mm up to 55mm in 5mm 
$1,290.00

increments; 6.5 x 35mm up to 60mm

 in 5mm increments; 7.5 x 35mm up 

to 60mm in 5mm increments

Group 1c - Bone Screw, Standard

Johnson & Johnson Medical Pty Ltd
DP567
Peak Polyaxial Anterior Cervical Plate 
Graft Screw or Safety Locking Screw
4mm x 9 -15mm
$225.00

System
DY110
Carbon Fibre Cages
Stackable Cage Titanium Interface Screws
M4 / M5
$111.00

LSS Surgical Pty Limited
LS011
Anatomix Cervical Plate System
Titanium Anterior Cervical Plate System - 
12-20mm
$225.00
$800.00

4mm Self-Drilling/Tapping Screw
LS012
Anatomix Cervical Plate System
Titanium Anterior Cervical Plate System - 
12-20mm
$225.00
$800.00

4.35mm Slef-Drilling/Tapping Screw

Orthotech Pty Ltd
OH185
Spinelink Spinal Fixation System
End Cap, Titanium
One size only
$360.00
$480.00
OH241
Vuelock (Anterior Cervical Plate)
Vuelock Bone Screws
12mm - 16mm
$225.00
$350.00
OH255
Hartshill
Cancellous bone screws for 
6.5mm diam - 25 - 30mm length, 
$154.00
$320.00

Horseshoes/STALIF each
5.5mm diam - 25 - 30mm length
OH256
Cancellous Screws
For use with Stalif Implants
5.5mm x 25mm (for use with 37mm 
$95.00
$105.00

Stalif), 6.5mm x 30mm (for use with 

41/45mm Stalif), 6.5mm x 25mm (for 

use with 41/45mm Stalif). Pack of 4 

screws.
OH304
ADD / ADDplus
Cancellous bone screw, titanium. The 
length = 12,14,16,18,20,24,26mm
$300.00
$470.00

cancellous bone screw is used for the 

biocortical fixation. The outer diameter is 

4mm.
OH306
Topaz
Cancellous bone screws, titanium used for 
daimeter - 6.5mm, length  - 25mm
$300.00
$470.00

the fixation
OH319
Java screw system
Secondary sacral screw
Size 6 L 35
$300.00
$1,575.00
Prostheses List by Category, Groups and Sponsor
Page 153 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY362
Universal Spine System (USS)
Pedicle Hook Screw
Length 20 - 40mm
$190.00
SY364
Cervical Spine Locking Plate (CSLP) 
Eepansion Head Screw
Dia 3.5 - 4.5mm, Length 12 - 25mm
$250.00

System
SY381
Axon Occipital Fusion System
Occipital Screws 4.5mm / 5.0mm diameter
Length 4 - 18mm
$198.00

Titanium Alloy

Taylor Bryant Pty Ltd
TB275
Blackstone - Posterior Cervical System
Occipital Screw
6, 8, 10, 12, 14mm
$217.00
TB364
Unity Lumbar Plate
Unity Bone Screw
6-7mm
$300.00

Cervical, Closed

Synthes Australia Pty Ltd
SY148
Universal Spine System (USS)
Pedicle Hook Screw
Length 20- 40mm
$200.00

Closed

Scient'x Australia
SX009
Antelys
Screw
D: 5mm, L: 32.5 to 50mm
$225.00

Collar

Nuvasive Australia Pty Ltd
NV007
Gradient Cervical Plates
Bone Screw
4.0 - 4.7mm diameter
$190.00

10 - 20mm length

Synthes Australia Pty Ltd
SY151
Universal Spine System (USS)
Sleeve
3.5 - 6mm
$225.00

Occipital, Closed

Surgical House
SU092
Occiput screw
Hook/screw & rod spinal system component
4mm diam, length14-18 mm
$515.00

Suffix - 2: Cannulated

Orthotech Pty Ltd
OH254
Intext Cervical Plate/Intext Screws
Intext cervical plate, including (2-part) 
Screws/Revision Screws - dia 
$248.00
$260.00

fixation screws
4.4mm, length 11 - 18mm - Pack of 3
Prostheses List by Category, Groups and Sponsor
Page 154 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Suffix 2: Cannulated

Nuvasive Australia Pty Ltd
NV005
Triad Facet Screw
Cannulated
3.5 - 4.5mm diameter
$500.00

20-70mm length

Thoracic, Lumbar

B Braun Australia Pty Ltd
BB159
Bone Screw
MACS Polyaxial & Stabilisation, Titanium
Dia 6.5 - 7mm, length 30 - 50mm
$300.00
$542.00
Group 10 - Fixation: C-Ring

Synthes Australia Pty Ltd
SY145
Universal Spine System (USS)
Half Ring
SS, Standard, Self-Holding
$365.00
SY360
Universal Spine System (USS)
Half Ring
SS, Standard, Self-Holding
$365.00

Group 10 - C-Ring

Medtronic Australasia Pty Ltd
MC436
CD-Horizon
C-ring
One size only
$171.00

Orthotech Pty Ltd
OH044
Synergy Spinal System
C-Ring
4.75 - 6.35mm
$286.00
$300.00

Taylor Bryant Pty Ltd
TB105
Low Pro Upper Clamp
Upper Clamp
1mm
$365.00
TB106
Low Pro Upper Clamp
Upper Clamp
14 Degree Left/Right, 7 Degree 
$452.00

Left/Right, 2mm, 4mm, 6mm 

Increment, 30 Degree Left/Right
Group 11 - Fixation: Other

Group 11 - Other

Medtronic Australasia Pty Ltd
MC492
Apofix
Support Rod
One size only
$230.00
MC493
Apofix
Clamp Single Rod
Upper/lower
$405.00
MC637
CD Horizon
Spire Plate
One size
$1,425.00
Prostheses List by Category, Groups and Sponsor
Page 155 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 12 - Spacer: Interbody/Fusion Cage

Group 12a - Interbody / Fusion Cage, Integral Fixation

Single

Medtronic Australasia Pty Ltd
MC589
Affinity Anterior cervical cage System
The Affinity Cage is constructed of titanium 
6 x 12mm; 6 x 14mm; 7 x 12mm; 7 x 
$1,990.00

alloy - kit includes trials, reamers and 
14mm; 8 x 12mm; 8 x 14mm; 9 x 

inserters.
12mm; 9 x 14mm; 10 x 12mm; 10 x 

14mm; 11 x 12mm; 11 x 14mm; 12 x 

12mm; 12 x 14mm

Scient'x Australia
SX010
PCB Plate-Cage
Titanium cervical plate-cage
L: 14-16mm, W: 12-15mm, Cage 
$2,700.00

Height: 4.5-8mm, Plate Height: 23-

29mm

Synthes Australia Pty Ltd
SY298
SynFix Spinal System
Interbody fusion cage prefilled or unfilled
5mm to 19mm
$6,525.00
$7,250.00

Suffix 1

Global Orthopaedic Technology
GO100
InFix Interbody Fusion System
Strut
Small - Large
$1,082.00
GO122
InFix Interbody Fusion System
Strut
Small - Large
$1,082.00

Group 12b - Interbody / Fusion Cage, No Integral Fixation

B Braun Australia Pty Ltd
BB287
Aesculap TLIF System
Peek Optima
All Sizes
$2,400.00
$5,000.00

Global Manufacturing Technology Pty Ltd
GM027
NeoIC (Neo Interbody Fusion Cage)
Interbody Fusion Cage
Various
$2,831.00
$3,145.00
GM072
BacFix (Thoracolumbar System)
Non-threaded wedge with serrated teeth - 
5.5 - 6mm
$204.00

Titanium alloy

Global Orthopaedic Technology
GO076
Traxis (non sterile)
Titanium Interbody Implant
9-13mm
$2,700.00
$3,000.00
GO077
Traxis Peek-Optima (sterile)
Vue Radiolucent Implant
12mm
$3,168.00
$3,520.00
GO109
Cadence (non sterile)
Titanium Interbody Implant
9-15mm
$3,006.00
$3,340.00
GO110
Cadence Peek - Optima (sterile)
Vue Radiolucent Implant
9-13mm
$3,006.00
$3,340.00
Prostheses List by Category, Groups and Sponsor
Page 156 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GO111
Fortitude (non sterile)
Titanium Interbody Implant
12mm
$6,120.00
GO112
Fortitude Peek-Optima (sterile)
Vue Radiolucent Implant
12mm
$5,670.00

Johnson & Johnson Medical Pty Ltd
DP510
Brantigan I/F Cage
PLIF C/F Cage 
Straight / Wedge
$2,408.00
DP511
Brantigan I/F Cage
ALIF C/F Cage
Small - Large 9-15mm
$3,825.00
$4,352.00
DP514
Brantigan I/F Cage
Cervical Brantigan Cage
Standard/Large 4-10mm
$2,916.00
DP515
I/F Ramp
PLIF C/F Ramp
7-11 x 11-15 x 21 - 25 mm
$1,470.00
DP851
Surgical Titanium Mesh System
Standard & Trapezoidal
10-16mm x 8-17mm Hgt
$2,354.00
DY198
Carbon Fibre Cages
ALIF 1 C/F Cage
5 - 10 deg Sm to Lg 10 - 18 mm
$3,145.00
$3,203.07
DY406
Leopard 5 Lodotic Carbon Fibre Body 
Carbon Fibre cage
7 - 18mm
$3,524.00
$3,915.00

Fusion Device
DY407
Leopard Parallel Carbon Fibre Body Fusion
Carbon Fibre Cage
7 - 18mm
$3,524.00
$3,915.00

 Device
DY422
Saber Cage
PLIF Cage
Parallel/Wedge
$2,610.00
$2,900.00
JJ569
Cougar II ALIF Cage
Anterior Lumbar Interbody FusionCage, 
Small, Medium, Large, 10 - 20mm, 5
$3,924.00
$4,360.00

Carbon Fibre Reinforced Polymer (CFRP)
 or 10 Deg

LSS Surgical Pty Limited
LS001
SAS Spinal Advanced System
Peek-Optima Lumbar Cage
9mm t 15mm
$3,006.00
$3,340.00
LS009
Anatomix Cervical Cage System
Vue Radiolucent Implant
Size 5 to 10
$2,400.00
$6,300.00

Medtronic Australasia Pty Ltd
MC297
Verte-Stack
Boomerang
Width 25 - 36 mm, Height 6 - 18 mm
$5,907.00
$6,250.00
MC602
Union
Verte-Stack
Flat Small 12-20mm
$2,408.00
$2,550.00
MC633
Verte-Stack
Capstone Cage. Vertebral Body Spacer
Length: 22-36mm
$3,387.00
$3,820.00

Nuvasive Australia Pty Ltd
NV010
CoRoent
Cervical Cage
small
$2,400.00
NV011
CoRoent
PLIF cage
LN, LT
$2,400.00
NV012
CoRoent
TLIF cage
LW, LC
$2,400.00
NV013
CoRoent
XLIF cage
XL
$2,400.00
NV014
CoRoent
ALIF cage
XLR
$2,400.00
Prostheses List by Category, Groups and Sponsor
Page 157 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH123
GEO Structure Vertebral Cage - Alif
3 dimensional titanium intervertebral cage
One size only
$3,510.00
$4,100.00
OH128
Anterior Lumbar Cage
Titanium or PEEK
Height 2 - 20mm
$3,510.00
$4,100.00
OH129
Posterior Lumbar Cage
Titanium or PEEK
Height 7 - 20mm
$3,321.00
$3,900.00
OH131
Fidji Cervical Cage
12 x 15, 12 x 17, 14 x 17, 14 x 19
$2,400.00
OH257
Stalif
Interbody Spinal Fusion Implant: 
37mm x 11, 13, 15mm; 41mm x 11, 
$4,532.00
$5,200.00

Retroperitoneal/Transperitoneal
13, 15mm; 45mm x 11, 13, 15mm; 

37mm x 17mm, 41mm x 17mm, 45mm

 x 17mm

Stryker Australia Pty Ltd
SR066
AVS AL PEEK Spacer System
Anterior Lumbar Interbody Fusion Cage
22mm deep x 28mm wide x 10mm - 
$2,800.00
$4,360.00

50mm height and 28mm deep x 

33mm wide x 10mm-50mm height.  

Both base sizes come in 4 degree 

and 8 degree angulations

Synthes Australia Pty Ltd
SY340
PlivioPore
Ti PLIF cage
Height 7 - 17mm / width 7 - 13mm
$3,670.00
SY356
ECD - Expandable Corpectomy Device
Vertebral body replacement system, 
Angle 4.5Deg/7Deg, Height 17mm 
$4,896.00
$5,440.00

PEEK/Titanium
- 70mm

Taylor Bryant Pty Ltd
TB370
Signus Mobis Lumbar TLIF Cage
Peek-Optima Lumbar intervertebral TLIF 
6, 7, 8, 9, 10, 11, 12, 13, 14, 16, 18mm
$2,400.00

 heights

Zimmer Pty Ltd
ZI330
Trabecular Metal Spinal Devices
Composition - Trabecular Metal
Various heights, sizes and 
$5,580.00
$6,533.00
ZI482
Spine-Tech BAK Cervical Implant
Cervical Cage
6 x 12mm, 8 x 12mm, 10 x 12mm, 12 x
$1,700.00

 12mm
ZI483
Spine-Tech BAK "L" Cage
Lumbar Cage
9 x 20mm, 9 x 24mm, 11 x 20mm, 13 x
$1,800.00

 20mm, 13 x 24mm, 15 x 20mm, 15 x 

24mm, 17 x 24mm, 17 x 28mm

1

Austspine Pty Ltd
AJ009
Kasios KAGE
Cervical interbody PEEK cage for anterior 
Height 4mm - 10mm
$2,400.00
$2,650.00

cervical surgery
Prostheses List by Category, Groups and Sponsor
Page 158 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH316
Impix-C+ - Cervical Cage
Impix-C+ Pre-filled Cervical Cage
12.5mm x 14mm x 5mm, 12.5mm x 
$2,800.00

14mm x 6mm, 12.5mm x 14mm x 

7mm, 14.5mm x 16mm x5mm, 

14.5mm x 16mm x 6mm, 14.5mm x 

16mm x 7mm, 14.5mm x 16mm x 

8mm, 14.5mm x 16mm x 9mm
OH317
IMPIX-LR
IMPIX - lr Lumbar Ramp
8x20x0DEG, 13X20X0DEG, 
$2,400.00
$4,100.00

14X20X0DEG, 9X20X4DEG, 

10X20X4DEG, 11X20X4DEG, 

12X20X4DEG, 13X20X4DEG, 

14X20X4DEG, 10X20X8DEG, 

11X20X8DEG, 12X20X8DEG, 

13X20X8DEG, 14X20X8DEG, 

12X20X12DEG, 13X20X12DEG, 

14X20X12DEG, 8X25X0DEG, 

9X25X0DEG, 10X25X0DEG, 

11X25X0DEG, 12X25X0DEG, 

13X25X0DEG, 14X25X0DEG, 

9X25X4DEG, 10X25X4DEG, 

11X25X4DEG, 12X25X4DEG, 

13X25X4DEG, 14X25X4DEG, 

10X25X8DEG, 11X25X8DEG, 

12X25X8DEG, 13X25X8DEG, 

14X25X8DEG, 12X25X12DEG, 

13X25X12DEG, 14X25X12DEG, 

10X20X0DEG, 9X20X0DEG, 

10X20X8DEG, 11X20X0DEG, 

12X20X0DEG

Paired

B Braun Australia Pty Ltd
BB213
CO Posterior Lumbar Cage System
Posterior Lumbar Cage - PEEK
L23.5 x 9mm x h8mm, L23.5 x 9mm x 
$2,750.00

h9mm, L23.5 x 10mm x h10mm, 

L23.5 x 10.7mm x h11mm, L23.5 x 

11.7mm x h12mm, L23.5 x 12.7mm x 

h13mm, L23.5 x 13.7mm x h14mm, 

L23.5 x 14.7mm x h15mm, L23.5 x 

9mm x h9mm
Prostheses List by Category, Groups and Sponsor
Page 159 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB214
CC Posterior Lumbar Cage System
Posterior Lumbar Cage - PEEK
L23.5 x 10-12.5mm x h8mm, L23.5 x 
$2,750.00

10-12.5mm x h9mm, L23.5 x 10-

12.5mm x h10mm, L23.5mm x 11-

13.5mm x h11mm, L23.5 x 11-

13.5mm x h12mm, L23.5mm x 11-

13.5mm x h13mm, L23.5 x 11-

13.5mm x 14mm, L23.5mm x 10-

12.5mm x h6mm
BB215
Adonys Posterior Lumbar Cage System
Posterior Lumbar Cage - PEEK - Standard
8mm x 4 degrees, 12mm x 4 
$2,750.00
The benefit amount/minimum 

degrees, 8mm x 10 degrees, 12mm x
benefit amount is for an individual 

 10 degrees
product which comes as a pack of 

two
BB216
Adonys Posterior Lumbar Cage System
Posterior Lumbar Cage - Short
8mm x 4 degrees, 10mm x 4 
$2,750.00
The benefit amount/minimum 

degrees, 12mm x 4 degrees, 8mm x 
benefit amount is for an individual 

10 degrees, 10mm x 10 degrees, 
product which comes as a pack of 

12mm x 10 degrees
two
BB217
Samarys Anterior Cervical Cage System
Anterior Cervical Cage - PEEK
L15 x w17 x h5mm, L15 x w17 x 
$2,750.00

h6mm, L15 x w17 x h7mm, L15 x 

w17 x h8mm, L13 x w17 x h5mm, 

L13 x w17 x h6mm, L15 x w20 x 

h5mm, L15 x w20 x h6mm

Medtronic Australasia Pty Ltd
MC456
Interfix 
Titanium Cage
12 x 20mm - 24 x 50mm
$2,495.00
MC457
LordoTec Cage (LT-Cage)
Titanium,  PEEK
18-28mm
$2,665.00
MC577
R90 Spacer
Spinal Implant (Peek)
Height: 7mm - 16mm, Lordosis: 6 
$3,755.00

degrees - 18 degrees, Length: 18 -

27mm
MC725
Telamon
Cage
8 - 16mm
$3,405.00

Scient'x Australia
SX013
CC-CO Cages
PEEK Polymer
L: 23.5mm, W: 10-13.5mm, H: 8-14mm
$3,025.00

Synthes Australia Pty Ltd
SY088
Plif Cage: Cage
Contact fusion cage - bone compression 
Width 8 - 11mm / height 9 - 15mm
$2,760.00

screw for PLIF cage

Taylor Bryant Pty Ltd
TB182
Tetris Lumbar Fusion Implant System
Titanium or peek, spinal implant
8-12mm x 11mm
$2,100.00
TB269
Blackstone - Spacer
Titanium
3/5mm
$74.00
Prostheses List by Category, Groups and Sponsor
Page 160 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Single

B Braun Australia Pty Ltd
BB070
Prospace Block
Titanium
9mm-11mm
$1,450.00
BB212
CBK Anterior Cervical Cage System
Anterior Cervical Cage - PEEK
4.5mm, 5.5mm, 6.2mm, 7mm, 8mm, 
$2,400.00
$2,500.00

9mm
BB252
T. Lif Intervertebral Cage System
T.Lif PEEK Intervertebral Cage
All sizes
$4,500.00
$5,000.00
BB278
Aesculap Interbody Cage
Interbody cage
All sizes
$2,400.00
$2,500.00

Medtronic Australasia Pty Ltd
MC413
Cornerstone Cage
Sterile and Non-sterile
4, 5, 6, 7, 8, 9, 10mm
$2,400.00
MC578
Union CC System
Cage
6mm - 12mm,  0 - 8 degrees
$3,321.00
$3,500.00
MC673
Verte-Stack
Perimeter Cage
Extra Small, Small, Medium, Large, 
$5,907.00
$6,795.00

Extra Large

Scient'x Australia
SX007
Antelys
Cage
H: 9-15mm
$2,475.00
SX014
CBK Cage
PEEK
L: 15mm, W: 13mm, H: 4.5-9mm
$2,250.00

Stryker Australia Pty Ltd
ST893
Stabilis
Frame: Frontal and Oblique
11 - 17mm  0, 4 and 8 degrees
$3,321.00

Synthes Australia Pty Ltd
SY137
Syncage
Interbody fusion cage
12 -19mm Height
$3,321.00
$3,690.00
SY273
Cervios IBF Cage
Interbody Fusion Cage
Height 5-10mm (1mm increments)
$2,503.00
$2,781.00
SY274
Plivios IBF Cage
Interbody Fusion Cage
Height  7-17mm
$2,648.00
$2,942.00
SY275
Trafios IBF Cage
Interbody Fusion Cage
Height  7-17mm
$3,321.00
SY300
Travios
Interbody fusion cage, prefilled or unfilled
5mm to 19mm
$3,832.00
$4,258.00

Taylor Bryant Pty Ltd
TB181
Rabea Peek Vertebral Body Fusion Implant
Composition - peek, spinal implant
4, 5, 6, 7 x 12 x 14mm, 8 x 12 x 16mm
$1,577.00
TB252
Signus - Semial
Composition - PEEK
Height (ant) 7.80, 10.40, 13.20; 
$2,790.00

Diameter 38, 43, 48; Height (post) 

5.4, 8.0, 8.1, 10.8; Angle 5.00, 10.40
TB303
Nubic
Cervical Fusion Implant in interbody fusion 
4x13x14mm, 5x13x14mm, 
$2,400.00

of the Cervical Spine
6x13x14mm, 7x13x14mm, 8x13x14mm
Prostheses List by Category, Groups and Sponsor
Page 161 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB316
Magerl/Kimba Cage
Endless Carbon Fibre (ECF) in PEEK-Optima
7, 8, 9, 11, 13, 15mm
$2,804.00

Single, Component

Stryker Australia Pty Ltd
ST896
Stabilis
BGDU
11mm - 17mm
$1,150.00

Suffix 1 - Paired

Stryker Australia Pty Ltd
ST711
PEEK Interbody Cages
Peek lumbar cages poly ether ether ketone 0,
Size 7-18mm
$2,425.00

 4 & 8 degree

Suffix 1 - Single

B Braun Australia Pty Ltd
BB211
KLA Anterior Lumbar Cage System
Anterior Lumbar Cage - PEEK
9mm x 5 degrees, 11mm x 5 
$2,400.00
$4,250.00

degrees, 13mm x 5 degrees, 11mm x

 9 degrees, 13mm x 9 degrees, 

15mm x 9 degrees, 13mm X 13 

degrees, 15mm X 13 degrees

Stryker Australia Pty Ltd
SR050
AVS TL Peek Spacer System
Transforaminal Lumbar Interbody Fusion 
7-18mm x 25--30mm. 0-4 degree
$3,321.00
$4,880.00

cage, PEEK
ST712
PEEK Interbody Cages
Solis cages poly ether ether ketone
12/5-12/7 and 14/5-14/7
$2,357.00
Group 13 - Spacer: Non-fusion/Stabilisation

Group 13a - Non-Fusion / Stabilisation, Interspinous

Global Manufacturing Technology Pty Ltd
GM041
X Stop Interspinous Process Distraction 
Spacer assembly and Wing assembly, Ti/Peek
Size - 6mm to16mm
$4,491.00
$4,990.00
Temporary Approval, pending 

System
review of product group

Medtronic Australasia Pty Ltd
MC298
DIAM
Sterile
6 - 16 mm
$4,403.00

Orthotech Pty Ltd
OH130
Non-Fusion Spine Stabilising Device
Titanium or PEEK
Height 8 - 16mm
$4,500.00
$5,400.00
Prostheses List by Category, Groups and Sponsor
Page 162 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 13b - Non-Fusion / Stabilisation, Interpedicular

Zimmer Pty Ltd
ZI332
Dynesys Spacer
Composition : Polycarbonate
45mm long
$633.00
Group 14 - Replacement: Disc

Group 14a - Disc, Single Implant

Johnson & Johnson Medical Pty Ltd
DP252
Acroflex Lumbar Artificial Disc
Lumbar Disc Replacement Device
One size only
$951.00
DY356
In Motion Lumbar Artificial Disc
End Plates Parallel & Oblique
Small, medium, large
$4,200.00
$4,300.80

Stryker Australia Pty Ltd
SK459
Flexicore
Lumbar Intervertebal disc
35 - 40mm x 11 - 18mm
$8,788.00
$12,600.00

Synthes Australia Pty Ltd
SY327
Spine Solutions Prodisc
Artificial mechanical disc, superior plate 
3 Degree, 6 Degree, 11 Degree, 
$4,000.00

component
Medium, Large
SY328
Spine Solutions Prodisc
Artificial mechanical disc, polyethylene inlay
10,12,14mm, Medium, Large
$1,500.00

Group 14b - Disc, Multi-Component Implant

Johnson & Johnson Medical Pty Ltd
DY359
In Motion Lumbar Artificial Disc
Sliding Core
7.5mm,  8.5mm, 9.5mm, 10.5mm
$745.00
$1,126.40

Medtronic Australasia Pty Ltd
MC585
Maverick Artificial Disc
Cobalt Chrome
8mm - 14mm
$9,764.00
$12,600.00

Synthes Australia Pty Ltd
SY329
Spine Solutions Prodisc
Artificial mechanical disc, inferior plate 
0 Degree, 3 Degree, 8 
$4,000.00

component
Degree,Medium, Large
Group 15 - Replacement: Nucleus

B Braun Australia Pty Ltd
BB288
Aesculap Vertebral Body System
Vertebral Body System, Titanium Alloy
All sizes
$6,000.00
Prostheses List by Category, Groups and Sponsor
Page 163 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Trans-Pacific Healthcare Pty Ltd
TR007
HydraFlex
Hydrogel and ployethylene Prosthetic Disc 
Fits disc height of 8-11mm. Sizing: 
$5,900.00

Nucleus
M7, M9, S7, S9

Single

Medtronic Australasia Pty Ltd
MC617
Nucleus Replacement
Spinal Disc
Thickness 5-25mm, Diameter 10-
$7,800.00

50mm
Group 16 - Replacement: Vertebral Body

Group 16a - Vertebral Body, Telescoping Cage - Integral Fixation

Johnson & Johnson Medical Pty Ltd
DY062
Brazenor Device
Custom Cervical Buttress
One size only
$2,155.00
DY420
X-Tenz
Telescopic VBR Cage
16mm
$5,828.00
DY421
X-Tenz
Telescopic VBR Cage
22mm
$5,828.00
DY429
X-Tenz
Telescopic VBR Cage
26mm
$5,864.00
DY430
X-Tenz
Telescopic VBR Cage
28mm
$5,864.00

Orthotech Pty Ltd
OH303
ADD / ADDplus
Addplus is a winged anterior distraction 
ADDplus, diameter 12mm, height 
$2,200.00
$4,600.00

device and is also used for vertebral column 
13-18mm. 6°

replacement which can be used for the 
ADDplus, diameter 12mm, height 

anterior cervical column and for the cervico-
17-26mm. 6°

thoracic transition. The Adplus effects the 
ADDplus, diameter 12mm, height 

reconstruction, support and stabilization of 
25-41mm. 6°

the anterior column.The fixation on the 
ADDplus, diameter 12mm, height 

vertebral bodies is effected by means of 
40-65mm. 6°

screws from the osmium system, with a 

monocortical as well as a biocortial screw 

anchoring being possible. The additional 

wings prevent a migration as well as 

possible sinking in of the implant. The 

ADDplus is made from titanium alloy.

Synthes Australia Pty Ltd
SY341
Expandable Cage Titanium
Synex II, Titanium
Height 14mm-93mm
$3,884.00
$4,315.00
SY343
Expandable Cage Titanium
Synex, Titanium, with endplates
Height 14mm - 93mm, Angle 0 - 40 
$4,856.00
$5,395.00

degree
Prostheses List by Category, Groups and Sponsor
Page 164 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI536
Trabecular Metal Spinal Devices
Composition Trabecular Metal
Various heights, diameters and 
$5,580.00
$6,533.00

Group 16b - Vertebral Body, Telescoping Cage - No Integral Fixation

B Braun Australia Pty Ltd
BB279
TeCorp Vertebral Body Replacement System
TeCorp Cervical
All sizes
$4,500.00
$5,000.00
BB280
TeCorp Vertebral Body Replacement System
TeCorp Thoracic
All sizes
$4,856.00
$5,395.00
BB281
TeCorp Vertebral Body Replacement System
TeCorp Lumbar
All sizes
$4,856.00
$5,395.00

Medtronic Australasia Pty Ltd
MC507
LIFT/VERTE-SPAN
Vertebral Body Cages
Short - Extra Long
$4,300.00

Orthotech Pty Ltd
OH301
Obelisc vertebral body replacement
Centre Piece
diameter - 20mm, height 20-28mm
$4,300.00
$5,000.00

Made from titanium.
diameter - 20mm, height 25-37mm

diameter - 20mm, height 32-47mm

diameter - 20mm, height 40-62mm

diameter - 20mm, height 53-87mm

diameter - 20mm, height 76-132mm

Stryker Australia Pty Ltd
SK448
VLIFT
Vertebral Body Replacement System, DIS 
18-22mm x 20-37mm
$4,300.00
$6,574.00

Implant

Zimmer Pty Ltd
ZI537
Trabecular Metal Spinal Device
Composition Trabecular Metal
Various heights, sizes and 
$5,580.00
$6,533.00

Group 16c - Vertebral Body, Telescoping Cage - End Plate

Global Orthopaedic Technology
GO099
InFix Interbody Fusion System
Endplate
Small - Large
$1,110.00
GO101
InFix Interbody Fusion System
Endcap
8-10mm
$530.00

Medtronic Australasia Pty Ltd
MC540
LIFT/ VERTE-SPAN
End plates (caps)
Angulation: -8 - 7 degrees; left and
$2,067.00
$2,150.00

 right
Prostheses List by Category, Groups and Sponsor
Page 165 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH302
Obelisc vertebral body replacement
End Piece
diameter - 20mm, angle 0°
$650.00
$680.00

Made from titanium.
diameter - 20mm, angle 5°

diameter - 20mm, angle 10°

diameter - 24mm, angle 0°

diameter - 24mm, angle 5°

diameter - 24mm, angle 10°

diameter - 26mm, angle 0°

diameter - 26mm, angle 5°

diameter - 26mm, angle 10°

Stryker Australia Pty Ltd
SK339
VLIFT
End cap
Sizes 18 to 22mm
$1,200.00

Synthes Australia Pty Ltd
SY342
Expandable Cage Titanium
Synex II, Titanium endplate
Angle 0 - 40 degree. Endplate Size 
$720.00

19x20, 22x25, 26x30

Group 16d - Vertebral Body, Stackable Cage

Johnson & Johnson Medical Pty Ltd
DP513
Brantigan I/F Cage
Stackable Cage (Cervical/Thoracic/Lumbar)
Small-Large
$4,285.00
DY322
Carbon Fibre Interbody Fusion Device
Stackable C/F Cage System Wedges
11 Degree Small-Large
$3,350.00

Medtronic Australasia Pty Ltd
MC603
Union
Verte-Stack
Flat Small 12-20mm
$2,720.00
MC606
Union
Verte-Stack
Centre Piece 5-40mm
$4,614.00
MC632
Verte-Stack
XS Centre Piece. Stackable Corpectomy 
Height 5-50mm
$4,614.00
$4,841.00

Device.

Taylor Bryant Pty Ltd
TB293
Wafer Cartridge Assemby,
Composition: Peek
8 x 20/25/30mm
$2,720.00

Group 16e - Vertebral Body, Mesh

Medtronic Australasia Pty Ltd
MC378
Pyramesh
Titanium Surgical Mesh
51 - 500mm
$4,437.00
$4,700.00
MC379
Pyramesh
Titanium Surgical Mesh
5 - 50mm
$2,755.00
MC449
Pyramesh
Angled
25 - 150mm
$3,605.00
Prostheses List by Category, Groups and Sponsor
Page 166 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC450
Pyramesh
Curved
130mm
$3,605.00
MC451
Pyramesh
Ovoid
8 - 70mm
$3,605.00

Nuvasive Australia Pty Ltd
NV015
Titanium Mesh
Oval/Flat/Long/Round
10mm - 16mm Diameter, 6mm - 
$2,755.00

14mm Length
NV016
Titanium Mesh
Oval/Flat/Long/Round
10mm - 16mm Diameter, 15mm - 
$3,605.00

90mm Length
NV017
Titanium Mesh
Oval/Flat/Long/Round
20mm + Diameter, 30mm - 90mm 
$3,605.00

Length

Stryker Australia Pty Ltd
SK338
VBOSS/VLIFT
Titanium
Available from 10 to 25mm in 
$3,605.00
$4,600.00

Diameter and from 8 to 120mm in 

Length

Synthes Australia Pty Ltd
SY293
Synmesh
Mesh, Oblong
6mm - 88mm
$3,605.00
SY294
Synmesh
Mesh, Round
6mm - 88mm
$3,605.00

Taylor Bryant Pty Ltd
TB284
Blackstone - Surgical Mesh
4 lobe, 6 lobe
4 lobe: 12 x 15mm, 8mm - 17 x 22, 
$870.00

15mm, 6 lobe: (diameter x height) 

10 - 16 x 10 - 16mm (2mm 

increments), 7 - 70mm

Group 16f - Vertebral Body, Mesh - End Plate

Medtronic Australasia Pty Ltd
MC539
Pyramesh
End ring/cap
10 - 25mm
$1,325.00
MC686
Pyramesh Cleat
Titanium Mesh
10mm - 25mm
$1,325.00

Stryker Australia Pty Ltd
SK424
VBOSS
End cap
Sizes 10 to 25mm
$1,200.00

Synthes Australia Pty Ltd
SY295
Synmesh
End rings
round/oblong
$1,200.00

Taylor Bryant Pty Ltd
TB282
Blackstone - End Ring
Surgical Mesh
[Surgical mesh X Angle] 10-16mm 
$195.00

(2mm increments) X 0-2.5 degrees
Prostheses List by Category, Groups and Sponsor
Page 167 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 17 - Bone Graft: Bone Substitute

Group 17a - Bone Substitute, Resorbable

Austspine Pty Ltd
AJ010
KGBone
Synthetic bone substitute, custom-fit for 
4mm-10mm
$1,000.00
$1,735.00

KAGE cervical interbody cage

Medtronic Australasia Pty Ltd
MC594
Mastergraft
Calcium Phosphate Ceramic Granules
5cc Vial
$900.00
MC595
Mastergraft
Calcium Phosphate Ceramic Granules
10cc Vial
$1,368.00
MC596
Mastergraft
Calcium Phosphate Ceramic Granules
15cc Vial
$1,665.00
$1,800.00
MC597
Mastergraft
Calcium Phosphate Ceramic Granules
30cc Vial
$2,880.00
MC660
Mastergraft
Matrix
5cc
$900.00
MC662
Mastergraft
Matrix
20cc
$1,877.00
$1,995.00
MC663
Mastergraft
Matrix
10cc
$1,368.00
MC671
BCP
Biphasic Calcium Phosphate Reabsorbable 
20cc
$1,735.00

Graft Supplement

Scient'x Australia
SX017
Bonex
Block
L:5.5 - 50mm
$1,700.00

Group 17b - Bone Substitute, Non-Resorbable - Structural

Heraeus Kulzer Australia Pty Ltd
HK002
Osteopal V
Single mix PMMA
26 grams powder; 10ml liquid
$160.00

Stryker Australia Pty Ltd
SK426
Cortoss Vertebral Augmentation Kit
Cortoss Cement 10cc, Delivery Gun,  Mix 
10cc
$2,226.00

Tips, Percutaneous Administration Kit
Prostheses List by Category, Groups and Sponsor
Page 168 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Cardinal Health
CI001
Ava-Tex Radiopaque Bone Cement Kit
13.8g Barium-Polymer Powder & 6mL Liquid 
12mL
$305.00

Monomer, Ported Mixing Vial, Funnel, 20mL 

2-Piece Syringe, Ampoule Disposal 

Container, Monomer Dispersement Cannula,

 Spatula, Four Self-Adhesive Charge Labels, 

Part No.  BCPM003

Johnson & Johnson Medical Pty Ltd
JJ609
Vertebroplasty System
Vertobroplasty System
One size only
$527.00
$2,500.00

Orthotech Pty Ltd
OH166
Mendec Spine
Bone Cement
Cement
$1,710.00
$2,400.00
OH171
Mendec Spine
Bone Cement
Cement Kit
$1,800.00
$2,600.00

TiMax Surgical Pty Ltd
TI096
Parallax Vertebroplasty Bone Cement
Sterile Sealed Percutaneous Vertebroplasty 
Standard
$527.00
$1,900.00

Bone Cement

Group 17d - Bone Substitute, Resorbable - Non-Structural

Austspine Pty Ltd
AJ005
Kasios TCP
TCP Bone graft substitute Granules
5cc
$1,000.00
AJ006
Kasios TCP
TCP Bone graft substitute Granules
10cc
$1,340.00
AJ007
JectOS
Injectable synthetic bone graft substitute
5cc
$1,000.00
$1,500.00
AJ008
JectOS 10cc
Injectable synthetic bone graft substitute
10cc
$1,340.00
$1,800.00

Scient'x Australia
SX018
Bonex
Granules
10cc
$1,368.00
SX019
Bonex
Granules
2cc
$850.00
Group 2 - Fixation: Coupling

Global Manufacturing Technology Pty Ltd
GM069
BacFix (Thoracolumbar System)
Serrated tooth locking clip - Titanium alloy
Nominal, deep
$190.00
Prostheses List by Category, Groups and Sponsor
Page 169 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC504
CD Horizon
Breakoff Set Screw
25 - 55mm
$158.00

Synthes Australia Pty Ltd
SY363
Universal Spine System (USS)
Sleeve
3.5 - 6mm
$225.00

1

Johnson & Johnson Medical Pty Ltd
JJ601
Mountaineer Oct Spinal System
Transverse Connector Outer Nut
One size only
$177.00

2

Austspine Pty Ltd
AJ002
Preference II Pedicle screw system
Set Screw for Polyaxial Pedicle Screw System
One size
$158.00
$225.00

Johnson & Johnson Medical Pty Ltd
JJ594
Mountaineer OCT Spinal System
CT Inner Set Screw
One size only
$158.00
JJ600
Mountaineer Oct Spinal System
Transverse Connector Inner Screw
One size only
$158.00

Orthotech Pty Ltd
OH325
Java screw system
Java Blocker
Set screw
$158.00
$325.00

4

Synthes Australia Pty Ltd
SY412
Lotus System
Cap
One size
$448.00

5

Synthes Australia Pty Ltd
SY414
USS Micro-Crosslink
Crosslink Clamp
One size only
$1,174.00
SY415
USS Micro-Crosslink
Crosslink Clamp Rod
One size only
$1,283.00

Collar

Orthotech Pty Ltd
OH177
Omega 21 Spine Fixation System
Multidirectional Coupling, Slotted; Titanium
One size only
$720.00
$990.00

Connector

Johnson & Johnson Medical Pty Ltd
DY345
Summit Cervical Rod System
Transverse Connector Screw
One size only
$143.00

Nut

B Braun Australia Pty Ltd
BB014
Spine System Evolution
Nut
For screws  for 5.2 and 6mm rods
$203.00
$225.00
Prostheses List by Category, Groups and Sponsor
Page 170 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB165
MACS TL Implant Set - Nut
Titanium
Dia 15mm
$225.00
$250.00

Johnson & Johnson Medical Pty Ltd
DP304
Moss Miami (Stainless Steel)
Inner Screw and Outer Nut
3 - 5mm
$207.00
DP405
Moss Miami (Titanium)
Outer Nut or Inner Screw
One Size Only
$225.00
DP460
Isola System (Titanium)
Right Hand Nut
5/16"
$69.00
DP475
Isola System (Stainless Steel)
Right Hand Nut
5/16"
$53.00
DP834
Profile Anterior Thoracolumbar Plate System
Locking Outer Nut
One size only
$225.00
DY340
Summit Cervical Rod System
Mini Polyaxial Outer Nut
One size only
$225.00
DY341
Summit Cervical Rod System
Pin Nut with Flange or No Flange
One size only
$225.00

Medtronic Australasia Pty Ltd
MC394
CD Horizon
Nut/Plug, DDT Nuts, double threaded screw
Each in one size
$171.00

 nots, plug for closed implants, threaded 

screw plug
MC399
TSRH Spinal Implant System
3D - Nut, Eyebolt locknot, locknut 1/2 inch, 
Each in one size
$170.00

locking screws, double hex, flush break, 

universal breakoff
MC425
Dynalok
Breakoff Nut
One size only
$130.00
MC435
Colorado Spinal System
Break off Nut
One size only
$170.00
MC538
Tenor
Nuts/plug
One size only
$177.00
MC615
Vantage
Vantage Plates and Screws; Lock Nut
One Size Only
$177.00

Orthotech Pty Ltd
OH036
Synergy Spinal System
Hex Nut / Cap Nut
3mm
$324.00
$400.00
OH182
Spinelink Spinal Fixation System
Lock Nut, Titanium
Standard or Extended
$324.00
$400.00
OH188
OMEGA 21 Spine Fixation System
Locking Nut, Titanium
One size only
$324.00
$400.00
OH204
Altius Occipito-Cervico-Thoracic (OCT) 
Locking and CAP Nuts
one size only
$360.00
$450.00

System

Stryker Australia Pty Ltd
SK112
XIA/Oasys Spine System
Buttress thread locking nut
3.5mm - 6mm
$159.00

Synthes Australia Pty Ltd
SY174
Universal Spine System (USS)
Nut
Standard, SS
$177.00
SY186
Cervifix Posterior Cervical System
Nut
One size only
$55.00
Prostheses List by Category, Groups and Sponsor
Page 171 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Nut and collar

Scient'x Australia
SX004
Isobar TTL
Nut
Blocker, Hemispherical
$440.00

Nut, Set Screw

Johnson & Johnson Medical Pty Ltd
DY054
TiMX Low Back System
Hexlobe Set Screw or Spherical Nut
One size only
$85.00
DY293
Crossover System (Titanium)
Crossover Nut or Ball Screw
One size only
$250.00

other

B Braun Australia Pty Ltd
BB005
Spine System Evolution
Sacral Screw
Length 24 - 52mm
$120.00

Global Orthopaedic Technology
GO084
Incompass
Thoracolumbar Fixation System, Open 
5.5mm
$300.00

Implant Closure Top
GO103
Pathfinder
Minimally invasive pedicle fixation system
Open Implant Closure Top 5.5mm
$300.00

Johnson & Johnson Medical Pty Ltd
DP422
Moss Miami 4mm Anterior System (SS)
12 Sided Outie
One size only
$243.00
DP849
Moss Miami 4mm Anterior System (SS)
Washer or Staple or 12 sided outie
One size only
$255.00
DY316
Isola System (Stainless Steel)
Eye Rod Connector Open or Closed
1/4" & 3/16"
$1,132.00

Orthotech Pty Ltd
OH308
Cosmic implant system
Cosmic Cross Links - titanium Bonit coating
cosmic transversal stabilizer, drop 
$900.00
$1,500.00

on left

cosmic transversal stabilizer, drop 

on right

Stryker Australia Pty Ltd
SK252
Spiral Radius 90D
Titanium Locking Cap
One Size Only
$57.00

Zimmer Pty Ltd
ZI478
Silhouette Spinal System I
Adjustable Transverse Connector Rod
1 size
$160.00

Other - Buttons

Medtronic Australasia Pty Ltd
MC307
Vertex Spinal System
Occipital Buttons
Nut 12mm Diameter
$457.00
Prostheses List by Category, Groups and Sponsor
Page 172 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Other - Cap

Synthes Australia Pty Ltd
SY006
Click'X Spinal Fixation System
Cap
One size only
$448.00
SY307
Pangea Spinal System
Locking Cap
One size only
$401.00

Other - Hex Bolt

Taylor Bryant Pty Ltd
TB031
Advanced Spine - Titanium System
Hex Bolt  Titanium
20mm, 25mm, 30mm
$210.00

other - Locking Screw

B Braun Australia Pty Ltd
BB012
Spine System Evolution
Locking Screw
For 5.2 and 6mm rods, length 30 - 
$72.00

55mm

Johnson & Johnson Medical Pty Ltd
DP832
Profile Anterior Thoracolumbar Plate System
Locking Inner Screw
One size only
$225.00
DY108
Isola System
Titanium, Locking Screw
60-120mm
$603.00

Medtronic Australasia Pty Ltd
MC490
Orion Anterior Cervical System
Locking screw
One size only
$139.00

Synthes Australia Pty Ltd
SY135
Cervical Spine Locking Plate (CSLP) 
Locking Screw
One size only
$59.00

System
SY254
Ventrofix - MIS
Locking screw
Anterior, posterior
$441.00
SY286
USS llio-Sacral Fixation system
Locking Screw
one size only
$441.00
$490.00
SY304
TeleFix Spinal System
Posterior Locking Screw
One size only
$222.00

Other - Open Screw

Global Orthopaedic Technology
GO078
Nex-Link
Spinal Fixation System, Open Screw Closure
4.00mm
$810.00
$900.00

Other - Ring Screw

Taylor Bryant Pty Ltd
TB283
Blackstone - Standard Ring Screw
Titanium
One size only
$62.00
Prostheses List by Category, Groups and Sponsor
Page 173 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Set Screw / Locking Screw

B Braun Australia Pty Ltd
BB230
S4 Spinal System
Set Screw - titanium
one size
$203.00
$225.00

Global Manufacturing Technology Pty Ltd
GM032
Optimal Spinal System
Set Screw
9 x 1.5 to 10 x 1.5mm
$158.00
$280.00
GM062
Maxima/Optima Anterior Cervical Plate 
Set Screw
One Size
$158.00
$280.00

System

Global Orthopaedic Technology
GO079
Nex-Link
Spinal Fixation System, Closed Screw Set 
4.0mm
$270.00
$300.00

Screw
GO085
Incompass
Thoracolumbar Fixation System, Closed 
5.5mm
$270.00
$300.00

Implant Set Screw

Johnson & Johnson Medical Pty Ltd
DP463
Isola System (Titanium)
Set Screw
6.35mm
$93.00
DP501
Isola System (Stainless Steel)
Set Screw
One size only
$60.00
DY059
TiMX Low Back System
Modular Cross Connector  Hex Lobe Set 
One size only
$80.00

Screw
DY103
Isola System (Stainless Steel)
Modular Cross Connector Set Screw
One Size Only
$59.00
DY350
RECO Spinal System
Set Screw
One size only
$85.00
DY444
Summit SI System
Inner Set Screw
one size
$225.00

Synthes Australia Pty Ltd
SY308
Axon Spinal System
Locking Set screw
One size only
$158.00
$170.00

Taylor Bryant Pty Ltd
TB243
Spinal Fixation System
Set screw spinal system
One size only
$110.00
TB281
Blackstone Set Screw
Titanium
One size only
$158.00
TB313
ICON Modular Spinal Fixation System
Set Screw
one size only
$207.00

Set Screw / locking screw - Cap/Cover Plate

Johnson & Johnson Medical Pty Ltd
DY303
Monarch Spinal System
Typhoon Cap and Domed Nuts
One size only
$681.00

Set Screw /Locking Screw

Johnson & Johnson Medical Pty Ltd
DY106
Isola System (Titanium)
Modular Cross Connector Set Screw
One size only
$70.00
Prostheses List by Category, Groups and Sponsor
Page 174 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Set Screw, Other - Cap

Johnson & Johnson Medical Pty Ltd
DY311
Frontier Anterior Scoliosis System 
Twist on Internal Cap
One size only
$605.00

(Titanium)

Set screw/locking screw

Medtronic Australasia Pty Ltd
MC546
Vertex Spinal System
Set screw
One size only
$158.00
MC601
Equation Spinal System
Set Screw
One Size Only
$158.00
MC654
Engage
Breakoff Set Screw
one size only
$158.00
MC667
SiLo
Set Screw
One Size only
$158.00
MC674
CD Horizon
Legacy set Screw
one size only
$158.00
$250.00

Orthotech Pty Ltd
OH043
Synergy Spinal System
Point/Double Hex Set Screw
4.75 - 6.35mm
$324.00
$390.00
OH196
Array Spinal System
Titanium Alloy Modular Spinal System - set 
one size
$234.00
$290.00

screws

Synthes Australia Pty Ltd
SY010
VentroFix
Set screw
One size only
$158.00
SY152
Universal Spine System (USS)
Set Screw
Standard
$198.00

Set screw/locking screw, Cannulated,Cap/cover plat

Medtronic Australasia Pty Ltd
MC657
Pyramid
Pyramid Cover Plate and Set Screw
17mm - 35mm length in 2 mm 
$605.00
$1,271.00

increments

Siffix 2: Set screw / locking screw

Nuvasive Australia Pty Ltd
NV002
SpheRx
Cannulated Lock Screw
one size
$158.00

Suffix 1

Medtronic Australasia Pty Ltd
MC410
CD Horizon
Bolt, Left, Right
One size only
$177.00

Zimmer Pty Ltd
ZI477
Silhouette Spinal System Implants
Nut, Connector, Transverse
1 size
$177.00
Prostheses List by Category, Groups and Sponsor
Page 175 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Suffix 2 - Ser Screw

Medtronic Australasia Pty Ltd
MC609
CD Horizon Spinal System
Percutaneous Set Screw
25 - 60mm
$158.00
$250.00

Suffix 2 - Set Screw

Johnson & Johnson Medical Pty Ltd
DY432
Expedium Spine System
Si Screw Set
one size
$158.00
$593.00
DY439
Expedium Spine System
Di Set Screw
one size
$158.00
$734.21

Suffix 2: Set screw / locking screw

Orthotech Pty Ltd
OH305
ADD / ADDplus
Osmium Screw including bolt, titanium. The 
length = 14, 16, 18mm with outer 
$158.00
$500.00

osmium screw is a two-component system 
diameter of 5mm

consisting of a screw and a bolt. Expansion 

of the screw is achieved by inserting the 

bolt. Hyper-expansion of the screw is not 
OH307
Universal Clamp
Locking Screw
$158.00
$550.00
OH309
Cosmic implant system
Cosmic Locking Screw - titanium
one size
$158.00
$500.00

Synthes Australia Pty Ltd
SY383
Synmesh
Locking Screw, Low Profile, For Synmesh 
Small, Large
$158.00

End Rings

Suffix 4 - Plate

Orthotech Pty Ltd
OH261
OGP posterior lumbar rgid scrw fixation 
OGP clamp
10, 12, 14, 16, 18mm
$1,247.00
$1,800.00

system

Suffix 4: Cap / cover plate

Orthotech Pty Ltd
OH310
Cosmic implant system
Cosmic Cap - titanium
one size
$448.00
$650.00

Taylor Bryant Pty Ltd
TB365
Unity Lumbar Plate
Unity Cover Plate
17-28mm
$800.00

Suffix 5

B Braun Australia Pty Ltd
BB003
Spine System Evolution
Counter/angled/universal hook
Universal - short, long; Counter - 
$281.00

small, medium; Angled - left, right
Prostheses List by Category, Groups and Sponsor
Page 176 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB008
Spine System Evolution
Cross Plate
For 5.2 and 6mm rods, length 50 - 
$360.00

100mm
BB065
Socon Spinal System
Socon Crossbar
Length 50mm-80mm
$302.00

Johnson & Johnson Medical Pty Ltd
DP420
Moss Miami (Titanium)
Transverse Connector Hook or Screw or 
One Size
$1,050.00
DP459
Isola System (Titanium)
Jaw Clamp
1/4" & 3/16"
$377.00
DP474
Isola System (Stainless Steel)
Jaw Clamp
1/4" & 3/16"
$345.00
DY185
Monarch Spinal System
Plate J-Hooks
3.5 - 11 mm
$594.00
DY347
RECO Spinal System
Block
4-7mm
$1,200.00

Medtronic Australasia Pty Ltd
MC411
CD Horizon
Block, Right, Left
5 - 7 mm
$1,200.00

Stryker Australia Pty Ltd
ST690
Dimso/Stryker Implants Diapason
Transverse rod union titanium
10-50mm
$328.00
ST694
Dimso/Stryker Implants Diapason
Transverse - transverse bar titanium
50-90mm
$392.00

Surgical House
SU199
Olerud PF Blocks
Titanium, Threaded or Non-threaded, 0, 10, 
To suit 7mm Olerud PF Rods
$1,200.00

13mm offset

Synthes Australia Pty Ltd
SY144
Universal Spine System (USS)
Fracture Clamps
Cranial, Standard, Low Profile
$1,278.00
SY146
Universal Spine System (USS)
Cross Link Rod
40-80mm length 
$109.00
SY287
USS llio-Sacral Fixation system
Transconnecting bar
One size only
$1,100.00
SY361
Universal Spine System (USS)
Cross Link Rod
40 - 80mm Length
$109.00

Zimmer Pty Ltd
ZI480
Silhouette Spinal System
Adjustable Transverse Connector Sleeve 
12 - 90mm lengths
$325.00

with Set Screw

Suffix 5: Other

Nuvasive Australia Pty Ltd
NV009
Gradient Cervical Plates
Slotted Hole/Round Cover assembly
one size
$120.00
Prostheses List by Category, Groups and Sponsor
Page 177 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2 - Bone Screw Coupling

Nut

Zimmer Pty Ltd
ZI479
Silhouette Spinal System Implants
Nut, Locking, Polyaxial
1 size
$177.00

Suffix - 5: Other

B Braun Australia Pty Ltd
BB166
MACS TL Implant Set - Bone Graft Clamp
Titanium
1.6 x 1cm
$349.00

Surgical House
SU077
Cross bar clamp
Hook/screw & rod spinal system component
For 7mm rod, for 6mm rod
$1,500.00

Suffix 1 - Nut

Johnson & Johnson Medical Pty Ltd
DY107
Carbon Fibre Cages
Stackable Cage Titanium Interface Screw 
One size only
$177.00

Orthotech Pty Ltd
OH054
Interpore Bone Plate System
TPS Locked Nut
3mm
$177.00
$650.00

Taylor Bryant Pty Ltd
TB112
Varilift System 
Sleeve nut
One size only
$100.00

Suffix 2: Set screw / locking screw

Medtronic Australasia Pty Ltd
MC653
Xantus
Xantus cover Plate and Set Screw
40mm - 100mm Length in 4mm 
$605.00
$1,271.00

increments

Suffix 3 - Collar

Orthotech Pty Ltd
OH176
Omega 21 Spine Fixation System
Simple Coupling, Slotted; Titanium
One size only
$720.00
$900.00

Suffix 4 - Plate

B Braun Australia Pty Ltd
BB064
Socon Spinal System
Socon Clamps
One size only
$1,020.00
BB164
MACS TL Implant Set - Clamp
Titanium
1.2cm - 0.9cm
$800.00

Johnson & Johnson Medical Pty Ltd
DP843
Moss Miami (Titanium)
Sacral Extender
5mm x 5 - 20mm length
$800.00

Medtronic Australasia Pty Ltd
MC608
TSRH 3D
Connector
Small, Medium, Large
$1,020.00
Prostheses List by Category, Groups and Sponsor
Page 178 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Scient'x Australia
SX005
Isobar TTL
Clamp
Snap-on, Short, Long and 
$870.00

Monobloc

Synthes Australia Pty Ltd
SY288
USS llio-Sacral Fixation system
Sacral clamp
One size only
$1,278.00
$1,420.00

Suffix 5 - Other

Johnson & Johnson Medical Pty Ltd
DP569
Peak Polyaxial  Anterior Cervical Plate 
Primary Locking Screw
4mm  x 10 -16mm
$490.00

System
DP580
Kaneda Anterior Scoliosis System  S/S
Radiused Caps for Open Screws
3/16" 
$433.00
DY109
Carbon Fibre Cages
Stackable Cage Titanium Protective Sleeve
5-15mm
$82.00

Medtronic Australasia Pty Ltd
MC377
Colorado Spinal System
Colorado 2 Clamp
$420.00

Taylor Bryant Pty Ltd
TB100
Advanced Spine - Titanium System
Lower Saddle
1mm
$358.00
TB101
Advanced Spine - Titanium System
Lower Saddle
14 Degree Left/Right, 7 Degree 
$465.00

Left/Right, 2mm, 4mm, 6mm 

Increment, 30 Degree Left/Right

Suffix 5: Other

Orthotech Pty Ltd
OH035
Synergy Spinal System
Sliders
4.75 - 6.35mm dia
$356.00
$500.00

Synthes Australia Pty Ltd
SY008
VentroFix
Clamp
Single, Double, Fracture, Left, Right
$1,500.00
SY326
Spinal Plate/Plate System AO/ASIF Spinal 
Internal fixator - cross link clamp
One size only
$1,174.00

Implants
SY357
ECD - Expandable Corpectomy Device
Locking clip, PEEK/Titanium
Universal
$300.00
SY359
Universal Spine System (USS)
Fracture Clamps
Cranial, Standard, Low Profile
$1,278.00
Prostheses List by Category, Groups and Sponsor
Page 179 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 3 - Fixation: Cable

Group 3a - Cable, Single Ended

Johnson & Johnson Medical Pty Ltd
DP480
Isola System (Stainless Steel)
Wire with Button or Beaded Wire
One size only
$65.00

Medtronic Australasia Pty Ltd
MC417
Orfil
Stainless Steel - Wire Spool
1-350mm
$375.00
MC441
Atlas Cable System (SS)
Single w/crimp and bar
One size only
$360.00
MC444
Atlas Cable System (Ti)
Single (loop end) w/crimp
One size only
$412.00

Orthotech Pty Ltd
OH260
Hartshill
Wire (packet 10) stainless steel
1.2mm diam & 0.9mm diam
$42.00
The price indicated is per unit and 

there are 10 units per pack.

Synthes Australia Pty Ltd
SY276
Spine Cable System
Single Lead
One size only
$412.00

Taylor Bryant Pty Ltd
TB274
Blackstone - Posterior Cervical System
Single Loop Cable w/Two Crimps - Titanium
One size only
$412.00

Group 3b - Cable, Double Ended

Medtronic Australasia Pty Ltd
MC442
Atlas Cable System (SS)
Double w/2 crimps
One size only
$395.00
MC445
Atlas Cable System (Ti)
Double w/2 crimps
One size only
$470.00
MC506
Orfil
Double Pearl-Tipped Wires
1 - 350mm
$100.00

Orthotech Pty Ltd
OH258
Songer cable system
Double loop titanium spinal cable plus crimps
One size only
$470.00
$520.00

Synthes Australia Pty Ltd
SY277
Spine Cable System
Double Lead
One size only
$535.00

Taylor Bryant Pty Ltd
TB273
Blackstone - Posterior Cervical System
Double  Loop Cable w/Four Crimps - Titanium
One size only
$464.00
Prostheses List by Category, Groups and Sponsor
Page 180 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 3c - Cable, Lock / Swage

Medtronic Australasia Pty Ltd
MC443
Atlas Cable System (SS)
Crimp
One size only
$140.00
MC446
Atlas Cable System (Ti)
Crimp
One size only
$165.00

Orthotech Pty Ltd
OH259
Songer Cable System - 2 Crimps
Titanium
One size only
$189.00
$250.00

Taylor Bryant Pty Ltd
TB272
Blackstone - Posterior Cervical System
Crimp Two Pack - Titanium
One size only
$182.00

Group 3d - Cable, Synthetic

Zimmer Pty Ltd
ZI334
Dynesys Cord
Composition: Sulene
100 or 200 mm long
$464.00
$2,709.00
Group 4 - Fixation: Connector

Group 4a - Connector, In-line

Johnson & Johnson Medical Pty Ltd
DP495
Isola Paediatric System (Stainless Steel)
Growth/Tandem Connector
3/16"
$1,056.00
$1,670.14
DY184
Monarch Spinal System
Dual Rod Connectors End to End or Side by 
6.35 to 6.35mm or 6.35 to 5.5mm or 
$737.00

Side
6.35 to 4.75mm
DY306
Isola System (Titanium)
Threadless TRC - open body with or without
1/4" & 3/16"
$737.00

 rod
JJ598
Mountaineer OCT Spinal System
Dual Rod Connector, Side by Side or End to 
3.5-3.5mm, 3.5-4.75mm, 3.5-5.5mm, 
$737.00

End
3.5-6.35mm

Medtronic Australasia Pty Ltd
MC407
CD Horizon
Domino
3.2mm, 3.5mm, 4.5mm, 5,5mm, 6.35mm
$737.00
MC409
CD Horizon
Connector, Lateral open, lateral closed, 
Connector, Lateral open, lateral 
$737.00

closed reduction, DTT Transverse, Domino, 
closed, closed reduction - 1size, 

Connecting cylinder, Closed Domino, 
DTT Transverse - 70 - 100mm, 

Connecting Cylinder, Hopf screw, ilio sacral,
Domino - 5.5 - 6.35mm

 lateral, Stephanie, axial connectors
MC498
Tenor
Monoclamps - Titanium
One size only
$443.00
Prostheses List by Category, Groups and Sponsor
Page 181 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC499
Tenor
Dual Clamps - Titanium 
One size only
$443.00
MC500
Tenor
Offset Clamps - Titanium 
One size only
$443.00
MC542
Vertex Spinal System
Connector
Length 10 - 13mm; diameter 3.2 - 
$737.00
$750.00

6.35mm
MC635
CD Horizon
Legacy In-Line Connector
Length 40-110mm
$737.00
$1,600.00

Orthotech Pty Ltd
OH175
Omega 21 Spine Fixation System
Connection Rod, Titanium
105-155mm
$550.00
$650.00
OH179
Omega 21 Spine Fixation System
Connection Rod, Titanium
165-255mm
$737.00
$980.00
OH180
Omega 21 Spine Fixation System
Connection Rod, Titanium
35-95mm
$550.00
$650.00
OH183
Spinelink Spinal Fixation System
Link, Standard or Reverse, Ti
21mm - 78mm
$950.00
$1,300.00
OH205
Altius Occipito-Cervico-Thoracic (OCT) 
Domino Adjustable CC Left & Right
One size only
$462.00
$480.00

System

Stryker Australia Pty Ltd
HW386
Xia Spine System
Rod Clamp - Parallel, Axial
One size only
$896.00

Synthes Australia Pty Ltd
SY147
Universal Spine System (USS)
Connectors
Parallel, In-line, Transverse, SS, 15 
$737.00
$1,000.00

- 25mm
SY382
Axon Occipital Fusion System
Occipital Clamp Titanium Alloy
1 or 2 holes
$900.00
$1,000.00

Group 4b - Connector, Offset

B Braun Australia Pty Ltd
BB004
Spine System Evolution
Lateral Connector
Small, medium, large
$759.00
BB006
Spine System Evolution
Sacral Plate
Left/right for 5.2 and 6mm rods
$759.00
BB007
Spine System Evolution
Clamp for Cross Plate
For 5.2 and 6mm rods
$490.00

Global Manufacturing Technology Pty Ltd
GM029
Optimal Spinal System
Axial/Lateral Connectors
Various
$759.00
$1,055.00
GM065
Maxima/Optima Anterior Cervical Plate 
Axial/Lateral Connections
7.5mm-30mm
$759.00

System

Global Orthopaedic Technology
GO106
OctaFix
Occipital Cervical Plating System
Screw Offset Connector
$759.00

Johnson & Johnson Medical Pty Ltd
DP060
VSP System (Stainless Steel)
Sacral Connector - Left & Right Offset
One size only
$534.00
Prostheses List by Category, Groups and Sponsor
Page 182 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP305
Moss Miami (Stainless Steel)
Axial Connector
5mm/5mm and 5mm/7mm
$759.00
DP311
Moss Miami (Stainless Steel)
Transverse Connector Rod or Screw or 
One size
$612.00
DP413
Moss Miami (Titanium)
Axial Connector
5mm/5mm
$759.00
DP454
Isola System (Titanium)
Slotted Connectors Standard or Extended or 
1/4" & 3/16"
$837.00

Offset or Angled or Open or Twister
DP462
Isola System (Stainless Steel)
Wedding Band
1/4 " & 3/16"
$759.00
DP466
Isola System (Titanium)
Wedding Band
1/4" & 3/16"
$759.00
DP469
Isola System (Stainless Steel)
Slotted Connectors  - Standard or Extended 
1/4" & 3/16"
$759.00

or Offset or Angled or Open or Twister
DP842
Moss Miami (Stainless Steel)
Sacral Extender
5mm x 5 - 20mm length
$614.00
DY041
TiMX Low Back System
Sacral Connector (Left & Right Offset or 
One size only
$759.00
DY050
TiMX Low Back System
Slotted Connector (Left & Right Offset or 
1/4"          
$759.00

Straight or Extended or Twister)
DY094
Isola Paediatric System
Stainless Steel, Slotted Connector 
3/16"
$759.00
DY179
Monarch Spinal System
Slotted Connectors 
One size only
$759.00

(Straight/Extended/Offset/Twister/Mini 

Offset)
DY186
Monarch Spinal System
Band Clamp Connector
6.35 & 5.5mm
$759.00
DY317
Isola System (Stainless Steel)
Band Clamp Connector or Tandem Connector
1/4" & 3/16"
$759.00
DY337
Summit Cervical Rod System
Open Cable Connector
One size only
$759.00
DY342
Summit Cervical Rod System
Connectors Left or Right or Neutral
One size only
$759.00
DY443
Summit SI System
Connectors
Various
$759.00
JJ607
Expedium Spine System
Lateral Connector, Open or Closed
5.5-6.35mm x 20 - 500mm length
$740.00

Medtronic Australasia Pty Ltd
MC376
Colorado Spinal System
Colorado 2 Connector
For 5mm rod and 5.5mm rod
$759.00
MC398
TSRH Spinal Implant System
3D - Plate, Offset, connector, multi-span, 
Sacral 20 - 50mm, rest 0.375 - 3.75 
$759.00

sacral
inches
MC414
CD Horizon
Plate, Chopin Intrapedicular 32mm - 52mm, 
-
$900.00

Chopin plate 32 - 36mm
MC429
Dynalok
Offset, Straight, Extended Connector
5.5 - 6.35mm
$305.00
MC434
Colorado Spinal System
Connector for Sacral & Ilio-Sacral Plate
One size only
$759.00
MC665
Engage
Connector
Small, Medium, Large
$759.00
Prostheses List by Category, Groups and Sponsor
Page 183 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC668
CD Horizon
Legacy lliac Lateral Connector
20mm and 30mm Length
$759.00
MC676
SiLo
Lateral Connector
10-40mm
$759.00

Orthotech Pty Ltd
OH186
OMEGA 21 Spine Fixation System
Multidirection Coupling, Titanium
One size only
$759.00
$950.00
OH324
Java screw system
Sacral fixation
Left and right
$759.00
$1,550.00

Stryker Australia Pty Ltd
HW391
Xia Spine System
Connector - Axial, Dual, Offset
4.5mm - 6mm
$896.00
$1,020.00
HW392
Xia Spine System
Sacral Block
One size only
$1,007.00
SK250
Maps Spinal Fixation System
Titanium - Offset Connector, Two Step 
Offset Connector - Small, Medium, 
$759.00

Locking Connector, Variable Offset 
Large

Connector
ST708
Dimso/Stryker Connector 
Offset sacral connector titanium
One size only
$759.00
ST709
Dimso/Stryker Connector 
Offset connector  titanium
One size only
$700.00

Surgical House
SU082
Double loop
Hook/screw & rod spinal system component
Left & right, 3.5 & 5.0mm
$643.00
SU090
Screw link  
Hook/screw & rod spinal system component
0 degrees, 15 degrees, 30 degrees
$260.00
SU198
Olerud ME-Connector
Titanium. For polyaxial connection of Olerud
for use with 3mm and 4mm Olerud 
$759.00
$825.00

 cervical pedicle screws to rod, claws etc for 
screws

fixation of the cervical spine.

Synthes Australia Pty Ltd
SY185
Cervifix Posterior Cervical System
Starlock Clamp
Upgoing, Neutral, Offset, Offset 
$613.00

Neutral, Left, Right
SY310
Axon Spinal System
transverse bar
one size only
$583.00

Taylor Bryant Pty Ltd
TB115
Low Pro Upper Clamp
Cross Link Assembly 200 Ser Titanium
7/0cm, 8/0cm, 9/0cm
$412.00
TB239
Spinal Fixation System
Multi Axial Cross Connector Assembly - 
30mm - 75mm in 5mm increments
$759.00

Titanium/Lateral Offset
TB278
Blackstone - Posterior Cervical System
Cross-Connector
20, 25, 30, 35, 40, 45, 50mm
$765.00
TB312
ICON Modular Spinal Fixation System
Offset body assembly
8, 11, 14mm
$275.00
Prostheses List by Category, Groups and Sponsor
Page 184 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 4c - Connector, Transverse (Rod-to-Rod)

B Braun Australia Pty Ltd
BB009
Spine System Evolution
Rod Connector
For 5.2 and 6mm rods
$500.00
BB066
Socon Spinal System
Cross Bar Clamp
One size only
$700.00
BB228
S4 Spinal System
S4 Cross Connector - titanium
Rigid 22mm - 41mm
$1,125.00
$1,250.00

Global Manufacturing Technology Pty Ltd
GM031
Optimal Spinal System
Traverse Link Assembly
40 to 80mm
$919.00
GM063
Maxima/Optima Anterior Cervical Plate 
Traverse Link assembly
44mm - 75mm
$919.00

System

Global Orthopaedic Technology
GO081
Nex-Link
Spinal Fixation System, Transverse 
4.00mm Rod x 25mm - 45 length
$800.00

Connectors
GO086
Incompass
Thoracolumbar Fixation System, Offset 
9.5 - 30mm
$817.00

Connector Open
GO087
Incompass
Thoracolumbar Fixation System, Offset 
7.5 - 30mm
$817.00

Connector Closed

Johnson & Johnson Medical Pty Ltd
DP301
Moss Miami (Stainless Steel)
Transverse Connector - Complete
One size only
$919.00
$1,080.32
DP412
Moss Miami (Titanium)
Transverse Connector - Complete
One size only
$919.00
$1,016.83
DP450
Kaneda SR (Smooth Rod)  Anterior  (TI)
Plates
Small/Large -  Caudal or Rostral
$919.00
DP451
Kaneda SR (Smooth Rod)  Anterior  (TI)
Transverse Coupler
1/4" x 13 - 16mm
$1,004.00
DP453
Isola Paediatric System (Stainless Steel)
Threadless TRC - Closed or Open Body 
3/16"
$919.00

without Rod
DP490
Isola Paediatric System (Stainless Steel)
Wedding Band
3/16"
$800.00
DP496
Isola Paediatric System (Stainless Steel)
Threadless TRC - Closed / Open Body with 
3/16"
$800.00

Rod
DY100
Isola System (Stainless Steel)
Threadless TRC - Closed or Open Body with
1/4" & 3/16"
$919.00

 Rod
DY102
Isola System (Stainless Steel)
Threadless TRC - Closed / Open Body - No 
1/4" & 3/16"
$919.00

Rod
DY289
Crossover System (Titanium)
Crossconnector
Small 18-30mm
$1,250.00
$2,050.00
DY290
Crossover System (Titanium)
Crossconnector
Medium 32-45mm
$1,250.00
$2,050.00
Prostheses List by Category, Groups and Sponsor
Page 185 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY292
Crossover System (Titanium)
Crossconnector
Large 45-107mm
$1,250.00
$2,050.00
DY336
Summit Cervical Rod System
Cross Connector
One size only
$1,210.00
$1,668.10
DY344
Summit Cervical Rod System
Transverse Connector Hook
One size only
$573.00
DY351
RECO Spinal System
Tranverse Connector
4 or 6mm
$919.00
JJ599
Mountaineer OCT Spinal System
Transverse Connector Plate
21 - 56mm
$919.00
JJ608
Expedium SFX Cross Connector System
Cross Connector
5.5mm - 6.35mm rod diameter, 
$1,227.00
$2,550.00

15mm - 100mm length

LSS Surgical Pty Limited
LS002
Solas Spinal System
Traverse Link Assembly
30mm - 120mm
$919.00

Medtronic Australasia Pty Ltd
MC400
TSRH Spinal Implant System
3D - Crosslink, Plate, multip-span plate, 
Sacral 20 - 50mm, rest 0.375 - 3.75 
$919.00

offset plate, sacral plate
inches
MC408
CD Horizon
Crosslink, Plate, Multi-span late, Offset 
60 - 200mm
$919.00

plate, Transverse links
MC426
Dynalok
Crosslink Plate
3cm - 16 cm
$817.00
MC496
Tenor
Transverse Links - Titanium
40-100mm
$800.00
MC590
Vertex Reconstruction System Crosslink Bar
Composition -  titanium alloy. The system 
One size only
$919.00
$935.00

allows for the adaptation of components 

from other Sofamor Danek systems to 

provide for constructs tailor made for 
MC634
CD Horizon
X10 Crosslink
Multi-Span Plate: 25-81mm
$1,210.00
$2,990.00
MC708
CD Horizon
X10 Crosslink
Fixed Plate: 16-31mm
$919.00
$1,300.00

Nuvasive Australia Pty Ltd
NV003
SpheRx
Transverse X-Connector
45 - 100mm
$919.00

Orthotech Pty Ltd
OH040
Synergy Spinal System
Adjustable Transverse Connector With 
3 - 6cm
$919.00
$1,200.00

Rod/Clamp
OH041
Synergy Spinal System
Fixed Transverse Connectors
10.5 - 31.5mm
$919.00
$1,200.00
OH042
Synergy Spinal System
Lateral Connectors (Closed Rod)
4.75 - 6.35mm
$850.00
$920.00
OH189
OMEGA 21 Spine Fixation System
Transverse Rod Connector , Titanium
One size only
$850.00
$980.00
OH192
Spinelink Spinal Fixation System
Link, Telescoping, Transverse, Ti
40-59mm, 59-90mm
$919.00
$1,100.00
Prostheses List by Category, Groups and Sponsor
Page 186 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OH197
Array Spinal System
Titanium Alloy Modular Spinal System - 
Large, Medium, Small, Xsmall, 
$919.00
$1,200.00

cross connector
24mm, 22mm, 20mm, 18mm, 16mm
OH206
Altius Occipito-Cervico-Thoracic (OCT) 
Connector
15, 30,  45 L&R
$650.00
$750.00

System

Scient'x Australia
SX015
Easys
Connector Bar - titanium
L: 40-100mm
$770.00
Short rod
SX016
Easys
Straddler - titanium alloy
one size
$919.00

Stryker Australia Pty Ltd
HW390
XIA Spine System
Cross Link
Length 20mm - 99mm
$945.00
$1,050.00
SK080
Xia Spine System
Multi Axial Connector
Monobloc, Small, Standard 24mm -
$693.00

 50mm
SK227
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
Transverse Connector; Offset 
$919.00

Connector; Rod to Rod Connector
SK241
Xia Spinal System
Titanium or Stainless Steel Cross Connector
15-20mm
$792.00
SK253
Spiral Radius 90D
Titanium
Variable Cross Connector - Long, 
$919.00

Medium Short; Fixed Cross 

Connector - 10-30mm
ST689
Dimso/Stryker Implants Diapason
Transverse - Domino titanium
One size only
$600.00
ST691
Dimso/Stryker Implants Diapason
Transverse ball links (set of 2) titanium
One size only
$919.00
ST693
Dimso/Stryker Implants Diapason
Transverse - transverse connector titanium, 
One size only
$489.00

TLC connector

Surgical House
SU078
Cross bar
Hook/screw & rod spinal system component
30,45 & 60mm
$919.00

Synthes Australia Pty Ltd
SY011
VentroFix
Parallel connector
6.0/6.0mm
$919.00
SY015
CerviFix Posterior Cervical System
Parallel connector
3.5/3.5, 3.5/5.0, 3.5/6.0
$919.00
SY250
Universal Spine System
Low Profile Transconnector
18-83mm length
$2,456.00
SY398
Axon Spinal System - Transconnector
Axon Transconnector
60mm, 70mm
$1,210.00
$1,520.00

Zimmer Pty Ltd
ZI535
Optima Spinal Fixation System -Connectors
Optima Spinal Fixation System - Rod 
Various
$919.00
$1,020.00

Connectors
Prostheses List by Category, Groups and Sponsor
Page 187 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

1

Austspine Pty Ltd
AJ004
Preference - II pedicle screw system
Cross Link for Preference-II Pedicle Screw 
4 sizes: 45mm, 55mm, 70mm and 
$1,227.00
$1,450.00

Fixation System
90mm

Orthotech Pty Ltd
OH322
Java screw system
Transverse connector
Length 52, 62, 72, 82
$1,227.00
$1,280.00

Suffix 1

B Braun Australia Pty Ltd
BB229
S4 Spinal System
S4 Cross Connector - titanium
Variable 43mm - 75mm
$1,350.00
$1,500.00

Johnson & Johnson Medical Pty Ltd
DP470
Isola System (Stainless Steel)
Transverse Rod Connector or Dual Rod 
1/4" & 3/16"
$1,227.00

Connector

Suffix 1 System

Johnson & Johnson Medical Pty Ltd
DP499
Isola System (Titanium)
Transverse Connector or Dual Rod 
1/4" & 3/16"
$1,227.00
Group 5 - Fixation: Hook

Group 5a - Hook, Open

B Braun Australia Pty Ltd
BB001
Spine System Evolution
Hook Pin
Length 25 - 60mm
$133.00
BB002
Aesculap Hook System
Hook, Left and right
For 5.2 and 6mm rods, Thoracic, 
$543.00

pedicle, laminar

Global Manufacturing Technology Pty Ltd
GM020
Optimal Spinal System
Hooks-open & closed-pedical & laminar
Various
$745.00
GM064
Maxima/Optima Anterior Cervical Plate 
Hooks Open & Closed - Pedicle & Laminar
6.5mm-11mm
$745.00

System

Global Orthopaedic Technology
GO091
Incompass
Thoracolumbar Fixation System, Hooks
5.5mm
$720.00

Johnson & Johnson Medical Pty Ltd
DP299
Moss Miami (Stainless Steel)
Hooks - Pedicle
One size only
$820.00
Prostheses List by Category, Groups and Sponsor
Page 188 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP300
Moss Miami (Stainless Steel)
Hooks - Laminar as Wide or Narrow or 
One size only
$820.00

Angled or Reduced Distance Supra-laminar 

or Offset or Extended Body
DP329
Moss Miami (Stainless Steel)
Hooks - Translation (Pedicle/Reduced 
One size only
$904.00

Distance/Narrow/Wide Blade)
DP410
Moss Miami (Titanium)
Hooks - Pedicle
3-5 mm
$820.00
DP411
Moss Miami (Titanium)
Hooks - Laminar as Wide or Narrow or 
One size only
$820.00

Angled or Reduced Distance Supra-laminar 

or Offset or Extended Body
DP418
Moss Miami (Titanium)
Hooks - Translation
One size only
$1,004.00
DP465
Isola System (Titanium)
Open Hook and / or Cap
1/4" & 3/16" x 5-11mm
$620.00
DP472
Isola System (Stainless Steel)
Open Hook Cap or Open
1/4" & 3/16" x 5-11mm
$820.00
DP487
Isola Paediatric System (Stainless Steel)
Side Tightening Hook - Opened/Closed
3/16" x 3.5mm - 11mm
$733.00
DP845
Moss Miami 4mm Anterior System (SS)
Hooks
4mm
$820.00
DY304
Monarch Spinal System
Hooks - Open (Pedicle/Narrow 
5-11mm
$742.00

Tapered/Wide Blade)
DY437
Expedium Spine System
Hooks (Pedicle, Reduced, Angled, Narrow, 
one size
$820.00
$990.00

Wide)
DY438
Expedium Spine System
Hooks (Left/Right Angled, Left/Right Offset,
One size
$820.00
$990.00

 Extended Body)
JJ595
Mountaineer OCT Spinal System
CT Hook
3.5mm - Small, Medium, Large
$820.00

LSS Surgical Pty Limited
LS007
Solas Spinal System
Hooks Open & Closed - Pedicle and Laminar
4mm - 11mm
$800.00

Medtronic Australasia Pty Ltd
MC375
Colorado Spinal System
Colorado 2 Hook, Pedicular hook - small and 
$820.00

large, Laminar hook - small, medium and 

large, Staple for pedicular hooks,

Open laminar thoracic hook, Supra laminar 

median hook,

Narrow laminar - 1 size, Open laminar - 1 size
MC397
TSRH Spinal Implant System
3D - Hook, Offset, left, right, laminar, pedicle,
Large - small
$745.00

 Stainless steel, Titanium
MC406
CD Horizon
Hook - various
Small, Medium or Large
$820.00
MC591
Vertex Reconstructive System Laminar Hook
Composition -  titanium alloy
4.5mm / 5.5mm
$820.00
Prostheses List by Category, Groups and Sponsor
Page 189 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC677
SiLo
Hook
Right, left, front
$820.00

Nuvasive Australia Pty Ltd
NV004
SpheRx
Hooks
one size
$820.00

Orthotech Pty Ltd
OH038
Synergy Spinal System
Open/Closed Offset Hooks
4mm
$745.00
$950.00
OH039
Synergy Spinal System
Open/Closed Hooks Pedicle/Laminar
4.75 - 6.35mm dia
$745.00
$950.00
OH191
Omega 21 Spine Fixation System
Hook titanium - Pedicle/Lt & Rt 
6, 8, 10mm
$820.00
$990.00

Angle/Wide/Narrow/Reduced
OH198
Array Spinal System
Titanium Alloy Modular Spinal System - 
one size
$820.00
$990.00

laminar hook and pedicle hook
OH208
Altius Occipito-Cervico-Thoracic (OCT) 
Hook and OC Screws
Hook:  12mm to 14mm (L&R), OC 
$833.00
$1,200.00

System
Screws: 6mm to 20mm

Scient'x Australia
SX006
Isobar TTL
Hooks
Small, Large, offset
$820.00

Stryker Australia Pty Ltd
HW387
Xia Spine System
Lamina Hook - Angled, Reduced, Extended, 
Large Medium, Small
$820.00
$1,375.00

Standard Blade, Narrow Blade, Offset
HW388
Xia Spine System
Pedicle Hook
Large, Small
$820.00
$1,375.00
SK222
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
Hook, Standard Short; Hook, 
$820.00

Standard Tall; Hook, Offset, Right;

 Hook Offset, Left
SK254
Spiral Radius 90D
Titanium - Hook: Oblique, Lamina, Thoracic, 
Oblique - Left & Right; Lamina - 
$820.00

Pedicle, Offset
Large, Extended Medium, Medium,

 Wide Medium, Extended Small, 

Small, Wide Small; Pedicle - Large 

& Small; Offset - Left & Right 5-

10mm
ST696
Dimso/Stryker Implants Diapason
Hook - non offset titanium, narrow, wide, 
One size only
$820.00

straight, oblique, lumbar
ST697
Dimso/Stryker Implants Diapason
Hook - offset titanium,  thoracic - left, right
Small, Large
$820.00

Surgical House
SU093
Lamina hook short
Hook/screw & rod spinal system 
Short & long
$513.00

component, left & right
SU094
Lamina compression hook
Hook/screw & rod spinal system component
c1-claw
$513.00
Prostheses List by Category, Groups and Sponsor
Page 190 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY012
CerviFix Posterior Cervical System
Clamp
Left, Right, Medial, Lateral, 
$513.00

Pedicle, Lamina
SY306
Pangea Spinal System
Pedicle and Lamina Hooks
Extra small to Extra Large
$1,159.00
$1,288.00
SY325
Universal Spine System
Hook
Small, Medium, Large, Lamina, 
$873.00
$970.26

Thoracic, Pedicle

Taylor Bryant Pty Ltd
TB270
Blackstone - Posterior Hook
Titanium
Large/Angled/Offset/Left/Right/N
$509.00

arrow/Wide/ThoracicLaminar/Lum

bar Laminar

Group 5b - Hook, Closed

Global Manufacturing Technology Pty Ltd
GM073
BacFix (Thoracolumbar System)
Hook - Titanium alloy
6.5 - 11mm
$745.00
GM095
Optimal Spinal System
Hooks - open & closed - pedical & laminar
Various
$775.00

Global Orthopaedic Technology
GO121
Incompass
Thoracolumbar Fixation System, Hooks
5.5mm
$720.00

Johnson & Johnson Medical Pty Ltd
DP464
Isola System (Titanium)
Closed Hooks
1/4" x 3/16" x 5-11mm
$820.00
DP471
Isola System (Stainless Steel)
Closed Hooks
1/4" & 3/16" x 5-11mm
$745.00
DY178
Monarch Spinal System
Hooks - Closed (Narrow Tapered / wide 
5 - 11 mm
$820.00

Blade)
DY507
Isola Paediatric System (Stainless Steel)
Side Tightening Hook - Opended/Closed
3/16" x 3.5mm - 11mm
$733.00

Medtronic Australasia Pty Ltd
MC724
Colorado Spinal System
Colorado 2 Hook, Pedicular hook - small and 
$820.00

large, Laminar hook - small, medium and 

large, Staple for pedicular hooks,

Closed laminar thoracic hook, Supra laminar 

median hook,

Narrow laminar - 1 size, Closed laminar - 1 size

Orthotech Pty Ltd
OH244
Synergy Spinal System
Infant Hooks
4.75mm
$772.00
$980.00
Prostheses List by Category, Groups and Sponsor
Page 191 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY013
CerviFix Posterior Cervical System
Hook
Small, Large, Left, Right
$600.00
SY039
Spinal Plate/Plate System AO/ASIF Spinal 
Spondylolysis hook screw (complete) small 
Screw 45 - 60mm
$586.00

Implants
& large

Taylor Bryant Pty Ltd
TB034
Advanced Spine - Titanium System
Varigrip Lower Hook Titanium (Zone 1, 2, 3)
Zone 1/2/3
$2,530.00
TB035
Advanced Spine - Titanium System
Varigrip Upper Hook Titanium (Zone 1, 2, 3)
Zone 1/2/3
$1,420.00
TB172
SL Upper Hook
Composition - Titanium
Zone 5
$3,980.00
TB173
SL Lower Hook
Composition - Titanium
Zone 5
$760.00

Zimmer Pty Ltd
ZI527
Optima Spinal Fixation System - Hooks
Titanium Alloy
Various
$1,017.00
$1,154.00
Group 6 - Fixation: Plate

Group 6a - Plate, Integral Fixation

B Braun Australia Pty Ltd
BB135
Aesculap Cervical System
Titanium, rigid
Medium 34 - 64mm length
$925.00
BB140
Aesculap Cervical System
Titanium, rigid
Large 67 - 103mm length
$1,271.00
BB153
Aesculap Cervical System
Titanium, rigid
Small 20 - 32mm Length
$797.00
BB167
MACS Stabilisation Plates
Titanium, rigid
Length 45 - 100mm
$1,100.00
BB248
PACH Plate
Titanium
28 & 32mm
$1,072.00

Global Manufacturing Technology Pty Ltd
GM026
Maxima/Optima Anterior Cervical Plate 
Anterior Cervical Plates
24mm to 108mm
$1,600.00

System
GM039
Prima OCT Spinal System
Occiput Plate
One size only
$2,250.00
$2,500.00
GM080
AcuFix
1 segment SlimLine plate - Anterior cervical 
20 - 34mm
$1,271.00
$1,550.00

plate system - Titanium
GM081
AcuFix
2 segment SlimLine plate - Anterior cervical 
34 - 54mm
$1,271.00
$1,550.00

plate system - Titanium
GM082
AcuFix
3 segment SlimLine plate - Anterior cervical 
47 - 71mm
$1,500.00

plate system - Titanium
GM083
AcuFix
4 segment SlimLine plate - Anterior cervical 
68 - 92mm
$1,500.00

plate system - Titanium
Prostheses List by Category, Groups and Sponsor
Page 192 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GM084
AcuFix
2 segment Corpectomy plate - Anterior 
34 - 54mm
$1,271.00
$1,550.00

cervical plate system - Titanium
GM085
AcuFix
3 segment Corpectomy plate - Anterior 
53 - 77mm
$1,500.00

cervical plate system - Titanium
GM086
AcuFix
4 segment Corpectomy plate - Anterior 
68 - 101mm
$1,600.00

cervical plate system - Titanium
GM098
AcuFix
2 segment SlimLine plate - Anterior cervical 
34 - 54mm
$1,305.00
$1,450.00

plate system - Titanium
GM099
AcuFix
3 segment SlimLine plate - Anterior cervical 
47 - 71mm
$1,503.00
$1,670.00

plate system - Titanium

Global Orthopaedic Technology
GO093
AcuFix
1 segment ThinLine plate
20 - 36mm
$1,271.00
$1,550.00
GO094
AcuFix
2 segment ThinLine plate
34 - 54mm
$1,271.00
$1,550.00
GO095
AcuFix
1 segment Ant-Cer dynamic plate
24 - 32mm
$1,271.00
$1,550.00
GO096
AcuFix
2 segment Ant-Cer dynamic plate
34 - 54mm
$1,271.00
$1,550.00
GO097
AcuFix
3 segment Ant-Cer dynamic plate
50 - 71mm
$1,500.00
GO098
AcuFix
4 segment Ant-Cer dynamic plate
68 - 96mm
$1,500.00
GO104
OctaFix
Occipital Cervical Plating System
Occipital Plate
$2,493.00
$2,770.00

Johnson & Johnson Medical Pty Ltd
DP251
DOC Ventral Stabilisation System
Doc Plate
1-3 Level
$1,100.00
DY066
Codman Anterior Cervical Plate System
Anterior Cervical Plate
24 - 48mm
$800.00
DY069
Codman Anterior Cervical Plate System
Anterior Cervical Plate
50 - 70mm
$1,271.00
$1,315.00
DY070
Codman Anterior Cervical Plate System
Anterior Cervical Plate
74 - 110mm
$1,500.00
DY297
Slim-loc Anterior Cervical Plate System
Plates - one level
22-37mm
$1,271.00
$1,301.50
DY298
Slim-loc Anterior Cervical Plate System
Plates - two level
39-53mm
$1,271.00
$1,732.61
DY299
Slim-loc Anterior Cervical Plate System
Plates - three level
54-78mm
$1,288.00
$1,992.70
DY447
Swift Spine System
Titanium Anterior Cervical Plate System - 
Level 1 size 15 - 29mm
$1,288.00
$2,327.00

Various size plates
DY448
Swift Spine System
Titanium Anterior Cervical Plate System - 
Level 2 size 30 - 42mm
$1,288.00
$2,372.00

various size plates
DY449
Swift Spine System
Titanium Anterior Cervical Plate System - 
Level 3 size 45 - 63mm
$1,500.00

various size plates
Prostheses List by Category, Groups and Sponsor
Page 193 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY450
Swift Spine System
Titanium Anterior Cervical Plate System - 
Level 4 size 60 - 100mm
$1,500.00

various size Plates
DY451
Swift Spine System
Titanium Anterior Cervical Plate System - 
46 - 102mm
$1,500.00

Corpectomy Plate

Medtronic Australasia Pty Ltd
MC293
Vertex Spinal System
Occipital Plate
24 - 40 mm length
$2,560.00
$2,750.00
MC346
Venture Anterior Cervical Plate
Single or multi level plate, titanium alloy and 
20mm - 50mm
$1,395.00
$1,500.00

Nitinol
MC418
Atlantis Anterior Cervical Plate
Plate
19.0mm -  47.5mm
$1,271.00
MC419
Atlantis Anterior Cervical Plate
Plate
50.0 - 60.0mm
$1,271.00
MC420
Atlantis Anterior Cervical Plate
Plate
62.5 -   77.5mm
$1,288.00
$1,400.00
MC421
Atlantis Anterior Cervical Plate
Plate
80.0 -   95.0mm
$1,600.00
MC422
Atlantis Anterior Cervical Plate
Plate
100.0 - 110.0mm
$1,600.00
MC463
Zephir
Anterior Cervical Plate
20-70mm
$1,271.00
MC510
Premier Anterior Cervical Plate System
Plates
23 - 90mm
$1,500.00
$1,814.00
MC610
Vantage
Vantage plates and Screws; Thoracic Plate
3.5 - 8cm
$2,205.00
$3,700.00
MC612
Vantage
Vantage Plates and Screws; ATL Plate
4 - 10cm
$2,851.00
$4,800.00
MC704
Venture Anterior Cervical Plate
Single or multi level plate, titanium alloy and 
111mm - 150mm
$1,600.00

Nitinol
MC705
Venture Anterior Cervical Plate
Single or multi level plate, titanium alloy and 
91mm - 110mm
$1,600.00
$2,000.00

Nitinol
MC706
Venture Anterior Cervical Plate
Single or multi level plate, titanium alloy and 
51mm - 90mm
$1,500.00
$2,100.00

Nitinol

Orthotech Pty Ltd
OH052
Interpore Bone Plate System
TPS Bone Plate
20 - 56cm
$2,790.00
$3,500.00
OH063
Anterior Cervical Plate System
Titanium Locking Plate
20 - 140mm
$2,040.00
$2,500.00
OH209
Altius Occipito-Cervico-Thoracic (OCT) 
TI Occipital Plate
35-45mm, 40-50mm, 45-55mm
$2,340.00
$2,800.00

System
OH240
Vuelock (Anterior Cervical Plate)
Vuelock (Anterior Cervical Plate)
Level 1-4, 12mm - 92mm
$1,100.00
$1,300.00
OH263
Intext Cervical Plate/Intext Screws
Intext cervical plate, including (2 - part) 
Plates - width 13mm, Height 4mm - 
$1,271.00
$1,400.00

fixation screws
9mm, width 17mm, height 4mm - 9mm
Prostheses List by Category, Groups and Sponsor
Page 194 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Scient'x Australia
SX008
Antelys
Plate
H: 19-23mm
$1,271.00
SX011
Stella
Anterior cervical plate - titanium
L: 21-121mm
$1,600.00

Stryker Australia Pty Ltd
ST917
Reflex Anterior Cervical Plate System
Titanium, locking
1 Level size, 12 - 22mm
$1,271.00
$1,350.00
ST918
Reflex Anterior Cervical Plate System
Titanium, locking
2 Level size, 24 - 46mm
$1,271.00
$1,350.00
ST919
Reflex Anterior Cervical Plate System
Titanium, locking
3 Level size, 39 - 69mm
$1,288.00
$1,500.00
ST920
Reflex Anterior Cervical Plate System
Titanium, locking
4 Level size, 60 - 84mm
$1,500.00

Synthes Australia Pty Ltd
SY134
Cervical Spine Locking Plate (CSLP) 
Plate - Special Manuf.
22 - 92mm Length
$850.00

System
SY139
USS II/Lotus Polyaxial
Anterior thoracolumbar plate - locking
40mm - 109mm
$2,851.00
$3,168.00
SY182
Cervical Spine Locking Plate (CSLP) 
VA Plate
Length 23 - 109mm
$2,272.00
$2,524.00

System
SY290
Anterior Tension Band
Plate
30mm to 110mm
$2,550.00
$2,833.00
SY301
TeleFix Spinal System
Rod/Plate construct
40mm to 140mm in length
$2,851.00
$3,168.00
SY338
Vectra T Anterior Spinal System
Titanium
14 to 110mm
$1,870.00
SY365
Cervical Spine Locking Plate (CSLP) 
VA Plate
Length 23 - 109mm
$2,282.00

System

Taylor Bryant Pty Ltd
TB192
Blackstone Medical Inc Anterior Cervical 
Titanium alloy plate
L3
$2,040.00

Plate System
TB193
Blackstone Top Locking Plate
Holds bone screws and anterior cervical 
One size only
$1,271.00

plate in place
TB361
Blackstome Medical Inc Anterior Cervical 
Titanium alloy plate
L1
$1,395.00

Plate System
TB362
Blackstome Medical Inc Anterior Cervical 
Titanium alloy plate
L2
$1,900.00

Plate System

Zimmer Pty Ltd
ZI518
Trinica Anterior Lumbar Plate
Lumbar Plate, Titanium
37-51mm lengths
$1,900.00
$3,100.00
ZI519
Trinica Anterior Lumbar Plate
Sacral Plate, Titanium
33-51mm lengths
$1,900.00
$3,100.00
Prostheses List by Category, Groups and Sponsor
Page 195 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 6b - Plate, No Integral Fixation

Johnson & Johnson Medical Pty Ltd
DP564
Peak Polyaxial Anterior Cervical Plate 
Anterior Cervical Plate
1 - 4 Segment
$1,740.00

System
DP828
Profile Anterior Thoracolumbar Plate System
Plates - Thoracolumbar
50 - 120mm
$2,925.00
DP829
Profile Anterior Thoracolumbar Plate System
Plates - High Thoracic
40 - 110mm 
$3,159.00
DY042
TiMX Low Back System
VSP Bone Plate
One/One & 1/2/Shortened/Double 
$1,740.00

Half/Triple Half Slot
DY044
TiMX Low Back System
VSP Bone Plate
Two/Two & 1/2/Three Slot
$1,859.00
DY174
Monarch Spinal System
Bone Plate
½ to 1½ or 2 - 3 or 3½
$1,833.00
DY332
Summit Cervical Rod System
Occipital Plates "Y" or "T"
31-45mm
$1,740.00
DY458
Uniplate ACP System
Titanium Anterior Cervical 1 Level Plate
13-22mm
$1,067.00
$2,200.00
DY480
Uniplate ACP System
Titanium Anterior Cervical 2 Level Plate
28-40mm
$1,740.00
$2,300.00

LSS Surgical Pty Limited
LS010
Anatomix Cervical Plate System
Titanium Anterior Cervical Plate System- 
Level 1 to 3,22mm to 82mm
$1,760.00
$2,700.00

Various Size Plates

Medtronic Australasia Pty Ltd
MC299
Centerpiece
TiMesh LP
Open Door (OD) Plate
$725.00
MC308
Centerpiece
TiMesh LP
Open Door Graft (GP) Plate
$725.00
MC309
Centerpiece
TiMesh LP
French Door (FD) Plate
$725.00
MC403
Colorado Spinal System
Colorado 2 Plate
Range length 20 - 60mm
$925.00
MC432
Colorado Spinal System
Sacral Plate 
Left/right
$1,271.00
$1,487.00
MC433
Colorado Spinal System
Ilio-Sacral Plate
Left/right
$1,271.00
$1,487.00
MC478
Axis Cervical Plating System
Plate
11mm
$850.00
MC479
Axis Cervical Plating System
Plate
13mm
$965.00
MC480
Axis Cervical Plating System
Plate
15mm
$1,067.00
MC481
Axis Cervical Plating System
Plate
Longer than 15mm
$1,190.00
MC484
Orion Anterior Cervical System
Convergent or Divergent Plates
21.5 - 47.5mm
$1,360.00
MC485
Orion Anterior Cervical System
Convergent or Divergent Plates
50 - 60mm
$1,480.00
Prostheses List by Category, Groups and Sponsor
Page 196 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC486
Orion Anterior Cervical System
Convergent or Divergent Plates
62.5 - 77.5mm
$1,600.00
MC487
Orion Anterior Cervical System
Convergent or Divergent Plates
80 - 95mm
$1,685.00
MC488
Orion Anterior Cervical System
Convergent or Divergent Plates
100 - 110mm
$1,760.00
MC600
Equation Spinal System
Plate
Length 40-200mm
$530.00
MC616
Atlantis System
Element Express Kit Includes Plate, 4 
Plate 23 - 45mm
$2,025.00
$2,968.00

Screws, Screwdriver Shaft, Screwdriver 

Handle
MC655
Xantus
Xantus Plate
40mm -100mm length in 4mm 
$2,675.00

increments
MC661
Pyramid
Pyramid Plate
17mm - 35mm
$2,025.00
$2,675.00
MC737
CD Horizon Engage Plate
Engage Plate
3.5-5.5cm
$1,430.00
MC738
CD Horizon Engage Plate
Engage Plate
6.0-7.5cm
$1,760.00
MC739
CD Horizon Engage Plate
Engage Plate
8.0-10cm
$1,760.00

Nuvasive Australia Pty Ltd
NV008
Gradient Cervical Plates
Titanium Anterior Plate
11 - 110mm
$1,450.00

Stryker Australia Pty Ltd
SK226
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
Occiput Plate; One level Plate; 
$1,585.00

Two level Plate; Multi level Plate

Synthes Australia Pty Ltd
SY136
Posterior Cervical Plate System
Plate
2 - 20 holes
$1,067.00
SY183
Posterior Cervical Plate System
Plate
22-33 holes
$1,840.00
SY296
Vectra Anterior Spinal System
Cervical Plate
10mm to 110mm
$1,740.00
SY335
Arch Fixation System
Pre contoured mini titanium plates
4 to 16mm
$1,030.00
SY380
Axon Occipital Fusion System
Occipital Plate Medial / Lateral, Pure titanium
50mm / 60mm width, 3 or 4 holes
$2,250.00

Taylor Bryant Pty Ltd
TB276
Blackstone - Posterior Cervical System
Occipital Anchor
31, 37, 45, 50mm
$925.00
TB363
Unity Lumbar Plate
Unity Plate
17-28mm
$1,700.00

TiMax Surgical Pty Ltd
TI068
CPS Bioabsorbable Fixation System
Anterior Cervical Plate System: PLCA/TMC 
19-60mm
$1,870.00

Copolymer
TI069
CPS Bioabsorbable Fixation System
Anterior Cervical Plate System: PLCA/TMC 
62.5-110mm
$1,870.00

Copolymer
Prostheses List by Category, Groups and Sponsor
Page 197 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI489
Trinica Select Anterior Cervical Plate
Titanium plate for anterior cervical spine. 
Plates for 1 or 2 levels are from 22 
$1,700.00

Used to assist spinal fusion.  Attached to 
to 52mm long in 2mm increments; 

the bone using screws.
Plates for 3 levels are from 51-

72mm long in 3mm increments
Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Austspine Pty Ltd
AJ003
Preference - II pedicle screw system
Fixation Rod for Preference-II Pedicle Screw 
Length 30mm-600mm, Diameter 6mm
$428.00
$750.00

Fixation System

B Braun Australia Pty Ltd
BB010
Spine System Evolution
Rod
Dia 5.2 and 6mm , length 40 - 
$305.00

500mm
BB062
Socon Spinal System
Socon Connecting Rods
Length 40mm-200mm, Dia 6mm
$395.00
BB063
Socon Spinal System
Socon Angled Rod
Length 45mm-80mm,Dia 6mm
$185.00
BB219
S4 Spinal System
S4 Straight Rod - Titanium
35mm - 60mm
$540.00
$600.00
BB220
S4 Spinal System
S4 Straight Rod - Titanium
70mm - 180mm
$540.00
$600.00
BB221
S4 Spinal System
S4 Straight Rod - Titanium
200mm - 500mm
$675.00
$750.00
BB222
S4 Spinal System
S4 Pre-bent Rod - Titanium
35mm - 55mm
$630.00
$700.00
BB223
S4 Spinal System
S4 Pre-bent Rod - Titanium
60mm - 100mm
$653.00
$725.00

Global Manufacturing Technology Pty Ltd
GM033
Optimal Spinal System
Rod
6 x 40 to 6 x 600mm
$428.00
$450.00
GM061
Maxima/Optima Anterior Cervical Plate 
Rod
30mm - 100mm
$428.00
$450.00

System
GM070
BacFix (Thoracolumbar System)
Spinal rod, rigid/flex - Titanium alloy
5.5 - 6mm x 50 - 125mm
$380.00
GM071
BacFix (Thoracolumbar System)
Spinal rod, rigid/flex - Titanium alloy
5.5 - 6mm x 300 - 600mm
$504.00
$560.00
GM075
BacFix (Thoracolumbar System)
SpeedLink fixed distance rod - Titanium 
5.5 - 6mm x 15 - 35mm
$428.00
$1,450.00

Johnson & Johnson Medical Pty Ltd
DP315
Moss Miami (Stainless Steel)
Pre-Cut Rod
5mm x 30 - 90mm
$576.00
DP394
Moss Miami (Titanium)
Pre-Cut Rod
5.5mm x 30 - 90mm
$549.00
DP400
Moss Miami (Titanium)
Rod - Standard
5.5mm x 12 - 48cm
$648.00
Prostheses List by Category, Groups and Sponsor
Page 198 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP452
Kaneda SR (Smooth Rod)  Anterior  (TI)
Pre Cut Rod
1/4" x 45 - 150mm
$346.00
DP461
Isola System (Titanium)
Spinal Rod
1/4" & 3/16" x 18" & 24"
$379.00
DP476
Isola System (Stainless Steel)
Eye Rod
1/4" & 3/16" x 18" - 24"
$936.00
DP477
Isola System (Stainless Steel)
Spinal Rod Standard
1/4" & 3/16" x 18" & 24"
$352.00
DP488
Isola Paediatric System (Stainless Steel)
Pre-Bent Rod
3/16 "
$509.00
DP846
Moss Miami 4mm Anterior System (SS)
Rods
4.0mm x 30 - 48cm
$725.00
DY182
Monarch Spinal System
Rods
6.35 & 5.5mm x 450mm
$355.00
DY310
Frontier Anterior Scoliosis System 
Spinal Rod
4.75 x 200-450mm
$828.00

(Titanium)
DY313
Monarch Spinal System
Rods - Pre Cut/Lordosed
6.35 & 5.5mm x 45 - 95mm
$355.00
DY318
Isola System (Stainless Steel)
Pre-Cut Rod
3/16" x 35 - 90mm
$355.00
DY334
Summit Cervical Rod System
Transition Rod
3.0/4.0/3.0mm
$540.00
DY335
Summit Cervical Rod System
Dual Diameter Rod
3x150mm/4.75 - 5.5mm x 270mm
$540.00
$614.40
DY343
Summit Cervical Rod System
Rod
3mm x 70-200mm
$355.00
DY348
RECO Spinal System
Rod
4 or 6mm dia x 70-130mm
$240.00
DY349
RECO Spinal System
Rod
4 or 6mm dia x 480mm Length
$428.00
DY435
Expedium Spine System
Rod
4.5 - 6.35mm Diameter x 12 - 48cm
$621.00
DY436
Expedium Spine System
Rod - Pre - lordosed
5.5 - 6.35mm diameter x 35-95mm
$355.00
JJ596
Mountaineer OCT Spinal System
CT Dual Diameter Rod
3.5 - 4.75mm x 420 - 600 mm, 3.5 - 
$428.00
$614.00

5.5mm x 420 - 600mm, 3.5 - 6.35mm x

 420 - 600mm
JJ597
Mountaineer OCT Spinal System
CT Rod
3.5mm x 60 - 200mm
$337.00

LSS Surgical Pty Limited
LS004
Solas Spinal System
Rod
40 - 400mm
$428.00
$430.00

Medtronic Australasia Pty Ltd
MC382
Colorado Spinal System
Colorado 2 Rod
5.0mm and 5.5mm, length range 50 
$428.00

- 600mm
MC396
TSRH Spinal Implant System
3D - Rod
Diam 4.75 - 6.35mm, Length 25mm -
$428.00

 80cm
MC404
CD Horizon
Rod
40mm to 600mm
$428.00
MC440
CD Horizon
Eclipse:  4.5mm Rod
40 - 600mm
$428.00
Prostheses List by Category, Groups and Sponsor
Page 199 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC497
Tenor
Rod (5.5mm) - Titanium 
40-180mm
$405.00
MC544
Vertex Spinal System
Rod
80 - 240mm
$450.00
$520.00
MC587
CD Horizon Spinal System
Percutaneous Rod
5.5 x 25mm to 5.5 x 350mm
$834.00
$900.00
MC599
Equation Spinal System
Rod
Length 50-300mm
$428.00

Nuvasive Australia Pty Ltd
NV018
System: SpheRX. Component: Rods - 
Rods - Dual/Pre Bent Ball
17.5 - 500mm
$428.00

Dual/Pre Bent Ball

Orthotech Pty Ltd
OH033
Synergy Spinal System
Rods
5cm - 14cm
$428.00
$650.00
OH034
Synergy Spinal System
Rods
30 - 60cm
$606.00
$850.00
OH187
OMEGA 21 Spine Fixation System
Rods, Titanium
40mm, 60mm, 80mm
$787.00
$900.00
OH194
Array Spinal System
Titanium Alloy Modular Spinal System - 
5.5mm x 510mm
$630.00
$900.00

Alloy rod
OH195
Array Spinal System
Titanium Alloy Modular Spinal System - Pre-
5.5mm x 30 - 100mm
$540.00
$850.00

Bent Rod
OH318
Java screw system
Precontoured rod
Rod length 30/40/50/60/70/80/90/100
$428.00
$735.00
OH321
Java screw system
Straight rods
Rod length 30/40/50/60/70/80/90/100
$428.00
$750.00

Scient'x Australia
SX003
Isobar TTL
Rod
L: 45-450mm
$428.00

Stryker Australia Pty Ltd
HW389
XIA Spine System
Rod - Titanium alloy, Stainless Steel
30 - 600mm
$626.00
$712.00
SK093
Xia Spine System
Rod
4.5 - 6mm x 40mm -130mm
$428.00
$750.00
SK224
Oasys-Occipito Cervico Thoracic System
Ti-6A1-4V
3.5mm Rod (Length 80mm); 3.5mm 
$442.00
$491.00

Rod (Length 120mm); 3.5mm Rod 

(Length 240mm)
SK311
Spiral Radius 90D
Non Hex Rods; Spinal Rod with Hex; Spinal 
Diameter 5.5mm Length 40-120mm; 
$358.00

Rod with Sacral Eye - Titanium
Diameter 5.5mm Length 50-600mm; 

Diameter 5.5mm Length 200-400mm
ST695
Dimso/Stryker Implants Diapason
Rods titanium
40-210mm
$428.00
Prostheses List by Category, Groups and Sponsor
Page 200 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Surgical House
SU002
Rod 3.5mm CVD
Titanium alloy; component of the Olerud 
120mm
$428.00

Cervical System
SU003
Rod 3.5mm CVD
Titanium alloy; component of the Olerud 
40mm
$428.00

Cervical System
SU004
Rod 3.5mm CVD
Titanium alloy; component of the Olerud 
80mm
$428.00

Cervical System
SU083
Rod straight 40mm
Hook/screw & rod Spinal system component
3.5mm diam
$428.00
SU084
Rod straight 80mm
Hook/screw & rod spinal system component
3.5mm diam
$428.00
SU085
Rod straight 120mm
Hook/screw & rod spinal system component
3.5mm diam
$428.00
SU089
Occiput rod 120mm
Hook/screw & rod spinal system component
3.5mm diam
$2,599.00

Synthes Australia Pty Ltd
SY014
CerviFix Posterior Cervical System
Rod: Occiput, Straight, Tapered
120 - 250mm length
$1,296.00
$1,440.00
SY143
Universal Spine System (USS)
Rods
Length 40 - 500mm
$810.00
$900.00
SY366
Axon Spinal System
transverse bar
one size only
$514.00

Taylor Bryant Pty Ltd
TB032
Advanced Spine - Titanium System
Support Rod 
5mm x12.0", 18.0", 22.0"
$428.00
TB033
Advanced Spine - Titanium System
Aluminium Master Rod 
12", 22"
$42.00
TB110
Support Rod
8inch Rod-Titanium
8 inch - Titanium
$210.00
TB241
Spinal Fixation System
Rod - Titanium
40mm to 100mm in 10mm increments
$285.00
TB242
Spinal Fixation System
Rod - Titanium
110 to 450mm (110, 120, 140, 160, 
$341.00

180, 200, 450mm)
TB277
Blackstone - Posterior Cervical System
Occipital Rod
One size only
$341.00
TB279
Blackstone - Posterior Cervical System
Rods - Titanium
3.0mmx70, 120, 200mm
$315.00
TB360
Spinal Fixation System
Pre Lordosed Rods
40mm to 100mm in 10mm increments
$319.00

Zimmer Pty Ltd
ZI481
Silhouette Spinal System Implants
Rod
5.5 dia x 10cm, 20cm and 47cm 
$428.00

length
Prostheses List by Category, Groups and Sponsor
Page 201 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Complex

Medtronic Australasia Pty Ltd
MC505
Orfil
L-Shaped Rods
5-510mm
$428.00

Suffix: Complex

Johnson & Johnson Medical Pty Ltd
DP485
Isola System (Stainless Steel)
Dual Diameter Rod
3/16" to 1/4" x 18 - 24"
$430.00

Group 7b - Rod, Telescoping

Global Manufacturing Technology Pty Ltd
GM076
BacFix (Thoracolumbar System)
SpeedLink adjustable length rod - Titanium 
5.5 - 6mm x 39.5 - 75mm
$1,345.00
$1,670.00

alloy

Orthotech Pty Ltd
OH058
Synergy Spinal System
Growth Rod
30 - 60cm
$1,345.00
$1,600.00

Group 7c - Rod, Threaded

Medtronic Australasia Pty Ltd
MC295
Vertex Spinal System
Pre - curved rod
150 - 300 mm length
$710.00

Orthotech Pty Ltd
OH311
Cosmic implant system
Cosmic Rod (40,50,60,70,80mm) - titanium
diameter - 6.25mm, length - 40mm
$697.00
$780.00

diameter - 6.25mm, length - 50mm

diameter - 6.25mm, length - 60mm

diameter - 6.25mm, length - 70mm

diameter - 6.25mm, length - 80mm
OH312
Cosmic implant system
Cosmic Rod (100, 120, 200mm)- titanium
diameter - 6.25mm, length - 100mm
$697.00
$780.00

diameter - 6.25mm, length - 120mm

diameter - 6.25mm, length - 200mm

Surgical House
SU074
Olerud spinal system: Threaded rod 
Hook/screw & rod spinal system component
35mm - 180mm x 7mm
$520.00
Prostheses List by Category, Groups and Sponsor
Page 202 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 7d - Rod, Dual Unit

Johnson & Johnson Medical Pty Ltd
DP494
Isola System (Stainless Steel)
Spinal Rod Hex Ends - Easy/Premium
1/4" x 18"
$635.00
DP505
Anterior Isola System (SS)
Rod with Hex End
1/4" x 18"
$333.00
DY105
Isola System (Titanium)
Eye Rod
1/4" x 18"
$1,100.00

Medtronic Australasia Pty Ltd
MC537
Danek Unit Rod System
Scoliosis Rods
Widths 3/16", 5.5mm or 6.35mm; 
$1,457.00

lengths 25 x 45cm
MC707
Danek Unit Rod System
Scoliosis S-Rods
Widths 5.5 - 6.35mm; left and right
$1,457.00

Orthotech Pty Ltd
OH264
Hartshill: Ransford
Occipito-cervical - Titanium loop
100 degree 9mm - 20mm
$1,800.00
$2,900.00
OH265
Hartshill: Ransford
Extra long cross linked - titanium loop
100 degree 45cm x 15mm
$2,250.00
$2,900.00
OH266
Hartshill Rectangle
Stainless steel posterior lumbar fusion system
5mm diam 3-5cm length
$907.00
$1,100.00
OH267
Hartshill Rectangle
Stainless steel posterior lumbar fusion system
5mm diam 6 - 8cm length
$1,100.00
$1,300.00
OH268
Hartshill Rectangle
Stainless steel posterior lumbar fusion system
5mm diam 9 - 11cm length
$1,400.00
$1,600.00
OH269
Hartshill Rectangle
Stainless steel posterior lumbar fusion system
5mm diam 12 - 14cm length
$1,457.00
$1,700.00
OH270
Hartshill Rectangle
Stainless steel posterior 
6mm diam 15 - 19cm length
$1,710.00
$2,100.00

thoracic/thoracolumbar fusion system
OH271
Hartshill Rectangle
Stainless steel posterior 
6mm diam 20 - 24cm length
$2,025.00
$2,900.00

thoracic/thoracolumbar fusion system
OH272
Hartshill Rectangle
Stainless steel posterior 
6mm diam 25 - 30cm length
$2,385.00
$2,900.00

thoracic/thoracolumbar fusion system
OH273
Hartshill Rectangle
Stainless steel posterior 
6mm diam 31 - 36cm length
$2,610.00
$3,000.00

thoracic/thoracolumbar fusion system
OH274
Hartshill Rectangle
Stainless steel posterior 
6mm diam 37 - 44cm length
$2,970.00
$3,500.00

thoracic/thoracolumbar fusion system

Surgical House
SU086
U-Rod 40mm
Hook/screw & rod spinal system component
3.5mm diam
$1,457.00
SU087
U-Rod 80mm
Hook/screw & rod spinal system component
3.5mm diam
$1,457.00
SU088
U-Rod 120mm
Hook/screw & rod spinal system component
3.5mm diam
$1,457.00
Prostheses List by Category, Groups and Sponsor
Page 203 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY384
Speciality Rods
Unit Rod, Titanium / Stainless Steel
5mm, 6mm diameter
$1,457.00

250mm - 500mm length
SY385
Speciality Rods
Scoliosis / J/S Rod, Precontoured, Titanium /
5mm, 6mm diameter. Left / Right
$1,123.00

 Stainless Steel
50mm - 500mm length
Group 8 - Fixation: Plate-Rod

Group 8 - Plate-Rod

Medtronic Australasia Pty Ltd
MC509
CD Occipital-Cervical  Loop
CD Occipital-Cervical  Loop
One size only
$3,020.00
MC543
Vertex Spinal System
Plate/rod
80 - 240mm
$3,020.00

Stryker Australia Pty Ltd
SR038
Techtonix
Plate, titanium
22mm-58mm
$1,858.00

Synthes Australia Pty Ltd
SY184
Posterior Cervical Plate System
Plate - rod
Special Manufacture - One size only
$3,579.00
Group 9 - Fixation: Washer/Staple

Global Manufacturing Technology Pty Ltd
GM067
BacFix (Thoracolumbar System)
Anterior washer - Titanium alloy
Small, standard
$268.00

Johnson & Johnson Medical Pty Ltd
DP416
Moss Miami (Titanium)
Washers - Slotted / Angled
One Size Only
$408.00
DP502
Anterior Isola System (SS)
Single Hole Washer and Staples
16-22mm
$357.00
DP581
Kaneda Anterior Scoliosis System  S/S
Staple Single or Double Hole
Small - Large
$686.00
DY057
TiMX Low Back System
Washers - Standard / Tapered
3mm & 4.5mm
$82.00
DY176
Monarch Spinal System
Washers and Set Screws
One size only
$85.00
DY327
Frontier Anterior Scoliosis System
Staple/Washer
One size only
$686.00

Medtronic Australasia Pty Ltd
MC614
Vantage
Vantage Plates and Screws; Staple 
One Size Only
$1,001.00
$1,112.00

(rostral/caudal)
Prostheses List by Category, Groups and Sponsor
Page 204 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Nuvasive Australia Pty Ltd
NV006
Triad Facet Screw
Washer
One size
$300.00

Stryker Australia Pty Ltd
SK242
Xia Spinal System
Titanium or Stainless Steel
Single Hole Staple; Dual Hole 
$408.00
$420.00

Staples (Caudal/Rostral) - Small, 

Medium, Large

Group 9 - Washer / Staple

Johnson & Johnson Medical Pty Ltd
DY456
Expedium Spine System
Washers
Various
$408.00

Medtronic Australasia Pty Ltd
MC395
TSRH Spinal Implant System
3D -Staple, Two hole - left, right
Two pronged 16 - 36mm
$408.00
MC405
TSRH Spinal Implant System
3D - Washer
One size only
$408.00
MC412
Cornerstone SRC Cage
Staple, Carbon composite
$408.00
MC430
Dynalok
Washer / Stabiliser
One size only
$246.00
MC431
Colorado Spinal System
Staple
One size only
$408.00
MC437
CD-Horizon
Staples
One size only
$408.00
MC491
TSRH Titanium Spinal Implant System:
Washer
One size only
$48.00
MC592
CD Horizon System
SMA Staple
Length 4-10mm
$1,237.00
$1,374.00
MC593
CD Horizon System
SMA Staple
Length 12-18mm
$1,595.00
$1,772.00
MC672
Engage
Washer
6.35mm
$246.00

Orthotech Pty Ltd
OH046
Synergy Spinal System
Washers Single/Double
16mm - 21mm
$936.00
$1,100.00
OH184
Spinelink Spinal Fixation System
Space Washer, Titanium
One size only
$408.00
$550.00

Synthes Australia Pty Ltd
SY150
Universal Spine System (USS)
Washers
Pointed, Flat, 4.2 - 7mm
$408.00

Taylor Bryant Pty Ltd
TB030
Advanced Spine - Titanium System
C-Spacer (various lengths) Titanium
5/0mm x 5/0mm to 7/5mm x 6/0mm
$117.00
TB267
Blackstone - Fixed System Washer
Titanium
One Size Only
$83.00
TB268
Blackstone - Washer
Titanium
2/4/6mm
$80.00
TB271
Blackstone - Staple
Titanium
2/4/6mm
$150.00
Prostheses List by Category, Groups and Sponsor
Page 205 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Guides, Other

Global Scientific Pty Ltd
GS194
Electa right angle guide
Silicone
One Size Only
$200.00
Incision and Drainage Kits

Global Scientific Pty Ltd
GS207
Ventricular Catheter
Silicone, with and without right angle 
3-15cm, finned, straight and right 
$310.00

connectors
angle

Medtronic Australasia Pty Ltd
MC735
Rivulet
Ventricular Catheter
15cm - 23cm
$310.00
Infusion Pumps

Medtronic Australasia Pty Ltd
MC313
Synchro Med II Pump
Model No's 8637-20 & 8637-40, Composition 
20 ml & 40 ml
$16,250.00

- Titanium
Infusion Pumps, Implantable

Medtronic Australasia Pty Ltd
MC061
Medtronic IsoMed Drug Infusion Pump.
Models 8472-20-03, 8472-20-05, 8472-20-10, 
20ml, 35ml
$9,300.00

8472-20-15. Models 8472-35-05, 8472-35-10, 

8472-035-15.  Titanium
MC063
Medtronic IsoMed Drug Infusion Pump
Models 8472-60-10, 8472-60-20,  8472-60-05, 
60 ml
$9,750.00

8472-60-25,  8472-60-30, l 8472-60-35, 8472-

60-15, l 8472-60-40 titanium
Prostheses List by Category, Groups and Sponsor
Page 206 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Intrathecal Catheter Proximal Revision Kit

Medtronic Australasia Pty Ltd
MC718
Intrathecal Catheter
Distal Revision Kit Model 8598 Radiopaque 
Length 38.1cm
$500.00

silicone rubber
Intrathecal Catheter Proximal Revision Kit - Unclassified

Medtronic Australasia Pty Ltd
MC717
Intrathecal Catheter
Proximal Revision Kit Model 8596 
Length 66.0cm
$500.00

Radiopaque silicone rubber
leads

Medtronic Australasia Pty Ltd
MC305
Low Profile Impedance Extension Kit for 
Silicone Rubber
25, 40, 51, 66, 95cm
$1,510.00
$2,100.00

DBS Model 7482
MC350
Low Profile Impedance Extension Kit for 
Silicone Rubber
25, 40, 51, 66, 95cm
$3,400.00

DBS Model 7482
MC361
2X4 Hinged Surgical Lead model 3999
Materials: silicone rubber, platinum-iridium, 
30, 45 & 60cm
$4,305.00

polyurethane
MC369
Pisces Z Quad Compact Lead Model 3891
Material - Polyurethane (lead body), 
Lead length: 25-56cm; Electrode 
$3,400.00

platinum-iridium (electrodes)
length: 3mm; Electrode spacing: 

4mm
Leads, Dorsal Column, Implantable

Medtronic Australasia Pty Ltd
MC102
Medtronic Single Octad Lead Kit
Model 3898. Materials -Silicone Rubber, 
33cm
$4,230.00
When used in pain therapy - to be 

Platinum/Iridium
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Prostheses List by Category, Groups and Sponsor
Page 207 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC104
Medtronic Pisces Quad Leads
Medtronic Pisces Quad Lead Model 3487A, 
28 - 56cm
$3,400.00
When used in pain therapy - to be 

3487A-56; Pisces Quad Compact Lead 
funded when the patient has 

Model 3887; Pisces Quad Plus Lead Model 
undergone a multi-disciplinary 

3888; Resume II Lead Model 3587A, Resume
assessment and trial of stimulation.

 TL Lead Model 3986A; On Point In Line 

Model 3987A. Materials - silicone rubber, 

platinum/iridium. Model 3887 - quadripolar 

percutaneous lead with 4 closely spaced 

electrodes at the distal end design for 

delivering stimulation.
MC135
Medtronic Australasia, Specify Lead 
DCI - Leads: Specify Lead Model 3998. (dual
18cm x 1
$4,150.00
When used in pain therapy - to be 

Model 3998, Active Implantable 
 lead) Materials - Silicone Rubber, 
funded when the patient has 

Stimulators & Ancillary Equipment
Platinum/Iridium
undergone a multi-disciplinary 

assessment and trial of stimulation.
Mesh

Johnson & Johnson Medical Pty Ltd
JJ265
ETHISORB Dura Patch
Synthetic Dura substitute, Vicryl fleece, PDS
4 x 6cm
$133.00

 foil, replaces natural dura post craniotomy, 

3 units
JJ266
ETHISORB Dura Patch
Synthetic Dura substitute, Vicryl fleece, PDS
6 x 14cm
$212.00

 foil, replaces natural dura post craniotomy, 

1 unit
JJ267
ETHISORB Dura Patch
Synthetic Dura substitute, Vicryl fleece, PDS
2 x 3cm
$62.44

 foil, replaces natural dura post craniotomy, 

1 unit
JJ268
ETHISORB Dura Patch
Synthetic Dura substitute, Vicryl fleece, PDS
2 x 3cm
$50.54

 foil, replaces natural dura post craniotomy, 

6 units
JJ269
ETHISORB Dura Patch
Synthetic Dura substitute, Vicryl fleece, PDS
4 x 6cm
$145.00

 foil, replaces natural dura post craniotomy, 

1 unit
Prostheses List by Category, Groups and Sponsor
Page 208 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Mesh, Metallic

Johnson & Johnson Medical Pty Ltd
JJ255
BIOPLATE Biomesh
Titanium, lattice, 48 hole, packaged non-
32 x 44mm
$670.00

sterile
JJ256
BIOPLATE Biomesh
Titanium cranial biomesh, packaged non-
0.4mm thickness, 60 x 60mm
$782.00

sterile
JJ257
BIOPLATE Biomesh
Titanium cranial biomesh, packaged non-
0.4mm thickness, 85 x 90mm
$915.00

sterile
JJ258
BIOPLATE Biomesh
Titanium cranial biomesh, packaged non-
65 x 65mm, 90 x 92mm
$915.00

sterile
JJ259
BIOPLATE Biomesh
Titanium cranial biomesh, packaged non-
0.4mm and 0.6mm thickness
$1,620.00

sterile
JJ260
BIOPLATE Biomesh
Titanium cranial biomesh 3ME, packaged 
20 x 20cm
$3,455.00

non-sterile
JJ441
Titanium Mesh
Titanium Mesh Sterile
15cm x 15cm
$420.00
Mesh, Polyglycolic Acid

Biomet Australia Pty Ltd
BI883
RapidFLAP LS
Cranial Flap Fixation.  Includes pre-attached 
One size only
$185.00

applier. PGA/PLA
Orthopaedic Internal Fixation Systems, Other

Biomet Australia Pty Ltd
BI716
W Lorenz Osteosynthesis System
Pre-Contoured Neuro Mesh; Titanium
(80,85) x 53mm x (0.3,0.6)mm
$1,315.00
BI717
W Lorenz Osteosynthesis System
Neuro Gap Plate, Titanium
1.5mm system, large
$203.00
BI718
W Lorenz Osteosynthesis System
Neuro Gap Plate, Titanium
1.5mm system, small
$140.00
BI719
W Lorenz Osteosynthesis System
Neuro Sub-Temporal Plate, Titanium
1.5mm system, large
$410.00
BI720
W.Lorenz Osteosynthesis System
Neuro Gap Plate; titanium
1.5 mm system, Medium
$170.00
Prostheses List by Category, Groups and Sponsor
Page 209 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI721
W Lorenz Osteosynthesis System
Plate, Burr Hole, 1.5mm System, Titanium
22mm, 25mm
$225.00
BI722
W.Lorenz Osteosythesis System
Pre-contoured Neuro Mesh, titanium
152 x 108 x (0.3, 0.6)mm
$2,370.00
BI728
W.Lorenz Osteosynthesis System
Neuro Square Plate, titanium
1.5mm system, 4 hole
$125.00
BI729
W.Lorenz Osteosynthesis System
Neuro Rectangle Plate, titanium
1.5mm system, 4 hole
$140.00
BI773
W Lorenz Osteosynthesis System
Neuro sub-temporal plate, 1.5 system, titanium
Small
$283.00
BI785
W Lorenz Osteosynthesis
Mesh 1.5mm system, pre-contoured, 
40 x 40 x 0.6mm profile
$588.00

Zimmer Pty Ltd
ZI476
Silhouette Spinal System Implants
Fixed Screw with Tab Extensions
5.5 x 25mm to 8.5 x 60mm
$710.00
Plates, Bone

Advanced Surgical Design & Manufacture Ltd
AE053
ASDM Bone Plates
Custom Skull Mesh Plate, Titanium
One size only
$8,500.00
AE054
ASDM Bone Plates
Titanium 1.0mm MF Bone Plate
Small, Single square plate 2x2 
$178.00

holes, T-shape, 90 deg, 5 holes
AE055
ASDM Bone Plates
Titanium 1.0mm MF Bone Plate
Medium, Double square plate, 3x2 
$225.00

holes; Double Y-shape, 6 or 7 

holes; Y-shape, 6 hole; Double T-

shape, 9 hole;T-shape, 90 deg, 7 

holes;L-shape, right or left, 5 

hole;Straight Plate, 8 hole
AE056
ASDM Bone Plates
Titanium 1.0mm MF Bone Plate
Large, Triple square plate, 4x2 
$367.00

holes;Curved plate, 8 hole;Straight

 plate, 24 hole;L-shape plate, right 

or left, 8 holes
AE057
ASDM Bone Plates
Titanium 1.7mm MF Bone Plate, Titanium
Small, Straight plate, 6-8mm, 4 
$153.00

hole;L-Shape, right or left, 6mm, 4 

hole;Curved plate, 6mm, 4 hole
Prostheses List by Category, Groups and Sponsor
Page 210 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AE058
ASDM Bone Plates
Tiranium 1.7mm MF Bone Plate, Titanium
Medium, L-Shape, right or left, 
$225.00

8mm, 4 hole;Y-Shape, 8mm, 5 

hole;T-Shape, 10mm, 5 hole;L-

shape, right or left, 10-12mm, 4-5 

holes;Straight Plate, 8 hole;Double

 Y-Shape, 6-7 holes;Curved plate, 

6-8 holes;Single square plate, 2x2 

holes
AE059
ASDM Bone Plates
Titanium 1.7mm MF Bone Plate, Titanium
Large, Triple square plate, 4x2 
$459.00

holes;Straight plate, 16 hole
AE060
ASDM Bone Plates
Titanium 2.0mm MF Bone Plate, Titanium
Small, Straight plate, 9-13mm, 4 
$102.00

holes;Staright plate, 4 holes;L-

shape, right or left, 4 holes
AE061
ASDM Bone Plates
Titanium 2.0mm MF Bone Plate, Titanium
Medium, Y-Shape, 8 hole;Double 
$158.00
$204.00

Y-Shape, 6 hole;L-Shape, right or 

left, 5 holes;L-Shape, right or left, 

9-13mm, 4 holes;Straight Plate, 6 

hole;Curved plate, 6 hole
AE062
ASDM Bone Plates
Titanium 2.0mm MF Bone Plate, Titanium
Large, Double square plate, 3x2 
$204.00

holes;Curved plate, 10 

hole;Straight plate, 16 hole;L-

shape plate, right or left, 9 holes
AE063
ASDM Bone Plates
Titanium 2.2mm MF Bone Plate, Titanium
Small, Straight plate, 8-14mm, 4 
$153.00

holes;Curved plate, 11mm, 4 holes
AE064
ASDM Bone Plates
Titanium 2.2mm MF Bone Plate, Titanium
Medium, Straight plate, 8-14mm, 6 
$204.00

holes
AE065
ASDM Bone Plates
Titanium 2.2mm MF Bone Plate, Titanium
Large, Straight plate, 11mm, 8 
$255.00

holes;Straight plate, 14 

holes;Angled plate, 6 holes

Johnson & Johnson Medical Pty Ltd
JJ270
BIOPLATE Bone plate
Titanium straight plate, 2 hole, 5 per pack, 
12mm in length
$43.00

packaged non-sterile
JJ271
BIOPLATE Bone plate
Titanium Y plate, 5 hole, packaged non-sterile
19mm
$157.00
JJ272
BIOPLATE Bone plate
Titanium T-plate, 5 hole, packaged non-sterile
16mm
$165.00
JJ273
BIOPLATE Bone plate
Titanium boxcar plate, 6 hole, packaged non-
9 x 18mm
$231.00

sterile
JJ274
BIOPLATE Bone plate
Titanium boxcar plate, 8 hole, packaged non-
11 x 25mm
$287.00

sterile
Prostheses List by Category, Groups and Sponsor
Page 211 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ275
BIOPLATE Bone plate
Titanium cranial straight plate, 2 hole, 
1.9mm
$47.00

packaged non-sterile
JJ276
BIOPLATE Bone plate
Titanium curved plate, 8 hole, packaged 
30mm
$151.00

non-sterile
JJ277
BIOPLATE Bone plate
Titanium straight plate, 2 hole, packaged 
11mm in length
$46.00

non-sterile
JJ278
BIOPLATE Bone plate
Titanium cranial straight plate, 16 hole, 
1.5mm and 1.9mm
$280.00

packaged non-sterile
JJ279
BIOPLATE Bone plate
Titanium cranial compression plate, 2 hole, 3 
1.5mm and 1.9mm
$45.00

per pack, packaged non-sterile
JJ280
BIOPLATE Bone plate
Titanium large boxcar plate, 4 hole, packaged
14 x 14mm
$157.00

 non-sterile
JJ281
BIOPLATE Bone plate
Titanium BIO100, 2 hole plate, 5 per pack, 
1.5mm
$26.00

packaged non-sterile
JJ282
BIOPLATE Bone plate
Titanium straight plate, 2 hole, 3 per pack, 
14mm in length
$41.00

packaged non-sterile
JJ283
BIOPLATE Bone plate
Titanium straight plate, 2 hole, packaged 
14mm in length
$47.00

non-sterile
JJ535
BIOPLATE Low Profile
Low Profile 2-hole Straight Plate
11mm
$43.00
JJ536
BIOPLATE Low Profile
Low Profile 2-hole Straight Plate
14mm
$45.00
JJ537
BIOPLATE Low Profile
Low Profile 4-hole Straight Plate
19mm
$107.00
JJ538
BIOPLATE Low Profile
Low Profile 5-hole Y Plate
18mm
$156.00
JJ539
BIOPLATE Low Profile
Low Profile 6-hole X Plate
17mm
$255.00
JJ540
BIOPLATE Low Profile
Low Profile 5-hole T Plate
15mm
$170.00
JJ541
BIOPLATE Low Profile
Low Profile 4-hole Boxcar Plate
10 x 10mm
$195.00
JJ542
BIOPLATE Low Profile
Low Profile 6-hole Narrow Boxcar Plate
8 x 17mm
$231.00
JJ543
BIOPLATE Low Profile
Low Profile 8-hole Boxcar Plate
10 x 24mm
$281.00
JJ544
BIOPLATE Low Profile
Low Profile Flex Contoured Burr Hole Cover
18mm
$182.00
JJ545
BIOPLATE Low Profile
Low Profile Flex Contoured Burr Hole Cover
12mm
$178.00
JJ546
BIOPLATE Low Profile
Low Profile Burr Hole Cover
18mm
$195.00
JJ547
BIOPLATE Low Profile
Low Profile Burr Hole Cover
12mm
$169.00
Prostheses List by Category, Groups and Sponsor
Page 212 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Plates, Cranioplasty

Biomet Australia Pty Ltd
BI714
RapidFlap Cranial Clamp
Clamp, Burr Hole or Craniotomy Line, 
12, 16, 20mm
$108.00

Titanium
Plugs

Medtronic Australasia Pty Ltd
MC086
Accessory Kits - Stimulator; EZ Anchor; 
3550-09 - Synergy accessory kit OR 3550-01 -
One size only
$168.00
When used in pain therapy - to be 

Tunnelling Rod; Percutaneous Lead 
 Boots & anchors OR 3550-02 - Wrenches & 
funded when the patient has 

Introducer; SCS & PNS Model 3550-24; 
screws OR 3550-03, 3550-0SCO - Screening 
undergone a multi-disciplinary 

DBS Model 3550-25;
cable OR 3550-04 - Epidural needle OR 3550-
assessment and trial of stimulation.

05 - Percutaneous extension OR 3550-06 - 

Tunnelling tools; 3550-16 - Silicone rubber 

anchors; 3555 - Tunneling Rod; 3550-12 - 

Coil guide wire & Introducer sheaths; 

Silcone rubber;
MC731
Titan Anchor
Silicone with titanium insert
One size only
$168.00
Port/catheter, internal, subcutaneous

Medtronic Australasia Pty Ltd
MC741
Indura Intrathecal Catheter
Sutureless pump connector, Silicone, 
One size only
$820.00
$1,100.00

Titanium and Nylon
Prostheses, Meningeal

B Braun Australia Pty Ltd
BB015
Neuro-Patch
Polyesterurethane
12 x 14cm
$655.00
BB113
Neuropatch Dura Substitute
Polyurethane
6 x 14cm
$352.00
BB114
Neuropatch Dura Substitute
Polyurethane
6 x 8cm
$291.00
Prostheses List by Category, Groups and Sponsor
Page 213 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB115
Neuropatch Dura Substitute
Polyurethane
4 x 10cm
$257.00
BB116
Neuropatch Dura Substitute
Polyurethane
4 x 5cm
$240.00
BB117
Neuropatch Dura Substitute
Polyurethane
2 x 10cm
$254.00
BB118
Neuropatch Dura Substitute
Polyurethane
1.5 x 3cm
$72.00
Prosthesis, Internal, Embolisation, Intravascular

ev3 Australia Pty Ltd
EE009
NXT Detachable Coils
NXT Coils, Tetris
Diameter 3 -18mm/ Length 4-29 cm
$2,600.00
EE012
NXT Detachable Coils
NXT Coils, Helix Fibered
Diameter 2-4mm/ Length 2-10cm
$1,850.00
EE013
NXT Detachable Coils
NXT Coils, TensionSafe (SuperSoft)
Diameter 2-5mm/ Length 1-10cm
$1,850.00
Prosthesis, internal, embolization, intravascular

ev3 Australia Pty Ltd
EE021
Nexus Morpheus Detachable Coil
Platinum alloy coils enlaced with absorbable 
3mm x 2,5,8cm; 4mm x 5 & 10cm; 
$1,950.00

polymer microfilaments attached to a 
5mm x 10 & 15cm; 6 x 12 & 20cm; 

stainless steel guiding system with 
7mm x 15 & 21cm; 8mm x 15 & 

radiopaque positioning coils.
25cm; 9mm x 18 & 28cm; 10mm x 20

 & 30cm
Prosthesis, Internal, Stent, Vascular

Boston Scientific Australia Pty Ltd
BS098
Neuroform Microdelivery Stent System
Self-expanding nitinol stent, 3F delivery 
diameter 3.0 - 4.5 mm
$7,500.00

catheter, peelable sheath, 2F stabilising 
Length 15 mm - 30 mm

catheter, rotating haemostasis valve (x2)
Prostheses List by Category, Groups and Sponsor
Page 214 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Reservoirs, Cerebrospinal Fluid

B Braun Australia Pty Ltd
BB081
Shunt Accessories
Reservoir
Small, large
$450.00

Global Scientific Pty Ltd
GS011
LPV Shunt System
Standard, mini, Pressure range low - high
$1,405.00
GS012
Heyer-Schulte Ommaya CSF Reservoir
Standard, side-inlet, convertible, mini
1.5 - 2.5cm and mini
$717.00
GS218
Reservoirs
Shunt component
9mm to 25mm, with or without 
$512.00

convertible outlet port, burr hole 

or flat bottom style

Medtronic Australasia Pty Ltd
MC534
Pressure valve (anti-siphon device or  
Neonatal Reservior, CSF Lumbo Peritoneal
2 - 90cm
$720.00

flushing valve or flush pump)
MC535
Pressure valve (anti-siphon device or  
Reservoir, CSF Vent Reservoir, Snap 
6 - 90mm
$1,790.00

flushing valve or flush pump)
Assembly Reservoir
Resinous Compounds, Cranial

Johnson & Johnson Medical Pty Ltd
JJ303
Cranioplastic Kit (Type 1)
Cranioplastic kit containing 2 complete sets. 
30grams
$240.00

 Consists of 2 bags of sterile powder, 2 vials 

sterile liquid, 2 sterile matrix bags
Screws, Bone

Johnson & Johnson Medical Pty Ltd
JJ244
BIOPLATE Bone screw
Titanium alloy self-drilling screws, 5 per 
Dia 1.9mm, length 5mm
$43.00

pack, packaged non-sterile
JJ245
BIOPLATE Bone screw
Titanium alloy self-drilling screws, 5 per 
Dia 1.9mm, length 4mm
$43.00

pack, packaged non-sterile
JJ246
BIOPLATE Bone screw
Titanium alloy self-drilling screw, 1 per pack,
Dia 1.9mm, length 3 - 5mm
$52.00

 packaged non-sterile
Prostheses List by Category, Groups and Sponsor
Page 215 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ247
BIOPLATE Bone screw
Titanium alloy self-drilling screw, packaged 
Dia 1.9mm, length 3mm
$43.00

non-sterile
JJ248
BIOPLATE Bone screw
Titanium alloy self-drilling screw, 5 per pack,
Dia 1.5mm, length 3 - 5mm
$45.00

 packaged non-sterile
JJ249
BIOPLATE Bone screw
Titanium alloy self-drilling screw, 1 per pack,
Dia 1.5mm, length 3 - 5mm
$52.00

 packaged non-sterile
JJ250
BIOPLATE Bone screw
Titanium alloy long screw, 1 per pack, 
Dia 1.9mm, length 3, 4, 5, 6, 8, 10mm
$44.00

packaged non-sterile
JJ251
BIOPLATE Bone screw
Titanium alloy long screws, 5 per pack, 
Dia 1.9mm, length 3, 4, 5, 6, 8, 10mm
$36.00

packaged non-sterile
JJ252
BIOPLATE Bone screw
Titanium alloy long screw, 1 per pack, 
Dia 1.5mm, length 3, 4, 5, 6, 8, 10mm
$44.00

packaged non-sterile
JJ253
BIOPLATE Bone screw
Titanium alloy emergency screws, 5 per 
Dia 1.8, length 6mm; Dia 2.3mm, 
$66.00

pack, packaged non-sterile
length 5mm
JJ254
BIOPLATE Bone screw
Titanium alloy emergency screw, 1 per pack, 
Dia 1.8, length 6mm; Dia 2.3mm, 
$74.00

packaged non-sterile
length 5mm
Shunt Adapters

B Braun Australia Pty Ltd
BB079
Shunt Accessories
Deflector - Burrhole
Small, large
$180.00
BB080
Shunt Accessories
Connector
Straight, Y, T, X form
$241.00

Johnson & Johnson Medical Pty Ltd
JJ228
Codman Medos Connector
Codman Medos stainless steel shunt 
One size only
$37.78

connector straight
Shunts, Hydrocephalic

Global Scientific Pty Ltd
GS002
Spetzler Lumbar-Peritoneal Shunt System
Shunt, CSF Reservoir, In-line valve
Catheter length 80 - 105cm, 
$1,080.00

Reservoir small & large, Valve 

pressure range low - high
GS006
Novus Hydrocephalic Shunt Kit
Pressure range low, medium
Standard, mini
$2,155.00
Prostheses List by Category, Groups and Sponsor
Page 216 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GS007
Heyer-Schulte Spetzler Lumbar-Peritoneal 
-
Small, large
$425.00

Low Pressure Flushing Reservoir
GS014
Edwards Barbaro Syringo Peritoneal Shunt
80 x 3.5cm 5FRT-Tube, 90cm peritoneal reflux
One size only
$1,445.00

 control catheter

Step down connector, Foltz CSF Reservoir
GS142
Novus Hydrocephalic Shunt - Heyer 
Novus valve made from 
Standard size - low & medium 
$1,624.00

silicone/polysulfone, each valve is packed 
pressure; Mini size - low & 

with a valve and a right angled catheter guide
medium pressure
GS144
Spetzler In Line Valve - Heyer Schulte
Composition silicone, valve with integral 
Low, Medium, High Pressure
$1,110.00

connectors
GS145
Cordis Omnishunt System, Hakim Valve 
Hakim Valve System
Drainage Cath 110 cm, F7. Vent. 
$1,030.00

Series
Cath 15cm, F8.
GS195
Cordis Omnishunt System
Silicone and Synthetic ruby
Very low to very high pressures
$775.00
GS209
Neonatal Shunt System
Shunt Assembly, includes separate 
Medium, low or low-low pressure
$1,335.00

ventricular catheter, integral distal catheter
GS211
Equi Flow Valves
Valve only
Small (35mm length) or Regular 
$1,285.00

(40mm length); low, low/medium 

and medium pressure
GS212
Equi Flow Shunt Assemblies
CSF Shunt, includes silicone ventricular and 
Small (35mm length) or Regular 
$1,690.00

peritoneal catheters, silicone encased 
(40mm length); low, low/medium 

overdrainage control valve
and medium pressure; various kit 

configurations
GS213
Lumboperitoneal Shunt Assemblies
CSF LP Shunt includes: silicone catheter, 
Straight or "T" tube
$325.00

stainless steel trocar, suture tabs
GS216
Burr Hole Valve Shunt Assemblies
Shunt Assembly: silicone encased valve, 
16mm or 12mm base; low, medium 
$650.00

silicone ventricular and peritoneal catheters
or high pressure, various kit 

configurations

Johnson & Johnson Medical Pty Ltd
JJ161
Codman-Medos Non-programmable Valve 
Silicone fixed pressure lumber/peritoneal 
Peritoneal Catheter length 25-80cm
$375.00

System
catheter, James design
JJ162
Codman-Medos Non-programmable Valve 
Silicone fixed pressure lumber/peritoneal 
Peritoneal Catheter length 65 cm
$870.00

System
catheter, Holter design
JJ164
Siphonguard CSF Control Device
PET shell anti-siphon device for shunt
One size only
$390.00
JJ218
HOLTER Intracranial Pressure Shunt
HOLTER Ventricular Catheter, packaged 
3 - 7cm and 15cm
$149.00

sterile, silicone rubber
Prostheses List by Category, Groups and Sponsor
Page 217 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ225
HOLTER Intracranial Pressure Shunt
HOLTER distal peritoneal catheter, 
90cm in length
$155.00

packaged sterile, silicone
JJ226
HOLTER Intracranial Pressure Shunt
HOLTER distal peritoneal catheter Salmon, 
90cm in length
$247.00

packaged sterile, silicone
JJ261
ACCU-FLO Intracranial Pressure shunt
ACCU-FLO catheter, packaged sterile, 
91cm in length
$197.00

silicone rubber
JJ262
ACCU-FLO Intracranial Pressure shunt
ACCU-FLO three way connector, packaged 
One size only
$143.00

sterile, metal or plastic
JJ263
ACCU-FLO Intracranial Pressure shunt
ACCU-FLO barium ventricular catheter, 
One size only
$154.00

packaged sterile, silicone rubber
JJ264
ACCU-FLO Intracranial Pressure shunt
ACCU-FLO right angle connector, packaged
One size only
$69.84

 sterile, metal or plastic

Medtronic Australasia Pty Ltd
MC531
Hydrocephalus Shunt
Ventricular/Peritoneal. CSF Flow Control 
12mm-90cm
$893.00

Valves, BioGlide Contoured, 

Ventriculostomy Kit-E, Neonatal Delta Snap 

Shunt
MC640
Strata Shunt, Unitised
Adjustable CSF valve with five symmetric 
8-13.5cm x 9-120cm
$2,560.00

performance level steps.  Includes strata 

valve, pre-attached ventricular catheter, and 

a pre-attached peritoneal catheter. Right 

Angle Clip. Disposable Quick Release 

Ventricular Catheter Introducer. Disposable 

Subcutaneous Catheter Passer. Tuohy-Borst

 Adapter.
MC649
Delta Shunt Unitised
Delta valve is a fixed pressure CSF valve, 
Delta Unitised Shunt small (Distal 
$1,725.00

available in four performance levels. Delta 
65cm-90cm, ventricular 11cm) - 0.5, 

Unitised shunt includes a delta valve, pre-
1.0, 1.5 and 2.0. Delta Unitised 

attached ventricular catheter, and a pre-
Shunt regular (Distal 90cm, 

attached peritoneal catheter. Right Angle 
ventricular catheter 13cm) - 0.5, 1.0,

Clip. Disposable Quick Release Ventricular 
 1.5 and 2.0

Catheter Introducer.
MC650
Delta Shunt Assembly
Delta valve is a fixed CSF pressure valve, 
90-120cm (0.5 - 2.0)
$1,560.00

available in four performance levels. 

Includes an Integral (distal) Peritoneal 

Catheter, Disposable Peritoneal Catheter 

Passer, Female Luer Adapter and Prefill 
Prostheses List by Category, Groups and Sponsor
Page 218 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC652
Strata Shunt Assembly
Adjustable CSF valve with five symmetric 
90-120cm
$2,406.00

performance level steps. The assembly 

includes an Integrated (distal) Peritoneal 

Catheter. Disposable Peritoneal Catheter 

Passer. Female Luer Adapter and Prefill 

tubing.
Stimulator, Electrical, Analgesic, Spinal

Advanced Neuromodulation Systems Australia Pty Ltd
AV022
Genesis RC Rechargeable IPG
Genesis RC (IPG) Neurostimulation System
70mm
$19,150.00
AV023
Genesis RC Rechargeable IPG
Genesis RC Dual 4 (IPG) Neurostimulation 
76mm
$19,150.00

System
AV024
Genesis RC Rechargeable IPG
External Charging System
$1,000.00
AV025
Eon Neurostimulation System
Eon Neurostimulation Implantable Pulse 
Height = 59mm
$19,150.00

Generator #3716
AV026
Eon Neurostimulation System
Eon Programmer #3851
$2,831.00

Boston Scientific Australia Pty Ltd
BS104
Precision Spinal Cord Stimulator System
Precision™ Rechargeable Neurostimulation 
One Size Only
$22,000.00

System Model: SC1110 0.  One (1) 

Precision™ Implantable Pulse Generator; 

One (1) Tunnelling Tool, One (1) Torque 

Wrench and One (1) Sizing Plate.  Patient 

recharging accessories pack
BS105
Precision Spinal Cord Stimulator System
External Patient Recharging System Model: 
One Size Only
$1,346.00

SC5300 0: Charger; Charges IPG battery; 

Model: SC5305 0: Base Station; Cradle for 

charging portable IPG battery charger.  

Model: SC6305 0: Power Supply; Power 

supply for Charger Base Station
BS106
Precision Spinal Cord Stimulator System
External Patient Remote Programmer  Model: 
One Size Only
$1,350.00

SC5210 0; Hand-held remote control for 

Precision™ SCS
BS107
Precision Spinal Cord Stimulator System
Clinician Programmer Model: SC7150 0; 
One Size Only
$3,200.00

Tablet PC with Advanced Bionics Bionic 

Navigator software installed to program 

patient.
Prostheses List by Category, Groups and Sponsor
Page 219 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BS108
Precision Spinal Cord Stimulator System
Remote Control/ Bionic Navigator  SC - 5400
One Size Only
$750.00
BS109
Precision Spinal Cord Stimulator System
Linear Leads; Phase III Percutaneous Leads 
3 Sizes
$4,164.00

with 8 contacts per lead in 3 lengths: 30cm, 

50cm, and 70cm.  Model: SC21380 300, 

SC21380 500, SC21380 700.  One (1) 8-

Contact Lead (available lengths are 30, 50 or 

70 cm); One (1) Operating Room Cable; One 

(1) Operating Room Cable Extension; One (1)

 Tunnelling Tool; Spare Stylets; One (1) 

Insertion Needle
BS110
Precision Spinal Cord Stimulator System
Artisan Surgical Lead SC-8116-50  (50 cm); 
2 Sizes
$8,000.00

SC-8116-70  (70 cm).  One (1) 16-Contact 

Lead; One (1) Operating Room Cable; One 

(1) Set of 1cm Split Suture Sleeves
BS111
Precision Spinal Cord Stimulator System
Lead Extensions in 3 Lengths: 25cm, 35cm, 
3 Sizes
$1,510.00

and 55cm.  Model: SC3138 250; SC3138 350; 

SC3138 550.  One (1) 8-Contact Lead 

(available lengths are 30, 50 or 70 cm); One 

(1) Operating Room Cable; One (1) 

Operating Room Cable Extension; One (1) 

Tunnelling Tool; Spare Stylets; One (1) 

Insertion Needle
BS118
Precision Spinal Cord Stimulator System
Lead Blank
One Size Only
$200.00
BS119
Precision Spinal Cord Stimulator System
Linear Trial Leads - Linear Trial Lead Phase 
3 Sizes
$485.00

III Trial Lead with 8 contacts per lead in 3 

lengths: 30cm, 50cm, and 70cm.  Model: 

SC21380 30T0.  One (1) 8-Contact Lead 

(available lengths are 30, 50 or 70 cm); One 

(1) Operating Room Cable; One (1) 

Operating Room Cable Extension; One (1) 

Tunnelling Tool; Spare Stylets; One (1) 

Insertion Needle
BS120
Precision Spinal Cord Stimulator System
Lead Revision Pack; Hex Wrench, 
One Size Only
$800.00

Tunnelling Tool, Insertion Needles in four(4)
BS121
Precision Spinal Cord Stimulator System
IPG Port Plug
One Size Only
$100.00

Medtronic Australasia Pty Ltd
MC312
Octapolar Extension Model 7471
Silicone rubber
Lengths: 20, 40, 51, 66 cm
$2,000.00
MC315
Low Profile Impedance Extension Kit for 
Silicone rubber
10, 25, 40, 51, 66cm
$1,510.00
$2,138.05

SCS Model 7489
Prostheses List by Category, Groups and Sponsor
Page 220 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC688
Neurostimulation System - Extensions
1 x 8 Synergy Extension Kit Model 7472; 1 x 
20, 40 & 60cm
$2,000.00

8 Extension Kit Model 37081
MC691
Restore Rechargeable Neurostimulation 
Implantable Neurostimulator Model 37711
Dimensions: 65 x 49 x 15mm
$21,000.00

System
MC692
Restore Rechargeable Neurostimulation 
External Patient Recharger System Model 
one size only
$3,000.00

System
37752
MC693
Restore Rechargeable Neurostimulation 
External Patient Programmer Model 37742
One size only
$1,346.00

System
MC694
Restore Rechargeable Neurostimulation 
External Patient Programmer Antenna Model
One size only
$178.00

System
 37092
MC733
Quadripolar Stretch-Coil Extensions
Model 37083 Single, Silver and Silicone 
20cm - 60cm
$1,948.00
$2,500.00

Rubber
MC734
Quadripolar Stretch-Coil Extensions
Model 37082 Bifurcated, Silver and Silicone 
20cm - 60cm
$2,135.00
$3,500.00

Rubber
MC742
Prime Advanced
Implantable Neurostimulator
Dimensions: 65 x 49 x 15mm
$18,650.00
$21,000.00
MC746
Restore Advanced INS
Implantable Neurostimulator
Dimensions: 65 x 49 x 15mm
$21,000.00
$24,000.00
Stimulators

Advanced Neuromodulation Systems Australia Pty Ltd
AV008
ANS Spinal Cord Stimulation System (SCS)
Transmitter Kit 16 Channel
One size only
$9,450.00
When used in pain therapy - to be 

 RENEW
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV009
ANS Spinal Cord Stimulation System (SCS)
Transmitter Kit 8 Channel
One size only
$6,783.00
When used in pain therapy - to be 

 RENEW
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV017
ANS Spinal Cord Stimulation System (SCS)
Implantable Pulse Generator - Genesis G4 
One Size Only
$9,450.00

 GENESIS
Model 3604
AV018
ANS Spinal Cord Stimulation System (SCS)
Implantable Pulse Generator - Genesis XP 
One Size Only
$18,650.00

 GENESIS
Model 3609
AV019
ANS Spinal Cord Stimulation System (SCS)
Implantable Pulse Generator - Genesis XP 
One Size Only
$18,650.00

 GENESIS
Dual Model 3644
Prostheses List by Category, Groups and Sponsor
Page 221 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC247
Patient Activators
Hand held device Models 7434 & 7435 to be 
One size only
$1,400.00
When used in pain therapy - to be 

used with Itrel III and Synergy Implantable 
funded when the patient has 

Pulse Generators
undergone a multi-disciplinary 

assessment and trial of stimulation.
MC249
Access Therapy Controller
Handheld device used with the Kinetra and 
One size only
$1,400.00
To be funded for the initial implant 

Soletra Implantable Pulse Generators
only.
Stimulators, Electrical, Brain

Medtronic Australasia Pty Ltd
MC244
Medtronic Australasia DBS Lead Model 
Deep brain stimulation lead with four 
28 - 40cm
$4,150.00

3389,  Medtronic quadripolar Itrel II- 
platinum iridium electrodes Models 3387 and

7424DBS, Active Implantable Stimulator & 
 3389.  Electrode spacing is 1.5mm apart for 

Ancillary Equipment
Model 3387 and 0.5mm apart for Model 3389.

  PTFE, polyurethane, platinum/iridium, 

nickel alloy, tungsten
Stimulators, Electroanalgesic, Dorsal Column

Medtronic Australasia Pty Ltd
MC110
Itrel 3 System - Lead extension
Medtronic Lead Extension Kit Models 
10 - 66cm
$1,510.00
When used in pain therapy - to be 

7495,7496,7498 - Materials Silicone rubber, 
funded when the patient has 

Platinum/Iridium
undergone a multi-disciplinary 

assessment and trial of stimulation.
Stimulators, Electroanalgesic, Intracerebral/Subcortical

Medtronic Australasia Pty Ltd
MC001
Kinetra Dual Channel Implantable Pulse 
Titanium, polyurethane
One size only
$15,060.00

Generator Model 7428
MC107
Mattrix Dual Channel System - Antenna 
Model 3440 DCS Antenna kit. Medical 
One size only
$173.00
When used in pain therapy - to be 

antenna. External component of implantable 
funded when the patient has 

Mattrix system. Polyurethane.
undergone a multi-disciplinary 

assessment and trial of stimulation.
Prostheses List by Category, Groups and Sponsor
Page 222 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC141
Epidural Stimulator - Leads
Verify Screening lead Model 3862, 3862-45. 
45 - 60cm
$485.00
When used in pain therapy - to be 

Silicone, Platinum/Iridium
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Stimulators, Electroanalgesic, Spinal Cord

Advanced Neuromodulation Systems Australia Pty Ltd
AV004
ANS Spinal Cord Stimulation System (SCS)
Dual Receiver 16 Channel (2 x 8 channel)
One size only
$12,450.00
When used in pain therapy - to be 

 RENEW
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV006
ANS Spinal Cord Stimulation System (SCS)
Single Receiver. 8 Channel (1 x 8) 
One size only
$9,450.00
When used in pain therapy - to be 

 RENEW
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
AV014
ANS Spinal Cord Stimulation System (SCS)
Implantable Pulse Generator - Genesis 
One size only
$17,450.00

 GENESIS
Model 3608
AV015
ANS Spinal Cord Stimulation System (SCS)
Patient Programmer Model 3850
One size only
$2,831.00
When used in pain therapy - to be 

 GENESIS
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation
AV016
ANS Spinal Cord Stimulation System (SCS)
Communication Magnet Model 1210
One type only
$150.00
When used in pain therapy - to be 

 GENESIS
funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation
AV020
ANS Spinal Cord Stimulation System (SCS)
QuikLink Patient Programmer Model 3860
One Size Only
$1,250.00

 GENESIS

Medtronic Australasia Pty Ltd
MC115
Itrel 3 Implantable Pulse Generator
Model 7425, Titanium
One size only
$9,350.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
MC137
Medtronic A/Asia, Synergy Dual Channel 
DCI - Pulse Generator: Synergy Dual 
One size only
$17,250.00
When used in pain therapy - to be 

Implantable Pulse Generator Model 7427, 
Channel Implantable Pulse Generator Model 
funded when the patient has 

Active Implantable Stimulators.
7427. Materials - Titanium 
undergone a multi-disciplinary 

assessment and trial of stimulation.
Prostheses List by Category, Groups and Sponsor
Page 223 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC687
Neurostimulation System - Accessory Kits
Lead Accessory Plug and Closed Boot Kit 
$168.00

Model 3550-29
Stimulators, Neuromuscular, Functional

Medtronic Australasia Pty Ltd
MC079
Control Magnets
Model 7452 Magnet
One size only
$120.00
When used in pain therapy - to be 

funded when the patient has 

undergone a multi-disciplinary 

assessment and trial of stimulation.
Stimulators, Neuromuscular, Therapeutic

Medtronic Australasia Pty Ltd
MC228
Soletra Model 7426 Neurostimulator
Sterility - Ethylene Oxide.  Neurostimualtor 
One size only
$9,050.00

comprised of electronic circuitry and a 

battery, which are hermatically sealed in a 

titanium case
Stimulators, Vagus Nerve, Antiseizure

Radi Medical Systems Pty Ltd
RA001
VNS Therapy Pulse/Pulse Duo
Model 102/102R Generator
One size only
$12,670.00
RA002
VNS Therapy Lead
Model 302
One size only
$3,400.00
Tissue Reconstructive Materials, Solid

W L Gore & Associates
GT054
Preclude Spinal Membrane
ePTFE
0.7mm Thickness 6 x 6cm
$472.00
GT055
Preclude Spinal Membrane
ePTFE
0.7mm Thickness 6cm x 12cm
$785.00
GT056
Preclude  Dura Substitute
ePTFE
0.3mm Thickness 2 x 10cm
$492.00
GT057
Preclude Dura Substitute
ePTFE
0.3mm Thickness 5 x 6 cm
$707.00
Prostheses List by Category, Groups and Sponsor
Page 224 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT058
Preclude  Dura Substitute
ePTFE
0.3mm thickness 6 x 10cm
$1,335.00
GT059
Preclude Dura Substitute
ePTFE
0.3mm thickness 10 x 12cm
$2,372.00
Tubes, Connecting

Global Scientific Pty Ltd
GS010
Heyer-Schulte Connectors for 
Pudenz straight, Pudenz right angled, 
Each in one size
$143.00

Neurosurgical Use
Pudenz three-way (Y) 

Threaded straight, Threaded right angled, 

Double threaded straight
GS193
Connectors
Silicone and Stainless Steel
Straight, right angle, Y, T
$396.00
Valves, Hydrocephalic

B Braun Australia Pty Ltd
BB074
Pressure Valve Anti Siphon Device  
Shunt  Assist Kit
15/11 to 35/25.7 pressure units
$1,190.00
BB075
Hydrocephalus Shunt 
Monostep Valve
5/3.6 to 16/11.0 pressure units
$1,281.00
BB076
Hydrocephalus Shunt 
Paedi-Gav. Valve
4/14 to 9/29 pressure units
$1,776.00
BB077
Hydrocephalus Shunt 
Dual Switch Valve
10/7.4 to 50/36.8 pressure units
$2,406.00

Global Scientific Pty Ltd
GS003
Heyer-Schulte Pudenz Flushing Valve
With Anti Siphon Device, Pressure range 
12, 16mm
$1,425.00

low - high
GS004
Heyer-Schulte Pudenz Flushing Valve with 
Pressure range low - high
12, 16mm
$780.00

Integral Conn
GS005
Heyer-Schulte Mishler Dual Chamber 
Burr-hole and flat bottom designs
Standard, mini
$1,525.00

Flushing Valve System
Pressure range low - high
GS017
Heyer-Schulte In Line Valve System
Ultra VS Cylindrical Shunt/Valve system - 
$893.00

Neonate style, Pressure range low - high
GS018
Heyer-Schulte In Line Valve System
Ultra VS Shunt Valve, Pressure low - high
small, standard
$893.00
GS137
Shunt
Pressure valve (anti-siphon device or  
Low - High pressure range
$1,885.00

flushing  valve or flush pump)
GS138
Shunt
Reservoir
Standard, Large
$390.00
Prostheses List by Category, Groups and Sponsor
Page 225 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GS140
Heyer Schulte Ultra VS Valve Kit Neonatal 
Comprises of silicone, kit includes valve, 
Peritoneal catheter 90cm, 
$1,624.00

Style
peritoneal cather, ventricular catheter and 
ventricular catheter 18cm

rickham style reservoir
GS141
Ultra VS Shunt Kit Standard - Heyer Schulte
Composition silicone, kits contain standard 
3.8-5.8mm diameter valve, 18cm 
$1,624.00

valve, ventricular catheter, peritoneal 
ventricular catheter, low, medium 

catheter, rickham reservoir
high pressure, 120cm peritoneal 

catheter
GS143
LPV Shunt System Kit - Heyer Schulte
Composition silicone, kit includes LPV 
Standard - low, medium, high 
$1,435.00

valve, peritoneal catheter, ventricular 
pressure; Mini - low, medium, high

catheter, right angle catheter guide
 pressure
GS146
Cordis Standard Valve System 
Atlas Valve System
Drainage Cath 110 cm, F7. Vent. 
$1,190.00

Hydrocephalus Valves
Cath 15cm, F8.
GS147
Precision Flow-OSV II Valve System
Lumbar peritoneal OSV11-Lumboperitoneal 
Lumber Catheter 80cm, F5  
$1,725.00

System Hydrocephalus Shunt
Peritoneal Catheter 110cm, F7
GS148
Precision Flow-OSV II Valve System 
Ventricular/Atrial OSV11-Ventricular /Atrial 
Drainage Cath 110 cm, F7. 
$1,725.00

Hydrocephalus Shunt
Ventricular Catheters 7,9,13 & 15 cm
GS149
Precision Flow-OSV II Valve System
Ventricular/Peritoneal OSV11-  
Drainage Cath 110 cm, F7. 
$1,725.00

Ventricular/Peritoneal Hyrocephalus Shunt
Ventricular Catheters 7,9,13 & 15 cm
GS196
Gravity Compensating Accessory
Silicone/Stainless steel
low, medium & high pressures
$880.00
GS208
Contour-Flex Valves
Silicone encased CSF Valve
Smal (24mm Length) or Regular 
$1,066.00

(28mm Length), low medium or 

high pressure
GS210
Contour Flex Valve Shunt Assemblies
Shunt Assembly: silicone encased valve, 
Small (24mm Length) or regular 
$1,335.00

silicone ventricular and peritoneal catheters
(28mm Length); low, low/medium 

and medium pressure; various 

catheter and valve configurations
GS217
Siphon Limiting Device
Silicone Shunt Accessory for control of CSF
15mm length, 4.5mm height, 10mm 
$577.00

 overdrainage
width

Johnson & Johnson Medical Pty Ltd
JJ156
Hakim Precision Valve System
Precision valve standard. Silicone casing & 
Peritoneal Catheter length 80 cm, 
$1,110.00

catheter; stainless steel ruby ball in cone 
Ventricular catheter length 14 cm

mechanism with fixed pressure
JJ157
Hakim Precision Valve System
Precision valve and pre-chamber. Silicone 
Peritoneal Catheter length 80 cm, 
$1,320.00

casing & catheter; stainless steel ruby ball 
Ventricular catheter length 14 cm

in cone mechanism with fixed pressure
Prostheses List by Category, Groups and Sponsor
Page 226 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ158
Hakim Programmable Valve System
Standard system. Silicone casing without 
One size only
$2,800.00

catheter; stainless steel ruby ball in cone 

mechanism with variable pressure
JJ159
Hakim Programmable Valve System
Standard system. Silicone casing with 
Peritoneal Catheter length 80 cm, 
$3,140.00

catheter; stainless steel ruby ball in cone 
Ventricular catheter length 14 cm

mechanism with variable pressure
JJ219
Hakim Programmable Valve System
Fixed pressure hydrocephalus shunt, 
One size only
$3,250.00

packaged sterile, stainless steel and ruby 

valve mechanism, silicone rubber ventricular

 and peritoneal catheters.  In line or right 

angled with reservoir.  Valve can be 

reprogrammed non-invasively 18 pressure 

settings available in 10mm H20 increments.  

SiphonGuard anti-siphon device integrated 

into valve mechanism.
JJ220
Hakim Precision Valve System
Fixed pressure hydrocephalus shunt, 
One size only
$1,500.00

packaged sterile, stainless steel and ruby 

valve mechanism, silicone rubber ventricular

 and peritoneal catheters.  In line or right 

angled with reservoir.  Opening pressure  

H20; Very high 130mm, high 100mm, medium 

70mm, low 40mm, very low 10mm. With 

integrated anti-siphon device.
JJ221
Hakim Precision Valve System
Fixed pressure hydrocephalus shunt, 
One size only
$1,390.00

packaged sterile, stainless steel and ruby 

valve mechanism, silicone rubber ventricular

 and peritoneal catheters.  In line or right 

angled with reservoir.  Opening pressure  

H20; Very high 130mm, high 100mm, medium 

70mm, low 40mm, very low 10mm.
JJ436
Codman Hakim Programmable Valves
18 different pressure settings, various models
One Size Only
$2,700.00
JJ437
Codman Hakim Programmable Valves with 
18 different pressure settings and 
One Size Only
$3,250.00

Siphonguard
SIPHONGUARD technology
JJ438
Codman Hakim Precision Valves with 
features 5 operating pressures and 
Pressure settings 10, 40, 70, 100 
$1,500.00

Siphonguard, Right Angle Reservoir
SIPHONGUARD technlogy
and 130mmH2O
JJ439
Codman Hakim Precision Valve with 
features 5 operating pressures and 
Pressure settings 10, 40, 70, 100 
$1,500.00

Siphonguard, Inline Reservoir
SIPHONGUARD technology
and 130mmH2O
JJ440
Codman Hakim Precision Valve, Right 
features 5 operating pressures
10, 40, 70, 100, and 130mmH2O
$1,390.00

Angle Reservoir
Prostheses List by Category, Groups and Sponsor
Page 227 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medical Specialties  Australia Pty Ltd
MS003
Sterile Hydrocephalic Shunts
Plastic/magnetic. Programmable valve. 
3, 8 settings
$2,700.00

Programmer kit and shunts kit.

Medtronic Australasia Pty Ltd
MC529
Hydrocephalus Shunt
Lumbar peritoneal
84cm
$450.00
MC530
Hydrocephalus Shunt
Ventricular/Atrial, CSF Flow Control Shunts,
38cm-90cm
$450.00

 Cont Small Valve
MC532
Hydrocephalus Shunt
With Hydrostatic Valve, Delta 
12mm-90cm
$1,110.00

Valves/Shunts/BioGlide, Vent Catheters
MC536
Valves, Hydrocephalic
Strata Adjustable Delta Valve
12 -16mm
$715.00
MC641
Strata Valve Unitised with Bioglide PSM 
CSF Flow Valve. Polypropylene and acetal 
One size only
$2,700.00

range
plastic base. Silicone elastomer dome.
MC642
Strata Valve Assembly with Bioglide PSM 
CSF Flow Valves. Polypropylene and acetal 
One size
$2,038.00
$2,730.00

range
plastic base. Silicone elastomer dome.
MC643
Strata Valve with Bioglide PSM range
CSF Flow Valve. Polypropylene and acetal 
13-16mm x 35-47mm
$2,350.00

plastic base. Silicone elastomer dome.
MC644
Strata Valve NSC (non siphon control) 
CSF Flow Valve. Polypropylene and acetal 
13-16mm x 23-32mm (0.5-2.0)
$2,020.00

PSM range
plastic base. Silicone elastomer dome.
MC645
Strata Valve Unitised NSC (non siphon 
Adjustable CSF valve with five symmetric 
8-120cm
$2,406.00

control) PSM range
performance level steps. Includes a strata 

valve, pre-attached ventricular catheter, and 

a pre-attached peritoneal catheter. Right 

Angle Clip. Disposable Quick Release 

Ventricular Catheter Introducer. Disposable 

Subcutaneous Catheter Passer. Tuohy-Borst

 Adapter. Polypropylene and acetal plastic 

base. Silicone elastomer dome.
MC646
Strata Valve Assembly NSC (non siphon 
Adjustable CSF valve with five symmetrical 
One size
$2,245.00

control) PSM range
performance level steps. Includes a strata 

valve, an integral distal peritoneal catheter 

and catheter passer, and a female leur 

adaptor and prefill tubing. Polypropylene 

and acetal plastic base. Silicone elastomer 
MC647
Delta Valve with Bioglide PSM range
CSF Flow Valve. Polypropylene and acetal 
36-40mm x 9-20mm (0.5-2.0)
$1,500.00

plastic base. Silicone elastomer dome. 

Surface of valve bonded with hydrogel 

(Bioglide surface modification).
Prostheses List by Category, Groups and Sponsor
Page 228 of 724
NEUROSURGICAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC648
Delta Valve Unitised with Bioglide PSM 
CSF Flow Valves. Polypropylene and acetal 
8-13.5cm x 90-120cm (0.5-2.0)
$1,990.00

range
plastic base. Silicone elastomer dome. 

Unitised system includes the valve, integral 

ventricular and peritoneal catheter (all 

components connected). Surface of valve 

bonded with hydrogel (Bioglide surface 

modification).
MC651
Delta Valve Assembly with Bioglide PSM 
CSF Flow Valves. Polypropylene and acetal 
90-120cm (0.5, 1.0, 1.5, 2.0)
$1,775.00

range
plastic base. Silicone elastomer dome. 

Assembly system includes the valve, 

integral peritoneal catheter, female luer 

adapter and prefill tubing. Surface of the 

valve bonded with hydrogel (Bioglide 
Prostheses List by Category, Groups and Sponsor
Page 229 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Aqueous/Vitreous Humor Replacement Media

Advanced Medical Optics Australia Pty Ltd
AO007
Viscoelastic Fluid: AMO Vitrax (sodium 
Surgically Implanted Intraocular Viscoelastic 
0.65mL
$90.00

hyaluronate) 30mg/mL, 0.65mL
AO008
Healon, Intraocular Viscoelastic Fluid
Sodium Hyaluronate 10mg/ml
Healon 0.4ml, 0.55ml & 0.85ml
$80.00
AO009
Healon 5, Intraocular Viscoelastic Fluid
HEALON5- Sodium hyaluronate 23mg/ml .
0.6ml
$85.00

Alcon Laboratories (Aust.) Pty Ltd
AL005
DUOVISC VISCOELASTIC SYSTEM
PROVISC contains sodium hyaluronate, 
Small & large packs
$110.00

VISCOAT contains chondroitin sulfate and 

sodium hyaluronate
AL006
PROVISC VISCOELASTIC SOLUTION
PROVISC contains sodium hyaluronate
0.55mL & 0.85mL packs
$80.00
AL007
VISCOAT Viscoelastic Fluid
Chondroitin sulfate and sodium hyaluronate
0.5mL packs
$80.00

Bausch & Lomb Surgical
BL008
Ocucoat Intraocular Fluid
20mg/mL hydroxypropylmethyl cellulose for 
1mL sterile
$95.00

intraocular use
BL015
Amvisc Plus injection
15mg/mL Sodium Hyaluronate for intraocular
0.5mL and 0.8mL
$95.00

 use

IQ Medical
IQ002
Ocuvis and Ocumax 2% 
20mg/mL hydroxypropylmethyl cellulose for 
2mL sterile
$90.00

Hydroxypropylmethylcellulose
intraocular use. Pre-loaded in a sterile 

syringe with one cannula for injection, in a 

sterile Tyvek pouch

Spectrum Surgical
SO025
Ophthalin 1% w/v sodium hyaluronate
Aqueous/vitreous humour replacement 
1 x 1.0mL
$80.00
$120.00

medium kits
Aqueous/Vitreous Humor Replacement Medium Kits

Advanced Medical Optics Australia Pty Ltd
AO010
Healon GV Intraocular Viscoelastic Fluid
Sodium Hyaluronate 14mg/mL
0.5mm and 0.85ml
$80.00
$95.00
Prostheses List by Category, Groups and Sponsor
Page 230 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Alcon Laboratories (Aust.) Pty Ltd
AL015
Cellugel viscoelastic fluid
Hypromellose 2%
$95.00
Cannula, Eye, Lacrimal

Device Technologies Australia Pty Ltd
DE277
Frontalis Suspension Set
Stainless steel needles with solid silicone 
needles 0.90mm x 6.5cm, rod 40cm -
$305.00

rods and silicone tubing - packaged sterile
 0.80mm, sleeve 10 x 2mm
Clips, Ligating

Device Technologies Australia Pty Ltd
DE201
Labtician Tantalum Clips
Tantalum
2, 2.5mm
$38.00
DiscoVisc - Aqueous/vitreous humour replacement medium kit

Alcon Laboratories (Aust.) Pty Ltd
AL029
DisCoVisc Ophthalmic Viscosurgical Device
An aid for use in surgery in the anterior 
0.5 mL and 1.0 mL
$110.00

segment of the eye
Prostheses List by Category, Groups and Sponsor
Page 231 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Elastomers, Silicone Rubber

Austmed Pty Limited
AP002
Mira: Scleral Implants
Silicone Sponge- Retinal Implant Used in 
Sponge- Mira 502 Cylinder 2mm, 
$120.00

Scleral Buckling (Silicone Elastomer Sponge)
Mira 5025 Cylinder 2.5mm, Mira 

503 Cylinder 3mm, Mira 504 

Cylinder 4mm, Mira 505 Cylinder 

5mm, Mira 505G Grooved cylinder 

5mm, Mira 505T Packer tunnel 

cylinder 5mm, Mira 510 Half 

cylinder 5mm, Mira 515 Brucker 

two-thirds cylinder 5mm, Mira 501 

Masciulli oval 2.5mm by 4mm, Mira

 506 Vaiser oval 3mm by 5mm, Mira

 506G Vaiser grooved oval 3mm by 

5mm, Mira 507 oval 5.5mm by 

7.5mm, Mira 507G Grooved oval 

5.5mm by 7.5mm, Mira 507T Packer

 tunnel oval 5.5mm by 7.5mm, Mira 

511 Half oval 7.5mm, Mira 517 

Brucker two-thirds oval 7.5mm, 

Mira 509 Fuller flat oval 3.5mm by 

7.5mm, Mira 509G Fuller grooved 

flat oval 3.5mm by 7.5mm, Mira 518

 Frederick grooved flat oval 2.5mm 

by 12mm, Mira 508 Frederick flat 

oval 4mm by 12mm, Mira 508G 

Frederick grooved flat oval 4mm 

by 12mm, Mira 513 Snyder 3+ 

meridional 7mm by 4mm, Mira 514 

Snyder 4+ meridional 8mm by 5mm,

 Mira 516G Tapered groove 6.4mm,

 Mira 519G Tapered groove 7.5mm 

by 3.2mm.
Prostheses List by Category, Groups and Sponsor
Page 232 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AP003
Mira: Scleral Implants
Solid Silicone-Tire/Meridional/Wedge/Pad. 
Tires-Mira 286 Wendel 
$45.00

Retinal Implant used in Scleral Buckling 
Symmetrical Oval Tire 6mm, Mira 

(Dimethylmethylvinyl Siloxane Copolymer)
Symmetrical Oval Tire 7mm, Mira 

287WG Murray wide (3.5mm) 

grooved symmetrical tire, 10mm 

wide, Mira 288 ross symmetrical 

grooved tire, low profile 10mm 

wide by 2.5mm, Mira 289 

Symmetrical oval tire 10mm, Mira 

277Symmetrical tire 7mm, Mira 279 

Symmetrical tire 9mm, Mira 78G 

Grooved symmetrical tire 10mm, 

Mira 281 Symmetrical tire 12.5mm, 

Mira 275 Munsen Asymmetrical 

tire 6mm, Mira 276 Asymmetrical 

tire 7mm, Mira 278 Brockhurst 

asymmetrical tire 8.5mm, Mira 

280LG Large grooved asymmetrical

 tire 10mm, Mira 77G Grooved 

hemisphere 26mm. Meridional- 

Mira 106 Meridional Implant 6mm 

by 10.5mm, Mira 112 Curved 

Meridional implant 12mm by 12mm,

 Mira 103 Meridional implant 4mm 

by 15mm. Wedge- Mira 135 Pruett 

maxi wedge 14mm, Mira Pruett midi

 wedge 12mm, Mira 190 Spencer 

sub-implant 5mm by 10mm. Pad- 

Mira 80 Pad 4mm by 8mm, Mira 22 

Button 5mm by 5mm
AP004
Mira: Scleral Implants
Solid Silicone-Sleeve. Retinal Implant used 
Sleeves-Mira 70 Sleeve 1mm I.D., 
$25.00

in Scleral Buckling (Dimethylmethylvinyl 
Mira 71 Sleeve 1mm I.D., Mira 72 

Siloxane Copolymer)
McNutt Sleeve 1.57mm I.D., Mira 

270 Sleeve 0.76mm I.D.
Prostheses List by Category, Groups and Sponsor
Page 233 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AP006
Mira: Scleral Implants
Solid Silicone-Band/Strip/Boat/Clip. Retinal 
Bands-Mira 40 Circling Band 2mm, 
$35.00

Implant used in Scleral Buckling 
Mira 240 Circling Band 2.5mm. 

(Dimethylmethylvinyl Siloxane Copolymer)
Strips-Mira 41 Strip 3.5mm, Mira 42

 Strip 4mm, Mira 20 Strip 4mm, 

Mira 219 Strip 4.5mm, Mira 31 Strip

 4.5mm, Mira 32 Strip 5mm, Mira 

225 Oval Strip 5mm, Mira 220 Strip 

6mm. Boats-Mira 60 Boat 2mm, 

Mira 260 Boat 2.5mm. Clips-Mira 

50 Double Tantalum Clip 2mm, 

Mira 250 Double Tantalum Clip 

2.5mm, Mira 51 Singla Tantalum 

Clip 3.5mm, Mira 52 Joondeph 

Single Tantalum Clip 4mm
Eyelid Weights, Implantable

BR & CT Enterprises Pty Ltd
BC005
LIDCHAIN Platinum Eyelid Implant
Platinum
Weights - 0.8, 1.0, 1.2, 1.4, 1.6, 1.8 
$1,650.00

grams

Device Technologies Australia Pty Ltd
DE182
Lid Load Gold Eyelid Weights;
Gold
1.8, 2.0, 2.2, 2.4, 2.6, 2.8 grams
$800.00
DE183
Lid Load Gold Eyelid Weights;
Gold
0.6, 0.8, 1.0, 1.2, 1.4, 1.6 grams
$425.00
Fluids, Mechanical Therapeutic Use

Alcon Laboratories (Aust.) Pty Ltd
AL013
Perfluoron Kits
Perfluoro-n-octane for use as a retinal 
5mL
$240.00

surgery additive
AL014
Perfluoron Kits
Perfluoro-n-octane for use as a retinal 
7mL
$335.00

surgery additive
AL018
SILIKON 1000 Vitreoretinal Surgical Device
Purified polydimethylsiloxane (silicone oil) 
10 mL
$195.00

for use as a post-operative retinal 

tamponade during vitreoretinal surgery.
Prostheses List by Category, Groups and Sponsor
Page 234 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Bausch & Lomb Surgical
BL001
Adato Sil-ol Silicone Oil (various 
Adato Sil-Ol Silicone Oil 1000
10mL
$195.00

viscosities)
BL002
Adato Sil-ol Silicone Oil (various 
Adato Sil-Ol Silicone Oil 5000
10mL
$195.00

viscosities)
BL003
Adeto Deca (various)
Adato Deca Perfluorodecacarbon
5mL
$240.00
BL004
Adato Octa
Adato Octa Perfluorooctacarbon
5mL
$240.00
BL016
Oxane LMWC Fractioned Silicone Oil
Purified fractioned silicone oil
10mL
$195.00
BL017
Perfluo-octane (Oktaline) Okta-Line
Perfluorocarbon Liquid  for use as a retinal 
5mL
$240.00

surgery additive
BL018
DK Line 100% purified perfluorodecalin
Perfluorodecalin
7ml
$335.00
BL024
Oxane HD
Silicone oil - RMN3 mixture
10ml
$195.00
$290.00

Design for Vision Pty Ltd
DV025
Sil-1000S
Silicone 1000 oil
10 ML Syringe
$165.00
DV026
Sil-5000S
Silicone 5000 oil
10 ML preloaded syringe
$165.00
DV027
Eftiar Decalin
Eftiar Decaline
5 ML Vial
$240.00
$251.00
DV028
Eftiar Octane
Eftiar Octane
5 ML Vial
$240.00
$251.00

Device Technologies Australia Pty Ltd
DE204
Arcaline (Perfluorodecaline)
Liquid perfluorocarbon aid for retinal 
3ml, 5ml, 7ml
$202.00

surgery, operative device for retinal surgery,

 in particular retinal detachment (RD), RD 

with giant tear etc.
DE205
Arcotane (Perfloro-N-Octane)
Liquid perfluoro-N-Octane aid for retinal 
5ml, 7ml
$202.00

surgery, pre-operative device for retinal 

surgery, in particular retinal detachment 

(RD), RD with giant tear, RD with 

proliferative vitreal retinopathy (PVR) etc.
DE228
LSO Silicone Oil
Silicone oil for tamponade use in 
10ml, vial or syringe
$192.00

vitreoretinal surgery

Spectrum Surgical
SO022
FCI Purified Silicone Oil (Solvent Free)
Viscosity: 1000 cst/5000 cst: solvent free 
10ml
$195.00
$240.00

purified silicone oil
SO023
FCI - DECA, FCI - OCTA
FCI - DECA: Purified perfluorodecalin, FCI - 
5ml
$240.00
$280.00

OCTA: Purified perfluoro-N-octane
Prostheses List by Category, Groups and Sponsor
Page 235 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SO024
FCI - DECA, FCI - OCTA
FCI - DECA: Purified perfluorodecalin, FCI - 
7ml
$335.00

OCTA: Purified perfluoro-N-Octane
Glaucoma Filtration Implants

Advanced Medical Optics Australia Pty Ltd
AO012
Baerveldt Glaucoma Implant BG 101-350, 
Non-valved artificial drainage device, 
Surface area 250, 350, 425mm2
$600.00

Baerveldt Glaucoma Implant BG 103-425, 
composition silicone - smooth, tumble-

Baerveldt Glaucoma Implant BG 103-250
polished finish

Carl Zeiss Pty Ltd
CZ001
T.Flux: Non-Absorbable Galucoma Drain
-
One size only
$945.00

Design for Vision Pty Ltd
DV230
Molteno 3
Drainage implant for glaucoma, made of 
2 Sizes: *230 mm square *175mm 
$715.00

silicon
square
Internal Eye, Intracorneal Ring

Spectrum Surgical
SO038
Keraring
Intracorneal rings, PMMA
Arc length: 90 to 160 degrees, 
$615.00

Thickness 0.1 to 0.35mm
SO039
Keraring
Intracorneal rings, PMMA
Arc length:210, thickness: 0.1 to 
$922.00

0.35mm
Intracorneal Rings

Carl Zeiss Pty Ltd
CZ002
Tensiobag: Capsular Tension Ring
PMMA
Diameter 10 - 14mm
$200.00

Design for Vision Pty Ltd
DV009
Morcher Capsular Tension Ring
PMMA Implant
14, 14A, 14C
$144.40
DV010
Morcher Coloboma Diaphram 
PMMA Implant
96G, 96L
$247.00

Device Technologies Australia Pty Ltd
DE269
MicroPlex Capsular Tension Ring
PMMA, highly flexible
11mm - 13mm
$168.00
Prostheses List by Category, Groups and Sponsor
Page 236 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Emagin Pty Ltd
EG004
Intracorneal Rings
PMMA
Thickness 0.210mm - 150 degrees 
$1,110.00
$1,188.00

Arc Length; Thickness 0.250mm - 

150 degrees Arc Length; 

Thickness 0.275mm - 150 degrees 

Arc Length; Thickness 0.300mm - 

150 degrees Arc Length; 

Thickness 0.325mm - 150 degrees 

Arc Length; Thickness 0.350mm - 

150 degrees Arc Length; 

Thickness 0.400mm - 150 degrees 

Arc Length; Thickness 0.450mm - 

150 degrees Arc Length

Insight Surgical Pty Ltd
IS001
Preloaded Capsulan Tension Ring
Capsular tension ring preloaded (acrylic)
13/11mm
$315.00
IS007
OII PMMA Capsular Tension Ring
Capsular Tension Ring - PMMA
12mm and 13mm
$135.00
Intraocular Lens

Alcon Laboratories (Aust.) Pty Ltd
AL021
Alcon AcrySof SN60WF
Foldable Acrylic Single-piece Lens with Blue
+ 6.0 D to +30.0 D
$385.00

 Light Protection and Aspheric Correction

Group 1 - Anterior Chamber: aphakic, rigid lenses

Advanced Medical Optics Australia Pty Ltd
AO019
Verisyse AC IOL
Aphakic Model
5mm Optic Diameter x 8.5 overall 
$156.00
$680.00

length

Alcon Laboratories (Aust.) Pty Ltd
AL003
MTAU1-MTAU-7
PMMA
+ 4 to 28 D
$156.00

Bausch & Lomb Surgical
BL005
Storz (Coburn) Intraocular Lens  121UV; 
PMMA Anterior Chamber Intraocular lens 1 
13.75mm length. 6.0mm optic size, 
$156.00

L122UV PMMAA Anterior Chamber Lens
piece
diopter range 3-30d. L122UV: 

6.0mm optic, 13.75mm length, 

power range; 5.0 to 30.0 Diopters
Prostheses List by Category, Groups and Sponsor
Page 237 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Emagin Pty Ltd
EG009
Artisan Anterior Chamber Intraocular Lens
Aphakia Model
5.00mm Optic Diameter x 8.5 in 
$156.00
$298.00

Composition: PMMA
overall length

Surface Modification Suffix

Advanced Medical Optics Australia Pty Ltd
AO001
Intraocular Lens: Model  AC 51B
Duralens  PMMA, Anterior Chamber IOL
6.00 mm Optic Diameter x 13.0mm 
$198.00

in overall length
AO011
Anterior Chamber IOL; Pharmacia Heparin 
Anterior chamber heparin coated PMMA 
808C: +8.0 to +30.0 diopter 
$198.00

Surface Modified AC IOL Model 352C
lenses 352C. Models 812C, 722C, 757C, 808C 
increments  and 352C: - +8.0 to 

& 352C.
+30.0 diopter increments

Group 2a - Anterior Chamber: phakic, rigid lenses.

Advanced Medical Optics Australia Pty Ltd
AO016
Verisyse AC IOL
Phakic Intraocular Lens: Model Myopia.  
5mm Optic Diameter x 8.5 overall 
$680.00
$728.00

Composition: PMMA
length; 6mm Optic Diameter x 8.5 

overall length
AO017
Verisyse AC IOL
Phakic Intraocular Lens: Model Hyperopia.  
5mm Optic Diameter x 8.5 overall 
$680.00
$728.00

Composition: PMMA
length

Emagin Pty Ltd
EG006
Artisan Anterior Chamber Intraocular Lens
Phakic Intraocular Lens: Model Myopia
5.00mm Optic Diameter x 7.5 in 
$680.00

Composition: PMMA
overall length; 5.00mm Optic 

Diameter x 8.5 in overall length; 

6.00mm Optic Diameter x 8.5 in 

overall length
EG007
Artisan Anterior Chamber Intraocular Lens
Phakic Intraocular Lens: Model Hyperopia
5.00mm Optic Diameter x 8.5 in 
$680.00

Composition: PMMA
overall length

Toric Suffix

Advanced Medical Optics Australia Pty Ltd
AO018
Verisyse AC IOL
Phakic Intraocular Lens: Model Toric
5mm Optic Diameter x 7.5 overall 
$888.00
$1,456.00

length

Emagin Pty Ltd
EG008
Artisan Anterior Chamber Intraocular Lens
Phakic Intraocular Lens: Model Toric
5.00mm Optic Diameter x 7.5 in 
$888.00
$1,538.00

Composition: PMMA
overall length
Prostheses List by Category, Groups and Sponsor
Page 238 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2b - Anterior Chamber: phakic foldable lenses

Emagin Pty Ltd
EG010
Artiflex Anterior Chamber Intraocular Lens
Optic: Hydrophobic Polysiloxane. Haptic: 
6mm optic diameter x 8.5 in overall 
$723.00
$880.00

PMMA
length

Group 3 - Posterior Chamber: aphakic, rigid lenses

Advanced Medical Optics Australia Pty Ltd
AO003
Intraocular Lens: Allergan AMO Duralens 
Duralens, PMMA, Posterior Chamber IOL    
5.5mm-6.5 mm Optic Diameter x 
$156.00

Posterior Chamber IOL Model PS42ANB, 
12.0mm-13.5mm in overall length.    

PS53ANB, PS60ANB, PS59NB, PS60AMB

Alcon Laboratories (Aust.) Pty Ltd
AL002
Intraocular Lens: MODIFIED C PMMA PC 
Other:PMMA
Range of Powers:-10 to +34 D
$156.00

IOL MODEL MZ60BD, MODIFIED PMMA

 PC IOL Model MZ20BD, CANTILEVER 

PMMA PC IOL MODEL CVC1U, Modified 

PMMA PC IOL Model MZ30BD, PMMA 

PC, IOL Model MC60BD, PMMA PC, IOL 

Model MC50BD, PMMA PC, IOL Model 

CZ70BD, MODIFIED C PMMA PC IOL 

MODEL 251.60 (MC50BM), MODIFIED C 

PMMA PC IOL MODEL 251.61 

(MC51BM), MODIFIED C PMMA PC IOL 

MODEL 551.61 (MC60CM), Alcon JF30BD 

Cantilever PMMA PC IOL, Alcon 

Cantilever Model LX90BD PMMA PC IOL,

 Alcon Cantilever Model LX10BD PMMA 

PC IOL, Alcon Cantilever Model LC80BD 

PMMA PC IOL, PMAA PC 

INTRAOCULAR LENS

Bausch & Lomb Surgical
BL006
Posterior chamber IOLS model P359 UV, 
PMMA Posterior Chamber lens 1 piece;
12.25mm to 13.75mm length. 5.5mm 
$156.00

P399 UV, 68 UV, 95 BUV, or lolab PC One 
to 7mm optic size, diopter range -

Piece, model 6741B, 8591B, 8191B; Model 
4.5 - 45d to 10 - 34d; EZE-Fit 65: 

EZE-Fit 65
6.5mm optic, 13.35mm length, 

Power range: 10.0 to 30.0 Diopter
Prostheses List by Category, Groups and Sponsor
Page 239 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Surface Modification Suffix

Advanced Medical Optics Australia Pty Ltd
AO022
Posterior Chamber IOL; Pharmacia Heparin 
CeeOn Posterior chamber, heparin coated , 
812C:+8.0 to +40.0 diopter 
$198.00

Surface Modified AC IOL Model 352C
PMMA lenses, One piece, biconvex. 812C, 
increments, 722C: +8.0 to +30.0 

722C, 757C, 808C CeeOn
diopter increments, 757C: -10.0 to 

+7.0 diopter increments

Group 4a - Posterior Chamber: aphakic, foldable, no edge modification, haptic plate lenses

Bausch & Lomb Surgical
BL010
Chiroflex Model C11UB
Intraocular Lens Foldable Plate Haptic  
10.50m length, 6.0mm optic size, 
$281.00

Silicone Posterior Chamber Foldable Plate 
diopter range 10-30d

Haptic Lens 1 piece

ConceptVision Australia Pty Ltd
CS001
Staar foldable silicone intraocular lens: 
Plate haptics 6.0mm; Polymide haptics 5.5 or 
10.8mm - 13.5mm length;
$281.00

Model AA4203VF; Model AA4204VF; 
6.3mm optic;

AA4204VL;

Aberration Technology Suffix

IQ Medical
IQ001
UltraChoice 1.0 Rollable Thinlens Model 
Acrylic, single piece, rollable, refractive 
Dioptric powers from 10.0 to 30.0 D
$323.00
$675.00

PHC001
multifocal with monofocal function meniscus

 optic, accommodating intraocular lens with 

50 micron edge

Toric Suffix

ConceptVision Australia Pty Ltd
CS002
Staar Toric foldable silicone intraocular 
Plate haptics 6.0mm optic
10.8mm - 11.2mm length
$411.00

lens: Model AA4203TF; Model AA4203TL

Group 4b - Posterior Chamber: aphakic, foldable, no edge modification lenses

Advanced Medical Optics Australia Pty Ltd
AO005
Intraocular Lens: Allergan Model SI-30NB 
PhacoFlex II SI-30NB Silicone or PhacoFlex 
6.0 mm Optic Diameter x 13.0mm in 
$281.00

Silicone PC IOL; or AMO model SI-40NB 
II SI-40NB Silicone; Foldable IOL
overall length.         

Silicone PC IOL
AO015
CEEON R Intraoccular Lens
Foldable intraocular lenses - ultraviolet light 
5-10 dioptre in 1.0 dioptre 
$229.00

absorbing posterior chamber intraocular 
increments; 1.3-30 dioptre in 0.5 

dioptre increments
Prostheses List by Category, Groups and Sponsor
Page 240 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Bausch & Lomb Surgical
BL007
Hydroview Intraocular lens Model H60M
Foldable Hydrogel Lens  Hydrogel Posterior 
12.50mm length, 6.0mm optic size, 
$281.00

Chamber Foldable lens 1 piece
diopter range 15-30d
BL009
Soflex UV Absorbing  Silicone Posterior 
Foldable Intraocular Lens  Silicone Posterior 
13.00mm length, 6.0mm optic size, 
$281.00

Chamber  IOL Model LI61U
Chamber Foldable Lens 3 piece
diopter range 5-30d

ConceptVision Australia Pty Ltd
CS003
Staar foldable silicone intraocular lens: 
Polyimide haptics 6.3mm optic - low diopters
14.0mm length
$229.00
$370.00

Model AQ 5010V

Device Technologies Australia Pty Ltd
DE263
MicroCryl Acrylic Introcular lenses
Foldable Monobloc Micrincision Posterior 
6.D-40.0D
$281.00
$390.00

Chamber Lens

MC611M1

Group 4c - Posterior Chamber: aphakic, foldable, posterior edge modification lenses

Alcon Laboratories (Aust.) Pty Ltd
AL004
 Acrysof Multipiece Models MA60BM, 
Foldable Acrylic Multi-piece Lens
 -5 D to +30 D
$312.00

MA30BA, MA50BM, MA60MA, 

MA30AC, MA60AC

Carl Zeiss Pty Ltd
CZ008
Hydromax
Hydrophobic Acrylic, Foldable, PC, 3-Piece, 
6.0mm Optic x 12.5mm Overall 
$312.00
$322.00

Square Edge Design, UV Blocker
Diameter

Device Technologies Australia Pty Ltd
DE264
MicroCryl Acrylic Introcular lenses
Foldable Monobloc Posterior Chamber Lens
6.0D-40.0D
$312.00
$395.00

AT

Carl Zeiss Pty Ltd
CZ010
XL Stabi ZO, Invent ZO
Hydrophilic Acrylic, Foldable, PC, Single 
6.0mm Optic x 10.5mm Overall 
$354.00
$364.00

Piece, Square Edge Design, UV Blocker, Tri-
Diameter

haptic, Quad Haptic, Aspheric Optic

AT, PP

Carl Zeiss Pty Ltd
CZ011
XL Stabi ZO Sky, Invent ZO Sky
Hydrophilic Acrylic, Foldable, PC, Single 
6.0mm Optic X 10.5mm Overall 
$374.00
$390.00

Piece, Square Edge Design, UV Blocker, 
Diameter

Trihaptic, Quad Haptic, Aspheric Optic, Pre-

Loaded
Prostheses List by Category, Groups and Sponsor
Page 241 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

PP

Carl Zeiss Pty Ltd
CZ009
Ethos
Hydrophobic Acrylic, Foldable, PC, 3-Piece, 
6.0mm Optic x 12.5mm Overall 
$332.00
$350.00

Square Edged Design, UV Blocker, Pre-
Diameter

Loaded

T

Device Technologies Australia Pty Ltd
DE253
MicroSil Toric IOL
Silicone Lens (MS6116TU) Standard Range -
Lens Dia =6.00mm Haptics Dia 
$520.00
$716.00

3.00 to 31.00 Dioptres in 0.5 steps with 
=11.6mm

cylinder from 2.00 to 12.00 Dioptres
DE254
MicroSil Toric IOL
Silicone Lens (MS6116TU) Semi-Custom 
Lens Diameter = 6.00mm Haptics 
$520.00
$958.00

Range -3.00 to 31.00 Dioptres with 1.0 steps, 
Dia = 11.6mm

Cylinder from 3.0 - 14.0 Dioptres
DE255
MicroSil Toric IOL
Silicone Lens (MS6116TU) Custom made 
Lens Dia = 6.00mm Haptics Dia = 
$520.00
$1,537.00

range: -28 to +31 Sphere and up to 30D 
11.6mm

cylinder

Group 4d - Posterior Chamber: aphakic, foldable, anterior and posterior edge modification 

Advanced Medical Optics Australia Pty Ltd
AO002
Sensar  AR40 Monofocal Acrylic IOL,  
Soft Acrylic, Foldable, UV Absorbing, 
6 mm Optic Diameter x 13mm in 
$322.00

Sensar OptiEdge AR40e Foldable Acrylic 
Posterior
overall length.      

IOL
AO006
Clariflex, Model CLRFLXB Posterior 
Foldable Silicone IOL with OptiEdge design
One size only
$322.00

Chamber Intraocular Lens
AO013
Ceeon Model 911A Edge Foldable UV 
Silicon, foldable, UV absorbable intraocular 
5 - 10D in 1.0 diopter increments, 
$312.00

Absorbing Posterior Chamber IOL
lens with equibiconvex design and square 
10.5 - 30D in 0.5 diopter increments

optic edge

Alcon Laboratories (Aust.) Pty Ltd
AL011
Intraocular Lens: Alcon Acrysof Model 
Foldable Acrylic Single-piece Lens, 
Range of Powers: +6 to +40 D
$322.00

SA30AL, Alcon Acrysof Model SA60AT, 
asymmetric optic/consistent edge

SA30AT Intraocular Lens; Alcon Acrysof 

PC IOL Model SA65AT
AL025
AcrySof Multipiece Models MN60MA, 
Foldable Acrylic multi-piece Lens with Blue 
- 5 D to + 30 D
$364.00

MN60AC
light Protection
Prostheses List by Category, Groups and Sponsor
Page 242 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Bausch & Lomb Surgical
BL019
Akreos Fit acrylic foldable posterior 
Composition: Hydrophilic acrylic polymer.  
10.0 to 15.0 Diopter in 1.0 Diopter 
$322.00

chamber intraocular lens
Packaged in lens folding device in a sterile 
increments; 15.0 to 25.0 Diopter in 

vial.  Modified C-Loop design
0.5 Diopter increments; 25.0 to 30.0

 Diopter in 1.0 Diopter increments
BL020
Akreos Adapt acrylic foldable posterior 
Composition: Hydrophilic acrylic polymer.  
10.0 to 15.0 Diopter in 1.0 Diopter 
$322.00

chamber intraocular lens
Packaged in lens folding device in a sterile 
increments

vial.  Four haptic design
15.0 to 25.0 Diopter in 0.5 Diopter 

increments

25.0 to 30.0 Diopter in 1.0 Diopter 

increments
BL021
SoflexSE, Intraocular lenses, Posterior 
Composition: silicone, Lenses - foldable, 
Range of powers: 5.0 to 30.0 
$322.00

Chamber
posterior chamber intraocular lenses
Diopter - Optic diameter 6.0mm; 

13.0mm length

Carl Zeiss Pty Ltd
CZ003
IOLTECH Intraocular Lens: Model Bigbag
IOLTECH Hydrophilic acrylic, foldable, PC, 
6.5mm optic diameter x 10.35 
$322.00
$468.00

single piece, Tri-haptic, square edge design, 
overall diameter

UV blocker
CZ005
IOLTECH Intraocular Lens, Model 
IOLTECH hydrophilic acrylic, foldable, CP, 
5.5mm to 6.0mm optic x 10.5mm to 
$322.00

Stabibag, Model XL Stabi
single piece, square edge design, UV 
10.75mm overall diameter

blocker, Tri-haptic
CZ007
IOLTECH MICS IOL
IOLTECH Hydrophilic acrylic, Anti vault 
5.5mm - 6.0mm optic X 12mm 
$322.00
$395.00

haptics, PC, single piece, square edge 
overall diameter

design, UV blocker, contains single use 

ConceptVision Australia Pty Ltd
CS007
Staar foldable silicone IOLs: Models 
Plate haptics 6.0mm; Polymide haptics 5.5 or 
10.8mm 0 13.5mm length
$281.00

AQ2010V, AQ2017V and AO2003V
6.3mm optic;

Kevin Grundy (IBD) Pty Ltd
KG001
Rayner C-Flex
Hydrophilic HEMA-MMA copolymer, 
5.75mm dia optic, 12.00mm dia 
$322.00

foldable with injector
overall
KG002
Superflex
Hydrophilic HEMA-MMA copolymer, 
6.25mm dia optic, 12.5mm dia 
$322.00

foldable with injector
overall
Prostheses List by Category, Groups and Sponsor
Page 243 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Aberration Technology Suffix

Advanced Medical Optics Australia Pty Ltd
AO014
Tecnis TM Intraocular Lens
Foldable Intraocular Lenses - Ultraviolet 
5-10 dioptre in 1.0 dioptre 
$364.00

light absorbing posterior chamber 
increments; 10.5 - 30 dioptre in 0.5 

intraocular lenses, Silicone/Acrylic
increments

AT

Bausch & Lomb Surgical
BL022
SofPort Advanced Optic (AO)
Posterior chamber, foldable silicone IOL with
0 D to 30.0 D
$364.00

 anterior optic-haptic square edge, posteriof 

optic-haptic square edge, 360-degree optic 

square edge and asperic optic for aberration 

control
BL023
Akreos Advanced Optic
Posterior chamber, foldable acrylic IOL, with 
0 D to 30.0 D
$364.00

anterior optic-haptic square edge, posterior 

optic-haptic square edge, 360 degree optic 

square edge and aspheric optic for 

aberration control

Insight Surgical Pty Ltd
IS008
Quatrix Aspheric Micro-Incision 2.2mm 
Posterior chamber IOL, acrylic, single piece 
+10 to +30
$364.00
$445.00

Intraocular Lens
with 360 degree square edge includign the 

optic haptic junction, 8 point stability, 

evolutive aspheric, packaged with 

disposable syringe and cartridge.

IQ Medical
IQ004
Softec
Acrylic, single piece, foldable intraocular 
Available in dioptric powers from -
$364.00

lens with anterior and posterior optic-haptic 
5.0 to +36.0, 1D steps: -5.0 to +10.0 

square edge, 360 degree optic square edge 
and +31.0 to +36.0; 0.5D steps: 

design, precision power calculation and 
+10.5 to +18.0 and +25.0 to +29.5; 

aberration technology
0.25D steps: +18.0 to +25.0

AT, BLF

Bausch & Lomb Surgical
BL025
SofPort Advanced Optic (AO) Violet 
Posterior chamber, aphakic, foldable 
6mm optic 13mm overall length
$406.00

silicone, anterior & posterior edge 
Modified  C 5 degree angulation 0-

modification intraocular lens with aberration 
30D, 0.5D steps

technology, a violet light
Prostheses List by Category, Groups and Sponsor
Page 244 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

AT, PP

Bausch & Lomb Surgical
BL026
Akreos AO Micro Incision Lens
Micro Incision, posterior chamber, foldable 
6mm optic overall diameter 
$385.00
$510.00

acrylic, aphakic, anterior & posterior edge 
11.0mm(10D-15D), 10.7mm (15.50-

modification, preloaded, with aberration 
22D), 10.5mm (22.50-30D)

contro, intraocular lens

ConceptVision Australia Pty Ltd
CS008
Preloaded Aspheric Intraocular Lens
Silicone intraocular lens
6.0mm
$345.00

BLF, AT, PP

Alcon Laboratories (Aust.) Pty Ltd
AL024
AcrySof SN60WS
Foldable Acrylic Single-piece Lens with Blue
+6 to +36 D
$420.00

 light protection and aspheric correction, in 

cartridge.

Blue Light Filter Suffix

Alcon Laboratories (Aust.) Pty Ltd
AL016
Alcon Acrysof Natural Model SN60AT
Foldable Acrylic Single-piece Lens, 
+6 to +40D
$364.00

asymmetric optic/consistent edge, with blue 

light protection

Blue Light Filter, Pre-Packaged Suffix

Alcon Laboratories (Aust.) Pty Ltd
AL019
AcrySof Model SN60AS
Foldable Acrylic Single-piece lens, in 
+6 to +40 D
$384.00

cartridge, with blue light protection

PL

Ausponsor Pty Ltd
AQ001
Hoya-PS AF-1 (UV) PC-60R
Preloaded in cartridge, Foldable, Single-
+4.0 D to =30.0D (0.5D steps)
$342.00

Piece, Hydrophobi Acrylic

PL, AT

Insight Surgical Pty Ltd
IS009
Quatrix Aspheric Preloaded Intraoular Lens
Preloaded posterior chamber IOL, acrylic, 
+10 to +30
$384.00
$535.00

single piece with 360 degree square edge 

including the optic haptic junction, 8 point 

stability, evolutive aspheric, packaged in a 

preloaded syringe.
Prostheses List by Category, Groups and Sponsor
Page 245 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

PL, BLF

Ausponsor Pty Ltd
AQ002
Hoya-PS AF-1 (UY) PY-60R
Preloaded in cartridge, Blue blocker, 
+4.0D to +30.0D (0.5D steps)
$384.00

Foldable, Single-piece, Hydrophobic Acrylic

PL, BLF, AT

Ausponsor Pty Ltd
AQ003
Hoya-PS AF-1 (UY) PY-60AD
Preloaded in cartridge, Aspheric, Blue 
+6.0D to +30.0D (0.5D steps)
$420.00

blocker, Foldable, Single-Piece, 

Hydrophobic Acrylic

PP

Carl Zeiss Pty Ltd
CZ006
IOLTECH Intraocular Lens, Model 
IOLTECH hydrophilic acrylic, foldable, CP, 
5.5mm to 6.0mm optic x 10.5mm to 
$343.00

Stabibag RTU, Model XL Stabi RTU/Sky
single piece, square edge design, UV 
10.75mm overall diameter

blocker, Tri-haptic, Ready to use single use 

ConceptVision Australia Pty Ltd
CS005
Staar foldable silicone intraocular lens: KS-
Silicone, foldable, polyamide haptics
6mm Optic, 12.5mm overall length
$302.00

3 Model AS310NV

T,BLF

Alcon Laboratories (Aust.) Pty Ltd
AL023
Alcon AcrySof Toric PC IOL Models
Posterior chamber, UV absorbing, foldable, 
SN60T3 (1.50 D cylinder), SN60T4 
$572.00
$830.00

acrylic, toric, single piece lens with blue light
(2.25 D cylinder), SN60T5 (3.00 D 

 protection
cylinder), SN60T6 (3.75 D 

cylinder), SN60T7 (4.50 D 

cylinder), SN60T8 (5.25 D 

cylinder), SN60T9 (6.00 D cylinder)

Toric Suffix

Kevin Grundy (IBD) Pty Ltd
KG003
Rayner Standard Toric C-Flex
Hydrophilic HEMA-MMA copolymer, 
5.00mm dia optic, 12.00mm dia 
$530.00
$900.00

foldable with injector
overall, cyls 2.0D to 6.0D in 2D 

increments
KG004
Rayner Premium Toric C-Flex
HEMA-MMA copolymer, foldable with 
5.75mm dia optic, 12.00mm dia 
$530.00
$1,800.00

injector
overall, cyls 1.5D to 11.0D in 0.5D 

increments
Prostheses List by Category, Groups and Sponsor
Page 246 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 5a - Posterior Chamber: aphakic, foldable, multifocal/bifocal lenses

Advanced Medical Optics Australia Pty Ltd
AO004
Intraocular Lens: Allergan AMO Array 
Array Multifocal SA40N, Silicone, Foldable 
6.0 mm Optic Diameter x 13.0mm 
$780.00
$950.00

Multifocal UV Absorbing Silicone 
IOL
overall length.                    

Posterior Chamber IOL Model SA-40N
AO020
ReZoom Acrylic Multifocal Intraocular Lens
Acrylic, foldable, posterior chamber, 
6.0mm Optic Diameter x 13.0mm 
$780.00
$950.00

intraocular lens
overall length

Group 5b - Posterior Chamber: aphakic, foldable, anterior and posterior edge modification, 

Advanced Medical Optics Australia Pty Ltd
AO023
Tecnis Multifocal Intraocular Lens
Tecnis Multifocal foldable Posterior 
+5.0 Diopter to 34.0 Diopter in 0.5 
$780.00
$950.00

Chamber Diffractive Intraocular Lens Model 
diopter increments

ZM900.  Posterior Chamber lens with UV 

light-absorbing, foldable, silicone, 3 piece 

with a diffractive posterior optic and a 

Modified Prolate Anterior Surface 

Alcon Laboratories (Aust.) Pty Ltd
AL017
Alcon AcrySof ReSTOR PC Diffractive IOL
Posterior Chamber, UV absorbing, foldable, 
+10.0 to +30.0 D
$780.00
$1,180.00

 Model SA60D3
acrylic, single piece lens with apodised 

diffractive optic

Carl Zeiss Pty Ltd
CZ004
IOLTECH Intraocular Lens: Model MF4
Multifocal IOLTECH hydrophilic acrylic, 
6.00mm optic diameter x 10.5mm 
$676.00

foldable, PC single piece, Tri-haptic, square 
overall diameter

edge design, UV blocker

BLF

Alcon Laboratories (Aust.) Pty Ltd
AL022
Alcon AcrySof ReSTOR PC Diffractive IOL
Posterior Chamber, UV absorbing, foldable, 
+10.0 to +30.0 D
$820.00
$1,250.00

 Natural Model SN60D3
acrylic, single piece lens with apodised 

diffractive optic and blue light protection.
AL027
ReSTOR multipiece apodised diffractive 
Foldable acrylic mutli-piece lens with 
+6 to +30 Diopters
$820.00
$1,220.00

blue light filtering PC IOL Model MN60D3
apodised diffractive optic and blue light 

protection
Prostheses List by Category, Groups and Sponsor
Page 247 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

BLF, AT

Alcon Laboratories (Aust.) Pty Ltd
AL028
ReSTOR apodized diffractive aspheric 
UV and Blue Light Filtering Foldable Single-
+10.0 to +30.0D in 0.5 dioptre 
$862.00
$1,500.00

intraocular lens - SN6AD3
Piece Apodized Diffractive Aspheric Optic 
increments and +30.0D to +34.0D 

Posterior Chamber Lens
in 1.0 dioptre increments

Group 5c - Posterior Chamber: aphakic, foldable, multifocal, accommodative lenses.

P - partially accommodative

ConceptVision Australia Pty Ltd
CS004
Eyeonics Inc Crystalens
Silicon Multipiece Folding Accommodating 
Optic Diameter:  4.5mm; Overall 
$450.00

Intraocular Lens
Length:  11.5mm

Device Technologies Australia Pty Ltd
DE260
ICU Akkomodative® IOL
ICU Akkomodative IOL- Acrylic lens Range 
Lens Dia =5.5mm Haptics Dia 
$490.00
$950.00

15-35 Dioptres in 0.5 steps
=9.8mm

IQ Medical
IQ003
Tetraflex
Acrylic single piece, foldable 
Available in dioptric powers from 
$490.00
$850.00

accommodating intraocular lens with sqare 
+5.0 to +36.0, 1D steps: +31.0 to 

edge design, custom control precision and 
+36.0; 0.5D steps: +5.0 to +18.0 

closed loop haptic design
and +25.0 to +30.0; 0.2D steps; 

+18.0 to +25.0
Ophthalmic Accessories

Advanced Medical Optics Australia Pty Ltd
AO021
Stabileyes Capsular Tension Ring
Polymethylmethacrylate (PMMA) Implant
12mm ring, and 13mm ring
$250.00

Alcon Laboratories (Aust.) Pty Ltd
AL001
Capsular Tension Rings
-
10.0 - 12.0 compressed,  12.3 - 14.5 
$255.00

uncompressed

Design for Vision Pty Ltd
DV029
Eyejet CRT
Capsular tension ring made of PMMA per-
14 (10mm), 14C (11mm), 14A (12mm)
$200.00

load on disposable injector

Emagin Pty Ltd
EG001
Capsular Tension Rings Clear
PMMA Implant
10/08, 12/10, 13/11mm
$132.00
$143.00
EG002
Iris Prosthetic System Single Element
PMMA Implant
1/4, 1/3mm
$414.00
$455.40
EG003
Iris Prosthetic System Double Element
PMMA Implant
2/3, 2/4mm
$414.00
$455.40
Prostheses List by Category, Groups and Sponsor
Page 248 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EG005
Capsular Tension Rings Coloured
PMMA Implant
10/08, 12/10, 13/11mm
$144.00
$159.00
Plug, lacrimal, punctum

Device Technologies Australia Pty Ltd
DE276
Punctal Plug
Plug Lacrimal, Punctum
X-Small, Small, Medium, Large
$140.00
Prostheses, Evisceration

Device Technologies Australia Pty Ltd
DE188
Acrylic Implant
Acrylic
12, 14, 16, 18, 20mm.
$35.00
$52.00
DE202
John Weiss Glass Mule Globes
Glass
No: 12, 14, 16, 18, 20mm
$53.00
DE203
Katena Plastic Eye Sphere's Non Sterile
Acrylic
No: 10, 12, 14, 16, 18, 20, 22mm
$35.00
Prostheses, Eyelid

Design for Vision Pty Ltd
DV005
Gold Eyelid Load 
Small Range - standard
0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g 
$390.00
DV007
Gold Eyelid Load 
Large Range
1.8g, 2.0g, 2.2g, 2.4g, 2.6g, 2.8g  
$780.00
$824.00
DV012
Gold Eyelid Load
Small range - thin profile
0.6g, 0.8g, 1.0g, 1.2g, 1.4g, 1.6g
$390.00
$412.00

Spectrum Surgical
SO017
FCI Ptose-up
Expanded PTFE
15cm long x 2 or 3mm wide x 
$315.00

0.35mm thick
Prostheses, Orbital Rim

Spectrum Surgical
SO006
FCI Orbital Implants
Orbital Implant, Bioceramic (Aluminium 
Bioceramic diameter, 12, 14, 16, 18, 
$1,000.00

Oxide)/Hydroxyapatite (Synthetic)
20, 21, 22mm; Synthetic Diameter, 

10, 12, 14, 16, 18, 20, 22mm
Prostheses List by Category, Groups and Sponsor
Page 249 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SO007
FCI Orbital Implants
Mesh wrapped orbital implant: mesh 
Bioceramic diameter: 16, 18, 20, 
$1,500.00

wrapped bioceramic (aluminium oxide), mesh
22mm; Synthetic Hydroxyapatite 

 wrapped hydroxyapatite (synthetic), mesh 
diameter: 16, 18, 20, 22mm

wrap (polyglycolic acid)
SO019
FCI Obrbital Implants
Peg & Sleeve
Standard Large
$750.00
Retinal, Detachment, Repair, Prostheses

Bausch & Lomb Surgical
BL011
Storz E5381 Silicone Strip
Silicone Sleeve
1.65mm to 2.2mm diameter, length 
$32.00

6.1mm to 30mm
BL012
Storz E5395 3 Cylindrical Sponge Implant
Retinal Fixation Device
2.3mm x 2.5mm x 80mm, to 7.5mm x 
$196.00

7.5mm x 100mm
BL013
Storz E5381 Silicone Strip
Silicone Tire
Outside diameter 30.2m to 33.6mm, 
$32.00

inner diameter 26mm, overall 

length 10.4mm to 125mm
BL014
Storz E5381 Silicone Strip
Circling Band
Overall length 10.4mm to 125mm
$30.00
Scleral Buckling Devices

Device Technologies Australia Pty Ltd
DE178
Silicon Retinal Implant
Sponge
2.5 x 4.0 x 80mm, 3.0 x 5.0 x 100mm, 
$75.00

3.25 x 7.0 x 80mm, 5.5 x 7.5 x 80mm, 

1.5 x 80mm, 2.0 x 80mm, 2.5 x 80mm, 

3.0 x 80mm, 4.0 x 80mm, 5.0 x 80mm, 

7.0 x 80mm
DE179
Silicon Retinal Implant
Tire 
7.0, 9.0, 12.5, 6.0, 8.5, 10.0mm
$38.00
DE180
Silicon Retinal Implant
Sleeve
1mm, .76mm, 1.5mm
$14.00
DE181
Silicon Retinal Implant
Band
0.75 x 2.0 x 125mm, 0.60 x 2.5 x 
$30.00

125mm, 0.75 x 2.5 x 125mm
Prostheses List by Category, Groups and Sponsor
Page 250 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Spectrum Surgical
SO009
FCI Scleral Buckling Devices
Band/strip: solid silicone
Band - 2.0 x 0.75mm Type 40, 3.5 x 
$35.00

0.75mm Type 41, 4.0 x 1.25mm 

Type 42, 2.5 x 0.6mm Type 240, 

Morin 3.5 x 0.6mm

Strip - 5.7mm Type 20, 7.2mm Type

 31, 9.2mm Type 32, 6mm Type 219,

 7.5mm Type 220, 8mm Type 225
SO010
FCI Scleral Buckling Devices
Fixation Sleeve: Solid silicone
O.D: 1.65 to 2.41mm, Length 30mm
$30.00
SO011
FCI Scleral Buckling Devices
Tire: Solid Silicone
Symmetrical: (2.5 mm Groove, 7 to 
$40.00

9mm wide), Biconvex: (2.5mm 

Groove, 7 to 10mm wide), 

Asymetrical: (2.5mm Groove, 7 to 

10mm wide)
SO012
FCI Scleral Buckling Devices
Sponge/Cord: Silicone
Cord: 1.0 to 5.0mm O.D. x 150mm 
$120.00

length; Half Cord: 3.0mm to width 

x1.5mm to 2.5mm height x150mm; 

Circular Sponge: 3 to 5mm; Oval 

Sponge: 2 to 5.5mm x 4 to 12mm; 

Half Sponge: 2 to 3.1mm x 4 to 

7.5mm; Grooved Sponge: 3 to 5mm 

x 5 to  12mm; Gain Sponge: 6 x 

2.5mm; Sahal Sponge: 4 to 5mm x 5 

to 7mm
SO013
FCI Scleral Buckling Devices
Strip: Solid Silicone
Strip: 1.4 x 4.4 x 100mm, Morin 
$150.00

Strip: 7mm wide x 100mm long, 

Caputo Zip Strip: 7 to 9mm wide x 

120mm long, Korobelnik Oval 

Strip: 2 x 5mm
SO014
FCI Scleral Buckling Devices
Band: Solid Silicone
Devin Band: 1 x 4 x 120mm, 
$105.00

Ducournau Band: height 2 to 2.5 x 

5.5 to 7.5mm x length 120mm, 

Ducournau Band II: 2.1 x 5.5 x 

120mm
SO015
FCI Scleral Buckling Devices
Band: Expanded PTFE
Ducournau Band: 2.5 x 5.5 to 
$455.00

7.0mm x 120mm, Band: 0.5mm to 2.1

 x 2.5mm to 15 x 120mm
Prostheses List by Category, Groups and Sponsor
Page 251 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SO016
FCI Scleral Buckling Devices
Sponge/Strip: Expanded PFTE
Circular Sponge: 3 to 5 x 90mm, 
$375.00

Oval Sponge: 2 to 4mm x 3 to 5 x 

90mm, Half Sponge: 2.5 x 7.5 x 

120mm; Strip: 9 x 90mm
Sleeves

Device Technologies Australia Pty Ltd
DE187
P-K Flat Headed Peg and Sleeve Set
Titanium
One size only
$66.00
Spheres, Eye

Device Technologies Australia Pty Ltd
DE184
Hydroxyapatite Ocular Implant (orbital 
Coral
16 - 22mm
$1,200.00
$1,300.00

sphere)  
Tubes, Lacrimal

Design for Vision Pty Ltd
DV021
Eyetec DCR Tubes
Stainless steel, silicone tubing, Crawford 
32cm
$130.00

lacrimal intubation set
DV022
Eyetec DCR Tubes
Stainless steel, silicone tubing, Bodkin 
30cm
$37.33

lacrimal intubation set
DV023
Eyetec DCR Tubes
Stainless steel, silicone tubing, Canaliculus 
30cm
$98.00

lacrimal intubation set

Device Technologies Australia Pty Ltd
DE278
BD Visitec Lacrimal Intubation Sets
Stainless steel probes with solid silicone 
1. Probes 0.90mm x 4.5cm, rod 40cm
$135.00

rods or silicone tubing - packaged sterile
 x 0.80mm. 2. Probes 0.40mm x 

11cm, tubing 35cm x 0.64mm. 

Probes 0.60mm x 11mm, tubing 

35cm x 0.30mm.
Prostheses List by Category, Groups and Sponsor
Page 252 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Spectrum Surgical
SO020
FCI Lacrimal Intubation Set
Silicone Tubing/Silicone Plug/Metal 
Bika: 0.64mm O.D. Tube/80 x 0.8mm
$180.00

Probes/Polypropylene Thread
 probes, Bika 1.18: 1.18mm O.D. 

Tube/40 x 1.2mm probes, Bika for 

DCR: 0.94mm O.D. Tube/50 x 

0.8mm probes, Infant Bika 0.64mm 

O.D. Tube/55 x 0.7mm probes, 

Infant Bika II: 0.64mm O.D. 

Tube/60 x 0.8mm probes, 

Besancon-Nancy Probe: 0.64mm 

O.D. Tube/80 x 0.8mm probes, 

Crawford Probe: 0.64mm O.D. 

Tube/0.7mm thick probes, FCI 2 

Probe: 0.64mm O.D. Tube/80 x 

0.8mm probes, Ptosis Probe: 

Tube/80 x 0.8mm probes, Mini 

Monoka: 0.64 x 40mm Tube/2mm 

Plug, Perforated Mini Monoka: 

0.64 x 40mm Tube/2mm, Perforated 

Plug, Medium Collarette Monoka, 

Wide Collarette Monoka: 0.64mm 

O.D. Tube/80 x 0.8mm probes/4mm 

Plug, Wide Collarette Monoka for 

Infants: 0.64mm O.D. Tube/60 x 

0.8mm probes/4mm Plug, Ritleng 

Lacrimal Intubation Set: 0.64mm 

O.D. Tube/ Polypropylene thread, 

Self-Threading Monoka Ritleng 

Type: 0.64mm O.D. 

Tube/Polypropylene thread/4mm 

Plug, Medium Collarette Self-

Threading Monoka Ritleng Type
Prostheses List by Category, Groups and Sponsor
Page 253 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SO021
FCI Lacrimal Intubation Set
PVP Coated Silicone Tubing/PVP Coated 
PVP Bika: 0.64mm O.D. Tube/80 x 
$230.00

Silicone Plug/Metal Probes/Polypropylene 
0.8mm probes, PVP Differential 

Thread
Bika: 0.64 & 1.18mm O.D. Tube/40 

x 1.2mm probes, PVP Bika for DCR:

 0.94mm O.D. Tube/50 x 0.8mm 

probes, PVP Infant Bika 0.64mm 

O.D. Tube/55 x 0.7mm probes, PVP 

Infant Bika II: 0.64mm O.D. 

Tube/60 x 0.8mm probes, PVP 

Besancon-Nancy Probe: 0.64mm 

O.D. Tube/80 x 0.8mm probes, PVP 

Ritleng Lacrimal Intubation Set: 

0.64mm O.D. Tube/Polypropylene 

thread, PVP Mini Monoka: 0.64 x 

40mm Tube/2mm Plug, Wide 

Collarette PVP Monoka: 0.64mm 

O.D. Tube/80 x 0.8mm probes/4mm 

Plug, Self-Threading PVP Monoka 

Ritleng Type: 0.64mm O.D., Tube/ 

Polypropylene thread/4mm Plug, 

PVP Metaireau Tube Oval Collar: 

40mm Tube/4mm Plug, PVP 

Metaireau Tube Round Collar: 

40mm Tube/4mm Plug, 

Lacosystem: Tube 

/Probe/Polypropylene thread
Tubing, Other

Device Technologies Australia Pty Ltd
DE177
Lester Jones Tear Duct Tubes
Glass
3 x 9 to 16mm, 3.5 x 9 to 18mm, 4.0 x
$56.00

 9 to 24mm, 5.0 x 9mm
DE199
The Gladston/Putterman Tubes by Gunther
Glass
3.0mm x 10 to 16mm; 3.5mm x 9 to 
$154.00

 Weiss
18mm; 4.0mm x 12 to 19mm
DE200
Bayliss Tubes by Gunther Weiss
Glass
3.0mm x 10 to 16mm; 3.5mm x 9 to 
$180.00

18mm; 4.0mm x 12 to 19mm
Prostheses List by Category, Groups and Sponsor
Page 254 of 724
OPHTHALMIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Valves, Eye

Design for Vision Pty Ltd
DV017
Molteno Implant
Single plate
One size only
$315.00
$345.00
DV018
Molteno Implant
Single plate - dual chamber
One size only
$340.00
$380.00
DV019
Molteno Implant
Double plate
One size only
$425.00
DV020
Molteno Implant
Double plate - dual chamber
One size only
$510.00
Prostheses List by Category, Groups and Sponsor
Page 255 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Anchor, Fixation

Biomet Australia Pty Ltd
BI320
Arthrotek Harpoon System
Suture Anchor, Stainless Steel, Ti
1 to 5
$450.00

ConMed Linvatec Australia Pty Ltd
LV003
Ultrafix RC, Anchor
Soft Tissue Re-attachment - Titanium
2.9mm predeployed diameter
$300.00
LV005
Ultrafix MiniMite StitchPak Suture Anchor
Soft Tissue Re-attachment - Stainless Steel
2.3mm predeployed diameter
$338.00
LV006
Ultrafix RC StitchPak Suture Anchor
Soft Tissue Re-attachment - Titanium
2.9mm predeployed diameter
$325.00
LV024
Ultrafix MicroMite Small Joint Anchor
Suture Anchoring Device - Titanium
1.5mm predeployed diameter
$290.00
$385.00
LV027
Pre-Loaded Ultrafix RC Anchor
Surgical Grade Stainless Steel, preloaded 
Dia 2.9mm, length 6.5mm
$375.00
$445.00

with 2 #2 sutures
LV091
ThRevo Suture Anchor
Titanium screw-in suture anchor
5.0mm OD x 14.2mm L
$410.00
LV092
Duet Suture Anchor System with Hi-Fi 
Self-Reinforced 96L/4D PLA Copolymer
6.0mm O.D. x 16.5mm L
$460.00
$525.00

Suture

Device Technologies Australia Pty Ltd
DE063
Parachute Corkscrew Suture Anchor
PLA  & Titanium
3.5mm - 5mm
$455.00
DE064
Corkscrew Suture Anchor 
Titanium alloy
3.5 - 6.5mm x  5.0mm
$255.00
DE066
FASTak Titanium Suture Anchor
Titanium alloy
One size only
$240.00
DE162
FASTak Suture Anchor (Small Bone)
Titanium suture anchor, preloaded with 
Dia 2.4mm x length 7.5mm
$425.00

polyester suture
DE196
Corkscrew Suture Anchor
Titanium alloy with Fibrewire suture
3.5mm - 6.5mm
$360.00
DE198
Fastak Suture Anchor (Small Bone)
With Fibrewire Suture
Dia. 2.4mm x Length 7.5mm
$430.00
DE225
Fastak Anchor
Titanium with fibrewire suture
2.8mm x 11.7mm
$355.00

Global Orthopaedic Technology
GO170
Resofix Anchor
Resofix anchor is a 2-shell expansion bolt 
Resofix - S Anchor - 10mm; Resofix
$1,000.00

made of amorphous poly DL-Lactide 
 - P Anchor - 10mm

resorbablel polyester

Johnson & Johnson Medical Pty Ltd
JJ076
Mitek Ethibond Knotless Suture Anchor
Titanium anchor
2.7 x 10.8 mm
$385.00
JJ077
Mitek Polypropylene Meniscus Fastner
Polypropylene anchor
6 & 8mm x 4mm 
$248.00
JJ097
Mitek Fastin RC Anchor 
Titanium Anchor, with various sutures
5 x 13.5mm
$281.00
Prostheses List by Category, Groups and Sponsor
Page 256 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ124
Intrafix Tibial Sheath
High density polyethylene sheath
7 to 10mm x (15 to 30mm)
$272.00

Smith & Nephew Surgical Pty Ltd
SN651
OBL Anchor System
Preloaded Soft Tissue Anchor System 
Anchor sizes - Titanium: 2.8, 3.5, 
$255.00

Material: Titanium Alloy or Polyacetal 
4.0 5.0, 6.5mm Anchor size - 

Polymer. Comes with Insertion device and 2 
Polymer: 5.0mm

Braided Polyester Sutures
SN652
OBL Anchor System 
Soft Tissue Anchor System Non-preloaded 
4.0 and 6.5mm
$218.00

Material:  Titanium Alloy
SN703
Absorbable Suture Anchor
Preloaded PLLA Suture Anchor
2.9mm, 5.0mm & 6.5mm
$460.00
SN714
TwinFix
Quick-T
2.8 - 6.5mm
$460.00

Stryker Australia Pty Ltd
HW373
Howmedica Mainstay Soft Tissue Anchor
With suture - Titanium
4.5 anchor with #2 and #5 suture, 
$190.00

2.7 anchor with #0 suture
HW374
Howmedica Mainstay Soft Tissue Anchor
Without suture - Titanium
4.5, 3.5 and 2.7 anchor
$152.00
HW375
Howmedica Mainstay Soft Tissue Anchor
Zip anchor - Titanium
Sip 4.5 anchor with #5 suture and 
$257.00

#2 suture 2 strands, zip 3.5 anchor 

with #2 suture and #0 suture 2 

strands, zip 2.7 anchor with #0 

suture
SK048
Stryker Cuff Anchor
Titanium anchor kit for soft tissue 
Length 5-8mm
$357.00

reattachment
SK176
Stryker Cuff Anchor
Bio Zip PLLA anchor for soft tissue 
Dia 3 - 8mm
$397.80

ligament/tendon fixation
SK177
Stryker Cuff Anchor
Glenoid Titanium anchor kit for soft tissue 
Dia 2 - 3mm
$193.80

reattachment

Zimmer Pty Ltd
ZI161
Zimmer Internal Fixation Systems: Cable 
Cable-Ready Stainless Steel
1.3 mm
$330.00

System
ZI163
Zimmer Internal Fixation Systems: Cable 
Cable-Ready Plate Cable Stainless Steel
610 mm long
$367.00

System
ZI164
Zimmer Internal Fixation Systems: Cable 
Cable-Ready GTR Distal end Cable - Cobalt 
635 mm long
$450.00

System
Chrome
ZI167
Zimmer Internal Fixation Systems: Cable 
Cable-Ready 6 Hole Plate - Stainless Steel
187mm long
$660.00

System
ZI168
Zimmer Internal Fixation Systems: Cable 
Cable-Ready 8 Hole Plate - Stainless Steel
246mm long
$710.00

System
Prostheses List by Category, Groups and Sponsor
Page 257 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI169
Zimmer Internal Fixation Systems: Cable 
Cable-Ready 10 Hole Plate - Stainless Steel
305mm long
$790.00

System
ZI170
Zimmer Internal Fixation Systems: Cable 
Cable-Ready Pin - Stainless Steel
35, 40, 45, 65mm long
$645.00

System
ZI173
Zimmer Internal Fixation Systems: Cable 
Cable-Ready GTR Cable - Proximal 
635mm long
$505.00

System
ZI174
Zimmer Internal Fixation Systems: Cable 
Cable-Ready Stainless Steel Cable
1.8mm
$407.00

System
ZI234
Cable System 
Cable Ready, Cable Button
2,5mm - 5,0mm
$183.00
Anchors, Synthetic Ligament

ConMed Linvatec Australia Pty Ltd
LV001
Linvatec Super Revo Soft Tissue Anchor
Contains screw, driver and sutures
$357.00
$450.00
LV002
Li Medical Ultrasorb Bioabsorable Suture 
Contains anchor, non-absorbable suture, 
$410.00
$434.50

Anchor
surgical needles
LV007
Bio Twist Bioabsorbable Rotator Cuff 
Soft Tissue Re-attachment - PLLA
6mm diameter
$275.00

Anchor

Johnson & Johnson Medical Pty Ltd
JJ075
Mitek Ligament Anchor 
Titanium anchor
6mm x (15 to 25mm)
$440.00
JJ082
Mitek Mini Anchor Threader Tab
Titanium Suture Anchor
1.8 x 5.4mm
$287.00
JJ083
Mitek GII Anchor Threader Tab
Titanium Suture Anchor
2.4 x 8.8mm
$287.00
JJ084
Mitek Rotator Cuff Anchor Threader Tab
Titanium Suture Anchor
2.8 x 11mm
$287.00
JJ085
Mitek Super Anchor Threader Tab to bone
Titanium Suture Anchor
2.8 x 11.4mm
$287.00
JJ086
Mitek Tacit Anchor Threader Tab
Titanium Suture Anchor
2.0 x 3.6mm
$251.00
JJ087
Mitek Tacit Quick Anchor 
Titanium Suture Anchor
2.0 x 3.6mm
$255.00
JJ089
Mitek GII QuickAnchor Plus 
Titanium Anchor, with various sutures
2.4 x 8.8mm
$346.22
JJ091
Mitek Mini QuickAnchor Plus 
Titanium Suture Anchor
1.8 x 5.4mm
$345.00
JJ093
Mitek Rotator Cuff Quick Anchor Plus 
Titanium  Anchor, with various sutures
2.8 x 11mm
$345.00
JJ095
Mitek Super Quick Anchor Plus 
Titanium  Anchor, with various sutures
2.8 x 11.4mm
$345.00
JJ096
Mitek Fastin Anchor 
Titanium Suture Anchor
3 x 8.4mm, 4 x 9.7mm, 5.2 x 11.5mm
$281.00
Prostheses List by Category, Groups and Sponsor
Page 258 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ100
Micro Quick Anchor 
Titanium Suture Anchor
1.3 x 3.7mm
$289.00
Barrier, Absorbable, Adhesion Prevention

Johnson & Johnson Medical Pty Ltd
JJ464
Divide Absorbable Adhesion Barrier
Oxidised regenerated cellulose
3.8 x 5.1cmm
$205.00
Bolts, Bone

Synthes Australia Pty Ltd
SY131
AO/ASIF Intermedullary Nails
Locking bolts - steel
3.9 - 4.9mm , length 18 - 100mm
$86.52
SY132
AO/ASIF Intermedullary Nails
Locking bolts
3.0mm-6.0mm Dia 10-150mm 
$121.06

Length
Bone matrix implant, artificial

LMT Surgical Pty Ltd
LM067
Crossbone
Bone substitute wedges
6-15mm height
$1,430.00
$1,450.00

Stryker Australia Pty Ltd
SK480
HydroSet Injectable Calcium Phosphate 
Injectable, rapid set, calcium phosphate 
5cc
$3,200.00

Cement
bone substitute  kit
SK481
HydroSet injectable Calcium Phosphate 
Injectable, rapid set, calcium phosphate 
15cc
$6,900.00

Cement
bone substitute kit
SR054
HydroSet Injectable Calcium Phosphate
Injectable, rapid set, calcium phosphate 
10cc
$4,600.00

bone substitute kit
SR061
HydroSet Injectable Calcium Phosphate 
Injectable, rapid set, calcium phosphate 
3cc
$2,750.00

Cement
bone substitute kit
Prostheses List by Category, Groups and Sponsor
Page 259 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Bone matrix implant, biological

Stryker Australia Pty Ltd
SK466
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
5cc Foam strip (25x50x4)
$1,578.00

Synthetic Cancellous Boane Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK467
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
10cc Foam strip (25x100x4)
$1,988.00

Synthetic Cancellous Bone Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK468
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
10cc Foam strip (25x50x8)
$1,988.00

Synthetic Cancellous Bone Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK469
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
20cc Foam strip (25x100x8)
$2,256.00

Synthetic Cancellous Bone Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK470
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Small Cup 52mm Diameter
$2,255.00

Synthetic Cancellous Bone Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK471
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Large Cup 56mm Diameter
$1,520.00

Synthetic Cancellous Bone Void Filler
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK472
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Small Cylinders Diameter 10x30mm 
$1,578.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 
4.8cc/pair (2)

Type I bovine collagen
SK473
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Medium Cylinders Diameter 
$1,700.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 
12x30mm 6.8cc/pair (2)

Type I bovine collagen.
SK474
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Large Cylinders Diameter 14x30mm
$1,830.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 
 9.2cc/pair (2)

Type I bovine collagen.
SK475
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
Sheet (Wide Strip) 75x100x4mm
$3,000.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK476
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
1.2cc Foam Pack
$500.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen
Prostheses List by Category, Groups and Sponsor
Page 260 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK477
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
2.5cc Foam Pack
$850.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen
SK478
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
5cc Foam Pack
$1,579.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen.
SK479
VITOSS Foam - Compression Resistant 
Highly porous bone graft material made from
10cc Foam Pack
$1,988.00

Synthetic Cancellous Bone Void Filler.
 beta-tricalcium phosphate (β-TCP) and 

Type I bovine collagen
Bone Matrix Implants, Artificial

Advanced Surgical Technologies
AD104
Osteoset BVF Kit
Kit contains calcium sulfate, diluent, mould, 
25cc only
$1,970.00

spatula and mixing bowl
AD151
Osteoset
Calcium Sulphate
4.8mm pellets 10cc
$1,080.00
AD152
Osteoset T Pellets
Calcium sulphate with tobramycin
20cc
$1,800.00
AD208
OSTEOSET - BVT KIT (STANDARD 
Mini Bead Kit
5cc Standard/Fast Cure
$840.00

CURE, FAST CURE)
AD209
Osteoset Pellets - Bone Graft Substitute
Calcium Sulphate
4.8mm Pellets 20cc
$1,470.00
AD221
Osteoset Bone Void Filler
Calcium Sulphate
3mm & 4.8mm Pellets 5cc
$735.00
AD222
Osteoset Bone Void Filler
Calcium Sulphate
3mm Syringe 1.25cc
$566.00
AD223
Osteoset Bone Void Filler
Calcium Sulphate
4.8mm Syringe 5cc
$735.00
AD227
Osteoset MIIG X3
Injectable Calcium Sulphate Bone Void Filler,
5cc
$1,795.00

 Includes Syringe
AD228
Osteoset MIIG X3
Injectable Calcium Sulphate Bone Void Filler,
15cc
$2,730.00

 Includes Syringe
AD304
Osteoset T Pellets
Calcium sulphate with tobramycin
10cc
$1,490.00
AD327
Cellplex TCP Synthetic Cancellous Bone
Alpha & Beta Tricalcium Phosphate
7cc
$1,785.00
AD328
Cellplex TCP Synthetic Cancellous Bone
Alpha & Beta Tricalcium Phosphate
15cc & 20cc
$2,200.00

Biomet Australia Pty Ltd
BI023
Endobon Pins 
Cylinder, Hydroxyapatite
13-16mm
$800.00
Prostheses List by Category, Groups and Sponsor
Page 261 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI024
Bone Cement Endobon Bone Substitute 
Cylinder, Hydroxyapatite
9-12mm
$700.00

Material 
BI025
Bone Cement Endobon Bone Substitute 
Granules, Hydroxyapatite
Type I or Type II
$400.00

Material 
BI026
Bone Cement Endobon Bone Substitute 
Block, Hydroxyapatite
5x5x10, 12.5x12.5x10, 20x20x10
$576.00

Material 
BI691
Calcigen-S
Bone substitute, Calcium Sodium Phosphate
5-25mls
$2,875.00
BI936
GPS Bone Biologics
TCP Granules/GPS, TCP
10ml
$1,936.00
BI937
GPS Bone Biologics
TCP Granules/GPS, TCP
20ml
$2,150.00
BI938
GPS Bone Biologics
TCP Granules/GPS, TCP
50ml
$3,980.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD041
EUROBONE - Synthetic Bone Substitute
EUROBONE
5cc
$1,500.00
CD042
EUROBONE - Synthetic Bone Substitute
EUROBONE
10cc
$1,800.00
CD043
EUROBONE - Synthetic Bone Substitute
EUROBONE
20cc
$2,400.00

Global Manufacturing Technology Pty Ltd
GM036
Callos Bone Void Filler
Calcium Phosphate
10cc
$2,050.00
GM037
Callos Bone Void filler
Calcium Phosphate
5cc
$1,400.00

Global Orthopaedic Technology
GO051
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
10ml, 2-5 & 5-10mm
$1,200.00

matrix
GO052
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
20ml, 2-5 & 5-10ml
$2,300.00

matrix
GO054
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
High Volume Grafting Kit. 2-5 & 5-
$4,500.00

matrix
10mm
GO055
ApaPore
ApaPore 60. Sterile, hydroxyapatite-based 
4cc block
$1,000.00

bone matrix
GO057
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
10ml, 2-5 & 5-10mm
$1,430.00

matrix
GO058
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
20ml. 2-5 & 5-10mm
$1,779.00

matrix
GO059
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
High Volume Grafting Kit. 2-5 & 5-
$4,500.00

matrix
10mm
GO060
ApaPore
ApaPore 70. Sterile, hydroxyapatite-based 
4cc block
$1,200.00

bone matrix
Prostheses List by Category, Groups and Sponsor
Page 262 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GO061
ApaPore
ApaPore 70. Sterile, hydroxyapatite-based 
10cc block
$1,300.00

bone matrix
GO062
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
10ml. 2-5mm
$1,000.00

matrix
GO063
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
20ml. 2-5mm
$1,550.00
$1,600.00

matrix
GO064
ApaPore
ApaPore 80. Sterile, hydroxyapatite-based 
4cc block
$1,200.00

bone matrix
GO065
ApaPore
ApaPore 80. Sterile, hydroxyapatite-based 
10cc block
$2,300.00

bone matrix
GO066
ApaPore
Actifuse. Sterile, hydroxyapatite-based bone
 1-2ml to 10cc
$1,080.00
$1,200.00

 matrix
GO067
ApaPore
Actifuse. Sterile, hydroxyapatite-based bone
20cc
$1,470.00
$2,400.00

 matrix
GO068
Actifuse
Actifuse Sterile, hydroxyapatite-based bone 
High Volume Grafting Kit. 2-5 & 5-
$4,500.00

matrix
10mm
GO161
Actifuse ABX Easyfill
Actifuse ABX Easyfill - A silicate 
2.5 ml
$1,080.00
$1,200.00

substituted synthetic bone graft

Johnson & Johnson Medical Pty Ltd
DY353
Conduit TCP
Bone matrix implant
10cc
$1,980.00
DY354
Conduit TCP
Bone matrix implant
15cc
$2,390.00
DY355
Conduit TCP
Bone matrix implant
30cc
$3,340.00
DY361
Conduit TCP
Conduit Blocks
Size 1.  15x15x20mm to 25x25x20mm
$1,882.00
DY362
Conduit TCP
Conduit Cylinder
H8-14 x D16-20mm
$1,957.00
DY363
Conduit TCP
Conduit Wedge
H6-18 x D15 x L15
$2,195.00
DY364
Conduit TCP
Conduit
20cc
$2,150.00
DY427
Conduit TCP
Bone matrix implant
5cc
$1,570.00

Stryker Australia Pty Ltd
SR047
Calstrux
Porous tri-calcium phosphate granules and 
5cc
$1,578.00

carboxymethylcellulose, sodium (CMC) 

putty additive
Prostheses List by Category, Groups and Sponsor
Page 263 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SR048
Calstrux
Porous tri-calcium phosphategranules and 
10cc
$1,988.00

carboxymethylcellulose, sodium (CMC) 

putty additive
SR049
Calstrux
Porous tri-calcium phosphate granules and 
15cc
$2,255.00

carboxymethylcellulose, sodiu, (CMC) putty 

additive
ST021
Stryker Bone Substitute
Bonesave, Calcium Phosphate
40gms, sizes 2 - 4 and  4-6mm
$1,750.00

Synthes Australia Pty Ltd
SY001
Chronos TCP Granules
Porous Tricalcium Phosphate Granules
20g
$1,545.00
SY002
Chronos TCP Granules
Porous Tricalcium Phosphate Granules
10g
$1,080.00
SY003
Chronos TCP Granules
Porous Tricalcium Phosphate Granules
5g
$576.80
SY004
Chronos TCP Granules
Porous Tricalcium Phosphate Granules
1g
$173.81
SY005
Chronos TCP Granules
Porous Tricalcium Phosphate Granules
0.5g
$120.67
SY176
ChronOS TCP
Wedge
Small, Medium, Large
$1,762.03
SY177
ChronOS TCP
Blocks
Small, Medium, Large
$1,643.24
SY189
ChronOS Cylinder
Osteoconductive Bone Substitute
8.5, 9.5, 10.5, 12.5 & 14cm
$980.20
SY333
Chronos Porous B Tricalcium Phosphate 
Porous B-TCP Granules
2.5cc
$400.00

Granules
SY358
Cervios Cylinder
Osteoconductive Bone Substitute
F1, 2, 3, 4, 5 & C1, 2, 3, 4, 5
$550.00

Taylor Bryant Pty Ltd
TB349
Kainos
Granules
1 x 2cm3
$265.00
TB350
Kainos
Granules
1 x 3cm3
$385.00
TB351
Kainos
Granules
1x5cm3
$590.00
TB352
Kainos
Granules
1x6cm3
$650.00
TB353
Kainos
Granules
1x10cm3
$920.00
TB354
Kainos
Granules
1x16cm3
$1,190.00
TB355
Kainos
Granules
1x20cm3
$1,390.00
TB356
Kainos
Granules
1x30cm3
$1,700.00
TB357
Kainos
Blocks
4-8x13x14
$760.00

Trans-Pacific Healthcare Pty Ltd
TR001
Berkeley Bone Void Filler
Bi-Ostetic/Cem-Ostetic Granules/Blocks
2.5ml
$430.00
TR002
Berkeley Bone Void Filler
Bi-Ostetic/Cem-Ostetic Granules/Blocks
5ml
$590.00
Prostheses List by Category, Groups and Sponsor
Page 264 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TR003
Berkeley Bone Void Filler
Bi-Ostetic/Cem-Ostetic Granules/Blocks
10ml
$1,000.00
TR004
Berkeley Bone Void Filler
Bone Putty/Injectable Bone Putty
2.5-3ml
$860.00
TR005
Berkeley Bone Void Filler
Bone Putty/Injectable Bone Putty
5ml
$1,230.00
TR006
Berkeley Bone Void Filler
Bone Putty/Injectable Bone Putty
10ml
$2,050.00
Bone Matrix Implants, Biological

Stryker Australia Pty Ltd
ST865
OP-1 Implant - Osteogenic Protein 1, 3.5mg
Osteoinductive and osteoconductive bone 
1 vial
$6,400.00

graft substitute
Cement

Zimmer Pty Ltd
ZI328
Coonrad/Morrey Elbow Cement Restrictor
PMMA/Plastic
Extra Small, Small, Regular
$318.00
Cement Dispensers, Orthopedic

Johnson & Johnson Medical Pty Ltd
JJ582
SmartMix Cemvac Prefilled Syringe & 
SmartMix Vacuum Mixing System Preloaded 
60g to 100g
$484.00

SmartMix Prefilled Bowl
With Non Antibiotic Bone Cement
JJ583
SmartMix Cemvac Perfilled Syringe & 
SmartMix Vacuum Mixing System Preloaded 
60g to 100g
$500.00

SmartMix Prefilled Bowl With Antibiotic 
With Antibiotic Bone Cement

Cement

Stryker Australia Pty Ltd
HW003
Exeter Cement Security System
Exeter Bone Pug -  PMMA
6, 8, 10, 12, 14, 16, 18, 20mm
$180.00
HW006
Stryker Cement Security System
PMMA Bone Plug
6 - 24mm
$268.00
SK181
Simplex Enhancement System
Simplex Express PrePack
2 dose Simplex Antibiotic with 
$184.00

Mixevac
Prostheses List by Category, Groups and Sponsor
Page 265 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Cement, Orthopedic

Biomet Australia Pty Ltd
BI242
Biomet Plus Bone Cement
Bone Cement, PMMA
40gm
$147.00
BI243
Refobacin Plus Bone Cement
Bone Cement, Gentamicin, PMMA
40gm
$215.00
BI844
Refobacin Plus Bone Cement
Bone Cement, Methyl methacrylate, 
40 gm (2 x 20 gm)
$215.00

Gentamicin
BI845
Refobacin Plus Bone Cement
Bone Cement, Methyl methacrylate, 
80 gm (2 x 40 gm)
$275.00

Gentamicin
BI846
Generation 4 Bone Cement
Bone Cement, Methacrylate- Styrene 
40gm pack
$400.00

copolymer
BI847
Generation 4 Bone Cement
Bone Cement, Methacrylate- Styrene 
80gm pack
$500.00

copolymer
BI879
Refobacin Plus Bone Cement
Bone Cement, Methyl methacrylate, 
20gm (1 x 20 gm)
$180.00

Gentamicin

Global Manufacturing Technology Pty Ltd
GM009
C-ment1, C-ment 3, Genta C-ment , Genta C-
Acrylic Bone Cement
40 grams
$215.00
$240.00

ment 3
GM018
C-ment 1, C-ment 3, Genta C-ment, Genta C-
Acrylic Bone Cement with Gentamicin
40 grams
$215.00
$240.00

ment 3

Heraeus Kulzer Australia Pty Ltd
HK001
Palacos or Palamed Bone Cement with 
Single Mix PMMA with Gentamicin
40 grams
$215.00
$238.00

Gentamicin
HK003
Palamed
Single mix PMMA
40 grams
$174.00
HK004
Palamed G
Single Mix PMMA with with gentamicin
40 grams
$215.00
HK005
Palacos or Palamed bone cement
Single mix PMMA
40g
$174.00

Johnson & Johnson Medical Pty Ltd
DP107
CMW Bone Cement
CMW Bone Cement Various  without 
20, 40 grams
$174.00

Antibiotic
DP108
CMW Antibiotic Bone Cement 
CMW Bone Cement Various with Antibiotic
20, 40 grams
$184.00
DY084
A-BSM Bone Cement
2.5g
$1,914.00
DY085
A-BSM Bone Cement
5.0g
$2,670.00
Prostheses List by Category, Groups and Sponsor
Page 266 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY086
A-BSM Bone Cement
10.0g
$3,833.00
JJ577
SmartSet GMV Endurance Medium 
PMMA, Styrene Copolymer Bone Cement 
40 Gram
$215.00

Viscosity Antibiotic Bone Cement
With Gentamicin
JJ578
SmartSet GHV High Viscosity Antibiotic 
Methyl Methacrylate, Methyl Acrylate  
40 Gram
$229.00

Bone Cement
Copolymer Bone Cement With Gentamicin
JJ580
SmartSet HV High Viscosity Bone Cement
Methyl Methacrylate, Methly Acrylate 
40 Gram
$215.00

Copolymer Bone Cement
JJ581
SmartSet MV Endurance Medium Viscosity
PMMA, Styrene Copolymer Bone Cement
40 Gram
$137.00

 Bone Cement

LMT Surgical Pty Ltd
LM046
Fix Ex
Fix Ex bone cement is a calcium phosphate 
5cc - 10cc
$1,200.00

bone cement

Mathys Orthopaedics Pty Ltd
MA431
Cemfix
Acrylic bone cement for orthopaedic 
CEMFIX 1 Standard viscosity; 
$240.00

CEMFIX 2 Low viscosity

Orthotech Pty Ltd
OH126
Cemex bone cement
1 mix 
1 mix 40g powder and 13.3g liquid
$260.00

Methylmethacrylate/Polymethylmethacrylat
OH127
Cemex-genta bone cement
1 mix Methylmethacrylate/ 
1 mix 40g powder and 13.3g liquid
$350.00

Polymethylmethacrylate with gentamiacin

Smith & Nephew Surgical Pty Ltd
SN664
Versabond Bone Cement
Methy Methacrylate Methyl Acrylate 
60g
$240.00

Copolymer, Methylmethacrylate 

Homopolymer, Supplied as pack of powder 

(copolymer) and 28.2ml liquid (monomer) in 

an ampule
SN667
Versabond Bone Cement
Methyl Methacrylate Methyl Acrylate 
40g
$137.00

Copolymer, Methylmethacrylate 

Homopolymer, Supplied as Powder 

(copolymer) and liquid (monomer) in an 

ampule

Stryker Australia Pty Ltd
HW320
Antibiotic Simplex Bone Cement with 
Polymethyl Methacrylate, Styrene 
40 grams
$215.00

Tobramycin
Copolymer, Barium Sulfate
Prostheses List by Category, Groups and Sponsor
Page 267 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW321
Antibiotic Simplex Bone Cement
Erythromycin and Colistin -  Polymethyl 
40 grams
$184.00

Methacrylate, Styrene Copolymer, Barium 

Sulfate
HW322
Surgical Simplex P Radiopaque Bone 
Polymethyl Methacrylate, Styrene 
40 grams
$137.00

Cement
Copolymer, Barium Sulfate
SK184
VITOSS - Synthetic cancellous bone void 
Beta-tricalcium phosphate
1.2cc dowel
$588.00

filler
SK185
VITOSS - Synthetic cancellous bone void 
Beta-tricalcium phosphate
15cc morsels
$1,620.00

filler
SK186
VITOSS - Synthetic cancellous bone void 
Beta-tricalcium phosphate
20cc dowel
$1,620.00

filler
SK187
VITOSS - Synthetic cancellous bone void 
Beta-tricalcium phosphate
30cc morsels and 30cc dowels
$2,670.00

filler
SK188
VITOSS - Synthetic cancellous bone void 
Beta-tricalcium phosphate
10cc morsels and 10cc dowels
$1,250.00

filler
SK189
CORTOSS - Synthetic cortical bone void 
-
10cc CORTOSS kit
$1,535.00

filler
SK191
VITOSS - Synthetic Cancellous bone void 
Beta-tricalcium phosphate
5cc morsels
$588.00

filler
SK458
Simplex P Speed Set Bone Cement
PMMA Bone Cement
40g pack
$200.00

Synthes Australia Pty Ltd
SY281
Norian SRS Reactant Pack
Cement Reactant Pack
5cc
$1,744.82
SY282
Norian SRS Reactant Pack
Cement Reactant Pack
10cc
$2,492.60

William A Cook Australia Pty Ltd
WC145
Osteo-Firm
Osteo Bone cement - Osteo Firm
One size only
$170.00

Zimmer Pty Ltd
ZI226
Zimmer Bone Plug
Allen Medullary Plug
8 - 23mm
$120.00
Cerclage, Orthopedic Fixation

Smith & Nephew Surgical Pty Ltd
SN460
Wire
Cerclage
0.6mmx175mm - 0.8mmx200mm
$14.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
Prostheses List by Category, Groups and Sponsor
Page 268 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Clips, Ligating

Smith & Nephew Surgical Pty Ltd
SN479
Compression Hip Screw System
Hip Screw Clip (ambi only)
One size only
$81.00
Device Kits With Drugs

Johnson & Johnson Medical Pty Ltd
DP445
VacuMix Pre Loaded CMW Cement
Vaccum Mixing System Pre Loaded with 
50, 80 grams
$500.00

Antibiotic Bone Cement
Distractor

Synthes Australia Pty Ltd
SY399
Alveolar Distractor
Vertical mandibular, maxilla alveolar ridge 
8-16mm
$2,220.00

distractor
Drivers

ConMed Linvatec Australia Pty Ltd
LV028
Pre-loaded BioStinger Bio-Absorbable 
Violet, PLLA
10, 13, 16mm
$309.00
$350.00

Meniscal Repair Implant
Electromanometers

Johnson & Johnson Medical Pty Ltd
DP447
Biosel 2
BIOSEL II Dose 5G (Calcium Phosphates)
5g
$695.00
Prostheses List by Category, Groups and Sponsor
Page 269 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Anchor, Soft Tissue, Non-biodegradable

Johnson & Johnson Medical Pty Ltd
JJ588
Femoral Intrafix
Screw and Sheath Fixation System for the 
7mm, 8mm, 9mm and 10mm
$600.00

Femur in ACL repairs
Fixation Device

Advanced Surgical Technologies
AD257
OSSStaple Osteosynthesis Staple
Dynamic Compression Implants OSS Staple -
Large wire 2.0-3.0 - Sizes 20x20x20, 
$500.00

 Biocompatible Nitonol
22x25x22, 30x30x30, 12x15x12
AD258
OSSStaple Osteosynthesis Staple
Dynamic Compression Implants OSS Staple -
Small wire 1.2-1.5 - Sizes 5x7x5, 
$390.00

 Biocompatible Nitonol
7x9x7, 8x11x8, 10x11x10, 10x13x10, 

12x15x12, 15x15x15, 18x15x18, 

15x20x15, 18x20x18
AD259
OSSStaple Osteosynthesis Staple
Dynamic Compression Implants OSS Staple -
Asymmetric - 11x15x13, 11x17x15, 
$405.00

 Asymmetric Staples - Biocompatible Nitonol
11x17x19 &

 Construction
18x18x15
AD260
OSSStaple Osteosynthesis Staple
Dynamic Compression Implants OSS Plate 
Plate Staple - 15x6, 15x8, 15x10
$540.00

Staple - Biocompatible Nitonol Construction
AD323
Charlotte Foot & Ankle System
Compression Staple, Stainless Steel
13, 15, 20, 25mm interaxis, leg 
$698.00

lengths 11, 13, 15, 17, 20 & 25mm, 

10 Sizes in Total
AD324
Charlotte Foot & Ankle System
Quick Staple, Stainless Steel
One Size Only
$235.00

Austofix
AX023
Austofix Femoral & Tibial Nailing System
4.0/4.8 Screws; Locking; dual thd; high 
Dia 4.0 - 4.8mm; Lengths 20-80mm
$120.00

nitrogen s-s
AX024
Austofix Femoral & Tibial Nailing System
F2 Femoral Nail 4.8/6.2; s-s
Dia 9 - 12mm; Lengths 320 - 460mm
$1,475.00
AX025
Austofix Femoral & Tibial Nailing System
6.2/6.5mm Hip Screw; high nitrogen s-s
Dia 6.2 & 6.5mm; Lengths 70 - 
$189.00

120mm
AX026
Austofix Femoral & Tibial Nailing System
F2 Hip Nail 4.8/6.5; high nitrogen s-s
Dia 11mm, Length 170mm - 240mm
$760.00
Prostheses List by Category, Groups and Sponsor
Page 270 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AX027
Austofix Femoral & Tibial Nailing System
Washer for screws; s-s
Dia 11mm & 13mm
$110.00
AX028
Austofix Femoral & Tibial Nailing System
K-Wire; s-s; trocar tip
1.6mm
$27.00
AX029
Austofix Femoral & Tibial Nailing System
End Cap; I.M. Nails; s-s
8 - 13mm
$123.00

Biomet Australia Pty Ltd
BI920
EZLoc Femoral fixation Device
Ligament Anchor, Ti, PE
7-8; 9-10mm x Short, std or long.
$445.00
BI921
EBI Paediatric Locking Nail System
Femoral Locking Nail - titanium;
28 -42cm x 5.5 - 6.5mm
$1,000.00
BI922
EBI Paediatric Locking Nail System
Screw Pilot Double Thread - titanium;
20 - 68mm x 4.0mm
$140.00
BI923
EBI Paediatric Locking Nail System
Nail end cap, titanium
5.5mm - 6.5mm
$150.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD030
Behac Humeral Nail
Stainless Steel Elastic Nail
Large loop and Small Loop
$450.00
CD031
Telegraph Nail
Stainless Steel Antegrade Nail
15cm length, 7-9mm Diameter
$2,500.00
CD037
Telegraph Screws
Self Stabilizing Screws
24mm - 45mm
$200.00

ConMed Linvatec Australia Pty Ltd
LV078
UltraFix Knotless Minimite Suture Anchor
Titanium
Diameter 2.3mm
$439.60
$520.00
LV089
Duet Suture Anchor
Self-Reinforced 96L/4D PLA Copolymer
6.0mm O.D. x 16.5mm L
$450.00

Corin  Australia Pty Ltd
CR070
Alpha Lock Titanium Counter Sunk Screw
Titanium Counter Sunk Screw
Length (mm) 15, 20, 25, 30, 35, 40, 
$140.00

45, 50, 55, 60, 65 & 70
CR071
Alpha Lock Plug Screw; Alpha Lock 
Titanium
One Size Only
$120.00

Locking Screw

Global Manufacturing Technology Pty Ltd
GM109
OsteoBridge
OsteoBridge Interlocking Screw
18m to 56mm
$403.00
GM110
OsteoBridge
OsteoBridge Nail 60mm to 200mm
7mm, 8mm, 9mm, 10mm, 12mm, 
$4,322.00

14mm & 16mm
GM111
OsteoBridge
OsteoBridge Spacer
20mm, 25mm & 30mm
$6,571.00
GM112
OsteoBridge
OsteoBridge Reducing Sleeve
20mm, 25mm & 30mm
$3,400.00

Johnson & Johnson Medical Pty Ltd
DY380
Versa Nail
TTC Fusion Nail Sterile
10mm x 15cm up to 12mm x 25cm
$1,245.00
DY381
Versa Nail
TTC Fusion Nail Unsterile
10mm x 15cm up to 12mm x 30cm
$1,110.00
DY382
Versa Nail
TTC Nail Cap Unsterile Impinging and Non 
One Size
$45.00
$99.00

Impinging
Prostheses List by Category, Groups and Sponsor
Page 271 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY383
Versa Nail
TTC Nail Cap Sterile Impinging and Non 
One Size
$45.00
$150.00

Impinging
DY386
Hoffman Wrist Kit
Hoffman Sterile Wrist Kit
One size only
$1,565.00
JJ624
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
 3 Hole, Left & Right & 4 Hole, Left
$1,400.00
$2,242.00

 & Right
JJ625
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
6 Hole, Left & Right
$1,470.00
$2,378.00
JJ626
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
11 Hole, Left & Right
$1,450.00
$2,709.00
JJ627
HI S3 Shoulder Fixation System
Peg, Standard Stainless Steel
4mm x 20mm, 25mm, 30mm, 32.5mm,
$140.00
$254.00

 35mm, 37.5mm, 40mm, 45mm, 

47.5mm, 50mm, 52.5mm, 55mm, 

57.5mm, 60mm, 62.5mm & 65mm
JJ628
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 20mm, 25mm, 30mm, 32.5mm 
$150.00
$265.00

&35mm
JJ629
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 37.5mm
$160.00
$265.00
JJ630
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 40mm, 45, 47.5mm, 50mm, 
$167.00
$265.00

52.5mm, 55mm, 57.5mm, 60mm, 

62.5mm, 65mm,
JJ631
HI S3 Shoulder Fixation System
Screw, Multidirectional Stainless Steel
3.8mm x 20, 22, 24, 26, 28, 30, 32, 34,
$231.00
$265.00

 36 & 38
JJ632
HI S3 Shoulder Fixation System
Screw, 90 Deg Locking Stainless Steel
3.8mm x 20, 22, 24, 26, 28, 30, 32, 34,
$185.00
$265.00

 36 & 38
JJ633
HI S3 Shoulder Fixation System
Set Screw, 90 Deg Locking Titanium
One size
$213.00
$220.00

LMT Surgical Pty Ltd
LM041
Trimed Bearing Plate, Fixation Pegs
The fixation pegs are made of medical grade 
Pegs - 2.3 x 10-34mm Threaded or 
$140.00

316 stainless steel
unthreaded pegs

Smith & Nephew Surgical Pty Ltd
SN481
Compression Hip Screw System
Lag Screw
55 - 140mm
$196.00
SN772
Trigen
Hindfoot Fusion Nail, Titanium
10 - 11.5mm Diameter
$1,195.00
SN838
Trigen InterTAN Nail
Nail, Titanium
diameter 10-13mm
$1,350.00

length 18-46cm

Angle 125°-135°
SN839
Trigen InterTAN Nail
Lag/Compression Screw, Titanium
30-120
$410.00
SN841
Trigen META
Metaphyseal Nail, Titanium
8.5-13mm
$1,250.00

15x50cm
Prostheses List by Category, Groups and Sponsor
Page 272 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
SK206
Stryker External Fixation System
Hoffmann II Micro
Couplings, Rod to rod, Pin to Rod 
$645.00

and Multipin
SK228
Omega Plus Compression Hip Screw System
Cephalic Implants
Hansson Twin Hook 50-140mm
$195.00
SK229
Omega Plus Compression Hip Screw System
Cephalic Implants
Hansson Twin Hook Compression 
$63.00

Screw 25mm
SK230
Hansson Pin
Cephalic Implants
Hansson Pin 70-140mm
$335.00
SK243
Gamma LN
Lag Screw - Titanium
10.5mmx70mm - 10.5mmx130mm
$465.00
SK244
Stryker Intermedullary Hip Screw
Gamma3 Long
120, 125, 130 Deg; Diameter 10-
$1,350.00

13mm; Length 280-420mm
SK245
Gamma LN
Locking Screw - Titanium
5x25mm - 5x95mm
$155.00
SK246
Gamma LN
Standard - Titanium
120, 125, 130 Deg; Diameter 10-
$995.00

12mm; Length 170-200mm
SK247
Gamma LN
Set Screw - Titanium
8x17.5mm
$95.00
SK248
Gamma LN
Proximal/Extension Plug - Titanium
0mm, +5mm, +10mm
$95.00
SK304
Gamma LN
Anti-rotation screw for Lag Screw - Titanium
+1, +3, +5mm
$187.20
SK366
Universal Distal Radius System
Universal SMARTLook Locking Plates
Standard, Narrow and Wide in 
$1,450.00

Long and short options
SK369
Stryker Locking Plate System
Variax Screws and Pegs
1.7 - 3.5mm diameter 10 - 70mm 
$125.00

long
SK450
T2 Ankle Arthrodesis Nail
T2 Ankle Arthrodesis Type II Anodized 
10, 11, 12mm Diameters & 150,200 
$1,700.00

Titanium Alloy (Ti6A14V)
& 300mm Lengths
SK451
XCEL Anchor
Bio-absorbable Suture Anchor
2mm-10mm
$440.00
SK454
VariAx Plate
Volar Plate, Polyaxial Locking
Narrow & Standard; Short & 
$2,350.00

Long; Right & Left

Surgical House
SU201
Panta Arthrodesis Nail
Ankle Nail, Titanium
Diameter 10 -13 mm 
$1,000.00

Length - 150-240 mm
SU202
Panta Arthrodesis Nail
Locking Screw, Titanium
Diameter 5 mm
$79.00

Length - 20 - 110 mm
SU203
Panta Arthrodesis Nail
End Cap, Titanium
One Size
$45.00
SU204
Uni-Clip Compression Staple (Sterile)
Stainless Steel, Notched and Non-Notched
Width 11-30mm, Length 13-32mm
$750.00
SU205
Solustaple Standard Staple (Sterile)
Stainless Steel
26°, 90°, 8-10mm
$235.00
Prostheses List by Category, Groups and Sponsor
Page 273 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY285
AO/ASIF Blade
Helical blade
50-150mm length
$515.00
SY377
Orthopaedic Cable System
Cable with Crimp
1.0mm - 1.7mm, 750mm
$650.00
SY378
Trochanteric Reattachment Device
Titanium alloy reattachment device with 
Standard and Long
$2,500.00

cables

Taylor Bryant Pty Ltd
TB248
Avanta - SCS Distal Radius Plate System
Left and Right, Tined
Small, Large
$1,140.00
TB250
Diamond Plate
Carpal Fusion Plate
Large, Small
$2,092.00
TB322
I.T.S. Volar Angle Locking Plate (VAL)
Locking Plate - titanium
Left, Right, 25mm, 32mm, 4,6,8,10 
$2,135.00

and 12 hole
TB323
I.T.S. Volar Angle Locking Plate (VAL)
Cancellous Stabilization Screw
D=3.5mm, Length = 14mm-30mm 
$157.00

(with incremental of 2)
TB324
I.T.S. Volar Angle Locking Plate (VAL)
Cortical Screw
D=3.5mm, Length=14mm-24mm 
$53.00

(with incremental of 2)
TB358
Screws
Diamond Carpal Screws
12, 14, 16mm
$100.00

Zimmer Pty Ltd
ZI471
NCB-Femur Plate System Complete
Complete with all locking screws, gap insert, 
Plate size 167 to 324 mm long
$2,000.00

spacers. Special Titanium alloy.
ZI486
Zimmer Periarticular Locking Screws
Stainless Steel Periarticular Locking screws 
2.4mm, 2.7mm, 3.5mm, 4.5mm, 
$170.00

to accompany Periarticular Locking Plates
5.5mm, and 8mm to 60mm in 2mm 

increments and 60mm to 100mm in 

5mm increments.
ZI522
SIRUS Nail
Sirus Tibial Nail
8, 9, 10mm diam x 240 to 420mm in 
$1,050.00

14mm increments
ZI523
SIRUS Nail
Sirus Femoral Nail
9, 10, 11, 12, 13mm diam x 300 to 
$1,050.00

480mm in 20mm increments
ZI524
SIRUS Nail
Sirus Locking Screws
3.9, 4.9mm x 24 to 100mm
$138.00
ZI525
SIRUS Nail
Sirus Cervical Screws
6.5mm diam x 60 to 140mm in 5mm 
$219.00

increments
ZI526
SIRUS Nail
Sirus End Cap
5-25mm length in 5mm increments
$200.00
Prostheses List by Category, Groups and Sponsor
Page 274 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Device, Internal, Hip, Plate, Compression

Stryker Australia Pty Ltd
SK462
Stryker Compression Hip Screw System
Omega3 compression Hip screw
130-150 degree, 2-12 gike, 47-207 mm
$875.00
SK463
Stryker Compression Hip Screw System
Omega3 Supracondylar Plate
95 hole, 6-14 hole, 111-239mm
$875.00
Fixation device, internal, nail, intramedullary, femur

Stryker Australia Pty Ltd
SK465
Stryker Intermedullay Nailing System
T2 Retrograde/Antegrade/Compression 
7-15mmDiameter, 140 to 480mm 
$1,625.00

lengths

Taylor Bryant Pty Ltd
TB367
Fassier-Duval Telescopic IM System 
The Fassier-Dual Telescopic IM System is 
The syste is composed fo a total 
$3,300.00

Component: Male
an endomedular nail designed for patients 
of 108 rods in 9 different diameters 

suffering from Osteogenesis Impecfecta 
per type.  The nail is manufactured

(OI), Skeletal Displasia, Congenital Tibial 
 in both Ti alloy (Ti6A14V ASTM-

Pseudoarthosis, Limb lengthening over nail, 
136) and medical grade Stainless 

Segmental Tumor removal and other bone 
Steel (315L, ASTM 138).  It is 

deformities.  Stainless steel remains the 
available in five diameters: 3.2, 

standard material.  The Fassier-Dual 
4,4.8,5.6 and 6.4 mm; rnaging from 

Telescopic IM System is a device used in 
300 to 440 mm in length

the fixation of long bone fractures.  The 

Fassier-Dual Telescopic IM System is a 

device made of either SS or Ti alloy.  The 

components are a solid (male) rod that has a 

loose sliding fit with the inner diameter (I.D) 

of the hollow (female) tube.  The 

components are not interchangeable 

between sizes or between materials.  The 

system is composed of a total 108 rods in 9 

different diamenters per type,  two different 

materials and three different distalfixation 

types.
Prostheses List by Category, Groups and Sponsor
Page 275 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB368
Fassier-Duval Telescopic IM System 
The Fassier-Duval Telescopic IM System is 
The system is composed of a total 
$3,300.00

Component: Female
an endomedular nail designed for patients 
of 108 rods in 9 different diameters 

suffering from Osteogenesis Imperfecta (OI),
per type.  The nail is manufactured

 Skeletal Displasia, Congenital Tibial 
 in both Ti alloy (Ti6A14V ASTM-

Pseudoarthrosis, Limb lengthening over nail,
136) and medical grade stainless 

 Segmental Tumor removal and other bone 
steel (316L, ASTM 138).  It is 

deformities.  Stainless Stell remains the 
available in five diameters: 

standard material.  The Fassier -Duval 
3.2,4.4,8,5.6 and 6.4mm; ranging 

Telescopic IM System is a device used in 
from 300 to 440mm in length.

the fixation of long bone fracutures.  The 

Fassier-Duval Telescopic IM System is a 

device made of either SS or Ti alloy.  The 

components are a solid (male) rod that has a 

loose sliding fit with the inner diameter (I.D) 

of the hollow (female) tube.  The 

components are not interchangeable 

between sizes or between materials.  The 

syste is composed of a total of 108 rods in 9 

different diameters per type, two different 

materials and three different distalfixation 

types (threaded long, threaded short and 

non-threaded)
Fixation Device, Internal, Pin

Advanced Surgical Design & Manufacture Ltd
AE069
Threaded wires & pins
Threaded wires & pins
1.0-5.0mm diameters
$89.00

various threaded lengths
AE070
ASDM Steinmann Pin
Steinmann Pin
2.8-5.0mm diameter
$33.00
Fixation Device, Internal, Plate

Advanced Surgical Technologies
AD314
Charlotte MTP Fusion System
MTP plate, stainless steel
Left & right, small & standard
$600.00
AD315
Charlotte MTP Fusion System
MTP plate, stainless steel
Left & right, extended
$730.00
AD317
Charlotte MTP Fusion System
MTP plate, stainless steel, SLIM LINE
Left & right
$730.00
Prostheses List by Category, Groups and Sponsor
Page 276 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Darco Australia
DC001
Locking Plate
 Titanium
0 - 8mm Step
$450.00
DC003
Calcaneus Plate
Titanium fixation plate
R/L: S, M, L
$1,275.00

LMA PacMed Pty Ltd
PM111
Gotfried PC.C.P.
Internal Hip Compression Plate
One size only
$750.00

LMT Surgical Pty Ltd
LM033
Trimed Wrist Fixation System, Volar Peg 
Stainless Steel
Volar Peg Plate 3-hole, Right & 
$1,300.00

Plate
Left, 4 and 5 Peg; Volar Peg Plate 

5-hole, Right & Left, 4 and 5 Peg
LM037
Trimed Bearing Plate
The Bearing Plate is a stainless Steel plate 
3 - 9 holes
$1,450.00

that has stainless Steel pegs and Screws for 

Fixation
LM038
KMI Distal Volar Radius Plate (DVR)
The DVR plates are made of titanium with 
DVR Plate, 4 or 5 Hole
$1,340.00

the option of 4 hole and 5 hole plates, 2.1mm

 pegs, 2.4 or 2.8mm  Screws and 3.5mm 

proximal screws
LM039
KMI Distal Volar Radius Plate (DVR)
The DVR plates are made of titanium with 
DVR Pegs, 2.1mm x 10-34mm
$147.00

the option of 4 hole and 5 hole plates, 2.1mm

 pegs, 2.4 or 2.8mm  Screws and 3.5mm 

proximal screws
LM050
Biotech Easy Lock Osteosystem
Titanium and PEEK
2-10 holes  straight
$600.00
LM051
Biotech Easy Lock Osteosystem
Titanium and PEEK
10-20 holes straight and T-shape
$700.00
LM054
Argomedical Malleolar Plate
Titanium
6 - 10 Hole Plates
$460.00
LM060
BioTech Xpode 4
PEEK curved and round plate
Mini 1, 2, 3 & 4
$1,100.00
LM062
ArgoMedical Pedofix
Titanium fixed angle plate for foot surgery
2.7mm
$650.00
LM064
TriMed Ulnar Osteotomy System
Stainless Steel Ulnar Osteotomy Plate
5 - 9 holes
$900.00

Medical & Optical Instruments Australia Pty Ltd
MO243
Polarus Proximal Humeral Plate
Titanium Humeral Plate
Left, Right, Large, Small, Two Part
$1,470.00
MO247
Martin Fixation Device Internal - Plate
Steile Titanium Y and Double Y Plate
1.5mm system
$295.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO257
Acu-Loc Distal Radius Plate System
Distal radius plate, titanium
Standard, long, extra long, wide, 
$1,675.00

narrow, left, right
MO272
Acumed Tap-Loc
Variable angle locking plate system
medial; left and right, lateral 
$1,550.00

Olecranon Left and right 6-20 
Prostheses List by Category, Groups and Sponsor
Page 277 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN831
Peri-Loc UE
Locking plates SS: Distal Radius, 
2.5-4.5mm, 3-14 holes
$1,500.00

Olecrannon, Humerus, Clavicle

Stryker Australia Pty Ltd
SK219
Stryker Plating System
Periarticular Plates
2 - 18 holes, 3.5 - 6.5mm Diameter
$1,004.00
SK449
Stryker Plating System
Locking Compression Straight Plates 
2 Hole to 22 Hole
$1,450.00

Stainless Steel
SR055
Stryker Locking Plate System
Plates including Locking, Standard & 
Straight, Curved, L, T, Y & 3-D
$520.00

Compression

Surgical House
SU177
Surfix Reinforced Bendable 
Composition - 316L Stainless Steel.  To be 
2 holes, 4 holes/77mm, 4 
$810.00

Osteosynthesis Plates
used only with Surfix Screws/lock screws
holes/112mm
SU178
Surfix Bendable Osteosynthesis Plates
Composition - 316L Stainless Steel.  To be 
2-4 hole plates
$740.00

used only with surfix screws/lock screws.
SU179
Surfix Bendable Osteosynthesis Plates
Composition - 316L Stainless Steel.  To be 
5 - 7 hole plates
$975.00

used only with Surfix screws/lock screws
SU180
Surfix Distal Humeral Plates
Composition - 316L Stainless Steel.  To be 
Left and right
$890.00

used only with Surfix screws/lock screws
SU181
Surfix Femoral Osteosynthesis Plates
Composition - 316L Stainless Steel.  To be 
8/9/10 hole, left and right
$1,400.00

used only with Surfix screws/lock screws
SU182
Surfix Distal Femoral Varus Osteotomy Plate
Composition - 316L Stainless Steel. To be 
One size only
$1,150.00

used only with surfix screws/lock screws
SU183
Surfix Femoral Varus and De-rotation 
Composition - 316L Stainless Steel.  To be 
Surfix Femoral Varus and De-
$962.00

Osteotomy Plates
used only with Surfix screws/lock screws
rotation Osteotomy Plates - 3 

holes, Surfix Femoral Varus and 

De-rotation Osteotomy Plates - 4 

holes, Surfix Reinforced Femoral 

Varus and De-rotation Osteotomy 

Plates - left and right
SU184
Surfix Proximal Humeral Plate
Composition - 316L Stainless Steel. To be 
'6 - 8 holes'
$948.00

used only with Surfix screws/lock screws
SU185
Surfix HTO Plates
Composition - 316L Stainless Steel. To be 
Opening wedge HTO plates, left 
$900.00

used only with Surfix screws/lock screws.
and right. Closing wedge HTO 

plates, left and right. Reinforced 

closing wedge HTO plates, left 

and right
Prostheses List by Category, Groups and Sponsor
Page 278 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SU193
Basal Osteotomy Plate
Titanium
5 Deg, Left and Right, 10Deg, Left 
$460.00

and Right
SU194
Calcanea, Calcaneal Fracture Plate
Titanium
Small, Medium, Large
$1,275.00
SU207
B-BOP Plantar Basal Osteotomy Plate 
Titanium
Moderate Correction(5°) Left, 
$460.00

(Sterile)
Right. Severe Correction (10°) Left,

 Right

Surgical Specialties
SQ001
Rearfoot Plate - RPS
Titanium
6-14 holes
$750.00
SQ002
Arthrodesis Flat Plate - AFP
Titanium
12-16mm
$510.00
SQ003
Distal Radius Reconstruction System
Radius Plate
2mm
$1,650.00
SQ004
Distal Radius  Reconstruction System
Ulna/Clavicle Plate
2mm
$1,200.00
SQ005
Radius Plating System
Standard or Anatomic
1.3mm
$1,350.00
SQ007
Osteosynthesis Plates
Straight Plate, 4 hole w/wo bar
1.2-2.7mm
$140.00
SQ008
Osteosynthesis Plates
Straight Plate, 5-13 T, Y, L Plate, Condylar 
1.2-2.7mm
$240.00

2x2 Plate
SQ010
Osteosynthesis Plates
Straight Plate, 16 hole
1.2-2.7mm
$320.00
SQ011
Osteosynthesis Plates
Plate, 2x2+2, 3x2
1.2-2.7mm
$380.00
SQ012
Osteosynthesis Plates
Plate, 4x2
1.2-2.7mm
$500.00
SQ013
Displacement Plate - DPS
Titanium
6-10mm
$600.00
SQ021
TOM Plate
Titanium
L & R 0-5mm
$540.00

Synthes Australia Pty Ltd
SY351
AO/ASIF Plates
Calcaneal Plating System
3.5mm, 30-100mm length
$1,050.00
Fixation Device, Internal, Screw

Advanced Surgical Design & Manufacture Ltd
AE068
ASDM Clavicle Compression System
Clavicle Compression Pin
3.2 & 4.0 mm x 50mm - 130mm
$243.00
$690.00

Titanium Screw, Double Threaded
AE080
Carpal Fusion System Screw
316L Stainless Steel, Low Profile Custom 
2 - 7 mm Diameter 12 - 24mm 
$440.00

Thread Screw
Length
Prostheses List by Category, Groups and Sponsor
Page 279 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Advanced Surgical Technologies
AD310
Charlotte Foot & Ankle System
High demand compression screw, 
6.5mm& 7.0mm dia, 40-110mm 
$400.00

cannulated, stainless steel
lengths in 5mm increments
AD311
Charlotte Foot & Ankle System
Multi use compression screw, cannulated, 
3.0 & 4.3mm dia. 10-60mm in 2mm 
$400.00

stainless steel
increments
AD312
Charlotte Foot & Ankle System
Snap-off screws, titanium alloy
2.0 dia 11, 12, 14mm. 2.7 dia 13, 15, 
$315.00

17mm
AD316
Charlotte MTP Fusion System
MTP plate screw, stainless steel
2.7 & 3.2 dia. 8-24mm length in 
$95.00

2mm increments

City Medical Devices Australia (trading as Energy Orthopaedics)
CD006
Aptus Hand
Aptus Hand-locking screws
2.0mm-2.5mm diameter, 6mm-34mm 
$130.00

length
CD007
 Aptus Hand
Titanium cortex screws
1.2-2,5mm diameter, 4mm-34mm
$67.00
CD032
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip  / 
Auto Compressive long L10 - L34
$425.00

Cannulated
CD033
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip
FSA 2 part 9-21/14-26
$425.00
CD034
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip
Weil self tapping L9 - L15
$425.00
CD035
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip / 
Arthrodesis large diameter L28 - L40
$425.00

Cannulated

ConMed Linvatec Australia Pty Ltd
LV090
Super Revo Sholder Anchor with Herculine
5.0mm dia. Titanium, 14.2mm Long Anchor
5.0mm dia. Titanium, 14.2mm Long 
$395.00

 Suture
Anchor
LV093
Impact Suture Anchor System with Hi-Fi 
Self-Reinforced 96L/4D PLA Copolymer
3.5mm O.D. x 10.5mm L
$460.00
$575.00

Suture

Darco Australia
DC004
Titanium Screw
Locking, non-locking or cannulated
8- 40mm, 2.7 or 3.5 diameter
$90.00
DC010
Twist Off Screw
Titanium screw
11 - 15mm, 2.0 or 2.5mm diameter
$286.00
DC013
Scarf
Compression screw
10 - 32mm
$286.00

Device Technologies Australia Pty Ltd
DE214
Cortical Screw
Titanium
10-24mm x 2.3mm
$110.00

LMA PacMed Pty Ltd
PM112
Neck, Shaft & Locking Screws
Telescopic, Self-Tapping, Primary, Revision
Neck L90 - 140mm; Primary 
$190.00

Locking L20 - 75mm
PM113
Neck, Shaft & Locking Screws
Telescopic, Self-Tapping, Primary, Revision
Shaft L31-43mm:
$54.00
Prostheses List by Category, Groups and Sponsor
Page 280 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PM114
Neck, Shaft & Locking Screws
Telescopic, Self-Tapping, Primary, Revision
Revision Locking L20-75mm
$312.00

LMT Surgical Pty Ltd
LM029
Kompressor
Titanium compression screw
10-34mm
$425.00
LM040
KMI Distal Volar Radius Plate (DVR)
The DVR plates are made of titanium with 
DVR Screws, 2.4 - 3.5mm x 10 - 34mm
$120.00

the option of 4 hole and 5 hole plates, 2.1mm

 pegs, 2.4 or 2.8mm  Screws and 3.5mm 

proximal screws
LM048
Ascension Radial Head Locking Plate and 
Titanium pre-formed anatomical radial head 
10mm - 40mm
$160.00

screws
Screws
LM049
Biotech omnitech
The compression screws are for fixation of 
2 - 7mm diameter & 6 - 70mm 
$425.00

fractures and are avaliable in titanium and 
length

stainless steel
LM052
Ascension Compression Screw
Titanium Compression Screw
2-5mm diameter ; 12 - 40mm length
$425.00
LM059
Instratek Cannulated Bone Screws
Titanium cannulated bone screws
2.3mm - 5.0mm diameter; 5 - 45mm 
$440.00

length
LM061
BioTech Xpode 4
Screws titanium
6 - 70mm length
$180.00
LM063
ArgoMedical Pedofix
Titanium screws
2.7mm x 8 - 28mm Length
$50.00

Medical & Optical Instruments Australia Pty Ltd
MO249
ACU- LOC Distal Radius Plate System
Threaded, non-threaded, locking, non-
2.3mm / 3.5mm diameter, 14-32mm 
$145.00

locking screw, peg, Titanium
length
MO252
Martin Fixation Device Internal - Screw
2.0mm diam. Pkt 2
4-11mm
$77.30
The benefit amount/minimum 

benefit amount is for an individual 

product which comes as a pack of 

two
MO253
Martin Fixation Device Internal - Screw
2.0mm diam. Pkt 2
12-20mm
$125.00
The benefit amount/minimum 

benefit amount is for an individual 

product which comes as a pack of 

two
MO254
Martin Fixation Device Internal - Screw
2.3mm diam. Pkt 2
5-11mm
$76.30
The benefit amount/minimum 

benefit amount is for an individual 

product which comes as a pack of 

two
MO255
Martin Fixation Device Internal - Screw
1.5-1.8mm diam. Pkt 2
3.5-9mm
$142.00
The benefit amount/minimum 

benefit amount is for an individual 

product which comes as a pack of 

two
Prostheses List by Category, Groups and Sponsor
Page 281 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO256
Martin Fixation Device Internal - Screw
1.5-1.8mm diam. Pkt 2
10-15mm
$165.00
The benefit amount/minimum 

benefit amount is for an individual 

product which comes as a pack of 

two
MO273
Acumed Tap-Loc
Tap screws, Tap-Loc Screws
diameter 2.7mm - 3.5mm, length 
$120.00
$160.00

36mm-60mm
MO274
Acutrak 2
Headless Compression screw
8mm-30mm length
$425.00
$550.00

micro, mini, standard

Smith & Nephew Surgical Pty Ltd
SN758
IMHS CP
IMHS lag screw
55mm to 150mm
$205.00
SN761
IMHS CP
Subtrochanteric lag screw
12.7mm x 70mm to 12.7mm x 140mm
$205.00
SN762
IMHS CP
Captured locking screw
4.5mm x 22mm to 4.5mm x 64mm
$95.00
SN774
IMHS CP
Captured Compression Screw, Stainless 
19mm
$93.00
SN775
IMHS CP
Set Screw, Stainless Steel
Standard
$65.00
SN827
Peri-Loc UE
2.7mm & 3.5mm  Volar Distal Radius Locking
60mm - 132mm
$1,314.00

 Plate
SN829
Peri-Loc UE
2.7mm Locking Recon Plate 6-14 Holes
48mm - 113mm
$1,314.00
SN830
Peri-Loc UE
2.7mm Locking Self Tapping Cortex Screw
10mm - 60mm
$120.00
SN832
Peri-Loc UE
Self Tapping Cortex Locking Screw
2.5-2.7mm, 10-60mm length
$130.00
SN833
Peri-Loc UE
Self Tapping Cortex Non Locking Screw
2.5mm, 10-30mm length
$50.00

Stryker Australia Pty Ltd
SK452
Stryker Plating System
Self-Tapping/Cortical Sterile Screws
2.7mm - 4.5mm Diameter
$90.00

Stainless Steel or Titanium Alloy
8mm - 150mm Length
SK464
Stryker Locking Plate System
Screw; Locking, Cancellous & Cortical
Diameter 1.2 to 2.7mm, Length 2mm
$140.00

 to 48mm
SR058
Stryker Cannulated Screw System
Asnis Micro Cannulated screw
2.0mm-3.0mm, Diameters, 8mm-
$438.00

40mm lengths

Surgical House
SU186
Surfix Lock Screws
For use with Surfix bone screws and plates
One size only
$114.00
Prostheses List by Category, Groups and Sponsor
Page 282 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SU187
Surfix Screws/Lock Screws
Screws - Cancellous, Cancellous cannulated,
Cancellous/Cancellous cannulated
$180.00

 cortical, cortical cannulated plus Lock screws
 - Diameter 6.5mm, Length 20mm - 

100mm + Lock Screw, Cortical - 

Diameter 5.0mm, Length 25mm - 

45mm + Lock Screw, Cortical - 

Diameter 4.5mm, Length 14mm - 

65mm + Lock Screw, Cortical - 

Diameter 3.5mm, Length 14mm - 

32mm + Lock Screw
SU195
Calcanea Locking Screw
Cortical Screw, Titanium
Diameter 3.5mm, Length 20mm to 
$235.00

45mm
SU196
Calcanea Variable Angle Screw
Cortical Screw, Titanium
Diameter 3.5mm, Length 20mm to 
$159.00

45mm
SU206
Spin Screw: Snap Off Screw (Sterile)
Titanium
Diameter 2-3mm, Length 10-34mm
$286.00
SU208
Bold Compression Screw (Sterile)
Cannulated Titanium
10-34mm
$286.00

Surgical Specialties
SQ014
Osteosynthesis Screws
Screw, Self Tapping or Lag
1.2, 1.7, 2.3mm
$75.00
SQ015
Osteosynthesis Screws
Screw, Emergency
1.4, 1.9, 2.4mm
$75.00
SQ016
Osteosynthesis Screws
Screw, Locking or Standard
2.7mm
$100.00
SQ017
CBS Screw
Titanium Compression Screw, Cannulated
1-1.5mm
$410.00
SQ019
Cannulated Screw
Titanium
3.5mm
$155.00

Synthes Australia Pty Ltd
SY416
AO/ASIF Intermedullary Nails ASLS
Intermedullary Angular Stable Locking 
4-6mm, 26-125mm
$655.00

System

Taylor Bryant Pty Ltd
TB327
MiniFix
Finger Mini Fixator System
One size
$3,328.00
TB329
PIP Finger Prosthesis 'DGT"
Proximal part Stainless Steel textured in 
1,2 or3
$1,248.00
Tempory approval, pending review 

Cobalt Chrome
of product group
TB331
RadioFix
Radio Fixator System
One size
$2,080.00
Tempory approval, pending review 

of product group
TB343
Precifix
Titanium
Diameter: 2-2.5mm, Length 22-
$390.00

40mm
Prostheses List by Category, Groups and Sponsor
Page 283 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB374
AutoFIX
The Sbi AutoFIX Twin Pitch Cannulated 
2.0mm and 2.5mm Cannulated 
$550.00

Compression Screw System implants are 
Compression Screw

indicated in the treatment of fractures, 

nonunions, pseudarthrosis and 

degenerative changes, as well as corrective 

osteotomies geared towards a functionally 

stable osteosynthesis in small bones.  

Available in 2.0/2.5mm Stainless Steel & 

TiMax Surgical Pty Ltd
TI094
Atlantech graft fixation screw - titanium
Titanium ACL Screw
7 x 20mm, 7 x 25mm, 7 x 30mm,  8 x 
$161.00

20mm, 8 x 25mm, 8 x 30mm, 9 x 

20mm, 9 x 30mm
TI095
CPS Screw Hexalon Biodegradable 
Biodegradable ACL/PCL Recon Screw 
6 x 20, 6 x 25, 6 x 30, 7 x 20, 7 x 25, 7 
$275.00

ACL/PCL Reconstruction
PLLA/PGA/TMC
x 30, 8 x 20, 8 x 25, 8 x 30, 9 x 20, 9 x 

25, 9 x 30, 10 x 30
Fixation Device, Internal, Staple

Orthocare Pty Limited
OC013
Orthomed Osteotomy & Ligament Staples
Ligament Staple.  Cast Chromium-cobalt 
8mm
$80.00

staples, non-absorbable. Non-sterile
OC014
Orthomed Osteotomy & Ligament Staples
Ligament Staple.  Cast Chromium-cobalt 
11mm
$80.00

staples, non-absorbable. Non-sterile
OC015
Orthomed Osteotomy & Ligament Staples
Ligament Staple.  Cast Chromium-cobalt 
16mm
$80.00

staples, non-absorbable. Non-sterile

Taylor Bryant Pty Ltd
TB375
StaFIX
The StaFIX Staples are retained implants 
6x6, 6x12,8x8, 8x16, 10x10, 10x20, 
$300.00

and removable used primarily for the 
12x24

following applications: Synthesis of 

fractures; Synthesis of osteotomies; 

Arthrodesis; Reattachment of ligaments ot 

tendons.  The aim of the StaFIX staple is to 

provide a effective fixation of the bone 
Prostheses List by Category, Groups and Sponsor
Page 284 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Device, Internal, System

Darco Australia
DC014
K Wire
Titanium or Stainless
0.9 - 2.0mm
$11.00

Smith & Nephew Surgical Pty Ltd
SN521
TriGen 
Nail: TAN & FAN, titanium
10, 11.5 &13mm diameter
$750.00

Zimmer Pty Ltd
ZI541
Zimmer Universal Locking System
3.5mm Universal Locking System 
3 hole 40mm; 4 hole 53mm; 5 hole 
$470.00

Reconstruction Plates, Straight-Sterile-
79mm; 7 hole 92mm; 8 hole 105mm;

Sterile & Non Sterile
 9 hole 118mm; 10 hole 131mm; 11 

hole 144mm; 12 hole 157mm
ZI542
Zimmer Universal Locking System
3.5mm Locking Dual Compression Plate 
4 hole 53mm; 5 hole 66; 6 hole 
$229.00
$240.00

Sterile and Non Sterile
79mm; 7 hole 92mm; 8 hole 105mm;

 9 hole 118mm; 10 hole 131mm; 11 

hole 144mm; 12 hole 157mm; 14 

hole 183mm
ZI543
Zimmer Universal Locking System
3.5mm Locking T Plate Sterile and Non-
3 hole head 5 hole shaft 73mm 
$260.00

Sterile
length; 4 hole head 6 hole shaft 

85mm length; 3 hole head 3 hole 

shaft left 51mm length; 3 hole head

 4 hole shaft left 63mm length; 3 

hole head 3 hole shaft right 51mm 

length; 3 hole head 4 hole shaft 

right 63mm length.
ZI544
Zimmer Universal Locking System
3.5mm Locking One-Third Tubular Plate - 
5 hole 68mm; 6 hole 81mm; 7 hole 
$175.00
$190.00

Sterile and non-sterile
94mm; 8 hole 107mm; 10 hole 133mm
ZI545
Zimmer Universal Locking system
3.5 mm Optional Locking Reconstructive 
13 hole; 14 hole; 15 hole; 16 hole; 
$550.00

Plate- Sterile and Non-Sterile
18 hole; 20 hole; 22 hole
ZI546
Zimmer Universal Locking System
3.5mm Optional Locking dual Compression 
16 hole; 20 hole
$229.00
$350.00

Plate - Sterile and Non-Sterile
ZI547
Zimmer Universal Locking System
3.5mm  Optical Locking-Third Tubular Plate-
3 hole; 4 hole; 12 hole; 14 hole
$175.00
$210.00

Sterile & Non Sterile
Prostheses List by Category, Groups and Sponsor
Page 285 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI548
Zimmer Universal Locking System
2.7mm Universal Locking Screw
Length:8mm; 10mm; 12mm; 14mm; 
$170.00

16mm; 18mm; 20mm; 22mm; 24mm; 

26mm; 28mm; 30mm; 32mm; 34mm; 

36mm; 38mm; 40mm; 42mm; 44mm; 

46mm; 48mm; 50mm; 55mm; 60mm
ZI549
Zimmer Universal Locking System
2.7mm Universal Locking System 
6 hole 49mm; 8 hole 65mm
$470.00

Reconstruction Plates, Straight - Sterile & 

Non Sterile
ZI550
Zimmer Universal Locking System
2.7mm Locking Dual Compression Plate 
2 hole 26mm; 4 hole 49mm; 6 hole 
$229.00
$240.00

Sterile and Non Sterile
72mm; 7 hole 84mm; 8 hole 95mm; 

9 hole 107mm; 10 hole 118mm; 12 

hole 141mm; 16 hole 187mm
ZI551
Zimmer Universal Locking System
2.7 mm Locking T & L Plate Sterile and Non-
2 hole head 3 hole shaft 39mm 
$260.00

Sterile
length; 2 hole head 5 hole shaft 

62mm length; 3 hole shaft left 

39mm; 3 hole shaft right 39mm; 3 

hole shaft oblique left 42mm; 3 

hole shaft oblique right 42mm; 5 

hole shaft left 62mm; 5 hole shaft 

right 62mm; 5 hole shaft oblique 

left 65mm; 5 hole shaft oblique 

right 65mm
ZI552
Zimmer Universal Locking System
2.7mm Locking One-Quarter Tubular Plate-
3 hole 36mm; 4 hole 47mm; 5 hole 
$175.00
$190.00

Sterile and Non-Sterile
59mm; 6 hole 70mm;l 7 hole 82mm; 

8 hole 93mm
Fixation Device, Internal, Wire

Johnson & Johnson Medical Pty Ltd
DP363
Control Cable
Control Cable sleeve 
One size only
$240.00
DP364
Control Cable with Sleeve
Control Cable with sleeve 
One size only
$350.00

LMT Surgical Pty Ltd
LM065
TriMed Olecranon Sled
Stainless Steel Wire Form
Length 40-90mm
$298.00
$600.00
LM066
TriMed Olecranon Sled
Washer
one size
$200.00
Prostheses List by Category, Groups and Sponsor
Page 286 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
SK456
Ligature Wire
Titanium or Stainless Steel
Diameter 0.25 -2.0mm, Length 1- 
$20.00

400mm

Synthes Australia Pty Ltd
SY417
Titanium Wire, Barb and Needle
Titanium wire surture and needle with 
One size only
$450.00

titanium alloy barb fixation
Fixation pin, biodegradable

Device Technologies Australia Pty Ltd
DE273
Trim-IT Spin Pin
Trim-IT Spin Pin Fixation
2mm x 100mm
$350.00
Fixation plate, fracture-healing, non-biodegradable

City Medical Devices Australia (trading as Energy Orthopaedics)
CD008
Aptus Hand-Plates
Aptus Hand-Plates
1.2/1.5/2.0/2.3/2.5; straight plate 4-
$669.50

16 hole; curved 16 hole; offset 16 

hole; T plate, Y plate, L plate 4-10 

hole; T plate offset 11-12 hole; 

grid-rectangular, trapezoid, angled,

 square 4 hole-12 hole
CD009
Aptus Radius Locking plates
Aptus Radius Locking plates (fracture plate, 
2.5mm locking plates, 1.6mm 
$1,450.00

correction plate volar, correction plate long 
thickness, left and right

volar, correction plate with flap volar, 

correction plate long with flap volar, frame 

plate volar, frame plate long volar, H plate 

dorsal

LMT Surgical Pty Ltd
LM068
Normed Foot Plates and screws
Titanium plates, various sizes and shapes
Titan Open-Wedge plate: 0mm, 
$450.00
$650.00

3mm, 4mm, 5mm, 6mm, 7mm, 8mm; 

Titan Universal plates: 10mm, 

12mm, 14mm, 16mm, 18mm, 20mm, 

22mm, 24mm, 30mm
LM069
Normed Foot screws
Titanium plates, various sizes and shapes
multiple
$50.00
Prostheses List by Category, Groups and Sponsor
Page 287 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY386
PolyMax Resorbable Fixation System
1.5/2.0/2.5 Cortex Screws/Tacks Pack of 2
3-8mm
$235.00
SY387
PolyMax Resorbable Fixation System
1.5/2.0 Cortex Screws/Tacks Pack of 4
3-8mm
$360.00
SY388
PolyMax Resorbable Fixation System
1.5/2.0 Straight Plates
2-4 Holes
$230.00
SY389
PolyMax Resorbable Fixation System
1.5/2.0 Adaption Plates
8-20 Holes
$360.00
SY390
PolyMax Resorbable Fixation System
1.5/2.0 Strut Plates
2 x 10-20 Holes
$618.00
SY391
PolyMax Resorbable Fixation System
1.5/2.0 Orbital Floor Plate
S, M, L
$615.00
SY392
PolyMax Resorbable Fixation System
X, Y, Double Y, Orbital, L Plates
4-10 Holes
$280.00
SY393
PolyMax Resorbable Fixation System
1.5/2.0 Standard Mesh
50 x 50mm
$1,300.00
SY394
PolyMax Resorbable Fixation System
1.5/2.0 Standard Mesh
100 x 100mm
$2,150.00
SY395
PolyMax Resorbable Fixation System
1.5/2.0 Contourable Mesh
50 x 50mm
$1,300.00
SY396
PolyMax Resorbable Fixation System
1.5/2.0 Contourable Mesh
100 x 100mm
$2,150.00
SY397
PolyMax Resorbable Fixation System
1.5 Burr Hole Cover
8 Hole
$600.00
Fixation screw, bone, biodegradable

ConMed Linvatec Australia Pty Ltd
LV103
Matryx Interference Screw
Matryx (SR-96L/4D PLA with ß-TCP) 
7.3 x 20mm; 7.3 x 25mm; 7.3 x 30mm;
$420.00

Inteference Screw
 8 x 20mm; 8 x 25mm; 8 x 30mm; 9 x 

20mm; 9 x 25mm; 9 x 30mm
Fixation system, internal,fracture, non-biodegradable

LMT Surgical Pty Ltd
LM072
Trimed Hook Plate
stainless steel 4 and 6 hole plates
4 and 6 holes/right and left
$740.00
$800.00
Prostheses List by Category, Groups and Sponsor
Page 288 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Gel, Resorbable, Antiadhesion

Advanced Surgical Technologies
AD066
Adcon Anti-Adhesion Barrier Gel
Adcon Gel
3 gram
$730.00
Temporary Approval - Funded 

when clinical indications for use are

 present.
AD067
Adcon Gel for Tendons
Adcon Gel
1 gram only
$560.00
Temporary Approval - Funded 

when clinical indications for use are

 present.
Graft Kit, Spinal Fusion

Medtronic Australasia Pty Ltd
MC682
Infuse Bone Graft
Recombinant human Bone Morphogenetic 
Small 4.2mg
$3,200.00
Temporary approval pending 

Protein rhBMP-2
review of listing criteria
MC683
Infuse Bone Graft
Recombinant human Bone Morphogenetic 
Medium 8.4mg
$6,000.00
Temporary approval pending 

Protein rhBMP-2
review of listing criteria
MC684
Infuse Bone Graft
Recombinant human Bone Morphogenetic 
Large 12mg
$6,400.00
Temporary approval pending 

Protein rhBMP-2
review of listing criteria
Grafts, Bone

Orthotech Pty Ltd
OH003
Pro-Osteon Implants 500
Granules
10mm x 10mm x 10mm (1cc) Block
$430.00
OH004
Pro-Osteon Implants 500
Granules
10mm x 10mm x 40mm (4cc) Block
$1,325.00
OH005
Pro-Osteon Implants 500
Granules
10 x 20 x 50mm (10cc) Block
$2,540.00
OH008
Pro-Osteon Implants 500
Granules
10cc
$1,110.00
OH010
Pro-Osteon Implants 500
Granules
20cc
$1,600.00
OH014
Pro-Osteon Implants 200
Block
20 x 15 x 10mm Block
$825.00
OH016
Pro-Osteon Implants 200
Block
0.8cc x 5 Syringes Grannules
$200.00
Prostheses List by Category, Groups and Sponsor
Page 289 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OH055
Pro Osteon Implants 200
Granules, Porous Hydroxyapatite Bone Void 
5cc Syringe
$280.00

Filler

Surgical House
SU176
MBCP Wedge
Composition - 60% hydroxyapatite / 40% 
MBCP Wedge - 6 degrees to 14 
$1,430.00

Ca3(PO4)2 To be used in combination with 
degrees

Surfix Opening Wedge HTO Plates and 

screws/lock screws

Zimmer Pty Ltd
ZI265
Continuum hip system
Hedrocel AVN Rod
3mm - 12mm block
$3,208.00
ZI270
Hedrocel block
Hedrocel tantulum
2 x 4 x 4mm
$3,833.00
ZI272
Hedrocel cylinder
Hedrocel tantulum
10mm long
$2,787.00
Grafts, Bone, Synthetic

Biomet Australia Pty Ltd
BI946
Calcibon
Granules or paste, TCP
10cc
$1,080.00
BI947
Calcibon
Granules or paste, TCP
20ml
$1,545.00
BI948
Calcibon
Granules or paste, TCP
50ml
$3,000.00

Device Technologies Australia Pty Ltd
DE082
Hatric Bone Substitute
Ceramic
7mm - 15mm
$1,560.00
DE130
MBCP
Micro & Macroporous Biphasic Calcium 
0.5 - 3mm (1- 2cc)
$255.00

Phosphate, composition - ceramic 

consituting calcium phosphate 

hydroxyapatic 60% and tricalcium 

phosphate beta (TCP) 40%, granules
DE135
MBCP
Micro & Macroporous Biphasic Calcium 
1- 3mm (10cc)
$510.00

Phosphate, composition - ceramic 

consituting calcium phosphate 

hydroxyapatic 60% and tricalcium 

phosphate beta (TCP) 40%, granules
DE136
MBCP
Micro & Macroporous Biphasic Calcium 
2-3mm (16cc)
$720.00

Phosphate, composition - ceramic 

consituting calcium phosphate 

hydroxyapatic 60% and tricalcium 

phosphate beta (TCP) 40%, granules
Prostheses List by Category, Groups and Sponsor
Page 290 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DE137
MBCP
Micro & Macroporous Biphasic Calcium 
5 x 5 x 10-20mm
$350.00

Phosphate, composition - ceramic 

consituting calcium phosphate 

hydroxyapatic 60% and tricalcium 
DE138
MBCP
Micro & Macroporous Biphasic Calcium 
5-12mm to 15 - 13mm
$615.00

Phosphate, composition - ceramic 

consituting calcium phosphate 

hydroxyapatic 60% and tricalcium 

phosphate beta (TCP) 40%, granules

Medical & Optical Instruments Australia Pty Ltd
MO259
ALLOGRAN N
Hydroxyapatite Bone Graft
3.5mm granules 10cc
$580.00
MO260
ALLOGRAN N
Hydroxyapatite Bone Graft
3.5mm granules 20cc
$780.00
MO261
ALLOGRAN N
Hydroxyapatite Bone Graft
3.5mm granules 70cc
$1,400.00
MO262
STIMULAN
Calcium Sulphate Pellets
3mm pellets 5cc
$450.00
MO263
STIMULAN
Calcium Sulphate Pellets
3mm pellets 10cc
$600.00
MO264
STIMULAN
Calcium Sulphate Pellets
4.8mm pellets 10cc
$600.00
MO265
STIMULAN
Calcium Sulphate Pellets
4.8mm pellets 20cc
$950.00
MO266
STIMULAN
Calcium Sulphate Pellets
3mm pellets 1.5cc Dispenser
$450.00
MO267
STIMULAN
Calcium Sulphate Pellets
4.8mm pellets 5cc Dispenser
$730.00
MO268
STIMULAN
Calcium Sulphate Injectable Paste incl. 
5cc
$1,200.00

powder mixing solution
MO269
STIMULAN
Calcium Sulphate Injectable Paste incl. 
10cc
$1,800.00

powder mixing solution
MO275
Allogran R
Beta Tri-Calcium Phosphate Resorbable 
2mm Granules 5 cc
$540.00

Bone Graft
MO276
Allogran R
Beta Tri-Calcium Phosphate Resorbable 
2mm Granules
$750.00

Bone Graft
10 cc
MO277
Allogran R
Beta Tri-Calcium Phosphate Resorbable 
2mm Granules
$1,200.00

Bone Graft
20 cc

Orthotech Pty Ltd
OH019
Bone Plast Bone Void Filler
Powder
20cc
$1,903.00

Synthes Australia Pty Ltd
SY331
Norian CRS/SRS Fast Set Putty
5cc
$1,694.00
SY332
Norian CRS/SRS Fast Set Putty
10cc
$2,420.00
Prostheses List by Category, Groups and Sponsor
Page 291 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 1- Fixation: Bone Screw

Group 1a  - Bone Screw, Monoaxial

Zimmer Pty Ltd
ZI513
Optima Spinal System - Monoaxial Pedicle 
Monoaxial Pedicle screw system
Dia 4-8mm, length 20-60mm
$936.00
$956.00

Screw System

Group 1b - Bone Screw, Polyaxial

Johnson & Johnson Medical Pty Ltd
JJ522
VIPER Spine System
Viper Polyaxial Screw, Titanium
5, 6 or 7mm diameter x 25-55mm 
$1,395.00

length

Scient'x Australia
SX020
TTC-screw
Polyaxial screws
Diam 3.5 - 4.0mm, lg 10-50mm
$1,330.00

Zimmer Pty Ltd
ZI514
Optima Spinal System - Polyaxial Pedicle 
Polyaxial Pedicle Screw System
Dia 4-8mm, length 20-60mm
$1,330.00

Screw System

Group 1c - Bone Screw, Standard

B Braun Australia Pty Ltd
BB068
Caspar Screws
Stainless Steel
10mm-28mm
$10.00
BB069
Caspar Screws
Titanium
10mm-28mm
$29.00

Johnson & Johnson Medical Pty Ltd
DP921
DOC Ventral Stabilisation System
Outer Bone Screw
4.0mm x 12-16mm
$195.00
DP922
DOC Ventral Stabilisation System
Inner Bone Screw
12 - 16mm
$225.00
DP923
DOC Ventral Stabilisation System
Platform - Straight Non Locking Screw
3.5 - 4mm
$225.00
DP924
DOC Ventral Stabilisation System
Platform - Angled Screw 20Deg Lockable
3.5 - 4mm
$376.00
DY074
Codman Anterior Cervical Plate System
Cancellous Bone Screw - Standard/Self 
10 - 26mm
$310.00

Tapping/Variable Depth
DY478
Uniplate ACP System
Rescue Screw
12-18mm
$630.00
DY479
Uniplate ACP System
Primary Screw
12-18mm
$630.00
JJ512
Skyline Cervical Plate System
Skyline anterior cervical screw, titanium
Self drilling 3.8mm, 10-18mm
$765.00
Prostheses List by Category, Groups and Sponsor
Page 292 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ513
Skyline Cervical Plate System
Skyline anterior cervical screw. Titanium
Self tapping 3.8mm, 10-18mm
$765.00
JJ514
Skyline Cervical Plate System
Skyline anterior cervical screw.  Titanium
Self Tapping 4.3mm, 10-18mm
$765.00
JJ515
Skyline Cervical Plate System
Skyline anterior cervical screw.  Titanium
Bi-cortical 10-18mm
$765.00
JJ519
AEGIS ALP
AEGIS ALP Bone Screws, Titanium
4mm x 24-36mm
$765.00
JJ528
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Screw.  Titanium
Self Drilling 3.8mm 10 - 18mm
$765.00
JJ529
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Screw.  Titanium
Self-Tapping 3.8mm 10-18mm
$765.00
JJ530
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Screw.  Titanium
Self Tapping 4.3mm 10 - 18mm
$765.00
JJ531
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Screw.  Titanium
Bi-cortical 10 - 18mm
$765.00

Synthes Australia Pty Ltd
SY292
Facet Interference Screw
Cannulated Screw
7.5mm
$500.00
Group 12 - Spacer: Interbody/Fusion Cage

Group 12b - Interbody / Fusion Cage, No Integral Fixation

Johnson & Johnson Medical Pty Ltd
DP509
Brantigan I/F Cage
AETI  (Endoscopic) C/F  Cage
Wedge 7-13mm x 9-15mm x 21-25 mm
$2,788.00
JJ516
X-Tenz Lordotic Cage
X-tenz Lordotic Cage, Titanium
30 - 60mm, 10 degrees
$2,880.00
JJ517
X-Tenz Lordotic Cage
X-tenz Lordotic Cage, Titanium
30 - 60mm, 0 degrees
$2,880.00
JJ520
CONCORDE Spine System
CONCORDE Parallel Carbon Fibre Body 
7 - 13mm
$3,725.00
$4,133.00

Fusion Device
JJ521
CONCORDE Spine System
CONCORDE Lordotic Carbon Fibre Body 
7 - 13mm
$3,725.00
$4,133.00

Fusion Device

Medtronic Australasia Pty Ltd
MC685
Verte-Stack Crescent
PEEK
Height 6 - 18mm
$4,242.00
$6,880.00

Single

Trans-Pacific Healthcare Pty Ltd
TP001
TPH - Fehling Formar Cages
Trapezoid frames to replace removed discs 
14mm x 13mm x 3/4/5/6/7mm; 16mm 
$1,950.00

in the region of the cervical vertebrae. Made 
x 14mm x 3/4/5/6/7mm; 18mm x 

of PEEK Optima
14mm x 3/4/5/6/7mm
Prostheses List by Category, Groups and Sponsor
Page 293 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 16 - Replacement: Vertebral Body

Group 16e - Vertebral Body, Mesh

Scient'x Australia
SX022
Bioscorp
Bioresorbable corpectomy implant
Diameter: 10-12mm, Length; 30-
$3,800.00

70mm

Group 16f - Vertebral Body, Mesh - End Plate

Johnson & Johnson Medical Pty Ltd
DY087
Surgical Titanium Mesh System
End Plate or Screws or End Cap (Round / 
17-22mm x 22-33mm
$250.00

Oblong / Trapezoidal)
DY088
Surgical Titanium Mesh System
Rings (Standard and Angled)
17-26mm x 22-33mm
$1,325.00
Group 17 - Bone Graft: Bone Substitute

Group 17c - Bone Substitute, Non-Resorbable - Non-Structural

Cardinal Health
CI002
AVAmax System
Radiopaque bone cement system
11G & 13G
$527.00
$1,000.00

Johnson & Johnson Medical Pty Ltd
DY097
Vetebrplastic Cement
Vetebrplastic cement
One size only
$229.00

William A Cook Australia Pty Ltd
WC135
Vertebroplasty Procedure Pack
Percutaneous Vertebroplasty set with 
11/13 Gauge 10/15CM M1, M1M, 
$527.00

Osteo-Site needle and bone cement
M2
Group 2 - Fixation: Coupling

Suffix 1

Johnson & Johnson Medical Pty Ltd
DP058
Isola System (Stainless Steel)
Modular Cross Connector Hex Nut
One size only
$50.00
DP074
Isola System (Titanium)
Modular Cross Connector Hex Nut
One size only
$60.00
DY098
Moss Miami  (Titanium)
Pin Nut
One size only
$744.00
Prostheses List by Category, Groups and Sponsor
Page 294 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Suffix 2

Johnson & Johnson Medical Pty Ltd
DP928
DOC Ventral Stabilisation System
Platform/Cross Connector Locking Screw or 
3.5 - 4mm
$162.00

Graft Screw
JJ524
VIPER Spine System
Viper Single Innie Set Screw
One size
$593.00

Zimmer Pty Ltd
ZI511
Optima Spinal System - Set Screw
Screw set
One size only
$281.00
$319.00

Suffix 5

Johnson & Johnson Medical Pty Ltd
DP072
Isola System (Titanium)
Modular Cross Connector  J-Hooks
1/4 & 3/16"
$478.00
DP073
Isola System (Titanium)
Modular Cross Connector Plates
0 - 70mm
$569.00
DP075
Isola System (Stainless Steel)
Modular Cross Connector Plates
0 - 70mm
$265.00
DP076
Isola System (Stainless Steel)
Modular Cross Connector J-Hooks
1/4 & 3/16"
$463.00
Group 3 - Fixation: Cable

Group 3a - Cable, Single Ended

Johnson & Johnson Medical Pty Ltd
DP045
Isola System (Stainless Steel)
Double Wire
One size only
$166.00
DP859
Songer Cable System  - Stainless Steel
Isola Single Cable & Crimp (Pkt 6)
One size only
$1,800.00
DP864
Songer Cable System  - Titanium
Isola Single Cable & Crimp (Pkt 6)
One size only
$2,934.00
Group 4 - Fixation: Connector

Group 4b - Connector, Offset

Johnson & Johnson Medical Pty Ltd
DY305
VSP System (Titanium)
Sacral Connector - Left & Right Offset
One size only
$657.00

Group 4c - Connector, Transverse (Rod-to-Rod)

Johnson & Johnson Medical Pty Ltd
DY096
DOC Ventral Stabilization System
Graft Platform or Cross Connector
One size only
$200.00
Prostheses List by Category, Groups and Sponsor
Page 295 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
SK307
Spiral Radius 90D
Rod to Rod Connector - Titanium
One size only
$1,000.00

Zimmer Pty Ltd
ZI488
Silhouette Transverse Connector Insert
Titanium
one size only
$161.00

Suffix 1 System

Zimmer Pty Ltd
ZI510
Optima Spinal System - Transverse Link 
Transverse Link Assembly
Small, Medium, Large
$1,000.00

Assembly
Group 5 - Fixation: Hook

Group 5a - Hook, Open

Global Orthopaedic Technology
GO082
Nex-Link
Spinal Fixation System, Cervical Hooks
5 & 7mm
$720.00
Group 6 - Fixation: Plate

Group 6b - Plate, No Integral Fixation

B Braun Australia Pty Ltd
BB067
Caspar Cervical Plate
Titanium and Steel
24mm-90mm
$520.00

Johnson & Johnson Medical Pty Ltd
DP051
VSP System (Titanium)
VSP Bone Plate
One - Two Slot
$1,395.00
DP052
VSP System (Titanium)
VSP Bone Plate
Two ½ - Three ½ or Four - Five Slot
$1,695.00
DP927
DOC Ventral Stabilisation System
Assembly - Various single or two or three 
30-110mm
$1,500.00

level
DY123
VSP System (Stainless Steel)
VSP Bone Plate
One-Two Slot
$1,600.00
DY124
VSP System (Stainless Steel)
VSP Bone Plate
Two 1/2-Three 1/2 Slot
$1,645.00
DY125
VSP System (Stainless Steel)
VSP Bone Plate
Four-Five Slot
$1,785.00
JJ511
Skyline Cervical Plate System
Skyline anterior cervical plate.  Various size 
Size 12-105mm
$2,417.00

plates. Titanium
JJ518
AEGIS ALP
AEGIS ALP Curved Anterior Plate, Titanium
4 - 13mm
$2,417.00
JJ525
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Plate.  Various size 
Level 1 Size 12 - 26mm
$2,327.00

plates.  Titanium
Prostheses List by Category, Groups and Sponsor
Page 296 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ526
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Plate.  Various size 
Level 2 Size 28 - 42mm
$2,372.00

plates.  Titanium
JJ527
EAGLE Anterior Cervical Plate
Eagle Anterior Cervical Plate.  Various size 
Level 3 Size 42 - 60mm
$2,417.00

plates.  Titanium

Scient'x Australia
SX023
Aladyn-Plate
Rigid Plate
Length: 38-76mm
$1,500.00

Synthes Australia Pty Ltd
SY180
Cervical Spine Locking Plate (CSLP) 
Small Stature Plate
Length 20-77mm
$1,300.00

System
Group 7 - Fixation: Rod

Group 7a - Rod, Standard

Global Orthopaedic Technology
GO083
Nex-Link
Spinal Fixation System, Spinal Rod
120 & 240mm
$360.00

Johnson & Johnson Medical Pty Ltd
JJ523
VIPER Spine System
Viper Pre-lordosed Rod, Titanium
35 - 70mm
$360.00

Orthotech Pty Ltd
OH203
Altius Occipito-Cervico-Thoracic (OCT) 
Rod
8 to 24cm x 3.5mm Occipital and  
$684.00
$750.00

System
Curved Rod

Scient'x Australia
SX021
TTC-rod
Rigid Rod
Diameter:  3.5mm, Length: 10-200mm
$428.00

Zimmer Pty Ltd
ZI512
Optima Spinal System - Rod
Rod
Dia 5-7mm, length 40-400mm
$462.00
$600.00
Group 9 - Fixation: Washer/Staple

Johnson & Johnson Medical Pty Ltd
DP049
VSP System (Titanium)
Washers - Standard / Tapered
3 & 5mm
$65.00
DP430
Moss Miami (Stainless Steel)
Washers - slotted, angled
Slotted/Angled or 3-5mm
$254.00
DY127
VSP System (Stainless Steel)
Washers - Standard / Tapered
3 & 5mm
$67.00
Prostheses List by Category, Groups and Sponsor
Page 297 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Guides, Gigli Saw

Smith & Nephew Surgical Pty Ltd
SN451
Wire
Kirschner
Various 1.3 - 304.8mm
$11.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
Hip A - Femoral Components - Primary & Revisions

Group 01a - Cemented, unpolished, no pre-coat, straight, short and standard length, all 

ESKA Australia
EK080
Adapter GHE Long Stem Cemented
Femoral Component CoCr
160mm
$2,000.00

Mathys Orthopaedics Pty Ltd
MA016
CCA Cemented Stem
Straight / standard / lateral sterile 
7.50mm -17.5mm
$2,000.00

Orthotech Pty Ltd
OH226
Exactech Femoral Stem
Novation C - Series Femoral Stem
1-8
$2,000.00

Smith & Nephew Surgical Pty Ltd
SN010
Basis Femoral Component
Hip stem, Cobalt Chromium
Length 115 - 135mm
$1,150.00

Stryker Australia Pty Ltd
ST576
Stryker Omnifit Cemented Stem
Cemented  femoral component
Stem sizes 4-11
$2,000.00
ST586
Osteonics omnifit head/neck hip stem 
Head/neck hip stem cobalt chrome
Stem sizes  5, 7 & 9
$1,850.00
ST802
Accolade C Femoral Hip System
Forged CoCr cemented hip system
Stem sizes 2 - 7
$1,850.00

Zimmer Pty Ltd
ZI015
Zimmer Hip Systems Femoral Stem
VerSys Cemented - Cobalt Chrome
11 - 17
$2,080.00
ZI337
Natural Hip System
Femoral Stem, CoCr
140 - 160mm
$2,080.00

Group 01b - Cemented, unpolished, no pre-coat, tapered, short and standard length, all 

B Braun Australia Pty Ltd
BB275
Excia Hip System
Cemented stem cobalt chromium
9mm-18mm
$2,000.00
Prostheses List by Category, Groups and Sponsor
Page 298 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI036
Rx90 Hip System
Primary Femoral Stem, Chrome Cobalt, 
9-17mm
$1,850.00
$2,080.00

Cemented
BI039
Integral Hip System
Femoral  Centraliser, Cemented , Cobalt 
9-17mm
$1,850.00

Chrome
BI047
Hip Fracture System
Femoral Stem, Chrome Cobalt, 
8-16mm
$2,000.00

Cemented/Cementless
BI050
Bi-Metric Hip System
Interlok Stem, Titanium, 
7-17mm
$1,850.00

Cemented/Cementless
BI063
Bimetric Hip System
Stem, Modular, Titanium, Chrome Cobalt
7-17mm
$1,850.00
BI069
Biomet Taperloc Hip System
Femoral Stem, Standard or Laterised. 
7.5mm to 20mm diameter
$1,850.00

Titanium, Cemented
BI132
Mallory Head Hip System
Femoral Stem, Cobalt Chrome, Unpolished
7-19mm
$2,000.00

Johnson & Johnson Medical Pty Ltd
DP180
Charnley Hip System 
Charnley CDH and Primary Hip range, 
CDH, SNS 35, STS 35, FL 35, RB 40
$2,000.00

Ortron, Standard and Modular
 NRW, RB40, RB45, FI 40 & 45, EH 

40 & 45.
DP203
Elite Modular Hip System
Elite CDH and Primary Hip range, Ortron, 
CDH, Size 1-7 standard and size 2-
$2,000.00

Standard and High offset
5 High Offset
JJ573
Summit Cemented Hip Stem
Cemented CoCr Standard and High Offset
Size 2-8 Standard, 3-8 High offset
$1,850.00
$2,300.00

Mathys Orthopaedics Pty Ltd
MA017
FULFIX Cemented Stem
Standard modular / lateral modular sterile
3.0mm - 12.5mm
$2,000.00
MA423
Unistem 2
Cemented stem for hip arthroplasty
Sizes 6-16; Length 125-165mm
$1,248.00

Portland Orthopaedics (Aust) Pty Ltd
PD023
M-COR Modular Hip System
M-CS Cemented Femoral Stem, CoCr
Size 1 - Size 8
$1,707.00

Smith & Nephew Surgical Pty Ltd
SN301
Spectron/Synergy
Femoral Stem Non Porous Offset
1- 20
$1,850.00

Stryker Australia Pty Ltd
SR017
Omnifit hip system
OMNIFIT cemented femoral component - 
Stem sizes 4-11
$1,850.00

normalised cobalt chrome
SR018
Omnifit hip system
OMNIFIT 'C' stem - cemented  cobalt 
Stem sizes 4-11
$1,850.00

chrome, collared and collarless, 132 degree 

offset
Prostheses List by Category, Groups and Sponsor
Page 299 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

N

ESKA Australia
EK031
Adapter Hip System cemented
Femoral Stem CoCr Matte finished material
Femoral stem 1-7
$1,872.00
EK083
Adaptor Hip System Cemented Dual Cone
Dual Cone
10-20 deg - XL
$780.00

Group 02a - Cemented, polished, no pre-coat, straight, short or standard length, all modularity.

Global Orthopaedic Technology
GO036
Consensus Hip System
Femoral stem cemented polished CoCr 
6 to 14
$2,080.00

tapered modular

Taylor Bryant Pty Ltd
TB009
Lyderic II Monotige Femoral Stem
HA - Titanium alloy - Cemented - Stainless 
Sizes 6 - 11
$1,500.00

steel
TB067
Groupe Lepine Total Hip Replacement
Lyderic II Modular Stem, Cemented
Size 6, 7, 9, 9, 10, 11
$1,500.00

Zimmer Pty Ltd
ZI023
Zimmer Hip Systems Femoral Stem
Heritage - Cobalt Chrome
11 - 17
$2,080.00

Group 02b - Cemented, polished, no pre-coat, tapered, short or standard length, all modularity.

B Braun Australia Pty Ltd
BB240
BiContact cemented
Femoral stem
8-18
$1,923.00

Biomet Australia Pty Ltd
BI066
Stanmore Total Hip System
Modular Femoral Stem - Standard and 
Size 1-5 
$1,750.00
$2,315.00

Straight, Chrome Cobalt
BI696
Olympia Stem
Anatomic design CO CR femoral stem
L & R 6 sizes (1 to 6)
$2,315.00
BI925
Mallory Head Hip System
Femoral Stem, Cobalt Chrome, Polished
7-19mm
$2,315.00
BI935
Generation 4 - Polished Hip System
Femoral Stem, Cobalt Chrome, Cemented
9-17mm
$1,750.00
$2,315.00

Corin  Australia Pty Ltd
CR024
Taper Fit Hip System
Double taper stainless steel total hip 
sizes 1-4
$1,976.00

Finsbury Orthopaedics Australia Pty Ltd
FI019
Freeman Hip Stem
Cobalt Chrome, smooth, cemented
165 lengths, diameter 10-12-14-16-
$1,923.00

18-20, offsets short 36mm and 

medium 40mm
Prostheses List by Category, Groups and Sponsor
Page 300 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Manufacturing Technology Pty Ltd
GM038
Edinburgh Total Hip System (Hip Stem)
Femoral stem cemented CoCr
CDH to Size 4 Narrow: Size 1 to 
$2,317.00

Size 4 Standard

Global Orthopaedic Technology
GO073
Consensus Hip System
Femoral stem cemented polished CoCr 
6 to 14
$2,080.00

straight modular
GO164
Global Cemented Hip System - Stem
Femoral stem cemented
37.5mm dia,0  ;37.5mm dia,1 ; 
$2,317.00

37.5mm dia,2 ;37.5mm dia,3 ; 

37.5mm dia,4 ; 44mm dia,1 ;44mm 

dia,2 ;  44mm dia,3;  44mm dia 4.

Johnson & Johnson Medical Pty Ltd
DP546
C- Stem 
Standard or High Offset and CDH, Ortron
Size 1-8 standard, Size 1-8 High 
$2,236.00

Offset, CDH and 0A to 3A sizes

Mathys Orthopaedics Pty Ltd
MA463
twinSys
cemented stainless steel, polished surface, 
8 sizes in standard and lateral 
$2,228.00

triple tapered femoral stem
version (Size 9, 10, 11, 12, 13, 14, 

15, 16)
MA474
Cemira
Cerima cemented, polished, no pre-coat, 
Standard: 8 Sizes (Size 
$2,317.00

tapered short or standard length stem. 
4,5,6,7,8,9,10,11)

Available in three versions: standard, lateral 
Lateral: 7 Sizes (Size 4,5,6,7,8,9,10)

and dysplastic. Manufactured from 


corrosion resistant stainless steel (ISO 5832-
Dysplastic: 3 Sizes (1,2,3)

Medacta Australia Pty Ltd
MU001
CONE Cemented Stem
CONE cemented stem, CoCr alloy
Standard sizes 1 to 8, Lateralized 
$2,300.00

sizes 2 to 7
MU004
Quadra Hip Stem System
Quadra-C Cemented stem, high nitrogen 
0 to 7
$1,722.00

stainless steel alloy

Orthotech Pty Ltd
OH100
Lima Total Hip Replacement System
Friendly Stem Cemented Hip
0, 1, 2, 3
$2,317.00
OH199
Lima Accent Hip System
Total Hip Replacement
1 -6
$2,317.00

Plus Orthopedics Australia Pty Ltd
PL014
PLUS Hip Joint Prostheses System
CPS-PLUS Stem
1 to 5
$1,923.00
PL134
POLARSTEM FEMORAL STEM SYSTEM
CEMENTED POLISHED TAPERED STEM 
0-8
$2,200.00

STANDARD AND LATERAL 10/12 TAPER 

AND 12/14 TAPER
Prostheses List by Category, Groups and Sponsor
Page 301 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN268
CPCS
Femoral Stem Polished Non Porous, Std and 
1 - 5
$1,750.00

High Offset 

Stryker Australia Pty Ltd
HW041
Exeter Hip System
Stem: Standard -  Orthinox
Stem Sizes 0-6, Offsets 35 - 5, 37 - 
$2,392.00

5, 44, 50mm
HW402
Exeter Hip System
Stem: Standard - Orthinox
Sizes 0-6, Offsets 35 - 5, 37 - 5, 44, 
$2,392.00

50mm
SK196
Exeter Hip System - ETS (endoprosthesis 
Orthinox Stainless Steel Endoprosthesis
40mm Offset body with monoblock
$1,923.00

trauma stem)
 head sizes 38mm, 40mm, 41mm, 

42mm, 43mm, 44mm, 45mm, 46mm, 

47mm, 48mm, 49mm, 50mm, 52mm, 

54mm, 56mm

Zimmer Pty Ltd
ZI009
Zimmer Hip Systems Femoral Stem
CPT Zimaloy - Co Cr
Sizes 1 - 5
$2,315.00
ZI373
MS-30 Hip prosthesis
Cemented Stem:MS-30 (Protek) - metal alloys
6 to 16
$1,923.00

N

Advanced Surgical Technologies
AD318
Profemur Xm Femoral Stem
Femoral Stem, CoCr, Cemented, Polished
0, 1, 2, 3, 4
$2,300.00

Group 03a - Cemented, unpolished, pre-coat, straight, short or standard length, all modularity.

Stryker Australia Pty Ltd
HW031
Definition PM Femoral Component
Femoral Stem -  Vitallium
Stem sizes 1 - 7
$2,080.00

Group 03b - Cemented, unpolished, pre-coat, tapered, short or standard length, all modularity.

Johnson & Johnson Medical Pty Ltd
DY167
G2 Hip System
G2 Stem Cemented
1 - 11L
$2,080.00

Orthotech Pty Ltd
OH101
Lima Total Hip Replacement System
H-MOOS Cemented Hip
1 - 5
$2,080.00

Stryker Australia Pty Ltd
HW399
Definition PM Femoral Component
Femoral Stem -  Vitallium
Stem sizes 1 - 7
$2,080.00
Prostheses List by Category, Groups and Sponsor
Page 302 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 04a - Cemented, polished and unpolished, long length, conventional.

ESKA Australia
EK081
Adapter GHE Long Stem Cemented
Femoral Component CoCr
180mm - 200mm - 240mm
$3,500.00

Finsbury Orthopaedics Australia Pty Ltd
FI020
Freeman Hip Stem
Revision
Diameter 14-16/Short and Medium 
$3,150.00

offset +50mm

Johnson & Johnson Medical Pty Ltd
DP013
Wroblewski Resection Stem
Stainless steel
200mm, 250mm
$3,550.00
DP175
Charnley Hip System
Orton stems or Tumor or Revision or Other
10" or 12" or 15" stem or Longstem
$3,150.00

 40 or EH40 or FL 40 or Resection, 

LG. NK 1& 2, or 1 & 2 EH, 

Longstem LG. NK 1 & 2
DP205
Elite Modular Hip System
Stem Ortron
Custom size
$3,550.00
DP212
Elite Modular Hip System
Elite Plus Stem Revision Ortron
4-8 length 190 - 250mm or STD or  
$3,150.00

Long Neck
DP550
C- Stem 
Revision Stem Ortron
Size 4-8 x 200-240 mm length
$3,550.00

Link Orthopaedics  Australia
LO015
LINK Lubinus SPII Hip Prosthesis
Stem
Left & right 01-5
$2,250.00

Plus Orthopedics Australia Pty Ltd
PL015
PLUS Hip Joint Prostheses System
CPS-PLUS Rev Stem
1 to 5
$3,495.00

Stryker Australia Pty Ltd
HW040
Exeter Hip System
Revision Stem Orthinox
37.5 and 44mm offsets
$3,550.00
ST584
Osteonics omnifit cemented long stem
Long stem - coated, cobalt chrome
Stem sizes  5-11, stem length 200, 
$3,150.00

250 AND 300mm

Zimmer Pty Ltd
ZI301
CPT Hip System
CPT hip stem - extra long
Sizes 1 - 4
$3,550.00

Group 04b - Cemented, calcar replacement, long length.

Biomet Australia Pty Ltd
BI051
Bi-Metric Hip System
Head Neck Revision Femoral Stem, Chrome 
9-15mm 
$3,664.00

Cobalt, Cemented
Prostheses List by Category, Groups and Sponsor
Page 303 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN273
Echelon/Spectron
Revision Hip Stem - Non-porous
135mm - 235mm
$3,664.00

Zimmer Pty Ltd
ZI024
Zimmer Hip Systems Femoral Stem
VerSys Cemented Revision Stem-Modular 
One size only
$572.00

Calcar Block
ZI025
Zimmer Hip Systems Femoral Stem
VerSys CRC Cemented Revision Stem- 
13 - 19
$3,664.00

Standard - Cobalt Chrome

Group 05a - Uncemented, Grit Blast, not HA, standard and short, no modularity.

B Braun Australia Pty Ltd
BB272
HuckStep Hip System
Titanium, plasma coated femoral stem, short 
Short and Standard length
$3,573.00

and standard length

Biomet Australia Pty Ltd
BI932
PPF Hip System
Hip femoral stem std & Lat ti-6A1-4V
00 thru 12
$3,588.00

Finsbury Orthopaedics Australia Pty Ltd
FI021
Adept Hip System
Femoral Hip Stem, cementless, titanium
12 standard sizes and 7 lateralised 
$3,520.00

sizes

Johnson & Johnson Medical Pty Ltd
DP119
Solution Implantable Hip System 
Revision Standard & MMA 8 straight or 
6" size 10.5 - 22.5
$3,588.00

bowed Porous coated

Link Orthopaedics  Australia
LO107
Beta-Cone Cementless Hip Prosthesis
Cementless, HX coated, Titanium Stem
9 Stem sizes 1-9 plus additional 9 
$3,120.00

stems with XL neck length. Total 

18 sizes
LO146
CFP Hip Stem
A, B, left and right; titanium/ HA
Extra small to Extra Large
$3,120.00

Mathys Orthopaedics Pty Ltd
MA019
CBC Cementless Stem
Titanium femoral stem
5-20mm
$3,588.00
MA427
CBH Stem
Cementless stem for hip arthroplasty
00-12
$3,588.00

Medacta Australia Pty Ltd
MU025
Quadra S
Uncemented, Grit Blasted, not HA coated 
Standard #0 to #10 and #0 to #3 
$4,202.00

stem in Ti6Al7Nb (IOS 5832-11) with a 
with a shorter neck.  Lateralized #1 

rectangular triple tapered shape.
to #7 and #1 to #3 with a shorter 

neck.
Prostheses List by Category, Groups and Sponsor
Page 304 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH227
Lima C2 Femoral Stem
Ti Femoral Stem
1-8
$3,900.00

Plus Orthopedics Australia Pty Ltd
PL008
PLUS Hip Joint Prosthesis System
PLUS cementless grit blasted titanium stem 
01-12
$3,588.00

standard and offset
PL124
Proxy Plus Cementless Hip
Grit Blasted Ti Alloy
5-20 various offsets
$3,588.00
PL138
PLUS HIP JOINT PROSTHESES SYSTEM
SL PLUS GRIT BLASTED TITANIUM MIA 
01-12
$3,588.00

STEM STANDARD AND LATERAL

Smith & Nephew Surgical Pty Ltd
SN842
Platform Hip Stem
Titanium grit blasted stem
0-12
$3,450.00

Stryker Australia Pty Ltd
SR056
Hipstar™ TMZF® Hip Stem
Hipstar™ TMZF® Hip Stem
Size 0 through to 12
$4,100.00

Zimmer Pty Ltd
ZI338
Natural Hip System
Femoral Stem Porous, Titanium
140 - 160mm
$3,588.00
ZI376
Cone Hip prosthesis
Uncemented Stems - Cone - Ti alloy
13 to 24mm
$3,573.00
ZI397
Variall Screw Cup System
Variall Stem - Ti alloy
sizes 0 to 11,
$3,404.00
ZI462
Alloclassic Hip Stem
High Offset, Ti alloy, Short Cone, Slender 
1 - 14
$4,202.00

Neck
ZI463
Alloclassic Hip Stem
Zweymuller, Ti alloy, Short Cone, Slender 
01, 0, 1, 10-13
$4,202.00

Neck
ZI468
CLS Cementless Hip
Varus Stem, Ti alloy
5 - 20
$4,202.00

N

Advanced Surgical Technologies
AD232
Profemur Total Hip System
Titanium E Stem - without HA Plasma Spray
1 Standard - 9 Standard
$3,588.00
AD238
Profemur Total Hip System
Profemur Z, Titanium Tapered Femoral Stem
Standard Length Sizes 1 - 9
$3,588.00

Group 05b - Uncemented, Grit Blast, HA, Standard and short, no modularity.

B Braun Australia Pty Ltd
BB239
BiContact Cementless
Femoral stem
8-21
$3,690.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD046
Pharo
Pharo Stem, Titanium with HA
1-5mm
$4,000.00
Prostheses List by Category, Groups and Sponsor
Page 305 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Corin  Australia Pty Ltd
CR117
Metafix Monoblock Stem
Titanium stem, fully HA Coated with 
standard, lateralised and 125 degree
$4,212.00

polished neck

Finsbury Orthopaedics Australia Pty Ltd
FI018
Freeman Hip Stem
Cobalt Chrome, ridged HA coated, 
165 lengths, diameter 10-12-14-16-
$4,056.00

18-20, offsets short 36mm and 

medium 40mm

Johnson & Johnson Medical Pty Ltd
DP943
Corail Hip System
Titanium Stem collar or collarless or Coxa 
Size K6 to K20 or in lengths 110 -
$4,420.00

Vara or High offset
190mm
DY161
Unirom Total Hip System Femoral Stem
Stem Taper 11/13
11-17 mm or 16B sml to 22F  XXL
$4,420.00
DY493
Stability Hip System
Stem HA or Porocoat Coated
Sm,  Lge,  XLge size 10A - 18B
$4,212.00

Link Orthopaedics  Australia
LO034
CFP Hip Stem
A, B, left and right; titanium/ HA
Extra small to Extra Large
$4,212.00
LO111
Beta-Cone Cementless Hip Prosthesis
Cementless, Hx coated, Titanium Stem
9 Stem sizes 1-9 plus additional 9 
$3,690.00

stems with XL neck length.  Total 

18 Sizes

Mathys Orthopaedics Pty Ltd
MA462
twinSys
uncemented Ti6A1V, corundum blasted, HA
10 sizes in standard and lateral 
$4,420.00

 coating, plasma sprayed, triple tapered 
version (Size 9, 10, 11, 12, 13, 14, 

femoral stem
15, 16, 17, 18) and 4 sizes in short 

stem (size 7, 8, 9, 10)

Medacta Australia Pty Ltd
MU003
Quadra Hip Stem System
Quadra-H Cementless stem, Ti6A17Nb alloy
Std 0 to 8 Lat 1 to 7
$4,250.00

Plus Orthopedics Australia Pty Ltd
PL115
PLUS Hip Joint Prosthesis System
SBG Femoral Stem HA
05 - 7
$4,420.00

Smith & Nephew Surgical Pty Ltd
SN306
Synergy
Femoral stem: HA coated Titanium Alloy, 
9-20
$4,212.00

Std and High Offset

Stryker Australia Pty Ltd
ST573
Omnifit hip stem
OMNIFIT - HA  titanium - HA coated
Stem sizes 4-14
$4,212.00
Prostheses List by Category, Groups and Sponsor
Page 306 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Taylor Bryant Pty Ltd
TB366
Pavi / Targos Femoral Stem
Fully coated  titanium plasma sprayed, HA.  
One piece varus neck in sizes 10-
$4,212.00

The stem is alloy of titanium, aluminium and 
16 in lengths 140 - 170mm.  One 

vandiam. It is cementless and is available 
piece standard neck in sizes 9 -16 , 

with or without a collar.
lengths 140 - 170mm.

Zimmer Pty Ltd
ZI520
Alloclassic Zweymuller Hip Stem HA 
Ti Alloy, Short Cone, Slender Neck, HA 
1 - 12
$4,420.00

Coated
Coated
ZI556
Avenir- Muller Stem
12/14 slim neck, short taper, porous, straight 
Standard sizes 1-8;  Lateral sizes 1-8
$4,420.00

stem - standard and lateral with HA

N

Advanced Surgical Technologies
AD237
Profemur Total Hip System
Anca-fit Femoral Stem with 1/3 proximal HA 
9.5, 11, 12, 13, 14, 15, 16, 17.5, left 
$3,690.00

Plasma Spray
and right

Corin  Australia Pty Ltd
CR099
Acor Anatomic Modular Stem
Anatomic, HA Coated
7 Sizes
$3,690.00
CR100
Integrale Modular Stem
HA Coated
7 Sizes
$3,690.00

Orthotech Pty Ltd
OH097
Lima Total Hip Replacement System
F2L Multineck Femoral Stem Uncemented 
1 - 6
$4,212.00

HAC & Porous Coating

Group 05c - Uncemented, beaded, not HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd
DY474
Solution Implantable Hip System
Revision Standard & MMA 8 straight or 
6" size 10.5 - 22.5
$3,588.00

bowed Porous coated

Smith & Nephew Surgical Pty Ltd
SN270
Echelon
Femoral Stem Porous Co Cr, Std and High 
9 - 19
$3,368.00

Offset
SN305
Synergy/Anthem
Femoral stem Porous Titanium Alloy, Std 
9-20
$4,435.00

and High Offset

Zimmer Pty Ltd
ZI022
Zimmer Hip Systems Femoral Stem
VerSys Beaded Fullcoat - Cobalt Chrome, 
11 - 20
$4,435.00

Short & Standard
Prostheses List by Category, Groups and Sponsor
Page 307 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 05d - Uncemented, beaded, HA, short and standard lengths, no modularity.

Johnson & Johnson Medical Pty Ltd
DP561
IPS HIP Titanium Femoral Hip System
Titanium IPS Stem  Left and Right
Size 1 to 7
$5,250.00
DY134
Summit Hip System
Summit Femoral Stem DUOFIX Coated, 
Size 1-10
$5,338.00

Standard or High Offset
DY423
Proxima Hip System
Standard Offset Left/Right
Size 1 to 8
$5,250.00
DY424
Proxima Hip System
High Offset Left/Right
Size 1 to 8
$5,250.00
DY483
Unirom Total Hip System Femoral Stem
Stem Taper 11/13
11-17 mm or 16B sml to 22F  XXL
$5,250.00

Smith & Nephew Surgical Pty Ltd
SN003
Hydroxylapatite coated Primary Femoral 
Image Hip Stem, Titanium, left and right
Sizes 9 - 18
$4,576.00

Stems
SN303
Synergy
Femoral Stem HA Coated Porous Titanium 
9 - 18
$5,338.00

Alloy, Std and High offset
SN678
Echelon with HA
Cobalt Chromium with Hyrdoxyapetite 
11-20
$5,250.00

Coating
SN751
Synergy
Shortened Synergy Stem
1-18
$4,689.00
SN825
Mid Head Resection Stem
HA Porous Stem
1-19
$5,133.00
SN843
Anthology Hip System
HA Coated Porous Tapered titanium stem
0-20
$5,133.00

Stryker Australia Pty Ltd
HW051
Meridian ST Stem
ST Stem -  Vitallium/Porous coated
Stem size 0 to 9
$5,250.00
HW053
Meridian PA Hip
PA Stem -  Vitallium/Periapatite coated
Stem size 0 to 9
$5,250.00
HW054
Citation Hip
AT Stem -  Vitallium/Porous coated
Stem sizes 0 - 8 Left & Right
$5,250.00

Group 05e - Uncemented, mesh, not HA, short and standard lengths, no modularity.

Zimmer Pty Ltd
ZI006
Mayo Hip
Titanium
Small, medium, large and extra 
$4,778.00

large.
ZI016
Zimmer Hip Systems Femoral Stem
VerSys Fiber metal - Titanium
9 - 18
$4,778.00
Prostheses List by Category, Groups and Sponsor
Page 308 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 05f - Uncemented, mesh, HA, short and standard lengths, no modularity.

Zimmer Pty Ltd
ZI014
Zimmer Hip Systems Femoral Stem
Epoch - Titanium
14 - 18 mm
$5,096.00
ZI017
Zimmer Hip Systems Femoral Stem
VerSys Fiber metal HA/TCP - Titanium
9 - 18
$5,096.00

Group 05g - Uncemented, plasma, not HA, short and standard lengths, no modularity.

Biomet Australia Pty Ltd
BI040
Integral Hip System
Titanium Alloy, Cementless, Porus Stem, 3 
Length from 125mm to 175mm,  9-
$4,680.00

variations: Standard, Laterised or reduced 
19mm

profile
BI041
Integral Hip System
Titanium Alloy, Cementless, Porus Stem, 3 
Length from 180mm to 225mm, 9-
$4,680.00

variations: Standard, Laterised or reduced 
20mm

profile
BI048
Balance Hip System
Femoral Stem and Head, Cementless,
7 - 18mm
$4,680.00
BI049
Bi-Metric Hip System
Porous Stem, Titanium, Cementless
7-17mm
$4,680.00
BI074
Biomet Taperloc Hip System
Primary Femoral Stem, Titanium, 
7.5mm - 22.5mm
$4,680.00
BI139
Mallory Head Hip System
Femoral Stem, Primary,  Titanium
7-19mm x 135 -180mm 
$4,680.00

Johnson & Johnson Medical Pty Ltd
JJ604
Tri-lock Femoral Stem
Uncemented, beaded, not HA, short and 
9 primary sizes, 7.5 - 22.5mm
$4,541.00

standard lengths, no modularity

Plus Orthopedics Australia Pty Ltd
PL137
POLARSTEM FEMORAL STEM SYSTEM
CEMENTLESS WITH TITANIUM 
0-8
$4,500.00

COATING STANDARD AND LATERAL 

10/12 TAPER AND 12/14 TAPER

Stryker Australia Pty Ltd
SR027
Accolade HFx
CoCr Fracture Stem
Stem sizes 1-8, 127 degree neck
$4,108.00

Zimmer Pty Ltd
ZI296
VerSys Hip System Femoral Stems
Anatomic II stem
Sizes 9 - 19
$4,680.00
ZI302
VerSys Hip System Femoral Stems
Minimally invasive hip stem
Sizes 9 - 19
$4,680.00
ZI327
M/L Taper Femoral Stem
Cobalt/Chrome, beaded tapered stem
9mm - 18mm in 1mm increments, 10 
$4,680.00

sizes in all
Prostheses List by Category, Groups and Sponsor
Page 309 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI557
Porolock MIS Hip Stem
Curved uncemented MIS Stem with TiVPS 
 A 140° size 1-14 ; B137° size 1-14 ; 
$4,680.00

coating
B extended offset 129° size 1-14 ; 

C127° size 1-14

N

Advanced Surgical Technologies
AD337
Profemur TL
Primary stem, tapered wedge, plasma coated
1-12
$4,680.00

Zimmer Pty Ltd
ZI554
M/L Taper Hip Stem with Kinectiv 
M/L Taper Hip Stem with Kinectiv 
size 5, 6, 7.5, 9, 10, 11, 12.5, 13.5, 
$4,680.00
$5,026.00

Technology
Technology
15,16.25,17.5

Group 05h - Uncemented, plasma, HA, short and standard lengths, no modularity.

B Braun Australia Pty Ltd
BB274
Excia Hip System
Cementless pourous titanium, calcium 
8mm-18mm
$4,700.00

phosphate bioactive coating

Biomet Australia Pty Ltd
BI075
Biomet Taperloc Hip System
Femoral Stem, HA, Titanium, Uncemented
7.5mm - 22.5mm
$5,044.00
BI100
Bi Hapro Hip System
Femoral Stem, Uncemented, Cobalt Chrome
Size 1 to 8 
$4,668.00
BI141
Mallory Head Hip System
Femoral Stem, Primary, HAP Coated,  Titanium
7-19mm 
$5,044.00
BI779
CDH Hip System
Femoral Stem, porous coated, Ti
8-12 mm Diameter
$5,044.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD040
FH Thira Femoral Stem
Ti & HA Femoral Stem
1-10
$3,900.00

Corin  Australia Pty Ltd
CR086
Tri-Fit Hip
Titanium stem proximally coated with 
5-20mm
$3,744.00

titanium plasma spray and Hydroxyapartite
CR089
Alpha Fit Stem
Collared and Collarless Stem with 3 offsets 
9.5mm, 11mm, 12.5mm, 14mm, 
$4,139.00

at 43mm, 47mm,& 49mm, Bicoated
15.5mm, 17mm

Global Orthopaedic Technology
GO074
Consensus Hip System
Femoral Stem Porous/HA Coated long 
6 - 14
$4,992.00

lengths modular
Prostheses List by Category, Groups and Sponsor
Page 310 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mathys Orthopaedics Pty Ltd
MA475
twinSys longstem
twin Sys longstem uncemented Ti6AIV, 
4 Sizes (Size 12, 13, 14, 15)
$5,044.00

corundum blasted, HA coating, plasma 

sprayed/ Triple tapered femoral stem - long 

length

Orthotech Pty Ltd
OH232
Exactech Femoral Stem
Novation Hip System
9-18
$4,700.00
OH279
JRI Total Hip System
JRI Furlong Standard Hip Stem, 12/14 Taper 
12 /14 Taper, and 5mm offset, short
$5,044.00
$5,300.00

with Supravit Coating, Titanium Alloy
 and standard spigot
OH280
JRI Total Hip System
JRI Furlong Active Stem, Titanium Aloy 
12 / 14 Taper, 9-16mm
$5,044.00
$5,300.00

with Supravit Coating, 12/14 Taper

Plus Orthopedics Australia Pty Ltd
PL009
PLUS Hip Joint Prostheses System
SL PLUS Ti Stem with Ti/VPS and HA 
01 to 12
$5,044.00

Coating
PL133
POLARSTEM FEMORAL STEM SYSTEM
CEMENTLESS  WITH TITANIUM 
0-8
$4,800.00

COATING VPS AND HA COATING
PL139
PLUS HIP JOINT PROSTHESES SYSTEM
SL PLUS  TITANIUM TVPS/HA MIA 
01-12
$5,044.00

STEM STANDARD AND LATERAL

Stryker Australia Pty Ltd
HW024
ABG11 Hip Stem Prosthesis(Various)
ABG ll Femoral Stem - HA coated/Titanium
Stem sizes 1 - 8 Left,  1 - 8 Right
$4,700.00
HW055
Citation Hip
TMZF - HA Stem -  Titanium/HA coated 
Stem sizes 0 - 8 Left & Right
$5,044.00
SK447
Rejuvinate SPT Hip System
Rejuvinate Monolithic Stems, TMZF
4-12
$5,044.00
ST574
secur-fit HA Max hip stem
SECUR-FIT femoral stem, titanium HA 
Stem sizes 4-14 in 127 and 132 
$5,044.00

coated
degree neck angles
ST575
Osteonics hip prostheses
ACCOLADE STEM  titanium - HA coated  
Stems sizes 0, 1, 2, 2.5,3, 3.5, 4, 4.5, 
$5,044.00

127 & 132 degree offset
5, 5.5, 6, 7, 8

Zimmer Pty Ltd
ZI492
Trabecular Metal Femoral Stem
Trabecular metal (fully porous tantalum) 
Sizes 9 to 18 with standard and 
$5,044.00
$5,119.00

coated tapered femoral stem
extended offsets
ZI493
M/L Taper HA/TCP Coated Stem
Plasma sprayed titanium femoral stem
Sizes 5 to 22 with standard and 
$5,044.00

extended offsets
ZI495
Zimmer Anatomic II with HA/TCP
Anatomic titanium stem with HA coating
Sizes 1 - 12, left and right
$5,044.00
Prostheses List by Category, Groups and Sponsor
Page 311 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

N

Advanced Surgical Technologies
AD278
Profemur Total Hip System
Titanium Tapered Stem - HA Plasma Spray
Sizes 9 to 18 in 1 mm increments
$4,700.00
AD279
Profemur Total Hip System
Titanium Stem with HA Plasma Spray, 
Size 10 -18
$4,700.00

standard & reduced flare

B Braun Australia Pty Ltd
BB295
Metha - modular short stem
Modular short stem prostheses for Total Hip
1 -6
$5,000.00

 Arthoplasty comprising 6 stems and 9 neck 

options. Titanium alloy stem, proximal 

coated with 20 mircon layer of DCPD.

Global Manufacturing Technology Pty Ltd
GM090
Global Modular Hip System - Apex
Femoral Stem Porous/ HA Coated Modular 
Size 0 to size 12mm
$4,428.00

Ti, Standard and short lengths
GM094
Global Modular Hip System - APEX
Femoral Stem Porous / HA Coated Modular 
Size 0 to 12
$4,428.00

Ti, long lengths
GM117
MSA Global Modular Hip System
MSA HIP Stem
0 - 6
$5,044.00
GM120
Global Modular Hip System - K2
Femoral Stem Porous/ HA Coated Modular 
Size 0to size 12
$4,428.00

Ti, Standard and short lengths
GM121
Gobal Modular Hip System - MSA
Femoral Stem Porous/ HA Coated Modular 
Size 0 to size 12
$4,428.00

Ti, Standard and short lengths
GM122
Global Modular Hip System - K2
Femoral Stem Porous / HA Coated Modular 
Size 0 to 12
$4,428.00

Ti, Long Lenghts
GM123
Global Modular Hip System - MSA
Femoral Stem Porous / HA Coated Modular 
Size 0 to 12
$4,428.00

Ti, long lengths

Global Orthopaedic Technology
GO134
R120
Femoral Stem polished / grit blasted 
Size 1 to 6
$4,428.00

Modular, CrCo, standard lengths
GO135
R120
Femoral Stem porous/HA coated, Modular, 
Size 1 to 6
$4,428.00

CrCo, standard lengths

Portland Orthopaedics (Aust) Pty Ltd
PD021
M-COR Modular Hip System
Plasma sprayed, HA coated, Ti, standard 
29x9 to 41x17
$4,428.00

and short length distal flutes

Stryker Australia Pty Ltd
SK443
ABG II Modular Hip System
ABGII Modular Stem
Size 1-8, Left and Right
$4,428.00
Prostheses List by Category, Groups and Sponsor
Page 312 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK445
Rejuvinate SPT Femoral Hip System
Rejuvinate Modular Stem, TMZF
7-12
$4,428.00
SR062
ABGll Modular Stem
Modular Cementless Femoral Stem
1-8 (left and right)
$4,900.00

Taylor Bryant Pty Ltd
TB069
Groupe Lepine Total Hip Replacement
MBA Stem
1 - 8
$3,744.00

Zimmer Pty Ltd
ZI555
M / L Taper Hip Stem HA with Kinectiv 
M / L Taper Hip Stem HA with Kinectiv 
size 5,  6 , 7.5, 9, 10, 11, 12.5, 13.5, 
$5,044.00

Technology
Technology
15, 16.25, 17.5

Group 05k - Uncemented, other, not HA, short and standard lengths, no modularity.

N

ESKA Australia
EK023
Type A Cementless Cut Prosthesis
HA coating, femoral stem and dual cone
Femoral stems - 80mm-110mm, 
$4,888.00

Dual Cone - 10degrees-20degrees

Group 05l - Uncemented, other, HA, short and standard lengths, no modularity.

Mathys Orthopaedics Pty Ltd
MA424
GSS-CO
Cementless stem for hip arthroplasty
Sizes 1-7; Length 145-200mm
$1,800.00

Zimmer Pty Ltd
ZI365
Natural Hip System
Femoral Stem CSTi / HA / Ti alloy, high 
00 to 7
$4,708.00

offset

N

ESKA Australia
EK014
Adapter Hip System Cementless
Spongiosa. Metal HA coating porous 
Femoral stem 1-7
$4,368.00

femoral stem

Group 06a - Uncemented, Grit Blast, not HA, standard and short, modularity.

City Medical Devices Australia (trading as Energy Orthopaedics)
CD001
MRP- TITAN Stem
Modular Revision Titanium stem, straight 
140mm  diameter 13-30
$3,120.00

and curved

Johnson & Johnson Medical Pty Ltd
DP981
SROM Total Hip System (Titanium)
ZT/HA 
Small / Large /XX Large  size 14B-
$2,930.00

24F
Prostheses List by Category, Groups and Sponsor
Page 313 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod 2ba

City Medical Devices Australia (trading as Energy Orthopaedics)
CD044
MRP-TITAN Neck Segment
Neck without fin with locking screw Cone 
K, M, L
$2,860.00

12/14, Neck with fin with locking screw Cone

 12/14, Neck with trocanter with locking 

screw Cone 12/14, special implant for 

trocanter

Mod2B

Biomet Australia Pty Ltd
BI086
Impact Modular Total Hip System
Femoral Segment, Metaphyseal, Revision 
Size 3-6 Small/Medium
$2,860.00
$5,500.00

Cemented , Titanium
BI087
Impact Modular Total Hip System
Femoral Segment, Metaphyseal, 
Size 3-6, Small/Medium
$2,860.00
$4,800.00

Uncemented , Titanium

Global Orthopaedic Technology
GO033
UniSyn Hip System
Neck non-standard Ti
24-55mm x 38-50mm
$2,860.00
$3,328.00

Stryker Australia Pty Ltd
ST001
Restoration T3 Revision Hip System - 
Titanium Alloy
S,M,L
$2,860.00

Proximal Sleeve

Mod2BA

Johnson & Johnson Medical Pty Ltd
JJ570
Engage Modular Hip System
Proximal Body, short stem
45mm x 105mm
$2,860.00
$6,349.00

Orthotech Pty Ltd
OH200
Lima Modulus Hip System
Modular total Hip Replacement, Titanium
Neck w/screw, small and large
$2,860.00

Mod2SpA

City Medical Devices Australia (trading as Energy Orthopaedics)
CD004
MRP-TITAN Stem
Extension sleeve
30mm length - diameter 16mm, 
$1,215.00

18mm, 20mm, 22mm

Mod2st

Johnson & Johnson Medical Pty Ltd
DP277
Stability Hip System
Stem HA or Porocoat Coated
Sm,  Lge,  XLge size 10A - 18B
$3,120.00
$4,212.00
DP984
SROM Total Hip System (Titanium)
Standard NK30 or 36 or 42 or 21CR or 11/13 
12  x 6 x 155mm to 24 x 19 x 175mm
$4,320.00

or 12/14 Taper
Prostheses List by Category, Groups and Sponsor
Page 314 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN749
Emperion Revision Hip
Stem Modular Titanium
Short & Long
$4,120.00

Zimmer Pty Ltd
ZI379
PFM Hip series
Uncemented Stems, PFM Revision (Distal 
140 to 260 x 14 to 24
$3,120.00
$4,824.00

Section) - Ti alloy

Mod2StA

Biomet Australia Pty Ltd
BI081
Impact Modular Total Hip System
Femoral Segment, Diaphyseal, Standard. 
10-15mm Diameter
$3,120.00
$3,520.00

Titanium
BI926
Impact Modular Total Hip System
Femoral Segment, Diaphyseal, Standard. 
16-21mm Diameter
$3,120.00

Titanium

Orthotech Pty Ltd
OH201
Lima Modulus Hip System
Modular Total Hip Replacement, Titanium
Femoral Stem 16mm - 26mm
$3,120.00

Mod3BA

Link Orthopaedics  Australia
LO020
Link MP Reconstruction Hip Prosthesis
Neck Segment
35-65mm / 126 & 135 CCD
$2,860.00
LO025
Prostheses, Femoral Head
-
35-65mm IN 126 & 135 degrees
$2,860.00

Mod3CoA

Johnson & Johnson Medical Pty Ltd
DP982
SROM Total Hip System (Titanium)
ZTT Cone 
Small / Large / XX large size 14B-
$2,500.00

24F
DP983
SROM Total Hip System (Titanium)
ZTT 
OS/ Under Size SM-XXLG size 
$2,500.00

14B-24F

Mod3SpA

Link Orthopaedics  Australia
LO026
Proximal Spacer Rings
-
10mm - 40mm
$1,215.00

Mod3StA

Link Orthopaedics  Australia
LO021
Link MP Reconstruction Hip Prosthesis
Stem
12 - 25mm x 160mm
$3,120.00
Prostheses List by Category, Groups and Sponsor
Page 315 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 06b - Uncemented, Grit Blast, HA, Standard and short, modularity.

Johnson & Johnson Medical Pty Ltd
DY501
SROM Total Hip System (Titanium)
ZT/HA
Over size, undersize, small / Large 
$2,930.00

/XX Large  size 14B-24F

Link Orthopaedics  Australia
LO133
Waldemar Link MP Reconstruction Hip 
Neck Segment Assembly
35-65mm IN 126 & 135 degrees
$3,120.00

Prosthesis

Mod2St

Portland Orthopaedics (Aust) Pty Ltd
PD009
Margron DTC Hip Replacement
Cobalt Chrome, Revision Modular, HA 
Y+1, Y+2, Y+3, Y+4, Y+5, Z+1, Z+2,
$3,520.00

Coated, Double Threaded Cone Stem
 Z+3, Z+4, Z+5 Diameter 17mm - 

19mm in 2mm increments
PD011
Margron DTC Hip Replacement
CoCr, HA, Revision/Oncology, Double 
1+1, 1+2, 1+3, 1+4, 1+5, 2+1, 2+2, 
$3,520.00

Threaded Cone Stem
2+3, 2+4, 2+5, 3+1, 3+2, 3+3, 3+4, 

3+5, 4+1, 4+2, 4+3, 4+4, 4+5, 5+1, 

5+2, 5+3, 5+4, 5+5, 5+6, 6+1, 6+2, 

6+3, 6+4, 6+5, 6+6 Diameter 21mm-

33mm in 2mm increments

Mod3BA

Link Orthopaedics  Australia
LO142
Prostheses, Femoral Head
-
35-65mm IN 126 & 135 degrees
$3,120.00

Mod3SpN

Advanced Surgical Technologies
AD319
Profemur Total Hip System
Revision Hip Proximal Body Extension Piece,
Sm - Lg L26 x D19mm, D21mm & 
$1,615.00

 Titanium
D23mm; Sm - Lg L52 x D21mm; 

ExSM L26 x D19mm

Mod3StA

Link Orthopaedics  Australia
LO136
Waldemar Link MP Reconstruction Hip 
Stem
14 - 25mm x 210, 250, 290 & 330mm;
$3,520.00

Prosthesis
 12 x 160, 180, 210, 250 - MP; 14 x 

160, 180 -MP; 16 x 160, 180 - MP; 

18 x 160, 180 - MP; 20 x 160, 180 - 

MP; 22.5 x 160, 180 -MP; 25 x 160, 

180 - MP
Prostheses List by Category, Groups and Sponsor
Page 316 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

ModSt

Portland Orthopaedics (Aust) Pty Ltd
PD004
Margron DTC Hip Replacement
CoCr HA, double threaded  cone stem
Product Size Range: Y+0-Y+2, Z+0-
$3,520.00

Z+2, 1+0-1+2, 2+0-2+2, 3+0-3+2, 

4+0-4+2, 5+0-5+2, 6+0-6+2, 7+0-7+2

 Length: 92.5-150mm, Diameter: 

Y:8.0mmx17.0mm, Z:9.0mmx19.0mm,

 1:10.0mmx21.0mm, 

2:11.5mmx23.0mm, 

3:13.0mmx25.0mm, 

4:13.5mmx27.0mm, 

5:14.0mmx29.0mm, 

6:14.0mmx31.0mm, 

7:14.0mmx33.0mm

Group 06d - Uncemented, beaded, HA, short and standard lengths, modularity.

Mod2BA

Plus Orthopedics Australia Pty Ltd
PL012
PLUS Hip Joint Prostheses System
Revision Modular Proximal Stem
1 to 12
$2,860.00
$3,260.00

Mod2Co

Smith & Nephew Surgical Pty Ltd
SN819
Emperion Revision Hip
Proximal Modular Cone Standard
0, 1, 2, 3, 4
$3,520.00
SN820
Emperion Revision Hip
Proximal Modular Cone Long
0, 1, 2, 3, 4
$3,520.00

Group 06g - Uncemented, plasma, not HA, short and standard lengths,   modularity.

Mod2B

Biomet Australia Pty Ltd
BI082
Impact Modular Total Hip System
Femoral Segment, Metaphyseal. Titanium
Size 1-6 x Small/Medium
$3,120.00
$3,620.00

Mod2BA

Biomet Australia Pty Ltd
BI126
Modular Calcar Mallory Head Revision Hip
Femoral Component, Proximal.  Titanium
34, 45, 55 resection levels x size 
$3,620.00

 System
a,b,c,d,e 

Mod3CoA

Global Orthopaedic Technology
GO070
UniSyn Hip System
Uncemented Body Calcar replacement, 
22 -30
$3,120.00
$3,640.00

plasma, Ti, modular
Prostheses List by Category, Groups and Sponsor
Page 317 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH060
Exactech Total Hip System
Modular Titanium Revision Hip - 
21 - 23mm, S, M, L, XL
$3,120.00

Metaphyseal Segment
OH119
Exactech Total Hip System
Modular Titanium Revision Hip - 
25-27mm, S, M, L, XL
$3,120.00

Metaphyseal Segment
OH120
Exactech Total Hip System
Modular Titanium Revision Hip - 
29-31mm, S, M, L, XL
$3,120.00

Metaphyseal Segment

Group 06h - Uncemented, plasma, HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd
BI089
Hap Impact Stem (Various)
Femoral Segment, Metaphyseal, HAP 
Size 3-6, Small/Medium 
$3,520.00
$4,020.00

Coated, Uncemented, Titanium
BI837
Reach Revision Hip System
Modular Reach Proximal Body - 
Proximal Body #1 - 6
$3,520.00

Collared/Collarless, CrCo, Ti, HA Coated

Mod2BA

Biomet Australia Pty Ltd
BI128
Modular Calcar Mallory Head Revision Hip
Femoral Component, Proximal, Revision, 
34, 45, 55 resection levels x size 
$4,020.00

 System
HAP Coated. Titanium
a,b,c,d,e 

Mod2St

City Medical Devices Australia (trading as Energy Orthopaedics)
CD026
ESOP HA
Esop Femoral Stem Metaphyseal Ti/HA
Left and Right Size 5-20
$3,920.00

Global Orthopaedic Technology
GO037
Consensus Hip System
Femoral Stem Porous/HA Coated short and 
1 to 5
$3,920.00
$4,160.00

standard lengths modular

Taylor Bryant Pty Ltd
TB183
Lyderic II HA Modular Stem
Forged titanium alloy, double layer coating
Size 6-11
$3,920.00

Mod3BA

Global Orthopaedic Technology
GO015
UniSyn Hip System
Uncemented, Neck Calcar replacement
36 - 55 x 34 - 46mm
$3,520.00
Prostheses List by Category, Groups and Sponsor
Page 318 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod3BN

Advanced Surgical Technologies
AD234
Profemur Total Hip System
Titanium uncemented proximal body - HA 
X-Small, Small, Standard 1, 
$3,520.00

Plasma sprayed
Standard 2, Standard 3, Standard 4,

 Large

Mod3CoA

Global Orthopaedic Technology
GO014
UniSyn Hip System
a) Neck standard Ti, b) Body standard 
a) 30-36 x 34-46mm, b) 22-30 x 22-
$3,520.00

plasma sprayed Ti, c) Body standard Ti HA 
34mm, c) 22-30 x 22-34mm, d) 22-

coated, d) Body cone Ti plasma sprayed,
30mm
GO016
UniSyn Hip System
Uncemented Body Ti plasma HA coated, 
22 -38mm
$3,520.00

standard lengths, modular
GO017
UniSyn Hip System
Uncemented Calcar body, Ti, HA coated
22 - 30mm
$3,520.00
GO018
UniSyn Hip System
Uncemented Calcar Body, Ti, Plasma, HA 
22-30mm
$3,520.00

coated
GO069
UniSyn Hip System
Uncemented Body Plasma, Ti, HA coated, 
22 - 30mm
$3,520.00

short lengths, modular
GO071
Unisyn Hip System
Uncemented Body Ti plasma HA coated, 
22 - 30mm
$3,520.00

long lengths, modular
GO072
UniSyn Hip System
Uncemented Calcar Body, Ti, Plasma, HA 
22-30mm
$3,520.00

coated, extra long lengths, modular

Mod3St

Global Orthopaedic Technology
GO034
UniSyn Hip System
Stem/Body/Monoblock Porous/HA Fluted 
0 to 6
$3,920.00
$4,160.00

Mod3StA

Global Orthopaedic Technology
GO011
UniSyn Hip System
a) Stem fluted straight, b) Stem porous 
a) 10 x 130 to 20 x 170mm, b) 14-20 x
$3,920.00

plasma sprayed straight, c) Stem porous 
 140-170mm, c) 14-18 x 140-160mm, 

plasma sprayed bowed, d) Stem fluted tapered
d) 10-20 x 130-170mm

Group 06i - Uncemented, unpolished and polished, not HA, short and standard lengths, 

Mod3StA

Orthotech Pty Ltd
OH059
Exactech Total Hip System
Modular Titanium Revision Hip - Stem
11 - 21mm x 135-165mm
$3,520.00
Prostheses List by Category, Groups and Sponsor
Page 319 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 06j - Uncemented, unpolished and polished, HA, short and standard lengths, modularity.

mod3st

City Medical Devices Australia (trading as Energy Orthopaedics)
CD027
ESOP HA
ESOP Femoral Stem Diaphyseal Ti
Size 9-15
$3,920.00

Group 06k - Uncemented, other, not HA, short and standard lengths, modularity.

Mod2B

Biomet Australia Pty Ltd
BI015
Reach Revision Hip System
Modular Reach Proximal Body - 
Proximal Body #1-6
$3,120.00

Collared/Collarless; Titanium, Chrome 

Group 07a - Uncemented, Grit Blast, not HA, long length, no modularity.

B Braun Australia Pty Ltd
BB273
HuckStep Hip System
Titanium, plasma coated femoral stem
Long length
$5,408.00

Biomet Australia Pty Ltd
BI097
Kent Hip System
Femoral Component, Titanium
Narrow, Std.  Size 6 - 16 hole 
$5,408.00
BI778
PLR Splined Revision Stem
Splined Straight Stem, Ti
14-24mm x 270mm
$5,408.00

Mathys Orthopaedics Pty Ltd
MA428
CBK Revision Stem
Uncemented revision stem for hip 
Dia 14mm-25mm; Lengths 225, 265,
$5,408.00

 305mm

Plus Orthopedics Australia Pty Ltd
PL010
PLUS Hip Joint Prostheses System
Revision SLR-PLUS Ti Stem
1 to 12
$5,408.00

Zimmer Pty Ltd
ZI377
Wagner Revision Hip Prosthesis
Uncemented Stem Wagner Revision - Ti 
190/14 to 385/25
$5,408.00
$5,805.00

Group 07b - Uncemented, Grit Blast, HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd
DY132
Corail Hip System
Kar Femoral Stem
Size 12 - 20
$5,512.00

Group 07c - Uncemented, beaded, not HA, long length, no modularity.

Smith & Nephew Surgical Pty Ltd
SN272
Echelon
Revision Hip Stem - Porous, Standard Collar
Sizes 11 - 22
$4,888.00
Prostheses List by Category, Groups and Sponsor
Page 320 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI497
Zimmer Hip Systems Femoral Stem
VerSys Beaded Fullcoat - Cobalt Chrome, 
11 - 20
$4,849.00

Long

Group 07d - Uncemented, beaded, HA, long length, no modularity.

Johnson & Johnson Medical Pty Ltd
DP562
IPS HIP Titanium Femoral Hip System
Revision IPS Stem Titanium
Size 12 - 20
$6,166.00

Group 07g - Uncemented, plasma, not HA, long length, no modularity.

Biomet Australia Pty Ltd
BI052
Bi-Metric Hip System
Revision 200 Stem, Titanium, Cemented
9-17mm
$6,166.00
BI053
Bi-Metric Hip System
Revision 250 Stem, Titanium, Cemented
9-17mm
$6,166.00
BI054
Bi-Metric Hip System
Revision 300mm Femoral  Stem, Titanium, 
9-17mm
$6,166.00

Cemented
BI135
Mallory Head Hip System
Femoral Stem, Revision, Titanium
250mm, size 7 to 19mm
$6,166.00
BI137
Mallory Head Hip System
Femoral Stem, Revision, Titanium
300mm, size 7 to 19mm
$6,166.00
BI692
Reach Revision Hip System
Titanium porous coated bowed or straight 
Sizes 13 - 19 (L&R) by 200 - 
$4,668.00

stem
250mm)

Group 07h - Uncemented, plasma, HA, long length, no modularity.

Orthotech Pty Ltd
OH281
JRI Total Hip System
JRI Furlong Revision Stems, Titanium Alloy 
12 / 14 Taper, 200mm long, 200ml 
$5,200.00
$6,000.00

with Supravit Coating, 12 / 14 Taper
long 5mm offset
OH282
JRI Total Hip System
JRI Furlong Revision Stems, Titanium Alloy 
12 / 14 taper, 250mm long, 250ml 
$5,200.00
$6,400.00

with Supravit Coating, 12 / 14 Taper
long 5mm offset
OH283
JRI Total Hip System
JRI Furlong Revision Plus Stem, Titanium 
12 / 14 Taper, 200mm long and 
$5,200.00
$6,000.00

Alloy with Supravit Zoned Coating, 12 / 14 
200ml long with 5mm offset

Taper
OH284
JRI Total Hip System
JRI Furlong Revision Plus Stem, Titanium 
12 / 14 Taper, 250mm long, and 
$5,200.00
$6,500.00

Alloy with Supravit Zoned Coating, 12 / 14 
250ml long with 5ml offset

Taper

Plus Orthopedics Australia Pty Ltd
PL011
PLUS Hip Joint Prostheses System
Revision SLR-PLUS Stem with TiVPS/HA
3 to 11
$5,304.00
Prostheses List by Category, Groups and Sponsor
Page 321 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
ST541
Secur-Fit Plus max hip system
Secur-Fit Plus femoral stem titanium - HA 
Stem sizes 7-14
$5,200.00

coated
ST587
Osteonics hip prostheses
Restoration stem - 155mm  titanium - HA 
155mm length - stem sizes 7-12
$5,304.00

coated
ST588
Osteonics hip prostheses
Restoration stem - 205mm  titanium - HA 
205mm length - stem sizes  8-12
$6,136.00

coated
ST591
Osteonics hip prostheses 
Restoration HA long stem titanium - HA 
255mm length - stem sizes 8 - 14, 
$6,448.00

coated anatomic (left & right)
left & right

N

Global Manufacturing Technology Pty Ltd
GM118
K2 Global Modular Hip
K2 Global Modular Hip, HA coated
size 1,2,3,4,5,6,7,8,9,10,11,12
$4,428.00

Group 08a - Uncemented, Grit Blast, not HA, long length, modularity.

Johnson & Johnson Medical Pty Ltd
DP980
SROM Total Hip System (Titanium)
Stem
STD 14 x 09 x 130 NK36mm to 24 x 
$4,320.00

19 x 175 NK42mm

Mod2BA

Global Manufacturing Technology Pty Ltd
GM052
SMR Modular Hip System
Proximal Component
40 to 70mm
$3,860.00
GM055
SMR Modular Hip System
Calcar Component
40 to 70mm
$3,860.00

Johnson & Johnson Medical Pty Ltd
JJ572
Engage Modular Hip System
Proximal Body, long stem
75mm x 105mm
$3,860.00
$6,349.00

Orthotech Pty Ltd
OH218
Lima Total Hip Replacement System
Revision Titanium neck segment
50 - 110mm
$3,860.00

Zimmer Pty Ltd
ZI049
Modular Revision Hip System - Proximal 
ZMR Taper System - Titanium
A - F
$3,860.00
$4,846.00
ZI378
PFM Hip series
Uncemented Stem -PFM Revision (Proximal 
55 to  85 
$3,860.00

Section) - Ti/CoCr alloy
ZI490
Revitan Modular Proximal Body
Grit Blasted Titanium Proximal Body for 
55, 65, 75, 85, 95 and 105mm heights
$3,860.00

Modular Revision Stem
Prostheses List by Category, Groups and Sponsor
Page 322 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod2St

Link Orthopaedics  Australia
LO137
Waldemar Link MP Reconstruction Hip 
Stem
14 - 25mm x 210, 250, 290 & 330mm;
$4,620.00

Prosthesis
 12 x 160, 180, 210, 250 - MP; 14 x 

160, 180 -MP; 16 x 160, 180 - MP; 

18 x 160, 180 - MP; 20 x 160, 180 - 

MP; 22.5 x 160, 180 -MP; 25 x 160, 

180 - MP

Stryker Australia Pty Ltd
SK059
Stryker Modular Revision Hip System
Titanium Alloy Bowed Conical Distal Stems
Restoration Modular bowed 
$4,620.00
$5,928.00

conical distal stem 195mm, 235mm
ST011
Stryker Modular Hip System
Conical distal stems titanium, gritt blasted
Length 155mm, Diameter 14 - 28mm
$4,620.00
$4,846.00

Mod2StA

Biomet Australia Pty Ltd
BI072
Modular Calcar Mallory Head Revision Hip
STS Distal Femoral Component, Titanium
14mm to 20mm
$4,620.00

 System

Global Manufacturing Technology Pty Ltd
GM054
SMR Modular Hip System
Distal Component
14x160mm to 24x320mm
$4,620.00
$4,784.00

Orthotech Pty Ltd
OH217
Lima Total Hip Replacement System
Modular Revision Hip Titanium Stem 
14, 16, 18, 20, 22, 24
$4,620.00

(Uncemented)

Plus Orthopedics Australia Pty Ltd
PL013
PLUS Hip Joint Prostheses System
Revision Modular Component
1 to 12
$4,620.00

Zimmer Pty Ltd
ZI050
Modular Revision Hip System - Distal 
ZMR Porous System - Titanium
12.5 - 22.5mm
$4,620.00
$6,106.00

Mod2stCalcar

Johnson & Johnson Medical Pty Ltd
DY007
SROM Total Hip System (Titanium)
STD or Long or X-Long or XX-Long NK26 
26 x 21 x 175 or 230 or 275 or 
$5,820.00

or 36 x +21CR or +4L or +8L left, right or 
325mm length

neutral in 11/13 or 12/14 Taper

Smith & Nephew Surgical Pty Ltd
SN817
Emperion Revision Hip
Short Stem Modular Calcar Build-up
+10, +20mm
$5,620.00
SN818
Emperion Revision Hip
Long Stem Modular Titanium Calcar Build-
+10, +20mm
$5,620.00
Prostheses List by Category, Groups and Sponsor
Page 323 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod3A

City Medical Devices Australia (trading as Energy Orthopaedics)
CD010
MRP- Titan Stem
Modular Revision Titanium Stem, straight 
200mm length  diameter 13-30, 
$4,620.00

and curved
260mm length diameter 11-21, 

320mm length diameter 11-21mm

Mod3BA

Link Orthopaedics  Australia
LO134
Waldemar Link MP Reconstruction Hip 
Neck Segment Assembly
35-65mm IN 126 & 135 degrees
$3,860.00

Prosthesis
LO140
Fixation Screw with Locking Bolt
-
38 & 58 mm
$3,860.00

Mod3BACalcar

Orthotech Pty Ltd
OH219
Exactech Total Hip System
Modular Titanium Revision Hip - 
21-31mm
$4,360.00

Metaphyseal Segment - Calcar

Mod3BN

Advanced Surgical Technologies
AD230
Profemur Total Hip System
Titanium uncemented proximal body
X-small, Small, Standard 1, 
$3,860.00

Standard 2, Standard 3, Standard 4,

 Large

Mod3StA

Johnson & Johnson Medical Pty Ltd
DP977
SROM Total Hip System (Titanium)
XX-Long, 36 x +21CR or +4 or +8 or right, 
16 x 11 x 300  up to 24 x 19 x 325
$5,320.00

left or neutral in 11/13 or 14/14 Taper
DP978
SROM Total Hip System (Titanium)
X-Long 36 or +21CR or +4L or +8L in left, 
16 x 11 x 240 up to 24 x 19 x 275
$5,320.00

right or neutral or 11/13 or 12/14 Taper
DP979
SROM Total Hip System (Titanium)
Long NK26 or 36 x +21CR or +4L or +8L or  
14 x 9 x 205 up to 24 x 19 x 230
$5,320.00

left right or neutral or 11/13 or 12/14 Taper

Mod3StN

Advanced Surgical Technologies
AD231
Profemur Total Hip System
Titanium tapered Splined or Cylindrical 
Length 95 - 135mm, Diameter 10 - 
$4,620.00

Straight Stem
22.5mm
AD235
Profemur Total Hip System
Titanium tapered Splined or Cylindrical 
Length 175 - 215mm, Diameter 10 - 
$4,620.00

Bowed Stem
22.5mm
Prostheses List by Category, Groups and Sponsor
Page 324 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 08b - Uncemented, Grit Blast, HA, long length, modularity.

Mod2BA

Johnson & Johnson Medical Pty Ltd
DP005
Reef Hip System
Stem Trochanteric Components, Titanium 
25 or 35mm
$4,120.00

alloy, Collared and Collarless

Mod2Sp

Portland Orthopaedics (Aust) Pty Ltd
PD002
Margron DTC Hip Replacement
Cobalt chrome Margron Oncology/Revision 
YY6, YY7, ZZ6, ZZ7, Dia 17mm-
$2,615.00

Module
29mm
PD013
Margron DTC Hip Replacement
CoCr, HA, Revision/Oncology, Module
AA6, AA7, AZ6, AZ7, BA6, BA7, 
$2,615.00

BB6, BB7, CA7, CB7, CC7, Dia 

21mm - 29mm

Mod2StA

Johnson & Johnson Medical Pty Ltd
DP009
Reef Hip System
Stem, Titanium alloy
Dia 10 - 20mm, Length 225 - 375mm
$5,020.00

Mod3A

Corin  Australia Pty Ltd
CR113
Extreme RevisIon Hip Distal Nail with HAP
Anatomical distal stem locking nail segment,
4 lengths, 6 diameters
$4,582.00

 adjustable rotation, anodized titanium with 

HA coating
CR114
Extreme Revision Hip Epiphyseal Section
Epiphyseal segment, adjustable anteversion,
4 sizes
$4,120.00

 collared/collarless
CR115
Extreme Revision Hip Metaphyseal Section
Metaphyseal segment, adjustable rotation, 
4 sizes
$2,860.00

anodized titanium with HA coating
CR116
Extreme Revision Hip Titanium Locking 
Titanium locking screw
6.2mm diameter, 13 lengths in 5mm 
$235.00

Screw
increments

Mod3BA

Link Orthopaedics  Australia
LO135
Waldemar Link MP Reconstruction Hip 
Neck Segment Assembly
35-65mm IN 126 & 135 degrees
$4,120.00

Prosthesis
LO141
Fixation Screw with Locking Bolt
-
38 & 58 mm
$4,120.00
Prostheses List by Category, Groups and Sponsor
Page 325 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod3SpN

Advanced Surgical Technologies
AD320
Profemur Total Hip System
Revision Hip Proximal Body Extension Piece,
Sm - Lg L26 x D19mm, D21mm & 
$2,615.00

 Titanium
D23mm; Sm - Lg L52 x D21mm; 

ExSM L26 x D19mm

Mod3StA

Johnson & Johnson Medical Pty Ltd
DY018
SROM Total Hip System (Titanium)
Special Stem with either 230 to 325 in Left 
12 x 06 x 155mm NK30, 14 x 09 x 
$5,720.00

right Neutral or 11/13 or 12/14 Taper
205mm  NK36

Link Orthopaedics  Australia
LO138
Waldemar Link MP Reconstruction Hip 
Stem
14 - 25mm x 210, 250, 290 & 330mm;
$5,020.00

Prosthesis
 12 x 160, 180, 210, 250 - MP; 14 x 

160, 180 -MP; 16 x 160, 180 - MP; 

18 x 160, 180 - MP; 20 x 160, 180 - 

MP; 22.5 x 160, 180 -MP; 25 x 160, 

180 - MP

Mos2StA

Zimmer Pty Ltd
ZI496
Revitan Modular Straight Stem
Grit blasted titanium long stem for revision 
14mm diameter x 140mm long to 
$5,020.00

with CoCr junction
24mm diameter x 260mm long

Group 08g - Uncemented, plasma, not HA, long length, modularity.

Biomet Australia Pty Ltd
BI118
Mallory Head Hip System
Femoral Stem, Calcar, Titanium
220mm, Size 9-19mm
$5,520.00
BI119
Mallory Head Hip System
Femoral Stem, Calcar, Titanium
260mm, Size 9-19mm
$5,520.00

Mod2B

Stryker Australia Pty Ltd
SK056
Stryker Modular Revision Hip System
Milled Proximal Body Titanium Plasma Spray
Dia 19-25mm with 2 mill Depths; 
$4,520.00
$6,240.00

27-29mm with 3 Mill Depths
SK060
Stryker Modular Revision Hip System
Broached Proximal Body Titanium Plasma 
1-8
$4,520.00
$6,240.00

Spray
SK061
Stryker Modular Hip System
Cone Proximal Body Titanium Plasma Spray
Dia 19-31mm, Heights 
$4,520.00
$6,240.00

+0,+10,+20,+30
Prostheses List by Category, Groups and Sponsor
Page 326 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mod2St

Stryker Australia Pty Ltd
SK058
Stryker Modular Revision Hip System
Porous Distal Stems Titanium Plasma Spray
Stem Lengths 127 & 167mm 
$5,520.00

straight & bowed. Diameter 11-26mm

Mod2StA

Biomet Australia Pty Ltd
BI127
Modular Calcar Mallory Head Revision Hip
Femoral Component, Distal. Titanium
170-300mm
$5,520.00

 System

Group 08h - Uncemented, plasma, HA, long length, modularity.

Mod2BCalcar

Stryker Australia Pty Ltd
SK062
Stryker Modular Revision Hip System
Calcar Proximal Body Titanium Plasma Spray
Diameter 19-29mm, 3 Heights each
$5,020.00
$6,240.00

Mod2St

Stryker Australia Pty Ltd
SR045
Stryker Modular Revision Hip System
Modular Long Bowed Titanium Plasma HA 
Length 217mm, 267mm and 317mm.
$5,920.00
$6,500.00

Stem
 Diameter 11mm - 26mm

Mod2StA

Biomet Australia Pty Ltd
BI120
Mallory Head Hip System
Femoral Stem, Calcar, HAP Coated, Titanium
220mm, Size 9-19mm
$5,920.00
BI121
Mallory Head Hip System
Femoral Stem, Calcar, HAP Coated, Titanium
"250 - 260mm, Size 9-19mm"
$5,920.00
BI138
Mallory Head Hip System
Femoral Stem, Revision, HAP Coated, 
300mm, size 7 to 19mm
$5,920.00

Titanium

Mod3StA

Global Orthopaedic Technology
GO012
UniSyn Hip System
a) Stem fluted straight Ti, b) Stem fluted 
a) 10-20 x 170-210mm, b) 12-24 x 
$5,920.00

bowed Ti; c) Stem porous plasma sprayed 
210mm, c) 14-25 x 180-210mm, d) 

straight, d) Stem porous plasma sprayed 
14-25 x 210mm, e) 10-25 x 170-210mm

bowed; e) Stem fluted tapered
GO013
UniSyn Hip System
a) Stem fluted bowed Ti; b) Stem porous 
a) 12-24 x 260mm, b) 14-25 x 260mm,
$5,920.00

plasma sprayed straight, c) Stem porous 
 c) 14-25 x 260mm, d) 10-25 x 260mm

plasma sprayed bowed; d) Stem fluted 
GO020
UniSyn Hip System
a) Stem fluted bowed Ti, b) Stem porous 
a) 12-24 x 310mm, b) 14-25 x 310mm,
$5,920.00
$6,240.00

plasma sprayed bowed, c) Stem fluted tapered
 c) 10-25 x 310mm
Prostheses List by Category, Groups and Sponsor
Page 327 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 08i - Uncemented, unpolished and polished, not HA, long length, modularity.

Mod2St

Stryker Australia Pty Ltd
SR046
Stryker Modular Revision Hip System
Modular Long Bowed Titanium Polished 
Length 217mm, 267mm and 317mm.
$5,520.00
$6,500.00

Fluted Stem
 Diamter 11mm-26mm

Mod2StA

Johnson & Johnson Medical Pty Ltd
JJ571
Engage Modular Hip System
Distal Stem
15-27mm x 140-290mm
$5,520.00
$8,182.00

Mod3StA

Orthotech Pty Ltd
OH116
Exactech Total Hip System
Modular Titanium Revision Hip - Stem
11-21mm x 200mm
$5,520.00
OH117
Exactech Total Hip System
Modular Titanium Revision Hip - Stem
11-21mm x 250mm
$5,520.00
OH118
Exactech Total Hip System
Modular Titanium Revision Hip - Stem
11-21mm x 300mm
$5,520.00

Group 08l - Uncemented, other, HA, long length, modularity.

Mod2St

Stryker Australia Pty Ltd
SK022
Modular Revision System Fluted Distal 
Composition - Titanium Alloy Ti A16 V4 
Stem Lengths 127 & 167mm 
$5,520.00

Stems
with Arc Deposited Plasma Spray Coating
straight & bowed. Diameter 11-26mm

Group 09 - Uncemented, Long stem, Special feature - Calcar Replacement

Johnson & Johnson Medical Pty Ltd
DP121
Solution Implantable Hip System 
Revision straight or bowed & Calcar or 10" 
10" size 13.5 - 22.5
$6,700.00

both left and right

Smith & Nephew Surgical Pty Ltd
SN271
Echelon
Revision hip stem - Bowed, porous: Calcar 
Left/Right, 15 and 30mm,  Sizes 11-
$6,900.00

Replacement Collar
22

Stryker Australia Pty Ltd
ST589
Osteonics hip prostheses
Restoration cacar replacement stem 15mm  
205mm length - stem sizes 8-14
$6,900.00

titanium - HA coated 
Prostheses List by Category, Groups and Sponsor
Page 328 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 10 - Thrust Plates

Zimmer Pty Ltd
ZI349
Thrust Plate Prosthesis
Allopro Thrust Plate - Ti alloy
38 to 44mm
$1,773.00
ZI350
Thrust Plate Prosthesis
Allopro Lateral Plate - Ti alloy
Std & Long (15 & 25 deg)
$1,450.00
ZI351
Thrust Plate Prosthesis
Allopro Threaded bolt - CoCr alloy
70 to 89mm
$1,177.00
ZI352
Thrust Plate Prosthesis
Allopro Cortical Screw - SS
36, 60mm
$225.00

Group 11 - Unipolar / Monoblock

B Braun Australia Pty Ltd
BB047
Downs Austin-Moore Hip
Stem
39-54mm
$615.00
BB048
Downs Thompson Stem
Stem
38-55mm
$615.00

Biomet Australia Pty Ltd
BI060
Austin Moore Self Locking Hip Prosthesis 
Straight Standard Femoral Prostheses, 
38-55mm
$615.00

System
Titanium
BI062
FR Thompson Hip Prosthesis System
Modular Curved Femoral Stem, Titanium.
38mm - 55mm 
$615.00
BI077
Austin Moore Self Locking Hip Prosthesis 
Femoral Component, Long Stem, Titanium
38 to 56mm
$615.00

System

Johnson & Johnson Medical Pty Ltd
DP167
Thompson Implantable Hip
Thompson stems Ortron
Size 41-54
$615.00
DP168
Austin Moore Hip Prosthesis
Narrow or Standard Ortron
Size 38-54mm
$615.00
DP170
Austin Moore Hip Prosthesis
Ortron
Custom sizes
$615.00

Orthotech Pty Ltd
OH285
JRI Total Hip System
JRI Austin Moore Standard Stems 
Head sizes range from 39mm - 
$615.00
$640.00

Hemiarthoplasty. These products has an all-
56mm

in-one head and stem
OH299
JRI Total Hip System
JRI Austin Moore Standard Stems 
Head Sizes range from 39mm - 56mm
$615.00
$640.00

Hemiarthroplasty. These prusct has an all-

in-one head and stem

Smith & Nephew Surgical Pty Ltd
SN277
Endoprosthesis
CoCr
38 - 54mm
$615.00
Prostheses List by Category, Groups and Sponsor
Page 329 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW025
Austin Moore Endoprosthesis
Long Stem - Vitallium
Head size 38 to 63
$800.00
HW026
Austin Moore Endoprosthesis
Standard Stem - Vitallium
105-165mm length, Head size: 38 to
$640.00

 57

Zimmer Pty Ltd
ZI008
Zimmer Hip Systems Femoral Stem
Austin Moore - Stainless Steel
Sizes 38 - 60
$615.00
$739.00
Hip B - Femoral Heads

Group 12 - Bipolar/Multipolar

Advanced Surgical Technologies
AD269
SLR Bipolar  Endoprosthesis
SLR Bipolar Taper Femoral Head Cast Cobalt
22.5mm - 32mm Femoral Head and 
$832.00

 Chrome Alloy
neck ranging from -3.5mm to +7mm
AD270
SLR Biploar Acetabular Shell
Cast Cobalt Chrome Alloy
38mm - 65mm in millimetre 
$1,248.00

increments
AD271
SLR Bipolar Acetabular Liners
UHMWPE
22mm - 32mm ID, ranging from 
$458.00

38mm to 65mm

B Braun Australia Pty Ltd
BB249
Bipolar Head
Hemi Arthroplasty Head
38 - 60mm
$1,300.00

Biomet Australia Pty Ltd
BI096
Tripolar Acetabular Cup Series
Ringloc Series, UHMWPE, Chrome Cobalt
24-28mm
$3,346.00
BI129
Mallory Head Hip System
Acetabular Cup, UHMWPE
40-80mm
$1,872.00

ESKA Australia
EK015
ESKA Bipolar Head
Femoral head snap fit into acetabular cup
various diameters
$1,248.00

Global Manufacturing Technology Pty Ltd
GM021
Classic Marathon (Acetabular Component)
Bi-Polar
40mm to 54mm
$1,248.00

Johnson & Johnson Medical Pty Ltd
DP171
Hastings HIP
Head
Size 36 - 56
$857.00
DY160
Ultima Monk Bi-Articular Head
42 - 56mm
$811.00

Link Orthopaedics  Australia
LO036
Vario Cup
-
44-65mm
$1,456.00

Mathys Orthopaedics Pty Ltd
MA025
Bipolar Head
Bipolar prosthesis head  
Dia 28mm
$1,872.00
Prostheses List by Category, Groups and Sponsor
Page 330 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medacta Australia Pty Ltd
MU021
APRICOT Bipolar Cup
The Apricot Bipolar cup includes an outer 
For ballhead diameter 28mm- 
$1,248.00
$1,872.00

shell made of stainless steel, an inner 
42,44,46,48,50,52,54,56 mm.  For 

UHMWPE bearing cup and an elastic 
ballhead diameter 22.2mm - 

internal ring.
39,40,41,42,43,44,45,46,48,50,52mm

Orthotech Pty Ltd
OH103
Lima Total Hip Replacement System
Heads - Bi-Polar and Fixed
41, 42, 43, 44, 45, 46, 47, 48, 49, 50, 
$1,872.00

51, 52, 53, 54, 55, 56, 57mm

Plus Orthopedics Australia Pty Ltd
PL038
PLUS Hip Joint Prostheses System
Bipolar Head
39mm-60mm
$1,579.00

Smith & Nephew Surgical Pty Ltd
SN267
Tandem/Convene
Shell/Liner
22 - 64mm
$1,248.00

Taylor Bryant Pty Ltd
TB064
Groupe Lepine
Bipolar Heads
42 - 60mm in 1mm increments
$727.00

Zimmer Pty Ltd
ZI286
Zimmer Acetabular Cup
Multipolar (Bipolar) Cup-Co Chr 
Outer Diameter 38 - 72mm, Inner 
$804.00

W/WHMWPE
Diameter 22,28, or 32mm

SI

Stryker Australia Pty Ltd
ST566
Osteonics hip prostheses
Bipolar head,  cobalt chrome with 
ID 22, 26, 28, 32mm dia 
$1,579.00

polyethylene insert (factory Assembled)

Group 13a - Conventional Femoral Head, ≤32mm, Stainless steel

Corin  Australia Pty Ltd
CR045
Femoral Head
Stainless Steel Modular Femoral Head
Dia 22, 26, 28 & 32mm, Short, Std, 
$723.00

Long & Extra Long Neck Length

Mathys Orthopaedics Pty Ltd
MA028
Metal Heads
Hip Prosthesis Head
Cone 12/14 dia 28mm-58mm 
$811.00

Plus Orthopedics Australia Pty Ltd
PL034
Femoral Head Metal
Stainless Steel
=< 32mm
$811.00

Smith & Nephew Surgical Pty Ltd
SN697
Femoral Head
Stainless steel
22-32mm,+0-+16mm
$811.00
Prostheses List by Category, Groups and Sponsor
Page 331 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW038
V40 Orthinox Head
Stainless Steel
22 - 28mm dia
$815.00

Taylor Bryant Pty Ltd
TB065
Groupe Lepine Total Hip Replacement
Stainless Steel Head
.-5mm/0mm/+5mm/ +10mm
$800.00

Zimmer Pty Ltd
ZI052
Femoral Head
Zimaloy - Stainless Steel
22mm, 28mm, 32mm
$705.00

Group 13b - Conventional Femoral Head, ≤32mm, Cobalt Chrome

B Braun Australia Pty Ltd
BB246
Metal Head
Isodur CoCr Femoral Head
22.5mm, 26mm, 28mm, 32mm
$745.00

Biomet Australia Pty Ltd
BI094
Mallory Head Hip System
Femoral Head, Offset, Chrome Cobalt
28,32mm
$745.00
$1,273.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD028
ESOP HA
Femoral Head CoCr
22.2 -32mm
$745.00
$1,248.00

Corin  Australia Pty Ltd
CR029
CoCr Femoral Head
CoCr femoral head 11/13 and 12/14 taper
22,26,28,32mm
$728.00

ESKA Australia
EK060
Metal Head CoCr
Femoral Head CoCr
28mm - 32mm
$850.00

Finsbury Orthopaedics Australia Pty Ltd
FI016
Finsbury Modular Heads
Cobalt Chromium
Diameter 22-26-28-32mm
$780.00

Global Manufacturing Technology Pty Ltd
GM008
Edinburgh Total Hip System (Hip Stem)
Femoral Head CoCr
28mm and 32mm
$745.00
$936.00
GM043
BioBall - Femoral modular head system
Femoral Head CoCr - <32mm
28mm to 38mm
$745.00
$1,144.00
GM056
SMR Modular Hip System
Femoral Head Co Chr
22 to 32mm
$745.00
$1,144.00
GM092
Apex Global Modular Hip System
Femoral Head CrCo
28mm & 32mm
$745.00
$1,100.00

Global Orthopaedic Technology
GO009
Consensus Hip System
Femoral head CoCr
22-32mm
$745.00
$1,144.00
GO137
R120
Femoral Head CrCo
28mm to 36mm
$795.00
$1,100.00

Johnson & Johnson Medical Pty Ltd
DP124
Solution Implantable Hip System 
CoCr Femoral Head Various Tapers & Neck 
22 or 26 or 28 or 32 mm size
$795.00

Lengths
Prostheses List by Category, Groups and Sponsor
Page 332 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP549
C- Stem 
C-Stem Heads Ortron
Size -3 to +8
$723.00

Link Orthopaedics  Australia
LO022
Link Prosthesis Head
Prosthesis Head "B" CoCrMo
Short/medium-short/medium/Long
$749.00

Mathys Orthopaedics Pty Ltd
MA469
Femoral Head CoCrMo ≤32 mm
Hip Prosthesis Femoral Head CoCrMo 
28 mm & 32mm, (S,M,L,XL,XXL)
$795.00

≤32mm

Medacta Australia Pty Ltd
MU005
Quadra Hip Stem System
Femoral head, CoCr alloy
Dia 28mm, (S to XXL) or 32mm (S 
$795.00

to XXL)

Orthotech Pty Ltd
OH062
Acumatch M-Series Total Hip System
Modular Titanium Revision Hip - Cobalt 
-2 to -5mm, +0 to 10mm
$745.00
$1,248.00

Chrome Head
OH125
Lima Total Hip Replacement System
CoCr Femoral Head
S, M, L, XL, XXL
$745.00
$1,248.00
OH293
JRI Total Hip System
Cobalt Chrome Femoral; Heads, 12 / 14 
28mm, and 32mm head sizes
$795.00
$950.00

Plus Orthopedics Australia Pty Ltd
PL057
Femoral Head
Chrome Cobalt
=< 32mm
$795.00

Portland Orthopaedics (Aust) Pty Ltd
PD001
Femoral Head
Femoral Head (CoCr)
28mm, 32mm 4 lengths
$745.00

Smith & Nephew Surgical Pty Ltd
SN280
Femoral Head
CoCr
<=32mm
$745.00

Stryker Australia Pty Ltd
HW032
Stryker CoCr Femoral Head
22, 26, 28, 30, 32mm
$795.00
ST568
Stryker femoral Head
Metal head with LFIT treatment
22-32mm
$795.00

Zimmer Pty Ltd
ZI051
Femoral Head
Zimaloy - Co Cr
22mm, 28mm, 32mm
$745.00
ZI358
Durasul Ballhead for Inserts
Femoral Metal Ball Head  - CoCr alloy
22, 28, 32
$745.00
$981.00
ZI364
Natural Hip System
Femoral Head Chrome Cobalt alloy
22 to 32mm
$745.00
$981.00
ZI380
Femoral Head
Head - Metal (Zweymuller Allopro) - CoCr
22mm, 28mm, 32mm
$745.00
$981.00

 E

Zimmer Pty Ltd
ZI362
Natural Hip System
Eccentric Ball Heads -  CoCr alloy
28/14 (S,M,L)
$995.00
$1,267.00
Prostheses List by Category, Groups and Sponsor
Page 333 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

E

ESKA Australia
EK059
Metal Head Eccentric CoCr Mo
Femoral Head CoCr
28mm - 32mm
$800.00

Group 13c - Conventional Femoral Head, ≤32mm, Alumina

Advanced Surgical Technologies
AD122
Transcend/Lineage Articulation System
Head ceramic
28mm, 32mm, 3 lengths
$1,889.00

B Braun Australia Pty Ltd
BB250
Ceramic Head
Biolox Ceramic Head
Size 26 - 32mm diameters, short, 
$2,000.00

standard and long

Biomet Australia Pty Ltd
BI058
Modular Ceramic System
Ceramic Head, Aluminium Alloy
28-32mm -6mm to +12mm
$1,990.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD003
Biolox - Forte Ceramic Head
Biolox Ceramic Head
Diameter 28-32, S,M,L
$2,000.00
CD029
ESOP HA
Femoral Head Alumina Ceramic
28mm Diameter
$2,000.00

Corin  Australia Pty Ltd
CR065
Ball Heads 12 - 14 Taper (Alumina)
Alumina Ball Head
>32mm
$2,055.00

ESKA Australia
EK008
Metal Shell Type 2000/2000 Plus
AI2 O3 Ceramic Head Biolox Forte Fracture 
$1,300.00

Head
EK009
Metal Shell Type 2000/2000 Plus
AI2 O3 Ceramic Head Biolox Forte
$1,300.00

Finsbury Orthopaedics Australia Pty Ltd
FI017
Finsbury Modular Heads
Ceramic
Diameter 22-26-28-32mm
$1,300.00
FI033
Delta modular head
Delta ceramic modular head
32mm
$2,055.00
FI034
Delta modular head
Delta ceramic modular head
36-40-44-48mm
$2,255.00
FI035
Delta Modular Head - sleeve
 sleeve for use with Delta Modular Head
neck  length sleeve -3.5, 0. +3.5, +7
$260.00

Global Manufacturing Technology Pty Ltd
GM019
Edinburgh Total Hip System (Hip Stem)
Femoral Head Biolox Ceramic
28mm and 32mm
$2,055.00
GM044
BioBall - Femoral modular head system
Femoral head Biolox ceramic
28mm to 36mm
$2,055.00
GM045
BioBall - Femoral modular head system
femoral modular head system
$1,144.00
GM057
SMR Modular Hip System
Femoral Head Biolox Ceramic
28 to 32mm
$2,055.00
Prostheses List by Category, Groups and Sponsor
Page 334 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GM093
Apex Global Modular Hip System
Femoral Head Ceramic
28mm & 32mm
$2,000.00

Global Orthopaedic Technology
GO138
R120
Femoral Head Ceramic
28mm to 36mm
$2,000.00
GO146
Keramos Acetabular System
Femoral Head Ceramic
28 to 32mm
$2,000.00

Johnson & Johnson Medical Pty Ltd
DP249
AML Modular Heads
Ceramic Head Various Tapers & Neck 
22 or 26 or 28 or 32 or 36mm
$2,055.00

Lengths

Link Orthopaedics  Australia
LO023
Link Prosthesis Head
Prosthesis Head "A" Biolox Ceramic
Short/medium - short /medium
$1,456.00

Mathys Orthopaedics Pty Ltd
MA020
Ceramic Head
Ceramic
Cone 12/14  - dia 28mm-32mm
$2,055.00

Medacta Australia Pty Ltd
MU006
Quadra Hip Stem System
Femoral head Biolox Forte, A1203
Dia 28mm (S,M,L) 32mm (S,M,L)
$1,510.00

Orthotech Pty Ltd
OH093
Lima Total Hip Replacement System
Ceramic/Femoral Head (Biolox Forte)
Small, Medium, Large
$2,000.00
OH137
Acumatch M-Series Total Hip System - 
Modular Titanium Revision Hip - Ceramic 
-2 to -5mm, +0 to +10mm
$2,000.00

Head
Head
OH292
JRI Total Hip System
Total Hip Replacement (THR) Ceramic 
12 / 14 Taper, Biolox Delta Ceramic 
$1,625.00
$2,080.00

Femoral Heads, Biolox Delta Ceramic, and 
head sizes 28mm, 32mm. Alumina 

Alumina Oxide
Oxide head sizes 28mm
OH294
JRI Total Hip System
Revision Ceramic Femoral Head 12 / 14 
28, 32, 36mm
$1,625.00
$2,080.00

Taper, Biolox Delta Ceramic with Titanium 

Alloy Metal sleeve

Plus Orthopedics Australia Pty Ltd
PL035
PLUS Hip Joint Prostheses System
Fem Head Ceramic
S,M,L - 28mm/32mm
$1,625.00
PL136
POLARSTEM FEMORAL STEM SYSTEM
FEMORAL HEAD CERAMIC FOR POLAR 
28MM
$1,625.00

STEM

Portland Orthopaedics (Aust) Pty Ltd
PD006
Margron DTC Hip Replacement
Femoral Head (Ceramic)
28mm, 32mm 3 lengths
$1,515.00

Smith & Nephew Surgical Pty Ltd
SN256
Axis 
Ceramic Femoral Head AlO3 12/14Taper
=< 32mm
$1,625.00
SN299
Femoral Head
Ceramic, AlO3
<=32mm
$2,000.00
Prostheses List by Category, Groups and Sponsor
Page 335 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW017
Stryker Biolox Forte Alumina Femoral Head
28, 32mm
$2,055.00

Taylor Bryant Pty Ltd
TB220
10/12/14 Alumina Head BOTA
Alumina Head
28mm (-3.5mm, 0mm, +3.5mm); 
$2,000.00

32mm (-4mm, 0mm, +4mm)

Zimmer Pty Ltd
ZI055
Ceramic Femoral Head
Ceramic Head 12/14 Taper
28 - 44mm
$1,625.00
$2,080.00
ZI346
Ceramic Femoral head for hip prosthesis 
Femoral Head - Biolox Ceramic
28 to 32mm
$1,685.00
ZI355
Cerasul - Ceramic
Ceramic Femoral Head
28mm 
$2,055.00
ZI381
Ceramic Head - Sulox
Head - Ceramic
22 to 32mm
$1,000.00

Group 13d - Conventional Femoral Head, ≤32mm, Titanium Alloy

Corin  Australia Pty Ltd
CR064
Ball Heads 12 - 24 Taper (Tin Coated)
Tin Coated (Titanium Nitride)
28mm x Small; 28mm x Medium; 
$1,664.00

28mm x Large; 28mm x XLarge; 

28mm x XXLarge; 28mm x 

XXXLarge

Group 13e - Conventional Femoral Head, ≤32mm, Non-alloy

Smith & Nephew Surgical Pty Ltd
SN687
Femoral Head
12/14, 14/16 Taper, Oxinium
22 - 32mm, -3 - +16mm
$2,340.00

Group 13f - Conventional Femoral Head, ≤32mm, Other

Global Orthopaedic Technology
GO010
Consensus Hip System
Femoral head Biolox ceramic
28-32mm
$2,080.00

Mathys Orthopaedics Pty Ltd
MA482
ceramys™ 80 - Hip Head ceramys™ 80
Hip head ceramys™ 80
28 L,  28 M, 28 S, 32 L, 32 M, 32 S
$2,080.00
$2,704.00
MA484
ceramys™ 80 - Revision  head ceramys™ 80
ceramys™ 80 - Revision  head ceramys™ 80
28 L, 28 M, 28 S, 28 XL, 32 L, 32 M,
$2,080.00
$2,704.00

 32 S, 32 XL, 28, 32

Plus Orthopedics Australia Pty Ltd
PL157
Plus Hip Joint System
Femoral Head Delta Ceramic
<32 - S, M, L, XL
$2,042.00
Prostheses List by Category, Groups and Sponsor
Page 336 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
SR023
Stryker Revision Femoral Head, Biolox 
With pre assembled titanium sleeve
28, 32mm
$2,054.00

Forte Alumina
SR026
Stryker CoCr Femoral Head
LFIT Treatment
22-32mm
$1,015.00
SR028
Delta Ceramic Heads
Modular Femoral Head - Delta Ceramic 
<32mm
$2,054.00

material

Zimmer Pty Ltd
ZI538
Ceramic primary & revision femoral head
Biolox Delta Ceramic
28 & 32mm
$2,080.00
$3,000.00

Group 13g - Conventional Femoral Head, ≤32mm, Zirconium

Biomet Australia Pty Ltd
BI927
Modular Ceramic System
Ceramic Head, Zirconium
28-32mm -6mm to +12mm
$1,872.00

Plus Orthopedics Australia Pty Ltd
PL105
PLUS Hip Joint Prosthesis System
Ceramic Head Revision
22-60
$1,872.00
To be used with Billing Code PL118

Group 14a - Conventional Femoral Head, >32mm, Stainless steel

Mathys Orthopaedics Pty Ltd
MA456
Metal Heads
Hip Prosthesis Head
Cone 12/14 dia 28mm-58mm
$811.00
MA467
Hemiprosthesis Head, Stainless Steel
Hemiprosthesis Head, Stainless Steel, Cone 
42 mm - 58mm
$811.00

12/14mm

Medacta Australia Pty Ltd
MU018
Medacta Endo Head
The Medacta Endo Head is a stainless steel 
Medacta Endo Head from 40mm 
$780.00

unipolar prosthesis that consists in a 
diameter to 56mm diameter (40mm; 

monobloc prosthetic femoral head 
42mm; 44mm; 46mm; 48mm; 50mm; 

articulated directly with the patient’s 
52mm; 54mm) and Small (-3.5mm), 

Medium (0mm) or Large Length 

(+3.5mm)

Plus Orthopedics Australia Pty Ltd
PL037
PLUS Hip Joint Prostheses System
Fracture Head
38-60 S/M
$571.00

Smith & Nephew Surgical Pty Ltd
SN813
Femoral Head
Stainless steel
>32mm,+0-+16mm
$705.00

Stryker Australia Pty Ltd
HW395
V40 Orthinox Head
Stainless Steel
>32mm
$811.00
Prostheses List by Category, Groups and Sponsor
Page 337 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI498
Femoral Head
Zimaloy - Stainless Steel
36mm, 40mm
$705.00

Group 14b - Conventional Femoral Head, >32mm, Cobalt Chrome

Biomet Australia Pty Ltd
BI061
Austin Moore Self Locking Hip Prosthesis 
Modular Femoral Stem and Modular Head, 
38-61mm Head, Std or Narrow stem
$988.00

System
Titanium.
BI134
Mallory Head Hip System
Femoral Modular Head, Chrome Cobalt
28 to 38mm -6 to +12mm
$988.00
BI875
Endo II Head
Modular Head - CoCr
41 mm through 61mm
$988.00
Used with BI876
BI877
Freedom 36 mm Modular Head
Modular Head
36mm,  -6mm to +9mm
$988.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD047
Pharo
Cephalic Head, CoCr
41-59mm
$988.00
$1,400.00

Corin  Australia Pty Ltd
CR084
Modular Endo Head
CoCr Modular Endo Head
38 - 60mm, short, standard and 
$936.00

long necks

ESKA Australia
EK085
Large Metal Head Silver Surf
Femoral Head CoCR
38mm - 48mm
$988.00
$2,200.00

Global Manufacturing Technology Pty Ltd
GM066
BioBall - Femoral modular head system
Femoral Head CoCr >32mm
28mm to 38mm
$988.00
$1,144.00

Johnson & Johnson Medical Pty Ltd
DP988
SROM Total Hip System (Titanium)
Unipolar 
38-66mm
$988.00
DY026
Elite Hemi Head
Elite Plus Hemi Head 
42 - 60 mm
$988.00
DY402
ASR Hip System
Modular Cathcart Unipolar Head
41 to 60mm
$913.00

Portland Orthopaedics (Aust) Pty Ltd
PD014
Femoral Head
Femoral Head (CoCr)
36mm, 38mm in 4 lengths
$936.00

Smith & Nephew Surgical Pty Ltd
SN308
Unipolar Head
Co Cr
12/14 42 - 61mm
$728.00
Used with SN307
SN809
Femoral head
CoCr
>32mm
$745.00

Stryker Australia Pty Ltd
SR025
C-Taper CoCr HeadStryker CoCr Femoral 
36mm
$988.00

Heads, LFIT treatment
Prostheses List by Category, Groups and Sponsor
Page 338 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST570
Large Diameter Moduar Heads
UNITRAX Vitallium alloy /CoCr
38-64mm OD 2mm increments
$988.00

Zimmer Pty Ltd
ZI347
Femoral Head
Femoral Head - Unipolar - CoCr alloy / PE
42 to 60 
$988.00
$1,133.00
ZI359
Durasul Ballhead for Inserts
Femoral Metal Ball Head  - CoCr alloy
34 - 38mm
$988.00
$1,003.00
ZI499
Femoral Head
Zimaloy - Co Cr
36mm, 40mm
$745.00
ZI500
Femoral Head
Head - Metal (Zweymuller Allopro) - CoCr
36mm, 38mm
$981.00

Group 14c - Conventional Femoral Head, >32mm, Alumina

Advanced Surgical Technologies
AD290
Transcend/Lineage Articulation System
Head ceramic
36mm, 3 lengths
$1,889.00

B Braun Australia Pty Ltd
BB302
Ceramic Head
Biolox Ceramic Head
36mm
$2,055.00

Corin  Australia Pty Ltd
CR097
Alumina Head
Biolox Forte
>32mm
$2,055.00

ESKA Australia
EK036
Femoral Head BS / Ceram
Femoral Head Al2O3
38-48mm
$2,000.00

Global Manufacturing Technology Pty Ltd
GM108
BioBall - Femoral Modular Head System
Femoral Head Biolox Delta
36mm
$2,000.00

Johnson & Johnson Medical Pty Ltd
DY464
AML Modular Heads
Ceramic Head Various Tapers & Neck 
22 or 26 or 28 or 32 or 36mm
$2,055.00

Lengths

Mathys Orthopaedics Pty Ltd
MA468
Femoral Head Ceramic >32 mm
Hip Prosthesis Femoral Head Bionit Ceramic 
36mm (S,M,L,XL,XXL)
$2,055.00

> 32mm
MA470
Hemiprosthesis Head, Bionit Ceramic
Hemiprosthesis Head, Bionit Ceramic, Cone 
42-54mm
$2,055.00

12/14mm, Alumina

Medacta Australia Pty Ltd
MU007
Quadra Hip Stem System
Femoral head Biolox Forte, A1203
36mm (S,M,L)
$1,510.00

Orthotech Pty Ltd
OH300
JRI Total Hip System
Total Hip Replacement (THR) Ceramic 
12 / 14 Taper, Biolox Delta Ceramic 
$1,852.00
$2,080.00

Femoral Heads, Biolox Delta Ceramic, and 
head sizes 36mm. Alumina Oxide 

Alumina Oxide
head sizes 28mm
Prostheses List by Category, Groups and Sponsor
Page 339 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Plus Orthopedics Australia Pty Ltd
PL102
PLUS Hip Joint Prosthesis System
Ceramic Head AL
>32mm
$1,852.00
PL104
PLUS Hip Joint Prosthesis System
Ceramic Head Delta
>32mm
$2,042.00

Portland Orthopaedics (Aust) Pty Ltd
PD015
Margron DTC Hip Replacement
Femoral Head (Ceramic)
36mm, 38mm in 3 lengths
$1,515.00

Smith & Nephew Surgical Pty Ltd
SN811
Reflection
Head Ceramic, AlO3
>32mm
$1,990.00

Stryker Australia Pty Ltd
HW394
Stryker Bilox Forte Alumina Femoral Head
36mm
$2,055.00
SK404
Alumina Femoral Head 38mm-60mm
Alumina Femoral Head
38mm-60mm
$2,055.00

Group 14e - Conventional Femoral Head, >32mm, Non-alloy

Smith & Nephew Surgical Pty Ltd
SN812
Femoral Head
12/14, 14/16 Taper, Oxinium
>32mm, -3 - +16mm
$2,340.00

Group 14f - Conventional Femoral Head, >32mm, Other

Mathys Orthopaedics Pty Ltd
MA483
ceramys™ 80 - Hip Head ceramys™ 80
Hip Head ceramys™ 80
36 L, 36 M, 36 S
$2,436.00
$3,166.00
MA485
ceramys™ 80 -Revision head ceramys™ 80
ceramys™ 80 -Revision head ceramys™ 80
36 L, 36 M, 36 S, 36 XL, 36
$2,436.00
$3,166.00

Stryker Australia Pty Ltd
SK405
LFIT Femoral Heads
Femoral head with low friction ion treatment
36mm-72mm
$2,436.00
SR029
Modular Femoral Head - Delta Ceramic 
Modular Femoral Head - Delta Ceramic 
36mm - 50mm
$2,436.00

material
material

Zimmer Pty Ltd
ZI539
Ceramic primary & revision femoral head
Biolox Delta Ceramic
36 - 40mm
$2,436.00
$3,000.00

Group 15 - All metal on metal articulated heads

Advanced Surgical Technologies
AD114
Transcend/Lineage Articulation System
Metal femoral head CoCr
28 and 32mm, 4 lengths
$1,248.00
AD288
Transcend/Lineage Articulation System
Metal femoral head CoCr
36mm, 4 lengths
$1,248.00
AD308
Transcend/Lineage Articulation System
Metal femoral head CoCr
32mm, 4 lengths
$1,248.00
Prostheses List by Category, Groups and Sponsor
Page 340 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI045
Scientific Hip Prostheses System
Head, Chrome Cobalt
28mm, -6mm to +12mm
$1,485.00
BI056
Biomet Alternate Bearing Surface 
Metal on Metal head, Chrome Cobalt
28mm -6mm to +12mm
$1,485.00
BI068
Stanmore Total Hip System
Modular Head, Chrome Cobalt
28mm, -6mm to +12mm
$1,485.00
BI070
Biomet Taperloc Hip System
Modular Head, Chrome Cobalt
28mm, -6 to +12mm
$1,485.00
BI896
M2A Magnum Prosthesis
Femoral Modular Head, Cobalt Chrome
38, 40, 42, 44, 46, 48, 50,52, 54, 56, 
$2,392.00
Used with BI895

58, 60mm
BI944
M2a 38 Femoral Head
Metal on Metal Femoral Head, Cobalt Chrome
38mm
$1,794.00

Corin  Australia Pty Ltd
CR016
Cormet 2000 - Modular Endo Head
CoCr alloy
>32mm
$2,392.00
CR020
Metalok Femoral Head
Carbon Cobalt Chrome Alloy
Head 28mm (short/med/long neck)
$1,263.00

ESKA Australia
EK061
Large Metal Head Silver CoCr
Femoral Head CoCrMo
38mm - 48mm
$1,794.00
EK064
Large Metal Head Silver Surf
Femoral Head CoCrMo
38mm - 48mm
$2,200.00
EK084
Large Metal Head Silver CoCr
Femoral Head CoCR
38mm - 48mm
$1,794.00

Finsbury Orthopaedics Australia Pty Ltd
FI015
Adept MoM Modular Head
Metal on Metal modular head, CoChr, 12/14 
38 - 58mm going up in 2mm 
$2,392.00

Eurocone
increments. 4 different neck lengths

Global Orthopaedic Technology
GO047
ICON Hip System
Femoral Head - Modular CoCr
38-58mm
$2,392.00
GO132
FMP Acetabular System
Femoral Head - Metal on Metal
28 to 38mm
$1,768.00

Johnson & Johnson Medical Pty Ltd
DY215
Pinnacle Cup/Liners
CoCr "M" Femoral Heads Various Tapers 
28, 36, 40, 44, 48 mm
$2,288.00

and Neck Lengths
DY330
ASR Hip System
Large Modular Head
38.5-64.5mm
$2,392.00
$2,970.00
Used with DY329

Mathys Orthopaedics Pty Ltd
MA029
Metal on Metal Head
Head for MOM articulation
28mm, 32mm, 36mm
$2,392.00

Plus Orthopedics Australia Pty Ltd
PL036
PLUS Hip Joint Prostheses System
Fem Head Plusmet
S-XXL - 28mm/32mm
$1,560.00
PL076
PLUS Hip Joint Prosthesis System
Femoral Metal Head - Standard Metal
>32mm
$1,560.00
PL116
PLUS Hip Joint Prosthesis System
Femoral Head Metal - PLUSMET
>32mm
$2,026.00
Prostheses List by Category, Groups and Sponsor
Page 341 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN741
Birmingham Modular Femoral Head
Cobalt Chrome
38 - 58mm
$2,392.00
SN849
Birmingham Hip
Modular Resurfacing Head
38-62
$2,392.00

Stryker Australia Pty Ltd
SR051
Mitch Hip System
Modular Femoral Head
38mm - 60mm
$2,300.00

Zimmer Pty Ltd
ZI054
Femoral Head
Endo Head
38 - 63mm
$944.00
ZI382
Femoral Head
Head - Metasul - special metal alloy
28 to 40mm alloy
$1,794.00
ZI472
Durom Resurfacing System - Ballhead
Forged CoCr alloy
A1 to L1
$2,392.00

E

Johnson & Johnson Medical Pty Ltd
JJ574
ASR XLAnatomic (ASR XLA)
ASR XL Anatomic Head
39-63
$2,592.00
$3,592.00

Group 16a - Resurfacing, Metal, Cemented

Advanced Surgical Technologies
AD212
CONSERVE Femoral Surface Replacement
CoCr SLT Taper Femoral Head
Sizes 38mm-54mm in 2mm 
$3,016.00

increments, -3.5 to +3.5 Neck
AD220
CONSERVE PLUS Total Hip Resurfacing 
CoCr Femoral Head - Super Polished
Sizes 36mm - 54mm in 2mm 
$3,307.00
$3,432.00

System
increments
AD286
BFH Total, A-class
Cobalt Chrome super finished femoral head. 
36mm to 56mm in 2mm increments 
$3,307.00
$3,432.00

Size range from 36mm to 56mm in 2mm 
each with - 3.5mm, 0mm, + 3.5mm 

increments with 3 head lengths per size
head lengths
AD325
Conserve Plus A-CLASS Resurfacing 
CoCr A-CLASS super finished resurfacing 
36mm to 56mm in 2mm increments 
$3,162.00
$5,400.00

femoral head
each with - 3.5mm, 0mm, + 3.5mm 

head lengths

Biomet Australia Pty Ltd
BI839
Resurfacing Hip System
Femoral Head CoCr, Cemented
38 - 60mm
$3,307.00

Corin  Australia Pty Ltd
CR047
Cormet Resurfacing Head Cemented
Cobalt Chrome
Dia 40 -56mm
$3,307.00

ESKA Australia
EK039
Hip Surf Replacement Cemented Silver BS
Femoral Head CoCr
38mm - 68mm
$2,600.00
EK079
Hip Surf Replacement Cemented Silver Surf
Femoral Head CoCrMo/TiNb
38mm - 58mm
$3,300.00

 BS
Prostheses List by Category, Groups and Sponsor
Page 342 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Finsbury Orthopaedics Australia Pty Ltd
FI001
ADEPT MoM Resurfacing Head
Resurfacing Head MoM, Cast CoChr
38-58 going up in 2mm increments
$3,307.00
$3,432.00

Global Orthopaedic Technology
GO049
ICON Hip System
Femoral Head Cemented CoCr
38-58mm head
$3,162.00

Johnson & Johnson Medical Pty Ltd
DY331
ASR Hip System
Resurfacing Femoral Head
38.5-64.5mm
$3,307.00

Smith & Nephew Surgical Pty Ltd
SN743
Birmingham Hip Resurfacing Prostheses -  
Cemented
38 - 58 mm heads
$3,307.00

Femoral Component 
SN826
Birmingham PC Hip Replacement
Resurfacing prostheses - femoral component
30-70
$3,307.00

Stryker Australia Pty Ltd
SR043
Mitch Hip System
Resurfacing Head
38mm - 60mm
$3,340.00
SR059
Stryker orthopaedic traditional resurfacing 
Proximal epiphyseal replacement.
38 - 60mm
$3,307.00

hip

Zimmer Pty Ltd
ZI466
Durom
Resurfacing System - Special Femoral 
A - V
$3,307.00
$3,483.00

Component, Metasul alloy

Group 16c - Resurfacing, Metal, Uncemented

Biomet Australia Pty Ltd
BI838
Resurfacing Hip System
Femoral Head CoCr, Ti, HA Coated
38 - 60mm
$4,056.00
BI840
Resurfacing Hip System
Femoral Head CoCr, Ti
38 - 60mm
$4,056.00

Corin  Australia Pty Ltd
CR017
Cormet 2000 Resurfacing Hip System
Resurfacing femoral head Cobalt chrome 
Dia 40 - 56mm
$4,056.00

HAP coated
CR090
Cormet Resurfacing Head  Bi Coated
CoCr with titanium plasma spray and HA
40mm-56mm
$4,056.00
CR122
Cormet Resurfacing Head Fully Bi Coated
CoCr with Titanium plasma spray and HA
44 to 56mm
$4,056.00

ESKA Australia
EK049
Hip Surf Replacement Cementless Silver 
Femoral Head CoCrMo/TiNb/HA
38mm-58mm
$3,200.00

Surf HA BS
EK062
Hip Surf Replacement Cementless Silver BS
Femoral Head CoCrMo/TiNb
38mm - 58mm
$3,200.00
Prostheses List by Category, Groups and Sponsor
Page 343 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EK063
Hip Surf Replacement Cementless Silver BS
Femoral Head CoCrMo / TiNb / Ha
38mm - 58mm
$3,200.00

 / Ha
EK067
Hip Surf Replacement cementless Silver 
Femoral Head CoCrMo/TiNb/HA
38-58mm
$3,200.00

Cornwall BS/HA
EK068
Hip Surf Replacement cementless Silver 
Femoral Head CoCrMo/TiNb
38-58mm
$3,200.00

Cornwall BS
EK069
Hip Surf Replacement cementless Silver 
Femoral Head CoCrMo/TiNb
38-58mm
$3,200.00

Surf BS

Group 16d - Resurfacing, Ceramic, Uncemented

ESKA Australia
EK066
Hip Surf Replacement cementless BS / Ceram
Femoral Head Ceramic Al2O3
38-58mm
$4,600.00

Group 16e - Resurfacing, Other

Endotec Australia Pty Ltd
EA005
Buechel-Pappas Ultracoat Total Hip 
Femoral Head-Ceramic coated titanium
28mm to 58mm
$5,200.00

Replacement System (Primary and Revision)

ESKA Australia
EK078
Hip Surf Replacement Cemented BS / 
Femoral Head Ceramic AL2O3
38mm - 58mm
$5,200.00

Ceram

Taylor Bryant Pty Ltd
TB308
HemiCAP Contoured Articular Resurfacing
Articular Component  - Chrome Cobalt
Articular Component 25mm - 
$2,250.00

 Hip System
2.5mm x 2.5mm to 5.0mm x 5.0mm 

offset;  Articular Component 30mm

 - 4.5mm x 4.5mm to 7.0mm x 7.0mm 

offset; Articular Component 35mm 

- 6.0mm x 6.0mm to 9.5mm x 9.5mm
TB309
HemiCAP Contoured Articular Resurfacing
Fixation Component - Titanium
Fixation component for 
$700.00
$900.00
Used with Billing code TB308

 Hip System
25mm,30mm, 35mm Artuclar 

Components
Prostheses List by Category, Groups and Sponsor
Page 344 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 17a - Femoral necks

Advanced Surgical Technologies
AD236
Profemur Total Hip System
Titanium Femoral Necks
Length 27 - 38.5mm; Neutral to 
$1,227.00

Ante/Retro - Varus Valgus 2

B Braun Australia Pty Ltd
BB296
Metha - Modular cone adaptors
Modular neck adaptors made from CoCr  to 
CCD - 130°, 135 °, 140°; Offset  - 
$1,227.00

offer different offsets and version
0mm, -5mm ,+5mm; Version - 7.5° 

left ante/right retro, 0 °, 7.5 ° left 

retro/right ante

Corin  Australia Pty Ltd
CR101
Modular Neck
Titanium, ante/retro, varus/valgus
3 sizes
$1,227.00

ESKA Australia
EK034
Adapter Hip System Cemented
Dual Cone
One Size
$1,227.00
EK035
Adapter Hip System Cemented
Lateral Offset Cone
One Size Only
$1,248.00

Global Orthopaedic Technology
GO136
R120
Neck, CrCo, HA coated
32mm by 8 degrees to 38mm by 12 
$1,227.00
$3,000.00

degrees
GO139
R120
Neck, CrCo
32mm by 8 degrees to 38mm by 12 
$1,227.00
$3,000.00

degrees

Orthotech Pty Ltd
OH098
Lima Total Hip Replacement System
F2L Modular Neck - Titanium
Short & Long (Straight & Angled)
$1,227.00

Stryker Australia Pty Ltd
SK444
ABG II Modular Hip System
ABGII Modular Neck
Long & Short
$1,227.00
SK446
Rejuvinate SPT Femoral Hip System
Rejuvinate Modular Neck
30-38mm
$1,227.00

Taylor Bryant Pty Ltd
TB184
Modular U Necks
Cobalt chrome
Standard, varus, valgus, antiverted
$1,227.00

 right, antiverted left

Zimmer Pty Ltd
ZI553
M/L Taper Kinectiv Neck
M/L Taper Kinectiv Neck Implant
size K, S, A, E, P, X, B, G, R, C, J, 
$1,227.00

D, K1, S1, AA, E1, P1, X1, K2, E2, 

BB, G1, R1 ,S2, P2, G2, CC, J1, X2, 

R2, J2, DD
Prostheses List by Category, Groups and Sponsor
Page 345 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

z

Global Manufacturing Technology Pty Ltd
GM091
Apex Global Modular Hip System
Neck Ti
25mm - 35mm to 35mm - 50mm
$1,727.00
$3,200.00

Orthotech Pty Ltd
OH061
Exactech Total Hip System
Modular Titanium Revision Hip - Neck 
32 - 49mm, -5 - +30mm
$1,727.00

Segment

Portland Orthopaedics (Aust) Pty Ltd
PD005
Margron DTC Hip Replacement
Neck  Module CoCr
X, Y Offset 31mm Vert Height 
$1,727.00

22mm
PD012
Margron DTC Hip Replacement
Femoral Body/Neck Segment CoCr
AZ, A, B, C, BA, CA, CB, B+4, 
$1,727.00

C+6, CB+6 Offset-35mm-52mm Vert

 Height 25mm-35mm
PD022
M-COR Modular Hip System
Femoral Body / Neck Segment Ti
31to41+2
$1,727.00
Hip C - Acetabular Components

Group 18a - Cups, cemented, hooded and unhooded, unmodified polyethylene

Advanced Surgical Technologies
AD125
WMT Acetabular Cups All Poly
UHMWPE
42 - 68mm in 2mm increments
$504.00

B Braun Australia Pty Ltd
BB236
Polyethylene Acetabular Cup
Chirulen
22.2mm-32mm articulations; 40mm-
$700.00

64mm diameters

City Medical Devices Australia (trading as Energy Orthopaedics)
CD021
Coriolis
Polyethylene Cup
Dia Int. 22-28 -32/ Dia Ext. 40-60
$750.00

Corin  Australia Pty Ltd
CR042
Cenator Hip System
Acetabular Cup, Ultra High Molecular 
Dia 40 - 62mm, 22, 26, 28 heads
$572.00

weight Polyethylene

ESKA Australia
EK019
ESKA Modular All Poly Cup
Snap
$501.00

Global Manufacturing Technology Pty Ltd
GM022
Edinburgh Total Hip System (Acetabular 
Acetabular Cup UHMWPE
44mm to 56mm
$572.00
$884.00

Component)
Prostheses List by Category, Groups and Sponsor
Page 346 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DP115
Duraloc Enduron Liner
Polythene Liner in Neutral or 10 or 20 Degree
22.225 or 26 or 28 or  32mm size 48-
$572.00
$913.00

 or +4
74
DP172
PLAD
Wroblewski Cup  Angle bore Left and Right 
22mm
$718.00

UHMWP
DP173
PLAD
PLAD for cups S/S and Polyethylene
22.225mm, 26mm and 28mm
$718.00
DP182
Charnley Hip System 
Polythene, OGEE or LPW or FLANGED
22.225 or 28 or 32, 40 to 53mm
$572.00
DP563
Wroblewski Cup
Golf Ball Left and right UHMWP
22mm size 40-53mm
$572.00

Link Orthopaedics  Australia
LO018
LINK Acetabular Cup
IP Acetabular Cup
40 - 58mm
$553.00

Orthotech Pty Ltd
OH105
Lima Total Hip Replacement System
Mueller UHMWPE Cup (Cemented)
44 - 62mm
$750.00
OH290
JRI Total Hip System
JRI Cemented Acetabular Cup, U.H.M.W 
28mm and 32mm
$572.00
$790.00

polyethylene

Plus Orthopedics Australia Pty Ltd
PL044
PLUS Hip Joint Prosthesis System
PLUS PE cemented cup
42 -64mm dia
$750.00

Smith & Nephew Surgical Pty Ltd
SN288
Reflection
Acetabular Cup
22 - 36mm, 42 - 76mm
$572.00

Stryker Australia Pty Ltd
ST552
Osteonics hip prostheses
All poly cup polyethylene
OD: 46-61mm.  ID: 22, 26, 28, 32mm
$750.00

Zimmer Pty Ltd
ZI027
Acetabular Cup
Zimmer Cemented Acet. (ZCA) - Polyethylene
47 - 61
$705.00
ZI368
Apollo Hip System
Apollo Hooded Cement Acetabular Cup - PE
28/46mm to 28/62mm
$572.00
$813.00
ZI384
MS30 Hip - Cups Cemented
Low Profile - PE
22/36 to 32/64
$501.00

MI

Zimmer Pty Ltd
ZI383
MS30 Hip - Cups Cemented
Low Profile with Metasul - PE with special 
38 to 58mm 
$2,354.00

metal alloy
Prostheses List by Category, Groups and Sponsor
Page 347 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 18b - Cups, cemented, hooded and unhooded, modified polyethylene

Biomet Australia Pty Ltd
BI064
Bioclad Hip System
Acetabular Cup,  UHMWPE
22,28,32mm, size 39-69mm
$936.00
BI067
Stanmore Total Hip System
Acetabular Cup, UHMWPE 
25-32mm x size 40-53mm
$860.00

Mathys Orthopaedics Pty Ltd
MA027
CCB Cemented Cup
Full profile / low profile special cup
28/32 ID - 42/64 OD
$936.00

Smith & Nephew Surgical Pty Ltd
SN282
Opera
Acetabular Cup Flanged UHMWPE
22 - 28mm; 40 - 53mm
$595.00
SN695
Opera
Acetabular Cup Flanged - XLPE
22-36mm, 42-76mm
$845.00
SN696
Reflection
Acetabular Cup - XLPE
22-36mm,40-61mm
$845.00

Stryker Australia Pty Ltd
HW029
Duration Polyethelene cemented 
Duration Poly Cup -  Enhanced Polyethylene
22 - 36 mm ID
$936.00

acetabular component
HW403
Exeter Hip System
Exeter Duration Cup - Enhanced 
OD: 40-60mm, ID: 22, 26, 28, 30
$854.00

Polyethylene - Low and High Profile
SK460
Exeter Rim Fit Flanged X3 Cup
X3 Highly crosslinked Cup
40 - 60 OD, 22 - 44 ID
$936.00
$1,376.00
ST013
Hip - Trident All Polyethelene Cup
Enhanced Polyethylene
40-64mm(Outer Diameter)
$936.00

Zimmer Pty Ltd
ZI314
ZCA All Poly Acetabular Cup - XLPE
Highly crosslinked ultra high molecular 
22, 26, 28 & 32 mm heads; 47-61mm
$936.00
$1,794.00

weight polyethylene
 diameter; flanged and non-flanged

suffix - F (Flange)

Stryker Australia Pty Ltd
HW030
Contemporary Hip System Range
Exeter Contemporary Flanged Poly Cup -  
ID: 26, 28, 32.  OD 46, 48, 50, 52, 54,
$961.00

Enhanced Polyethylene
 56, 58, 60

Group 18c - Cups, cemented, constrained, modified and unmodified polyethylene

Biomet Australia Pty Ltd
BI091
Kasselt Acetabular Cup System
Acetabular Cup, UHMWPE
46-70mm
$832.00

ESKA Australia
EK020
ESKA Modular All Poly Cup
Snap Lock
$572.00
Prostheses List by Category, Groups and Sponsor
Page 348 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EK021
ESKA Modular All Poly Cup
Assymetric 10 degree
$572.00

Link Orthopaedics  Australia
LO019
LINK Acetabular Cup
Lubinus Eccentric Acetabular Cup
44 - 58mm
$718.00

Stryker Australia Pty Ltd
HW043
Brunswick Cup
Polyethylene
44, 48, 50, 52, 54, 56mm OD
$832.00
SK430
Trident Constrained All Poly Acetabular 
UHMWPE constrained cemented cup
40-70mm
$1,765.00

Cup

Group 18d - (to be added)

Plus Orthopedics Australia Pty Ltd
PL146
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY VPS SHELL CEMENTED
43-63MM
$1,800.00

SYSTEM

Group 19a - Shell, uncemented, Grit blast, not HA

Advanced Surgical Technologies
AD113
Transcend Articulation System
Transcend cup - titanium
42 - 74mm in 2mm increments
$2,076.00

Mathys Orthopaedics Pty Ltd
MA439
ExpanSys Cup
Cementless acetabular component for hip 
acetabular shell/cup 44-72mm 
$3,640.00

arthroplasty titanium expandable cup with 

either p/e or m/m inlay
MA442
seleXys Shell
Modular Keramed titanium acetabular 
44-72mm (2mm increments)
$2,808.00

component to include 

MACROFIT/TRISTABIL/UNICUP

Plus Orthopedics Australia Pty Ltd
PL020
PLUS Hip Joint Prostheses System
Bicon-PLUS Porosis Cup
1 to 9
$2,569.00
PL051
Bicon - PLUS
Cementless Cup
01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9
$2,569.00
PL059
PLUS Hip Joint Prostheses System
Acetabular Shell
3-11
$2,704.00

Zimmer Pty Ltd
ZI395
Variall Screw Cup System
Metasul Insert - special metal alloy
II28 to NN28mm
$2,354.00
Prostheses List by Category, Groups and Sponsor
Page 349 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 19b - Shell, uncemented, Grit blast, HA 

B Braun Australia Pty Ltd
BB243
Plasmacup
Isotan
44mm-68mm
$2,225.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD011
Atlas Acetabular Cup System
Titanium & HA
Atlas Cup 40-74mm
$2,600.00
$3,680.00

ESKA Australia
EK010
Metal Shell Type 2000/2000 Plus
Metal Shell Screwless or screw fixation
$2,496.00

Link Orthopaedics  Australia
LO032
CFP Cup ( TOP CUP)
-
40 - 68mm
$2,100.00

Orthotech Pty Ltd
OH094
Lima Total Hip Replacement System
Uncemented Cup with HA/Porous Coat
44 - 66mm
$2,600.00

Stryker Australia Pty Ltd
HW014
ABG 11Cup with Hydroxyapatite
ABG11 Acetabular Cup - HA coated/Titanium
Sizes 42mm to 74mm OD in 2mm 
$2,600.00

increments
HW015
ABG 11Cup with Hydroxyapatite
ABG II Ceramic Cup - HA coated/Titanium
Sizes 44mm to 66mm OD in 2mm 
$2,600.00

increments

SI

Stryker Australia Pty Ltd
SK092
Stryker Hydroxyapatite coated cup with 
 Shell with ceramic liner
44 - 80mm OD
$5,158.00

ceramic liner

suffix - F (Flange)

Plus Orthopedics Australia Pty Ltd
PL145
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY VPS SHELL GRIT 
43-67MM
$3,623.00

SYSTEM
BLASTED HA WITH PEGS AND FLANGES

Group 19c - Shell, uncemented, Beaded, not HA

Advanced Surgical Technologies
AD103
Lineage Acetabular System
Titanium
Shells 40 - 80mm in 2mm 
$2,435.00

increments
AD226
Lineage Acetabular System
Titanium Deep Profile Multi Hole Acetabular
46 - 74mm in 2mm increments
$2,435.00

 Shell
Prostheses List by Category, Groups and Sponsor
Page 350 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AD330
Procotyl L Acetabular System / Acetabular
Porous coated Acetabular shell non HA
42 - 68mm in 2mm increments
$2,435.00

 shell non HA
AD334
Dynasty Acetabular System/ Actebular 
Porous coated Acetabular shell
42 - 68mm in 2mm increments
$2,435.00

Johnson & Johnson Medical Pty Ltd
DP360
Sector Cups
Sector  (Titanium)
Size 48 to 66
$2,435.00
DP361
Solution Deep Profile Cup
Deep Profile Titanium
Size 56 - 80 mm
$2,435.00
DP551
Bantam Shells
Bantam Titanium
Size 38 - 46
$2,435.00
DP558
Duraloc 100  Series Cup
100 series Titanium
Size 48 - 66
$2,096.00
DY010
SROM Total Hip System (Titanium)
ZTT1 & 2 or arthropor 1& 2 or Super Cup or 
39 - 72 mm
$2,435.00

Gripper

Smith & Nephew Surgical Pty Ltd
SN285
Reflection
Acetabular Cup, Porous Titanium Alloy
42 - 80mm
$2,435.00
SN290
Reflection
Acetabular Shell Ceramic, Porous Titanium 
46-66mm OD
$2,435.00

Alloy

Group 19d - Shell, uncemented, Beaded, HA 

Advanced Surgical Technologies
AD119
Transcend/Lineage Articulation System
Titanium HA coated cup
42 - 74mm in 2mm increments
$2,900.00
AD329
Procotyl L  Acetabular Cup
Uncemented porous HA acetabular cup
42 - 68mm
$2,900.00
$3,276.00
Prostheses List by Category, Groups and Sponsor
Page 351 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Finsbury Orthopaedics Australia Pty Ltd
FI004
Delta motion acetabular cup
Metal backed ceramic cup with HA
42 - 66 going in 2 mm Increments    
$5,100.00

         168 - 102 Acetabular Cup - 42 

OD 32 bore,   168 - 104Acetabular 

Cup - 44 OD 32 bore,   168 - 106 

Acetabular Cup - 46 OD 36 bore,   

168 - 108 Acetabular Cup - 48 OD 

36 Bore,   168 - 110 Acetabular Cup

 - 50 Od 40 Bore,   168 - 112 

Acetabular Cup - 52 OD 40 Bore,   

168 - 114 Acetabular Cup - 54 OD 

44Bore,    168 - 116 Acetabular Cup

 - 56 Od 44 Bore,   168 - 118 

Acetabular Cup - 58 OD 44 Bore,   

168 - 120 Acetabular Cup - 60 OD 

44 Bore,   168 - 122 Acetabular Cup

 62 OD 44 Bore,   168 - 124 

Acetabular Cup - 64, OD 44 Bore,   

168 - 126 Acetabular Cup - 66 OD 

44 Bore,  168 - 128 Acetabular Cup 

- 58 OD 48 Bore,   168 - 130 

Acetabular Cup - 60 OD 48 Bore,   

168 - 132 Acetablualr Cup - 62 OD 

48 Bore,   168 - Acetabular Cup - 64

 OD 48 Bore,  168 - 136 Acetabular 

Cup - 66 Od 48 Bore.
FI005
ADEPT CoC Acetabular component
Porocast Acetabular Shell, CoChr, HA 
44-66 Outer diameter going up in 
$5,100.00

coated, ceramic liner, Extra Fixation
4mm increments

Global Orthopaedic Technology
GO040
Consensus Hip System
Acetabular Shell Porous/HA Ti
42mm to 68mm
$2,652.00
$3,276.00
GO154
Keramos Acetabular System
Acetabular Shell Porous / Ti HA
48mm to 66mm
$2,900.00
$3,150.00

Johnson & Johnson Medical Pty Ltd
DP557
Duraloc Cup
Sector or 100 series Polished inner or 
Inner 48 to 66
$2,740.00

polisherd Titanium or  HA
DY031
Option Cup system 
Option Ha 
46-66 mm
$2,900.00
DY278
Pinnacle Acetabular Cup System
Pinnacle 100 or 300 or Sector or 1200, STD or
38-80mm
$3,276.00

 HA Acetabular Cup
Prostheses List by Category, Groups and Sponsor
Page 352 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN286
Reflection
Acetabular Cup HA Coated Titanium Alloy
42 - 80mm
$2,900.00

Stryker Australia Pty Ltd
HW070
Vitalock Acetabular System
PA Solid-Back and Cluster Cup -  
42 to 76mm OD in 2mm increments
$2,652.00

Vitallium/Periapatite coated

SI

Finsbury Orthopaedics Australia Pty Ltd
FI002
ADEPT MoP Acetabular Component
Porocast Acetabular Shell, CoChr, HA 
44-66 outer diameter going up in 
$3,640.00

coated size 44-66mm + poly liner
2mm increments
FI003
ADEPT MoP Acetabular Component
Porocast Acetabular Shell, CoChr, HA 
44-66 Outer diameter going up in 
$3,640.00

coated size 44-66mm + poly liner, Extra 
4mm increments

Group 19e - Shell, uncemented, Mesh, not HA

Zimmer Pty Ltd
ZI034
Acetabular Cup
Trilogy Shell - Titanium
38 - 80
$2,435.00
$2,471.00
ZI042
Acetabular Cup
Trilogy AB Multi-Hole Shell - Titanium
48 - 70
$2,435.00
$2,471.00
ZI386
Fitmore Cup
Uncemented Cup - Fitmore - Ti alloy
42 to 68mm
$2,435.00
$2,471.00

Group 19f - Shell, uncemented, Mesh, HA

Zimmer Pty Ltd
ZI035
Acetabular Cup
Trilogy HATCP Shell - Titanium
38 - 80
$2,730.00
$2,771.00
ZI041
Acetabular Cup
Trilogy AB HA/TCP Cluster Hole Shell - 
38 - 80
$2,730.00
$2,771.00

Titanium

Group 19g - Shell, uncemented, Plasma, not HA

Biomet Australia Pty Ltd
BI038
Rx90 Hip System
Acetabular Cup and liner, Titanium Alloy, 
40-70mm
$2,080.00

UHMWPE, Cementless / Cemented
BI111
Mallory Head Hip System
Acetabular Shell, Titanium
40-80mm
$2,080.00
BI699
McLauglin Plus 5 Acetabular Shell
Acetabular Titanium Shell
46 - 80mm
$2,080.00

Plus Orthopedics Australia Pty Ltd
PL022
PLUS Hip Joint Prostheses System
EP Fit Multi/Hole Cup
40 - 68mm Dia
$2,300.00
Prostheses List by Category, Groups and Sponsor
Page 353 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PL079
Plus Hip Joint Prostheses System
EP Fit Acetabular Shell TiVPS
42-68
$2,300.00
PL106
PLUS Hip Joint Prosthesis System
MPF Cup - Acetabular shell
46 - 68mm
$2,300.00
PL117
PLUS Hip Joint Prosthesis System
MPF Cup - Revision shell
46 to 72
$2,300.00
PL140
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY SHELL TITANIUM VPS
43-67MM
$2,350.00

SYSTEM

Portland Orthopaedics (Aust) Pty Ltd
PD016
Equator Plus Cup
3-Hole, plasma sprayed shell
44-70
$2,080.00
PD017
Equator Plus Cup
5-hole plasma sprayed shell
44-70
$2,080.00

Stryker Australia Pty Ltd
SK128
Trident Acetabular Component System
Trident Hemispherical Acetabular Shells. 
Shell sizes 42mm - 74mm OD
$2,300.00

Made of Titanium (Ti-6A1-4V) with an Arc 

Deposit Surface

F

Plus Orthopedics Australia Pty Ltd
PL141
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY SHELL TITANIUM VPS 
43-67MM
$3,350.00

SYSTEM
WITH PEGS AND FLANGES

Group 19h - Shell, uncemented, Plasma, HA

Biomet Australia Pty Ltd
BI101
Bi Hapro Hip System
Ringloc Cup, HAP Coating uncemented
46mm to 70mm
$2,704.00
BI110
Mallory Head Hip System
Acetabular Shell, HAP Coated, Titanium
40-80mm
$2,704.00
BI112
Mallory Head Hip System
Acetabular Shell, Solid, HAP Coated, Titanium
40-80mm
$2,704.00
BI770
Exceed Acetabular System
Shell, Ti
Shell sizes 40-70mm
$2,704.00

Corin  Australia Pty Ltd
CR074
Alpha Lock Plus Titanium Hip Cup
Titanium hip cup with special pre-closed 
42 - 70mm Diameter
$2,288.00

fixation holes for self-tapping counter sunk 

screws, UHMWPE inlay.
CR085
Alpha Cera Fit Hip Cup
Cup is made of High Grade Titanium Alloy 
42, 44, 46, 48, 50, 52, 54, 56, 58, 60, 
$2,288.00

with Bonit coating
62, 64, 66, 68, 70, & 74mm
CR119
Horizon Acetabular Component
Cementless, titanium, HA , acetabular 
42 - 70 mm
$2,704.00

component with screw holes
Prostheses List by Category, Groups and Sponsor
Page 354 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Manufacturing Technology Pty Ltd
GM017
Cer-Met Series II (Acetabular Component)
Acetabular Shell Porous/HA Ti
46mm to 66mm
$2,704.00
GM047
Contile Fin II
Acetabular Shell Porous HA Ti
44 to 72mm
$2,704.00
GM113
Global Modular Hip
Acetabular Shell Porous / Ti HA
48mm to 66mm
$2,704.00

Medacta Australia Pty Ltd
MU008
Versafitcup CC Press-fit Cup System
Versafitcup CC,Ti6A14V
48 to 64
$2,704.00
MU009
Versafitcup CC Press-fit Cup System
Versafitcup CC Light, Ti6A14V
48 to 64
$2,652.00

Orthotech Pty Ltd
OH295
JRI Total Hip System
CSF Plus Cup, Ceramic only
44mm - 70mm O/D
$2,704.00
$3,500.00
OH296
JRI Total Hip System
CSF Plus Cup, XPE only
44mm - 70mm O/D
$2,704.00
$3,500.00

Plus Orthopedics Australia Pty Ltd
PL142
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY SHELL TITANIUM VPS 
43-67MM
$2,691.00

SYSTEM
HA

Stryker Australia Pty Ltd
ST548
Trident acetabular component system 
Trident shell,  titanium - HA coated
40-74mm OD in 2mm increments
$2,704.00
ST554
Stryker Securfit HA Coated Shell
HA coated Acetabular Shell
40 - 80mm
$2,704.00
ST558
Osteonics secur-fir HA PSL acetabular shell
Secur fit  XTRA shell, titanium - HA coated  
48-80mm OD in 2mm increments
$2,704.00

peripheral screw holes
ST933
Trident Multi-Hole Acetabular Shell
Composition - Titanium (Ti-6AL-4V) with 
Shell sizes: 42 - 74mm OD
$2,704.00

Arc Deposit Surface and Pruefix HA Coating

Taylor Bryant Pty Ltd
TB068
Groupe Lepine Total Hip Replacement
MBA/Pavi  Acetabular Cup
46 - 64mm in 2 mm increments & 0 
$1,623.00

or 10 Degrees

suffix - F (Flange)

Plus Orthopedics Australia Pty Ltd
PL143
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY SHELL TITANIUM VPS 
43-67MM
$3,726.00

SYSTEM
HA WITH PEGS AND FLANGES

Group 19i - Shell, uncemented, Titanium, not HA

Zimmer Pty Ltd
ZI353
Allofit Cup
Allopro/Allofit Finned Cup - Titanium alloy
46 - 68mm
$2,397.00
$2,433.00
ZI385
CLS, CLW Prosthesis - Cups
Uncemented Cup for CLS & CLW - Ti alloy
46 to 62mm
$2,332.00
Prostheses List by Category, Groups and Sponsor
Page 355 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI396
Variall Screw Cup System
Titanium Shell - Ti alloy
46 to 62mm
$2,355.00

Group 19j - Shell, uncemented, Titanium, HA

Orthotech Pty Ltd
OH286
JRI Total Hip System
CSF Cup. Titanium Alloy Acetabular Shell 
44mm - 70mm
$2,796.00
$4,500.00

A.C. Supravite Coating

Plus Orthopedics Australia Pty Ltd
PL021
PLUS Hip Joint Prostheses System
EP FIT PLUS Ti/TiVPS/HA ACETABULAR 
40 - 68mm Dia
$2,796.00

SHELL

Group 19k - Shell, uncemented, Other, not HA

Biomet Australia Pty Ltd
BI928
Tripolar Acetabular Cup Series
Ringloc Series, UHMWPE, Chrome Cobalt
24-28mm
$3,346.00

ESKA Australia
EK041
Metal Shell Porous Screw Fixation BS
TiNiob Porous Spongiosa Metal Shell
46-68mm
$2,600.00
EK047
Metal Shell Cementless BS
TiNiob Coated / Spongiosa Metal Shell
46-68mm
$2,400.00

Johnson & Johnson Medical Pty Ltd
DP188
Thackray Hip System
Acetabular Cup Self centering cup
28mm size 39-65
$1,504.00

Stryker Australia Pty Ltd
SK428
Trident Tritanium Acetabular Shells
Acetabular Shell
46mm - 80mm
$3,345.00

Zimmer Pty Ltd
ZI325
Trabecular Metal Modular Acetabular 
Porous Tantalum Modular Shell
38-80mm diameter; Cluster, 
$3,346.00

System
Multiholed, No Holes

Group 19l - Shell, uncemented, Other, HA

ESKA Australia
EK038
Metal Shell Cementless BS
TiNiob Coated / HA / Spongiosa Metal Shell
46-68mm
$2,600.00
EK040
Metal Shell Cementless /HA Screw Fixation
TiNiob Coating HA/Spongiosa Metal Shell
46-68mm
$2,900.00

 BS

Global Orthopaedic Technology
GO129
FMP Acetabular System
Acetabular Shell Porous / Ti HA
48mm to 66mm
$2,704.00
Prostheses List by Category, Groups and Sponsor
Page 356 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medacta Australia Pty Ltd
MU022
Versafitcup Metal Back
Stainless steel (M30NW) and Ti plasma 
from diameter 46mm to 64mm in 
$3,100.00

coating (ASTM F 1580-01) and HA coating 
2mm increments

(ASTM F 1185-03). Used with fixed or dual 

mobility polyethene liners.

Stryker Australia Pty Ltd
SK429
Trident Tritanium Acetabular Shells
Acetabular Shell, PA Coating
46mm - 80mm
$3,500.00

Group 20a - Liner, unmodified polyethylene

Advanced Surgical Technologies
AD127
WMT  Acetabular Liners
Duramer UHMWPE Liner
Grp 0, Grp 1, Grp 2, Grp 3, Grp 4, 
$832.00

Grp 5, and Grp 6
AD263
Procotyl-E cup
polyethylene liner
Group 1 - 3 sizes 22 - 32
$884.00

B Braun Australia Pty Ltd
BB237
Plasmacup PE insert
Chirulen
44mm-68mm diameters, 22.2mm-
$832.00

32mm articulations

City Medical Devices Australia (trading as Energy Orthopaedics)
CD012
Atlas Acetabular Cup System
Titanium & HA
Atlas Poly Insert Std. Dia 28mm
$884.00

Endotec Australia Pty Ltd
EA004
Buechel-Pappas Ultracoat Total Hip 
Acetabular Bearing
45mm to 65mm
$832.00

Replacement System (Primary and Revision)

ESKA Australia
EK077
PE Insert Large Femoral Heads BS 38mm - 
UHMWPE Liner
38mm - 44mm - 48mm
$832.00

44mm - 48mm
EK082
PE Insert 32mm BS
UHMWPE Liner
32mm
$850.00

Finsbury Orthopaedics Australia Pty Ltd
FI022
Adept MoP Acetabular Component
Liner, unmodified polyethylene
$832.00

Global Manufacturing Technology Pty Ltd
GM016
Cer-Met II (Acetabular Component)
Acetabular cup Inserts UHMWPE
46mm to 66mm
$613.00
$936.00
GM048
Contile Fin II
Acetabular Cup Inserts UHMWPE
44 to 72mm
$613.00
$1,160.00
GM115
Global Modular Hip
Acetabular Cup Insert UHMWPE
48mm to 66mm
$613.00
$1,115.00

Global Orthopaedic Technology
GO131
FMP Acetabular System
Acetabular Cup Insert UHMWPE
48mm to 66mm
$613.00
$1,115.00
Prostheses List by Category, Groups and Sponsor
Page 357 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GO145
Keramos Acetabular System
Acetabular Cup Insert UHMWPE
48mm to 66mm
$613.00
$1,115.00

Johnson & Johnson Medical Pty Ltd
DP112
Duraloc Enduron Liner
Enduron Liner
28 or 32mm +4  size  48-66
$884.00
DP222
Thackray Hip System
Poly Liner Custom
Made to order
$1,248.00
DP552
Bantam Liners
Bantam  Enduron Polyethylene 
10 Degree 22.225 & 26 & 28mm  
$884.00

size 38-46
DP946
Octopus Cup System
Hooded Liner 
22.2, 28 and 32mm Size 55, 50
$695.00
DP947
Octopus Cup System
Reorientation Liner
22.2, 28 and 32mm Size 50-55mm
$697.00
DP968
SROM Total Hip System
UHMWPE or Polythene Liner
22 or 26 or 28 or 32mm size M28 - 
$613.00
$1,289.00

XL 46mm
DY032
Option Cup system 
Liner LPW  or STD
38-80 mm
$884.00
DY280
Pinnacle Acetabular Cup System
Pinnacle GVF +4 or Neutral or 10 Degree or 
38-80mm x 22.225 or 26 or 28 or 32 
$884.00

Lipped Liners
or 36mm
DY475
Duraloc Enduron Liner
Polythene Liner in Neutral or 10 or 20 Degree
22.225 or 26 or 28 or  32mm size 48-
$884.00

 or +4
74

Link Orthopaedics  Australia
LO014
Link McMinn Acetabular Reconstruction 
UHMWPE Insert for Metal Casing
45 - 55 mm
$756.00

Cup System
LO033
CFP Insert( TOP INSERT)
-
40 - 68mm
$613.00

Mathys Orthopaedics Pty Ltd
MA440
ExpanSys Cup
Cementless acetabular component for hip 
UHMW-PE inlay 44-72mm range
$884.00

arthroplasty titanium expandable cup with 

either p/e or m/m inlay

Medacta Australia Pty Ltd
MU010
Versafitcup CC Press-fit Cup System
Versafitcup CC PE Liner, flat UHMWPE
Head dia 28mm (48 to 64) or 32mm 
$820.00

(54 to 64)
MU011
Versafitcup CC Press-fit Cup System
Versafitcup CC PE Liner, hooded UHMWPE
Head dia 28mm (48 to 64) or 32mm 
$820.00

(54 to 64)
MU023
Versafitcup Fixed Liner
Fixed polyethylene UHMWPE Liner for 
For head diameter  22.2mm sizes 46
$853.00

Versafitcup Metal Back
 - 48mm ; for head diameter 28mm 

sizes 48 - 64mm

Orthotech Pty Ltd
OH096
Lima Total Hip Replacement System
Protruded UHMWPE Liner
A, B, C, D, E
$884.00
Prostheses List by Category, Groups and Sponsor
Page 358 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OH287
JRI Total Hip System
Standard and Hooded (10 degree offset) 
28mm, 32mm, 36mm
$613.00
$936.00

Insert OHMW Polyethylene

Plus Orthopedics Australia Pty Ltd
PL016
PLUS Hip Joint Prostheses System
BICON PLUS PE LINER FLAT AND HOODED
1 to 9
$862.00
PL023
PLUS Hip Joint Prostheses System
EP Fit PE Liner
40 - 68mm Dia
$875.00
PL064
PLUS Hip Joint Prostheses System
PE Insert
=<32mm
$884.00
PL114
PLUS Hip Joint Prosthesis System
MPF Cup - PE Inserts
46-64
$884.00

Portland Orthopaedics (Aust) Pty Ltd
PD018
Equator Plus Cup
UHMWPE encased in CoCr surround
28/46 - 48, 28/50, 28/52-54, 28/56-
$613.00

58, 28/60 - 68, 32/52-54, 32/56- 58, 

32/60-68, 36/56 - 58, 36/60- 68

Smith & Nephew Surgical Pty Ltd
SN289
Reflection
Acetabular Liner
22 - 36mm, 42 - 76mm
$832.00

Stryker Australia Pty Ltd
ST561
Strker Omnifit/SecurFit Acetabular Insert
Series I and II inserts
22 - 36mm ID for cups 40 - 80mm OD
$884.00

Zimmer Pty Ltd
ZI033
Acetabular Cup
Trilogy Oblique Liner - Polyethylene
38 - 62
$613.00
$897.00
ZI037
Acetabular Cup
Trilogy Liner - Titanium
38 - 80 in 22, 28, 32
$412.00
ZI367
Armour Cup
Armor Cup P/E Insert
22 to 32mm, FF to 66QU
$613.00
ZI388
Inserts for Cups
PE (CLS, CLW, Fitmore, Allofit)
22, 28, 32mm Size 46 to 62
$613.00
ZI389
Inserts for Cups - Metasul
Uncemented Cup Inserts for CLS, CLW, 
28mm
$2,354.00

Fitmore, Allofit, PE / CoCr - special Metasul 

alloy

Group 20b - Liner, modified polyethylene

Advanced Surgical Technologies
AD309
Lineage A-Class Crosslinked Polyethylene 
Standard and lateralized, 0deg and 15deg 
28, 32, 36ID
$1,115.00

Liner
lipped
AD333
Procotyl L A-class Crosslinked 
A-class crosslinked poly liners, standard 
28,32,36ID
$1,160.00

polyethylene liner,standard & lipped, large 
and lipped liners

head options
Prostheses List by Category, Groups and Sponsor
Page 359 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AD336
Dynasty Acetabular System /poly liner
A-class Crosslinked polyethylene liner, 
ID 22,28,32,36, 38,40,42,46
$1,160.00
$1,560.00

standard and lipped, large head options

Biomet Australia Pty Ltd
BI106
Mallory Head Hip System
Acetabular Liner, UHMWPE
22 - 36mm, Sizes 21 to 28
$1,144.00

Corin  Australia Pty Ltd
CR073
Alpha Lock, (UHMWPE) Inlays
UHMWPE
22-32mm
$822.00
CR075
PE Inserts for Alpha Cera Fit Cups 
(UHMWPE) Ultra High Molecular Weight 
22-28mm Diameter for cup sizes: 
$842.00

(UHMWPE)
Polyethylene
42-74mm

ESKA Australia
EK001
Metal Shell Type 2000/2000 Plus
PE Insert Type 2000 with Metal Cap TiAIV
$468.00
EK002
Metal Shell Type 2000/2000 Plus
PE Insert Type 2000 with Cap
$468.00
EK003
Metal Shell Type 2000/2000 Plus
PE Insert Type 2000 with Metal Cap 
$468.00

Assymetric 10 Degrees
EK004
Metal Shell Type 2000/2000 Plus
ESKA-CERAM Insert Type 2000 with Metal 
$1,100.00

Cap TiAIV
EK005
Metal Shell Type 2000/2000 Plus
ESKA-CERAM Insert Type 2000 with Metal 
$1,100.00

Cap 10 Deg
EK006
Metal Shell Type 2000/2000 Plus
ESKA-CERAM Insert Type 2000
$1,144.00
EK007
Metal Shell Type 2000/2000 Plus
ESKA-CERAM Insert Tupe 2000 Assymetric
$1,144.00

 10 degrees

Global Orthopaedic Technology
GO038
Consensus Hip System
Acetabular Cup Inserts UHMWPE 22mm to 
42mm to 68mm
$1,160.00

32mm

Johnson & Johnson Medical Pty Ltd
DY036
Duraloc Marathon Acetabular Liner
Marathon  Polyetholene Neutral or 10 
28 or 32 mm size 48 - 66
$1,160.00
DY210
Pinnacle Acetabular Cup System
Pinnacle Marathon Liner  + 4 or Neutral or 10
38 - 80 mm x 22.225 or 26 or 28 or 32
$1,160.00

 Degree or Lipped
 or 36mm

Mathys Orthopaedics Pty Ltd
MA419
seleXys PE Inlay
Modular, Keramed CHIRULEN UHMW-PE 
44mm-72mm
$1,160.00

insert to fit MACROFIT/TRISTABIL/

UNICAP acetabular cup systems
Prostheses List by Category, Groups and Sponsor
Page 360 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medacta Australia Pty Ltd
MU019
Versafitcup CC HC PE Liner, Flat
Highly Crosslinked Polyethylene Acetabular
Ball heads - diameter 28: 48 to 64; 
$1,160.00

 Liner, Flat
diameter 32: 54 to 64; diameter 36: 

58 to 64
MU020
Versafitcup CC HC PE Liner, Hooded
Highly Crosslinked Polyethylene Acetabular
Ball heads - diameter 28: 48 to 64; 
$1,160.00

 Liner, Hooded
diameter 32: 54 to 64

Orthotech Pty Ltd
OH298
JRI Total Hip System
CSF Plus Cup Liner for CSF Plus Cup XPE 
10 degree liners 28mm, 32mm, 
$1,160.00
$1,700.00

only
36mm

Plus Orthopedics Australia Pty Ltd
PL026
PLUS Hip Joint Prostheses System
EP Fit Rex Pol Liner
42 - 68mm Dia
$1,160.00
PL054
Plus Hip Joint Prosthesis System
HXLPE Insert
=<32mm
$1,160.00
PL055
Plus Hip Joint Prosthesis System
HXLPE Insert
>32mm
$1,160.00
PL062
PLUS Hip Joint Prostheses System
HXLPE
=<32mm
$1,160.00
PL063
PLUS Hip Joint Prostheses System
HXLPE
>32mm
$1,160.00
PL080
Plus Hip Joint Prostheses System
HXLPE Liner
>32mm
$1,160.00
PL112
PLUS Hip Joint Prosthesis System
MPF Cup - HXLPE Inserts
<=32mm
$1,160.00
PL113
PLUS Hip Joint Prosthesis System
MPF Cup - HXLPE Inserts
>32mm
$1,160.00

Smith & Nephew Surgical Pty Ltd
SN291
Reflection
Acetabular Liner XLPE
22 - 36mm, 42 - 76mm
$1,115.00

Stryker Australia Pty Ltd
HW072
Vitalock Acetabular System
System 12 liner -  Enhanced Polyethylene -  
22mm,26mm,28mm, 32mm ID
$1,160.00

For use with Vitalock Cups
SK318
SXL Trident Acetabular Inserts
Sequentially cross linked polyethylene
Inner diameters: 22mm, 26mm, 
$1,560.00

28mm 32mm, 36mm, 38 - 64mm.  For

 outer diameter shells 40mm - 80mm.
SK453
X3 Polyethylene Inserts
SXL Trident Acetabular Inserts
>36mm
$1,560.00
ST546
Stryker Acetabular Insert
Enhanced polyethylene Revision insert
22 -36mm  ID
$1,160.00
ST549
Trident acetabular component system
Trident polyethlene liner, enhanced 
22, 26, 28, 32mm dia
$1,160.00

polyethlene
ST931
Stryker Acetabular Insert
Enhanced Polyethylene insert
22 - 36mm ID
$1,160.00
Prostheses List by Category, Groups and Sponsor
Page 361 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Taylor Bryant Pty Ltd
TB174
GL - U Hooded Liner
Hooded/Flat Insert
46, 48, 50, 52, 54, 56, 58, 60, 62, 64mm
$613.00
Also grouped in Hip Group 20e

Zimmer Pty Ltd
ZI045
Acetabular Cup
Longevity XLPE Polyethylene Liner 7mm 
46 - 70
$1,160.00

Offset
ZI046
Acetabular Cup
Longevity XLPE Polyethylene Liner 20 
38 - 80
$1,160.00

Degree
ZI047
Acetabular Cup
Longevity XLPE Polyethylene Liner 10 
38 - 80
$1,160.00

Degree
ZI048
Acetabular Cup
Longevity XLPE Polyethylene Liner 0 
38 - 80
$1,160.00

Degree 
ZI315
Trilogy Acetabular System - Longevity 
Highly crosslinked ultrahigh molecular 
22 + 28 + 32 Head Diameters; 38 - 
$1,160.00

Eccentric
weight polyethylene
80mm Outer Diameters
ZI317
Trilogy Acetabular System - Longevity 
Highly crosslinked ultrahigh molecular 
22 + 28 + 32 Head Diameters; 38 - 
$1,160.00

Oblique
weight polyethylene
80mm Outer Diameters
ZI357
Alpha Durasul Insert
Durasul Acetabular Cup Inserts  - Special 
22mm x 42 to 28mm x 68
$1,160.00

UHMWPE
ZI360
Converge
Durasul Insert - Special UHMWPE
22/39 to 38/81mm 
$1,160.00
ZI393
Variall Screw Cup System
Durasul Insert - special UHMWPE
II28 to NN28mm
$1,160.00
ZI491
Trabecular Metal Acetabular Revision 
Highly cross-linked (Longevity) PE Liners 
28mm x 48mm-80mm - 0deg & 
$1,144.00

System Liner
(various)
10deg; 32mm x 54-80mm - 0deg & 

10 deg; 36mm x 58mm-80mm - 0deg 

& 10deg; 40mm x 62-80mm - 0deg 

& 10 deg

Group 20c - Liner, ceramic

Advanced Surgical Technologies
AD116
Transcend/ Lineage Articulation System
Ceramic Liner
28mm & 32mm Group 1,2,3 & 4
$1,926.00
AD261
Procotyl-E cup ceramic inserts
acetabular cup
Group 1 - 3, Size 28 and 32
$2,496.00
AD332
Procotyl L Delta Ceramic Liner
Delta ceramic liners
28, 32, 36ID
$2,550.00

B Braun Australia Pty Ltd
BB235
Plasmacup Ceramic Insert
Biolox
26mm, 28mm, 32mm, 36mm
$2,496.00
Prostheses List by Category, Groups and Sponsor
Page 362 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI073
Modular Ceramic System
Acetabular Ceramic/ Polyethylene Liner, 
28mm, 32mm, -6 to +12mm
$2,496.00

UHMWPE

City Medical Devices Australia (trading as Energy Orthopaedics)
CD038
Atlas Acetabular Cup System
Titanium & HA
Atlas Alumina Insert Dia 28mmort
$2,496.00

Corin  Australia Pty Ltd
CR063
Ceramic Insert for Alpha Cera Fit Cup
Biolox Forte
28-36mm
$2,496.00
CR120
Horizon Ceramic Liner
Biolox ceramic liner for acetabular component
9 sizes for 28, 32 and 36mm heads
$2,558.00

ESKA Australia
EK065
Insert Eska Ceram BS
Ceramic on ceramic bearing insert
48-66mm
$2,500.00

Finsbury Orthopaedics Australia Pty Ltd
FI023
Adept CoC Acetabular component
Liner
$2,080.00

Global Manufacturing Technology Pty Ltd
GM024
Cer-Met Series II (Acetabular Component)
Acetabular cup Inserts Ceramic
46mm to 66mm
$2,558.00
GM049
Contile Fin II
Acetabular Cup Inserts Biolox Ceramic
44 to 72mm
$2,558.00
GM114
Global Modular Hip
Acetabular Cup Insert Ceramic
48mm to 66mm
$2,500.00

Global Orthopaedic Technology
GO039
Consensus Hip System
Acetabular Cup Inserts Ceramic 28mm to 
42mm to 68mm
$2,325.00
$2,600.00

32mm
GO144
Keramos Acetabular System
Acetabular Cup Insert Ceramic
48mm to 66mm
$2,500.00

Johnson & Johnson Medical Pty Ltd
DY034
Option Cup system Liner 
Option Ceramic 
46-66 mm
$2,558.00
DY211
Pinnacle Acetabular Cup System
Pinnacle Acetabular Cup System
48 - 80 mm  OD 22.225 or 28 or 32, 
$2,558.00

36, 40, 44

Mathys Orthopaedics Pty Ltd
MA421
seleXys Ceramic Inlay
Modular, Keramed BIONIT ceramic insert to 
44-72mm
$2,558.00

fit MACROFIT/TRISTABEL/UNICAP 

acetubular cup systems
MA486
ceramys™ - seleXys™ inlays ceramys™ 80
seleXys™ inlays ceramys™ 80
28/AA, 28/BB, 28/CC, 28/DD, 
$2,558.00
$3,325.00

32/CC, 32DD, 32/EE, 32/FF,36/EE, 

36/FF, 36/GG, 386HH,36/II, 36/JJ, 

36/KK, /36/LL
Prostheses List by Category, Groups and Sponsor
Page 363 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medacta Australia Pty Ltd
MU012
Versafitcup CC Press-fit Cup System
Versafitcup CC PE Biolox Forte Liner, A1203
Head dia 28mm (48 to 64) or 32mm 
$2,500.00

(52 to 64) or 36mm (54 to 64)
MU013
Versafitcup CC Press-fit Cup System
Versafitcup CC PE Biolox Delta Liner, A1203-
32mm (48 to 50) or 36mm (54 to 64)
$2,533.00

Zr02

Orthotech Pty Ltd
OH095
Lima Total Hip Replacement System
Ceramic Liner
A, B, C, D, E
$2,496.00
OH288
JRI Total Hip System
Ceramic Inserts, Alumina oxide
28mm
$2,325.00
$2,600.00
OH297
JRI Total Hip System
CSF Plus Cup Liner, Forte and Delta Liner 
28mm, 32mm, 36mm
$2,325.00
$2,800.00

for ceramic use only

Plus Orthopedics Australia Pty Ltd
PL018
PLUS Hip Joint Prostheses System
Bicon-PLUS / Ceramic Liner
3 to 9
$2,533.00
PL024
PLUS Hip Joint Prostheses System
EP Fit Ceramic Liner
48 - 68mm Dia
$2,533.00
PL060
PLUS Hip Joint Prostheses System
Ceramic Insert
<32mm
$2,533.00
PL061
PLUS Hip Joint Prostheses System
Ceramic Insert
>32mm
$2,558.00
PL081
Plus Hip Joint Prostheses System
Ceramic Insert
>32mm
$2,558.00
PL100
PLUS Hip Joint Prosthesis System
MPF Cup - Cermaic Insert
>32mm
$2,558.00
PL108
PLUS Hip Joint Prosthesis System
MPF Cup - Ceramic Insert
<32mm
$2,533.00
PL156
Plus Hip Joint System
Ceramic Delta Acetabular Liners
44mm-72mm *28mm - 44mm
$2,558.00

Portland Orthopaedics (Aust) Pty Ltd
PD019
Equator Plus Cup
Ceramic surrounded in CoCr taper ring
28/37/46-48, 28/39/50, 28/41/52-54, 
$2,500.00

28/44/56-58, 28/48/60-68, 32/39/50, 

32/41/52-54, 32/44/56-58, 32/48/60-

68, 36/44/56-58, 36/48/60-68.

Smith & Nephew Surgical Pty Ltd
SN297
Reflection 
Acetabular Liner Ceramic, AlO3
28 - 36mm, 46 - 66mm OD
$2,325.00

Stryker Australia Pty Ltd
SK010
ABGII Cup with Hydroxyapatite
ABGII Cup with Hydroxyapatite Ceramic 
Sizing: 28, 32 & 36mm ID, for cup 
$2,558.00

Insert
sizes 42 to 66mm OD.
ST565
Alumina acetabular inserts
Ceramic insert, alumina
28, 32 & 36mm dia
$2,558.00
Prostheses List by Category, Groups and Sponsor
Page 364 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Taylor Bryant Pty Ltd
TB177
GL - Alumina U Liner
Ceramic Insert
46-64mm (increment by 2mm)
$2,326.00

Zimmer Pty Ltd
ZI044
Acetabular Cup
Trilogy AB Ceramic Liner - Titanium
48 - 70
$2,533.00
ZI354
Alpha Cerasul Insert
Cerasul Acetabular Cups Inserts - Ceramic / 
52 to 70mm 
$2,533.00

PE
ZI394
Variall Screw Cup System
Cerasul Insert - Ceramic
II28 to NN28mm
$2,533.00

Group 20d - Liner, metal

Advanced Surgical Technologies
AD289
Transcend/Lineage Articulation System
Metal CoCr Liner
Grp 1, Grp 2, Grp 3, Grp 4  28, 32 & 
$1,926.00

36mm
AD331
Procotyl L metal liner, large head options
CoCr superfinished Metal liners
28,32,36ID
$2,288.00
AD335
Dynasty Acetabular System / metal liner, 
Dynasty Metal liner
ID 28,32,36,38,40,42,44,48
$2,288.00
$2,354.00

large head options

Biomet Australia Pty Ltd
BI841
Resurfacing Hip System
Acetabular Shell CoCr, Ti
44 - 66mm
$5,084.00

Corin  Australia Pty Ltd
CR062
Metal Insert for Alpha Cera Fit Cup
Endocast SL
28mm Inner Diameter for 48-74mm 
$1,560.00

Cups

ESKA Australia
EK037
Metal Insert Silver BS
Metal on metal resurfacing bearing insert
46-68mm
$2,100.00
EK042
Metal Insert Silver BS
Metal on metal bearing insert
46-66mm
$2,100.00

Global Manufacturing Technology Pty Ltd
GM119
Global Modular Hip - Acetabular Insert, 
Acetabular Insert, Metal
(Int Diameter 28 mm)-Size(mm) 44-
$2,000.00

Metal
46, 48-50; (Int Diameter 32 mm)-

Size(mm) 48-50, 52-54, 56-58, 60-62;

 (Int Diameter 36mm)-Size(mm) 52-

55,56-58,60-62.

Global Orthopaedic Technology
GO130
FMP Acetabular System
Acetabular Cup Insert Metal on Metal
48mm to 66mm
$2,000.00
Prostheses List by Category, Groups and Sponsor
Page 365 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DY021
Ultima Total Hip System
Ultima Metal on metal, Titanium 
Size Std 28mm 0D and Avg 28mm 
$2,288.00

10D

Mathys Orthopaedics Pty Ltd
MA441
ExpanSys Cup Metal Liner
Acetabular metal liner component for 
Metal on metal inlay 28mm i.d. 44 - 
$2,288.00

Cementless hip arthroplasty titanium 
70mm o.d., 32mm i.d. 52 - 56mm 

expandable cup
o.d., 36mm i.d. 58 - 70mm o.d.
MA464
seleXys Metal on Metal Inlay
Modular, Keramed, Metal on Metal liner, to 
12 sizes in 28mm internal diameter 
$2,288.00

fit seleXys Acetabular Cup systems
to accept 28mm MOM femoral 

head (Size 42-72 in 2mm 

increments) 2 sizes in 32mm 

internal diameter to accept 32mm 

MOM femoral head (size 50 and 

52mm increments) 9 sizes in 36mm 

internal diameter to accept 36mm 

MOM femoral head (size 54 - 70 in 

2mm increments)

Orthotech Pty Ltd
OH110
Lima Total Hip Replacement System
Lateralising Spacer
B, C, D, E
$1,560.00
OH229
Lima Metal Liner
Metal Liner
28mm, 32mm and 36mm
$2,000.00

Plus Orthopedics Australia Pty Ltd
PL019
PLUS Hip Joint Prostheses System
Bicon-PLUS Met Liner
1 to 9
$1,975.00
PL025
PLUS Hip Joint Prostheses System
EP Fit PLUS Met Liner
48 - 68mm Dia
$1,975.00
PL065
PLUS Hip Joint Prostheses System
Metal Insert
=<32mm
$1,975.00
PL090
PLUS Hip Joint Prostheses System
Metal Insert
>32mm
$2,288.00
PL110
PLUS Hip Joint Prosthesis System
MPF Cup - Metal Insert
<=32mm
$1,975.00
PL111
PLUS Hip Joint Prosthesis System
MPF Cup - Metal Insert
>32mm
$2,288.00

Smith & Nephew Surgical Pty Ltd
SN845
Reflection
CoCr Acetabular Insert
52 - 60mm
$2,354.00

Group 20e - Liner, constrained

Biomet Australia Pty Ltd
BI092
Mallory Head Hip System
Acetabular Liner,  Constrained, Ringloc, 
28-38mm
$1,836.00

UHMWPE
Prostheses List by Category, Groups and Sponsor
Page 366 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI878
Freedom Constrained Liner
Constrained Acetabular Liner - UHMWPE, Ti
23 to 62
$1,836.00

Corin  Australia Pty Ltd
CR088
Alphalock Constrained Liner
UHMWPE
48 to 70mm outer diameter in 2mm 
$1,030.00

increments

Johnson & Johnson Medical Pty Ltd
DP969
SROM Total Hip System
UHMWPE Constrained 
0Deg, 10 Deg, 28mm, 32mm,
$1,481.00

Medacta Australia Pty Ltd
MU024
Versafitcup Dual Mobility Liner
Polyethylene (UHMWPE) Dual Mobility 
For head diameter 22mm sizes 46 - 
$1,481.00
$1,700.00

Liner for Versafitcup Metal Back.
64mm. For had diameter 28mm 

sizes 48 - 64mm.

Plus Orthopedics Australia Pty Ltd
PL042
PLUS Hip Joint Prosthesis System
constrained liner
1 - 9, 28mm, 32mm
$1,481.00
$1,700.00
PL043
PLUS Hip Joint Prosthesis System
BOFOR ACETABULAR 
48 -70mm
$1,481.00
$1,919.00

RECONSTRUCTION SYSTEM TITANIUM 

BACKED PE LINER STANDARD & 

ECCENTRIC HOODED & FLAT
PL147
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY CONSTRAINED LINER 
22.2-28MM BY 43-67MM
$1,481.00
$1,780.00

SYSTEM
FOR POLAR CUP
PL148
POLAR CUP ACETABULAR CUP 
DUAL MOBILITY CONSTRAINED LINER 
22.2-28MM BY 43-67MM
$1,481.00
$2,188.00

SYSTEM
FOR POLAR CUP - MODIFIED 

POLYETHYLENE

Smith & Nephew Surgical Pty Ltd
SN689
Reflection
Constrained Acetabular Liner - UHMWPE
22 - 32mm, 42 - 76mm
$1,636.00
$2,144.00
SN701
Reflection
Constrained acetabular liner - adaptor ring
42 - 76mm
$200.00

Stryker Australia Pty Ltd
SR067
Anatomic X3 Liners
Anatomic X3 Liner with Capture
36mm, 40mm, 44mm, 48mm and 52mm
$1,836.00
ST539
Constrained acetabular insert 
Polyethylene & cobalt chrome  
22, 26, 28, 32mm dia
$3,016.00

Zimmer Pty Ltd
ZI030
Acetabular Cup
Trilogy Constrained Liner - Polyethylene
50 - 80
$1,481.00
ZI318
Trilogy Acetabular System - Longevity 
Highly crosslinked ultrahigh molecular 
22 + 28 + 32 Head Diameters; 38 - 
$1,761.00
$2,131.00

Constrained
weight polyethylene
80mm Outer Diameters
Prostheses List by Category, Groups and Sponsor
Page 367 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

CR

Johnson & Johnson Medical Pty Ltd
DP014
Duraloc Constrained Liner
Constrained liner with titanium alloy ring
28mm or 32mm,  48 - 74mm
$1,836.00

Stryker Australia Pty Ltd
ST932
Stryker Trident Constrained Acetabular 
Two pre assembled components: Outer 
Sizing 22 - 32mm in 0 degrees & 10 
$3,016.00

Insert
insert component and a captured UHR 
degrees

(Universal Head) component.  Composition -

 Cobalt chrome alloy and UHMWPE (ultra 

high molecular weight polyethylene) with a 

Titanium 6A1-4V ELI alloy retaining ring

Group 21 - Bonded shell/liner 

Mathys Orthopaedics Pty Ltd
MA023
RM cup with MOM
Chrome, cobalt lining
Dia 46mm - 64mm
$3,588.00
MA031
RM Cementless Cup
Monomesh/Ceros 80/Titanium
46mm - 68mm
$2,368.00
MA472
RM Pressfit Cup
RM Pressfit PE
10 Sizes for 28mm articulation (Size
$2,368.00

Cementless bonded shell/liner press-fit cup 
 46mm to 64mm in 2mm increment)

made from UHW-PE with titanium-powder 


coating with PE articulation
7 sizes for 32mm articulation (size 

52mm to 64mm in 2mm increment)
MA473
RM Pressfit Cup
RM Pressfit MoM
10 Sizes for 28mm MoM 
$3,588.00

Cementless bonded shell/liner press-fit cup 
articulation (Size 46mm to 64mm in 

made from UHMW-PE with titanium-powder 
2mm increment)

coating with Metal articulating surface for 
3 sizes for 32mm MoM articulation 

Metal on Metal Articulation
(size 52mm to 56mm in 2mm 

increment) 5 sizes for 36mm MoM 

Articulation (size 56mmto 64mmin 

2mm increment)

Zimmer Pty Ltd
ZI339
Press Fit - Uncemented Metasal Cup
Protek, Metal alloy/PE
48 - 64mm
$4,680.00
ZI387
Press Fit - Uncemented Cup
Uncemented Press fit Cup - PE / Ti alloy
22/40 to 32/64mm
$2,355.00

Group 22b - Uncemented metal on metal, not resurfacing

Biomet Australia Pty Ltd
BI055
Biomet Alternate Bearing Surface
Metal on Metal Acetabular Shell, Titanium
46 - 70mm
$2,207.00
Prostheses List by Category, Groups and Sponsor
Page 368 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI057
Biomet Alternate Bearing Surface
Metal Acetabular Insert, Chrome Cobalt
Standard
$1,465.00
BI783
M2a Modular Head Component & Special 
Metal on Metal Acetabular, Chrome Cobalt, 
48-70 mm
$5,588.00

Acetabular Cup
Ti

Johnson & Johnson Medical Pty Ltd
DY022
Ultima Total Hip System
Ultima Metal on metal shell with 3 hole   
Size 48-68
$2,354.00

Titanium

Group 23 - Ceramic

Orthotech Pty Ltd
OH104
Lima Total Hip Replacement System
Mueller Ceramic and UHMWPE Cup 
44 - 62mm
$1,900.00

(Cemented)

Group 24a - Resurfacing, metal, not HA

Advanced Surgical Technologies
AD313
Conserve Total SUPERFIX Shell
Porous coated, super finished, revision 
50mm - 72mm OD
$5,084.00
$6,300.00

resurfacing cup with fins and screws

Zimmer Pty Ltd
ZI467
Durom
Resurfacing System - Special Acetabular 
A - V
$5,084.00
$6,189.00

Cup, Metasul/Ti alloy

Group 24b - Resurfacing, metal, HA

Advanced Surgical Technologies
AD213
CONSERVE PLUS Total Hip Resurfacing 
Titanium Acetabular Shell - Super Polished
ID 36 - 54mm, OD 46 - 64mm
$5,084.00

System
AD229
Conserve Plus Total Hip Resurfacing System
Titanium Thin Acetabular Shell - Super 
36 - 54mm ID in 2mm Increments
$5,084.00

Polished

Biomet Australia Pty Ltd
BI842
Resurfacing Hip System
Acetabular Shell CoCr, Ti, HA Coated
44 - 66mm
$5,084.00

Corin  Australia Pty Ltd
CR048
Cormet Resurfacing Cup
Cobalt Chrome TiAlloy and HAP Bicoat
Dia 40 -56mm
$5,084.00
CR087
Cormet Dysplasia Cup
High Carbon Cobalt Chrome
48, 52, 56, 60, 64mm
$7,000.00
Prostheses List by Category, Groups and Sponsor
Page 369 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Finsbury Orthopaedics Australia Pty Ltd
FI013
Adept MoM Acetabular Component
Porocast Acetabular Shell , Co Chr, HA 
44-66mm Outer diameter going up 
$5,084.00
$5,200.00

coated size 44-66mm
in 2mm increments

Global Orthopaedic Technology
GO048
ICON Hip System
Acetabular Cup Porous Coated CoCr
44-66mm cups
$5,084.00

Johnson & Johnson Medical Pty Ltd
DY328
ASR Hip System
Acetabular Cup
38.5-64.5mm
$5,084.00
JJ605
ASR Tri-Spike Cup
Dysplasia Cup, porous coated, CoCr, HA, 
44 - 70mm
$7,280.00

with spike

Smith & Nephew Surgical Pty Ltd
SN742
Birmingham Hip Resurfacing Prostheses - 
Porous Coated
44 - 66 mm cups
$5,084.00

Acetabular Cup

Stryker Australia Pty Ltd
SR044
Mitch Hip System
Resurfacing Cup
44mm - 66mm
$6,000.00

 sufffix F - (Flange)

Advanced Surgical Technologies
AD321
Quadra-Fix Acetabular Shell
Dysplasia Cup, Porous Coated, HA
O.D. 44mm - 66mm
$7,000.00

Flange Suffix

Global Orthopaedic Technology
GO050
ICON Hip System
Dysplasia Cup Porous Coated with Screws 
46-66mm
$7,280.00

CoCr

Smith & Nephew Surgical Pty Ltd
SN744
Birmingham Hip Resurfacing Dysplasia 
Acetabular Cup Porous Coated with screw 
Dysplasia Cups:  46 - 66 mm cups
$7,280.00

fixation

suffix - F (Flange)

Finsbury Orthopaedics Australia Pty Ltd
FI014
Adept MoM Acetabular Component - 
Porocast Acetabular Shell , Co Chr, HA 
46-66mm Outer diameter going up 
$6,760.00

Extra Fixation Cup
coated
in 4mm increments

Group 24c - Resurfacing, ceramic

ESKA Australia
EK056
Insert Eska Ceram BS
Ceramic on ceramic resurfacing bearing insert
38-58mm
$2,600.00
Prostheses List by Category, Groups and Sponsor
Page 370 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 24d - Resurfacing, other

Endotec Australia Pty Ltd
EA003
Buechel-Pappas Ultracoat Total Hip 
Acetabular Cup-Ceramic coated titanium
45mm to 69mm
$2,600.00

Replacement System (Primary and Revision)
Hip D - Acetabular Reconstruction Devices

Group 25 - Acetabular Reconstruction Shells

Advanced Surgical Technologies
AD262
Procotyl-E cup
acetabular cup titanium alloy
52mm - 76mm, in 2mm increments
$5,096.00

B Braun Australia Pty Ltd
BB247
Reconstruction Shell
Isotan
52-64mm, left and right
$2,912.00

Biomet Australia Pty Ltd
BI142
Mars Acetabular System
Acetabular Shell, Titanium 
Sizes 48 to 60mm
$2,912.00
BI700
Par 5 Protrusio Acetabular System
Obturator Hook or Blade or Flange, Ti
Short, Medium or Long
$1,426.00
BI704
Par 5 Protrusio Acetabular System
Acetabular Shells - Titanium Metal
56 - 72mm
$6,380.00
BI836
Par 5 Protrusio Acetabular System
Acetabular Shell CrCo, Ti, Ha Coated
56 - 72mm
$6,760.00
BI914
Batcup
Revision Acetabular Cup including locking 
21 to 24mm
$4,680.00

ring and lugs

ESKA Australia
EK027
Cranial Shell type 2000
Acetabular Shell for revision. Screw fixation 
52mm - 72mm Left and Right
$3,877.00

- short flap, flap, anatomical flap
EK070
Metal Shell Dysplasia Porous Screw 
TiNiob Coating HA/Metal Shell with flange
46-66mm
$4,900.00

Fixation BS

Global Scientific Pty Ltd
GS219
Polar Hip System
Acetabular Reconstruction Shell
49-71mm
$5,000.00

Johnson & Johnson Medical Pty Ltd
DP945
Octopus Cup System
Cup 
Size 50, 55mm
$1,426.00
DY169
Ultima Acetabular Ring
Ultima Acetabular Ring
40 - 62mm
$1,301.00

Link Orthopaedics  Australia
LO013
Link McMinn Acetabular Reconstruction 
Metal casing
45 - 55 mm
$3,744.00

Cup System
Prostheses List by Category, Groups and Sponsor
Page 371 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH109
Lima Total Hip Replacement System
SPH Revision Cup
50 - 66mm
$5,096.00
OH112
Lima Total Hip Replacement System
Titanium Revision Bilobo Cup
50 - 58mm
$5,720.00

Plus Orthopedics Australia Pty Ltd
PL039
PLUS Hip Joint Prostheses System
BOFOR REVISION SHELL WITH 
48mm X + 5mm - 70mm X +12mm
$4,170.00

Ti/TiVPS/HA + 6 amd + 12 and + 5 and + 10

Smith & Nephew Surgical Pty Ltd
SN265
Contour
Acetabular Roof Reinforcement Shell
44 - 74mm OD
$1,426.00

Stryker Australia Pty Ltd
HW064
Petrusion Shell
Kerboull -  Vitallium
44, 48, 52, 56, 60mm OD
$1,153.00
ST547
Restoration acetabular gap ring 
Titanium 
48-72mm OD in 2mm increments
$3,432.00
ST557
Restoration gap II acetabular shell
GAP CUP II  titanium anatomic (left & right)
48-72mm OD in 2mm increments 
$3,952.00

Taylor Bryant Pty Ltd
TB175
B2C Espace Acetabular Cup
Acetabular component for revision hip system
Espace Shell 0 degrees peak - diam
$6,240.00

 50mm, 54mm, 58mm, 62mm with 

plastic insert, Espace Shell 20 

degrees peak - diam 50mm, 54mm, 

58mm, 62mm with plastic insert,  

Espace Shell 8mm extension - diam 

50mm, 54mm, 58mm, 62mm with 

plastic insert, Espace Shell 14mm 

extension - diam 50mm, 54mm, 

58mm, 62mm with plastic insert, 

Espace Shell 20mm extension - 

diam 50mm, 54mm, 58mm, 62mm 

with plastic insert,

Zimmer Pty Ltd
ZI249
Trabecular Metal Primary
Acetabular cups - elliptical Primary
22 and 28mm diameter
$3,120.00
$3,166.00
ZI371
Lor Acetabular Cup 
Oblong Revision Shell, cementless - Ti alloy
52/58 to 72/84
$3,952.00
ZI372
Lor Acetabular Cup 
P/E Insert
28, 32
$1,226.00

Group 26 - Acetabular Reconstruction Cages

Advanced Surgical Technologies
AD264
Procotyl-E T Plate
titanium alloy
One size only for left and right
$1,040.00
Prostheses List by Category, Groups and Sponsor
Page 372 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AD266
Procotyl-E double plate
titanium alloy
4, 5 and 6 holes left and right sides
$1,040.00
AD267
Procotyl-E hooks
titanium alloy
18mm, 23mm, 28mm
$811.00
AD268
Procotyl-E L Plates
titanium alloy
One size only for left and right
$1,040.00

Biomet Australia Pty Ltd
BI872
MAX-Ti Modular Protrusio Cage
Modular Protrusion Cage, Ti
Protrusio Cage 52, 56, 60, 64, 68, 
$6,961.00

72mm Left & Right
BI874
MAX-Ti Modular Protrusio Cage
Modular Protrusion Cage, Ti
Iliac Flange Augment 6mm Flat & 
$889.00

Wedge

Johnson & Johnson Medical Pty Ltd
DP948
Octopus Cup System
Ring Right and Left 
Size 50-55mm
$889.00
DP949
Octopus Cup System
Ring Long left and right 
Size 50-55mm
$889.00
DY064
Protrusio Cage
Left and right Cobalt Chrome/Titanium
Size 52OD X 49ID,  56OD X 53ID,  
$889.00

60OD X 57ID

Mathys Orthopaedics Pty Ltd
MA024
CCE Ring
CCE roof reinforcement ring -
Dia 46 - 58mm
$1,040.00

Orthotech Pty Ltd
OH108
Lima Total Hip Replacement System
Acetabular Revision Plate
50, 54, 58, 62, 64mm
$2,288.00
OH291
JRI Total Hip System
Acetabular Support Ring, Titanium
44mm, 47mm, 50mm, 54mm
$889.00
$1,700.00

Plus Orthopedics Australia Pty Ltd
PL126
Reko Reconstruction Cage
Reconstruction Cage
44-52 Lt & Rt
$1,066.00
PL151
Polar Cup Acetabular Cup System
Acetabular Reconstruction Cage
43 - 78
$1,066.00

Stryker Australia Pty Ltd
HW044
Exeter Hip System
X-Change Revision Mesh - Stainless Steel
Acetabular, Femoral and Flat 
$889.00
HW045
Exeter Hip System
X-Change Revision Mesh -Rim -  Stainless 
Small
$886.00

Steel

Zimmer Pty Ltd
ZI001
Zimmer Acetabular Cup
Roof ring
46 - 60mm
$1,040.00
ZI002
Zimmer Acetabular Cup
Acetabular Cage - Left, right
52, 58, 64mm OD
$1,040.00
ZI390
Acetabular Reinforcement
Roof Ring - Ti alloy
44 to 58mm
$1,040.00
ZI391
Acetabular Reinforcement
Roof Ring with Hook - Ti alloy
36/23 to 64/23mm
$1,040.00
ZI392
Acetabular Reinforcement
Protrusio Cage - Ti alloy
44 to 50mm (left and right)
$1,040.00
Prostheses List by Category, Groups and Sponsor
Page 373 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI540
Trabecular metal acetabular revision 
Modular cup-cage titanium alloy
56-80 Long & short flanged left & 
$6,830.00

system modular cup-cage
right

Group 27 - Acetabular Reconstruction Saddles

Global Manufacturing Technology Pty Ltd
GM051
Contile Fin II
Revision Ring Ti
52 to 72mm
$1,924.00
Hip E - Special Needs Group

Group 28 - Special Purpose Group

Biomet Australia Pty Ltd
BI889
Orthopaedic Salvage System
Proximal Femoral Component, Letson or 
7cm Left or Right
$6,552.00

Finn, Anatomic, Ti

Johnson & Johnson Medical Pty Ltd
DP975
SROM Total Hip System (Titanium)
Obolong Ace both left and right  
28mm & 32mm size 51+E15N - 
$8,840.00

66+E15N

Smith & Nephew Surgical Pty Ltd
SN693
Hip Component
Femoral or acetabular
Size 0 - 20
$6,396.00

Group 29 - Special Purpose Tumour Products

ESKA Australia
EK016
ESKA Tumor Revision System MML
Proximal femoral implant
various sizes
$11,225.00

Link Orthopaedics  Australia
LO009
LINK Endo - model Saddle Prosthesis
Saddle Component
One size only
$4,976.00
LO010
LINK Endo - Model Saddle Prosthesis
Saddle Base Component
Sizes 1-7
$3,909.00
LO011
LINK Endo - Model Saddle Prosthesis
Saddle Set Screw for Base Component
One size only
$205.00
LO012
LINK Endo - Model Saddle Prosthesis
Stem
170mm / Sizes 01-5
$2,250.00
LO028
LINK Partial Pelvis Replacement
Partial Pelvis Replacement (left/right)
48-67mm
$3,848.00
LO029
LINK Partial Pelvis Replacement
Partial Pelvis Replacement (left/right) with 
48-67mm
$4,056.00

additional Caudal Flange
LO030
LINK Partial Pelvis Replacement
Hook for Obturator Foramen Width 
6-12mm
$678.00
LO031
LINK Endo-Model Partial Pelvis 
Fixation Screws, for Obturator Foramen, 
20mm - 35mm; four (4) sizes
$193.00

Replacement
including screw lock
Prostheses List by Category, Groups and Sponsor
Page 374 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH091
Lima RPS Femoral System
Cemented Revision Stem
280, 330, 380mm
$7,176.00
OH092
Lima RPS Femoral System
Modular Spacer
20 - 144mm
$3,640.00
Hip F - Accessory

Advanced Surgical Technologies
AD265
Procotyl-E screws
titanium alloy
Diameter 5.5mm, Length 15 - 60mm
$395.00

Biomet Australia Pty Ltd
BI876
Endo II Head
Modular Head Taper Insert - CoCr
-6mm to +6mm
$260.00
$520.00
Taper insert for BI875
BI953
Stage One Hip Mold
Spacer mold, stainless steel, silicon.
9 - 17mm x 43 - 64 Head
$1,500.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD013
Atlas Acetabular Cup System
Titanium & HA
Atlas Screw Dia 6.5mm 15-50mm L
$312.00
CD014
Coriolis
CrCo - Fixation screws, Support Ring
Fixation Screws - Dia 
$2,288.00

6.5mm/Length 15-50mm

Global Manufacturing Technology Pty Ltd
GM116
Global Modular Hip
Cancellous Bone Screws Ti
20mm to 50mm
$200.00

Global Orthopaedic Technology
GO133
FMP Acetabular System
Cancellous Bone Screws Ti
25mm to 50mm
$200.00
GO147
Keramos Acetabular System
Cancellous Bone Screws Ti
25mm to 50mm
$200.00

Johnson & Johnson Medical Pty Ltd
DP223
Thackray Hip System
Acetabular Mesh Ortron 90
One size only
$144.00
DP944
Octopus Cup System
Screw 
6.5mm Diameter length 15-65mm
$127.00

Mathys Orthopaedics Pty Ltd
MA471
Dowel Screws
Dowel Screws made of TiCP (ISO5832-2) for 
5 Sizes with diameter of 3.75mm 
$200.00

use with RM Pressfit Cup
(Sizes: 25mm, 30mm, 35mm, 40mm, 

45mm)

Medacta Australia Pty Ltd
MU002
CONE Cemented Stem
CONE Distal centralizer, PMMA
10mm to 18mm
$53.00
MU014
Versafitcup CC Press-fit Cup System
Versafitcup CC Cancellous Bone Screw, 
6.5 L 25-30-35-40-45mm
$280.00

Ti6A14V
Prostheses List by Category, Groups and Sponsor
Page 375 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MU015
Versafitcup CC Press-fit Cup System
Versafitcup CC Lug with screw, Stainless 
4.5 L 35-40-45-50-55mm
$500.00

Steel 316LVM
MU016
Versafitcup CC Press-fit Cup System
Versafitcup CC Obturator Hook, Stainless 
$500.00

Steel 316LVM
MU017
Versafitcup CC Press-fit Cup System
Versafitcup CC Plug, Ti6A14V
$300.00

Orthotech Pty Ltd
OH289
JRI Total Hip System
CSF Bone Screws, Titanium Alloy
15mm - 50mm
$200.00
$325.00

Plus Orthopedics Australia Pty Ltd
PL149
Polar Cup Acetabular Cup System
Impacting Anchorage Pegs for Polar Cup 
15mm
$260.00

Shell

Portland Orthopaedics (Aust) Pty Ltd
PD020
Equator Plus Cup
Bone Screw
6.5mm x 15mm - 50mm
$225.00

Smith & Nephew Surgical Pty Ltd
SN307
Unipolar
Taper Sleeve Co Cr
12/14 and 14/16 tapers, +0,-
$260.00
Taper insert for SN308

3,+4,+8,+12mm.

Stryker Australia Pty Ltd
HW046
Exeter Hip System
X-Change Revision Mesh - Rim -  Stainless 
Large
$855.00

Steel

Group 30a - Bolt

Biomet Australia Pty Ltd
BI122
Mallory Head Hip System
Trochanter Bolt, Titanium
Round/Oblong
$505.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD005
MRP-TITAN Screws
Screws for revision system
Small, M 14, large
$235.00

Corin  Australia Pty Ltd
CR121
Horizon Fixation Screw
Titanium countersunk cancellous screw
Diam 6.5mm, lenghts 16 - 55 mm
$140.00

Global Orthopaedic Technology
GO165
Global Cemented Hip - Cement Restrictor
Cement Restrictor
25 x 10mm Type 1 ; 35 x 10mm 
$158.00
$242.00

Type 2 ; Universal Type 3.
GO166
Global Cemented Hip System - Distal 
Universal Distal Centraliser
universal
$158.00
$242.00

Centraliser
GO167
R120 Centralizer
distal centralizer
9.0 ,10.5, 12.0, 13.5, 15.0, 16.5mm
$158.00
$242.00
GO168
Iso-Elastic™ Cerclage System
Iso-Elastic™ Cerclage Cable Assembly
One Size Only
$2,500.00
Prostheses List by Category, Groups and Sponsor
Page 376 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mathys Orthopaedics Pty Ltd
MA476
Sleeve for Revision Head ceramys™ 80
Sleeve for revision head
L, M, S, XL
$520.00

Smith & Nephew Surgical Pty Ltd
SN850
Birmingham Hip
Modular Resurfacing Head Sleeve
-8mm to +16mm
$520.00

Sv

City Medical Devices Australia (trading as Energy Orthopaedics)
CD048
Pharo
Intermediate Sleeve
-5 to +10 (six sizes)
$260.00
$900.00

Group 30b - Button

Zimmer Pty Ltd
ZI271
Hedrocel button
Hedrocel tantulum
Small and medium x 10mm thick
$1,352.00

Group 30c - Centraliser

B Braun Australia Pty Ltd
BB245
Distal centraliser
PMMA
7mm - 18mm
$158.00
BB276
Excia Hip System
Distal Centraliser
8mm-18mm
$158.00

Biomet Australia Pty Ltd
BI131
Mallory Head Hip System
Femoral Sleeve, UHMWPE
9-17mm
$158.00
$260.00

Corin  Australia Pty Ltd
CR044
Taperfit Stem Centraliser
Polymethyl Methacrylate
Small & Standard
$158.00

Global Manufacturing Technology Pty Ltd
GM046
Edinburgh Total Hip System
PMMA - distal plug and centraliser
12mm to 30mm
$158.00
$242.00

Johnson & Johnson Medical Pty Ltd
DP192
Thackray Hip System
Cement restrictor EA Polymethylmethacrylate
Multiple Sizes, Sizes 1-7
$158.00
DP296
Cementraliser
Cementraliser 
Size 10 -13
$158.00
DP297
Cementraliser Stem Centraliser
Distal Centralisers
10-20mm
$158.00
DP298
Centralisers
Centraliser 
Size 11 - 18
$158.00
DP574
C-Stem Centraliser
Centraliser Polymethylmethacrylate 
One size only
$158.00
DP872
Charnley Centraliser
Charnley Centraliser  EA 
Size 1 and 2
$158.00

Polymethylmethacrylate
DP884
Streamline Centraliser
-
Size 11-16
$158.00
Prostheses List by Category, Groups and Sponsor
Page 377 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY168
G2 Hip System
Distal Centraliser
1 - 11
$158.00

Plus Orthopedics Australia Pty Ltd
PL040
PLUS Hip Joint Prostheses System
CPS Centralizer proximal and distal
1 to 5
$180.00

Smith & Nephew Surgical Pty Ltd
SN269
CPCS
Polished Cemented Stem Distal Centraliser
8 - 18
$158.00

Stryker Australia Pty Ltd
HW034
Definition PM Femoral Component
Distal Centraliser -  PMMA -  Ring 
11-22mm
$158.00

Centraliser
HW057
RELIANCE HIP
Distal Centraliser -  PMMA
10-18mm
$158.00
SK315
Exeter Hip System
Exeter Distal Centraliser -PMMA
One Size Only
$158.00
ST581
Osteonics hip prostheses
Distal spacer  PMMA
8-15mm
$158.00

Zimmer Pty Ltd
ZI013
Zimmer Hip Systems Femoral Stem
CPT PMMA Centraliser  PMMA
Size 1
$158.00
ZI020
Zimmer Hip Systems Femoral Stem
VerSys Proximal Centraliser - PMMA
11 - 17
$158.00
ZI021
Zimmer Hip Systems Femoral Stem
VerSys Distal Centraliser - PMMA
10 - 18
$158.00
ZI366
Natural Hip System
Distal Centraliser - PE
10 to 19
$158.00
ZI374
MS-30 Hip prosthesis 
Centralizer for Cemented Stems (Protek) - 
8 to 18
$158.00

metal alloys

Group 30d - Clamp

Johnson & Johnson Medical Pty Ltd
DP001
Reef Hip System
Stem Wings, Titanium alloy
Sizes 1, 2, 3
$1,600.00

Group 30e - Claw

Biomet Australia Pty Ltd
BI124
Modular Calcar Mallory Head Revision Hip
Trochanteric Claw, Titanium
Medium, Large 
$460.00

 System

Group 30f - Connector

Biomet Australia Pty Ltd
BI125
Modular Calcar Mallory Head Revision Hip
Trochanteric Connector
Sizes 40-70mm
$570.00

 System
Prostheses List by Category, Groups and Sponsor
Page 378 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 30g - Dome Plug

Stryker Australia Pty Ltd
ST551
Osteonics Hip Prostheses
Dome hole plug titanium
One size only
$170.00

Group 30h - Mesh

Stryker Australia Pty Ltd
HW048
Trochanteric Mesh
Stainless Steel
Small/Large
$510.00

Group 30i - Head Taper Insert

Biomet Australia Pty Ltd
BI895
M2A Magnum Prosthesis
Taper Insert, Cobalt chrome
42 - 50mm, -6, -3, STD, +3, +6, +9; 
$520.00
Taper insert for BI896

52 - 60mm, -6, -3, STD, 

3, +6, +9

Johnson & Johnson Medical Pty Ltd
DP999
SROM Total Hip System (Titanium)
Unipolar Adaptor Sleeve
+10
$520.00
DY329
ASR Hip System
Large Modular Head Adaptor / Sleeve
9/10 or 11/13 or 12/14 taper
$520.00
Taper insert for DY330
DY403
Modular Cathcart Unipolar Spacers
-
-3 to +10mm
$520.00

Plus Orthopedics Australia Pty Ltd
PL118
Plus Hip Joint Prosthesis System
Titanium Sleeve adaptor for revision 
.
$520.00
To be used with Billing Code PL105

fractured ceramic

E

Johnson & Johnson Medical Pty Ltd
JJ575
ASR XLAnatomic (ASR XLA)
ASR XLA +4/+8 Sleeve 12-14
-3.5 to +15.5
$620.00
$1,400.00

Group 30j - Neck Adapter

Global Manufacturing Technology Pty Ltd
GM042
BioBall - Femoral modular head system
Femoral neck, 12/14 standard, 12/14 7.5 
small to 5 XL, M to 5 XL, M to 5 
$550.00
$3,328.00

offset, 14/16 standard
XL
GM107
Apex Global Modular Hip System
Neck Ti (Salvage)
8-10 taper, 9-11 taper, 12-14 taper, 
$550.00
$3,000.00

V40 taper, 353 taper
Prostheses List by Category, Groups and Sponsor
Page 379 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 30k - Nut

Global Orthopaedic Technology
GO019
UniSyn Hip System
Locking nut Ti
30-54mm
$204.00

Group 30l - Plate

Biomet Australia Pty Ltd
BI123
Mallory Head Hip System
Trochanter Plate, Titanium  
Sizes 40-70
$460.00

Group 30m - Plug

Advanced Surgical Technologies
AD118
Transcend/Lineage Articulation System
Apical plug titanium
One size only
$160.00
$266.00
AD131
WMT Perfecta Hip System
PMMA cement spacer/Bone Plug
9 - 21mm in 1mm increments
$160.00
$270.00

B Braun Australia Pty Ltd
BB277
Excia Hip System
Cement plug
8mm-18mm
$160.00

Biomet Australia Pty Ltd
BI130
Bio-Plug Cement Restrictor
Canal Plug, UHMWPE
"7-20mm"
$160.00
$200.00
BI144
Bio-Plug Cement Restrictor
Compression plug, PMMA
Sizes 8-25mm
$160.00
$200.00

Corin  Australia Pty Ltd
CR027
Freeman -Morgan Total Hip System
Canal occluder
12,14,16mm diameter
$160.00
CR041
Hardinge Canal Occluder
UHMWPE
One size only
$160.00

Johnson & Johnson Medical Pty Ltd
DP998
SROM Total Hip System (Titanium)
Acetabular Apical Hole Plug       
One size only
$160.00
DY147
C-Stem End Cap
-
One size only
$160.00

Plus Orthopedics Australia Pty Ltd
PL052
PLUS Hip Joint Prostheses System
Cover for HI shell
3-5, 6-11
$160.00

Stryker Australia Pty Ltd
ST582
Osteonics hip prostheses 
Cement restrictor Polyethylene
Universal and sizes 1-8
$160.00
ST801
Accolade C Femoral Hip System
Distal modular PMMA spacer
Small, medium, large
$160.00
Prostheses List by Category, Groups and Sponsor
Page 380 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 30n - Plug & Hood

Orthotech Pty Ltd
OH102
Lima Total Hip Replacement System
UHMWPE Cement Plug
8mm - 16mm
$290.00

Group 30o - Ring

Biomet Australia Pty Ltd
BI140
Mallory Head Hip System
Acetabular Shell, Ringloc.  Replacement 
Size 1
$235.00

Ring, Titanium alloy

Johnson & Johnson Medical Pty Ltd
DP250
Anatomic Medullary Locking System
Locking Rings Titanium
Size 38 - 74
$171.00

Zimmer Pty Ltd
ZI473
APR Conversion Ring
Titanium
39 to 71
$924.00

Group 30p - Screw

Global Manufacturing Technology Pty Ltd
GM053
SMR Modular Hip System
Locking Screw
40 to 70mm
$200.00

Link Orthopaedics  Australia
LO024
Link MP Reconstruction Hip  Prosthesis
Fixation Screw
38 & 58 mm
$400.00

Group 30q - Screw - Bone

Advanced Surgical Design & Manufacture Ltd
AE051
ASDM Bone screw
Titanium
Dia 5 - 11 mm, length 20 - 50mm
$235.00

Advanced Surgical Technologies
AD120
Transcend/Lineage Articulation System
Bone screw titanium
6.5mm x 1.5 - 6cm in 0.5cm 
$235.00
$270.00

increments long
AD322
Quadra-Fix Acetabular Shell
Quadra-Fix Double threaded, 6.5mm 
35mm - 80mm in 5mm increments
$235.00
$380.00

Cancellous Screw

B Braun Australia Pty Ltd
BB238
Acetabular Fixation Screws
Isotan
16mm-68mm
$235.00
Prostheses List by Category, Groups and Sponsor
Page 381 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI109
Mallory Head Hip System
Screw, Acetabular
(6.5 - 5.5)mm dia x (15 - 70)mm length
$235.00
BI702
Par 5 Protrusio Acetabular System
Screws - Titanium Metal
6.5mm
$235.00

Corin  Australia Pty Ltd
CR033
Dysplasia Cup Screw
Tapered, constant thread screw
Lengths 25 - 70mm
$235.00

ESKA Australia
EK052
Cancellous Screw
Cancellous Screw TiA1V
15mm - 90mm
$235.00

Global Manufacturing Technology Pty Ltd
GM058
SMR Modular Hip System
6.5mm Cancellous Bone Screws
15 - 80mm
$235.00
GM059
SMR Modular Hip System
4.5mm Cortical Bone Screws
20 to 80mm
$235.00

Johnson & Johnson Medical Pty Ltd
DY020
SROM Total Hip System (Titanium)
Trochanteric Screw
42mm, 52mm, 62mm
$235.00

Mathys Orthopaedics Pty Ltd
MA032
RM Cup Screws
Titanium                    
4 x 22mm - 4 x 48mm
$235.00
MA420
seleXys Cancellous Bone Screws
Modular, Keramed PROTHITAN cancellous 
Diameter 6.5mm to fit 
$235.00

screw
MACROFIT/TRISTABIL/UNICUP

 acetabular cup system 15-45mmL

Orthotech Pty Ltd
OH111
Lima Total Hip Replacement System
Titanium  Bone Screw
20 - 60mm
$235.00

Plus Orthopedics Australia Pty Ltd
PL041
PLUS Hip Joint Prosthesis System
Cancellous bone screw titanium
15-60mm long 6.4mm dia
$235.00
PL150
Polar Cup Acetabular Cup System
Corital Screws for Polar Cup Shell
4.5mm by 40-60mm
$235.00

Stryker Australia Pty Ltd
HW011
ABG Hip System
Screw - Titanium, used with ABG11 Cups
12,15,20,25,30,35,40,45 and 50mm 
$235.00

lengths
HW047
Exeter Hip System
X-Change Bone Screws -  Stainless Steel
3.5mm X 10, 15, 20, 25, 30, 35mm
$235.00
HW071
Vitalock Acetabular System
Cancellous Bone Screw -  Vitallium
12mm to 30mm in 2mm increments -
$235.00

 35mm to 50mm in 5mm increments

Taylor Bryant Pty Ltd
TB062
Groupe Lepine
Acetabular Screws
5.5mm dia in 15mm-60mm length 
$235.00

5mm increments 
Prostheses List by Category, Groups and Sponsor
Page 382 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI036
Acetabular Cup
Trilogy Bone Screw - Titanium
15 - 60
$235.00

Group 30r - Sleeve

Corin  Australia Pty Ltd
CR098
Adaptor Sleeve
Titanium
2 Sizes
$260.00

Smith & Nephew Surgical Pty Ltd
SN365
Matrix: Modular Hip System
Sleeve -Trunnion
One size only
$260.00

Stryker Australia Pty Ltd
ST569
Taper Adaptor
Neck extention, vitallium alloy
-4 TO +12mm
$260.00
$290.00
ST821
Titanium Adapter Sleeve
For use with V40 spiggots/trunnions
One size only
$260.00
ST927
Titanium Adapter Sleeve
Composition - titanium, Morse taper
Use with C-taper alumina heads 28,
$260.00

 32 and 36mm dia

Zimmer Pty Ltd
ZI474
Durom Hip Resurfacing System - Adaptor 
Forged CoCr allo
A1 to L1
$260.00

Sleeves

Group 30t - Spike - Actebular

Stryker Australia Pty Ltd
HW012
ABG Hip System
Spikes - Titanium, used with ABG11 Cups
7mm, 8mm, 9mm lengths
$87.00

Group 30u - Strut

Zimmer Pty Ltd
ZI276
Hedrocel strut
Hedrocel tantulum
10mm long
$4,264.00

Group 30v - Trochanteric Replacement

City Medical Devices Australia (trading as Energy Orthopaedics)
CD045
MRP-TITAN Stem
Special implant for trochanter
Small and Large
$1,000.00
Prostheses List by Category, Groups and Sponsor
Page 383 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 30w - Washer

Johnson & Johnson Medical Pty Ltd
DP986
SROM Total Hip System (Titanium)
Trochanteric Washer 
40 x 31, 60 x 45, 70 x 54
$577.00

Group 30x - Wire

Johnson & Johnson Medical Pty Ltd
DP224
Thackray Hip System
Charnley Spring Wires - Stainless Steel
0.5mm to 3.00mm
$356.00

Group 30y - Pin

Johnson & Johnson Medical Pty Ltd
DP976
SROM Total Hip System (Titanium)
Locking Pin Acetabular 
3.5mm - 5.0mm
$161.00

Group 30z - Other

Stryker Australia Pty Ltd
HW194
Howmedica Modular Resection System
Femoral Joint -  Vitallium
One size only
$3,572.00
Hydroxyapatite

Medtronic Australasia Pty Ltd
MC415
BCP
Biphasic Calcium Phosphate Reabsorbable 
1-3cc
$832.00

Graft Supplement
MC669
BCP
Biphasic Calcium Phosphate Reabsorbable 
5cc
$936.00

Graft Supplement
MC670
BCP
Biphasic Calcium Phosphate Reabsorbable 
10cc
$1,352.00

Graft Supplement

Zimmer Pty Ltd
ZI192
Bone Graft Substitute
Triosite Granules (0.5 - 1.0 mm grain sizes)- 
1 g Tube
$260.00

HATCP
ZI193
Bone Graft Substitute
Triosite Granules (2 - 3mm grain size) - 
5g Tube
$670.00

HATCP
Prostheses List by Category, Groups and Sponsor
Page 384 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI194
Bone Graft Substitute
Triosite Block 5 x 5 x 10mm Box of 4 - 
10mm
$130.00

HATCP
ZI195
Bone Graft Substitute
Triosite Block 5 x 5 x 20mm Box of 4 - 
20mm
$185.00

HATCP
ZI196
Bone Graft Substitute
Triosite Block 5 x 5 x 10mm Box of 2 - 
10mm
$182.00

HATCP
ZI197
Bone Graft Substitute
Triosite Block 5 x 5 x 20mm Box of 2 - 
20mm
$247.00

HATCP
ZI198
Bone Graft Substitute
Triosite Oesteotomy Wedges - HATCP
6 - 12mm
$745.00
Immobilizers, Cervical

Johnson & Johnson Medical Pty Ltd
DY294
Bremer Halo Crown System
Aluminium Crown & Vest
Standard & 3D
$3,035.00
DY295
Bremer Halo Crown System
Titanium Skull Pins
Standard & Hi-Fix
$451.00
Internal, Joint, Elbow, Radial Component

Biomet Australia Pty Ltd
BI950
Explor Radial Head
Radial head stem. Ti
Heads 20-24mm Stems 5-9mm
$4,490.00

Johnson & Johnson Medical Pty Ltd
DY414
Guepar Radial Implants
Radial Stem, Radial Head
+0 to+4
$1,558.25
DY415
Guepar Radial Implants
Radial Stem, Radial Head
14/12mm to 16/16mm
$1,558.25

Tornier Pty Ltd
TO014
Tornier Latitude Total Elbow Prosthesis
Radial Head, Radial Stem
Radial Head - (Small, Medium, 
$1,980.00

Large); Radial Stem - (Diameter - 

5mm, 6.5mm)
Internal, Joint, Shoulder, Humeral Component

Device Technologies Australia Pty Ltd
DE256
Eclipse Humeral Head Prosthesis
Eclipse Humeral Head Prosthesis Trunnion
41 - 53mm
$3,200.00
Prostheses List by Category, Groups and Sponsor
Page 385 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DE258
Eclipse Humeral Head Prosthesis
Eclipse Humeral Head Prosthesis Cage 
Small - X-Large
$1,000.00

Johnson & Johnson Medical Pty Ltd
JJ548
DELTA Xtend
Monobloc Humeral Cemented Epiphysis 
1 + 2  8, 10, 12, 14mm
$6,800.00

Standard
JJ549
DELTA Xtend
Monobloc Humeral Cemented Epiphysis 
1 + 2  8, 10, 12, 14mm
$7,750.00

Revision
JJ550
DELTA Xtend
Modular Humeral Diaphysis
10, 12, 14, 16mm
$4,000.00
JJ551
DELTA Xtend
Modular Centered Epiphysis
1 + 2
$2,436.00
JJ552
DELTA Xtend
Modular Eccentric Epiphysis Size 1 Right 
1 + 2 Left + Right
$2,482.00
JJ553
DELTA Xtend
High Mobility Humeral PE Cup
38 + 42;  3, 6, 9mm
$1,280.00
JJ554
DELTA Xtend
Delta Xtend CTA Head Dia 48 x 21mm
48 + 52; 21, 26mm
$5,520.00
JJ610
Global AP Shoulder
Humeral Stem
Humeral Stem 6mm, 8mm, 10mm, 
$3,500.00

12mm, 16mm
JJ611
Global AP Shoulder
Humeral Stem Long
Humeral Stem Long - 8mm, 10mm, 
$3,845.00

12mm, 14mm
JJ612
Global AP Shoulder
Porocoat Coated Humeral Stem
Porocoat Coated Humeral Stem 
$3,500.00

6mm, 8mm, 10mm, 12mm, 14mm, 

16mm
JJ613
Global AP Shoulder
Humeral Head
Humeral Heads - 40x15, 40x18, 
$1,525.00

44x15, 44x18, 44x21, 48x15, 48x18, 

48x21, 52x15, 52x18, 52x21, 56x18, 

56x21
JJ614
Global AP Shoulder
Humeral Head-Eccentric
Humeral Heads - 40x15, 40x18, 
$1,825.00

44x15, 44x18, 44x21, 48x15, 48x18, 

48x21, 52x15, 52x18, 52x21, 56x18, 

56x21
JJ615
Global AP Shoulder
Fixed 135 Degree taper Assembly
135 Degree Angle
$1,118.00
JJ616
Global AP Shoulder
Ball Taper Adjustable Neck Assembly
N/A
$1,050.00

LMT Surgical Pty Ltd
LM045
Epoca Resurfacing Head
The humeral head surface replacement is 
Diameter 40 - 54mm
$1,525.00
$3,000.00

designed to replace the humeral articulating 

surface and is chrome cobalt with 

hydroxyapatite coating underneath

Stryker Australia Pty Ltd
SK427
Solar Reunion Humeral Fracture System
Solar Reunion Humeral Fracture System
Short & Long
$6,100.00
Prostheses List by Category, Groups and Sponsor
Page 386 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Taylor Bryant Pty Ltd
TB306
HemiCAP Contoured Articular Resurfacing
Articular Component  - Chrome Cobalt
Articular Component 25mm - 
$4,035.00

 Shoulder System
2.5mm x 2.5mm to 5.0mm x 5.0mm 

offset;  Articular Component 30mm

 - 4.5mm x 4.5mm to 7.0mm x 7.0mm 

offset; Articular Component 35mm 

- 6.0mm x 6.0mm to 9.5mm x 9.5mm; 

Articular Component 40mm - 

8.0mm x 8.0mm to 12.0mm x 12.0mm
TB307
HemiCAP Contoured Articular Resurfacing
Fixation Screw - Titanium
Fixation component for 25mm, 
$1,545.00
Used with Billing code TB306

 Shoulder System
30mm, 35mm, 40mm Artuclar 

Components Screw 10.5mm Dia & 

12.5mm Dia & 13.7mm Dia
Internal, Joint, Shoulder, Total

Biomet Australia Pty Ltd
BI884
Comprehensive Fracture Stem
Fracture Stem Cobalt Chrome, Titanium
4,6,8,10,12,14mm
$3,969.00

Endotec Australia Pty Ltd
EA025
Buechel-Pappas Ultracoat Total Shoulder 
Glenoid Fixation Cup - Ceramic coated 
44mm-52mm
$2,100.00

Replacement System (Primary and Revision)
titanium
EA026
Buechel-Pappas Ultracoat Total Shoulder 
Glenoid Bearing - Polyethelene
2 to 4
$950.00

Replacement System (Primary and Revision)
EA027
Buechel-Pappas Ultracoat Total Shoulder 
Humeral Resurfacing Component-Ceramic 
44mm-56mm
$4,800.00

Replacement System (Primary and Revision)
coated Titanium
EA028
Buechel-Pappas Ultracoat Total Shoulder 
Humeral-Stem w / PC-Ceramic coated 
8-14mm
$3,550.00
$4,200.00

Replacement System (Primary & Revision)
titanium
EA029
Buechel-Pappas Ultracoat Total Shoulder 
Humeral Head-Ceramic coated titanium
44mm-52mm
$2,200.00

Replacement System (Primary & Revision)
EA030
Buechel-Pappas Ultracoat Total Shoulder 
Salvage Humeral Stem-ceramic coated titanium
8-14mm
$4,200.00

Replacement System (Primary & Revision)
EA031
Buechel-Pappas Ultracoat Total Shoulder 
All-Poly Glenoid
2-4
$1,950.00

Replacement System (Primary & Revision)
Prostheses List by Category, Groups and Sponsor
Page 387 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EA032
Buechel-Pappas Ultracoat Total Shoulder 
Humeral Head Extension - Ceramic coated 
2.5 -10mm
$800.00

Replacement System (Primary & Revision)
titanium
EA033
Buechel-Pappas Ultracoat Total Shoulder 
Modular Humeral Stem Ceramic coated 
12mm
$5,440.00

Replacement System (Primary & Revision)
titanium
EA034
Buechel-Pappas Ultracoat Total Shoulder 
Modular Salvage Stem - Ceramic coated 
1-4
$4,000.00

Replacement System (Primary & Revision)
titanium
EA035
Buechel-Pappas Ultracoat Total Shoulder 
Stem Extension -  Ceramic coated titanium
8-20mm
$1,300.00

Replacement System (Primary and Revision)

Global Manufacturing Technology Pty Ltd
GM100
Lobe Lok Total Shoulder System
Glenoid - Metal Backed UHMWPE Ti HA
Small to Large
$3,200.00
GM101
Lobe Lok Total Shoulder System
Humeral ReSurf Cap - CrCo
Small to Large
$5,900.00

Global Orthopaedic Technology
GO141
Foundation Shoulder System
Humeral Stem, Ti
6mm to 16mm
$2,800.00
GO142
Foundation Shoulder System
Humeral Head, CrCo
38mm to 54mm
$2,800.00
GO143
Foundation Shoulder System
Pegged & Keeled Glenoid, compression 
38mm to 54mm
$1,875.00

moulded UHMWPE
GO148
Reverse Shoulder System
Humeral Stem, Ti
6mm to 12mm
$2,875.00
Temporary approval. Review in 

November 2007 cycle.
GO149
Reverse Shoulder System
Glenoid Baseplate, Ti, Porous, HA
Small to Large
$2,875.00
Temporary approval. Review in 

November 2007 cycle.
GO150
Reverse Shoulder System
Glenoid Head, CoCr
32mm to 40mm
$2,875.00
Temporary approval. Review in 

November 2007 cycle.
GO151
Reverse Shoulder System
Humeral Socket Insert - UHMWPE
32mm to 40mm
$1,903.00
Temporary approval. Review in 

November 2007 cycle.
GO152
Reverse Shoulder System
Humeral Socket Shell - Ti
Neutral, +4mm, +8mm offset
$2,940.00
Temporary approval. Review in 

November 2007 cycle.
GO153
Reverse Shoulder System
Bone Screw
3.5 x 15mm to 5 x 30mm
$225.00

Johnson & Johnson Medical Pty Ltd
DY416
Total Shoulder System
Global CAP Conserv Head PC, Global CAP 
40 x 15 to 56 x 21
$1,525.00
$6,065.00

Conserv Head HA
DY417
Total Shoulder System
Global CAP Conserv Head PC, Global CAP 
40 x 15 to 56 x 21
$1,525.00
$6,120.00

Conserv Head Porous Coated

LMT Surgical Pty Ltd
LM020
Epoca Custom Offset Shoulder Prosthesis
Epoca Stem
6 - 14mm, Length: 115 - 215mm
$3,000.00
Prostheses List by Category, Groups and Sponsor
Page 388 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
LM021
Epoca Custom Offset Shoulder Prosthesis
Epoca ZF Cementless Stem
6 - 14mm, Length: 115 - 135mm
$3,000.00
LM022
Epoca Custom Offset Shoulder Prosthesis
Epoca Head
40 - 54mm, Height: 15 - 20.25mm
$1,525.00
LM023
Epoca Custom Offset Shoulder Prosthesis
Epoca Eccenter
One size only
$540.00
$600.00
LM024
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid
40mm - 54mm
$1,600.00
LM025
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid Shell Screw
10; 15; 20mm
$250.00
LM026
Epoca Custom Offset Shoulder Prosthesis
Epoca Reco Glenoid
42 - 52mm
$3,300.00
LM027
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid Insert
42 - 54mm
$1,200.00

Mathys Orthopaedics Pty Ltd
MA448
Affinis Total Shoulder Prosthesis
Head - CoCr; Stem - Titanium; Glenoid - 
Diameter 39, 41, 43, 45, 47, 49, 51, 
$1,525.00

UHMWPE
53mm
MA449
Affinis Total Shoulder Prosthesis
Stem - CoCr; Stem - Titanium; Glenoid - 
Cemented 6, 9, 12, and 
$3,890.00

UHMWPE
15mm;Cementless 6, 7.5, 9, 10.5, 12,

 13.5 and 15mm
MA450
Affinis Total Shoulder Prosthesis
Glenoid - CoCr; Stem - Titanium; Glenoid - 
Size 1 to 4 Cemented
$2,200.00

UHMWPE

Plus Orthopedics Australia Pty Ltd
PL119
Promos Shoulder Replacement
Humeral Stem
01, 0, 1, 2, 3, 4
$2,560.00
PL120
Promos Shoulder Replacement
Body
30 - 35 - 40mm
$2,500.00
PL121
Promos Shoulder Replacement
Inclination Set
20 - 22 - 24 - 26mm
$1,220.00
PL122
Promos Shoulder Replacement
Ball head anatomic
R19/H14-R26/H21
$2,750.00
PL123
Promos Shoulder Replacement
Glenoid
1-23: - 4-29
$1,300.00

Zimmer Pty Ltd
ZI326
Bigliani/Flatow Trabecular Metal Humeral 
Porous Tantulum Humeral Stem
6mm-19mm diameter
$5,169.00

Shoulder
ZI528
Zimmer Trabecular Metal Reverse Shoulder
Trabecular Metal Humeral Stem Titanium 
12mm x 130mm; 12mm x 170mm; 
$3,799.00
$5,000.00

 System
Alloy and Tantalum
14mm x 130mm
ZI529
Zimmer Trabecular Metal Reverse Shoulder
Polyethylene Liner
Standard 7 Deg. & Retentive 65 
$1,100.00

 System
Deg; 36mm - Neutral, Plus 3mm, 

Plus 6mm; 40mm - Neutral, Plus 

3mm, Plus 6mm
ZI530
Zimmer Trabecular Metal Reverse Shoulder
Spacer
9mm, 12mm Taper Insert
$1,420.00

 System
ZI531
Zimmer Trabecular Metal Reverse Shoulder
Dual Taper Insert
One Size Only
$1,000.00

 System
Prostheses List by Category, Groups and Sponsor
Page 389 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI532
Zimmer Trabecular Metal Reverse Shoulder
Glenosphere - CoCr - Mo Alloy
36mm, 40mm
$1,200.00
$1,500.00

 System
ZI533
Zimmer Trabecular Metal Reverse Shoulder
Trabecular Metal Reverse Base Plate - Ti 
One Size Only
$2,100.00
$3,500.00

 System
Alloy & Tantalum
ZI534
Zimmer Trabecular Metal Reverse Shoulder
Inverse/Reverse Screw 4.5mm
18mm, 24mm, 27mm, 30mm, 33mm, 
$145.00

 System
36mm, 42mm, 48mm
Internal, Ligament

LMT Surgical Pty Ltd
LM070
Surgilig
Acromicoclavicular Joint Reconstruction 
7-20cm length
$4,156.00
$4,200.00

Ligament
Internal, Ligament, Anchor

Device Technologies Australia Pty Ltd
DE220
Bio-SutureTak
PLDLA Bioabsorbable Suture Anchors
2.4 - 3.7mm diameter x 5 - 14mm 
$430.00

length
DE261
PEEK Pushlock
PEEK Suture Anchor
3.5mm x 14mm
$600.00

Johnson & Johnson Medical Pty Ltd
JJ457
Spiralok Absorbable Dual Eyelet Threaded 
Spiralok is an absorbable threaded Anchor 
Diameter 5mm x Length 30mm; 
$488.00

Suture Anchor with Panacryl (with 
made from PLA with Panacryl absorbable 
Diameter 6.5mm x Length 30mm

suture.
JJ458
Spiralok Absorbable Dual Eyelet Threaded 
Spiralok is an absorbable threaded Anchor 
Diameter 5mm x Length 
$493.00

Suture Anchor with Ethibond (without 
made from PLA with Ethibond non-
30mm;Diameter 6.5mm x Length 

needles)
absorbable polyethylene suture.
30mm
JJ460
Spiralok Absorbable Dual Eyelet Threaded 
Made from PLA with Ethibond non-
Diameter 5mm x Length 30mm; 
$487.11

Suture Anchor with Ethibond (with 
absorbable polyethylene suture
diameter 6.5mm x Length 30mm
JJ461
RapidLoc Meniscal Repair System with PDS
PLA (absorbable) backstop and PDS 
One size only
$256.72

(absorbable) top hat and Panacryl 

absorbable suture connecting the top hat 
JJ471
Spiralok Absorbable Dual Eyelet Threaded 
Made from PLA with Panacryl absorbable 
Diameter 5mm x Length 30mm; 
$488.00

Suture Anchor with Panacryl (without 
suture
Diameter 6.5mm x Length 30mm

needles)
Prostheses List by Category, Groups and Sponsor
Page 390 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ472
BioKnotless Anchor with Ethibond
PLA absorbable material with a non-
Single Implant: Length 11mm, 
$493.00

absorbable braided Ethibond polyethylene 
Diameter 2.9mm

suture
JJ473
BioIntrafix Tibial Soft Tissue Fastener 
Absorbable composite (TCP/PLA) fixation 
6-8mm, 7-9mm, 8-10mm by 30mm 
$350.00

(Screw)
device (screw) used in conjunction with a 
Length

sheath for the repair of ACL Soft Tissue Graft
JJ483
SPIRALOK Absorbable Dual Eyelet 
Absorbable threaded anchor, PLA with 
5mm, 6.5mm
$480.00

Threaded Suture Anchor with Orthocord 
Orthocord suture

Suture
JJ484
MILAGRO (TCP/PLGA) Interference Screw
MILAGRO (TCP/PLGA) Interference ACL 
7mm x 23mm, 7mm x 30mm, 8mm x 
$375.00
$450.00

Screw System
23mm, 8mm x 30mm, 9mm x 23mm, 

9mm x 30mm, 9mm x 35mm, 10mm x 

23mm, 10mm x 30mm, 10mm x 

35mm, 11mm x 30mm, 11mm x 

35mm, 12mm x 30mm, 12mm x 35mm

Smith & Nephew Surgical Pty Ltd
SN846
KINSA
Suture Anchor, Polmer With Polyester 
2.9mm
$600.00

Suture Material

TiMax Surgical Pty Ltd
TI090
AutoCuff System - Suture Cartridge
SmartStitch Magnum Wire - Ultra high 
$110.00

tensile strength
TI091
AutoCuff System - Suture Cartridge
SmartStitch Suture Cartridge
Number 2 braided polyester
$85.00
TI092
AutoCuff System
Magnum Knotless Implant - w/ inserter 
One Size Only
$730.00
TI093
Magnum Arthroscopic Knotless Anchor 
Arthroscopically implanted stainless steel 
1 - 2.8mm x 8.0mm x 5.0mm;  2 - 
$690.00

Implant
suture anchor for rotator cuff or labrum repair
2.8mm x 13mm x 7.2mm
Knee - Accessories

Group 13a - Augments- Distal and posterior femoral, tibial, blocks and wedges

Advanced Surgical Design & Manufacture Ltd
AE071
Active Knee Revision System - Tibial Full 
Posterior Femoral Block
1 - 5, 4 - 8mm
$1,250.00

Block Wedge
AE072
Active Knee Revision System - Femoral 
Distal Spacer
1 - 5, 4 - 8mm
$1,250.00

Distal Spacer
AE073
Active Knee Revision System
Distal Posterior Spacer
1-5,  4 - 8mm
$1,250.00
Prostheses List by Category, Groups and Sponsor
Page 391 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AE074
Active Knee Revision System - Tibial Half 
Half Block Wedge
1-5, 5 - 10 Deg
$1,500.00

Block Spacer
AE076
Active Knee Revision System - Tibial Full 
Full Block Wedge
1-5,  5 - 10 Deg
$1,500.00

Block Wedge
AE077
Active Knee Revision System - Half Block 
Half Block Wedge
1-5,  5 - 10 Deg
$1,500.00

Wedge

Advanced Surgical Technologies
AD142
Advance Revision Knee System
Femoral Augments titanium
1 - 5, 5mm thick, 10mm thick, 
$645.00

posterior and distal
AD146
Advance Revision Knee System
Tibial augments/wedges titanium
15 degree, sizes 1, 2/1+, 3/2+, 4/3+, 
$884.00

5/4+, 6/5+, Blocks 5mm, 10mm, 15mm
AD217
ADVANCE Total Knee System
Offset tibial Block Augments
1, 2/1, 3/2, 4/3, 5/4, 6/5, All in 5mm, 
$1,250.00

10mm, 15mm

Biomet Australia Pty Ltd
BI183
Maxim Complete Knee System
Tibial Femoral Wedge or Augmentation 
55-80mm
$1,248.00

Block, Titanium
BI789
Ascent Knee System
Femoral augmentation block, posterior or 
4, 8, 12mm
$1,371.00

distal, titanium
BI821
AGC Total Knee System
Tibial augments, titanium
6-16mm
$1,264.00
BI952
Vanguard Total Knee System
Femoral Augments, anatomic, distal or 
5-15mm x 55-80mm
$1,318.00

posterior, Ti alloy

Corin  Australia Pty Ltd
CR004
Rotaglide + Total Knee System
Tibial Augmentation Blocks
Small 4mm - Large12mm
$536.00

Global Orthopaedic Technology
GO116
RBK Total Knee System
Tibial Inserts, Titanium
4mm and 10mm thick
$3,000.00
GO118
RBK Total Knee System
Femoral Inserts, Titanium
4mm and 10mm thick
$590.00
$1,600.00

Johnson & Johnson Medical Pty Ltd
DP154
PFC Knee System Range
PFC Sigma FEM AUG 
Size 2-5
$1,497.00
DP158
PFC Knee System Range
PFC Sigma Femoral Distal or Post Augments
Size 1-6
$1,507.00

 or Combo augments
DP161
PFC Knee System Range
PFC Mod PL TB WDG Types Hemi/ Stp / 
Size 2-5
$1,708.00
$1,749.00

Full or Augmented tibial wedges
DP260
SROM Knee System
SROM Noiles Tibial Augments
4-10mm size 2-6
$926.00
Prostheses List by Category, Groups and Sponsor
Page 392 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP269
SROM Knee System
SROM Noiles Femoral Augmentation Blocks
1-6 4-16mm
$1,393.00
DP378
AMK Total Knee system
Co ordinate Femoral wedge DIS / Post 
Size 1-5
$618.00

Chrome cobalt
DP824
LCS Revision Knee system
LCS DIST or Post or BLK Femoral 
SM-LGE+
$666.00

Augments Chrome cobalt
DY153
LCS Complete Revision System
LCS Complete Revision Femoral Distal  or 
Small 5mm - Large + 15mm
$1,600.00

Posterior Augments
DY159
LCS Complete Revision System
MBT Step Wedge or revision Tibial 
1, 5mm - 7, 15mm
$1,430.00

Orthotech Pty Ltd
OH026
Optetrak Total Knee System
CCK Tibial Augmentation Block
Size 1 - 6
$764.00
$840.00
OH029
Optetrak Total Knee System
CCK Femoral Augmentation Block
Size 1-6
$1,628.00
$1,790.00

Plus Orthopedics Australia Pty Ltd
PL084
PLUS Knee Joint Prostheses System
Revision - Tibial Augments
5mm, 10mm, 15mm
$1,446.00
PL095
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Femoral augments
5-15mm
$1,420.00
PL096
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Tibial augments
5-15mm
$1,420.00
PL107
PLUS Knee Joint Prostheses System
Revision - Femoral Augments
5mm, 10mm, 15mm
$1,144.00
$1,600.00
PL152
Plus Knee Prostheses System
RT Plus Hinged Knee/Plus Revision Knee: 
15mm
$1,600.00

Femoral/Tibial Augments

Smith & Nephew Surgical Pty Ltd
SN330
Genesis II 
Wedge Full Tibial, Distal Femoral, Stacked 
1-8
$1,180.00

Femoral L, Posterior Femoral, Angled Hemi, 

Stepped Hemi, Medial Lateral
SN381
Profix
Non Porous Wedge, Distal and L-Wedge
1-7. Small - Large 
$646.00
SN384
Profix
Porous wedge
1-7
$909.00
SN821
Legion Revision
Legion Femoral Augment
5-15mm
$1,420.00
SN822
Legion Revision
Legion Tibial Augment
5-15mm
$1,420.00

Stryker Australia Pty Ltd
HW082
Duracon Total Knee System
Augmentation Femoral Spacers -  Vitallium
5mm, 10mm
$1,576.00
HW099
Duracon Total Knee System
Augmentation Tibial Wedge -  Vitallium
5mm, 10mm
$1,045.00
HW153
Kinemax Knee Femoral Augmentation
Cobalt Chromium
5mm/10mm
$900.00
HW168
Kinemax Knee
Tibial: Wedge Full -  Vitallium
10mm per size
$801.00
HW169
Kinemax Knee
Tibial: Wedge -  Vitallium
7.5mm per size
$504.00
Prostheses List by Category, Groups and Sponsor
Page 393 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW170
Kinemax Knee
Tibial : Block -  Vitallium
5mm, and 10mm per size
$406.00
SK441
Triathlon Revision System
Femoral Augment
Left & Right 5mm size 1-8
$1,600.00

10mm size 1-8

15mm size 1-8
SR036
Triathlon Revision Knee System
Revision, cemented, side specific, half tibial 
1 to 8, 5mm and 10mm
$1,300.00

augments
ST018
Scorpio Augmentation Femoral / Tibial
Cobalt Chrome
5mm & 10mm for all sizes of femur 
$1,009.00

and tibia. 5 degrees for all tibia sizes
ST604
Duracon total knee system
Augmentation revision  vitallium
5mm, 10mm
$1,050.00
ST658
Osteonics Knee System
Augmentation - Fem/Tib  cobalt chrome 
3, 5, 7, 9, 11, 13 in 4mm, 8mm, 10 
$728.00

degree and 20 degree

Tornier Pty Ltd
TO022
HLS Noetos Revision Knee
Distal Femoral Wedge CoCr
1 to 6 Thickness 4, 8 and 12
$1,507.00
TO023
HLS Noetos Revision Knee
Posterior Femoral Wedge CoCr
5, 7 and 9 degrees 4 and 8 mm thick
$1,507.00
TO027
HLS Noetos Knee Revision
Tibial Spacer (including 2 screws) CoCr
1 to 6 thickness 4, 8 and 12mm
$1,600.00

Zimmer Pty Ltd
ZI067
Insall-Burstein II Augmentation
Distal - TI, Co Cr
5, 10mm
$1,258.00
$1,283.00
ZI075
Insall-Burstein II Wedge
Full - Ti
7 - 20mm
$1,654.00
$1,687.00
ZI140
NexGen Knee Tibial Augments
Half Wedge - Ti
1 - 10
$1,518.00
ZI141
NexGen Knee Tibial Augments
Full Wedge - Ti
1 - 10
$1,518.00
ZI142
NexGen Knee Tibial Augments
One Third Wedge - Ti
1 - 10
$1,518.00
ZI143
NexGen Knee Tibial Augments
Half Block - Ti
1 - 10
$1,518.00
ZI144
NexGen Knee Femoral Augments
Dist.,Ant or Post - Ti
A - H
$1,258.00
$1,283.00
ZI145
NexGen Knee Femoral Augments
Dist + Post
1 - 10
$1,258.00
$1,283.00
ZI404
Natural Knee System
Tibial Spacers - special metal alloy
4 to 8mm  Size 00 to 5
$1,066.00
$1,087.00
Also grouped in Knee Group 10
ZI422
Natural Knee
Femoral Spacer Lug - Ti alloy
4 to 12mm
$4,330.00
ZI504
Natural Knee
Revision - Femoral Spacers Non Porous - 
Size 0 to 4
$1,600.00

metal alloy
Prostheses List by Category, Groups and Sponsor
Page 394 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 13b - Stems - Straight or offset

Advanced Surgical Design & Manufacture Ltd
AE075
Active Knee Revision System
Revision Extension Stem
11 - 13 Dia, 60 - 100mm
$1,600.00
AE078
Active Knee Revision System
Revision Stem Tibia
1-5,  A & B
$1,700.00

Advanced Surgical Technologies
AD144
Advance Revision Knee System
Femoral stem titanium
11 - 22mm in 1mm increments, 100 
$2,000.00

& 140mm lengths
AD148
Advance Revision Knee System
Tibial stem titanium, non cemented & 
10, 12,14, 16, 18 x 65mm, 15 x 30mm
$1,966.00

cemented
AD187
Ortholoc 11 Revision Knee
Tibial Revision Smooth/Finned Titanium
6" Length in Small - Xlarge
$1,186.00
AD195
Ortholoc 11 Revision Knee
Femoral stems titanium
5 Degree 6", 7 Degree 6"
$1,256.00

B Braun Australia Pty Ltd
BB200
Emotion TKS
Extension Shaft
Short, D: 10 to 20 , Medium, D: 10 
$1,200.00

to 20, Long, D: 10 to 20
BB210
Columbus TKS
Obturator - Extension Stem
Small & Large D12 to 14
$1,200.00
BB242
Extension stem
Modular tibial component
12mm, 14mm, short and long
$1,200.00

Biomet Australia Pty Ltd
BI171
Maxim Complete Knee System
Tibial Stem, Titanium
40mm 80mm
$1,024.00
BI184
Biomet Tibial Tray System
Tibial or Femoral Stem, Modular, Titanium
55-80mm
$1,830.00
BI800
Ascent Total Knee System
Femoral revision stem w/screw, coronal slot, 
5 or 7 degree, 100mm, 150mm 
$2,922.00

titanium
lengths, 10-24mm diameters

Corin  Australia Pty Ltd
CR003
Rotaglide + Total Knee System, Stem 
Cobalt chrome
30mm - 70mm
$858.00

Extensions
CR104
Score Extension Stem
Offset extension Stem
4 diameters, 3 lengths
$2,000.00

Endotec Australia Pty Ltd
EA023
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Revision stems 9mm -
$1,248.00
$1,550.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
20mm (inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile
Prostheses List by Category, Groups and Sponsor
Page 395 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Orthopaedic Technology
GO114
RBK Total Knee System
Tibial and Femoral Stems, Titanium
10mm to 24mm thick x 80mm to 
$2,189.00

170mm long

Johnson & Johnson Medical Pty Ltd
DP143
PFC Knee System Range
PFC Flute Tib Rod & Extension 
Size 75-150mm
$1,560.00
DP153
PFC Knee System Range
PFC Sigma ROD or FC femoral 
Size 5 Deg to 7 Deg
$2,137.00
$2,188.00
DP266
SROM Knee System
SROM Noiles Femoral Extension with 
11 x 100mm to 129 x 100mm
$1,748.00
DP272
SROM Knee System
Noiles Femoral Stem Extn/Screw
Size 9 x 100 to 19  x 150
$1,733.00
DP290
AMK Coordinate Revision Knee System
Cemented stem 10mm Chrome cobalt or 
Size 1-6 or 8-27mm Thickness x 95-
$2,000.00

Fluted stem STD - Revision
140mm Length
DP823
LCS Revision Knee system
Stem Extension Chrome cobalt
10 x 55mm to 22x110mm
$2,000.00

Orthotech Pty Ltd
OH027
Optetrak Total Knee System
CCK Tibial & Femoral Stems
Size 1 - 6
$3,011.00
$3,300.00

Plus Orthopedics Australia Pty Ltd
PL083
PLUS Knee Prostheses System
RT PLUS Modular Hinged Knee - Stem 
95 -120
$2,000.00

uncemented
PL085
PLUS Knee Joint Prostheses System
Revision - Stems Cemented
80-150
$2,000.00
PL086
PLUS Knee Joint Prostheses System
Revision - Stems Cementless
10/80 - 20/150
$2,000.00
PL087
PLUS Knee Joint Prostheses System
Revision - Stems cementless valgus
10/80 - 20/150
$2,288.00
PL091
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Stem cemented
95-160
$2,000.00
PL093
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Stem uncemented
95 - 160
$2,000.00
PL094
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Stem uncemented
200
$2,000.00
PL153
Plus Knee Prostheses System
PlusRevision Knee: Offset Stems Femur/Tibia
10/80mm - 12/150mm
$2,000.00

Smith & Nephew Surgical Pty Ltd
SN316
Genesis II 
Femoral/tibial long stems
10-24x100mm, 10-20 x 150mm 10-16x
$1,220.00

 200mm
SN376
Profix
I/M Peg Femoral or Tibial
10-20mm x 100mm. 10-20x150mm 
$1,275.00

10-20 x 200mm
SN377
Profix
Metaphyseal Tibial Stem
14-20mm
$658.00
SN715
Genesis II
Long Stem Tibial Components
18 - 24mm x 200mm
$1,976.00
SN823
Legion Revision
Legion stem extension
120-220mm
$1,810.00
Prostheses List by Category, Groups and Sponsor
Page 396 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW098
Duracon Total Knee System
Augmentation Stem Extension Cementless -  
40mm, 80mm, 155mm lengths
$1,154.00

Vitallium
HW171
Kinemax Knee
Femoral/Tibial: Extension Stem -  Vitallium
40mm, 80mm, 155mm for each size
$790.00
SK434
Triathlon Revision System
Titanium Fluted Stem
10-25 (100mm) 10-25 (150mm)
$2,000.00
SR035
Triathlon Revision Knee System
Revision, cemented, tibial stems
9x50mm, 9x100mm, 9x150mm, 
$1,600.00

12x50mm, 12x100mm, 12x150mm, 

15x50mm, 15x100mm, 15x150mm
SR037
Triathlon Primary Knee System PS Femoral 
Modular femoral distal fixation peg
one size
$460.00

Pegs
ST606
Duracon total knee system
Stem fluted - femoral/tibia  vitallium
10mm-19mm, 21mm, 23mm in 80mm 
$1,466.00

and 155mm lengths

Tornier Pty Ltd
TO028
HLS Noetos Revision Knee
Femoral and Tibial extension stems CoCr
1 to 6 Length 75 and 150mm
$1,560.00

Zimmer Pty Ltd
ZI072
Insall-Burstein II Femoral Component
Tibial/Femoral Stem - Ti
10 - 24mm
$1,056.00
ZI095
Miller Galante II
Stem: Long - Ti
12 - 18mm
$993.00
ZI096
Miller Galante II
Stem: Regular - Ti
12 - 18mm
$525.00
ZI146
NexGen Knee Stem Extensions
Titanium
Length - 35 - 155mm, Diameters - 
$1,258.00
$1,283.00

10 - 24 mm
ZI417
Natural Knee
Revision -Tibial Stem - Ti alloy
60 to 215mm
$1,664.00
ZI424
Natural Knee
Revision - Femur Stem, Ti alloy
10.5mm/125mm to 16.5mm/250mm
$3,058.00

Group 13c - Offset couplers / adaptors

Biomet Australia Pty Ltd
BI956
Offset Tibial Tray System
Offset Adapter
0mm, 2.5mm, 5mm Offset
$1,350.00

Johnson & Johnson Medical Pty Ltd
DP155
PFC Knee System Range
PFC Sigma Femoral stem / Bolt / Collar
Neutral to +2
$520.00

Smith & Nephew Surgical Pty Ltd
SN717
Genesis II/Profix
Offset Couplers
2 - 4mm
$2,095.00

Stryker Australia Pty Ltd
SK435
Triathlon Revision System
Offset adaptor
2,4,6,8mm
$2,000.00
Prostheses List by Category, Groups and Sponsor
Page 397 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST026
Scorpio Offset Adaptor
Cobalt Chrome
2mm-8mm
$1,226.00
ST603
Duracon total knee system
Augmentation offset adaptor  vitallium
4mm, 6mm, 8mm
$1,321.00

Group 13d - Stem extender, sleeve and other couplings

Johnson & Johnson Medical Pty Ltd
DP261
SROM Knee System
Noiles Modular Tibial Sleeve
37-61mm
$2,425.00
$4,000.00
DP271
SROM Knee System
Noiles Femoral Sleeve Por Coated 
Size 31-46mm
$2,636.00
$4,000.00
DY156
LCS Complete Revision System
LCS Complete PFC Sigma Revision Femoral 
20 - 46mm
$2,704.00
$4,000.00

Sleeves Porocoat
DY157
LCS Complete Revision System
MBT Revision Tibial Sleeve Porous Coated
37 - 61mm
$2,704.00
$4,000.00

Orthotech Pty Ltd
OH057
Opetrak Total Knee System
Femoral Stem Extension Adapter
One size only
$764.00
$840.00

Stryker Australia Pty Ltd
SK442
Triathlon Revision System
Stem extender
25mm & 50mm
$1,068.00

Tornier Pty Ltd
TO024
HLS Noetos Revision Knee System
Stem Adaptor (Femoral Sledge) CoCr
5, 7 and 9 degrees
$1,068.00
TO025
HLS Hoetos Revision Knee
Sleeve stem adaptor (flange piece) CoCr
5, 7 and 9 degrees, right and left
$1,068.00

Zimmer Pty Ltd
ZI485
Trabecular Metal Cone
Trabecular Metal Tibial void filling cone
Full and Stepped Cone
$4,000.00

Group 13e - Conversion module

Smith & Nephew Surgical Pty Ltd
SN314
Genesis II 
Conversion module
Left/Right size 1-8
$1,167.00

Stryker Australia Pty Ltd
HW085
Duracon Total Knee System
Augmentation Modular Stabiliser Box -  
Small, Medium, Medium-Large, 
$614.00

Vitallium
Large, Extra-Large

Group 13f - Connectors for hinged prostheses

Global Orthopaedic Technology
GO119
RBK Total Knee System
Rotating Hinge Bushing Mechansim
Complete mechanism
$4,540.00
Prostheses List by Category, Groups and Sponsor
Page 398 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DY463
SROM Knee System
Noiles Replacement Bumper Noiles Modular 
XSml - Medium
$135.00

or Replacement Hinge Bearing

Plus Orthopedics Australia Pty Ltd
PL098
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Screws and clamp
0-10
$884.00

Zimmer Pty Ltd
ZI309
Nexgen Rotating Hinge Replacement Hinge
Rotating hinge replacement bushing for hinge
B-F
$4,722.00

Group 13z - Others

Advanced Surgical Design & Manufacture Ltd
AE042
Active Knee System
Bone Screw Titanium
20mm - 50mm
$138.00

Advanced Surgical Technologies
AD149
Advance Revision Knee System
Bone screw titanium
6.5mm x 1.5 - 6cm in 0.5cm 
$266.00

increments long
AD176
Advantim Total Knee System
Cortical Bone Screws, Femoral, Titanium
4.5mm x 2.0 - 7.5cm in 0.5cm 
$225.00

increments long

B Braun Australia Pty Ltd
BB241
End cap
Modular tibial component
12mm, 14mm
$835.00

Biomet Australia Pty Ltd
BI173
Maxim Complete Knee System
Tibial Locking Bar, Titanium
One size only
$122.00

Endotec Australia Pty Ltd
EA024
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP Rebar Screws 20mm -50mm 
$220.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Global Orthopaedic Technology
GO120
RBK Total Knee System
Screw, Ti
5mm to 5.7mm x 5mm to 17.5mm long
$285.00
GO158
RBK Universal
'RBK Universal - Bolt
10mm - 20mm
$280.00

Johnson & Johnson Medical Pty Ltd
DP267
SROM Knee System
PLUG Modular Sleeve with Screw
One size only
$126.00
DP384
AMK Total Knee system
Primary Locking Pin S/S
One size only
$295.00
DY460
SROM Knee System
Noiles Cap with Screw for Tibial Base
One size only
$313.00
Prostheses List by Category, Groups and Sponsor
Page 399 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH056
Optetrak Total Knee System
Tibial Stem Screw
One size only
$764.00
$840.00

Smith & Nephew Surgical Pty Ltd
SN367
Mobile Bearing Knee
Locking Screw Co Cr
One size only
$205.00
SN393
Profix
Tibial Screw
15-50mm
$82.00

Stryker Australia Pty Ltd
HW084
Duracon Total Knee System
Augmentation Locking Screw -  Vitallium
5mm, 10mm
$184.00
HW097
Duracon Total Knee System
Tibial Baseplate Screw -  Vitallium
6.2mm diameter in 15mm, 20mm, 
$194.00

25mm, 30mm, 35mm, 40mm, 50mm, 

55mm, 60mm lengths
HW167
Kinemax Knee
Tibial: Fixation Peg -  Vitallium
20mm
$333.00
ST044
Scorpio Augmentation Locking Screw
Cobalt Chrome
5-15mm
$140.00

Zimmer Pty Ltd
ZI406
Natural Knee
Tibial Spacer Screw - Ti alloy
One size only
$255.00
ZI407
Natural Knee
Tibial Spacer Peg - Ti alloy
One size only
$255.00
ZI426
Natural Knee
Femoral Stem Screw - metal alloy
One size only
$302.00
ZI427
Natural Knee
Revision Posterior Stabilising Bar - CoCr alloy
One size only
$302.00
ZI516
Trabecular Metal Femoral Cone Augments
Trabecular Metal Femoral Void Filling 
Small, Medium, Large
$6,000.00
$8,563.00

Augment
Knee - Femoral Component Total Arthroplasty

Group 1a - Cemented, Alloy, Posterior Cruciate Retaining

Advanced Surgical Design & Manufacture Ltd
AE039
Active Knee System
Cemented Femoral Component
Sizes 00 - 5 Left & Right
$3,293.00

Advanced Surgical Technologies
AD141
Advance Total Knee System
Femoral CoCr component PCR cemented
0, 1, 2, 3, 4, 5, 6
$3,432.00
AD169
Advantim Total Knee System
Femoral Components CoCr Total Condylar 
Small, Medium, Large, Xlarge
$1,508.00

(Non Porous Coated)

B Braun Australia Pty Ltd
BB205
Columbus TKS
Femoral component
F1 - F7, Left and Right
$3,145.00
Prostheses List by Category, Groups and Sponsor
Page 400 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI147
AGC Knee System
Femoral Component, Anatomic, Chrome 
55-80mm
$3,432.00

Cobalt
BI152
AGC Knee System
Femoral Component, Universal, Chrome 
55-80mm
$3,260.00

Cobalt
BI168
Maxim Complete Knee System
Primary Anatomic Femoral, Cemented, 
55-80mm
$3,432.00

Chrome Cobalt
BI898
Vanguard Total Knee System
Femoral Component, CR, Cemented, 
55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 
$3,432.00

anatomic, CoCr.
Left and Right

Corin  Australia Pty Ltd
CR013
Rotaglide + Total Knee System, Femoral 
Pegged, Cemented
Ex Sml - Ex Lge
$2,808.00

Component
CR015
Rotaglide + Total Knee System, Femoral 
Stemmed, Cemented
Ex Sml - Ex Lge
$3,016.00

Component
CR105
Score Cemented Femoral Component
Cemented
7 sizes
$3,183.00

ESKA Australia
EK029
Type ST Biocondylar Surface Replacement
Fixed bearing left and right femoral 
s-small, small, medium, large, x-
$3,300.00

components. Cemented
large. Height - 8, 10, 12, 14mm
EK032
Type RP Biocondylar Surface Replacement
Mobile bearing. Left and Right Femoral 
s-small, small, medium, large, x-large
$3,300.00

components. Cemented.

Global Orthopaedic Technology
GO123
3D Knee
Femoral Component nonporous CrCo
Size 2 to 12
$3,068.00

Johnson & Johnson Medical Pty Ltd
DP381
AMK Total Knee system
Cemented Femoral left and right
Size 1-5
$3,640.00

Mathys Orthopaedics Pty Ltd
MA108
Balansys Femoral Component
Left & right 
A - E
$3,400.00

Medacta Australia Pty Ltd
MU026
Evolis cemented CR femur
Cemented cruciate retaining femoral 
1- 6, left and right
$3,432.00

component
MU027
Evolis cemented CR femur TiNbN coating
Cemented cruciate retaining femoral 
1 - 6, left and right
$3,400.00
$3,800.00

component with TiNbN antiallergenic 

Orthotech Pty Ltd
OH020
Optetrak Total Knee System
Femoral Component
Size 1 -  6
$3,432.00
Prostheses List by Category, Groups and Sponsor
Page 401 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Plus Orthopedics Australia Pty Ltd
PL027
PLUS Knee Joint Prostheses System
TC-PLUS Solution (Cemented) Fem
2 to 12
$3,411.00
PL068
Plus Knee Joint Prostheses System
Femoral Cemented
1-6
$3,640.00

Smith & Nephew Surgical Pty Ltd
SN321
Genesis II 
Non Porous femoral
Left/Right Size 1-8
$3,400.00

Stryker Australia Pty Ltd
HW076
Duracon Femoral Component - Cemented
Cruciate Retaining
Small, Medium, Medium-Large, 
$3,400.00

Large, Extra-Large
HW147
Kinemax Knee
Femoral: Condylar Beadless -  Vitallium
XS, S, M, L, XL, XXL
$2,422.00
SK324
Triathlon Femoral Component - Cemented
Cruciate Retaining
Sizes 1 to 8
$3,640.00
SK332
Scorpio NRG Cemented Femur
Cruciate Retaining
Sizes 3,4,5,6,7,9,11,13
$3,640.00
SR063
Scorpio Knee System – Scorpio CR LFIT 
Scorpio CR (Cruciate Retaining) LFIT (Low 
3 Left, 3 Right, 5 Left, 5 Right, 7 
$3,640.00

Femoral Component
Friction Ion Treatment) femoral component –
Left, 7 Right, 9 Left, 9 Right, 11 

 Waffle – Cemented
Left, 11 Right, 13 Left, 13 Right
ST023
Scorpio Cemented Femur
Cruciate Retaining
3, 5, 7, 9, 11, 13
$3,400.00
ST634
Osteonics Knee System
Femoral component cemented cobalt chrome
3, 5, 7, 9, 11, 13
$3,400.00

Zimmer Pty Ltd
ZI420
Natural Knee
Primary Femur - Cemented - CoCr alloy
Size 00 to 5
$3,260.00
ZI559
Natural Knee II Flex Femur
Primary Flex Femur - CR Ti/CoCr Alloy - 
Sizes 1 to 5 GSM Left and Right 
$3,400.00
$4,280.00

Cemented
and Sizes 0 to 4 GSF Left and Right

Rev

Endotec Australia Pty Ltd
EA014
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented Revision 
$4,597.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
Femoral sizes 1-6(inc) Left & Right

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Plus Orthopedics Australia Pty Ltd
PL092
PLUS Knee Joint Prostheses System
TC PLUS Revision - Femur
2 - 10
$6,084.00

Group 1b - Cemented, Alloy, Posterior Stabilised

B Braun Australia Pty Ltd
BB196
Emotion TKS
Femoral Component-posterior stabilized
F1 - F7, Left and Right
$3,257.00
BB206
Columbus TKS
Femoral component - posterior stabilized
F1 - F7, Left and Right
$3,257.00
Prostheses List by Category, Groups and Sponsor
Page 402 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI150
AGC Knee System
Femoral Component, Anatomic, Post. 
55 to 80mm
$3,400.00

Stabilised Chrome Cobalt
BI158
AGC Knee System
Femoral Prosthesis, Posterior Stabilised, 
55-80mm
$3,400.00

Universal. Chrome Cobalt
BI178
Maxim Complete Knee System
Femoral Component, Posterior Stabilised 
55-80mm
$3,400.00

Anatomic Chrome Cobalt
BI195
Rotating Platform Knee System
Femoral Component, Posterior Stabilised, 
60-75mm
$3,400.00

Cemented, CoCr
BI897
Vanguard Total Knee System
Femoral Component, Posterior Stabilised, 
55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 
$3,400.00

Cemented, anatomic, CoCr.
Left and Right
BI902
ROCC Knee Prosthesis
Femoral Component, cemented, anatomic, 
1-8
$3,400.00

CoCr

Finsbury Orthopaedics Australia Pty Ltd
FI025
DBK Total Knee System
Femoral Component, CoChr Alloy, cemented
Sizes 1-6, Left and Right
$2,600.00
FI028
MRK Total Knee System
Femoral Component, Cemented, CoChr 
0-5 Left and Right
$2,600.00

Global Orthopaedic Technology
GO006
RBK Total Knee System
Femoral Component, Primary, Mobile 
0 - 5
$3,234.00

Bearing, Co Coatings

Johnson & Johnson Medical Pty Ltd
DP004
LCS Complete System
Femoral Cemented
Small - xlarge
$3,288.00
DP149
PFC Knee System Range
PFC Sigma C/S 
Size 1-6
$3,116.00
DP380
AMK Total Knee system
Posterior or Congruency stabilised femoral 
Size 1-5
$3,400.00

or STD Femoral post Chrome cobalt
DY404
RPF Cemented Femur
Size 1 to 6
$3,116.00

Link Orthopaedics  Australia
LO037
Gemini MkII Knee Joint Prostheses System
Femoral component, Standard, Microporous
Extra Small - Extra Large
$3,116.00

Mathys Orthopaedics Pty Ltd
MA487
balanSys PS Total Knee - balanSys PS 
balanSys PS Femur
Sizes A/B/C/D/E  /left and right
$3,400.00
$3,895.00

Femur

Medacta Australia Pty Ltd
MU028
Evolis cemented PS femur
Cemented posterior stabilised femoral 
1 - 6, left and right
$3,400.00

component
Prostheses List by Category, Groups and Sponsor
Page 403 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MU029
Evolis cemented PS femur TiNbN coating
Cemented posteriostabilsed femoral 
1 - 6, left and right
$3,400.00
$3,800.00

component with TiNbN antiallergenic 
MU043
Cinétique Cemented Femur
Cemented femoral component
Sizes 1 to 6, Left and Right
$3,183.00
MU044
Cinétique Cemented Femur TiNbN
Cemented femoral component with TiNbN 
Sizes 1 to 6, Left and Right
$3,400.00
$5,000.00

coating

Orthotech Pty Ltd
OH212
Optetrak Total Knee System
Femoral Component
Size 1 -  6
$3,116.00
$4,264.00

Smith & Nephew Surgical Pty Ltd
SN327
Genesis II/Profix
PS Non Porous Femoral Component
Left/Right, Size 1-8
$3,432.00
SN660
Profix Constrained Femur
Cobalt Chromium
Left & Right, 2-7
$3,183.00
SN847
Journey
Femoral component, CoCr
Sizes 1-10, Left and Right
$3,400.00
SN851
Legion
Femoral Component CoCr
Sizes 1-10, Left and Right
$7,280.00

Stryker Australia Pty Ltd
HW080
Duracon Total Knee System
Monolithic Stabiliser -  Vitallium
Small, Medium, Medium-Large, 
$3,400.00

Large, Extra-Large
HW396
Duracon Femoral Component - Cemented
Posterior Stabilised
Small, Medium, Medium-Large, 
$3,400.00

Large, Extra-Large
SR003
Scorpio NRG Cemented Femur
Posterior Stabilised
Sizes 3,4,5,6,7,9,11,13
$3,640.00
SR005
Scorpio Cemented Femur
Posterior Stabilised
3, 5, 7, 9, 11, 13
$3,400.00
SR009
Triathlon Femoral Component - Cemented
Posterior Stabilised
Sizes 1 to 8
$3,640.00
SR019
Osteonics Knee System
Femoral component cemented cobalt chrome
3, 5, 7, 9, 11, 13
$3,400.00
SR060
Scorpio Knee System – Scorpio TS LFIT 
Scorpio TS (Total Stabilized) LFIT (Low 
3 Left, 3 Right, 5 Left, 5 Right, 7 
$7,280.00

Femoral Component
Friction Ion Treatment) modular femoral 
Left, 7 Right, 9 Left, 9 Right, 11 

component – Waffle – Cemented
Left, 11 Right, 13 Left, 13 Right
ST984
Scorpio Knee System - Scorpio PS LFIT 
Scorpio PS (Posteriorly Stabilized) LFIT 
3 Left, 3 Right, 5 Left, 5 Right, 7 
$3,640.00

Femoral Component
(Low Friction Ion Treatment) femoral 
Left, 7 Right, 9 Left, 9 Right, 11 

component - Waffle - Cemented
Left, 11 Right, 13 Left, 13 Right

Zimmer Pty Ltd
ZI421
Natural Knee
Primary Femur - Cemented P.S. - CoCr alloy
Size 00 to 5
$3,116.00
$3,483.00

Rev

Advanced Surgical Technologies
AD219
ADVANCE Total Knee System
Stemmed condylar femoral medial pivot 
1, 2, 3, 4, 5  All in Left & Right
$4,700.00

component - nonporous
Prostheses List by Category, Groups and Sponsor
Page 404 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Orthopaedic Technology
GO113
RBK Total Knee System
Revision Femoral Component, CrCo, PS
Size 0 to 5
$5,500.00

Johnson & Johnson Medical Pty Ltd
DY368
LCS Complete System
Modular Femur Cemented CoCr
Sml to Lg + Left and Right
$7,280.00

Plus Orthopedics Australia Pty Ltd
PL154
Plus Knee Prostheses System
PlusRevision Knee: Posterior Stabilised 
2-10mm
$5,500.00

Revision Femur

Tornier Pty Ltd
TO021
HLS Noetos Revision Knee
Femoral Component CoCr
1 to 6 right and left
$3,700.00

Zimmer Pty Ltd
ZI119
NexGen Knee Femoral Components PS
Option - Co Cr
A - H (L&R)
$7,280.00

Group 1c - Cemented, Alloy, Totally Constrained

Biomet Australia Pty Ltd
BI180
Maxim Complete Knee System
Constrained Anatomic Femoral Component, 
60-75mm
$3,068.00
$6,240.00

Anatomic. Chrome Cobalt
BI201
AGC Total Knee - Dual Articular Knee 
Femoral Component
55 - 75mm
$6,000.00
$6,540.00

System
BI799
Ascent Total Knee System
Femoral Anatomic, posterior stabilised or 
X-Small to X-Large
$3,068.00
$6,240.00

constrained, closed box, cemented, chrome 

cobalt
BI933
Vanguard SSK Knee System
Femoral Component, CoCr, Ti
55 to 80mm
$3,068.00
$6,240.00

Global Orthopaedic Technology
GO169
RBK Total Knee System
Revision Femoral Component, CrCo, Hinged
Size 0 to 5
$5,500.00

Johnson & Johnson Medical Pty Ltd
DP150
PFC Knee System Range
PFC Sigma TC3 Femur 
Size 1-5
$3,068.00
$3,733.00

Orthotech Pty Ltd
OH024
Optetrak Total Knee System
CCK Femoral Component
Size 1 - 6
$3,068.00
$6,240.00

Smith & Nephew Surgical Pty Ltd
SN315
Genesis II/Profix
Non Porous Constrained Femoral Component
Left & Right, Size 1-8
$3,068.00

Stryker Australia Pty Ltd
HW149
Kinemax Knee
Femoral: Stabilizer Beadless -  Vitallium
XS, S, M, L, XL, XXL
$2,756.00
Also grouped in Knee Group 11
Prostheses List by Category, Groups and Sponsor
Page 405 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Tornier Pty Ltd
TO008
HLS Noetos Total Knee Replacement - 
Femur Cemented
1 - 6 CoCr
$3,580.00

Femur

Rev

Advanced Surgical Technologies
AD143
Advance Revision Knee System
Femoral component CoCr
1, 2, 3, 4, 5
$4,880.00

Johnson & Johnson Medical Pty Ltd
DY148
LCS Complete Revision System
LCS Complete Revision Femoral Cemented 
Small - Large
$5,278.00
$7,280.00

Right and Left

Stryker Australia Pty Ltd
SK440
Triathlon Revision System
Total stabilizer femoral component
Left & Right Size 1-8
$6,000.00
ST061
Scorpio Femoral Component
Revision
3,5,7,9,11,13
$5,304.00
ST602
Duracon total knee system
Femoral component stabiliser revision  
Extra Small, Small, Medium, 
$5,928.00

vitallium
Medium Large, Large, Extra Large

Rev, H

Endotec Australia Pty Ltd
EA018
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented revision hinged
$5,439.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
 femoral assembly sizes 1-6(inc) 

inserts all polyethelene patella ceramic 
Left & Right

coated, titanium backed polyethelene mobile

Johnson & Johnson Medical Pty Ltd
DP254
SROM Knee System
Noiles Hinge Femoral Comp
XSml-Lge
$5,000.00

Plus Orthopedics Australia Pty Ltd
PL089
PLUS Knee Prostheses System
RT PLUS Modular Hinged Knee - Femur
0-10
$7,488.00

Zimmer Pty Ltd
ZI305
Nexgen Rotating Hinge Femur
Cobalt chrome femoral component for 
B-F
$15,076.00

rotating hinge knee, available left to right

Group 1d - Cemented, Alloy, PMMA coating, Posterior Cruciate Retaining

Zimmer Pty Ltd
ZI111
NexGen Knee Femoral Components CR
Precoat - Co Cr
A - H (L&R)
$3,458.00
Prostheses List by Category, Groups and Sponsor
Page 406 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Rev

Zimmer Pty Ltd
ZI113
NexGen Knee Femoral Components CRA
Precoat - Co Cr
A - H (L&R)
$7,540.00

Group 1e - Cemented, Alloy, PMMA coating, Posterior Stabilised

Orthotech Pty Ltd
OH233
Optetrak RBK
Optetrak RBK Femoral Component 
1-6
$3,432.00

Zimmer Pty Ltd
ZI063
NexGen Flex Femoral Components
Cobalt Chrome
Sizes A - G, Left & Right
$4,680.00
$5,050.00

GSF C to G Left & Right
ZI117
NexGen Knee Femoral Components PS
Precoat - Co Cr
A - H (L&R)
$3,432.00
$4,750.00

Group 1f - Cemented, Alloy, PMMA coating, Totally Constrained

Smith & Nephew Surgical Pty Ltd
SN814
Genesis II
Femoral Component Constrained Co Cr
Left & Right size 1-8
$3,068.00

Group 1g - Cemented, Non-Alloy, Posterior Cruciate Retaining

Endotec Australia Pty Ltd
EA007
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented Primary 
$3,952.00

Replacement System (Primary and Revision)
 components with mobile Polyethelene 
Femoral sizes 1-6(inc) Left & Right

inserts, all polyethelene patella ceramic 

coated, titanium backed polyethylene mobile

Smith & Nephew Surgical Pty Ltd
SN333
Genesis II/Profix
C/R Femoral Component, Oxinium
1-9
$4,992.00

Group 1h - Cemented, Non-Alloy, Posterior Stabilised

Johnson & Johnson Medical Pty Ltd
DY371
LCS Complete System
PS Femur CoCr Cemented TiNi
Sml to Lge Plus Left and Right
$5,189.00
DY374
LCS Complete System
Femoral Cemented TiNi
Small - Large Plus Left and Right
$5,189.00

Smith & Nephew Surgical Pty Ltd
SN704
Genesis II / Profix
Posterior Stabilised Oxinium Femoral 
Size 1 - 8
$5,189.00

Components
Prostheses List by Category, Groups and Sponsor
Page 407 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN779
Renasys Knee
Non Porous Femur
1-10
$5,189.00

Group 1i - Cemented, Non-Alloy, Totally Constrained

Rev

Smith & Nephew Surgical Pty Ltd
SN736
Legion Revision
Constrained Oxinium Femoral Component
Size 1 - 9
$8,320.00

Group 1j - Uncemented, Alloy, Posterior Cruciate Retaining

Advanced Surgical Technologies
AD168
Advantim Total Knee System
Femoral Components CoCr Total Condylar 
Small, Medium, Large, Xlarge
$2,309.00

(Porous Coated)

Biomet Australia Pty Ltd
BI159
AGC Total Knee System
Femoral Prostheses, Anatomic, Porous Coat,
55-80mm
$3,744.00

 CoCr, Ti
BI167
Maxim Complete Knee System
Primary Anatomic Femoral, Uncemented, 
55-80mm
$3,744.00

Chrome Cobalt
BI886
Vanguard Total Knee System
Femoral Component, CR, uncemented, 
55, 57.5, 60, 62.5, 65, 67.5, 70, 75, 80 
$3,952.00

anatomic, CoCr, Ti
Left and Right

ESKA Australia
EK030
Type ST Biocondylar Surface Replacement
Fixed bearing left and right femoral 
s-small, small, medium, large, x-
$3,300.00

components. Uncemented
large. Height - 8, 10, 12, 14mm
EK033
Type RP Biocondylar Surface Replacement
Mobile bearing. Left and Right Femoral 
s-small, small, medium, large, x-large
$3,500.00

components. Uncemented.

Finsbury Orthopaedics Australia Pty Ltd
FI026
DBK Total Knee System
Femoral Component, CoChr Alloy, 
Sizes 1-6, Left and Right
$3,120.00

uncemented

Global Orthopaedic Technology
GO124
3D Knee
Femoral Component Porous, CrCo
Size 2 to 12
$3,203.00

Johnson & Johnson Medical Pty Ltd
DP003
LCS Complete System
Femoral Porocoat
Small - large
$3,850.00
DP148
PFC Knee System Range
PFC Sigma C/R porous 
Size 1-6
$2,740.00
DP237
LCS Total Knee System
Femoral Tray Chrome cobalt
Sm+ to Lge++
$3,482.00
JJ606
PFC Sigma
C/R Porocoat Femur
Size 2 to 6
$2,740.00
$2,805.00
Prostheses List by Category, Groups and Sponsor
Page 408 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mathys Orthopaedics Pty Ltd
MA457
Balansys Femoral Component
Left & right
A - E
$3,500.00

Medacta Australia Pty Ltd
MU038
Evolis uncemented CR femur
Uncemented cruciate retaining femoral 
1 - 6, left to right
$3,500.00

component

Plus Orthopedics Australia Pty Ltd
PL053
Plus Knee Joint Prostheses System
Femoral Cementless
1-6
$3,500.00
$3,744.00

Smith & Nephew Surgical Pty Ltd
SN326
Genesis II 
Porous femoral
Left/Right Size 1-8
$3,744.00
SN375
Profix
Femoral Porous 
Left/Right Size 1-8
$3,500.00

Stryker Australia Pty Ltd
HW075
Duracon Femoral Component - Cementless
Cruciate Retaining
Small, Medium, Medium-Large, 
$3,500.00

Large, Extra-Large
HW146
Kinemax Knee
Femoral: Condylar Beaded -  Vitallium
XS, S, M, L, XL, XXL
$2,652.00
HW401
Kinemax Knee
Femoral: Condylar Beaded -  Vitallium
XS, S, M, L, XL, XXL
$3,442.00
SK387
Triathlon Total Knee System
Uncemented, porous beaded femoral 
1 to 8
$3,952.00

component, cruciate retaining, left and right, 

cobalt chrome
ST033
Scorpio Femoral Component - Cementless
Cruciate Retaining
3,5,7,9,11,13
$3,500.00

Zimmer Pty Ltd
ZI109
NexGen Knee Femoral Components CR
Porous - Co Cr
A - H (L&R)
$3,772.00
ZI418
Natural Knee
Primary Femur - Porous - Ti/CoCr alloy
Size 00 to 5
$3,772.00
ZI558
Natural Knee II Flex Femur
Primary Flex Femur - CR Ti/CoCr Alloy - 
Sizes 1 to 5 GSM Left & Right and 
$3,772.00
$4,480.00

Porous
Sizes 0 to 4 GSF Left and Right

Rev

Endotec Australia Pty Ltd
EA013
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat Revision 
$5,408.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
Femoral sizes 1-6(inc) Left & Right

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile
Prostheses List by Category, Groups and Sponsor
Page 409 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1k - Uncemented, Alloy, Posterior Stabilised

Advanced Surgical Technologies
AD186
Ortholoc Modular Total Condylar
Femoral components CoCr Posterior 
Small, Medium, Large, Xlarge
$3,727.00
$4,318.00

Stabilised (Porous Coated)
AD300
Advance Total Knee System
Femoral CoCr PCR component porous and HA
1, 2, 3, 4, 5, 6
$3,727.00
$4,150.00

Biomet Australia Pty Ltd
BI165
AGC Total Knee System
Femoral Prostheses, Posterior Stabilised, 
55-80mm
$3,727.00

Uncemented, Chrome Cobalt
BI174
Maxim Complete Knee System
Femoral Component, Posterior Stabilised, 
55-80mm
$3,727.00

Porous, Chrome Cobalt
BI910
Rotating Platform Knee System
Femoral Component, Posterior Stabilised, 
60 - 75mm
$3,727.00

Porous, CoCr, Ti
BI951
Vanguard Total Knee System
Femoral Component, Posterior Stabilised, 
55-80
$3,727.00

anatomic, Plasma Porous Coated, CoCr & Ti 

alloy

City Medical Devices Australia (trading as Energy Orthopaedics)
CD039
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, 
Femoral Implant 40-55
$3,727.00
$4,264.00

Stems & Patellar

Finsbury Orthopaedics Australia Pty Ltd
FI029
MRK Total Knee System
Femoral Component, cementless, CoChr Alloy
0-5 Left and Right
$3,600.00

Johnson & Johnson Medical Pty Ltd
DP268
SROM Knee System
Femoral Component
XSml -Lge
$3,850.00
DP518
LCS Universal Knee
LCS Ultra Femorals Chrome cobalt
Sm - Lge+
$3,674.00
DY508
LCD Revision Knee System
Revision Femoral Chrome Cobalt
STD - LGE+
$6,132.00

Medacta Australia Pty Ltd
MU039
Evolis uncemented PS femur
Uncemented posteriorstabilised femoral 
1 - 6, left to right
$3,850.00
$4,264.00

component

Orthotech Pty Ltd
OH234
Optetrak RBK
Optetrak RBK Femoral Component 
1-6
$3,727.00

Uncemented
Prostheses List by Category, Groups and Sponsor
Page 410 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Plus Orthopedics Australia Pty Ltd
PL077
Plus Knee Joint Prostheses System
TC Plus Solution, Femur PS
2-12
$3,727.00
$4,992.00

Smith & Nephew Surgical Pty Ltd
SN328
Genesis II/Profix
PS Porous Femoral  Component
Left/Right, Size 1-8
$4,264.00

Stryker Australia Pty Ltd
HW397
Duracon Femoral Component - Cementless
Posterior Stabilised
Small, Medium, Medium-Large, 
$3,500.00

Large, Extra-Large
SK386
Triathlon Total Knee System
Uncemented, porous beaded femoral 
Sizes 1 to 8
$3,952.00

component, posterior stabilized, left and 

right cobalt chrome
SR007
Scorpio Femoral Component - Cementless
Posterior Stabilised
3,5,7,9,11,13
$3,848.00

Zimmer Pty Ltd
ZI115
NexGen Knee Femoral Components PS
Porous - Co Cr
A - H (L&R)
$4,264.00
ZI419
Natural Knee
Primary Femur - Porous P.S. - Ti/CoCr alloy
Size 00 to 5
$3,727.00
$4,645.00

Rev

Advanced Surgical Technologies
AD185
Ortholoc/Advantim Revision Knee
Femoral components CoCr Revision (Porous
Small, Medium, Large, Xlarge
$5,762.00

 Coated)
AD214
ADVANCE Total Knee System
Stemmed condylar femoral medial pivot 
1, 2, 3, 4, 5, All in left & right
$5,400.00

component - porous

Johnson & Johnson Medical Pty Ltd
DP821
LCD Revision Knee System
Revision Femoral Chrome Cobalt
STD - LGE+
$6,132.00
DY149
LCS Complete Revision System
LCS Complete Revision Femoral Porocoat 
Small - Large
$5,719.00
$7,280.00

Right and Left

Zimmer Pty Ltd
ZI423
Natural Knee
Revision - Femur Porous -Ti/CoCr alloy
Size 00 to 4 (left & right), 
$5,400.00

Group 1l - Uncemented, Alloy, Totally Constrained

Smith & Nephew Surgical Pty Ltd
SN383
Profix
Porous Femoral with Taper
Right/Left Size 1-7
$4,218.00
Prostheses List by Category, Groups and Sponsor
Page 411 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Rev, H

Endotec Australia Pty Ltd
EA017
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat revision hinged 
$5,928.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
femoral assembly sizes 1-6(inc) 

inserts all polyethelene patella ceramic 
Left & Right

coated, titanium backed polyethelene mobile

Group 1m - Uncemented, Alloy, HA coating, Posterior Cruciate Retaining

Advanced Surgical Design & Manufacture Ltd
AE041
Active Knee System
Cementless  Femoral Component
Sizes 00 -- 5 Left & Right
$4,142.00

B Braun Australia Pty Ltd
BB232
Emotion TKS
Femoral Component - Cementless
F1 - F8, Left and Right
$3,700.00
BB234
Columbus TKS
Femoral Component - Cementless
F1 - F7, Left and Right
$3,700.00

Corin  Australia Pty Ltd
CR011
Rotaglide + Total Knee System, Femoral 
Pegged, Hap Coat
Ex Sml - Ex Lge
$4,000.00

Component
CR014
Rotaglide + Total Knee System, Femoral 
Stemmed, HAP Coat
Ex Sml - Ex Lge
$4,000.00

Component
CR107
Score Cementless Femoral Component
HAP Coated
7 Sizes
$3,640.00

Global Orthopaedic Technology
GO007
RBK Total Knee System - Femoral 
Porous coating
1-5
$3,245.00

Component

Johnson & Johnson Medical Pty Ltd
JJ462
LCS Complete DuoFix Femur
CoCr femur with PoroCoat and HA coating 
Small, Medium, Standard, Large, 
$4,160.00

for cementless fixation
Right and Left

Plus Orthopedics Australia Pty Ltd
PL028
PLUS Knee Joint Prostheses System
TC PLUS SOLUTION CEMENTLESS FEM
2 to 12
$3,500.00
Also grouped in Knee Groups 3b, 

5e, 10

Smith & Nephew Surgical Pty Ltd
SN332
Genesis II/Profix
Femoral Component HA Coated Co Cr
1-8
$4,160.00

Stryker Australia Pty Ltd
HW077
Duracon Femoral Component - Cementless 
Cruciate Retaining
Small, Medium, Medium-Large, 
$4,000.00

with PA
Large, Extra-Large
Prostheses List by Category, Groups and Sponsor
Page 412 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK325
Triathlon Femoral Component - Cementless
Cruciate Retaining
Sizes 1 to 8
$4,264.00
SK334
Scorpio NRG Cementless Femur
Cruciate Retaining
Sizes 3,4,5,6,7,9,11,13
$4,264.00
ST030
Scorpio Femoral Component - cementless 
Cruciate Retaining
3,5,7,9,11,13
$4,160.00

with PA

Zimmer Pty Ltd
ZI110
NexGen Knee Femoral Components CR
Porous HA/TCP - Co Cr
A - H (L&R)
$4,000.00
$4,486.00

Group 1n - Uncemented, Alloy, HA coating, Posterior Stabilised

Advanced Surgical Technologies
AD299
Advance HA Coated Femoral Component
HA Coated Femoral Component
1 - 6 Left and Right
$4,272.00
$4,420.00

Biomet Australia Pty Ltd
BI887
ROCC Knee Prosthesis
Femoral Component, uncemented, anatomic, 
1-8
$4,272.00

HA or Porous HA Coated, CoCr, HA, Ti'
BI911
Rotating Platform Knee System
Femoral Component, Posterior Stabilised, 
60 -75mm
$4,272.00

Porous, HA Coated, CoCr, Ti,

Link Orthopaedics  Australia
LO128
Gemini MkII Knee Joint Prostheses System
Femoral Component, Standard, HX Coating
Extra Small - Extra Large
$2,000.00
$3,800.00

Medacta Australia Pty Ltd
MU051
Cinétique Uncemented Femur HA coated
Uncemented femoral component with 
Sizes 1 to 6, Left and Right
$4,160.00

Hydroxyapatite coating

Stryker Australia Pty Ltd
HW398
Duracon Femoral Component - Cementless 
Posterior Stabilised
Small, Medium, Medium-Large, 
$4,000.00

with PA
Large, Extra-Large
SR004
Scorpio NRG Cementless Femur
Posterior Stabilised
Sizes 3,4,5,6,7,9,11,13
$4,272.00
SR006
Scorpio Femoral Component - cementless 
Posterior Stabilised
3,5,7,9,11,13
$4,272.00

with PA
SR011
Triathlon Knee System
HA Coated femoral component left and right
Sizes 1 to 8
$4,272.00

 cobalt chrome
SR024
Triathlon Femoral Component
Posterior Stabilised
Size 1 - 8
$4,272.00

Zimmer Pty Ltd
ZI062
NexGen Flex Femoral Component - Porous 
Cobalt Chrome
Sizes A-G Left & Right
$4,743.00
$4,815.00

HATCP
Prostheses List by Category, Groups and Sponsor
Page 413 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1o - Uncemented, Alloy, HA coating, Totally Constrained

Tornier Pty Ltd
TO018
HLS Noetos Total Knee Replacement - 
Femur Cementless
1 - 6 CoCr
$4,680.00

Femur

Group 1p - Uncemented, non-Alloy, Posterior Cruciate Retaining

Endotec Australia Pty Ltd
EA006
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat Primary Femoral 
$4,850.00

Replacement System (Primary and Revision)
 components with mobile Polyethylene 
sizes 1-6(inc) Left & Right

inserts, all polyethylene patella ceramic 

coated, titanium backed polyethylene mobile

Group 1q - Uncemented, non-Alloy, Posterior Stabilised

Johnson & Johnson Medical Pty Ltd
DY373
LCS Complete System
Femoral Porocoat TiNi
Small - Large Plus Left and Right
$4,190.00
Knee - Femoral Component: Two-compartmental Arthroplasty

Group 12c: Cemented, non-Alloy

Smith & Nephew Surgical Pty Ltd
SN835
Competitor Deuce
Oxinium Femoral Component
1-8
$5,000.00
Knee - Femoral Component: Uni-Compartmental Knee Replacement

Group 2a - Cemented, Alloy

Advanced Surgical Technologies
AD205
Advance-Unicondylar Knee System
Femoral component - cobolt chrome
Sizes 1, 2, 3, 4
$2,560.00

Biomet Australia Pty Ltd
BI031
Oxford Meniscal Knee System
Mark III Femoral Component, Chrome 
Small, Medium, Large, Extra Large.
$2,560.00

Cobalt, Cemented
BI203
Repicci II Unicondylar Knee System
Femoral Component, Cemented, Chrome 
45-60mm
$2,704.00

Cobalt
Prostheses List by Category, Groups and Sponsor
Page 414 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Corin  Australia Pty Ltd
CR059
Uniglide Cemented Femoral Component
Cobalt Chrome with Titanium Nitride 
1-4
$2,096.00

Global Orthopaedic Technology
GO032
Global re-surfacing uni-compartmental 
CoCrMo
Size 1-5 Right medial/left lateral; 
$2,560.00
$3,328.00

knee femoral implant
Size 1-5 Left medial/right lateral

Johnson & Johnson Medical Pty Ltd
DY112
Preservation Miu Knee System
MIU Cemented Femoral
Size 1-5
$2,041.00
DY471
PFC Knee System Range
PFC Sigma C/R porous
Size 1-6
$2,560.00

Link Orthopaedics  Australia
LO059
LINK Endo-Model SLED Prosthesis:
Femoral Component
Short, medium-short, medium & 
$2,288.00

large  

Mathys Orthopaedics Pty Ltd
MA451
balanSys UNI
Femoral component, cemented CoCrMo
A, B,C,D,E
$2,970.00

Plus Orthopedics Australia Pty Ltd
PL050
UC-PLUS Solution Knee System
Unicompartmental Femur Cemented
Femoral - 4, 6, 8, 10.
$2,153.00

Smith & Nephew Surgical Pty Ltd
SN338
Genesis Uni
Femoral Component CoCr
X-Small - Magnum Plus
$2,041.00

Stryker Australia Pty Ltd
SR052
Active Uni Compartmental Knee
Uni compartmental knee resurfacing 
All sizes for Femoral Component
$2,370.00

prostheses, consisting of a Femoral 

component manufactured from Chrome 
ST055
EIUS Femoral Component
Cobalt Chrome
XS, S, M, L, XL
$2,136.00

Tornier Pty Ltd
TO007
HLS Uni Evolution - Uni Knee 
Femoral Component - Cemented
1 - 4 CoCr
$2,288.00

Replacement - Femur

Zimmer Pty Ltd
ZI401
Allegretto Unicompartmental Knee
Femur - CoCr alloy
Size 1 to 3, Size 1+ to 3+
$2,560.00

Group 2b - Cemented, Alloy, PMMA coating

B Braun Australia Pty Ltd
BB197
Emotion TKS
Femoral Component
F1 - F8, Left and Right
$2,162.00
Prostheses List by Category, Groups and Sponsor
Page 415 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthotech Pty Ltd
OH230
Optetrak Uni Knee
Uni Femoral Component
1-6
$2,162.00

Zimmer Pty Ltd
ZI106
Miller Galante  Unicompartmental
Femoral Component - Co Cr
42 - 60 mm
$2,178.00
ZI494
Zimmer Uni-Compartmental High Flex Knee
Femoral Component - Cobalt Chrome
Sizes A to G
$2,178.00

Group 2c - Cemented, non-Alloy

Smith & Nephew Surgical Pty Ltd
SN710
Genesis Uni
Femoral Component, Oxinium
X-Small - Magnum
$3,120.00

Group 2d - Uncemented, Alloy 

Johnson & Johnson Medical Pty Ltd
DY113
Preservation Miu Knee System
MIU Porous Femoral
Size 1-5
$2,194.00

Zimmer Pty Ltd
ZI428
Natural Knee
Unicompartmental - Femur  - Ti/CoCr alloy
Size 1 to 7
$2,194.00

Group 2e - Uncemented, Alloy, HA coating

Biomet Australia Pty Ltd
BI859
Oxford Meniscal Knee System
Mark III Femur, Porous or HA Coated, CoCr,
Small - Extra Large
$2,450.00

 Ti, HA.

Corin  Australia Pty Ltd
CR058
Uniglide Femoral Component, Bonit 
Cobalt Chrome, Titanium Nitrate Ceramic 
1-4
$2,652.00

Coated, Bonit (Calcium Phosphate) ingrowth

 surface

Stryker Australia Pty Ltd
ST655
Unicompartmental Knee (Femoral 
Femoral component cobalt chrome with HA  
1, 2, 3, 4
$2,450.00

Component)
coating

Taylor Bryant Pty Ltd
TB304
HemiCAP Contoured Articular Knee System
Articular Component - Cobalt Chrome
Articular Component 15mm - 
$2,250.00
$3,195.00

0.5mm x 0.5mm to 2.0mm x 2.0mm 

offset;  Articular Component 20mm

 - 1.0mm x 1.0mm to 4.0mm x 4.0mm 

offset
Prostheses List by Category, Groups and Sponsor
Page 416 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB305
HemiCAP Contoured Articular Knee System
Fixation Screw - Titanium
Component for 15mm & 20mm 
$200.00
$900.00
Used with Billing Code TB304

Articular Components Screw 

9.5mm Dia x 20mm
Knee - Patellar Components

Group 9a - Cemented, all polyethylene

Advanced Surgical Design & Manufacture Ltd
AE050
Other Active Knee Components
Patella
Sizes 1 - 5
$483.00
$613.00

Advanced Surgical Technologies
AD137
Advance Total Knee System
All poly patella UHMWPE
25, 28, 32, 35, 38, 41mm
$458.00
AD174
Advantim Total Knee System
Patellae All Poly UHMWPE
25,28,32mm
$551.00

B Braun Australia Pty Ltd
BB202
Emotion TKS
Patella - 1 - Peg and 3 - Pegs
P1 to P6, 26 - 41 x 7 - 12mm
$614.00
BB208
Columbus TKS
Patellar Components, 3 pegs
P1 - P4
$614.00

Biomet Australia Pty Ltd
BI176
Biomet Patellar System
Patella Button, UHMWPE 
size 25 to 37mm
$614.00
BI899
ROCC Knee Prosthesis
Patella Component, all PE, cemented, 1 peg, 
1-8
$614.00

UHMWPE

City Medical Devices Australia (trading as Energy Orthopaedics)
CD024
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, 
Patellar 34-38mm Dia/ 8-10mm 
$614.00

Stems & Patellar
Thickness

Corin  Australia Pty Ltd
CR005
Rotaglide + Total Knee System, Patella 
Asymmetric
Sml (35/29mm)) - Lg (43/37mm)
$520.00

UHMWPE
CR006
Rotaglide + Total Knee System, Patella 
Dome
Sml (26mm OD) - Lg (34mm OD)
$520.00

UHMWPE
CR103
Score Patella
Resurfacing or inset
6 Diameters
$520.00

Endotec Australia Pty Ltd
EA012
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP All Poly Patella sizes 1-6(inc)
$500.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile
Prostheses List by Category, Groups and Sponsor
Page 417 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

ESKA Australia
EK024
Type RP Biocondylar Surface Replacement
Patella Component 3 peg cemented or 
small, medium, large
$450.00

cementless

Finsbury Orthopaedics Australia Pty Ltd
FI009
DBK Total Knee System
Patella Component
S/M/L Form, 23-26-30-34 diameter
$468.00
FI012
MRK Total Knee System
Patella Component, polyethylene, cemented
20-30mm
$468.00

Global Orthopaedic Technology
GO001
RBK Total Knee System - Patellar 
Polyethylene
24mm - 40mm
$593.00

component
GO128
3D Knee
Patellar component all UHMWPE
Size 26 to 38mm
$593.00

Johnson & Johnson Medical Pty Ltd
DP152
PFC Knee System Range
PFC Sigma Patella or Universal insert patella
Size SM - LG. Or 25-32mm
$483.00
DP264
SROM Knee System
Noiles UHMWPE & Poly Patella 
Size 30-38
$483.00
DP377
AMK Total Knee system
Poly Patella 
Size 30 - 38mm
$483.00
DP524
LCS 3 Pegged Patella
All Poly & all Poly 3peg Patella 
Std - Lge+
$483.00
$634.00

Link Orthopaedics  Australia
LO042
LINK Endo Model Rotational Knee System
Patella Component
Small, medium & large
$614.00
LO057
LINK Lubinus Total Patella Glide 
Patella Component
Small, medium & large
$483.00

Replacement

Mathys Orthopaedics Pty Ltd
MA111
Balansys Patella Component
Polyethylene
Dia 25mm
$614.00

Medacta Australia Pty Ltd
MU031
Evolis insert patella
Inset all-poly patella button
20, 24,28mm diam
$450.00
MU033
Evolis resurfacing patella
Resurfacing all poly three pegged patella
30/33/36/39mm diameter
$450.00
MU041
Cinétique All Poly 3 pegged Patella
All Poly Patella with 3 pegs
3 sizes: Size#1-2; #3-4; #5-6
$614.00
MU042
Cinétique All Poly Inset Patella
All Poly Inset Patella button
3 sizes: Size #1-2; #3-4; #5-6 
$614.00

(20/24/28mm diameter)

Orthotech Pty Ltd
OH023
Optetrak Total Knee System
Patella
32 - 42mm
$614.00

Plus Orthopedics Australia Pty Ltd
PL032
PLUS Knee Joint Prostheses System
TC-PLUS Patella
26mm, 29mm, 32mm, 35mm
$614.00
Prostheses List by Category, Groups and Sponsor
Page 418 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN323
Patella
Biconvex, Resurfacing &  All Poly
23-35mm 
$614.00
SN350
Genesis
Cemented All Poly Patella
X-Small - Large
$426.00
SN382
Profix
Patella, Inset and Onset
23-35mm
$520.00
$614.00

Stryker Australia Pty Ltd
HW105
Duracon Total Knee System
Patella - all polyethylene   
Small, Medium, Large, Xlarge
$520.00
HW140
Kinematic Rotating Knee
Patella -  Polyethylene
Small, Medium, Large
$520.00
HW182
PCA Knee
Patella: All Poly -  Vitallium
Small, Medium, Large, Extra Large
$520.00
SK323
Triathlon Knee System
Patella Component - all poly
Symmetric: 27mm x 8mm, 29mm x 
$520.00

8mm, 31mm x 9mm, 33mm x 9mm, 

36mm x 10mm, 39mm x 11mm; 

Assymetric: 29mm x 9mm, 32mm x 

10mm, 35mm x 10mm, 38mm x 

11mm, 40mm x 11mm
SK411
Scorpio X3 Polyethylene
Medialised dome patella, sequentially 
5 - 11 mm
$590.00

crossed linked polyethylene
SK412
Scorpio X3 Polyethylene
Concentric dome patella, sequentially 
5 - 11 mm
$590.00

crossed linked polyethylene
SK413
Scorpio X3 Polyethylene
Universal dome patella, sequentially crossed
3 - 11 mm
$590.00

 linked polyethylene
SK414
Scorpio X3 Polyethylene
Recessed patella, sequentially crossed 
26mm, 28mm, 30mm, 32mm X 10mm
$590.00

linked polyethylene
SK415
Scorpio X3 Polyethylene
Inset patella, sequentially crossed linked 
$590.00

polyethylene
SK418
Triathlon X 3 Polyethylene
Symmetric patella, sequentially crossed 
27mm X 8mm, 29mm X 8mm, 31mm 
$590.00

linked polyethylene
X 9mm, 33mm X 9mm, 36mm X 

10mm, 39mm X 11mm
SK419
Triathlon X 3 Polyethylene
Asymmetric patella, sequentially crossed 
29 x33 x 9mm, 32 x 36 x 10mm, 35 x 
$590.00

linked polyethylene
39 x 10mm, 38 x 42x 11mm, 40 x 44 x 

11mm
ST636
Osteonics Knee System
Patella polyethylene 
3, 5, 7, 9, 11, 13
$520.00

Tornier Pty Ltd
TO009
HLS System Total Knee Prostheses (HLS II)
UHMWPE Patella Component
small, medium, large
$489.00

Zimmer Pty Ltd
ZI071
Insall-Burstein II Femoral Component
Patella Button - UHMWPE
32 - 41mm
$483.00
$623.00
Prostheses List by Category, Groups and Sponsor
Page 419 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI093
Miller Galante II
Patella Button: Poly -UHMWPE
32 - 41mm
$483.00
$623.00
ZI148
NexGen Knee Patella Button
Polyethylene
26 - 41
$520.00
$614.00
ZI432
Natural Knee
Patella -PE
Size 0/7mm to 3/10 mm
$483.00
$614.00

Group 9b - Cemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd
BI903
ROCC Knee Prosthesis
Patella Component, rotating, cemented, 3 
1-8
$1,352.00

pegged, CoCr, UHMWPE

Johnson & Johnson Medical Pty Ltd
DP523
LCS 3 Pegged Patella
Cemented & Textured or porous coated  3 
Sm - Lge+
$1,352.00

peg Patella

Medacta Australia Pty Ltd
MU045
Cinétique Cemented Mobile Metal Backed 
Cemented metalback with 3 pegs for the 
3 Sizes: Size #1-2; #3-4; #5-6
$1,352.00

3 pegged Patella
mobile patella
MU046
Cinétique Cemented Mobile Metal Backed 
Cemented metalback with 3 pegs and 
3 sizes: Size #1-2; #3-4; #5-6
$1,352.00

3 pegged Patella TiNbN
antiallergic TiNbN coating for the mobile 

patella

Group 9c - Cemented, polyethylene metal backed, moulded

Biomet Australia Pty Ltd
BI194
Rotating Platform Knee System
Patella Button, UHMWPE, Chrome Cobalt
Size 25 to 37mm
$614.00

Stryker Australia Pty Ltd
ST609
Osteonics Knee System
Scorpio resurfaced patella components 
26-32mm in 2mm increments 10mm 
$520.00

cobalt chrome
thick

Group 9d - Uncemented, polyethylene metal backed, mobile

Biomet Australia Pty Ltd
BI901
ROCC Knee Prosthesis
Patella Component, rotating, uncemented, 3 
1-8
$1,352.00

pegged, HA or Porous HA, CoCr, 

UHMWPE, Ti, HA
Prostheses List by Category, Groups and Sponsor
Page 420 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Endotec Australia Pty Ltd
EA011
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat Mobile Patella 
$1,340.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Global Orthopaedic Technology
GO008
RBK Total Knee System - Patella 
Polyethylene/metal/hydroxyapatite coating
sizes 1 - 5
$1,352.00

component

Johnson & Johnson Medical Pty Ltd
DP520
LCS Universal Knee
LCS Ultra Patella
Sm - Lge+
$1,235.00
DY502
LCS 3 Pegged Patella
Cemented & Textured or porous coated  3 
Sm - Lge+
$1,352.00

peg Patella

Medacta Australia Pty Ltd
MU052
Cinétique Uncemented Mobile Metal 
Uncemented Patella with 3 pegs and metal 
Size #1-2; #3-4; #5-6
$1,352.00

backed 3 pegged Patella
back

Group 9e - Uncemented, polyethylene metal backed, moulded

Plus Orthopedics Australia Pty Ltd
PL155
Plus Knee Prostheses System
Plus Knee System: Cementless Patella
8-26mm - 12/35mm
$785.00

Stryker Australia Pty Ltd
HW108
Duracon Total Knee System
Patella - Periapatite - Insert -  Polyethylene 
Small, Medium, Large, Xlarge
$764.00

and Vitallium coated with PA

Zimmer Pty Ltd
ZI147
NexGen Knee Patella Button
TM Porous Patella
26 - 41
$1,144.00
ZI266
Continuum knee system
Hedrocel augment - patella prosthesis
Small, medium, large and x-large
$1,144.00
$3,280.00
ZI431
Natural Knee
Patella -Metal Back - PE / Ti alloy
Size 0 to 3
$764.00
ZI454
Natural Knee Patella
Titanium metal backed, Durasul UHMWPE
0-3
$764.00
$1,135.00
Knee - Patello Femoral Replacement Femoral Component

Group 7 - Patello femoral replacement femoral component

Biomet Australia Pty Ltd
BI945
Vanguard PFR
Femoral Component, Ti
XS to Xlarge
$2,855.00
Prostheses List by Category, Groups and Sponsor
Page 421 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

City Medical Devices Australia (trading as Energy Orthopaedics)
CD019
Themis Patellar Femoral
Polyethylene, CoCr, incl Trochlear 
Trochlear Component - Sml/ Med/ 
$2,969.00

Component & Patellar
Large
CD020
Themis Patellar Femoral
Polyethylene, CoCr, incl Trochlear 
Patellar - Sml/ Med/ Large
$1,120.00

Component & Patellar

Global Orthopaedic Technology
GO035
RBK Total Knee System - Femoral 
Trochlear Component, no coating CoCrMo
Size 1 to 5
$2,969.00
$3,640.00

Component

Johnson & Johnson Medical Pty Ltd
DY111
LCS Patellofemoral Joint Prosthesis
LCS PFJ Trochlear Components Right and 
Small - Large
$2,969.00

Left

Link Orthopaedics  Australia
LO058
LINK Lubinus Total Patella Glide 
Femoral Component
Small, medium, large, extra large
$2,026.00

Replacement

Smith & Nephew Surgical Pty Ltd
SN371
MOD III 
Femoral Component
Small & Large
$1,685.00
SN834
Competitor Deuce
Patello Femoral Oxinium
Sm, Med Lg, XLg
$3,000.00

Stryker Australia Pty Ltd
ST600
Avon Patello-femoral Prostheses
Vitallium
Extra Small, Small, Medium, Large
$2,969.00
Knee - Patello Femoral Replacement Patellar Component

Group 8 - Patello femoral replacement patellar component

Johnson & Johnson Medical Pty Ltd
DY484
LCS Patellofemoral Joint Prosthesis
LCS Patellofemoral Joint prosthesis, metal 
Small - Large
$1,700.00
$3,028.00

backed patella

Smith & Nephew Surgical Pty Ltd
SN394
Patella Femoral
Resurfacing System
Mini-Large
$701.00

Stryker Australia Pty Ltd
SK314
Avon Patello Femoral Prosthesis
Polyethylene patella button
Small, Medium, Large
$683.00
Prostheses List by Category, Groups and Sponsor
Page 422 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Knee - Revisions

Group 11 - Revisions

Corin  Australia Pty Ltd
CR109
Score Revision Femoral Component
Score Posterior Stabilised Revision Femoral 
4 sizes in left and right
$7,280.00

Component
CR110
Score Revision Insert
Score Revision Posterior Stabilised Mobile 
20 sizes
$1,120.00

Bearing Insert
CR111
Score Revision Offset Connector
Score Revision Offset Stem Adaptor
2mm, 4mm, 6mm
$1,200.00
CR112
Score Revision Tibial/Femoral Block
Score Revision Posterior Tibial/Femoral Block
31 sizes
$1,200.00

Medacta Australia Pty Ltd
MU035
Evolis tibial extension stem
Tibial tray extension stem
30/60mm length (12mm diameter)
$1,258.00
MU036
Evolis tibial fixation screws
Tibial tray fixation screws
20/25/30/35/40/45mm (6.5mm 
$194.00

diameter)
Knee - Special Indications

Group 10 - Special Indications

Advanced Surgical Technologies
AD241
Limb Salvage System for the skeletally 
Repiphysis non invasive expandable custom
Custom Made
$67,600.00

immature - Repiphysis
 designed Tibial Extension. Comprised of 

tibial base, axial bushing, axial pin - CoCr, 

Titanium, UHMWPE
AD242
Limb Salvage System for the Skeletally 
Repiphysis non invasive expandable custom
Custom Made
$67,600.00

Immature - Repiphysis
 designed Distal Hinge Femoral Extension. 

Distal hinge femur, stem fixation pin, spring 

housing tube, anti-rotation cylinder & pins, 

end cap, retaining tube, spring, antenna, 

isolant ring - CoCr, Titanium, PEEK 

Polyacetal Ceramic
AD243
Guardian Limb Salvage System
Guardian Femoral Neck & Mid-Section - 
40, 50, 60, 70, 90, 110, 140mm
$2,959.00

Standard Taper - Titanium
AD244
Guardian Limb Salvage System
Guardian Distal Femur
Left & Right
$4,841.00
AD245
Guardian Limb Salvage System
Guardian Tibial Hinge Assembly 
One Size only
$4,046.00

With/Without Rotational Stop Pin - CoCr
Prostheses List by Category, Groups and Sponsor
Page 423 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AD246
Guardian Limb Salvage System
Guardian Distal Femur Quick Snap Axial Pin 
1, 2, 3, 4
$2,267.00

- CoCr, Titanium
AD248
Guardian Limb Salvage System
Guardian Tibial Sleeve
1 - 5
$4,982.00
AD249
Guardian Limb Salvage System
Guardian Duramer Tibial Sleeve Spacer - 
8, 10, 12, 16, 20mm
$2,475.00

UHMWPE
AD250
Guardian Limb Salvage System
Guardian Male-Male Mid-Section Taper - 
40, 50, 60, 70, 90, 110, 140mm
$3,671.00

Titanium
AD251
Guardian Limb Slavage System
Guardian Non Porous Femoral Stem 
11, 13, 15, 17mm x 152mm
$2,735.00

Straight/Tapered - Titanium
AD252
Guardian Limb Salvage System
Guardian Proximal Tibia - Titanium
One Size Only
$7,176.00
AD253
Guardian Limb Salvage System
Guardian Resurfacing Femur - CoCr, 
2, 3, 4, Left & Right
$7,540.00

Titanium
AD254
Guardian Limb Salvage System
Guardian femoral Stem Straight With Plasma 
9, 11, 13 x 120mm
$3,630.00

Collar - Titanium
AD255
Guardian Limb Salvage System
Guardian porous Collared Femoral Stem 
11, 13, 15, 17mm x 152mm
$3,702.00

Straight/Tapered - Titanium
AD256
Guardian Limb Salvage System
Guardian Femoral Stem Straight - Titanium
9, 11, 13 x 120mm
$2,694.00

Biomet Australia Pty Ltd
BI864
Orthopaedic Salvage System
Stem, Cemented or Porous, Ti
(9-19)mm diameter x  (90-300)mm 
$3,037.00

length
BI865
Orthopaedic Salvage System
Femoral Component, Resurfacing or 
30 - 70mm
$8,211.00

Segmental, CoCr,Ti
BI866
Orthopaedic Salvage System
Femoral or Tibial Augment, Ti
Femoral Sleeve - One Size; Femoral
$2,137.00

 Flange - One Size; Tibial Block 

Augment 10-20mm;  Tibial 

Augment Sleeve - Small/Large
BI867
Orthopaedic Salvage System
Femoral/Tibial Interlocking devices:Locking 
One size only except for Locking 
$5,408.00

Pin, Femoral and Tibial Bushings, Tibial 
Screw - Small or Large; Tibial 

Bearing, Axle, Reinforced Yoke, Locking 
Bearing - 12-22mm

Screws. CoCr, Ti
BI868
Orthopaedic Salvage System
Diaphyseal Segment or Diaphyseal Coupler, 
Diaphyseal Segment 3-23cm, 
$4,410.00

Stacking Adapter and Locking Screws, Ti
Diaphyseal coupler 10-30cm
BI869
Orthopaedic Salvage System
Tibial Component, Resurfacing or 
63-83mm
$8,102.00

Segmental, Modular and non Modular, 
Prostheses List by Category, Groups and Sponsor
Page 424 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI890
Rotating Hinge Knee (RHK)
Augments, Femoral and Tibial, CoCr, Ti
Femoral; 10, 20, 30mm LL, LM, RL, 
$1,872.00

RM, Tibial; 10, 15mm RM/LL, 

RL/LM, 20mm
BI891
Rotating Hinge Knee (RHK)
Resurfacing Tibial Tray, Modular and 
Stemmed 59, 63, 67, 71mm widths; 
$7,176.00

Stemmed
Modular 59, 63, 67, 71, 75, 79, 

83mm widths
BI892
Rotating Hinge Knee (RHK)
Femoral Component, Resurfacing, 
Small, Standard, Large; Left and 
$7,384.00

cemented,anatomic, CoCr
Right
BI893
Rotating Hinge Knee (RHK)
Interlocking Components: Bearing Insert, 
Bearing Insert - 12, 14, 16, 18, 
$4,841.00

Yoke, Tibial and Femoral Bushings, Axle, 
20mm thicknesses, Yoke - short 

Axle Locking Pin, UHMWPE, Ti, CoCr
and long, Axle - one size, Axle 

Lock Pin - one size, Tibial and 

Femoral Bushings - one size

ESKA Australia
EK017
ESKA Tumor Revision System MML
Total femoral implant
various sizes
$11,440.00
EK018
ESKA Tumor Revision System MML
Distal femoral implant
various sizes
$11,440.00

Johnson & Johnson Medical Pty Ltd
DP255
SROM Knee System
Noiles Replacement Bumper Noiles Modular 
XSml - Medium
$135.00

or Replacement Hinge Bearing
DP262
SROM Knee System
Noiles Cap with Screw for Tibial Base
One size only
$313.00

Link Orthopaedics  Australia
LO041
LINK Endo Model Rotational Knee System
Intracondylar total rotation knee join with 
Small, medium & large
$17,001.00

Anti Lux device: with patella flange
LO043
LINK Endo Model Rotational Knee System
Tibial Spacers
Small, Medium, Large
$526.00
LO044
LINK Endo-Model Rotational Knee System
Total Rotational Knee Joint with Anti Lux 
Small, medium & large
$17,001.00

Device, with Patella Flange and Replacement

 of Femoral and/or Tibial Bone Structures, 

Distal femur
LO046
LINK Endo Model Rotational Knee System
Total Rotational Knee Joint with Anti Lux 
Extra small, small, medium & large
$20,785.00

Device, with Patella Flange and Replacement

 of Femoral and/or Tibial Bone Structures, 

distal femur & proximal tibia
LO047
LINK Endo Model Rotational Knee System
Total hinge knee: without patella flange
Small, medium & large
$10,415.00
LO048
LINK Endo Model Rotational Knee System
Total hinge knee: with patella flange
Small, medium & large
$11,303.00

Smith & Nephew Surgical Pty Ltd
SN694
Knee Component
Femoral, tiabial or insert
Size 0 - 10
$6,396.00
Prostheses List by Category, Groups and Sponsor
Page 425 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW141
HMRS Tibial Baseplate
Cobalt Chrome
Small, Medium, Large
$3,536.00
HW143
HMRS Femoral Component
Cobalt Chromium
Left, Right
$6,552.00
HW144
Kinematic Rotating Knee
Tibial Component -  Vitallium
Small and Medium 11mm/15mm by 
$2,933.00

110mm/180mm
HW145
Kinematic Rotating Knee
Axles, Bumpers, Bushings -  Vitallium
One size only
$728.00
HW231
Howmedica Modular Resection System
Tibial Rotating Component -  Vitallium
One size only
$3,453.00
HW232
Howmedica Modular Resection System
Tibial Insert -  Polyethylene 
6, 10, 14mm
$2,070.00
HW233
Howmedica Modular Resection System
Tibial Sleeve -  Vitallium
One size only
$785.00
HW234
Howmedica Modular Resection System
Tibial Stemmed Tray -  Vitallium
One size only
$8,772.00
HW248
HMRS Tibial Insert
Polyethylene
Extra Small, Small, Medium, Large, 
$2,127.00

Extra Large
SK156
Howmedica Modular Resection System
GMRS Proximal Tibial Component, Cast 
Small, Standard
$8,034.00

Chrome Cobalt
SK157
Howmedica Modular Resection System
GMRS Distal Femoral Component, Cast 
Small Left 65mm, Small Left 75mm, 
$8,008.00

Chrome Cobalt
Small Left 85mm, Small Left 95mm, 

Small Right 65mm, Small Right 

75mm, Small Right 85mm, Small 

Right 95mm, Standard Left, 

Standard Right
SK158
Howmedica Modular Resection System
GMRS Proximal Femoral Component, Cast 
Standard, Trochanteric, Smooth
$8,466.00

Chrome Cobalt
SK159
Howmedica Modular Resection System
GMRS (HMRS+) Curved Anchorage Stems, 
12, 13, 14, 15, 16, 17, 19mm
$5,034.00

Cobalt Chrome
SK161
Howmedica Modular Resection System
GMRS Extension Piece, Titanium/Cobalt 
30, 40, 50, 60, 70, 80, 100, 120, 140, 
$4,576.00

Chrome
160, 180, 200, 220mm
SK162
Howmedica Modular Resection System
GMRS Connection Piece, Titanium/Cobalt 
Left 80, 90mm; Right 80, 90mm
$4,498.00

Chrome
SK166
Howmedica Modular Resection System
GMRS Press fit stems long bowed 200mm
11, 12, 13, 14, 15, 16, 17, 18, 19mm
$5,034.00
SK168
Howmedica Modular Resection System
GMRS Press fit stems straight fluted
8, 9, 10, 11, 12, 13, 14, 15, 16, 17, 18, 
$4,498.00

19mm
SK330
Modular Replacement System
MRS femoral stems with female taper
11 x 127mm, 13 x 127mm, 15 x 
$6,760.00

127mm, 17 x 127mm
Prostheses List by Category, Groups and Sponsor
Page 426 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK331
Modular Rotating Hinge Knee System
MRH HDP ASSEMBLY PACK, consisting 
One size only
$3,172.00

of 1 x polyethylene tibial sleeve, 1 x 

polyethylene bumper insert and 2 x 

polyethylene femoral bushing components

Zimmer Pty Ltd
ZI425
Natural Knee
Revision - Femoral Spacers Non Porous - 
Size 0 to 4
$2,142.00

metal alloy

T

Biomet Australia Pty Ltd
BI166
Compress Finn Limb Salvage System
Distal Femoral Replacement: Anchor Plug, 
15 plugs, 9 segments, 8 pins, 14 
$13,560.00

Femoral segment, transverse pins, centering 
sleeves, 26 spindles

sleeves, spindle. Chrome Cobalt.

Stryker Australia Pty Ltd
HW191
Howmedica Modular Resection System
Proximal Femur -  Vitallium
120, 140, 160mm
$4,667.00
HW192
Howmedica Modular Resection System
Hex Screw -  Vitallium
16-30mm in 2mm increments and 
$37.00

35-70mm in 5m increments
HW195
Howmedica Modular Resection System
Plug Screw -  Vitallium
One size only
$218.00
HW196
Howmedica Modular Resection System
Tibial Joint -  Vitallium
One size only
$5,553.00
HW197
Howmedica Modular Resection System
Proximal Tibia -  Vitallium
120mm, 140mm, 160mm
$6,346.00
HW200
Howmedica Modular Resection System
Plug Screw Axis -  Vitallium
One size only
$217.00
HW201
Howmedica Modular Resection System
Axis -  Vitallium
One size only
$572.00
HW202
Howmedica Modular Resection System
Extension Piece -  Vitallium
60mm, 80mm, 100mm
$211.00
HW204
Howmedica Modular Resection System
Wedge -  Vitallium
One size only
$3,871.00
HW205
Howmedica Modular Resection System
Straight Anchorage Piece -  Vitallium
11, 12, 13, 14, 15mm
$4,451.00
HW206
Howmedica Modular Resection System
Curved Anchorage Piece -  Vitallium
12, 13, 14, 15, 16, 17, 19mm
$4,451.00
HW207
Howmedica Modular Resection System
Connecting Piece -  Vitallium
One size only
$6,768.00
HW208
Howmedica Modular Resection System
Hex Socket Bolt -  Vitallium
One size only
$415.00
HW209
Howmedica Modular Resection System
Screw Jack -  Vitallium
One size only
$275.00
HW227
Howmedica Modular Resection System
Rotating Hinge Distal Femur -  Vitallium
120, 140, 160mm
$8,433.00
HW228
Howmedica Modular Resection System
Rotating Hinge Axle -  Vitallium
One size only
$820.00
HW229
Howmedica Modular Resection System
Rotating Hinge Femoral Bushing -  Vitallium
One size only
$407.00
HW230
Howmedica Modular Resection System
Rotating Hinge Bumper -  Vitallium
Insert 0degree, 3degree, 5degree
$777.00
Prostheses List by Category, Groups and Sponsor
Page 427 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW243
Howmedica Modular Resection System
Duration Screw Jack -  Vitallium
One size only
$311.00
HW244
Howmedica Modular Resection System
Oncology Proximal Femur -  Vitallium
26mm, 28mm head with 70mm 
$5,804.00

segment
HW245
Howmedica Modular Resection System
Oncology Distal Femur Condyle -  Vitallium
Small, Standard
$7,095.00
HW246
Howmedica Modular Resection System
Oncology Femoral Body -  Titanium
Standard Diametre 40-220mm in 
$3,689.00

20mm increments and small 

diameter 40-160mm in 20mm 

increments
HW249
Howmedica Modular Resection System
Oncology Proximal Tibia -  Vitallium
95mm segment
$7,252.00
HW250
Howmedica Modular Resection System
Oncology Tibial Stem -  Vitallium
127mm in 9, 11, 13mm diameter
$3,757.00
HW251
Howmedica Modular Resection System
Oncology Tibial Insert -  Polyethylene
Small and Medium in 11, 13, 16, 
$1,648.00

21mm
SK160
Howmedica Modular Resection System
GMRS (HMRS+) Straight Anchorage Stems, 
11, 12, 13, 14, 15mm
$4,841.00

Cobalt Chrome
SK167
Howmedica Modular Resection System
GMRS Press fit stems short bowed 150mm
11, 12, 13, 14, 15, 16, 17, 18, 19mm
$4,429.00
Knee - Tibial Insert: Total Knee Arthroplasty

Group 5a - Posterior Cruciate Retaining, fixed

Advanced Surgical Design & Manufacture Ltd
AE049
Other Active Knee Components
Meniscal Insert
Sizes 1 - 5 Thickness 6 - 15.5mm
$945.00
$1,051.00
AE079
Active Knee Ultra Plus Meniscal Insert
UHMWPE Tibial Insert Posterior Stabilised -
1 - 5, 6 - 17.5mm Thickness
$1,144.00
$1,942.00

 Fixed

Advanced Surgical Technologies
AD139
Advance Total Knee System
Medial pivot UHMWPE tibial
0, 1, 2, 3, 4, 5, 6 in 10 - 25mm 
$1,144.00
$1,550.00

thicknesses
AD171
Advantim Total Knee System
Tibial Inserts Total Condylar UHMWPE
10-36mm in 2mm increments
$697.00
AD280
Advance Double High Tibial Insert
Double-High Tibial Insert - UHMWPE
All inserts are available in Left and
$1,144.00
$1,550.00

 Right: Sizes 1.5, 0, 1, 2, 3, 4, 5, & 6, 

in the following increments of 10, 

12, 14, 17, 20 & 25mm

Biomet Australia Pty Ltd
BI149
AGC Total Knee System
Tibial Bearing, 'Tradition' Cruciate Retaining,
59-91mm
$1,144.00

 UHMWPE
Prostheses List by Category, Groups and Sponsor
Page 428 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI172
Maxim Complete Knee System
Tibial Bearing Primary, UHMWPE
59-91mm
$1,144.00
BI798
Ascent Total Knee System
Tibial bearing, cruciate retaining, UHMWPE,
59, 63/67, 71/75, 79/83, 87/91mm 
$1,144.00

 curved or lipped
widths, 10-20mm thicknesses
BI801
Ascent Total Knee System
Tibial bearing, posterior or anterior 
59-91mm width x 8-20mm thickness
$1,144.00
Also grouped in Knee Group 5c

stabilised, UHMWPE
BI888
Vanguard Total Knee System
Tibial Bearing, CR, curved or lipped, 
59, 63/67, 71/75, 79/83, 87/91 
$1,144.00

UHMWPE
widths, 10, 12, 14, 16, 18, 20mm 

thicknesses

ESKA Australia
EK022
Type ST Biocondylar Surface Replacement
Polymer articulating components
Various sizes and heights
$1,144.00

Global Orthopaedic Technology
GO127
3D Knee
Congruent tibial insert UHMWPE
Size 1 to 12, 9mm to 19mm
$810.00
GO159
RBK Universal
RBK Universal - Tibial Insert - Fixed
Size 1- 5, 10mm - 20mm
$1,071.00

Johnson & Johnson Medical Pty Ltd
DP162
PFC Knee System Range
PFC Sigma Knee Duofix insert
Size 1-6
$945.00
DY481
PFC Knee System Range
PFC Sigma CVD or PLI  Poly tibial
Size 1-6
$1,021.00
JJ509
PFC Sigma Curved X-Linked Insert
PFC Sigma Curved X-Linked Inserts
Size 2 - 8mm, 10mm, 12.5mm, 15mm,
$1,136.00

 17.5mm, 20mm; Size 2.5 - 8mm, 

10mm, 12.5mm, 15mm, 17.5mm, 

20mm; Size 3 - 8mm, 10mm, 12.5mm,

 15mm, 17.5mm, 20mm; Size 4 - 

8mm, 10mm, 12.5mm, 15mm, 

17.5mm, 20mm; Size 5 - 8mm, 10mm,

 12.5mm, 15mm, 17.5mm, 20mm

Mathys Orthopaedics Pty Ltd
MA110
Balansys Tibial Component
Tibial insert 
Insert 64/8 - 85/15.5
$945.00

Medacta Australia Pty Ltd
MU034
Evolis standard tibial insert
Cruciate retaining polyethylene tibial insert
1 - 6, 9/11/13/16/19mm thickness
$801.00
MU037
Evolis UC-Flex tibial insert
Ultracongruent Polyethylene tibial insert
1 - 6, 9/11/13/16/19mm thickness
$801.00
Prostheses List by Category, Groups and Sponsor
Page 429 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Plus Orthopedics Australia Pty Ltd
PL049
UC-PLUS Tibial Component All
Tibial Component All Poly
40 (8mm, 10mm, 12mm, 14mm), 44 
$845.00

(8mm, 10mm, 12,, 14mm), 48 (8mm, 

10mm, 12mm, 14mm), 52 (8mm, 

10mm, 12mm, 14mm), 56 (8mm, 

10mm, 12mm, 14mm)
PL082
Plus Knee Joint Prostheses System
Tibial Insert Standard
1-6
$845.00

Smith & Nephew Surgical Pty Ltd
SN310
Genesis II
Inserts Deep dished
1-8. 9 - 21mm
$1,144.00
SN317
Genesis II / Profix
Tibial Insert
Size 1 - 8
$945.00
SN348
Genesis
Insert: Articular: Cruciate Retaining: 
Left & Right XS-Magnum 8MM-
$684.00

UHMWPE
15MM
SN372
Genesis II/Profix
Cruciate Retaining Insert
Left/Right, Size 1-8
$1,144.00

Stryker Australia Pty Ltd
HW091
Duracon Total Knee System
Tibial Insert - AP Lipped -  Polyethylene
Small, Medium, Large, Extra-Large 
$1,144.00

in each thickness 9mm, 11mm, 

13mm, 16mm, 19mm, 22mm, 25mm
HW102
Duracon Total Knee System
Tibial Insert - Revision (crossover) -  
Small, Medium, Large, Extra-Large 
$1,144.00
$1,217.00

Polyethylene
in each thickness 9mm, 11mm, 

13mm, 16mm, 19mm, 22mm, 25mm, 

28mm, 31mm
HW160
Kinemax Knee
Tibial Insert: Low Stress, Duration -  Vitallium
8, 10, 12, 15, 18, 21, 25mm per size
$759.00
HW162
Kinemax Knee
Tibial Insert: All Poly, Duration -  Vitallium
8, 10, 12, 15, 18, 21mm per size
$759.00
HW174
Kinemax Knee
Tibial Insert: KMS -  Vitallium
8, 10, 12, 15, 18, 21, 25mm per size
$759.00
SK091
Duracon Total Knee System
Tibial Insert CS-Lipped - Duration 
XS,S,M,L,XL Thickness 
$1,200.00

Polyethylene
9,11,13,16,19,22,25mm
SK328
Triathlon Tibial Insert
Cruciate Retaining
Sizes 1 to 8 (9/11/13/16/19/22/25mm
$1,430.00

 thickness)
SK333
NRG Knee System
Tibial inserts, cruciate retaining and 
Sizes 3,4,5,6,7,9,11,13, x 
$1,430.00

posterior stabilised
(8/10/12/15/18/21/24mm thickness)
SK431
Triathlon CS Lipped Insert
Tibial Insert posterior cruciate retaining & 
Sizes 1-8 _small - large) size 
$1,430.00

Posterior Stabilised Fixed beraing, N2VAC 
increments, 9mm, 11mm, 13mm, 

Polyethylene
16mm, 19mm, 22mm, 25mm
Prostheses List by Category, Groups and Sponsor
Page 430 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK432
Triathlon CS Lipped Insert
Tibial Insert posterior cruciate retaining & 
Sizes 1-8 _small - large) size 
$1,430.00

Posterior Stabilised Fixed beraing, 
increments, 9mm, 11mm, 13mm, 

sequentially crossed linked polyethylene
16mm, 19mm, 22mm, 25mm
ST608
Scorpio Tibial Insert
Cruciate Retaining
8-18mm in 2mm increments
$1,200.00
ST643
Osteonics Knee System
Tibial insert primary polyethylene
3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 
$1,200.00

21,24mm

Zimmer Pty Ltd
ZI077
Miller Galante I
Articulating Surface - UHMWPE
8 - 22mm
$945.00
ZI088
Miller Galante II
Articulating Surface - UHMWPE
9 - 23mm
$1,144.00
ZI134
NexGen Knee Articulating Surfaces
Standard - UHMWPE
9 - 23 mm
$945.00
$1,200.00
ZI135
NexGen Knee Articulating Surfaces
Ant. Constr. - UHMWPE
9 - 23mm
$945.00
$1,200.00
ZI139
NexGen Knee Articulating Surfaces
Anatomically Rotated - UHMWPE
9 - 23mm
$1,144.00
ZI291
NexGen Prolong Flex Articulating Surface
Highly Crosslinked - Ultra High Molecular 
Sizes A to G
$1,200.00

Weight Polyethylene Mobile & Fixed 
9mm to 20mm

Bearing - CR & LPS
ZI410
Natural Knee
PE Tibial Baseplate Insert - Congruent
00 to 22mm
$945.00
$1,200.00
ZI411
Natural Knee
PE Tibial Baseplate Insert - Ultra Congruent
9 to 22mm
$1,144.00
$1,200.00
ZI450
Natural Knee PE Insert
Highly crossed linked Durasul PE
One size only
$1,144.00
$1,550.00

Group 5b - Posterior Cruciate Retaining, mobile

Advanced Surgical Design & Manufacture Ltd
AE046
Active Mobile Bearing
Meniscal Insert
Sizes 1 - 5 Thickness 6 - 9.5mm
$936.00
$1,121.00

B Braun Australia Pty Ltd
BB255
Columbus
Tibia Plateau Rotating Platform - Tibial Insert
$1,120.00

Biomet Australia Pty Ltd
BI197
Rotating Platform Knee System
Tibial Bearing, UHMWPE
60-75mm
$1,300.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD023
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, 
Tibial Insert 40-55/10-20mm
$1,300.00

Stems & Patellar

Corin  Australia Pty Ltd
CR007
Rotaglide + Total Knee System, Tibial 
Mobile
7mm - 17mm
$858.00

Insert UHMWPE
Prostheses List by Category, Groups and Sponsor
Page 431 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CR008
Rotaglide + Total Knee System, Tibial 
Fixed
9.5mm - 17mm
$858.00

Insert UHMWPE
CR108
Score Mobile Bearing Insert
UHMWPE
7 sizes, 5 thicknesses
$1,120.00

Endotec Australia Pty Ltd
EA010
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR mobile bearing insert sizes
$1,150.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

ESKA Australia
EK044
Tibial Plateau RP/B
Polymer Articulating Component
8-10-12-14mm
$1,100.00
EK048
Tibial Plateau RP/A
Polymer Articulating Component
8-10-12-14mm
$1,100.00

Finsbury Orthopaedics Australia Pty Ltd
FI006
DBK Total Knee System
Tibial Insert, Polyethylene, Mobile Bearing, 
S/M/L Form, 9-17mm thickness
$884.00

posterior cruciate retaining

Global Orthopaedic Technology
GO002
RBK Total Knee System - Tibial insert
Polyethylene
1-5, 10-20mm
$1,071.00
GO160
RBK Universal
RBK Universal Tibial insert - Mobile
1-5, 10mm - 20mm
$1,071.00

Johnson & Johnson Medical Pty Ltd
DP008
LCS Complete System
APG Insert or APG Guide Arm
small - xlarge, sizes 10 - 20mm or 
$1,071.00
$1,286.00

Size 1-7
DP026
LCS Complete System
RP Tibial Insert
Small - large, size 10 - 30mm
$1,157.00
DP238
LCS Total Knee System
Meniscal or Rotating Platform Bearings 
10-17.5mm Std to Lge+
$1,157.00

Standard and Deep Dish
DP273
SROM Knee System
PROM Insert Curved & Stabilised (Noiles)
Size 2-5
$967.00
DP521
LCS Universal Knee
LCS Ultra inserts
Sm - Lge+
$1,157.00
DP825
LCS Revision Knee system
LCS Revision Bearings
SML+ to LGE++ 10m-25mm in each
$1,157.00

 size
DY369
LCS Complete System
Tibial Inserts
Small to Large + thickness 10-
$1,157.00

25mm
DY375
LCS Complete System
APG Insert or APG Guide Arm TiNi
Aml - Xlrge, sizes 10-20mm or Size 
$1,157.00

1-7
DY376
LCS Complete System
RP Tibial Insert for TiNi
Small - Large + from thickness 10-
$1,157.00

25mm
Prostheses List by Category, Groups and Sponsor
Page 432 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Link Orthopaedics  Australia
LO131
Gemini MkII Knee Joint Prostheses System
Extra Small - Extra Large
$1,100.00

Medacta Australia Pty Ltd
MU049
Cinétique Rotating Platform Insert PCR
Cinétique posterior cruciate retaining 
Size 1 to 6, 7/9/11/13/15mm 
$1,157.00

polyethylene insert
thicknesses

Orthotech Pty Ltd
OH022
Optetrak Total Knee System
Insert
Size 1 -  6
$1,300.00

Plus Orthopedics Australia Pty Ltd
PL031
PLUS Knee Joint Prostheses System
TC-PLUS Tibial Insert Mobile Bearing 
2-12 : 9-19mm
$1,054.00

C.R./C.S.

Smith & Nephew Surgical Pty Ltd
SN320
Genesis II 
Mobile Bearing Standard Insert
Left & Right, Size 1-8, 9-15mm 
$975.00
SN378
Profix
Mobile Bearing Stabilised Insert
Size 1-8 10-16mm
$1,144.00
SN379
Profix
Mobile Bearing Standard Insert
Size 1-8 10-16mm
$936.00
SN699
Profix
Mobile bearing stabilised insert
1-8, 18-20mm
$1,144.00

Stryker Australia Pty Ltd
SR031
Triathlon Mobile Mearing Knee System
Mobile bearing knee, cruciate retaining, 
1 to 8, 9mm to 19mm
$1,350.00

tibial insert
ST032
Scorpio Tibial Insert
Mobile Bearing
8-24mm for all tibia sizes
$1,300.00
ST912
Duracon Total Knee Tibial Insert
Duracon ISA Mobile-Bearing PE Tibial 
Small, medium, large, X-large - left, 
$1,300.00

right

Zimmer Pty Ltd
ZI138
NexGen Knee Articulating Surfaces
MBK - UHMWPE
9 - 23mm
$936.00
$1,117.00
ZI408
Natural Knee
PE Insert Mobile Bearing 
00 to 22mm
$1,117.00
ZI434
SAL Knee
PE Insert - Mobile Bearing
Mobile Bearing - 0/1 to E/16
$936.00
$1,117.00
ZI515
NexGen Prolong CR Mobile Bearing 
NexGen Prolong CR Mobile Bearing 
Sizes A - G 9mm to 20mm
$1,117.00

Articulating Surface
Aticulating Surface

Group 5c - Posterior Stabilised, fixed

Advanced Surgical Design & Manufacture Ltd
AE047
Active Knee System
Ultracongruent Meniscal Insert
Sizes 1 - 5 Thickness 6 - 17.5mm
$972.00
$1,121.00
Prostheses List by Category, Groups and Sponsor
Page 433 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Advanced Surgical Technologies
AD136
Advance Total Knee System
PS Tibial UHMWPE
1, 2, 3, 4, 5, 6
$1,404.00
AD188
Ortholoc 11 Revision Knee
Tibial inserts posterior stabilised UHMWPE
Small, Medium, Large, X-Large - 10
$1,200.00

 to 35mm in 2mm increments

B Braun Australia Pty Ltd
BB209
Columbus TKS
Gliding Surface with Screw
T1 - T5
$899.00

Biomet Australia Pty Ltd
BI179
Maxim Complete Knee System
Tibial Bearing, Posterior Stabilised UHMWPE
59-91mm
$1,404.00
BI905
AGC Total Knee System
Tibial Bearing 'Tradition' Posterior 
59-91mm
$1,404.00

Stabilised, UHMWPE

Finsbury Orthopaedics Australia Pty Ltd
FI027
MRK Total Knee System
Tibial Insert, Polyethylene
1/2/3, 8-18mm thickness
$884.00

Johnson & Johnson Medical Pty Ltd
JJ508
PFC Sigma Stab X-Linked Insert
PFC Sigma Stab X-Linked Inserts
Size 2 - 8mm, 10mm, 12.5mm, 15mm,
$1,073.00

 17.5mm, 20mm, 22.5mm, 25mm; 

Size 2.5 - 8mm, 10mm, 12.5mm, 

15mm, 17.5mm, 20mm, 22.5mm, 

25mm; Size 3 - 8mm, 10mm, 12.5mm,

 15mm, 17.5mm, 20mm, 22.5mm, 

25mm; Size 4 - 8mm, 10mm, 12.5mm,

 15mm, 17.5mm, 20mm, 22.5mm, 

25mm; Size 5 - 8mm, 10mm, 12.5mm,

 15mm, 17.5mm, 20mm, 22.5mm, 25mm

Mathys Orthopaedics Pty Ltd
MA489
balanSys PS Total Knee - balanSys fixed 
balanSys fixed PS PE Inlay
Height: 8/10.5/13/15.5/18/20.5/23 - 
$1,073.00
$1,430.00

PS PE Inlay
ML/AP Dimensions: 

64/70/75/80/85 - fixed bearing

Medacta Australia Pty Ltd
MU032
Evolis PS Tibial Insert
Posteriorstabilised polyethylenetibial insert
1 - 6, 9/11/13/16/19mm thickness
$801.00

Plus Orthopedics Australia Pty Ltd
PL075
Plus Knee Joint Prostheses System
Tibial Insert Substituted
1-6
$1,073.00
PL078
Plus Knee Joint Prostheses System
TC Plus Solution, Tibial Insert PS
2-12
$1,073.00
Prostheses List by Category, Groups and Sponsor
Page 434 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
PL088
PLUS Knee Joint Prostheses System
Revision - Tibial insert substituted
1-5
$1,200.00

1-5

Smith & Nephew Surgical Pty Ltd
SN331
Genesis II / Profix
Tibial P/S Insert
Size1-8
$1,073.00
$1,163.00
SN349
Genesis
Insert: PS Articular: UHMWPE
Right/Left S-XL 8mm-25mm
$816.00
SN727
Genesis II
High Flex PS Insert, UHMWPE
1-8, 9-25mm thickness
$1,073.00
SN780
Renasys Knee
P/S Insert
8-30mm, 1-10
$1,349.00

Stryker Australia Pty Ltd
HW092
Duracon Total Knee System
Tibial Insert - Stabilised -  Polyethylene
Small, Medium, Large, Extra-Large 
$1,200.00

in each thickness 9mm, 11mm, 

13mm, 16mm, 19mm, 22mm, 25mm
SK436
Triathlon Revision System
Total Stabilizer Tibial insert +/- 10degrees 
Tibial Insert Sizes: Left & right 9-
$1,430.00
$1,841.00

internal/external rotation, posterior 
31mm sizes 1-8

stabilized, fixed bearing, N2VAC 
Reinforced Post Sizes 9-31mm

polyethylene. + Reinforced Stabilizing post
SK438
Triathlon Revision System
Total Stabilizer + Tibial insert +/- 10degrees 
Tibial Insert Sizes: Left & right 9-
$1,430.00
$1,841.00

internal/external rotation, posterior 
31mm sizes 1-8

stabilized, fixed bearing, sequentially 
Reinforced Post Sizes 9-31mm

crossed linked polyethylene. + Reinforced 
SR002
Triathlon Tibial Insert
Posterior Stabilised
Sizes 1 to 8 (9/11/13/16/19/22/25mm
$1,430.00

 thickness)
SR008
Scorpio Tibial Insert
Posterior Stabilised
8-18mm in 2mm increments
$1,200.00
SR012
NRG Knee System
Tibial inserts, cruciate retaining and 
Sizes 3,4,5,6,7,9,11,13, x 
$1,430.00

posterior stabilised
(8/10/12/15/18/21/24mm thickness)
SR020
Osteonics Knee System
Tibial insert primary polyethylene
3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 
$1,200.00

21,24mm
ST644
Osteonics Knee System
Tibial insert posterior stabilised - PSI 
3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 
$1,200.00

polyethylene
21,24mm
ST645
Osteonics Knee System
Tibial insert posterior stabilised - PSII 
3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 
$1,200.00

polyethylene
21,24mm
ST646
Osteonics Knee System
Tibial insert posterior stabilised - PSIII 
3, 5, 7, 9, 11, 13 in 8, 10, 12, 15, 18, 
$1,200.00

polyethylene
21,24mm
ST925
Scorpio Tibial Bearing Insert
Scorpio tibial insert - superflex.  Composition
3, 5, 7, 9 , 11, 13 in thickness 8, 10, 
$1,404.00

 - N2VAC UHMWPE
12, 15, 18, 21, 24mm
Prostheses List by Category, Groups and Sponsor
Page 435 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI057
NexGen Articulating Surfaces LPS Flex
Polyethylene
Sizes 9 - 23mm
$972.00
ZI064
Insall-Burstein II Articulating Surface
CCK - UHMWPE
10 - 25mm
$1,200.00
ZI065
Insall-Burstein II Articulating Surface
CCK (extra thick) - UHMWPE
30, 35mm
$1,200.00
ZI066
Insall-Burstein II Articulating Surface
PSK - UHMWPE
8 - 25mm
$946.00
ZI136
NexGen Knee Articulating Surfaces
PS - UHMWPE
9 - 23mm
$972.00
ZI137
NexGen Knee Articulating Surfaces
CCK - UHMWPE
10 - 35mm
$1,258.00
$1,283.00
ZI409
Natural Knee
PE Tibial Baseplate Insert - P.S.
00 to 22mm
$972.00
ZI521
NexGen LPS Prolong Articulating Surface
NexGen LPS Prolong Aticulating Surface
Sizes A - G, 9mm to 20mm
$972.00
$1,117.00

Group 5d - Posterior Stabilised, mobile

B Braun Australia Pty Ltd
BB199
Emotion TKS
Articulating surface-posterior stabilized
T1 to T8 Sizes: 10 to 24mm
$1,120.00

Biomet Australia Pty Ltd
BI885
ROCC Knee Prosthesis
Rotating Platform Bearing, ARCOM 
1-6 (tray size), 10-20mm (bearing 
$1,300.00

UHMWPE
size)
BI907
TRAC Knee System
Bearing Posterior Stabilised UHMWPE
59 - 91mm
$1,300.00
$1,788.00

Finsbury Orthopaedics Australia Pty Ltd
FI024
DBK Total Knee System
Tibial Insert, Polyethylene, Mobile Bearing, 
S/M/L Form, 9-17mm thickness
$884.00

posterior stabilised

Global Orthopaedic Technology
GO117
RBK Total Knee System
Posterior stabilised tibial insert, UHMWPE
Size 0 to 5, 10mm to 20mm thick
$1,120.00

Johnson & Johnson Medical Pty Ltd
DP166
PFC Knee System Range
PFC Sigma Knee PR Insert
Size 1-6
$1,120.00
DP270
SROM Knee System
NPS Tibial Plateau 
XSml -Lge
$1,426.00
DP388
AMK Total Knee system
Posterior stabilised or Tibial or Congruency 
Size 1-5
$1,120.00

or Constrained insert
DY158
LCS Complete Revision System
LCS Complete Revision Insert
Small 10mm - large + 30mm
$1,120.00
DY372
LCS Complete System
PS Tibial Insert - Mobile
Sml to Lge Plus 10-25mm
$1,120.00
DY405
RPF PS Tibial Inserts
Size 1 to 6 from 10 to 17.5mm
$1,120.00
$1,611.00
DY457
PFC Knee System Range
PFC Sigma C/S
Size 1-6
$1,120.00
Prostheses List by Category, Groups and Sponsor
Page 436 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY459
SROM Knee System
PROM Insert Curved & Stabilised (Noiles)
Size 2-5
$967.00
DY465
LCS Total Knee System
Meniscal or Rotating Platform Bearings 
10-17.5mm Std to Lge+
$1,120.00

Standard and Deep Dish
DY476
LCS Complete System
RP Tibial Insert
Small - large, size 10 - 30mm
$1,120.00

Medacta Australia Pty Ltd
MU050
Cinétique Rotating Platform UC Insert
Cinétique ultracongruent polyethylene 
Sizes 1 to 6, 7/9/11/13/15mm 
$1,120.00

insert for PCL deficient knee
thicknesses

Orthotech Pty Ltd
OH235
Optetrak RBK
Optetrak RBK Mobile Insert
1-6
$1,300.00

Plus Orthopedics Australia Pty Ltd
PL066
PLUS Knee Joint Prostheses System
TC-PLUS Tibial Insert Ultra Congruent
2-12 : 9-19mm
$1,120.00
PL067
Plus Knee Joint Prostheses System
Tibial Insert SB
1-6
$1,248.00

Stryker Australia Pty Ltd
SR013
Scorpio Tibial Insert
Mobile Bearing
-24mm for all tibia sizes
$1,300.00
SR032
Triathlon Mobile Bearing Knee System
Mobile bearing knee, posterior stabilised, 
1 to 8, 9mm to 22mm
$1,350.00

tibial insert

Tornier Pty Ltd
TO020
HLS Noetos Total Knee Replacement - 
UHMWPE
1 - 6, 9,11 & 13mm
$1,120.00

Tibial Insert

Zimmer Pty Ltd
ZI058
NexGen Articulating Surface
LPS Mobile Articulating surface Polyethylene
Sizes 9 - 23mm
$1,120.00

Group 5e - Totally Constrained, fixed

Advanced Surgical Technologies
AD145
Advance Revision Knee System
PS and CCK Insert UHMWPE
1, 2, 3, 4, 5, 6 in 10 - 30mm in 2mm 
$1,508.00

increments

B Braun Australia Pty Ltd
BB207
Columbus TKS
Gliding Surface
T1 - T5
$859.00

Biomet Australia Pty Ltd
BI181
Maxim Complete Knee System
Tibial Bearing, Contrained. UHMWPE
59-91mm
$1,560.00
BI802
Ascent Total Knee System
Tibial bearing, constrained, UHMWPE
59, 63/67, 71/75, 79/83, 87/91mm 
$1,560.00

widths, 10-20mm thicknesses
Prostheses List by Category, Groups and Sponsor
Page 437 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI904
Vanguard Total Knee System
Tibial Bearing, PS, PS+.  UHMWPE
59, 63/67, 71/75, 79/83, 87/91, 
$1,560.00

widths, 10. 12, 14, 16, 18, 20, 22, 

24mm thicknesses
BI939
Vanguard SSK Knee System
Tibial Bearing Insert, PSC, UHMWPE
59-75mm x (10-24mm)
$1,500.00

Johnson & Johnson Medical Pty Ltd
DP145
PFC Knee System Range
PFC Sigma PLI or CVD or CS inserts or TCS
Size 1-6
$859.00
DP570
AMK Coordinate Revision Knee System
Tibial Ultra or STD Tibial or Varus Valgus 
Size 1-5 or 2-10mm
$1,560.00
$1,810.00

Constrained Inserts

Mathys Orthopaedics Pty Ltd
MA459
Balansys Tibial Component
Tibial insert
Insert 64/8 - 85/15.5
$910.00

Orthotech Pty Ltd
OH025
Optetrak Total Knee System
CCK Tibial Insert with Screw
Size 1 - 6
$1,560.00

Plus Orthopedics Australia Pty Ltd
PL097
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Tibial insert with 
0-10
$1,118.00

clamp

Smith & Nephew Surgical Pty Ltd
SN313
Genesis II/Profix
Constrained Insert
Left/Right, Size 1-8, 10-30mm
$1,118.00
SN340
Genesis
Constrained Articular
Left/Right Small- XLarge 10mm - 
$832.00

25mm
SN353
Genesis
Revision Articular Insert
Left/Right Constrained Small - 
$1,300.00

Xlarge, Crutiate retaining Size 1-8, 

Post Stabilising Size 1-8, 

Tricon/Genisis Small-Xlarge

Stryker Australia Pty Ltd
HW161
Kinemax Knee
Tibial Insert: Stabilizer -  Vitallium
8, 10, 12, 15, 18, 21, 25mm per size
$910.00
SK410
Scorpio X3 Polyethylene
Tibial insert, totally stabilised, fixed bearing, 
3 - 11 mm 7F/5T, 5F/7T, 11F/9T, 
$1,560.00
$1,770.00

sequentially crossed linked polyethylene
9F/11T

10mm-24mm
SK437
Triathlon Revision System
Total Stabilizer Plus Tibial insert +/- 
Tibial Insert Sizes: Left & right 9-
$1,560.00
$1,841.00

2degrees internal/external rotation, posterior 
31mm sizes 1-8

stabilized, fixed bearing, N2VAC 
Reinforced Post Sizes 9-31mm

polyethylene. + Reinforced Stabilizing post
Prostheses List by Category, Groups and Sponsor
Page 438 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK439
Triathlon Revision System
Total Stabilizer Plus Tibial insert +/- 
Tibial Insert Sizes: Left & right 9-
$1,560.00
$1,841.00

2degrees internal/external rotation, posterior 
31mm sizes 1-8

stabilized, fixed bearing, sequentially 
Reinforced Post Sizes 9-31mm

crossed linked polyethylene. + Reinforced 
ST024
Scorpio Tibial Insert
Revision
8-24mm for all tibia sizes
$1,560.00
$1,841.00
ST601
Duracon total knee system
Tibial insert stabiliser revision  vitallium
Extra Small, Small, Medium, 
$1,560.00
$1,596.00

Medium Large, Large, Extra Large

Group 5f - Totally Constrained, mobile

B Braun Australia Pty Ltd
BB198
Emotion TKS
Articulating surface
T1 to T8 Size: 10 to 24mm
$842.00

Biomet Australia Pty Ltd
BI954
AGC Total Knee - Dual Articular Knee 
Tibial Insert, Rotating
59 - 83mm, 8 - 20mm Depth
$910.00
$2,200.00

System

Johnson & Johnson Medical Pty Ltd
DP257
SROM Knee System
NRH Tibial Plateau size 
XSml - Med
$2,889.00
DY367
PFC Knee System Range
PFC Sigma RP TC3
Size 1.5 to 5 thickness of 15.5 to 
$842.00
$1,826.00

30mm
JJ532
LCS Complete Revision System
LCS Complete Revision VVC insert
small-large+, 10 - 25mm
$1,900.00

Mathys Orthopaedics Pty Ltd
MA311
Balansys Mobile Insert
Tibial Polyethylene Component Mobile 
64/8mm - 85/15.5mm
$910.00

Bearing

Stryker Australia Pty Ltd
SR033
Triathlon Mobile Bearing Knee System
Mobile bearing knee, cruciate 
1 to 8, 9mm to 22mm
$1,350.00

supplementing or constrained, tibial insert

H

Zimmer Pty Ltd
ZI307
Nexgen Rotating Hinge Articulating Surface
Ultra high molecular weight polyethylene 
12-26mm, sizes B-F
$1,565.00

articulating tibial insert
Prostheses List by Category, Groups and Sponsor
Page 439 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Knee - Tibial Insert: Uni-Compartmental Knee Arthroplasty

Group 6a - Fixed bearing

B Braun Australia Pty Ltd
BB203
Emotion Unicondylar
Uni gliding surface
F1 and F5, 3mm
$520.00

Biomet Australia Pty Ltd
BI205
Repicci II Unicondylar Knee System
Tibial Bearing, Modular, UHMWPE
Std, Large, Xlarge
$680.00

Johnson & Johnson Medical Pty Ltd
DY115
Preservation Miu Knee System
MIU Fixed or Mobile Bearing Inserts RM/LL
1, 9.5mm - 5, 13.5mm
$680.00
$895.00

 and LM/RL

Mathys Orthopaedics Pty Ltd
MA454
balanSys UNI
PE insert - fixed bearing
5,6,7,9
$900.00

Plus Orthopedics Australia Pty Ltd
PL131
UC-PLUS Solution Knee System
Unicomprtmental Tibia Insert Cemented
40 (8mm, 10mm, 12mm, 14mm), 44 
$680.00

(8mm, 10mm, 12,, 14mm), 48 (8mm, 

10mm, 12mm, 14mm), 52 (8mm, 

10mm, 12mm, 14mm), 56 (8mm, 

10mm, 12mm, 14mm)

Smith & Nephew Surgical Pty Ltd
SN334
Genesis Uni
Articular Insert UHMWPE 
x-Small-Magnum 8mm-12mm
$732.00
$833.00
SN837
Competitor Deuce
Tibial Insert
10-18mm
$732.00
$833.00

Stryker Australia Pty Ltd
ST656
Unicompartmental Knee (Tibial Bearing)
Tibial insert polyethylene
1, 2, 3, 4 in 8, 10, 12, 15mm
$1,456.00

Zimmer Pty Ltd
ZI105
Miller Galante  Unicompartmental
Articulating Surface - UHMWPE
8 - 14 mm
$680.00
ZI429
Natural Knee
Unicompartmental - Tibia PE Insert
1,2 x 9mm to 5,6 x 13mm
$680.00
$792.00

Group 6b - Mobile bearing

Biomet Australia Pty Ltd
BI032
Oxford Meniscal Knee System
Mark III Tibial Bearing , UHMWPE
Small Standard, Large, Xlarge, 
$790.00

sizes 3-9 
BI861
Oxford Meniscal Knee System
Mark III Tibial Bearing, Anatomic, 
(Small - Extra Large) x (3-9)
$790.00

UHMWPE.
Prostheses List by Category, Groups and Sponsor
Page 440 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Corin  Australia Pty Ltd
CR060
Uniglide Tibial Insert
UHMWPE
Height 4, 5, 6, 7, 8, 9, 10, 11, 12mm; 
$578.00

Size 1-4

Johnson & Johnson Medical Pty Ltd
DP351
LCS UNI Knee system
AP GLIDE Tibial Porocoat Chrome cobalt
Size 1-6
$790.00
DY472
PFC Knee System Range
PFC Sigma PLI or CVD or CS inserts or TCS
Size 1-6
$790.00

Mathys Orthopaedics Pty Ltd
MA455
balanSys UNI
PE insert - mobile
5,6,7,9
$900.00
MA478
balanSys™ Uni Convex - balanSys™ UNI 
Convex PE inlay for use with balanSys™ 
PE inlay A/5, PE inlay A/6, PE 
$790.00
$1,150.00

convex PE inlay
Convex Unicondylar Knee
inlay A/7, PE inlay A/9, PE inlay 

B/5, PE inlay B/6, PE inlay B/7, PE 

inlay B/9, PE inlay C/5, PE inlay 

C/6, PE inlay C/7, PE inlay C/9, PE 

inlay D/5,  PE inlay D/6, PE inlay 

D/7,  PE inlay D/9, PE inlay E/5, PE 

inlay E/6, PE inlay E/7, PE inlay E/9.
Knee - Tibial Tray Component: Total Knee Arthroplasty

Biomet Australia Pty Ltd
BI811
Offset Tibial Tray System
Tibial Tray
59-91mm
$2,593.00

Group 3a - Cemented, all polyethylene

Advanced Surgical Technologies
AD170
Advantim Total Knee System
All Poly Tibial UHMWPE
Small, Medium, Large, Xlarge
$1,030.00

Johnson & Johnson Medical Pty Ltd
DP151
PFC Knee System Range
PFC Sigma CVD or PLI  Poly tibial 
Size 1-6
$1,011.00
DP285
AMK All Poly Tibia
All Poly Tibial tray 
Size  1/2 to 5
$967.00
JJ589
PFC Sigma
All Poly Tibia
Size 2 to 6
$1,248.00
JJ590
PFC Sigma C/R All Poly Tibia
All Poly Tibia C/R
1.5 to 6
$1,248.00
$1,278.00

Smith & Nephew Surgical Pty Ltd
SN322
Genesis II/Profix
All Poly Tibial Base
Left/Right, Size 1-8
$1,248.00
Prostheses List by Category, Groups and Sponsor
Page 441 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW095
Duracon Total Knee System
Tibial Baseplate All Polyethylene -  
Small, Medium, Large, Extra-Large
$1,248.00

Polyethylene
ST647
Osteonics Knee System
Tibial component All polyethylene cobalt 
3, 5, 7, 9, 11, 13
$1,248.00

chrome

Zimmer Pty Ltd
ZI127
NexGen Knee Tibial Components Stemmed
All Poly - Ti
1 - 10
$1,248.00

Group 3b - Cemented, Alloy, Modular

Advanced Surgical Design & Manufacture Ltd
AE040
Active Knee System
Tibial Component Cemented
Sizes 1-5 
$1,976.00

Advanced Surgical Technologies
AD135
Advance Total Knee System
Tibial base CoCr cemented
1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6
$1,706.00
AD172
Advantim Total Knee System
Tibial Primary Smooth/Finned Titanium CoCr
3" Length in Small-Xlarge
$598.00
AD173
Advantim Total Knee System
Tibial Primary Smooth/Finned Titanium CoCr
6" Length in Small-Xlarge
$548.00
AD192
Ortholoc Modular Total Condylar
Tibial Components Modular Stem Base (Non
Small, Small Plus, Medium, 
$1,279.00

 Porous Coated) CoCr
Medium Plus, Large, Large Plus, 

Xlarge

Biomet Australia Pty Ltd
BI169
Biomet Tibial Tray System
Tibial Plate Primary, Cemented, Titanium
59-91mm
$2,132.00
BI182
Biomet Tibial Tray System
One Piece Tibial Plate and Stem, CoCr.
59-91mm
$2,345.00

Corin  Australia Pty Ltd
CR010
Rotaglide + Total Knee System, Tibial 
Latched, Cemented
Ex Sml - Ex Lge
$2,132.00

Component

ESKA Australia
EK025
Type ST Biocondylar Surface Replacement
Tibial Tray Component - cemented
s-small, small, medium, large, x-large
$2,132.00

Finsbury Orthopaedics Australia Pty Ltd
FI010
MRK Total Knee System
Tibial Tray Component cemented, CoChr 
1-5
$2,132.00

Alloy

Global Orthopaedic Technology
GO125
3D Knee
Tibial Baseplate nonporous CrCo
Size 1 to 12
$2,132.00
$2,600.00
Prostheses List by Category, Groups and Sponsor
Page 442 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DP130
PFC Knee System Range
PFC CK cemented or Modular Tibial Tray
Size 1-6
$2,132.00
DP444
AMK Chrome CobaltTray
Cemented CoCr Keeled tray and Porous 
Size 1-5
$2,132.00

Coated trays
DP889
AMK Chrome CobaltTray
Cobalt Chrome Tibial TEX  or TX FX Tray
Size 1-5
$2,132.00
DY378
LCS Complete System
Cemented Keeled or Cemented Tibial Tray 
1-6
$2,132.00

TiNi
JJ510
PFC Sigma Modular Tibial Tray Cemented -
PFC Sigma CoCr Tray with highly polished 
Size 2, 2.5, 3, 5, 6
$2,118.00

 CoCr
surface cemented

Mathys Orthopaedics Pty Ltd
MA109
Balansys Tibial Base Plate 
Metal back
64mm - 85mm
$2,182.00
MA488
balanSys PS Total Knee - balanSys fixed 
balanSys fixed PS Tibial plateau
ML/AP Dimensions: 
$2,132.00
$2,549.00

PS Tibial plateau
64/70/75/80/85

Medacta Australia Pty Ltd
MU030
Evolis cemented tibial tray
Stemmed cemented tibial tray
1 - 6
$2,132.00
$2,250.00

Orthotech Pty Ltd
OH021
Optetrak Total Knee System
Tibial Component
Size 1 -  6
$2,132.00

Plus Orthopedics Australia Pty Ltd
PL029
PLUS Knee Joint Prostheses System
TC-PLUS Tibial Cementless
2 to 12
$2,132.00
PL069
Plus Knee Joint Prostheses System
Tibia Cemented
1-6
$2,132.00

Smith & Nephew Surgical Pty Ltd
SN309
Genesis II / Profix
Tibial Base Non-Porous, Titanium
Size 1 - 8
$2,132.00
SN354
Genesis
Tibial Base: Non Porous 
Left/Right Small- Magnum 8mm-
$1,700.00

15mm
SN848
Journey
Tibial baseplate
Sizes 1-8, Left and Right
$2,132.00

Stryker Australia Pty Ltd
HW087
Duracon Total Knee System
Tibial Baseplate Cemented -  Vitallium
Small, Medium, Large, Extra-Large
$2,132.00
HW093
Duracon Total Knee System
Tibial Baseplate Universal - Cemented -  
Small, Medium, Large, Extra-Large
$2,345.00

Vitallium
HW154
Kinemax Knee
Tibial Component: Beadless -  Vitallium
XS, S, M, L, XL
$1,772.00
SK327
Triathlon Knee System
Cemented tibial baseplate cobalt chrome
Sizes 1 to 8
$2,182.00
ST066
Scorpio Tibial Tray
Cemented
3, 5, 7, 9, 11, 13
$2,182.00
Prostheses List by Category, Groups and Sponsor
Page 443 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Tornier Pty Ltd
TO019
HLS Noetos Total Knee Replacement - 
Tibial Tray, Cemented, fixed & mobile 
1 - 6 CoCr
$2,080.00

Tibial Tray
bearing components

Zimmer Pty Ltd
ZI435
SAL Knee
Tibial Baseplate - CoCr alloy
60/AOA to 92/E
$2,305.00

Rev

Advanced Surgical Technologies
AD147
Advance Revision Knee System
Tibial component titanium, non porous
0+, 1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6
$3,656.00
AD218
ADVANCE Total Knee System
Offset tibial base - nonporous
1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+ in Left
$4,368.00

 & Right

Biomet Australia Pty Ltd
BI177
Biomet Offset Tibia
One Piece Revision Tibial Plate and Stem 
59-91mm
$2,593.00

Boss, Ti

Johnson & Johnson Medical Pty Ltd
DP287
AMK Coordinate Revision Knee System
Revision Tibial tray or Full wedge Tray 
Size 1-5
$3,744.00

Chrome cobalt
DP294
AMK Coordinate Revision Knee System
Insert 4 and 10mm Thick Tibial inserts
Size 1-5
$3,656.00
DY467
PFC Knee System Range
PFC Sigma Knee Offset Tibial Tray  or 
Size 1-6
$3,905.00
$3,999.00

Modular Plus tibial Tray

Plus Orthopedics Australia Pty Ltd
PL099
PLUS Knee Prostheses System
RT PLUS Hinged Knee - Tibia
0-10
$3,656.00
PL109
PLUS Knee Joint Prostheses System
TC Plus Revision - Tibia
2 - 10
$3,656.00

Smith & Nephew Surgical Pty Ltd
SN824
Legion Revision
Legion revision baseplate
1-8
$2,950.00

Stryker Australia Pty Ltd
SR034
Triathlon Revision Knee System
Revision, cemented, stemmed baseplate
1 to 8
$3,656.00
ST034
Scorpio Tibial Tray
Revision
3,5,7,9,11,13
$2,593.00

Tornier Pty Ltd
TO026
HLS Noetos Revision Knee
Tibial Tray CoCr
1 to 5
$3,656.00
Prostheses List by Category, Groups and Sponsor
Page 444 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Rev, Mod

Stryker Australia Pty Ltd
SR064
Duracon stemmed revision baseplate
Duracon Non porous stemmed revision 
Non Porus - S1, S2, M1, M2, L1, 
$3,905.00

baseplate and porous coated stemmed 
L2, XL1, XL2 60mm A/P. Porous - 

revision baseplate with screw holes for 
SIZE ZS1, ZS2, S1, S2, M1, M2, L1,

screw fixation
 L2, XL1, XL2

Group 3c - Cemented, Alloy, Modular, PMMA coating

B Braun Australia Pty Ltd
BB204
Columbus TKS
Tibial component
T1 to T5
$2,250.00

Zimmer Pty Ltd
ZI073
Insall-Burstein II Femoral Component
Tibial Tray - Ti
54 - 74mm
$2,267.00
ZI102
Miller Galante II
Stemmed Tibial Tray:Precoat - Ti
A - K
$2,267.00
ZI122
NexGen Knee Tibial Components Pegged
Precoat - Titanium
1  - 10
$2,267.00
ZI125
NexGen Knee Tibial Components Stemmed
Precoat - Titanium
1  - 10
$2,267.00
ZI126
NexGen Knee Tibial Components Stemmed
Precoat AP Wedge - Ti
1 - 10
$2,267.00
ZI130
NexGen Knee Tibial Components Stemmed
Fluted - Ti
1 - 10
$2,267.00
ZI413
Natural Knee
Primary Tibial Baseplate -with Stem 
Size 00 to 5
$2,244.00

Cemented - Ti alloy

Group 3d - Cemented, Alloy, Moulded polyethylene 

Biomet Australia Pty Ltd
BI153
AGC Knee System
Tibial Component, Moulded, V2, UHMWPE,
63-91mm
$2,184.00

 Chrome Cobalt
BI810
Vanguard  Complete Knee System
Tibial bearing & tray, ' Mono Lok' Cruciate 
59 -91mm
$3,900.00

Retaining or Posterior Stabilised, CoCr 

UHMWPE

Group 3f - Cemented, Alloy, for mobile insert 

Advanced Surgical Design & Manufacture Ltd
AE044
Active Mobile Bearing
Tibial Tray - Cemented
Sizes 1-5
$2,081.00
Prostheses List by Category, Groups and Sponsor
Page 445 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

B Braun Australia Pty Ltd
BB201
Emotion TKS
Tibial component
T1 to T8, left and right
$2,288.00
BB253
Columbus
Tibia Plateau Rotating Platform Cemented
$2,704.00

Biomet Australia Pty Ltd
BI196
Rotating Platform Knee System
Tibial Component, Chrome Cobalt
63-87mm
$2,704.00
BI894
ROCC Knee Prosthesis
Tibial Baseplate, Cemented, Chrome Cobalt, 
1-8
$2,704.00

UHMWPE
BI955
AGC Total Knee - Dual Articular Knee 
Tibial Component
59 - 83mm
$3,630.00

System

Corin  Australia Pty Ltd
CR106
Score Cemented Tibial Component
Cemented
7 Sizes
$2,153.00

Endotec Australia Pty Ltd
EA009
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented Primary Tibial 
$2,250.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

ESKA Australia
EK050
Tibial Component Cemented RP
Tibial Tray Cemented CoCr
S - Small - Small - Medium - Large -
$2,800.00

 X-Large

Finsbury Orthopaedics Australia Pty Ltd
FI007
DBK Total Knee System
Tibial Tray Component cemented
1-6
$2,600.00

Global Orthopaedic Technology
GO003
RBK Total Knee System - Tibial Base
No coatings
0 - 5
$2,005.00
$3,692.00
GO155
RBK Universal
 RBK Universal - Tibial Base - Cemented
1 - 5
$2,153.00
$3,692.00

Johnson & Johnson Medical Pty Ltd
DP032
LCS Complete System
MBT Cemented Keeled  or Cemented Tibial 
Sizes 1 - 7
$3,023.00

Tray
DP235
LCS Knee system
Textured PCR or Rotating Platform or PCR 
Std to Lge ++
$2,153.00

tibial tray Chrome cobalt
DP240
LCS Total Knee system
Cemented Cruciate retention Tibial Chrome 
Std to Lge ++
$2,005.00
This change from gro 3F was 

cobalt
decided in the Nov 06 mtg but it 

was not changed by us, it was also 

discussed in the April KPCAG mtg 

where members agreed it should be 

changed to 3m.
Prostheses List by Category, Groups and Sponsor
Page 446 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP519
LCS Universal Knee
LCS Ultra Tibial Chrome cobalt
Std - Lge+
$2,005.00
$2,793.00

Mathys Orthopaedics Pty Ltd
MA312
Balansys Mobile Base Plate
Tibial Base Plate Mobile Bearing
64/8mm - 85/15.5mm
$2,704.00

Medacta Australia Pty Ltd
MU047
Cinétique Cemented Mobile Tibial Tray
Cemented tibial tray for mobile inlay
Sizes 1 to 7, Left and Right
$2,132.00
MU048
Cinétique Cemented Mobile Tibial Tray 
Cemented tibial tray coated with TiNbN for 
Sizes 1 to 7, Left and Right
$2,132.00

TiNbN
the mobile inlay

Plus Orthopedics Australia Pty Ltd
PL071
Plus Knee Joint Prostheses System
Tibia SB cemented
1-6
$2,680.00

Smith & Nephew Surgical Pty Ltd
SN369
Mobile Bearing Knee
Tibial Base Non Porous Titanium
Left & Right, Size 1-8
$2,153.00

Stryker Australia Pty Ltd
SR030
Triathlon Mobile Bearing Knee System
Mobile bearing knee, cemented, baseplate
1 to 8
$2,800.00
ST069
Scorpio Tibial Tray
Mobile Bearing Cemented
3, 5, 7, 9, 11, 13
$2,005.00
ST913
Duracon Total Knee System
Duracon ISA Mobile-Bearing CoCr Tibial 
Small, medium, large, X-large
$2,005.00

Baseplate

Zimmer Pty Ltd
ZI503
Natural Knee
Primary Tibial Baseplate - Mobile Bearing 
Size 00 to 5
$2,005.00

Non Porous - CoCr alloy

Rev

Endotec Australia Pty Ltd
EA016
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented Revision tibial 
$3,856.00
$4,450.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Global Orthopaedic Technology
GO115
RBK Total Knee System
Revision Tibial Tray, CrCo
Size 00 to 5
$3,630.00

Johnson & Johnson Medical Pty Ltd
DP822
LCS Revision Knee system
Revision tibial Tray Chrome cobalt
STD- LGE+
$3,856.00
DP826
LCS Revision Knee system
Revision Textured Tibial Tray Chrome cobalt
Size 1-7
$3,856.00
DY151
LCS Complete Revision System
MBT Revision Trays Cemented or porocoat
1 - 7
$3,630.00
Prostheses List by Category, Groups and Sponsor
Page 447 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Rev, H

Endotec Australia Pty Ltd
EA020
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented hinged tibial 
$4,500.00
$4,990.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile
EA022
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Cemented thick hinged 
$4,600.00
$5,100.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
tibial sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Johnson & Johnson Medical Pty Ltd
DP259
SROM Knee System
Noiles Modular Tibial Base
XSml-Xlge
$2,859.00

Zimmer Pty Ltd
ZI308
Nexgen Rotating Hinge Tibia
Cobalt chrome rotating platform tibial plate
1-6
$3,129.00

Group 3g - Cemented, Alloy, for mobile insert, PMMA coating

Orthotech Pty Ltd
OH236
Optetrak RBK
Optetrak RBK Mobile Tibia
1-6
$2,500.00

Plus Orthopedics Australia Pty Ltd
PL030
PLUS Knee Joint System
Tibial Tray Cemented Mobile Bearing
2 to 12
$2,536.00

Zimmer Pty Ltd
ZI061
NexGen Tibial Components Stemmed - 
Titanium
Sizes 1 - 10
$2,796.00

Fluted Mobile Option
ZI129
NexGen Knee Tibial Component - Mobile
CoCr Alloy
1 - 10
$2,796.00
ZI415
Natural Knee
Primary Tibial Baseplate - Mobile Bearing 
Size 00 to 5
$2,456.00

Non Porous - CoCr alloy

Group 3h - Uncemented, Alloy, Modular 

Advanced Surgical Technologies
AD183
Advance Total Knee System
Tibial base porous or HA titanium or CoCr
1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6
$2,800.00
AD193
Ortholoc Modular Total Condylar
Tibial Components Stemless or W/Modular 
Small, Small Plus, Medium, 
$1,841.00

Stem Base (Porous Coated) Titanium
Medium Plus, Large, Large Plus, 

Xlarge
Prostheses List by Category, Groups and Sponsor
Page 448 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI170
Maxim Complete Knee System
Tibial Plate Primary, Uncemented, Titanium
59-91mm
$2,298.00

Global Orthopaedic Technology
GO126
3D Knee
Tibial Baseplate porous CrCo
Size 1 to 12
$1,841.00
$3,536.00

Medacta Australia Pty Ltd
MU040
Evolis uncemented tibial tray
Stemmed uncemented tibial tray
1 -6
$2,298.00

Plus Orthopedics Australia Pty Ltd
PL070
Plus Knee Joint Prostheses System
Tibia cementless
1-6
$2,355.00

Smith & Nephew Surgical Pty Ltd
SN311
Genesis II/Profix
Porous Tibial Base Plate
Left/Right, Size 1-8
$2,298.00
SN356
Genesis
Tibial Base: Porous
Left/Right Small - Magnum
$2,199.00

Stryker Australia Pty Ltd
HW086
Duracon Total Knee System
Tibial Baseplate Cementless -  Vitallium
Small, Medium, Large, Extra-Large
$2,298.00
SK388
Triathlon Total Knee System
Uncemented, porous beaded tibial 
Sizes 1 to 8
$2,652.00

baseplate, primary, cobalt chrome
ST029
Scorpio Tibial Tray
Cementless
3,5,7,9,11,13
$2,298.00

Zimmer Pty Ltd
ZI086
Stemmed Tibial Tray:Porous
Ti
A - K
$2,298.00
ZI103
Miller Galante II
Other Tibial Tray:Porous Wedged - Ti
A - K
$2,298.00
ZI120
NexGen Knee Tibial Components Pegged
Porous - Titanium
1  - 10
$2,298.00
ZI123
NexGen Knee Tibial Components Stemmed
Porous - Titanium
1  - 10
$2,298.00
ZI412
Natural Knee
Primary Tibial Baseplate with Stem Porous - 
Size 00 to 5
$2,298.00
Also grouped in Knee Group 11

Ti alloy

Rev

Advanced Surgical Technologies
AD190
Ortholoc 11 Revision Knee
Tibial Components Modular Stem Thick 
Small, Small Plus, Medium, 
$3,276.00

Base (Porous Coated)
Medium Plus, Large, Large Plus, 

Xlarge
AD191
Ortholoc 11 Revision Knee
Tibial Components Modular Stem Wedged 
Small, Small Plus, Medium, 
$3,276.00

Base (Porous Coated) Titanium
Medium Plus, Large, Large Plus, 

Xlarge
Prostheses List by Category, Groups and Sponsor
Page 449 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI104
Miller Galante II
Other Tibial Tray:Porous Flat (revision) - Ti
A - K
$3,276.00
ZI416
Natural Knee
Revision -Tibial Baseplate - Ti alloy
0 to 5
$3,406.00

Group 3i - Uncemented, Alloy, Modular, HA coating

Advanced Surgical Design & Manufacture Ltd
AE043
Active Knee System
Tibial Component Cementless
Sizes 1-5 
$2,652.00
AE099
Active Knee System - Cementless 
HA Cementless Stemmed Tibia
Sizes 1 to 5 (A-Narrow & B-Wide)
$2,652.00
$3,192.00

Stemmed Tibia

Advanced Surgical Technologies
AD276
Advance HA Coated Tibial Base
Titanium HA Coated Tibial Base
1, 1+, 2, 2+, 3, 3+, 4, 4+, 5, 5+, 6
$2,652.00
$3,229.00

B Braun Australia Pty Ltd
BB231
Columbus TKS
Tibial Component - Cementless
T1 - T5
$2,652.00

Biomet Australia Pty Ltd
BI186
Maxim Complete Knee System
Tibial Tray, HA Coated, Ti
59 - 91mm
$2,652.00

ESKA Australia
EK026
Type ST Biocondylar Surface Replacement
Tibial Tray Component - uncemented
s-small, small, medium, large, x-large
$2,400.00

Finsbury Orthopaedics Australia Pty Ltd
FI011
MRK Total Knee System
Tibial Tray Component cementless, CoChr 
1-5
$2,652.00

Alloy

Global Orthopaedic Technology
GO156
RBK Universal
RBK Universal - Tibial Base - Porous Coated
1 - 5
$3,900.00

Johnson & Johnson Medical Pty Ltd
DP891
AMK Chrome CobaltTray
Duofix Cobalt Chrome tibial Tray HA coated 
Size 1-5
$2,652.00
$4,016.00

Plus Orthopedics Australia Pty Ltd
PL101
PLUS Knee Joint Prostheses System
TC-PLUS Tibial Cementless
2 to 12
$2,355.00

Smith & Nephew Surgical Pty Ltd
SN312
Genesis II/Profix
HA coated, Porous Tibial Baseplate
Left & Right, Size 1-8
$2,600.00

Stryker Australia Pty Ltd
HW088
Duracon Total Knee System
Tibial Baseplate Cementless with PA -  
Small, Medium, Large, Extra-Large
$2,652.00

Vitallium with PA coating
Prostheses List by Category, Groups and Sponsor
Page 450 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW094
Duracon Total Knee System
Tibial Baseplate Universal - Cementless -  
Small, Medium, Large, Extra-Large
$2,652.00

Vitallium
SK326
Triathlon Knee System
HA coated tibial baseplate
Sizes 1 to 8
$2,672.00
SK433
Triathlon PA Tibial Baseplate with screw 
Triathlong Press fit beaded screw in base 
1-8
$2,672.00

holes
plates with Periapetite
ST031
Scorpio Tibial Tray
PA
3,5,7,9,11,13
$2,672.00
ST648
Osteonics Knee System
Tibial component H/A cobalt chrome with 
3, 5, 7, 9, 11, 13
$2,652.00

HA coating

Zimmer Pty Ltd
ZI121
NexGen Knee Tibial Components Pegged
Porous HA/TCP - Titanium
1  - 10
$2,700.00
ZI124
NexGen Knee Tibial Components Stemmed
Porous HA/TCP - Titanium
1  - 10
$2,700.00

Group 3j - Uncemented, Alloy, Moulded polyethylene 

Biomet Australia Pty Ltd
BI863
AGC Knee System
Tibial Component, Moulded, V2 Porous 
(63-91) x (8-22)mm
$2,902.00

coated UHMWPE, Chrome Cobalt, Ti

Johnson & Johnson Medical Pty Ltd
DY462
SROM Knee System
Noiles Modular Tibial Base
XSml-Xlge
$2,792.00

Zimmer Pty Ltd
ZI295
NexGen TM Monoblock Tibial Component
Trabecular Meta (Tantalum) and Ultrahigh 
Sizes 3 - 8, Height 10mm - 17mm
$4,358.00

Molecular Weight Polyethylene

Group 3l - Uncemented, Alloy, for mobile insert 

B Braun Australia Pty Ltd
BB254
Columbus
Tibia Plateau Rotating Platform Uncemented
$3,300.00

Biomet Australia Pty Ltd
BI771
Rotating Platform Knee System
Tibial component, Porous, CoCr, Ti
63-87mm
$3,900.00

City Medical Devices Australia (trading as Energy Orthopaedics)
CD022
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, 
Tibial Base Plate 40-55
$3,640.00

Stems & Patellar
Prostheses List by Category, Groups and Sponsor
Page 451 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Endotec Australia Pty Ltd
EA008
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat Primary Tibial 
$3,860.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

ESKA Australia
EK045
Tibial Component Cementless RP
Tibial Tray Cementless CoCr MO
S-Small-Small-Medium-Large-X-
$2,900.00

Large

Finsbury Orthopaedics Australia Pty Ltd
FI008
DBK Total Knee System
Tibial Tray Component, cementless
1-6
$3,120.00

Global Orthopaedic Technology
GO004
RBK Total Knee System - Tibial base
Porous coating
1-5
$3,900.00

Johnson & Johnson Medical Pty Ltd
DP031
LCS Complete System
MBT Porocoat Keeled or Porocoat Tibial Tray
Sizes 1 - 7
$3,900.00
DP163
PFC Knee System Range
PFC Sigma Knee Offset Tibial Tray  or 
Size 1-6
$3,900.00

Modular Plus tibial Tray
DY377
LCS Complete System
MBT Porocoat Keeled or Porocoat Tibial 
1-6
$3,900.00
DY461
SROM Knee System
Noiles Modular Tibial Base
XSml-Xlge
$2,884.00
DY466
LCS Knee system
Textured PCR or Rotating Platform or PCR 
Std to Lge ++
$2,224.00

tibial tray Chrome cobalt
DY469
PFC Knee System Range
PFC Sigma CVD or PLI  Poly tibial
Size 1-6
$1,021.00

Mathys Orthopaedics Pty Ltd
MA460
Balansys Mobile Base Plate
Tibial Base Plate Mobile Bearing
64/8mm - 85/15.5mm
$2,826.00

Plus Orthopedics Australia Pty Ltd
PL048
PLUS SB Total Knee Replacement - 
Ti-Plasma Sprayed Tibial Component
2, 4, 6, 8, 10, 12
$3,900.00

Uncemented Tibial Component
PL072
Plus Knee Joint Prostheses System
Tibia SB Cementless
1-6
$3,900.00

Smith & Nephew Surgical Pty Ltd
SN370
Mobile Bearing Knee
Tibial Base Porous Titanium
Left & Right, Size 1-8
$2,602.00

Stryker Australia Pty Ltd
ST067
Scorpio Tibial Tray
Mobile Bearing Cementless
3, 5, 7, 9, 11, 13
$2,826.00
Prostheses List by Category, Groups and Sponsor
Page 452 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Zimmer Pty Ltd
ZI414
Natural Knee
Primary Tibial Baseplate - Mobile Bearing 
Size 00 to 5
$2,602.00

Porous - CoCr alloy

Rev

Endotec Australia Pty Ltd
EA015
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat Revision tibial 
$4,856.00
$5,300.00

Replacement System (Primary and Revision)
 Components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Johnson & Johnson Medical Pty Ltd
DY509
LCS Revision Knee system
Revision Textured Tibial Tray Chrome cobalt
Size 1-7
$3,856.00

Rev, H

Endotec Australia Pty Ltd
EA019
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat hinged tibial 
$5,626.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile
EA021
Buechel-Pappas Ultracoat Total Knee 
Ceramic Coated, Titanium Femoral and Tibial
BP TKR Ultracoat thick hinged 
$5,726.00
$5,750.00

Replacement System (Primary and Revision)
 components with mobile polyethelene 
tibial sizes 1-6(inc)

inserts all polyethelene patella ceramic 

coated, titanium backed polyethelene mobile

Group 3m - Uncemented, Alloy, for mobile insert, HA coating

Advanced Surgical Design & Manufacture Ltd
AE045
Active Mobile Bearing
Tibial Tray - Cementless
Sizes 1-5
$2,944.00

B Braun Australia Pty Ltd
BB233
Emotion TKS
Tibial Component - Cementless
T1 - T8
$2,652.00

Biomet Australia Pty Ltd
BI900
ROCC Knee Prosthesis
Tibial Baseplate, uncemented, HA coated or 
1-8
$3,900.00

Porous HA coated, CoCr, Ti, HA, UHMWPE
BI909
Rotating Platform Knee System
Tibial Component, Porous, HA Coated, 
63 - 87mm
$3,900.00

CoCr, Ti, HAP

Corin  Australia Pty Ltd
CR009
Rotaglide + Total Knee System, Tibial 
Latched, HAP Coat
Ex Sml - Ex Lge
$4,108.00
Also grouped in Knee Group 3m

Component
Prostheses List by Category, Groups and Sponsor
Page 453 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CR102
Score Cementless Tibial Component
HAP Coated
7 Sizes
$3,900.00

Global Orthopaedic Technology
GO005
RBK Total Knee System - Tibial base
Porous and hydroxyapatite coating
1-5
$4,108.00
GO157
RBK Universal
RBK Universal - Tibial Base - Porous & HA 
1 -5
$4,108.00

Coated

Johnson & Johnson Medical Pty Ltd
DP035
LCS Complete System
MBT DuoFix or Universal Tibial Trays HA 
Tibial sizes 1 - 7
$4,108.00

on Porocoat
DY370
LCS Complete System
MBT DuoFix CoCr or Universal Tibial Trays 
1-6
$4,108.00

HA on Porocoat
DY379
LCS Complete System
MBT DuoFix or Universal Tibial Trays HA 
1-6
$4,108.00

on Porocoat TiNi
DY495
LCS Complete System
MBT DuoFix CoCr or Universal Tibial Trays 
1-6
$4,108.00

HA on Porocoat

Link Orthopaedics  Australia
LO129
Gemini MkII Knee Joint Prostheses System
Tibial Component, Microporous/ HX TM 
Extra Small - Extra Large
$3,016.00

Coating

Medacta Australia Pty Ltd
MU053
Cinétique Uncemented Mobile Tibial Tray 
Uncemented mobile tibial tray with 
Sizes 1 to 7, left and right
$4,108.00

HA coated
Hydroxyapatite coating

Smith & Nephew Surgical Pty Ltd
SN368
Mobile Bearing Knee
Tibial Base HA Coated Porous Titanium
Left & Right Size 1-8
$3,345.00
Knee - Tibial Tray Component: Uni-Compartmental Knee Arthroplasty

Group 4a - Cemented, all polyethylene

Advanced Surgical Technologies
AD206
Advance-Unicondylar Knee System
All poly tibial component
Sizes 1, 2, 3, 4 in 7mm, 8mm, 9mm, 
$1,378.00

10mm

Biomet Australia Pty Ltd
BI202
Repicci II Unicondylar Knee System
Tibial Component, Cemented, UHMWPE
32-42mm
$1,248.00

Corin  Australia Pty Ltd
CR091
Uniglide All Polyethylene Fixed Tibial 
All polyethylene
Sizes 3, 5 & 7, thicknesses 7mm to 
$1,248.00

Component
13mm
Prostheses List by Category, Groups and Sponsor
Page 454 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Global Orthopaedic Technology
GO031
Global re-surfacing uni-compartmental 
Uni-compartmental knee, tibial tray 
0-5 6.5mm - 9.5mm regular
$1,352.00

knee tibial implant
component, cemented, moulded, 

Johnson & Johnson Medical Pty Ltd
DY114
Preservation Miu Knee System
MIU All Poly Tibials RM/LL and LM/RL
1, 7mm - 5, 11.5mm
$1,248.00

Orthotech Pty Ltd
OH231
Optetrak Uni Knee
Uni Tibial Component
1-6
$1,325.00

Smith & Nephew Surgical Pty Ltd
SN337
Genesis Uni
Tibial Base UHMWPE  
Left & Right, X Small- Magnum 
$1,248.00

Plus,  8mm-15mm

Stryker Australia Pty Ltd
SR053
Active Uni Compartmental Knee
Uni compartmental Knee resurfacing 
Sizes A to J
$1,430.00

prostheses, consisting of a Femoral 

component manufactured from Chrome 
ST054
EIUS Tibial Component
Polyethylene
XS, S, M, L, XL
$1,282.00

Tornier Pty Ltd
TO016
HLS Uni Evolution - Uni Knee 
Tibial Insert (All Polyethylene) - Cemented
1 - 6 UHMWPE
$1,328.00

Replacement - Tibia

Zimmer Pty Ltd
ZI108
Miller Galante  Unicompartmental
All Poly Tibial Tray - UHMWPE
40 - 56 mm
$1,388.00
ZI402
Allegretto Unicompartmental Knee
Tibia Allpoly - PE
9/38 to 15/48mm
$1,248.00
$1,399.00

Group 4b - Cemented, Alloy, modular

Biomet Australia Pty Ltd
BI204
Repicci II Unicondylar Knee System
Tibia Plate, Modular, Cemented, Titanium
Std, Large, Xlarge
$1,491.00

Johnson & Johnson Medical Pty Ltd
DY118
Preservation Miu Knee System
MIU Fixed Tibial Tray Porous or Mobile  
Size 1-5
$1,491.00

RM/LL and LM/RL

Mathys Orthopaedics Pty Ltd
MA452
balanSys UNI
Tibial component - fixed bearing
1,2,3,4,5
$1,664.00

Plus Orthopedics Australia Pty Ltd
PL130
UC-PLUS Solution Knee System
Unicompartmental Tibial Tray Cemented
Tibial - 40 - 56 x (8, 10, 12, 14mm)
$1,553.00
Prostheses List by Category, Groups and Sponsor
Page 455 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN336
Genesis Uni
Tibial base Titanium Alloy
XSmall-Magnum
$1,530.00
SN836
Competitor Deuce
Tibial Baseplate, titanium
1-8
$1,530.00

Tornier Pty Ltd
TO017
HLS Uni Evolution - Uni Knee 
Tibial Insert (Polyethylene/Metal Back) - 
1 - 6 UHMWPE, CoCr
$1,591.00

Replacement - Tibia
Cemented

Zimmer Pty Ltd
ZI107
Miller Galante  Unicompartmental
Tibial Tray - Ti
40 - 56 mm
$1,603.00

Group 4d - Cemented, Alloy, moulded polyethylene 

Biomet Australia Pty Ltd
BI871
Vanguard unicondylar Knee System
Tibial Component, CoCr UHMWPE
(A-E) x (5-8)
$2,288.00

Link Orthopaedics  Australia
LO060
LINK Endo-Model SLED Knee Prosthesis
Tibial Plateaus, Metal Backed, Polyethylene
7mm-13mm in 45, 50, 55 diameter
$1,915.00

Zimmer Pty Ltd
ZI403
Allegretto Unicompartmental Knee
Tibial Baseplate Monoblock - Ti alloy / PE
7.5/38 to 15/48mm
$1,991.00

Group 4f - Cemented, Alloy, for mobile insert 

Biomet Australia Pty Ltd
BI033
Oxford Meniscal Knee System
Mark III Tibial Tray, Chrome Cobalt, 
(38-53mm) x sizes 26-34
$1,732.00

Cemented

Corin  Australia Pty Ltd
CR061
Uniglide Cemented Tibial Component
 Cobalt Chrome with Titanium Nitride 
Sizes 1 - 8 inclusive
$1,732.00

Coating

Johnson & Johnson Medical Pty Ltd
DY117
Preservation Miu Knee System
MIU Fixed or mobile Tibial Tray Cemented  
Size 1-5
$1,611.00

RM/LL and LM/RL

Mathys Orthopaedics Pty Ltd
MA453
balanSys UNI
Tibial component - mobile
1,2,3,4,5
$1,732.00
Prostheses List by Category, Groups and Sponsor
Page 456 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MA477
balanSys™ Uni Convex - balanSys™ UNI 
Convex tibial base plate for use with 
tibial plate 1 LM cem, tibial plate 2 
$1,732.00
$2,250.00

convex tibial plate
balanSys™ Convex Unicondylar Knee
LM cem, tibial plate 3 LM cem, 

tibial plate 4 LM cem, tibial plate 5 

LM cem.  tibial plate 1 RM cem, 

tibial plate 2 RM cem, tibial plate 3 

RM cem, tibial plate 4 RM cem, 

tibial plate 5 RM cem.

Zimmer Pty Ltd
ZI502
Natural Knee
Primary Tibial Baseplate - Mobile Bearing 
Size 00 to 5
$1,900.00

Non Porous - CoCr alloy

Group 4i - Uncemented, Alloy, modular, HA coating

Smith & Nephew Surgical Pty Ltd
SN335
Genesis Uni
Tibial Base HA coated
Left & Right, X Small- Magnum 
$1,360.00

Plus

Stryker Australia Pty Ltd
SK329
Unix unicompartmental knee system
HA tibial tray, unicompartmental
Sizes 1 to 4
$1,816.00

Group 4l - Uncemented, Alloy, for mobile insert 

Zimmer Pty Ltd
ZI430
Natural Knee
Unicompartmental -Tibia Baseplate - Ti alloy
Por 1 to Por 6
$1,662.00

Group 4m - Uncemented, Alloy, for mobile insert, HA coating

Biomet Australia Pty Ltd
BI860
Oxford Meniscal Knee System
Mark III Tibial Tray, HA or Porous coated, 
(38-53) x (26-34)mm
$2,524.00

CoCr, HA, Ti.

Corin  Australia Pty Ltd
CR057
Uniglide Tibial Component
Cobalt Chrome Titanium Nitrate Ceramic 
1-8
$2,524.00

Coated, Bonit (Calcium Phosphate) Ingrowth

 Surface
Prostheses List by Category, Groups and Sponsor
Page 457 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Ligators

Device Technologies Australia Pty Ltd
DE059
Arthrex Meniscal Dart
PLA
10mm - 14mm
$304.00
DE140
Bio-Fastak
Composition - Poly  (L-lactide-co-D, L-
3-11mm
$390.00

lactide) with an insert molded eyelet of non-

absorbable polyester suture
DE197
Bio - Fastak
with Fibrewire suture
3mm x 11mm
$440.00
Mesh

Morton Surgical Pty Ltd t/a Matrix Surgical Company
MG020
Surgimesh WN / Surgimesh WN non-
Surgimesh WN no-adherent
Tintra R 12,5cm
$985.00

adherent
MG021
Surgimesh WN / Surgimesh WN non-
Surgimesh WN non-adherent
Tintra M 22x15x10cm
$1,300.00

adherent
MG022
Surgimesh WN / Surgimesh WN non-
Sugimesh WN non-adherent
Tintra L 30x30x20cm
$1,300.00

adherent
MG023
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN Alfi ep
Talfi - 8 
$108.00

80g
MG024
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN 1/2 ovale
T613 - 85
$106.00

6x13cm FPD ep 80g
MG025
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN
T1015 10x15cm
$106.00
MG026
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN
T1115-8 
$191.00

11x15cm, 80g
MG027
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN with window
T1115-8F
$198.00

, 11x15cm
MG028
Surgimesh wn/surgimesh wn non-adherent
Surgimesh WN
T1415-8
$191.00

 14x15cm
MG029
Surgimesh wn/surgimesh wn non-adherent
SurgimeshWN
T3030
$237.00

30x30cm
Prostheses List by Category, Groups and Sponsor
Page 458 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Mesh, Metallic

Johnson & Johnson Medical Pty Ltd
DP426
Surgical Titanium Mesh System
Mesh - Long/Oval
26 x 33mm x 50 - 90mm
$5,112.00
DP427
Surgical Titanium Mesh System
Mesh - Curved or Long/Oval
14mm  x 130mm or 17 - 22 x 22 - 
$6,072.00

28mm x 50 - 150mm Hgt
DP436
Surgical Titanium Mesh System
Mesh - Oval or Flat or Long/Round
17-22 x 22-28mm - 10-15mm Hgt or 
$4,135.00

90mm x 90mm or 10 - 16mm x 30 - 

100mm Hgt
DP438
Surgical Titanium Mesh System
Mesh  - Oblong
12 - 13 x 15 -17mm x 10 - 20mm
$6,325.00
Nails, Bone

Austofix
AX009
Austofix Intramedullary Nail
Custom Nails, stainless steel
5-13mm
$1,350.00
AX013
Proximal Humeral Nail
Stainless Steel
Diameter 8 mm, Length 170 mm
$1,075.00
AX020
S2 Nail System
Cannulated supracondylar nail, stainless 
11/13mm x 160-380mm
$1,050.00
$1,084.65

B Braun Australia Pty Ltd
BB107
BRAUN AUST Intramedullary Nails
Nail for small bones
Dia 3mm-8mm
$1,617.00
$3,200.00

Biomet Australia Pty Ltd
BI248
SST Small Bone Locking Nail
Forearm Nail, Titanium
3.5mm x (180-260mm)
$1,617.00
BI249
SST Small Bone Locking Nail
Screw, Distal Fixator, Titanium
One size only
$115.00
BI250
SST Small Bone Locking Nail
Set Screw w/holder, Titanium
One size only
$115.00
BI251
SST Small Bone Locking Nail
Nail End Cap, titanium
low profile, one size only
$218.00
BI252
SST Small Bone Locking Nail
Fibula Nail, titanium
(3.5, 4.5mm) x 150mm
$1,333.00
BI281
Femoral Interlocking Nail
Nail, Interlocking, Titanium
(10-15mm) x (300 - 440mm)
$688.00
BI282
Femoral Interlocking Nail
Screws, Femoral Nail, Titanium
5mm x (25-70mm)
$84.00
BI283
Femoral Interlocking Nail
Screws, Femoral Nail, Titanium
6.4mm x (70-120mm)
$152.00
BI284
Femoral Interlocking Nail
Screws, Femoral Nail, Titanium
6mm x (30-100mm)
$97.00
BI285
Femoral Interlocking Nail
Femoral Nail End Cap
10-11mm & 12-16mm
$55.00
Prostheses List by Category, Groups and Sponsor
Page 459 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI286
Uniflex Tibial Nail
Tibial Nail, Titanium
8-14mm x 240-420mm
$950.00
BI287
Uniflex Tibial Nail
Tibial Nail Transverse Screw, Titanium
4.0, 5.0mm x (20-70mm)
$184.00
BI288
Uniflex Tibial Nail
Tibial Nail, Ti
8 - 9mm x (240-380mm)
$591.00
BI289
Uniflex Tibial Nail
Tibial Nail, Ti
10 - 11mm x (240-420mm)
$673.00
BI290
Uniflex Tibial Nail
Screw, Tibial Nail, Ti
4 - 5mm x (20-70mm)
$87.00
BI291
Uniflex Tibial Nail
Nail, End Cap, Ti
4 - 18mm diameter
$105.00
BI292
Humeral Nail
Humeral Nail, Titanium 
8.0- 9.0mm x (180-280mm)
$990.00
BI293
Humeral Nail
Screws, Transverse Humeral Nail, Titanium
(4.0-4.5mm) x (16-46mm)
$184.00
BI294
Humeral Nail
Nail, Humeral, Titanium
(8.0- 9.0mm) x (180-280mm)
$975.00
BI295
Kuntscher Cloverleaf Medullary Nails 
Stainless Steel
6-12mm x (140-520mm)
$280.00
BI296
Kuntscher Cloverleaf Medullary Nails 
Stainless Steel
13-16mm x (280-520mm)
$1,400.00
BI297
Kuntscher Cloverleaf Medullary Nails 
Stainless Steel
17-20mm x (300-750mm)
$2,000.00
BI299
Kuntschner Y Nail
Stainless Steel
1.0-3.0mm x (100-310mm)
$145.00
BI803
ST Pro Nailing System
End cap, stainless steel
Dia 8-16mm
$80.00
BI804
ST Pro Nailing System
Fixation screws, stainless steel
Fully threaded - dia 4-6mm, 20-
$90.00

100mm length; Partially threaded - 

dia 6.4mm, length 70-120mm
BI805
ST Pro Femoral Nail
Cannulated, stainless steel
Dia 10-16mm, length 260-520mm
$730.00
BI806
ST Pro Humeral Nail
Solid, stainless steel
Dia 8-9mm, length 180-280mm
$660.00
BI807
ST Pro Tibial Nail
Cannulated, solid, stainless steel
Dia 8-11mm, length 240-420mm
$550.00
BI940
Peritrochanteric Nail System
Lag Screw, Telescoping, Ti
65mm - 120mm
$896.00
BI941
Peritrochanteric Nail System
Lag Screw, Solid, Ti
65mm - 120mm
$406.00
BI942
Peritrochanteric Nail System
Trochanteric Nail Ti
24cm - 48cm
$2,060.00
BI943
Peritrochanteric Nail System
End Cap Ti
0 - 15mm
$225.00

Device Technologies Australia Pty Ltd
DE061
Fixion Nailing System
Stainless Steel
18x 6.7mm - 440 x 12mm
$1,990.00
DE095
Fixation IM Nail - Proximal femur
Stainless steel
Dia 10 x 220mm, length 12 x 380mm
$2,750.00
DE096
Fixion IM nail - Humeral
Stainless steel
Dia 6.7 - 8.5mm (reduced), length 
$1,990.00

180 - 280mm
Prostheses List by Category, Groups and Sponsor
Page 460 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
DP528
Nancy Nail System
Pediatric Flexible Nail
2.5 or 3.0 mm x 190 -290mm
$431.00
DP529
Nancy Nail System
Pediatric Flexible Nail
3.5 mm x  270-350mm
$475.00
DP531
Nancy Nail System
Pediatric Flexible Nail
4.0 mm x  330-450mm
$475.00
DY323
Ace Trochanteric Nail
Trochanteric Lag Screw Sterile
60 to 120mm
$255.80
DY324
Ace Trochanteric Nail
Trochanteric Anti Rotation Screw Sterile
60 to 100mm
$96.00
DY325
Ace Trochanteric Nail
Trochanteric End Cap Sterile
5 to 25mm
$161.00
DY326
Ace Trochanteric Nail
Trochanteric Nails Sterile in Standard or Left
320 x 11 x 130 up to 420 x 13 x 130 
$1,735.00

 or Right
or 125 to 140 Deg from 9 to 13mm 

dia

Orthotech Pty Ltd
OH138
Lima Humeral Nail
Stainless steel
Dia 7 - 8mm, length 200 - 300mm
$1,990.00

Smith & Nephew Surgical Pty Ltd
SN495
Intermedullary Nailing System
Foresight Locking Screw
2.7mm Diameter 8-18mm Length
$70.00
SN496
Intermedullary Nailing System
Foresight Nail
4-5mm Diameter 20-26cm Length
$660.00
SN497
Intermedullary Nailing System
Knee Fussion Nail, Stainless Steel
11x 65-75 & 12 x 65-85cm
$4,400.00
SN498
Intermedullary Nailing System
Nail Cap
One size only
$79.00
SN499
Intermedullary Nailing System
Revision, Ankle Fusion Nail
11mmx15cm -13x21cm
$1,075.00
SN502
Russel Taylor
Delta Reconstruction & Femoral Plus Nails, 
Left/Right 10-11 32-48mm.
$971.00

Stainless Steel
SN503
Russel Taylor
Delta Tibial & Tibial Pro Nails, Stainless Steel
8 x 27-42mm  9 x 27-36mm. 10 x 32-
$549.00

48mm  11 x 32-48mm.
SN505
Russel Taylor
Femoral/Tibial Interlocking Nails
11mmx28.5cm - 16mmx50cm
$438.00
SN507
Russel Taylor
Humeral Nails
7-9 x 18-30cm
$1,140.00
SN509
Russel Taylor
Intermedullary Hip Screw Nail (IMHS) 
Standard 10-16mm 21 cm length, 
$650.00

Stainless Steel
Long 10-12mm Diameter Right& 

Left 34-42cm Length
SN510
Russel Taylor
Intermedullary Supracondylar Nail, Stainless
11mmx15cm -13mmx25cm.
$999.00

 Steel
SN515
Russel Taylor
Reconstruction Nails, Stainless Steel
12mmx32cm -15mmx50cm.
$700.00
SN763
IMHS CP
Intramedullary Hip Nail, stainless steel
10 - 16mm x 19.5cm left and right
$760.00
SN764
IMHS CP
Intramedullary Hip Nail, stainless steel
10 - 14mm x 32 - 44cm left and right
$830.00
Prostheses List by Category, Groups and Sponsor
Page 461 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
SK006
Stryker Trauma Locking Nail System
Titanium - Humeral Nail
Dia 7,8,9mm length 140 - 320mm
$2,195.00
SK199
Stryker Trauma Locking Nail System
Proximal Humeral Nail
Nail Left/Right
$2,157.85
SK201
Stryker Trauma Locking Nail System
Proximal Humeral Nail
Proximal Humerous Washer 
$51.50

round/square
SK202
Stryker Trauma Locking Nail System
SCN
Diameter 11m - 14mm, Length 
$990.00

170mm - 240mm
SK203
Stryker Trauma Locking Nail System
SCN
Condyle Screws 5mm x (40mm-
$324.45

120mm)
SK204
Stryker Trauma Locking Nail System
SCN
Nut for Condyle Screws 5mm
$231.75
SK214
Stryker Trauma Locking Nail System
Reconstruction Nail
Recon Nail Left/Right
$1,200.00
SK215
Stryker Trauma Locking Nail System
Reconstruction Nail
Recon Lag Screw
$260.00
SK216
Stryker Trauma Locking Nail System
Reconstruction Nail
Blocking Screw
$95.00
SK337
Stryker Trauma Locking Nail System
Arthrodesis Nail - Knee
Arthrodesis Nail Left/Right; 
$5,182.00

11.5mm and 13mm
ST035
Stryker Trauma Locking Nail System: 
Titanium
One size only
$165.00

Compression Screw
ST043
Stryker Trauma Locking Nail System: 
Titanium
20-120mm
$140.00

Locking Screw with & without shaft
ST045
Stryker Trauma Locking Nail System: End 
Titanium
Standard, +5, +10, +15
$95.00

Cap
ST046
Stryker Trauma Locking Nail System: Tibial
Standard, Proximal & Distal; Titanium
8-15mm diameter; 240-420mm length
$800.00

 Nail
ST047
Stryker Trauma Locking Nail System: 
Titanium
One size only
$96.00

Condyle Screw (including nut)
ST059
Stryker Trauma Locking Nail System: 
Titanium
13-15mm diameter; 240-480mm 
$800.00

Femoral Nail
length

Synthes Australia Pty Ltd
SY041
AO/ASIF Intermedullary Nails
Femoral Nail
7.0mm-19mm dia 200-600mm length
$934.73
SY060
AO/ASIF Intermedullary Nails
Cannulated and Solid Nail - tibial / femoral
7.0mm-19mm dia 200-600mm length
$910.00
SY064
Titanium Elastic Nail
1.5mm - 4.0mm
$220.00
SY123
AO/ASIF Intermedullary Nails
Femoral reamed, tibial nail
9 - 19mm , length 200 - 500mm.
$648.90
Prostheses List by Category, Groups and Sponsor
Page 462 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY124
AO/ASIF Intermedullary Nails
Proximal sleeve
Standard 130 deg antigrade, spiral 
$360.50

blade
SY125
AO/ASIF Intermedullary Nails
End cap
0 - 40mm
$207.03
SY126
AO/ASIF Intermedullary Nails
Spiral blade
Length 20 - 150mm
$655.08
SY128
AO/ASIF Intermedullary Nails
Tibial unreamed - steel
8 - 9 mm , length 255 - 420mm
$1,009.40
SY129
AO/ASIF Intermedullary Nails
Humeral Nail
6.0 - 12.0 mm length 100 - 400mm
$865.20
SY130
AO/ASIF Arthrodesis system
Arthrodesis
26 - 240mm
$4,429.00
SY133
AO/ASIF Intermedullary Nails
Sealing screw
0 - 20mm
$41.00
SY262
AO/ASIF Intermedullary Nails
Proximal Femoral Nail
9-15mm dia / 120-150 deg / 170 - 
$2,060.00

500mm Length
SY263
AO/ASIF Intermedullary Nails
Hip Pin
12.0mm, 30-200mm Length
$391.40
SY264
AO/ASIF Intermedullary Nails
Distal Femoral Nail - DFN
9-15mm / 160-420mm Length
$1,081.50
SY265
AO/ASIF Intermedullary Nails
Locking Screws
15 -150mm
$123.60
SY270
Antegrade Femoral Nail (AFN) & 
Synthes Antegrade Femoral Nail
AFN Diameter 6.5-18mm, Length 
$1,030.00

Associated Implants
30-500mm
Orthopedic External Fixation Systems

LMA PacMed Pty Ltd
PM092
Orthopaedic External Fixation System - 
Complete System Sterile
One size only
$2,055.00

Radiolucent Wrist Fixator
PM095
Orthopaedic External Fixation System
Screw
Shaft Dia 3.0 - 6.0mm, Thread Dia 
$115.00

6.0 - 2.0mm, Total Length 40 - 

260mm, Thread Length 15 - 100mm
PM097
Orthopaedic External Fixation System
Osteotite Screw
Shaft Dia 3.0 - 6.0mm, Thread Dia 
$149.00

6.0 - 2.0mm, Total Length 40 - 

260mm, Thread Length 15 - 90mm
PM098
Orthopaedic External Fixation System - 
Metadiaphyseal Fixator
One size only
$2,429.00

Xcaliber External Fixator
PM099
Orthopaedic External Fixation System - 
Articulated Ankle Fixator
One size only
$3,139.00

Xcaliber External Fixator
PM100
Orthopaedic External Fixation System - 
Hybrid Fixator
One size only
$2,159.00

Xcaliber External Fixator
Prostheses List by Category, Groups and Sponsor
Page 463 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Taylor Bryant Pty Ltd
TB326
Autofix Screws
Cannulated low compression screw
Diameter: 2.0 - 2.5mm, Length: 
$390.00

10mm - 30mm
TB340
Poing Fix
Wrist Fixator System
One size
$2,808.00
TB341
Wrist Fixator PFII
Wrist Fixator System
One size
$2,912.00
TB342
MicroFix
Finger Mini Fixator System
one size
$1,664.00
Orthopedic External Fixation Systems, Fracture

Biomet Australia Pty Ltd
BI697
Small Fragment Set
Stainless Steel Screws
3.5, 4.0mm length, Sizes 10 - 60mm
$55.00
BI698
Small Fragment Set
Stainless Steel Plates
Plates 25 - 125mm
$100.00
BI775
EBI XFIX DynaFix System
Distal radius fixator, wristfix, sterile, complete
One size only
$2,460.00

Johnson & Johnson Medical Pty Ltd
DP391
Ace External Fixator
Pin Holder Bolt - Titanium
15mm
$47.22
DY218
Ace External Fixator
Olive wire - stainless steel
1.5-1.8mm
$856.00
DY219
Ace External Fixator
Wire bayonet point - titanium
1.5mm
$82.00
DY220
Ace External Fixator
Olive wire bayonet point - stainless steel, 
1.5 or 1.8mm
$260.00

packet of 3
DY221
Ace External Fixator
Wire bayonet point - stainless steel
1.8mm
$41.00
DY223
Ace External Fixator
Ring, aluminium
1/3 ring small 6" diameter
$376.00
DY225
Ace External Fixator
Ring, composite
1/3 ring large
$446.00
DY226
Ace External Fixator
Ring, composite
1/3 ring medium
$423.00
DY227
Ace External Fixator
Ring, composite
1/3 ring small
$394.00
DY228
Ace External Fixator
Threaded Rod, titanium
1/4" x 10cm
$122.75
DY229
Ace External Fixator
Threaded Rod, titanium
1/4" x 15cm
$164.00
DY230
Ace External Fixator
Threaded Rod, titanium
1/4" x 20cm
$210.00
DY231
Ace External Fixator
Threaded Rod, titanium
1/4" x 25cm
$258.00
DY234
Ace External Fixator
Titanium half pin thread
15-80mm, 155 x 5mm to 220 x 5mm
$117.00
DY236
Ace External Fixator
Spacer with bolt, titanium
2.5-5mm
$22.00
Prostheses List by Category, Groups and Sponsor
Page 464 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY237
Ace External Fixator
Ring, aluminium
2/3 ring, large 10" diameter
$908.00
DY238
Ace External Fixator
Ring, composite
2/3 ring, medium
$908.00
DY240
Ace External Fixator
Ring, aluminium
2/3 ring, small 6" diameter
$411.00
DY241
Ace External Fixator
Ring, composite
2/3 ring, small
$463.00
DY242
Ace External Fixator
Stainless steel transfix pin
250/300 x 5mm with 40-70mm 
$263.00

thread
DY243
Ace External Fixator
Titanium Transfix Pin
250/300 x 5mm with 40-70mm 
$167.00

thread
DY244
Ace External Fixator
GRUB screw ACE/FISCHER, titanium
5mm
$2.00
DY245
Ace External Fixator
TIP CapS, polyethylene
5mm
$6.00
DY246
Ace External Fixator
Peg, titanium
5mm
$81.00
DY248
Ace External Fixator
Adaptor rod, titanium
8mm
$180.00
DY249
Ace External Fixator
Pin holder adaptor, aluminium
90"
$311.00
DY251
Ace External Fixator
Anchor assembly, titanium
One size only
$308.00
DY252
Ace External Fixator
Articulation, titanium
One size only
$904.00
DY253
Ace External Fixator
Bolt clevis, titanium
One size only
$29.00
DY256
Ace External Fixator
Locking nut, titanium
One size only
$36.00
DY257
Ace External Fixator
Nut, stainless steel
One size only
$81.00
DY258
Ace External Fixator
Position pins I/C foot plate, titanium
One size only
$105.00
DY259
Ace External Fixator
Ring adapter bolt, titanium
One size only
$46.50
DY260
Ace External Fixator
Ring connector, titanium
One size only
$199.00
DY262
Ace External Fixator
Spherical nut and washer, titanium
One size only
$214.00
DY263
Ace External Fixator
U rings, aluminium
One size only
$736.00
DY264
Ace External Fixator
Universal joint, titanium
One size only
$360.00
DY266
Ace External Fixator
Wire bolt hinge, titanium
One size only
$435.00
DY267
Ace External Fixator
Wire fixation bolt, cannulated or slotted 
One size only
$188.00

(stainless steel)
DY268
Ace External Fixator
Connecting rod, aluminium
X-Short, short, medium or long
$690.00
$1,062.00
DY270
Ace External Fixator
External fixator, aluminium
One size only
$1,030.00
DY271
Ace External Fixator
Ring adaptor, titanium
One size only
$209.00
Prostheses List by Category, Groups and Sponsor
Page 465 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

LMA PacMed Pty Ltd
PM012
Orthofix External Fixation System Ankle 
Anodised aluminium and stainless steel
One size only
$4,607.00

Fixator
PM013
Orthofix External Fixation System Pennig 
Anodised aluminium and stainless steel
One size only
$3,991.00

Wrist Fixator
PM061
Orthofix External Fixation System Elbow 
Anodised aluminium and stainless steel
One size only
$5,440.00

Fixator
PM062
Orthofix External Fixation System Hybrid 
Anodised aluminium and stainless steel
One size only
$5,220.00

Fixator
PM063
Orthofix External Fixation System Knee 
Anodised aluminium and stainless steel
One size only
$5,955.00

Fixator

Smith & Nephew Surgical Pty Ltd
SN434
Half Pin
Arrow
4-6mm x 20-80mm
$205.00
SN435
Half Pins
Hex Fix Titanium
4-6mm x 20-80mm
$115.00
SN437
Hex Fix Pins
Cancellous Crane Pin Threaded
5/8" - 1 1/4"
$133.00
SN708
Jet X Bar
External Fixation Bar with Cap
100mm to 600mm
$4,750.00
SN709
Jet X Central
Modular Versitile Ankle Fixation Frame
99mm to 158mm
$4,500.00

Stryker Australia Pty Ltd
SK007
Hoffmann II External Fixation System
Hoffmann II Compact -
One size only
$2,440.00

Compression/Distraction Rod
SK008
Hoffmann II External Fixation System
Hoffmann II Compression/Distraction Tube
One size only
$2,440.00
SK009
Hoffmann II External Fixation System
Hoffman II Miami Post
One size only
$510.00
SK014
Hoffmann II
Hoffmann II Mini- Linking Pivot for 2mm & 
One size only
$186.00

3mm pins
SK015
Hoffmann II
Hoffmann II Mini- Shank Straight Pin Holder
2, 3 mm
$225.00

 - for 1.5mm & 2.0mm pins
SK016
Hoffmann II
Hoffmann II Mini- Shank 'T' Offset Pin 
2mm
$305.00

Holder - for 1.5mm & 2.0mm pins
SK017
Hoffmann II
Hoffmann II Mini- 3 Hole Vise
One size only
$210.00
SK018
Hoffmann II
Hoffmann II Mini- Simple Swivel Clamp
One size only
$680.00
SK019
Hoffmann II
Hoffmann II Mini- Insulated Smooth Vise
One size only
$186.00
SK020
Hoffmann II
Hoffmann II Mini- Articulating Coupling
3x3, 2x3
$595.00
SK021
Hoffmann II
Hoffmann II Mini- Adjustable Swivel Clamp
One size only
$1,275.00
Prostheses List by Category, Groups and Sponsor
Page 466 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK045
Hoffmann II
Hoffmann II Mini- Shank Offset Pin Holder - 
2, 3mm
$247.00

for 1.5mm & 2.0mm pins
SK211
Hoffmann II External Fixation System
Hoffmann II Micro
Carbon rods 3mm (30-120mm)
$68.00
SK212
Hoffmann II External Fixation System
Hoffmann II Micro
Stainless steel rods 3mm x (30-
$52.00

120mm)
SK213
Hoffmann II External Fixation System
Hoffmann II Micro
K-wire
$127.00
SK364
Hoffman II External Fixation System
Hoffman II Sterile Pre-Packs
Sterile Tibia Kit
$4,895.00
Temporary approval, pending 

review of product group
SK365
Hoffman II External Fixation System
Hoffman II Sterile Pre-packs
Sterile Ankle Kit
$4,700.00
Temporary approval, pending 

review of product group
SK373
Hoffman II External Fixation system
Hoffman II MRI
Pelvic Clamp
$1,135.00
Temporary approval, pending 

review of product group
SK374
Hoffman II External Fixation System
Hoffman II MRI
Posts 8mm and 5mm
$111.00
Temporary Approval, pending 

review of product grouping
SK375
Hoffman II External Fixation System
Hoffman II MRI Coupling
Pin to Rod, Rod to Rod, Tube to 
$770.00
Temporary approval, pending 

Rod, Pin Clamp Assembly
review of product group
SK378
Hoffman II External Fixation System
Hoffman II Sterile Pre-Packs
Sterile Pelvic Kit
$7,680.00
Temporary approval, pending 

review of product group
SK390
Hoffman II External Fixation System
Hoffman II MRI
Compression/Dystraction Tube, 
$770.00
Temporary approval, pending 

Dynamisation Tube
review of product group
SK393
Hoffman II External Fixation System
Hoffman II MRI
8mm Connecting rod (100mm - 
$155.00
Temporary approval, pending 

500mm), 5mm Connecting rod 
review of product group

(100mm - 500mm), Semi Circular 

Curve Rod
SK396
Hoffman II External Fixation System
Hoffman II Compact Sterile Pre-Packs
Sterile Wrist Kit
$4,855.00
Temporary approval, pending 

review of product group
ST878
Monticelli-Spinelli External Fixation
Anodized metal alloy, three quarter ring
Small, Medium, Large
$6,585.00
ST884
Apex Pins
Stainless Steel Orthopaedic Pins
2 - 6mm
$135.00
ST891
Hoffmann II External Fixation System
Pin clamp assembly with no post
One Size Only
$645.00
ST892
Hoffmann II Compact External Fixation 
Pin clamp assembly with no post
One Size Only
$695.00

System
ST935
Hoffman II External Fixation System
Anodised metal alloy, rod to rod coupling
8/8mm
$655.00
ST936
Hoffman II External Fixation System
Anodised metal alloy, pin to rod coupling
8/4, 5mm
$655.00
ST937
Hoffman II External Fixation System
Anodised metal alloy, 30 deg angled post, 
One size only
$99.00

stainless steel
Prostheses List by Category, Groups and Sponsor
Page 467 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST938
Hoffman II External Fixation System
Anodised metal alloy, straight post, 
One size only
$99.00

stainless steel
ST939
Hoffman II External Fixation System
Anodised metal alloy, aluminium connecting
8mm x 65-500mm
$52.00

 rod
ST940
Hoffman II External Fixation System
Anodised metal alloy, carbon connecting 
8mm x 65-500mm
$69.00
ST941
Hoffman II External Fixation System
Anodised metal alloy, stainless steel 
8mm x 65-500mm
$52.00

connecting rod
ST942
Hoffman II External Fixation System
Anodised metal alloy, curved aluminium rod 
Small, Medium, Large
$90.00

semi-circular
ST943
Hoffman II External Fixation System
Anodised metal alloy, adjustable connecting
Long, short
$765.00

 rod
ST944
Hoffman II External Fixation System
Anodised metal alloy, 
One size only
$99.00

dynamization/distraction rod, 

compression/distraction rod, 

dynamization/distraction rod to rod coupling
ST945
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
15mm
$4,780.00

assembly yellow
ST946
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
20mm
$4,945.00

assembly blue
ST947
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
25mm
$5,110.00

assembly red
ST948
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
15mm
$2,485.00

assembly yellow
ST949
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
20mm
$2,650.00

assembly blue
ST950
Monotube External Fixation System
Anodized metal alloy, dynamic tube 
25mm
$5,110.00

assembly red
ST951
Monotube External Fixation System
Anodized metal alloy, pin clamp yellow, 
15, 20, 25mm
$1,215.00

blue, red
ST952
Monotube External Fixation System
Anodized metal alloy, single pin clamp 
15, 20, 25mm
$1,215.00

yellow, blue, red
ST953
Monotube External Fixation System
Anodized metal alloy, T-Adapter yellow, 
15, 20, 25mm
$580.00

blue, red
ST954
Monotube External Fixation System
Anodized metal alloy, tube to tube clamp 
15, 20, 25mm, 15/20mm, 20/25mm
$645.00

yellow, blue, red, yellow/blue, blue/red
Prostheses List by Category, Groups and Sponsor
Page 468 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST955
Monotube External Fixation System
Anodized metal alloy, hybrid clamp blue, 
One size only
$1,215.00

hybrid clamp red
ST956
Monotube External Fixation System
Monticelli/Spinelli Ring Frame
One size only
$2,600.00
ST957
Monotube External Fixation System
3/4 ring blue, green and white
147mm, 165mm, 187mm
$455.00
ST958
Monotube External Fixation System
Monticelli/Spinelli Kirschner Wire Holder
One size only
$1,215.00
ST959
Monotube External Fixation System
With sliding clamp
One size only
$1,215.00
ST960
Monotube External Fixation System
With sliding clamp and spacer
One size only
$578.00
ST961
Monotube External Fixation System
Carbon tube assembly yellow 015
150, 200, 250, 300mm
$645.00
ST962
Monotube External Fixation System
Carbon tube yellow 015
150, 200, 250, 300mm
$220.00
ST963
Monotube External Fixation System
Carbon tube blue 015
150, 200, 250, 300mm
$330.00
ST964
Monotube External Fixation System
Carbon tube red 015
150, 200, 250, 300mm
$420.00
ST965
TenXor External Fixation System
Anodized metal alloy, open ring
150, 180, 210, 250mm
$1,105.00
ST966
TenXor External Fixation System
Anodized metal alloy, ring clamp
One size only
$645.00
ST967
TenXor External Fixation System
Anodized metal alloy, wire post, pin post
One size only
$595.00
ST968
TenXor External Fixation System
Anodized metal alloy, ring to monotube triax 
One size only
$1,215.00

tube clamp
ST969
TenXor External Fixation System
Anodized metal alloy, blue, red
20, 25mm
$220.00
ST970
TenXor External Fixation System
Anodized metal alloy, Monticelli Spinelli 
One size only
$330.00

kirschner wire holder
ST971
TenXor External Fixation System
Anodized metal alloy, with sliding clamp
One size only
$250.00
ST972
TenXor External Fixation System
Anodized metal alloy,with sliding clamp and 
One size only
$645.00

spacer

Synthes Australia Pty Ltd
SY193
Orthopaedic External Fixator Systems
Rod / Bar
2.0mm-15.0mm dia 20.0mm-445mm 
$144.20

L
SY194
Orthopaedic External Fixator Systems
Curved and straight rod - carbon fibre
4mm - 11mm
$1,353.00
SY195
Orthopaedic External Fixator Systems
Protective caps for rods, protection caps
One size only
$10.30
SY196
Orthopaedic External Fixator Systems
Rod/Bar
450mm length - 650mm Length
$148.32
SY197
Orthopaedic External Fixator Systems
Hybrid Rings
11mm diameter 1/4 ring - 205mm 
$721.00

diameter full ring
Prostheses List by Category, Groups and Sponsor
Page 469 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY198
Orthopaedic External Fixator Systems
Distractors and lengthening apparatus
Mini - lengthening apparatus, mini 
$3,178.38

- distractor/lengthening apparatus,

 medium and large distractor
SY199
Orthopaedic External Fixator Systems
External fixator clamps, double clamp
4-6mm Diameter
$509.85
SY200
Orthopaedic External Fixator Systems
External fixator clamps, transverse clamp
4-6mm Diameter
$1,077.41
SY201
Orthopaedic External Fixator Systems
External fixator clamps, clamp or open clamp
1.25-6mm Diameter
$566.50
SY202
Orthopaedic External Fixator Systems
External fixator clamps, clamp for hybrid
1.8-11mm Diameter
$1,114.23
SY203
Orthopaedic External Fixator Systems
External fixator clamps, tube to 
11mm Diameter
$769.36

tube/universal clamp
SY204
Orthopaedic External Fixator Systems
External fixator clamps, open/clip on clamp
4-6mm Diameter
$478.95
SY205
Orthopaedic External Fixator Systems
External fixator clamps, connecting clamp
3-4mm Diameter
$327.54
SY206
Orthopaedic External Fixator Systems
External fixator clamps, adjustable clamp
4.0mm
$1,390.22
SY207
Orthopaedic External Fixator Systems
External fixator clamp components, threaded 
12 - 14mm diameter
$221.45

rod
SY210
Orthopaedic External Fixator Systems
External fixator clamp components, spare 
1.25-6.0mm
$61.80

screw
SY211
Orthopaedic External Fixator Systems
External fixator clamp components, nut for 
11mm
$16.14

threaded rod
SY213
Orthopaedic External Fixator Systems
External fixator clamp components, nut
1.25-11mm
$92.70
SY220
Orthopaedic External Fixator Systems
External fixator clamp components, threaded 
12mm, L 360mm
$185.00

rod
SY221
Orthopaedic External Fixator Systems
External fixator clamp components, threaded 
12mm, L 260mm
$190.55

rod
SY224
Orthopaedic External Fixator Systems
External fixator clamp components, angled 
1.25-11.0mm
$1,167.30

piece
SY225
Orthopaedic External Fixator Systems
External fixator clamp components, transport
1.25-6.0mm
$515.00

 nut with catch
SY226
Orthopaedic External Fixator Systems
External fixator clamp components, clamp 
1.25-6.0mm
$295.84

body with two nuts
SY227
Orthopaedic External Fixator Systems
External fixator clamp components, vice plate
1.25-6.0mm
$216.30
SY228
Orthopaedic External Fixator Systems
External fixator clamp components, vice plate
1.25-6.0mm
$403.42
SY229
Orthopaedic External Fixator Systems
External fixator clamp components, vice plate
1.25-6.0mm
$360.50

 for open
Prostheses List by Category, Groups and Sponsor
Page 470 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY230
Orthopaedic External Fixator Systems
External fixator clamp components, 
1.25-6.0mm
$360.50

intermediate piece
SY231
Orthopaedic External Fixator Systems
External fixator clamp components, locking 
1.25-6.0mm
$360.50

sleeve for open
SY232
Orthopaedic External Fixator Systems
External fixator clamp components, clamp 
1.25-6.0mm
$334.75

body of open
SY233
Orthopaedic External Fixator Systems
External fixator clamp components, angle
3mm
$92.70
SY234
Orthopaedic External Fixator Systems
External fixator clamp components, angulator
3mm
$2,563.67
SY236
Orthopaedic External Fixator Systems
External fixator clamp components, halo with
1.25-6.0mm
$1,545.00

 visor
SY237
Orthopaedic External Fixator Systems
3 degree, 6 degree, 11 degree. Medium, 
1.25-6.0mm
$226.60
SY238
Orthopaedic External Fixator Systems
External fixator clamp components, 
1.25-6.0mm
$51.50

connecting tube
SY239
Orthopaedic External Fixator Systems
External fixator clamp components, angled 
1.25-6.0mm
$535.60

piece with nut
SY240
Orthopaedic External Fixator Systems
External fixator clamp components, bar for 
1.25-6.0mm
$96.82

lower jaw for children
SY242
Orthopaedic External Fixator Systems
External fixator clamp components, bar for 
1.25-6.0mm
$700.00

upper jaw
SY246
Orthopaedic External Fixator Systems
External fixator clamp components, sliding 
1.25-6.0mm
$824.00

carriage
SY247
Orthopaedic External Fixator Systems
External fixator clamp components, double 
1.25-6.0mm
$1,721.24

joint

Zimmer Pty Ltd
ZI484
Wristore
Disposable External Fixation device for the 
Wristore Pack
$998.00
Temporary approval, pending 

treatment of distal radial fractures.
review of product group
Orthopedic External Fixation Systems, Other

Biomet Australia Pty Ltd
BI262
EBI XFIX Dynafix System
Bone Screw, Cortical, tapered, Cancellous, 
2.4mm to 6.00mm diameter
$110.00

Stainless Steel
BI264
EBI XFIX Dynafix System
Distal Radius Fixator, Dimension, Stainless 
One size only
$3,305.00

Steel, Aluminium
Prostheses List by Category, Groups and Sponsor
Page 471 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI265
EBI XFIX Dynafix System
Hybrid Fixation System, Stainless Steel, 
Rings - 1/3, 2/3, Rotating, 100mm-
$6,361.00

Aluminium
220mm.  Ring Bolt - Xsmall, adult. 

Ring to fixator connector. Rotation

 adaptor - male, female, Xsmall, 

adult. Variable wire (1 size) or 

Variable Screw Carriage (fixed and 

angulating). Wire (1.6-2mm x 350-

400mm). Washer (9 -12mm).
BI267
EBI XFIX Dynafix System
Fixator Complete - includes T-Clamp, 
Standard, Small, Extra Small
$5,108.00

Compression/Distraction, Dynamisation, 

Articulating Ankle Clamp
BI270
EBI XFIX Dynafix System
Pelvic Fixator  Screws, Stainless Steel, 
One size only
$7,456.00

Aluminium
BI271
EBI XFIX Dynafix System
Wire Straight or Olive with Washer, Chrome 
160 or 200mm x (1.6 or 2.0mm)
$150.00

Cobalt
BI272
EBI XFIX Dynafix System
Distal Radius Fixator, Wristfix, Stainless 
One size only
$2,065.00

Steel, Aluminium
BI776
EBI XFIX DynaFix System
OptiROM Articulating Fixator Complete
Small and Large
$8,042.00
BI777
EBI XFIX DynaFix System
Mini fixator/lengthener with comp/dist
Small, Medium, Long, 100mm, 
$2,413.00

150mm
BI818
EBI XFIX Dynafix System
Rail (Aluminium/Titanium)
100-420mm
$690.00
BI819
EBI XFIX Dynafix System
Multi Axial Correction and Metaphyseal Arc
4-8cm, Xsmall - Adult
$5,075.00

 Module complete with T-clamp
BI823
Alveolar Ridge Distraction System - titanium
distraction device, single tooth
10-20mm
$1,312.00
BI824
Alveolar Ridge Distraction System - titanium
distraction device, multi tooth
10-20mm
$1,360.00
BI825
Alveolar Ridge Distraction System - titanium
Shim plate, titanium
1-3mm
$100.00
BI827
EBI XFIX Vision System
Rod Clamps/Connector, stainless 
Dia 9.5mm
$2,300.00

steel/aluminium
BI828
EBI XFIX Vision System
Clamp/Rod, stainless steel/aluminium
4mm/6mm, 3-5 hole, 50-150mm
$1,175.00
BI829
EBI XFIX Vision System
Screw, Transfixing, Stainless steel
4 - 6mm diameter
$410.00
BI830
EBI XFIX Vision System
Ring Connector Assembly, stainless 
1 or 2 bolt model
$1,450.00

steel/aluminium
BI831
EBI XFIX Vision System
Post, Bone Screw, Telescoping, stainless 
One size only
$850.00
Prostheses List by Category, Groups and Sponsor
Page 472 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI832
EBI XFIX Vision System
Rods, Bars, stainless steel/aluminium/carbon
Dia 9.5mm, 150-400mm length
$185.00

 fibre
BI849
EBI XFIX DynaFix System
OptiROM Passive Distractor Module
One Size Only
$2,600.00
BI850
EBI XFIX DynaFix System
Hip Distractor Aluminium, Stainless Steel, 
One Size Only
$5,989.00

Titanium
BI851
EBI XFIX Dynafix System
Clamp (Straight, Transport, Rotational T-
Ex Small, Small, Adult, 4-6mm
$1,662.00

clamp, Adaptor, Lenghtener, Shim, Single)
BI852
EBI XFIX Dynafix System
Clamp (Rotational Serrated T-clamp, Swivel, 
Ex Small, Small, Adult, 4-6mm
$3,348.00

Translational, Uniplaner, CD)
BI853
EBI XFIX Dynafix System
CD Clicker
Ex Small, Small, Adult, 5-20cm
$2,413.00
BI854
EBI XFIX Dynafix System
Rail Accessory (Adaptor, CD Support, 
Ex Small, Small, Adult, 4-6mm
$1,020.00

Dynamization, Bridge)
BI855
EBI XFIX Dynafix System
Wrench
Ex Small, Small, Adult, 3-6mm
$200.00
BI856
EBI XFIX Dynafix System
Rail (Carbon Fiber)
100-420mm
$2,950.00

Smith & Nephew Surgical Pty Ltd
SN031
Original Ilazarov System
External circular fixation system, stainless 
Adult and Paediatric
$10,165.00

steel and composite carbon fibre
SN146
Taylor Spatial Frame
Pre-assembled circular external fixator, 
One size only
$9,925.00

carbon-fibre rings, telescopic rods
SN436
Half Pins
Ilizarov Stainless Steel
4 x 120 -180mm 30mm 35mm - 
$247.00

thread   50mm conic
SN439
Ilizarov
Jurgan Pin Balls
0.7-5.0mm
$82.00
SN440
Ilizarov
Wires
300-370 length x 1-1.8mm diameter
$69.00
SN441
Ilizarov
Wires with stopper
300-370 length x 1-1.8mm diameter
$155.00

Stryker Australia Pty Ltd
HW328
Howmedica Dynamic Joint Distractor
Complete Straight Body Frame -  Stainless 
One size only
$4,070.00

Steel
SK183
Leibinger Intraoral Distractor (Multiguide 
Manufactured from stainless steel, allows 
Frame 20mm - 35mm, 2.0mm 
$4,375.00

II)
gradual, independent, and simultaneous 
diameter, 50 - 90 mm length Auto - 

distraction of the mandible in 3 planes.
Pilot Pins
ST885
Howmedica Dynamic Joint Distractor
Y Body Assembly - Stainless Steel
One size only
$1,240.00
ST886
Howmedica Dynamic Joint Distractor
Pin Stop Collar - Stainless Steel
One size only
$190.00
ST887
Howmedica Dynamic Joint Distractor
Pin to Rod Coupling - Stainless Steel
One size only
$385.00
Prostheses List by Category, Groups and Sponsor
Page 473 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST888
Howmedica Dynamic Joint Distractor
Complete Y Body Frame - Stainless Steel
One size only
$4,070.00
ST889
Howmedica Dynamic Joint Distractor
Straight Body Assembly - Stainless Steel
One size only
$1,025.00
Orthopedic Internal Fixation Systems

Austofix
AX022
Austofix Femoral & Tibial Nailing System
Tibial Nail 4.0/4.8; s-s
Dia 8 - 11mm, Lengths 260 - 420mm
$1,009.00
Orthopedic Internal Fixation Systems, Fracture

Biomet Australia Pty Ltd
BI253
BMP Cable System
Cable Chrome Cobalt
1.6mm or 2.0mm
$348.00
BI254
BMP Cable System
Cable Sleeve, Chrome Cobalt, Stainless Steel
One Size only
$240.00
BI255
BMP Cable System
Trochanteric Grip, Chrome Cobalt
1.6mm or 2.0mm
$545.00
BI256
BMP Cable System
Cable, Stainless Steel
1.6mm or 2.0mm
$320.00
BI258
BMP Cable System
Dynamic Compression Plate, 3 hole, 
One size only
$850.00

Stainless Steel
BI259
BMP Cable System
Dynamic Compression Plate, 5 hole, 
One size only
$1,200.00

Stainless Steel
BI260
BMP Cable System
Dynamic Compression Plate, 7 hole, 
One size only
$1,638.00

stainless steel
BI261
BMP Cable System
Dynamic Compression Plate, 9 hole, 
One size only
$1,800.00

Stainless Steel
BI768
Mandibular Fracture System
Screw, IMF 2./2.4 Mandibular Fracture, 
2.0 x (9-13)mm
$45.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI769
Mandibular Fracture System
Screw, IMF, 2.0/2.4 Mandibular Fracture, 
Dia 2.0 x 5.0, 7.0mm length
$40.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable

Johnson & Johnson Medical Pty Ltd
DP330
Tibial Nail System 
Tibial Nail or Dynamic Tibial Nail Titanium 
8-13mm x 25.5-42.5cm
$1,405.00

Unsterile or Sterile
Prostheses List by Category, Groups and Sponsor
Page 474 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP331
Tibial Nail System 
End Cap Titanium 
One size only
$65.00
DP338
Tibial Nail System 
Solid Cortical Titanium Screw Unsterile or 
6.5mm x 20 -120mm
$130.00

Sterile
DP339
Femoral Nail
End Cap Titanium 
One size only
$45.00
DP342
Femoral Nail System
Solid Cortical Screw Titanium Sterile or 
4.5 or 5.5mm x 20-80mm
$64.00

Unsterile
DP343
Femoral Nail System
Femoral Nail Titanium Sterile or Unsterile
9-15mm x 30- 50cm 
$1,740.00
DP366
Supacondylar Nail System
Solid End Cap Titanium Unsterile or Sterile
One size only
$57.22
DP367
Humeral Nail System
Humeral Nail Titanium Sterile or Unsterile
7-9mm x 22cm-30cm
$1,032.00
DP371
Humeral Nail System
End Cap Various Titanium Unsterile or 
One size only
$65.00
DP571
Art Retrograde Nail
Femoral Nail Titanium Unsterile or Sterile
9 -12mm x 30 - 50cm
$1,740.00
DP590
Compression Hip Screw
6.5mm Solid Lag Screw Stainless Steel 
22mm Thread length 40 to 100mm
$146.00
DP592
Small / Large  Fragment Set
Cannulated Cancellous Lag Screw Titanium
6.8 or 8mm Dia 25-120mm Length 
$214.00

22 or 40mm Thread
DP593
Small / Large  Fragment Set
Cannulated Cancellous Screw 
4mm or 16mm or 32mm Thread, 26-
$227.00

120mm Length
DP597
Small / Large  Fragment Set
Solid Cortical Screw Titanium
3.5 mm 10-48 mm Length
$98.00
$140.00
DP598
Small / Large  Fragment Set
Cannulated Cortical. Bone Screw
3.5 mm length 50-60 mm
$98.00
$175.00
DP605
Small / Large  Fragment Set
Cancellous Lag Screw Titanium
4.8 mm Dia 30mm to 60mm
$132.00
DP608
Small / Large  Fragment Set
Straight Plate Titanium
3-12 Hole
$366.00
DP609
Small / Large  Fragment Set
100 Tube Plate Titanium
3.5mm Dia and 3 to 8 holes
$177.00
DP610
Small / Large  Fragment Set S/S
Femoral Condylar Plate
4-8 Hole   
$475.00
DP611
Small / Large  Fragment Set
Reconstruction T Plate Titanium
4-8 Hole
$475.00
DP612
Small / Large  Fragment Set
Active Compression Plate Titanium
3.5mm  5 to 10 Hole
$192.50
DP613
Small / Large  Fragment Set
Humeral and Radial Plate Titanium Various
Wide - Narrow - Long - Extra Long
$329.00
DP615
Small / Large  Fragment Set
Universal Reconstruction Ribbon Titanium
3.5mm with 8 to 10 holes
$534.88
DP617
Small / Large  Fragment Set
Universal Reconstruction Ribbon Titanium
3.5mm with 14 holes
$796.00
DP618
Small / Large  Fragment Set
Universal Reconstruction Ribbon Titanium
3.5mm with 3 to 7 holes
$402.00
DP627
Small / Large  Fragment Set
Solid Cancellous Screw Titanium
4mm or 5mm Dia 10-48 mm Length
$121.50
DP632
Small / Large  Fragment Set
Solid Cancellous Screw Titanium
5.0mm Length 50 - 80mm
$147.00
Prostheses List by Category, Groups and Sponsor
Page 475 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP635
Small / Large  Fragment Set
Solid Cancellous Lag Screw  Partial Thread 
4mm Dia 10-60mm Length
$227.00

Titanium
DP638
Small / Large  Fragment Set
Solid Cancellous Bone Screw Full Thread 
4mm Dia 50-110mm Length
$180.00

Titanium
DP640
Small / Large  Fragment Set
Cancellous Cannulated  Lag Screw Partial 
4mm 10 to 70mm Length
$225.00

Thread 
DP643
Small / Large  Fragment Set
Cannulated Cancellous Screw Full Threaded 
4mm or 7mm x 10 -100mm Length
$186.00

- Stainless Steel
DP646
Small / Large  Fragment Set
Washer Titanium - Flat/Cup/Countersink
One size only
$23.00
DP650
Small / Large  Fragment Set S/S
Cortical Screw - Stainless Steel
1.5 or 2 or 2.7 or 3.5mm x 22 - 44mm 
$19.00

Length
DP654
Small / Large  Fragment Set S/S
Cortical Screw Diameter - Stainless Steel
3.5 or 4.5 x 12 - 48mm Length
$15.00
DP655
Small / Large  Fragment Set S/S
Cortical Self Tapping Screw
3.5 or 4.5 mm x 8-60 mm Length
$14.00
DP656
Small / Large  Fragment Set S/S
Malleolar Stainless Steel Screw - Stainless 
25 - 70mm
$22.00

Steel
DP657
Small / Large  Fragment Set S/S
Malleolar Cann Cor Stainless Steel Screw - 
25 - 70mm
$118.00

Stainless Steel 
DP658
Small / Large  Fragment Set S/S
Cortical Stainless Steel Cannulated Screw - 
3.5 x 8-70 mm
$98.00
$113.36

Stainless Steel
DP660
Small / Large Fragment Set S/S
Cannulated Screw Diameter partially 
Dia 4 x 10-60
$30.00

threaded - Stainless Steel
DP662
Small / Large Fragment Set S/S
Cannulated Cancellous Screw 16 or 32 Thread
6.5mm x 25-140mm Length
$125.00
DP663
Small / Large Fragment Set S/S
Cannulated Cancellous Screw Part Thread 
4mm or 6.5mm x 10- 140mm Length
$131.91

Screw
DP664
Small / Large Fragment Set S/S
Cannulated Cancellous Screw 16 or 32 Thread
7mm x 25-140mm Length
$160.00
DP665
Small / Large Fragment Set S/S
CHS Compression Screw - Stainless Steel
Neutral to +2
$34.50
DP668
Small / Large Fragment Set S/S
CHS Lag Screw Stainless Steel Sterile and 
Length 50-145mm
$224.00

Unsterile
DP670
Small / Large Fragment Set S/S
Tronchanteric Support Plate
Small-Large
$503.00
DP672
Small / Large Fragment Set S/S
CHS Plate Standard & Short Barrel  Sterile
2-8 Hole 95 to 150 Deg
$348.00
DP673
Small / Large Fragment Set S/S
SCS Plate Sterile
3-9 Hole
$631.00
DP675
Small / Large Fragment Set S/S
Broad Bone Plate Stainless Steel 
3-6 Hole for 1.5mm
$149.00
DP678
Small / Large Fragment Set S/S
Small or Narrow DCP Plate
2.7mm or 3.5mm with 2 - 12 Hole
$98.00
Prostheses List by Category, Groups and Sponsor
Page 476 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP683
Small / Large Fragment Set S/S
Cerclage Wire Loop Stainless Steel 
0.8-1.2mm x 280-600
$17.00
DP689
Small / Large Fragment Set S/S
Condylar Plate & Mini Condylar Plate
1.5mm  or 2mm
$177.50
DP692
Small / Large Fragment Set S/S
Cloverleaf Plate Stainless Steel     
3-4 Hole
$204.00
DP693
Small / Large Fragment Set S/S
T-Plate Stainless Steel           
3 up to 8 Hole
$1,700.00
DP695
Small / Large Fragment Set S/S
Y-Plate Stainless Steel           
2 + 2 + 4 or 4 + 4 + 4 Slots
$184.00
DP696
Small / Large Fragment Set S/S
Plates - Mini T or L, Oblique, Straight
2.0mm or 2.7mm with 2-12 Hole
$31.00
DP701
Small / Large Fragment Set S/S
Bored K/Wire Stainless Steel 
2.0-3.0mm x 80/30-200-15
$98.00
DP702
Small / Large Fragment Set S/S
Threaded K/Wire
1.5-2.5mm
$11.45
DP705
Small / Large Fragment Set S/S
Reconstruction Plate
3.5mm 3-12 Hole
$228.00
DP708
Small / Large Fragment Set S/S
Reconstruction Plate
3.5mm 14 to 18 Hole
$353.00
DP709
Small / Large Fragment Set S/S
Reconstruction Plate
3.5mm 20-28 Hole
$450.00
DP714
Small / Large Fragment Set S/S
Reconstruction Plate
2.7mm 8-26 Hole
$233.00
DP719
Small / Large Fragment Set S/S
Reconstruction Plate
4.5 - 6.5mm 3-8 Hole
$209.00
DP723
Small / Large Fragment Set S/S
Reconstruction Plate
4.5 - 6.5mm 9 - 18 Hole
$321.00
DP725
Small / Large Fragment Set S/S
Cortical Screw Diameter
3.5 or 4.5 x 55 - 110mm
$53.00
DP733
Small / Large Fragment Set S/S
Angle Blade Plate DCP Stainless Steel
95 Degrees 14-18 Hole
$580.00
DP734
Small / Large Fragment Set S/S
Angle Blade Plate DCP
95 Degrees 5 - 12 Hole
$417.00
DP735
Small / Large Fragment Set S/S
Angle Blade Plate Stainless Steel
95 Degrees 45mm x 8mm
$317.00
DP737
Small / Large Fragment Set S/S
Angle Blade Plate
90 Degrees 35-50mm x 8-10mm
$354.00
DP739
Small / Large Fragment Set S/S
Angle Blade Plate
90 Degrees 60 to 65 x 10-15mm
$372.00
DP741
Small / Large Fragment Set S/S
Broad DCP Plate
6 to 10 Hole
$161.00
DP744
Small / Large Fragment Set S/S
Broad DCP Plate
11 to 14 Hole
$235.00
DP746
Small / Large Fragment Set S/S
Broad DCP Plate
16 to 17 Hole
$320.00
DP749
Small / Large Fragment Set S/S
Broad DCP Plate
18 to 26 Hole
$347.00
DP753
Small / Large Fragment Set S/S
Blade Plate Stainless Steel
95 Degrees 5-6 Hole
$342.00
DP754
Small / Large Fragment Set S/S
Cannulated Screw Diameter
4mm x 10-60mm Length
$125.00
DP758
Small / Large Fragment Set S/S
Cerclage 
0.8-2.5mm D898
$13.60
DP759
Small / Large Fragment Set S/S
Washer Spiked, Standard, Cancellous, 
One size only
$14.00

Cortical & Fastening Wire
DP761
Small / Large Fragment Set S/S
Cancellous Screw
4mm Dia and 10 - 28 Length
$125.00
Prostheses List by Category, Groups and Sponsor
Page 477 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP766
Small / Large Fragment Set S/S
Cancellous Screw 32 Thread - Stainless Steel
Dia 6.5mm x 130-140mm
$54.27
DP772
Small / Large Fragment Set S/S
Cancellous Screw
6.5mm x 14-110mm Length
$35.00
DP774
Small / Large Fragment Set S/S
Cancellous Screw 16 or 32 Thread
6.5mm x 25 - 130mm Length
$35.00
DP776
Small / Large Fragment Set S/S
CHS Plate Standard & Short Barrel  Sterile or
10 Hole 135-150 Deg
$648.00

 Unsterile
DP777
Small / Large Fragment Set S/S
CHS Plate Standard & Short Barrel  Sterile or
12 Hole 135-150 Deg 
$685.00

 Unsterile
DP778
Small / Large Fragment Set S/S
CHS Plate Standard & Short Barrel  Sterile or
12-14 Hole 135-150 Deg
$739.00

 Unsterile
DP780
Small / Large Fragment Set S/S
CHS Plate Standard & Short Barrel  Sterile or
5-14 Hole 135-150 Deg
$545.00

 Unsterile
DP784
Small / Large Fragment Set S/S
CHS Plate Stainless Steel
16 Hole 135-150 Deg   
$800.00
DP786
Small / Large Fragment Set S/S
Cortical Screw Self Tapping
3.5 or 4.5 x 30 - 110mm Length
$30.00
DP793
Small / Large Fragment Set S/S
K/Wire Stainless Steel 
0.8 to 3.0 mm x 6-9" or 150-500mm
$7.00
DP796
Small / Large Fragment Set S/S
Narrow Bone Plate
5-18 Hole
$81.88
DP802
Small / Large Fragment Set S/S
Small or Narrow DCP Plate
2.7mm or 3.5mm 8-16 Hole
$120.00
DP809
Small / Large Fragment Set S/S
K-wire standard
1/8 inch
$30.00
DP810
Small / Large Fragment Set S/S
K-Wire Double Point  each
5/32 inch
$11.00
$31.00
DP812
Small / Large Fragment Set S/S
SCS Plate Sterile
10-12 Hole 95 Degrees
$747.00
DP813
Small / Large Fragment Set S/S
SCS Plate Sterile
14-16 Hole 95 Degrees
$788.00
DP814
Small / Large Fragment Set S/S
Threaded Steinmann Pin
0.5-3mm
$30.00
DP820
Small / Large Fragment Set S/S
Cortical Screw Diameter
3.5 or 4.5 x 45 -100mm
$23.00
DP835
Peak Channelled Plate System
Channel Plate
2 - 8 Segment
$1,200.00
DP836
Peak Channelled Plate System
Channel Plate Locking Washer
9 x 13mm
$162.00
DP837
Peak Channelled Plate System
Cortical Bone Screw
3.5mm
$70.00
$118.00
DP929
Supacondylar Nail System
Supracondylar Titanium Nail Sterile or 
10 to 12 mm x 15-30cm
$1,210.00

Unsterile
DP931
Small / Large Fragment Set S/S
Solid Cortical Screw Titanium
6.5mm x 40 - 100mm
$116.00
DY131
Small / Large  Fragment Set
Low Profile Cannulated Cancellous Screw, 
4mm x 10mm - 48mm Length
$225.00
$367.42

Partially Thread
DY162
Fragment Set Small/Large
Low Profile Cannulated Cancellous Screw, 
4mm x 50 - 75mm
$250.00
$441.00

Partially Thread
Prostheses List by Category, Groups and Sponsor
Page 478 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY164
Small / Large Fragment Set
Low Profile Cannulated Cancellous Screw, 
4mm x 10 - 50mm Length
$182.85

Fully Thread
DY165
Fragment Set Small/Large
Low Profile Cannulated Cancellous Screw, 
4mm x 55 - 75mm
$225.00

Fully Thread

LMA PacMed Pty Ltd
PM109
Orthofix External Fixation Systems
MiniRail System
Short, Standard, Long and 
$2,150.00

Articulated Horizontal and Vertical

 Axis
PM110
Orthofix External Fixation Systems
Pennig Minifixator
Short, Standard, Long
$4,800.00

LMT Surgical Pty Ltd
LM001
TriMed Wrist Fixation System
Washer
$115.00
LM002
TriMed Wrist Fixation System
Plates, Stainless Steel
Radial and Ulna pin plate -  3 hole, 
$915.00
$950.00

5 hole, 7 hole;  L plate - left and 

right
LM004
TriMed Wrist Fixation System
Buttress Pin Stainless Steel Wire Form
16 - 42mm Length, 8 - 14mm Bend
$452.00
LM005
TriMed Wrist Fixation System
Small Fragment Clamp  Stainless Steel Inner 
16 - 32mm Length, 10 - 20mm Bend
$465.00

and Outer Component Wire Form
LM007
TriMed Wrist Fixation System
Cortical Bone Screw, Stainless Steel
Diameter 2.3 - 3.2mm, Length 10 - 
$120.00

32mm

Medical & Optical Instruments Australia Pty Ltd
MO150
Acumed Congruent Plate System
Foot & Ankle Plate, Titanium
4 to 9 Hole
$470.00
MO153
Acumed Congruent Plate System
Screw Titanium
2.1, 2.7, 3.5, 4.0mm diameter, 6mm 
$94.00

to 28mm length
MO154
Polarus Proximal Humeral Fixation System
Polarus Proximal Humeral Rod Standard/Plus
150 - 300mm length
$1,925.00

 Titanium
MO156
Polarus Proximal Humeral Fixation System
Polarus Screws Cancellous/Cortical Titanium
12.5 to 60mm length
$220.00
MO158
Polarus Humeral Rod System
Polarus Washer
3.5mm
$20.00
MO159
Polarus Humeral Rod System
Polarus Ulna Rod Titanium
210 to 270mm length
$1,460.00
MO161
Polarus Humeral Rod System
Polarus Radius Rod Titanium
190 to 230mm length
$1,460.00
MO191
Acumed Congruent Plate System
Metatarsal osteotomy plate - titanium
Right, left
$465.00
MO192
Acumed Congruent Plate System
Malleolar plate - titanium
Medial, anterior, lateral 5 hole, 
$552.00

lateral 7 hole
MO193
Acumed Congruent Plate System
Fibula guide plate - titanium
3 - 7 hole
$550.00
Prostheses List by Category, Groups and Sponsor
Page 479 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO194
Acumed Congruent Plate System
Elbow plate - titanium
Epicondyle, Ulna Olecranon, 
$1,308.00

Coronoid, Posterior, Radial Head, 

Small, Medium, Long, Extra Long, 

10-Hole, Standard
MO195
Acumed Congruent Plate System
Screw - titanium
2.7, 3.5, 4.0mm dia, 30 - 65 length
$120.00
$147.00
MO209
Acumed Congruent Plate System
Threaded K-Wire - Titanium
WT-1606STT: Length 15cm x 
$73.00
To be funded where any or all K-

Diameter 0.62"; WT-0906STT: 
wires used in a procedure are used 

Length 15cm x Diameter 0.35"; 
as an implant.

WS-2408STT length 20.32cm x 

Diameter 0.24cm
MO211
Accumed Congruent Plate System
Clavicle Plate - Titanium
Small, Medium, Large, J-Shape, 
$1,386.00

Left, Right

Smith & Nephew Surgical Pty Ltd
SN519
TriGen
Capture Reconstruction Screws Titanium
6.4mm diameter 65-125mm length
$219.00
SN520
TriGen
Captured Screws Titanium
4.5 & 5.0mm diameters, 20-110mm 
$120.00

lengths 
SN522
TriGen 
Knee Nail
8.8, 10, 11.5 & 13mm diameters, 26-
$1,050.00

50cm lengths
SN713
Trigen
Stable-Lok Nut
One Size Only
$346.00
SN739
Trigen
Self Tapping Cortical Screw
20mm - 60mm
$95.00
SN740
Trigen
Humeral Nail
7-11cm x 16-30cm
$660.00

Stryker Australia Pty Ltd
HW274
Alta Modular Trauma System - Components
Cortical Screw/Screw Nut Assembly - 
5mm
$280.00

Titanium
HW294
Alta Modular Trauma System - 
Washer - Cancellous Screw -  Titanium
One size only
$103.00

Components Screws
HW338
Gamma Locking Nail
Gamma Complete -  Orthinox
125,130,135 degrees x 180mm 
$92.00

length
HW341
Gamma Locking Nail
Long Nail -  Orthinox
125,130,135 degrees x 340-440mm 
$939.00

length
HW342
Gamma Locking Nail
Distal Screw -  Orthinox
25-95mm length
$110.00
HW343
Gamma Locking Nail
Lag Screw -  Orthinox
85-120mm length
$203.00
HW344
Gamma Locking Nail
Set Screw -  Orthinox
8mm dia x 22-27 mm length
$86.00
HW345
Gamma Locking Nail
Proximal Plug -  Orthinox
17mm
$100.00
Prostheses List by Category, Groups and Sponsor
Page 480 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW346
Grosse & Kempf Locking Nail
Femoral - Rods and Screws -  Stainless Steel
10,11,12,13,14,15, 16mm width, 260-
$627.00

380mm length
HW347
Grosse & Kempf Locking Nail
Tibial - Rods and Screws -  Stainless Steel
7.5,9,10,11,12,13, 14,15mm width, 
$567.00

240-375mm length
HW348
Grosse & Kempf Locking Nail
Unreamed -  Stainless Steel
7.5mm dia,  240 - 390mm length
$549.00
HW349
Grosse & Kempf Locking Nail
Cross Screw -  Stainless Steel
6.28mm  x 15-95mm
$131.00
HW350
Grosse & Kempf Locking Nail
Cross Screw -  Stainless Steel
3.7mm x 25-70mm
$99.00
HW354
Metaizeau Nail
Stainless Steel
2-4mm x 400-500mm
$160.00
SK368
Stryker Plating System
SPS Locking Plate System
Distal Medial and Lateral tibia  3 
$1,450.00

Holes to 10 Holes left and right
SK377
Stryker Plating System
SPS Locking Plate System
Distal Femur - 4 holes to 16 holes, 
$1,500.00

Left and Right
SK379
Stryker Plating System
SPS Locking Plate System
Proximal Humerus 3 Holes to 10 
$1,400.00

Holes Left and Right
SK381
Stryker Plating System
Numelock II Locking Plate System
Distal Humerus, Lateral and 
$1,400.00

Medial, 1 hole to 5 holes
SK383
Stryker Plating System
SPS Locking Plate System
Proximal Tibia, Lateral and Medial, 
$1,450.00

4 hole to 12 holes, left and right
SK395
Stryker Plating System
SPS Locking Plate System
Locking Screws:  3.0mm - 6.5mm 
$185.00

diameter
ST062
Auto Pilot 1.7mm Quik Flap System
Kit contains three titanium 2 hole plates, and
2 hole plate. 4mm length screw
$420.00

 6 titanium alloy bone screws
ST063
Auto Pilot 1.7mm Quik Burr System
Kit contains one 14mm Malleable Burr Hole 
14mm plate. 4mm length screw
$407.00

Cover plate and 5 titanium alloy bone screws
ST064
Square Fit 1.7mm Quik Burr System
Kit contains one 14mm Malleable Burr Hole 
14mm plate. 4mm length screw
$380.00

Cover plate and 5 titanium alloy bone screws
ST065
Cross Slot 2.0mm Quik Flap System
Kit contains three titanium 2-hole plates and 
2 hole plate. 4.0mm length screw
$407.00

six titanium low profile bone screws
ST804
Grosse and Kempf Locking Nail - 4.6mm
Cross screws
20 - 70mm length
$93.00

Zimmer Pty Ltd
ZI149
Periarticular Plates
Periarticular 6.5mm Cancellous Screws - 
16mm Thread - 35-90mm Long, 
$159.00

Stainless Steel
32mm Thread - 45-90mm Long, 

Fully Threaded - 25-90mm Long
ZI150
Periarticular Plates
Periarticular 4.0mm Cancellous Screws - 
Part thread - 30-60 mm, Full thread 
$105.00

Stainless Steel
30-110 mm
Prostheses List by Category, Groups and Sponsor
Page 481 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI151
Periarticular Plates
Periarticular 4.5mm Self Tapping Screws - 
26 - 90mm
$125.00

Stainless Steel
ZI152
Periarticular Plates
Periarticular 3.5mm Self Tapping Screws - 
10 - 80mm
$136.00

Stainless Steel
ZI153
Periarticular Plates
Periarticular Tibial Plateau Plates - Stainless 
2 holes - 14 holes Left & Right
$1,219.00

Steel
ZI154
Periarticular Plates
Periarticular Femoral Condylar Plates - 
4 holes - 18 holes Left & Right
$1,211.00

Stainless Steel
ZI157
Zimmer Internal Fixation Systems: 
Freelock/Versa-fx tube plate - Stainless Steel
2 holes - 20 holes
$695.00

Compression Hip Screw
ZI158
Zimmer Internal Fixation Systems: 
Freelock/Versa-fx lag screw - Stainless Steel
50 mm - 150 mm long
$247.00

Compression Hip Screw
ZI243
Periarticular Plates
Stainless Steel
2 - 20 Hole
$974.00
ZI320
ITST Intramedullary Nails
Stainless Steel Intertrochanteric Nailing 
Diameter 10 - 14mm; Length 18 - 
$665.00

System
50cm
ZI321
Intramedullary Nail Caps
Stainless Steel Intertrochanteric Nailing 
Diameter 0 - 20mm
$110.00

System
ZI322
ITST Intramedullary Nailing System - Lag 
Stainless Steel Intertrochanteric Nailing 
Diameter 11mm: Length 70mm - 
$205.00

screw
System
120mm
ZI331
Zimmer Periarticular Locking Plates
Periarticular Locking Plating System
Various lengths and numbers of 
$1,400.00

holes
Orthopedic Internal Fixation Systems, Other

Advanced Surgical Design & Manufacture Ltd
AE085
Titan Plate & Screw System
Titan X Drive Screws
2 Screws
$152.00
AE086
Titan Plate & Screw System
Titan X Drive Screws
3 Screws
$228.00
AE088
Titan Plate & Screw System
Titan X Drive Screws
5 Screws
$380.00
AE089
Titan Plate & Screw System
Titan X Drive Screws
6 Screws
$456.00
AE090
Titan Plate & Screw System
Titan Rescue Screws
2 Rescue Screws
$220.00
AE091
Titan Plate & Screw System
Titan Rescue Screws
4 Rescue Screws
$440.00
AE092
Titan Plate & Screw System
Titan Rescue Screws
6 Rescue Screws
$660.00
Prostheses List by Category, Groups and Sponsor
Page 482 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

AstraZeneca Pty Ltd
AE087
Titan Plate & Screw System
Titan X Drive Screws
4 Screws
$304.00

Biomet Australia Pty Ltd
BI206
Arthrotek Ligament Fixation System
Washerloc Fixator, Screw, and Fixator 
Fixator 16mm, Screw 24-60mm
$1,085.00

Titanium
BI233
Arthrotek Ligament Fixation System
Suture Button, HMWPE
15mm, 19mm
$185.00
BI234
Arthrotek Ligament Fixation System
Ligament Washer, Titanium
14mm, 18mm
$335.00
BI235
Arthrotek Ligament Fixation System
Bone Screw, Ligament, Titanium
30,35,40mm
$195.00
BI239
Arthrotek Ligament Fixation System
Interference Screw, Titanium
15-30mm
$475.00
BI246
Arthrotek Ligament Fixation System
Bone Mulch Screws, Titanium
10.5mm x (20-35mm)
$445.00
BI576
Distraction Technology System
Distractor, Flexible Shaft, Facial, Titanium
1 - 3inch
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI580
Distraction Technology System
Distractor, Midface, Drive Screw with 
20 - 30mm
$785.00
Only to be funded where used in a 

Sleeve.  Titanium
service for which a Medicare 

Benefit is payable
BI582
Distraction Technology System
Plate, Anterior or Posterior, Mid Face
Standard or Long
$1,840.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI586
Distraction Technology System
Mandibular, Straight Plate or Distractor Tree
10-25mm
$2,040.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI588
Distraction Technology System
Distractor, Paediatric,  Titanium
10 - 30mm
$1,955.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Johnson & Johnson Medical Pty Ltd
DP039
Orthosorb Absorbable Pin
Orthosorb K-Wire  - Stainless Steel
L300 D2.0mm Thread Each
$16.50
DP099
Coventry Screw System S/S
Cannulated Screws
7.00 mm dia
$175.00
$521.00
DP102
Coventry Screw system 
Cannulated Screws
4mm and 4.50 mm
$90.00
$270.00
DP105
Coventry Screw system S/S
Standard or Heavy or Extra Heavy Duty 
2 -4 or 3- 4 Hole Standard or 130 
$442.00

Deg
DP106
Coventry Screw system S/S
Cancellous Screw
4mm or 4.5mm 16-90mm Length
$275.00
DP854
Songer Cable System - Titanium
Flex Bar - Large/Small or Flanged Crimp 2 
35mm/30mm
$159.00
$222.45

Hole Bar /Flat Bar (Pk 2)
Prostheses List by Category, Groups and Sponsor
Page 483 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP858
Songer Cable System  - Stainless Steel
Flanged Crimp/Flat Bar (Pk2) or 2 Hole Bar 
One size only
$185.00

(Pk 2)
DP860
Songer Cable System  - Stainless Steel
Double Loop Cable with 2 Crimps
One size only
$660.00
DP862
Songer Cable System  - Titanium
Double Loop Cable with 2 Crimps
One size only
$682.00

LMA PacMed Pty Ltd
PM108
Orthofix Limb Reconstruction System
Adult and paediatric - Short, 
$6,500.00

Standard and Long

LMT Surgical Pty Ltd
LM008
Spider and Mini-Spider Limited Wrist 
Stainless Steel
8 hole spider plate, 6 hole mini-
$2,200.00

Fusion System
spider plate
LM009
The Subtaler MBA Implant
Titanium
6, 8, 9, 10, 12mm and guide pin 
$1,300.00

2mm

Medical & Optical Instruments Australia Pty Ltd
MO134
Martin Osteosynthesis System
Screw Fami Anchor Titanium
1.5 - 2.0mm Diameter 8 - 15mm
$164.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO135
Martin Internal Distraction System
Titanium Distractor
10 to 20mm
$2,700.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO136
Intra Oral Mandibular Distraction System  
Vertical
6 to 15mm
$2,220.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO137
Intra Oral Mandibular Distraction System  
Ramus
15 to 25mm
$2,840.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO200
Polarus Proximal Humeral Fixation System
End cap, titanium
Only size only
$45.00
$180.00
MO201
Intra-Oral Vertical Distractor
Titanium distraction device utilising micro-
Two-hole threaded fixation plates -
$1,260.00
Only to be funded where used in a 

threaded fixation plates, distraction screws 
 one size only; distraction screws -
service for which a Medicare 

and positioning screws.
 8,10,12,14mm; positioning screws 
Benefit is payable

- 15,17,19,21mm

National Surgical Corporation Pty Ltd
NI139
Distraction Device
Medicon Ti - Mandibular Distraction/Adjust
15 - 20mm
$2,070.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 484 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NI140
Distraction Device
Medicon Ti - Mandibular Distraction
10 - 25mm
$2,000.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Smith & Nephew Surgical Pty Ltd
SN443
Reis
Cable and Swage
1.6 & 2.0mm
$330.00
SN730
Accord
Orthopaedic Cable System, Titanium Plate
150-250mm
$2,550.00
SN731
Accord
Orthopaedic Cable System, Sm Cable Grip
75-255mm
$1,400.00
SN732
Accord
Orthopaedic Cable System, SS Cable 
2.0mm
$621.00
SN733
Accord
Orthopaedic Cable System, SS Button Plate 
One Size Only
$355.00

Adapter
SN735
Accord
Orthopaedic Cable System, Std Cable Grip
85-265mm
$2,000.00

Stryker Australia Pty Ltd
HW183
First Step High Tibial Osteotomy System
Proximal Component 5mm Step -  Vitallium
60 to 90mm in 5mm increments
$632.00
HW184
First Step High Tibial Osteotomy System
Proximal Component 10mm Step -  Vitallium
60 to 90mm in 5mm increments
$632.00
HW185
First Step High Tibial Osteotomy System
Proximal Component 15mm Step -  Vitallium
60 to 90mm in 5mm increments
$632.00
HW186
First Step High Tibial Osteotomy System
Distal Component -  Vitallium
30 to 55mm in 5mm increments
$1,004.00
HW187
First Step High Tibial Osteotomy System
Total Procedure -  Vitallium
60 to 90mm in 5mm increments  
$1,480.00

30mm to 55mm in 5mm increments
HW257
Wichita Fusion Nail System
Femoral Component -  Vitallium
18mm
$2,690.00
HW258
Wichita Fusion Nail System
Tibial Component -  Vitallium
12mm
$1,695.00
HW259
Wichita Fusion Nail System
Compression Screw -  Vitallium
One size only
$1,152.00
HW260
Wichita Fusion Nail System
Transverse Screw -  Vitallium
30-60mm in 5mm increments
$181.00
SK316
Secure Strand Cable System
Bone Reapproximation Cable
Diameter 1.0mm
$260.00
SR040
Universal Quick Flap System
Sterile pack containing 3 x Titanium 2 hole 
$552.00

plates, 6 x Viper self drilling 1.5 x 4mm screws
SR041
Universal Quik Flap System
Sterile pack containing, 3 x Titanium 2 hole 
$552.00

Plates, 6 x self-tapping screws 1.5 x 4mm

Surgiplas Medical
SP045
Logic Distraction System
Distractor, spacers & activation set
Straight, Curved 18-52mm
$3,150.00
Prostheses List by Category, Groups and Sponsor
Page 485 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

TiMax Surgical Pty Ltd
TI043
CPS Bioabsorbable Fixation System
CPS Systems and Baby System Plates.  
1.5-2.5 mesh plates, 14 x 14 holes; 
$2,490.00

Polylactic Acid Trimethylene Carbonate 
1.5mm baby mesh plate 14 x 14 

Copolymer
holes
TI044
CPS Bioabsorbable Fixation System
CPS Systems and Baby System Plates.  
1.5-2.5 mesh plate, 7 x 7 holes; 
$1,200.00

Polylactic Acid Trimethylene Carbonate 
1.5mm baby mesh plate 7 x 7 holes

Copolymer
TI045
CPS Bioabsorbable Fixation System
CPS Systems and Baby System Plates.  
1.5mm baby plates:- 20 hole, c-
$350.00

Polylactic Acid Trimethylene Carbonate 
plate & x-plate 7 hole, 2 hole

Copolymer
TI046
CPS Bioabsorbable Fixation System
CPS Systems and Baby System Plates.  
1.5mm plates:- 20 holes, c-plate & 
$310.00

Polylactic Acid Trimethylene Carbonate 
x-plate 7 hole, L-plate 7 hole L & R.

Copolymer
 burrhole
TI047
CPS Bioabsorbable Fixation System
CPS Systems and Baby System Plates.  
1.5-2.5mm plates:- 2-10 hole plates 
$240.00

Polylactic Acid Trimethylene Carbonate 
and extended, c-plate & x-plate 7 

Copolymer
hole, H-plate 8 hole, orthognathic 

hole and L-plate L & R 7 hole
TI051
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Plates 6 & 8 hole
$433.00

copolymer
TI052
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Plates 2 & 2.5 systems 4,6,8, 10 hole
$240.00

copolymer
TI053
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Pin 1.5 & 2 mm dia x 20-50 mm long
$185.00

copolymer
TI056
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 2.8 x 6-23mm, 3.1 x 6-8mm
$260.00

copolymer
TI057
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 3.1 x 6 - 30mm and 2.5 x 30mm
$155.00

copolymer
TI058
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 2.8 x 40mm, 2.5 x 30mm, 4.5 
$349.00

copolymer
x 90mm
TI059
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 4.5 x 20-55mm, 3.1 x 40mm
$310.00

copolymer
TI060
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 2 x 9-19mm, 2.5 x 10-23mm 
$40.00

copolymer
and 2.8 x 10 - 23mm
TI061
CPS Bioabsorbable Fixation System
OTPS fixation system: PLGA/TMC 
Screws 1.5 - 2.5mm dia x 5-8mm long
$530.00

copolymer
TI062
CPS Bioabsorbable Fixation System
Trinion meniscus screw: PLGA/TMC 
10 & 12mm long
$179.00

copolymer
Prostheses List by Category, Groups and Sponsor
Page 486 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Orthopedic Internal Fixation Systems, Spinal

Taylor Bryant Pty Ltd
TB315
Delivery Track
Composition: Peek
8 x 20/25/30mm
$824.00
Pins, Bone

B Braun Australia Pty Ltd
BB071
Kirshner Wires all Sizes
Steel
Dia 0.8mm-3.0mm, Length 70mm-
$11.00
$30.00
To be funded where any or all K-

310mm
wires used in a procedure are used 

as an implant.

Biomet Australia Pty Ltd
BI232
Moore Pins
Scan Pin, Stainless Steel
16mm x 51-152mm
$210.00
BI298
Rush Intramedullary Pins
Stainless Steel
2.4-6mm x (30-440mm)
$400.00
BI302
Knowles Hex Drive Pins
Stainless Steel
4.0, 4.7mm x (57-152mm)
$250.00
BI303
Rush Intramedullary Pins
Stainless Steel
2.4mm x (30-35mm)
$84.00
BI304
Rush Intramedullary Pins
Stainless Steel
3.2mm x (100-250mm)
$300.00
BI305
Rush Intramedullary Pins
Stainless Steel
(2.4, 4.8)mm dia x (30-360)mm
$135.00
BI306
Rush Intramedullary Pins
Stainless Steel
(6 - 6.4mm) x (280 - 440mm)
$175.00

Device Technologies Australia Pty Ltd
DE070
TransFix Implant Screw System - Arthrex
Titanium alloy
40mm & 50 mm
$445.00
$743.55
DE124
Fixion Hip Pin
Stainless Steel
Diameter 5mm x length 60-100mm
$210.00
$320.00
DE129
Fixion Peg
Stainless steel peg with inflatable distal part
Diameter 8mm x lengths 80, 90, 100,
$960.00

 110, 120mm

Johnson & Johnson Medical Pty Ltd
DP088
Orthosorb Absorbable Pin
Orthosorb - Polydiaxanone Fixation Pins 
2mm
$298.00
DP089
Orthosorb Absorbable Pin
Orthosorb Pkt3 - Polydiaxanone
40mm x2mm
$372.00
DP090
Orthosorb Absorbable Pin
Orthosorb Pkt 3 - Polydiaxanone
1mm x 40mm x 1.3mm
$734.00
DP091
Orthosorb Absorbable Pin
Orthosorb Pkt 1 - Polydiaxanone
40 x 2.0mm
$736.00
Prostheses List by Category, Groups and Sponsor
Page 487 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP092
Orthosorb Absorbable Pin
Orthosorb K Wire  - Stainless Steel Tapered 
1 x 40mm x 1.3mm Pk 3
$206.00

Pins
DP093
Orthosorb Absorbable Pin
Orthosorb -Polydiameterxanone
1.3mm
$164.82
DP094
Orthosorb Absorbable Pin
Orthosorb Pk 2 - Polydiaxanone
40mm x 2.0mm
$291.00
DP095
Orthosorb Absorbable Pin
Orthosorb Arthroscopic Fix-Set - 
1.3MM
$671.00

Polydiaxanone
DP572
Nancy Nail System 
Pediatric Flexible Nail
2.0 mm x 130mm
$414.00
DP892
Rockwood Clavical Pin
Rockwood Clavicle Pin + Nut S/S
2.5 to 4.5mm
$243.00
DP893
Rockwood Clavical Pin
Nut Clavical Pin S/S
2.5 to 4.5mm
$135.00
DY272
Clavicle Pin (Sterile)
Clavicle pin assembly
2.5-4.5mm
$358.00
JJ024
Cross Pin
-
6.5mm x 40, 50mm lengths
$455.00
JJ420
MiniLok Quick Anchor Plus with Ethibond
Anchor composition is PLA
MiniLok Quick Anchor Plus # 0 
$438.00

Suture OS-2 Needles; MiniLok 

Quick Anchor Plus # 2/0 Suture V5

 Needles
JJ421
MicroFix Quick Anchor Plus with Ethibond
Anchor composition is PLA
MicroLok Quick Anchor Plus with 
$438.00

 Suture
3/0 Ethibond Suture and V4 

Needles; MicroLok Quick Anchor 

Plus 4/0 Ethibond Suture and C1 

Needles; MicroLok Quick Anchor 

Plus with 4/0 Ethibond and P3 

Needles
JJ422
MiniLok Quick Anchor Plus with Panacryl
Anchor composition is PLA
MiniLok Quick Anchor Plus # 2/0 
$432.00

Suture RB1 Needles
JJ424
Panalok RC Loop Anchor with Ethibond 
Anchor composition is PLLA
One size only
$439.60

Suture
JJ425
Panalok RC Loop Anchor with Panacryl 
Anchor composition is PLLA
One size only
$439.60

Suture
JJ426
Bioknotless RC Anchor with Panacryl 
Anchor composition is PLLA
One size only
$439.60

Suture
JJ427
Lupine Loop Anchor with Panacryl or 
Anchor composition is PLLA
One size only
$439.60

Orthocord
JJ428
BioFastin RC Anchor with Ethibond Suture
Anchor composition is PLLA
One size only
$439.60
JJ429
Bioknotless RC Anchor with Ethibond 
Anchor composition is PLLA
One size only
$439.60

Suture
Prostheses List by Category, Groups and Sponsor
Page 488 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ430
BioFastin RC Anchor with Panacryl Suture
Anchor composition is PLLA
One size only
$439.60
JJ431
Lupine Loop Anchor with Ethibond
Anchor composition is PLLA
One size only
$439.60

Link Orthopaedics  Australia
LO100
LINK Arthrodesis Pin
Cobalt Chromium
90mm
$6,300.00
LO101
LINK Arthrodesis Pin
Tilastan
90mm
$7,300.00

Medical & Optical Instruments Australia Pty Ltd
MO162
Tension Band Pin
Stainless Steel
50 to 90mm
$156.00

Smith & Nephew Surgical Pty Ltd
SN438
Hip Pin
Cannulated
30-135mm
$203.00
SN445
Steinmann Pins
Skeletal Traction Pin-Cove Point
150-200mm
$73.00
SN446
Steinmann Pins
Skeletal Traction Pin-Cove Point
250mm+
$121.00
SN447
Steinmann Pins
Non Threaded, Various Tips
9"x5/64 - 9"x3/16
$25.00
SN463
Bone Staple
Fixation - Osteotomy
Fixation Staple 5mm- 14mm.  
$163.00

McConnel HTO PF 15mm 0-S
SN464
Bone Staple
Fixation - Short Leg
Xsmall - large
$125.00
SN465
Bone Staple
Fixation - Table
Small -Medium  13mm - 16mm. 
$205.00
SN466
Bone Staple
Krackow HTO
12,14,16mm
$249.00
SN631
Cannulated Hip Pins
Rush Nails, Round Bevil Point Hook Pins
20.3mm - 254mm
$110.00

Stryker Australia Pty Ltd
HW368
Osteo Kirschner Wire
K wire -  Stainless Steel
Diameter 1.0 - 2.0mm
$11.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
ST007
Stryker Plating System - K Wires
Stainless Steel or Titanium
150mm length in 1.25, 1.6, 2.0mm 
$18.00
To be funded where any or all K-

diameter
wires used in a procedure are used 

as an implant.
ST890
Steinmann Pins
Stainless Steel
7,9"
$90.00

Surgical House
SU010
K-Wire (Kirschner)
Stainless steel
70mm, 100mm, 200mm length
$40.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
SU011
Tac-Pin (Threaded)
Compression pin-titanium
1.7mm diam 15-25mm length
$225.00
Prostheses List by Category, Groups and Sponsor
Page 489 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Synthes Australia Pty Ltd
SY051
AO/ASIF K-Wires, Pins, Washers
Seldrill
4.0/3.0mm & 4.0 - 6mm / 80 - 250mm
$110.21

 L
SY090
AO/ASIF K-Wires, Pins, Washers etc - 
Steinmann pins/schanz screws
2.5 - 5.0, length 60mm - 300mm
$88.58
SY249
AO/ASIF K Wires, Pins Washers - Steel/Ti
Hybrid Pins - Spade point wires/reduction 
1.8, 2.0mm Diameters
$128.75

 Sterile & Non Sterile
wires

Trewavis Surgical Instruments Pty Ltd
TS002
Trewavis Surgical Steinmann Pins
Composition:  Stainless Steel, Model Nos: 
Dia 3.0 - 5.0mm
$55.00

200 - 950-L to 200-970-Q
Pins, Bone, Absorbable

B Braun Australia Pty Ltd
BB060
BRAUN AUST Intramedullary Nails
Isosorb Resorbable Fixation Pin
2mmx60mm-3.5mmx80mm
$213.00

Biomet Australia Pty Ltd
BI275
Lactosorb Suture Anchors
Suture Anchor, Lactosorb, PGA/PLA
2.0mm, 3.0mm
$405.00
BI276
Readsorbable Meniscal Staple
PGA/PLA
11mm, 13mm
$594.00
BI277
Re-Unite Orthopaedic Bone Pin
Bone Pin, PGA/PLA
(1-4)mm dia x (20-70)mm
$160.00
BI797
Weil-Carver Hammertoe Implant
PGA/PLA
One size only
$320.00
BI809
Lactosorb Suture Anchor
Threaded, PGA/PLA
Dia 3.5mm, 5.5mm
$444.00

ConMed Linvatec Australia Pty Ltd
LV008
Preloaded Bio-Anchor Absorbable Suture 
Soft Tissue Re-attachment - PLLA
3.5mm diameter
$300.00
$360.00

Anchor
LV088
SmartPin Resorbable Bone Fixation Pin, 
Self-Reinforced PLLA
10, 20, 30 & 40mm
$220.00

1.1mm

Device Technologies Australia Pty Ltd
DE080
Tissue Button
PLA
6.5mm - 10mm
$180.00
DE126
Chondral Dart
Polylactide Compositition
Length 18mm
$289.00
$409.00
DE127
Bio-Transfix
Composition Poly (L-lactide)
Diameter 5mm, length 50mm
$455.00
$956.80

Johnson & Johnson Medical Pty Ltd
DP584
PLA Centraliser
Poly Lactic Acid+D108 Centraliser
9-20mm
$313.00
JJ078
Rigidfix ACL Cross Pin System 
Polylactic acid pin
2.7 & 3.3mm x 42mm
$465.00
Prostheses List by Category, Groups and Sponsor
Page 490 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ098
Panalok RC Quick Anchor Plus 
Polylactic acid absorbable anchor
2.9 x 11.0mm
$436.75
JJ099
Panalok Absorbable Anchor 
Polylactic acid absorbable anchor
4.1 x 6.0mm
$435.00
JJ231
Bioknotless Anchor
Anchor composition is PLLA
Dia 3.9mm, length 9mm
$435.00
JJ232
Cufftack rotator cuff anchor
Composition of anchor is a) tack - 
Anchor diameter 4.5mm, length 
$434.50

abosorbable PLA b) pin - absorbable L PLA 
23mm

c) sleeve - Prolene
JJ233
Panalok RC QuickAnchor Plus DS Panacryl
Anchor composed of PLA, Suture 
Anchor diameter 2.9mm, length 
$432.00

 Suture
composed of PLA and PGA
11mm
JJ234
Panalok RC QuickAnchor Plus DS 
Anchor composed of PLA, Suture 
Anchor diameter 2.9mm, length 
$432.00

Ethibond Suture
composed of polyester
11mm
Plate, bones

Surgical House
SU169
Hallu-Fix Plates
Composition - titanium, Hallu-C Plate: left 
Hallu-C Plate left and right 
$654.00

and right, Hallu-S Plate: left and right
40,45,50mm; Hallu-S Plate right 

50,55mm, left 60mm
Plates, Bone

Advanced Surgical Design & Manufacture Ltd
AE036
Opening Wedge Tibial Ostectomy Plate
Titanium
6mm - 20mm
$975.00
AE081
Titan Plate & Screw System
Plates & Screws
3 Plates 6 Screws
$900.00
AE082
Titan Plate & Screw System
Fan Blade & Screws
1 Fan Blade 6 Screws
$654.00
AE083
Titan Plate & Screw System
Straight Plates
3 Plates
$444.00
AE084
Titan Plate & Screw System
Straight Plate
1 Plate
$148.00
AE093
Titan Plate & Screw System
Y Plate
Y Plate
$443.00

Aus Systems Pty Ltd
AU001
Aus Systems Titanium Miniplates (Bone 
2hole x 2hole Strip Plate Stiff
1.2mm profile, 4, 6, 8mm length 
$56.00
Only to be funded where used in a 

Plates)
between inner holes
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 491 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Biomet Australia Pty Ltd
BI145
Vari-Angle Hip System
Compression Hip Screw, Lag + Plate, 
2-14 hole plate, 4.5mm to 15mm 
$2,345.00

Stainless Steel
screws
BI834
EBI XFIX DynaFix System
Screw, VS Osteotomy System, Ti
6mm x (30mm-110mm)
$131.00
BI843
EBI XFIX DynaFix System
Plate, VS Osteotomy  Ti
4 hole, 6 hole
$975.00

Darco Australia
DC002
Lapidus Plate
Arthrodesis Plate - Titanium
Flat, 1 - 6mm step
$510.00
DC018
MPJ Fusion Plate
Titanium
S, M, L
$600.00

Device Technologies Australia Pty Ltd
DE055
Osteotomy Plates
Osteotomy, Tibial -  Stainless Steel
5mm - 17.5mm
$820.00
DE078
Osteotomy Plates
Osteotomy, Femoral - Stainless Steel
7.5mm - 17.5 mm
$1,193.00
DE094
Osteotomy Plates
Anterior/posterior sloped.  Stainless steel
5 - 15mm length
$1,098.00
DE215
Arthrex Osteotomy Plates
Metatarsal
2mm - 5mm
$550.00
DE216
Arthrex Osteotomy Plates
Tibial, Composition Titanium
3mm - 17.5mm
$1,300.00
DE217
Arthrex Osteotomy Plates
Femoral, Titanium
5mm - 17.5mm
$1,480.00

Johnson & Johnson Medical Pty Ltd
DP869
Bridge Plates
Bridge P.F.P. Femoral  / Humeral
90 and 140-170mm
$1,112.00
DP888
Calcaneal Periarticular Plate
Calcaneal Periarticular Plate - Titanium
Extra small to Ex Large
$530.00
DP904
Periarticular Plating System
Plate Calcaneal  - Titanium
Small - Large
$528.00
DP905
Periarticular Plating System
Fibula Composite Plate - Titanium  
5 Hole
$317.00
DP906
Periarticular Plating System
Medial Pilon Plate - Titanium 
3 Hole
$340.00
DP907
Periarticular Plating System
Meta Plate - Titanium
Sm - Lge  3 Hole
$340.00
DP908
Periarticular Plating System
Periarticular Pilon Plate  - Titanium
4 to 10 hole
$386.00
DP909
Periarticular Plating System
SPIDER Plate.(2p/p) Titanium
Sm
$204.00
DP910
Periarticular Plating System
SPIDER Plate (2p/p) and offset Titanium
Lg
$204.00
DP911
Periarticular Plating System
Meta Plate - Titanium      
Sm -Lge  5 Hole   
$338.00
DP912
Periarticular Plating System
Fibula Composite Plate - Titanium  
11 Hole 
$397.00
DP913
Periarticular Plating System
Fibula Composite Plate - Titanium  
7 Hole 
$360.00
DP914
Periarticular Plating System
Fibula Composite Plate - Titanium  
9 Hole 
$383.00
DP915
Periarticular Plating System
Medial Pilon Plate - Titanium
5 Hole 
$346.00
Prostheses List by Category, Groups and Sponsor
Page 492 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP916
Periarticular Plating System
Medial Pilon Plate - Titanium
7 Hole 
$381.00
DP917
Periarticular Plating System
Periarticular Spider Washer - Titanium
One size only
$193.00
JJ618
Distal Radius Fracture Repair System
DVR-A, distal volar radius locking plate, 
Standard, left & right
$1,270.00

titanium
JJ619
Distal Radius Fracture Repair System
DVR-A, distal volar radius locking plate, 
Narrow, wide, short, narrow-left & 
$1,450.00

titanium
right
JJ620
Distal Radius Fracture Repair System
DNP, dorsal nail plate, titanium
Standard, left & right
$1,180.00
$1,220.00
JJ621
Distal Radius Fracture Repair System
Fragment locking plate, titanium
Right, left, straight, Y
$815.00
$845.00

Link Orthopaedics  Australia
LO062
LINK Giebel Blade Plates
-
50- 80mm
$376.00
LO063
LINK Giebel Blade Plates  - Cortical Screws
-
6-40mm
$35.00
LO064
LINK May Bone Plates
Many Bone Plates
80 - 122mm
$413.00
LO066
LINK May Bone Plates
Distal Tibia Plate
158mm
$449.00
LO067
LINK May Bone Plates
Distal Tibia Plate
194mm
$491.00
LO068
LINK May Bone Plates
Distal Tibia Plate
230mm
$532.00
LO070
LINK May Bone Plates
Distal Fibular Plate
158mm
$449.00
LO071
LINK May Bone Plates
Distal Fibular Plate
194mm
$491.00
LO072
LINK May Bone Plates
Distal Fibular Plate
230mm
$532.00
LO075
LINK May Bone Plates
Lateral Proximal Tibia Plate
158mm
$449.00
LO076
LINK May Bone Plates
Lateral Proximal Tibia Plate
194mm
$491.00
LO077
LINK May Bone Plates
Lateral Proximal Tibia Plate
230mm
$532.00
LO080
LINK May Bone Plates
Medical Proximal Tibia Plate
158mm
$424.00
LO081
LINK May Bone Plates
Medical Proximal Tibia Plate
194mm
$460.00
LO082
LINK May Bone Plates
Medical Proximal Tibia Plate
230mm
$506.00
LO085
LINK May Bone Plates
Distal Femur Plate
158mm
$449.00
LO086
LINK May Bone Plates
Distal Femur Plate
194mm
$491.00
LO087
LINK May Bone Plates
Distal Femur Plate
230mm
$532.00
LO089
LINK May Bone Plates
Proximal Femur Plate
158mm
$449.00
LO090
LINK May Bone Plates
Proximal Femur Plate
194mm
$491.00
LO091
LINK May Bone Plates
Proximal Femur Plate
230mm
$532.00
Prostheses List by Category, Groups and Sponsor
Page 493 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
LO093
LINK May Bone Plates
Distal Humerus Plate Y-shape: Angle 50deg
150mm
$449.00
LO096
LINK May Bone Plates
Distal Humerus Plate Y-shape: Angle 45deg
150mm
$449.00
LO099
Schwabe Plates
Distal Radius Bone Plates
Small & large
$352.00

Medical & Optical Instruments Australia Pty Ltd
MO138
Martin Bone Plate
Compression Plate  Y Plate Titanium
1.0mm
$160.00
MO139
Martin Bone Plate
Compression Plate T Plate Titanium
1.0mm
$223.00
MO140
Martin Bone Plate
Compression Plate Y, L Plate Titanium
1.0mm
$215.00
MO141
Martin Bone Plate
Compression Plate Straight Titanium
1.0mm
$215.00
MO142
Martin Bone Plate
Compression Plate T,L, Straight Titanium
1.2mm
$350.00
MO202
Acumed Bone Plate
MCP Fusion Plate - Titanium
4 Hole left and right
$572.00
MO208
Acumed Bone Plate
Wrist Fusion Plate - Titanium
Standard, Mini
$2,092.00
$2,200.00

Medtex
MX002
Judet Plate
Implantable stainless plates for fixation and 
4 prong x 12 through to 24mm in 
$231.00
$251.00

stabilisation of rib fractures
2mm increments:  6 prong x 12 

through to 24mm in 2mm increments

Smith & Nephew Surgical Pty Ltd
SN001
TC 100 Quarter Tubular plates (2.7mm 
Sterile
23 - 63mm
$42.00

cortex screws)
SN006
TC 100 1.5mm Mini Plates
Stainless steel, Sterile
Straight 3-6 holes, T-Plates 3-4 
$155.00

holes
SN011
TC 100 3.5mm Small Fragment 
Sterile, 14 - 26 hole
169 - 265mm
$294.00

(Compression) plates
SN012
TC 100 3.5mm One Third Tubular plates
Sterile, 2 - 8 holes
25 - 97mm
$42.00
SN013
TC 100 3.5mm Curved Reconstruction plates
Sterile, 6 - 8 holes
70 - 94mm
$183.00
SN044
TC 100 3.5mm Small Fragment 
Sterile, 2 - 7 holes
25mm - 85mm
$81.00

(Compression) Plates
SN063
TC 100 2.7mm Small Fragment 
2 - 12 holes
20 - 100mm
$120.00

(Compression) plates
SN065
TC 100 4.5mm T-Buttress plates
Sterile, 4 - 6 holes
80 - 112mm
$170.00
SN068
TC 100
Plate: Condylar
1.5mm, 2.0mm &2.7mm
$190.00
SN069
TC 100 3.5mm Reconstruction plates
Sterile, Straight 9 - 11 holes
106 - 130mm
$231.00
Prostheses List by Category, Groups and Sponsor
Page 494 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN071
TC 100 4.5mm Narrow Compression plates
Sterile, 2 - 4 holes
39 - 71mm
$79.00
SN074
TC 100 Bone Plates with provisional 
3.5mm Small Compression Plate
7 - 8 hole
$47.00

fixation holes
SN075
TC 100
Plate: Reconstruction
3.5mm & 4.5mm, 10 - 15 holes
$270.00
SN076
TC 100
Plate: Curved Reconstruction
3.5mm, 10 -18 holes
$260.00
SN078
TC 100 4.5mm Broad Compression plates
Sterile, 20 - 26 holes
326 - 423mm
$320.00
SN080
TC 100 4.5mm T-plate
Sterile, 5 - 8 holes
100 - 148mm
$204.00
SN081
TC 100 2.0mm H-plates
Sterile
One size only
$108.00
SN083
TC 100 2.0mm T-plates
Sterile, 9 hole shaft
3 - 4 holes
$155.00
SN087
TC 100 Semi Tubular plates
8 - 12 holes
135 - 199mm
$70.00
SN088
TC 100
Semi Tubular plates
2 - 7 holes
$56.00
SN091
TC 100 Bone Plates with provisional 
Lateral Tibial Head Buttress 7 - 9 hole
149 - 181mm
$502.00

fixation holes
SN092
TC 100 Bone Plates with provisional 
4.5mm Narrow Compression
11 - 12 hole
$147.00

fixation holes
SN093
TC 100 Bone Plates with provisional 
4.5mm Narrow Compression
8 - 10 hole
$113.00

fixation holes
SN095
TC 100
Semi-Tubular  Plate with provisional fixation 
4 - 7 holes
$58.00

holes
SN097
TC 100 Bone Plates with provisional 
4.5mm Broad Compression
12 - 14 hole
$215.00

fixation holes
SN098
TC 100 4.5mm Reconstruction plates
Sterile, 14 - 16 holes
221 - 253mm
$295.00
SN101
TC 100 Bone Plates with provisional 
L-Buttress, Left and right angled
One size each
$175.00

fixation holes
SN102
TC 100
Plate: T - plate with provisional fixation holes
50 - 148mm
$215.00
SN103
TC 100 Bone Plates with provisional 
T-Plate Right angled
50 - 67mm
$310.00

fixation holes
SN104
TC 100
1/3 Tubular Plate with Collar
3 - 10 Hole
$46.00
SN106
TC 100 Bone Plates with provisional 
3.5mm Small Compression Plate
9 - 10 hole
$330.00

fixation holes
SN107
TC 100 4.5mm Condylar Buttress plates
Sterile,  right, 11 - 15 hole
221 - 285mm
$480.00
SN108
TC 100
Plate: Broad Compression
4.5mm, 3 - 10 holes
$165.00
SN109
TC 100 3.5mm Reconstruction plates
Sterile, Straight 4 - 8 holes
46 - 94mm
$170.00
Prostheses List by Category, Groups and Sponsor
Page 495 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN116
TC 100 2.7mm T-plates
Sterile
One size only
$83.00
SN118
TC 100 3.5mm Small Fragment 
Sterile, 8 - 12 hole
97 - 145mm
$123.00

(Compression) plates
SN119
TC 100 4.5mm T-plate
Sterile, 3 - 4 holes
68 - 84mm
$147.00
SN121
TC 100 Bone Plates with provisional 
3.5mm Small Compression Plate
5 - 6 hole
$777.00

fixation holes
SN126
TC 100 4.5mm Condylar Buttress plates
Sterile, Left and right,  7 - 9 hole
158 - 190mm
$451.00
SN129
TC 100 1.5mm Mini Plates
Stainless steel, Sterile
H-Plates 4 holes
$100.00
SN130
TC 100 3.5mm One Third Tubular plates
Sterile, 9 - 12 holes
109 - 145mm
$58.00
SN131
TC 100 4.5mm Narrow Compression plates
Sterile, 14 - 24 holes
231 - 390mm
$225.00
SN132
TC 100 4.5mm Narrow Compression plates
Sterile, 11 - 13 holes
183 - 215mm
$180.00
SN133
TC 100 4.5mm Narrow Compression plates
Sterile, 8 - 10 holes
135 - 167mm
$102.00
SN134
TC 100 3.5mm Reconstruction plates
Sterile, Straight 16 - 22 holes
190 - 263mm
$380.00
SN135
TC 100 95 Degree Condylar Plates
Small stature
Shaft length 92 - 299 mm, blade 
$360.00

length 50 - 80mm
SN136
TC 100 Small T-Plates
Sterile, right angled and oblique
3 - 4 holes in head, 3 - 6 holes in 
$102.00

shaft
SN143
TC 100 4.5mm Reconstruction plates
3 - 9 holes
45 - 141mm
$183.00
SN468
Compression Hip Screw System
Ambi Standard Barrel Plates
60mm -80mm, 2-3 slot
$305.00
SN469
Compression Hip Screw System
Ambi Standard Barrel Plates
100mm -220mm, 4-10 slot
$500.00
SN470
Compression Hip Screw System
Ambi Standard Barrel Plates
260mm+, 12-14 slot
$660.00
SN471
Compression Hip Screw System
Ambi Short Barrel Plates
100mm, 4-5 slot
$440.00
SN473
Compression Hip Screw System
Classic Standard Barrel Plates
60-140mm, 2-3 slot
$338.00
SN475
Compression Hip Screw System
Classic Standard Barrel Plates
260mm+, 12-14 slot
$660.00
SN476
Compression Hip Screw System
Classic Short Barrel Plates
100 - 120mm
$465.00
SN478
Compression Hip Screw System
Classic Supracondylar Plate
90-95 6-12SL
$740.00
SN490
Intermediate Osteotomy System
Plate (hip screw)
90-150Deg
$789.00
SN493
Paediatric Osteotomy System
Plate (hip screw)
With Prox slot 90D - 140D
$937.00
SN532
TC 100 Plate
2.0mm Straight Plate
3-20 hole
$81.00
SN542
TC 100 Plate
Multifragment Plates
One size only
$113.00
SN543
TC 100 Plate
Pelvic Fragment Plates
3-18 hole, 45-190mm
$160.00
Prostheses List by Category, Groups and Sponsor
Page 496 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN557
TC 100 Plate
4.5mm Broad Compression Plate
14-18 hole
$270.00
SN569
TC 100 Plate
Calcaneal Plate Sterile
60mm,70mm & 9 hole
$420.00
SN570
TC 100 Plate
Cloverleaf Plate
3-4 hole
$180.00
SN571
TC 100 Plate
Cloverleaf Plate
5-6 hole
$380.00
SN572
TC 100 Plate
Cloverleaf Plate
7-8 hole
$397.00
SN573
TC 100 Plate
Cloverleaf Plate
9 hole
$442.00
SN574
TC 100 Plate
Cobra Head Plate
8-11 hole
$433.00
SN577
TC 100 Plate
Hook Plate
123mm 4 hole
$330.00
SN578
TC 100
Plate: Spoon &  L-Buttress
3 - 18 holes
$160.00
SN581
TC 100 Plate
Lateral Tib Head Buttress Plate
3-7 hole Left & Right
$450.00
SN582
TC 100 Plate
Lateral Tib Head Buttress Plate
9-13 hole Left & Right
$518.00
SN659
HTO Plates
Titanium
6 - 20mm
$1,010.00
SN745
Peri-Loc
3.5mm & 4.5mm Locking Plate, StainlessSteel
4 - 19 Holes
$1,314.00
SN782
Peri-Loc
Plates, Stainless Steel, Non-Locking, 
4.5mm
$407.00

Narrow, Lefts & Rights
SN783
Peri-Loc
Plates, Stainless Steel, Non-Locking, Broad, 
4.5mm. 6-16 hole
$320.00

Left & Rights
SN784
Peri-Loc
Plates, Stainless Steel, Non-Locking, Broad, 
4.5mm. 18-22 hole
$433.00

Left & Rights
SN795
Peri-Loc
Plates, Stainless Steel, Locking, 
3.5mm
$334.00

Compression & Tubular, Lefts and Rights
SN796
Peri-Loc
Plates, Stainless Steel, Locking, 
 3.5mm, 4 - 12 holes
$506.00

Compression, Lefts and Rights
SN797
Peri-Loc
Plates, Stainless Steel, Locking, 
3.5mm, 14 - 18 holes
$685.00

Compression, Lefts and Rights
SN798
Peri-Loc
Plates, Stainless Steel, Locking, 
3.5mm, 20 - 22 holes
$740.00

Compression, Lefts and Rights
SN800
Peri-Loc
Plates, Stainless Steel, Non-Locking, 
3.5mm, 4-10 holes
$231.00

Reconstruction, Lefts and Rights
SN801
Peri-Loc
Plates, Stainless Steel, Non-Locking, 
3.5mm, 12-14 holes
$340.00

Reconstruction, Lefts and Rights

Stryker Australia Pty Ltd
HW376
Profyle - Hand and Small Fragment System
Condylar Plates - Titanium
1.7mm, 2.3mm
$190.00
Prostheses List by Category, Groups and Sponsor
Page 497 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK031
Leibinger Titanium Implant system
Profyle hand and small fragment plate 
1.2mm sys XS, T-shape 8 holes
$515.00
SK037
Leibinger Titanium Implant system
Profyle hand and small fragment plate 
2.3mm system M, fixation 3D 6x2 
$435.00

holes
SK038
Leibinger Titanium Implant system
Profyle hand and small fragment plate 
2.3mm system L, compr 10 hole T 
$1,410.00

bar
SK039
Leibinger Titanium Implant system
Profyle hand and small fragment plate 
2.3mm system M, compr 8 holes 
$165.00

straight bar
SK049
Stryker Plating System
Cancellous bone screws
 4.0mm diameter, 8 - 150mm lengths
$50.00
SK055
Matta Pelvic System
Straight acetabular plate
10-14 Holes
$368.00
SK057
Matta Pelvic System
Straight acetabular plate
15-20 Holes
$160.00
SK064
Skryker Plating  System
Matta Pelvic Plates
Curved, Straight and Symphysis 
$800.00

Pubis 2 - 30 hole
SK067
Matta Pelvic System
Curved Pelvic Plate Radius 108
4-9 Holes
$53.00
SK069
Matta Pelvic System
Curved Pelvic Plate Radius 108
10-14 Holes
$32.00
SK070
Matta Pelvic System
Curved Pelvic Plate Radius 108
15-20 Holes
$800.00
SK071
Matta Pelvic System
Curved Pelvic Plate Radius 88
4-9 Holes
$61.00
SK073
Matta Pelvic System
Curved Pelvic Plate Radius 88
10-14 Holes
$800.00
SK074
Matta Pelvic System
Curved Pelvic Plate Radius 88
15-20 Holes
$800.00
SK075
Stryker Plating System Basic Fragment Set
4.5mm Reconstruction Plate
3-9 Holes
$780.00
SK077
Stryker Plating System Basic Fragment Set
4.5mm Reconstruction Plate
10-16 Holes
$780.00
SK081
Stryker Plating System Small Fragment Set
Waisted compression plate
2-10 Holes
$220.00
SK082
Stryker Plating System Small Fragment Set
Waisted compression plate
11-20 Holes
$220.00
SK083
Stryker Plating System Small Fragment Set
Standard compression plate
2-9 Holes
$166.00
SK084
Stryker Plating System Small Fragment Set
Standard compression plate
10-20 Holes
$220.00
SK086
Stryker Plating System Screws
Cortical bone screws 4.5mm diameter
22-38mm
$25.00
SK088
Stryker Plating System Basic Fragment Set
Waisted Compression Plate Broad
15-26 Holes
$325.00
SK094
Stryker Plating System Small Fragment Set
Calcaneal Plate
70-80mm
$605.00
SK095
Stryker Plating System Screws
Cortical bone screws 4.5mm diameter
40-64mm
$25.00
SK096
Stryker Plating System Screws
Cortical bone screws 4.5mm diameter
65-95mm
$25.00
SK097
Stryker Plating System Screws
Cortical bone screws 4.5mm diameter
100-150mm
$25.00
Prostheses List by Category, Groups and Sponsor
Page 498 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK098
Stryker Plating System Small Fragment Set
Stainless steel, reconstruction plate
10-22 Holes
$551.00
SK099
Stryker Plating System Small Fragment Set
One Third Tubular Plate with Collar
9-14 Holes
$175.00
SK100
Stryker Plating System
Small Fragment Plates
T-Plates 2 - 10 hole
$165.00
SK102
Stryker Plating System Small Fragment Set
Cloverleaf Plate
6-10 Holes
$330.00
SK103
Stryker Plating System
Cortical bone screws
2.7mm diameter, 22 - 80mm  lengths
$28.00
SK105
Stryker Plating System Screws
Cortical bone screws
Dia 3.5mm, screw length 10-20mm
$15.00
SK106
Stryker Plating System Screws
Cortical bone screws
Dia 3.5mm, screw length 22-38mm
$19.00
SK117
Leibinger Screws 
Tenxor Kirschner Wires
1.5 - 2.0mm Diameter
$125.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
SK391
Leibinger Universal Distal radius System
Universal Distal Radius SMARTLock 
Radial Column - Long and Short; 
$1,350.00

Column Locking Plates
Ulna Column - Long and Short, 

Left and Right
ST003
Stryker Plating System Screws - Cortical 2.7
Stainless Steel/Titanium
Diameter 2.7mm, screw length 8-
$19.00

 & 3.5
20mm
ST008
Stryker Plating System Small & Basic 
Narrow or Broad
2-20 holes, 26-260mm plate length
$310.00

Fragment - Compression Plate
ST017
Stryker Plating System Small & Basic 
Stainless Steel or Titanium
50-60mm
$380.00

Fragment - Calcaneal Plate
ST025
Stryker Plating System Small Fragment Set
Stainless Steel
4-9 Holes
$497.00
ST036
Stryker Plating System Small & Basic 
Oblique T Plate or T Plate, Stainless Steel or 
42-86mm Length
$304.00

Fragment - T Plate
Titanium, Oblique
ST037
Stryker Plating System SmallFragment Set
One Third Tubular Plate with Collar
2-8 Holes
$113.00
ST038
Stryker Plating System -  Reduction Pin
4.5mm Diameter, Stainless Steel
One size only
$175.00
ST039
Stryker Plating System Small & Basic 
Stainless Steel or Titanium, Left or Right
3-20 Holes, 67-339mm Plate Length
$231.00

Fragment - L Plate
ST040
Stryker Plating System - Washers & Nuts
Stainless Steel or Titanium
Nuts 5.0 or 4.5mm thickness; 
$18.00

Washers 7 - 13mm diameter
ST041
Stryker Plating System Basic Fragment Set
Waisted Compression Plate Broad
6-14 holes
$316.00
ST051
Stryker Plating System Small Fragment Set
Cloverleaf Plate
3-5 Holes
$340.00
ST715
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 4 hole
$152.00

system, fixation straight plate, titanium
Prostheses List by Category, Groups and Sponsor
Page 499 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST716
Leibinger Titanium Implant System
Leibinger profyle hand & small fragment 
1.2mm system, 16 hole
$253.00

system, fixation straight plate, titanium
ST717
Leibinger Titanium Implant System
Hand System, Bone Plate, T-Shape
1.2mm, 5 holes
$247.00
ST719
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 5 holes
$234.00

system, fixation plate, Y-shape, narrow, 

titanium
ST720
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 2x2 holes
$267.00

system, fixation plate, 3D plate, titanium
ST721
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 3x2 holes, 2x2 + 2 
$395.00

system, fixation plate,  3D plate, titanium
holes
ST722
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 4x2 holes
$520.00

system, fixation plate,  3D plate, titanium
ST723
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.2mm system, 4x2 holes
$440.00

system, fixation plate, replant plate, titanium
ST724
Leibinger Titanium Implant System
Profyle hand cross-slot, self-tapping
Diameter 1.2 - 1.4mm,  Length  3-
$78.00

13mm
ST726
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 4 holes
$152.00

system, straight plate, titanium
ST728
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 16 holes
$330.00

system, fixation straight plate, titanium
ST730
Leibinger Titanium Implant System
Hand system, fixation plate, L-shape, 
1.7mm, 6 holes
$225.00
ST731
Leibinger Titanium Implant System
Hand system, T-shape, right/left
1.7mm, 6 Holes
$247.00
ST733
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 7 holes
$267.00

system, fixation plate, T-shape, 90 deg, 

titanium
ST734
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 7 holes
$285.00

system, Y-shape, narrow, titanium
ST735
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 9 holes
$305.00

system, Z-shape, titanium
ST736
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 4x2 holes
$520.00

system, replant plate, titanium
ST737
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 5 holes
$234.00

system, condylar compression plate with 

bar, right/left, titanium
ST738
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 2x2 holes
$267.00

system, fixation, 3D plate, titanium
Prostheses List by Category, Groups and Sponsor
Page 500 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST739
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 2x2 + 2 holes
$395.00

system, fixation, 3D plate, titanium
ST740
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 3x2 holes
$395.00

system, 3D plate, titanium
ST741
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm system, 4x2 holes
$520.00

system, 3D plate, titanium
ST742
Leibinger Titanium Implant System
Leibinger profyle hand & small  fragment 
1.7mm diameter  x 5-17mm
$49.00

system, cross-slot, self-tapping screws, 

titanium
ST743
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
1.7mm diameter x 18-24mm
$54.00

System, cross-slot, self-tapping screws, 

titanium
ST744
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
1.6mm diameter
$56.00

System, cross-slot, self-tapping screws , 

Titanium
ST745
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
1.9x5mm
$60.00

System, emergency, cross-slot, self-tapping 

screw, Titanium
ST748
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 5 holes
$157.00

System, straight compression plate, 
ST749
Leibinger Titanium Implant System
Hand System, straight plate, Compression 
2.3mm, 4 - 6 holes
$160.00

and non-compression plate
ST750
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 16 holes
$330.00

System, fixation straight plate, Titanium
ST751
Stryker Leibinger Plating System
Hand Profyle Plate
2.3mm diameter, 6 hole
$260.00
ST753
Leibinger Titanium Implant System
Hand system, compression & non-
2.3mm, 6 holes
$267.00

compression plates, T-shape
ST755
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 7 holes
$280.00

System, fixation and compression plate, T-

shape, 90 deg, Titanium
ST756
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 7 holes
$305.00

System, fixation and compression plate, Y-

shape, narrow, Titanium
ST757
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 13 holes
$320.00

System, fixation plate, Z-shape, Titanium
Prostheses List by Category, Groups and Sponsor
Page 501 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST758
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 5 holes
$228.00

System, condylar compression plate, 

right/left, Titanium
ST759
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 6 holes
$228.00

System, condylar compression plate, 

right/left, Titanium
ST760
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 4x2 holes
$435.00

System, replant plate, Titanium
ST761
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 2x2 holes
$267.00

System, fixation plate, 3D plate, Titanium
ST762
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 2x2 +2 holes
$395.00

System, 3D plate, Titanium
ST763
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 3x2 holes
$380.00

System, fixation plate, 3D plate, Titanium
ST764
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 4x2 holes
$505.00

System, fixation plate, 3D plate, Titanium
ST765
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm diameter x 6-18mm
$50.00

System, cross-slot, self-tapping screw, 

Titanium
ST766
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm diameter x 19-24mm
$49.00

System, cross-slot, self-tapping screw, 

Titanium
ST767
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.5mm diameter x 6mm
$54.00

System, emergency cross-slot screw, Titanium
ST768
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 4 holes
$222.00

System, compression plate with bar, 
ST769
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 5 holes
$239.00

System, compression plate with bar, 
ST770
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 6 holes
$267.00

System, compression plate with bar, 
ST771
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 7 holes
$285.00

System, compression plate with bar, 
ST772
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 8 holes
$300.00

System, compression plate with bar, 
ST773
Leibinger Titanium Implant System
Hand system, compression plate, 90 deg, L-
2.3mm, 6 Hole
$275.00

shape, right/left
Prostheses List by Category, Groups and Sponsor
Page 502 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST775
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.3mm system, 6 holes
$280.00

System, compression plate, T-shape, 

oblique, right/left, Titanium
ST777
Leibinger Titanium Implant System
Leibinger Profyle Hand & Small Fragment 
2.5mm diameter
$50.00

System, screw, Titanium
ST783
Leibinger Titanium Implant System
Leibinger Forefoot Reconstruction System, 
Diameter 2.3mm, Length 8mm - 22mm
$71.50

screw, Titanium
ST784
Stryker Leibinger Plating System
Forefoot Reconstruction Screws
2.7 - 3.0mm diameter, 12 - 22 lengths
$140.00
ST786
Leibinger Titanium Implant System
Leibinger Forefoot Reconstruction System, 
4 holes
$320.00

straight plate, Titanium
ST787
Leibinger Titanium Implant System
Leibinger Forefoot Reconstruction System, 
6 holes
$480.00

straight plate, Titanium
ST788
Leibinger Titanium Implant System
Leibinger Forefoot Reconstruction System, 
4 holes
$330.00

curved plate, Titanium
ST789
Leibinger Titanium Implant System
Leibinger Plates - Wrist Arthrodesis Plates, 
8 and 12 holes
$90.00

partial and total, right/left, Titanium
ST983
Stryker Plating System
DuPont Distal Humeral Plate
7,9,11,13 holes
$773.00

Synthes Australia Pty Ltd
SY016
AO/ASIF Plates
 3.5mm cloverleaf
3-6 hole, length 104mm
$674.40
SY017
AO/ASIF Plates
3.5mm calcaneal
Length 60 - 70mm
$752.47
SY018
AO/ASIF Plates
Straight & Curved 3.5mm, reconstruction
2 - 24hole
$740.00
SY019
AO/ASIF Plates
Steel, left & right, 4.5mm T & L plate, 4.5mm 
3-12 hole
$388.83
SY020
AO/ASIF Plates
Steel, spoon plate,4.5mm 
5-12 hole
$415.00
SY023
AO/ASIF Plates
Steel, left & right, lateral, proximal, tibial, 
3-13 hole
$830.87

buttress, 4.5mm lateral tibial
SY024
AO/ASIF Plates 
4.5mm cobra head
8-11 hole
$572.00
SY029
AO/ASIF Plates 
straight & shaped plate
2.0mm - 2.7mm, 2 - 50 hole
$369.00
SY030
AO/ASIF Plates
Steel, DHS plates
130-150 deg/ 2-16 hole / 43-27mm 
$875.00

length / barrel 25 - 38mm
SY033
AO/ASIF Plates 
 4.5mm semi tubular
2 - 28 hole
$165.00
SY034
AO/ASIF Plates 
4.5mm narrow, DCP/LCP/LCDCP
2-28 hole
$378.00
SY035
AO/ASIF Plates
 4.5mm broad,  DCP/LCDCP
2-28 hole
$484.00
Prostheses List by Category, Groups and Sponsor
Page 503 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY036
AO/ASIF Plates
Tubular plate, 3.5mm 1/3 tubular
2-28 hole
$157.93
SY037
AO/ASIF Plates
Wrist fusion plate - standard bend, short 
2-28 hole
$1,456.00

bend, straight
SY038
AO/ASIF Plates
DHS trochanteric stabilizing plate sterile
3-16 hole
$679.80
SY040
AO/ASIF Plates
Osteotomy plate - adult 
4 Hole /blade 40 - 110mm / 90-130 
$854.12

deg
SY046
AO/ASIF Plates
condylar plate
2.0mm - 2.7mm
$376.00
SY052
AO/ASIF Plates
Distal radius plate - volar plates - left & right
2.4mm
$963.05
SY053
AO/ASIF Plates
DHS/DCS plate
125-160deg 2-28 hole
$484.10
SY057
AO/ASIF K-Wires, Pins, Washers etc
Wire mount & spacer
2mm - 6mm
$109.00
SY059
AO/ASIF Plates
Unilock, angled, straight, T, Y, condylar, 
2mm - 50mm
$1,545.00

DCP, LCDCP, left & right, mandible and 

locking plates
SY093
AO/ASIF Plates
Specially manufactured plate all sizes
Custom made
$3,605.00
SY094
AO/ASIF Plates
Shaped
2.0mm & 2.7mm
$348.14
SY097
AO/ASIF Plates - Steel
broad straight plate DCP/LCDCP
4.5mm, 2 - 28 hole
$644.00
SY100
AO/ASIF Plates
4.5mm Hook Plate
3-12 hole
$530.00
SY101
AO/ASIF Plates
Osteotomy Plate - Adult / LC angle blade / 
4 hole, 5-6 hole/30-40mm blade 
$453.00

cannulated angle blade
length/ 90 - 100 deg, 10- 20 mm 

displacement
SY102
AO/ASIF Plates
Osteotomy plate - adolescent
90 deg, blade 40 - 60mm, displ 10 - 
$278.00

15mm
SY103
AO/ASIF Plates
Osteotomy plate - infant
Child, toddler & infant, 115 deg 
$301.80

bifurcated, blade 25 - 45mm, 80 - 

100 deg, 4 - 8mm offset, displ 7 - 

12mm, height 49- 54mm
SY104
AO/ASIF Plates
Osteotomy plate - high tibial
95 deg condylarprox tibia , 50-60 
$1,042.77

mm, displ 15-20mm
SY105
AO/ASIF Plates - Steel
Condylar & small condylar, angled plate
5 - 24 hole, blade length 50 - 90mm,
$974.00

 95 degree
SY106
AO/ASIF Plates - Steel
Angled blade plate
3 - 26 hole,  length 25 - 110mm, 90 - 
$1,081.50

130 degree
SY107
AO/ASIF Plates - Steel
DCS DHS plate
95 - 150 degree, 2 - 22 hole, length 
$1,214.99

25 - 38mm barrel
Prostheses List by Category, Groups and Sponsor
Page 504 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY111
AO/ASIF Plates
Specially manufactured plate
1.0mm - 6.5mm
$3,914.00
SY112
AO/ASIF Plates
Plate
1.0mm - 2.7mm
$401.70
SY113
AO/ASIF Plates
2.0mm condylar
Left & right
$420.00
SY114
AO/ASIF Plates
3.5mm  - 5.0mm Straight DCP/LCDCP
2-28 hole
$231.00
SY115
AO/ASIF Plates
3.5mm, T- PLATE - right & oblique angle
2-8 hole
$294.00
SY116
AO/ASIF Plates
4.5mm recon plate
2-28 hole
$840.00
SY117
AO/ASIF Plates
T & L plate  - left & right
3.5mm - 5.0mm, 2 - 12hole
$572.00
SY118
AO/ASIF Plates
4.5mm, head buttress plate lateral tibial left &
5 - 15 hole
$1,246.00

 right
SY121
AO/ASIF Plates
4.5mm condylar, angled plate
4-22 hole
$1,200.00
SY122
AO/ASIF Plates
4.5mm, angled plate
4-22 hole
$1,200.00
SY153
AO/ASIF Plates - Steel
Osteotomy plate - shoulder
Dislocation 80-90 deg.  blade 
$920.00

length 35 - 40mm
SY161
LCP Plate
1/3 Tubular Plate
Dia 3.5mm, length 2-16 hole
$175.00
SY162
LCP Plate
Distal Tibial Plate, sterile/non-sterile
Dia 3.5 - 5.0mm, length 4-24 hole
$1,800.00
SY163
LCP Plate
Tibial Plate, Sterile/Non Sterile
 4 - 24 hole
$1,854.00
SY164
LCP Plate
Distal Femoral Buttress Plate, Sterile/Non 
Dia 5.0mm, length 4-22 hole
$1,854.00

Sterile
SY165
LCP Plate
Tomofix Plate, Sterile/Non Sterile
Dia 5.0mm, length 2-8 hole
$1,211.62
SY166
LCP Plate
Locking Proximal Humeral Plate, sterile/non 
Dia 3.5mm, length 3-12 hole
$1,376.00

sterile
SY172
LCP Plate
Straight Plate, Sterile/Non Sterile
Dia 3.5 - 5.0mm, length 2-20 hole
$229.00
SY188
AO/ASIF Plates
Calcaneal, Locking
3.5mm, 30 - 100mm
$1,209.22
SY253
AO/ASIF Plates
Foot & hand plates - steel - titanium multiple
1 - 4mm
$669.50

 hole
SY259
Locking Distal Radius Plate System
Small & Mini Fragment Plates - Volar Plate
LCP - Volar Plate 2.4mm Left & 
$2,350.00

Right, 2.4 Volar Plates Straight
SY279
Small & Mini Fragment Plates
Locking Distal Radius Plate System
LCP Dorsal T, L, Straight Plates 
$1,184.50

2.4mm Long/Short
SY280
Small & Mini Fragment Plates
Locking Distal Radius Ulna Column Plate 
2.0mm - 2.4mm
$1,715.00

System
SY283
LCP Plate
LCP  Olecranon Plate, left and right, non 
2-20 hole plates
$1,308.10

sterile/sterile
Prostheses List by Category, Groups and Sponsor
Page 505 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY284
LCP Plate
LCP Distal humerus plate, dorso-lateral, left 
2-20 hole plates
$1,308.10

and right, non sterile/sterile; LCP Distal 

humerus plate, dorso-lateral with support, 

left and right, non sterile/sterile; LCP Distal 

humerus plate, medial, left and right, non 

sterile/sterile
SY323
AO/ASIF Plates
Unilock, angled, straight, T, Y, condylar, 
2.4mm 4-12 hole
$566.50

DCP, LCDCP, left & right, plate
SY350
AO/ASIF Plate
3.5mm Reconstruction Plate
2-24 holes
$530.00
SY376
LCP Plate
Broad Curved Plate or Proximal Femur Plate
12 Hole - 26 Hole: 2 - 16 Hole
$1,800.00

Zimmer Pty Ltd
ZI209
ZPS
Nut
Small & Large
$40.00
ZI210
ZPS
Washer/Spiked washer
Small & Large
$43.00
ZI211
ZPS
1/3 Tube Plate
3 - 8 Hole
$46.00
ZI212
ZPS
Small Narrow Plate
3 - 8 Hole
$113.00
ZI214
ZPS
Mini Plates
3 - 8 Hole
$153.00
ZI215
ZPS
Small SCP plate
3 - 12 Hole
$113.00
ZI216
ZPS
SCP Forearm plate
4 - 12 Hole
$113.00
ZI217
ZPS
Buttress Plate
4 - 6 Hole
$355.00
ZI218
ZPS
Spoon Plates
5 - 6 Hole
$243.00
ZI219
ZPS
T Plate
68 - 147mm
$248.00
ZI220
ZPS
Cloverleaf plates
88 - 104mm
$227.00
ZI222
ZPS
Epiphysis plate
2 - 6 Hole
$113.00
ZI223
ZPS
1/4 Tubular Plate
3  - 8 Hole
$264.00
ZI224
ZPS
Narrow Plate
2 - 12 Hole
$243.00
ZI225
ZPS
Broad Plate
5 - 14 Hole
$449.00
ZI227
ZPS
3.5mm Straight Recon Plates
6 Hole
$801.00
ZI228
ZPS
3.5mm Curved Recon Plates
6 Hole
$857.00
ZI230
ZPS
4.5mm Straight Recon Plate
6 Hole
$880.00
ZI231
ZPS
Recon Bridge Plate
4 Hole
$950.00
Prostheses List by Category, Groups and Sponsor
Page 506 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Plugs

Biomet Australia Pty Ltd
BI780
Optiplug Cement Restrictor
Restrictor, PEGT/PBT
10-20mm Diameter
$120.00

Johnson & Johnson Medical Pty Ltd
DY077
Apex Hole eliminator 
Hole eliminator screw Titanium
One size only
$266.00

Link Orthopaedics  Australia
LO106
Intramedullary Plug
P/E Intramedullary Plug
12 to 20 mm
$120.00

Stryker Australia Pty Ltd
HW005
Stryker Bone Plug
 Cement Restrictor
Small, Medium, Large (6-24mm)
$180.00
HW009
HNR System
Head Neck Replacement System - Non-
Medium, Large, X-Large, XX-
$2,600.00

Porous Stem - Cobalt Chrome
Large  Body Size 33, 43, 53mm

Zimmer Pty Ltd
ZI356
Medullary Plug, MS 30
Centring Plug, cement restrictor, hip - PE
1 to 7
$145.00
ZI451
Allofit screw hole plugs
Sterile, 7 per set
One size only
$52.00
Prep Kits

Johnson & Johnson Medical Pty Ltd
DP446
VacuMix Pre Loaded CMW Cement
Vaccum Mixing System Pre Loaded with 
50, 80 grams
$484.00

Non - Antibiotic Bone Cement
Prostheses, Arm

Smith & Nephew Surgical Pty Ltd
SN138
Neer 3 Total Shoulder System
Humeral stems
Head size 15 - 16, stem diam 8 - 
$2,740.00

12mm
Prostheses List by Category, Groups and Sponsor
Page 507 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Carpal

Advanced Surgical Technologies
AD106
Orthosphere
Yttria-stabilized zirconia ceramic
9mm - 14mm
$2,150.00
AD167
Wright Swanson Titanium Carpal 
Titanium
1 - 5 left and right
$1,318.00

Scaphoid, Carpal Lunate, Basal Thumb 
Prostheses, Cerclage, Bone

Global Orthopaedic Technology
GO092
C-Fix Cable Fixation System
Titanium Leader Cable Assembly
1-1.3mm
$1,200.00

Plus Orthopedics Australia Pty Ltd
PL006
PLUS Endoprothetik Cerclage Systems
CCG Band - Pure Titanium
Length 27cm
$450.00
PL007
PLUS Endoprothetik Cerclage Systems
CCG-GF Band with fixation spikes - Pure 
Length 27cm
$625.00

Titanium
PL033
PLUS Endoprothetik Cerclage System
CCG Stabilizer with Band
XS - L
$1,290.00

Stryker Australia Pty Ltd
HW300
Dall Miles Cable Grip System - Stainless 
Stainless Steel: Cable -  Stainless Steel
1.6 and 2mm 
$250.00

Steel
HW301
Dall Miles Cable Grip System - Stainless 
Stainless Steel: Sleeve -  Stainless Steel
1.6 and 2mm 
$195.00

Steel
HW302
Dall Miles Cable Grip System - Stainless 
Stainless Steel: Trochanter Grip -  Stainless 
Small, Medium, Large
$545.00

Steel
Steel
HW303
Dall Miles Cable Grip System - Stainless 
Stainless Steel: Cable & Sleeve -  Stainless 
1.6 and 2mm 
$360.00

Steel
Steel 
HW304
Dall Miles Cable Grip System - Stainless 
Stainless Steel: Cable & Sleeve Beaded -  
1.6 and 2mm 
$330.00

Steel
Stainless Steel
HW305
Dall Miles Cable Grip System - Stainless 
Stainless Steel Plate:5 hole -  Stainless Steel
6 inches
$640.00

Steel
HW306
Dall Miles Cable Grip System - Stainless 
Stainless Steel Plate:7 hole -  Stainless Steel
8 inches
$804.00

Steel
Prostheses List by Category, Groups and Sponsor
Page 508 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW307
Dall Miles Cable Grip System - Stainless 
Stainless Steel Plate:9 hole -  Stainless Steel
10 inches
$819.00

Steel
HW308
Dall Miles Cable Grip System - Stainless 
Stainless Steel Plate:11 hole -  Stainless Steel
12 inches
$866.00

Steel
HW309
Dall Miles Cable Grip System - Vitallium
Vitallium: Cable -  Vitallium
1.6 and 2mm
$355.00
HW310
Dall Miles Cable Grip System - Vitallium
Vitallium: Sleeve -  Vitallium
1.6 and 2mm
$225.00
HW311
Dall Miles Cable Grip System - Vitallium
Vitallium: Trochanter Grip -  Vitallium
Small, Medium and Large
$545.00
HW312
Dall Miles Cable Grip System - Vitallium
Vitallium: Mini Cleat. Vitallium
One size only
$320.00
HW313
Dall Miles Cable Grip System - Vitallium
Vitallium: Grooved Button -  Vitallium
One size only
$240.00
HW314
Dall Miles Cable Grip System - Vitallium
Vitallium: Cable and Grip Combined -  Vitallium
1.6 and 2mm
$555.00
HW315
Dall Miles Cable Grip System - Vitallium
Vitallium: Cable and Sleeve -  Vitallium
1.6 and 2mm
$570.00
HW316
Dall Miles Cable Grip System - Vitallium
Vitallium: Cable and Sleeve Beaded -  Vitallium
1.6 and 2mm
$155.00
SK398
Trochanteric Grip
Dall-Miles Trochanteric Grip Plate
100mm - 200mm
$2,550.00
SK399
Trochanteric Grip
Dall-Miles Trochanteric Grip Plate
110mm - 210mm
$4,000.00
SK400
Trochanteric Grip
Dall-Miles Trochanteric Grip with 2 Stainless
Small, Medium and Large
$1,400.00

 Steel Cables
SK401
Trochanteric Grip
Dall-Miles Trochanteric Grip with 2 Chrome 
Small, Medium and Large
$1,750.00

Cobalt Cables
SK402
Trochanteric Grip
Dall-Miles Trochanteric Grip Plate, with 2 
100mm - 200mm
$3,652.00

Cables
SK403
Trochanteric Grip
Dall-Miles Trochanteric Grip Plate, with 2 
110mm - 210mm
$5,102.00

Cables
Prostheses, Femoral, Upper

Stryker Australia Pty Ltd
HW049
Trochanteric Mesh
Wire mesh -  Stainless Steel
50 x 50mm
$666.00
Prostheses List by Category, Groups and Sponsor
Page 509 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Finger/Thumb

Advanced Surgical Technologies
AD163
WMT Orthopaedic Implants Hand
Trapezium silastic
1, 2, 3, 4, 5
$590.00
AD164
WMT Orthopaedic Implants Hand
Silastic tendon spacer
24in long, 3, 4, 5, 6mm wide
$310.00

Johnson & Johnson Medical Pty Ltd
DP002
Roseland Thumb
Trap CIM
Small, Large
$1,035.00
DP015
Roseland Thumb
Meta 1/3 HAC & CIM
Small, Large, Xlarge
$1,792.00
DP017
Roseland Thumb
Trap HAC
Small, Large
$1,028.00
DP573
Neuflex Finger   
Neuflex MCP implant - Anasil Silicone
Size 0-60
$762.00
DY400
Neuflex Finger
Neuflex PIP
1 to 20
$770.00

LMT Surgical Pty Ltd
LM011
Ascension PIP Joint Replacement
Pyrocarbon, distal or proximal
10D/10P 20D/20P, 30D/30P, 40D/40P
$1,400.00
LM012
Ascension MCP Joint Replacement
Pyrocarbon, distal or proximal
10D/10P, 20D/20P, 30D/30P, 
$1,400.00

40D/40P, 50D/50P,

Taylor Bryant Pty Ltd
TB197
SR Hand Implant System
SR Hand MCP/PIP/TMC (Basal Thumb) 
XS/S/M/L/XL, 1,2,3,4,5
$1,569.00

Implants - CoCr- Titanium Alloy, UHMWPE
Prostheses, Foot

Johnson & Johnson Medical Pty Ltd
DY135
Barouk Screws
2.5mm x 10-22mm
$287.80
Prostheses, Foot Arch

Orthopaedic Solutions Pty Ltd
OE004
Futura Domed Subtalar Implant
UHMWPE
Extra small, small, medium, large, 
$1,290.00

extra large
Prostheses List by Category, Groups and Sponsor
Page 510 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
OE005
Futura Conical Subtalar Implant
Titanium
7 - 12
$1,390.00

Surgical House
SU009
Kalix 
Flat foot implant titanium/UHMWP
9 - 17mm diameter
$1,165.00
Prostheses, Joint

Advanced Surgical Technologies
AD159
WMT Orthopaedic Implants Finger/Thumb
Silastic finger joint with/without Ti 
00, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9
$585.00

grommets 470 series

Medimen Australia Pty Ltd
MM001
MOJE Toe and Finger Implants
Includes distal and proximal implants
$1,500.00

Smith & Nephew Surgical Pty Ltd
SN032
Compass Universal Hinge
Circular external hinged fixator, graphite 
One size only
$8,530.00

composite
SN661
Compass PIP
Kit assembly includes 0.45 x 5" K Wires, 1 
Single sterile PIP Hinge Kit
$955.00

Small Pin Support Block, 1 Hexdriver, 1 

Compass PIP (Packed Sterile)

Stryker Australia Pty Ltd
ST818
Osteonics Solar Elbow System - humeral 
Titanium alloy with polyethylene bushing
Standard, large
$3,570.00

assembly
ST819
Osteonics Solar Elbow System - long 
Titanium alloy with polyethylene bushing
Standard, large
$4,618.00

humeral assembly
ST820
Osteonics Solar Elbow System - ulna 
Titanium alloy
Small, standard, large
$1,410.00

component
Prostheses, Joint, Ankle

City Medical Devices Australia (trading as Energy Orthopaedics)
CD016
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly 
Tibial - Sml/Med/Large
$1,915.00

Insert UHMWPE
CD017
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly 
Talar - Sml/Med/Large
$2,650.00

Insert UHMWPE
Prostheses List by Category, Groups and Sponsor
Page 511 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CD018
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly 
Poly Insert UHMWPE - Sml 10-16/ 
$725.00

Insert UHMWPE
Med 11-17/ Large 12-18

Endotec Australia Pty Ltd
EA001
Buechel-Pappas Ultracoat Total Ankle 
Thick or Revision Talar - Ceramic coated 
1-6
$4,900.00

Replacement System (Primary and Revision)
titanium
EA002
Buechel-Pappas Ultracoat Total Ankle 
Primary Talar - Ceramic coated titanium
1 to 6
$3,850.00

Replacement System (Primary and Revision)
EA036
Buechel-Pappas Ultracoat Total Ankle 
Tibial componenet ceramic coated titanium
1-6
$3,850.00

Replacement System (Primary and Revision)
EA037
Buechel-Pappas Ultracoat Total Ankle 
Polyethylene mobile bearing
3mm - 11mm
$925.00

Replacement System (Primary and Revision)

Johnson & Johnson Medical Pty Ltd
DP871
Agility Ankle System
Agility Ankle Talar
Size 1 - 6
$2,679.00
DY082
Agility Ankle System
Agility Ankle Tibial Shell Right and Left
Size 1-6
$1,724.00
DY083
Agility Ankle System
Agility Ankle Tibial Insert and +2
Size 1-6
$660.00
DY408
Agility Ankle System
Mobile Bearing
1-6 from 3-11mm
$925.00
DY409
Agility Ankle System
Wide Ankle Talus
1 to 6
$3,675.00
DY418
Mobile Ankle System
Tibial Tray
Size 1-6
$2,000.00
$2,500.00
DY419
Mobile Ankle System
Talus
Size 1-6
$2,300.00
$3,600.00

Link Orthopaedics  Australia
LO001
LINK STAR Ankle Prosthesis
Talar Component, cemented
xx-Small - x- large
$1,967.00
LO002
LINK STAR Ankle Prosthesis
Tibial Component, cemented
xx-small - x-large
$1,587.00
LO003
LINK STAR Ankle Prosthesis
UHMWEPE Sliding Core
6- 14mm
$555.00
LO004
LINK STAR Ankle Prosthesis
Talar Component, cmentless
xx- small - x-large
$2,425.00
LO005
LINK STAR Ankle Prosthesis
Tibial Component, cementless
xx-small - x-large
$1,915.00

Surgical House
SU113
Hintegra Total Ankle Prosthesis
Tibial implant
Right and left, sizes 1 - 6
$2,000.00
SU114
Hintegra Total Ankle Prosthesis
Talar implant
Right and left, sizes 1 - 5
$2,300.00
SU115
Hintegra Total Ankle Prosthesis
Sliding insert
Sizes 1 - 5, thickness 5 - 9mm
$622.00
SU116
Hintegra Total Ankle Prosthesis
Cortical fixation screw, Composition - 
Length 12 - 42mm
$100.00

Stainless Steel
SU188
Hintegra Total Ankle Prosthesis
Talar Implant - Flat talar resection
Left - Size 1-5, Right - Size 1-5
$3,193.00
Prostheses List by Category, Groups and Sponsor
Page 512 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SU191
Hintegra Total Ankle Prosthesis
Tibial Implant
Right & Left, Sizes 1 - 6, Thickness
$2,700.00

 8mm or 12mm

Tornier Pty Ltd
TO001
Cheville Salto Ankle Prostheses
Components include tibial, mobile bearing, 
Tibial/Talar Sizes 1small to 3 = x-
$6,250.00

talar, malleolar for use as a total ankle 
large. Mobile Bearing Thickness 

prostheses, Ti CoCr
4,5,6,7 mm. Malleoloar Sizes 1 & 2
Prostheses, Joint, Elbow

Advanced Surgical Technologies
AD156
Sorbie Questor Elbow System
Total joint CoCr and UHMWPE
Left and right in sizing 48mm wide, 
$2,577.00

46mm, 44mm

Biomet Australia Pty Ltd
BI016
IBP Elbow
Cemented, UHMWPE, Titanium, Cobalt 
Small Standard, Large, Xlarge 
$5,800.00

Chrome
BI017
Kudo Elbow
Humeral Component, Cemented , Cobalt 
Small, Large
$3,000.00

Chrome
BI018
Kudo Elbow
Ulnar Component, Cemented, Titanium
Small, Large 
$2,480.00
BI019
Kudo Elbow
Humeral Component, Uncemented, Cobalt 
Small, Large 
$3,200.00

Chrome
BI020
Kudo Elbow
Ulnar Component, Uncemented, Titanium
Small, Large 
$2,800.00
BI695
Liverpool Radial Head Replacement 
Porous Coated CO CR Stem
16 x 18mm length, 18 x 14 - 28mm 
$2,900.00

Length
BI781
Discovery Elbow System
UHMWPE, Ti
3 - 6 mm x 75 - 150 mm
$9,700.00

Johnson & Johnson Medical Pty Ltd
DY137
Acclaim Elbow
Humeral Stem, Std/Lge
100-200mm
$7,185.00
DY138
Acclaim Elbow
Ulnar Stem, Std/Lge-Left/Right
60-85mm
$1,300.00
DY139
Acclaim Elbow
Humeral Bobbin
One size only
$2,565.00
DY140
Acclaim Elbow
Linked Ulnar Metal Bearing or Polyethylene 
One size only
$555.00

Yoke
DY142
Acclaim Elbow
Pin Assembly  or Pin or Poly sleeve  or 
One size only
$332.00

Unlinked Poly Ulnar
DY146
Acclaim Elbow
Linked Ulnar Bearing Screw
One size only
$230.00
Prostheses List by Category, Groups and Sponsor
Page 513 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY288
Acclaim Elbow
Unconstrained Ulnar Poly Bearing
15mm
$230.00

Link Orthopaedics  Australia
LO008
LINK Elbow Prosthesis
Small, medium & large
$5,247.00

Stryker Australia Pty Ltd
HW377
Souter Strathclyde Elbow
Humeral - Long stem, left and right
Medium, Large
$2,665.00
HW378
Souter Strathclyde Elbow
Ulnar - Retentive, non retentive
50 - 90mm (Non), 70 - 90mm 
$1,670.00

(Retentive)
HW379
Souter Strathclyde Elbow
Revision Humeral  - Custom, Long Stem
A, B, C, D
$8,942.00
HW380
Souter Strathclyde Elbow
Revision Ulnar - Custom, Long stem
Small, Medium
$4,425.00

Tornier Pty Ltd
TO013
Tornier Latitude Total Elbow Prosthesis
Ulnar Cap
Small, Medium, Large
$1,530.00

Zimmer Pty Ltd
ZI003
Coonrad-Morrey Elbow
Ulna - Titanium
Petite, Left, Right
$3,577.00
ZI004
Coonrad-Morrey Elbow
Humerus - Titanium
4, 6, 8 inch, Left & Right
$4,618.00
ZI005
Coonrad-Morrey Elbow
Bushing -  Polyethylene, Titanium
1 & 2
$1,440.00
ZI342
GSB Cemented Elbow
GSB Humerus - CoCr alloy/PE
76,86,86L  
$4,673.00
ZI343
GSB Cemented Elbow
GSB Humeral Medullary Plug - PE
One size only
$173.00
ZI344
GSB Cemented Elbow
GSB Ulna Component - CoCr alloy
12/71,12/61,16/71,16/61
$1,313.00
ZI345
GSB Cemented Elbow
GSB Washer - PE
2/12,4/12,6/12,2/16,4/16,6/16 
$138.00
ZI464
GSB Elbow
Ulna Extension
One size only
$1,339.00
ZI465
GSB Elbow
Special Bushing for Humerous
Length 76 - 86mm
$1,650.00
Prostheses, Joint, Hip

City Medical Devices Australia (trading as Energy Orthopaedics)
CD015
Coriolis
CrCo - Fixation screws, Support Ring
Support Ring - 44-64
$240.00

ESKA Australia
EK054
Nail TiNb
Nail TiNb
3 x 30, 40, 50mm length
$600.00
EK055
Profi Peg Nail TiNb
Peg TiNb
6 x 30, 40, 50mm length
$600.00
EK057
Profi Peg Nail CoCr
Peg CoCr
10 x 30, 40, 50mm length
$549.00
Prostheses List by Category, Groups and Sponsor
Page 514 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EK058
Nail TiNb
Nail TiNb
6 x 30, 40, 50mm length
$549.00

Smith & Nephew Surgical Pty Ltd
SN022
Osteotomy Plates
Blade, Adult osteotomy 4 hole
40 - 80mm
$983.00
Prostheses, Joint, Hip, Acetabular Component

Biomet Australia Pty Ltd
BI915
Batcup
6.5mm Ti Cancellous Bone Screws
12mm to 45mm
$180.00

Global Manufacturing Technology Pty Ltd
GM050
Contile Fin II
6.5mm Ti Cnacellous Bone Screws
20 to 50mm
$225.00

Plus Orthopedics Australia Pty Ltd
PL127
Reko Reconstruction Cage
Spacer for Reconstruction Cage
5mm, 10mm, 15mm
$1,035.00
PL128
Reko Reconstruction Cage
Fixation Screw for spacer
1 size
$250.00
PL129
Reko Reconstruction Cage
Cancellous bone screw
6.5 x 20, 6.5 x 55
$320.00
Prostheses, Joint, Hip, Femoral Component

Mathys Orthopaedics Pty Ltd
MA018
Intramedullary Plug
Cement Restricter
Small to Extra Large
$209.00
$217.00
MA026
Distal Centraliser
For fullfix stem - PMMA
Dia 8.0/9.5mm - 15/12mm
$150.00

Zimmer Pty Ltd
ZI311
Spacer-G
Temporary implantable device for the 
Short Stems,  Head size 46mm, 
$2,025.00

treatment of infected total hip replacement, 
54mm, 60mm

Composition - stainless steel core 

surrounded by PMMA impregnated with 
ZI312
Spacer-G
Temporary implantable device for the 
Long Stems, Head size 46mm, 
$2,530.00

treatment of infected total hip replacement, 
54mm, 60mm

Composition - stainless steel core 

surrounded by PMMA impregnated with 
Prostheses List by Category, Groups and Sponsor
Page 515 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Joint, Hip, Total

Biomet Australia Pty Ltd
BI098
Kent Hip System
Transverse Screws, Titanium
4.5mm x (26-55mm)
$480.00

Smith & Nephew Surgical Pty Ltd
SN284
Screws
Cancellous
15mm - 50mm
$185.00
SN292
Reflection
Fixation peg Titanium Alloy
One size only
$181.00
SN361
ITH
Trunnion Sleeve
One size only
$165.00

Stryker Australia Pty Ltd
ST545
Osteonics hip prostheses 
Cancellous bone screw, Titanium
6.5mm & 5.5mm dia
$137.00

Tornier Pty Ltd
TO006
Bone Plug
UHMWPE - Cement Plug
24mm
$215.00

Zimmer Pty Ltd
ZI188
Zimmer Bone Cement Systems
Poly Medullary Plug - PMMA
8 - 23 mm
$120.00
ZI329
CPT Impaction Grafting Mesh
Titanium Femoral or acetabular mesh
6 sizes acetabular rim (small and 
$3,367.00

large), medial wall (small and 

large), flat and femoral meshes
Prostheses, Joint, Knee

Smith & Nephew Surgical Pty Ltd
SN342
Genesis
Custom Flex Lock Peg
Left & right
$150.00
SN347
Genesis
I/M Peg: Femoral and Tibial: Titanium
10-16mm Diameter x  40-200mm 
$250.00

Length

Zimmer Pty Ltd
ZI079
Miller Galante I
Bone Screw - Ti
20 - 60mm
$135.00
ZI089
Miller Galante II
Bone Screw - Ti
20 - 80mm
$177.00
ZI132
NexGen Knee High Tibial Osteotomy System
Plate - Ti
1 - 10
$632.00
ZI133
NexGen Knee High Tibial Osteotomy System
Screw - Ti
4.5 - 10 - 80 mm, 6.5 - 10 - 80 mm
$250.00
Prostheses List by Category, Groups and Sponsor
Page 516 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI313
Spacer-K
Temporary implantable device for the 
Small, Medium, Large
$2,079.00

treatment of infected total knee replacement, 

Composition - stainless steel core 

surrounded by PMMA impregnated with 
ZI398
High Tibia Osteotomy
High Tibia Osteotomy - Ti alloy
L shaped steel alloy plate;  
$964.00

Standard & Long
Prostheses, Joint, Knee, Total

City Medical Devices Australia (trading as Energy Orthopaedics)
CD025
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, 
Stems 70-140 length/ 10-14mm dia
$743.00

Stems & Patellar

Link Orthopaedics  Australia
LO038
LINK Endo Model Rotational Knee System
Intracondylar Total Rotation Knee Joint: 
Small, medium & large
$12,289.00

Without Patella Flange
LO039
LINK Endo Model Rotational Knee System
Intracondylar Total Rotation Knee Joint: 
Small, medium & large
$13,241.00

With Patella Flange
LO040
LINK Endo Model Rotational Knee System
Intracondylar total rotation knee join with 
Small, medium & large
$13,541.00

Anti Lux device: without patella flange
LO045
LINK Endo Model Rotational Knee System
Total Rotational Knee Joint with Anti Lux 
Small, medium & large
$13,752.00

Device, with Patella Flange and Replacement

 of Femoral and/or Tibial Bone Structures, 

proximal tibia

Smith & Nephew Surgical Pty Ltd
SN318
Genesis II 
Lug
One size only
$204.00
SN319
Genesis II 
Metaphyseal Stem
1-8
$644.00
SN329
Genesis II 
Tibial screws 
15-50mm
$135.00
Prostheses, Joint, Shoulder

Biomet Australia Pty Ltd
BI207
Bi-Angular Shoulder System
Humeral Prostheses, Titanium
6.5mm-14mm
$3,464.00
BI208
Bi-Angular Shoulder System
Bi Polar Shell, Titanium/ UHMWPE/Chrome 
Size 40-60mm
$1,660.00

Cobalt
Prostheses List by Category, Groups and Sponsor
Page 517 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI209
Bi-Angular Shoulder System
Bi Polar Head, Chrome Cobalt
Std to +4mm
$1,300.00
BI210
Bi-Angular Shoulder System
Glenoid Metal backed. UHMWPE, Titanium
Small Medium Large x 4 or 7mm
$2,050.00
BI211
Bi-Angular Shoulder System
Glenoid, UHMWPE
Small Medium Large x 4 or 7mm
$1,900.00
BI212
Bi-Angular Shoulder System
Humeral Head, Chrome Cobalt
40-52mm
$1,040.00
BI214
Bio-Modular Shoulder System
Bi-Polar shell/ Titanium, chrome Cobalt
40-60mm
$1,660.00
BI215
Bio-Modular Shoulder System
Humeral Head, Chrome Cobalt
40-54mm
$1,400.00
BI216
Bio-Modular Shoulder System
Humeral Stem, titanium
6-15mm
$3,500.00
BI217
Bio-Modular Shoulder System
Glenoid Component, Cemented, 
Small, Medium, Large x 4 or 7mm
$1,731.00

Titanium/UHMWPE
BI218
Bio-Modular Shoulder System
Modular Head, Chrome Cobalt
Std, +2, +4mm
$1,310.00
BI219
Bio-Modular Shoulder System
Glenoid Liner Noncemented, UHMWPE
Low Profile
$1,020.00
BI220
Bio-Modular Shoulder System
Glenoid Screw
5mm x (15-40mm)
$145.00
BI221
Bio-Modular Shoulder System
Glenoid Shell, Titanium
Low Profile
$1,660.00
BI222
Bio-Modular Shoulder System
Shoulder Offset Head, Chrome Cobalt
40-54mm
$2,330.00
BI223
Nottingham Shoulder System
Humeral Stem, Chrome Cobalt, Titanium
6-12mm
$3,500.00
BI224
Nottingham Shoulder System
Humeral Head, Chrome Cobalt
Std +2, +4mm 
$1,310.00
BI225
Nottingham Shoulder System
Glenoid Tray, Chrome Cobalt
Size 3, 4, 5. 
$1,620.00
BI226
Nottingham Shoulder System
Glenoid Bearing, UHMWPE
Size 3, 4, 5.
$1,100.00
BI342
Copeland Shoulder System
Glenoid, UHMWPE
One size only
$1,965.00
BI343
Copeland Shoulder System
Humeral, Chrome Cobalt
Small, Std, Large (no specific size)
$2,330.00
BI344
Copeland Shoulder System
Glenoid Component, HA Coated, Chrome 
Small, Std, Extra Deep (no specific 
$3,300.00

Cobalt, UHMWPE
size)
BI345
Copeland Shoulder System
Humeral Component, Chrome Cobalt
Small, Std, Large (no specific size)
$3,200.00
BI835
Bio-Modular Shoulder System
Extended Articular Surface Humeral Head, 
40 - 54mm
$1,950.00

CrCo
BI880
Mosaic Humeral Replacement System
Mosaic System - CoCr, Ti
Proximal Body - Std to +20
$5,200.00
BI881
Mosaic Humeral Replacement System
Mosaic System - CoCr, Ti
Segment - 80 to 140 mm
$4,500.00
BI882
Mosaic Humeral Replacement System
Mosaic System - CoCr, Ti
Stem - 6.5 to 14.5 mm x 50 to 200 mm
$3,000.00

Device Technologies Australia Pty Ltd
DE168
Univers 3D Shoulder Prostheses
Stem
6-12mm
$5,880.00
Prostheses List by Category, Groups and Sponsor
Page 518 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DE169
Univers 3D Shoulder Prostheses
Glenoid Metal Back
Small, Medium, Large
$1,419.00
DE170
Univers 3D Shoulder Prostheses
Glenoid PE-Inlay
Small, Medium, Large
$920.00
DE171
Univers 3D Shoulder Prostheses
Metal Head
43/15 - 51/22
$1,130.00
DE172
Univers 3D Shoulder Prostheses
Cemented glenoid
Small, Medium, Large
$930.00
DE173
Univers Fracture Prostheses
Shaft
8-13mm
$6,220.00
DE174
Univers Fracture Prostheses
Metal head
43/15 - 51/22
$1,519.00

ESKA Australia
EK028
ESKA Modular Shoulder System
Humeral Stem Universal
$2,295.00
EK071
ESKA Modular Shoulder System
Stem Extension
20mm - 40mm
$400.00
EK072
ESKA Modular Shoulder System
Humeral Plate
35mm - 43mm
$1,285.00
EK073
ESKA Modular Shoulder System
Humeral Component
20mm - 40mm
$2,920.00
EK074
ESKA Modular Shoulder System
Glenoid
Universal Size
$950.00

Global Manufacturing Technology Pty Ltd
GM102
Lobe Lok Total Shoulder System
CTA Head
Small to Large
$3,230.00
GM103
Lobe Lok Total Shoulder System
Contoured Glenoid Flange Ti
Small to Large
$2,035.00
GM104
Lobe Lok Total Shoulder System
Lobe Lok Head 30mm CrCo
Small to Large
$2,875.00
GM105
Lobe Lok Total Shoulder System
Humeral Socket Ply Insert-UHMWPE
Small to Large
$1,903.00
GM106
Lobe Lok Total Shoulder System
Humeral Socket Shell-Ti
small to large
$2,940.00

Johnson & Johnson Medical Pty Ltd
DP020
Global Advantage Shoulder
Eccentric Head, Cobalt chrome alloy
44- 56mm x 18, 21mm
$1,824.50
DP029
Global Advantage Shoulder
Revision Stem Titanium alloy
8mm x 200mm - 14mm x 220mm
$4,965.00
DP030
Global Advantage Shoulder
Stem Standard, Titanium alloy
6mm - 16mm
$3,500.00
$4,300.00
DP077
Global Advantage Shoulder
Global Advantage Stem STD or Long Chrome
Size 8 to 14 or Length 6-16mm
$3,845.00
DP081
Global Shoulder
Global Advantage HUM HD 
Size 44 - 52 by size  x 15 /18 or 21
$1,525.00
DP086
Global Shoulder 
Global FIN/ Peg  Glenoid
Size 40-56
$2,215.00
DP898
S-Fit Metal Glenoid
S-FIT Glenoid Bearing 
Size 40-52
$1,040.00
DP899
S-Fit Metal Glenoid
S-FIT M/B Glenoid 
Size 40-52
$2,920.00
DP950
Delta Shoulder system
Standard Metaglene  INOX/ ST. Steel + 
One size only
$2,100.00

Aluminia+HAC
DP951
Delta Shoulder system
Revision Metaglene INOX/ ST. Steel + 
One size only
$2,508.00

Aluminia+HAC
Prostheses List by Category, Groups and Sponsor
Page 519 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DP952
Delta Shoulder system
Centror Glenoid INOX / ST.Steel / 
Size 36-40 /42
$2,290.00

Nichtrostender St.
DP954
Delta Shoulder system
Metaglene Screw Stainless Steel
3.5mm and 4.5mm
$213.00
DP956
Delta Shoulder system
Cementless Diaphysis INOX/ ST. Steel + 
Size 1-4
$3,875.00

Aluminia+HAC
DP957
Delta Shoulder system
Cemented Epiphysis INOX/ ST. Steel + 
Size 1-4 in 26-42mm
$2,436.00

Aluminia+HAC
DP958
Delta Shoulder system
Humeral Cup Laterilised Polyethylene
36-42mm in  +0 to +6 /STD / LAT 
$815.00

/STD Retentive
DP962
Delta Shoulder system
DELTA Humeral Head INOX / ST.Steel / 
36 - 42 mm in +0-+4
$1,200.00

Nichtrostender St.
DP964
Delta Shoulder system
Humeral Spacer INOX / ST.Steel / 
Dia 36/42 + 9
$1,420.00

Nichtrostender St.
DP965
Delta Shoulder system
Revision Cementless Diaphysis INOX / ST. 
Size 1-4
$3,818.00

Steel + Aluminia+HAC
DP966
Global FX Shoulder
Global FX Stem Chrome
6-12mm and STD and revision 160-
$3,969.00

220mm length
DY129
Global Advantage CTA Head
44 x 18 - 56 x 23
$5,495.00
DY273
Global FX Porocoat
FX PC Stem Standard / Long
6-12mm
$3,500.00
$4,297.98
DY360
Global Advantage Shoulder
Anchor Peg Glenoid
40 to 56 mm
$2,770.00
JJ557
DELTA Xtend
Non Locking Metaglene Screw Dia 4.5
4.5mm; 18, 24, 30, 36, 42
$215.00
JJ558
DELTA Xtend
Locking Metaglene Screw Dia 4.5
4.5mm; 24, 30, 36, 42, 48
$276.00
JJ559
DELTA Xtend
Standard Humeral PE Cup
38 + 42;  3, 6, 9mm
$815.00
JJ560
DELTA Xtend
Retentive Humeral PE Cup
38 + 42; 6mm
$815.00
JJ561
DELTA Xtend
Humeral Spacer
9mm
$1,420.00
JJ562
DELTA Xtend
Metaglene
$2,096.00
JJ563
DELTA Xtend
Revision Metaglene
$2,508.00

Mathys Orthopaedics Pty Ltd
MA422
Articula Shoulder Prosthesis
Articula Humeral Head Bionit Ceramic 
44mm, 46mm, 48mm
$1,525.00

(A1203)
MA465
Articula Shoulder Prosthesis
Articula Central Part (TiA16V4)
18mm & 15mm
$1,550.00
Prostheses List by Category, Groups and Sponsor
Page 520 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MA466
Articula Shoulder Prosthesis
Artucula Humeral Stem (TiA16V4, A1203)
8mm x 125mm, 9.5mm x 125mm, 
$2,575.00

11mm x 125mm, 8mm x 175mm, 

9.5mm x 175mm & 11mm x 175mm.

Medical & Optical Instruments Australia Pty Ltd
MO147
Acumed Shoulder Joint Prostheses 
Titanium
130 to 280mm stem,13 to 15mm 
$6,800.00

body, 16 to 23mm head.

Orthotech Pty Ltd
OH082
Lima RPS Tumor System
RPS Humeral Head
46, 52, 58mm
$3,680.00
OH083
Lima RPS Tumor System
RPS Total Shoulder Replacement Stem
200, 240, 280mm
$6,900.00
OH084
Lima RPS Tumor System
RPS Additional Spacer
40, 60, 90, 120mm
$1,900.00
OH085
Randelli/SMR Total Shoulder
Randelli/SMR Shoulder Uncemented Stem
8 - 16mm
$2,800.00
OH086
Randelli/SMR Total Shoulder
Randelli/SMR Neutral Taper
0 - 6mm
$950.00
OH087
Randelli/SMR Total Shoulder
Randelli/SMR Humeral Head
42, 44, 46, 48, 50, 52, 54mm
$2,330.00
OH088
Randelli/SMR Total Shoulder
Randelli/SMR Eccentrical Adapter
0 - 6mm
$1,000.00
OH089
Randelli/SMR Total Shoulder
Randelli/SMR Humeral Body with Locking 
One size only
$2,580.00

Screw
OH090
Randelli/SMR Total Shoulder
Randelli SMR shoulder cemented stem
8, 10, 12, 14, 16mm
$2,900.00
OH113
Randelli/SMR Shoulder System
Cemented Glenoid
Mini, Small, Standard
$1,990.00
OH114
Randelli/SMR Shoulder System
Uncemented Glenoid
Mini, Small, Standard
$2,220.00
OH115
Randelli/SMR Shoulder System
Uncemented Glenoid Liner
Mini, Small, Standard
$1,960.00
OH327
Randelli/SMR Total Shoulder
Randelli/SMR shoulder revision cemented 
200, 240, 280mm
$3,000.00

stem

Smith & Nephew Surgical Pty Ltd
SN395
Cofield
Humeral stem component
Standard & Long, small- large
$2,740.00
SN396
Cofield
Screw
Long, Short, Standard
$193.00
SN397
Cofield 
Glenoid All Polyethylene component
Small, Standard
$1,650.00
SN398
Cofield 
Glenoid Component Metal backed
Standard Base. Base Insert.  
$2,220.00

Glenoid Comp Sm, Stan, St W/off
SN399
Cofield 
Glenoid Insert
Small, Standard
$400.00
SN400
Modular Cofield
+ 2 insert
Small, Standard, Standard with 
$1,620.00

offset
Prostheses List by Category, Groups and Sponsor
Page 521 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN401
Modular Cofield
All Poly + 2 insert
Small, Standard, Standard with 
$1,620.00

offset
SN403
Modular Cofield
Humeral Head
14x36mm - 36x58mm
$1,500.00
SN404
Modular Cofield
Humeral Stem
6mmx115mm - 16mmx245mm
$3,070.00
SN407
Modular Cofield
Posterior Lipped All poly Glenoid
Small - Large
$1,650.00
SN409
Modular Cofield
Standard Articular Insert
Small, Standard
$470.00
SN410
Neer
Neer II Humeral
22 x 6.3-9.5mm, 33 x 12.7mm, 15 x 
$1,235.00

6.3-12.7mm
SN411
Neer
Neer II Glenoid
Standard Glenoid  Resurf Glenoid 
$950.00

XS Metal Back Glenoid XS
SN668
Standard Stems Humeral Components
Modular Shoulder System, Chromium Cobalt
6 - 16mm Diameter, 125 - 175mm 
$935.00

Length
SN669
Standard Humeral Components
Modular Shoulder System Humeral Head, 
11.25 - 25mm Height, 40 - 49.5mm 
$1,080.00

Chromium Cobalt
Diameter
SN676
Genoid Components
Anatomic Glenoid Component, Ti-6A1-4V, 
Extra Small & Standard
$2,220.00

UHMWPE

Stryker Australia Pty Ltd
ST027
Solar - Dual Offset Humeral Head
Cobalt Chrome
40-50mm diameter, 15-21mm 
$2,330.00

thickness
ST672
Osteonics Solar Shoulder Prostheses 
Humeral head polyethylene
40-55mm by 12-34mm
$1,525.00
ST673
Osteonics Solar Shoulder Prostheses
Dual offset humeral head polyethylene
40,45,50mm Diameter by 15, 18, 
$1,356.00

21mm Thickness
ST674
Osteonics Solar Shoulder Prostheses 
Humeral stem polyethylene
3,5,7,9,11
$3,845.00
ST675
Osteonics Solar Shoulder Prostheses 
Glenoid component polyethylene
5,7,9,11
$2,365.00
ST676
Osteonics Solar Shoulder Prostheses
Solar bipolar humeral inner head, cobalt 
22mm with 0, +2 and +4mm neck 
$1,835.00

chromium
lengths
ST877
Osteonics Solar Shoulder Prostheses
Solar bipolar humeral  outer head, cobalt 
22mm with 0, +2 and +4mm neck 
$1,835.00

chromium
lengths

Tornier Pty Ltd
TO002
Aequalis Primary Shoulder Prostheses
Includes Glenoid component, Humeral Stem 
6.5-15mm - 1mm increm wide, 66-
$3,600.00

& Screw + Humeral Head, Ti CoCr
167mm long
TO003
Aequalis Primary Shoulder Prostheses
Humeral Head CoCr, includes the Glenoid 
Diameter: 
$1,327.00

component, Humeral Stem & Screw + 
37,39,41,43,46,48,50,52mm

Humeral Head.
Prostheses List by Category, Groups and Sponsor
Page 522 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TO004
Aequalis Primary Shoulder Prostheses
UHMWPE Keeled Glenoid Component
31mm,35mm,39mm dia (small, 
$1,670.00

medium & large)
TO010
Aequalis Shoulder Prostheses Reverse
Ti,CoCr, UHMWPE Reverse Humeral Stem, 
Stem 6.5-15mm dia, 100-210mm 
$13,515.00

Gleno sphere, metaphysis, base plate, insert 
long. Base plate, 

& fixation screws
sphere,metaphysis (diameter 36 & 

42mm). Insert (dia 36 & 42mm 

x6,9,12mm high. Screws dia 4.5 x 
TO011
Aequalis Shoulder Prostheses Reverse
CoCr Reverse Humeral Neck
diameter 36 & 42mm wide x 9mm 
$1,827.00

high

Zimmer Pty Ltd
ZI289
Bigliani Shoulder System
Cobalt Chrome
Lengths 130 - 200mm, Thickness 6 
$3,026.00

- 16mm
ZI300
Bigliani Shoulder System
Bigliani-Flatow Shoulder - Heads (Cobalt 
40, 46, 52, 52mm diameters
$843.00

chrome)
ZI304
Bigliani Shoulder System
Bigliani-Flatow shoulder - Glenoid 
40, 46 and 52mm diameters
$2,320.00

(UHMWPE)
ZI319
Bigliani Flatow Total Shoulder System - 
Trabecular Metal Backed Glenoid 
Diameter 40 - 52mm
$4,088.00

Glenoids
(uncemented)
ZI440
Anatomical
Glenoid - PE
S, M, L
$1,459.00
ZI441
Select Shoulder
Humeral Head Eccentric - CoCr alloy
44/19 to 56/32 
$1,747.00
ZI442
Select Shoulder
Glenoid - PE
S, M, L, XL 
$920.00
ZI443
Select Shoulder
Stem - Ti alloy
7mm Short to 14.5mm
$3,770.00
ZI444
BiPolar Head
Humeral Head used with Select Shoulder 
26/42 to 26/60
$1,401.00

Humeral Stem - CoCr alloy/ PE
ZI445
Intermedics Select Shoulder
UniPolar Head  -metal alloy
40 x 16mm to 56 x 32mm
$1,148.00
ZI446
Intermedics Select Shoulder
Long Stem - Ti alloy
7 to 14.5mm
$3,550.00
Prostheses, Joint, Toe

Advanced Surgical Technologies
AD109
WMT Orthopaedics Implants Hinge Toe 
Silastic flexible hinge toe with/without 
0, 1, 2, 3, 4, 5, 6, 7
$577.00

and Hammertoe Implant
grommets
AD110
Wright Titanium Great Toe
Great toe titanium
0,1, 2, 3, 4
$1,308.00
Prostheses List by Category, Groups and Sponsor
Page 523 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AD277
LPT Great Toe Implant
Titanium LPT Metatarsal Component 
Sizes 1, 2 & 3 Regular Great Toe 
$1,290.00

available in Regular and Angled Toe
Implants. Sizes 1 & 2 Angled Great

 Toe Implants

Biomet Australia Pty Ltd
BI021
Total Toe System
Metatarsal Component UHMWPE, Titanium
Small, Medium, Large Extra Large.
$2,000.00
BI022
Toe Joint Replacement
Phalangeal Component, Titanium
Small, Medium, Large Extra Large. 
$1,073.00

Johnson & Johnson Medical Pty Ltd
DP883
Barouk SCR Sys Staples and Buttons
Barouk Screw System Button Prosthesis - SS
8-20mm
$307.00

 or Ceramic

Plus Orthopedics Australia Pty Ltd
PL004
Toefit - Plus
Titanium alloy
Metatarsal Component XS-L
$810.00
PL005
Toefit - Plus
Titanium Alloy
Phalangeal Component XS-L
$790.00
PL045
Toefit - Plus
Chromium Cobalt
Distal Insert 13 - 17mm
$740.00
PL046
Toefit - Plus
Polyethylene
Polyethylene Distal Insert 11 - 15mm
$530.00
PL047
Toefit - Plus
Chromium Cobalt
Proximal Insert 6, 7, 8
$800.00

Surgical House
SU129
Reflexion 1st MPJ Implant System
Reflexion metatarsal stems, 3 part 1st MPJ 
Small, medium, large
$991.00

reconstruction system, 2 part composition - 

titanium/cobalt chrome, 1 part composition - 

titanium/UHMWPE,
SU130
Reflexion 1st MPJ Implant System
Reflexion metatarsal heads, 3 part 1st MPJ 
Standard, long, extra-long
$560.00

reconstruction system, 2 part composition - 

titanium/cobalt chrome, 1 part composition - 

titanium/UHMWPE,
SU131
Reflexion 1st MPJ Implant System
ReflexionPhalangeal Bases, 3 part 1st MPJ 
Small, medium, large
$1,000.00

reconstruction system, 2 part composition - 

titanium/cobalt chrome, 1 part composition - 

titanium/UHMWPE,

Taylor Bryant Pty Ltd
TB232
Toe Joint
Metallic Hemiarthroplasty resurfacing 
8mm - 23 mm
$1,205.00

prosthesis for the Metatarsophalangeal 
Prostheses List by Category, Groups and Sponsor
Page 524 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Joint, Wrist

Johnson & Johnson Medical Pty Ltd
DP127
Biax Wrist
Biax Wrist STD and Long
Small - Large
$3,570.00

LMT Surgical Pty Ltd
LM010
Universal Total Wrist Implant System 
Consists of 3 parts, proximal radius 
Radial Component - Small - left & 
$9,500.00

(UTW)
component made of cobalt/chrome, distal 
right, Medium - left & right, Large -

titanium plate, titanium screws and 
 left & right; Carpal Component - 

polyethylene joint surface
Small, Medium, Large; 

Polyethylene Carpal Component - 

Small - Standard, +1, +2,  Medium -

 Standard, +1, +2, Large - Standard,

 +1, +2; Bone Screws - 4.5mm 

Diameter 15 - 35mm lengths
LM056
Ascension DRUJ Ulna Head, Implant System
Cobalt chromium stem with PyroCarbon or 
0, 1, 2, 3, 4
$2,300.00

Cobalt Chromium Articular Surface
LM058
Ascension Total Wrist Replacement
Stainless, Poly and Chrome Cobalt Total 
Radial, Carpal and Poly 
$9,500.00

Wrist Replacement
Components: X - Small - Large

Orthopaedic Solutions Pty Ltd
OE002
BioProfile Pyrocarbon Carpal Components
Includes: Proximal Scaphoid; Scapho-
One Size Only
$4,350.00

Trapezium; Resurfacing Capitate & 

Trapezium Interposition Implants. 

Composition: Pyrolitic Carbon
Prostheses, Leg

Johnson & Johnson Medical Pty Ltd
DY187
Limb Preservation System
Proximal Femoral Body Component 
Neutral in Std, Trochanter body
$6,990.00

Left/Right
DY188
Limb Preservation System
Distal Femoral Replacement Component 
Extra small
$15,300.00

Left/Right
DY189
Limb Preservation System
2cm LPS Femoral Stem Cemented (Bowed)
11 mm diameter x 150 mm length - 
$7,230.00

17 mm diameter x 200 mm length
Prostheses List by Category, Groups and Sponsor
Page 525 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DY190
Limb Preservation System
2cm LPS Femoral Stem Porous Coated 
12.5 mm diameter x 150 mm length -
$7,220.00

(Bowed)
 18.5 mm diameter x 200 mm length
DY191
Limb Preservation System
Total Femoral Segment Component 
55 mm
$1,700.00

(Male/Male)
DY192
Limb Preservation System
Segmental Component (Male/Female)
25 to 65mm Length
$1,825.00
DY193
Limb Preservation System
Standard Cemented Stem (straight)
9 mm diameter x 100 mm length - 17
$4,550.00

 mm diameter x 125 mm length
DY194
Limb Preservation System
Standard Porous Stem (straight)
10.5 mm diameter x 100 mm length -
$4,875.00

 18.5 mm diameter x 125 mm length
DY195
Limb Preservation System
Tibial Replacement Component
X-Sm - Med
$8,645.00
DY196
Limb Preservation System
Tibial Hinge Insert
X-Sm 12mm height - Med 31 mm 
$7,288.00

height
DY217
Limb Preservation System
Intercalary Segment Component 
55mm
$7,288.00

(Male/Female)

Stryker Australia Pty Ltd
HW110
Howmedica Modular Resection System
Total Knee Reconstruction
120mm, 140mm, 160mm
$18,967.00
HW188
Howmedica Modular Resection System
Growing Prosthesis -  Vitallium
Expandable prostheses -  Custom 
$26,429.00

made to child
HW189
Howmedica Modular Resection System
Femoral Head -  Vitallium
32mm in short, medium, long and 
$1,444.00

22mm, 26mm standard
HW190
Howmedica Modular Resection System
Femoral Head 26mm -  Vitallium
26mm
$656.00
HW193
Howmedica Modular Resection System
Distal Femur -  Vitallium
120, 140, 160mm
$6,980.00
HW198
Howmedica Modular Resection System
Patella -  Polyethylene
Small, Medium, Large
$743.00
HW199
Howmedica Modular Resection System
Circlip -  Vitallium
One size only
$74.37
HW203
Howmedica Modular Resection System
Bearing -  Vitallium
One size only
$178.00
HW210
Howmedica Modular Resection System
Fixation Plate -  Vitallium
One size only
$462.00
HW211
Howmedica Modular Resection System
Barr Bolt -  Vitallium
51, 57, 64, 70, 76, 83mm
$93.24
HW212
Howmedica Modular Resection System
Barr Bolt Nut -  Vitallium
51, 57, 64, 70, 76, 83mm
$88.00
HW213
Howmedica Modular Resection System
Humeral Bearing -  Vitallium
One size only
$175.38
HW214
Howmedica Modular Resection System
Humeral Head Fixed -  Vitallium
One size only
$3,388.00
HW215
Howmedica Modular Resection System
Humeral Head Rotating -  Vitallium
One size only
$4,526.00
Prostheses List by Category, Groups and Sponsor
Page 526 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW216
Howmedica Modular Resection System
Distal Humerus Cone -  Vitallium
One size only
$4,580.00
HW217
Howmedica Modular Resection System
Distal Humerus Flange -  Vitallium
One size only
$4,347.00
HW218
Howmedica Modular Resection System
Humerus Connection Piece -  Vitallium
One size only
$4,122.00
HW219
Howmedica Modular Resection System
Humerus Connecting Screw -  Vitallium
One size only
$653.00
HW220
Howmedica Modular Resection System
Humerus Hex Socket Bolt -  Vitallium
One size only
$565.00
HW221
Howmedica Modular Resection System
Humerus Extension Piece -  Vitallium
5, 15, 30, 45, 60, 75, 90, 105, 120, 
$5,243.00

135, 150, 165mm
HW222
Howmedica Modular Resection System
Humeral Anchorage Piece -  Vitallium
9, 10, 11, 12mm
$4,393.00
HW223
Howmedica Modular Resection System
Ulna Joint -  Vitallium
One size only
$3,783.00
HW224
Howmedica Modular Resection System
Humeral Axis -  Vitallium
One size only
$829.00
HW225
Howmedica Modular Resection System
Revision Bushing -  Vitallium
One size only
$211.00
HW226
Howmedica Modular Resection System
Revision Rings -  Vitallium
One size only
$984.00
HW235
Howmedica Modular Resection System
Duration Plug Screw Axis -  Vitallium
One size only
$241.00
HW236
Howmedica Modular Resection System
Duration Femoral Bushing -  Vitallium
One size only
$495.00
HW237
Howmedica Modular Resection System
Duration Tibial Insert -  Polyethylene
6, 10, 14mm
$2,539.00
HW238
Howmedica Modular Resection System
Duration Tibial Sleeve -  Vitallium
10, 12, 13, 14, 15, 16, 17, 19mm
$1,128.00
HW239
Howmedica Modular Resection System
Duration Bumper -  Vitallium
One size only
$997.00
HW240
Howmedica Modular Resection System
Duration Wedge -  Vitallium
One size only
$258.00
HW241
Howmedica Modular Resection System
Duration Bearing -  Vitallium
One size only
$199.00
HW242
Howmedica Modular Resection System
Duration Fixation Plate -  Vitallium
One size only
$508.00
HW247
Howmedica Modular Resection System
Oncology Femoral Stem -  Vitallium
127mm and 203mm length 11, 13, 
$3,847.00

15, 17mm diameter
HW252
Howmedica Modular Resection System
Oncology Duration Tibial Insert -  
Small and Medium in 11, 13, 16, 
$1,790.00

Polyethylene
21mm
HW253
Howmedica Modular Resection System
Oncology Duration Tibial Plug -  
One size only
$1,847.00
HW254
HMRS Oncology Humeral Head/Cap
Cobalt Chromium
40, 44mm, Cap
$4,260.00
HW255
Howmedica Modular Resection System
Oncology Humeral Body -  Titanium
40 - 140mm in 20mm increments
$2,827.00
Prostheses List by Category, Groups and Sponsor
Page 527 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW256
HMRS Oncology Humeral Stem
Cobalt Chromium
7x75mm, 7x115mm, 9x75mm, 
$4,778.00

9x115mm, 11x115mm, 25mmx75mm, 

25mmx100mm, 50mmx75mm, 

50mmx100mm,75mmx100mm, 

100mmx50mm
SK163
Howmedica Modular Resection System
GMRS Adaptors for Restoration (inc locking
Standard, +10mm, +20mm, 30mm
$3,625.00

 bolt), Titanium/Cobalt Chrome
SK165
Howmedica Modular Resection System
GMRS Press fit stems straight
11, 12, 13, 14, 15, 16, 17, 18, 19mm
$4,020.00
SK172
Howmedica Modular Resection System
GMRS Adaptors Male/Female Taper, 
Male Taper; Female Taper
$1,965.00

Titanium/Forged Cobalt Chrome
Prostheses, Ligament

Corin  Australia Pty Ltd
CR032
Lars Ligamanet Augmentation 
Woven polyester prosthetic ligaments
60,80,100 & y shaped fibres
$4,156.00

reconstruction system

Orthotech Pty Ltd
OH275
ABC Prosthetic Ligament
Cruciate prosthesis carbon fibre/polyester, 
12.5cm - 18.5cm; ABC Carbon 
$3,600.00

ABC Carbon/Polyester Medial/Lateral 
Polyester & ABC 

Collateral Ligament, ABC Polyester/ 
Polyester/Polyester - one size only

Polyester Medial/Lateral Collateral Ligament
OH276
Surgicraft
Fixation Bollard
One size only
$475.00

Smith & Nephew Surgical Pty Ltd
SN777
GTS Sleeve
Polypropylene non-absorbable woven mesh
one size only
$270.00

Zimmer Pty Ltd
ZI182
Zimmer Internal Fixation Systems: Soft 
Statak/Mini-Statak - Suture, Stainless Steel
2, 5 mm - 5, 0mm
$240.00

Tissue Re-attachment Device
Prostheses, Radial Head

Corin  Australia Pty Ltd
CR002
Corifix Radial Head Implant
Cobalt chrome
Small - Large
$1,325.00
Prostheses List by Category, Groups and Sponsor
Page 528 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Stryker Australia Pty Ltd
HW381
Radial Head Prostheses
Radial Head - Small, Medium, Large
8 - 15mm
$2,245.00

Tornier Pty Ltd
TO005
Radial Head Prostheses 
Ti CoCr, Elbow prostheses, consists of 
Stem 6.5mm & 8mm Mod Head size
$3,816.00

Radial Stem + Cup.
 19mm & 22mm
Prostheses, Radial/Ulna Head

Advanced Surgical Technologies
AD105
Evolve Modular Radial Head
Cobalt chromium alloy, standard and plus 
Stem 5.5 - 9.5mm Standard & +4
$1,325.00

stems
AD160
WMT Orthopaedic Implants Radial/Ulna 
Radial head implant HP silastic
1, 1.5, 2, 2.5, 3
$730.00

Head
AD161
WMT Orthopaedic Implants Radial/Ulna 
Radial head titanium
1, 1.5, 2, 2.5, 3
$1,720.00

Head
AD283
E-Centrix Ulnar Head Replacement
Ulnar Head
16 x 1.5mm Offset, 16 x 3.0mm 
$1,525.00

Offset, 18 x 1.5mm Offset, 20 x 

1.5Offset, 20 x 3.0mm Offset
AD284
E-Centrix Ulnar Head Replacement
Ulnar Stem
5.5 STD, 6.5 STD, 7.5 STD, 8.5 STD
$1,410.00
AD285
E-Centrix Ulnar Head Replacement
Ulnar Stem Extender
20mm
$820.00
AD303
Evolve Modular Radial Head
Cobalt chromium alloy head
Head 20-28mm Std +2 and +4mm
$1,334.00

Medical & Optical Instruments Australia Pty Ltd
MO145
Martin Ulna Head prosthesis
Stem Titanium
Small, medium and large,2mm,4mm 
$2,258.00

and 17mm collar
MO146
Martin Ulna Head prosthesis
Ceramic Head, Chromium Cobalt
Small, medium and large
$2,800.00

Taylor Bryant Pty Ltd
TB204
Ulnar Head Implants
Ulna Head - CoCr
Stem: 2,3,4 Head: 2,3,4
$2,208.00
TB205
Radial Head Implants
Radial/RECON RHead - CoCr
Stem: 2,3,4  Head: 2,3,4,4N
$2,072.00
Prostheses List by Category, Groups and Sponsor
Page 529 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Soft Tissue

Johnson & Johnson Medical Pty Ltd
DY136
Restore Orthobiologic Soft Tissue Implant
Restore Patch
One size only
$5,935.00
Prostheses, Tendon

Orthotech Pty Ltd
OH277
Gateshead rod (Arthrotomy set) - pack of 3
Cartilage repair-carbon fibre implant
3 x 12.5mm
$830.00
OH278
Gateshead rod (Arthrotomy set) - pack of 5
Cartilage repair-carbon fibre implant
3 x 12.5mm
$1,045.00
Prostheses, Tibial

Link Orthopaedics  Australia
LO006
LINK STAR Ankle Prosthesis
RevisionTibial Component, Cemented
Extra small - Extra large
$2,204.00
Prosthesis

City Medical Devices Australia (trading as Energy Orthopaedics)
CD036
Tenolig
Percutaneous Achilles Tendon Repair System
Diameter .85 mm - Length 33 cm
$1,586.00
Prosthesis, Internal, Joint, Ankle, Total

ESKA Australia
EK043
PE Articular Surface Component Ankle 
4mm, 6mm, 8mm
$595.00

Joint
EK046
Talar Component Ankle Joint Cementless
CoCrMo
Small, Medium, Large
$2,550.00
Temporary Listing pending review 

of product group
EK051
Tibial Component Ankle Joint Cementless 
Tibial Component Ankle Joint CoCrMo/HA
Small, Medium, X-Medium, Large, 
$1,980.00
Temporary Listing pending review 

HA
X-Large
of product group
Prostheses List by Category, Groups and Sponsor
Page 530 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EK053
Tibial Component Ankle Joint Cementless
Tibial Component Ankle Joint CoCrMo
Small, Medium, X-Medium, Large, 
$1,980.00
Temporary Listing pending review 

X-Large
of product group
EK075
Talar Component Ankle Joint Cementless 
CoCRMo/Ha
Small, Medium, Large
$2,750.00
Temporary listing pending review 

Ha
of product group

Finsbury Orthopaedics Australia Pty Ltd
FI030
Box Ankle
Tibial Component CoChr. Cementless
Small, Medium and Large
$1,980.00
Temporary Listing pending review 

of product group
FI031
Box Ankle
Talar Component CoChr. Cementless
Small, Medium and Large
$2,750.00
Temporary Listing pending review 

of product group
FI032
Box Ankle
Meniscal Insert, UHMWPE
Small 5-8mm, Medium 5-8mm and 
$595.00
Temporary Listing pending review 

Large 5-8mm
of product group

LMT Surgical Pty Ltd
LM044
KMI Total Ankle Replacement
The ankle is a three component system 
Small, Small +, Medium, Medium +,
$6,250.00
$6,500.00

consisting of a CoCr with titanium plasma 
 Large, Large +

spray (TPS) talus component and tibia 

component and a bearing component made 

of untra high molecular weight polyethylene 

(UHMWPE).
Prosthesis, Internal, Joint, Digit

ESKA Australia
EK012
ESKA Great Toe
Metatarsal Components; Phalangeal 
various sizes
$2,800.00

Components
EK013
ESKA Finger System
Proximal, distal MCP joints, PIP joints
various sizes
$1,732.00

Johnson & Johnson Medical Pty Ltd
DY410
Hand and Foot Fracture Systems
FRST wist off screw
11 to 14mm
$309.00
$380.00
DY411
Hand and Foot Fracture Systems
FRSStandard Staple, Straight
8 to 10mm
$300.00
DY412
Hand and Foot Fracture Systems
FRS Screw
10mm to 34mm L x 2.5mm Diameter
$309.00
DY413
Hand and Foot Fracture Systems
FRS .S.O.C Pin
9 to 40 mm Thread Length
$228.50

LMT Surgical Pty Ltd
LM015
Kinetik Great Toe Implant
Phalangeal Component made of titanium 
0,1,2,3
$2,400.00

alloy 01-2010, 01-2012, 01-2014, 01-2016
Prostheses List by Category, Groups and Sponsor
Page 531 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
LM016
Kinetik Great Toe Implant
Metatarsal Component  made of chrome 
1, 2, 3 Right & Left
$2,000.00

cobalt 01-2002, 01-2004, 01-2006, 01-2003, 01-

2005, 01-2007
LM018
Ascension Silicone MCP Replacement
MCP - Injection - Moulded Medical Grade 
Size 10, 20, 30, 40, 50
$800.00

Silicone Elastomer; SMCP-500-10, 20, 30, 40, 

50
LM028
Ascension Pyrocarbon CMC Finger Implant
Pyrocarbon layer encasing a graphite 
10 - 40
$1,935.00
LM031
K2 Hemi Toe Implant System
Cobalt Chrome with Titanium plasma coating
1-4
$1,500.00
LM047
Ascension Pyrodisc
Pyrocarbon interpositional prosthesis 
1-5
$1,500.00

intended for use in the CMC basal thumb 
LM053
Osteotec Silicone PIP Joint Replacement
2 component hinged joint replacement for 
5 - 50
$560.00

the proximal interphalangeal joint

Mathys Orthopaedics Pty Ltd
MA081
Finger
Prosthesis - distal, proximal, standard, large
L18 D4.0 - L26 D6.0
$1,600.00
$2,000.00

Orthotech Pty Ltd
OH202
Daphne
Metacarpophalangeal Joint Prosthesis
3, 4, 5, 6
$1,040.00

Taylor Bryant Pty Ltd
TB257
Avanta - Preflex
MCP Finger Joint Implant
00/10/20/30/40/50/60mm
$611.00
TB328
MCP Finger Prosthesis "Ariadna"
Distal part, Stainless Steel
1,2 or3
$1,040.00
Tempory approval, pending review 

of product group
TB330
MCP Finger Prosthesis "Ariadna"
Proximal part, Stainless Steel
1,2,or 3
$1,248.00
Tempory approval, pending review 

of product groups
TB333
Trapezio Metacarpal Prosthesis DLC
Stem - Cobalt Chrome
1 or 2
$884.00
Temporary approval, pending 

review of product group
TB334
Carpal Screw
Titanium
2.5mm diameter in sizes 12mm - 
$125.00

20mm length
TB335
Elektra Stem
Cobalt Chromium/Hydroxyapatite coated
6-8mm
$1,664.00
Temporary approval, pending 

review of product group
TB336
Elektra Neck
Cobalt Chromium
Extra Short, Short, Medium, Long
$780.00
Temporary approval,pending 

review of product group
TB337
Memofix Staples
Nitinol
10-17mm x 12-20mm Length
$718.00
TB339
Trapezio Metacarpal Prosthesis DLC
Neck Cobalt Chrome
Short, Medium or long
$780.00
Tempory approval, pending review 

of product group
TB344
PIP Finger Prosthesis "DGT"
Distal part, Stainless Steel texture with 
1,2 or3
$1,040.00
Temporary approval, pending 

Cobalt Chrome
review of product group
Prostheses List by Category, Groups and Sponsor
Page 532 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB346
Elektra Cup
Cobalt Chromium and Hydroxyapatite coating
One size only
$884.00
Temporary approval, pending 

review of product group
TB347
Hemi CAP Articular Resurfacing Great Toe 
Articular Component
12mm (1-2mm x 1.5-3mm offset), 
$1,500.00

System
15mm (1.5-2.5mm x 2.5-4.5mm offset)
TB348
Hemi CAP Articular Resurfacing Great Toe 
Fixation Component
8mm x 16mm, 9.5mm x 18mm
$900.00

System
Prosthesis, Internal, Joint, Elbow, Humeral Component

Device Technologies Australia Pty Ltd
DE257
Eclipse Humeral Head Prosthesis
Eclipse Humeral Head Prosthesis Head
41/16 - 53/20
$1,525.00

Tornier Pty Ltd
TO012
Tornier Latitude Total Elbow Prosthesis
Humeral Spool, Humeral Stem, Ulnar Stem
Humeral Spool - (Small, Medium, 
$9,925.00

Large) (Anterior, Posterior, 

Centered) (Left, Right); Humeral 

Stem - (Small, Medium, Large) 

(Left, Right); Ulnar Stem - (Small, 

Medium, Large) (Left, Right)
Prosthesis, Internal, Joint, Shoulder, Glenoid Component

ESKA Australia
EK076
Rotator Cuff Head CTA Head
Rotator Cuff Head CoCr
small, medium, large
$2,330.00
$3,000.00

Johnson & Johnson Medical Pty Ltd
JJ555
DELTA Xtend
Eccentric Glenosphere
38 + 42
$2,375.00
JJ556
DELTA Xtend
Standard Glenosphere
38 + 42
$2,290.00

Tornier Pty Ltd
TO015
Aequalis Pegged Glenoid USA
Pegged Glenoid Polyethylene (UHMWPE)
Small, Medium, Large, Extra Large
$1,995.00
Prostheses List by Category, Groups and Sponsor
Page 533 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prosthesis, internal, joint, shoulder, humeral component

Mathys Orthopaedics Pty Ltd
MA479
Affinis Fracture - Stem
Affinis Fracture Stem
6/125, 9/125, 12/125, 12/125, 9/200, 
$2,575.00
$3,200.00

12/200
MA480
Affinis Fracture - Head
Affinis Fracture Head
42, 45, 48
$1,525.00
$2,200.00
MA481
Affinis Fracture - Central Part
Affinis Fracture - Central Part
Part 1 - diam 15.5, Part 2 - diam 18
$1,550.00
$2,350.00

Tornier Pty Ltd
TO029
Aequalis Fracture Shoulder HA Coated
Fracture shoulder humeral stem Cobalt 
Diam 6.5mm - 130mm and 170mm 
$4,000.00

Chrome, HA coated
lengths, Diam 9mm - 130mm, 

180mm and 210mm lengths. Diam 

12mm - 130mm, 180mm and 210mm 

lengths
Prosthesis, internal, joint, wrist, radial/ulnar component

Taylor Bryant Pty Ltd
TB371
Stability Sigmoid Notch Total DRUJ 
The Stability Sigmoid Notch Radial Stem is 
Small & Large
$3,275.00

system / Stability Sigmoid Notch Radial Stem
made from implantable Cobalt chromium 

(ASTM 1537-94) with a CPTi plasma spray 

on the back for bone ongrowth.  It has a 

fixation post about 18mm  in length and has 

a single hole in its base to accept a single 

cancellous bone screw.  The front of the 

stem is highly polished and has raised edges

 to accept a UHMPE radial insert.
TB372
Stability Sigmoid Notch Total DRUJ 
The Stability Sigmoid Notch Radial Insert is 
The Stability Sigmoid Notch radial 
$450.00

System / Stability Sigmoid Notch Radial 
made of UHMW Polyethylene.  It is formed 
Insert has two sizes, small and 

Insert
to fit onto the Stability Sigmoid Notch Radial
large and each size has just one 

 Plate and slides onto the plate and secures 

firmly via a peripheral lock and a ramp lock 

snap fit.  It has a concave surface and a 

smooth back.
Prostheses List by Category, Groups and Sponsor
Page 534 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TB373
Stability Sigmoid Notch Total DRUJ 
The Sigmoid Notch Radial Screw is a low 
The Sigmoid Notch screw is 
$250.00

System / Sigmoid Notch Screw
profile self tapping cortical screw made of 
available in 22m increments from 

implantable CoCr.  It is designed to be 
18mm - 32mm and has a diameter of

placed bi cortical in the radius and is 
 approx 4mm.

introduced into the Radial stem thru a hole.  

It is placed into the stem and tightened 

down before the Radial insert is introduced 

over the top of it and therefore has a special 
Prosthesis, Internal, Joint, Wrist, Total

Taylor Bryant Pty Ltd
TB253
Avanta - Total Wrist Implant System
Left and Right Radial Components
Small, Medium, Large
$3,275.00
TB254
Avanta - Total Wrist Implant System
Carpal Screws
15, 18, 22, 26, 30mm
$131.00
TB255
Avanta - Total Wrist Implant System
Carpal Ball
Small, Medium, Large
$445.00
TB256
Avanta - Total Wrist Implant System
Carpal Component
Small, Medium, Large
$2,645.00
Prosthesis, internal, ligament, anchor

Corin  Australia Pty Ltd
CR118
LARS Ligament Staple
CoCr synthetic ligament anchor
6mm, 8mm or 10mm x 20mm
$445.00

Device Technologies Australia Pty Ltd
DE270
Bio PushLock
Bio Suture Anchor
2.5 - 5.5mm x 8 - 18.5mm
$493.00
$600.00
DE271
RetroButton
Femoral Fixation Device
12mm Button with 15-60mm loops, 
$369.00
$400.00

15mm Button with 15-60mm loops

Johnson & Johnson Medical Pty Ltd
DY477
BioIntrafix Tibial Soft Tissue Fastener 
Absorbable composite (TCP/PLA) fixation 
30mm
$345.00

(Sheath)
device (sheath) used in conjunction with a 

screw
Prostheses List by Category, Groups and Sponsor
Page 535 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prosthesis, Internal, Plug, Subtalar

LMT Surgical Pty Ltd
LM055
KMI Bioresorbable MBA
PLLA
6-14mm
$1,800.00
Prosthesis, Internal, Radial Head

Advanced Surgical Technologies
AD272
Evolve Radial Head Plate
Evolve Radial Plate System Stainless Steel
32mm x 20 - 26mm in 2mm 
$1,360.00

increments
AD274
Evolve Locking Cancellous Bone Screws
The Evolve stainless steel locking screw
2.0mm x 14 - 28mm
$100.00
AD281
Micronail intramedullary radial fixation
Titanium, Distal radial nail
1, 2, 3, and 4
$1,620.00
AD282
Micronail intramedullary radial fixation
2.7mm Titanium Screw
10mm - 20mm
$220.00
AD305
Micronail Intramedullary Radial Fixation
2.5mm ti buttress screw
16 - 28mm
$250.00

LMT Surgical Pty Ltd
LM035
Katalyst Anatomic Bipolar Radial Head
The Katalyst is a radial head prosthesis 
Radial Head sizes 16mm - 26mm
$1,339.00
$1,400.00

consisting of cobalt chrome, U.H.M.W. Pe 

and Stainless Steel Components
LM036
Katalyst Anatomic Bipolar Radial Head
The Katalyst is a radial head prosthesis 
Shaft/Stem Assembly Sizes 20 - 
$1,400.00

consisting of cobalt chrome, U.H.M.W. Pe 
30mm

and Stainless Steel Components
LM043
Ascension Radial Head
The Ascension Radial Head is modular with 
Head Size - 20 Short and Long, 22 
$3,090.00
$3,500.00

a Pyrocarbon Head and Metal Stem which is 
Short and Long, 24 Short and 

made of Cobalt Chromium Alloy compliant 
Long; Stem Size - 01/02/03/04

with  ASTM F1537-00, also available in all 

CoCr
LM057
Ascension Radial Head Locking Plate and 
Titanium pre-formed anatomical radial head 
small and large
$1,310.00

Screws
plate

Medical & Optical Instruments Australia Pty Ltd
MO270
Acumed Total Radial Head
Head
20-28mm
$3,300.00
MO271
Acumed Total Radial Head
Stem
6-10mm diameter, 0-8mm neck 
$2,100.00

height
Prostheses List by Category, Groups and Sponsor
Page 536 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthopaedic Solutions Pty Ltd
OE001
BIOProfile Modular Pyrocarbon 
A Modular Titanium/Pyrocarbon 
Small, Medium, Large & X-Large
$5,261.00

Radial/Ulna Head
Radial/Ulna head Prosthesis which includes 

a stem, neck, head and expansion screw.

Synthes Australia Pty Ltd
SY354
Small & Mini Fragment Plates
LCP Radial Head Plates
2.4mm
$1,320.00
Prosthesis, Internal, Tendon

Surgical House
SU174
SEM Rotator Cuff Tendon and Prosthesis 
Polyester
1, 2, 3, 4
$3,550.00

for Tenoplasty
Restrictors, Orthopedic Cement

Advanced Surgical Technologies
AD178
Bone Plug
PMMA Cement
8, 10, 12, 14, 16mm
$270.00

Johnson & Johnson Medical Pty Ltd
DP233
Hardinge Cement Restrictor
Hardinge cement Restrictor (ea)
One size only
$202.00
DP448
BIO Stop G
Biostop Restrictor (Gelatin, Glkycerol, 
size 8-20
$205.00

PHBM, Water)
DP575
C-Stem End Cap
End Cap Biostop Restrictor (Gelatin, 
Size 8- 20 
$136.00

Glycerol, PHBM, water)
JJ584
Femoral Prep Kit
Femoral Preparation Kit
One size only
$225.00

Smith & Nephew Surgical Pty Ltd
SN263
Buck
Cement Restrictor 
18.5 - 35mm
$120.00
SN264
Buck
IM Prep Kit
One size only
$225.00

Stryker Australia Pty Ltd
HW001
Hardinge Cement Restrictor
PMMA
6,9 and 12 Leaf
$125.00
HW002
Seidel Plugs
Seidel Cement Restrictor - Polyethylene.
8, 10, 12, 14, 16, 18mm
$120.00
Prostheses List by Category, Groups and Sponsor
Page 537 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Rods

ConMed Linvatec Australia Pty Ltd
LV050
Bionx Implants - Rods 
PGA, PLA or PLLA
1.5mm x 10-70mm
$250.00
$325.00
LV051
Bionx Implants - Rods 
PGA, PLA or PLLA
2.0mm
$275.00
$350.00
LV052
Bionx Implants - Rods 
PGA, PLA or PLLA
3.2mm x 30-70mm
$300.00
$375.00
LV063
Bionx Implants - rods
PLLA (Smart Nail)
1.5mm
$225.00
$431.00
LV084
SmartNail 2.4
Self-reinforced 96L / 4D PLA
16, 25, 35 & 45mm
$220.00

Device Technologies Australia Pty Ltd
DE163
Bio-Post & Washers
PLLA composition
Implant 35mm - 50mm, Washers 
$750.00

16mm

Johnson & Johnson Medical Pty Ltd
JJ126
Contack Fastener
Polylactic acid tack
(3.5 to 7.5mm) x11.5mm
$447.14
JJ307
Rapidloc Meniscal Repair PLA Tophat 
Composition: PLA Implant and Ethibond 
2/0
$253.48

with Ethibond Suture
Suture, non absorbable suture
JJ308
Rapidloc Meniscal Repair PLA Tophat 
Composition: PLA Implant and Panacryl 
Straight needle, 12 degree curved 
$253.48

with Panacryl Suture
Suture
needle, 27 degree curved needle

Zimmer Pty Ltd
ZI336
Polypin Resorbable Bone Pin
Polylactide
1.5, 2.0, 2.7mm
$246.00
Screws

Biomet Australia Pty Ltd
BI005
Re-Unite Orthopaedic System
Rotator Cuff Butress, Lactosorb; PGA/PLA
One size only
$430.00
BI012
Re-Unite Orthopaedic System
Pop-Rivet - PGA/PLA
One size only
$292.00
BI241
Gentle Threads Ligament Fixation Screws
Screw, Graft Interference, PGA/PLA
7mm, 8mm, 9mm, 10mm
$466.00
BI278
Re-Unite Orthopaedic Screws
Screw, PGA/PLA
(2-5)mm dia x (5-70)mm
$320.00
BI826
Meniscal Screw
Screw PGA/PLA
One size only
$340.00
Prostheses List by Category, Groups and Sponsor
Page 538 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

ConMed Linvatec Australia Pty Ltd
LV019
BioScrew Bioabsorbable Interference 
ACL Fixation - PLLA
Diameter 7.0 - 9.0mm, Length 20 - 
$251.48
$330.00

30mm
LV021
BioStinger - V Bio - Absorbable Meniscal 
Meniscal Repair Device - PLLA
10mm - 16mm
$270.00

Repair Device
LV022
EndoPearl Bio-Absorbable Implant - ACL 
ACL Fixation - PLLA
7mm - 9mm
$164.00
$195.00

Fixation
LV055
Bionx Implants - Screws
PLA Full Thread 
3.5mm
$340.00
$415.00
LV056
Bionx Implants - Screws
PLA Full Thread 
4.5mm
$360.00
$435.00
LV057
Bionx Implants - Screws
PLA Cannulated
4.5mm
$380.00
$450.00
LV058
Bionx Implants - Screws
PLLA Lag Screw 
3.5mm x 10-28mm
$335.00
$415.00
LV059
Bionx Implants - Screws
PLLA Lag Screw 
3.5mm x 30-45mm
$340.00
$415.00
LV060
Bionx Implants - Screws
PLLA Lag Screw 
4.5mm x 25-70mm
$370.00
$450.00
LV061
Bionx Implants - Screws
PLLA Lag Screw 
6.3mm Diameter
$494.00
$550.00
LV062
Bionx Implants - screws
ACL PDLA Screws & Wedges
Dia 5mm, 7mm, 8mm, 9mm
$346.00
$515.00
LV065
Bionx Implants - screws
PLLA Screws (Contour Labral Nail)
3.5mm
$333.00
$415.00
LV066
Bionx Implants - screws
Biofix PLA full threaded crosshead screw
Dia 2mm, length 6 - 10mm
$267.24
$345.00
LV067
Bionx Implants - screws
Biofix PLA full threaded crosshead screw
Dia 2mm, length 12 - 20mm; Dia 
$287.73
$365.00

2.7mm, length 6 -24mm
LV071
Contour Meniscus Arrow
80L/20D, LPLA & PLLA
1.1mm x 10, 13,16mm
$230.00
$285.00
LV072
Contour Meniscus Arrow
80L/20D, LPLA, Pre-loaded Cartridge Pack of
1.1mm x 10, 13,16mm
$230.00
$285.00

 1
LV074
Contour Meniscus Arrow
80L/20D, LPLA, Pre-loaded Cartridge Pack of
1.1mm x 10, 13,16mm
$690.00
$844.00

 3
LV075
Bionix Screws
Biocuff C PLA Screw
6.0mm OD x 28mm LONG; 6.0mm 
$400.00
$480.00

OD x 36mm LONG

Device Technologies Australia Pty Ltd
DE069
Interference Screws
Bio-Cortical - PLA
8 x 17 - 11 x 17mm and 8 x 20 - 10 x 
$299.00

20mm
DE072
Bio-Interference Screw
PLA
7mm - 9mm
$288.00
DE075
Arthrex Headed Bio-absorbable Corkscrew
PLA
8mm
$420.00
DE081
Tissue Tak
PLDLA
3mm - 4.5mm
$420.00
Prostheses List by Category, Groups and Sponsor
Page 539 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DE125
Bio-Corkscrew
Composition - polylactide, eyelet - polyester
3.5-6.5mm
$400.00
DE166
Bio-Tenodesis Screw
Composition PLLA
Dia 5.5-9mm
$570.00
$670.00
DE167
Bio-Interference Screw
Composition - PLLA, delta tapered
Dia6.5 - 10.5mm to 8 - 12mm x 28 - 
$450.00
$550.00

35mm length
DE195
Bio Corkscrew
With Fibrewire Suture
3.5mm - 6.5mm
$435.00
DE224
Retro Screw
Composition PLLA
8-10mm x 20mm
$340.00
$550.00

Johnson & Johnson Medical Pty Ltd
JJ002
Meniscal Screw
Bioabsorbable Poly Lactic Acid
$251.42
JJ073
Mitek Phantom Screw - Absorbable 
Polylactic acid Bioabsorbable Screw
7,8 & 9mm x (20 to 30mm)
$230.00
JJ127
Absolute Absorbable Interference Screw 
Polylactic acid screw
7 to11mm x (23 to 30mm)
$230.00
JJ337
Biocryl - TCP/PLA Interference Screw
Composition - Tricalcium Phosphate & 
7x23mm; 7x30mm; 8x23mm; 
$303.00

Polylactic Acid
8x30mm, 9x23mm; 9x30mm; 

10x23mm; 10x30mm; 11x30mm

Smith & Nephew Surgical Pty Ltd
SN004
Bioabsorbable screw
BioRCI-HA Screw, Medial, Portal, Reverse 
7 x 20mm - 12 x 35mm
$350.00

thread, Tibial specific, Trans-tibial
SN008
Rotorloc Absorbable PLA Suture Anchor 
-
One size only
$305.00

System
SN421
ACL/PCL Reconstructions
Absorbable PLLA Screw
7-12mm diameter, 25-35mm length
$228.00
SN430
ACL/PCL Reconstructions
EndoFix Bioabsorbable Screw
7 x 20mm - 9mm x30mm
$185.00

Stryker Australia Pty Ltd
SK392
Stryker Locking Plate System
Svariax  Screws & Pegs
1.7mm - 3.5mm diameter 10mm - 
$125.00

50mm long

Synthes Australia Pty Ltd
SY322
AO/ASIF Screws
Headless Compression Screw 2.0mm - 8.0mm
Short Thread 4-40mm; Long 
$196.00

Thread 4-40mm

Zimmer Pty Ltd
ZI447
Bioresorbable Screw
Polylactide
One size only
$260.00
Prostheses List by Category, Groups and Sponsor
Page 540 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Screws, Bone

Advanced Surgical Design & Manufacture Ltd
AE007
MF-Cortex Screw
Titanium
1.0 - 2.7mm dia,  length 2 - 40mm
$14.00
$31.00
AE012
ASDM Bone Screw
Titanium 
2.0 - 6.5mm dia, length 4-150mm
$41.00
AE013
Shaft Screw, Pure 
Threaded Pin, Manufactured from pure 
3.2 x 50 - 100mm, 4.0 x 70 - 110mm
$74.00
$290.00

Titanium
AE094
ACL Fixation Screws Tapered
Flat Head, Tappered, Titanium
9 - 11mm Diameter 30mm Length
$178.00
AE095
ASDM Standard ACL Fixation Screw
Standard Flat Head Screw
7 - 11mm Diameter 20mm - 50mm 
$178.00

Length
AE096
ACL Fixation Screws
Round Head, Titanium
7-11mm Diameter 25 - 35mm Length
$178.00
AE097
Tibial Post Screw
Titanium
5 - 6mm
$158.00
AE098
Low Profile Tibial Screw
Titanium
7 - 10mm Diameter 25 -40mm 
$240.00

Length

Austofix
AX003
Austofix Intramedullary Screws
Humeral Head Screw, stainless steel
4.3mm
$105.00
$145.00
AX012
Austofix Intramedullary Screws
Proximal Thread Locking Screw, stainless 
4.0mm & 4.5mm
$145.00

steel
AX021
S2 Nail System
6.2mm condylar screws
6.5mm x 60-85mm
$175.00

B Braun Australia Pty Ltd
BB051
BRAUN AUST Intramedullary Nails
Compression Nail
100mmx10.5mm-610mmx12.5mm
$1,600.00
BB052
BRAUN AUST Intramedullary Nails
Compression Screw
4.5mmx64mm-4.5mmx102mm
$150.00
BB056
BRAUN AUST Intramedullary Nails
Fixation Screws
Dia 4.5mm-6mm,Length 20mm-
$55.00
$75.00

96mm
BB057
BRAUN AUST Intramedullary Nails
Closure Screws
Length 8mm-10mm
$60.00
BB059
BRAUN AUST Intramedullary Nails
Huckstep Fine Thread Screw
4.5mmx19mm-4.5mmx57mm
$55.00
$80.00
BB271
Aesculap Schanz Screw
Stainless steel
All sizes
$105.00

Biomet Australia Pty Ltd
BI143
Compression Screw Set
Supracondylar Plate, Stainless Steel
6-14 hole
$1,200.00
BI309
Compression Hip Screw
Plate, Titanium
2-14 hole x 53-257mm
$1,336.00
Prostheses List by Category, Groups and Sponsor
Page 541 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI311
Compression Hip Screw 
Support Screw, Titanium, Stainless Steel
4.5 - 6.5 x (14-70mm)
$200.00
BI312
Compression Hip Screw 
Lag Screw, Titanium, Stainless Steel
12.7, 15mm x (55-150mm)
$30.00
BI313
Cannulated Screws
Fixator, Ulson, Complete Stainless Steel
25mm x 135-200mm
$1,050.00
BI314
Cannulated Screws
Fixator, Ulson, Clamp Assembly
One size only
$350.00
BI315
Compression Hip Screw 
Plate, Stainless Steel
25-38mm x 2-7 hole for use with 
$370.00

plate size 50-150mm
BI316
Compression Hip Screw 
Plate, Stainless Steel 
25-38mm x 8-14 hole for use with 
$440.00

plate size 50-150mm
BI317
Compression Hip Screw 
Lag Screw, Stainless Steel
12.5,14mm x (50-150mm)
$200.00
BI318
Compression Hip Screw 
Cortical Screws Pk 10, Stainless Steel
2.7-4.5mm x (10-140mm)
$23.00
BI319
Compression Hip Screw 
Compression Screw
1.5-4.5 x (6-70mm)
$46.35
BI321
Cannulated Screws (Various)
Ulsan Fixator, Percutaneous Pins (Pair)
135, 200mm
$211.00
BI820
EBI XFIX DynaFix System
Screw, HA coated, cortical, cancellous
Dia 2-6mm
$274.00

ConMed Linvatec Australia Pty Ltd
LV009
Revo Cancellous Screw
Soft Tissue Re-attachment - Titanium
4mm diameter
$335.00
LV010
Mini-Revo Screw
Soft Tissue Re-attachment - Titanium
2.7mm diameter
$340.00
LV011
Soft Tissue Anchoring Implant - Spiked 
Soft Tissue Re-attachment - Titanium
1.3 x 14mm -  2.5 x 20mm
$335.00

Washer
LV012
Soft Tissue Anchoring Implant - Flat 
Soft Tissue Re-attachment - Titanium
14, 17mm
$162.00
LV013
Soft Tissue Anchoring Implant - Cortical 
Soft Tissue Re-attachment - Titanium
30 -  80mm
$175.00

Screw
LV014
Soft Tissue Anchoring Implant - 
Soft Tissue Re-attachment - Titanium
25 -  65mm
$200.00

Cancellous Screw
LV016
Propel Interference Screws
ACL Fixation - Titanium
Diameter 7.0 - 9.0mm, Length 20 - 
$150.00
$220.00

30mm
LV017
Guardsman Femoral Interference Screws
ACL Fixation - Titanium
Diameter 7.0 - 9.0mm, Length 20 - 
$185.00
$260.00

30mm
LV018
Cannulated Interference Screws
ACL Fixation - Titanium
Diameter 7.0 - 9.0mm, Length 20 - 
$148.00
$220.00

40mm
LV077
BioScrew XtraLok Tibial Fixation Device
PLLA
Diameter 8, 9, 10, 11mm; Length 35 
$262.00
$335.00

& 40mm
Prostheses List by Category, Groups and Sponsor
Page 542 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Corin  Australia Pty Ltd
CR031
LARS Interference Screw
Titanium Interference screw
5.2 - 10mm diameter, 
$340.00

15 - 30mm

Device Technologies Australia Pty Ltd
DE060
Avulsion Screw
Titanium 
45mm
$446.00
$566.00
DE068
Interference Screws
ARTHREX Non-sheathed
7 x 28mm - 12 x 28mm
$160.00
DE077
Cancellous Bone Screws
Low Profile
30mm - 40mm
$211.00
DE128
Cortical Screw
Self locking screws, cancellous and cortical
Diameter 3.5-6mm, length 10-
$230.00

110mm

Johnson & Johnson Medical Pty Ltd
DP040
Bone Screw
Screw Cancellous Titanium
Dia 3.5 or 5 or 6.5 or 7mm length 15
$91.00

 -110mm
DP042
Chandler Plate
Tibial Osteotomy Plate -Stainless Steel
50-70mm
$1,165.00
DP043
Chandler Plate
Self Tap Screw 4.5mm Length -Stainless 
60-100mm
$175.00
DP868
Barouk Screw System
Barouk Screw - Titanium
10-34mm Length
$210.00
DP882
Twistoff Screw
TwistOff Screw Titanium
11-14mm Long
$320.00
DP894
Rockwood Shoulder Screw
Rockwood Shoulder Screw  S/S
One size only
$231.00
DP895
Rockwood Shoulder Screw
Rockwood Shoulder washer  S/S
One size only
$45.73
DP896
AC Percu Screw
AC Percu screw S/S
Size 32-52mm
$236.00
DP897
AC Percu Screw
AC Percu Screw Washer S/S
One size only
$47.00
DP900
Albizza Nail
Albizza Nail - Stainless Steel
240-320mm Length
$10,692.00
DP901
Albizza Nail
Albizza Nail Cotter Screw
3.5 or 4.5 0r 5.5 mm 25-75 mm length
$95.00
JJ071
Mitek Kurosaka Advantage Fixation Screw
Titanium Screw Cannulated - Advantage
7 & 9mm x (15 to 40mm)
$169.00
JJ072
Mitek Kurosaka Fixation Screw
Titanium Screw Cannulated - Profile
7,8 & 9mm x (20 to 30mm)
$169.00
JJ079
Mitek Cancellous Screw Low Profile
Titanium screw
4.5mm x (26 to 76mm)
$162.00
JJ080
Mitek Cancellous Screw Low Profile
Titanium screw
6.5mm x (25 to 55mm)
$162.00
JJ125
Intrafix Tibial Tapered Screw
Plastic tapered screw
6 to 10mm x (15 to 30mm)
$285.66
JJ622
Distal Radius Fracture Repair System
Locking peg, threaded, partly threaded, 
2.5mm x 14-30mm
$125.00

smooth, titanium
JJ623
Distal Radius Fracture Repair System
Bone screw, cancellous/cortical titanium
2.5mm-3.5mm x 10-28mm
$107.00
Prostheses List by Category, Groups and Sponsor
Page 543 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

LMA PacMed Pty Ltd
PM116
ISKD Internal Limb Lengthening System
Titanium Alloy
Diameter 12.5 - 14.5mm
$16,500.00

Medical & Optical Instruments Australia Pty Ltd
MO005
HBS Bone screw
Compression - standard, high
Length 10 - 30mm
$330.00
MO143
Martin Bone Screw
Titanium
2.0mm diameter,20 to 24mm length
$53.00
MO144
Martin Bone Screw
Titanium
2.0mm diameter,26 to 32mm length
$55.00
MO148
Acumed Implantable Screw
Fixation Screw Titanium
2.7/3.5mm diameter 12 to 24mm 
$191.00

length
MO177
Acutrak Fixation Screw
Wire Kirschner Stainless Steel
0.70mm to 1.6mm diameter, 4 to 9in 
$20.00
To be funded where any or all K-

(10.16 to 22.86mm) length
wires used in a procedure are used 

as an implant.
MO178
Acutrak Fusion Screw
Titanium
12 - 37mm
$330.00
MO179
Acutrak Fixation Screw
Acutrak Compression Screw Titanium
8mm to 50mm
$425.00
MO180
Acutrak Fixation Screw
Acutrak Plus, 6/7, 4/5 Cannulated Screw 
25mm to 120mm
$425.00
$495.00

Titanium

Smith & Nephew Surgical Pty Ltd
SN294
Reflection
Tapered hole cover (Reflection Interfit)
One size only
$110.00
SN295
Reflection
Threaded hole cover (Reflection)
One size only
$165.00
SN419
ACL/PCL Reconstruction
Aims Screws, Titanium
7-9mm diameter, 20 -25mm length
$165.00
SN420
ACL/PCL Reconstruction
RCI Screws Titanium
7-11mm diameter, 25-40mm length
$178.00
SN422
ACL/PCL Reconstructions
Acufex Fixation Post
25 -55mm
$241.00
SN423
ACL/PCL Reconstructions
Acufex Tibial Fixation Anchor
One size only
$185.00
SN425
ACL/PCL Reconstructions
Cannuflex Silk & Soft Silk Interference Screw
5.5 x 20mm - 9x30mm
$185.00
SN432
ACL/PCL Reconstructions
Tibial Post Screw
Small, Standard
$158.00
SN449
Washer
For Cannulated screw systems, Stainless 
One size only
$32.00
SN467
Compressing Screw
For Intermedullary and compression Hip 
19mm & 28.5mm
$32.00

Screw Systems
SN480
Compression Hip Screw System
Intermedullary Hip Screw (IMHS), Centering 
One size only
$115.00

Sleeve, Stainless Steel
SN488
Intermediate Osteotomy System
Compressing
One size only
$114.00
SN489
Intermediate Osteotomy System
Lag
35 mm - 85mm, 1 1/2" - 3-3/4"
$472.00
SN492
Paediatric Osteotomy System
Lag Screw
22mm- 40mm
$421.00
Prostheses List by Category, Groups and Sponsor
Page 544 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN504
Russel Taylor
Femoral Locking screw
F/fem nl 30-90mm. F/r-t nl 25-90mm.
$80.00
SN508
Russel Taylor
Intermedullary Hip Screw (IMHS) Set screw
One size only
$60.00
SN511
Russel Taylor
Locking Screw
4.5mm Diameter 20-65mm
$95.00
SN514
Russel Taylor
Proximal Set Screw (Recon)
Short & Long
$148.00
SN517
Russel Taylor
Washer
One size only
$20.00
SN540
TC 100 1.5mm Screw
Hex, Cruciate or Self-tapping
6-24mm
$13.00
SN593
TC 100 Screw
6.5mm Cancellous Screw
25 - 150mm length
$35.00
SN595
TC 100 Screw
6.5mm Cancellous Screw Fully Threaded
6.5mm Diameter, 115mm-150mm
$129.00
SN602
TC 100 Screw
6.5mm Cancellous Screw Partially Threaded
6.5mm Diameter, 32mm thread, 
$60.00

130mm+ Length
SN606
TC 100 4mm Cancellous Screw
Fully or Partially Threaded
10 - 20mm
$14.00
SN607
TC 100
4mm Cancellous Screw
22 - 50mm
$16.00
SN609
TC 100 4mm Cancellous Screw
Fully or Partially Threaded
 55mm +
$21.00
SN612
TC 100 3.5mm Cortex Screw
Hex, Cruciate or Self-tapping
85mm +
$70.00
SN621
TC 100 3.5mm Cortex Screw
Hex, Cruciate or Self-tapping
10 - 40mm
$22.00
SN625
TC 100 Screw
Malleolar Bone Screw, Sterile
25x12mm - 70x32mm
$30.00
SN629
Bone Screw
Full & Partial Thread , Self tapping, Stainless
3.5mm Diameter, 1/2-4" length
$38.00

 Steel
SN635
Cannulated Screw
Partial Thread, Stainless Steel
6.5mm Diameter, 16&20mm Thread,
$201.00

 20-135mm
SN636
Cannulated Screw
Partial Thread, Stainless Steel
6.5mm Diameter, 32mm thread, 45-
$228.00

130mm
SN637
Cannulated Screw
Partial and Fully Threaded, Stainless Steel
5.5mm Diameter, 20-120mm
$143.00
SN638
Cannulated Screw
Partial and Fully Threaded, Stainless Steel
7.0mm Diameter, 30-150mm
$150.00
SN639
Cannulated Screw
6.5mm  & 7.0mm screw Titanium
30 - 150mm Length
$163.00
SN641
Cannulated Screw
5.5mm screw Titanium
5.5mm Diameter 8x20mm- 
$150.00

32x120mm
SN642
Cannulated Screw
4.0mm Screw Titanium
4.0mm Diameter 20-70mm length
$140.00
SN643
Cannulated Screw
8mm Cannulated screws
8mm Diameter 65-125mm
$207.00
SN644
Cannulated Screw
6.4mm Cannulated screws
6.4mm diameter 65-125mm length
$221.00
Prostheses List by Category, Groups and Sponsor
Page 545 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN675
HTO Screws
Titanium
4.5mm Diameter, 20 - 80mm Length
$223.00
SN700
RCI Screw with Perforations
Tinanium interference screw
Dia 7 - 10mm, length 25 - 35mm
$200.00
SN765
Peri-Loc
2.7mm & 4.0mm Non Locking Screw
10 - 80mm
$50.00
SN766
Peri-Loc
Fixation Device, Internal, Non-Locking, 
3.5mm
$50.00

Stainless Steel, Cortical & Cancellous Screw 

 Size: 3.5mm
SN768
Peri-Loc
Fixation Device, Internal, Locking, Stainless 
4.5mm
$150.00

Steel, Cortical & Cancellous Screw
SN769
Peri-Loc
Fixation device, internal, locking and non-
5.7mm
$150.00

locking, stainless steel, cortical and 

cancellous screw
SN770
Peri-Loc
Fixation device, internal, locking and non-
6.5mm
$80.00

locking, stainless steel, cortical and 

cancellous screw
SN790
Peri-Loc
Fixation Device, Internal, Locking, Stainless 
3.5mm, 10mm - 85mm length
$130.00

Steel, Cortical & Cancellous Screw
SN791
Peri-Loc
Fixation Device, Internal, Locking, Stainless 
3.5mm, 90mm - 110mm length
$70.00

Steel, Cortical & Cancellous Screw
SN792
Peri-Loc
Fixation Device, Internal, Locking and Non-
4.0mm, 80mm - 100mm length
$70.00

Locking, Stainless Steel, Cortical & 

Cancellous Screw
SN793
Peri-Loc
Fixation Device, Internal, Non-Locking, 
4.5mm, 10mm -110mm length
$70.00

Stainless Steel, Cortical & Cancellous Screw
SN794
Peri-Loc
Fixation Device, Internal, Non-Locking, 
4.5mm, 115mm -130mm length
$80.00

Stainless Steel, Cortical & Cancellous Screw

Stryker Australia Pty Ltd
HW295
Asnis Guided Screw System
Screw, Stainless Steel
35-130mm
$140.00
HW296
Asnis Guided Screw System
Screw -  Titanium
4, 5, 6.5,8mm
$155.00
HW297
Asnis Guided Screw System
Guide Pin, Stainless Steel
1.4,2.0,3.2mm
$60.00
HW298
Asnis Guided Screw System
Washer, Stainless Steel
One size only
$39.00
HW299
Asnis Guided Screw System
Washer -  Titanium
4, 5, 6.5,8mm
$46.00
HW330
Omega Plus Compression Hip Screw System
Hip Sideplate - Standard Barrel -  Stainless 
2,3,4,5 hole 130-150 degrees
$350.00

Steel
HW331
Omega Plus Compression Hip Screw System
Hip Sideplate - Short Barrel -  Stainless Steel
6,8,10,12 hole 130-150 degrees
$675.00
Prostheses List by Category, Groups and Sponsor
Page 546 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
HW332
Omega Plus Compression Hip Screw System
Supracondylar Sideplate -  Stainless Steel
6,8,10,12,14 holes
$570.00
HW333
Omega Plus Compression Hip Screw System
Lag Screw - Standard -  Stainless Steel
50-130mm length 
$195.00
HW334
Omega Plus Compression Hip Screw System
Lag Screw - Super -  Stainless Steel
50-130mm length 
$260.00
HW335
Omega Plus Compression Hip Screw System
Compression Screw -  Stainless Steel
25mm length
$50.00
HW336
Omega Plus Compression Hip Screw System
Cortical -  Stainless Steel
4.5mm dia
$19.00
HW337
Omega Plus Compression Hip Screw System
Cancellous -  Stainless Steel
6.5mm dia
$50.00
SK023
ACL Wedge Interference Screw
Threaded titanium screw for 
Dia 7 - 12mm, length 20 - 40mm
$255.00

ligament/tendon fixation
SK024
Stryker Cross-screw
Threaded titanium screw for 
8mm x 40-60mm
$455.00

ligament/tendon fixation
SK026
Leibinger screws
Profyle titanium hand and small fragment 
Dia 1.2mm, length 14 - 20mm
$85.00

system screws
SK027
Leibinger screws
Profyle titanium hand and small fragment 
Dia 1.9mm, length 8 - 12mm
$70.00

system screws
SK028
Leibinger screws
Profyle titanium hand and small fragment 
Dia 2.3mm, length 26 - 38mm
$62.00

system screws
SK029
Leibinger screws
Profyle titanium hand and small fragment 
Dia 2.5mm, length 8 - 12mm
$65.00

system screws
SK030
Leibinger screws
Profyle titanium hand and small fragment 
Dia 3.0mm, length 8 - 34mm
$99.00

system screws
SK046
Stryker Wedge Interference Screw
Threaded bioabsorbable screw for 
Dia 7 - 12mm, length 20 - 40mm
$306.00

ligment/tendon fixation
SK047
Stryker Wedge Interference Screw
Threaded biosteon screw for ligment/tendon
Dia 7 - 12mm, length 20 - 40mm
$342.00
$565.50

 fixation
SK053
Stryker Plating System Screws - Cancellous
6.5mm Diameter, full and partial thread
Length 55-95mm
$305.00
SK054
Stryker Plating System Screws - Cancellous
6.5mm Diameter, full and partial thread
Length 100-150mm
$305.00
SK154
Stryker Cross-Screw
HA/PLLA screw for ligament/tendon fixation
Dia 6mm: Length 40-60mm
$350.00
$572.00
SK155
Wedge Interference screw
Threaded PLLA screw with cross pin for 
Dia 7-12mm, Length 20-40mm; pin 
$163.00

ligament/tendon fixation
length standard
SK256
TwinFix Cannulated Compression Screw 
Diameter 3.2mm, lengths 14-34mm
$440.00

System
ST004
Stryker Plating System Screws - Cortical 
Titanium or Stainless Steel
10-20mm
$25.00

4.5mm
ST005
Stryker Plating System Screws - Cancellous
6.5mm Stainless Steel or Titanium
20-50mm
$35.00
Prostheses List by Category, Groups and Sponsor
Page 547 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST006
Stryker Plating System Screws - Cancellous
Stainless Steel or Titanium, Full or Partial 
10-60mm Screw Length
$70.00

 4.0mm
Thread
ST830
Stryker Wedge Interference Screw
Small threaded titanium screw for 
Diameter 7 - 9mm, Length 20 - 
$177.60

ligament/tendon fixation
25mm
ST866
Leibinger 2.7mm Profyle Modular Screw
Titanium screws for fixation of hand fractures
2.7 x 8, 10, 12mm
$140.00
ST867
Leibinger 2.7mm Profyle Modular Screw
Titanium screws for fixation of hand fractures
2.7 x 14, 16, 18mm
$74.00
ST868
Leibinger 2.7mm Profyle Modular Screw
Titanium screws for fixation of hand fractures
2.7 x 20, 22, 24mm
$45.00
ST869
Leibinger 2.7mm Profyle Modular Screw
Titanium screws for fixation of hand fractures
2.7 x 26, 28, 30mm
$69.00
ST870
Leibinger 2.7mm Profyle Modular Screw
Titanium screws for fixation of hand fractures
2.7 x 32, 34, 36, 38mm
$70.00

Surgical House
SU006
Bold Compression Screw
Cannulated titanium
3mm diam 10-34mm length
$286.00
SU007
ICOS Screw: Ideal Compression Screw
Cannulated titanium
4mm diam 26-60mm length, 6.5mm 
$412.00

diam 40-90mm length
SU008
Spin Screw: Snap Off Screw
Titanium
Diameter 2mm, Length 11-14mm; 
$286.00

Diameter  2.7mm,  Various 

Lengths; Diameter 3.0mm, Various 

Lengths

Synthes Australia Pty Ltd
SY049
AO/ASIF Screws
Mini cannulated screw
3.0mm dia / 8 - 40mm length
$178.74
SY050
AO/ASIF Screws
Plate pin
1.8mm buttress pin 12 - 30mm
$45.00
SY054
AO/ASIF Plates
DHS/DCS lag screw
50-145mm L
$247.20
SY056
Cortex Screws
2.7mm - 5.0mm diameter, 5mm - 
$92.70

150mm length
SY065
Cortex Screw
Cortex Screws
1.0mm - 2.6mm diameter, 5mm - 
$67.00

100mm Length
SY068
AO/ASIF Screws
Cancellous,- ligament, bunionectomy, full & 
4.0mm dia / 10 - 105mm
$91.03

short thread
SY069
AO/ASIF Screws
Malleolar Screws
25mm - 110mm
$108.30
SY071
AO/ASIF Screws Steel
cannulated screws
2.4mm - 4.0mm
$175.10
SY072
AO/ASIF Screws Steel
Cannulated screws
1/3 thread & long thread / 10 - 
$165.49

50mm /4.0mm cannulated
SY073
AO/ASIF Screws Steel
4.5mm cannulated screws
Short thread, 1/3 thread, full thread
$185.40

 / 20 - 72mm, 4.5mm cannulated
Prostheses List by Category, Groups and Sponsor
Page 548 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY074
AO/ASIF Screws Steel
Cannulated screws
4.5mm - 7.3mm
$312.99
SY076
AO/ASIF Screws Steel
Cannulated implant 
Custom made
$288.40
SY082
AO/ASIF Screws
6.5mm cancellous screws
10-150mm L
$144.99
SY085
AO/ASIF Screws
Cannulated screws
Diameter 5.0 - 7.3mm, 20-150mm L
$213.21
SY109
AO/ASIF Plates
DHS/DCS compression screw
36mm length
$46.35
SY110
AO/ASIF Plates
DHS/DCS locking device screw
One size only
$503.54
SY127
AO/ASIF Intermedullary Nails
Shaft screw
5.0mm , length 70 - 125mm
$156.56
SY173
Locking Head Screws
Self drilling, Self Tapping, Sterile/Non-Sterile
Diameter 3.5 - 5.0mm, Length 8 - 
$178.19

100mm
SY266
AO/ASIF Screws
Malleolar Screws
20.0 - 45.0mm
$94.76
SY278
AO/ASIF Cortex Screws
Locking Head Screws
2.0mm 7.3mm
$180.25
SY320
AO/ASIF Screw
Locking Head Screw 2.0mm
Length: 6-40mm
$144.20
SY321
AO/ASIF Screw
2.4mm Cannulated Screw
Short thread 15-40mm; Long 
$164.80

Thread 5-35mm
SY353
Cortex Screws
Cortex Screws pack of four
2.7mm - 5.0mm diameter, 5.0mm - 
$370.80

100mm Length

TiMax Surgical Pty Ltd
TI048
CPS Screws
Polylactic acid trimethylene carbonate 
1.5-3.1mm screw ring 5 pcs
$40.00

copolymer
TI050
CPS Screws
Polylactic acid trimethylene carbonate 
Hexalon ACL screw 7-10 x 20-
$90.00

copolymer
30mm

Zimmer Pty Ltd
ZI176
Zimmer Internal Fixation Systems: 
Magna-FX - Stainless Steel
16 mm Thread - 30-30 mm; 32 mm 
$205.00

Cannulated Screw
Thread - 40-120 mm; Fully 

Threaded - 30-130 mm Long
ZI177
Zimmer Internal Fixation Systems: 
Mini Magna-FX - Stainless Steel
4 & 5mm diameters
$216.00

Cannulated Screw
ZI178
Zimmer Internal Fixation Systems: Herbert 
Scaphiod - Titanium
Scaphoid - 12 - 30mm length
$360.00

Bone Screw
ZI179
Zimmer Internal Fixation Systems: Herbert 
Herbert/Whipple - Titanium
12 mm - 30 mm
$420.00

Bone Screw
ZI180
Zimmer Internal Fixation Systems: Herbert 
Cannulated 4.5mm - Titanium
30 - 70mm
$450.00

Bone Screw
Prostheses List by Category, Groups and Sponsor
Page 549 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ZI181
Zimmer Internal Fixation Systems: Herbert 
Cannulated 6.5mm - Titanium
25 mm - 100mm
$490.00

Bone Screw
ZI199
Zimmer ECT Screws
1.5mm Cortical Screws
6 - 18mm
$54.00
ZI200
Zimmer ECT Screws
2.0mm Cortical Screws
6 - 24mm
$52.00
ZI201
Zimmer ECT Screws
2.7mm Cortical Screws
6 - 50mm
$54.00
ZI202
Zimmer ECT Screws
3.5mm Cortical Screws
10 - 130 mm
$60.00
ZI203
Zimmer ECT Screws
4.0mm Cancellous Screws
10 - 60 mm
$80.00
ZI204
Zimmer ECT Screws
4.5mm Cortical Screws
14 - 120mm
$67.00
ZI205
Zimmer ECT Screws
4.5mm Self tapping Cortical Screws
14 - 70mm
$70.00
ZI206
Zimmer ECT Screws
4.5 Malleo Screw
25 - 70mm
$65.00
ZI207
Zimmer ECT Screws
6.5mm Cancellous Screws
25 - 110mm
$125.00
ZI370
Cancellous Screws
Orthopaedic Screws - Ti alloy
20 to 60
$148.00
ZI399
Cancellous Screws
Screws- Cancell - Ti alloy
6.5/15 to 6.5/70mm
$142.00
ZI400
Cortical Screws
Screws- Cortical - Ti alloy
4.5/30 to 60mm
$142.00
ZI448
Cannulated Screw
Ti alloy
One size only
$145.00

Screws, Bone

Synthes Australia Pty Ltd
SY352
Cortex Screws
Cortex Screws pack of four
1.00mm 2.6mm diameter, 5mm - 
$268.00

100mm length
Screws, Cranioplasty Plate

Smith & Nephew Surgical Pty Ltd
SN002
TC 100 3.5mm Cortical Screws
Hex, Cruciate or Self Tapping
45 - 85mm
$38.00
SN007
TC 100 3.5mm Cortical Screws
Sterile, Hex or Cruciate
10 - 40mm
$15.00
SN014
TC 100 4.5mm Cortical Screws
Hex, Cruciate or Self-tapping
14 - 60mm
$19.00
SN018
TC 100 4.5mm Cortical Screws
Hex, Cruciate or Self-tapping
100 - 145mm
$60.00
SN061
TC 100 4.5mm Cortical Screws
Hex, Cruciate or Self-tapping
62 - 95mm
$35.00
SN082
TC 100 2.7mm Cortical Screws
Hex, Cruciate or Self-tapping
6 - 55mm
$16.00
SN112
TC 100 2.0mm Cortical Screws
Self Tapping, Hex or cruciate
6 - 38mm
$19.00
Prostheses List by Category, Groups and Sponsor
Page 550 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Sleeves

Johnson & Johnson Medical Pty Ltd
JJ128
Cuff Link 
High density plastic link
8mm
$579.00

Smith & Nephew Surgical Pty Ltd
SN359
Invis
Distal Centraliser PMMA
7 - 21mm
$171.00
Staples, Bone

Advanced Surgical Technologies
AD326
Calcaneal Step OSStaple
Dynamic Compression Implant, Calcaneal 
2mm, 4mm, 6mm 9mm & 12mm 
$710.00

Step OSStaple, Nitinol Memory Alloy
offsets

ConMed Linvatec Australia Pty Ltd
LV015
Staple Fixation System
Soft Tissue Re-attachment - Titanium
9.5 - 16.5mm
$160.00
LV025
Staplizer Bone Staple Cartridge
5 Titanium staples per cartridge
7 x 7mm, 7 x 10mm, 10 x 7mm, 10 x 
$295.00
$370.00

10mm, 10 x 15mm, 13 x 7mm, 13 x 

10mm, 13 x 15mm, 13 x 20mm, 16 x 

10mm, 16 x 15mm, 16 x 20mm, 16 x 

25mm

Darco Australia
DC019
Mini Staple
Titanium - oblique / rectangular
8 - 12mm
$285.00

Device Technologies Australia Pty Ltd
DE062
Ligament Staples
Cobalt Chromium Molybdenium Alloy
6mm - 16mm
$135.00

ESKA Australia
EK011
Fixation Device Internal Staple
Metal Staple
7 different sizes
$300.00

Johnson & Johnson Medical Pty Ltd
DP878
Barouk System Staples
Varisation Staple  Stainless Steel
26-90Deg x 8-10mm
$193.00
DP879
Barouk System Staples
Memory Staple - Titanium Alloy
13-20mm Long
$710.00
DP880
Barouk System Staples
TIFLEX Staple  / Pin -  Titanium
1.6 - 2.5 Dia 7-24mm width 13/15-
$217.00

36/50mm Length
Prostheses List by Category, Groups and Sponsor
Page 551 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Orthocare Pty Limited
OC009
Orthomed Osteotomy & Ligament Staples
Osteotomy Staple.  Cast Chromium-cobalt 
5mm
$110.00

non-absorbable. Stainless Steel non-

absorbable. Non-sterile 57-73
OC010
Orthomed Osteotomy & Ligament Staples
Osteotomy Staple.  Cast Chromium-cobalt 
10mm
$110.00

non-absorbable. Stainless Steel non-

absorbable. Non-sterile 57-74
OC011
Orthomed Osteotomy & Ligament Staples
Osteotomy Staple.  Cast Chromium-cobalt 
15mm
$110.00

non-absorbable. Stainless Steel non-

absorbable.  Non-sterile 57-75
OC012
Orthomed Osteotomy & Ligament Staples
Ligament Staple.  Cast Chromium-cobalt 
6mm
$80.00

staples, non-absorbable. Non-sterile

Stryker Australia Pty Ltd
HW317
Rutherford Staple
Ellison Arched Staple, Vitallium
9,12,15mm x 23mm
$177.00
HW318
Rutherford Staple
Ellison Flat Staple, Vitallium
8,11,14 x 23mm
$135.00
HW319
Rutherford Staple
Ellison Soft Tissue Retainer,  Vitallium
8,11,14mm 
$125.00

Surgical House
SU012
Solustaple Standard Staple
Stainless steel 90 deg & 26 degree
8 & 10mm length
$235.00
SU013
Uni-Clip Compression Staple
Stainless steel
Width 11mm - 30mm, Length 13mm
$750.00

 - 32mm; Notched - Width 11mm - 

30mm, Length 13mm - 32mm;

Surgical Specialties
SQ020
Hot-Staples
Hot-Staple Nitinol
11 - 25mm
$697.00

Taylor Bryant Pty Ltd
TB338
Trapezio Metacarpal Prosthesis DLC
Cup, Polyethylene
One size only
$416.00
Tempory Approval, pending review

 of product group
Staples, Tissue

Smith & Nephew Surgical Pty Ltd
SN414
Shoulder Reconstruction
Suretac Absorbable Staple
6-8 x 16mm
$273.00
Prostheses List by Category, Groups and Sponsor
Page 552 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Stimulators, Bone Growth

Biomet Australia Pty Ltd
BI245
EBI Bone Healing System
DC Generator, Titanium, Platium, Silver, 
1, 2 or 4 lead models
$5,020.00

Silicone
Surgical procedure kit, ENT

Global Orthopaedic Technology
GO162
Actifuse ABX Easyfill Putty
Actifuse ABX Easyfill Putty - A silicate 
5ml
$1,300.00
$1,540.00

substituted synthetic bone graft
GO163
Actifuse ABX Easyfill Putty
Actifuse ABX Easyfill Putty - A silicate 
10ml
$2,300.00

substituted synthetic bone graft
Suture Buttons

Device Technologies Australia Pty Ltd
DE252
Tightrope Syndesmosis Repair Kit
Titanium or stainless steel, with non 
One size only
$589.00

absorbable Fiberwire suture material

Smith & Nephew Surgical Pty Ltd
SN426
ACL/PCL Reconstructions
EndoButton
4 x 12mm, 4mm x 18mm
$248.00
SN427
ACL/PCL Reconstructions
Fixation Button
12-17mm
$35.00
SN428
ACL/PCL Reconstructions
EndoButton CL
20-50mm
$369.00
Suture Units, Other

Smith & Nephew Surgical Pty Ltd
SN141
T-Bar Suture Retention System
Fastfix
One size only
$335.00
$425.00
SN413
Shoulder Reconstruction
3.7mm TAG & Wedge Suture Wedge
3.7mm
$135.00
SN415
Shoulder Reconstruction
TAG Bioabsorbable Anchor Wedge
3.7mm
$129.00
Prostheses List by Category, Groups and Sponsor
Page 553 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SN417
T-Bar Suture Retention System
T-Fix RCG 
1.8mm
$235.00
SN418
T-Bar Suture Retention System
T-Fix Single & Double
T-Fix Suture Bar, Straight Needle, 
$188.00

Double Suture
SN442
Mini TAG
Suture Anchor 2.0mm
2.0mm
$149.00
Sutures, Polyester

Smith & Nephew Surgical Pty Ltd
SN416
Shoulder Reconstruction 
Fastentor Suture Anchor
One size only
$290.00
SN429
ACL/PCL Reconstructions
EndoButton Tape
One size only
$159.00
Sutures, Stainless Steel Monofilament

Johnson & Johnson Medical Pty Ltd
DP232
Suture Wire
Wire Suture Stainless Steel
0.5 to 5mm
$101.00
Tissue Reconstructive Materials

Henry Schein/Halas Pty Ltd
HD001
Bio-Oss Bone Natural Bone Mineral
Derived from bovine bone
0.25gm
$99.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
HD002
Bio-Oss Bone Natural Bone Mineral
Derived from bovine bone
0.5gm
$170.00
$176.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
HD003
Bio-Oss Bone Natural Bone Mineral
Derived from bovine bone
2.0gm
$528.94
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.

Zimmer Pty Ltd
ZI459
Collagen Meniscus Implant
Porous collagen-glycosaminoglcan matrix
7.5mm, 9mm
$5,000.00
Prostheses List by Category, Groups and Sponsor
Page 554 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Trim-It/Bio Compression/Bio-Post Screw

Device Technologies Australia Pty Ltd
DE272
Bio-Compression Screw System
Fixation Device
20mm, 22mm, 24mm, 26mm
$425.00
$850.00
Washers, Bone Screw

Darco Australia
DC007
Titanium Screw
Ring washer
-
$45.00

Device Technologies Australia Pty Ltd
DE071
Arthrex Spiked Washer
Titanium alloy
14 - 15mm
$162.00
$369.00

Johnson & Johnson Medical Pty Ltd
JJ081
Mitek Soft Tissue Washer
Titanium washer
14mm, 17mm & 20mm
$240.00

Smith & Nephew Surgical Pty Ltd
SN424
ACL/PCL Reconstructions
Acufex Spiked Washer
One size only
$162.00
SN450
Washer
For Cannulated screw systems, Titanium
One size only
$49.00
SN626
TC 100 Washers
Stainless Steel
7-13mm
$14.00
SN627
TC 100 Washers
Titanium Non Sterile
4.5mm -13mm
$23.00
SN628
TC 100 Washers
Titanium Sterile
4.5mm -13mm
$47.00

Synthes Australia Pty Ltd
SY092
AO/ASIF K-Wires, Pins, Washers etc.
Washers/nuts
1.0mm - 16mm dia
$103.00
SY261
LCP Spacer/Washer
LCP Wiremount Spacer
Diameter 2mm - 6mm
$62.83
Wires, Bone

Medical & Optical Instruments Australia Pty Ltd
MO165
Osteo Clage Cable System
CoCr, Stainless Steel Cable Sleeve
2mm
$240.00
MO166
Osteo Clage Cable System
CoCr, Stainless Steel Cable
850mm
$336.00
MO196
Osteo Clage Cable System
Cerclage wire and sleeve
500mm
$435.00
Prostheses List by Category, Groups and Sponsor
Page 555 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Smith & Nephew Surgical Pty Ltd
SN459
Wire
Suture
18Ga - 28Ga
$80.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.

Synthes Australia Pty Ltd
SY087
AO/ASIF K-Wires, Pins, Washers etc - 
K-wire single ended
0.06 - 3.0mm / length 70 - 400mm
$27.81
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
SY089
AO/ASIF K-Wires, Pins, Washers etc - 
K-wires threaded
0.25 & 15mm / dia .08 - 3.0mm & 
$72.10
To be funded where any or all K-

length 70-300mm
wires used in a procedure are used 

as an implant.
SY091
AO/ASIF k-Wires, Pins, Washers etc
Pinless pins/clips
Asymetric small and large
$767.35
SY257
A/O/ASIF K-wires, Pins, Washers etc - 
Cerclage Wire - coils with and without eye
0.4-2.5mm
$56.42
To be funded where any or all K-

Steel - Sterile & Non Sterile
wires used in a procedure are used 

as an implant.
Wires, Bone, Implantable

Advanced Surgical Design & Manufacture Ltd
AE052
ASDM K-wire
Stainless steel - sterile
Dia 0.7 - 2.5mm, length 100 - 230mm
$11.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.

Biomet Australia Pty Ltd
BI857
Kirschner Wires
Stainless Steel wire
(1-3.2mm) diameter x (100 to 
$17.00
To be funded where any or all K-

310mm) length
wires used in a procedure are used 

as an implant.

LMT Surgical Pty Ltd
LM014
Trimed Marked K-Wire
Stainless Steel
Diameter 0.9 - 1.1mm
$40.00
To be funded where any or all K-

wires used in a procedure are used 

as an implant.
Prostheses List by Category, Groups and Sponsor
Page 556 of 724
ORTHOPAEDIC

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtex
MX003
Kirschner Extension Wire
Implantable extension wires for 
100mm length x 0.4mm thru to 
$8.00
To be funded where any or all K-

osteosynthesis and fixative purposes
2.2mm diameter in 1mm increments.
wires used in a procedure are used 

 150mm length x 0.6mm thru to 
as an implant.

2.2mm diameter in 1mm increments.

 230mm length x 0.8mm thru to 3mm

 diameter in 1mm increments. 

305mm length x 0.8mm thru to 3mm 

diameter in 1mm increments.

Orthopaedic Solutions Pty Ltd
OE006
Stayfuse
Titanium inter-digital fusion device
Screw 2.8 - 3.8mm or 3.8 x 6mm, 4.3 
$309.00

x 6mm, 5.0 x 5mm, 5.0 x 6mm;  Hex 

2.5 - 3.0mm

Trewavis Surgical Instruments Pty Ltd
TS001
Trewavis Surgical Kirschner Wires
Composition: Stainless Steel, Model No: 
Dia 0.7-2.8mm, Length 100-230mm
$11.00
To be funded where any or all K-

200-000-A to 200-930-K
wires used in a procedure are used 

as an implant.

Zimmer Pty Ltd
ZI290
Cable Ready Cable Grip System
Titanium - comes with two cables (Co Cr), 
23 x 53mm, 1.8 x 635mm
$1,736.00

Integral Crimps
ZI293
Zimmer Wires
Stainless Steel
Length 23cm, Thickness 2mm, 0-
$11.00
To be funded where any or all K-

4mm, 8mm
wires used in a procedure are used 

as an implant.
ZI294
Zimmer Wires
Stainless Steel
Length 7, 6cm - 23cm, Thickness 
$11.00
To be funded where any or all K-

0mm, 7mm - 2mm, 0mm
wires used in a procedure are used 

as an implant.
ZI297
Cable Ready Cable Grip System
Titanium
5 hole GTR with 4 cables
$4,050.00
ZI298
Cable Ready Cable Grip System
Titanium
2 hole GTR with 4 cables
$2,600.00
ZI299
Cable Ready Cable Grip System
Titanium
4 hole GTR with 4 cables
$3,750.00
ZI323
Zimmer Wires
Stainless Steel Rushpins
Diameter 2.4 - 6.4mm; Length 2.5 - 
$206.00

52.7cm
Prostheses List by Category, Groups and Sponsor
Page 557 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Anastomosis Couplers, Vascular

LMT Surgical Pty Ltd
LM030
Synovis Coupler
High Density polyethylene (ring); Stainless 
Diameter 1-3mm
$610.00
Only to be funded where used in a 

Steel (pins)
service for which a Medicare 

Benefit is payable
Bone Matrix Implants, Artificial

Biomet 3i Australia Pty Ltd
NW003
Biogran
Resorbable Synthetic Bone Graft
3i Biogran 750mg Glass Syringe 2 
$110.00
Only to be funded where used in a 

pack; 3I Biogran 750mg Glass 
service for which a Medicare 

Syringe 7 pack; 3I Biogran 500mg 
Benefit is payable

Mixing Cup 7 pack; 3I 750mg 

Mixing Cup 7 pack; 3I Biogran 

1500mg Mixing Cup 7 pack

Biomet Australia Pty Ltd
BI487
Mimix Calcium Phosphate Bone Void Filler
Calcium Phosphate
5 grams
$1,004.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI488
Mimix Calcium Phosphate Bone Void Filler
Calcium Phosphate
10 grams
$1,900.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI489
Mimix Calcium Phosphate Bone Void Filler
Calcium Phosphate
20 grams
$2,300.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Medtronic Australasia Pty Ltd
MC547
Macropore
Z Plates
10 hole
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC548
Macropore
Cranial Recon
29 - 64mm
$520.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 558 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC549
Macropore
Cranial Recon
65 - 165mm
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC550
Macropore
Rectangle Plates
4 hole
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC551
Macropore
Protective Disc
25mm
$150.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC552
Macropore
Rectangle Plates
8 hole
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC553
Macropore
Oblong Plates
6 - 8 hole
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC554
Macropore
CraniDisk
23 - 28mm
$182.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC555
Macropore
Oblique Plates
6 - 8 hole
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC556
Macropore
Protective Sheets
50 x 50 x 0.5mm - 50 x 50 x 1.0mm
$800.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC557
Macropore
Protective Sheets
25 x 25 x 0.5mm - 25 x 25 x 1.0mm
$380.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC558
Macropore
Orbital Floor Liner
30mm
$610.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC559
Macropore
L Plates
8 hole, Left & Right
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC560
Macropore
Protective Sheets
60 x 80 x 0.5mm - 60 x 80 x 1.0mm
$890.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 559 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC561
Macropore
Protective Sheets
100 x 100 x 0.5mm - 100 x 100 x 1.0mm
$1,430.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC562
Macropore
Y Plates
7 hole
$160.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC563
Macropore
Straight Plates
4 hole
$110.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC564
Macropore
Straight Plates
8 hole
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC565
Macropore
Straight Plates
20 hole
$220.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC566
Macropore
C Plates
8 hole
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC567
Macropore
Clover Leaf Plates
4 hole
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC568
Macropore
Bur Hole Cover
25mm
$155.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC569
Macropore
Screws
2.0mm x 4mm - 3.0mm x 14mm
$48.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC570
Macropore
Tacks
1.5 x 4mm - 2.0 x 6mm
$47.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC580
Macropore
Locks
2 - 20mm
$700.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Stryker Australia Pty Ltd
SK232
BoneSource Classic Bone Cement
Calcium Phosphate Bone Matrix 
2.5gm pack
$650.00
Only to be funded where used in a 

Replacement. Sodium Phosphate Solution 
service for which a Medicare 

and Mixing Bowl included
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 560 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK233
BoneSource Classic Bone Cement
Calcium Phosphate Bone Matrix 
5gm pack
$1,250.00
Only to be funded where used in a 

Replacement. Sodium Phosphate Solution 
service for which a Medicare 

and Mixing Bowl included
Benefit is payable
SK234
BoneSource Classic Bone Cement
Calcium Phosphate Bone Matrix 
10gm pack
$1,920.00
Only to be funded where used in a 

Replacement. Sodium Phosphate Solution 
service for which a Medicare 

and Mixing Bowl included
Benefit is payable
SK235
BoneSource Classic Bone Cement
Calcium Phosphate Bone Matrix 
25gm pack
$3,960.00
Only to be funded where used in a 

Replacement. Sodium Phosphate Solution 
service for which a Medicare 

and Mixing Bowl included
Benefit is payable
Covers, Burr Hole

Johnson & Johnson Medical Pty Ltd
JJ209
Bioplate Burr Hole Cover 
Titanium cranial fixation system - burr hole, 6
1.5mm diam, 12mm length
$165.00
Only to be funded where used in a 

 hole
service for which a Medicare 

Benefit is payable
JJ210
Bioplate Burr Hole Cover 
Titanium cranial fixation system - burr hole, 6
1.5mm diam, 18mm length
$192.00
Only to be funded where used in a 

 hole
service for which a Medicare 

Benefit is payable
Distractor

Medical & Optical Instruments Australia Pty Ltd
MO233
Internal Distraction Device
Titanium
1.5mm
$3,370.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO234
Martin Rigid External Distraction System II 
RED II Titanium Cranial Fixation Screws
45-55mm
$165.00
Temporary approval, pending 

(REDII)
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO235
Internal Distraction Device Kit
Titanium
1.5mm
$7,600.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 561 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO236
Martin Rigid External Distraction System II 
RED II Aluminium Cranium Frame and 
One Size Only
$8,147.00
Temporary approval, pending 

(RED II)
Carbon Fibre Rods
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO239
Intra-Oral Distraction System
Titanium Distraction Device
1.0mm - 2.7mm
$7,800.00
Temporary approval, pending 

review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO240
Martin Rigid External Distraction Device II 
RED II Titanium Maxillary Fixation
1.5mm - 1.8mm
$1,696.00
Temporary approval, pending 

(REDII)
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO241
Martin Rigid External Distraction System II 
RED II Titanium Threaded Fixation Screws
2.0mm - 15-21mm
$180.00
Temporary approval, pending 

(REDII)
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO242
Martin Rigid External Distraction Device II 
RED II Titanium Fixation Plate
1.5mm
$145.00
Temporary approval, pending 

(REDII)
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 

Synthes Australia Pty Ltd
SY400
External Midface Distractor System
Fixation Screws
40-50mm
$165.00
SY401
External Midface Distractor System
Head Frame Assembly, Carbon Fibre Rods
One size only
$8,147.00
SY402
External Midface Distractor System
Horizontal Rod Assembly
One size only
$1,560.00
SY403
External Midface Distractor System
Set Screw
One size only
$155.00
SY404
External Midface Distractor System
Maxillary Footplate Assembly
80mm-110mm
$1,696.00
SY405
External Midface Distractor System
Titanium Wire Fixation Screw
15-27mm
$180.00
SY406
External Midface Distractor System
Titanium Zygomatic, Maxxilary Footplate
3 holes, 40mm
$145.00
SY407
Midface Distractor System
Internal Titanium Distraction; Distractor 
20-40mm
$7,600.00

Body, Anterior/Posterior Foot Plates, 

Machine Screws, Nut
Prostheses List by Category, Groups and Sponsor
Page 562 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Expanders, Skin

Device Technologies Australia Pty Ltd
DE034
Biospan Tissue Expander
Silicone Elastomer. Saline filled.
200 - 850 cm3
$1,244.00
Only to be funded where used in a 

service for which a medicare benefit

 is payable.

Medical Device Alliance Pty Ltd c/o Karma Medical
MP040
Tissue Expander
Round Model, Smooth, 
50-1000ml
$600.00
Only to be funded where used in a 

Remote Port
service for which a Medicare 

Models # 800, 807, 809
Benefit is payable
MP041
Tissue Expander
Double Chamber, Smooth, 
320-850
$820.00
Only to be funded where used in a 

Remote port
service for which a Medicare 

Model # 730
Benefit is payable
MP042
Silimed Tissue Expanders
Anatomical Model # 20760, 20769
200-800ml
$1,000.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP043
Tissue Expander
Double Chamber, Textured
320-850
$1,500.00
Only to be funded where used in a 

Surface, Magnetic Valve Model
service for which a Medicare 

# 20739
Benefit is payable
MP044
Tissue Expander
Double Chamber, Textured
470-780
$1,600.00
Only to be funded where used in a 

Surface, Magnetic Valve, with suture tabs, 
service for which a Medicare 

Model # 20799
Benefit is payable
MP045
Tissue Expander
Crescent model, Smooth,
12-700ml
$600.00
Only to be funded where used in a 

Remote Port
service for which a Medicare 

Models # 820, 827, 829
Benefit is payable
MP046
Tissue Expander
Rectangular model, Smooth,
30-1000ml
$600.00
Only to be funded where used in a 

Remote Port
service for which a Medicare 

Models # 810, 819, 817
Benefit is payable
MP047
Silimed Tissue Expanders
Longditudinally Curved Model # 830, 831
220-520ml
$850.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP048
Silimed Tissue Expanders
Ball Shaped Orbital Model # 741, 747
3-60ml
$480.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 563 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MP049
Silimed Tissue Expanders
Auricular Model # 841, 847
16-55ml
$480.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP050
Silimed Tissue Expanders
Calf Model # 880, 882
145-185ml
$500.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP051
Silimed Tissue Expanders
Finger Syndactylism Model # 851, 857
1-5ml
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Mentor Medical Systems
MN001
Mentor Radovan Tissue Expander
-
Volume 25cc - 1000cc
$670.00
Only to be funded where used in a 

service for which a medicare benefit

 is payable.
MN002
Expanders, skin
-
Volume 350cc - 800cc
$1,000.00
Only to be funded where used in a 

service for which a medicare benefit

 is payable.

Surgiplas Medical
SP010
Nago Tissue Expander
Remote port - silicone shell
10 to 2000cc
$890.00
Only to be funded where used in a 

service for which a Medicare 

benefit is payable.
Facial Implant, PTFE

Atrium Australia - Pacific Rim Pty Limited
AC024
Atrium Advanta PTFE Facial Implant
Composition is PTFE 
Round Strands - Diameter 1.8mm - 
$970.00
Only to be funded where used in a 

(Polytetrafluoroethylene). The implants are 
3.0mm Length 15cm with or 
service for which a Medicare 

available in round and oval 15cm strands 
without preattached trocar; Oval 
Benefit is payable.

and with or without a stainless steel trocar 
Strands - Diameter 2.0mm - 3.5mm 

introducer.
by 3.2mm - 6.5mm Length 15cm 

with or without preattached trocar.
Prostheses List by Category, Groups and Sponsor
Page 564 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Fixation Device

Biomet Australia Pty Ltd
BI924
Lactosorb Resorbable Craniomaxillofacial 
Orbital Floor Plate, 1.5mm System, PGA/PLA
Left or right
$615.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable

Karma Medical
KM001
Endotine Forehead Fixation Device
Bioabsorbable sutureless fixation device.  
3.0mm & 3.5mm
$350.00
Only to be funded when used in a 

Polymer made up of 82/18L - 
service for which a Medicare 

Benefit is payable.

Stryker Australia Pty Ltd
SK420
Orthodontic Skeletal Anchor Plate
Orthodontic Skeletal Anchor Plate, Standard
1.7mm
$220.00
SK421
Orthodontic Skeletal Anchor Plate
Orthodontic Skeletal Anchor Plate Locking
1.7mm
$355.00
Fixation Device, Internal, Other

Biomet Australia Pty Ltd
BI671
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
(1.5 - 1.8mm)  x (3.5 - 17) mm
$27.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI738
W.Lorenz Osteosynthesis System
Orbital Floor Plate; Titanium
1.5mm system, Large
$1,080.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Fixation Device, Internal, Plate

Medical & Optical Instruments Australia Pty Ltd
MO214
Martin Fixation Device Internal - plate
Sterile Titanium Straight Plate
2.0mm system 4 - 6 hole
$152.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO215
Martin Fixation Device Internal - Plate
Sterile Titanium Straight Plate
2.0mm system 8 - hole
$231.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 565 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO216
Martin Fixation Device Internal - Plate
Sterile Titanium Shaped Plate
2.0mm system 4 - 12 hole
$235.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO219
Martin Fixation Device Internal - plate
Sterile Titanium Plate
1.0mm system 4-8 hole
$203.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO220
Martin Fixation Device Internal - Plate
Sterile Titanium straight Plate
1.0mm system 12-16 hole
$294.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO221
Martin Fixation Device Internal - plate
Sterile Titanium shaped Plate
1.0mm system 5 to 10 hole
$295.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO222
Martin Fixation Device Internal - Plate
Sterile Titanium straight Plate
1.0mm system 24 to 32 hole
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO223
Martin Fixation Device Internal - Plate
Sterile Titanium shaped Plate
1.0mm system 10 to 16 hole
$355.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO224
Martin Fixation Device Internal - Plate
Sterile titanium Lindorf chin plate
1.5mm to 2.0mm diameter system
$350.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO225
Martin Fixation Device Internal - Plate
Sterile Titanium Lindorf Plate
1.5mm system left and right plate
$350.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO226
Martin Fixation Device Internal - Plate
Sterile Titanium shaped Plate
1.5mm system
$304.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO227
Martin Fixation Device Internal - Plate
Sterile Titanium plate
1.5mm system 4 to 8 hole
$205.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO228
Martin Fixation Device Internal - Plate
Sterile Titanium Plate
1.5mm system 2 hole
$131.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO237
Martin Fixation Device Internal - Plate
Sterile Titanium Straight Plate
1.5 - 2.0mm System 16 - Hole
$294.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 566 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO238
Martin Fixation Device Internal - Plate
Sterile Titanium Straight Plate
1.5mm System 8 - Hole
$205.00
Temporary approval, pending 

review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 
MO250
Martin Microplate Osteosynthesis system
1.5mm Titanium Plate
2-6 Hole
$226.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Synthes Australia Pty Ltd
SY311
Fixator System
Anterior Foot Plates Left and Right, 
2.0mm, 6-14mm; Short, Medium, 
$2,575.00
Only to be funded where used in a 

Posterior Foot Plates, Distractor body, 
Tall - 7-12mm offset; 10-25mm 
service for which a Medicare 

advancement; 3.5mm dia
Benefit is payable
SY312
AO/ASIF Facio-maxillary Plates
Titanium Locking Mandible Plates, straight 
2.0mm, small (1.0mm thickness to 
$740.00
Only to be funded where used in a 

and angled and crescent
Medium (1.3mm thickness) 2-20 
service for which a Medicare 

holes length
Benefit is payable
SY315
AO/ASIF Facio-maxillary Plates
Titanium Locking Mandible Plates, straight 
2.0mm Large (1.5mm thickness) 
$1,030.00
Only to be funded where used in a 

and angled and crescent
Straight and angled , 6-24 holes
service for which a Medicare 

Benefit is payable
SY316
AO/ASIF Facio-maxillary Plates
Titanium Locking Mandible Plates, straight 
2.0mm, Large (1.5mm thickness) 
$360.50
Only to be funded where used in a 

and angled and crescent
crescent shaped
service for which a Medicare 

Benefit is payable
Fixation Device, Internal, Screw

Biomet Australia Pty Ltd
BI742
TMJ System
Screw, Cross Drive Mandibular Component, 
(2.7 - 3.2mm) x (8 - 12mm)
$54.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable

Cochlear Limited
CO035
Face to Face
Cover Screw with Internal Hexagon
One Size Only
$142.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
CO036
Standard Abutments
Abutment Complete - Titanium
3.0mm - 90780, 4.0mm - 90778, 
$412.00
Only to be funded where used in a 

5.5mm - 90776, 7.0mm - 90774
service for which a Medicare 

Benefit is payable
CO037
Face to Face
Console Abutment Unigrip - Titanium
30, 60, 90, 110 Degrees
$895.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 567 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CO038
Face to Face
Healing Abutment Unigrip - Titanium
7mm
$285.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
CO039
Flangeless Fixtures
Titanium Fixtures part numbers
3.0mm, 4.0mm
$635.00

90611, 90613
CO042
Vistafix™ Fixture ST
Titanium self-tapping fixtures for the 
3mm and 4mm
$635.00

retention of midface and orbital prostheses.

Medical & Optical Instruments Australia Pty Ltd
MO212
Martin Fixation Device Internal - Screw
Sterile Titanium Screw
2.00mm diameter; 4 to 11mm length
$294.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO213
Martin Fixation Device Internal Screw
Sterile Titanium Screw
2.0mm diameter; 12 - 20mm length
$357.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO217
Martin Fixation Device Internal - Screw
Sterile Titanium Screw
2.3mm diameter 5 to 11mm length
$325.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO218
Martin Fixation Device Internal - Screw
Sterile Titanium Screw
1.0mm to 1.2mm diameter 2 to 7mm 
$466.00
Only to be funded where used in a 

length
service for which a Medicare 

Benefit is payable
MO229
Martin Fixation Device Internal - Screw
Sterile Titanium Screw
1.5mm to 1.8mm diameter; 3.5mm to
$470.00
Only to be funded where used in a 

 9mm length
service for which a Medicare 

Benefit is payable
MO230
Martin Fixation Device Internal - Screw
Sterile Titanium Screw
1.5mm to 1.8mm diameter; 10 to 
$545.00
Only to be funded where used in a 

15mm length
service for which a Medicare 

Benefit is payable
MO232
Martin Fixation Device Internal - Plate
Sterile Titanium Y & Double Y Plate
2.0mm System
$226.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Stryker Australia Pty Ltd
SK422
Orthodontic Skeletal Anchor Screw
Anchor Screw for Mandibular Maxillary 
1.7mm
$110.00

Fixation Screw, Self-Drilling
SK423
Orthodontic Skeletal Anchor Screw
Anchor Screw for Mandibular Maxillary 
2.0mm
$110.00

Fixation Screw, Self-Drilling
SK457
Maxillo-Mandibular Fixation Screw
MMF Screw, Self Drilling, Stainless Steel
Dia 1.7mm/2.0mm, Length 2mm to 
$140.00

20mm
Prostheses List by Category, Groups and Sponsor
Page 568 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST110
Stryker Leibinger Plating System
Micro Self Tapping Screws
1.0 - 1.4mm Diameter, 2 - 12mm 
$70.00
Only to be funded where used in a 

Lengths
service for which a Medicare 

Benefit is payable

TiMax Surgical Pty Ltd
TI086
Ultimax Bone Screws
Titanium-Sterile
1.0-2.3 x 2-22mm, each
$40.00
TI087
Ultimax Bone Screws
Titanium-Sterile
1.0-2.3 x 2-22mm, 4 pack
$34.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI088
Ultimax Bone Screws
Titanium-Sterile
1.0-2.3 x 2-22mm, 5 pack
$34.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Fixation system implantation kit, external

Synthes Australia Pty Ltd
SY408
Mandible External Fixator
Three Quarter Mandible
One size
$1,200.00
SY409
Mandible External Fixator
Full Mandible
One size only
$1,422.00
SY410
Mandible External Fixator
Full Mandible Ramus
One size
$1,500.00
SY411
Mandible External Fixator
Hemi Mandible
One size
$1,039.00
Grafts, Bone, Synthetic

LMA PacMed Pty Ltd
PM001
Perioglas: 
Bioglass granules
0.5cc
$85.00
$107.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Jaw Fracture Fixation Devices

Synthes Australia Pty Ltd
SY154
AO/ASIF Facio-maxillary Plates
Micro - Shaped, L, Y, T, X & H Plates, 
1.0mm, 4 - 34 hole
$187.46
Only to be funded where used in a 

Double, Burr Hole Cover, Orbital Floor
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 569 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SY158
AO/ASIF Facio-maxillary Plates
Mandible Plate, Locking
2.4mm 2-50 hole
$1,545.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
SY159
AO/ASIF Facio-maxillary Plates
1.3mm Plates
2-24 hole
$662.29
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
SY160
AO/ASIF Facio-maxillary Plates
Mesh Plate
1.0 - 1.5mm
$1,047.51
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
SY324
AO/ASIF Facio-maxillary Plates
Mandible Plate, Non-locking
2.4mm 2-50 hole
$721.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Mesh

Aus Systems Pty Ltd
AU057
Titanium Surgical Mesh
Titanium Surgical Mesh
Mesh to suit 2mm screw
$460.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AU058
Titanium Surgical Mesh
Titanium Surgical Mesh
Mesh to suit 1.5mm screw
$390.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Medical & Optical Instruments Australia Pty Ltd
MO251
RESORB X OSTEOSYNTHESIS SYSTEM 
Orbital Floor Mesh
0.6mm Profile
$1,580.00
Only to be funded where used in a 

MESH PLATE
service for which a Medicare 

Benefit is payable
Mesh, Polyglycolic Acid

Stryker Australia Pty Ltd
ST526
Stryker Leibinger Resorbable Fixation 
Resorbable Mesh Tripolymer
55x55mm
$1,020.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 570 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Mesh, Polymeric

TiMax Surgical Pty Ltd
TI064
Inion GTR Biodegradable System
PLGA/TMC Copolymer: membrane & tacks
a) 30 x 40mm membrane kit; b) 6 
$345.00
Only to be funded where used in a 

tack kit and applicator
service for which a Medicare 

Benefit is payable
TI065
Inion GTR Biodegradable System
PLGA/TMC Copolymer: membrane & tacks
6 tack kit
$315.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Orthopedic External Fixation Systems, Other

Biomet Australia Pty Ltd
BI812
Blue Device Multivector Distraction 
Blue device frame, aluminium & carbon fiber
One size only
$8,147.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
BI813
Blue Device Multivector Distraction 
Blue device, pre-stretched wire, titanium
12 inches, 18-24 gauge
$3.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
BI814
Blue Device Multivector Distraction 
Attachment plates, titanium
4-6 Hole
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
BI815
Blue Device Multivector Distraction 
Distraction assembly, aluminium and carbon 
One size only
$2,070.00
Only to be funded where used in a 

fiber
service for which a Medicare 

Benefit is payable.
BI816
Blue Device Multivector Distraction 
Cranial screw, titanium
45mm
$150.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
BI817
Blue Device Multivector Distraction 
Threaded fixation screw, titanium
2.0mm system, 15-25mm
$150.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
BI934
Lactosorb Distraction System
Plate, drive screw and distractor, 
Small, Medium, Large
$3,500.00

PGA/PLLA, Ti
Prostheses List by Category, Groups and Sponsor
Page 571 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medical & Optical Instruments Australia Pty Ltd
MO246
Martin Rigid External Distraction System II 
REDII Aluminium and Carbon Fibre Cross-
One size only
$1,560.00
Temporary approval, pending 

(REDII)
Bar Assembly
review of product group. Only to 

be funded where used in a service 

for which a Medicare Benefit is 

Stryker Australia Pty Ltd
SK455
Leibinger Endosseous Alveolar Ridge 
Dual plate with threaded transport rod, 
Single Tooth
$1,312.00

Distraction System
titianium

Synthes Australia Pty Ltd
SY349
Multi Vector Distractor Set
Titanium Multi Vector Distractor
MVD Arms:15mm-85mm. Pin 
$4,250.00

holding clamps-

ramus,body,universal,limited bone 

stock ramus and body. Assembly 

left & right 35mm. K wires 2.0mm 

150mm length. Connecting bar 

4.0mm 100mm-200mm length
Orthopedic Internal Fixation Systems

Surgiplas Medical
SP039
Bioresorbable Fixation System
Screws
1.6 x (4-8)mm, 4pack; 2.0 x (4-8)mm, 
$420.00
Only to be funded where used in a 

4 pack
service for which a Medicare 

Benefit is payable
SP041
Product Name
Plates
Comminution Plate, 20 x 30mm 
$644.00
Only to be funded where used in a 

Bioresorbable Fixation System
Mesh, Neuro Fixation Set
service for which a Medicare 

Benefit is payable
SP042
Bioresorbable Fixation System
Plates
"L" Plate Left & Right, "T" Plate, 
$340.00
Only to be funded where used in a 

Double "Y" Plate Short & Long, 
service for which a Medicare 

Orbital Plate, 4 & 8 Hole straight 
Benefit is payable

Plate, Square Plate
SP043
OsteoMed Plating & Fixation System
Plates
50 x 50mm Bioresorbable Mesh; 
$1,250.00
Only to be funded where used in a 

111 x 191mm, 125 x 180mm, & 
service for which a Medicare 

Medium Mesh Plate; 40 x 40mm, 90
Benefit is payable

 x 90mm Osteoform Mesh;
Prostheses List by Category, Groups and Sponsor
Page 572 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SP044
OsteoMed Plating & Fixation System
Plates
100 x 100mm Bioresorbable Mesh; 
$2,975.00
Only to be funded where used in a 

150 x 300mm, & Large Mesh Plate; 
service for which a Medicare 

90 x 90mm, 95 x 165mm, & Large 
Benefit is payable

Pre-formed Osteoform Mesh;

Synthes Australia Pty Ltd
SY344
Titanium Sternal Fixation System
Locking Plate - straight, H or star
Straight: 12 - 30 holes. H: small & 
$1,480.00

large star: 6- 12 holes
SY345
Titanium Sternal Fixation System
Titanium Emergency Release Pin
One Size only
$110.00
SY347
Titanium Sternal Fixation System
Locking Plate - straight
20 or 30 holes
$1,800.00
Orthopedic Internal Fixation Systems, Fracture

Biomet Australia Pty Ltd
BI492
W Lorenz Osteosynthesis System
Small Fragment Titanium System, Titanium
Plate
$248.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI499
Small Fragment Titanium System
Washer, Lag Screw 1.2,1.7, 2.3mm System
0.6mm or 1mm height
$14.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI512
W Lonrenz Osteosynthesis System
Small Fragment Titanium System, Titanium
Screw
$41.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI723
Mandibular Fracture System
Screw, High Torque 2.0/2.4 Mandibular 
2.7 x (6-20)mm
$53.00
Only to be funded where used in a 

Fracture, Titanium
service for which a Medicare 

Benefit is payable
BI726
Mandibular Fracture System
Screw, High Torque (HT), Emergency, 
Dia 2.3mm x 4.0, 5.0, 7.0, 9.0, 11.0, 
$45.00
Only to be funded where used in a 

2.0/2.4 Mandibular Fracture System, 
13.0, 15.0mm  Lengths
service for which a Medicare 

Benefit is payable
BI731
Mandibular Fracture System
Washer, for High Torque (HT) Lag Screw, 
2.0 (dia), 2.4 (dia)
$109.00
Only to be funded where used in a 

2.0/2.4 Mandibular Fracture System, titanium
service for which a Medicare 

Benefit is payable
BI744
Mandibular Fracture System
Screw, High Torque 2.0/2.4 Mandibular 
2.0 x (9-17)mm
$45.00
Only to be funded where used in a 

Fracture, Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 573 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI747
Mandibular Fracture System
Screw, High Torque (HT), Lag,  2.0/2.4 
Dia 2.0 x 19, 21.0, 23, 25, 27, 29mm  
$53.00
Only to be funded where used in a 

Mandibular Fracture System, Titanium
Lengths
service for which a Medicare 

Benefit is payable
BI748
Mandibular Fracture System
Screw, High Torque (HT), 2.0/2.4 
Dia 2.4 x 6.0mm, 8.0, 10.0, 12.0, 14.0,
$47.00
Only to be funded where used in a 

Mandibular Fracture System, Titanium
 16.0, 18.0mm Lengths
service for which a Medicare 

Benefit is payable
BI749
Mandibular Fracture System
Screw, High Torque (HT),  2.0/2.4 
Dia 2.4 x 20.0mm Lengths
$62.00
Only to be funded where used in a 

Mandibular Fracture System, Titanium
service for which a Medicare 

Benefit is payable
BI750
Mandibular Fracture System
Plates, Angled or Curved, 2.0 Mandibular 
4-10 hole
$150.00
Only to be funded where used in a 

System, Titanium
service for which a Medicare 

Benefit is payable
BI751
Mandibular Fracture System
Screw, High Torque (HT), Lag, 2.0/2.4 
2.4mm Dia, 24, 28, 32, 36, 40mm 
$58.00
Only to be funded where used in a 

Mandibular Fracture, Titanium
Lengths
service for which a Medicare 

Benefit is payable
BI753
Mandibular Fracture System
Plates, Matrix Shape, 2.0 Mandibular 
2 x (2, 4, 6, 8) hole
$207.00
Only to be funded where used in a 

System, Titanium
service for which a Medicare 

Benefit is payable
BI754
Mandibular Fracture System
Plates, Compression, 2.0 Mandibular 
4 hole
$173.00
Only to be funded where used in a 

Fracture System, Titanium
service for which a Medicare 

Benefit is payable
BI755
Mandibular Fracture System
Plates, Y Shapek, 2.0 Mandibular Fracture 
5 hole long, 5 hole medium, 5 hole 
$142.00
Only to be funded where used in a 

System, Titanium
regular
service for which a Medicare 

Benefit is payable
BI756
Mandibular Fracture System
Plates, Compression, 2.0 Mandibular 
6 hole, 8 hole
$210.00
Only to be funded where used in a 

Fracture System, Titanium
service for which a Medicare 

Benefit is payable
BI759
Mandibular Fracture System
Plates, Matrix Shape, 2.0 Mandibular 
5 hole long, 5 hole medium, 5 hole 
$150.00
Only to be funded where used in a 

Fracture System, Titanium
regular
service for which a Medicare 

Benefit is payable
BI761
Mandibular Fracture System
Plates, V Shape, 2.0 Mandibular Fracture 
6-10 hole
$152.00
Only to be funded where used in a 

System, Titanium
service for which a Medicare 

Benefit is payable
BI762
Mandibular Fracture System
Plates, 2.4 Mandibular Fracture System, 
16 - 24 Hole
$770.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 574 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI764
Mandibular Fracture System
Plates, 2.4 Mandibular Fracture System, 
4, 6, 8 hole
$373.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI767
Mandibular Fracture System
Plates, Straight, 2.0 Mandibular Fracture 
4 hole, 6 hole, 8 hole
$117.00
Only to be funded where used in a 

System, Titanium
service for which a Medicare 

Benefit is payable

Stryker Australia Pty Ltd
ST369
Luhr Fixation System 
Luhr Mandibular Compression System: 
Curved: 30,38, 45mm, Straight: 30, 
$152.00
Only to be funded where used in a 

curved, straight, metacarpal plate Vitallium
40, 50, 60, 80mm, metacarpal: 41, 
service for which a Medicare 

45mm
Benefit is payable
ST378
Luhr Fixation System 
Luhr Mandibular Compression and 
2.7x6-34mm, emergency: 3.0x10-
$113.00
Only to be funded where used in a 

Reconstruction System Screws: self-tapping 
14mm
service for which a Medicare 

and MCS emergency screws Vitallium
Benefit is payable
ST390
Luhr Fixation System 
Luhr Micro and Pan Fixation Systems: Micro
40x60mm
$700.00
Only to be funded where used in a 

 mesh  Vitallium
service for which a Medicare 

Benefit is payable
ST391
Luhr Fixation System 
Luhr Micro and Pan Fixation Systems: Micro
60x100mm
$1,550.00
Only to be funded where used in a 

 mesh  Vitallium
service for which a Medicare 

Benefit is payable
ST392
Luhr Fixation System 
Luhr Micro Fixation System: micro double-T-
6 holes, 6x7mm
$105.00
Only to be funded where used in a 

shape plate Vitallium
service for which a Medicare 

Benefit is payable
ST393
Luhr Fixation System 
Luhr Micro Fixation System: micro double-T-
7 holes, 10x10mm
$105.00
Only to be funded where used in a 

shape plate Vitallium
service for which a Medicare 

Benefit is payable
ST394
Luhr Fixation System 
Luhr Micro Fixation System: micro double-T-
11 holes, 10/18mm
$130.00
Only to be funded where used in a 

shape plate, Y-shape plate, ladder plate 
service for which a Medicare 

Vitallium
Benefit is payable
ST395
Luhr Fixation System 
Luhr Micro Fixation System: micro L-shape 
5 holes, 14x2.5mm, 14x4mm, 7 
$103.00
Only to be funded where used in a 

plate Vitallium
holes, 22x4mm
service for which a Medicare 

Benefit is payable
ST396
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
4 holes, 14mm
$89.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST397
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
6 holes, 22mm
$91.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 575 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST398
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
8 holes, 30mm
$99.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST399
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
10 holes, 40mm
$106.00
Only to be funded where used in a 

plate  Vitallium
service for which a Medicare 

Benefit is payable
ST400
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
15 holes, 60mm
$114.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST401
Luhr Fixation System 
Luhr Micro Fixation System: micro straight 
22 holes, 90mm
$130.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST402
Luhr Fixation System 
Luhr Micro Fixation System: micro T-shape 
6 holes, 14mm, 8 holes, 22mm
$103.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST403
Luhr Fixation System 
Luhr Pan Fixation System: micro T-shape 
6 holes
$170.00
Only to be funded where used in a 

plate, custom Vitallium
service for which a Medicare 

Benefit is payable
ST404
Luhr Fixation System 
Luhr Micro Fixation System: ladder plate 
10 Holes, 6 x 8mm
$121.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST405
Luhr Fixation System 
Luhr Micro Fixation System: double-Y-shape
8 Holes, 22mm
$121.00
Only to be funded where used in a 

 plate Vitallium
service for which a Medicare 

Benefit is payable
ST406
Luhr Fixation System 
Luhr Micro Fixation System: emergency 
1.0x8-12mm Pack of 6
$51.84
Only to be funded where used in a 

screws Vitallium
service for which a Medicare 

Benefit is payable
ST407
Luhr Fixation System 
Luhr Micro Fixation System: cortical screws 
0.8x2-8mm Pack of 6
$44.28
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST408
Luhr Fixation System 
Luhr Micro Fixation System: emergency 
1.0x2-6mm
$52.00
Only to be funded where used in a 

screws Vitallium
service for which a Medicare 

Benefit is payable
ST409
Luhr Fixation System 
Luhr Mini Fixation System: compression, T-
4 holesx22mm, 15 holesx45mm
$82.00
Only to be funded where used in a 

shape, zig-zag plate Vitallium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 576 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST410
Luhr Fixation System 
Luhr Mini Fixation System: compression 
4 holes x 21mm, 5 holes x 27mm, 7 
$150.00
Only to be funded where used in a 

mini curved plate Vitallium
holes x 38mm, 9 holes x 50mm
service for which a Medicare 

Benefit is payable
ST411
Luhr Fixation System 
Luhr Mini Fixation System: compression 
4 holes x 22mm, 4 holes x 37mm
$83.00
Only to be funded where used in a 

mini T-shape plate Vitallium
service for which a Medicare 

Benefit is payable
ST412
Luhr Fixation System 
Luhr Pan Fixation System: condensed, 
4 holes x 12mm, 6 holes x 18mm, 12 
$51.00
Only to be funded where used in a 

straight plate Vitallium
holes x 36mm
service for which a Medicare 

Benefit is payable
ST413
Luhr Fixation System 
Luhr Pan Fixation System: double-T-shape 
4 holes, 12mm
$44.00
Only to be funded where used in a 

plate Vitallium
service for which a Medicare 

Benefit is payable
ST414
Luhr Fixation System 
Luhr Pan Fixation System: ladder plate 
10 holes, 39 x 9mm
$165.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST415
Luhr Fixation System 
Luhr Pan Fixation System: L-shape plate, 90 
4 holes, 16 x 9mm, 22 x 9mm
$58.00
Only to be funded where used in a 

deg Vitallium
service for which a Medicare 

Benefit is payable
ST416
Luhr Fixation System 
Luhr Pan Fixation System: L-shape plate, 110
4 holes, 16 x 9mm, 22 x 9mm
$152.00
Only to be funded where used in a 

 deg Vitallium
service for which a Medicare 

Benefit is payable
ST417
Luhr Fixation System 
Luhr Pan Fixation System: straight plate 
4 holes, 21mm
$46.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST418
Luhr Fixation System 
Luhr Pan Fixation System: straight plate 
6 holes, 33mm
$60.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST419
Luhr Fixation System 
Luhr Pan Fixation System: straight plate 
8 holes, 45mm
$71.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST420
Luhr Fixation System 
Luhr Pan Fixation System: straight plate 
16 holes, 93mm
$100.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST421
Luhr Fixation System 
Luhr Pan Fixation System: X-shape plate  
4 holes, 18mm
$72.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 577 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST422
Luhr Fixation System 
Luhr Pan Fixation System: Y-shape plate 
4 holes, 16, 22mm
$72.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST423
Luhr Fixation System 
Luhr Pan Fixation System: T-shape plate 
4 Holes, 22mm
$155.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST424
Luhr Fixation System 
Luhr Mini Fixation System: mini curved plate
4 holes, 21mm
$110.00
Only to be funded where used in a 

 Vitallium
service for which a Medicare 

Benefit is payable
ST425
Luhr Fixation System 
Luhr Mini Fixation System: mini curved plate
5 holes, 27mm
$120.00
Only to be funded where used in a 

 Vitallium
service for which a Medicare 

Benefit is payable
ST426
Luhr Fixation System 
Luhr Mini Fixation System: mini curved plate
7 holes, 38mm
$150.00
Only to be funded where used in a 

 Vitallium
service for which a Medicare 

Benefit is payable
ST427
Luhr Fixation System 
Luhr Mini Fixation System: mini curved, 
11 holes, 50mm
$180.00
Only to be funded where used in a 

compression plate Vitallium
service for which a Medicare 

Benefit is payable
ST428
Luhr Fixation System 
Luhr Mini Fixation System: mini double-T-
4 holes, 15mm
$152.00
Only to be funded where used in a 

shape plate, non-compression plate Vitallium
service for which a Medicare 

Benefit is payable
ST429
Luhr Fixation System 
Luhr Mini Fixation System: mini double-T-
4 holes x 20mm
$180.00
Only to be funded where used in a 

shape plate, non-compression plate Vitallium
service for which a Medicare 

Benefit is payable
ST430
Luhr Fixation System 
Luhr Mini Fixation System: Z shaped plate 
4 holes x 25mm
$100.00
Only to be funded where used in a 

Vitallium
service for which a Medicare 

Benefit is payable
ST431
Luhr Fixation System 
Luhr Mini Fixation System: mini double-T-
9 holes, 30mm
$180.00
Only to be funded where used in a 

shape plate, non-compression plate Vitallium
service for which a Medicare 

Benefit is payable
ST432
Luhr Fixation System 
Luhr Mini Fixation System: mini 
8 holes, 60mm
$152.00
Only to be funded where used in a 

fragmentation plate, non-compression plate 
service for which a Medicare 

Vitallium
Benefit is payable
ST433
Luhr Fixation System 
Luhr Mini Fixation System: mini 
12 holes, 90mm
$126.00
Only to be funded where used in a 

fragmentation plate, non-compression plate 
service for which a Medicare 

Vitallium
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 578 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST434
Luhr Fixation System 
Luhr Mini Fixation System: non-
4 holes, 2.0x17.5mm, 2.0x22mm
$94.00
Only to be funded where used in a 

compression mini L-shape plate, right/left, 
service for which a Medicare 

90/110 deg Vitallium
Benefit is payable
ST435
Luhr Fixation System 
Luhr Mini Fixation System: compression 
4 holes, 2.0x22mm
$152.00
Only to be funded where used in a 

mini L-shape plate, right/left,  90/110 deg 
service for which a Medicare 

Vitallium
Benefit is payable
ST436
Luhr Fixation System 
Luhr Mini Fixation System: non-
6 holes,  2.0x37mm
$195.00
Only to be funded where used in a 

compression mini L-shape plate, 90/110 deg, 
service for which a Medicare 

right/left Vitallium
Benefit is payable
ST437
Luhr Fixation System 
Luhr Mini Fixation System: compression 
2.0 x 37mm
$54.00
Only to be funded where used in a 

mini L-shape plate, right/left,  90/110 deg 
service for which a Medicare 

Vitallium
Benefit is payable
ST439
Luhr Fixation System 
Luhr Mini Fixation System:  non-
4 holes, 2.0 x 21mm, 2.0 x 29mm, 2.0 
$124.00
Only to be funded where used in a 

compression mini straight plate Vitallium
x 37mm
service for which a Medicare 

Benefit is payable
ST440
Luhr Fixation System 
Luhr Mini Fixation System: non-
4 holes, 2.0 x 22mm
$76.00
Only to be funded where used in a 

compression mini Y-shape plate Vitallium
service for which a Medicare 

Benefit is payable
ST441
Luhr Fixation System 
Luhr Mini Fixation System: non-
6 holes, 2.0 x 28mm
$76.00
Only to be funded where used in a 

compression mini Y-shape plate Vitallium
service for which a Medicare 

Benefit is payable
ST442
Luhr Fixation System 
Luhr Mini Fixation System: non-
4 holes, 2.0 x 17mm, 2.0 x 22mm
$99.00
Only to be funded where used in a 

compression mini Z-shape plate  Vitallium
service for which a Medicare 

Benefit is payable
ST443
Luhr Fixation System 
Luhr Mini Fixation System: emergency 
6mm, 8mm, 10mm, 12mm Pack of 6
$50.00
Only to be funded where used in a 

screws Vitallium
service for which a Medicare 

Benefit is payable
ST444
Luhr Fixation System 
Luhr Mini/ Pan Fixation System: emergency 
3-20mm. Pack of 6
$50.00
Only to be funded where used in a 

and standard screws Vitallium
service for which a Medicare 

Benefit is payable
ST445
Luhr Fixation System 
Luhr Mini Fixation System: small fragment 
3, 4, 6, 8, 10, 12, 14, 16, 18, 20mm 
$50.00
Only to be funded where used in a 

and emergency screws Vitallium
Pack of 6
service for which a Medicare 

Benefit is payable
ST855
Leibinger Titanium Implant System
Mesh: Micro, Dumbach, Dynamic
Diameter 1.0mm - 2.3mm; 90 x 90mm
$2,407.00
Only to be funded where used in a 

 to 200 x 200mm
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 579 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST864
Auto Pilot Cross Pin Self-drilling screws
Used for permanent fixation of cranial bone 
Dia 2.3 x lengths 4 and 6mm
$140.00
Only to be funded where used in a 

flaps
service for which a Medicare 

Benefit is payable
Orthopedic Internal Fixation Systems, Other

Biomet Australia Pty Ltd
BI348
W Lorenz Osteosynthesis System
L-Plate, 2mm System, Left or Right. Titanium
2 x 2 hole, Mini or Low Profile
$100.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI349
W Lorenz Osteosynthesis System
Plate, Compression Straight, 2mm System. 
4 hole
$137.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI351
W Lorenz Osteosynthesis System
L-Plate, 2mm System, Left or Right. Titanium
2 x 2 hole, long
$168.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI353
W Lorenz Osteosynthesis System
Plate, Burr Hole, 1mm, 1.5mm, 2mm system
Small, Large
$203.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI359
W Lorenz Osteosynthesis System
Plate, Straight, mini, 2.0mm System, Titanium
4 - 8 hole
$157.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI360
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive, Std or 
2.0mm x (4 - 7) mm
$27.00
Only to be funded where used in a 

Self Drilling; Titanium
service for which a Medicare 

Benefit is payable
BI365
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
2.0mm x (9 - 19) mm
$27.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI375
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
2.7mm x (8 - 18) mm
$44.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI381
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
2.7mm x (22 - 40) mm
$75.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI383
W Lorenz Osteosynthesis System
Plate, Straight, 2.4mm, 2.7mm System; 
4 hole (35mm) or 6 hole (40mm)
$275.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 580 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI385
W Lorenz Osteosynthesis System
Plate, Angled or Straight, 2.4mm or 2.7mm 
4-8 hole
$365.00
Only to be funded where used in a 

System, Titanium
service for which a Medicare 

Benefit is payable
BI390
W Lorenz Osteosynthesis System
Plate, Angled 45 degrees, 2.4mm or 2.7mm 
4 hole (35 or 40mm)
$345.00
Only to be funded where used in a 

system, Titanium
service for which a Medicare 

Benefit is payable
BI392
Lactosorb Resorbable Craniomaxillofacial 
Lactosorb Plates, 1.5mm System, All sizes, 
4 - 20 hole
$360.00
Only to be funded where used in a 

Fixation System
shapes PGA/PLA
service for which a Medicare 

Benefit is payable
BI428
Lorenz 2.4mm Locking Reconstruction 
Add on Plate, Parallel, Arched, Y, 
3 to 6 hole, 12x2 hole
$245.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
BI435
Lorenz 2.4mm Locking Reconstruction 
Holding Screw Head, 1.5mm Add-on Plates. 
1.5mm
$75.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI436
Lorenz 2.4mm Locking Reconstruction 
Holding Screw modular head, 1.5mm Add-
2.4mm
$65.00
Only to be funded where used in a 

System
On plates. Titanium
service for which a Medicare 

Benefit is payable
BI439
Lorenz 2.4mm Locking Reconstruction 
Plate, Low Profile, Angled, 2.4mm System 
5 x (22 -24) hole
$1,318.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI440
Lorenz 2.4mm Locking Reconstruction 
Plate, Angled, 2.4mm System Titanium
5 x 22 hole
$1,268.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
BI443
Lorenz 2.4mm Locking Reconstruction 
Plate, Low Profile, Angled, 2.4mm System 
5 x 11 hole
$1,009.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI445
Lorenz 2.4mm Locking Reconstruction 
Plate, Angled, 2.4mm System Titanium
5 x 11 hole
$975.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
BI447
Lorenz 2.4mm Locking Reconstruction 
Plate, Curved, Std Thickness, 2.4mm System,
8 or 20 hole
$490.00
Only to be funded where used in a 

System
 Titanium
service for which a Medicare 

Benefit is payable
BI448
Lorenz 2.4mm Locking Reconstruction 
Plate, curved, std or low profile, 2.4mm 
20 - 24 hole
$927.00
Only to be funded where used in a 

System
system, titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 581 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI450
Lorenz 2.4mm Locking Reconstruction 
Plate, low profile. Curved. 2.4mm System. 
8 hole
$620.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI452
Lorenz 2.4mm Locking Reconstruction 
Plate, Straight, Std or low profile, 2.4mm 
12 - 16 hole
$606.00
Only to be funded where used in a 

System
System, Titanium
service for which a Medicare 

Benefit is payable
BI454
Lorenz 2.4mm Locking Reconstruction 
Plate, Straight, Std or low profile, 2.4mm 
8 hole
$454.00
Only to be funded where used in a 

System
System, Titanium
service for which a Medicare 

Benefit is payable
BI455
Lorenz 2.4mm Locking Reconstruction 
Plate, Double Angled, 2.4mm System, 
5 x (22 or 24) x 5 hole
$1,600.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI457
Lorenz 2.4mm Locking Reconstruction 
Screw, Locking Reconstruction Modular. 
2.4 x (6-18)mm
$95.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI464
Lorenz 2.4mm Locking Reconstruction 
Screw, Locking Reconstruction Modular. 
2.7 x (6-18)mm
$95.00
Only to be funded where used in a 

System
Titanium
service for which a Medicare 

Benefit is payable
BI471
Lorenz 2.4mm Locking Reconstruction 
Screw Head, Plate Locking Modular
2.4mm
$95.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
BI472
Lorenz Pectus Bar
Pectus Bar, Stainless Steel
178-432mm
$1,256.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI483
Lorenz Pectus Bar
Stabilizer, Triangular or Elongated, Stainless 
One size only
$505.00
Only to be funded where used in a 

Steel
service for which a Medicare 

Benefit is payable
BI485
Distraction Technology System
Drive Screw with Flex Connect. Titanium
20 - 30mm
$385.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI574
Distraction Technology System
Distractor, Solid Shaft, Facial, Titanium
1- 2 inch
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI591
W Lorenz Osteosynthesis System
Chin Plates, Paulus, 2mm System, Titanium
4 - 12mm
$226.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 582 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI603
W Lorenz Osteosynthesis System
Sheet, 1mm System Titanium
202x127x0.2mm
$820.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI604
W Lorenz Osteosynthesis System
Sheet, 1mm System. Titanium
85x50x0.2mm
$312.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI605
W Lorenz Osteosynthesis System
Plate, Matrix, 1.5mm System, Titanium
2 x 3 or 2 x 4 hole
$127.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI617
W Lorenz Osteosynthesis System
Plate, Straight, 1mm System. Titanium
4 hole
$85.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI620
W Lorenz Osteosynthesis System
Plate, Straight, low profile, 2.0mm System, 
4 - 8 hole
$98.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI621
W Lorenz Osteosynthesis System
Plate, L , 2.5mm or 2m system, Titanium
2 x2 or 3x3 hole
$115.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI622
W Lorenz Osteosynthesis System
Z-Shape Plate, Left or Right, 1.5mm or 2mm 
2 x 2 hole
$133.00
Only to be funded where used in a 

System. Titanium
service for which a Medicare 

Benefit is payable
BI623
W Lorenz Osteosynthesis System
T-Plate, Left or Right, 1.5mm System. Titanium
3x3 hole, 7x7 hole
$193.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI624
W Lorenz Osteosynthesis System
T-Plate 90 degrees, Left or Right, 2mm 
2x5hole, 3x3hole, 2x3hole
$150.00
Only to be funded where used in a 

System. Titanium
service for which a Medicare 

Benefit is payable
BI625
W Lorenz Osteosynthesis System
Plate, Y, Double Y, X, 1.5mm System or 
One size only
$112.00
Only to be funded where used in a 

2.0mm System, Titanium
service for which a Medicare 

Benefit is payable
BI627
W Lorenz Osteosynthesis System
Plate, Straight, 1.5mm System, Titanium
4 or 6 hole
$107.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI628
W Lorenz Osteosynthesis System
Plate, Straight, 1.5mm System or 2mm 
16 hole
$193.00
Only to be funded where used in a 

System. Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 583 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI629
W Lorenz Osteosynthesis System
Plate Straight, 1.0mm, 1.5mm, 2.0mm System, 
24 hole
$280.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI631
W Lorenz Osteosynthesis System
L Plate, Left or Right, 1mm System. Titanium
5x3 hole
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI633
W Lorenz Osteosynthesis System
T Plate 90 degrees, 1mm System, Titanium
5 hole, Regular
$190.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI635
W Lorenz Osteosynthesis System
Plate, DoubleT, Double Y; 1mm, 2mm 
6,7,11 hole
$185.00
Only to be funded where used in a 

system, Titanium
service for which a Medicare 

Benefit is payable
BI636
W Lorenz Osteosynthesis System
Plate, Y-Shape, 1mm System, 2mm System 
Regular, medium, long, xlong, 
$190.00
Only to be funded where used in a 

.Titanium
nasal. 6 hole
service for which a Medicare 

Benefit is payable
BI638
W Lorenz Osteosynthesis System
Plate, Orbital. 1mm System, Titanium
One size only
$195.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI639
W Lorenz Osteosynthesis System
Plate, Square. 1mm System. Titanium
4 hole
$123.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI640
W Lorenz Osteosynthesis System
Plate, Matrix. 1mm System. Titanium
2 x 3 hole
$160.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI641
W Lorenz Osteosynthesis System
Plate, Matrix.  1mm System, 1.5mm System. 
2 x 4 hole
$193.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI644
W Lorenz Osteosynthesis System
Mesh panel, 1mm System. Titanium
83 x 51mm x 0.6mm
$1,127.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI645
W Lorenz Osteosynthesis System
Mesh panel. 1.5mm System Titanium
83 x 51mm x 0.3mm
$987.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI656
W Lorenz Osteosynthesis System
Plate, Orbital; 1.5mm, 2.0mm System; 
6 or 8 hole
$90.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 584 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI658
W Lorenz Osteosynthesis System
Plate, Orbital. 1.5mm System, 2mm System. 
10 hole
$112.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI660
W Lorenz Osteosynthesis System
Plate, H-Shape, 1.5mm System, Titanium
One size only
$160.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI662
W Lorenz Osteosynthesis System
Mesh Panel, 1.5mm System. Titanium
Small (85x53x0.6mm)
$1,165.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI677
W Lorenz Osteosynthesis System
Plate, Neuro Straight, 1.5mm System, Titanium
2 hole (medium or long)
$65.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI681
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
1.0mm x (2 - 7) mm
$54.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI684
W Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
1.2mm x (3 - 5) mm
$55.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI733
W.Lorenz Osteosynthesis System
Bone Screw, Self Drilling, Cross Drive, 
1.5 mm (dia) x 6.0, 7.0mm [lengths]
$50.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI734
W.Lorenz Osteosynthesis System
Bone Screw, Self Drilling, Cross Drive, 
1.5 mm (dia) x 3.5, 4.0, 5.0mm, 
$27.00
Only to be funded where used in a 

Titanium
[lengths]
service for which a Medicare 

Benefit is payable
BI735
W.Lorenz Osteosynthesis System
Bone Screw, Cross or Centre Drive; Titanium
2.3mm x (5 - 9) mm
$32.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BI740
W.Lorenz Osteosynthesis System
Orbital Floor Plate (Small) or NOE plate, 
Small or NOE plate
$909.00
Only to be funded where used in a 

1.5mm System, Titanium
service for which a Medicare 

Benefit is payable
BI774
W Lorenz Osteosynthesis System
Lefort plate, 1.5mm system, 0.6mm thickness,
Flat, 2-11mm
$360.00
Only to be funded where used in a 

 titanium
service for which a Medicare 

Benefit is payable.
BI784
Lorenz 2.4mm Locking Reconstruction 
Condyle screw, titanium
One size only
$75.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 585 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI786
Lorenz 2.4mm Locking Reconstruction 
Screw, bending inserts, titanium
One size only
$33.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable.
BI792
Lorenz 2.4mm Locking Reconstruction 
Condyle left or right, chrome cobalt (CoCr)
One size only
$1,377.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable.

Medical & Optical Instruments Australia Pty Ltd
MO001
Titan Mesh
Mesh Panel, Titanium
Thickness 0.1mm, 0.2mm, 0.3mm, 
$1,731.00
Only to be funded where used in a 

0.6mm
service for which a Medicare 

Benefit is payable
MO002
Martin Mandibular Fracture System
Plate Straight, Titanium
8 to 16 hole
$629.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO003
Martin Mandibular Fracture System
Plate Angled - left and right, Titanium
5 + 8 hole to 5 + 16 hole
$988.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO004
Martin Mandibular Fracture System
Total Mandible, Titanium
5 + 17 + 5 hole
$1,422.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO012
Champy Maxillo-Facial Osteosynthesis 
Sagittal Split Plate Titanium 
4 hole
$118.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
MO023
Martin Microplate Osteosynthesis System
Lindorf Plate
0 to11mm
$423.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO024
Martin Mandibular Fracture System
Condylar Implant - left or right
5cm
$1,039.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO028
Martin Mandibular Fracture System
Screw Titanium
2.7mm diameter,  5 to 12mm length
$77.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO029
Martin Mandibular Fracture System
Screw Titanium
2.7mm diameter, 14 to 16mm length
$74.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO030
Martin Mandibular Fracture System
Screw Titanium
2.7mm diameter, 18 to 20mm length
$85.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 586 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO033
Martin Mandibular Fracture System
Screw Titanium
2.7mm diameter, 22 - 30mm length
$94.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO038
Martin Mandibular Fracture System
Screw Titanium
2.3mm diameter, 5 - 13mm length
$48.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO041
Martin Mandibular Fracture System
Screw Titanium
2.3mm diameter, 14 - 32mm length
$61.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO044
Martin Mandibular Fracture System
Screw Titanium
2.5mm diameter, 9 - 17mm length
$56.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO045
Martin Mandibular Fracture System
Straight Plate Titanium
4 hole
$145.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO046
Martin Mandibular Fracture System
Straight Plate Titanium
6 hole
$150.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO047
Martin Mandibular Fracture System
Straight Plate Titanium
8 hole
$220.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO048
Martin Mandibular Fracture System
Straight Plate Titanium
16 hole
$267.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO049
Martin Mandibular Fracture System
Angled Plate Titanium
6 hole
$163.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO050
Martin Mandibular Fracture System
Angled Plate Titanium
8 hole
$233.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO051
Martin Mandibular Fracture System
Curved Plate Titanium
4 hole
$149.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO052
Martin Miniplate Osteosynthesis System
L Plate Titanium
4 to 6 hole, 1mm profile
$130.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 587 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO053
Martin Miniplate Osteosynthesis System
Multi Fragment
4 to 8 Hole, 0.6 - 1mm Profile
$222.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO054
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
2 hole, 1mm profile
$46.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO055
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
4 Hole, 1.0 - 0.6mm Profile
$85.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO056
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
6 Hole, 1.0 - 0.6mm Profile
$90.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO057
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
8 hole, 1mm profile
$142.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO058
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
16 hole, 1mm profile
$195.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO060
Martin Miniplate Osteosynthesis System
T Plate Titanium
4 to 6 hole, 1mm profile
$161.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO062
Martin Miniplate Osteosynthesis System
X Plate Titanium
6 hole, 1mm profile
$210.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO069
Martin Miniplate Osteosynthesis System
Screw Titanium
2mm diameter, 4 to 10mm length
$35.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO070
Martin Miniplate Osteosynthesis System
Screw Titanium
2mm diameter, 11 - 14mm length
$39.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO071
Martin Miniplate Osteosynthesis System
Screw Titanium
2mm diameter, 15 to 19mm length
$58.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO072
Martin Miniplate Osteosynthesis System
Screw Drill Free Titanium
2mm diameter, 5 to 7mm length
$39.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 588 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO073
Martin Miniplate Osteosynthesis System
Straight Plate Titanium
2 Hole 1.0 - 06mm Profile
$53.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO076
Martin Miniplate Osteosynthesis System
Straight Plate Low Profile Titanium
8 hole, 0.6mm profile
$130.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO077
Martin Miniplate Osteosynthesis System
Straight Plate Low Profile Titanium
16 hole, 0.6mm profile
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO080
Martin Miniplate Osteosynthesis System
L, H, T, Y Plate Titanium
4 - 8 Hole
$140.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO081
Martin Miniplate Osteosynthesis System
Y Plate Low Profile Titanium
4 to 6 hole, 0.6mm profile
$178.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO082
Martin Miniplate Osteosynthesis System
Multi Fragment Plate Low Profile Titanium
10 to 12 hole, 0.6mm profile
$335.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO084
Martin Miniplate Osteosynthesis System
Orbital Plate Titanium
6 - 12 Hole
$165.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO086
Martin Miniplate Osteosynthesis System
Burr Hole Cover
12 to 17mm , 0.6mm profile
$355.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO087
Martin Miniplate Osteosynthesis System
Chin Plate Titanium
2 to 8mm, 0.6mm profile
$245.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO088
Martin Miniplate Osteosynthesis System
Chin Plate Titanium
10 to14mm, 0.6mm profile
$275.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO090
Martin Micro Plate Osteosynthesis System
1mm Screw System Titanium
1mm diameter, 2-4mm length
$77.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO092
Martin Micro Plate Osteosynthesis System
1mm Screw System Titanium
1mm diameter, 5 - 6mm length
$81.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 589 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO093
Martin Micro Plate Osteosynthesis System
1mm system, Screw Titanium
1mm diameter, 7mm length
$84.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO094
Martin Micro Plate Osteosynthesis System
1mm system, Screw Emergency Titanium
1.2mm diameter,3 to 5mm length
$85.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO095
Martin Micro Plate Osteosynthesis System
1mm system, Straight Plate Titanium
4 hole 0.6mm profile
$144.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO096
Martin Micro Plate Osteosynthesis System
1mm system, Straight Plate Titanium
8 hole 0.6mm profile
$195.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO097
Martin Micro Plate Osteosynthesis System
1mm system, Straight Plate Titanium
12 hole 0.6mm profile
$243.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO098
Martin Micro Plate Osteosynthesis System
1mm system, Straight Plate Titanium
16 hole 0.6mm profile
$292.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO099
Martin Micro Plate Osteosynthesis System
1mm system, Straight Plate Titanium
24 hole 0.6mm profile
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO100
Martin Micro Plate Osteosynthesis System
1mm system, Orbital Plate Titanium
8 hole 0.6mm profile
$240.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO101
Martin Micro Plate Osteosynthesis System
1mm System L, T, Y, Double Y Plate 
5 to 8 hole 0.6mm profile
$246.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
MO103
Martin Micro Plate Osteosynthesis System
1mm system, H Plate Titanium
11 hole 0.6mm profile
$330.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO105
Martin Micro Plate Osteosynthesis System
1mm system, Burr Hole Cover Titanium
12 to 15mm, 0.3 - 0.6mm profile
$390.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO106
Martin Micro Plate Osteosynthesis System
1mm system, Burr Hole Cover Titanium
17 to 20mm, 0.3 - 0.6mm profile
$410.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 590 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO107
Martin Micro Plate Osteosynthesis System
1.5mm system L, Double L Plate Titanium
4 to 6 hole, 0.6mm profile
$203.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO108
Martin Micro Plate Osteosynthesis System
1.5mm System Orbital Plate Titanium
6 - 10 Hole
$180.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO111
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
2 hole, 0.6mm profile
$104.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO112
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
4 hole, 0.6mm profile
$110.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO113
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
6 hole, 0.6mm profile
$130.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO114
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
8 hole, 0.6mm profile
$145.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO115
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
16 hole, 0.6mm profile
$208.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO116
Martin Micro Plate Osteosynthesis System
1.5mm system Straight Plate Titanium
20 hole, 0.6mm profile
$263.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO117
Martin Micro Plate Osteosynthesis System
1.5mm system T Plate Titanium
6 hole, 0.6mm profile
$185.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO118
Martin Micro Plate Osteosynthesis System
1.5mm system Y Plate Titanium
5 hole, 0.6mm profile
$275.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO119
Martin Micro Plate Osteosynthesis System
1.5mm system H Plate Titanium
12 - 32 hole, 0.6mm profile
$320.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO120
Martin Micro Plate Osteosynthesis System
1.5mm system X Plate Titanium
4 to 6 hole, 0.6mm profile
$301.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 591 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO121
Martin Micro Plate Osteosynthesis System
1.5mm system Burr Hole Cover Titanium
12 to 22mm, 0.3 - 0.6mm profile
$330.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO122
Martin Micro Plate Osteosynthesis System
1.5mm Screw Titanium
1.5mm diameter, 3.5 to 8mm length
$50.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO123
Martin Micro Plate Osteosynthesis System
1.5mm Screw Titanium
1.5mm diameter, 9mm length
$59.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO124
Martin Micro Plate Osteosynthesis System
1.5mm Screw Titanium
1.5mm diameter, 11 to 13mm length
$64.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO125
Martin Micro Plate Osteosynthesis System
1.5mm Screw Titanium
1.5mm diameter, 15mm length
$71.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO126
Martin Micro Plate Osteosynthesis System
1.5mm Screw Emergency Titanium
1.8mm diameter, 3 to 7mm length
$52.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO127
Titan Mesh
Mesh Sheet Titanium
13 hole 1, 1.5, 2mm
$1,620.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO128
Titan Mesh
Mesh Plates Titanium
2 hole strip 1, 1.5, 2mm
$300.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO129
Titan Mesh
Mesh Plates Titanium
1 x 2 holes 1, 1.5, 2mm
$178.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO130
Titan Mesh
Mesh Plates Titanium
2 x 2 holes 1, 1.5, 2mm
$220.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO131
Titan Mesh
Mesh Plates Titanium
3 x 2 holes 1, 1.5, 2mm
$277.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO132
Titan Mesh
Mesh Plates Titanium
4 x 2 holes 1, 1.5, 2mm
$345.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 592 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO133
Titan Mesh
Mesh Plates Titanium
6 x 4 holes 1, 1.5, 2mm
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MO197
Titan Mesh Orbital Floor Plate (Martin)
Titan mesh - contoured orbital floor repair 
1.5mm 0.3 profile; 6 hole large/ 5 
$800.00
Only to be funded where used in a 

mesh plate
hole small
service for which a Medicare 

Benefit is payable
MO198
Titan Mesh (Martin)
Mesh panel - titanium
4 x 2 hole mesh plate; 1.0, 1.5 and 
$462.00
Only to be funded where used in a 

2.0mm dia, 0.6 and 1.0 profile
service for which a Medicare 

Benefit is payable
MO199
Martin Mandibular Fracture System
Insert spacer screw, titanium
2.7 x 3mm
$81.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.

Medtronic Australasia Pty Ltd
MC512
TiMesh
Maxillary Prosthesis
One size only
$1,990.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC513
TiMesh
Full Mandible
One size only
$1,920.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC514
TiMesh
Mandibular Angle, Left/Right
One size only
$1,010.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC515
TiMesh
Hemimandible, Left/Right
One size only
$605.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC516
TiMesh
Mandibular Symphysis
One size only
$1,212.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC517
TiMesh
Mandibular "J" Plate
One size only
$402.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC518
TiMesh
Titanium Mesh Panel
121 x 72mm - 125 x 125mm
$572.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC519
TiMesh
Squareplate
4 holes x 1mm - 4 holes x 2.2mm
$113.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 593 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC520
TiMesh
X Plate
4 holes x 1mm - 4 holes x 2.2mm
$113.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC521
TiMesh
Naso-Orbital-Ethmoid 
1mm - 2.2mm;  Complex 1, Complex 
$506.00
Only to be funded where used in a 

2, Complex 3
service for which a Medicare 

Benefit is payable
MC522
TiMesh
Curved Plate:  Standard, Rigid, Left, Right
1mm x 12 holes
$206.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC523
TiMesh
Square-rectangular Gridmesh Panel
1.0 x 4mm - 2.2 x 4mm
$515.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC524
TiMesh
Isogrid Panel
One size only
$392.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC525
TiMesh
Sugar Mesh Panel / Grid
11 x 7.5cm
$310.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC526
TiMesh
Surgical Mesh:  Anterior, Posterior, 
One size only
$6,516.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC527
TiMesh
Lateral Mesh:  Left, Right
One size only
$5,000.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC528
TiMesh
Cranial Custom Mesh
121mm x 72mm - 152  x 152mm
$9,930.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC571
Timesh
12 Point Screws
3 - 20mm
$145.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC572
Timesh
Internal Drive Screws
3 - 6mm
$87.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC573
Timesh
Rescue Screws
3 - 7mm
$110.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 594 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC574
Timesh
X-Drive Screws
2 - 15mm
$76.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC575
Timesh
Rigid Straight Plates
1-20 Hole
$805.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC576
Timesh
Double Y Plates
3 Hole - 2.5mm - 7mm
$900.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MC619
TiMesh Titanium Rigid Fixation Bone 
FlexMesh 1.0mm system. Composition: 
113mm x 77mm, 0.3mm. 113mm x 
$1,386.00
Only to be funded where used in a 

Grafting and Plating System
Titanium
77mm, 0.6mm.
service for which a Medicare 

Benefit is payable
MC620
TiMesh Titanium Rigid Fixation Bone 
FlexMesh 1.5mm System
148mm x 148mm, 0.6mm
$1,786.00
Only to be funded where used in a 

Grafting and Plating System
service for which a Medicare 

Benefit is payable
MC621
TiMesh  Titanium Rigid Fixation Bone 
FlexMesh 1.5mm System. Composition: 
50mm x 56mm, 0.3mm. 50mm x 
$700.00
Only to be funded where used in a 

Grafting and Plating System
Titanium
56mm, 0.6mm
service for which a Medicare 

Benefit is payable
MC622
TiMesh Titanium Rigid Fixation Bone 
FlexMesh 1.5mm System. Composition: 
113mm x 77mm, 0.3mm. 113mm x 
$1,386.00
Only to be funded where used in a 

Grafting and Plating System
Titanium
77mm, 0.6mm
service for which a Medicare 

Benefit is payable
MC623
TiMesh Titanium Rigid Fixation Bone 
FlexMesh 2.2mm System. Composition: 
114mm x 82mm, 0.6mm
$1,450.00
Only to be funded where used in a 

Grafting and Plating System
Titanium.
service for which a Medicare 

Benefit is payable
MC624
TiMesh Titanium Rigid Fixation Bone 
FlexMesh 2.2mm System. Composition: 
154mm x 154mm, 0.6mm
$2,243.00
Only to be funded where used in a 

Grafting and Plating System
Titanium.
service for which a Medicare 

Benefit is payable
MC625
Modified Dual TiMesh
TiMesh Surgical Mesh Modified, includes 
121mm x 77mm. 152mm x 152mm.
$12,250.00
Only to be funded where used in a 

two cranial plates. Composition: Titanium
service for which a Medicare 

Benefit is payable

National Surgical Corporation Pty Ltd
NI031
Medicon Ti Plates, Medicon Hein1 Mini 
Plates TitaniumPlate - double-T. 
.4mm - 2mm thickness X 5mm - 
$124.00
$140.00
Only to be funded where used in a 

Plates and Screws, Medicon Hein1 Micro 
TitaniumPlate - Nasal. TitaniumPlate - 
80mm, up 16 holes.
service for which a Medicare 

Plates and Screws, Medicon Salyer CMS 
Mandibular Angle. TitaniumPlate - Orbital. 
Benefit is payable

System, Osteosynthesis system for Hand 
TitaniumPlate - Str. Compression. Titanium, 

Surgery
Chin. TitaniumPositioning plates. Titanium, 

4-Hole Compression Plate, 6-Hole Plate & T 

Plate, 4- 12 hole plates std and compression, 

Y & Z plates 4 - 16 holes.
Prostheses List by Category, Groups and Sponsor
Page 595 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NI032
Medicon Ti Plates and Screws
Plates Titanium Plates, L-plate Plates, Orbital
Medium .5mm thickness X 4 - 12 
$145.00
$169.00
Only to be funded where used in a 

 6-Hole Compression, 7-Hole  Compression 
holes
service for which a Medicare 

Plate,  "Y12-Hole Plate "FIR", Condylar 
Benefit is payable

Bone Plate, 6-Hole Compression Plate "T"
NI033
Medicon Ti Plates and Screws
Plates Titanium
Mini, .6mm thickness X 4 - 6 hole
$65.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NI044
Medicon Ti Mesh
Mesh, Titanium
Small/Medium, .5mm thick X 8mm 
$258.00
Only to be funded where used in a 

to 180mm wide or long.
service for which a Medicare 

Benefit is payable
NI048
Medicon Ti Mesh
Mesh, Titanium
Small, .5mm thickness X 5mm to 
$427.00
Only to be funded where used in a 

180mm wide or long
service for which a Medicare 

Benefit is payable
NI051
Medicon Hein1 Mini Plates and Screws
Mesh Performing, Titanium
0.2mm Thickness, 75 x 180mm
$695.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NI079
Medicon Ti Plates
Plates Titanium, Straight, angled L & R.
Mini/Large, 2mm thick X 135mm - 
$475.00
Only to be funded where used in a 

180mm to 11 holes.
service for which a Medicare 

Benefit is payable
NI080
Medicon Leipzig Mandibular Plates and 
Angled Plates Left and Right, Titanium
165mm, 2mm Thickness
$600.00
Only to be funded where used in a 

Screws 
service for which a Medicare 

Benefit is payable
NI082
Medicon Ti Plates
Plates Titanium, Total Reconstruction
Extra Large, 2mm thick X 100mm - 
$1,103.00
Only to be funded where used in a 

130mm.
service for which a Medicare 

Benefit is payable
NI083
Medicon Leipzig Mandibular Plates and 
Condylar Implants: Short & Long. Titanium
40mm-48mm
$794.00
Only to be funded where used in a 

Screws 
service for which a Medicare 

Benefit is payable
NI087
Medicon Ti Plates
Plates Titanium, Angled Plates Left and 
Medium/Large, 1.7mm - 2mm thick 
$403.00
$420.00
Only to be funded where used in a 

Right, Straight and Fracture.
X 105mm - 160mm to 16 holes.
service for which a Medicare 

Benefit is payable
NI102
Medicon Ti Plates
Plates Titanium, straight, fracture, Double Y.
Medium/Small, .4mm - 2mm thick X
$250.00
$280.00
Only to be funded where used in a 

 3 - 16 hole, To 100mm length.
service for which a Medicare 

Benefit is payable
NI103
Medicon Ti Plates and Screws
Plates Titanium, L-plate. T-short.
Mini/Small, .4mm - 1mm thickness x
$95.00
Only to be funded where used in a 

 4 hole and or 8mm - 15mm
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 596 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NI112
Medicon Ti Plates
Plates Titanium, Straight; Std, short and 
Micro/Medium, .5mm - 2mm thick 
$318.20
Only to be funded where used in a 

long  Angled; Orbital, Fracture, Double Y 
X 4 hole - 6 hole, 12mm - 120mm 
service for which a Medicare 

length
Benefit is payable
NI114
Medicon Ti Mesh
Mesh, Titanium, Mesh Plates,
Medium, .1mm - .5mm thick X 2mm 
$398.00
$420.00
Only to be funded where used in a 

to 180mm wide or long.
service for which a Medicare 

Benefit is payable
NI115
Medicon Ti Mesh
Mesh, Titanium, Mesh Plates
Mini, .1mm - .5mm thick X 4mm to 
$605.00
Only to be funded where used in a 

180mm wide or long.
service for which a Medicare 

Benefit is payable
NI118
Medicon Ti Plates
Plates Titanium, Osteosynthesis, Vario, 
Mini/Medium, .4mm - 1.7mm thick 
$202.00
Only to be funded where used in a 

Fracture, L, T ,Y H, Double Y Plates.
X 4 -16 holes, 8mm - 12mm 
service for which a Medicare 

Benefit is payable
NI121
Medicon Ti Screws
Screws Titanium
Mini/Small, .9mm - 2.7mm thick X 
$52.00
Only to be funded where used in a 

2mm - 17mm.
service for which a Medicare 

Benefit is payable.
NI123
Medicon Ti Screws
Bone Screws, Titanium, Condylar.
Small/Medium, 2.7 - 6mm dia X 
$37.00
Only to be funded where used in a 

7mm - 23mm length
service for which a Medicare 

Benefit is payable.
NI126
Medicon Ti Screws
Screws Titanium, Ti-Washers for Screws
Small, 1.2 - 2.7mm dia X 2.7 - 17mm 
$27.00
$41.00
Only to be funded where used in a 

length
service for which a Medicare 

Benefit is payable.

Surgien Pty Ltd
BR001
OPRA System
Central screw - titanium
One size only
$1,860.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BR002
OPRA System
Healing cylinder - titanium
One size only
$3,150.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BR003
OPRA System
Healing screw - titanium
One size only
$2,460.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BR004
OPRA System
Fixture - titanium
16 - 20mm
$36,900.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
BR005
OPRA System
Abutment - titanium
Length 47 - 77mm
$19,250.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 597 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BR006
OPRA System
Abutment screw - titanium
Length 57 - 87mm
$5,775.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Surgiplas Medical
SP013
Plates
Micro, Midface & Mini
Micro: Y Plate, Y Plate 11 Hole, H 
$120.00
Only to be funded where used in a 

Plate, 5 Hole Straight Plate, Quad 
service for which a Medicare 

Plate, Quad Plate - Short, 13mm & 
Benefit is payable

16mm L Plate - Left & Right, 19mm 

T Plate, X Plate, Straight 2 Hole 

Short/Medium/Long; Mini: 10mm 

Square Plate; Midface: 13mm, 

15mm & 22mm L Plate - Left & 

Right, 9mm & 11mm ZED Plate - 

Left & Right, 4 Hole I Plate, 18mm 

4 Hole Straight Plate, Straight 2 

Hole - Short/Medium/Long
SP014
Plates
Micro, Midface, Mini, BSSO, TR BSSO
Micro: 18 Hole Straight Plate, 12 
$130.00
Only to be funded where used in a 

Hole Curved Plate, 10 Hole 
service for which a Medicare 

Straight Plate, Calvarium Plate - 
Benefit is payable

Small & Large, Medium 2 x 4 Hole 

Quad Plate, 4 & 6 Hole Straight 

Plate, 2 x 3 Hole Quad Plate; 

Square Plate, X Plate Extended. 

Double Y Plate Extended; Mini: 

Calvarium Plate, X Plate, 8 Hole 

Straight Plate, 1.0mm Thick; 

Midface: 15mm 5 Hole Y Plate, 10 

Hole Curved Plate, Double Y Plate,

 Straight Plate 5 & 10 Hole; 4 Hole 

BSSO Plate Short, Medium, Long; 

TR BSSO Plate, Short, Long;
SP015
Plates
Micro, Mini, Maxi
Micro: Mesh 50mm x 37, 74mm; 
$280.00
Only to be funded where used in a 

Mini: 16 Hole Straight Plate, 1.0mm
service for which a Medicare 

 thick; Maxi: 33mm & 38mm 4 Hole 
Benefit is payable

EDC Plate, 48mm 6 Hole EDC Plate,

 Angled EDC Plate, Angled Long 

EDC Plate, 40mm 6 Hole Fracture 

Plate, 6 Hole Curved EDC Plate; 

Gap Plates; Quad Plates; Burr Hole

 Plates;
Prostheses List by Category, Groups and Sponsor
Page 598 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SP016
Plates
Micro, Mini
Micro: Mesh Sheet 100mm x 74mm,
$506.00
Only to be funded where used in a 

 40 x 40mm & 90 x 90mm, Orbital 
service for which a Medicare 

Plate, Orbital Plate Large; Mini: 40 
Benefit is payable

Hole Straight Plate, Mesh 18 row; 

Mesh 36 x 50mm; Sub -Temporal 

Plates;
SP017
Plates
Mini
Mini: 15mm, 18mm & 23mm L Plate 
$113.00
Only to be funded where used in a 

Right & Left, 26mm Y Plate, Y Plate
service for which a Medicare 

 - 13 Hole, 15mm & 20mm Z Plate 
Benefit is payable

Right & Left, 24mm Straight Plate, 

16mm I Plate, 22mm T Plate, Mesh 

1 Row, 4 & 6 Hole Straight Plate 

1.0mm thick, Rigid 15mm, 18mm & 

23mm L Plate Right & Left, Rigid 

26mm Y Plate, 15mm & 20mm Z 

Plate Right & Left, Rigid 24mm 

Straight Plate, Rigid 16mm I Plate; 

Rigid Double Y Plate;
SP018
Plates
Micro, Midface, Mini & Maxi
Micro: 8 Hole Straight Plate, 
$162.00
Only to be funded where used in a 

Double Y Plate; Mini : 10 Hole 
service for which a Medicare 

Straight Plate, Extended Y Plate, 4 
Benefit is payable

Hole Compression Plate, Rigid 10 

Hole Straight Plate; Midface: 12 

Hole Straight Plate; Maxi: Chin 

Plate 2, 3, 4, 6, 8, 10 & 12mm;
SP019
Plates
Mini & Maxi
Mini: 16 & 18 Hole Straight Plate, 5
$204.00
Only to be funded where used in a 

 Hole Compression Plate, 5, 7 & 9 
service for which a Medicare 

Hole Curved Plate, 12 Hole 
Benefit is payable

Straight Plate 1.0mm thick; Maxi: 

33mm 4 Hole semi-comp Plate, 

28mm 4 Hole Fracture Plate; Burr 

Hole Plate; Zygomatic Plates, 

Pyriform Plates, Orthognathic Y 

Plates and Orthognathic BSSO 

Plates
SP020
Plates
Maxi
Maxi: Angled Reconstruction Left 
$392.00
Only to be funded where used in a 

& Right, Straight Reconstruction
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 599 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SP023
OsteoMed Plating & Fixation System
Plates - Reconstruction
4 x 12 Hole plate Right & Left; 14, 
$572.00
Only to be funded where used in a 

15 & 18 Hole Straight Plate
service for which a Medicare 

Benefit is payable.
SP024
OsteoMed Plating & Fixation System
Plates - Reconstruction
5 x 16 Hole plate Right & Left
$840.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
SP025
OsteoMed Plating & Fixation System
Plates - Reconstruction
5 x 20 x 5 Hole Full Mandible Plate;
$1,100.00
Only to be funded where used in a 

 5 x 16 x 5 Hole Full Mandible 
service for which a Medicare 

Plate; Osteoform Mesh 
Benefit is payable.

Malleable/Rigid, 74 x 50mm, 111 x 

191mm, 74 x 50mm, 40mm, 90mm;
SP026
OsteoMed Plating & Fixation System
Plates - Fracture
Rigid Comminuted Fracture Plate
$740.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
SP027
OsteoMed Plating & Fixation System
Plates - Fracture
8 Hole Fracture Plate, 4 & 6 hole 
$460.00
Only to be funded where used in a 

locking fracture plate.
service for which a Medicare 

Benefit is payable.
SP028
OsteoMed Plating & Fixation System
Plates - Fracture
4 hole Fracture Plate 32 -37mm; 
$294.00
Only to be funded where used in a 

EDC Plate 32mm & 34mm
service for which a Medicare 

Benefit is payable.
SP029
OsteoMed Plating & Fixation System
Plates - Fracture; Screws - Cannulated Lag
6 Hole Fracture Plate 47 - 52mm; 2 x
$330.00
Only to be funded where used in a 

 2 Hole Angled Fracture Plate; 3 x 3
service for which a Medicare 

 Hole Angled Fracture Plate; 
Benefit is payable.

6.5mm x (30 -150)mm; 7.3mm x (30 - 

150)mm
SP030
OsteoMed Plating & Fixation System
Screws
Size
$140.00
Only to be funded where used in a 

2.4mm x (6 - 22)mm Locking 
service for which a Medicare 

Screws, locking screw inserts; 
Benefit is payable.

Quick-Fix MMF / Anchorage 

Screws 1.2 / 1.6 / 2.0mm
SP031
OsteoMed Plating & Fixation System
Lag Screws - Micro, Mini
1.2mm x (6 - 16)mm; 1.6mm x (10-
$79.00
Only to be funded where used in a 

12)mm; 2.0mm x (8 - 22)mm;
service for which a Medicare 

Benefit is payable.
SP032
OsteoMed Plating & Fixation System
Lag Screws - Maxi, MMF, 3.0mm
2.4mm x (8 - 42)mm; 2.4 x (12 - 
$80.00
Only to be funded where used in a 

18)mm; 3.0mm x (12 - 36)mm;
service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 600 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SP033
OsteoMed Plating & Fixation System
Compression Plates - Micro, Mini & Maxi
Micro: 2 x 3 Hole Compression T 
$147.00
Only to be funded where used in a 

Plate, Oblique Left & Right 
service for which a Medicare 

Compression T Plate, 4 Hole 
Benefit is payable.

Straight Compression Plate; 5 Hole

 Straight Plate, 13mm Left & Right 

L Plate, 19mm T Plate, 2 x 3 Hole 

Quad Plate; Mini: 4 Hole Left & 

Right L Plate, 4 Hole Left & Right 

Oblique L Plate, 2 x 4 T Plate, Left 

& Right Oblique 2 x 4 Hole T Plate,

 3 x 4 T Plate, 2 x 1 x 4 T Plate, 3 x 4 

Hole Y Plate, 4, 5 & 6 Hole Straight

 Plate; Maxi: 4 Hole Left & Right L 

Plate, 2 x 4 Hole T Plate, 2 x 4 Hole 

Left & Right Oblique T Plate; Flap 

Fixation Disk Plate.
SP034
OsteoMed Plating & Fixation System
Compression Plates - Maxi
Maxi: 4, 5 & 6 Hole Straight Plate
$290.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
SP035
OsteoMed Plating & Fixation System
Screws - Cannulated Lag
2.0mm x (6 - 16)mm; 2.4mm x (6 - 
$220.00
Only to be funded where used in a 

20)mm
service for which a Medicare 

Benefit is payable.
SP036
OsteoMed Plating & Fixation System
Screws - Cannulated Lag
2.0mm x (18 - 22)mm; 2.4mm x (22 - 
$260.00
Only to be funded where used in a 

30)mm
service for which a Medicare 

Benefit is payable.
SP037
OsteoMed Plating & Fixation System
Screws - Cannulated Lag
3.0mm x (10 x 28)mm; 4.0mm x (12 - 
$210.00
Only to be funded where used in a 

30)mm
service for which a Medicare 

Benefit is payable.
SP038
OsteoMed Plating & Fixation System
Screws - Cannulated Lag
3.0mm x (30 x 40)mm; 4.0mm x (32 - 
$250.00
Only to be funded where used in a 

52)mm
service for which a Medicare 

Benefit is payable.

Synthes Australia Pty Ltd
SY348
Titanium Sternal Fixation System
Locking Plate - H or Star
8 or 6 holes, small or large
$1,200.00
Prostheses List by Category, Groups and Sponsor
Page 601 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Orthopedic Internal Fixation Systems, Spinal

Medtronic Australasia Pty Ltd
MC387
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Square Grid Mesh
Large
$900.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC388
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Square Grid Mesh
Medium
$392.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC389
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Square Grid Mesh
Small
$123.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
Plates, Absorbable

Medical & Optical Instruments Australia Pty Ltd
MO185
Resorb-X Plates
Resorb-X Osteosynthesis System, 
4 - 8 hole
$315.00
Only to be funded where used in a 

Resorbable straight plate
service for which a Medicare 

Benefit is payable
MO186
Resorb-X Plates
Resorb-X Osteosynthesis System, 
L, Y, X, T, Orbital
$404.00
Only to be funded where used in a 

Resorbable shaped plate
service for which a Medicare 

Benefit is payable
MO187
Resorb-X Mesh Plate 25 x 25mm
Resorb-X Osteosynthesis System, 
25 x 25mm - 0.3, 0.6, 1.0mm profile
$756.00
Only to be funded where used in a 

Resorbable mesh plate
service for which a Medicare 

Benefit is payable
MO188
Resorb-X Mesh Plate 50 x 50mm
Resorb-X Osteosynthesis System, 
50 x 50mm - 0.3, 0.6, 1.0mm profile
$1,775.00
Only to be funded where used in a 

Resorbable mesh plate
service for which a Medicare 

Benefit is payable
MO203
Resorb-X Plates
Resorb-X Osteosynthesis System, 
29 to 31 x 104 to 106mm Mesh Plate
$1,330.00
Only to be funded where used in a 

Resorbable Mesh Plate
service for which a Medicare 

Benefit is payable
MO204
Resorb-X Plates
Resorb-X Osteosynthesis System, 
125 x 125mm
$5,175.00
Only to be funded where used in a 

Resorbable Mesh Plate
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 602 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MO205
Resorb-X Plates
Resorb-X Osteosynthesis System, 
55mm diameter
$2,230.00
Only to be funded where used in a 

Resorbable Mesh Plate
service for which a Medicare 

Benefit is payable
MO206
Resorb-X Plates
Resorb-X Osteosynthesis System, 
22 Hole - Straight Resorbable Plate
$567.00
Only to be funded where used in a 

Resorbable Straight Plate
service for which a Medicare 

Benefit is payable
MO231
Resorb X Plates Various Sizes
Resorb Osteosynthesis System resorbable 
11 x 126mm
$871.00
Only to be funded where used in a 

mesh plate
service for which a Medicare 

Benefit is payable
Plates, Bone

Aus Systems Pty Ltd
AU002
Aus Systems Titanium Miniplates (Bone 
Low profile 2 & 4 hole
Short, medium, long
$51.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU005
Aus Systems Titanium Miniplates (Bone 
Low profile condensed
8 hole
$87.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU006
Aus Systems Titanium Miniplates (Bone 
Low profile
19 hole
$95.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU007
Aus Systems Titanium Miniplates (Bone 
Low profile pre-shaped - Square, T, L, Y, Y 
Short, medium, Long, 4 & 5 hole
$87.00
Only to be funded where used in a 

Plates)
Double & X
service for which a Medicare 

Benefit is payable
AU014
Aus Systems Titanium Miniplates (Bone 
Low profile burr hole cover
10mm, 14mm, 18mm, 22mm
$123.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU018
Aus Systems Titanium Miniplates (Bone 
Strip plates, Titanium (M10 series)
1mm profile, 4 holes
$56.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU019
Aus Systems Titanium Miniplates (Bone 
16 & 19 hole
0.7mm & 1mm profile
$95.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU022
Aus Systems Titanium Miniplates (Bone 
Pre-shaped - L
Small, Medium, Long
$79.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 603 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AU055
Aus Systems Titanium Miniplates (Bone 
Pre-shaped - T, T Double, Y
Small, Medium, Long, 4 & 5 hole
$87.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable
AU056
Aus Systems Titanium Miniplates (Bone 
Pre-shaped - Y Double
Small, Medium, Long
$95.00
Only to be funded where used in a 

Plates)
service for which a Medicare 

Benefit is payable

Johnson & Johnson Medical Pty Ltd
JJ204
Bioplate Bone Plate 
Titanium cranial fixation system - straight 
1.5mm diam, 11mm length; pack of 
$43.00
Only to be funded where used in a 

plate, 2 hole 
5
service for which a Medicare 

Benefit is payable
JJ205
Bioplate Bone Plate 
Titanium cranial fixation system - straight 
1.5mm diam, 19mm length
$104.00
Only to be funded where used in a 

plate, 4 hole 
service for which a Medicare 

Benefit is payable
JJ206
Bioplate Bone Plate 
Titanium cranial fixation system - Y plate, 5 
1.5mm diam, 17mm length
$152.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ207
Bioplate Bone Plate 
Titanium cranial fixation system - X plate, 6 
1.5mm diam, 17mm length
$254.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ208
Bioplate Bone Plate 
Titanium cranial fixation system - T plate, 5 
1.5mm diam, 15mm length
$170.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ211
Bioplate Bone Plate 
Titanium cranial fixation system - box car, 4 
1.5mm diam, 10 x 10mm
$192.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ212
Bioplate Bone Plate 
Titanium cranial fixation system - box car 6 
1.5mm diam, 8 x 17mm
$231.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ213
Bioplate Bone Plate 
Titanium cranial fixation system - box car, 8 
1.5mm diam, 10 x 24mm
$281.00
Only to be funded where used in a 

hole
service for which a Medicare 

Benefit is payable
JJ214
Bioplate Bone Plate 
Titanium mesh for cranial fixation system, 48 
1.5mm diam, 32 x 44mm
$500.00
Only to be funded where used in a 

holes
service for which a Medicare 

Benefit is payable
JJ216
Bioplate Bio-100 Plate 
Titanium cranial fixation system, 2 hole
1.5mm diam; pack of 5
$27.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 604 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medical & Optical Instruments Australia Pty Ltd
MO210
Martin Mandibular Fracture System
Pre-Formed Titanium Mandibular 
2.3mm angled, symphysis and 
$920.00
Only to be funded where used in a 

Reconstruction Plate
straight plate; 12-27 holes
service for which a Medicare 

benefit is payable

Medtronic Australasia Pty Ltd
MC374
TiMesh Rigid Fixation Bone Grafting and 
Titanium,  Plate
Mesh, Fan blades 11 - 18mm, 
$198.00
Only to be funded where used in a 

Plating System
Ohata 8.4 - 10mm
service for which a Medicare 

Benefit is payable
MC383
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Y Plate Double and Single
5 - 8 hole
$433.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC385
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Straight Plate
2 - 20 hole
$148.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC386
TiMesh Rigid Fixation Bone Grafting and 
Titanium, T Plate
4 - 8 hole
$250.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC391
TiMesh Rigid Fixation Bone Grafting and 
Titanium, L Plate (Left and right 
4 - 10 hole
$392.00
Only to be funded where used in a 

Plating System
configurations)
service for which a Medicare 

Benefit is payable
MC392
TiMesh Rigid Fixation Bone Grafting and 
Titanium, H Plate
6 - 11 hole
$204.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC393
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Z Plate Left and Right
4 hole - 5mm, 9.5mm
$392.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable
MC678
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Universal Plate
12h
$255.00
Only to be funded where used in a 

Plating System
service for which a Medicare 

Benefit is payable

Smith & Nephew Surgical Pty Ltd
SN062
TC 100
Narrow Compression Plate
4.5mm, 5 - 7 holes
$95.00
SN073
TC 100
L - Plates & T - Plates
2.0mm & 2.7mm
$75.00
SN137
TC 100
Plate: Broad Compression
4.5mm, 6 - 8 holes
$138.00

Stryker Australia Pty Ltd
SK107
Stryker Plating System
Cortical bone screws
3.5mm diameter, 40 - 150mm 
$28.00

lengths
Prostheses List by Category, Groups and Sponsor
Page 605 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK110
Stryker Plating System
Compression Plates
2 - 22 Holes
$152.00
SK129
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Compression 
$520.00
Only to be funded where used in a 

Universal Mandible Compression Plate
 mandibular fractures and tumour resection.
Plate, 4-6 Holes
service for which a Medicare 

Benefit is payable.
SK130
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Fracture Plate,
$620.00
Only to be funded where used in a 

Universal Mandible Fracture Plate
 mandibular fractures and tumour resection.
 14 Holes
service for which a Medicare 

Benefit is payable.
SK131
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Fracture Plate,
$475.00
Only to be funded where used in a 

Universal Mandible Fracture Plate
 mandibular fractures and tumour resection.
 C-shaped, 4 holes
service for which a Medicare 

Benefit is payable.
SK132
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Fracture Plate,
$565.00
Only to be funded where used in a 

Universal Mandible Fracture Plate
 mandibular fractures and tumour resection.
 Angled Shaped, 6 holes, 115-140 
service for which a Medicare 

deg
Benefit is payable.
SK133
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Fracture Plate,
$470.00
Only to be funded where used in a 

Universal Mandible Fracture Plate
 mandibular fractures and tumour resection.
 4-6 holes with/without Bar
service for which a Medicare 

Benefit is payable.
SK134
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Mini Plate, 4-6
$130.00
Only to be funded where used in a 

Universal Mandible Mini Plate
 mandibular fractures and tumour resection.
 holes with/without Bar
service for which a Medicare 

Benefit is payable.
SK135
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Mini Plate, 16 
$263.00
Only to be funded where used in a 

Universal Mandible Mini Plate
 mandibular fractures and tumour resection.
holes
service for which a Medicare 

Benefit is payable.
SK136
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Primary 
$1,465.00
Only to be funded where used in a 

Universal Mandible Primary 
 mandibular fractures and tumour resection.
Reconstruction Plate, (Hemi) Left 
service for which a Medicare 

Reconstruction Plate
and Right 5+17 holes, with 
Benefit is payable.
SK137
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Primary 
$1,100.00
Only to be funded where used in a 

Universal Mandible Primary 
 mandibular fractures and tumour resection.
Reconstruction Plate, 11-17 holes, 
service for which a Medicare 

Reconstruction Plate
with template
Benefit is payable.
SK138
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 
$2,010.00
Only to be funded where used in a 

Universal Mandible Reconstruction Plate
 mandibular fractures and tumour resection.
Reconstruction Plate, (Full), 6 + 13 
service for which a Medicare 

+ 6 holes, with template
Benefit is payable.
SK139
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 3D Plate, 
$305.00
Only to be funded where used in a 

Universal Mandible 3D Plate
 mandibular fractures and tumour resection.
(Full), 6 x 2 Hole, Curved, Square
service for which a Medicare 

Benefit is payable.
SK140
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 
$1,050.00
Only to be funded where used in a 

Universal Mandible Reconstruction Plate
 mandibular fractures and tumour resection.
Reconstruction Plate, 11 - 17 holes,
service for which a Medicare 

 straight with template
Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 606 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK141
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 
$1,550.00
Only to be funded where used in a 

Universal Mandible Reconstruction Plate
 mandibular fractures and tumour resection
Reconstruction Plate, (Hemi), 
service for which a Medicare 

Right and Left, 6 + 17 holes with 
Benefit is payable.
SK142
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 
$2,030.00
Only to be funded where used in a 

Universal Mandible Reconstruction Plate
 mandibular fractures and tumour resection
Reconstruction Plate, (Full), 6 + 17 
service for which a Medicare 

+ 6 holes, with template
Benefit is payable.
SK143
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 
$2,010.00
Only to be funded where used in a 

Universal Mandible Reconstruction Plate
 mandibular fractures and tumour resection
Reconstruction Plate, (Full), 6 + 15 
service for which a Medicare 

+ 6 holes, with template
Benefit is payable.
SK144
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 3D Plate, 4 x 2 
$305.00
Only to be funded where used in a 

Universal Mandible 3D Plate
 mandibular fractures and tumour resection
Hole Square
service for which a Medicare 

Benefit is payable.
SK145
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible 3D Plate, 3 x 2 
$305.00
Only to be funded where used in a 

Universal Mandible 3D Plate
 mandibular fractures and tumour resection
Hole Rectangle
service for which a Medicare 

Benefit is payable.
SK146
Leibinger Titanium Implant System - 
Items used for reconstruction and fixation of
Universal Mandible Bi-concave 
$54.00
Only to be funded where used in a 

Universal Mandible Biconcave Washer
 mandibular fractures and tumour resection
Washer
service for which a Medicare 

Benefit is payable.
SK218
Leibinger Titanium Implant System - 
Items used for reconstruction following 
Universal Mandible Condylar 
$1,545.00
Only to be funded where used in a 

Universal Mandible Condylar Device
trauma or tumor resection of the mandible. 
Device Left and Right
service for which a Medicare 

Included are 2x cross pin fixation screw.
Benefit is payable.
SK255
Leibinger Titanium Implant System - 
Upperface Fixation Plates
24 Hole Straight Plate Upperface, 
$415.00
Only to be funded where used in a 

Universal CMF Plate
malleable condensed; 24 Hole 
service for which a Medicare 

Straight Plate Upperface
Benefit is payable.
SK257
Leibinger Titanium Implant System - 
Upperface Fixation Plates
18 Hole Straight, Upperface, 
$325.00
Only to be funded where used in a 

Universal CMF Plate
Malleable
service for which a Medicare 

Benefit is payable.
SK258
Leibinger Titanium Implant System - 
Upperface Fixation Plates
10 Hole Curved Plate Upperface, 
$265.00
Only to be funded where used in a 

Universal CMF Plate
malleable condensed; 10 hole 
service for which a medicare 

Curved plate, Upperface
Benefit is payable
SK259
Leibinger Titanium Implant System - 
Upperface Fixation Plates
7 Hole Double Y Plate Upperface, 
$285.00
Only to be funded where used in a 

Universal CMF Plate
malleable; 7 Hole Double Y Plate, 
service for which a Medicare 

Upperface
Benefit is payable
SK260
Leibinger Titanium Implant System - 
Upperface Fixation Plates
2x2 Hole 3-D Plate Upperface, 
$205.00
Only to be funded where used in a 

Universal CMF Plate
malleable; 2x2 Hole 3-D Plate, 
service for which a Medicare 

Upperface
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 607 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK261
Leibinger Titanium Implant System - 
Upperface Fixation Plates
6x2 Hole 3-D Plate Upperface, 
$225.00
Only to be funded where used in a 

Universal CMF Plate
malleable; 6x2 Hole 3-D Plate, 
service for which a Medicare 

Upperface
Benefit is payable
SK262
Leibinger Titanium Implant System - 
Uppeface Fixation Plates
8 Hole L Plate 90 Degree Left, 
$250.00
Only to be funded where used in a 

Universal CMF Plate
Upperface; 8 Hole L Plate 90 
service for which a Medicare 

Degree Right, Upperface
Benefit is payable
SK263
Leibinger Titanium Implant System - 
Upperface Fixation Plates
7 Hole T Plate, Upperface
$238.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK264
Leibinger Titanium Implant System - 
Upperface Fixation Plates
4 Hole Orbita Plate, Upperface
$245.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK265
Leibinger Titanium Implant System - 
Upperface Fixation Plates
6x6 Hole 3-D Plate, Upperface; 6x6 
$295.00
Only to be funded where used in a 

Universal CMF Plate
Hole 3-D Plate Upperface, 
service for which a Medicare 

malleable
Benefit is payable
SK266
Leibinger Titanium Implant System - 
Upperface Fixation Plates
10x10 Hole 3-D plate Upperface, 
$310.00
Only to be funded where used in a 

Universal CMF Plate
malleable; 10x10 Hole 3-D plate, 
service for which a Medicare 

Upperface
Benefit is payable
SK267
Leibinger Titanium Implant System
Burr Hole Cover 1.0mm - 2.3mm
Diameter 7, 10, 14 & 20mm
$335.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
SK269
Leibinger Titanium Implant System - 
Midface Fixation Plates
24 Hole Straight Plate Midface, 
$420.00
Only to be funded where used in a 

Universal CMF Plate
malleable condensed; 20 Hole 
service for which a Medicare 

Straight Plate Midface, malleable; 
Benefit is payable

24 Hole Straight Plate Midface
SK270
Leibinger Titanium Implant System - 
Midface Fixation Plates
4 Hole Straight Plate with Bar, 
$160.00
Only to be funded where used in a 

Universal CMF Plate
Midface; 4 Hole Curved Plate with 
service for which a Medicare 

Bar, Midface
Benefit is payable
SK271
Leibinger Titanium Implant System - 
Midface Fixation Plates
10 Hole Curved Plate, Midface
$295.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK272
Leibinger Titanium Implant System - 
Midface Fixation Plates
5 Hole T Plate, Midface
$250.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK273
Leibinger Titanium Implant System - 
Midface Fixation Plates
5 Hole Y Plate with 4mm Bar, 
$250.00
Only to be funded where used in a 

Universal CMF Plate
Midface
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 608 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK274
Leibinger Titanium Implant System - 
Midface Fixation Plates
7 Hole Double Y Plate, Midface
$295.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK275
Leibinger Titanium Implant System - 
Malleable L Plates
5 Hole L Plate 2mm Advancement 
$160.00
Only to be funded where used in a 

Universal CMF Plate
100 Degree Left, Midface; 5 Hole L
service for which a Medicare 

 Plate 2mm Advancement 100 
Benefit is payable

Degree Right, Midface
SK276
Leibinger Titanium Implant System - 
Malleable L Plates
5 Hole L Plate 5mm Advancement 
$165.00
Only to be funded where used in a 

Universal CMF Plate
100 Degree Left, Midface; 5 Hole L
service for which a Medicare 

 Plate 5mm Advancement 100 
Benefit is payable

Degree Right, Midface
SK277
Leibinger Titanium Implant System - 
Malleable L Plates
6 Hole L Plate 8mm Advancement 
$170.00
Only to be funded where used in a 

Universal CMF Plate
100 Degree Left, Midface; 6 Hole L
service for which a Medicare 

 Plate 8mm Advancement 100 
Benefit is payable

Degree  Right, Midface
SK279
Leibinger Titanium Implant System - 
Standard L Plates
5 Hole L Plate 2mm Advancement 
$162.00
Only to be funded where used in a 

Universal CMF Plate
100 Degree Left, Midface;  5 Hole 
service for which a Medicare 

L Plate 2mm Advancement 100 
Benefit is payable

Degree Right, Midface
SK280
Leibinger Titanium Implant System - 
L Plates 100 Degree, Advancement 2 - 10mm
5 - 6 Hole
$170.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK282
Leibinger Titanium Implant System - 
L Plate 100 Degree  Advancement 12mm
5 - 6 Holes
$180.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK283
Leibinger Titanium Implant System - 
Graduated Stability L Plates
5 Hole L Plate 2mm Advancement 
$162.00
Only to be funded where used in a 

Universal CMF Plate
100 Degree Left, Midface, GSP; 5 
service for which a Medicare 

Hole L Plate 2mm Advancement 
Benefit is payable

100 Degree Right, Midface, GSP
SK287
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
16 Hole Straight Plate, Midface, 
$312.00
Only to be funded where used in a 

Universal CMF Plate
locking
service for which a Medicare 

Benefit is payable
SK288
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
8 Hole Curved Plate, Midface, 
$180.00
Only to be funded where used in a 

Universal CMF Plate
locking
service for which a Medicare 

Benefit is payable
SK289
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
2x2 Hole 3-D Plate, Midface, 
$185.00
Only to be funded where used in a 

Universal CMF Plate
Locking
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 609 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK290
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
2x6 Hole 3-D Plate, Midface, 
$185.00
Only to be funded where used in a 

Universal CMF Plate
Locking
service for which a Medicare 

Benefit is payable
SK291
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
5 Hole Y Plate with 4mm Bar, 
$194.00
Only to be funded where used in a 

Universal CMF Plate
Midface, Locking; 5 Hole Y Plate 
service for which a Medicare 

with 8mm Bar, Midface, locking
Benefit is payable
SK292
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
7 Hole Double Y Plate, Midface, 
$195.00
Only to be funded where used in a 

Universal CMF Plate
locking
service for which a Medicare 

Benefit is payable
SK293
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
8 Hole Y Plate, Midface, locking
$205.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK294
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
5 Hole L Plate 2mm Advancement, 
$185.00
Only to be funded where used in a 

Universal CMF Plate
Midface, locking; 5 Hole L Plate 
service for which a Medicare 

5mm Advancement, Midface, 
Benefit is payable

locking
SK295
Leibinger Titanium Implant System - 
Mid-Face Fixation Plates, Locking
6 Hole L Plate 8mm Advancement, 
$205.00
Only to be funded where used in a 

Universal CMF Plate
Midface, locking; 6 Hole L-Plate 
service for which a Medicare 

12mm Advancement, Midface, 
Benefit is payable

locking
SK296
Leibinger Titanium Implant System - 
Mandible Plates
4 hole 2.3mm Compression Plate; 6 
$2,635.00
Only to be funded where used in a 

Universal CMF Plate
Hole 2.3mm Compression Plate
service for which a Medicare 

Benefit is payable
SK297
Leibinger Titanium Implant System - 
Mandible Plates
16 Hole, Straight Plate, Locking, 
$2,635.00
Only to be funded where used in a 

Universal CMF Plate
Condensed
service for which a Medicare 

Benefit is payable
SK298
Leibinger Titanium Implant System - 
Mandible Plates
4-6 Hole, Straight Plate, 
$2,165.00
Only to be funded where used in a 

Universal CMF Plate
with/without bar, locking
service for which a Medicare 

Benefit is payable
SK340
Leibinger Titanium Implant System - 
Z Plate, Right/Left
 4 holes
$275.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
SK345
Leibinger Titanium Implant System - 
Le Fort 1 Plate, Right/Left
11hole, Advancement 2 - 10mm
$287.00
Only to be funded where used in a 

Universal CMF Plate
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 610 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK348
Leibinger Titanium Implant System - 
Titanium plates used for reconstruction and 
Universal CMF 4 hole chin plate, 
$185.00
Only to be funded where used in a 

Universal CMF Plate
fixation of craniomaxillofacial fractures or 
4mm. Universal CMF 4 hole chin 
service for which a Medicare 

osteotomy performed for correction of facial 
plate, 6mm. Universal CMF 4 hole 
Benefit is payable

deformity
chin plate, 8mm. Universal CMF 4 

hole chin plate, 10mm. Universal 

CMF 4 hole chin plate, 12mm.
SK349
Leibinger Titanium Implant System - 
Titanium plates used for reconstruction and 
Universal CMF 4 hole Z plate, 
$220.00
Only to be funded where used in a 

Universal CMF Plate
fixation of craniomaxillofacial fractures or 
Small, Orthognathic, locking. 
service for which a Medicare 

osteotomy performed for correction of facial 
Universal CMF 4 hole Z plate, 
Benefit is payable

deformity
Large, Orthognathic, locking.
SK350
Leibinger Titanium Implant System - 
Sagital split plate, locking
4 - 6 hole
$227.00
Only to be funded where used in a 

Universal CMF Plates
service for which a Medicare 

Benefit is payable
SK354
Universal Neuro Titanium Viper Self-
Titanium self-drilling screws used for the 
Diameter 1.5mm, Length 4 & 5 mm
$46.00
Only to be funded where used in a 

Drilling Screws
fixation of cranial bone flaps
service for which a Medicare 

Benefit is payable
SK355
Universal Neuro Titanium Low Profile Plate
Titanium Low Profile plates used for the 
Small, large, 20mm burr hole, 16 
$430.00
Only to be funded where used in a 

fixation of cranial bone flaps
hole without bar
service for which a Medicare 

Benefit is payable
SK356
Universal Neuro Titanium Low Profile Plate
Titanium Low Profile plates used for the 
2-hole plate, 12mm bar, 16mm bar
$102.00
Only to be funded where used in a 

fixation of cranial bone plates
service for which a Medicare 

Benefit is payable
SK359
Universal Neuro Titanium Low Profile Plate
Titanium Low Profile plates used for the 
4 hole 6mm Bar, 2 hole 12mm bar 
$220.00
Only to be funded where used in a 

fixation of cranial bone flaps
with tab, 7-14mm burr hole with tab
service for which a Medicare 

Benefit is payable
SK362
Universal Neuro Screws
Titanium screws used for the fixation of 
Diameter 1.5mm, length 4-6mm. 
$53.50
Only to be funded where used in a 

cranial bone flaps
Emergency Screws: Diameter 
service for which a Medicare 

1.7mm, length 4mm.
Benefit is payable
SK363
Universal Neuro Titanium Low Profile Plate
Titanium Low Profile plates used for the 
8 hole plate without bar,  2 x 2 box 
$370.00
Only to be funded where used in a 

fixation of cranial bone flaps
plate, double Y 6 hole 8mm
service for which a Medicare 

Benefit is payable
SK389
Universal System
Condylar Prosthesis
Left/Right
$990.00
ST076
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 4 holes
$67.00
Only to be funded where used in a 

mini bone plate  Titanium
service for which a Medicare 

Benefit is payable
ST077
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 6 holes
$67.00
Only to be funded where used in a 

mini bone plate  Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 611 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST078
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 16 holes
$108.00
Only to be funded where used in a 

mini bone plate  Titanium
service for which a Medicare 

Benefit is payable
ST079
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 5 holes
$108.00
Only to be funded where used in a 

mini compression plate  Titanium
service for which a Medicare 

Benefit is payable
ST080
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 4x2 holes
$345.00
Only to be funded where used in a 

mini 3D plate Titanium
service for which a Medicare 

Benefit is payable
ST081
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.0mm, 3x2 holes
$267.00
Only to be funded where used in a 

mini 3D plate Titanium
service for which a Medicare 

Benefit is payable
ST086
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x4 holes
$345.00
Only to be funded where used in a 

straight plate, short 
service for which a Medicare 

Benefit is payable
ST087
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x4 holes
$375.00
Only to be funded where used in a 

straight plate, medium Titanium
service for which a Medicare 

Benefit is payable
ST088
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x4 holes
$415.00
Only to be funded where used in a 

straight plate, long Titanium
service for which a Medicare 

Benefit is payable
ST089
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x6 holes
$444.00
Only to be funded where used in a 

straight plate, short Titanium
service for which a Medicare 

Benefit is payable
ST090
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x6 holes
$475.00
Only to be funded where used in a 

straight plate, medium Titanium
service for which a Medicare 

Benefit is payable
ST091
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x6 holes
$515.00
Only to be funded where used in a 

straight plate, long Titanium
service for which a Medicare 

Benefit is payable
ST092
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x8 holes
$540.00
Only to be funded where used in a 

straight plate Titanium
service for which a Medicare 

Benefit is payable
ST093
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x14 holes
$629.00
Only to be funded where used in a 

straight plate Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 612 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST094
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x6 holes
$520.00
Only to be funded where used in a 

angled plate Titanium
service for which a Medicare 

Benefit is payable
ST095
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: C-
2.3x4 holes
$395.00
Only to be funded where used in a 

shape plate Titanium
service for which a Medicare 

Benefit is payable
ST096
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x4 holes
$350.00
Only to be funded where used in a 

straight EDCP plate, short Titanium
service for which a Medicare 

Benefit is payable
ST097
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x4 holes
$315.00
Only to be funded where used in a 

straight EDCP plate, medium Titanium
service for which a Medicare 

Benefit is payable
ST098
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.3x6-22mm
$59.00
Only to be funded where used in a 

screws Titanium
service for which a Medicare 

Benefit is payable
ST099
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.7mm, 8 holes
$335.00
Only to be funded where used in a 

bridging plate, straight Titanium
service for which a Medicare 

Benefit is payable
ST100
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.7mm, 11 holes
$415.00
Only to be funded where used in a 

bridging plate, straight Titanium
service for which a Medicare 

Benefit is payable
ST101
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.7mm, 14 holes
$444.00
Only to be funded where used in a 

bridging plate, straight
service for which a Medicare 

Benefit is payable
ST102
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
2.7mm, 17 holes
$495.00
Only to be funded where used in a 

bridging, plate, straight Titanium
service for which a Medicare 

Benefit is payable
ST103
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
4+ 8 holes
$505.00
Only to be funded where used in a 

bridging plate, angled, right/left Titanium
service for which a Medicare 

Benefit is payable
ST104
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
4+ 11 holes
$548.00
Only to be funded where used in a 

bridging plate, angled, right/left Titanium
service for which a Medicare 

Benefit is payable
ST105
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
4+ 14 holes
$570.00
Only to be funded where used in a 

bridging plate, right/left Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 613 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST106
Leibinger Titanium Implant System
Leibinger COM/MAND Fixation System: 
4 + 8 holes
$415.00
Only to be funded where used in a 

bridging plate, right Titanium
service for which a Medicare 

Benefit is payable
ST123
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
4 holes
$126.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST124
Leibinger Titanium Implant System
Leibinger Bone plate: LEAD plate Titanium 
4 holes
$145.00
$1,300.00
Only to be funded where used in a 

Transport and base plate
service for which a Medicare 

Benefit is payable
ST125
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
6 holes
$140.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST126
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
8 holes
$160.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST127
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
12 holes
$230.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST128
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
16 holes
$280.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST129
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Straight 
24 holes
$410.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST130
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: straight, L-
5 holes
$206.00
Only to be funded where used in a 

shape, right/left Titanium
service for which a Medicare 

Benefit is payable
ST131
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: straight, L-
8 holes
$225.00
Only to be funded where used in a 

shape, right/left Titanium
service for which a Medicare 

Benefit is payable
ST132
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: T-shape, 
5 holes
$225.00
Only to be funded where used in a 

90 deg Titanium
service for which a Medicare 

Benefit is payable
ST133
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: T-shape, 
7 holes
$235.00
Only to be funded where used in a 

90 deg Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 614 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST135
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: double-T-
9 holes
$290.00
Only to be funded where used in a 

shape  Titanium
service for which a Medicare 

Benefit is payable
ST136
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: double-T-
14 holes
$350.00
Only to be funded where used in a 

shape  Titanium
service for which a Medicare 

Benefit is payable
ST137
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: Y-shape 
6 holes
$230.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST138
Leibinger Titanium Implant System
Micro Plus Bone plate: double-Y-shape
6 - 7 Holes
$275.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST139
Leibinger Titanium Implant System
Leibinger Micro Plus Bone plate: double-Y-
7holes
$280.00
Only to be funded where used in a 

shape Titanium
service for which a Medicare 

Benefit is payable
ST140
Leibinger Titanium Implant System
Leibinger Micro, Micro Plus and Low Profile 
8 holes
$240.00
Only to be funded where used in a 

Bone plate: orbital plate, curved Titanium
service for which a Medicare 

Benefit is payable
ST141
Leibinger Titanium Implant System
Leibinger Burr Hole Cover: curved  Titanium
7, 10, 14mm
$176.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST142
Leibinger Titanium Implant System
Leibinger 3D plate Titanium
1.2x2-6mm, 0.55mm height
$51.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST143
Leibinger Titanium Implant System
Leibinger 3D plate Titanium
1.2x7-10mm, 0.55mm height
$54.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST144
Leibinger Titanium Implant System
Leibinger 3D plate Titanium
1.2x11-12mm, 0.55mm height
$58.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST151
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: regular
4 holes, 0.55mm height
$126.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST152
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: with 
4 holes, 6mm, 8mm, 10mm bar, 
$126.00
Only to be funded where used in a 

bar Titanium
0.55mm height
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 615 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST153
Leibinger Titanium Implant System
Leibinger Steinhauser plate: long with bar 
4 holes, 0.55mm height
$126.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST154
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: regular
6 holes, 0.55mm height
$143.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST155
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone Plate: with 
6 holes, 12mm, 0.55mm height
$150.00
Only to be funded where used in a 

bar Titanium
service for which a Medicare 

Benefit is payable
ST156
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: regular
8 holes, 0.55mm height
$175.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST157
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: regular
16 holes, 0.55mm height
$270.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST158
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: regular
30 holes, 6mm bar, 0.55mm height
$395.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST159
Leibinger Titanium Implant System
LeibingerSteinhauser plate: regular Titanium
30 holes, 6mm bar, 0.55mm height
$395.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST160
Leibinger Titanium Implant System
Bone plate L-shape, 90 deg, right/left
4 Holes
$195.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST162
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: L-
4 holes, 8mm bar, 0.55mm height
$200.00
Only to be funded where used in a 

shape, 90 deg, with bar, right/left Titanium
service for which a Medicare 

Benefit is payable
ST163
Leibinger Titanium Implant System
Leibinger Steinhauser plate: L-shape, 
5 holes, 8mm bar, 0.55mm height
$200.00
Only to be funded where used in a 

right/left, with bar Titanium
service for which a Medicare 

Benefit is payable
ST164
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: L-
4 holes, 10mm bar, 0.55mm height
$205.00
Only to be funded where used in a 

shape, 90 deg, with bar, right/left Titanium
service for which a Medicare 

Benefit is payable
ST165
Leibinger Titanium Implant System
L-shape, right/left, with Bar
5 - 7 Hole
$215.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 616 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST167
Leibinger Titanium Implant System
Leibinger Steinhauser plate: L-shape, 
9 holes, 12mm bar, 0.55mm height
$210.00
Only to be funded where used in a 

right/left, with bar Titanium
service for which a Medicare 

Benefit is payable
ST169
Leibinger Titanium Implant System
Leibinger Steinhauser plate: T-shape, with 
4 holes, 8mm bar, 0.55mm height
$222.00
Only to be funded where used in a 

bar Titanium
service for which a Medicare 

Benefit is payable
ST170
Leibinger Titanium Implant System
Bone plate T-shape with or without bar
4 HOLES
$227.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST171
Leibinger Titanium Implant System
Leibinger Steinhauser plate: T-shape, with 
8 holes, 12mm bar, 0.55mm height
$228.00
Only to be funded where used in a 

bar Titanium
service for which a Medicare 

Benefit is payable
ST172
Leibinger Titanium Implant System
Mini Wurzburg Bone plate, T-shape
5 - 6 holes
$246.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST175
Leibinger Titanium Implant System
Non-compression Hand plate T-shape, 
5 Holes
$246.00
Only to be funded where used in a 

right/left
service for which a Medicare 

Benefit is payable
ST179
Leibinger Titanium Implant System
Non-compression Hand plate: regular, Y-
5 holes, 0.55mm height
$260.00
Only to be funded where used in a 

shape, long, regular
service for which a Medicare 

Benefit is payable
ST180
Leibinger Titanium Implant System
Bone plate Y-shape,
5 HOLES
$246.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST181
Leibinger Titanium Implant System
Mini Wurzburg Bone plate: T- Shape,  Y- 
5 - 6 holes
$248.00
Only to be funded where used in a 

Shape & Double -T- Shape
service for which a Medicare 

Benefit is payable
ST183
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: 
6 holes, 0.55mm height
$255.00
Only to be funded where used in a 

double-Y-shape, regular Titanium
service for which a Medicare 

Benefit is payable
ST184
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: 
6 holes, 8mm bar, 0.55mm height
$265.00
Only to be funded where used in a 

double-Y-shape, with bar Titanium
service for which a Medicare 

Benefit is payable
ST185
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: 
7 holes, 0.55mm height
$285.00
Only to be funded where used in a 

double-Y-shape, regular Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 617 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST188
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Orbita Bone plate: 
4 holes, 6mm bar, 0.55mm height
$170.00
Only to be funded where used in a 

curved, with bar Titanium
service for which a Medicare 

Benefit is payable
ST189
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Orbita Bone plate: 
6 holes, 8mm bar, 0.55mm height
$210.00
Only to be funded where used in a 

curved, with bar Titanium
service for which a Medicare 

Benefit is payable
ST190
Leibinger Titanium Implant System
LeibingerSteinhauser Orbita Bone plate: 
6 holes, 0.55mm height
$205.00
Only to be funded where used in a 

curved Titanium
service for which a Medicare 

Benefit is payable
ST191
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Orbita Bone plate: 
8 holes, 0.55mm height
$242.00
Only to be funded where used in a 

curved Titanium
service for which a Medicare 

Benefit is payable
ST192
Leibinger Titanium Implant System
Leibinger Steinhauser Orbita Bone plate: 
8 holes, 0.55mm height
$238.00
Only to be funded where used in a 

curved Titanium
service for which a Medicare 

Benefit is payable
ST193
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Orbita Bone plate: 
10 holes, 0.55mm height
$255.00
Only to be funded where used in a 

curved Titanium
service for which a Medicare 

Benefit is payable
ST194
Leibinger Titanium Implant System
Leibinger Steinhauser Orbita Bone plate: 
10 holes, 0.55mm height
$253.00
Only to be funded where used in a 

curved Titanium
service for which a Medicare 

Benefit is payable
ST195
Leibinger Titanium Implant System
Bone plate, L-shape, 110 deg, right/left 
4 holes
$195.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST197
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: L-
4 & 5 holes, with 12mm bar, 
$219.00
Only to be funded where used in a 

shape, 110 deg, regular, with bar,  right/left 
0.55mm height
service for which a Medicare 

Titanium
Benefit is payable
ST198
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Bone plate: 
2x2 holes, 0.55mm height
$219.00
Only to be funded where used in a 

square, rectangular Titanium
service for which a Medicare 

Benefit is payable
ST199
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Bone plate: 
3x2 holes, 0.55mm height
$332.00
Only to be funded where used in a 

square, rectangular Titanium
service for which a Medicare 

Benefit is payable
ST200
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Bone plate: 
4x2 holes, 0.55mm height
$435.00
Only to be funded where used in a 

square, rectangular Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 618 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST201
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Bone plate: 
4x4 holes, 0.55mm, 0.55mm height
$635.00
Only to be funded where used in a 

square, rectangular Titanium
service for which a Medicare 

Benefit is payable
ST202
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Bone plate: 
6x4 holes, 0.55mm height
$950.00
Only to be funded where used in a 

square, rectangular Titanium
service for which a Medicare 

Benefit is payable
ST203
Leibinger Titanium Implant System
Leibinger Mini Wurzburg 3D Zygoma Bone 
4x2 holes, 0.55mm height
$635.00
Only to be funded where used in a 

plate: rectangular Titanium
service for which a Medicare 

Benefit is payable
ST204
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Bone plate: 
2 holes, 0.55mm height
$95.00
Only to be funded where used in a 

straight Titanium
service for which a Medicare 

Benefit is payable
ST231
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Flexplate: L-shape,
4 holes
$195.00
Only to be funded where used in a 

 110 deg, regular Titanium
service for which a Medicare 

Benefit is payable
ST232
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Flexplate: L-shape,
4 holes, with 6mm, 8mm, 10mm bar
$195.00
Only to be funded where used in a 

 110 deg, right/left Titanium
service for which a Medicare 

Benefit is payable
ST233
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Flexplate: L-shape,
5 holes, with 12mm bar
$213.00
Only to be funded where used in a 

 110 deg, right/left Titanium
service for which a Medicare 

Benefit is payable
ST234
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Compression 
4 holes, with 6 x 1mm bar
$170.00
Only to be funded where used in a 

Bone plate: L-shape, C-shape Titanium
service for which a Medicare 

Benefit is payable
ST235
Leibinger Titanium Implant System
Leibinger Mini Wurzburg Compression 
6 holes, with 8 x 1mm bar
$205.00
Only to be funded where used in a 

Bone plate: L-shape, C-shape Titanium
service for which a Medicare 

Benefit is payable
ST245
Leibinger Titanium Implant System
Leibinger Mesh Implants Titanium
75 x 12 x 0.5mm
$315.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST246
Leibinger Titanium Implant System
Leibinger Mesh Implants Titanium
75 x 18 x 0.5mm
$365.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST247
Leibinger Titanium Implant System
Leibinger Mesh Implants Titanium
.75 x 27 x 0.5mm
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 619 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST250
Leibinger Titanium Implant System
Mesh: Micro, Dumbach, Dynamic
Diameter 1.0mm - 2.3mm; Up to 90 x
$1,155.00
Only to be funded where used in a 

 90mm
service for which a Medicare 

Benefit is payable
ST311
Leibinger Titanium Implant System
Plate - Leibinger Low Profile Osteosynthesis
4 holes
$110.00
Only to be funded where used in a 

 System: mini, non-compression / 
service for which a Medicare 

compression, straight, regular / extended, 
Benefit is payable

medium / long Titanium
ST312
Leibinger Titanium Implant System
Plate - Leibinger Low Profile Osteosynthesis
8 holes
$155.00
Only to be funded where used in a 

 System: mini, non-compression, 
service for which a Medicare 

compression, straight, regular / extended, 
Benefit is payable

medium / long Titanium
ST313
Leibinger Titanium Implant System
Plate - Leibinger Low Profile Osteosynthesis
16 holes
$250.00
Only to be funded where used in a 

 System: mini, non-compression, 
service for which a Medicare 

compression, straight, regular / extended, 
Benefit is payable

medium / long Titanium
ST314
Leibinger Titanium Implant System
Leibinger Low Profile Osteosynthesis 
4 holes
$180.00
Only to be funded where used in a 

System: L-shape, right/left, regular, medium, 
service for which a Medicare 

long Titanium
Benefit is payable
ST315
Leibinger Titanium Implant System
Leibinger Low Profile Osteosynthesis 
5 holes
$203.00
Only to be funded where used in a 

System: L-shape, right/left, long, extended 
service for which a Medicare 

Titanium
Benefit is payable
ST326
Leibinger Titanium Implant System
Leibinger Micro 3D Plating System: square, 
2x2 holes, 0.55mm profile
$185.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST327
Leibinger Titanium Implant System
Leibinger Micro 3D Plating System: square, 
2x3 holes, 0.55mm profile
$253.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST328
Leibinger Titanium Implant System
Leibinger Micro 3D Plating System: square, 
2x4 holes, 0.55mm profile
$340.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST329
Leibinger Titanium Implant System
Leibinger Micro 3D Plating System: square, 
4x4 holes, 0.55mm profile
$490.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST330
Leibinger Titanium Implant System
Leibinger Micro 3D Plating System: square, 
4x6 holes, 0.55mm profile
$730.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST331
Leibinger Titanium Implant System
Leibinger Micro Bone plate Titanium
4 holes, 0.55mm profile
$110.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 620 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST332
Leibinger Titanium Implant System
Leibinger Micro Bone plate Titanium
6 holes, 0.55mm profile
$140.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST333
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: straight 
6 holes, 0.55mm profile
$120.00
Only to be funded where used in a 

titanium
service for which a Medicare 

Benefit is payable
ST334
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: straight 
8 holes, 0.55mm profile
$160.00
Only to be funded where used in a 

titanium
service for which a Medicare 

Benefit is payable
ST335
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: straight 
16 holes, 0.55mm profile
$253.00
Only to be funded where used in a 

titanium
service for which a Medicare 

Benefit is payable
ST336
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: straight 
24 holes, 0.55mm profile
$345.00
Only to be funded where used in a 

titanium
service for which a Medicare 

Benefit is payable
ST337
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: L-shape, 
5 holes, 0.55mm profile
$170.00
Only to be funded where used in a 

right/left Titanium
service for which a Medicare 

Benefit is payable
ST338
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: L-shape, 
8 holes, 0.55mm profile
$200.00
Only to be funded where used in a 

right/left Titanium
service for which a Medicare 

Benefit is payable
ST339
Leibinger Titanium Implant System
Leibinger Low Profile Bone Plate: T-shape, 
5, 7, 9 holes, 0.55mm profile
$185.00
Only to be funded where used in a 

double-T-shape, right/left, 90 deg Titanium
service for which a Medicare 

Benefit is payable
ST340
Leibinger Titanium Implant System
Leibinger Steinhauser Bone Plate: X-shape 
4, 8, 9 holes, 0.55mm profile
$185.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST341
Leibinger Titanium Implant System
Leibinger Micro Bone Plate: Y-shape, 
6 holes, 0.55mm profile
$205.00
Only to be funded where used in a 

double-Y-shape Titanium
service for which a Medicare 

Benefit is payable
ST342
Leibinger Titanium Implant System
Leibinger Steinhauser Bone Plate: Y-shape  
8 holes, 0.55mm profile
$203.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST343
Leibinger Titanium Implant System
Leibinger 3D Plating System: micro 
3 holes
$170.00
Only to be funded where used in a 

triangular plate Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 621 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST344
Leibinger Titanium Implant System
Leibinger 3D Plating System: micro circular 
8 holes
$465.00
Only to be funded where used in a 

plate Titanium
service for which a Medicare 

Benefit is payable
ST356
Leibinger Titanium Implant System
Paulus Chin plate Titanium
2, 4, 6, 8, 10, 12, 14mm bar, 0.6mm
$280.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST447
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 45 deg
4 holes, 40mm
$350.00
Only to be funded where used in a 

 plate Titanium
service for which a Medicare 

Benefit is payable
ST448
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 45 deg
4 holes, 50mm
$380.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST449
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 
8 holes, 60mm
$450.00
Only to be funded where used in a 

straight Titanium
service for which a Medicare 

Benefit is payable
ST450
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 
8 holes, 70mm
$440.00
Only to be funded where used in a 

straight Titanium
service for which a Medicare 

Benefit is payable
ST451
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 
16 holes, 120mm
$555.00
Only to be funded where used in a 

straight Titanium
service for which a Medicare 

Benefit is payable
ST452
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 
6 holes
$420.00
Only to be funded where used in a 

angled, 60 deg Titanium
service for which a Medicare 

Benefit is payable
ST476
Wurzburg Bone Plates
Wurzburg  Mini Bone plate: straight, 
4 holes
$64.50
Only to be funded where used in a 

medium/regular/long, with/without bar  
service for which a Medicare 

Titanium
Benefit is payable
ST477
Wurzburg Bone Plates
Wurzburg  Mini Bone plate: straight, 
6 holes
$64.50
Only to be funded where used in a 

regular/long, with/without bar Titanium
service for which a Medicare 

Benefit is payable
ST478
Wurzburg Bone Plates
Wurzburg  Mini Bone plate: straight, long 
8 holes
$97.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST479
Wurzburg Bone Plates
Wurzburg  Mini Bone plate: straight, regular 
16 holes
$120.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 622 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST480
Wurzburg Bone Plates
Wurzburg  Mini Bone plate: H and Y-shape 
10, 12 holes
$229.00
Only to be funded where used in a 

nasal plate Titanium
service for which a Medicare 

Benefit is payable
ST481
Wurzburg Bone Plates
Wurzburg Bone plate: double-T-shape,  
4, 6 holes
$125.00
Only to be funded where used in a 

with/without bar, 90 deg, regular/short 
service for which a Medicare 

Titanium
Benefit is payable
ST482
Wurzburg Bone Plates
Wurzburg Bone plate: double-Y-shape , 
6, 8 holes
$150.00
Only to be funded where used in a 

with/without bar,  short/long/long extended 
service for which a Medicare 

Titanium
Benefit is payable
ST483
Wurzburg Bone Plates
Wurzburg Bone plate: double-Y-shape, no 
7 holes
$185.00
Only to be funded where used in a 

bridge Titanium
service for which a Medicare 

Benefit is payable
ST484
Wurzburg Bone Plates
L-shape, right/left, Titanium
4 - 5 holes
$104.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST486
Wurzburg Bone Plates
Wurzburg Bone plate: T-shape, with/without
5, 6 holes
$104.00
Only to be funded where used in a 

 bar, 90 deg, regular/long Titanium
service for which a Medicare 

Benefit is payable
ST487
Wurzburg Bone Plates
Wurzburg Bone plate: T-shape, long, 80 deg,
5 holes
$104.00
Only to be funded where used in a 

 long, right/left Titanium
service for which a Medicare 

Benefit is payable
ST488
Wurzburg Bone Plates
Wurzburg Bone plate: Y-shape plate, 
5 holes
$104.00
Only to be funded where used in a 

regular/long Titanium
service for which a Medicare 

Benefit is payable
ST489
Wurzburg Bone Plates
Wurzburg Bone plate: Z-shape plate, 
4 holes
$195.00
Only to be funded where used in a 

100/110 deg, right/left Titanium
service for which a Medicare 

Benefit is payable
ST490
Wurzburg Bone Plates
Wurzburg Bone Screws: self-tapping Titanium
2x4-19mm, 2.3x7-9mm. Pack of 10
$27.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST491
Wurzburg Bone Plates
Leibinger 3D Plating System: square 
2x2 holes
$215.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST492
Wurzburg Bone Plates
Leibinger 3D Plating System: rectangular 
2x2 holes, 1mm thick
$215.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 623 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST493
Wurzburg Bone Plates
Leibinger 3D Plating System:  square Titanium
3x2 holes, 1mm thick
$305.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST494
Wurzburg Bone Plates
Leibinger 3D Plating System:  square, 
4x2 holes, 1mm thick
$405.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST495
Wurzburg Bone Plates
Leibinger 3D Plating System: rectangular 
4x4 holes, 1mm thick
$900.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST496
Wurzburg Bone Plates
Leibinger 3D Plating System:  square, 
6x4 holes, 1mm thick
$900.00
Only to be funded where used in a 

rectangular Titanium
service for which a Medicare 

Benefit is payable
ST497
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
2 holes
$305.00
Only to be funded where used in a 

Plating System: straight bridging plate 
service for which a Medicare 

Benefit is payable
ST498
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
3 holes
$365.00
Only to be funded where used in a 

Plating System: straight bridging plate 
service for which a Medicare 

Benefit is payable
ST499
Wurzburg Bone Plates
Wurburg Mandibular Reconstruction 
4 holes
$415.00
Only to be funded where used in a 

Plating System: straight bridging plate 
service for which a Medicare 

Benefit is payable
ST500
Wurzburg Bone Plates
Wurburg Mandibular Reconstruction 
5 holes
$470.00
Only to be funded where used in a 

Plating System: straight bridging plate 
service for which a Medicare 

Benefit is payable
ST501
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
6 holes
$520.00
Only to be funded where used in a 

Plating System: straight bridging plate 
service for which a Medicare 

Benefit is payable
ST502
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
7 holes
$572.00
Only to be funded where used in a 

Plating System: straight  Titanium
service for which a Medicare 

Benefit is payable
ST503
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
3 holes
$545.00
Only to be funded where used in a 

Plating System: angled bridging plate, 
service for which a Medicare 

right/left Titanium
Benefit is payable
ST505
Titanium Bone Plates
Mandibule Recon Fracture Plating System: 
5 - 9 holes
$730.00
$760.00
Only to be funded where used in a 

angled plate, right/left
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 624 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST507
Wurzburg Bone Plates
Wurzburg Mandibular Reconstruction 
9 holes
$1,290.00
Only to be funded where used in a 

Plating System: total mandible bridging plate
service for which a Medicare 

 Titanium
Benefit is payable
ST516
Stryker Leibinger Resorbable Fixation 
Resorbable plate: blank panel Tripolymer
55x55mm 
$855.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST517
Stryker Leibinger Resorbable Fixation 
Resorbable plate: box shape  Tripolymer
2x2 holes
$187.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST518
Stryker Leibinger Resorbable Fixation 
Resorbable plate: curved plate Trypolymer
8 holes
$173.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST519
Stryker Leibinger Resorbable Fixation 
Resorbable plate: L-shape plate, 110 deg, 
7 holes
$187.00
Only to be funded where used in a 

System
right/left Tripoymer
service for which a Medicare 

Benefit is payable
ST520
Stryker Leibinger Resorbable Fixation 
Resorbable plate: ladder shape plate 
2x5 holes
$340.00
Only to be funded where used in a 

System
Tripolymer
service for which a Medicare 

Benefit is payable
ST521
Stryker Leibinger Resorbable Fixation 
Resorbable plate: straight Tripolymer
14 holes
$212.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST524
Stryker Leibinger Resorbable Fixation 
Resorbable plate: Y-shape Tripolymer
6 holes
$187.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST525
Stryker Leibinger Resorbable Fixation 
Resorbable plate: Y-shape Tripolymer
8 holes
$147.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable

Synthes Australia Pty Ltd
SY252
AO/ASIF Facio-Maxillary Plates
Flapfix - Plates for fixation of cranial bone 
10 - 20mm
$195.00
Only to be funded where used in a 

flaps
service for which a Medicare 

Benefit is payable

TiMax Surgical Pty Ltd
TI001
TiMax Titanium Plates
Micro, Mini Standard - L (R & L), T & Y 
4 - 24  holes
$186.00
Only to be funded where used in a 

Shapes, Straight Long.  Micro & Mini 
service for which a Medicare 

Square Triple
Benefit is payable
TI009
TiMax Titanium Plates
Micro & Mini Square Double
3 x 2 holes
$168.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 625 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TI010
TiMax Titanium Plates
Micro, Mini & Standard - Double T & Y 
4 to 9 holes
$204.00
Only to be funded where used in a 

Shape
service for which a Medicare 

Benefit is payable
TI012
TiMax Titanium Plates
Fracture, Curved and Angled
4 - 6 holes
$378.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI019
TiMax Titanium Plates
Micro, Mini & Standard Straight Short
4-8 Holes
$123.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI021
TiMax Titanium Plates
Micro & Mini Square Single
2 x 2 holes
$147.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI026
TiMax Titanium Plates
Custom Mesh
$6,104.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI033
TiMax Titanium Plates
Mesh, Strap, J Plate
Mesh 125 x 125mm
$673.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
TI040
TiMax Titanium Plates
Fracture Straight Short & Long
4 to 14 holes
$231.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Plates, Cranioplasty

Mondeal Medical Systems Pty Ltd
MD002
Mondeal Medical Systems Implant & 
Plate
Straight 2-6 hole
$50.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD004
Mondeal Medical Systems Implant & 
Plate
Straight 8 hole
$72.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD005
Mondeal Medical Systems Implant & 
Plate
Straight 16 hole
$90.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD007
Mondeal Medical Systems Implant & 
Plate
L Shape Right & Left
$80.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 626 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MD008
Mondeal Medical Systems Implant & 
Plate
T Shape
$98.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD009
Mondeal Medical Systems Implant & 
Plate
Y Shape
$115.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD011
Mondeal Medical Systems Implant & 
Plate
T Shape
$90.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD015
Mondeal Medical Systems Implant & 
Plate
Straight 4-6 hole
$72.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD019
Mondeal Medical Systems Implant & 
Plate
Straight 8 hole & L Shape - Right 
$121.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
& Left
service for which a Medicare 

System
Benefit is payable
MD021
Mondeal Medical Systems Implant & 
Plate
T Shape
$143.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD022
Mondeal Medical Systems Implant & 
Plate
Y Shape
$170.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD024
Mondeal Medical Systems Implant & 
Plate
T, Y, Orbital Shape
$140.00
Only to be funded where used in a 

Prostheses, Mini 2000 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD038
Mondeal Medical Systems Implant & 
Plate
Straight 4 - 6 hole
$82.00
Only to be funded where used in a 

Prostheses, Mini 1700 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD041
Mondeal Medical Systems Implant & 
Plate
Straight 16 hole, Y Shape
$178.00
Only to be funded where used in a 

Prostheses, Mini 1700 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD042
Mondeal Medical Systems Implant & 
Plate
Orbital Shape
$143.00
Only to be funded where used in a 

Prostheses, Mini 1700 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD043
Mondeal Medical Systems Implant & 
Plate
T, Y, Z Shape
$160.00
Only to be funded where used in a 

Prostheses, Mini 1700 Reconstruction 
service for which a Medicare 

System
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 627 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MD047
Mondeal Medical Systems Implant & 
Plate
L Shape Right & Left
$132.00
Only to be funded where used in a 

Prostheses, Mini 1700 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD058
Mondeal Medical Systems Implant & 
Plate
L, T Shape
$129.00
Only to be funded where used in a 

Prostheses, Micro 1200 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD059
Mondeal Medical Systems Implant & 
Plate
L, Y Shape
$147.00
Only to be funded where used in a 

Prostheses, Micro 1200 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD062
Mondeal Medical Systems Implant & 
Plate
H Shape
$242.00
Only to be funded where used in a 

Prostheses, Micro 1200 Reconstruction 
service for which a Medicare 

System
Benefit is payable
MD070
Mondeal Medical Systems Implant & 
Mesh
Micro 50 x 30mm
$103.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD071
Mondeal Medical Systems Implant & 
Mesh
Micro 100 x 60mm
$330.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD072
Mondeal Medical Systems Implant & 
Mesh
Micro 100 x 30mm, 50 x 60mm
$165.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD104
Mondeal Medical Systems Implant & 
Chin Plate
4mm - 12mm
$154.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
Prostheses, Chin

Medical Device Alliance Pty Ltd c/o Karma Medical
MP010
Facial Implant Chin
Anotomical chin
Small, medium, large/left, right
$275.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP012
Facial Implant Chin
Chin
Small, medium, large/left, right
$258.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 628 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mentor Medical Systems
MN020
Implantech Facial Implants - Chin 
Implantech Anatomical Chin;Flowers 
Extra small, Small, Medium, Large, 
$420.00
Only to be funded where used in a 

Prostheses
Mandibular Glove;Terino Extended 
Extra Large
service for which a Medicare 

Anatomical Chin;Terino Square Chin Style 
Benefit is payable.

I;Mittleman Pre-Jowl;Glasgold Wafer for 

Pre-Jowl Chin;Mittleman Pre-Jowl 

Chin;Glasgold Wafer for Extended 

Anatomical Chin;Silicone Chin;Terino 

Square Chin II Composition Implant Grade 

Silicone Elastomer

Surgiplas Medical
SP004
Facial Prosthesis
Silicone elastomer
Small / Medium / Large / X-Large
$286.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses, Dental, Implantable

AstraZeneca Pty Ltd
AZ001
Astra Tech Cover Screws
Cover Screw
Diameter 3.5mm, 4.0mm, 4.5/5.0mm 
$52.00
Only to be funded where used in a 

Short, 4.5/ 5.0mm Long
service for which a Medicare 

Benefit is payable
AZ002
Astra Tech MicroThread Fixtures and 
Titanium fixture with microthreaded cervical 
Diameter 3.5 - 5.0mm, Length 8-19mm
$467.00
Only to be funded where used in a 

MicroThread Osseospeed Fixtures
neck
service for which a Medicare 

Benefit is payable
AZ003
Astra Tech Healing Abutments
Healing Abutments, Healing Abutments 
Zebra 1.5, 3.0, 4.5, 6.0mm; Healing 
$67.00
Only to be funded where used in a 

Abutment 5.5mm Ultra, Short, 
service for which a Medicare 

Long; 7.0mm Short, Long; ST 
Benefit is payable

Short, Long; ST 5.5mm Short, 

Long; ST 7.0mm Short, Long; 

Temporary Abutment 3.5, 4.0 

4.0/5.0mm
AZ004
Astra Tech Abutments
Temporary Abutment
Diam 3.5 - 5.0mm
$96.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AZ005
Astra Tech Abutments
PreFab Titanium Abutment, 
Diam 3.5 - 5.0mm
$96.00
Only to be funded where used in a 

BiAbutment/Abutment Kit
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 629 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AZ006
Astra Tech Abutments
UniAbutment, Angled Abutment, Ball 
Diam 3.5 - 7.0mm
$96.00
Only to be funded where used in a 

Abutment
service for which a Medicare 

Benefit is payable
AZ007
Astra Tech Abutments
Ceramic Abutment
Diam 4.5 - 5.0mm
$136.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AZ008
AstraTech Cast to Abutment
$160.00
AZ009
AstraTech Profile BI Abutment
$160.00

Biomet 3i Australia Pty Ltd
NW001
3i Abutment Complete
Titanium
3.25 - 6mm diameter
$8.00
$60.00
Endosseous Implants -  (Not to be 

included for dental treatment except

 as a secondary procedure when 

partial or complete resection of a 

mandible or maxilla has been 

undertaken for removal of an 

extensive tumour or cyst.)
NW002
3i Self Tapping Threaded Implants and 3i 
Osseotite/Ice
3.25 - 6mm diameter
$52.00
$420.00
Endosseous Implants -  (Not to be 

Coverscrew
included for dental treatment except

 as a secondary procedure when 

partial or complete resection of a 

mandible or maxilla has been 

undertaken for removal of an 

extensive tumour or cyst.)

Henry Schein/Halas Pty Ltd
HD006
Dental Implants
Titanium type 4 and 5
3.25 to 6.0mm diameter, 6.0 to 
$96.00
$350.00
Only to be funded where used in a 

52.5mm length
service for which a Medicare 

Benefit is payable

Neoss Australia Pty Ltd
NJ001
Neo Implant System
Neo Implant System - including cover screw 
Diameter 3.5, 4.0, 4.5, 5.5mm in 
$360.00
Only to be funded where used in a 

and abutment
Lengths: 7, 9, 11, 13, 15, 17mm
service for which a Medicare 

Benefit is payable
NJ002
Neo Implant System
Titanium Prepable Abutment
Straight or 15 degree including 
$185.00
Only to be funded where used in a 

Abutment Screw and Laboratory 
service for which a Medicare 

Screw
Benefit is payable
NJ003
Neo Implant System
Neo Abutment Titanium including 
universal
$175.00
Only to be funded where used in a 

Abutment Screw, Laboratory Screw and 16 
service for which a Medicare 

preformed abutments
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 630 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NJ004
Neo Implant System
Neo Abutment Gold-  including Abutment 
universal
$220.00
Only to be funded where used in a 

Screw, Laboratory Screw and 16 preformed 
service for which a Medicare 

abutments
Benefit is payable
NJ005
Neo Implant System
Matrix Abutment Titanium
Hex RP; Hex NP; C- Lect RP; C-
$115.00
Only to be funded where used in a 

Lect NP; St.
service for which a Medicare 

Benefit is payable
NJ006
Neo Implant System
Matrix Abutment Gold
Hex RP; Hex NP; C- Lect RP; C-
$160.00
Only to be funded where used in a 

Lect NP; St.
service for which a Medicare 

Benefit is payable
NJ007
Neo Implant System
Neo Ball Abutment
1, 3 & 4.5mm
$185.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NJ008
Neo Implant System
Bar Abutment Titanium
universal
$85.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NJ009
Neo Implant System
Healing Abutment with Screw
universal
$38.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Nobel Biocare
NR001
Branemark Abutments
Abutment, complete
3.5, 4.5, 5.0, 6.0, 7.0mm Diameter
$96.00
$260.00
Endosseous Implants -  (Not to be 

included for dental treatment except

 as a secondary procedure when 

partial or complete resection of a 

mandible or maxilla has been 

undertaken for removal of an 

extensive tumour or cyst.)
NR002
Branemark Cover Screws
Cover screw
3, 3.3, 3.75, 4, 4.3, 5, 5.5, 6mm
$52.00
$70.00
Endosseous Implants -  (Not to be 

included for dental treatment except

 as a secondary procedure when 

partial or complete resection of a 

mandible or maxilla has been 

undertaken for removal of an 

extensive tumour or cyst.)
NR003
Branemark Fixtures
Titanium Fixture
3, 4, 5mm
$96.00
$507.00
Endosseous Implants -  (Not to be 

included for dental treatment except

 as a secondary procedure when 

partial or complete resection of a 

mandible or maxilla has been 

undertaken for removal of an 

extensive tumour or cyst.)
Prostheses List by Category, Groups and Sponsor
Page 631 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NR004
Healing Abutment Complete
Abutment Coping
One Size Only
$70.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NR006
Branemark Novum System
Titanium - Kit Fixture System
One size only
$534.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
NR007
Branemark Titanium Fixture
Zygomaticus Fixture
30, 35, 42.5, 40, 45, 47.5, 50, 52.5mm 
$800.00
Only to be funded where used in a 

Length
service for which a Medicare 

Benefit is payable
NR009
NobelDirect Implant
Dental Implant Endosseous incorporating 
10mm, 13mm, 16mm
$617.00
$625.00
To be funded only when used in 

abutment, Titanium
MBS procedures relating to 

oncology
NR010
Replace Implant
Dental Implant Endosseous, Titanium
10mm, 13mm, 16mm
$96.00
$510.00
To be funded only when used in 

MBS procedures relating to 

oncology
NR011
NobelPerfect Implant
Dental Implant Edosseous, Titanium
10mm, 13mm, 16mm
$860.00
To be funded only when used in 

MBS procedures relating to 

oncology

Straumann Pty Ltd
SB001
Straumann Pty Ltd
Straumann Dental Implant NNI/RN/WNI
Diameter 3.3 - 4.8mm Length 6 - 
$240.00

16mm
SB002
Straumann Pty Ltd
Straumann Healing Cap NNI/RN/WNI
Height 1.5 - 4.5 mm
$45.00
Prostheses, Ear

Medical Device Alliance Pty Ltd c/o Karma Medical
MP034
Facial Implant - Ear
One size only
$496.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 632 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Finger/Thumb

Medical Device Alliance Pty Ltd c/o Karma Medical
MP011
Phalangeal Joint Implant
Flexible monoblock implant to restore finger 
00-7
$434.00
Only to be funded where used in a 

articulation, 2001
service for which a Medicare 

Benefit is payable.
Prostheses, Joint, Mandible

Biomet Australia Pty Ltd
BI559
TMJ System
Mandibular Component, Left or Right, 
(40 - 60mm), 5-13 hole
$6,875.00
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
BI569
TMJ System
Fossa Component, Left or Right; Titanium, 
Small, Medium Large
$5,850.00
Only to be funded where used in a 

UHMWPE
service for which a Medicare 

Benefit is payable
BI570
TMJ System
Screw, Cross Drive, Fossa; Titanium
(2.0 or 2.3) x (5 - 13) mm
$75.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses, Mammary, Internal

Device Technologies Australia Pty Ltd
DE100
McGhan Style 150 Biodimensional Biocell 
Full height, Short Height
9.5 - 16cm width x 8 - 17cm height x
$2,294.00
In strict accordance with the 

Textured Expand Gel/Saline Filled 
 4.2 - 7.1cm projection
requirements of the Medicare 

Mammary Implant, Low Pole
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE102
McGhan Style 110 & 120 Biocell Textured 
Round: Moderate or high profile
90 - 650 grams
$732.00
In strict accordance with the 

Gel-Filled Mammary Implant
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses List by Category, Groups and Sponsor
Page 633 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
DE104
McGhan Style 40 & 45 Intrashiel Gel-Filled 
Round: standard or high profile
120 400 grams
$610.00
In strict accordance with the 

Round Mammary Implant
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE106
CUI Type MLP, Microcell, DRIE Low 
Low or High profile, textured surface
100 - 525 grams
$685.00
In strict accordance with the 

Profile Gel-Filled  Mammary Implant; CUI 
requirements of the Medicare 

Type MHP, Microcell, DRIE High Profile 
Benefits Schedule Items Number 

Gel-Filled  Mammary Implant
45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE120
McGhan Style 410 & 410 Soft Touch 
Full, moderate or low height, Extra Full, Full, 
125 - 775 grams
$1,200.00
In strict accordance with the 

Biodimensional Biocell Textured Cohesive 
moderate or low projection
requirements of the Medicare 

Gel-filled Mammary Implant
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.

Medical Device Alliance Pty Ltd c/o Karma Medical
MP036
Infraclavicular Implant
Infraclavicular Implant
14cc; 20cc; 38cc; 63cc; 122cc
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP037
Pectoral Implants
Gel - Smooth surface
190cc - 300cc
$950.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP038
Pectoral Implants
Elastomer - Smooth surface
190cc - 300cc
$950.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
MP039
Pectoral Implants
Elastomer - Textured surface
190cc - 300cc
$980.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 634 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Mentor Medical Systems
MN018
Smooth High Profile Gel-filled Mammary 
Mammary prostheses
125cc-Model 350-1254BC; 150cc-
$610.00
In strict accordance with the 

Prostheses
Model 350-1504BC; 175cc-Model 
requirements of the Medicare 

350-1754BC; 200cc-Model 350-
Benefits Schedule Items Number 

2004BC; 225cc-Model 350-2254BC;
45524, 45527, 45528, 45542, 45552, 

 250cc-Model 350-2504BC; 275cc-
45554, 45555 only.

Model 350-2754BC; 300cc-Model 

350-3004BC; 325cc-Model 350-

3254BC; 350cc-Model 350-3504BC;

 375cc-Model 350-3754BC; 400cc-

Model 350-4004BC; 425cc-Model 

350-4254BC; 450cc-Model 350-

4504BC; 500cc-Model 350-5004BC;

 550cc-Model 350-5504BC, 600cc-

Model 350-6004BC; 650cc-Model 

350-6504BC; 700cc-Model 350-

7004BC; 800cc-Model 350-8004BC
MN019
Siltex High Profile Gel-filled Mammary 
Mammary Prostheses
125cc-Model 354-4125; 150cc-
$750.00
In strict accordance with the 

Prostheses
Model 354-4150; 175cc-Model 354-
requirements of the Medicare 

4175; 200cc-Model 354-4200; 
Benefits Schedule Items Number 

225cc-Model 354-4225; 250cc-
45524, 45527, 45528, 45542, 45552, 

Model 354-4250; 275cc-Model 354-
45554, 45555 only.

4275; 300cc-Model 354-4300; 

325cc-Model 354-4325; 350cc-

Model 354-4350; 375cc-Model 354-

4375; 400cc-Model 354-4400; 

425cc-Model 354-4425; 450cc-

Model 354-4450; 500cc-Model 354-

4500; 550cc-Model 354-4550; 

600cc-Model 354-4600; 650cc-

Model 354-4650; 700cc-Model 354-

4700; 800cc-Model 354-4800
Prostheses List by Category, Groups and Sponsor
Page 635 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Mammary, Internal, Gel-Filled

Device Technologies Australia Pty Ltd
DE109
CUI styles CML, CMM, CFM and CMH
Silicone Cohesive Gel-Filled Breast Implant
80 - 800 grams
$750.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE110
CUI Type SLD, DRIE, Low Profile Smooth 
Low or High Profile
100 - 800 grams
$610.00
In strict accordance with the 

Silicone Gel-filled Mammary Implant; CUI 
requirements of the Medicare 

Type SHD, DRIE, High Profile Smooth 
Benefits Schedule Items Number 

Silicone Gel-filled Mammary Implant
45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.

Medical Vision Australia Pty Ltd
MF006
Pip Breast Implant Gel Filled
Reconstruction Anatomical Textured
180cc to 600cc
$610.00
$850.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF007
Pip Breast Implant Gel Filled
Asymmetric Textured Right
200cc to 450cc
$1,200.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF008
Pip Breast Implant Gel Filled
Asymmetric textured Left
200cc to 450cc
$1,200.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF009
Pip Breast Implant Gel Filled
Round Smooth Standard profile
85cc to 705cc
$700.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses List by Category, Groups and Sponsor
Page 636 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MF010
Pip Breast Implant Gel Filled
Round Smooth High profile
90cc to 680cc
$700.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF011
Pip Breast Implant Gel Filled
Round textured Standard profile
85cc to 705cc
$700.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF012
Pip Breast Implant Gel Filled
Round Textured High profile
90cc to 680cc
$610.00
$700.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF013
Pip Breast Implant Gel Filled
Round Smooth Extra High profile
245cc to 495cc
$750.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MF014
Pip Breast Implant Gel Filled
Round Textured Extra High profile
245cc to 495cc
$750.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.

Mentor Medical Systems
MN013
Mentor Siltex Becker Expander/Mammary 
150, 200, 250, 300, 350, 400, 500, 
$2,294.00
In strict accordance with the 

Prostheses
600, 700. 800cc
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN014
Mentor Medical Systems Smooth Low 
100,125,150,175,200,225,250,275,300
$610.00
In strict accordance with the 

Bleed Gel-Filled,  Mammary Prostheses 
,325,400,450,500,550,600,700,800cc
requirements of the Medicare 

Breast, Permanently Implantable
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses List by Category, Groups and Sponsor
Page 637 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MN015
Mentor Siltex Low Bleed Gel-Filled 
100,125,150,175,200,225,250,275,300
$685.00
In strict accordance with the 

(Moderate Profile) Mammary Prostheses 
,325,350,375,400,500,550,600,700,80
requirements of the Medicare 

Breast, Permanently Implantable
0cc
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN016
Mentor Siltex Low Bleed Gel-Filled (High 
75, 200, 225, 250,  275, 300, 325, 350,
$685.00
In strict accordance with the 

Profile) Mammary Prostheses Breast, 
 400, 450, 500, 550cc
requirements of the Medicare 

Permanently Implantable
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN017
Mentor Medical Systems Contour Profile 
120,135,155,180,215,245,280,315,355
$1,200.00
In strict accordance with the 

Gel-filled Mammary Prostheses, Breast, 
,395,440,480,530,640,775cc
requirements of the Medicare 

Permanently Implantable
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN024
Round Cohesive Gel-Filled Mammary 
Model 354-1009; Model 354-1259; Model 
100cc, 125cc, 150cc, 175cc, 200cc, 
$730.00
Only to be funded where used in a 

Prosthesis
354-1509; Model 354-1759; Model 354-2009; 
225cc, 250cc, 275cc, 300cc, 325cc, 
service for which a Medicare 

Model 354-2259; Model 354-2509; Model 
350cc, 375cc, 400cc, 450cc, 500cc, 
Benefit is payable.

354-2759; Model 354-3009; Model 354-3259; 
550cc, 600cc, 700cc, 800cc

Model 354-3509; Model 354-3759; Model 

354-4509; Model 354-5009; Model 354-5509; 

Model 354-6009; Model 354-7009; Model 

354-8009; Model 354-4009

Surgiplas Medical
SP047
Gel Filled Mammary Prosthesis Models 
Textured Round
80 to 800ml
$715.00
In strict accordance with Medicare 

GFX-LP, GFX and GFX-EHP
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
SP048
Gel Filled Mammary Prosthesis Models 
Smooth Round
80 to 800ml
$610.00
In strict accordance with Medicare 

RGI-D and RGI-DH
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
SP049
Gel Filled Mammary Prosthesis Models 
CoGel High Cohesive
100 to 630gm
$1,200.00
In strict accordance with Medicare 

CoGel-XR, CoGel- XM and CoGel XA
Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses List by Category, Groups and Sponsor
Page 638 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Mammary, Internal, Inflatable

Device Technologies Australia Pty Ltd
DE030
Style 468 Biodimensional Saline-filled 
Silicone shell filled with saline
195 - 205 cm3 x 620 - 650 cm3
$1,040.00
In strict accordance with the 

Mammary Implant
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE031
Style 363 Biodimensional Low Anatomical 
Silicone shell filled with saline, for 
230 - 240 cm3 x 650 - 685 cm3
$1,200.00
In strict accordance with the 

Saline-Filled Mammary Implant
Reconstruction
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE033
Style 168 Biocell Textured Mammary 
Silicone shell filled with saline
120 - 150 cm3 x 510 - 540 cm3
$685.00
In strict accordance with the 

Implant
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
DE121
Mammary Prosthesis
Smooth Surface - Saline
120 to 510cc
$610.00
In strict accordance with the 

requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.

Mentor Medical Systems
MN004
Mentor Siltex Spectrum Saline Tissue 
Saline Mammary Prostheses
Volume 275cc - 650cc
$1,244.00
In strict accordance with the 

Expander
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN010
Mentor Saline-Filled Anterior Diaphragm 
Mammary Prothesis - Smooth
125 to 700cc
$610.00
In strict accordance with the 

Valve Mammary Prosthesis 
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses List by Category, Groups and Sponsor
Page 639 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MN011
Mentor Saline Siltex Anterior Diaphragm 
Mammary Prothesis - Textured
125 to 475cc
$685.00
In strict accordance with the 

ValveMammary Prosthesis
requirements of the Medicare 

Benefits Schedule Items Number 

45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
MN023
Smooth Round High Profile Saline-Filled 
Model 350-3170; Model 350-3190; Model 
170cc, 190cc, 210cc, 230cc, 250cc, 
$610.00
Only to be funded where used in a 

Mammary Prosthesis
350-3210; Model 350-3230; Model 350-3250; 
270cc, 290cc, 310cc, 330cc, 380cc, 
service for which a Medicare 

Model 350-3270; Model 350-3290; Model 
420cc, 460cc, 500cc, 560cc, 630cc
Benefit is payable.

350-3310; Model 350-3330; Model 350-3380; 

Model 350-3420; Model 350-3460; Model 

350-3500; Model 350-3560; Model 350-3630

Surgiplas Medical
SP011
Nagosil SFS-LP-Saline Filled Low Profile 
Smooth surface
100 to 600cc
$610.00
In strict accordance with the 

Smooth Surface Breast Prostheses, Nagosil
requirements of the Medicare 

 SFS-HP-Saline Filled High Profile Smooth 
Benefits Schedule Items Number 

Surface Breast Prostheses
45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
SP012
Nagotex SFX-LP-Saline Filled Low Profile 
Textured surface
100 to 600cc
$715.00
In strict accordance with the 

Textured Surface, Nagotex SFX-HP-Saline 
requirements of the Medicare 

Filled High Profile Textured Surface Breast 
Benefits Schedule Items Number 

Prostheseses
45524, 45527, 45528, 45542, 45552, 

45554, 45555 only.
Prostheses, Maxillofacial

Medical Device Alliance Pty Ltd c/o Karma Medical
MP007
Facial Implant Malar
Malar
Small, medium, large/left or right
$331.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP035
Facial Implant Malar
Malar Anatomical
Small, medium, large/left or right
$330.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.

Mentor Medical Systems
MN003
Terino Malar Shell Implants
Solid-silicone, Implantech
Small, medium, large, xlarge
$490.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 640 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Prostheses, Muscle

Medical Device Alliance Pty Ltd c/o Karma Medical
MP005
Calf Implants
Asymmetrical shape, silicone gel smooth  
85-180cc
$517.00
Only to be funded where used in a 

surface
service for which a Medicare 

Benefit is payable.
MP008
Calf Implant
Silicone elastomer - smooth surface, 
70-175cc
$517.00
Only to be funded where used in a 

asymmetrical shape,
service for which a Medicare 

Benefit is payable.
MP014
Calf Implant
Silicone elastomer - smooth surface, 
15-105cc
$517.00
Only to be funded where used in a 

symmetrical shape
service for which a Medicare 

Benefit is payable.
MP016
Calf Implants
Symmetrical shape, silicone gel
12-140cc
$455.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP017
Gluteal Implants filled with Gel
Oval Shape, Silicone Gel, Smooth
100-300cc
$620.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP018
Gluteal Implants filled with Gel
Oval Shape, Silicone Gel, Textured Surface
200-400cc
$930.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP019
Gluteal Implants filled with Gel
Round Shape, Silicone Gel, Smooth Surface
200-300cc
$579.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP020
Gluteal Implants filled with Elastomer
Oval Shape, Silicone Elastomer, Smooth 
95-260cc
$620.00
Only to be funded where used in a 

Surface
service for which a Medicare 

Benefit is payable
MP021
Gluteal Implants filled with Elastomer
Oval Shape, Silicone Elastomer, Textured 
225-420cc
$930.00
Only to be funded where used in a 

Surface
service for which a Medicare 

Benefit is payable.
MP022
Gluteal Implants filled with Elastomer
Round Shape, Silicone Elastomer, Smooth 
250-340cc
$641.00
Only to be funded where used in a 

Surface
service for which a Medicare 

Benefit is payable.
MP032
Suspension Sheet for Mammoplasty
Silicone sheet - textured
0.3mm, 29cm x 17cm;
$250.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 641 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MP033
Suspension Sheet for Mammoplasty
Silicone sheet - polyurethane coated
3mm, 29cm x 17cm
$250.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Prostheses, Nasal, Dorsal

Medical Device Alliance Pty Ltd c/o Karma Medical
MP003
Facial Implant Nasal "L" Shaped
White, pink
1.9 x 4.1 x 2.8cm, 1.8 x 4 x 2.9cm
$227.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP009
Facial Implant Nasal
Nasal dorsum
Small, large
$279.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP013
Facial Implant Nasal
Zygomatic
Right, left
$310.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.

Mentor Medical Systems
MN021
Implantech Facial Implants - Nasal 
Implantech Shirakabe Nasal Implant; 
Extra Small, Small, Medium, Large, 
$279.00
Only to be funded where used in a 

Prostheses
Implantech Flowers Dorsal Nasal Implant; 
Extra Large
service for which a Medicare 

Implantech Dorsal Columella Implant; 
Benefit is payable.

Implantech Brink Peri-Pyriform Implant; 

Implantech Rizzo Dorsal Nasal Implant; 

Composition: Implant Grade Silicone 

Elastomer
Prostheses, Testicle

Medical Device Alliance Pty Ltd c/o Karma Medical
MP004
Testicular Implant Filled with Elastomer
5.3-45.8cc
$480.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP006
Testicular Implant
Silicone gel 3200
5-38cc
$480.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 642 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MP015
Testicular Implant
Silicone with holes for fixation 3230
5-38cc
$480.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
Reconstruction Sheeting, Plastic Surgery

Austramedex (VIC) Pty Ltd
AR003
Enophthalmos Wedge
Regular left and right. Large left and right. 
Regular: 22 x 31 x 7mm. Large: 28 x 
$460.00
Only to be funded where used in a 

(Models 9541 - 9544)
40 x 7.5mm
service for which a Medicare 

Benefit is payable
AR004
Orbital Rim
Orbital rims, left and right extended. Models 
Left & right extended models 47 x 
$360.00
$450.00
Only to be funded where used in a 

9539, 9540 Orbital Rim Onlay Implants 81001,
40mm Oribtal Rim Onlay Implants 
service for which a Medicare 

 81002
left & right 40 x 40mm
Benefit is payable
AR005
Complete Orbital Shape
Porus Polyethylene. Complete and 2 / 3 orbit
Inferior: 83 x 78mm
$1,940.00
Only to be funded where used in a 

 shapes. Inferior 2 / 3 left and right. Models 
service for which a Medicare 

9567, 9568
Benefit is payable
AR006
Chins
Extended chin implants: Round RZ (Models 
Extended chin Implants design RZ 
$420.00
Only to be funded where used in a 

8313 - 8315) and extended square RZ 
round small: 45 x 47 x 3mm, medium
service for which a Medicare 

(Models 8316, 8318). Two piece chin design 
 45 x 47 x 5mm, large 45 x 47 x 7mm; 
Benefit is payable

(Models 8320 - 8322). Single piece chin 
Extneded Chin Implants square 

design, contoured (Models 7520 - 7522). 
small 45 x 47 x3mm; Medium 45 x 47

Additional chin shapes (Models 6341 - 6344)
 x 5mm; Large 45 x 47 x 7mm; Two 

 Contoured two piece 86000 - 86003, Button 
piece design small 46 x 33 x 5mm; 

Chins 86010 - 86012
Medium 56 x 36 x 7mm; Large 57 x 

38 x 9mm, Single piece design small

 65 x 37 x 5mm; Medium 65 x 37 x 

7mm, Large 65 x 37 x 10mm, 

Additional Chin Designs round 

53mm length x 13mm projection, 

74mm Length x 10mm projection, 

50mm Length x 7mm projection, 

40mm length x 4mm projection, 

contoured two piece design extra 

small 72 x 42 x 3mm, small 74 x 42 x 

5mm, medium 78 x 50 x 7mm, Large 

80 x 55 x9mm, Button Chins Small 

40 x 25 4mm, Medium, Large.
Prostheses List by Category, Groups and Sponsor
Page 643 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AR007
Genioplasty Wedge
Porus Polyethylene. Genioplasty wedges, 
Small 60 x 25 x 5mm, medium 60 x 25
$420.00
Only to be funded where used in a 

models 8340 - 8343
 x 7.5mm, large 60 x 25 x 10mm
service for which a Medicare 

Benefit is payable
AR008
Prejowl Shape
Porus Polyethylene. Model 8319
45 x 41 x 4mm
$420.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AR010
Malar Shape
Porus Polyethylene. Design RZ malar 
Design RZ malar shapes: super 
$420.00
Only to be funded where used in a 

shapes, super petite and petite, left and right
petite left and right 50 x 19 x 3mm, 
service for which a Medicare 

 (Models 9501 - 9504). Design M malar 
Design RZ malar shapes petite left 
Benefit is payable

shapes, left and right (Models 9507 - 9512). 
and right 50 x 19 x 5mm. Design 

Additional malar shapes, extended 
malar shapes: small left and right  

contoured left and right (Models 9513 - 
64 x 19 x 3mm, left and right 

9518) Contoured 6313, 6318
medium 64 x 19 x 4.5mm, Left and 

right large 64 x 19 x 7mm.  

Additional malar shapes small left 

and right: 45 x 24 x 3mm, medium 

left and right:  50 x 26 x 4mm, large 

left and right: 55 x 27 x 5mm 

Contoured left & right 38 x 27 x 4mm
AR011
Nasal Shape or Rhinoplasty Shape
Porus Polyethylene. Nasal Arch shapes, 
Nasal arch shapes: small 70 x 13 x 
$350.00
Only to be funded where used in a 

nasal arch and nasal sheet (Models 9533 - 
2mm, medium 70 x 15 x 2mm, large 
service for which a Medicare 

9536). Nasal dorsum shapes, design A and 
70 x 15 x 2mm, sheet 40 x 9 x 1.1mm.
Benefit is payable

design B (Models 7516 - 7518). Nasal valve 
 Nasal dorsum shapes: design A 

support, lateral nasal valve support and ext.
small 53 x 5mm, design A large 66 x

 8mm, design B 67 x 6.5mm. Nasal 

valve support: lateral nasal valve 

13 x 0.85 x 3.5mm
AR012
Micro Thin Sheet
Model/s 8438, 83020, 83022, 83029
8438: 30 x 50 x 0.4mm,  83020: 38 x 
$377.00
Only to be funded where used in a 

50 x 0.25mm, 83022: 38 x 50 x 
service for which a Medicare 

0.35mm, 83029: 38 x 50 x 0.45mm
Benefit is payable
AR013
Ultra Thin Sheet
Porus Polyethylene. Models 7210
38 x 50 x 0.85mm
$355.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 644 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AR014
Sheet
Porus Polyethylene. Models 6330, 6331, 
Sheets 6330: 38 x 50 x 1.5mm, 6331: 
$800.00
Only to be funded where used in a 

8662, 9562. Micro single channel sheet, 
50 x 76 x 1.5mm, 8662: 76 x 127 x 
service for which a Medicare 

model 9528. Barrier microplate single channel
1.5mm, 9862: 38 x 50 x 3mm. 
Benefit is payable

 sheet, model 9527 Medpor Titan Implant 
Microplate single channel Sheet 

Sheets Plain, Barrier & Double Barrier, and 
9528: 38 x 50 x 0.85mm. Barrier 

Medpor Titan Orbital floor and wall sheets 
microplate single channel Sheet 

81020 - 81033
9527: 38 x 50 x 0.85mm. Titan 

implant sheets 81020: 76 x 50 x 0.85,

 81021: 38 x 50 x 0.85, 81022: 38 x 50 

x 1.5mm, 81023: 76 x 50 x 1.5mm, 

81024: 38 x 50 x 0.6mm, 81025: 76 x 

50 x 0.6mm, 81026: 38 x 50 x 1mm, 

81027: 76 x 50 x 1mm, 81028: 38 x 50 

x 1.6mm, 81029: 76 x 50 x 1.6mm, 

81030: 41 x 42 x 0.85mm, 81031 

(left): 41 x 42 x 1.0mm, 81032 (right):

 41 x 42 x 1.0mm, 81033: 41 x 42 x 

0.6mm
AR015
Barrier Sheet: Barrier Sheet - Orbital Floor
Porus Polyethylene. Barrier  sheet - 
 Barrier  sheet - Rectangle: 50 x 76  
$410.00
Only to be funded where used in a 

Rectangle, models 8312 and 9312. Orbital 
x 1mm, 50 x 76 x 1.6mm: 50 x 76 x 
service for which a Medicare 

floor implants, models 8305 and 9305
1mm, 50 x 76 x 1.6mm.  Orbital 
Benefit is payable

Floor: 38 x 50 x 1mm, 38 x 50 x 1.6mm
AR016
Block
Models 6332 - 6340 & 6359
6332: 13 x 38 x 3mm, 6333: 13 x 38 x 
$878.00
Only to be funded where used in a 

6mm, 6334: 13 x 38 x 9.5mm, 6335: 
service for which a Medicare 

25 x  50 x 3 mm, 6336: 25 x 50 x 6mm,
Benefit is payable

 6337: 25 x 50 x 9.5mm, 6338: 38 x 63 

x 3mm, 6339: 38 x 63 x 6mm, 6340: 38

 x 63 x 9.5mm 6359: 150 x 201mm
AR018
Flexblock TF2
Flexblock TF2 implant, left and right, models 
Flexblock TF2: small left & right 61 
$950.00
Only to be funded where used in a 

9857 - 9860, 9861 - 9862
x 78 x 18mm, Medium left & right 
service for which a Medicare 

74 x 93 x 20mm, large left & right 82
Benefit is payable

 x 105 x 20mm
Prostheses List by Category, Groups and Sponsor
Page 645 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AR019
Sphere
Orbital Sphere Models 6316, 6326, 6327, 6317
Orbital Sphere Models 6316: 14mm,
$713.00
Only to be funded where used in a 

 and 6322 8702-8704. COI implant, models 
 6326: 16mm, 6327: 18mm, 6317: 
service for which a Medicare 

7222, 7223 & 80026. MCOI implant, models 
20mm, 6322: 22mm, 8702: 19mm, 
Benefit is payable

7207 - 7209 Quad Motility Implants 9866 - 
8703: 21mm, 8704: 23mm, COI 

9868 & 80022
Implants 7222: Approx 4ml, 7223: 

Approx 5ml, 80026: Approx 6ml, 

MCOI 7207: Approx 3ml, 7208: 

Approx 4.2ml,  7209: Approx 5.6ml, 

QUAD Motility Small 16ml, 

Medium: 18ml, Large: 20ml, Extra 

Large: 22ml.
AR020
Ear Reconstruction
Porus Polyethylene. Helical rim, models 8328
Helical rim: 37 x 62mm
$400.00
Only to be funded where used in a 

 and 8329
service for which a Medicare 

Benefit is payable
AR023
Complete Orbital Shape
Complete left and right.  Models 9569, 9570
Complete 61 x 76mm
$2,315.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AR024
Mandibular angle
Porus Polyethylene. RZ mandibular angles 
RZ mandibular angles: 65 x 35 x 3 x 
$1,485.00
Only to be funded where used in a 

left and right (Models 9955 - 9960); Porus 
6.5 x 3 x 3mm, 65 x 35 x 7 x 6.5 x 3 x 
service for which a Medicare 

Polyethylene. Contoured mandibular angles 
3mm, 65 x 35 x 11 x 6.5 x 3 x 3mm. 
Benefit is payable

left and right (Models 88037 - 88038)
Contoured mandibular angles left 

and right:59 x 29 x 7 x 11mm.
AR025
Nasal Shape. Petite Nasal Dorsum.
Porus Polyethylene. Petite Nasal Dorsum ( 
Petite Nasal Dorsum: 4 x 4 x 45mm, 
$220.00
Only to be funded where used in a 

Models 84000 - 84004).
4 x 4 x 55mm, 5 x 5 x 45mm, 5 x 5 x 
service for which a Medicare 

55mm, 6 x 9 x 55mm.
Benefit is payable
AR026
Nasal Valve Support.
Lateral Nasal Valve, Model 7545. External 
Lateral Nasal Valve:13 x 3.5 x 
$445.00
Only to be funded where used in a 

Nasal Valve Batten, Model 7546. External 
0.85mm, External Nasal Valve 
service for which a Medicare 

Nasal Valve Batten - Thin, Model 7167
Batten: 25 x 11 x 0.85mm, External 
Benefit is payable

Nasal Valve Batten - Thin: 24 x 11.5

 x 0.6mm.
AR027
Nasal Sheet (Strut).
Nasal Sheet (Strut). Model 9536
Nasal Sheet (Strut): 40 x 9 x 1.1mm
$135.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 646 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AR028
Nasal Shell Shapes.
Nasal Shell Shapes, Regular and Large with 
Regular: 38 x 21 x 17mm, Insert 
$490.00
Only to be funded where used in a 

Inserts Small and Large (included). Models 
Small 30 x 4 x 9mm, Insert Large 38 
service for which a Medicare 

9553 - 9554. Thin Nasal Shell 84006
x 2.5 x 9mm. Large: 40 x 20 x 18mm, 
Benefit is payable

Insert Small 32 x 4 x 9mm, Insert 

Large 41 x 3 x 9mm. Thin Nasal 

Dorsal Shell 42.7mm x 16.4mm x 

21.8mm
AR029
Ultra Thin Sheet
Porus Polyethylene. Model 7212
50 x 76 x 0.85mm
$450.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AR030
Ultra Thin Sheet
Porus Polyethylene. Model 7214
76 x 127 x 0.85mm
$765.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AR031
Ultra Thin Sheet
Porus Polyethylene. Model 7216
127 x 178 x 0.85mm
$820.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AR032
Sheet - Multi Channel, Barrier Channel.
Porus Polyethylene. Miniplate channel 
Miniplate channel: 40 x 52 x 2.3mm.
$510.00
Only to be funded where used in a 

sheet, model 9529. Microplate channel sheet,
 Mircoplate channel: 40 x 52 x 
service for which a Medicare 

 model 9530. Barrier Miniplate and 
2.3mm. Barier Miniplate and 
Benefit is payable

Microplate Channel Sheets, Models 9531 
Microplate Channel Sheets: 40 x 52

 x 2.3mm, 40 x 52 x 2.3mm
AR033
Sheet - Barrier Single Channel Sheet.
Porus Polyethylene. Barrier Single Channel 
Barrier Single Channel: 38 x 50 x 
$540.00
Only to be funded where used in a 

Sheet, Model 9527.
0.85mm
service for which a Medicare 

Benefit is payable
AR034
Flexblock TF2
Porus Polyethylene. Flexblock TF2 implant, 
Flexblock TF2: large 82 x 105 x 
$825.00
Only to be funded where used in a 

left and right, models 9861 - 9862
20mm.
service for which a Medicare 

Benefit is payable
AR035
Flexblock TF
Porus Polyethylene. Flexblock TF implant, 
Flexblock TF: small 70 x 70 x 10mm, 
$825.00
Only to be funded where used in a 

models 9521 - 9522.
medium 88 x 86 x 15mm,
service for which a Medicare 

Benefit is payable
AR036
Flexblock TF
Porus Polyethylene. Flexblock TF implant, 
Flexblock TF: large 98 x 95 x 18mm.
$990.00
Only to be funded where used in a 

model 9523. 
service for which a Medicare 

Benefit is payable
AR037
Flexblock, Cranial Grid
Porus Polyethylene.Flexblock cranial grid 
Flexblock cranial grid: 97 x 107 x 
$1,590.00
Only to be funded where used in a 

implant, model 9524.
6mm.
service for which a Medicare 

Benefit is payable
AR038
Flexblock
Porus Polyethylene. Flexblock, model 6314.
Flexblock: 56 x 91 x 4mm.
$825.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 647 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AR039
Ear Reconstruction
Porus Polyethylene. Ear base left and right, 
Ear base: 29 x 55 x 13mm, 32 x 65 x 
$777.00
Only to be funded where used in a 

models 7542 and 7525  - 7527. Ear base 
16mm. Ear base extended: 30 x 
service for which a Medicare 

extended left and right, models 8330 and 
60mm.
Benefit is payable

8331.

Medical Device Alliance Pty Ltd c/o Karma Medical
MP023
Silicone Sheets
Sheet standard-small with reinforcement
100mm
$80.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP024
Silicone Sheets
Sheet standard - large with reinforcement
200mm
$250.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP025
Silicone Sheets
Sheet standard - small without reinforcement
100mm
$80.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP026
Silicone Sheets
Sheet standard - large without reinforcement
200mm
$250.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP027
Silicone Sheets
Sheet extra strength small
100mm
$100.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP028
Silicone Sheets
Sheet extra strength large
200mm
$500.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP029
Silicone Sheets
Block standard super soft
Soft, Medium, Hard
$400.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP030
Silicone Sheets
Block coloured, single consistency, 
One size only
$400.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable.
MP031
Silicone Sheets
Block coloured, double consistency, 
One size only
$500.00
Only to be funded where used in a 

white/pink
service for which a Medicare 

Benefit is payable.
Prostheses List by Category, Groups and Sponsor
Page 648 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Screws

Biomet Australia Pty Ltd
BI397
Lactosorb Resorbable Craniomaxillofacial 
Bone Screw, Lactosorb 1.5mm, 2mm system; 
(1.5, 2.0, 2.5, 2.8) x (3 - 17mm)
$360.00
Only to be funded where used in a 

Fixation System
pkt 2, PGA/PLA
service for which a Medicare 

Benefit is payable
BI399
Lactosorb Resorbable Craniomaxillofacial 
Cover, solid or Holed, PGA/PLA
(0.25, 0.5, 0.75mm) x 25x25mm
$120.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI400
Lactosorb Resorbable Craniomaxillofacial 
Cover, Solid or Holed, PGA/PLA
(0.25, 0.5, 0.75mm) x 38x38mm
$680.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI401
Lactosorb Resorbable Craniomaxillofacial 
Cover, Solid or Holed, PGA/PLA
(0.25, 0.5, 0.75mm) x 50x50mm
$1,300.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI412
Lactosorb Resorbable Craniomaxillofacial 
Cover, Solid or Holed, PGA/PLA
(0.25, 0.5, 0.75mm) x 75x75mm
$1,750.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI413
Lactosorb Resorbable Craniomaxillofacial 
Cover, Solid or Holed, PGA/PLA
(0.25, 0.5, 0.75mm) x 100x100mm
$2,150.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI414
Lactosorb Resorbable Craniomaxillofacial 
Lactosorb Plates, 2mm System, All sizes, 
4 - 16 hole
$304.00
Only to be funded where used in a 

Fixation System
shapes PGA/PLA
service for which a Medicare 

Benefit is payable
BI415
Lactosorb Resorbable Craniomaxillofacial 
Bone Screw,  2 Pack, Endobrow, Lactosorb. 
2 x 5mm
$160.00
Only to be funded where used in a 

Fixation System
PGA/PLA
service for which a Medicare 

Benefit is payable
BI416
Lactosorb Resorbable Craniomaxillofacial 
Panel, Lactosorb. 2mm System. PGA/PLA
42 x 42mm  (10x10 hole)
$1,400.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI417
Lactosorb Resorbable Craniomaxillofacial 
Panel, Lactosorb. 1.5mm System. PGA/PLA
25 x 25mm (5 x 5 hole)
$470.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI418
Lactosorb Resorbable Craniomaxillofacial 
Panel, Lactosorb. 1.5mm System. PGA/PLA
25 x 50mm (5 x 10hole)
$875.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 649 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BI419
Lactosorb Resorbable Craniomaxillofacial 
Panel, Lactosorb. 1.5mm System. PGA/PLA
50 x 50mm (10 x 10 hole)
$1,400.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI424
Lactosorb Resorbable Craniomaxillofacial 
Mesh, Mandibular Lactosorb 2.5mm System 
12x30mm, 12x35mm
$345.00
Only to be funded where used in a 

Fixation System
PGA/PLA
service for which a Medicare 

Benefit is payable
BI426
Lactosorb Resorbable Craniomaxillofacial 
Mesh, Mandibular Lactosorb 2.5mm System.
16 x 40mm
$435.00
Only to be funded where used in a 

Fixation System
 PGA/PLA
service for which a Medicare 

Benefit is payable
BI427
Lactosorb Resorbable Craniomaxillofacial 
Mesh, Mandibular Lactosorb 2.5mm System.
42 x 42mm
$1,367.00
Only to be funded where used in a 

Fixation System
 PGA/PLA
service for which a Medicare 

Benefit is payable
BI598
Lactosorb Resorbable Craniomaxillofacial 
Panel, Lactosorb, with strut, 2mm System, 
(2-3) hole x (5-6) hole
$455.00
Only to be funded where used in a 

Fixation System
2.5mm System. PGA/PLA
service for which a Medicare 

Benefit is payable
BI602
Lactosorb Resorbable Craniomaxillofacial 
Bone Screw, Lactosorb, 4 pack. PGA/PLA
(1.5, 2.0mm) x (3, 4, 5 ,7mm)
$444.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable
BI791
Lactosorb Resorbable Craniomaxillofacial 
Screw, 1.5mm System, PLLA/PGA
Length 3-5mm (pack 10)
$910.00
Only to be funded where used in a 

Fixation System
service for which a Medicare 

Benefit is payable.

Medical & Optical Instruments Australia Pty Ltd
MO189
Resorb-X Bone Screw
Resorb-X Osteosynthesis System, 
1.6, 2.1, 2.4mm Dia, 4 - 9mm lengths
$161.00
Only to be funded where used in a 

Resorbable bone screw
service for which a Medicare 

Benefit is payable

Stryker Australia Pty Ltd
SK078
Stryker Leibinger Resorbable Fixation 
Delta resorbable mesh for fixation of facial 
122mm  x 122mm
$1,456.00
Only to be funded where used in a 

System
fractures and congenital deformity
service for which a Medicare 

Benefit is payable.
ST527
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
1.7x4-5mm Pack of 10
$95.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST528
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
1.7x3-6mm Pack of 2
$121.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST529
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
1.7x3-6mm Pack of 4
$111.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 650 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST530
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
2.2mm x 4mm - 6mm (pack of 1)
$141.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST531
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
2.2mm x 4mm - 6mm (pack of 2)
$121.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST532
Stryker Leibinger Resorbable Fixation 
Resorbable Screws Trypolymer
2.2mm x 4mm - 6mm (pack of 4)
$111.00
Only to be funded where used in a 

System
service for which a Medicare 

Benefit is payable
ST822
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Mesh 55 x 55 (1mm thickness)
$416.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST823
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Ladder plate 2 x 5 holes
$208.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST824
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
L plate 110 degree 9 hole right; L 
$177.00
Only to be funded where used in a 

for the fixation of facial fractures
plate 110 degree 9 hole left
service for which a Medicare 

Benefit is payable
ST825
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Y plate 9 holes
$250.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST826
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Double Y plate 12 holes
$218.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST827
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Curved plate 8 holes
$208.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST828
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Straight plate 4 - 21 hole
$208.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST829
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.6 x 4mm bone screw - 2 per pack
$121.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST836
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.6 x 6mm bone screw - 2 per pack
$121.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 651 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST837
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.6 x 8mm bone screw - 2 per pack
$121.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST838
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.6 x 10mm bone screw - 2 per pack
$121.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST839
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.2 x 8mm bone screw - 2 per pack
$121.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST840
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Diameter 2.6mm, Length 4 - 10mm
$141.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST841
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.2 x 6mm bone screw - 4 per pack
$111.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST842
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.2 x 8mm bone screw - 4 per pack
$111.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST843
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.2 x 4mm bone screw - 10 per pack
$95.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST844
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
2.2 x 6mm bone screw - 10 per pack
$95.00
Only to be funded where used in a 

for the fixation of facial fractures
service for which a Medicare 

Benefit is payable
ST849
Delta Resorbable Plating System
Resorbable plates and screw fixation system 
Mesh and Panel 55 x 55 (1.4mm 
$177.00
Only to be funded where used in a 

for the fixation of facial fractures
thickness)
service for which a Medicare 

Benefit is payable
Screws, Bone

Aus Systems Pty Ltd
AU035
Aus Systems Titanium Bone Screws 
Screws 2mm & 2.3mm diameter
4mm - 15mm length
$19.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
AU043
Aus Systems Titanium Bone Screws 
Screws 1.5mm & 1.8mm diameter
3mm - 11mm length
$20.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 652 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Johnson & Johnson Medical Pty Ltd
JJ201
Bioplate Bone Screw 
Titanium cranial fixation system
1.5mm diam, 3-6mm length; pack of
$34.50
Only to be funded where used in a 

 5
service for which a Medicare 

Benefit is payable
JJ202
Bioplate Bone Screw 
Titanium cranial fixation system
1.5mm diam; 10mm length; pack of 5
$55.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
JJ203
Bioplate Bone Screw 
Titanium cranial fixation system
1.5mm diam; 8mm length; pack of 5
$26.77
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
JJ215
Bioplate Bio-100 Screw
Titanium cranial fixation system
2.4mm diam; pack of 5
$25.65
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Medtronic Australasia Pty Ltd
MC390
TiMesh Rigid Fixation Bone Grafting and 
Titanium, Screw - Cruciate Head, 12 point 
Diameter 1.0mm - 2.4mm, length 2 - 
$66.00
Only to be funded where used in a 

Plating System
Flat Head
19mm
service for which a Medicare 

Benefit is payable

Stryker Australia Pty Ltd
SK147
Leibinger Screw  - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Smartlock 
$120.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
Emergency Screws, 2.7mm 
service for which a Medicare 

Diameter, 8mm - 20mm length
Benefit is payable.
SK148
Leibinger Screw - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Screws, 
$95.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
Emergency, 2.7mm Diameter, 8-
service for which a Medicare 

20mm Length
Benefit is payable.
SK149
Leibinger Screw  - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Screws, 2.0mm
$74.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
 Dia, 4-14mm Length; Universal 
service for which a Medicare 

Mandible Screws, 2.3mm Dia, 4-
Benefit is payable.

14mm Length
SK150
Leibinger Screw - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Smartlock 
$110.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
Screws, 2.0mm Diameter, 16mm-
service for which a Medicare 

20mm Length; Universal Mandible 
Benefit is payable.

Smartlock Screws, 2.3mm Diameter,

 18mm-20mm Length
SK151
Leibinger Screw - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Screws, 2.0mm
$105.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
 Diameter, 16mm-20mm Length; 
service for which a Medicare 

Universal Mandible Screws, 2.3mm
Benefit is payable.

 Diameter, 16mm-20mm Length
Prostheses List by Category, Groups and Sponsor
Page 653 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
SK152
Leibinger Screw - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Lag Screws, 
$155.00
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
2.0mm Diameter, 24mm-42mm 
service for which a Medicare 

Length
Benefit is payable.
SK153
Leibinger Screw - Universal Mandibular 
Items used for reconstruction and fixation of
Universal Mandible Smartlock 
$88.50
Only to be funded where used in a 

Screws
 mandibular fractures and tumour resection
Screws, 2.0mm Diameter, 4mm-
service for which a Medicare 

14mm Length; Universal Mandible 
Benefit is payable.

Smartlock Screws, 2.3mm Diameter,

 4mm-16mm Length
SK299
Leibinger Screw (Various) - Universal CMF
1.2mm Diameter, 3-12mm Length; 
$68.50
Only to be funded where used in a 

 Screws
1.4mm Diameter 3-9mm Length
service for which a Medicare 

Benefit is payable
SK300
Leibinger Screw (Various) - Universal CMF
Self Drilling, 1.2mm Diameter, 3-
$68.50
Only to be funded where used in a 

 Screws
4mm Length
service for which a Medicare 

Benefit is payable
SK301
Leibinger Screw (Various) - Universal CMF
1.7mm Diameter, 3-12mm Length; 
$46.00
Only to be funded where used in a 

 Screws
1.9mm Diameter, 3-9mm Length
service for which a Medicare 

Benefit is payable
SK302
Leibinger Screw (Various) - Universal CMF
Self Drilling, 1.7mm Diam; 3-6mm 
$46.00
Only to be funded where used in a 

 Screws
Length
service for which a Medicare 

Benefit is payable
SK303
Leibinger Screw (Various) - Universal CMF
Locking, 1.7mm Diameter, 4-6mm 
$46.00
Only to be funded where used in a 

 Screws
Length; Locking 1.9mm Diameter, 
service for which a Medicare 

5mm Length
Benefit is payable
SK385
Universal System
Condyle Fastening Screws
One size only
$88.00
ST082
Leibinger Screws 
Leibinger IMF: cross-slot screws Titanium
2.0x8mm, 2.0x14mm, 2.0x20mm
$57.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST083
Leibinger Screws 
Leibinger Steinhauser Screw System: cross-
2.0x4-12mm
$35.00
$52.00
Only to be funded where used in a 

slot screws Titanium
service for which a Medicare 

Benefit is payable
ST084
Leibinger Screws 
Leibinger Steinhauser Screw System: cross-
2.0x13-22mm
$40.00
$52.00
Only to be funded where used in a 

slot screws Titanium
service for which a Medicare 

Benefit is payable
ST085
Leibinger Screws 
Leibinger COM/MAND Fixation System: 
2.3x6-9mm
$37.00
Only to be funded where used in a 

emergency screws Titanium
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 654 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST111
Leibinger Screws 
Leibinger Mini Wurzburg Bone Screws: 
1.7x3-12mm
$40.00
Only to be funded where used in a 

square fit, self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST113
Leibinger Screws 
Leibinger Mini Wurzburg Bone Screws: 
1.9x5mm, 1.9x7mm
$40.00
Only to be funded where used in a 

square fit, self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST114
Leibinger Screws 
Leibinger Mini Wurzburg Bone Screws: 
2.0x4-19mm
$35.00
Only to be funded where used in a 

square fit, self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST115
Leibinger Screws 
Leibinger Mini Wurzburg Bone Screws: 
2.3x6-9mm
$40.00
Only to be funded where used in a 

square fit, self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST116
Leibinger Screws 
Leibinger Wurzburg COM/MAND Fixation 
2.7x6-16mm
$106.00
Only to be funded where used in a 

System: emergency screws Titanium
service for which a Medicare 

Benefit is payable
ST117
Leibinger Screws 
Leibinger Wurzburg COM/MAND Fixation 
2.7x18-22mm
$115.00
Only to be funded where used in a 

System: emergency screws Titanium
service for which a Medicare 

Benefit is payable
ST118
Leibinger Screws 
Leibinger Wurzburg COM/MAND Fixation 
3.0x8-22mm
$117.00
Only to be funded where used in a 

System: emergency screws Titanium
service for which a Medicare 

Benefit is payable
ST145
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, self
1.2x2-6mm
$60.00
Only to be funded where used in a 

 tapping Titanium
service for which a Medicare 

Benefit is payable
ST146
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, 
1.2x7-10mm
$65.00
Only to be funded where used in a 

self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST147
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, 
1.2x11-12mm
$65.00
Only to be funded where used in a 

self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST148
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, 
1.4x3mm, 1.4x5mm
$65.00
Only to be funded where used in a 

self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST149
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, 
1.4x7mm, 1.4x9mm
$65.00
Only to be funded where used in a 

self-tapping Titanium 
service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 655 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST150
Leibinger Screws 
Leibinger Micro Plus Screws: cross-slot, 
1.4x11mm
$65.00
Only to be funded where used in a 

self-tapping Titanium 
service for which a Medicare 

Benefit is payable
ST236
Leibinger Titanium Screws
Bone Screw, cross-fit, self-tapping
Diameter 1.7mm, Length  3mm - 
$43.00
Only to be funded where used in a 

38mm
service for which a Medicare 

Benefit is payable
ST238
Leibinger Screws 
Leibinger Autopilot Bone Screws Titanium
1.7x7-8mm
$46.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST240
Leibinger Screws 
Leibinger Mini Wurzburg Emergency Screws
1.9 x 5mm
$57.00
Only to be funded where used in a 

 Titanium
service for which a Medicare 

Benefit is payable
ST241
Leibinger Screws 
Leibinger Bone Screws: hex fit, self-tapping 
2.0 x 4-5mm
$31.50
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST242
Leibinger Screws 
Leibinger Bone Screws: hex fit, self-tapping 
2.0x 6-7mm
$31.50
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST243
Leibinger Screws 
Leibinger Bone Screws: hex fit, self-tapping 
2.0 x 9-10mm
$31.50
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST244
Leibinger Screws 
Leibinger Bone Screws: hex fit, self-tapping 
2.0 x 11mm
$31.50
Only to be funded where used in a 

Titanium
service for which a Medicare 

Benefit is payable
ST325
Leibinger Screws 
Leibinger Low Profile Screws: low profile 
1.5x4-13mm, 2.0x4-20mm, 2x21mm, 
$43.20
Only to be funded where used in a 

head, self-tapping screws Titanium. 
2x24mm.  Pack of 5
service for which a Medicare 

Benefit is payable
ST345
Leibinger Screws 
Leibinger Micro Screws: cross-slot, self-
1.0x2-6mm
$68.50
Only to be funded where used in a 

tapping  Titanium
service for which a Medicare 

Benefit is payable
ST346
Leibinger Screws 
Leibinger Micro Screws: cross-slot, self-
1.2x2mm, 1.2x5mm
$65.00
Only to be funded where used in a 

tapping  Titanium
service for which a Medicare 

Benefit is payable
ST358
Leibinger Screws 
Leibinger - Salzburg Lag Screw System: 
2 holes
$86.00
Only to be funded where used in a 

locking plate, Titanium, with biconcave 
service for which a Medicare 

washers
Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 656 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
ST360
Leibinger Screws 
Salzburg Lag Screws Titanium
Diameter 2.0mm, Length 7- 33mm
$50.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST446
Wurzburg Bone Plates
Wurzburg Mandibular Fracture plate: 
4 hole x 35mm
$295.00
Only to be funded where used in a 

straight Titanium
service for which a Medicare 

Benefit is payable
ST510
Wurzburg Titanium Bone Screws
Wurzburg Bone Screws Titanium
3.5x10mm Pack of 10
$51.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST511
Wurzburg Titanium Bone Screws
Wurzburg Bone Screws Titanium
3.5x12mm Pack of 10
$53.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST512
Wurzburg Titanium Bone Screws
Wurzburg Bone Screws Titanium
3.5x14mm Pack of 10
$56.16
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
ST513
Wurzburg Titanium Bone Screws
Wurzburg Bone Screws Titanium
3.5x16mm Pack of 10
$59.40
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable

Surgiplas Medical
SP021
Screws
Micro, Maxi & Self Drilling
Size
$42.00
Only to be funded where used in a 

1.2mm x (2 - 14)mm, 
service for which a Medicare 

1.5mm/1.9mm/2.7mm safety, 2.4mm 
Benefit is payable

x (4 - 22)mm, 2.7mm x (8 - 20)mm 

safety, 1.6mm x (4 - 8)mm self 

drilling, 2.0mm x (4 - 8)mm self 

drilling;1.2mm self-drilling screws;
SP022
Screws
Mini
2.0mm x (4-22)mm; Guidewire (0.8 - 
$34.00
Only to be funded where used in a 

3.0)mm x (100 - 300)mm
service for which a Medicare 

Benefit is payable

TiMax Surgical Pty Ltd
TI002
TiMax Titanium Bone Screws
Self-tapping
1 - 2.7mm Diameter, 2 - 22mm Length
$25.00
Only to be funded where used in a 

service for which a Medicare 

Benefit is payable
Prostheses List by Category, Groups and Sponsor
Page 657 of 724
PLASTIC AND RECONSTRUCTIVE

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Screws, Cranioplasty Plate

Medical & Optical Instruments Australia Pty Ltd
MO258
Resorb x SonicWeld Rx Osteosynthesis 
SonicWeld Rx Bone Pin Screw
1.6 - 2.1mm diameter, 4 - 20mm
$180.00

System Bone Screw/Pin

Mondeal Medical Systems Pty Ltd
MD029
Mondeal Medical Systems Implant & 
Screw 2000
Standard 4mm - 19mm
$16.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD035
Mondeal Medical Systems Implant & 
Screw 2000
Cross Fit, Lock Drive 4mm - 19mm
$20.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD051
Mondeal Medical Systems Implant & 
Screw 1700
Cross Fit, Lock Drive 3mm - 17mm
$28.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
MD066
Mondeal Medical Systems Implant & 
Screw 1000/1200
Cross Fit, Lock Drive 3mm - 15mm
$46.00
Only to be funded where used in a 

Prostheses
service for which a Medicare 

Benefit is payable
Textured, Single Lumen, Dual Gel

Device Technologies Australia Pty Ltd
DE274
Style 510 Dual Gel Breast Prosthesis
Anatomical textured implant with dual gel for
LX sizes from 130-575 grams, MX 
$1,350.00
$1,500.00

 projection of nipple/areola complex, 
sizes from 145-600 grams, FX sizes 

concave base and tapered edges for 
from 165-630 grams

minimisation of edge/thoracic wall 
Tissue Reconstructive Materials

Global Scientific Pty Ltd
GS204
Integra Artificial Skin
-
Medium - 10 x 25cm
$2,900.00
GS205
Integra Artificial Skin
-
Small - 10 x 12.5cm
$1,900.00
GS206
Integra Artificial Skin
-
Large - 20 x 25cm
$5,634.00
Prostheses List by Category, Groups and Sponsor
Page 658 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 1- Urogenital - Incontinence Products

Group 1a - Incontinence: inflatable

American Medical Systems
AM001
AMS 800 Artificial Urinary Sphincter Cuff
Occlusive Cuff
Size: 4, 4.5, 5, 5.5, 6, 6.5, 7, 7.5, 8, 9, 
$2,614.00

10, 11cm
AM002
Acticon Artificial Bowel Sphincter Cuff
Occlusive Cuff
9, 10, 11, 12, 13, 14cm (available in 
$3,574.00

both 2.0cm & 2.9cm widths)
AM021
AMS 800 Artificial Urinary Sphincter Cuff
Silicone cuff for artificial urinary sphincter. 
4.0cm - 11.0cm (increases in 0.5cm 
$2,614.00

For the implantation of the second cuff for 
sizes)

the AMS 800.
AM028
AMS 800 Artificial urninary sphincter 
Pressure Regulating Balloon
51 - 60cm, 61 -70cm, 71 - 80cm
$2,057.00

Pressure Regulating Balloon
AM029
AMS 800 Artificial Urinary Sphincter Pump
Control Pump
One size
$4,947.00
AM030
AMS 800 Artificial Urinary Sphincter 
Accessory Kit
One Size
$689.00

Accessory Kit
AM031
AMS 800 Artificial Urinary Sphincter 
Implantable plugs x 3 & straight connector
One Size
$135.00

Deactivation Package
AM032
Acticon Artificial Bowel Sphincter Pump
Control Pump
One Size
$6,432.00
AM033
Acticon Artificial Bowel Sphincter 
Pressure Regulating Balloon
81-90cm, 91-100cm, 101-110cm, 
$3,500.00

Pressure Regulating Balloon
111-120cm
AM034
Acticon Artificial Bowel Sphincter 
Accessory Kit
One Size
$689.00

Accessory Kit
AM035
Acticon Artificial Bowel Sphincter 
Implantable plugs x 3 & straight connector
One Size
$135.00

Deactivation Package

Medical Device Alliance Pty Ltd c/o Karma Medical
MP001
Inflatable Periurethral Constrictor
Consists of a membrane, filler product and 
One size only
$1,225.00

silicone tube
Prostheses List by Category, Groups and Sponsor
Page 659 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1b - Incontinence: adjustable balloon

Medtronic Australasia Pty Ltd
MC323
Adjustable Continence Therapy for Women
ACT Device: Prosthesis designed for the 
6 - 14cm
$4,145.00

treatment of female SUI comprising of a 

single silicone balloon attached via a 

conduit to titanium and rubber ports 

allowing for post operative adjustment.
MC327
Adjustable Continence Therapy device for 
ACT Device: prosthesis designed for the 
6 - 14cm
$8,290.00

women
treatment of female SUI comprising of 

silicone balloons x 2 attached via a conduit 

to titanium and rubber ports allowing for 

post operative adjustment.
MC342
Adjustable Continence Therapy for Men
ProACT Device: prosthesis designed for the
6 - 14cm
$8,290.00

 treatment of male SUI comprising of silicone

 balloons x2 attached via a conduit to 

titanium and rubber ports allowing for post 

operative adjustment.
MC368
Adjustable Continence Therapy for Men
ProACT Device: Prosthesis designed for the
6 - 14cm
$4,145.00

 treatment of male SUI comprising of a single

 silicone balloon attached via a conduit to 

titanium and rubber ports allowing for post 

operative adjustment.

Group 1c - Incontinence: sling, male, synthetic

American Medical Systems
AM017
InVance Male Sling System
Kit includes inserter with shaft, 6 bone 
One Size
$5,718.00

screws with suture and silicone-coated sling

 surgical mesh
AM048
AMS AdVance Male Sling
Sub-urethral sling implant for treatment of 
Arm width - 1.2cm, Centre width - 
$5,718.00

male stress urinary incontinence.  Made 
3.55cm, Length - 35.5cm

from polypropylene monofilament mesh

Endotherapeutics Pty Ltd
ET050
ARGUS
Adjustable Male Sling made of silicone 
One size only
$5,616.00

adjustable self fixating columns and urethral 

cushion
Prostheses List by Category, Groups and Sponsor
Page 660 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1e - Incontinence: sling, female, synthetic

American Medical Systems
AM014
Sparc Sling System
Polypropylene mesh sling, two needles with 
One size only
$860.00

rotating handles, two cystoscopy aids
AM019
MONARC Sling System
Product includes - mesh and two needles 
One Size Only
$865.00
$990.00

with handles attached

Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
AS120
IVS Tunneller-Intravaginal Tunneller System
IVS Tunneller System Trans Obuturator with
50 cm (mesh)
$860.00
$978.50

 two stylets and polypropylene mesh

Boston Scientific Australia Pty Ltd
BS078
Advantage Transvaginal Mid-Urethral 
Polypropylene smooth mesh material
One size only
$817.00

Sling System, Lynx Suprapubic Mid-

Urethral Sling System, Obtryx 

Transoburator Mid-Urethral Sling System
BS096
Lynx Suprapubic Mid-Urethral Sling 
Polypropylene smooth mesh material
One size only
$817.00
BS097
Obtryx Transoburator Mid-Urethral Sling 
Polypropylene smooth mesh material
One size only
$817.00

System

Endotherapeutics Pty Ltd
ET043
Safyre Autofixation System
Urinary incontenence sling made of 
One size only
$860.00
$1,000.00

polydimethysiloxane and polyproplene

Gytech Pty Ltd
GP001
Cousin Biotech Intramesh L.I.F.T
Polypropylene Mesh
One size only
$551.00

Jecoli Pty Ltd
JO009
T-Sling / Uromesh
Polypropylene Sling
1.1 x 45cm
$850.00

Johnson & Johnson Medical Pty Ltd
JJ070
TVT (Tension-Free Vaginal Tape) Single 
Undyed Prolene (polypropylene) 
11 x 450mm
$865.00

use device
nonabsorbable tape
JJ442
Gynecare TVT-O
Items included are: Gynecare TVT Obturator 
1.1x45 cm
$865.00

device, Two Gynecare TVT Helical Passers 

and a Gynecare TVT Atraumatic Winged 

Guide.  The device component of the system

 consists of undyed or blue Prolene 

Polypropylene Mesh
Prostheses List by Category, Groups and Sponsor
Page 661 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Kvinno Centre Pty Ltd
KV001
TFS Tissue Fixation System
TFS Tissue Fixation System
One Size Only
$850.00

Southern Surgical Distribution Pty Ltd
DS001
Serasis TO Stress Incontinence system
Blue Polypropylene monofilament tape with 
55 cm tape
$699.00

(Trans obturator approach)
looped edges. Tape only

Group 1f - Incontinence: sling, female, biological

William A Cook Australia Pty Ltd
WC215
Stratasis-TF Urethral Sling Kit
Tension free sling made from SIS (sub-
2cm x 40cm
$1,090.00

intestinal mucosa).  One SIS sling with 

attached ligatures and two ligature carriers 

with removable handles

Group 1g - Incontinence: injectable, synthetic

Australasian Medical & Scientific Ltd
AN007
Coaptite
Calcium hydroxylapatite spheres suspended 
1 ml syringe
$520.00

in an aqueous gel carrier, Coaptite is an 

injectable synthetic tissue reconstructive 

material

Endotherapeutics Pty Ltd
ET011
Macroplastique
Sterile, textured, highly cross linked 
1.3 ml
$690.00
$1,008.00

polydimethylsiloxane elastomer implants 

suspended in a bio-excretable carrier gel.
ET053
Macroplastique
Sterile, textured, highly cross linked 
2.5ml Implants
$1,328.00
$1,800.00

polydimethylsiloxane elastomer implants 

suspended in a bio-excretable carrier gel.

Taylor Bryant Pty Ltd
TB376
Durasphere SUI
Injectable Bulking agent for Stress Urinary 
1ml
$531.00

Incontinence
TB379
Durasphere SUI
Injectable Bulking agent for Stress Urinary 
3ml
$1,593.00

Incontinence
Prostheses List by Category, Groups and Sponsor
Page 662 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1h - Incontinence: injectable, biological

Bard Australia Pty Ltd
BA041
Contigen Cross Linked Collagen 
Contigen Bard Collagen Implant for Stress 
2.5cc per syringe
$669.00
$674.00

Urinary Incontinence
Group 2 - Urogenital - Ureteric Stents

Group 2a - Ureteric stents: fixed length, polyurethane

William A Cook Australia Pty Ltd
WC027
Polyurethane Double Pigtail Stent Set
Multiple French Sizes and Lengths
$180.00

P

William A Cook Australia Pty Ltd
WC022
C-Flex Double Pigtail Ureteric Stent Set
Set includes: Stent, Wire, Positioner
Multiple French Sizes, Multi-
$180.00

Sp

William A Cook Australia Pty Ltd
WC018
C-Flex Endoureteratomy Stent Set
6.0/10.0 Fr, & 7.0/14.0 Fr, Multiple 
$241.00

Length

T

N Stenning  & Co Pty  Ltd
NG030
Paediatric Ureteric Valve Stent Set
Open end with introducer and guidewire, 
12 - 22cm
$197.00

Polyurethane
NG031
Paediatric Ureteric Integral Stent Set
Open end with introducer and guide wire, 
12 - 22cm Per pack of 5
$197.00

Polyurethane
NG032
DD Ureteric Stent Set
Open end with introducer and guide wire
22 - 30cm Per pack of 2
$238.00
NG046
Paediatric Ureteric Valve Stent Set
Fixed length wirthan stent
12 - 22cm
$197.00

William A Cook Australia Pty Ltd
WC214
Cook Ureteral Stents
Amplatz Ureteral Stent Set, Ultrathane RB 
8.5Fr - 12,20,22,24,26,28cm and 
$243.00

Design Radioplaque Band and AQ 
10.2Fr - 22,24,26,28cm

Hydrophilic Coating Set includes one stent 

positioner with flexible stent introducer 

catheter
Prostheses List by Category, Groups and Sponsor
Page 663 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2b - Ureteric stents: fixed length, other synthetic

Applied Medical Australia Pty Ltd
MH010
Silhouette Ureteral Stent
The Silhouette Ureteric Stent is 
Size: 4F, 14cm to 30cm in 2cm 
$140.00

manufactured with a soft material that 
increments

provides superior comfort.  It has superior 

column strength through a coil-reinforced 

body providing effortless placement.  The 

tight coils prevent migration.  The smaller 

outside diameter of 4F with inner diameter 

comparable to 6F standard stents provides 

exceptional drainage.  SL-6 hydrophilic 

coating further facilitates placement.
MH012
Silhouette System Ureteral Stent Set
Coil reinforced body.  SL-6 hydrophilic 
Mulitple French Sizes & Lengths
$198.00

coating.  UroWire 0.035" 3-in-1 guidewire 

with kink resistant nitinol core.  Design 

divided into 3 sections: silver section (front 

end) floppy SL - 6 hydrophilic coating; Blue 

section (mid) super stiff PTFE (not 

hydrophicaly coated); and Green section 

(back) flexible

Boston Scientific Australia Pty Ltd
BS038
Polaris
Each Stent contains a ureteral stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$214.00

attached suture and a stent positioner.
95cm
BS086
Polaris Ultra Ureteral Stent
This ureteral stent is made from Percuflex 
Sizes up to 7Fr, lengths up to 30cm
$214.00

material with a Hydro Plus Coating
BS091
Percuflex; Percuflex Plus; Percuflex Tail; 
Each Stent contains a ureteral stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$214.00

Percuflex Tail Plus Ureteral Stents.
attached suture and stent positioner
95cm
BS093
Retromax Plus Ureteral Stent
Each Stent contains a uretera stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$214.00

attached suture and stent poitioner.
95cm
BS116
Polaris Loop Ureteral Stent
Ureteral Stent made from proprietary 
Sizes up to 8Fr, Lengths up to 
$214.00

percuflex material with hydroplus coating

Gyrus Australasia Pty Ltd
GY086
Ureteral Stents 
Diversion Stent, silicone
7 - 8.5 F x 90cm
$177.00
Prostheses List by Category, Groups and Sponsor
Page 664 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

P

Applied Medical Australia Pty Ltd
MH011
Silhouette Ureteral Stent
The Silhouette Ureteric Stent is 
4F, 10cm - 12 cm in 2cm increments
$140.00

manufactured with a soft material that 


provides superior comfort. It has superior 
10 cm - Part No. B3829

column strength through a coil-reinforced 
12 cm - Part No. B3830

body providing effortless placement. The 

tight coils prevent migration. The smaller 

outside diameter of 4F with inner dianmeter 

comparable to 6F standard stents provides 

exceptional drainage. SL-6 hydrophilic 

coating further facilitates placement.
MH013
Paediatric Silhouette System Set
Coil reinforced body.  SL-6 hydrophilic 
4F, 8 - 12cm
$245.00

coating.  UroWire 0.035" 3-in-1 guidewire 

with kink resistant nitinol core.  Design 

divided into 3 sections: silver section (front 

end) floppy SL - 6 hydrophilic coating; Blue 

section (mid) super stiff PTFE (not 

hydrophicaly coated); and Green section 

(back) flexible

SP

Applied Medical Australia Pty Ltd
MH003
Acucise RP35 Procedural Pack
Composition: Polypropylene & Titanium
One size only
$2,860.00
Temporary approval
MH007
Acucise RP35 Procedural Starter Pack
Polypropylene and Titanium
One Size Only
$3,328.00
Temporary approval

William A Cook Australia Pty Ltd
WC024
Ultrathane Endoureteratomy Stent Set
6/9.5 Fr & 7/14.0Fr , Multiple Length
$234.00

T

Boston Scientific Australia Pty Ltd
BS092
Contour Ureteral Stents
Each Stent contains a ureteral stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$214.00

attached suture and a stent positioner .  If 
95cm

packaged as a set, the set will contain the 

ureteral stent, stent positionerand guidewire

N Stenning  & Co Pty  Ltd
NG028
DD Ureteric Tumor Stent Set
Open/Closed end with introducer and guide 
20 - 28cm
$123.00

wire, Polyurethane
Prostheses List by Category, Groups and Sponsor
Page 665 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
NG029
DD Ureteric Valve Stent Set
Open end with introducer and guide wire, 
22 - 30cm
$142.00

Polyurethane

Group 2c - Ureteric stents: fixed length, other synthetic thermosensitive

William A Cook Australia Pty Ltd
WC130
Endo-Sof Double Pigtail Stent with AQ(R) 
Multiple French Sizes, Multi-
$261.00

Hydrophilic Coating
Lengths
WC131
Endo-sof double pigtail stent Set with AQ 
Multiple French Sizes and Lengths
$261.00

Hydrophilic Coating and Sideholes
WC170
Endo-Sof Double Pigtail Ureteral Stent Set
 Stent and Positioner only
Multiple French Sizes and Lengths
$184.00
WC172
Endo-Sof Double Pigtail Ureteral Stent Set
Endo-Sof Double Pigtail Stent Set
Multiple French Sizes and Lengths
$204.00

Group 2d - Ureteric stents: fixed length, metal

Endovision Pty Ltd
ED006
Memokath Ureteric Stent
Memokath Model 051CW.
30mm - 200mm
$3,778.00

T

William A Cook Australia Pty Ltd
WC226
RESONANCE Metallic Ureteral Stent Set
Metallic Double Pigtail Stent
 6 Fr, Multiple Lengths
$1,720.00

Group 2e - Ureteric stents: multilength polyurethane

Bard Australia Pty Ltd
BA044
Ureteral Stent
Bard Inlay Hydrophilic coated Pigtail 
(Inlay) 4.7Fr 14, 20, 22, 24, 26, 
$199.00

Ureteric stent without guidewire; Bard 
28cm.  6Fr- 14, 20, 22, 24, 26, 28cm  

Flouro 4 Silicone Multilength ureteric stent 
7Fr 14, 20, 22, 24, 26, 28cm  8Fr- 14, 

with guidewire; Urinary Diversion Stent All 
20, 22, 24, 26, 28cm. (Flouro) 

Silicone
Multilength  4,6,7,and 8fr. 

(Diversion)  7Fr x  90cm  &  8Fr  x 

90cm.

William A Cook Australia Pty Ltd
WC020
Towers Peripheral Ureteral Stent Set
Multiple French Sizes Multi-length
$214.00
Prostheses List by Category, Groups and Sponsor
Page 666 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

P

William A Cook Australia Pty Ltd
WC218
C-Flex Multilength Ureteric Stent Set
Set includes: Paediatric Stent, Wire, 
3.7 Fr, Multiple Lengths
$254.00

Positioner
WC219
C-Flex Double Pigtail Ureteric Stent Set
Set includes: Paediatric Stent, Wire and 
3.7 Fr, Multilple Lengths
$254.00

Positioner

Group 2f - Ureteric stents: multilength other synthetic

Boston Scientific Australia Pty Ltd
BS094
Contour VL; Stretch VL Flexima; Ureteral 
Each Stent contains a ureteral stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$212.00

Stents
attached suture and a stent positioner
95cm

Gyrus Australasia Pty Ltd
GY084
Ureteral Stents 
Single J Ureteric Stent, silicone
7 - 8.5 F x 90cm
$177.00
GY085
Ureteral Stents
Double J Ureteric Stent, silicone
6-8.5 F, 12 - 24 cm
$196.00
GY089
Quadra-Coil Multi Length Ureteral Stent
Tecoflex polymer, hydrophilic coating/PTFE 
4.5F-8.5F x length 22 - 28cm
$139.00
$178.00

coating

William A Cook Australia Pty Ltd
WC002
Sof-Flex Multi-length Ureteric Stent Set
Set includes Stent, Wire, Positioner
Multiple French Sizes, Multi-
$198.00
WC003
Sof-Flex Multi-length Ureteric Stent Set
Stent and Positioner only
Multiple French Sizes, Multi-
$198.00
WC009
Sof-Flex Double Pigtail & Multi-length 
Set includes Aqueous Coated (AQ) or 
Multiple French Sizes and Lengths
$198.00

Ureteric Stent Sets with Slipcoat Wire
Standard Stent, Slipcoat Wire & Positioner
WC104
Cook Ureteral Stent - Sof-Flex Double 
Radiopaque Sof-Flex Stent, Stainless Steel 
Multiple French Sizes and Lengths
$228.00

Pigtail Stent Set - Special
Wire Guide, Radiopaque Polyurethane 

Catheter and Radiolucent Vinyl Positioner
WC140
Filiform Multi-Length Silicone Stent Set
Stent, Wire, Positioner
Multiple French Sizes and Lengths
$265.00
WC147
Kwart Retro-Inject Stent Set
Stent, Wire, Inserter, Release Sleeve
Multiple French Sizes and Lengths
$198.00
WC149
Sof-Flex Double Pigtail Ureteric Stent Set
Stent and Positioner only
Multiple French Sizes and Lengths
$198.00
WC150
Sof-Flex Double Pigtail Ureteric Stent Set
Set includes: Stent, Wire, Positioner
Multiple French Sizes and Lengths
$198.00

P

William A Cook Australia Pty Ltd
WC217
Sof-Flex Multilength Ureteric Stent Set
Set includes: Paediatric Stent, Wire, 
3 Fr, Multiple Lengths
$259.00

Positioner
Prostheses List by Category, Groups and Sponsor
Page 667 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC220
Sof-Flex Double Pigtail Ureteric Stent Set
Set includes: Paediatric Stent, Wire, 
3 Fr, Multiple Lengths
$259.00

Positioner

Suffix SP

William A Cook Australia Pty Ltd
WC023
Greene Renal Transplant Stent Set
Transplant stent set
Multiple French Sizes, Multi-
$243.00

T

William A Cook Australia Pty Ltd
WC138
Filiform Double Pugtail Silicone Stent Set
Stent, Wire, Positioner
Multiple French Sizes and Lengths
$265.00
WC143
Filiform Double Pigtail Silicone Stent Set
Stent and Positioner only
Multiple French Sizes and Lengths
$265.00

Group 2g - Ureteric stents: multilength other synthetic thermosensitive

William A Cook Australia Pty Ltd
WC035
Multi-length Endosof Ureteral Stent Set
Set includes Hydrophilic Coated Stent,Wire 
Multiple French Sizes, Multi-Length
$261.00

and Positioner
WC169
Endo-Sof Multi-length Ureteral Stent Set
Endo-Sof Multilength Stent Set
Multiple French Sizes and Lengths
$204.00
WC171
Endo-Sof Multi-Length Ureteral Stent Set
Stent and Positioner only
Multiple French Sizes and Lengths
$184.00

Group 2i - Ureteric stents: urinary diversion

Boston Scientific Australia Pty Ltd
BS095
Urinary Diversion Stents
Each Stent contains a ureteral stent with 
Size: 4Fr to 14Fr, Length: 10cm to 
$212.00

attached suture and a stent positioner
95cm

Pyramed (Australia) Limited
PY001
Optimed Ureteric Stents
Soft-Polyurethane. Ureteral. Paediatric 
Ureteral 4.5 x 28,30,32 cm; 6 x 
$212.00

Ureteral. Renal Transplantation. Urinary 
26,28,30,32 cm; 7 x 26,28,30,32 cm. 

Diversion.
Paediatric Ureteral 8 x 28,30,32 cm. 

Renal Transplantation 4 x 

10,12,14,16 cm; 6 x 12,14,16 cm; 7 x 

12,14,16 cm. Urinary Diversion 8 x 

12,14,16 cm.

William A Cook Australia Pty Ltd
WC031
Bander Ureteral Diversion Stent Set
Left or right stent
Multiple French Sizes and Lengths
$132.00
WC128
Bander Ureteral Diversion Stent Set
Left and Right Stents
Multiple French Sizes and Lengths
$212.00
Prostheses List by Category, Groups and Sponsor
Page 668 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 3 - Urogenital - Urethral Stents

Group 3a - Urethral stents : Metal, expandable

American Medical Systems
AM003
Urolume Plus TM Endo Urethral 
Endourethral wall stent for urethral 
Range: 1.5 - 4.0cm
$2,475.00
When provided in association with 

prostheses                                                         
strictures, DESD and BPH
Medicare Benefits Schedule Item 

                                                                    
Number 36811 only.

Bard Australia Pty Ltd
BA042
Memotherm Prostatic Stents
Memotherm Prostatic Urethral wall Stent
36Fr, 20mm to 60mm in 5mm 
$2,475.00
When provided in association with 

increments; 42Fr, 20mm to 60mm in
Medicare Benefits Schedule Item 

 5mm increments
Number 36811 only.

Endovision Pty Ltd
ED004
Memokath Prostatic - Urethral Stents
Memokath Models: 028S, 028SW, 028T, 
 5mm - 90mm
$2,475.00

028TW, 044T, 044TW, 045T, 045TW, 045TTW

Group 3b - Urethral stents : paediatric

William A Cook Australia Pty Ltd
WC126
Firlit-Kluge Uretheral Stent
Firlit-Kluge uretheral stent
Multiple French Sizes, Length 
$58.00

30cm
WC136
Kaontz Urethral Stent
Kaontz Urethral Stent
Multiple French Sizes, Length 
$49.00

12cm
WC137
Pediatric Urethral C-Stent
Pediatric Urethral C-Stent
Multiple French Sizes, Length 
$49.00

15cm
WC162
Tarkington Urethral Stent Set
Stent, Wire
8 Fr
$81.00
Group 4 - Urogenital - Reconstructive Material

Group 4a - Urogenital Reconstructive Material : synthetic

American Medical Systems
AM012
Triangle Sling
Gelatin Coated Polyester sling, used in sling 
18 x 55 mm
$677.00

procedures for treatment of stress urinary 

incontinence.
Prostheses List by Category, Groups and Sponsor
Page 669 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AM013
Triangle Sling with surgical mesh
Silicone Coated sling with surgical mesh, 
10 x 10cm - 144 x 144cm
$677.00

used in sling procedures for treatment of 

stress urinary incontinence.
AM023
IntePro Large Pore Polypropylene Y-Sling
Large pore polypropylene mesh
One size
$677.00
AM026
Perigee Transobturator Anterior Prolapse 
4 helical shaped needles with handles, 4 
One size
$1,353.00

Repair System
synthetic graft arms enclosed in plastic with 

a centre "cape" mesh.
AM027
Apogee Vault Suspension System
2 stainless steel curved needles with 
One size
$1,322.00

handles, a large pore polypropylene mesh 

attached in the centre of a polypropylene 

mesh enclosed in plastic sheaths and two 

Johnson & Johnson Medical Pty Ltd
JJ476
Gynecare Prolift Pelvic Floor Repair System
Pre-cut gynemesh PS and single use 
PFRT01
$2,540.00

instruments for mesh placement
JJ477
Gynecare Prolift Pelvic Floor Repair System
Pre-cut gynemesh PS and single use 
PFRA01
$1,333.00

instruments for mesh placement
JJ478
Gynecare Prolift Pelvic Floor Repair System
Pre-cut gynemesh PS and single use 
PFRP01
$1,322.00

instruments for mesh placement

Q-Med (Sweden) Australia Pty Ltd
QM001
Deflux
Deflux is a sterile, highly viscous gel of 
1ml in syringe
$850.00
$1,000.00

dextranomer microspheres and non-animal 

stabilised hyaluronic acid constituting a 

biocompatible and biodegradable implant for

 the treatment of vesicoureteral reflux.  The 

stabilised hyaluronic acid acts mainly as a 

carrier, leaving the dextranomer 

microspheres at the implant site.  They are 

gradually surrounded by host connective 

tissue.
QM002
Deflux and Metal needle kit
Deflux is a sterile, highly viscous gel of 
1 ml syringe and needle size 3.7FR 
$970.00
$1,130.00

dextranomer microspheres and non-animal 
x 23G x 350mm

stabilised hyaluronic acid constituting a 

biocompatible and biodegradable implant for

 the treatment of vesicoureteral reflux. The 

stabilised hyaluronic acid acts mainly as a 

carrier, leaving the dextranomer 

microspheres at the implant site.  They are 

gradually surrounded by host connective 

tissue. 3.7FR x 23G x 350mm Metal Needle.
Prostheses List by Category, Groups and Sponsor
Page 670 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 4b - Urogenital Reconstructive Material : biological

Bard Australia Pty Ltd
BA149
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
4 x 18cm x 1.0mm
$744.00
$750.00

 collagen and elastin fibres
BA150
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
4 x 7cm x 1.0mm
$407.00
$410.00

 collagen and elastin fibres
BA151
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
2 x 12cm x 1.0mm
$377.00
$380.00

 collagen and elastin fibres
BA152
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
2 x 20cm x 1.0mm
$499.00
$503.00

 collagen and elastin fibres
BA153
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
4 x 12cm x 1.0mm
$561.00
$565.00

 collagen and elastin fibres
BA154
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
8 x 12cm x 1.0mm
$943.00
$951.00

 collagen and elastin fibres
BA155
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
2 x 4cm x 1.0mm
$254.00
$256.00

 collagen and elastin fibres
BA156
Pelvicol natural implant
Flexible Flat sheet of acellular porcine dermal
2 x 7cm x 1.0mm
$299.00
$301.00

 collagen and elastin fibres
BA172
Pelvisoft
PelviSoft Acellular Collagen BioMesh
4 x 7 cm
$407.00
$472.00
BA173
Pelvisoft
PelviSoft Acellular Collagen BioMesh
8 x 12 cm
$943.00
$1,333.00
BA174
Pelvisoft
PelviSoft Acellular Collagen BioMesh
6 x 8 cm
$561.00
$679.00

William A Cook Australia Pty Ltd
WC177
Surgisis Soft Tissue Graft
Surgical Mesh composed of Sub-Intestinal 
Length- 10cm, Width- 7cm
$786.00

Submucosa (SIS)
WC178
Surgisis Soft Tissue Graft
Surgical Mesh composed of Sub-Intestinal 
Length- 20cm, Width- 7cm
$1,000.00

Submucosa (SIS)

Group 4c - Urogenital Reconstructive Material : bone and ligament fixation

American Medical Systems
AM010
Influence Bone Screw
Bone screw with pre-attached 
5.5 x 1.7 mm
$700.00

polypropylene monofilament suture. For 

incinsionless tranvaginal sling procedure. 

Loop Screw Bone Screw
Prostheses List by Category, Groups and Sponsor
Page 671 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
AM011
Influence Bone Screw
Bone screw with pre-attached 
5.5 x 1.7 mm
$700.00

polypropylene monofilament suture. For 

incinsionless tranvaginal sling procedure. 

In-Fast Bone Screw
Group 5 - Urogenital - Penile Prostheses

Group 5a - Penile : malleable

American Medical Systems
AM005
Penile Implant - Malleable
AMS 600M, AMS 650
Cylinders range: 12 -20cm
$3,375.00
When provided in association with 

Medicare Benefits Schedule Item 

37429, 37426 or 37432
AM020
DURA II, Positionable Penile Prosthesis
Concealable penile prosthesis
Diameter 10mm and 12mm; 
$5,411.00

Proximal tip lengths 1-9cm; Distal 

tip lengths 1-9cm

Coloplast Pty Ltd
CT002
Acu-form Penile Prosthesis
Malleable penile prosthesis
Dia: 9ml (14 - 23cm length), dia : 
$2,100.00
When provided in association with 

11mm (16 - 25cm length), Dia: 
Medicare Benefits Schedule Item 

13mm (18 - 27cm length)
37429, 37426 or 37432

Medical Device Alliance Pty Ltd c/o Karma Medical
MP002
Malleable Penile Implant
Consists of a membrane, filler product and 
14-23cm
$817.00
When provided in association with 

silicone tube
Medicare Benefits Schedule Item 

37429, 37426 or 37432

A

Coloplast Pty Ltd
CT007
Genesis Penile Prosthesis
Malleable Penile Prosthesis with Resist 
Dia 9mm (14 - 23cm lengths), Dia: 
$2,500.00
$3,700.00
When provided in association with 

Coating
11mm (16 - 25cm lengths), Dia: 
Medicare Benefits Schedule Item 

13mm (18 - 27cm lengths)
37429, 37426 or 37432

Group 5b - Penile : inflatable, two component

American Medical Systems
AM047
AMS Ambicor
AMS Ambicor Inflatable Penile Prostheses
12.5mm in 14, 16 & 18cm length, 
$10,210.00

14mm in 16, 18 & 20cm length, 

15.5mm in 18, 20 & 22cm length
Prostheses List by Category, Groups and Sponsor
Page 672 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Coloplast Pty Ltd
CT001
Excel Inflatable Penile Prosthesis
Two-piece inflatable penile prosthesis
Cylinder lengths 
$10,200.00
When provided in association with 

10,12,14,16,18,20,22cm & six rear-
Medicare Benefits Schedule Item 

tip extenders (two each 1, 2 & 3cm)
37429, 37426 or 37432

A

American Medical Systems
AM041
AMS Ambicor
AMS Ambicor Inflatable Penile Prostheses
AMS Ambicor Inflatable Penile 
$10,414.00

Prostheses 12.5mm in 14, 16 & 

18cm length, 14mm in 16, 18 & 

20cm length, 15.5mm in 18, 20 & 

22cm length

Group 5c - Penile : inflatable, three component

American Medical Systems
AM022
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
12, 14, 15, 16, 18, 21cm
$3,520.00
When provided in association with 

Prostheses Cylinders
Medicare Benefits Schedule Item 

37429, 37426 or 37432
AM042
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
One Size
$4,290.00

Prostheses Pump
AM043
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
12, 14, 15, 16, 18, 21cm
$7,810.00

Prostheses Pump & Cylinders Preconnected
AM044
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
 50, 65, 100ml
$1,795.00

Prostheses Reservoir non Inhibizone
AM045
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
One Size
$689.00

Prostheses Accessory Kit
AM046
AMS 700 Series Inflatable Penile 
700 Series (Non InhibiZone)
One Size
$135.00

Prostheses Deactivation Package

Coloplast Pty Ltd
CT005
Titan Inflatable Penile Prosthesis with 
Assembly kit for three component penile 
Standard & Narrow -base
$680.00

Resist - Assembly Kit
prosthesis
CT008
Titan Inflatable Penile Prosthesis with 
Cylinders for three component penile 
10, 12, 14,  16, 18, 20, 22cm
$3,830.00

Resist - Cylinders
prosthesis
CT009
Titan Inflatable Penile Prosthesis with 
Preconnected Cylinders & pump for three 
10, 12, 14, 16, 18, 20, 22cm (in both 
$8,495.00

Resist - Cylinders & Pump Preconnected
component penile prosthesis
infrapubic & scrotal models)
CT010
Titan Inflatable Penile Prosthesis with 
Reservoir for three component penile 
60, 75, 100ml
$1,980.00
$2,020.00

Resist - Lock-out Valve Reservoir
prosthesis
Prostheses List by Category, Groups and Sponsor
Page 673 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
CT011
Titan Inflatable Penile Prosthesis with 
Pump for three component penile prosthesis
One Size
$4,665.00

Resist - Pump
CT012
Titan Inflatable Penile Prosthesis with 
True Lock Plug for deactivation of three 
One Size
$135.00

Resist - True-lock Plug
component penile prosthesis

A

American Medical Systems
AM004
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
12, 14, 15, 16, 18, 21cm
$3,830.00
When provided in association with 

Prostheses with Inhibizone Cylinders
Medicare Benefits Schedule Item 

37429, 37426 or 37432
AM036
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
One Size
$4,665.00

Prostheses with InhibiZone Pump
AM037
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
12, 14, 15, 16, 18, 21cm
$8,495.00

Prostheses with InhibiZone Pump & 

Cylinders Preconnected
AM038
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
 50, 65, 100ml
$1,980.00

Prostheses with InhibiZone Reservoir
AM039
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
One Size
$689.00

Prostheses with InhibiZone Accessory Kit
AM040
AMS 700 Series Inflatable Penile 
700 Series with InhibiZone
One Size
$135.00

Prostheses with InhibiZone Deactivation 

Package

Coloplast Pty Ltd
CT006
Titan Inflatable Penile Prosthesis with 
Three-piece inflatable Penile Prosthesis with 
10cm, 12cm, 14cm, 16cm, 18cm, 
$10,475.00

Resist Coating
Resist Coating
20cm Cylinder Lengths
Group 6 - Urogenital - Testicular

American Medical Systems
AM015
AMS Testicular Prostheses
Solid silicone elastomer with suture hole
Small, Medium, Large
$653.00
When provided in association with 

Medicare Benefits Schedule Item 

45051 preparatory to a subsequent 

surgical service not precluded from 

attracting Medicare Benefits
Prostheses List by Category, Groups and Sponsor
Page 674 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Surgiplas Medical
SP002
Testicular Implant
Silicone Elastomer
Small / Medium / Large
$653.00
When provided in association with 

Medicare Benefits Schedule Item 

45051.

Group 6 - Testicular prostheses

Coloplast Pty Ltd
CT003
Saline Filled Testicular Prosthesis
 Testicular Prosthesis
Extra Small, Small, Medium, Large
$653.00
When provided in association with 

Medicare Benefits Schedule Item 

45051 preparatory to a subsequent 

surgical service not precluded from 

attracting Medicare Benefits
CT004
Soft Solid Testicular Prosthesis
Gel filled Testicular Prosthesis
Small, Medium, Large & Extra 
$653.00
$780.00
When provided in association with 

Large
Medicare Benefits Schedule Item 

45051 preparatory to a subsequent 

surgical service not precluded from 

attracting Medicare Benefits

Endotherapeutics Pty Ltd
ET028
Promedon Testicular Prosthesis
Silicone Elastomer
Small - 31 x 23 mm,  Medium - 37 x 
$653.00
When provided in association with 

28 mm,  Large - 42 x 32 mm,  Xlarge
Medicare Benefits Schedule Item 

45051 preparatory to a subsequent 

surgical service not precluded from 

attracting Medicare Benefits
Group 7 - Urogenital - Stimulators

Medtronic Australasia Pty Ltd
MC180
Sacral Nerve Stimulation Unilateral
Interstim  stimulation lead Models 3080 & 
28 cm
$3,400.00

3886. Platinum / Iridium, polyurethane.
MC185
Sacral Nerve Stimulation Unilateral
Interstim Temporary test stimulation lead. 
One size only
$393.00
When used in pain therapy - to be 

Model 3065U. This model is temporary for 
funded when the patient has 

patient trial. Platinum / Iridium, polyurethane.
undergone a multi-disciplinary 

assessment and trial of stimulation.
MC186
Sacral Nerve Stimulation Accessories
Model 041827-002 Auxiliary screener cable 
One size only;  9-12.5cm
$130.00
Only to be used with Medtronic 

kit. Polypropylene. OR Model 041828-002 
Itrel II pulse generator, model 7424.

Foramen Needle (box of 6). Sterile individual 

units. Stainless steel.
Prostheses List by Category, Groups and Sponsor
Page 675 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
MC188
Sacral Nerve Stimulation Unilateral
Activator. Model 3031. Polycarbonate.
One size only
$1,345.00
Only to be used with Medtronic 

Itrel II pulse generator, model 7424.
MC291
Sacral Nerve Stimulation Lead Model 3093 
4 electrode tined lead - platinum iridium, 
28 - 41cm
$4,420.00

TINED LEAD
electrodes 0, 2, 3 are 3mm,electrode 1 is 

10mm and coiled, spacing is 1.5mm
MC719
InterStim Neurostimulator Model 3023
Titanium
42g
$9,550.00
MC755
InterStim II Neurostimulator
Titanium
Weight 22g
$9,550.00
MC756
InterStim iCON Patient Programmer
Hand held device Model 3037 to be used 
One size only
$1,400.00

with implantable neurostimulation devices
MC757
Tined Lead model 3889
4 electrode tined lead - platinum, iridium
28, 33 and 41cm
$4,420.00

Group 7 - Stimulators

Medtronic Australasia Pty Ltd
MC175
Neo-anal sphincter stimulator implant
Implantable intramuscular assist lead, 
35-50 cm
$4,420.00

Dynamic Graciloplasty Lead. Platinum 

iridium, polyurethane, polypropylene.
Group 8 - Urogenital - Tubal Obstruction Devices

Group 8a - Tubal obstruction : extraluminal

Femcare Australia Pty Ltd
FE001
Filshie Clip
Titanium
One size only
$155.00
FE002
Fallopian Tube Rings (Pair)
Silicone
One size only
$78.00
$120.00
FE003
Filshie Clips - Sterishot
With Disposable Applicator
One Size
$410.00
Temporary approval, pending 

review of product group

Gyrus Australasia Pty Ltd
GY088
Falope-Ring Bands
Fallopian Tube Clip (each)
5mm - 12mm
$39.00
Prostheses List by Category, Groups and Sponsor
Page 676 of 724
UROGENITAL

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 8b - Tubal obstruction : intraluminal

N Stenning  & Co Pty  Ltd
NG045
Essure System
Stainless steel, polyester fibre
One size only, 2 per pack
$1,290.00
$1,344.00
Only to be funded when provided 

in a hospital/day hospital.  To be 

reviewed in three years (2004) to 

assess whether the place of 

insertions is still consistent.
Prostheses List by Category, Groups and Sponsor
Page 677 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Clip, internal, ligating

B Braun Australia Pty Ltd
BB294
Aesculap Ligating Clips
Aesculap Ligating Clips- Ligation Clips 
PL561T- Large
$11.00
$13.00

Titanium;
BB297
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL565T - Small
$10.00
BB298
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL566T - small cardiopack of 24
$35.00
BB299
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL567T - medium
$12.00
BB300
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL568T - medium/large
$11.00
$13.00
BB301
Challenger Ligating Clips
Challenger Ligating Clips Titanium Multifire
PL572 - small/medium
$70.00
Clips, Vascular

B Braun Australia Pty Ltd
BB016
Challenger Clip
Vessel clip
Medium-large
$65.00
Temporary Approval
Embolization Prostheses, Intravascular

Boston Scientific Australia Pty Ltd
BS021
Fibred Platinum Coils, Braided Occlusion 
Platinum coil covered with dacron fibres. 
Delivery device lengths up to 
$1,250.00

Device (BOD), Vortx Coils, Excelsior, 
Delivery systems with nitinol braid, 
175cm.  Sizes of coils Diameter 

Tracker, FasTracker, Turbotracker, 
Polypropylene proximal, Polyethylene distal.
2mm - 30mm and lengths 2mm - 

Renegade, Spinnaker Elite
100mm.
BS027
Guglielmi Detachable Coil (GDC)
Platinum Coil. 
2-20mm x 4-30cm
$1,400.00
BS058
GDC Trispan
3 nitinol loops (or petal) with platinum wire 
Dia 6 - 10, 12, 14, 16mm
$1,800.00

wrapped around each petal, a 018 catheter 

delivery wire
BS072
Matrix Detachable Coils
Platinum coils covered with an absorbable 
Length: 1 to 30cm; Diameter: 2 to 
$1,750.00

copolymer
20mm
Prostheses List by Category, Groups and Sponsor
Page 678 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BS081
GDC 360 Shaped Detachable Coil
Bare platinum coil- the first 1.5 loops are 
Length: 5cm to 40cm; Diameter: 
$1,640.00

25% smaller than the stated helical coil 
2mm to 24mm

diameter which provides for greater 

aneurysm framing, packing and finishing

Medtel Australia Pty Ltd
ME070
Micrus ACT Platinum Microcoil Delivery 
Platinum Coil
Helical Stretch Resistant - 2mm x 
$1,400.00

System
1cm  - 10mm x 30cm
ME085
Micrus ACT Platinum Microcoil Delivery 
Platinum Coil
Helical - 2mm x 2cm - 10mm x 30cm
$1,700.00

System
ME086
Micrus ACT Platinum Microcoil Delivery 
Platinum Coil
Helical Soft Stretch Resistant - 
$1,700.00

System
2mm x 1cm - 4mm x 8cm
ME087
Micrus ACT Platinum Microcoil Delivery 
Platinum Coil
Spherical - 2mm x 2.5cm - 19mm x 
$1,545.00

System
30cm
ME088
Micrus ACT Platinum Microcoil Delivery 
Platinum Coil
Straight - 4mm x 10cm - 6mm x 30cm
$1,445.00

System
ME133
Micrus ACT Platinum Microcoil Delivery 
Cerecyte
Helical Cerecyte - 2mm x 2cm - 
$1,850.00
$1,950.00

System
10mm x 30cm
ME134
Micrus ACT Platinum Microcoil Delivery 
Cerecyte
Helical Soft Stretch Resistant 
$1,850.00
$1,950.00

System
Cerecyte - 2mm x 1cm - 4mm x 8cm
ME135
Micrus ACT Platinum Microcoil Delivery 
Cerecyte
Spherical Cerecyte - 2mm x 2.5cm - 
$1,850.00
$1,950.00

System
19mm x 30cm

William A Cook Australia Pty Ltd
WC061
Detachable Coil System
Microembolisation Coils - Platinum
011/018 2-20mm diameter, 2 - 50cm 
$785.90

length
Group 1- Bare Metal Stents

Abbott Australasia Pty Ltd
AY014
Abbott Vascular Balloon Deployable Stent
Stainless Steel
Dia 5 - 12mm, length 12 - 58mm
$1,100.00

Group 1a - Balloon expandable, pre-mounted

ev3 Australia Pty Ltd
EE020
IntraStent Expandable Stent
Stainless Steel
2.8 x 10, 16, 26, 36, 56, 76mm
$1,800.00
Prostheses List by Category, Groups and Sponsor
Page 679 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC729
Bridge Assurant Stents: Balloon 
Stainless Steel, Nitinol
Diameter: 6 - 10mm, Length: 20 - 
$1,800.00

Expandable Stent Delivery System
80mm

ca

Medical Vision Australia Pty Ltd
MF017
CP Stent
CP Stent Uncovered, mounted on BIB balloon
16, 22, 28, 24, 39 & 45mm length
$3,600.00

co

B Braun Australia Pty Ltd
BB244
Coroflex Blue
Cobalt Chromium Alloy L605
2-4mm diameter, 8-25mm length
$1,100.00

co, m

Johnson & Johnson Medical Pty Ltd
JJ567
PALMAZ® BLUE™ .018 Peripheral Stent 
L605 Cobalt Chromium Alloy Balloon 
12, 15, 18, 24mm length 4, 5, 6, 7mm
$1,800.00
$2,509.00

System
Expandable Stent
 diameter

O

Abbott Australasia Pty Ltd
AY022
Cobalt Chromium Balloon Expandable 
Cobalt Chromium
Length 12-18mm, Diameter 4-7mm
$1,850.00

Peripheral Stent

o (cobalt alloy), m

Medtronic Australasia Pty Ltd
MC328
Racer Renal Stent System
Cobalt Alloy
Diameter: 4-7mm; Lengths: 12 
$1,800.00
Temporary approval, pending 

&18mm
review of product group

s

Abbott Australasia Pty Ltd
AY024
Omnilink Stainless Steel Balloon 
Stainless Steel Balloon Expandable 
018 & 035 system: 5-10mm 
$1,800.00

Deployable Peripheral Stent
Peripheral Stent on 018/035 system
diameter by 12, 16, 18, 28, 38, 58mm

 length

Bard Australia Pty Ltd
BA003
Saxx Premounted Balloon Expandable Stent 
Pura vario stainless steel stent
3mm - 16mm diameter, 13mm - 
$1,648.00

80mm length

Biotronik Australia Pty Ltd
BT073
Motion Explorer
Motion explorer silicon carbide coated 
Dia:  2.5 - 3.5mm.  Len: 15 - 25mm
$1,545.00

stainless steel balloon expandable peripheral

 stent system 0.014 compatible
Prostheses List by Category, Groups and Sponsor
Page 680 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

William A Cook Australia Pty Ltd
WC234
Formula 414 Rx Renal Stent System
Balloon Expandable Vasc/Biliary Stent
Rapid exchange 014/018, 80-135cm 
$1,800.00

delivery system. Diameters 4-

10mm, lengths 0.8 - 4cm

S, B

Biotronik Australia Pty Ltd
BT094
Dynamic
PTA Balloon Expandable Stent
5-10mm diameter / 15, 25, 38, 56mm 
$1,800.00

lengths

s, m

Abbott Australasia Pty Ltd
AY008
Jostent Renal Premounted
Balloon expandable
Stent length 12 - 17mm, diameter 5 
$1,485.00

- 7 mm

Boston Scientific Australia Pty Ltd
BS059
Express Vascular LD Stent; Express 
316L stainless steel stent mounted on a 
Diameter 4mm - 10mm, Length 
$1,800.00

Vascular SD Stent
balloon.  The balloon shaft is polyurethane 
14mm - 60mm

with coextrusion balloon on a distal end 

where stent is crimped to.

Edwards Lifesciences Pty Ltd
EL040
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 15mm - 18mm, 0.035 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL041
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 19mm - 27mm, 0.035 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL042
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 28mm - 37mm, 0.035 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL043
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 38mm - 56mm, 0.035 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL044
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 15mm - 18mm, 0.018 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL045
Lifestent - Peripheral Stent
Stent: Stainless Steel composition. Items 
Stent Length 19mm - 27mm, 0.018 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
Prostheses List by Category, Groups and Sponsor
Page 681 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
EL046
Lifestent - Peripheral Stent
Stent: Stainless Steel Composition. Items 
Stent Length  28mm - 37mm, 0.018 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system
EL047
Lifestent - Peripheral Stent
Stent: Stainless Steel Composition. Items 
Stent Length 38mm - 56mm, 0.018 
$1,950.00

included in delivery system: nylon balloon, 
compatible

stent and deployment system

Johnson & Johnson Medical Pty Ltd
JJ304
Palmaz Genesis Peripheral Stent and 
Stainless steel balloon expandable stent 
Diameter 4-8mm, length 12-39mm
$1,800.00
$2,099.00

Delivery System on Slalom
mounted on a slalom balloon
JJ305
Palmaz Genesis Peripheral Stent and 
Stainless steel balloon expandable stent 
Diameter 4-8mm, length 12-39mm
$1,800.00
$2,211.00

Delivery System on Opta Pro
mounted on an Opta Pro Balloon
JJ479
PALMAZ GENESIS on CORDIS AMIIA 
Peripheral balloon expandable stent and 
Lengths: 12, 15, 18, 24mm. 
$2,300.00

RX .014 Delivery System
rapid exchange delivery system
Diameter: 4, 4.5, 5, 5.5, 6, 6.5, 7mm

s, nb

Biotronik Australia Pty Ltd
BT035
PEIRON
Flexible coated stent with delivery system
Dia 5-8mm, length 18-38mm
$2,500.00

Group 1b - Balloon expandable, un-mounted

Johnson & Johnson Medical Pty Ltd
JJ058
Palmaz Balloon Expandable Stent
Stainless steel stent
Extra-large
$1,800.00

ca

Medical Vision Australia Pty Ltd
MF015
CP Stent
CP Stent Uncovered
16, 22, 28, 24, 39 & 45mm length
$2,500.00

s

Bard Australia Pty Ltd
BA002
Pura Vario Stent
Saxx balloon expandable stainless steel stent
3mm - 14mm diameter, 13mm - 
$1,391.00
$1,432.73

80mm length

s, m

Johnson & Johnson Medical Pty Ltd
JJ057
Palmaz Balloon Expandable Stent
Stainless steel stent
Diameter 4-12mm, length 20-30mm
$1,600.00
JJ306
Palmaz Genesis Peripheral Stent
Stainless steel peripheral stent
Diameter 4-12mm, length 11-79mm
$1,780.00
Prostheses List by Category, Groups and Sponsor
Page 682 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 1c - Self expandable

Edwards Lifesciences Pty Ltd
EL051
Lifestent
Laser cut nitinol self expanding stent, used 
Diameter:  6-10mm, Length:  20-
$2,400.00

to treat peripheral disease
100mm
EL052
Lifestent
Laser cut nitinol self expanding stent, used 
Diametre:  6-8mm, Length: 110-
$4,000.00

to treat peripheral disease
170mm

Medtronic Australasia Pty Ltd
MC702
Aurora Stents: Self Expanding Stent 
Stainless Steel, Nitinol
Diameter: 6 - 10mm, Length: 20 - 
$1,800.00

Delivery System
80mm

co, m

Boston Scientific Australia Pty Ltd
BS035
Expandable Endovascular Wallstent
Wallstent - Easy Wallstent, Iliac Wallstent 
Stent Diameter x Stent Length: 6-
$1,800.00

(A self-expanding stent that has a cylindrical
16mm x 18-70mm

 braided structure composed of 24 wires with

 core of either tantalum or platinum).
BS056
Carotid Wall Stent
Model SCH64371, SCH64377, SCH64378, 
Fully open diameter 6.0 - 10.0mm, 
$1,800.00

SCH64379, SCH64382, SCH64383, SCH64384,
Fully open length 22 - 37mm

 Elgiloy (cobalt chromium), flexible low 

profile, self expanding
BS063
Wallstent RP; 7Fr Placehit Wallstent
Wallstent TIPS endoprosthesis, wallstent 
Diameter 6mm - 24mm, Length 
$1,800.00

biliary endoprosthesis, wallstent iliac 
18mm - 90mm

endoprosthesis, wallstent endoprosthesis 

tracheobronchial  with unistep plus delivery 

sytem, 7Fr Placehit Wallstent.  Stent 

composition - biomedical superalloy wire, 

braided in mesh, unistep delivery system 

composition - blue polyimid material, 

stainless steel

N

Abbott Australasia Pty Ltd
AY021
Nitinol Self Expanding Peripheral Stent
Nitinol
Diameter 3-10mm
$1,800.00

Endotherapeutics Pty Ltd
ET037
SX-Ella Endovascular Stent
Uncovered, self-expanding nitinol stent
Dia 6-16mm, length 22-77mm
$2,500.00
Prostheses List by Category, Groups and Sponsor
Page 683 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Medtronic Australasia Pty Ltd
MC146
Exponent RX Self Expanding Carotid Stent 
Nitinol
Diameter: 6 - 10mm, Length: 20 - 
$1,800.00

Delivery System
40mm

Pyramed (Australia) Limited
PY005
Optimed Iiiac Sinus Stent
Sinus-wave nitinol stent
4 - 12mm x 30 - 100mm
$1,800.00
PY006
Optimed Femoral Sinus Stent
Sinus-wave nitinol Stent
4 - 12mm x 30-100mm
$1,800.00

n, m

Abbott Australasia Pty Ltd
AY007
Jostent SelfX Expanding Stent
Nitinol
Shaft length 15 - 180cm, stent 
$1,520.00

length 32 - 92mm
AY015
Xact/ Xact Flex Carotid Stent
Nitinol Self-Expanding stent on rapid 
Diameter 7-10mm Length 20 + 
$1,900.00

exchange delivery system
30mm Straight; Diameter 8-6, 9-7, 

10-8mm Length 20 + 30mm Tapered
GU071
ACCULINK Peripheral Stent System
Nickel-Titanium Intra-vascular stent
4-10mm diameter, 13-56mm length
$1,900.00

Bard Australia Pty Ltd
BA001
Memotherm Vascular Stents 
Memotherm nitinol self-expanding stent
4mm - 20mm diameters, 2cm - 12 cm
$1,900.00
$1,957.00

 lengths
BA178
Luminex Vascular Stent
Luminex nitinol self-expanding stent
4mm - 20mm diameters, 2cm - 12cm 
$1,900.00
$1,957.00

lengths

Boston Scientific Australia Pty Ltd
BS077
Sentinol Nitinol Vascular Stent System
Implantable metallic stent and Uniflex 
Diameter: 5 to 10mm. Length: 20 to 
$1,800.00

delivery system
120mm

Edwards Lifesciences Pty Ltd
EL048
Lifestent Peripheral Stent
Stent: Nitinol composition with tanilum 
6-8mm Diameter, length 20-90mm
$2,250.00

markers, Items included in the delivery 

system: Stent, deployment system

ev3 Australia Pty Ltd
EE006
Peripheral Stent
Self expanding, nitinol stent
Tapered (8-6, 9-6, 10-7mm) Straight
$1,800.00

  (5-14mm)

Johnson & Johnson Medical Pty Ltd
JJ068
SMART .018" Peripheral Stent System
Nitinol carotid stent and delivery system
6 - 10 mm
$1,900.00
JJ235
SMART Peripheral stent system
Laser cut nitinol tube.  Available in long 
Dia 6 - 8mm, length 120mm
$1,900.00

stents to treat large vessel lesions.
Prostheses List by Category, Groups and Sponsor
Page 684 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
JJ419
SMART Control Peripheral Stent System
SMART Control is a laser cut nitinol self 
Dia 6-10mm; Length 20, 40, 60, 80, 
$2,400.00

expanding stent, used to treat peripheral 
100mm

vessel disease.
JJ463
PRECISE RX Nitinol Stent System
Nitinol self expandable stent and repid 
Stent Lengths 20, 30, 40mm; Stent 
$2,420.00

exchange delivery system
Diameter: 5, 6, 7, 8, 9, 10mm

William A Cook Australia Pty Ltd
WC168
Cook Vascular/Biliary Stent
Vascular/Biliary stent
3 - 6 Fr delivery system, 3 - 20mm 
$1,800.00

diameter, 2 - 20cm length

n, m, l

Johnson & Johnson Medical Pty Ltd
JJ592
SMART Nitinol Stent System
Long 120mm Stent, 6F compatible
6-8mm diameter, 120mm stent 
$2,400.00

length, 120cm delivery system

n, m, nb

Biotronik Australia Pty Ltd
BT072
Astron
Peripheral self expanding nitinol, coated stent
Dia: 6 - 12mm, Len: 30 - 100mm
$1,800.00

n,m

Medtronic Australasia Pty Ltd
MC743
Complete SE Stent
Nitinol
20mm - 80mm
$1,800.00
MC744
Complete SE Stent
Nitinol
100mm - 120mm
$2,400.00

n,m,l

Johnson & Johnson Medical Pty Ltd
JJ617
SMART Nitinol Stent System
Long 150mm stent, 6F compatible
8-8mm diameter, 150mm length, 
$2,970.00

120cm delivery system

Medtronic Australasia Pty Ltd
MC760
Complete SE Stent
Nitinol
150mm
$2,970.00

o (phynox)

Pacing Importers Pty Ltd - Life Systems
PI004
Stentself Stent
Phynox construction, adapted sizes & 
Dia 5 - 9mm  Length: 20 - 100mm
$1,800.00

diameters

s

William A Cook Australia Pty Ltd
WC175
Cook Z Stent
Gianturco Vena Caval and Venous Design
Double Stent - 20, 30, 40mm 
$1,256.00

Diameters, 50mm Length
Prostheses List by Category, Groups and Sponsor
Page 685 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC176
Cook Z Stent
Gianturco Vena Caval and Venous Design
Triple Stent - 20, 30, 40mm 
$1,496.00

Diameters, 75mm Length
WC189
Cook Z Stent
Gianturco Vena Caval and Venous Design
Single Stent - 15, 20, 30mm 
$1,011.00

diameters; 25mm length
Group 2 - Stent Grafts

Device Technologies Australia Pty Ltd
DE267
Relay Thoracic Stent Graft
Duralloy Nitinol Surgical Graft Material 
Diameter 22-46mm, Length 103-
$11,055.00
$12,480.00

Braided Polyester PFTE Impregnated Suture 
271mm

Dual Sheath Delivery System
DE268
Relay Thoracic Stent Graft
Distal Extension System
Diameter: 22-46mm, Length 104-
$9,500.00

127mm

Group 2a1 - Proximal Vessels - Tube (Thoracic Aorta)

Medtronic Australasia Pty Ltd
MC747
Valiant Endovascular Stent Graft
Nitinol and polyester system
24-46mm diameter, 110mm length
$11,055.00

ca

Medical Vision Australia Pty Ltd
MF016
CP Stent
CP Stent Covered
16, 22, 28, 24, 39 & 45mm length
$3,000.00
MF018
CP Stent
CP Stent Covered, mounted on BIB balloon
16, 22, 28, 24, 39 & 45mm length
$4,300.00

n, e, m

W L Gore & Associates
GT023
Excluder Endovascular Prostheses
Thoracic Stent Graft Nitinol & ePTFE
26-40mm Diameter x 15-20cm 
$14,500.00

Lengths
GT191
Excluder Endovascular Prostheses
Thoracic Stent Graft Nitinol & ePTFE
Diameter 26-40mm x  10cm Length
$13,400.00

n, m, p

Medtronic Australasia Pty Ltd
MC748
Valiant Endovasculat Stent Graft
Nitinol and polyester system
24-46mm diameter, 150mm length
$13,500.00
MC758
Valiant Endovascular Stent Graft
Nitinol and polyester system
24-46mm diameter, up to 227mm 
$18,400.00

length
Prostheses List by Category, Groups and Sponsor
Page 686 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

n, p, m

Medtronic Australasia Pty Ltd
MC206
Talent Thoracic Stent Graft
Talent Endoluminal Stent Graft - Thoracic 
22 - 46mm x 130mm
$11,055.00

Stent Graft System

s, p

William A Cook Australia Pty Ltd
WC186
ZenithThoracic Endovascular Graft
Thoracic Proximal Graft
22mm to 42mm diameter; 115mm to 
$11,055.00

216mm length
WC187
Zenith Thoracic Endovascular Graft
Thoracic Distal Graft
26mm to 42mm diameter; 127mm to 
$11,055.00

207mm length

s, p, c

William A Cook Australia Pty Ltd
WC157
Zenith TAA Endovascular Graft
TX2, two piece thoracic stent-graft, woven 
Proximal piece 22 - 42mm diameter 
$22,110.00

polyester and stainless steel
and 115 - 216mm long. Distal piece 

26 - 42mm diameter and 127 - 

207mm long
WC159
Zenith TAA Endovascular Graft
TX1, one piece thoracic stent-graft, woven 
22 - 42mm diameter and 115 - 
$11,027.00

polyester and stainless steel
216mm long

Group 2a2 - Proximal Vessels - Tube (Abdominal Aorta)

n, p

Medtronic Australasia Pty Ltd
MC159
Talent Thoracic Extension Stent Graft
Talent Endoluminal Stent Graft - Thoracic 
26 - 46mm x 80 - 90mm
$5,023.00

Extension

n, p, m

Medtronic Australasia Pty Ltd
MC160
Talent lliac Extension Graft
Talent Endoluminal Stent Graft - lliac 
8 - 26mm x 60 - 200mm
$4,110.00

Extension

s, p

William A Cook Australia Pty Ltd
WC209
Zenith Composite AAA Endovascular Graft
Proximal Composite Body
1 or 2 internal Stents, 24-36mm 
$4,952.00

diameter, 73-129mm Length
WC232
Zenith Renu AAA Ancillary Graft - Main 
Tubular stent-graft consisting of stainless 
Proximal diameter 22 - 36mm, 
$4,850.00

Body Extension
steel Z stents covered with woven polyester
Length (covered section) 43 - 
Prostheses List by Category, Groups and Sponsor
Page 687 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2a3 - Proximal Vessels - Tube (Aortic-Uni-Iliac)

n, p, c

Medtronic Australasia Pty Ltd
MC153
Talent AAA Aorto Uni lliac Stent Graft
Talent Endoluminal Stent Graft System - AUI
22 - 36mm x 75 - 310mm
$13,375.00

  Tapered System.

s, p

William A Cook Australia Pty Ltd
WC235
Zenith Renu AAA Ancillary Graft - 
Tube stent-graft constructed of woven 
Proximal diameter 22-36mm, distal 
$10,200.00

Converter
polyester sewn to self-expanding stainless 
diameter 12mm, lengths 108-125mm

steel Cook-Z stents mounted on the H&LB 

One-Shot Introduction System

s, p, c

William A Cook Australia Pty Ltd
WC042
Zenith AAA Endovascular Graft - Custom 
AAA Aorto Uni Iliac (AUI) Graft
Neck 20-32mm Length 74-276mm
$10,414.00

Craft

Group 2b - Proximal Vessels - Bifurcated

n, e, m

W L Gore & Associates
GT024
Excluder Endovascular Prostheses
Abdominal Stent Graft Nitinol & ePTFE - 
23-28.5mm Diameter, 14-18cm 
$7,440.00

Trunk - Ipsilateral Leg
Length
GT190
Excluder Endovascular Prostheses
Abdominal Stent Graft Nitinol & ePTFE - 
Diameter 10 - 14.5mm, Length 7cm
$3,700.00

Iliac Extender

n, o, p, m

Terumo Corporation Australia
TU002
Anaconda Endovascular Graft System
Bifurcated Aortic System, Polyester/Nitinol
18 - 34mm
$12,405.00

n, p

Medtronic Australasia Pty Ltd
MC148
Talent AAA Bifurcated Stent Graft
Endoluminal Stent Graft System -Bifurcated 
24-36 x 8-24 x 140-170mm
$12,405.00

Graft & Contralateral Limb

s, p

William A Cook Australia Pty Ltd
WC049
Cook H & L-B - Endostent - Tri-Fab
Body Extension 
Diameter 22-32 mm Length 112-
$4,870.00

239mm
Prostheses List by Category, Groups and Sponsor
Page 688 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC133
Zenith Flex AAA Endovascular Graft - 
Stainless steel
Dia 22 - 32mm, length 82 - 140mm
$5,794.00

body only
WC210
Zenith Fenestrated AAA Endovascular 
Distal Fenestrated Body
Diameter 12-24mm, 1st length 28-
$5,003.00

62mm, 2nd length 76-121mm

s, p, c

William A Cook Australia Pty Ltd
WC153
Zenith AAA Endovascular Graft
ZCOM - 1000, AAA bifurcated stent-graft, 
Proximal body 24 - 36mm diameter 
$12,763.00

woven polyester and stainless steel
and 76 - 137mm long. Distal 

bifurcated body 24mm diameter 

and 76 - 121mm long. Ipsilateral 

cuff 12-24mm diameter. 

Contralateral leg extension 8 - 

24mm diameter and 37 - 122mm 

long

Group 2c - Proximal Vessels - Branched

s, p

William A Cook Australia Pty Ltd
WC233
Zenith Branch Endovascular Graft - Iliac 
Bifurcated branch vessel stent graft with 
Common iliac lengths 45 or 61mm, 
$7,500.00

Bifurcation
openings to connect the common iliac, 
external iliac lengths 41 or 58mm 

sidebranch, and external iliac segments. 
and distal cuff diameters 10 or 12mm

Made of stainless steel and nitinol z-stents 

and woven polyester, mounted on H&LB 

one shot delivery system

Group 2d - Proximal Vessels - Fenestrated

s, p, c

William A Cook Australia Pty Ltd
WC156
Zenith AAA Endovascular Graft
ZFEN-1000 Fenestrated AAA bifurcated 
Fenestrated body 24 - 36mm 
$16,872.00

stent-graft, woven polyester and stainless 
diameter and 76 - 137mm long. 

Distal bifurcated body 24mm 

diameter and 76 - 121mm long. 

Ipsilateral cuff 12- 24mm diameter. 

Contralateral leg extension 8 - 

24mm diameter and 37 - 122mm 

long
WC211
Zenith Fenestrated AAA Endovascular 
Proximal Fenestrated Body
1 or 2 internal Stents, 24-36mm 
$9,061.00

Diameter, 73-129mm Length
Prostheses List by Category, Groups and Sponsor
Page 689 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 2e - Proximal Vessels - Accessory components (aortic)

n, e, m

W L Gore & Associates
GT189
Excluder Endovascular Prostheses
Abdominal Stent Graft Nitinol & ePTFE - 
Diameter 23 - 28.5mm, Length 
$3,100.00

Aortic Extender
3.3cm

n, p

Medtronic Australasia Pty Ltd
MC158
Talent Aortic Extension Stent Graft
Talent Endoluminal Stent Graft - Aortic 
22 - 36mm x 26 - 30mm
$3,165.00

Extension

n, p, m

Medtronic Australasia Pty Ltd
MC203
Talent Occluder System
Nitinol stents attached to polyester graft 
Standard Sizes, 8 - 24mm x 31 - 35mm
$2,757.00

sealed both ends

Terumo Corporation Australia
TU003
Anaconda Endovascular Graft System
Aortic Extension Cuff, Polyester/Nitinol
18 - 34mm
$2,767.00

s, p

William A Cook Australia Pty Ltd
WC045
Cook H & L-B - Endostent 
Converter
Diameter 20 thru 36 Length 80-85
$2,808.00
WC048
Cook H & L-B - Endostent 
Body Extensions
Diameter 22 thru 36
$2,808.00
WC160
Zenith TAA Endovascular Graft
Thoracic Proximal Extension
Dia 22 Length 77; Dia 24 Length 
$6,534.00

77;Dia 26 Length 77; Dia 28 Length

 80; Dia 30 Length 80; Dia 32 

Length 80; Dia 34 Length 77; Dia 

36 Length 77; Dia 38 Length 77; 

Dia 40 Length 81

Diameter 42 Length 81
WC188
Zenith Thoracic Endovascular Graft
Thoracic Body Extension
22mm to 42mm diameter; 77mm to 
$6,381.00

81mm length

Group 2f - Proximal Vessels - Accessory components (other including iliac limbs)

Terumo Corporation Australia
TU041
Anaconda Endovascular Graft System
Flared iliac limb.  Ultrathin woven polyester, 
Diameter: proximal end 12-17mm, 
$3,450.00

nitinol ring stents, tantalum markers
distal end 17-23mm; Length:  80-

120mm
Prostheses List by Category, Groups and Sponsor
Page 690 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

n, e, m

W L Gore & Associates
GT188
Excluder Endovascular Prostheses
Abdominal Stent Graft Nitinol & ePTFE - 
Diameter 12 - 14.5mm x 10 x 14cm 
$3,522.00
$5,300.00

Contralateral Leg
Length

n, o, p, m

Terumo Corporation Australia
TU004
Anaconda Endovascular Graft System
Iliac Extension Cuff, Polyester/Nitinol
8 - 18mm
$3,100.00
TU005
Anaconda Endovascular Graft System
Iliac Leg, Polyester/Nitinol
8 - 18mm
$3,165.00
$3,300.00

s, p

William A Cook Australia Pty Ltd
WC047
Cook H & L-B - Endostent 
Leg Extensions 
Diameter 18 thru 24 Length 55
$2,808.00
WC051
Cook H & L-B - Endostent - Tri-Fab
Leg Extension
Diameter  10-12 Length 36-71
$2,808.00
WC103
Zenith Iliac Plug
Zenith AAA Endovascular Graft
Diameter 14, 16, 18, 20, 22, 24mm
$2,808.00

Group 2g - Peripheral Vessels - Tube

n, e

Bard Australia Pty Ltd
BA004
Encapsulated Carbon Lined Stent Graft 
AV access PTFE covered nitinol self-
4mm - 10mm diameter, 3cm - 8cm 
$2,884.00
$2,970.52

expanding stent
length

n, e, m

Bard Australia Pty Ltd
BA005
Encapsulated Carbon Lined Stent Graft
Iliac / SFA PTFE covered nitinol self-
4mm - 10mm diameter, 3cm - 12cm 
$2,884.00
$2,970.52

expanding stent
length

W L Gore & Associates
GT020
Viabahn/Hemobahn Endoprosthesis
Endoluminal Graft System
Viabahn 2.5mm - 8mm Diameter, 
$3,000.00

5cm Length; Hemobahn 6 - 13mm 

Diameter, 5cm Length
GT021
Viabahn/Hemobahn Endoprosthesis
Endoluminal Graft System
Viabahn 2.5mm - 8mm Diameter, 
$3,395.00

10cm Length; Hemobahn 6 - 13mm 

Diameter, 10cm Length
GT022
Viabahn/Hemobahn Endoprosthesis
Endoluminal Graft System
Viabahn 2.5mm - 8mm Diameter, 
$4,200.00

15cm Length; Hemobahn 6 - 11mm 

Diameter, 15cm Length
Prostheses List by Category, Groups and Sponsor
Page 691 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT029
Gore Tips Endoprosthesis
ePTFE
8-12mm Diameter 4-8cm Graft-
$4,000.00

Lined Length 2cm Unlined Length

s, e, bm

Atrium Australia - Pacific Rim Pty Limited
AC023
Advant PTFE V12 Stent Graft System
Balloon Expandable PTFE Encapsulated 
5mm - 12mm Diameter
$4,025.00

Stainless Steel Peripheral Vascular Stent

s, m

Abbott Australasia Pty Ltd
AY010
JOStent Peripheral Stent Graft
Stainless Steel/PTFE
4 - 12 mm x 12 - 58m mm
$2,850.00
Group 3 - Grafts

Group 3a - Tube

Atrium Australia - Pacific Rim Pty Limited
AC021
Advanta SST, VXT, AFT GDS
Radially Supported PTFE Vascular Graft
Diameter 4mm - 24mm; Length 
$3,384.00

10cm - 100cm

Bard Australia Pty Ltd
BA015
Grafts Vascular
Intraluminal polyester graft
20mm - 29mm diameter, 4cm - 8cm 
$1,736.00
$1,788.08

length

e, 1, 2, 3, 4

Bard Australia Pty Ltd
BA020
Impra PTFE Vascular Grafts 
ePTFE graft - thin wall, 10 - 50cm long
3mm - 10mm diameter
$919.00
$946.57

e, 1, 2, 3, 4, m

Atrium Australia - Pacific Rim Pty Limited
AC002
Atrium PTFE Vascular Graft
Straight PTFE Standard Wall
6mm x 10cm - 10mm x 90cm
$1,355.00
AC004
Atrium PTFE  Vascular Graft
Vascular Access Graft PTFE Standard Wall
4mm x 10cm - 10mm x 100cm
$1,100.00
AC013
Atrium PTFE Vascular Graft
Straight PTFE Thin Wall
6mm x 10cm - 10mm x 90cm
$1,655.00
$1,730.00

e, 1, 2, 3, 4, r

Bard Australia Pty Ltd
BA022
Impra PTFE Vascular Grafts
ePTFE graft - radially supported, regular 
4 - 19mm diameter
$955.00
$1,400.00

wall, 10-50cm long
Prostheses List by Category, Groups and Sponsor
Page 692 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

e, 3, 1

W L Gore & Associates
GT009
Gore-Tex Vascular Grafts
Vascular Grafts - Aorto -Pulmonary & 
3.5-5mm Diameter x 15-20cm 
$327.00

Systemic-Pulmonary Shunts (ePTFE)
Length
GT132
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 4 - 8mm, Length 10cm
$198.00
GT133
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 20 - 30cm
$461.00
GT138
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 4 - 8mm, Length 10cm
$195.00
GT139
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 20 - 30cm
$461.00
GT149
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 10cm
$245.00
GT150
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 20cm
$337.00
GT151
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 30cm
$526.00
GT152
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 40cm
$661.00
GT158
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 4 - 10mm, Length 10cm
$255.00
GT159
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 20cm
$347.00
GT160
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 30cm
$551.00
GT161
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 40cm
$661.00
GT167
Gore-tex Vascular Grafts
Vascular Grafts - Aorto-Pulmonary & 
Diameter 3.5 - 5mm, Length 5cm
$221.00

Systemic-Pulmonary Shunts (ePTFE) Stretch

 & Non Stretch

e, 3, 1, 2

Bard Australia Pty Ltd
BA025
Impra PTFE Vascular Grafts
ePTFE graft - regular wall, 10-50cm long
3 - 19mm diameter
$919.00
$990.00

e, 3, 1, 2, m

Atrium Australia - Pacific Rim Pty Limited
AC015
Atrium PTFE Vascular Graft
Vascular Access Graft PTFE Thin Wall
4mm x 10cm - 10mm x 100cm
$1,348.00
AC020
Advanta SST, VXT, AFT GDS
PTFE Vascular Graft
4mm x 10cm - 24mm x 100cm
$3,000.00

Terumo Corporation Australia
TU039
Rapidax™ Rapid Access Haemodialysis
Triple layered self sealing haemodialysis 
6mm x 20-50cm
$1,300.00

Access Graft. ePTFE internal and external 

layer with proprietary elastomer inner layer - 

Straight
Prostheses List by Category, Groups and Sponsor
Page 693 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TU040
Rapidax™ Rapid Access Haemodialysis
Triple layered self sealing haemodialysis 
6mm x 30-50cm
$1,300.00

Access Graft. ePTFE internal and external 

layer with proprietary elastomer inner layer - 

Per-curved

e, 3, 1, 2, r

Bard Australia Pty Ltd
BA019
Impra PTFE Vascular Grafts 
ePTFE graft - radially supported, thin wall, 
4mm - 8mm diameter
$1,057.00
$1,400.00

10 - 50cm long
BA021
Impra PTFE Vascular Grafts
ePTFE graft - radially supported, thin wall, 
4 - 8mm diameter
$1,325.00
$1,900.00

greater than 50cm long

e, 3, 2

B Braun Australia Pty Ltd
BB124
Vascugraft
PTFE - Straight Standard Wall
Dia 5 - 8mm, length 90 - 100cm
$1,055.00
BB125
Vascugraft
Thin Wall Straight
Dia 3 - 8mm, length 70 - 100cm
$1,155.00
BB126
Vascugraft
Thin Wall Straight
Dia 3 - 8mm, length10 - 40cm
$725.00
BB127
Vascugraft
Thin Wall Straight
Dia 3 - 8mm, length 10 - 40cm
$725.00
BB128
Vascugraft
Straight Standard Wall with Helix Support
Dia 6mm x  length 100cm
$1,260.00
BB129
Vascugraft
Straight Standard Wall with Helix Support
Dia 5 - 8mm, length 80 - 90cm
$1,260.00
BB132
Vascugraft
Thin Wall Centre Helix
Dia 6mm, length 45cm
$725.00
BB137
Vascugraft
Standard with Centred Helix
Dia 4 - 8mm, length 70 - 90cm
$1,019.00
BB141
Vascugraft
Easy Glide - Standard Wall Straight
Dia 6mm, length 70 - 80cm
$950.00
BB142
Vascugraft
Easy Glide - Standard Wall Straight
Dia 6mm, length 40 - 60cm
$850.00
BB144
Vascugraft
Easy Glide - Thin Wall Straight
Dia 6 - 8mm, length 40 - 70cm
$850.00

Bard Australia Pty Ltd
BA024
Impra PTFE Vascular Grafts
ePTFE graft - thin wall, greater than 50cm long
3 - 10 diameter
$1,159.00
$1,300.00

W L Gore & Associates
GT134
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 50cm
$725.00
GT141
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 50cm
$725.00
GT142
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 60cm
$860.00
GT143
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 70cm
$860.00
Prostheses List by Category, Groups and Sponsor
Page 694 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT145
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 4 - 10mm, Length 90 - 
$1,075.00

100cm
GT153
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 50cm
$860.00
GT154
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 60cm
$860.00
GT157
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 4 - 10mm, Length 90 - 
$1,275.00

100cm
GT162
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 50cm
$807.00

e, 3, 2, 1

B Braun Australia Pty Ltd
BB119
Vascugraft
PTFE, Straight Standard Wall
Dia 4 - 10mm, length 40 - 50cm
$850.00
BB120
Vascugraft
Straight Standard Wall with Helix Support
Dia 6 - 10mm, length 10 - 50cm
$850.00

e, 3, 2, 1, r

B Braun Australia Pty Ltd
BB133
Vascugraft
Thin Wall Centre Helix
Dia 5 - 6mm, length 45 - 50cm
$935.00

e, 3, 2, 4

W L Gore & Associates
GT131
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 70cm
$970.00

e, 3, 2, h

W L Gore & Associates
GT221
Gortex Propaten Vascular Graft
Stretch Thin Wall Graft (ePTFE)
6-8mm diameter Non-Ringed 40cm 
$858.00

length
GT222
Gortex Propaten Vascular Graft
Stretch Thin Wall Graft (ePTFE)
6-8mm diameter Non-Ringed 80cm 
$1,285.00

length

e, 3, 2, r

B Braun Australia Pty Ltd
BB122
Vascugraft
Straight Standard Wall with Helix Support
Dia 5 - 8mm, length 90cm
$1,160.00
BB130
Vascugraft
Straight Standard Wall with Helix Support
Dia 4 - 6mm, length 50 - 70cm
$1,055.00
BB134
Vascugraft
Thin Wall Centre Helix
Dia 4 - 8mm, length 70 - 80cm
$1,045.00
BB146
Vascugraft
Easy Glide - Thin Wall Straight with Helix 
Dia 6 - 8mm, length 40 - 80cm
$1,045.00

Support
Prostheses List by Category, Groups and Sponsor
Page 695 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

e, 3, 4, 1

W L Gore & Associates
GT140
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 40cm
$638.00
GT168
Gore-tex Vascular Grafts
Vascular Grafts - Aorto-Pulmonary & 
Diameter 3.5 - 5mm, Length 10cm
$262.00

Systemic-Pulmonary Shunts (ePTFE) Stretch

 & Non Stretch
GT193
Gore-tex Vascular Grafts
Standard  Wall Grafts (ePTFE)
6-10mm Diameter x 40cm Length
$618.00
GT195
Gore-tex Vascular Graft
Standard wall grafts (ePTFE)
Diameter 6mm x 20cm length
$321.00
GT200
Gore-tex Vascular Graft
Standard wall grafts stretch (ePTFE)
Diameter 6-12mm x 20cm length
$332.00

e, 3, 4, 1, a, h, m, b

Terumo Corporation Australia
TU025
SEALPTFE Graft
Thin Wall, Straight, Sealed, PTFE
5 to 10mm x 10 to 40cm
$1,001.00
TU027
SEALPTFE Graft
Standard Wall, Straight, Sealed, PTFE
5 to 10mm x 10 to 40cm
$931.00

e, 3, 4, 1, r, a, h, m, b

Terumo Corporation Australia
TU029
SEALPTFE Graft
Standard Wall, Straight, Sealed, Externally 
5 to 10mm x 10 to 40cm
$1,310.00

Reinforcement, PTFE
TU031
SEALPTFE Graft
Thin Wall, Straight, Sealed, Externally 
5 to 10mm x 10 to 40cm
$1,368.00

Reinforced, PTFE

e, 3, 4, 2

B Braun Australia Pty Ltd
BB123
Vascugraft
PTFE - Straight Standard Wall
Dia 5 - 10mm, length 80cm
$1,155.00

Bard Australia Pty Ltd
BA026
Impra PTFE Vascular Grafts
ePTFE graft - regular wall, greater than 50cm 
3 - 10mm diameter
$1,075.00
$1,450.00

long

W L Gore & Associates
GT135
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 6 - 10mm, Length 60cm
$860.00
GT136
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 80cm
$1,075.00
GT137
Gore-tex Vascular Grafts
Standard Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 90 - 
$1,075.00

100cm
GT144
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 4 - 10mm, Length 80cm
$1,075.00
GT155
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 6 - 10mm, Length 70cm
$1,100.00
Prostheses List by Category, Groups and Sponsor
Page 696 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT156
Gore-tex Vascular Grafts
Thin Wall Grafts Stretch (ePTFE)
Diameter 4 - 10mm, Length 80cm
$1,159.00
GT163
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 3 - 10mm, Length 60cm
$950.00
GT164
Gore-Tex Vascular Grafts
Thin wall grafts (ePTFE)
Dia 3 - 10mm, length 70cm
$1,021.00
GT165
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 80cm
$1,159.00
GT166
Gore-tex Vascular Grafts
Thin Wall Grafts (ePTFE)
Diameter 4 - 10mm, Length 90 - 
$1,275.00

100cm

e, 3, 4, 2, a, h, m, b

Terumo Corporation Australia
TU026
SEALPTFE Graft
Thin Wall, Straight, Sealed, PTFE
5 to 10mm x 50 to 80cm
$1,532.00
TU028
SEALPTFE Graft
Standard Wall, Straight, Sealed, PTFE
5 to 10mm x 50 to 80cm
$1,215.00

e, 3, 4, 2, r

Bard Australia Pty Ltd
BA023
Impra PTFE Vascular Grafts
ePTFE graft - radially supported, regular 
4 - 10mm diameter
$1,325.00
$1,800.00

wall, greater than 50cm long

e, 3, 4, 2, r, a, h, m, b

Terumo Corporation Australia
TU030
SEALPTFE Graft
Standard Wall, Straight, Sealed, Externally 
5 to 10mm x 50 to 80cm
$1,568.00

Reinforcement, PTFE
TU032
SEALPTFE Graft
Thin Wall, Straight, Sealed, Externally 
5 to 10mm x 60 to 80cm
$1,800.00

Reinforced, PTFE
TU035
SEALPTFE Graft
Thin Wall, Straight, Sealed externally 
5 to 10mm x 50cm
$1,429.00

Reinforced, Vascular Artificial 

Arteries/Prostheses of PTFE, Sealed with 

Gelatin

e, 3, 4, r

B Braun Australia Pty Ltd
BB121
Vascugraft
Straight Standard Wall with Helix Support
Dia 6 - 10mm, length 60 - 80cm
$990.00

e, 4, 1

W L Gore & Associates
GT146
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 12 - 24mm, Length 20cm
$421.00
GT147
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 12 - 24mm, Length 30cm
$551.00
GT148
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch (ePTFE)
Diameter 12 - 24mm, Length 40cm
$725.00
Prostheses List by Category, Groups and Sponsor
Page 697 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

e, r, 1, 2, 3, 4

W L Gore & Associates
GT176
Gore-tex Vascular Ring Graft
Ringed Grafts Fixed Standard & Thin Wall 
Diameter 6 - 10mm x 30 - 70cm 
$1,175.00

(ePTFE)
Length ,Ringed Section 20 - 50cm 

Lengths
GT177
Gore-tex Vascular Ring Graft
Ringed Grafts Fixed Thin Wall & Ringed 
Diameter 6 - 10mm x 30 - 70cm 
$1,325.00

Standard Wall (ePTFE)
Length,  Ringed Section 20 - 50cm 

Lengths
GT181
Gore-tex Vascular Ring Graft
Ringed Grafts Fixed Standard Wall & Stretch
Diameter 6 - 10mm x 30 - 70cm 
$1,378.00

  Standard Wall (ePTFE)
Lengths, Ringed Section 20 - 50cm 

Lengths

e, r, 1, 2, 3, 4, m

Atrium Australia - Pacific Rim Pty Limited
AC001
Atrium PTFE Vascular Graft
Radially Supported (Ringed) PTFE Standard 
4mm x 10cm - 10mm x 100cm
$1,468.00

Wall
AC012
Atrium PTFE Vascular Graft
Radially Supported (Ringed) PTFE Thin 
4mm x 10cm - 10mm x 100cm
$1,800.00
$2,650.00

e, r, 1, 3, 4

W L Gore & Associates
GT197
Gore-tex Vascular Ring Graft
Ringed grafts fixed standard/thin wall 
Diameter 8mm x 30cm, ringed 
$847.00

(ePTFE)
section 20cm length

e, r, 3, 2

W L Gore & Associates
GT007
Gore-Tex Vascular Ring Graft
Ringed Grafts Fixed THIN WALL STRETCH 
6-10mm Diameter x 30-70cm 
$1,230.00

(ePTFE)
Lengths - Ringed Section 20-50cm 

Lengths
GT008
Gore-Tex Vascular Ring Graft
Ringed Grafts REMOVABLE THIN WALL 
6-8mm Diameter x 80cm Length - 
$1,805.00

STRETCH (ePTFE)
Ringed Section 70cm Length
GT178
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall (ePTFE)
Diameter 6 - 8mm x 60 - 70cm 
$1,404.00

Length,  Ringed Section 30cm 

Length
GT179
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall (ePTFE)
Diameter 5 - 6mm x 70cm Length,  
$1,634.00

Ringed Section 60cm Length
GT180
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall (ePTFE)
Diameter 5 - 6mm x 80cm Length, 
$1,736.00

Ringed Section 60cm Length
Prostheses List by Category, Groups and Sponsor
Page 698 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT182
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall (ePTFE)
Diameter 6mm, Lengths 80 - 90 cm, 
$1,800.00

Ringed Section 60cm Length
GT183
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall (ePTFE)
Diameter 8mm, Lengths 80 - 90 cm, 
$1,940.00

Ringed Section 70cm Length
GT184
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall Stretch 
Diameter 6 - 8mm x 70cm Length, 
$1,520.00

(ePTFE)
Ringed Section 30cm Length
GT185
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall Stretch 
Diameter 6mm x 80cm Length, 
$1,532.00

(ePTFE)
Ringed Section 30cm Length
GT186
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall Stretch 
Diameter 6mm x 70cm Length, 
$1,634.00

(ePTFE)
Ringed Section 60cm Length
GT187
Gore-tex Vascular Ring Graft
Ringed Grafts Removable Thin Wall Stretch 
Diameter 6 - 8mm x 70cm Length, 
$1,685.00

(ePTFE)
Ringed Section 60 - 70cm Length
GT212
Gore-Tex Intering Vascular Graft
ePTFE integrated rings in the wall of a 
Dia 6-8mm, 60cm radial supported 
$1,919.00

stretch thin walled graft
length x 60cm length
GT213
Gore-Tex Intering Vascular Graft
ePTFE integrated rings in the wall of a 
Dia 6-8mm, 80cm radial supported 
$2,165.00

stretch thin walled graft
length x 80cm length

e, r, 3, 2, h

W L Gore & Associates
GT218
Gortex Propaten Vascular Graft
Stretch Thin Wall Graft (ePTFE)
6mm diameter 30cm Removable 
$1,800.00

Ring - 70cm length
GT219
Gortex Propaten Vascular Graft
Stretch Thin Wall Graft (ePTFE)
6mm diameter 60cm Removable 
$1,858.00

Ring - 70cm length
GT220
Gortex Propaten Vascular Graft
Stretch Thin Wall Graft (ePTFE)
6-8mm diameter 60-70 Removable 
$1,960.00

Ring - 80cm length

e, r, 3, 4, 1

W L Gore & Associates
GT196
Gore-tex Vascular Ring Graft
Ringed grafts fixed standard/thin wall 
Diameter 4-6mm x 10-15cm, ringed 
$684.00

(ePTFE)
section 2.5-5cm lengths
GT211
Gore-Tex Intering Vascular Graft
ePTFE integrated rings in the wall of a 
Dia 6-8mm, 40cm radial supported 
$1,470.00

stretch thin walled graft
length x 40cm length

e, r, 3, 4, 2

W L Gore & Associates
GT198
Gore-tex Vascular Ring Graft
Ringed grafts fixed standard/thin wall 
Diameter 5-8mm x 60-70cm, ringed 
$1,348.00

(ePTFE)
section 20-30cm lengths
Prostheses List by Category, Groups and Sponsor
Page 699 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT199
Gore-tex Vascular Ring Graft
Ringed grafts fixed thin wall stretch (ePTFE)
Diameter 6-8mm x 60-80cm, ringed 
$1,380.00

section 20-30cm lengths

p, 1, 2, 3, 4, a, h, m, b

Terumo Corporation Australia
TU023
Gelweave Graft
Straight, Polyester, Woven
6-38mm x 40-60cm
$915.00

p, 1, 3

Bard Australia Pty Ltd
BA018
Exs Bionit Vascular Grafts
Polyester graft - EXS
8mm - 10mm diameter, 35cm length
$725.00
$990.00

p, 2, 4, 1, a, h, m, b

Terumo Corporation Australia
TU022
Gelweave Graft
Straight, Polyester, Woven
6-38mm x 10-30cm
$890.00

p, 3, 2, m, b

Atrium Australia - Pacific Rim Pty Limited
AC019
Atrium Ultramax PET Grafts
Straight Polyster Graft
6mm x 40cm  - 8mm  x 100cm
$1,095.00

p, 3, 2, r, m, b

St. Jude Medical Australia Pty Ltd
SJ046
Intergard K
Knitted Radially Supported
6mm x 70cm - 8mm x 60cm
$1,230.00

p, 3, 4, 1, a, h, m, b

Terumo Corporation Australia
TU008
Fluoropassiv Graft
Straight Graft - Thin Wall, Crimped. 
6 to10mm x 30cm
$860.00

Fluoropolymer/polyester, Knitted

p, 3, 4, 1, m, b

Atrium Australia - Pacific Rim Pty Limited
AC018
Atrium Ultramax PET Grafts
Straight Polyster Graft
6mm x 15cm  - 24mm  x 30cm
$1,055.00

St. Jude Medical Australia Pty Ltd
SJ041
Intergard W
Woven Straight
6mm x 30cm  -  38mm x 30cm
$1,075.00
SJ044
Intergard K
Knitted Straight
6mm x 40cm - 24mm x 40cm
$970.00

p, 3, 4, 1, r, a, h, m, b

Terumo Corporation Australia
TU010
Fluoropassiv Graft
Straight Graft, Thin Wall, Externally 
6 to10mm x 30cm
$1,001.00

Reinforced. Fluoropolymer/polyester, 
Prostheses List by Category, Groups and Sponsor
Page 700 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TU015
Gelsoft Plus Graft
Polyester, Externally Reinforced, Knitted
6 to 10mm x 40cm
$1,001.00
TU019
Gelsoft Plus Graft
Femorofemoral, Polyester, Knitted
6mmx30cm to  8mmx40cm
$875.00

p, 3, 4, 2

Bard Australia Pty Ltd
BA017
Grafts Vascular
Polyester grafts - straight
5mm - 25mm diameter, 50cm-75cm 
$715.00
$736.45

length

p, 3, 4, 2, 1, a, h, m, b

Terumo Corporation Australia
TU020
Gelsoft Plus Graft
Straight, Polyester, Knitted
6 - 24mm x 12.5 - 30cm
$890.00

p, 3, 4, 2, a, h, m, b

Terumo Corporation Australia
TU009
Fluoropassiv Graft
Straight Graft - Thin Wall, Crimped. 
6 to10mm x 40 to 70cm
$1,154.00

Fluoropolymer/polyester, Knitted
TU021
Gelsoft Plus Graft
Straight, Polyester, Knitted
6-24mm x 50-60cm
$915.00

p, 3, 4, 2, m

Terumo Corporation Australia
TU006
Twillweave Graft
Straight, Polyester, Woven, Unsealed
6-24mm x 50-60cm
$653.00

p, 3, 4, 2, r, a, h, m, b

Terumo Corporation Australia
TU016
Gelsoft Plus Graft
Polyester, Externally Reinforced, Knitted
6 to 10mm x 75m
$1,439.00
TU017
Gelsoft Plus Graft
Polyester, Externally Reinforced, Knitted
6 to 10mm x 100cm
$1,553.00

p, 4, 1

B Braun Australia Pty Ltd
BB021
Vascular Uni - Graft  
Vascular graft
40cm
$665.00
BB022
Vascular Uni - Graft 
Vascular graft
30cm
$540.00
BB023
Vascular Uni - Graft  
Vascular graft
20cm
$470.00
BB024
Vascular Uni - Graft  
Vascular graft
15cm
$391.00
BB025
Vascular Uni - Graft  
Vascular graft
10cm
$240.00

p, 4, 1, g

B Braun Australia Pty Ltd
BB018
Vascular Uni - Graft  
Vascular graft
100cm
$770.00
Prostheses List by Category, Groups and Sponsor
Page 701 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BB020
Vascular Uni - Graft   
Vascular graft
50cm
$625.00

p, 4, 2

B Braun Australia Pty Ltd
BB019
Vascular Uni - Graft  
Vascular graft
60cm
$665.00

p, m, b, 1, 3

St. Jude Medical Australia Pty Ltd
SJ111
InterGard Knitted UltraThin
Straight
6mm x 40cm to 8mm x 70mm
$970.00

p, m, b, 1, 4

St. Jude Medical Australia Pty Ltd
SJ107
InterGard HemaBridge
Aortic Graft
20 x 10mm - 36 x 10mm diameter, 35 
$1,075.00

x 40cm length

p, r, m, b, 1, 3

St. Jude Medical Australia Pty Ltd
SJ112
InterGuard UltraThin Knitted
Radially Supported Straight
6mm - 70cm to 8mm - 70cm
$1,230.00

t, 1, 3

Advanced ORT Pty Ltd
OA004
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane 
Length 40cm
$1,250.00

Vascular Access Graft
OA006
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane 
Length 20cm
$834.00

Vascular Access Graft

t, 2, 3

Advanced ORT Pty Ltd
OA005
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane 
Length 50cm
$1,250.00

Vascular Access graft

t, 3, 1

Bio Nova International Pty Ltd
BN004
Omniflow II Vascular Prosthesis - Straight
-
3 - 4 mm x 20 cm
$1,775.00
BN006
Omniflow II Vascular Prosthesis - Curved
AV Access
One size only
$2,403.00

t, 3, 2

Bio Nova International Pty Ltd
BN002
Omniflow II Vascular Prosthesis - Straight
-
5 - 10 mm x 65 cm
$3,891.00
BN003
Omniflow II Vascular Prosthesis - Straight
-
5 - 10 mm x 55 cm
$3,357.00
Prostheses List by Category, Groups and Sponsor
Page 702 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

t, 3, 4

Bio Nova International Pty Ltd
BN001
Bio Nova Vascular Graft
Flonova
One size only
$4,032.00

Group 3b - Bifurcated

Atrium Australia - Pacific Rim Pty Limited
AC026
Advanta SST
Bifurcated PTFE Graft
12mm - 24mm X 6mm - 12mm 
$3,384.00

Length 40cm

e, 4, 1

W L Gore & Associates
GT006
Gore-Tex Bifurcated Graft
ePTFE
12x6mm to 24x12mm 40-50cm long
$962.00

p

Bard Australia Pty Ltd
BA014
Grafts Vascular
Axillo-bifemoral polyester graft
8mm-10mm diameter, 50cm- 100cm 
$980.00
$1,009.40

length

p, 3, 4, 1

Bard Australia Pty Ltd
BA012
Grafts Vascular
Polyester knitted grafts - bifurcated
12mm - 24mm Aortic diameter, 6mm
$962.00
$990.86

 - 12mm Iliac/Femoral diameter

p, 3, 4, 1, m, b

Atrium Australia - Pacific Rim Pty Limited
AC016
Atrium Ultramax PET Grafts
Bifurcate Polyster Graft
12mm x 24mm - 6mm x 12mm x 40cm
$1,000.00

St. Jude Medical Australia Pty Ltd
SJ045
Intergard K
Knitted Bifurcated
12mm x 6mm - 24mm x 12mm
$1,020.00

p, 3, 4, 2, a, h, m, b

Terumo Corporation Australia
TU013
Gelweave Graft
Bifurcated, Polyester, Woven
12mmx 6mmx 45 cm to 24mmx12mm 
$962.00

x 45cm
TU014
Gelsoft Plus Graft
Bifurcated, Polyester, Knitted
12mmx6mmx45cm to 
$962.00

24mmx12mmx45cm
Prostheses List by Category, Groups and Sponsor
Page 703 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

p, 3, 4, 2, m

Terumo Corporation Australia
TU007
Twillweave Graft
Bifurcate, Polyester, Woven, Unsealed
12mm x 6mm x 45cm to 24mm x 
$904.00

12mm x 45cm

p, 4, 1

B Braun Australia Pty Ltd
BB027
Vascular Uni - Graft - Bifurcated
Vascular graft
12x7 to 12x12
$375.00

Bard Australia Pty Ltd
BA011
Grafts Vascular
Polyester soft-woven graft - bifurcated
13mm - 25mm diameter aortic 
$873.00
$899.19

diameter, 6.5mm - 12.5 mm 

Iliac/Femoral diameter

p, 4, 1, m, b

St. Jude Medical Australia Pty Ltd
SJ042
Intergard W
Woven Bifurcated
18mm x 9mm  -  24mm x 12mm
$1,020.00

Group 3c - Branched or Fenestrated (2 or more)

e, r, 3, 2

W L Gore & Associates
GT216
Gore-tex Axillobifemoral Vascular Graft
Stretch vascular graft with removable rings 
Diameter 8mm
$1,950.00

(ePTFE)

p, 3, 2, r, m, b

St. Jude Medical Australia Pty Ltd
SJ047
Intergard K
Knitted Axillobifemoral
Diameter (mm) Length (cm) 8 x 8 
$1,950.00

100/60; 10 x 10 100/60; 8 x 6 x 6 

85/55; 8 x 8 85/55; 8 x 8 100/55

p, 3, 4, 2, r, a, h, m, b

Terumo Corporation Australia
TU018
Gelsoft Plus Graft
Axillofemoral, Polyester, Knitted
8x8mm/100x60cm; 8x7mm/90x40cm; 
$1,950.00

10x8mm/90x40cm

p, 4, 1, m, b

St. Jude Medical Australia Pty Ltd
SJ043
Intergard W
Woven Aortic Arch
24mm x 10mm x 8mm x 8mm x 50cm -
$1,950.00

 30mm x 10mm x 8mm x 8mm
Prostheses List by Category, Groups and Sponsor
Page 704 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

p, 4, 2, m, b

Atrium Australia - Pacific Rim Pty Limited
AC017
Atrium Ultramax PET Grafts
Axillo-bifemoral Polyster Graft
8mm - 10mm  100 x 60cm
$1,950.00

Group 3d - Tapered or End-modified

e, 3, 1, 2

Bard Australia Pty Ltd
BA029
Impra PTFE Vascular Grafts 
Venaflo ePTFE graft with preformed cuff
4mm - 8mm diameter, 10cm - 50cm 
$842.00
$1,260.00

length

e, 3, 1, 2, m

Atrium Australia - Pacific Rim Pty Limited
AC014
Atrium PTFE Vascular Graft
Tapered PTFE Thin Wall
4-6mm x 30cm - 6-8mm x 90cm
$1,634.00
$1,825.00

e, 3, 1, a, h, m, b

Terumo Corporation Australia
TU033
SEALPTFE Graft
Standard Wall, Tapered, Sealed, PTFE
4 to 7mm Taper x 40 to 50cm
$909.00

e, 3, 2

B Braun Australia Pty Ltd
BB131
Vascugraft
Thin Wall Tapered
Dia 4 - 8mm, length 40 - 90cm
$925.00
BB136
Vascugraft
Standard Tapered
Dia 4 - 8mm, length 70 - 90cm
$1,025.00
BB138
Vascugraft
Standard with Short Taper
Dia 4 - 8mm, length 30 - 70cm
$875.00
BB139
Vascugraft
Standard with Short Taper
Dia 4 - 8mm, length 80cm
$1,025.00
BB143
Vascugraft
Easy Glide - Standard Wall with Helix Short 
Dia 6 - 8mm, length 40 - 70cm
$875.00

Taper
BB145
Vascugraft
Thin Wall Centred Helix Tapered
Dia 4 - 7mm, length 70cm
$875.00
BB155
Vascugraft
Standard Tapered
Dia 4 - 7mm, length 30 - 70cm
$875.00
BB157
Vascugraft
Standard Wall Stepped Taper
Dia 4 - 8mm, length 40 - 45cm
$825.00

Bard Australia Pty Ltd
BA027
Impra PTFE Vascular Grafts 
Distaflo ePTFE graft with preformed cuff
6-10mm diameter, 40 - 80cm length
$875.00
$1,700.00
BA171
Dynaflo AK Bypass Graft
PTFE Graft
7 & 8mm diameter. 50, 60, 70, 80cm 
$1,075.00
$2,000.00

lengths

W L Gore & Associates
GT171
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch Tapered 
Diameter 4-6mm & 4-7 mm, Length 
$842.00

45 - 48cm
Prostheses List by Category, Groups and Sponsor
Page 705 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT172
Gore-tex Vascular Grafts
Standard Wall Grafts Stretch Tapered 
Diameter 4-7 mm, Length 70cm
$1,047.00
GT192
Gore-tex Vascular Grafts
Standard Wall Grafts Tapered (ePTFE)
4.5-6.5mm & 6-8mm Diameter x 70-
$1,047.00

90cm Lengths

e, 3, 2, r

B Braun Australia Pty Ltd
BB156
Vascugraft
Standard Wall with Tapered Centre Helix
Dia 4 - 8mm, length 40 - 45cm
$825.00

Bard Australia Pty Ltd
BA028
Impra PTFE Vascular Grafts
Distaflo ePTFE graft with preformed cuff and
6-10mm diameter, 40 - 80cm length
$1,327.00
$2,250.00

 flex support

e, 3, 4, 2

W L Gore & Associates
GT010
Gore-Tex  Vascular Graft
THIN Wall Grafts TAPERED (ePTFE)
4.5-6.5 & 6-8mm Diameter x 80-
$1,179.00

90cm Lengths
GT194
Gore-tex Vascular Graft
Standard wall grafts, tapered (ePTFE)
Diameter 4.5-7mm, lengths 40-50cm
$618.00

e, r, 1, 2, 3, 4

W L Gore & Associates
GT169
Diastat Vascular Access Graft
Dialysis Grafts - Standard & Stretch Ringed 
6mm diameter x 45-50cm length Std
$777.00

(ePTFE)
 & Stretch ringed dialysis 

graft/6mm diameter 5-10cm radial 

support length 20cm length

e, r, 3, 1

W L Gore & Associates
GT175
Gore-tex Vascular Grafts
Ringed Grafts Removable Standard Wall 
4-7 mm x 70cm - Rings 30cm  Length
$1,200.00

Tapered (ePTFE)

e, r, 3, 1, 2, m

Atrium Australia - Pacific Rim Pty Limited
AC003
Atrium PTFE  Vascular Graft
Tapered PTFE Standard Wall
4-6mm x 30cm - 6-8mm x 90cm
$1,200.00

e, r, 3, 2

W L Gore & Associates
GT174
Gore-tex Vascular Grafts
Ringed Grafts Removable Standard 
4-7 mm x 45cm - Rings 10cm  Length
$842.00

Wall/Stretch Wall Tapered (ePTFE)
Prostheses List by Category, Groups and Sponsor
Page 706 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT214
Gore-Tex Intering Vascular Graft
Internally radially supported vascular graft 
4-6 tapered diameter 38cm radial 
$842.00

(ePTFE)
support length 45cm length; 4-7 

tapered diameter 38cm radial 

support length 45cm length; 6mm 

diameter 40cm radial support 

length 40cm length

p, 4, 1

B Braun Australia Pty Ltd
BB026
Vascular Uni - Graft - Tapered
Vascular graft
12x6 to 24x12
$702.00
Group 4 - Patches

Group 4a - Biological

1

Bio Nova International Pty Ltd
BN005
Omniflow II Vascular Prosthesis - Straight
Vascular Patch
One size only
$672.00

1, 2, m, b

Atrium Australia - Pacific Rim Pty Limited
AC025
Atrium Ultramax Patches
Knitted Double Velour Vascular Patch.  
Size range 8mm x 75mm to 50mm x 
$270.00

Composition is polyester impregnated with 
152mm

absorbable gelatin

Group 4b - Synthetic

1

Bard Australia Pty Ltd
BA039
Grafts Vascular
Polyester pledgets
Rectangle, Oval, Circle, Square 
$87.00
$89.61

2.9mm-8mm x 6mm - 9.5mm
BA089
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular Patch 0.4mm Oval
20 x 90mm
$203.00
$209.09
BA090
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular, Patch 0.6mm, Circular
100 x 150mm
$764.00
$786.92
BA091
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular, Patch 0.6mm, 
50 x 75mm
$372.00
$383.16

Rectangular
BA092
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular, Patch 0.6mm, 
50 x 150mm
$372.00
$383.16

Rectangular
BA093
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular, Patch 0.6mm, 
30 x 30mm, 10 x 90mm, 30 x 60mm
$1,593.00
$1,640.79

Rectangular, Patch 0.4 Oval, Rectangular
BA095
Impra PTFE Vascular Grafts 
ePTFE Cardiovascular, Patch 0.6mm, 
25 x 150mm
$313.00
$322.39

Rectangular
Prostheses List by Category, Groups and Sponsor
Page 707 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

1, 2

B Braun Australia Pty Ltd
BB017
Vascular Patch
Vascular patch
12x9 to 3x4
$205.00

1, 2, a, h, m, b

Terumo Corporation Australia
TU011
Fluoropassiv Graft
Straight Graft, Thin Wall, Externally 
6 to10mm x 40 to 70cm
$1,881.00

Reinforced. Fluoropolymer/polyester, 
TU012
Fluoropassiv Patch
Thin wall, Fluoropolymer/polyester, Knitted
0.6 x 7.5cm to 1.5 x 7.5cm
$250.00
TU024
Gelsoft Patch
Polyester, Knitted
0.5 x 1.5cm to 10 x 1.5cm
$186.00

2

Bard Australia Pty Ltd
BA031
Grafts Vascular
Polyester soft tissue patch 1mm thick 
5cm x 10cm
$153.00
$157.59
BA032
Grafts Vascular
Polyester soft tissue patch 1mm thick 
10cm x 15cm
$286.00
$294.58
BA033
Grafts Vascular
Polyester soft tissue patch 1mm thick 
15cm x 20cm
$388.00
$399.64
BA034
Grafts Vascular
Polyester soft tissue patch 1mm thick 
20cm x 30cm
$459.00
$472.77
BA035
Grafts Vascular
PTFE Felt 2mm thick
5cm x 10cm
$153.00
$157.59
BA036
Grafts Vascular
PTFE Felt 2mm thick
10cm x 15cm
$286.00
$294.58
BA037
Grafts Vascular
PTFE Felt 2mm thick
15cm x 20cm
$388.00
$399.64
BA038
Grafts Vascular
PTFE Felt 2mm thick
20cm x 30cm
$459.00
$472.77

Bio Nova International Pty Ltd
BN007
Bio Nova Omniflow II Soft Tissue Patches
2mm thick
5cm x 10cm
$311.00
BN008
Bio Nova Omniflow II Soft Tissue Patches
2mm thick
10cm x 15cm
$776.00
BN009
Bio Nova Omniflow II Soft Tissue Patches
2mm thick
15cm x 20cm
$1,403.00
BN010
Bio Nova Omniflow II Soft Tissue Patches
2mm thick
20cm x 30cm
$2,466.00

W L Gore & Associates
GT012
Soft Tissue Patch
ePTFE
1mm Thickness 5 x 10cm
$225.00
GT013
Soft Tissue Patch
ePTFE
1mm Thickness 10 x 15cm
$661.00
GT014
Soft Tissue Patch
ePTFE
1mm Thickness  15 x 20cm
$1,192.00
GT015
Soft Tissue Patch
ePTFE
1mm Thickness 20 x 30cm
$2,083.00
GT016
Soft Tissue Patch
ePTFE
2mm Thickness 5 x 10cm
$369.00
Prostheses List by Category, Groups and Sponsor
Page 708 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
GT017
Soft Tissue Patch
ePTFE
2mm Thickness 10 x 15cm
$894.00
GT018
Soft Tissue Patch
ePTFE
2mm Thickness 15 x 20cm
$1,630.00
GT019
Soft Tissue Patch 
ePTFE
2mm Thickness 20 x 30cm
$2,808.00
Group 5 - Vessel Band

Group 5 - Vessel Band

Imthage Pty Ltd
IM001
Venous Valve Ring
Dacron/silicone variable diameter ring
52mmx15mmx0.09 mm
$930.00
Group 6 - Embolic Protection Device

Group 6a - Venous, Retrievable

B Braun Australia Pty Ltd
BB106
Temporary Vena Cava System
Phynox/ combination of various metals inc. 
One size, expands to Max length 
$1,450.00

Nickel,Copper, Molubden,Steel
38mm/Max diameter 30mm
BB169
Vena Cava Filter System
PHYNOX Introducer system, 'J' Guidewire, 
Diameter 28 mm
$1,900.00

Seldinger needle, disposable scalpel

m

Bard Australia Pty Ltd
BA010
Recovery Filter
Nitinol self expanding vena cava filter
28mm Filter, 7Fr delivery System
$2,150.00
$2,500.00

Johnson & Johnson Medical Pty Ltd
JJ423
OPTEASE retrievable vena cava filter
OPTEASE is a laser cut nitinol vena cava 
Suitable for vessels up to 30mm
$2,348.00

filter, used to treat patients at high risk of 

pulmonary embolisation

William A Cook Australia Pty Ltd
WC096
Cook Vena Cava Filter
Universal Filter
Diameter up to 40mm, Length up to
$2,348.00

 60mm

Group 6b - Venous, Non-retrievable

William A Cook Australia Pty Ltd
WC043
Inferior Vena Cava Filter
Birds Nest Vena Cava Filter
Filter Catheter French Size 11.0 
$2,003.00

Length 40, 75 cm Introducer 

Sheath Assembly French Size 12.0 

Femoral/Jugular Approach
Prostheses List by Category, Groups and Sponsor
Page 709 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

m

Bard Australia Pty Ltd
BA009
Simon Filter Femoral - 2110F, Simon Filter 
Nitinol self expanding vena cava filter - 
28mm Filter, 7Fr delivery
$2,064.00
$2,125.92

Jugular - 2210J, Simon Filter Anticubital - 
"Simon Nitinol Filter"

2310A

Group 6c - Arterial

Boston Scientific Australia Pty Ltd
BS084
Filterwire EZ
Stainless steel wire 0.014", either 190cm or 
3.5mm - 5.5mm on 190cm delivery 
$2,100.00
Temporary Approval pending 

300cm long, radiopaque nose cone from 
system
review of product group

sheath - 6.5mm long and composed of pebax,

 polyurethane 110micron pore filter 1.5cm 

long, suspended nitinol loop, articulating 

and radiopaque, 3.2F sheath, radiopaque
BS085
Filterwire EZ
Stainless steel wire 0.014", either 190cm or 
3.5mm - 5.5mm on 190cm delivery 
$2,100.00
Temporary Approval pending 

300cm long, radiopaque nose cone from 
system. 3.5mm - 5.5mm on 300cm 
review of product group

sheath - 6.5mm long and composed of pebax,
delivery systen.

 polyurethane 110micron pore filter 1.5cm 

long, suspended nitinol loop, articulating 

and radiopaque, 3.2F sheath, radiopaque

Johnson & Johnson Medical Pty Ltd
JJ445
ANGIOGUARD XP Emboli Capture 
Distal protection device and delivery system
Length: 300cm, diameter: 0.014, 
$2,100.00
Temporary Approval, pending 

Guidewire System
Basket sizes 4mm, 5mm, 6mm, 7mm,
review of product group

 and 8mm
JJ480
Angioguard RX Emboli Capture Guidewire 
Distal protection device and delivery system
Length 180cm, Diameter 0.014"; 
$2,100.00
$2,300.00
Temporary Approval pending 

System
basket sizes 4mm, 5mm, 6mm, 7mm 
review of product group

and 8mm

Medtronic Australasia Pty Ltd
MC370
GuardWire Plus Temporary Occlusion and 
GuardWire temporary occlusion balloon, 
Length 200 and 300cm; Balloon 
$2,100.00
Temporary Approval pending 

Aspiration System
MicroSeal adaptor, EZ Flator, Export 
Occlusion Diameter: 3.0-6.0mm; 
review of product group

Aspiration Catheter and filter. Materials: 
Distal Tip Length: 2.5cm; Guard 

nitinol hypotube, a soft elastic polymer, 
Wire Shaft O.D: 3.5mm

polycarbonate, polyurethane, stainless steel
MC715
Interceptor Plus Filter System
Braided Nitol
Filter: 3.5 - 6.5mm; Length: 180cm; 
$2,100.00

Profile: 0.032 - 0.036"
Prostheses List by Category, Groups and Sponsor
Page 710 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

St. Jude Medical Australia Pty Ltd
SJ080
Proxis Embolic Protection System
Proximal embolic protection device and 
7F and 8F
$2,100.00
Temporary listing pending review 

delivery system
of distal protection devices

h

ev3 Australia Pty Ltd
EE004
SpideRX Embolic Protection Device
SpideRX Embolic Protection Device
3, 4, 5, 6, 7mm
$2,100.00

m

Abbott Australasia Pty Ltd
AY018
Emboshield
Embolic Protection Device, including 
Filters 3, 4, 5, and 6mm, Large and 
$2,100.00
Temporary Approval pending 

delivery system, device specific procedural 
Small.. Two wire lengths: 190cm for
review of product group

wire, filter for capturing embolic matter and 
 Monorail systems and 315cm for 

retrieval system
Over the Wire Systems
Group 7 - Arterial Closure Devices

Group 7 - Arterial Closure Devices

Medtronic Australasia Pty Ltd
MC679
AngioLink Vascular Closure Device
Titanium staple
6F - 8F
$410.00

St. Jude Medical Australia Pty Ltd
SJ094
Angio-Seal VIP
Angio-Seal Haemostatic Puncture Closure 
6F
$410.00

Device Models 6F STS Platform, 6F STS 

Plus and 7F VIP
SJ095
Angio-Seal VIP
Angio-Seal Haemostatic Puncture Closure 
8F
$410.00

Device Models 8F STS Platform, 8F STS 

Plus and 8F VIP

m

Abbott Australasia Pty Ltd
AY016
Perclose Arterial Support and Closure 
Suture to close femoral artery puncture sites 
Closer S - 6-8Fr, Perclose AT - 6-
$410.00

System
following diagnostic and interventional 
8Fr, Prostar 8Fr, Prostar 10Fr

procedures
AY017
Starclose
6 Fr Exchange Sheath, Dilator, Guidewire, 
6 Fr
$410.00

implantable nitinol clip pre-mounted on a 

Clip Applier

Medtel Australia Pty Ltd
ME107
Superstitch
Suture Mediated Closure Device
Sheath sizes: 6F and 8F
$390.00
Temporary Approval
Prostheses List by Category, Groups and Sponsor
Page 711 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

m, b

St. Jude Medical Australia Pty Ltd
SJ014
Angio-Seal Vascular Closure Device - STS 
Angio-Seal Haemostatic Puncture Closure 
6F
$410.00
Temporary approval

Platform and STS Plus
Device, Models 6F-STS Platform and 6F STS

 Plus
SJ015
Angio-Seal Vascular Closure Device - STS 
Angio-Seal Haemostatic Puncture Closure 
8F
$410.00
Temporary approval

Platform and STS Plus
Device, Models 8F-STS Platform and 8F STS

 Plus
Group 8 - Occlusion Devices

Group 8a - Particles

Endotherapeutics Pty Ltd
ET052
Hepasphere
Expanding microspheres designed for 
50 - 200 microns
$1,000.00
$2,000.00

chemic0-embolisation with 

chemotherapeutic agents such as Ethiodil, 

Cisplatin, Epirubicin, Mitomycin, etc.

William A Cook Australia Pty Ltd
WC044
PVA Embolisation particles
Embolization & Occlusion
Particle Size Ranges (microns) 50-
$204.00

100, 100-200, 200-300,300-500, 500-

700, 700-1000, 1000-1500, 1500-

2000, 2000-2800

m

Boston Scientific Australia Pty Ltd
BS031
PVA/Contour SE for embolization and 
Polyvinyl alcohol foam and delivery system;
45-150 micron, 150-250 micron, 250-
$904.00

delivery system
 Microcatheter for PVA delivery; Delivery 
355 micron, 355-500 micron, 500-

systems with nitinol braid, Polypropylene 
710 micron, 710-1000 micron, 1000-

promixal, Polyethylene distal. Contour 
1180 micron, 150-175cm/3-25cm

Embolisation Particles, FasTracker, Tracker, 

TurboTracker, Renegade Hi Flo Catheter
BS034
PVA Particles (contour embolisation, 
Polyvinyl alcohol foam with a hydrophilic 
45-150 micron, 150-250 micron, 250-
$204.00

Contour SE 
spherical shape for delivery improvements
355 micron, 355-500 micron, 500-

710 micron, 710-1000 micron, 1000-

1180 micron; 1ml, 2ml
Prostheses List by Category, Groups and Sponsor
Page 712 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 8b - Coil, Peripheral

Boston Scientific Australia Pty Ltd
BS026
Braided Occlusion Device (BOD) Fibered 
Platinum coil covered with dacron fibres
Coils 2-30mm x3-60mm
$143.00

Platinum Coil

William A Cook Australia Pty Ltd
WC037
Coil - Embolisation MWCE
Standard Stainless Steel
Diameters: .025, .035, .038 and .052,
$113.00

 Extended Lengths: 1cm to 20cm, 

Coil Taper Diameters: 2mm to 

10mm

m

Johnson & Johnson Medical Pty Ltd
JJ224
TruFill Pushable coil
Platinum pushable  coil of 1. Straight, 2. C, 3. 
Size .014" outer diameter.  Size 2 - 
$34.00

Flat spiral and 4. Complex shapes.  Embolic 
10mm and length 2 - 100mm

coil and delivery tube.

William A Cook Australia Pty Ltd
WC038
Coil - Embolisation Coils MWCE-TORNADO
Tornado Platinum
Diameters: .018, .035 and .038, Coil 
$218.00

Taper Diameters: 2mm to 10mm
WC039
Cook Embolization Coil
Hilal Platinum
Diameters: .018, Extended Lengths:
$208.00

 .5cm to 6cm, Coil Diameters: 

Straight to 10mm
WC076
Flipper-Patient Ducts Arteriosus-
Detachable Coil for PDA Closure
Coil Diameter 3,5,6.5 & 8 mm 
$239.00

Occluding System 
Number of Loops (3,4,5)
WC173
Cook Embolisation Coils
Nester Platinum
Diameters: .018 and .035, Extended 
$247.00

Lengths: 14cm, Coil Diameters: 

3mm to 10mm
WC190
Detachable Mreye Embolization Coils
Standard Mreye
Diameters: .035 and .038, Extended 
$66.00

Lengths: 1cm to 20cm, Coil 

Diameters: 3mm to 20mm
WC191
Cook Intravascular Embolization Prostheses
Hilal Platinum (Soft)
Diameters: .018; Extended Lengths:
$152.00

 5cm to 3cm, Coil Diameters: 

Straight to 10mm
WC192
Detachable Mreye Embolization Coils
Jackson Mreye
Diameters: .035 and .038 Extended 
$137.00

Lengths:  4cm to 6cm Coil 

Diameters: 3mm to 12mm
Prostheses List by Category, Groups and Sponsor
Page 713 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Group 8c - Coil, Neuro-interventional

m

Johnson & Johnson Medical Pty Ltd
JJ487
Trufill DCS Orbit detachable coil
Complex Mini
2mm - 12mm, 1.5cm - 30cm
$1,505.00

Group 8d - Polymer

ev3 Australia Pty Ltd
EE018
Onyx
DSMO/Liquid Embolic Material
18, 20, 34 (formulations)
$2,300.00
EE019
Onyx System
DSMO Liquid Embolic Material
500 Formulation
$4,950.00

a, m, b

Endotherapeutics Pty Ltd
ET007
Embospheres
-
1ml per implant
$414.00
ET008
Embospheres
-
.5ml per implant
$311.00

i

Boston Scientific Australia Pty Ltd
BS028
GDC Delivery Catheters
Delivery systems with nitinol  braid, 
150-175cm/3-25cm
$700.00
Only to be funded when used with 

Polypropylene promixal, Polyethylene distal;
a coil

 Tracker 10 Unibody Infusion Catheter,  

Fasttracker Vascular Access System, Turbo 

Tracker Infusion Catheter; Fastracker 

Vascular Access System; Turbo Tracker 

Infusion Catheters; Tracker Excel 

Microcatheter;  Renegade Fibre Braided 

Microcatheter;  Excelsior 1018 

Microcatheter.

m, b

Endotherapeutics Pty Ltd
ET006
Embospheres
-
2ml per implant
$623.00

Group 8e - Detachable Balloon or Sphere

m

Medtel Australia Pty Ltd
ME182
Amplatzer Vascular Plug
Self expandable nitinol wire mesh
Diameter 4mm - 16mm, Length 7 & 
$1,900.00

8mm
Prostheses List by Category, Groups and Sponsor
Page 714 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Group 9 - Long-tern Vascular Access Devices

Group 9a - Percutaneous Catheters - single lumen

Boston Scientific Australia Pty Ltd
BS087
Vaxcel PASV PICC
Single lumen catheters
3, 4, 5 & 6 Fr
$175.00
Temporary approval pending 

review of catheters

Medical Specialties  Australia Pty Ltd
MS009
Catheterisation kits(Horizon Medical)
Central Venous Catheter - right atrial 
2.7 -14F
$417.00

catheter, silicone
MS010
Catheterisation kits(HDC corp)
Central Venous Catheter - right atrial 
2 - 12F
$405.00

catheter, silicone
MS014
Injection/Infusion Ports Sterile
Plastic/titanium, single lumen
5-15F
$771.00

Tekmed Pty Ltd
TK007
Pro-PICC CT power injection and PICC 
Mecomp Pro-PICC CT power injection and 
Single and double lumen, 4, 5, and 
$165.00

therapy catheter sets
PICC therapy catheter sets, incl. micro-
6 french, 65cm or 130cm nitinol 

puncture set, tearaway introducer sheath, 
guidewire

nitinol marked guidewire with platinum tip, 

positive pressure valved cap(s), syringe, 

statlock, mini scalpel, 21g echo tip needle

William A Cook Australia Pty Ltd
WC111
Cook Central Venous Catheterisation Kit
Single lumen peripherally inserted catheter 
3 - 6 Fr, 40 - 80cm
$135.00

set, which may include catheter, standard or 

micropuncture introducer set
WC113
Cook Central Venous Catheterisation Kit
Single lumen peripherally inserted catheter 
Fr 3, 4, 5 and Length 50 and 60cm
$116.00

set, includes catheter, needle, J-wire, MPIS 

wire and introducer
WC202
Cook Central Venous Catheterisation Kits
Turbo-Flo Peripherally Inserted Central 
5Fr - 60cm
$124.00

Venous Catheter Set, Single Lumen 

Polyurethane with Peel Away Sheath 

Introducer and Wire Guide

a, i

William A Cook Australia Pty Ltd
WC221
Cook Spectrum Silicone Long Term 
Single lumen catheter CVC impregnated with
4Fr, 5Fr
$185.00
Temporary approval pending 

Catheter Set
 antibiotic with or without clamp
review of catheters
WC224
Cook Spectrum PICC Set / Line
Single lumen PICC catheter with antibiotic 
4fg, and 5fg 60cm
$165.00
Temporary approval pending 

impregnation
review of catheters
Prostheses List by Category, Groups and Sponsor
Page 715 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

a, m

William A Cook Australia Pty Ltd
WC227
Peripherally Inserted C/V Catheter with 
Micropuncture single lumen PICC with ABRM
4/5Fr
$204.00
Temporary Listing pending review 

Anibiotic impregnation
of catheters

cu

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd
KA008
Single Lumen Right Atrial Catheter
Central Venous Catheters constructed of 
84cm, 1.3mm OD, 94cm 2.2mm OD, 
$54.00

radiopaque silicone rubber
94cm 3.2mm OD

cu, m

Bard Australia Pty Ltd
BA048
VitaCuff, Broviac Catheters
Silicone, with VitaCuff
2.4 - 6.6 French Catheter
$349.00
$359.47
BA049
Broviac Catheters
Without VitaCuff, silicone
2.4 - 6.6 French Catheter
$180.00
$185.40
BA050
Hickman Catheters Single
Without VitaCuff, silicone  
7 - 14.4F French Catheter
$252.00
$259.56
BA053
Vitacuff, Hickman Single Lumen Catheters
Silicone, with VitaCuff  
7 - 14.4F French Catheter
$349.00
$359.47
BA125
Groshong Catheter
Single Lumen, Sizes 3fr-8fr Groshong 
Single Lumen, sizes 3fr-8fr
$323.00
$332.69

Valved-Closed ended catheter
BA129
Vascular Catheter
PICC - may include a Groshong Valved - 
Single Lumen 3Fr - 6Fr
$175.00
$180.25

Closed ended PICC, Single Lumen 3Fr-6Fr

m

Bard Australia Pty Ltd
BA167
Poly RadPICC Catheters
Single lumen open-ended Polyurethane
3, 4, 5Fr with 70cm guide wire
$130.00
$133.90
Temporary approval pending 

review of catheters
BA168
Poly RadPICC Catheters
Single Lumen open-ended Polyurethane
4, 5Fr with 135cm guide wire
$130.00
$133.90
Temporary approval pending 

review of catheters

William A Cook Australia Pty Ltd
WC201
Cook Central Venous Catherisation Kits
Turbo-Flo Peripherally Inserted Central 
4Fr - 60cm and 5Fr - 60cm
$135.00

Venous Catheter Set, Single Lumen 

Polyurethane with Micropuncture Peel-

Away Sheath Introducer and Wire Guide
WC204
Cook Central Venous Catheterisation Kits
Turbo-Flo Over-The-Wire Peripherally 
4Fr - 60cm and 5Fr -60cm
$135.00

Inserted Central Venous Catheter Set, Single

 Lumen Polyurethane with Micropuncture 

Peel-Away Sheath Introducer and Wire Guide
Prostheses List by Category, Groups and Sponsor
Page 716 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC206
Cook Central Venous Catheterisation Kits
PICC Peripherally Inserted Central Venous 
3Fr - 50cm and 4Fr and 5Fr - 60cm
$244.00

Catheter Set, Single Lumen Silicone with 

Micropuncture Peel-Away Sheath 

Introducer and Nitinol Wire Guide
WC207
Cook Central Venous Catheterisation Kits
PICC Peripherally Inserted Central Venous 
3Fr - 50cm and 4Fr and 5Fr - 60cm
$135.00

Catheter Set, Catheter without Clamp, Single 

Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Wire Guide
WC208
Cook Central Venous Catheterisation Kits
PICC Peripherally Inserted Central Venous 
4Fr - 60cm and 5Fr - 60cm
$246.00

Catheter Set, Catheter without Clamp, Single 

Lumen Silicone with Micropuncture Peel-

Away Sheath Introducer and Nitinol Wire 

Guide

Group 9b - Percutaneous Catheters - multiple lumen

Boston Scientific Australia Pty Ltd
BS088
Vaxcel PASV PICC
Dual lumen catheters
3, 4, 5 & 6Fr
$210.00
Temporary approval pending 

review of catheters

Medical Specialties  Australia Pty Ltd
MS015
Injection/Infusion Ports Sterile
Plastic/titanium, dual lumen
10, 10.5, 12F
$786.00
MS016
Injection/Infusion Ports Sterile
Plastic/titanium, paediatric
5, 6, 7,8, 9.6F
$771.00

William A Cook Australia Pty Ltd
WC112
Cook Central Venous Catheterisation Kit
Double or triple lumen peripherally inserted 
3 - 8 Fr 40 - 80cm
$204.00

catheter set, which may include catheter, 

standard or micropuncture introducer set
WC114
Cook Central Venous Catheterisation Kit
Double lumen peripherally inserted catheter 
Fr 6, 7 and Length 58 and 60cm
$148.00

set, includes catheter, needle, J-wire, MPIS 

wire and introducer
WC203
Cook Central Venous Catherisation Kits
Turbo-Flo Peripherally Inserted Central 
5Fr - 60cm
$148.00

Venous Catheter Set, Dual Lumen 

Polyurethane with Peel-Away Sheath 

Introducer and Wire Guide

A

William A Cook Australia Pty Ltd
WC230
Cook Spectrum CVC Catheter 3 Lumen with
Triple lumen CVC line with antibiotic 
5Fr, 7Fr, 9Fr
$120.00

 antibiotic impregnation
impregnation
Prostheses List by Category, Groups and Sponsor
Page 717 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC231
Cook Spectrum 5 Lumen CVC Catheter with
5 lumen CVC with antibiotic impregnation
10Fr
$180.00

 antibiotic impregnation

a, i

William A Cook Australia Pty Ltd
WC222
Cook Spectrum Silicone Long Term 
Dual lumen catheter CVC impregnated with 
7Fr
$208.00
Temporary approval pending 

Catheter Set
antibiotic with or without clamp
review of catheters
WC225
Cook Spectrum PICC Set / Line
Dual lumen PICC catheter with antibiotic 
6fr and 60cm
$220.00
Temporary approval pending 

impregnation
review of catheters

a, i, cu

William A Cook Australia Pty Ltd
WC223
Cook Spectrum Silicone Long Term 
Triple lumen catheter CVC impregnated with 
8Fr
$253.00
Temporary approval pending 

Catheter Set
antibiotic with or without clamp
review of catheters

a, m

William A Cook Australia Pty Ltd
WC229
Peripherally Inserted C/V Catheter with 
Micropuncture double lumen PICC with 
6/7Fr
$244.00

Anibiotic impregnation
ABRM

cu

Bard Australia Pty Ltd
BA030
Impra PTFE Vascular Grafts
Venaflo ePTFE graft with preformed cuff and
4mm - 8mm diameter, 10cm - 50cm 
$1,532.00
$1,577.96

 flex support
length
BA175
HemoGlide Long Term Haemodialysis 
14.5Fr Double D stepped tip cuffed catheter
31cm PC2 Jugular Kit
$327.00
$336.81

Catheter

Baxter Healthcare Pty Ltd
BX255
Mahurkar 12Fr Triple Lumen Catheter
Mahurkar 12Fr Triple Lumen Catheter 
12Fr - 13cm, 16cm, 19cm & 24cm 
$230.00
Temporary approval pending 

Curved Extension Kit
lengths available
review of catheters
BX256
Mahurkar 13.5Fr Q-Plus Dual Lumen 
Mahurkar 13.5Fr Q-Plus Curved Extension 
13.5Fr - 13.5cm, 16cm, 19cm & 
$127.00
Temporary approval pending 

Catheter
Double Lumen Catheter Kit
24cm lengths available
review of catheters
BX257
Mahurkar 13.5Fr Q-Plus Dual Lumen 
Mahurkar 13.5Fr Q-Plus Straight Extension 
13.5Fr - 13.5cm, 16cm, 19cm & 
$127.00
Temporary approval pending 

Catheter
Double Lumen Catheter Kit
24cm lengths available
review of catheters

Boston Scientific Australia Pty Ltd
BS065
Vaxcel Implantable Vascular Access 
Polyurethane Catheter Material with dual 
16 French catheter tapering to a 14 
$330.00

lumens and a staggered distal tip; polyester 
French, lengths 19, 23, 28cm

cuff which provides catheter security and 

tissue growth; clear extension tubes with 

clamps
Prostheses List by Category, Groups and Sponsor
Page 718 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Kendall Australasia Pty Ltd T/A Tyco Health Care  Australia  Pty Ltd
KA007
Mahurkar Subclavian Catheter Kit
Chronic haemodialysis, long term vascular 
36, 40cm
$184.00

access for haemodialysis and apheresis. 

Constructed of radiopaque silicone rubber.  

Kit contains: Catheter, 18ga Introducer 

Needle, J/Straight 0.038" Guidewire, 10cc 

Syringe, Tunnelling Stylet, Pull-Apart 

Sheath/Dilator, (4) Gauze Sponges, (2) 

Wound Dressings, (2) Injection Sealing 
KA009
RAAF Dual Lumen Catheter
Central Venous Catheter constructed of 
4.5mm (Catheter), 95cm (Catheter 
$139.00

radiopaque silicone rubber
Overall Length); 3.2mm (Catheter), 

102cm (Catheter Overall Length)
KA010
Triple Lumen Right Arterial Catheter
Central Venous Catheter constructed of 
3.9mm
$209.00

radiopaque silicone rubber
KA011
Permcath Dual Lumen Catheter
Chronic Haemodialysis, long term vascular 
36cm, 40cm
$330.00

access for haemodialysis and aphaeresis.  

Constructed of radiopaque silicone rubber. 

Kit contains: Catheter, 18ga Introducer 

Needle, J/Straight 0.038" Guidewire, 10cc 

Syringe, 10Fr. Dilator (28cm only), 12Fr. 

Dilator (except 28cm), #11 Scalpel, 

Tunnelling Stylet, Oval Pull-Apart 

Sheath/Dilator, (4) Gauze Sponges, (2) 

Wound Dressing, (2) Injection Sealing Caps.
KA012
Mahurkar Subclavian Catheter Kit
Acute haemodialysus, short term vascular 
11.5 Fr, 13.5cm Straight Extension, 
$130.00

access. Catheters constructed of radiopaque
11.5 Fr, 16cm Straight Extension, 

 polyurethane. Tips are made of polyvinyl 
11.5 Fr 19.5cm Straight Extension, 

chloride and are more radiopaque than the 
10 Fr 12cm Curved Extension, 10 Fr

rest of the catheter. Kit contains: 10 or 11.5 
 15cm Curved Extension, 11.5 Fr 

Fr Catheter, 18ga Introducer Needle, 
16cm Curved Extension, 11.5 Fr 

J/Straight Guidewire, 10 Fr Dilator, 12 Fr 
16cm Curved Extension, 11.5 Fr 

Dilator, 2 x Adhesive Wound Dressings.
19.5cm Curved Extension
KA013
Permcath Dual Lumen Catheter
Chronic haemodialysis, long term vascular 
28, 36, 40cm
$290.00

access for haemodialysis and aphaeresis.  

Constructed of radiopaque silicone rubber.
KA014
Mahurkar Maxid Catheters
Catheters constructed of radiopaque 
Size, 38, 43, 48, 53cm
$305.00

polyurethans, high kink resistant.  The 

arterial lumen is shorter than the venous 

lumen at the catheter's distal end in order to 

reduce recirculation during haemodialysis
Prostheses List by Category, Groups and Sponsor
Page 719 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations

Tekmed Pty Ltd
TK005
Medcomp Long Term Catheter sets for 
ASH, TESIO-BioFlex with cuff
10, 14 French   24,28,32 & 36cm 
$450.00

Haemodialysis
lengths
TK006
Medcomp Long Term Catheter sets for 
HemoFlow HFS-Carbothane with cuff
14.5 French   24,28,32 & 36cm 
$295.00

Haemodialysis
lengths

cu, m

Bard Australia Pty Ltd
BA040
VitaCuff, Hickman Catheter 
Dialysis/Apheresis catheter, dual lumen, 
36-45cm overall length
$349.00
$359.47

silicone
BA051
Hickman Catheters Dual
Without VitaCuff, silicone  
7 -  9 French Catheter
$350.00
$360.50
BA052
Hickman Catheters Triple
Without VitaCuff, silicone  
13.5 French Catheter
$415.00
$427.45
BA054
Vitacuff, Hickman Dual Lumen Catheters
Silicone, with VitaCuff  
7 -  9 French Catheter
$415.00
$427.45
BA055
Vitacuff, Hickman Triple Catheters
Silicone, with VitaCuff  
13.5 French Catheter
$506.00
$521.18
BA126
Groshong Catheter
Single Lumen, Sizes 5fr-9.5fr Groshong 
Dual Lumen, sizes 5fr-9.5fr
$376.00
$387.28

Valved-Closed ended catheter
BA140
HemoGlide Long Term Haemodialysis 
Kit contents: 14.5fr catheter, 18g guidewire 
15, 19, 23 & 27cm straight kit; 19 & 
$357.00
$367.71

Catheter
introducer needle, 0.038" 70cm J-wire 
23cm Pre-curved kit; 19, 24 & 28cm

guidewire, 15fr PTFE introducer sheath, 8" 
  and 31cm Pre-curved jugular kit.

tunnelling device, 10-12fr dualator vessel 

dilator, 2 adhesive dressings, 2 injections 

caps, silicone attachable suture wing, 

heparin label and instructions for use.
BA159
HemoSplit Long Term Haemodialysis 
HemoSplit is a carbothane long term dual 
Standard Kit (straight15cm to42cm 
$485.00
$499.55

catheter
lumen catheter used to provide vascular 
and pre-curved 19cm to31cm), 

access for haemodialysis. It comprises of a 
Microintroducer Kits (straight 

double D lumen configuration catheter each 
19cm to 42cm & pre-curved 19cm 

lumen having an ID of 2.3mm) with a fixed 
to 31cm)

split tip (to 7.5cmm) which enables blood 

flow rates as high as 500mls/minute.  The 

catheter shaft has a tissue ingrowth cuff to 

assist tissue anchoring.

m

Bard Australia Pty Ltd
BA130
Vascular Catheter
PICC- may include a Groshong Valved - 
Dual Lumen 4Fr - 7Fr
$211.00
$217.33

Closed ended PICC, Single Lumen 4Fr-7Fr
Prostheses List by Category, Groups and Sponsor
Page 720 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
BA169
Poly RadPICC Catheters
Double Lumen open-ended Polyurethane
4, 5, 6Fr with 70cm guide wire
$149.00
$153.47
Temporary approval pending 

review of catheters
BA170
Poly RadPICC Catheters
Double Lumen open-ended Polyurethane
5, 6Fr with 135cm guide wire
$149.00
$153.47
Temporary approval pending 

review of catheters

William A Cook Australia Pty Ltd
WC205
Cook Central Venous Catheterisation Kits
Turbo-Flo Over-The Wire Peripherally 
5Fr - 60cm
$159.00

Inserted Central Venous Catheter Set, Dual 

Lumen Polyurethane with Micropuncture 

Peel-Away Sheath Introducer and Wire Guide

Group 9c - Infuser Ports - single chamber

Tuta Healthcare Pty Ltd
TT001
Paragon Ambulatory Drug Infusion 
The top of the Paragon infuser is made of 
Infuser - 100mL Administration 
$988.00

acetyl with stainless steel parts; the bottom 
Sets - 0.50mL, 1mL, 2mL, 4mL, 

is made of clear polycarbonate. Diam: 10cm 
10mL, 50mL, 100mL, or 200mL/hr

Height: 5.8cm.  Administration Sets - made 

from PVC and acrylic components.
TT003
Sidekick Ambulatory Disposable Delivery 
Spring infusor made from high impact 
Infuser - 50mL or 100mL, 
$467.00

System
plastics.  Administration Sets - made from 
Administration Sets - 50mL, 100mL

PVC and acrylic components.
 or 200mL/hr

m

B Braun Australia Pty Ltd
BB170
Celsite Access Port for pain relief
Composition - polysulphone.  Kit includes 
Diameter of septum:11.7mm.  
$495.00

tunnelling rod, filter, connectors, needles, 
Height: 11.5mm.  Dimension: 25.8 x 

syringe, tuohy needle
37.8mm

Bard Australia Pty Ltd
BA056
Subcutaneous Ports
Hickman open-ended catheter, single lumen 
8 - 9.6 French Catheter
$500.00
$715.00
BA057
Groshong Subcutaneous Ports
Single or dual lumen catheter
8 - 9.6 French Catheter
$521.00
$727.00
BA060
Hickman Subcutaneous Ports
Low-Profile
6 - 6.6 French Catheter
$653.00
$672.59
BA177
SlimPort Ultra Low Profile Implanted Port
Ultra SlimPort Low Profile Plastic/Titanium 
Port: 16.9 x 22.7mm (W) x 9.2mm 
$541.00
$615.00

port with attachable Chronoflex® single 
(H); 2.9g Wt 6 Fr Catheter

lumen catheter

William A Cook Australia Pty Ltd
WC093
Cook Implantable Injection/Infusion Ports
Petite or Standard, single or multiple 
3 - 12 Fr pre-attached or detached 
$500.00

chamber Polysulfone Port which may 
catheter or valve system

include micropuncture or standard 
Prostheses List by Category, Groups and Sponsor
Page 721 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
WC094
Cook Implantable Injection/Infusion Ports
Mini or Petite or Standard, single or multiple 
3 - 12 Fr pre-attached or detached 
$534.00

chamber titanium Port which may include 
catheter or valve system

micropuncture or standard introducer set
WC115
Cook Implantable Injection/Infusion Port
Mini, single or multiple chamber titanium 
3 - 12 Fr pre-attached or detached  
$652.00

Port which may include micropuncture 
catheter or valve system

introducer set

Group 9d - Infuser Ports - multiple chambers

m

Bard Australia Pty Ltd
BA059
Dual Lumen Subcutaneous Ports
Silicone, Polyurethane or ChronoFlex Open-
7 - 10 French Catheter
$805.00
$829.15

ended Catheter

William A Cook Australia Pty Ltd
WC164
Cook Implantable Injection/Infusion Ports
Dual or Multiple Chamber Titanium Port 
3 - 12 Fr pre-attached or detached 
$762.00

which may include micropuncture or 
catheter or valve system

standard introducer set
Internal embolization, intravascular

Ackermann Australia Pty Ltd
AK001
Haemostatic Ligating Clips
Titanium Ligating Clips
small - large
$7.80

Device Technologies Australia Pty Ltd
DE275
DC Bead
Drug delivery embolisation system
100-300, 300-500, 500-700, 700-900 
$1,650.00
$1,950.00
Product only to be used for embolic

(microns)
 procedures.
Matrix 2 - Prosthesis, internal, embolization, intravascular

Boston Scientific Australia Pty Ltd
BS100
Matrix Detachable Coils
Platinum/Tungsten alloy coils covered with 
Length: 2cm to 40cm, Diameter: 
$1,850.00

an absorbable PGLA copolymer (90% 
2mm to 24mm

Polyglycolic acid/ 10% Polylactic acid)
Prostheses List by Category, Groups and Sponsor
Page 722 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
Micrus Presidio Cerecyte Coil (PC4)

Medtel Australia Pty Ltd
ME183
Micrus Presidio Microcoil
Sterile, single use, embolic coil used for the 
11.5-50cm (length)
$1,850.00
$2,700.00

treatment of cerebral aneurysms
Nexus Detachable Coil - Prosthesis, internal, embolization, intravascular

ev3 Australia Pty Ltd
EE007
Nexus Detachable Coils
Nexus Tetris
Diam 3-19mm, Length 4-29cm
$1,850.00
EE008
Nexus Detachable Coils
Multi Diameter
Diam 4-10mm / Length 10-30cm
$1,250.00
EE017
Nexus Detachable Coil
Helix
Diameter 2-10mm / Length 1 - 30cm
$1,250.00
Prosthesis, internal, embolization, intravascular

Boston Scientific Australia Pty Ltd
BS080
Matrix SR Detachable Coils
Matrix SR Detachable Coils are 
Length: 2cm to 30cm, Diameter: 
$1,850.00

Platinum/Tungsten alloy coils covered with 
2mm to 10mm

an absorbable PGLA copolymer (90% Poly-

glycolic acid/ 10% Poly-lactic acid)
Prosthesis, internal, stent, vascular

Boston Scientific Australia Pty Ltd
BS079
Neuroform 2 Microdelivery Stent System
Self-expanding nitinol stent, 3fr delivery 
Diameter: 2.5-4.5mm, Length: 
$7,500.00

catheter, peelable sheath, 2fr stabilising 
10mm-30mm

catheter, rotating haemostasis valve (x2)
Prostheses List by Category, Groups and Sponsor
Page 723 of 724
VASCULAR

Minimum 
Maximum 
Billing Code
Product Name
Description
Size
Benefit
Benefit
Notations
TRUFILL DCS ORBIT Detachable Coil - Embolization implant kit

Johnson & Johnson Medical Pty Ltd
JJ485
Trufill DCS Orbit detachable coil
Helical Fill
2mm - 12mm, 2cm - 30cm
$1,400.00
JJ486
Trufill DCS Orbit detachable coil
Complex Standard
6mm - 20mm, 15cm - 30cm
$1,505.00

Grand Total:
9157 Records
Prostheses List by Category, Groups and Sponsor
Page 724 of 724
