New Products for Prostheses List
December 2007
Billing 
Product 
Further Description
Size
Abbott Australasia Pty Ltd
Cardio-thoracic
AY023
Xience V Everolimus Eluting Coronary Stent System
Everolimus Eluting Coronary Stent System
2.50mm to 4.0mm diameter, 8mm to 28mm length
AY025
Stents
ACS Multilink Coronary Stent; ACS Megalink Peripheral Stent; 
1.5mm - 8.0mm

ACS RX Herculink Peripheral Stent. Stainless steel
AY026
Multilink Coronary Stent System
Stainless Steel
Length 1.5mm - 8.0mm
AY027
Multilink Coronary Stent System - Frontier
316L Stainless steel stent
Length 1.5 - 8.0mm
AY028
Multilink Coronary Stent System - Vision
Cobalt chrome stent
Length 1.5 - 8.0mm
Vascular
AY024
Omnilink Stainless Steel Balloon Deployable Peripheral Stent
Stainless Steel Balloon Expandable Peripheral Stent on 018/035 system
018 & 035 system: 5-10mm diameter by 12, 16, 18, 28, 38, 58mm 
Ackermann Australia Pty Ltd
Endoscopic Products
AK002
Stent, oesophageal, dudodenal, rectal, biliary
self expandable nitinol stent with introducer system
20,30,40,50,60,70,80,90,100,110,120mm
Advanced Biomedical Pty Ltd
General/Miscellaneous
AB065
Bioglue Surgical Adhesive - Rigid Applicator Tip 34cm
34cm Rigid Applicator Tip (used in conjunction with Bioglue 
One size only

Solution Cartridges and Delivery Device - supplied separately, to 

enable precise delivery of BioGlue Surgical Adhesive over an 

extended length via a laparoscope, thoracoscope or brochoscope).
Advanced Surgical Design & Manufacture Ltd
Orthopaedic
AE099
Active Knee System - Cementless Stemmed Tibia
HA Cementless Stemmed Tibia
Sizes 1 to 5 (A-Narrow & B-Wide)
Advanced Surgical Technologies
Orthopaedic
AD329
Procotyl L  Acetabular Cup
Uncemented porous HA acetabular cup
42 - 68mm
AD330
Procotyl L Acetabular System / Acetabular shell non HA
Porous coated Acetabular shell non HA
42 - 68mm in 2mm increments
AD331
Procotyl L metal liner, large head options
CoCr superfinished Metal liners
28,32,36ID
AD332
Procotyl L Delta Ceramic Liner
Delta ceramic liners
28, 32, 36ID
AD333
Procotyl L A-class Crosslinked polyethylene liner,standard & lipped, 
A-class crosslinked poly liners, standard and lipped liners
28,32,36ID

large head options
AD334
Dynasty Acetabular System/ Actebular Shell
Porous coated Acetabular shell
42 - 68mm in 2mm increments
New Products for Prostheses List Report
Page 1 of 25
Billing 
Product 
Further Description
Size
AD335
Dynasty Acetabular System / metal liner, large head options
Dynasty Metal liner
ID 28,32,36,38,40,42,44,48
AD336
Dynasty Acetabular System /poly liner
A-class Crosslinked polyethylene liner, standard and lipped, large 
ID 22,28,32,36, 38,40,42,46

head options
AD337
Profemur TL
Primary stem, tapered wedge, plasma coated
1-12
Alcon Laboratories (Aust.) Pty Ltd
Ophthalmic
AL028
ReSTOR apodized diffractive aspheric intraocular lens - SN6AD3
UV and Blue Light Filtering Foldable Single-Piece Apodized 
+10.0 to +30.0D in 0.5 dioptre increments and +30.0D to +34.0D in 

Diffractive Aspheric Optic Posterior Chamber Lens
1.0 dioptre increments
AL029
DisCoVisc Ophthalmic Viscosurgical Device
An aid for use in surgery in the anterior segment of the eye
0.5 mL and 1.0 mL
American Medical Systems
Urogenital
AM048
AMS AdVance Male Sling
Sub-urethral sling implant for treatment of male stress urinary 
Arm width - 1.2cm, Centre width - 3.55cm, Length - 35.5cm

incontinence.  Made from polypropylene monofilament mesh
Ausponsor Pty Ltd
Ophthalmic
AQ001
Hoya-PS AF-1 (UV) PC-60R
Preloaded in cartridge, Foldable, Single-Piece, Hydrophobi Acrylic
+4.0 D to =30.0D (0.5D steps)
AQ002
Hoya-PS AF-1 (UY) PY-60R
Preloaded in cartridge, Blue blocker, Foldable, Single-piece, 
+4.0D to +30.0D (0.5D steps)

Hydrophobic Acrylic
AQ003
Hoya-PS AF-1 (UY) PY-60AD
Preloaded in cartridge, Aspheric, Blue blocker, Foldable, Single-Piece,
+6.0D to +30.0D (0.5D steps)

 Hydrophobic Acrylic
Australasian Medical & Scientific Ltd
Urogenital
AN007
Coaptite
Calcium hydroxylapatite spheres suspended in an aqueous gel carrier,
1 ml syringe

 Coaptite is an injectable synthetic tissue reconstructive material
Austspine Pty Ltd
Neurosurgical
AJ001
Preference II Pedicle Screw and Reduction screw/ Preference- II 
Polyaxial Pedicle Screw and Reduction Screw
Length 25mm-60mm, Diameter 4.5mm-8.2mm

pedical screw system
AJ002
Preference II Pedicle screw system
Set Screw for Polyaxial Pedicle Screw System
One size
AJ003
Preference - II pedicle screw system
Fixation Rod for Preference-II Pedicle Screw Fixation System
Length 30mm-600mm, Diameter 6mm
AJ004
Preference - II pedicle screw system
Cross Link for Preference-II Pedicle Screw Fixation System
4 sizes: 45mm, 55mm, 70mm and 90mm
AJ005
Kasios TCP
TCP Bone graft substitute Granules
5cc
AJ006
Kasios TCP
TCP Bone graft substitute Granules
10cc
AJ007
JectOS
Injectable synthetic bone graft substitute
5cc
AJ008
JectOS 10cc
Injectable synthetic bone graft substitute
10cc
New Products for Prostheses List Report
Page 2 of 25
Billing 
Product 
Further Description
Size
AJ009
Kasios KAGE
Cervical interbody PEEK cage for anterior cervical surgery
Height 4mm - 10mm
AJ010
KGBone
Synthetic bone substitute, custom-fit for KAGE cervical interbody 
4mm-10mm
Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
Endoscopic Products
AS136
Spacemaker™ Plus Dissection Balloon
Dissecting Device
Unilateral and Bilateral, Round and Oval
Mechanical Internal Wound Closure Products
AS134
DST Series EEA Or Vil
Accessory
21mm, 25mm
AS135
DST™ Series EEA™ XL
Circular Stapler
5 sizes
B Braun Australia Pty Ltd
Orthopaedic
BB295
Metha - modular short stem
Modular short stem prostheses for Total Hip Arthoplasty 
1 -6

comprising 6 stems and 9 neck options. Titanium alloy stem, 

proximal coated with 20 mircon layer of DCPD.
BB296
Metha - Modular cone adaptors
Modular neck adaptors made from CoCr  to offer different offsets 
CCD - 130°, 135 °, 140°; Offset  - 0mm, -5mm ,+5mm; Version - 

and version
7.5° left ante/right retro, 0 °, 7.5 ° left retro/right ante
BB302
Ceramic Head
Biolox Ceramic Head
36mm
Vascular
BB294
Aesculap Ligating Clips
Aesculap Ligating Clips- Ligation Clips Titanium;
PL561T- Large
BB297
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL565T - Small
BB298
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL566T - small cardiopack of 24
BB299
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL567T - medium
BB300
Aesculap Ligating Clips
Aesculap Ligating Clips Titanium
PL568T - medium/large
BB301
Challenger Ligating Clips
Challenger Ligating Clips Titanium Multifire
PL572 - small/medium
Bard Australia Pty Ltd
General/Miscellaneous
BA180
Salute II Disposable Fixation System
For the general surgeon who performs both inguinal and ventral 
38cm (10, 30 or 60 Q-ring), 18cm (10 or 30 Q-ring)

hernia repairs, the Davol Salutell Fixation Device provides permanent

 fixation of mesh to tissue, with no sharp points or exposed edges 

due to the smooth, strong, suture-like shape of the Q-ring.
New Products for Prostheses List Report
Page 3 of 25
Billing 
Product 
Further Description
Size
Baxter Healthcare Pty Ltd
General/Miscellaneous
BX258
FloSeal Hemostatic Matrix
FloSeal is a proprietary combination of specially engineered collagen 
5mL,

derived particles and topical thrombin.  FlowSeal is not a sponge or a 

fibrin glue, rather it is a high viscosity gel for hemostasis.  Clinically 

proven (refer Appendix 1; Section 2-4) to control bleeding from 

capillary oozing to arterial spurting, FloSeal functions on wet and 

actively bleeding tissues.  FlowSeal Matrix consists of a bovine 

derived Gelatin Matrix component, a human derived Thrombin 

component, applicator tips and several mixing accessories.  The 

Gelatin Matrix consists of crosslinked gelatin granules and is 

provided sterile and non-pyrogenic in a standard disposable syringe.  

The Thrombin (Human) is a sterile, non-pyrogenic, feeeze-dried, 

vapour-heated powder preparation made from pooled human plasma.

  A sterile, non-pyrogenic calcium chloride solution is provided for 

reconsitution of the thrombin.  After reconstitution, the resulting 

thrombin solution contains 500 IU/mL Thrombin (Human).  FloSeal 

Matrix is the combination of the Gelatin Matrix component and the 

reconstituted Thrombin (Human) component.  Thrombin must be 

added to the Gelatin Matrix component prior to use.
BX259
FloSeal Hemostatic Matrix
FloSeal is a proprietary combination of specially engineered collagen 
10ml

derived particles and topical thrombin.  FloSeal is not a sponge or a 

fibrin glue, rather it is a high viscosity gel for hemostasis.  Clinically 

proven (refer Appendix 1; Section 2-4) to control bleeding from 

capillary oozing to arterial spurting, FloSeal functions on wet and 

actively bleeding tissues.  FloSeal Matrix consists of a bovine derived

 Gelatin Matrix componenet, a human derived Thrombin component, 

applicator tips and several mixing accessories.  The Gelatin Matrix 

consists of crosslinked gelatin granules and is provided sterile and 

non-pyrogenic in a standard disposable syringe.  The Thrombin 

(human) is a sterile, non-pyrogenic, freeze-dried, vapour-heated 

powder preparation made from pooled human plasma.  A sterile, 

non-pyrogenic calcium choride solution is provided for reconstituion 

of the thrombin.  After reconstitutionm the resulting thrombin 

solution contains 500 IU/mL Thrombin (human).  The FloSeal Matrix

 is the combination of the Gelatin Matrix componenet and the 

reconstituted Thrombin (human) component.  Thrombin must be 

added to the Gelatin Matrix component prior to use
Biomet Australia Pty Ltd
Orthopaedic
BI953
Stage One Hip Mold
Spacer mold, stainless steel, silicon.
9 - 17mm x 43 - 64 Head
BI954
AGC Total Knee - Dual Articular Knee System
Tibial Insert, Rotating
59 - 83mm, 8 - 20mm Depth
BI955
AGC Total Knee - Dual Articular Knee System
Tibial Component
59 - 83mm
BI956
Offset Tibial Tray System
Offset Adapter
0mm, 2.5mm, 5mm Offset
New Products for Prostheses List Report
Page 4 of 25
Billing 
Product 
Further Description
Size
Biotronik Australia Pty Ltd
Cardio-thoracic
BT086
Lumax 340 DR-T
ICD-DR 34 J with bidirectional Home Monitoring. Dual chamber
One Size Only
BT087
Lumax 300 VR-T
ICD-VR with bidirectional Home Monitoring. Single chamber
One Size Only
BT088
Lumax 300 HF-T
CRT-D with bidirectional Home Monitoring
One size only
BT089
Lumax 340 HF-T
CRT-D 34 J with bidirectional Home Monitoring
One Size Only
BT090
Lumax 340 VR-T
ICD-VR 34 J with bidirectional Home Monitoring. Single chamber
One size only
BT091
Lumax 300 DR-T
ICD-DR with bidirectional Home Monitoring
One size only
BT092
Linox TD
Fractal and steroid coated passive fixation quadripolar ICD lead
65, 74 or 100cm length and 16 or 18mm electrode spacing
BT093
Linox T
Passive fix RV bipolar fractal coated steroid ICD lead
65, 75cm length
BT095
Corox OTW BP
Coronary Sinus bipolar steroid
77, 87 cm length
BT096
Linox S
Active fix RV bipolar fractal coated steroid IC lead
65, 75cm length
BT097
Dextrus (marketed by Boston Scientific)
Bipolar, silicone, active fixation, steroid eluting, pacing lead
7Fr, with 45cm, 53cm and 60cm length options
Vascular
BT094
Dynamic
PTA Balloon Expandable Stent
5-10mm diameter / 15, 25, 38, 56mm lengths
Boston Scientific Australia Pty Ltd
Cardio-thoracic
BS123
Insignia AVT 882
VDD Pacemaker
10.0cc, 23.5g
BS124
Insignia AVT 1192
Single chamber pacemaker
10cc, 23.4g
BS125
Promus Everolimus Coronary Stent System
Cobalt chromium alloy stent coated with a blended polymer mixed 
Diameter 2.5, 3.0, 3.5 4.0mm. Lengths 8, 12, 15, 18, 23, 28mm

with Everolimus.
BS126
Insignia AVT 1292
Dual chamber pacemaker
10.8cc, 25.4g
General/Miscellaneous
BS122
Wingspan Stent and Gateway Balloon Catheter
Wingspan Self Expanding Nitonol Stent and Gateway Neurovascular 
Stent diameters: 2.5mm to 4.5mm; Stent lengths: 9.0mm to 20.0mm

PTA Ballon Catheter
C. R. Kennedy
Endoscopic Products
CK001
Microline Pentax Disposable 10ml Titanium K2 Clip Cartridge
Disposable cartridge containing 19 surgical grade titanium clips 
medium/large clip

delivered using a re-usable hand piece applier
CK002
Microline Pentax Disposable 10ml Titanium K2 clip Cartridge
Disposable cartridge containing 10 surgical grade titanium clips 
Medium/Large Clip

delivered using a reusable hand piece applier.
CK003
Endox Visu-Loc Clip Applier
Single-use laparoscopic clip applier
Medium, Large
New Products for Prostheses List Report
Page 5 of 25
Billing 
Product 
Further Description
Size
Cardinal Health
Orthopaedic
CI002
AVAmax System
Radiopaque bone cement system
11G & 13G
Carl Zeiss Pty Ltd
Ophthalmic
CZ001
T.Flux: Non-Absorbable Galucoma Drain
-
One size only
CZ002
Tensiobag: Capsular Tension Ring
PMMA
Diameter 10 - 14mm
CZ003
IOLTECH Intraocular Lens: Model Bigbag
IOLTECH Hydrophilic acrylic, foldable, PC, single piece, Tri-haptic,
6.5mm optic diameter x 10.35 overall diameter

 square edge design, UV blocker
CZ004
IOLTECH Intraocular Lens: Model MF4
Multifocal IOLTECH hydrophilic acrylic, foldable, PC single piece, 
6.00mm optic diameter x 10.5mm overall diameter

Tri-haptic, square edge design, UV blocker
CZ005
IOLTECH Intraocular Lens, Model Stabibag, Model XL Stabi
IOLTECH hydrophilic acrylic, foldable, CP, single piece, square edge
5.5mm to 6.0mm optic x 10.5mm to 10.75mm overall diameter

 design, UV blocker, Tri-haptic
CZ006
IOLTECH Intraocular Lens, Model Stabibag RTU, Model XL Stabi 
IOLTECH hydrophilic acrylic, foldable, CP, single piece, square edge
5.5mm to 6.0mm optic x 10.5mm to 10.75mm overall diameter

RTU/Sky
 design, UV blocker, Tri-haptic, Ready to use single use pre-loaded
CZ007
IOLTECH MICS IOL
IOLTECH Hydrophilic acrylic, Anti vault haptics, PC, single piece, 
5.5mm - 6.0mm optic X 12mm overall diameter

square edge design, UV blocker, contains single use inserter
CZ008
Hydromax
Hydrophobic Acrylic, Foldable, PC, 3-Piece, Square Edge Design, 
6.0mm Optic x 12.5mm Overall Diameter

UV Blocker
CZ009
Ethos
Hydrophobic Acrylic, Foldable, PC, 3-Piece, Square Edged Design, 
6.0mm Optic x 12.5mm Overall Diameter

UV Blocker, Pre-Loaded
CZ010
XL Stabi ZO, Invent ZO
Hydrophilic Acrylic, Foldable, PC, Single Piece, Square Edge Design, 
6.0mm Optic x 10.5mm Overall Diameter

UV Blocker, Tri-haptic, Quad Haptic, Aspheric Optic
CZ011
XL Stabi ZO Sky, Invent ZO Sky
Hydrophilic Acrylic, Foldable, PC, Single Piece, Square Edge Design, 
6.0mm Optic X 10.5mm Overall Diameter

UV Blocker, Trihaptic, Quad Haptic, Aspheric Optic, Pre-Loaded
City Medical Devices Australia (trading as Energy Orthopaedics)
General/Miscellaneous
CD049
Cousin Bioring Gastric Band
Laparoscopically adjustable gastric band. Silicone. Pre-shaped.
27mm diameter
Orthopaedic
CD001
MRP- TITAN Stem
Modular Revision Titanium stem, straight and curved
140mm  diameter 13-30
CD003
Biolox - Forte Ceramic Head
Biolox Ceramic Head
Diameter 28-32, S,M,L
CD004
MRP-TITAN Stem
Extension sleeve
30mm length - diameter 16mm, 18mm, 20mm, 22mm
CD005
MRP-TITAN Screws
Screws for revision system
Small, M 14, large
CD006
Aptus Hand
Aptus Hand-locking screws
2.0mm-2.5mm diameter, 6mm-34mm length
CD007
 Aptus Hand
Titanium cortex screws
1.2-2,5mm diameter, 4mm-34mm
CD008
Aptus Hand-Plates
Aptus Hand-Plates
1.2/1.5/2.0/2.3/2.5; straight plate 4-16 hole; curved 16 hole; offset 16 

hole; T plate, Y plate, L plate 4-10 hole; T plate offset 11-12 hole; 

grid-rectangular, trapezoid, angled, square 4 hole-12 hole
New Products for Prostheses List Report
Page 6 of 25
Billing 
Product 
Further Description
Size
CD009
Aptus Radius Locking plates
Aptus Radius Locking plates (fracture plate, correction plate volar, 
2.5mm locking plates, 1.6mm thickness, left and right

correction plate long volar, correction plate with flap volar, correction

 plate long with flap volar, frame plate volar, frame plate long volar, 

H plate dorsal
CD010
MRP- Titan Stem
Modular Revision Titanium Stem, straight and curved
200mm length  diameter 13-30, 260mm length diameter 11-21, 

320mm length diameter 11-21mm
CD011
Atlas Acetabular Cup System
Titanium & HA
Atlas Cup 40-74mm
CD012
Atlas Acetabular Cup System
Titanium & HA
Atlas Poly Insert Std. Dia 28mm
CD013
Atlas Acetabular Cup System
Titanium & HA
Atlas Screw Dia 6.5mm 15-50mm L
CD014
Coriolis
CrCo - Fixation screws, Support Ring
Fixation Screws - Dia 6.5mm/Length 15-50mm
CD015
Coriolis
CrCo - Fixation screws, Support Ring
Support Ring - 44-64
CD016
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE
Tibial - Sml/Med/Large
CD017
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE
Talar - Sml/Med/Large
CD018
Ramses Total Ankle Replacement
CrCo, Polyethylene - Tibial, Talar, Poly Insert UHMWPE
Poly Insert UHMWPE - Sml 10-16/ Med 11-17/ Large 12-18
CD019
Themis Patellar Femoral
Polyethylene, CoCr, incl Trochlear Component & Patellar
Trochlear Component - Sml/ Med/ Large
CD020
Themis Patellar Femoral
Polyethylene, CoCr, incl Trochlear Component & Patellar
Patellar - Sml/ Med/ Large
CD021
Coriolis
Polyethylene Cup
Dia Int. 22-28 -32/ Dia Ext. 40-60
CD022
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, Stems & Patellar
Tibial Base Plate 40-55
CD023
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, Stems & Patellar
Tibial Insert 40-55/10-20mm
CD024
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, Stems & Patellar
Patellar 34-38mm Dia/ 8-10mm Thickness
CD025
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, Stems & Patellar
Stems 70-140 length/ 10-14mm dia
CD026
ESOP HA
Esop Femoral Stem Metaphyseal Ti/HA
Left and Right Size 5-20
CD027
ESOP HA
ESOP Femoral Stem Diaphyseal Ti
Size 9-15
CD028
ESOP HA
Femoral Head CoCr
22.2 -32mm
CD029
ESOP HA
Femoral Head Alumina Ceramic
28mm Diameter
CD030
Behac Humeral Nail
Stainless Steel Elastic Nail
Large loop and Small Loop
CD031
Telegraph Nail
Stainless Steel Antegrade Nail
15cm length, 7-9mm Diameter
CD032
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip  / Cannulated
Auto Compressive long L10 - L34
CD033
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip
FSA 2 part 9-21/14-26
CD034
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip
Weil self tapping L9 - L15
CD035
Forefoot Snap off Screws
Titanium Alloy Screws with Snap-off Grip / Cannulated
Arthrodesis large diameter L28 - L40
CD036
Tenolig
Percutaneous Achilles Tendon Repair System
Diameter .85 mm - Length 33 cm
CD037
Telegraph Screws
Self Stabilizing Screws
24mm - 45mm
CD038
Atlas Acetabular Cup System
Titanium & HA
Atlas Alumina Insert Dia 28mmort
CD039
Academia Knee
CoCr, Titanium, Femoral, Tibial, Bearing, Stems & Patellar
Femoral Implant 40-55
CD040
FH Thira Femoral Stem
Ti & HA Femoral Stem
1-10
CD041
EUROBONE - Synthetic Bone Substitute
EUROBONE
5cc
New Products for Prostheses List Report
Page 7 of 25
Billing 
Product 
Further Description
Size
CD042
EUROBONE - Synthetic Bone Substitute
EUROBONE
10cc
CD043
EUROBONE - Synthetic Bone Substitute
EUROBONE
20cc
CD044
MRP-TITAN Neck Segment
Neck without fin with locking screw Cone 12/14, Neck with fin with 
K, M, L

locking screw Cone 12/14, Neck with trocanter with locking screw 

Cone 12/14, special implant for trocanter
CD045
MRP-TITAN Stem
Special implant for trochanter
Small and Large
CD046
Pharo
Pharo Stem, Titanium with HA
1-5mm
CD047
Pharo
Cephalic Head, CoCr
41-59mm
CD048
Pharo
Intermediate Sleeve
-5 to +10 (six sizes)
Cochlear Limited
Ear, Nose & Throat
CO041
Baha Intenso™
Head-worn Baha sound processor
One size
Plastic and Reconstructive
CO042
Vistafix™ Fixture ST
Titanium self-tapping fixtures for the retention of midface and orbital
3mm and 4mm

 prostheses.
Coloplast Pty Ltd
Urogenital
CT001
Excel Inflatable Penile Prosthesis
Two-piece inflatable penile prosthesis
Cylinder lengths 10,12,14,16,18,20,22cm & six rear-tip extenders 

(two each 1, 2 & 3cm)
CT002
Acu-form Penile Prosthesis
Malleable penile prosthesis
Dia: 9ml (14 - 23cm length), dia : 11mm (16 - 25cm length), Dia: 

13mm (18 - 27cm length)
CT003
Saline Filled Testicular Prosthesis
 Testicular Prosthesis
Extra Small, Small, Medium, Large
CT004
Soft Solid Testicular Prosthesis
Gel filled Testicular Prosthesis
Small, Medium, Large & Extra Large
CT005
Titan Inflatable Penile Prosthesis with Resist - Assembly Kit
Assembly kit for three component penile prosthesis
Standard & Narrow -base
CT006
Titan Inflatable Penile Prosthesis with Resist Coating
Three-piece inflatable Penile Prosthesis with Resist Coating
10cm, 12cm, 14cm, 16cm, 18cm, 20cm Cylinder Lengths
CT007
Genesis Penile Prosthesis
Malleable Penile Prosthesis with Resist Coating
Dia 9mm (14 - 23cm lengths), Dia: 11mm (16 - 25cm lengths), Dia: 

13mm (18 - 27cm lengths)
CT008
Titan Inflatable Penile Prosthesis with Resist - Cylinders
Cylinders for three component penile prosthesis
10, 12, 14,  16, 18, 20, 22cm
CT009
Titan Inflatable Penile Prosthesis with Resist - Cylinders & Pump 
Preconnected Cylinders & pump for three component penile 
10, 12, 14, 16, 18, 20, 22cm (in both infrapubic & scrotal models)

Preconnected
CT010
Titan Inflatable Penile Prosthesis with Resist - Lock-out Valve 
Reservoir for three component penile prosthesis
60, 75, 100ml
CT011
Titan Inflatable Penile Prosthesis with Resist - Pump
Pump for three component penile prosthesis
One Size
CT012
Titan Inflatable Penile Prosthesis with Resist - True-lock Plug
True Lock Plug for deactivation of three component penile prosthesis
One Size
ConMed Linvatec Australia Pty Ltd
Endoscopic Products
LV104
Niti-S Tracheal Stent
Tracheal Nitinol Self Expanding Metal Stent, ePTFE covered with 
16mm to 20mm diameter x 3cm to 10cm length

retrieval suture
New Products for Prostheses List Report
Page 8 of 25
Billing 
Product 
Further Description
Size
LV105
Niti-S Bronchial Stent
Bronchial Nitinol Self Expanding Metal Stent, Expanded Poly Tetra 
10mm to 14mm diameter x 3cm to 6cm length

Fluoro Ethylene (ePTFE) covered, with retrieval suture
LV106
Niti-S ComVi Biliary Stent (Fully Covered)
The Niti-S ComVi Biliary Stent (Fully Covered) is comprised of 2 
8mm to 10mm diameter x 4cm to 12cm length

Nitinol D-type stents with a layer of polytetraethylene (PTFE) 

between that fully envelopes the proximal and distal ends of the 

stent, resulting in an integrated structure designed to prevent tissue 
Orthopaedic
LV103
Matryx Interference Screw
Matryx (SR-96L/4D PLA with ß-TCP) Inteference Screw
7.3 x 20mm; 7.3 x 25mm; 7.3 x 30mm; 8 x 20mm; 8 x 25mm; 8 x 

30mm; 9 x 20mm; 9 x 25mm; 9 x 30mm
Corin  Australia Pty Ltd
Orthopaedic
CR109
Score Revision Femoral Component
Score Posterior Stabilised Revision Femoral Component
4 sizes in left and right
CR110
Score Revision Insert
Score Revision Posterior Stabilised Mobile Bearing Insert
20 sizes
CR111
Score Revision Offset Connector
Score Revision Offset Stem Adaptor
2mm, 4mm, 6mm
CR112
Score Revision Tibial/Femoral Block
Score Revision Posterior Tibial/Femoral Block
31 sizes
CR113
Extreme RevisIon Hip Distal Nail with HAP
Anatomical distal stem locking nail segment, adjustable rotation, 
4 lengths, 6 diameters

anodized titanium with HA coating
CR114
Extreme Revision Hip Epiphyseal Section
Epiphyseal segment, adjustable anteversion, collared/collarless
4 sizes
CR115
Extreme Revision Hip Metaphyseal Section
Metaphyseal segment, adjustable rotation, anodized titanium with 
4 sizes

HA coating
CR116
Extreme Revision Hip Titanium Locking Screw
Titanium locking screw
6.2mm diameter, 13 lengths in 5mm increments
CR117
Metafix Monoblock Stem
Titanium stem, fully HA Coated with polished neck
standard, lateralised and 125 degree
CR118
LARS Ligament Staple
CoCr synthetic ligament anchor
6mm, 8mm or 10mm x 20mm
CR119
Horizon Acetabular Component
Cementless, titanium, HA , acetabular component with screw holes
42 - 70 mm
CR120
Horizon Ceramic Liner
Biolox ceramic liner for acetabular component
9 sizes for 28, 32 and 36mm heads
CR121
Horizon Fixation Screw
Titanium countersunk cancellous screw
Diam 6.5mm, lenghts 16 - 55 mm
CR122
Cormet Resurfacing Head Fully Bi Coated
CoCr with Titanium plasma spray and HA
44 to 56mm
Device Technologies Australia Pty Ltd
Ophthalmic
DE276
Punctal Plug
Plug Lacrimal, Punctum
X-Small, Small, Medium, Large
DE277
Frontalis Suspension Set
Stainless steel needles with solid silicone rods and silicone tubing - 
needles 0.90mm x 6.5cm, rod 40cm - 0.80mm, sleeve 10 x 2mm

packaged sterile
DE278
BD Visitec Lacrimal Intubation Sets
Stainless steel probes with solid silicone rods or silicone tubing - 
1. Probes 0.90mm x 4.5cm, rod 40cm x 0.80mm. 2. Probes 0.40mm x 

packaged sterile
11cm, tubing 35cm x 0.64mm. Probes 0.60mm x 11mm, tubing 35cm 

x 0.30mm.
Orthopaedic
DE270
Bio PushLock
Bio Suture Anchor
2.5 - 5.5mm x 8 - 18.5mm
DE271
RetroButton
Femoral Fixation Device
12mm Button with 15-60mm loops, 15mm Button with 15-60mm 
New Products for Prostheses List Report
Page 9 of 25
Billing 
Product 
Further Description
Size
DE272
Bio-Compression Screw System
Fixation Device
20mm, 22mm, 24mm, 26mm
DE273
Trim-IT Spin Pin
Trim-IT Spin Pin Fixation
2mm x 100mm
Plastic and Reconstructive
DE274
Style 510 Dual Gel Breast Prosthesis
Anatomical textured implant with dual gel for projection of 
LX sizes from 130-575 grams, MX sizes from 145-600 grams, FX 

nipple/areola complex, concave base and tapered edges for 
sizes from 165-630 grams

minimisation of edge/thoracic wall palpability.
Vascular
DE275
DC Bead
Drug delivery embolisation system
100-300, 300-500, 500-700, 700-900 (microns)
Endocorp Pty Ltd
General/Miscellaneous
EC046
Pleurx
Pleurx Pleural Catheter Mini Kit
Catheter 24cm x 15.5Fr
Endotherapeutics Pty Ltd
Urogenital
ET053
Macroplastique
Sterile, textured, highly cross linked polydimethylsiloxane elastomer 
2.5ml Implants

implants suspended in a bio-excretable carrier gel.
Vascular
ET052
Hepasphere
Expanding microspheres designed for chemic0-embolisation with 
50 - 200 microns

chemotherapeutic agents such as Ethiodil, Cisplatin, Epirubicin, 

Mitomycin, etc.
ev3 Australia Pty Ltd
Neurosurgical
EE021
Nexus Morpheus Detachable Coil
Platinum alloy coils enlaced with absorbable polymer microfilaments 
3mm x 2,5,8cm; 4mm x 5 & 10cm; 5mm x 10 & 15cm; 6 x 12 & 20cm;

attached to a stainless steel guiding system with radiopaque 
 7mm x 15 & 21cm; 8mm x 15 & 25cm; 9mm x 18 & 28cm; 10mm x 

positioning coils.
20 & 30cm
Finsbury Orthopaedics Australia Pty Ltd
Orthopaedic
FI033
Delta modular head
Delta ceramic modular head
32mm
FI034
Delta modular head
Delta ceramic modular head
36-40-44-48mm
FI035
Delta Modular Head - sleeve
 sleeve for use with Delta Modular Head
neck  length sleeve -3.5, 0. +3.5, +7
Global Manufacturing Technology Pty Ltd
Orthopaedic
GM117
MSA Global Modular Hip System
MSA HIP Stem
0 - 6
GM118
K2 Global Modular Hip
K2 Global Modular Hip, HA coated
size 1,2,3,4,5,6,7,8,9,10,11,12
New Products for Prostheses List Report
Page 10 of 25
Billing 
Product 
Further Description
Size
GM119
Global Modular Hip - Acetabular Insert, Metal
Acetabular Insert, Metal
(Int Diameter 28 mm)-Size(mm) 44-46, 48-50; (Int Diameter 32 

mm)-Size(mm) 48-50, 52-54, 56-58, 60-62; (Int Diameter 36mm)-

Size(mm) 52-55,56-58,60-62.
GM120
Global Modular Hip System - K2
Femoral Stem Porous/ HA Coated Modular Ti, Standard and short 
Size 0to size 12

lengths
GM121
Gobal Modular Hip System - MSA
Femoral Stem Porous/ HA Coated Modular Ti, Standard and short 
Size 0 to size 12

lengths
GM122
Global Modular Hip System - K2
Femoral Stem Porous / HA Coated Modular Ti, Long Lenghts
Size 0 to 12
GM123
Global Modular Hip System - MSA
Femoral Stem Porous / HA Coated Modular Ti, long lengths
Size 0 to 12
Global Medical Solutions Australia Pty Ltd
General/Miscellaneous
GL003
InterSource
InterSource implants are hollow, hermetically sealed radiotherapeutic 
Each InterSource seed is 0.8 mm in diameter and 4.5 mm in length.

sources containing iodine-125 (0.8 mm OD x 4.5 mm long).
GL004
InterStrand
InterStrand  consists  of 10 InterSource seeds threaded onto a 
Each InterSource seed is 0.8mm in diameter and 4.5mm in length.  

monofilament absorbable suture.  The seeds are spaced 1cm  apart 
InterStrand consists of 10 interSource seeds threaded on a 

measured centre to centre
monofilament at 1cm centre to centre spaces resulting in a total length

 of approximately 11 cm
GL005
InterSource
InterSource implants are hollow, hermetically sealed radiotherapeutic 
Each InterSource seed is 0.8mm in diameter and 4.5mm in length

sources containing iodine-125 (0.8mm OD x 4.5 mm long)
GL006
InterStrand
InterStrand consists of 10 InterSource seeds threaded onto a 
Each InterSource seed is 0.8 mm in diameter and 4.5 mm in length.  

monofilament absorbable suture.  The seeds are spaced 1cm apart 
InterStrand consists of 10 InterSource seeds threaded on a 

measured centre to centre
monofilament at 1cm centre to centre spaces resulting in a total length

 of approximately 11 cm.
Global Orthopaedic Technology
Orthopaedic
GO155
RBK Universal
 RBK Universal - Tibial Base - Cemented
1 - 5
GO156
RBK Universal
RBK Universal - Tibial Base - Porous Coated
1 - 5
GO157
RBK Universal
RBK Universal - Tibial Base - Porous & HA Coated
1 -5
GO158
RBK Universal
'RBK Universal - Bolt
10mm - 20mm
GO159
RBK Universal
RBK Universal - Tibial Insert - Fixed
Size 1- 5, 10mm - 20mm
GO160
RBK Universal
RBK Universal Tibial insert - Mobile
1-5, 10mm - 20mm
GO161
Actifuse ABX Easyfill
Actifuse ABX Easyfill - A silicate substituted synthetic bone graft
2.5 ml
GO162
Actifuse ABX Easyfill Putty
Actifuse ABX Easyfill Putty - A silicate substituted synthetic bone 
5ml
GO163
Actifuse ABX Easyfill Putty
Actifuse ABX Easyfill Putty - A silicate substituted synthetic bone 
10ml
GO164
Global Cemented Hip System - Stem
Femoral stem cemented
37.5mm dia,0  ;37.5mm dia,1 ; 37.5mm dia,2 ;37.5mm dia,3 ; 37.5mm

 dia,4 ; 44mm dia,1 ;44mm dia,2 ;  44mm dia,3;  44mm dia 4.
GO165
Global Cemented Hip - Cement Restrictor
Cement Restrictor
25 x 10mm Type 1 ; 35 x 10mm Type 2 ; Universal Type 3.
GO166
Global Cemented Hip System - Distal Centraliser
Universal Distal Centraliser
universal
GO167
R120 Centralizer
distal centralizer
9.0 ,10.5, 12.0, 13.5, 15.0, 16.5mm
New Products for Prostheses List Report
Page 11 of 25
Billing 
Product 
Further Description
Size
GO168
Iso-Elastic™ Cerclage System
Iso-Elastic™ Cerclage Cable Assembly
One Size Only
GO169
RBK Total Knee System
Revision Femoral Component, CrCo, Hinged
Size 0 to 5
GO170
Resofix Anchor
Resofix anchor is a 2-shell expansion bolt made of amorphous poly 
Resofix - S Anchor - 10mm; Resofix - P Anchor - 10mm

DL-Lactide resorbablel polyester
Heraeus Kulzer Australia Pty Ltd
Neurosurgical
HK002
Osteopal V
Single mix PMMA
26 grams powder; 10ml liquid
Orthopaedic
HK003
Palamed
Single mix PMMA
40 grams
HK004
Palamed G
Single Mix PMMA with with gentamicin
40 grams
HK005
Palacos or Palamed bone cement
Single mix PMMA
40g
Insight Surgical Pty Ltd
Ophthalmic
IS008
Quatrix Aspheric Micro-Incision 2.2mm Intraocular Lens
Posterior chamber IOL, acrylic, single piece with 360 degree square 
+10 to +30

edge includign the optic haptic junction, 8 point stability, evolutive 

aspheric, packaged with disposable syringe and cartridge.
IS009
Quatrix Aspheric Preloaded Intraoular Lens
Preloaded posterior chamber IOL, acrylic, single piece with 360 
+10 to +30

degree square edge including the optic haptic junction, 8 point 

stability, evolutive aspheric, packaged in a preloaded syringe.
Johnson & Johnson Medical Pty Ltd
General/Miscellaneous
JJ602
ULTRAPRO Plug
Partially Absorbable Synthetic Surgical Mesh Device
Small- Onlay patch plug: 12cm x 7.5cm, 5cm rim diameter, 3cm 

anchor diameter; Medicum- Onlay patch plug: 12cm x 7.5cm, 5cm 

rim diameter, 4cm anchor diameter; Large- Onlay patch plug: 12cm x 

7.5cm, 5cm rim diameter, 5cm anchor diameter
Neurosurgical
JJ593
Mountaineer OCT Spinal System
CT Minipolyaxial Screw - Favoured Angle and Medial/Lateral
3.5-4.35mm x 12 - 50mm
JJ594
Mountaineer OCT Spinal System
CT Inner Set Screw
One size only
JJ595
Mountaineer OCT Spinal System
CT Hook
3.5mm - Small, Medium, Large
JJ596
Mountaineer OCT Spinal System
CT Dual Diameter Rod
3.5 - 4.75mm x 420 - 600 mm, 3.5 - 5.5mm x 420 - 600mm, 3.5 - 

6.35mm x 420 - 600mm
JJ597
Mountaineer OCT Spinal System
CT Rod
3.5mm x 60 - 200mm
JJ598
Mountaineer OCT Spinal System
Dual Rod Connector, Side by Side or End to End
3.5-3.5mm, 3.5-4.75mm, 3.5-5.5mm, 3.5-6.35mm
JJ599
Mountaineer OCT Spinal System
Transverse Connector Plate
21 - 56mm
JJ600
Mountaineer Oct Spinal System
Transverse Connector Inner Screw
One size only
JJ601
Mountaineer Oct Spinal System
Transverse Connector Outer Nut
One size only
New Products for Prostheses List Report
Page 12 of 25
Billing 
Product 
Further Description
Size
JJ603
McGuire Bone Screw
Cancellous Bone Screw
3.5mm x 8 - 60mm
JJ607
Expedium Spine System
Lateral Connector, Open or Closed
5.5-6.35mm x 20 - 500mm length
JJ608
Expedium SFX Cross Connector System
Cross Connector
5.5mm - 6.35mm rod diameter, 15mm - 100mm length
JJ609
Vertebroplasty System
Vertobroplasty System
One size only
Orthopaedic
DY508
LCD Revision Knee System
Revision Femoral Chrome Cobalt
STD - LGE+
DY509
LCS Revision Knee system
Revision Textured Tibial Tray Chrome cobalt
Size 1-7
JJ588
Femoral Intrafix
Screw and Sheath Fixation System for the Femur in ACL repairs
7mm, 8mm, 9mm and 10mm
JJ589
PFC Sigma
All Poly Tibia
Size 2 to 6
JJ590
PFC Sigma C/R All Poly Tibia
All Poly Tibia C/R
1.5 to 6
JJ604
Tri-lock Femoral Stem
Uncemented, beaded, not HA, short and standard lengths, no 
9 primary sizes, 7.5 - 22.5mm
JJ605
ASR Tri-Spike Cup
Dysplasia Cup, porous coated, CoCr, HA, with spike
44 - 70mm
JJ606
PFC Sigma
C/R Porocoat Femur
Size 2 to 6
JJ610
Global AP Shoulder
Humeral Stem
Humeral Stem 6mm, 8mm, 10mm, 12mm, 16mm
JJ611
Global AP Shoulder
Humeral Stem Long
Humeral Stem Long - 8mm, 10mm, 12mm, 14mm
JJ612
Global AP Shoulder
Porocoat Coated Humeral Stem
Porocoat Coated Humeral Stem 6mm, 8mm, 10mm, 12mm, 14mm, 

16mm
JJ613
Global AP Shoulder
Humeral Head
Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21, 48x15, 48x18, 

48x21, 52x15, 52x18, 52x21, 56x18, 56x21
JJ614
Global AP Shoulder
Humeral Head-Eccentric
Humeral Heads - 40x15, 40x18, 44x15, 44x18, 44x21, 48x15, 48x18, 

48x21, 52x15, 52x18, 52x21, 56x18, 56x21
JJ615
Global AP Shoulder
Fixed 135 Degree taper Assembly
135 Degree Angle
JJ616
Global AP Shoulder
Ball Taper Adjustable Neck Assembly
N/A
JJ618
Distal Radius Fracture Repair System
DVR-A, distal volar radius locking plate, titanium
Standard, left & right
JJ619
Distal Radius Fracture Repair System
DVR-A, distal volar radius locking plate, titanium
Narrow, wide, short, narrow-left & right
JJ620
Distal Radius Fracture Repair System
DNP, dorsal nail plate, titanium
Standard, left & right
JJ621
Distal Radius Fracture Repair System
Fragment locking plate, titanium
Right, left, straight, Y
JJ622
Distal Radius Fracture Repair System
Locking peg, threaded, partly threaded, smooth, titanium
2.5mm x 14-30mm
JJ623
Distal Radius Fracture Repair System
Bone screw, cancellous/cortical titanium
2.5mm-3.5mm x 10-28mm
JJ624
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
 3 Hole, Left & Right & 4 Hole, Left & Right
JJ625
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
6 Hole, Left & Right
JJ626
HI S3 Shoulder Fixation System
S3 Shoulder Plate, Titanium
11 Hole, Left & Right
JJ627
HI S3 Shoulder Fixation System
Peg, Standard Stainless Steel
4mm x 20mm, 25mm, 30mm, 32.5mm, 35mm, 37.5mm, 40mm, 

45mm, 47.5mm, 50mm, 52.5mm, 55mm, 57.5mm, 60mm, 62.5mm & 
JJ628
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 20mm, 25mm, 30mm, 32.5mm &35mm
JJ629
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 37.5mm
New Products for Prostheses List Report
Page 13 of 25
Billing 
Product 
Further Description
Size
JJ630
HI S3 Shoulder Fixation System
Peg, Threaded Stainless Steel
4mm x 40mm, 45, 47.5mm, 50mm, 52.5mm, 55mm, 57.5mm, 60mm, 

62.5mm, 65mm,
JJ631
HI S3 Shoulder Fixation System
Screw, Multidirectional Stainless Steel
3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38
JJ632
HI S3 Shoulder Fixation System
Screw, 90 Deg Locking Stainless Steel
3.8mm x 20, 22, 24, 26, 28, 30, 32, 34, 36 & 38
JJ633
HI S3 Shoulder Fixation System
Set Screw, 90 Deg Locking Titanium
One size
Vascular
JJ592
SMART Nitinol Stent System
Long 120mm Stent, 6F compatible
6-8mm diameter, 120mm stent length, 120cm delivery system
JJ617
SMART Nitinol Stent System
Long 150mm stent, 6F compatible
8-8mm diameter, 150mm length, 120cm delivery system
LMT Surgical Pty Ltd
General/Miscellaneous
LM071
Neurolac Nerve Guide
Bioresorbable Nerve Conduit
1mm-10mm diameter, 3cm length
Orthopaedic
LM067
Crossbone
Bone substitute wedges
6-15mm height
LM068
Normed Foot Plates and screws
Titanium plates, various sizes and shapes
Titan Open-Wedge plate: 0mm, 3mm, 4mm, 5mm, 6mm, 7mm, 8mm;

 Titan Universal plates: 10mm, 12mm, 14mm, 16mm, 18mm, 20mm, 

22mm, 24mm, 30mm
LM069
Normed Foot screws
Titanium plates, various sizes and shapes
multiple
LM070
Surgilig
Acromicoclavicular Joint Reconstruction Ligament
7-20cm length
LM072
Trimed Hook Plate
stainless steel 4 and 6 hole plates
4 and 6 holes/right and left
Mathys Orthopaedics Pty Ltd
Orthopaedic
MA476
Sleeve for Revision Head ceramys™ 80
Sleeve for revision head
L, M, S, XL
MA477
balanSys™ Uni Convex - balanSys™ UNI convex tibial plate
Convex tibial base plate for use with balanSys™ Convex 
tibial plate 1 LM cem, tibial plate 2 LM cem, tibial plate 3 LM cem, 

Unicondylar Knee
tibial plate 4 LM cem, tibial plate 5 LM cem.  tibial plate 1 RM cem, 

tibial plate 2 RM cem, tibial plate 3 RM cem, tibial plate 4 RM cem, 

tibial plate 5 RM cem.
MA478
balanSys™ Uni Convex - balanSys™ UNI convex PE inlay
Convex PE inlay for use with balanSys™ Convex Unicondylar Knee
PE inlay A/5, PE inlay A/6, PE inlay A/7, PE inlay A/9, PE inlay 

B/5, PE inlay B/6, PE inlay B/7, PE inlay B/9, PE inlay C/5, PE inlay

 C/6, PE inlay C/7, PE inlay C/9, PE inlay D/5,  PE inlay D/6, PE 

inlay D/7,  PE inlay D/9, PE inlay E/5, PE inlay E/6, PE inlay E/7, PE
MA479
Affinis Fracture - Stem
Affinis Fracture Stem
6/125, 9/125, 12/125, 12/125, 9/200, 12/200
MA480
Affinis Fracture - Head
Affinis Fracture Head
42, 45, 48
MA481
Affinis Fracture - Central Part
Affinis Fracture - Central Part
Part 1 - diam 15.5, Part 2 - diam 18
MA482
ceramys™ 80 - Hip Head ceramys™ 80
Hip head ceramys™ 80
28 L,  28 M, 28 S, 32 L, 32 M, 32 S
MA483
ceramys™ 80 - Hip Head ceramys™ 80
Hip Head ceramys™ 80
36 L, 36 M, 36 S
MA484
ceramys™ 80 - Revision  head ceramys™ 80
ceramys™ 80 - Revision  head ceramys™ 80
28 L, 28 M, 28 S, 28 XL, 32 L, 32 M, 32 S, 32 XL, 28, 32
MA485
ceramys™ 80 -Revision head ceramys™ 80
ceramys™ 80 -Revision head ceramys™ 80
36 L, 36 M, 36 S, 36 XL, 36
New Products for Prostheses List Report
Page 14 of 25
Billing 
Product 
Further Description
Size
MA486
ceramys™ - seleXys™ inlays ceramys™ 80
seleXys™ inlays ceramys™ 80
28/AA, 28/BB, 28/CC, 28/DD, 32/CC, 32DD, 32/EE, 32/FF,36/EE, 

36/FF, 36/GG, 386HH,36/II, 36/JJ, 36/KK, /36/LL
MA487
balanSys PS Total Knee - balanSys PS Femur
balanSys PS Femur
Sizes A/B/C/D/E  /left and right
MA488
balanSys PS Total Knee - balanSys fixed PS Tibial plateau
balanSys fixed PS Tibial plateau
ML/AP Dimensions: 64/70/75/80/85
MA489
balanSys PS Total Knee - balanSys fixed PS PE Inlay
balanSys fixed PS PE Inlay
Height: 8/10.5/13/15.5/18/20.5/23 - ML/AP Dimensions: 

64/70/75/80/85 - fixed bearing
Medacta Australia Pty Ltd
Orthopaedic
MU018
Medacta Endo Head
The Medacta Endo Head is a stainless steel unipolar prosthesis that 
Medacta Endo Head from 40mm diameter to 56mm diameter (40mm; 

consists in a monobloc prosthetic femoral head articulated directly 
42mm; 44mm; 46mm; 48mm; 50mm; 52mm; 54mm) and Small (-

with the patient’s acetabulum.
3.5mm), Medium (0mm) or Large Length (+3.5mm)
MU019
Versafitcup CC HC PE Liner, Flat
Highly Crosslinked Polyethylene Acetabular Liner, Flat
Ball heads - diameter 28: 48 to 64; diameter 32: 54 to 64; diameter 36:

 58 to 64
MU020
Versafitcup CC HC PE Liner, Hooded
Highly Crosslinked Polyethylene Acetabular Liner, Hooded
Ball heads - diameter 28: 48 to 64; diameter 32: 54 to 64
MU021
APRICOT Bipolar Cup
The Apricot Bipolar cup includes an outer shell made of stainless 
For ballhead diameter 28mm- 42,44,46,48,50,52,54,56 mm.  For 

steel, an inner UHMWPE bearing cup and an elastic internal ring.
ballhead diameter 22.2mm - 39,40,41,42,43,44,45,46,48,50,52mm
MU022
Versafitcup Metal Back
Stainless steel (M30NW) and Ti plasma coating (ASTM F 1580-01) 
from diameter 46mm to 64mm in 2mm increments

and HA coating (ASTM F 1185-03). Used with fixed or dual 

mobility polyethene liners.
MU023
Versafitcup Fixed Liner
Fixed polyethylene UHMWPE Liner for Versafitcup Metal Back
For head diameter  22.2mm sizes 46 - 48mm ; for head diameter 

28mm sizes 48 - 64mm
MU024
Versafitcup Dual Mobility Liner
Polyethylene (UHMWPE) Dual Mobility Liner for Versafitcup 
For head diameter 22mm sizes 46 - 64mm. For had diameter 28mm 

Metal Back.
sizes 48 - 64mm.
MU025
Quadra S
Uncemented, Grit Blasted, not HA coated stem in Ti6Al7Nb (IOS 
Standard #0 to #10 and #0 to #3 with a shorter neck.  Lateralized #1 

5832-11) with a rectangular triple tapered shape.
to #7 and #1 to #3 with a shorter neck.
MU026
Evolis cemented CR femur
Cemented cruciate retaining femoral component
1- 6, left and right
MU027
Evolis cemented CR femur TiNbN coating
Cemented cruciate retaining femoral component with TiNbN 
1 - 6, left and right

antiallergenic coating
MU028
Evolis cemented PS femur
Cemented posterior stabilised femoral component
1 - 6, left and right
MU029
Evolis cemented PS femur TiNbN coating
Cemented posteriostabilsed femoral component with TiNbN 
1 - 6, left and right

antiallergenic coating
MU030
Evolis cemented tibial tray
Stemmed cemented tibial tray
1 - 6
MU031
Evolis insert patella
Inset all-poly patella button
20, 24,28mm diam
MU032
Evolis PS Tibial Insert
Posteriorstabilised polyethylenetibial insert
1 - 6, 9/11/13/16/19mm thickness
MU033
Evolis resurfacing patella
Resurfacing all poly three pegged patella
30/33/36/39mm diameter
MU034
Evolis standard tibial insert
Cruciate retaining polyethylene tibial insert
1 - 6, 9/11/13/16/19mm thickness
MU035
Evolis tibial extension stem
Tibial tray extension stem
30/60mm length (12mm diameter)
MU036
Evolis tibial fixation screws
Tibial tray fixation screws
20/25/30/35/40/45mm (6.5mm diameter)
MU037
Evolis UC-Flex tibial insert
Ultracongruent Polyethylene tibial insert
1 - 6, 9/11/13/16/19mm thickness
MU038
Evolis uncemented CR femur
Uncemented cruciate retaining femoral component
1 - 6, left to right
New Products for Prostheses List Report
Page 15 of 25
Billing 
Product 
Further Description
Size
MU039
Evolis uncemented PS femur
Uncemented posteriorstabilised femoral component
1 - 6, left to right
MU040
Evolis uncemented tibial tray
Stemmed uncemented tibial tray
1 -6
MU041
Cinétique All Poly 3 pegged Patella
All Poly Patella with 3 pegs
3 sizes: Size#1-2; #3-4; #5-6
MU042
Cinétique All Poly Inset Patella
All Poly Inset Patella button
3 sizes: Size #1-2; #3-4; #5-6 (20/24/28mm diameter)
MU043
Cinétique Cemented Femur
Cemented femoral component
Sizes 1 to 6, Left and Right
MU044
Cinétique Cemented Femur TiNbN
Cemented femoral component with TiNbN coating
Sizes 1 to 6, Left and Right
MU045
Cinétique Cemented Mobile Metal Backed 3 pegged Patella
Cemented metalback with 3 pegs for the mobile patella
3 Sizes: Size #1-2; #3-4; #5-6
MU046
Cinétique Cemented Mobile Metal Backed 3 pegged Patella TiNbN
Cemented metalback with 3 pegs and antiallergic TiNbN coating for 
3 sizes: Size #1-2; #3-4; #5-6

the mobile patella
MU047
Cinétique Cemented Mobile Tibial Tray
Cemented tibial tray for mobile inlay
Sizes 1 to 7, Left and Right
MU048
Cinétique Cemented Mobile Tibial Tray TiNbN
Cemented tibial tray coated with TiNbN for the mobile inlay
Sizes 1 to 7, Left and Right
MU049
Cinétique Rotating Platform Insert PCR
Cinétique posterior cruciate retaining polyethylene insert
Size 1 to 6, 7/9/11/13/15mm thicknesses
MU050
Cinétique Rotating Platform UC Insert
Cinétique ultracongruent polyethylene insert for PCL deficient knee
Sizes 1 to 6, 7/9/11/13/15mm thicknesses
MU051
Cinétique Uncemented Femur HA coated
Uncemented femoral component with Hydroxyapatite coating
Sizes 1 to 6, Left and Right
MU052
Cinétique Uncemented Mobile Metal backed 3 pegged Patella
Uncemented Patella with 3 pegs and metal back
Size #1-2; #3-4; #5-6
MU053
Cinétique Uncemented Mobile Tibial Tray HA coated
Uncemented mobile tibial tray with Hydroxyapatite coating
Sizes 1 to 7, left and right
Medtel Australia Pty Ltd
Vascular
ME183
Micrus Presidio Microcoil
Sterile, single use, embolic coil used for the treatment of cerebral 
11.5-50cm (length)

aneurysms
Medtronic Australasia Pty Ltd
Cardio-thoracic
MC745
CG Future Composite Ring
Semi-rigid mitral annuloplasty ring, with anterior flexibility
24, 26, 28, 30, 32, 34, 36 & 38mm
Neurosurgical
MC740
SCS Sub Compact Lead
Octad Sub Compact Lead Kit without Percutaneous Extension 
45, 60 and 75cm

Model 3776
MC741
Indura Intrathecal Catheter
Sutureless pump connector, Silicone, Titanium and Nylon
One size only
MC742
Prime Advanced
Implantable Neurostimulator
Dimensions: 65 x 49 x 15mm
MC746
Restore Advanced INS
Implantable Neurostimulator
Dimensions: 65 x 49 x 15mm
MC749
Legacy HA Coated Screw
Hydroxyapatite coated pedicle screw
4.5mm - 8.5mm
MC750
Durepair
Dura Substitute, Collagen
1" x 1"
MC751
Durepair
Dura Substitute, Collagen
2" x 2"
MC752
Durepair
Dura Substitute, Collagen
1" x 3"
MC753
Durepair
Dura Substitute, Collagen
3" x 3"
MC754
Durepair
Dura Substitute, Collagen
4" x 5"
New Products for Prostheses List Report
Page 16 of 25
Billing 
Product 
Further Description
Size
MC759
SCS Sub Compact Lead
Ocatd Sub Compact Lead Kit with Percutaneous Extension Model 
45, 60 and 75cm
Urogenital
MC755
InterStim II Neurostimulator
Titanium
Weight 22g
MC756
InterStim iCON Patient Programmer
Hand held device Model 3037 to be used with implantable 
One size only

neurostimulation devices
MC757
Tined Lead model 3889
4 electrode tined lead - platinum, iridium
28, 33 and 41cm
Vascular
MC743
Complete SE Stent
Nitinol
20mm - 80mm
MC744
Complete SE Stent
Nitinol
100mm - 120mm
MC747
Valiant Endovascular Stent Graft
Nitinol and polyester system
24-46mm diameter, 110mm length
MC748
Valiant Endovasculat Stent Graft
Nitinol and polyester system
24-46mm diameter, 150mm length
MC758
Valiant Endovascular Stent Graft
Nitinol and polyester system
24-46mm diameter, up to 227mm length
MC760
Complete SE Stent
Nitinol
150mm
Nuvasive Australia Pty Ltd
Neurosurgical
NV018
System: SpheRX. Component: Rods - Dual/Pre Bent Ball
Rods - Dual/Pre Bent Ball
17.5 - 500mm
NV019
System:  SphRX Component: Cannulated Polyaxial Screw
Cannulated Polyaxial Screw, Fixation Bone Screws
45-7.5mm Diameter; 25-80mm Length
Orthotech Pty Ltd
Neurosurgical
OH316
Impix-C+ - Cervical Cage
Impix-C+ Pre-filled Cervical Cage
12.5mm x 14mm x 5mm, 12.5mm x 14mm x 6mm, 12.5mm x 14mm x 

7mm, 14.5mm x 16mm x5mm, 14.5mm x 16mm x 6mm, 14.5mm x 

16mm x 7mm, 14.5mm x 16mm x 8mm, 14.5mm x 16mm x 9mm
OH317
IMPIX-LR
IMPIX - lr Lumbar Ramp
8x20x0DEG, 13X20X0DEG, 14X20X0DEG, 9X20X4DEG, 

10X20X4DEG, 11X20X4DEG, 12X20X4DEG, 13X20X4DEG, 

14X20X4DEG, 10X20X8DEG, 11X20X8DEG, 12X20X8DEG, 

13X20X8DEG, 14X20X8DEG, 12X20X12DEG, 13X20X12DEG, 

14X20X12DEG, 8X25X0DEG, 9X25X0DEG, 10X25X0DEG, 

11X25X0DEG, 12X25X0DEG, 13X25X0DEG, 14X25X0DEG, 

9X25X4DEG, 10X25X4DEG, 11X25X4DEG, 12X25X4DEG, 

13X25X4DEG, 14X25X4DEG, 10X25X8DEG, 11X25X8DEG, 

12X25X8DEG, 13X25X8DEG, 14X25X8DEG, 12X25X12DEG, 

13X25X12DEG, 14X25X12DEG, 10X20X0DEG, 9X20X0DEG, 

10X20X8DEG, 11X20X0DEG, 12X20X0DEG
OH318
Java screw system
Precontoured rod
Rod length 30/40/50/60/70/80/90/100
OH319
Java screw system
Secondary sacral screw
Size 6 L 35
OH320
Java screw system
Monoaxial pedicle screw
diam 4.5 lg 35, 40, 45; diam 5 lg 35, 40,45, 50,55, 60; diam 5.5 lg 35, 

40, 45, 50, 55; diam 6 lg 35, 40, 45, 50, 55, 60; diam 6.5 lg 35, 40, 45,

 50, 55, 60; diam 7 lg 35, 40, 45, 50, 55, 60; diam 7.5 lg 35, 40, 55, 

60; diam 8 lg 35, 40, 45, 50, 55, 60
New Products for Prostheses List Report
Page 17 of 25
Billing 
Product 
Further Description
Size
OH321
Java screw system
Straight rods
Rod length 30/40/50/60/70/80/90/100
OH322
Java screw system
Transverse connector
Length 52, 62, 72, 82
OH323
Java screw system
Poly axial screw
TL pedicle screw diam 4 lg 35; diam 5 lg 35, 40, 45, 50, 55; diam 6 lg 

35, 40, 45, 50, 55; diam 7 lg 35, 40, 45, 50, 55; diam 5.5 lg 35, 40, 45,

 50, 55, 60; diam 6 lg 60; diam 6.5 lg 35, 40, 45, 50, 55, 60; diam 7 lg 

60; diam 7.5 lg 35, 40, 45, 50, 55, 60
OH324
Java screw system
Sacral fixation
Left and right
OH325
Java screw system
Java Blocker
Set screw
Orthopaedic
OH327
Randelli/SMR Total Shoulder
Randelli/SMR shoulder revision cemented stem
200, 240, 280mm
Pacing Importers Pty Ltd - Life Systems
Ear, Nose & Throat
PI007
Duet EAS Hearing System
DUET is the first hearing system worldwide to integrate cochler 
Length 53.5mm, width 8.5mm, Height 58.4mm (one size only)

implant speech processing and hearing aid technology in one 

comfortable, compact device.
PI008
PULSAR CI 100
Cochlear implant
Standard deep insertion electrode 31.5mm-2.4
Q-Med (Sweden) Australia Pty Ltd
Urogenital
QM001
Deflux
Deflux is a sterile, highly viscous gel of dextranomer microspheres 
1ml in syringe

and non-animal stabilised hyaluronic acid constituting a 

biocompatible and biodegradable implant for the treatment of 

vesicoureteral reflux.  The stabilised hyaluronic acid acts mainly as a 

carrier, leaving the dextranomer microspheres at the implant site.  

They are gradually surrounded by host connective tissue.
QM002
Deflux and Metal needle kit
Deflux is a sterile, highly viscous gel of dextranomer microspheres 
1 ml syringe and needle size 3.7FR x 23G x 350mm

and non-animal stabilised hyaluronic acid constituting a 

biocompatible and biodegradable implant for the treatment of 

vesicoureteral reflux. The stabilised hyaluronic acid acts mainly as a 

carrier, leaving the dextranomer microspheres at the implant site.  

They are gradually surrounded by host connective tissue. 3.7FR x 

23G x 350mm Metal Needle.
Scient'x Australia
Orthopaedic
SX020
TTC-screw
Polyaxial screws
Diam 3.5 - 4.0mm, lg 10-50mm
SX021
TTC-rod
Rigid Rod
Diameter:  3.5mm, Length: 10-200mm
SX022
Bioscorp
Bioresorbable corpectomy implant
Diameter: 10-12mm, Length; 30-70mm
SX023
Aladyn-Plate
Rigid Plate
Length: 38-76mm
New Products for Prostheses List Report
Page 18 of 25
Billing 
Product 
Further Description
Size
Smith & Nephew Surgical Pty Ltd
Orthopaedic
SN847
Journey
Femoral component, CoCr
Sizes 1-10, Left and Right
SN848
Journey
Tibial baseplate
Sizes 1-8, Left and Right
SN849
Birmingham Hip
Modular Resurfacing Head
38-62
SN850
Birmingham Hip
Modular Resurfacing Head Sleeve
-8mm to +16mm
SN851
Legion
Femoral Component CoCr
Sizes 1-10, Left and Right
Spectrum Surgical
Ophthalmic
SO038
Keraring
Intracorneal rings, PMMA
Arc length: 90 to 160 degrees, Thickness 0.1 to 0.35mm
SO039
Keraring
Intracorneal rings, PMMA
Arc length:210, thickness: 0.1 to 0.35mm
St. Jude Medical Australia Pty Ltd
Cardio-thoracic
SJ102
Riata ST Transvenous Tachyarrhythmia Leads 7010/7011/7012
Riata ST 7010/7011 Active-Fixation Integrated-Biopolar, Dual-Coil, 
60 - 75cm 6.3Fr, 7 Fr Introducer

Steroid-eluting, Endocardial Defibrillation Leads, 7012 - Single Coil
SJ103
Zephyr XL DR 5826 and DR 5820
Dual Chamber Rate-Responsive Pacemaker
5826 - 23.5g, 11cc and 5820 - 18g, 8.5cc
SJ104
SJM Masters Series Aortic Valved Prosthesis - VAVGJ
St Jude Medical Mechanical Heart Valve sewn into the base of a 
Annulus Diameter 19-29mm

woven polyester fibre graft which has been impregnated with bovine-

derived gelatin
SJ105
Zephyr SR 5620
Single Chamber Rate-Responsive Pacemaker
8cc, 17g
SJ106
Riata Transvenous Tachyarrhythmia Leads 1940/41/42
Riata 1940/41 Active-Fixation True-bipolar, Dual-Coil, Steroid-
60-75cm

eluting, Endocardial Defibrillation Leads, 1942 - Single Coil
SJ108
Riata i Transvenous Tachyarrhythmia Leads 1962
Riata i 1962 - Active Fixation Integrated-Bipolar, Single-Coil, 
60 - 75cm

Steroid-Eluting, Endocardial Defibrillation Leads
SJ109
Atlas II+ HF V-367
Cardiac Resynchronisation Therapy Defibrillator with V-V Timing 
41cc, 79g

Programmability
SJ110
Riata ST Transvenous Tachyarrhythmia Leads 7040/41/42 and 
Riata ST 7040/41 Passive-Fixation True-Bipolar, Dual-Coil, Steroid-
60 - 75cm, 6.3 Fr, 7 Fr Introducer

7050/51/52
eluting, Endocardial Defibrillation Leads, 7042 - Single Coil, 7050/51 

- Integrated Bipolar, Dual Coil, 7052 - Integrated Bipolar, Single Coil
SJ113
Riata i TransvenousTachyarrhythmia Leads  1950/51
Riata i 1950/51 - Passive-Fixation Integrated-Bipolar, Dual-Coil, 
60 - 75cm

Steroid-Eluting, Endocardial Defibrillation Leads
SJ114
Atlas II VR-168
Single chamber cardioverter defibrillator
38cc, 77g
SJ115
Atlas II+ DR V-268
Dual Chamber Cardioverter Defibrillator
39cc, 78g
SJ116
Regent Prosthestic Heart Valves
Standard Cuff - Model 25AGFN-751 - 29AGFN-751, Flex Cuff - 
Standard cuff - 25-29mm, Flex cuff - 25-29mm

Mode 25AGFN-756 - 29AGFN-756
Vascular
SJ107
InterGard HemaBridge
Aortic Graft
20 x 10mm - 36 x 10mm diameter, 35 x 40cm length
New Products for Prostheses List Report
Page 19 of 25
Billing 
Product 
Further Description
Size
SJ111
InterGard Knitted UltraThin
Straight
6mm x 40cm to 8mm x 70mm
SJ112
InterGuard UltraThin Knitted
Radially Supported Straight
6mm - 70cm to 8mm - 70cm
Stryker Australia Pty Ltd
General/Miscellaneous
SK461
PainPump 2
Programmable or Preset pump with bolus option and digital display 
250ml & 400ml kits

providing controlled infusion of a Local Anaesthetic directly into a 

surgical site for post-operative pain management
SR068
PainPump 2 Continuous Peripheral Nerve Block Kit & PainPump 2 
Re-programmable & refillable pumps with bolus option nd digital 
400ml kits

BlockAid Kit
display providing controlled infusion of a local anaesthetic directly 

innervating the surgical site for post-operative pain management.
SR069
Painpump 2
Programmable pump with bolus option and digital display providing 
250ml & 400ml Dual Site kits

controlled infusion of a local anaesthetic directly into dual surgical 

sites for post-operative pain management
Neurosurgical
SR066
AVS AL PEEK Spacer System
Anterior Lumbar Interbody Fusion Cage
22mm deep x 28mm wide x 10mm - 50mm height and 28mm deep x 

33mm wide x 10mm-50mm height.  Both base sizes come in 4 degree 

and 8 degree angulations
Orthopaedic
SK462
Stryker Compression Hip Screw System
Omega3 compression Hip screw
130-150 degree, 2-12 gike, 47-207 mm
SK463
Stryker Compression Hip Screw System
Omega3 Supracondylar Plate
95 hole, 6-14 hole, 111-239mm
SK464
Stryker Locking Plate System
Screw; Locking, Cancellous & Cortical
Diameter 1.2 to 2.7mm, Length 2mm to 48mm
SK465
Stryker Intermedullay Nailing System
T2 Retrograde/Antegrade/Compression Nails
7-15mmDiameter, 140 to 480mm lengths
SK466
VITOSS Foam - Compression Resistant Synthetic Cancellous Boane 
Highly porous bone graft material made from beta-tricalcium 
5cc Foam strip (25x50x4)

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK467
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
10cc Foam strip (25x100x4)

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK468
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
10cc Foam strip (25x50x8)

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK469
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
20cc Foam strip (25x100x8)

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK470
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Small Cup 52mm Diameter

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK471
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Large Cup 56mm Diameter

Void Filler
phosphate (β-TCP) and Type I bovine collagen.
SK472
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Small Cylinders Diameter 10x30mm 4.8cc/pair (2)

Void Filler.
phosphate (β-TCP) and Type I bovine collagen
SK473
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Medium Cylinders Diameter 12x30mm 6.8cc/pair (2)

Void Filler.
phosphate (β-TCP) and Type I bovine collagen.
SK474
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Large Cylinders Diameter 14x30mm 9.2cc/pair (2)

Void Filler.
phosphate (β-TCP) and Type I bovine collagen.
SK475
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
Sheet (Wide Strip) 75x100x4mm

Void Filler.
phosphate (β-TCP) and Type I bovine collagen.
New Products for Prostheses List Report
Page 20 of 25
Billing 
Product 
Further Description
Size
SK476
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
1.2cc Foam Pack

Void Filler.
phosphate (β-TCP) and Type I bovine collagen
SK477
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
2.5cc Foam Pack

Void Filler.
phosphate (β-TCP) and Type I bovine collagen
SK478
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
5cc Foam Pack

Void Filler.
phosphate (β-TCP) and Type I bovine collagen.
SK479
VITOSS Foam - Compression Resistant Synthetic Cancellous Bone 
Highly porous bone graft material made from beta-tricalcium 
10cc Foam Pack

Void Filler.
phosphate (β-TCP) and Type I bovine collagen
SK480
HydroSet Injectable Calcium Phosphate Cement
Injectable, rapid set, calcium phosphate bone substitute  kit
5cc
SK481
HydroSet injectable Calcium Phosphate Cement
Injectable, rapid set, calcium phosphate bone substitute kit
15cc
SR054
HydroSet Injectable Calcium Phosphate
Injectable, rapid set, calcium phosphate bone substitute kit
10cc
SR055
Stryker Locking Plate System
Plates including Locking, Standard & Compression
Straight, Curved, L, T, Y & 3-D
SR056
Hipstar™ TMZF® Hip Stem
Hipstar™ TMZF® Hip Stem
Size 0 through to 12
SR058
Stryker Cannulated Screw System
Asnis Micro Cannulated screw
2.0mm-3.0mm, Diameters, 8mm-40mm lengths
SR059
Stryker orthopaedic traditional resurfacing hip
Proximal epiphyseal replacement.
38 - 60mm
SR060
Scorpio Knee System – Scorpio TS LFIT Femoral Component
Scorpio TS (Total Stabilized) LFIT (Low Friction Ion Treatment) 
3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9 Right, 11 

modular femoral component – Waffle – Cemented
Left, 11 Right, 13 Left, 13 Right
SR061
HydroSet Injectable Calcium Phosphate Cement
Injectable, rapid set, calcium phosphate bone substitute kit
3cc
SR062
ABGll Modular Stem
Modular Cementless Femoral Stem
1-8 (left and right)
SR063
Scorpio Knee System – Scorpio CR LFIT Femoral Component
Scorpio CR (Cruciate Retaining) LFIT (Low Friction Ion Treatment) 
3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9 Right, 11 

femoral component – Waffle – Cemented
Left, 11 Right, 13 Left, 13 Right
SR064
Duracon stemmed revision baseplate
Duracon Non porous stemmed revision baseplate and porous coated 
Non Porus - S1, S2, M1, M2, L1, L2, XL1, XL2 60mm A/P. Porous 

stemmed revision baseplate with screw holes for screw fixation
- SIZE ZS1, ZS2, S1, S2, M1, M2, L1, L2, XL1, XL2
SR067
Anatomic X3 Liners
Anatomic X3 Liner with Capture
36mm, 40mm, 44mm, 48mm and 52mm
ST984
Scorpio Knee System - Scorpio PS LFIT Femoral Component
Scorpio PS (Posteriorly Stabilized) LFIT (Low Friction Ion 
3 Left, 3 Right, 5 Left, 5 Right, 7 Left, 7 Right, 9 Left, 9 Right, 11 

Treatment) femoral component - Waffle - Cemented
Left, 11 Right, 13 Left, 13 Right
Synthes Australia Pty Ltd
Neurosurgical
SY412
Lotus System
Cap
One size
SY414
USS Micro-Crosslink
Crosslink Clamp
One size only
SY415
USS Micro-Crosslink
Crosslink Clamp Rod
One size only
Orthopaedic
SY399
Alveolar Distractor
Vertical mandibular, maxilla alveolar ridge distractor
8-16mm
SY416
AO/ASIF Intermedullary Nails ASLS
Intermedullary Angular Stable Locking System
4-6mm, 26-125mm
SY417
Titanium Wire, Barb and Needle
Titanium wire surture and needle with titanium alloy barb fixation
One size only
Plastic and Reconstructive
SY400
External Midface Distractor System
Fixation Screws
40-50mm
SY401
External Midface Distractor System
Head Frame Assembly, Carbon Fibre Rods
One size only
New Products for Prostheses List Report
Page 21 of 25
Billing 
Product 
Further Description
Size
SY402
External Midface Distractor System
Horizontal Rod Assembly
One size only
SY403
External Midface Distractor System
Set Screw
One size only
SY404
External Midface Distractor System
Maxillary Footplate Assembly
80mm-110mm
SY405
External Midface Distractor System
Titanium Wire Fixation Screw
15-27mm
SY406
External Midface Distractor System
Titanium Zygomatic, Maxxilary Footplate
3 holes, 40mm
SY407
Midface Distractor System
Internal Titanium Distraction; Distractor Body, Anterior/Posterior 
20-40mm

Foot Plates, Machine Screws, Nut
SY408
Mandible External Fixator
Three Quarter Mandible
One size
SY409
Mandible External Fixator
Full Mandible
One size only
SY410
Mandible External Fixator
Full Mandible Ramus
One size
SY411
Mandible External Fixator
Hemi Mandible
One size
Taylor Bryant Pty Ltd
General/Miscellaneous
TB377
Durasphere FL
Composition: Pyrolitically carbon coated silica bead in an aqueous 
Syringe 1ml

gel. Injectable bulking agent for the treatment of Faecal Incontinence. 

Syringe plus needle.
TB378
Durasphere FL
Composition: Pyrolitically carbon coated silica bead in an aqueous 
Syringe 3ml

gel. Injectable bulking agent for the treatment of Faecal Incontinence. 

Syringe plus needle.
Neurosurgical
TB369
DuraSeal Xact Spinal Dural Sealant
Xact Dural Sealant for spine )Packaged in sterile single use disposable
2ml vial

 tray with MicroMyst Applicator & precurser syringes)
TB370
Signus Mobis Lumbar TLIF Cage
Peek-Optima Lumbar intervertebral TLIF cage
6, 7, 8, 9, 10, 11, 12, 13, 14, 16, 18mm heights
Orthopaedic
TB366
Pavi / Targos Femoral Stem
Fully coated  titanium plasma sprayed, HA.  The stem is alloy of 
One piece varus neck in sizes 10-16 in lengths 140 - 170mm.  One 

titanium, aluminium and vandiam. It is cementless and is available 
piece standard neck in sizes 9 -16 , lengths 140 - 170mm.

with or without a collar.
TB367
Fassier-Duval Telescopic IM System Component: Male
The Fassier-Dual Telescopic IM System is an endomedular nail 
The syste is composed fo a total of 108 rods in 9 different diameters 

designed for patients suffering from Osteogenesis Impecfecta (OI), 
per type.  The nail is manufactured in both Ti alloy (Ti6A14V 

Skeletal Displasia, Congenital Tibial Pseudoarthosis, Limb 
ASTM-136) and medical grade Stainless Steel (315L, ASTM 138).  It

lengthening over nail, Segmental Tumor removal and other bone 
 is available in five diameters: 3.2, 4,4.8,5.6 and 6.4 mm; rnaging from 

deformities.  Stainless steel remains the standard material.  The 
300 to 440 mm in length

Fassier-Dual Telescopic IM System is a device used in the fixation of

 long bone fractures.  The Fassier-Dual Telescopic IM System is a 

device made of either SS or Ti alloy.  The components are a solid 

(male) rod that has a loose sliding fit with the inner diameter (I.D) of 

the hollow (female) tube.  The components are not interchangeable 

between sizes or between materials.  The system is composed of a 

total 108 rods in 9 different diamenters per type,  two different 

materials and three different distalfixation types.
New Products for Prostheses List Report
Page 22 of 25
Billing 
Product 
Further Description
Size
TB368
Fassier-Duval Telescopic IM System Component: Female
The Fassier-Duval Telescopic IM System is an endomedular nail 
The system is composed of a total of 108 rods in 9 different 

designed for patients suffering from Osteogenesis Imperfecta (OI), 
diameters per type.  The nail is manufactured in both Ti alloy 

Skeletal Displasia, Congenital Tibial Pseudoarthrosis, Limb 
(Ti6A14V ASTM-136) and medical grade stainless steel (316L, 

lengthening over nail, Segmental Tumor removal and other bone 
ASTM 138).  It is available in five diameters: 3.2,4.4,8,5.6 and 

deformities.  Stainless Stell remains the standard material.  The 
6.4mm; ranging from 300 to 440mm in length.

Fassier -Duval Telescopic IM System is a device used in the fixation 

of long bone fracutures.  The Fassier-Duval Telescopic IM System is

 a device made of either SS or Ti alloy.  The components are a solid 

(male) rod that has a loose sliding fit with the inner diameter (I.D) of 

the hollow (female) tube.  The components are not interchangeable 

between sizes or between materials.  The syste is composed of a 

total of 108 rods in 9 different diameters per type, two different 

materials and three different distalfixation types (threaded long, 

threaded short and non-threaded)
TB371
Stability Sigmoid Notch Total DRUJ system / Stability Sigmoid 
The Stability Sigmoid Notch Radial Stem is made from implantable 
Small & Large

Notch Radial Stem
Cobalt chromium (ASTM 1537-94) with a CPTi plasma spray on 

the back for bone ongrowth.  It has a fixation post about 18mm  in 

length and has a single hole in its base to accept a single cancellous 

bone screw.  The front of the stem is highly polished and has raised 

edges to accept a UHMPE radial insert.
TB372
Stability Sigmoid Notch Total DRUJ System / Stability Sigmoid 
The Stability Sigmoid Notch Radial Insert is made of UHMW 
The Stability Sigmoid Notch radial Insert has two sizes, small and 

Notch Radial Insert
Polyethylene.  It is formed to fit onto the Stability Sigmoid Notch 
large and each size has just one thickness

Radial Plate and slides onto the plate and secures firmly via a 

peripheral lock and a ramp lock snap fit.  It has a concave surface and
TB373
Stability Sigmoid Notch Total DRUJ System / Sigmoid Notch Screw
The Sigmoid Notch Radial Screw is a low profile self tapping cortical 
The Sigmoid Notch screw is available in 22m increments from 18mm 

screw made of implantable CoCr.  It is designed to be placed bi 
- 32mm and has a diameter of approx 4mm.

cortical in the radius and is introduced into the Radial stem thru a 

hole.  It is placed into the stem and tightened down before the Radial 

insert is introduced over the top of it and therefore has a special low 

propfile head.
TB374
AutoFIX
The Sbi AutoFIX Twin Pitch Cannulated Compression Screw 
2.0mm and 2.5mm Cannulated Compression Screw

System implants are indicated in the treatment of fractures, 

nonunions, pseudarthrosis and degenerative changes, as well as 

corrective osteotomies geared towards a functionally stable 

osteosynthesis in small bones.  Available in 2.0/2.5mm Stainless Steel
TB375
StaFIX
The StaFIX Staples are retained implants and removable used 
6x6, 6x12,8x8, 8x16, 10x10, 10x20, 12x24

primarily for the following applications: Synthesis of fractures; 

Synthesis of osteotomies; Arthrodesis; Reattachment of ligaments ot 

tendons.  The aim of the StaFIX staple is to provide a effective 

fixation of the bone fragments during healing.
Urogenital
TB376
Durasphere SUI
Injectable Bulking agent for Stress Urinary Incontinence
1ml
TB379
Durasphere SUI
Injectable Bulking agent for Stress Urinary Incontinence
3ml
TiMax Surgical Pty Ltd
General/Miscellaneous
TI097
ParaFix Anchor
Tendon to bone anchor
ParaFix Anchors are available in: 3mm,5mm and 6.5mm
New Products for Prostheses List Report
Page 23 of 25
Billing 
Product 
Further Description
Size
Neurosurgical
TI096
Parallax Vertebroplasty Bone Cement
Sterile Sealed Percutaneous Vertebroplasty Bone Cement
Standard
Tornier Pty Ltd
Orthopaedic
TO029
Aequalis Fracture Shoulder HA Coated
Fracture shoulder humeral stem Cobalt Chrome, HA coated
Diam 6.5mm - 130mm and 170mm lengths, Diam 9mm - 130mm, 

180mm and 210mm lengths. Diam 12mm - 130mm, 180mm and 

210mm lengths
Trans-Pacific Healthcare Pty Ltd
Orthopaedic
TP001
TPH - Fehling Formar Cages
Trapezoid frames to replace removed discs in the region of the 
14mm x 13mm x 3/4/5/6/7mm; 16mm x 14mm x 3/4/5/6/7mm; 18mm x

cervical vertebrae. Made of PEEK Optima
 14mm x 3/4/5/6/7mm
William A Cook Australia Pty Ltd
Vascular
WC232
Zenith Renu AAA Ancillary Graft - Main Body Extension
Tubular stent-graft consisting of stainless steel Z stents covered with
Proximal diameter 22 - 36mm, Length (covered section) 43 - 62mm

 woven polyester
WC233
Zenith Branch Endovascular Graft - Iliac Bifurcation
Bifurcated branch vessel stent graft with openings to connect the 
Common iliac lengths 45 or 61mm, external iliac lengths 41 or 58mm 

common iliac, sidebranch, and external iliac segments. Made of 
and distal cuff diameters 10 or 12mm

stainless steel and nitinol z-stents and woven polyester, mounted on 

H&LB one shot delivery system
WC234
Formula 414 Rx Renal Stent System
Balloon Expandable Vasc/Biliary Stent
Rapid exchange 014/018, 80-135cm delivery system. Diameters 4-

10mm, lengths 0.8 - 4cm
WC235
Zenith Renu AAA Ancillary Graft - Converter
Tube stent-graft constructed of woven polyester sewn to self-
Proximal diameter 22-36mm, distal diameter 12mm, lengths 108-

expanding stainless steel Cook-Z stents mounted on the H&LB One-

Shot Introduction System
Zimmer Pty Ltd
Orthopaedic
ZI541
Zimmer Universal Locking System
3.5mm Universal Locking System Reconstruction Plates, Straight-
3 hole 40mm; 4 hole 53mm; 5 hole 79mm; 7 hole 92mm; 8 hole 

Sterile-Sterile & Non Sterile
105mm; 9 hole 118mm; 10 hole 131mm; 11 hole 144mm; 12 hole 

157mm
ZI542
Zimmer Universal Locking System
3.5mm Locking Dual Compression Plate Sterile and Non Sterile
4 hole 53mm; 5 hole 66; 6 hole 79mm; 7 hole 92mm; 8 hole 105mm; 9

 hole 118mm; 10 hole 131mm; 11 hole 144mm; 12 hole 157mm; 14 

hole 183mm
ZI543
Zimmer Universal Locking System
3.5mm Locking T Plate Sterile and Non-Sterile
3 hole head 5 hole shaft 73mm length; 4 hole head 6 hole shaft 85mm 

length; 3 hole head 3 hole shaft left 51mm length; 3 hole head 4 hole 

shaft left 63mm length; 3 hole head 3 hole shaft right 51mm length; 3 

hole head 4 hole shaft right 63mm length.
ZI544
Zimmer Universal Locking System
3.5mm Locking One-Third Tubular Plate - Sterile and non-sterile
5 hole 68mm; 6 hole 81mm; 7 hole 94mm; 8 hole 107mm; 10 hole 

133mm
ZI545
Zimmer Universal Locking system
3.5 mm Optional Locking Reconstructive Plate- Sterile and Non-
13 hole; 14 hole; 15 hole; 16 hole; 18 hole; 20 hole; 22 hole
New Products for Prostheses List Report
Page 24 of 25
Billing 
Product 
Further Description
Size
ZI546
Zimmer Universal Locking System
3.5mm Optional Locking dual Compression Plate - Sterile and Non-
16 hole; 20 hole

Sterile
ZI547
Zimmer Universal Locking System
3.5mm  Optical Locking-Third Tubular Plate-Sterile & Non Sterile
3 hole; 4 hole; 12 hole; 14 hole
ZI548
Zimmer Universal Locking System
2.7mm Universal Locking Screw
Length:8mm; 10mm; 12mm; 14mm; 16mm; 18mm; 20mm; 22mm; 

24mm; 26mm; 28mm; 30mm; 32mm; 34mm; 36mm; 38mm; 40mm; 

42mm; 44mm; 46mm; 48mm; 50mm; 55mm; 60mm
ZI549
Zimmer Universal Locking System
2.7mm Universal Locking System Reconstruction Plates, Straight - 
6 hole 49mm; 8 hole 65mm

Sterile & Non Sterile
ZI550
Zimmer Universal Locking System
2.7mm Locking Dual Compression Plate Sterile and Non Sterile
2 hole 26mm; 4 hole 49mm; 6 hole 72mm; 7 hole 84mm; 8 hole 

95mm; 9 hole 107mm; 10 hole 118mm; 12 hole 141mm; 16 hole 
ZI551
Zimmer Universal Locking System
2.7 mm Locking T & L Plate Sterile and Non-Sterile
2 hole head 3 hole shaft 39mm length; 2 hole head 5 hole shaft 62mm 

length; 3 hole shaft left 39mm; 3 hole shaft right 39mm; 3 hole shaft 

oblique left 42mm; 3 hole shaft oblique right 42mm; 5 hole shaft left 

62mm; 5 hole shaft right 62mm; 5 hole shaft oblique left 65mm; 5 

hole shaft oblique right 65mm
ZI552
Zimmer Universal Locking System
2.7mm Locking One-Quarter Tubular Plate-Sterile and Non-Sterile
3 hole 36mm; 4 hole 47mm; 5 hole 59mm; 6 hole 70mm;l 7 hole 

82mm; 8 hole 93mm
ZI553
M/L Taper Kinectiv Neck
M/L Taper Kinectiv Neck Implant
size K, S, A, E, P, X, B, G, R, C, J, D, K1, S1, AA, E1, P1, X1, K2, 

E2, BB, G1, R1 ,S2, P2, G2, CC, J1, X2, R2, J2, DD
ZI554
M/L Taper Hip Stem with Kinectiv Technology
M/L Taper Hip Stem with Kinectiv Technology
size 5, 6, 7.5, 9, 10, 11, 12.5, 13.5, 15,16.25,17.5
ZI555
M / L Taper Hip Stem HA with Kinectiv Technology
M / L Taper Hip Stem HA with Kinectiv Technology
size 5,  6 , 7.5, 9, 10, 11, 12.5, 13.5, 15, 16.25, 17.5
ZI556
Avenir- Muller Stem
12/14 slim neck, short taper, porous, straight stem - standard and 
Standard sizes 1-8;  Lateral sizes 1-8

lateral with HA
ZI557
Porolock MIS Hip Stem
Curved uncemented MIS Stem with TiVPS coating
 A 140° size 1-14 ; B137° size 1-14 ; B extended offset 129° size 1-

14 ; C127° size 1-14
ZI558
Natural Knee II Flex Femur
Primary Flex Femur - CR Ti/CoCr Alloy - Porous
Sizes 1 to 5 GSM Left & Right and Sizes 0 to 4 GSF Left and Right
ZI559
Natural Knee II Flex Femur
Primary Flex Femur - CR Ti/CoCr Alloy - Cemented
Sizes 1 to 5 GSM Left and Right and Sizes 0 to 4 GSF Left and Right
Grand Total:
478 Records
New Products for Prostheses List Report
Page 25 of 25
