New Products for Prostheses List
July 2008
Billing Code
Product Name
Further Description
Size
Abbott Australasia Pty Ltd
Vascular
AY029
Absolute Pro (Long Length)
Absolute Pro is a laser cut nitinol self expanding stent, used to treat 
5 - 10mm in diameter, 120 - 170mm in length

peripheral vessel disease, Absolute Pro has a supportive I-beam made 

out of stainless steel making the catheter kink resistant.
AY030
Accunet
Embolic Protection Device, including delivery system, device specific 
4.5 - 7.5; 190cm, 300cm length catheter

procedural wire, filter for capturing embolic matter and retrieval 
AY031
Xpert
Xpert is a laser cut nitinol self expanding stent, used to treat peripheral 
3 - 8mm in diameter, 20 - 80mm in length

vessel disease, Xpert is a low profile system designed for small vessels 

and is 4 french.
Advanced Medical Optics Australia Pty Ltd
Ophthalmic
AO024
Tecnis One Piece (ZCB00)
One piece intraocular lens with edge modification and 360 degree 
+6 diopters to +30 diopters in 0.5d increments

square edge
AO025
VeriFlex Foldable Phakic IOL
Anterior chamber foldable phakic silicone intraocular lens
-2  to -14.5d in 0.5d increments.  Overall diameter 8.5mm. Optic 6.0mm
AO026
Tecnis Multi-Focal Acrylic (ZMA00)
Posterior chamber lens with UV light-absorbing, foldable acrylic, 3-
+5 diopters to +34 dipters in 0.5d increments

piece with a diffractive posterior optic and a modified anterior surface 

technology with edge modification and 360 degree square edge.
Advanced Surgical Design & Manufacture Ltd
Orthopaedic
AE100
Orthoss - Bone implant material
Orthoss Chips 3-4mm Spongiosa. Bone Implant material, biological, 
(Granule Size 3-4mm)  Packs 3-7g (=approx. 8-20ccm)

animal source.
AE101
Orthoss - Bone implant material
Orthoss Micro Chips 1-2mm Spongiosa. Bone Implant material, 
(Granule Size 1-2mm) 5g (= approx. 13ccm)

biological, animal source.
AE102
Orthoss - Bone implant material
Orthoss Spongiosa Block. Bone Implant material, biological, animal 
2 x 2 x 1.3cm (approx. 3.6g)

source.
AE103
Orthoss - Bone implant material
Orthoss Spongiosa Block. Bone Implant material, biological, animal 
1 x 1x 2 approx. 1.6g

source.
Advanced Surgical Technologies
Orthopaedic
AD338
Guardian Limb Salvage System
Guardian Femoral Neck
One Size Only
AD339
Guardian Limb Salvage System
Guardian mid section male/female taper
40, 50, 60, 70, 90, 110, 140mm
New Products for Prostheses List Report
Page 1 of 36
Billing Code
Product Name
Further Description
Size
Alcon Laboratories (Aust.) Pty Ltd
Ophthalmic
AL030
ReSTOR apodized diffractive aspheric IOL, SN6AD1
UV and blue light filtering foldable single-piece apodized diffractive 
+10.0 to +30.0 dioptres

aspheric optic posterior chamber lens with +3 dioptres of add power 

for near vision
Allergan Australia Pty Limited
General/Miscellaneous
AW001
Lap-Band Adjustable Gastric Banding (LAGB) System
-
9.75, 10 and 11cm
AW002
Lap-Band Access Port
For use with the Lap-Band Adjustable Gastric Banding System
Standard, low profile
AW003
Rapid Port Tack
Implantable acetal copolymer disk assembly, rotor assembly with 
Outside diameter for the tack 30.5mm diameter by 5.6mm Height.  

three stainless steel fasteners.  The fasteners, when deployed by 
The wires extend 3mm below the bottom surface.

rotating the rotor, extend about 3mm below the undersurface of the 
Anatomics Pty Ltd
Plastic and Reconstructive
AT051
E-POR Biomaterial/ Sheet - Porous Polyethylene
Sheet - Porous Polyethylene
30mm - 50mm x 0.4mm - 3mm
AT052
E-POR Biomaterial/ Panel - Porous Polyethylene Titanium Mesh 
Panel - Porous Polyethylene Titanium Mesh Composite
0.6mm - 1.5mm thick

Composite
AT053
E-POR Biomaterial/ Midface Contour Porous Polyethylene
Midface Contour Porous Polyethylene
One size
AT054
E-POR Biomaterial/ Orbital Wall and Floor Porous Polyethylene 
Orbital Wall and Floor Porous Polyethylene Titanium Mesh Composite
small 0.6mm - 0.85mm

Titanium Mesh Composite (small)
AT055
E-POR Biomaterial/ Orbital Wall and Floor Porous Polyethylene 
Orbital Wall and Floor Porous Polyethylene Titanium Mesh Composite
Large, 1.0mm

Titanium Mesh Composite (large)
AT056
E-POR Biomaterial/ Craniotomy Gap Wedge Porous Polyethylene
Craniotomy Gap Wedge Porous Polyethylene
One Size - V and T shape
AT057
E-POR Biomaterial/ Craniotomy Gap Filler Porous Polyethylene
Craniotomy Gap Filler Porous Polyethylene
30mm x 6mm x 10mm x 0.6mm
AT058
E-POR Biomaterial/ Transsphenoidal Sellar Contourable Porous 
Transphenoidal Sellar Contourable Porous Polyethylene
2.5mm x 20mm - 40mm

Polyethylene
AT059
E-POR Biomaterial/ Mastoid, Pterional, Contourable Porous 
Mastoid, Pterional, Contourable Porous Polyethylene
Left, Right, 43mm - 57mm x 0.6mm, 1.5mm
AT061
E-POR Biomaterial/ Contour Porous Polyethylene
Contour Porous Polyethylene
One Size 56mm x 91mm
AT062
E-POR Biomaterial/ Temporal Fossa Implant Porous Polyethylene
Temporal Fossa Implant Porous Polyethylene
61mm - 105mm x 18mm - 20mm
AT063
E-POR Biomaterial/ Patient Specific Cranial Implant, Porous 
Patient Specific Cranial Implant, Porous Polyethylene
Cranial Shape - Customised

Polyethylene
AT064
E-POR Biomaterial/ Cranial Temporal, Porous Polyethylene Titanium 
Cranial Temporal, Porous Polyethylene Titanium Mesh Composite
Left, Right, 130mm x 130mm

Mesh Composite
AT067
E-POR Biomaterial/ Burr Hole Cover, Porous Polyethylene
Burr Hole Cover, Porous Polyethylene
15mm x 3mm x 5mm; 29mm x 7mm x 14mm
Applied Medical Australia Pty Ltd
Endoscopic Products
MH014
Direct Drive laparoscopic clip applier with TiGold titanium clips
Single-use, sterile 10mm laparscopic clip applier with 20 medium-
10mm shaft diameter with medium-large size clips.

large size titanium clips
New Products for Prostheses List Report
Page 2 of 36
Billing Code
Product Name
Further Description
Size
Arthrocare Australia
Orthopaedic
AF001
TwinLock Knotless Twin Anchors with Suture and Suture passer
All in one Dual/Twin implant anchors for tendon to bone healing with 
1.8mm x 14mm with a 6.1mm cortical wing span.

integrated suture and suture passer.
Austofix
Orthopaedic
AX040
VRP Distal Radius Fixation System, Volar Distal Radius Plate - Wide
Volar Distal Radius Plate - Wide
Wide, 3 and 4 hole, left and right
AX041
VRP Distal Radius Fixation System Volar Distal Radius Plate - Standard
Volar Distal Radius Plate - Standard
Standard, 3 and 4 hole, left and right
AX042
VRP Distal Radius Fixation System, 3.5mm Cortical Screw, Titanium
3.5mm Cortical Screw, Titanium
3.5mm diameter, 10mm-20mm lengths
AX043
VRP Distal Radius Fixation System, Threaded, mpm-threaded, partially
Threaded, non-threaded, partially threaded locking, non-locking screw, 
2.0, 2.5, 2.6mm diameter, 14mm-30mm lengths

 threaded locking, non-locking screw, peg, Titanium
peg, titanium
Auto Suture Company, Australia T/A Tyco Healthcare Pty Ltd
Endoscopic Products
AS137
Endo Clip III
Laparoscopic 5mm Clip Applier
5mm
General/Miscellaneous
AS138
Prevadh
Adhesion Prevention film
12x12cm, 17x12cm
AS139
Parietex Composite 9F
Dual sided polyester meshes with a resorbable adhesion-prevention 
9cm round

hydrophilic film
AS140
Parietex Composite 12F
Dual sided polyester meshes with a resorbable adhesion-prevention 
12cm round

hydrophlic film
AS141
Parietex Composite 15F
Dual sided Polyester meshes with a resorbable adhesion-prevention 
15cm round

hydrophilic film
AS142
Parietex Composite 20F
Dual sided polyester meshes with a resorbable adhesion-prevention 
20cm round

hydrophilic film
AS143
Parietex Composite 1510F
Dual sided polyester meshes with a resorbable adhesion -prevention 
15x10cm square

hydrophilic film
AS144
Parietex Composite 2015F
Dual sided polyester meshes with a resorbable adhesion-prevention 
20x15cm square

hydrophilic film
AS145
Parietex Composite 2520F
Dual sided polyester meshes with a resorbable adhesion-prevention 
25x20cm Oval

hydrophilic film
AS146
Parietex Composite 3020F
Dual sided polyester meshes with a resorbable adhesion-prevention 
30x20cm oval

hydrophilic film
AS147
Parietex Composite 3728F
Dual sided polyester meshes with a resorbable adhesion-prevention 
37x28cm oval

hydrophilic film
AS148
Parietex Composite 1510OS
Dual sided polyester meshes with a resorbable adhesion-prevention 
15x10cm square

hydrophilic film
AS149
Parietex Composite 2015OS
Dual sided polyester meshes with a resorbable adhesion-prevention 
20x15cm square

hydrophilic film
AS150
Parietex Composite 2520OS
Dual sided polyester meshes with a resorbable adhesion-prevention 
25x20cm Square

hydrophilic film
New Products for Prostheses List Report
Page 3 of 36
Billing Code
Product Name
Further Description
Size
AS151
Parietex Composite Hiatal Hernia Mesh
Composite Mesh
8x8cm, 9x8cm, 8.5x8cm
AS152
Parietene Composite 12
Dual sided polypropylene mesh with resorbable adhesion-prevention 
12cm round

hydrophilic film
AS153
Parietene Composite 1510
Dual sided polypropylene mesh with resorbable adhesion-prevention 
15x10cm Square

hydrophilic film
AS154
Parietene Composite 1515
Dual sided polypropylene mesh with resorbable adhesion-prevention 
15x15cm

hydrophilic film
AS155
Parietene Composite 2015
Dual sided polypropylene mesh with resorbable adhesion-prevention 
20x15cm Oval

hydrophilic film
AS156
Parietene Composite 2520
Dual sided polypropylene mesh with resorbable adhesion-prevention 
25x20cm Oval

hydrophilic film
AS157
Parietene Composite 3020
Dual sided polypropylene mesh with resorbable adhesion-prevention 
30x20cm Oval

hydrophilic film
B Braun Australia Pty Ltd
Neurosurgical
BB304
Aesculap CranioPlate System/ Plate Neuro, 2 hole straight
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 2 hole 11 & 16mm straight

of screws, plates
BB305
Aesculap CranioPlate System/Plate Neuro, 6 hole rectangular
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 6 hole 10 x 17 mm rectangular

of screws, plates.
BB306
Aesculap CranioPlate System/ Plate Neuro, 4 hole square
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 4 hole 10mm square

of screws, plates.
BB307
Aesculap CranioPlate System/ Plate Neuro, 4 hole straight
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 4 hole 17 & 20 mm straight

of screws, plates.
BB308
Aesculap CranioPlate System/ Plate Neuro, 6 hole double Y
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 6 hole 15 & 17mm, double Y shape

of screws, plates.
BB309
Aesculap CranioPlate System/ Plate neuro, 5 hole Y
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 5 hole 17mm, Y shape

of screws, plates
BB310
Aesculap CranioPlate System/ Plate Neuro, 8 hole rectangular
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 8 hole 10 x 24 mm rectangular

of screws, plates.
BB313
Aesculap CranioPlate System/ Plate Neuro, Burr hole cover 12 & 
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 6 hole x 16 & 20mm Burr hole cover

of screws, plates.
BB314
Aesculap CranioPlate System/ Screws Neuro Emergency, self tapping, 
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Screws Neuro, Emergency, self tapping, magazine of 8, 1.8mm x 3 & 

1.8mm x 3 & 5mm
of screws, plates.
5mm lengths
BB315
Aesculap CranioPlate System/Plate Neuro, 65 x 90mm, 0.6mm mesh
Cranial fixation system, internal fracture, non biodegradable. Consists 
Plate Neuro, 65 x 90 mm, 0.6mm Mesh

of screws, plates.
BB316
Aesculap CranioPlate System/Screws Neuro, self-drilling, 1.5 x 3, 4 & 
Cranial fixation system, internal fracture, non biodegradable.  Consists 
screws neuro, self drilling, magazine of 8, 1.5mm x 3, 4 & 5 mm 

5mm
of screws, plates.
BB317
Aesculap CranioPlate System/ Plate Neuro, 16 hole straight
Cranial fixation system, internal fracture, non biodegradable.  Consists 
Plate Neuro, 16 hole 63mm straight

of screws, plates.
Orthopaedic
BB303
Position HTO Implant System - Spongiosa Screw
Long cancellous titanium screw, large diameter, locking head to obtain 
40mm - 78mm x 6.0mm diameter

solid bone fixation.
BB311
Position HTO Implant System - HTO Plate
Titanium Osteotomy Plate, internal fixation plate used in proximal 
One size

tibial repositioning osteotomy.
New Products for Prostheses List Report
Page 4 of 36
Billing Code
Product Name
Further Description
Size
BB312
Position HTO Implant System - Spacer Block with Fixation Screw
Osteotomy Spacer Block, solid titanium. Consists of block and fixation 
5mm - 16mm

screw.
Bard Australia Pty Ltd
Vascular
BA181
PowerPort
Sterile Titanium or MRI, subcutaneous implanted port with attachable 
One size, OF Catheter

radiopaque open ended ChronoFlex polyurethane catheter, 

intermediate kit
Baxter Healthcare Pty Ltd
General/Miscellaneous
BX260
ADEPT Adhesion Reduction Solution
ADEPT Adhesion Reduction Solution is a single use, sterile fluid for 
1500ml

intraperitoneal administration. ADEPT is intended to be used as an 

instillate for the reduction of adhesions following abdominal surgery.
BX261
Tisseel Duplospray MIS Applicator 20cm
Ttwo component Fibrin Sealant containing human derived fibrinogen 
A 20cm long dual lumen metal cannula

and thrombin.
BX262
TISSEEL DUPLOCATH 180cm
Ttwo component Fibrin Sealant containing human derived fibrinogen 
A 180cm long double lumen flexible application catheter

and thormbin.
BX263
COSEAL Spray Accessory Kit
A hydrogel that acts as a sealant by adhering to itself and the tissues it 
One size available

contacts.  COSEAL is designed to completely seal suture lines along 

vascular reconstructions to prevent fluids from leaking.
BX264
TISSEEL DUPLOTIP 20g x 26.4cm
Ttwo component Fibrin Sealant containing derived fibrinogen and 
A 26.4cm long dual umen applicator

thrombin.
BX265
TISSEEL DUPLOTIP 5mm x 31.8cm
Ttwo component Fibrin Sealant containing human derived fibrinogen 
A 31.8cm long dual lumen applicator

and thormbin.
BX266
TISSEEL DUPLOSPRAY MIS APPLICATOR REPLACEMENT TIPS
Ttwo component Fibrin Sealant containing human derived fibrinogen 
Packs of 10 sterile packs each containing 2 tips and an installation tool

and thrombin.
BX267
TISSEEL DUPLOSPRAY MIS APPLICATOR 40 cm
Two component Fibrin Sealant containing human derived fibrinogen 
A 40 cm long dual lumen metal cannula

and thrombin.
BX268
TISSEEL DUPLOCATH 35cm MIC/MIS
Two component Fibrin Sealant containing human derived fibrinogen 
A 35cm long double lumen flexible application catheter

and thormbin.
BX269
TISSEEL Easyspray Set
Ttwo component Fibrin Sealant containing human derived fibrinogen 
One size

and thrombin.
BX270
COSEAL Applicator Tips 10 cm
COSEAL, which is listed on the Prostheses List, is a hydrogel that acts 
A 10cm long applicator tip

as a sealant by adhering to itself and the tissues it contacts.  COSEAL is 

designed to completely seal suture lines along vascular reconstructions 

to prevent fluids from leaking.  This applicator is a 10 cm malleable tip,

 which is attached to the COSEAL syringe (sold separately) and which 

can be manipulated to allow the surgeon to apply COSEAL to hard to 

reach anatomy.
BX271
TiSSEEL DUPLOTIP 20g x 10.4cm
Two component Fibrin Sealant containing human derived fibrinogen 
10.4cm long dual lumen applicator

and thrombin.
BX272
TISSEEL DUPLOCATH 25cm
Ttwo component Fibrin Sealant containing human derived fibrinogen 
A 25cm long double lumen flexible application catheter

and thormbin.
BX273
Floseal Endoscopic Applicator
Used as an adjunct to haemostasis when control of bleeding by ligature
A 35cm long disposable cannulated applicator.

 or conventional surgical procedures is ineffective or impractical.
New Products for Prostheses List Report
Page 5 of 36
Billing Code
Product Name
Further Description
Size
BX274
TISSEEL DUPLOTIP 20G x 5.3cm
Two component Fibrin Sealant containing human derived fibrinogen 
A 5.3 cm long dual lumen applicator.

and thrombin.
BX275
COSEAL Extended Applicator 22 cm
COSEAL, which is listed on the Prostheses List, is a hydrogel that acts 
A 22 cm long malleable applicator

as a sealant by adhering to itself and the tissues it contacts.  COSEAL is 

designed to completely seal suture lines along vascular reconstructions 

to prevent fluids from leaking.  This applicator is a 22 cm long, 

disposable and malleable, dual lumen device which is attached to the 

COSEAL syringe (sold separately) for precise delivery of COSEAL 

[Surgical Sealant] to small areas or deep surgical sites.
BX276
Floseal Curved Applicator TIP 8 cm
FLOSEAL, which is listed on the Prostheses List, is used as an adjunct 
An 8cm long curved metal applicator tip

to haemostasis when control of bleeding by ligature or conventional 

surgical procedures is ineffective or impractical.  This applicator is an 

8 cm curved metal tip, which is attached to the FLOSEAL syringe (sold

 separately) as shown, for hard to reach anatomy.
BX277
TISSEEL DUPLOSPRAY MIS APPLICATOR 30 cm
Two component Fibrin Sealant containing human derived fibrinogen 
A 30 cm long dual lumen metal cannula

and thrombin.
BX278
Floseal Curved Applicator Tip 10 cm
FLOSEAL is used as an adjunct to haemostasis when control of 
A 10cm long curved metal applicator tip

bleeding by ligature or conventional surgical procedures is ineffective 

or impractical.  This applicator is an 10 cm curved metal tip, which is 

attached to the FLOSEAL syringe (sold separately) for hard to reach 

anatomy.
Biomet Australia Pty Ltd
Orthopaedic
BI958
Vanguard Total Knee System
Femoral Component, Posterior Stabilised, Anatomic, HA, Plasma 
55-80

Porous Coated, CoCr & Ti Alloy
BI960
Regenerex revision cup
acetabular augment, Porous Ti Alloy
48 to 58mm, small medium or large version
BI961
Tibial Tray System
Tibial Tray System - Primary, one piece, highly polished, 
59-91

uncemented, HA, plasma porous coated
BI962
Vanguard Total Knee System
Femoral Component, Cruciate Retaining, Anatomic, HA, Plasma 
55 - 80

Porous Coated, CoCr & Ti alloy
BI963
Compress Compliant Prestress System
Anchor Assembly: Plug, Transverse pin, spindle, nut, cap.
10-24mm femoral canal diameter,
BI964
Compress Compliant Prestress System
Medularry Centering Sleeve
13-25mm
BI965
Compress Compliant Prestress System
Femoral Adapter
OSS or Finn Adapter
BI966
Oxford Meniscal Knee System
Femoral Component, Porous HA Coated CoCr, Ti, HA
Small - Extra Large
BI967
Oxford Meniscal Knee System
Femoral Component, Porous Coated, CoCr Ti
Small - Extra Large
Biotronik Australia Pty Ltd
Cardio-thoracic
BT098
Lumax 340 VR-T XL
ICD-VR with 40 J output, bidirectional Home Monitoring and High 
One Size Only

Longevity
Vascular
BT099
PRO-Kinetic Explorer
Balloon expandable cobalt chromium (L-605) peripheral stent - passive
Diameter:  2.0mm - 5.0mm; Length:  10mm - 40mm

 coating - 0.014" / RX
New Products for Prostheses List Report
Page 6 of 36
Billing Code
Product Name
Further Description
Size
Boston Scientific Australia Pty Ltd
Cardio-thoracic
BS128
Confient RF HE
Dual chamber, high energy implantable cardioverter defibrillator with 
44cc, 87.5g

wireless radiofrequency capability
Urogenital
BS127
Polyform Synthetic Mesh
Pre-cut synthetic Polypropylene mesh for mesh placement
10cm x 15cm
Cardinal Health
General/Miscellaneous
CI004
Pleurx
Pleurx Peritoneal Catheter Mini Kit
Catheter 71.0cm x 15.5 Fr
CI005
Pleurx
Pleurx Pleural Catheter Mini Kit
Catheter 24cm x 15.5Fr
Orthopaedic
CI003
AVAmax
Radiopaque bone cement system
11G & 13G
Carl Zeiss Pty Ltd
Ophthalmic
CZ012
Ophthalin Viscoelastic
Ophthalin; Viscoelastic Solution - sodium hyaluronate 10mg/ml.  
Volume 1.0ml

Preloaded in sterile syringe with a 27G cannula for injection
CZ013
Ophthalin Plus Viscoelastic
Ophthalin Plus; Viscoelastic Solution - sodium hyaluronate 15mg/ml.  
Volume 1.0ml

Preloaded in sterile syringe with a 27G cannula for injection
City Medical Devices Australia (trading as Energy Orthopaedics)
Orthopaedic
CD050
Peter Brehm CoCr femoral heads
CoCr femoral Ball
Diameter 28 & 32, small, medium and large
ConMed Linvatec Australia Pty Ltd
Orthopaedic
LV107
Pinn-ACL CrossPin System
Bioabsorbable, transverse femoral fixation device of soft tissue grafts 
40mm/45mm/50mm Self-Reinforcved PLLA Crosspin, 8mm/9mm 

in ACL and PCL repairs.
PLLA Graft Harness
LV108
Bio Mini-Revo Suture Anchor
Bioabsorbable Suture Anchor with Two #2 Hi-Fi Sutures
3.1mm O.D
LV109
XO Button with Continuous Loop
Titanium suspensor, fixation device for femoral fixation in ACT and 
4.5mm x 13.5mm with Continuous Loop lengths 15-60mm

PCL repairs
Corin Australia Pty Ltd
Orthopaedic
CR123
METS Smooth Trochanter
Titanium, uncoated
small and standard
CR124
METS Spiked Trochanter
Titanium, HA coated
Small and Standard
CR125
METS Trochanter plate
Titanium with plasma spray of titanium and HA
One size
New Products for Prostheses List Report
Page 7 of 36
Billing Code
Product Name
Further Description
Size
CR126
METS Trochanter Screw
Titanium
Short, Medium, Long
CR127
METS Trochanter Reattachment Wire
CoCr
0.6m
CR128
METS Total Femoral Link Component
Curved titanium link shaft
165mm, 225mm
CR129
METS Principal Shaft
Titanium shaft
45mm-150mm
CR130
METS Femoral Knee
CoCR-Molybdenum femoral component include axle, bushes and circlip
Small, Standard
CR131
METS Tibial Rotating Hinge Polyethylene
A CoCr-Molybdenum tibial component with UHMWPE Tibial bearing
stem lengths 105mm and 114mm
CR132
METS Tibial Rotating Hinge Metal Casing
UHMWPE tibial bearing with a CoCr-Mo tibial component and Ti casing
Stem lengths 140mm and 180mm
CR133
METS Tibial Fixed Hinge
CoCr-Molybdenum
Stem lengths 140mm and 180mm
CR134
METS Tibial Plateau Plate
CoCr
Small and standard in 4 thicknesses
CR135
METS CoCr Femoral Head
CoCr
28mm-32mm
CR136
METS Femoral Knee with Stem
CoCR-Molybdenum with titanium stem, including axle, circlip & bushes
Small and standard
CR137
METS Proximal Tibia Fixed Hinge
CoCr-Molybdenum proximal tibial component including bumper
Small and standard
CR138
METS Proximal Tibia Fixed Hinge Coated
CoCr-Molybdenum with HA coated patella tendon reattachment 
Small and standard

mechanism and bumper
CR139
METS stippled Integral Shaft and Stem
Titanium, HA coated, shaft and stem with round or oval collar
L=15,30mm; D=27,30mm (round); D=30x38,36x44mm (oval)
CR140
METS Stippled Collar
Titanium, HA coated, round or oval
4 sizes round, 4 sizes oval
CR141
METS Smooth Collar
Titanium, uncoated, round or oval
4 sizes round, 4 sizes oval
CR142
METS Stem
Titanium, curved and straight
6 diameters, 10-15mm
CR143
metallic femoral head
M30NW femoral head with 10/12 taper
28mm-32mm with short, medium or long neck
CR144
METS Proximal Tibia Rotating Hinge Coated
Titanium with UHMWPE bearing and HA coated patella tendon 
Small and standard

reattachment mechanism
CR145
METS Tibial Stem
Titanium
5 diameters 9-13mm
CR146
METS Tibial Collar Coated
Titanium collar with HA coating
5 diameters 20-32mm
CR147
METS Smooth Integral Shaft & Stem
Titanium, uncoated, shaft and stem with round or oval collar
L=15,30mm D=27,,30mm (round) D=30x38, 36x44 (oval)
CR148
METS Integral Shaft & Stem
Titanium shaft and stem with HA coated collar
Shaft Length 30-70mm, stem length 120mm
CR149
METS Integral Shaft & Stem Coated
HA coated titanium collar, shaft and stem
Shaft Length 15-55mm, stem length 120mm
CR150
METS Tibial Shaft
Titanium shaft
45-115mm
CR151
METS Proximal Tibia Rotating Hinge
Titanium with UHMWPE bearing
Small and standard
CR152
METS Tibial Component Rotating Hinge

Small and standard

CoCr-Molybdenum with UHMWPE bumper pad
CR153
METS Femoral Plateau Plate
Titanium
Small & Standard, 4 thicknesses
Denward Dell Pty Ltd
Cardio-thoracic
DW001
Nit-Occlud PDA Occlusion System (Flex)
Nitinol spiral coil and delivery system for transcatheter occlusion of 
Distal x Proximal Coil Diameter: 4 x 4mm, 5 x 4mm, 6 x 5mm; 

PDA
Introducer Sheath:  4F; Length Introducer: 85cm; Coil Length 

configurated +-0.5mm: 3.5
New Products for Prostheses List Report
Page 8 of 36
Billing Code
Product Name
Further Description
Size
DW002
Nit-Occlud PDA Occlusion System (Medium)
Nitinol spiral coil and delivery system for transcatheter occlusion of 
Distal x Proximal Coil Diameter: 7 x 6mm, 9 x 6mm, 11 x 6mm, 12 x 

PDA
6mm, 14 x 6mm; Introducer Sheath:  5F; Length Introducer: 85cm, 

105cm; Coil Length configurated +-0.5mm: 4.5; 5.0; 6.0
Vascular
DW003
Jet Port Plus Set - Vascular Access Port
Implantable injection / infusion port system:  port chamber with 
Port:  Diameter: 28.0mm, Height: 12.3mm; Catheter:  6.6 French, 

silicone membrane; connectable polyurethane catheter; and introducer
Length: 750mm
DW004
Jet Port Plus Low Profile Peripheral Set - Vascular Access Port
Implantable injection / infusion port system:  low profile port chamber 
Port:  Length: 24.0mm, Width: 20.5mm, Height: 10.3mm  Catheter: 6.6

with silicone membrane; connectable polyurethane catheter; and 
 French, Length: 750mm

introducer kit
DW005
Dual Port Set - Vascular Access Port
Implantable injection / infusion port system:  dual port chamber with 
Port:  Length: 53.0mm, Width:  20.0mm, Height:  13.5mm (chamber 

silicone membranes; connectable double lumen polyurethane catheter;
1), 15.5mm (chamber 2); Catheter:  Length:  500mm, internal 

 and introducer kit.
diameter double D, external diameter 3mm
Design for Vision Pty Ltd
Ophthalmic
DV231
Vision Blue
Trypan blue dye for ophthalmic applications
0.5ml syringe
DV232
HOYA-PS AF-1 (UV) PC-60AD
Preloaded in cartridge, aspheric, foldable, single-piece, hydrophobic 
+6.0D to +30.0D (0.5D steps)

acrylic
Device Technologies Australia Pty Ltd
Ophthalmic
DE279
ExPress Minature Glaucoma Shunt
Miniature Glaucoma Shunt
50 & 200 microns
Urogenital
DE280
Double Pigtail Ureteral Stent Set
Ureteral Stent
5FR, 6FR, 7FR - various lengths 22-30cm
Vascular
DE281
Relay Thoracic Stent Graft
Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE 
Diameter 22 - 46mm, Length 103 - 179mm

impregnated Suture Dual Sheath Delivery Steystem
DE282
Relay Thoracic Stent Graft
Duralloy Nitinol Surgical Graft Material Braided Polyester PFTE 
Diamter 22 - 46mm,  Length 180 - 271mm

impregnated Suture Dual Sheath Delivery Steystem
Edwards Lifesciences Pty Ltd
Vascular
EL053
Lifestent
Laser cut nitinol self expanding stent, used to treat peripheral disease
Diameter: 6-8mm, Length: 120mm
EL054
Lifestent
Laser cut nitinol self expanding stent, used to treat peripheral disease
Diameter: 6-8mm, Length: 150mm
EL055
lifestent
Laser cut nitinol self expanding stent, used to treat peripheral disease
Diameter: 6-8mm, Length:170mm
Endotherapeutics Pty Ltd
Urogenital
ET054
Memokath Prostatic - Urethral Stents
Memokath Models: 028S, 028SW, 028T, 028TW, 044T, 044TW, 045T, 
 5mm - 90mm

045TW, 045TTW
ET055
Memokath Ureteric Stent
Memokath Model 051CW.
30mm - 200mm
New Products for Prostheses List Report
Page 9 of 36
Billing Code
Product Name
Further Description
Size
ev3 Australia Pty Ltd
Vascular
EE022
Spider FX Embolic Protection Device
The Spider FX is a rapid exchange device percutaneously delivered 
Filter:  3.0 - 7.0mm; Capture Wire:  190 and 320cm

distal embolic protection device with components designed to capture 

and remove debris from vessels during interventional procedures in the

 vasculature.
EE023
Axium Detachable Coil System
Platinum alloy coils attached to a composite implant delivery pusher 
Diameter:  1.5 - 25mm; Length:  1 - 50cm

with a radiopaque positioning marker.  The proximal end of the pusher 

is loaded into the Actuator which detaches the coil.
Global Manufacturing Technology Pty Ltd
Orthopaedic
GM124
Global Acetabular System- Highly cross-linked and Annealed 
highly cross linked and annealed constrained liner
28mm, 32mm  36mm Diameter Neutral, 10 degree and 20 degree size

constrained liner
 range 44mm to 72mm
GM125
Global Acetabular System HCLA (highly Cross-Linked and Annealed) 
HCLA (highly Cross-Linked and Annealed) Acetabular Insert
68-76mm/36

Acetabular Liner
68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28

10 Degree

68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54/32

52-54mm/28

50mm/28

46-48mm/28
GM126
Global acetabular system - constrained liner
constrained polyethylene liner
Diameter 28mm, 32mm and 36mm 44mm to 72mm Neutral, 10 

degree and 20 degree
GM127
Contile Finn II, Acetabular system, insert metal
Acetabular Insert Metal
metal on metal 28mm 44mm to 50mm

metal on metal 32mm 48mm to 62mm

metal on metal 36mm 52mm to 72mm
New Products for Prostheses List Report
Page 10 of 36
Billing Code
Product Name
Further Description
Size
Global Orthopaedic Technology
Orthopaedic
GO171
Interface Acetabular System
acetabular cup, titanium alloy with CP Ti
48mm to 66mm
GO172
Interface acetabular system
Insert UHMWPE
68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54mm/32

52-54mm/28

50mm/28

46-48mm/28

10 Degree : 68-76mm/36

68-76mm/32

68-76mm/28

60-66mm/36

60-66mm/32

60-66mm/28

56-58mm/36

56-58mm/32

56-58mm/28

52-54mm/32

52-54mm/28

50mm/28

46-48mm/28
GO173
APEX K1 Hip system
APEX/K1 Femoral heads, Alumina Ceramic
28mm, 32mm and 36mm diameter size range -3.mm to +4.0mm 

inclusive
GO174
APEX K1 Hip System
APEX/K1 femoral heads, Cobalt Chrome
28mm, 32mm Diameters size range -3.5mm to +7.0mm inclusive
GO175
interface acetabular system
6.5mm cancellous bone screws
15mm to 70mm
GO176
APEX K1tm Hip System
K1 Femoral Stem - titanium plasma uncemented non-HA
Stem std and lat sizes 1 to 12
GO177
ACTIFUSE ABX Putty
Actifuse AVX Putty - A silicated substituted synthetic bone graft.
20ml
GO178
APEX K1 Hip System
APEX/K1 Femoral heads, Cobalt Chrome
36mm Diameter size range - 3.5mm to +7.0mm inclusive
GO179
APEX K1 Hip System
APEX/K1 Femoral heads, Alumina Ceramic
36mm Diameter size range - 3.mm to +4.0mm inclusive
Global Scientific Pty Ltd
Plastic and Reconstructive
GS285
Integra Artificial Skin (IDRT) Terminally Sterile
INTEGRA  Dermal Regeneration Template is a bilayer membrane 
5cm x 5cm

system for skin replacement made of a porous matrix of fibers of 

cross-linked bovine tendon collagen and glycosaminoglycan and 

polysiloxane layer.
New Products for Prostheses List Report
Page 11 of 36
Billing Code
Product Name
Further Description
Size
GS286
Integra Artificial Skin (IDRT) Terminally Sterile
INTEGRA  Dermal Regeneration Template is a bilayer membrane 
10cm x 12.5cm

system for skin replacement made of a porous matrix of fibers of 

cross-linked bovine tendon collagen and glycosaminoglycan and 

polysiloxane layer.
GS287
Integra Artificial Skin (IDRT) Terminally Sterile
INTEGRA  Dermal Regeneration Template is a bilayer membrane 
10cm x 25cm

system for skin replacement made of a porous matrix of fibers of 

cross-linked bovine tendon collagen and glycosaminoglycan and 

polysiloxane layer.
GS288
Integra Artificial Skin (IDRT) Terminally Sterile
INTEGRA  Dermal Regeneration Template is a bilayer membrane 
20cm x 25cm

system for skin replacement made of a porous matrix of fibers of 

cross-linked bovine tendon collagen and glycosaminoglycan and 

polysiloxane layer.
Henry Schein/Halas Pty Ltd
Plastic and Reconstructive
HD007
Bio-Oss Collagen
The product consists of Bio-Oss grannules, embedded in 10% porcine 
1 preformed block of cancellous-bone granulate and collagen, block 

collagen.  The collagen component is resorbed within a few weeks.  
sizes 500mg

The properties of the Bio-Oss granules remain unchanged.  The 

collagen component of Bio-Oss Collagen facilitates the handling of the 

bone substitute material.  It is used as a bone substitute material in 

implantology, maxillofacila surgery or periodontology
HD008
Bio-Oss Collagen
The product consists of Bio-Oss grannules, embedded in 10% porcine 
1 preformed block of cancellous-bone granulate and collagen, block 

collagen.  The collagen component is resorbed within a few weeks.  
size 250mg

The properties of the Bio-Oss granules remain unchanged.  The 

collagen component of Bio-Oss Collagen facilitates the handling of the 

bone substitute material.  It is used as a bone substitute material in 

implantology, maxillofacila surgery or periodontology
HD009
Bio-Oss
The material consists of anorganic bovine bone matrix sterilized by 
Cancellous Bone Block - 1cm x1cm x2cm

gamma-irradiation.  Bio-Ossis a natural bone mineral for filling of 

bone defects in maxillfacial surgery, implantology, and 

periodontology, eg. Preparation of implant sites, ridge reconstruction, 

sinus augmentation, and filling of extraction sockets.  The anorganic, 

porous structure favours the ingrowth of the host bone and therefore the

 bone regeneneration.
HD010
Bio-Gide
Bio-Gide & Bio-Gide Perio are collagen membranes containing 
30mm x 40mm

porcine collagen in a bilayer structure.  They are used for guided bone 

regeneration and peridontal tissue regeneration in oral and 

maxillofacial surgery.
HD011
Bio-Gide
Bio-Gide & Bio-Gide Perio are collagen membranes containing 
25mm x 25mm

porcine collagen in a bilayer structure.  They are used for guided bone 

regeneration and peridontal tissue regeneration in oral and 

maxillofacial surgery.
HD012
Bio-Gide
Bio-Gide & Bio-Gide Perio are collagen membranes containing 
13 x 25mm

porcine collagen in a bilayer structure.  They are used for guided bone 

regeneration and peridontal tissue regeneration in oral and 

maxillofacial surgery.
New Products for Prostheses List Report
Page 12 of 36
Billing Code
Product Name
Further Description
Size
HD013
Bio-Gide Perio
Bio-Gide & Bio-Gide Perio are collagen membranes containing 
Bio-Gide perio - 16mm x 22mm

porcine collagen in a bilayer structure.  They are used for guided bone 

regeneration and peridontal tissue regeneration in oral and 

maxillofacial surgery.
HD014
Bio-Oss
The product consists of Bio-Oss grannules, embedded in 10% porcine 
1 preformed block of cancellous-bone granulate and collagen, block 

collagen.  The collagen component is resorbed within a few weeks.  
size 100mg

The properties of the Bio-Oss granules remain unchanged.  The 

collagen component of Bio-Oss Collagen facilitates the handling of the 

bone substitute material.  It is used as a bone substitute material in 

implantology, maxillofacila surgery or periodontology
Heraeus Kulzer Australia Pty Ltd
Orthopaedic
HK006
Palacos or Palamed Bone Cement with Gentamicin
Single Mix PMMA with Gentamicin
40 grams
HK007
Palacos or Palamed Bone Cement with Gentamicin
Single Mix PMMA with Gentamicin
20 grams
Hospira Pty Limited
General/Miscellaneous
HO001
GemStar Infusion Pump
Infusion pump, general purpose
Approx. 14.0 cm H x 9.7 cm W x 5.1cm D
HO002
Crono Pump
Ambulatory infusion pump - Models:  Crono 50, Crono PCA and Crono
10-50 ml

 APO-go II
Johnson & Johnson Medical Pty Ltd
General/Miscellaneous
JJ636
Spongostan Absorbable Haemostatic Gelatin Powder
1 g Porcine Absorbable Haemostatic Gelatin Powder
1 gram
JJ640
Surgiflo Haemostatic Matrix
Absorbable Porcine Gelatin Matrix Pre-packaged in a Syringe
6ml of gelatin gel per kit.  Mixing with 2ml-5ml of saline or thrombin 

produces 8ml-11ml of haemostatic matrix.
Neurosurgical
JJ635
Expedium Spine System – Dual Rod Connector
Dual Rod Connector
4.75, 5.5 & 6.35mm
JJ638
BIOPLATE Neurosurgery Fixation System - BIOPLATE Low Profile 
Five Hole T-Plate with Screws - Titanium
1.5mm

Plate and Screw Sterile Packs
JJ642
BIOPLATE Neurosurgery Fixation System - BIOPLATE Low Profile 
Two Self Drilling Screw- Titanium
3mm - 5mm

Sterile Pack
JJ643
Dual Hole Staple - Expendium Anterior Spine System
Dual Hole Staple - Titanium
Small to Xlarge - 4 sizes
JJ644
Extra long rod - Expendium Anterior Spine System
Rod - Titanium
5.5mm x 450mm
JJ645
Monoaxial Screw - Expedium Anterior Spine System
Monoaxial Screw - Titanium
Diameters 5-7mm x Lengths 20-60mm
JJ647
Expedium Spine System - Dual Innie Set Screw
DI Set Screw
one size only
JJ648
Pre-cut rod - Expedium Anterior Spine System
Rod - Titanium
Diameter 5.5mm x lengths 45-150mm
JJ649
Washer & Single Hole Staple - Expedium Anterior Spine System
Washer and Single Hole Staple - Titanium
One size only
JJ650
Cordis Enterprise Vascular Reconstruction Device and Delivery System
Closed Cell Design Nitinol Neurovascular
4.5 mm in diameter and 4 different lengths:  14mm, 22mm, 28mm and

 37mm
New Products for Prostheses List Report
Page 13 of 36
Billing Code
Product Name
Further Description
Size
JJ652
Cross Connector - Expedium Anterior Spine System
Drop and Lock One Piece Connector-Titanium
13 to 20mm
JJ656
SI Set Screw - Expedium Anterior Spine System
Single Innie Set Screw - Titanium
one size only
Orthopaedic
JJ634
LCS Complete Knee System - MBT Revision Thick Tray
Thick Tibial Tray
1 to 6
JJ637
Global Advantage Shoulder – Cross Linked Anchor Peg Glenoid
Cross Linked Polyethylene Glenoid Implant
40 to 56 mm
JJ639
Small Bone Fixation System - Small Bone Flexible Nail
Intramedullary Nail
1.6mm and 1.1mm
JJ641
Small Bone Fixation System - Small Bone Fixation System Kit
Intramedullary Nail Fixation System Kit
1.6mm and 1.1mm
JJ651
ASR PLUS Cup - ASR Hip System
Acetabular Cup
42-70mm
JJ653
Pinnacle Hip System - Gription Cup
Acetabular implant for use with the pinnacle hip system
38 - 80mm in outer diameter
JJ654
PFC Sigma - Femoral Adaptor
Offset Adaptor
5 and 7 degree
JJ655
PFC Knee System - Universal Slotted Stem
Tibial/Femoral Stem-Titanium
Lengths 75, 115, 150mm; widths 10 to 24mm
JJ657
Single Hole Staple - Expedium Anterior Spine System
Single Hole Staple - Titanium
One Size Only
JJ658
LCS Complete Knee System APG Tibial Insert
Tibial Insert, Mobile, UHMWPE, used with APG guide arm only
Sizes small to large+
JJ659
LCS Complete Knee System APG arm
APG arm for use with APG mobile tibial insert only
Sizes small to large+
JJ660
Preservation Knee System Uni Tibial Insert
Uni Tibial Insert, Fixed Bearing, UHMWPE
Sizes 1-5. 7-15mm
JJ661
Preservation Knee System Uni Tibial Insert
Uni Tibial Insert, Mobile Bearing, UHMWPE
Sizes 1-5. 7-15mm
JJ662
PFC Sigma Knee System Tibial Baseplate
Tibial baseplate, cemented, keeled, titanium, with capacity for stem 
Size 1-6

attachment
JJ663
PFC Sigma Knee System Tibial Baseplate
Tibial baseplate, cemented, cruciform keeled, titanium
Size 1-6
JJ664
PFC Sigma Knee System TC3 Tibial Insert
Tibial insert, totally constrained, UHMWPE, with post
Sizes 1-6.  8-30mm
JJ665
PFC Sigma Knee System Tibial Insert
Tibial insert, posterior stabilised, UHMWPE, with post
Sizes 1-6.  8-30mm
JJ666
AMK Tibial Insert
Tibial insert UHMWPE, minimally stabilised (with separate locking 
Size 1-5

post)
JJ667
AMK Tibial Insert
Tibial insert UHMWPE, minimally stabilised
Size 1-5
JJ668
LCS Patellofemoral Joint Prosthesis (patellar component
Metal backed, CoCr, rotating, uncemented, patella
Sizes small to large+
JJ669
LCS Patellofemoral Joint Prosthesis (patellar component
Metal backed, CoCr, rotating, cemented, patella
Sizes small to large+
Vascular
JJ646
Precise Pro Rx Nitinol Stent System
Nitinol self expanding stent
Diameter:  5, 6, 7, 8, 9, 10mm;  Length:  20, 30, 40mm
Lifehealthcare Pty Ltd
General/Miscellaneous
LH003
Adjustable Peri Gastric Belt-Midband
Silicon moulded peri gastric band and implantable chamber
Peri gastric band - 2.2 x 17.5 x 0.8cm, Implantable chamber - one size 

only
Neurosurgical
LH001
Oxiplex Absorbable Adhesion Barrier Gel
Oxiplex Absorbable Adhesion Barrier gel (Oxiplex is a co-polymer gel
3ml in sterile 3ml syringe

 composed of carboxymethylcellulose and polyethylene.)
New Products for Prostheses List Report
Page 14 of 36
Billing Code
Product Name
Further Description
Size
LH002
OsteoFlap Fixation Device
The product is a cranial fixation system comprised of a clamping 
11mm, 17mm and 22mm

device which has a threaded post attached to an inferior disk and 

superior disk that threads down the post to secure a sandwich fit of the 

Crnial flap and cranium between the inferior disk and the superior disk. 

 Desired fit is achieved by threading the superior disk down the 

threaded post and against the cranial bone by the surgeon using the 

tightening tool.  The clamps are available in 3 sizees.  The implantable 

components are made from titanium alloy (ASTM-F-136) the device is

 magnetic resonance compatible
Vascular
LH004
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane Vascular Access Graft
Length 40cm
LH005
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane Vascular Access graft
Length 50cm
LH006
Thoratec, Vectra Vascular Graft - Synthetic
Vectra, Biocompatible Polyurethane Vascular Access Graft
Length 20cm
LMA PacMed Pty Ltd
Orthopaedic
PM118
Orthofix eight-Plate
Guided Growth Plate for correction of angular deformities, Titanium, 
12mm; 16mm

two hole plate, figure eight shaped
LMT Surgical Pty Ltd
General/Miscellaneous
LM080
Ascencion Neurolac
A bioresorbable tension-less Nerve repair guide
1.5mm x 3cm to 10.0mm x 3cm
Neurosurgical
LM084
Polyganics Flexiglide
A bioresorbable co polyester sheet.  The product is designed to 
2cm x 3cm to 13cm x 20cm

maintain its integrity to support soft tissue
Orthopaedic
LM073
ITS Nail Concept
Nailing System
2.0mm diam 285mm to 420mm length, 9.0mm diam 285mm to 

420mm length
LM074
Elix (plate)
Anatomically shaped plate with PEEK inserts
4 Hole, right and left plate.
LM075
Surgicraft Titanium and Stainless Steel Bone Screws
Titanium and Stainless Steel Bone Screws
3.5 x 20-40mm
LM076
Ascension Pyrosphere
Pyrocarbon Implant
10-50
LM077
Memometal MemoClip
Heat Activated Compression Staple
10 mm to 25 mm
LM078
Ascencion HRA - Humeral Resurfacing Arthroplasty
A anatomic semi constrained, monobody device intended for 
40mm x 16mm to 56mm x21mm

resurfacing of the humeral head.
LM079
ITS Titanium and Stainless steel Bone Screws
Cancellous Bone Screws
6.5mm x 25mm to 120mm; 7.3mm x 50mm to 120mm; 4.0mm x 

45mm to 60mm.
LM081
Surgicraft Washers
Titanium or stainless steel washers
4.2mm/7-9mm outer diamter/1.1.5mm thick.
LM082
Fixos Screws
Bone Fixation Screws
2mm diam. X11mm lenth to 2mm x 16mm
LM083
Memometal Ivory Trapezo - metacarpal cement less prosthesis
A cement less Trapezo- Metacarpal prosthesis.
Cup sizes 9-11 mm, Head Short medium and long, Stem size 1,2,3,4.
New Products for Prostheses List Report
Page 15 of 36
Billing Code
Product Name
Further Description
Size
LM085
ABC Prosthetic Ligament
Cruciate prosthesis carbon fibre/polyester, ABC Carbon/Polyester 
12.5cm - 18.5cm; ABC Carbon Polyester & ABC Polyester/Polyester 

Medial/Lateral Collateral Ligament, ABC Polyester/ Polyester 
- one size only

Medial/Lateral Collateral Ligament
LM086
Surgicraft
Fixation Bollard
One size only
LM087
ITS Periarrticular variable angle Fixation Plates.
Periarticular plates for fixation.
2.5mm to 5.8mm
LSS Surgical Pty Limited
Neurosurgical
LS013
DIVA Cervical PEEK Cage System
Cervical Cage PEEK
Standard Cervical PEEK Cage Sizes 4 to 8. Small Cervical PEEK Cage 

Sizes 4 to 7
LS014
SOCORE Spinal Spinal - Hooks, Pedicle/Laminar
Hooks, Pedicle/Laminar
Standard, Medium and Offset
LS015
SOCORE Spinal System - Pedicle Screws
Pedicle Screw- Polyaxial. Pedicle Screw - Reduction
Diameter 4mm 25mm to 40mm Length. Diameter 5mm 30mm to 

50mm Length. Diameter 6mm 30mm to 55mm length. Diameter 

7mm 30mm to 50mm Length. Diameter 8mm 40mm
LS016
SOCORE Spinal System - Crosslink
Crosslink
45mm, 55mm, 65mm
LS017
MATRIS Cervical Plate system
Cervical Plate
20mm to 80mm
LS018
MATRIS Cervical Plate System
Cervical Screws
4mm 10mm to 24mm
LS019
MATRIS Cervical Plate System
Cervical Screws
4.5mm 12mm to 22mm
LS020
SOCORE Spinal System- Locking Screw
Locking Screw
Standard & Mini
LS021
SOCORE Spinal System - Monoaxial
Pedicle Screw - Monoaxial
Diameter 45mm 25mm to 40mm Length. Diameter 5mm 30mm to 

50mm Length. Diameter 6mm 30mm to 55mm Length. Diameter 

7mm 30mm to 50mm Length. Diameter 8mm 40mm
LS022
SOCORE Spinal System - Standard and Pre-Bent Rod
Standard and Pre-Bent Rod
Diameter 5.5mm 40mm to 500mm Length.
LS023
DIVA PEEK Lumbar Cage
PEEK Lumbar Cage Posterior & Anterior
Posterior Cages 0, 4 & 8 degrees Length 20mm & 25mm T8 to T14. 

Anterior Cages 4 & 8 degrees T9 to T16
Medacta Australia Pty Ltd
Orthopaedic
MU054
ROMAX Resurfacing Femoral Head
Cemented resurfacing femoral head
From diameter 38-60mm, every 2mm
MU055
ROMAX Acetabular Cup
Cementless Acetabular Cup, HA coated
From diameter 44-66mm, every 2mm
MU056
ROMAX Resurfacing System  - Large Femoral Head Adaptor
Adaptor necessary to combine the ROMAX large femoral head with a 
Adaptor 12/14: size S, size M, size L and size XL

MEDACTA hip stem
MU057
ROMAX Resurfacing System - Large Femoral Head
Large femoral head for metal-metal articulation
From diameter 38mm to diameter 60mm, every 2mm
MU058
Quadra-R Hip Revision Stem
Uncemented revision stem, HA Coated
From size 0 to size 9`
MU059
GMK Posterior Stabilised fixed tibial insert
Posterior Stabilised fixed polyethylene insert
size 1 to 6, 10/12/14/17/20mm thickness
MU060
Unicompartmental femoral component
cemented unicompartmental femoral component
1 to 4
MU061
GMK  Inset Patella
Inset cemented polyethylene patella
sizes 1-2; 3-4; 5-6 (20/24/28mm diameter)
MU062
GMK Unicompartmental fixed tibia insert
cemented unicompartmental polyethylene fixed tibial insert
1 to 5, left and right, 8/9/10/11/12/14mm thiknesses
MU063
GMK cemented standard femur
cemented standard femoral component
sizes 1to 6, left to right
MU064
GMK posterior stabilised cemented femur
cemented posterior stabilised femoral component
sizes 1 to 6, left to right
New Products for Prostheses List Report
Page 16 of 36
Billing Code
Product Name
Further Description
Size
MU065
GMK Unicompartmental fixed tibial baseplate
cemented unicompartmental fixed tibial component with peg and 
1 to 5, left and right

fixation keel
MU066
GMK Uncemented Standard Femur
Uncemented standard femoral component with titanium porous 
1 to 6, left and right

covered by an hydroxyapatite coating
MU067
GMK Uncemented Fixed Tibia Tray
Asymmetric uncemented fixed tibial component
1 to 6, left and right
MU068
GMK Standard mobile tibial insert
posterior cruciate retaining mobile polyethylene insert
size 1 to 6, 10/12/14/17/20mm thickness
MU069
GMK Tibial Extension Stem
Tibial Baseplate extension stem
diameter 11mm, length 65mm
MU070
GMK Unicompartmental Full - PE Tibia Component
cemented unicompartmental all polyethylene fixed component
1 to 5, left and right, 8/9/10/11/12/14mm  thicknesses
MU071
GMK Standard Fixed Tibial Insert
Posterior cruciate retaining fixed polyethylene insert
size 1 to 6, 10/12/14/17/20mm thickness
MU072
GMK Resurfacing Patella
resurfacing three pegged cemented polyethylene patella
size 1- 2, 3-4, 5-6
MU073
GMK Ultracongruent Mobile Tibial Insert
Ultracongruent Mobile Polyethylene  Insert
size 1 to 6, 10/12/14/17/20mm thickness
MU074
GMK ultracongruent Fixed tibial Insert
Ultracongruent fixed polyethylene insert
1 to 6, 10/12/14/17/20mm thickness
MU075
GMK Cemented fixed Tibia Tray
Asymmetric polished cemented fixed tibial component
1 to 6, left to right
MU076
GMK Uncemented mobile Tibia Tray
Asymmetric uncemented mobile tibia with titanium porous coating by 
1 to 6, left and right

an hydroxyapatite coating
MU077
GMK Mobile Cemented Tibia Tray
Asymmetric mobile cemented tibial component
1 to 6, left to right
MU078
GMK Uncemented Posterior stabilised femur
uncemented posterior stabilised femoral component with titanium 
1 to 6, left to right

porus coating covered by an hydroxyapatite coating
Medical Device Alliance Pty Ltd
Plastic and Reconstructive
MP052
Silimed Tissue Expander
various shapes, textured, magnetic port
150ml-1000ml
MP053
Silimed Tissue Expander
Various shapes, smooth, ,magnetic port
150ml-1000ml
MP054
Silimed Tissue Expander
Anatomical superior-pole/inferior-pole shape, textured, magnetic
200ml-840ml
MP055
Silimed Tissue Expander
Various shapes, smooth, textured, remote port
12ml - 1000 ml
Medical Specialties  Australia Pty Ltd
Urogenital
MS051
TiLoop
Tension-free pelvic floor titanised tape for pelvic floor reconstruction.  
tape, fix, two, four

Composition: Prosthetic warp-knitted fabric made of monofil 

polypropylene threads with an encapsulating titanic coating
Medical Vision Australia Pty Ltd
Plastic and Reconstructive
MF020
Enophthalmos Wedge
Regular left and right. Large left and right. (Models 9541 - 9544)
Regular: 22 x 31 x 7mm. Large: 28 x 40 x 7.5mm
MF021
Orbital Rim
Orbital rims, left and right extended. Models 9539, 9540 Orbital Rim 
Left & right extended models 47 x 40mm Oribtal Rim Onlay Implants 

Onlay Implants 81001, 81002
left & right 40 x 40mm
MF022
Complete Orbital Shape
Porus Polyethylene. Complete and 2 / 3 orbit shapes. Inferior 2 / 3 left 
Inferior: 83 x 78mm

and right. Models 9567, 9568
New Products for Prostheses List Report
Page 17 of 36
Billing Code
Product Name
Further Description
Size
MF023
Chins
Extended chin implants: Round RZ (Models 8313 - 8315) and extended 
Extended chin Implants design RZ round small: 45 x 47 x 3mm, 

square RZ (Models 8316, 8318). Two piece chin design (Models 8320 - 
medium 45 x 47 x 5mm, large 45 x 47 x 7mm; Extneded Chin Implants

8322). Single piece chin design, contoured (Models 7520 - 7522). 
 square small 45 x 47 x3mm; Medium 45 x 47 x 5mm; Large 45 x 47 x 

Additional chin shapes (Models 6341 - 6344) Contoured two piece 
7mm; Two piece design small 46 x 33 x 5mm; Medium 56 x 36 x 

86000 - 86003, Button Chins 86010 - 86012
7mm; Large 57 x 38 x 9mm, Single piece design small 65 x 37 x 5mm;

 Medium 65 x 37 x 7mm, Large 65 x 37 x 10mm, Additional Chin 

Designs round 53mm length x 13mm projection, 74mm Length x 

10mm projection, 50mm Length x 7mm projection, 40mm length x 

4mm projection, contoured two piece design extra small 72 x 42 x 

3mm, small 74 x 42 x 5mm, medium 78 x 50 x 7mm, Large 80 x 55 

x9mm, Button Chins Small 40 x 25 4mm, Medium, Large.
MF024
Genioplasty Wedge
Porus Polyethylene. Genioplasty wedges, models 8340 - 8343
Small 60 x 25 x 5mm, medium 60 x 25 x 7.5mm, large 60 x 25 x 
MF025
Prejowl Shape
Porus Polyethylene. Model 8319
45 x 41 x 4mm
MF026
Malar Shape
Porus Polyethylene. Design RZ malar shapes, super petite and petite, 
Design RZ malar shapes: super petite left and right 50 x 19 x 3mm, 

left and right (Models 9501 - 9504). Design M malar shapes, left and 
Design RZ malar shapes petite left and right 50 x 19 x 5mm. Design 

right (Models 9507 - 9512). Additional malar shapes, extended 
malar shapes: small left and right  64 x 19 x 3mm, left and right 

contoured left and right (Models 9513 - 9518) Contoured 6313, 6318
medium 64 x 19 x 4.5mm, Left and right large 64 x 19 x 7mm.  

Additional malar shapes small left and right: 45 x 24 x 3mm, medium 

left and right:  50 x 26 x 4mm, large left and right: 55 x 27 x 5mm 

Contoured left & right 38 x 27 x 4mm
MF027
Nasal Shape or Rhinoplasty Shape
Porus Polyethylene. Nasal Arch shapes, nasal arch and nasal sheet 
Nasal arch shapes: small 70 x 13 x 2mm, medium 70 x 15 x 2mm, 

(Models 9533 - 9536). Nasal dorsum shapes, design A and design B 
large 70 x 15 x 2mm, sheet 40 x 9 x 1.1mm. Nasal dorsum shapes: 

(Models 7516 - 7518). Nasal valve support, lateral nasal valve support 
design A small 53 x 5mm, design A large 66 x 8mm, design B 67 x 

and ext.
6.5mm. Nasal valve support: lateral nasal valve 13 x 0.85 x 3.5mm
MF028
Micro Thin Sheet
Model/s 8438, 83020, 83022, 83029
8438: 30 x 50 x 0.4mm,  83020: 38 x 50 x 0.25mm, 83022: 38 x 50 x 

0.35mm, 83029: 38 x 50 x 0.45mm
MF029
Ultra Thin Sheet
Porus Polyethylene. Models 7210
38 x 50 x 0.85mm
MF030
Sheet
Porus Polyethylene. Models 6330, 6331, 8662, 9562. Micro single 
Sheets 6330: 38 x 50 x 1.5mm, 6331: 50 x 76 x 1.5mm, 8662: 76 x 127 

channel sheet, model 9528. Barrier microplate single channel sheet, 
x 1.5mm, 9862: 38 x 50 x 3mm. Microplate single channel Sheet 9528: 

model 9527 Medpor Titan Implant Sheets Plain, Barrier & Double 
38 x 50 x 0.85mm. Barrier microplate single channel Sheet 9527: 38 x 

Barrier, and Medpor Titan Orbital floor and wall sheets 81020 - 81033
50 x 0.85mm. Titan implant sheets 81020: 76 x 50 x 0.85, 81021: 38 x 

50 x 0.85, 81022: 38 x 50 x 1.5mm, 81023: 76 x 50 x 1.5mm, 81024: 38 

x 50 x 0.6mm, 81025: 76 x 50 x 0.6mm, 81026: 38 x 50 x 1mm, 81027: 

76 x 50 x 1mm, 81028: 38 x 50 x 1.6mm, 81029: 76 x 50 x 1.6mm, 

81030: 41 x 42 x 0.85mm, 81031 (left): 41 x 42 x 1.0mm, 81032 (right):

 41 x 42 x 1.0mm, 81033: 41 x 42 x 0.6mm
MF031
Barrier Sheet: Barrier Sheet - Orbital Floor
Porus Polyethylene. Barrier  sheet - Rectangle, models 8312 and 9312.
 Barrier  sheet - Rectangle: 50 x 76  x 1mm, 50 x 76 x 1.6mm: 50 x 76 

 Orbital floor implants, models 8305 and 9305
x 1mm, 50 x 76 x 1.6mm.  Orbital Floor: 38 x 50 x 1mm, 38 x 50 x 

1.6mm
MF032
Block
Models 6332 - 6340 & 6359
6332: 13 x 38 x 3mm, 6333: 13 x 38 x 6mm, 6334: 13 x 38 x 9.5mm, 

6335: 25 x  50 x 3 mm, 6336: 25 x 50 x 6mm, 6337: 25 x 50 x 9.5mm, 

6338: 38 x 63 x 3mm, 6339: 38 x 63 x 6mm, 6340: 38 x 63 x 9.5mm 

6359: 150 x 201mm
MF033
Flexblock TF2
Flexblock TF2 implant, left and right, models 9857 - 9860, 9861 - 9862
Flexblock TF2: small left & right 61 x 78 x 18mm, Medium left & right 

74 x 93 x 20mm, large left & right 82 x 105 x 20mm
New Products for Prostheses List Report
Page 18 of 36
Billing Code
Product Name
Further Description
Size
MF034
Sphere
Orbital Sphere Models 6316, 6326, 6327, 6317 and 6322 8702-8704. 
Orbital Sphere Models 6316: 14mm, 6326: 16mm, 6327: 18mm, 6317: 

COI implant, models 7222, 7223 & 80026. MCOI implant, models 7207
20mm, 6322: 22mm, 8702: 19mm, 8703: 21mm, 8704: 23mm, COI 

 - 7209 Quad Motility Implants 9866 - 9868 & 80022
Implants 7222: Approx 4ml, 7223: Approx 5ml, 80026: Approx 6ml, 

MCOI 7207: Approx 3ml, 7208: Approx 4.2ml,  7209: Approx 5.6ml, 

QUAD Motility Small 16ml, Medium: 18ml, Large: 20ml, Extra Large:

 22ml.
MF035
Ear Reconstruction
Porus Polyethylene. Helical rim, models 8328 and 8329
Helical rim: 37 x 62mm
MF036
Complete Orbital Shape
Complete left and right.  Models 9569, 9570
Complete 61 x 76mm
MF037
Mandibular angle
Porus Polyethylene. RZ mandibular angles left and right (Models 9955 
RZ mandibular angles: 65 x 35 x 3 x 6.5 x 3 x 3mm, 65 x 35 x 7 x 6.5 x 

- 9960); Porus Polyethylene. Contoured mandibular angles left and 
3 x 3mm, 65 x 35 x 11 x 6.5 x 3 x 3mm. Contoured mandibular angles 

right (Models 88037 - 88038)
left and right:59 x 29 x 7 x 11mm.
MF038
Nasal Shape. Petite Nasal Dorsum.
Porus Polyethylene. Petite Nasal Dorsum ( Models 84000 - 84004).
Petite Nasal Dorsum: 4 x 4 x 45mm, 4 x 4 x 55mm, 5 x 5 x 45mm, 5 x 

5 x 55mm, 6 x 9 x 55mm.
MF039
Nasal Valve Support.
Lateral Nasal Valve, Model 7545. External Nasal Valve Batten, Model 
Lateral Nasal Valve:13 x 3.5 x 0.85mm, External Nasal Valve Batten: 

7546. External Nasal Valve Batten - Thin, Model 7167
25 x 11 x 0.85mm, External Nasal Valve Batten - Thin: 24 x 11.5 x 

0.6mm.
MF040
Nasal Sheet (Strut).
Nasal Sheet (Strut). Model 9536
Nasal Sheet (Strut): 40 x 9 x 1.1mm
MF041
Nasal Shell Shapes.
Nasal Shell Shapes, Regular and Large with Inserts Small and Large 
Regular: 38 x 21 x 17mm, Insert Small 30 x 4 x 9mm, Insert Large 38 

(included). Models 9553 - 9554. Thin Nasal Shell 84006
x 2.5 x 9mm. Large: 40 x 20 x 18mm, Insert Small 32 x 4 x 9mm, 

Insert Large 41 x 3 x 9mm. Thin Nasal Dorsal Shell 42.7mm x 

16.4mm x 21.8mm
MF042
Ultra Thin Sheet
Porus Polyethylene. Model 7212
50 x 76 x 0.85mm
MF043
Ultra Thin Sheet
Porus Polyethylene. Model 7214
76 x 127 x 0.85mm
MF044
Ultra Thin Sheet
Porus Polyethylene. Model 7216
127 x 178 x 0.85mm
MF045
Sheet - Multi Channel, Barrier Channel.
Porus Polyethylene. Miniplate channel sheet, model 9529. Microplate 
Miniplate channel: 40 x 52 x 2.3mm. Mircoplate channel: 40 x 52 x 

channel sheet, model 9530. Barrier Miniplate and Microplate Channel 
2.3mm. Barier Miniplate and Microplate Channel Sheets: 40 x 52 x 

Sheets, Models 9531 and 9532.
2.3mm, 40 x 52 x 2.3mm
MF046
Sheet - Barrier Single Channel Sheet.
Porus Polyethylene. Barrier Single Channel Sheet, Model 9527.
Barrier Single Channel: 38 x 50 x 0.85mm
MF047
Flexblock TF2
Porus Polyethylene. Flexblock TF2 implant, left and right, models 9861
Flexblock TF2: large 82 x 105 x 20mm.

 - 9862
MF048
Flexblock TF
Porus Polyethylene. Flexblock TF implant, models 9521 - 9522.
Flexblock TF: small 70 x 70 x 10mm, medium 88 x 86 x 15mm,
MF049
Flexblock TF
Porus Polyethylene. Flexblock TF implant, model 9523. 
Flexblock TF: large 98 x 95 x 18mm.
MF050
Flexblock, Cranial Grid
Porus Polyethylene.Flexblock cranial grid implant, model 9524.
Flexblock cranial grid: 97 x 107 x 6mm.
MF051
Flexblock
Porus Polyethylene. Flexblock, model 6314.
Flexblock: 56 x 91 x 4mm.
MF052
Ear Reconstruction
Porus Polyethylene. Ear base left and right, models 7542 and 7525  - 
Ear base: 29 x 55 x 13mm, 32 x 65 x 16mm. Ear base extended: 30 x 

7527. Ear base extended left and right, models 8330 and 8331.
60mm.
MF053
PMT Integra tissue expander
Tissue/skin Expander
5cc to 1400cc
Medtel Australia Pty Ltd
Neurosurgical
ME185
Pharos Neurovascular Stent
Balloon expandable stent for treatment of intracranial artery stenosis 
Diameter 2.0mm-5.0mm, length 8mm-40mm

and aneurysm
New Products for Prostheses List Report
Page 19 of 36
Billing Code
Product Name
Further Description
Size
Vascular
ME184
Micrus Cashmere Microcoil
Sterile, single use, embolic coil used for the treatment of cerebral 
2.5 cm - 30 cm (length)

aneurysms
Medtronic Australasia Pty Ltd
Cardio-thoracic
MC763
Reveal XT
Reveal XT Insertable Cardiac Monitor
61 x 19 x 8 mm with a volume of 9cc
MC765
U-Clips
Nitinol Clips, 8-pack
Needle Lengths: 6.5mm - 9.5mm, 8-pack
MC768
Reveal DX
Insertable Cardiac Monitor
61 x 19 x 8 mm with a volume of 9cc
MC769
Endeavor Sprint Drug Eluting Stent System
Cobals Alloym ABT - 578
Diameter: 2.25mm-4.0mm; Length: 8.0mm-30.0mm
MC771
Mosaic Ultra
Small Aortic Root Bioprosthesis
19mm-29mm
MC772
U-Clips
Nitinol Clips, 2-pack
Needle Lengths: 6.5mm - 9.5mm, 2-Pack
MC778
Oscor Adaptor
Adaptor for LV-1 lead to bipolar IS-1
10cm, 17cm and 40cm
Neurosurgical
MC764
Microelectrode Cable
Cable used for intracranial recording of neural activity prior to DBS
One size
MC766
MicroTargeting Electrodes
Electrode used for intracranial recording of neural activity prior to 
276.5mm
MC767
Stimloc
Burr Hole Cover
14mm
MC770
Snap Lid Connector
Connector for implanted lead to external Implantable Pulse Generator
2.5" x 5.0"
MC774
8578 Sutureless Pump Connector
Sutureless Pump Connector: Material radiopaque silicon titanium, 
One size only
MC776
Specify 5-6-5 Surgical Lead
Triple Array 16 Electrode Surgical Lead with Duraloc Technology
64.2mm
Orthopaedic
MC806
Infuse Bone Graft
Recombinant human bone morphogenetic protein rhBMP-2
Extra Small 1.4mg
MC807
Infuse Bone Graft
Recombinant human bone morphogenetic protein rhBMP-2
Mini 0.7mg
MC808
Infuse Bone Graft
Recombinant human bone morphogenetic protein rhBMP-2
Small 4.2mg
Urogenital
MC775
Interstim Lead Introducer Kit
Lead Introducer Kit for Sacral Nerve Stimulation
One size only
MC777
Interstim Extension Lead
Quadripolar Extension Kit
10, 25, 51cm
Vascular
MC773
Assurant Cobalt Stent
Iliac balloon expandable stent system
Diameter:  6 - 10mm , Length:  20 - 80mm
MC809
Valliant Endovascular Stent Graft
Nitinol and polyester system
24 - 46 diameter, up to 179mm
MC810
Valliant Endovascular Stent Graft
Nitinol and polyester system
24 - 46 diameter, 180 - 227mm length
Oncura Pty Limited
General/Miscellaneous
ON003
RAPID Strand Rx Kit
Pre-loaded, variable per patient prescription version of RAPID Strand
Custom size
New Products for Prostheses List Report
Page 20 of 36
Billing Code
Product Name
Further Description
Size
OrbusNeich  Medical Pty Ltd
Cardio-thoracic
NM004
Blazer Coronary Stent Delivery System
L605 Cobalt Chromium alloy balloon expandable vascular prosthesis
Expanded Stent Diameter 2.5 to 3.5mm, Stent Length 9 to 33mm
Orthopaedic Solutions Pty Ltd
Orthopaedic
OE007
Nexfix MTP Fusion System
Unique low profile stainless steel locking screw for use with NexFix 
3.2mm x 12mm, 14mm, 16mm, 18mm, 20mm

MTP Fusion plates,  indicated for use in osteoporotic bone
OE008
NexFix MTP Fusion System
A bendable stainless steel bone plate and screw system with unique low
Left 2 + 3; Right 2 + 3

 profile locking screw option.  Indicated for use in primary MTP fusion
OE009
Nexfix MTP Fusion System
A bendable stainless steel bone plate and screw system with unique low
Left: 2+3; Right: 2+3

 profile locking screw option.  Indicated for use in primary and revision

 MTP fusion
OE010
Nexfix MTP Fusion System
Unique low profile stainless steel locking screw for use with NexFix 
2.7mm x 12mm, 14mm, 16mm, 18mm, 20mm, 24mm, 28mm

MTP Fusion plates, indicated for use in normal bone
OE011
BioProfile Modular Pyrocarbon Ulna Head
A modular titanium Pyrocarbon Ulnar  head prosthesis which includes 
Small, medium, large

a Pyrocarbon head and titanium stem.
OE012
BioProfile Modular Pyrocarbon Radial Head
A modular titanium Pyrocarbon Radial  head prosthesis which includes
Small, medium, large and X-large

 a Pyrocarbon head and titanium stem, neck, head and expansion 
Orthotech Pty Ltd
Orthopaedic
OH328
FIT stem
FIT anatomical Femoral Stem
1-7
OH329
Optetrak Total Knee System, Tibial Baseplate
Tibial Baseplate, titanium, fixed insert, cemented
Size 1-6
OH330
Optetrak Total Knee System, Tibial Baseplate
Tibial Baseplate, titanium, fixed insert (finned), cemented
Size 1-6
OH331
Optetrak Total Knee System, Tibial Insert
Tibial Insert, UHMWPE, Fixed (Cruciate retained)
Size 1-6
OH332
Optetrak Total Knee System, Tibial Insert
Tibial Insert, UHMWPE, Fixed (Posterior Stabilised)
Size 1-6
OH333
Optetrak Total Knee System, Tibial Insert
Tibial Insert, UHMWPE, Fixed (Hi Flex)
Size 1-6
Pacing Importers Pty Ltd - Life Systems
Ear, Nose & Throat
PI009
OPUS 2 Speech Processor
Cochlear Implant Speech Processor
54.0mm x 35.1mm x 8.7mm
PI010
Opus 2 Speech Processor Replacement
Cochlear Implant Speech Processor Replacement
54.0mm x 35.1mm x 8.7mm
PI011
Sonata Ti 100 Cochlear Implant
Cochlear implant
45.7mm length, width at coil 29.0mm, width at stimulator 24.8mm, 

thickness at coil 3.7mm, thickness at stiulator 5.9mm.  Standard 

Electrode - length 31.5mm, spacing 2.4mm; Medium - length: 

20.9mm, Spacing 1.9mm; Compressed (short) - length 12.1mm, 

Electrode spacing 1.1mm; Split (GB) - length 4.4mm and 6.6mm, 

spacing 1.1mm; Flex Soft (FL) - length 26.4mm, spacing 2.4mm; Flex 

eas (F) - length 20.9mm, spacing 1.9mm
PI012
PULSAR CI 100
Cochlear implant - Standard Electrode
Length: 31.5mm, Electrode Spacing: 2.4mm
New Products for Prostheses List Report
Page 21 of 36
Billing Code
Product Name
Further Description
Size
PI013
PULSAR CI 100
Cochlear implant - Medium (M)
Length: 20.9mm, Electrode Spacing: 1.9mm
PI014
PULSAR CI 100
Cochlear implant - Compressed (Short) (S)
Length: 12.1mm, Electrode Spacing: 1.1mm
PI015
PULSAR CI 100
Cochlear implant - Split (GB)
Length: 4.4mm & 6.6mm, Electrode Spacing 1.1mm
PI016
PULSAR CI 100
Cochlear implant - FLEX Soft (FL)
Length: 26.4mm, Electrode Spacing: 2.4mm
PI017
PULSAR CI 100
Cochlear implant - FLEX Eas (F)
Length: 20.9mm, Electrode Spacing: 1.9mm
Portland Orthopaedics (Aust) Pty Ltd
Orthopaedic
PD026
Femoral Head - Cobalt Chrome
CoCr femoral head
36mm to 44mm
PD027
Ceramic Femoral Head
Ceramic Femoral Head - Biolox Forte
28mm, 32mm
PD028
Ceramic Femoral Head
Ceramic Femoral Head
36 to 44mm
PD029
M-COR-R Revision Hip Stem System /M-COR-R Distal Stem Bowed P
Plasma sprayed, titanium distal stem, long lengths
10-23mm diameter, 200-275mm length
PD030
M-COR-R Revision Hip Stem System/ M-COR-R Distal Stem Bowed
Grit blasted, titanium distal stem, long lengths
10-23mm diameter, 200-275mm length
PD031
M-COR-R Revision hip Stem System / M-COR-R Proximal Body
Plasma sprayed, forged titanium, conical or standard proximal body, 
21-26mm proximal diameter, 50mm length

standard length
PD032
M-COR-R Revision  Hip System / M-COR-R Distal Stem Straight P
Plasma sprayed, titanium distal stem, standard lengths
10 - 23mm diameter, 155-175mm length
PD033
Femoral Head- Cobalt Chrome
CoCr Femoral head
28mm, 32mm
PD034
M-COR-R Revision Hip Stem System/ M-COR-R Distal Stem Straight
Grit blasted, titanium distal stem, standard lengths
10 - 23mm diameter, 155 - 175mm length
PD035
Ceramic Femoral Head
Ceramic Femoral Head - Delta
36 to 44mm
PD036
Ceramic Femoral Head
Ceramic Femoral Head - Delta
28mm, 32mm
Radi Medical Systems Pty Ltd
Vascular
RM001
FemoSeal Vascular Closure System
Haemostatic Puncture Closure Device
One Size
Roche Diagnostics Australia Pty Ltd
General/Miscellaneous
RO021
Accu-Chek Infusion Set
Tenderlink 1.
17mm cannula / 30cm tubing
RO022
Accu-Chek Infusion Set
Tenderlink 1.
17mm cannula / 80cm tubing
RO023
Accu-Chek Infusion Set
Tenderlink 1.
17mm cannula only
RO024
Accu-Chek Infusion Set
Tenderlink 1.
13mm cannula / 30 cm tubing
RO025
Accu-Chek Infusion Set
Tenderlink 1.
13mm cannula / 60 cm tubing
RO026
Accu-Chek Infusion Set
Tenderlink 1.
13mm cannula / 80 cm tubing
RO027
Accu-Chek Infusion Set
Tenderlink 1.
13mm cannula only
RO028
Accu-Chek Infusion Set
FlexLink
8mm cannula / 30cm tubing
RO029
Accu-Chek Infusion Set
FlexLink
8mm cannula / 60cm tubing
RO030
Accu-Chek Infusion Set
FlexLink
8 mm cannula / 80 cm tubing
New Products for Prostheses List Report
Page 22 of 36
Billing Code
Product Name
Further Description
Size
RO031
Accu-Chek Infusion Set
FlexLink
8 mm cannula only
RO032
Accu-Chek Infusion Set
FlexLink
10 mm cannula / 30 cm tubing
RO033
Accu-Chek Infusion Set
FlexLink
10mm cannula / 60cm tubing
RO034
Accu-Chek Infusion Set
FlexLink
10mm cannula / 80cm tubing
RO035
Accu-Chek Infusion Set
FlexLink
10 mm cannula only
RO036
Accu-Chek Infusion Set
Rapid-Dlink
6 mm cannula (with 10cm tail)
RO037
Accu-Chek Infusion Set
Rapid-Dlink
8 mm cannula (with 10 cm tail)
RO038
Accu-Chek Infusion Set
Rapid-Dlink
10 mm cannula (with 10 cm tail)
RO039
Accu-Chek Infusion Set
Rapid-Dlink
Transfer sets 20 cms
RO040
Accu-Chek Infusion Set
Rapid-Dlink
Transfer sets 50 cms
RO041
Accu-Chek Infusion Set
Rapid-Dlink
Transfer sets 70 cms
RO042
Accu-Chek Infusion Set
Protective Blue Cap
Cap
RO043
Accu-Chek Infusion Set
Plastic Cartridge (H-Tron & Spirit)
3.15mL
Smith & Nephew Surgical Pty Ltd
Orthopaedic
SM008
Toefit - Plus
Titanium alloy
Metatarsal Component XS-L
SM009
Toefit - Plus
Titanium Alloy
Phalangeal Component XS-L
SM010
PLUS Endoprothetik Cerclage Systems
CCG Band - Pure Titanium
Length 27cm
SM011
PLUS Endoprothetik Cerclage Systems
CCG-GF Band with fixation spikes - Pure Titanium
Length 27cm
SM012
PLUS Hip Joint Prosthesis System
PLUS cementless grit blasted titanium stem standard and offset
01-12
SM013
PLUS Hip Joint Prostheses System
SL PLUS Ti Stem with Ti/VPS and HA Coating
01 to 12
SM014
PLUS Hip Joint Prostheses System
Revision SLR-PLUS Ti Stem
1 to 12
SM015
PLUS Hip Joint Prostheses System
Revision SLR-PLUS Stem with TiVPS/HA
3 to 11
SM016
PLUS Hip Joint Prostheses System
Modular Body
<75mm
SM017
PLUS Hip Joint Prostheses System
Revision Modular Component
1 to 12
SM018
PLUS Hip Joint Prostheses System
CPS-PLUS Stem
1 to 5
SM019
PLUS Hip Joint Prostheses System
CPS-PLUS Rev Stem
1 to 5
SM020
PLUS Hip Joint Prostheses System
BICON PLUS PE LINER FLAT AND HOODED
1 to 9
SM021
PLUS Hip Joint Prostheses System
Bicon-PLUS / Ceramic Liner
3 to 9
SM022
PLUS Hip Joint Prostheses System
Bicon-PLUS Met Liner
1 to 9
SM023
PLUS Hip Joint Prostheses System
Bicon-PLUS Porosis Cup
1 to 9
SM024
PLUS Hip Joint Prostheses System
EP FIT PLUS Ti/TiVPS/HA ACETABULAR SHELL
40 - 68mm Dia
SM025
PLUS Hip Joint Prostheses System
EP Fit Multi/Hole Cup
40 - 68mm Dia
SM026
PLUS Hip Joint Prostheses System
EP Fit PE Liner
40 - 68mm Dia
New Products for Prostheses List Report
Page 23 of 36
Billing Code
Product Name
Further Description
Size
SM027
PLUS Hip Joint Prostheses System
EP Fit Ceramic Liner
48 - 68mm Dia
SM028
PLUS Hip Joint Prostheses System
EP Fit PLUS Met Liner
48 - 68mm Dia
SM029
PLUS Hip Joint Prostheses System
EP Fit Rex Pol Liner
42 - 68mm Dia
SM030
TC (Tri Compartment) PLUS Knee System Tibial Baseplate
Tibial Baseplate, CoCr, Cemented for mobile insert, polished insert 
2 to 12

surface
SM031
TC (Tri Compartment) PLUS Knee System Tibial Insert
Tibial Insert, UHMWPE, mobile, deep dished
1-12 : 9-19mm
SM033
PLUS Endoprothetik Cerclage System
CCG Stabilizer with Band
XS - L
SM034
Femoral Head Metal
Stainless Steel
=< 32mm
SM035
PLUS Hip Joint Prostheses System
Fem Head Ceramic
S,M,L - 28mm/32mm
SM036
PLUS Hip Joint Prostheses System
Fem Head Plusmet
S-XXL - 28mm/32mm
SM037
PLUS Hip Joint Prostheses System
Fracture Head
38-60 S/M
SM038
PLUS Hip Joint Prostheses System
Bipolar Head
39mm-60mm
SM039
PLUS Hip Joint Prostheses System
BOFOR REVISION SHELL WITH Ti/TiVPS/HA + 6 amd + 12 and + 
48mm X + 5mm - 70mm X +12mm

5 and + 10
SM040
PLUS Hip Joint Prostheses System
CPS Centralizer proximal and distal
1 to 5
SM041
PLUS Hip Joint Prosthesis System
Cancellous bone screw titanium
15-60mm long 6.4mm dia
SM042
PLUS Hip Joint Prosthesis System
constrained liner
1 - 9, 28mm, 32mm
SM043
PLUS Hip Joint Prosthesis System
BOFOR ACETABULAR RECONSTRUCTION SYSTEM TITANIUM 
48 -70mm

BACKED PE LINER STANDARD & ECCENTRIC HOODED & FLAT
SM044
PLUS Hip Joint Prosthesis System
PLUS PE cemented cup
42 -64mm dia
SM045
Toefit - Plus
Chromium Cobalt
Distal Insert 13 - 17mm
SM046
Toefit - Plus
Polyethylene
Polyethylene Distal Insert 11 - 15mm
SM047
Toefit - Plus
Chromium Cobalt
Proximal Insert 6, 7, 8
SM048
UC (Unicompartment) PLUS Solution Knee System Uni Tibial Baseplate
Uni Tibial Baseplate, all poly, cemented UHMWPE, 
40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 10mm, 12,, 14mm), 48 

(8mm, 10mm, 12mm, 14mm), 52 (8mm, 10mm, 12mm, 14mm), 56 

(8mm, 10mm, 12mm, 14mm)
SM049
UC (Unicompartment) PLUS Solution Knee System Uni Femoral 
Uni Femoral Component, CoCr, cemented
Femoral - 4, 6, 8, 10.

Component
SM050
Bicon - PLUS
Cementless Cup
01, 0, 1, 2, 3, 4, 5, 6, 7, 8, 9
SM051
PLUS Hip Joint Prostheses System
Cover for HI shell
3-5, 6-11
SM052
VKS (Vario) Knee System Femoral Component
Femoral Component, CoCr, uncemented, Titanium Plasma Spray 
1-6

(Vacuum spray and triple layer)
SM053
Plus Hip Joint Prosthesis System
HXLPE Insert
=<32mm
SM054
Plus Hip Joint Prosthesis System
HXLPE Insert
>32mm
SM055
Femoral Head
Chrome Cobalt
=< 32mm
SM056
PLUS Hip Joint Prostheses System
Acetabular Shell
3-11
SM057
PLUS Hip Joint Prostheses System
Ceramic Insert
<32mm
SM058
PLUS Hip Joint Prostheses System
Ceramic Insert
>32mm
New Products for Prostheses List Report
Page 24 of 36
Billing Code
Product Name
Further Description
Size
SM059
PLUS Hip Joint Prostheses System
HXLPE
=<32mm
SM060
PLUS Hip Joint Prostheses System
HXLPE
>32mm
SM061
PLUS Hip Joint Prostheses System
PE Insert
=<32mm
SM062
PLUS Hip Joint Prostheses System
Metal Insert
=<32mm
SM063
Tibial Insert
Mobile Bearing Tibial Insert
1-12
SM064
VKS (Vario) Knee System Femoral Component
Femoral Component, CoCr, cemented
1-12
SM065
VKS (Vario) Knee System Tibial Baseplate
Tibial Baseplate, CoCr, Cemented, for fixed insert
1-12
SM066
VKS (Vario) Knee System Tibial Baseplate
Tibial Baseplate, CoCr, uncemented, Titanium Plasma Spray (Vacuum
1-12

 spray and triple layer), for fixed insert
SM067
VKS (Vario) Knee System Tibial Baseplate
Tibial Baseplate, CoCr, Cemented for mobile insert (SB (Self aligning 
1-12

bearing))
SM068
VKS (Vario) Knee System Tibial Baseplate
Tibial Baseplate, CoCr, uncemented, Titanium Plasma Spray (Vacuum
1-12

 spray and triple layer), for mobile insert (SB (Self aligning bearing))
SM069
VKS (Vario) Knee System Tibial Insert
Tibial Insert, UHMWPE, fixed, deep dished
1-6
SM070
PLUS Hip Joint Prosthesis System
Femoral Metal Head - Standard Metal
>32mm
SM071
TC (Tri Compartment) PLUS Knee System Femoral Component
Femoral Component, CoCr, uncemented,Titanium Plasma Spray 
2-12

(Vacuum spray and triple layer), posterior stabilised
SM072
TC (Tri Compartment) PLUS Knee System Tibial Insert
Tibial Insert, UHMWPE, fixed, posterior stabilised with peg
2-12
SM073
Plus Hip Joint Prostheses System
EP Fit Acetabular Shell TiVPS
42-68
SM074
Plus Hip Joint Prostheses System
HXLPE Liner
>32mm
SM075
Plus Hip Joint Prostheses System
Ceramic Insert
>32mm
SM076
VKS (Vario) Knee System Tibial Insert
Tibial Insert, UHMWPE, fixed
1-12
SM077
RT (Rotating Hinge) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, Titanium, uncemented
95 -120
SM078
TC (Tri Compartment) PLUS Knee System Tibial Augment
Tibial Augment Half blocks, CoCr, includes screws for fixation
5mm, 10mm, 15mm
SM079
TC (Tri Compartment) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, Cemented, CoCr
80-150
SM080
TC (Tri Compartment) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, uncemented, Titanium
10/80 - 20/150
SM081
TC (Tri Compartment) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, uncemented, Titanium, Varus or Valgus 
10/80 - 20/150

angulation correction
SM082
'RT (Rotating Hinge) PLUS Knee System Femoral Component
Femoral Component, CoCr, Cemented, hinged
0-10
SM083
PLUS Hip Joint Prostheses System
Metal Insert
>32mm
SM084
RT (Rotating Hinge) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, CoCr, Cemented
95-160
SM085
TC (Tri Compartment) PLUS Knee System Femoral Component
Femoral Component, CoCr, cemented
2 - 10
SM086
RT (Rotating Hinge) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, Titanium, uncemented
95 - 160
SM087
RT (Rotating Hinge) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, Titanium, uncemented (longer stems)
200
SM088
RT (Rotating Hinge) PLUS Knee System Femoral Augment
Femoral Augment Distal and posterior blocks, CoCr, includes screws 
5-15mm

for fixation
SM089
RT (Rotating Hinge) PLUS Knee System Tibial Augment
Tibial Augment Half blocks, CoCr, includes screws for fixation
5-10mm
New Products for Prostheses List Report
Page 25 of 36
Billing Code
Product Name
Further Description
Size
SM090
RT (Rotating Hinge) PLUS Knee System Tibial Insert
Tibial Insert, UHMWPE,  fixed, for hinged femoral and tibial 
0-10

components, reinforced fixation clip and centeral hole for femoral 

component hinge post
SM091
RT (Rotating Hinge) PLUS Knee System Clip and Screw
Insert clip and screws for stem fixation, packed together as emergency
0-10

 kit 
SM092
RT (Rotating Hinge) PLUS Knee System Tibial Baseplate
Tibial Baseplate, CoCr, cemented, for fixed insert
0-10
SM093
PLUS Hip Joint Prosthesis System
MPF Cup - Cermaic Insert
>32mm
SM094
PLUS Hip Joint Prosthesis System
Ceramic Head AL
>32mm
SM095
PLUS Hip Joint Prosthesis System
Ceramic Head Delta
>32mm
SM096
PLUS Hip Joint Prosthesis System
Ceramic Head Revision
22-60
SM097
PLUS Hip Joint Prosthesis System
MPF Cup - Acetabular shell
46 - 68mm
SM098
TC (Tri Compartment) PLUS Knee System Femoral Augment
Femoral Augment Distal and posterior blocks, CoCr, includes screws 
5mm, 10mm, 15mm

for fixation
SM099
PLUS Hip Joint Prosthesis System
MPF Cup - Ceramic Insert
<32mm
SM100
TC (Tri Compartment) PLUS Knee System Tibial Baseplate
Tibial Baseplate, CoCr, Cemented, for fixed insert
2 - 10
SM101
PLUS Hip Joint Prosthesis System
MPF Cup - Metal Insert
<=32mm
SM102
PLUS Hip Joint Prosthesis System
MPF Cup - Metal Insert
>32mm
SM103
PLUS Hip Joint Prosthesis System
MPF Cup - HXLPE Inserts
<=32mm
SM104
PLUS Hip Joint Prosthesis System
MPF Cup - HXLPE Inserts
>32mm
SM105
PLUS Hip Joint Prosthesis System
MPF Cup - PE Inserts
46-64
SM106
PLUS Hip Joint Prosthesis System
SBG Femoral Stem HA
05 - 7
SM107
PLUS Hip Joint Prosthesis System
Femoral Head Metal - PLUSMET
>32mm
SM108
PLUS Hip Joint Prosthesis System
MPF Cup - Revision shell
46 to 72
SM109
Plus Hip Joint Prosthesis System
Titanium Sleeve adaptor for revision fractured ceramic
.
SM110
Promos Shoulder Replacement
Humeral Stem
01, 0, 1, 2, 3, 4
SM111
Promos Shoulder Replacement
Body
30 - 35 - 40mm
SM112
Promos Shoulder Replacement
Inclination Set
20 - 22 - 24 - 26mm
SM113
Promos Shoulder Replacement
Ball head anatomic
R19/H14-R26/H21
SM114
Promos Shoulder Replacement
Glenoid
1-23: - 4-29
SM115
Proxy Plus Cementless Hip
Grit Blasted Ti Alloy
5-20 various offsets
SM116
Reko Reconstruction Cage
Reconstruction Cage
44-52 Lt & Rt
SM117
Reko Reconstruction Cage
Spacer for Reconstruction Cage
5mm, 10mm, 15mm
SM118
Reko Reconstruction Cage
Fixation Screw for spacer
1 size
SM119
Reko Reconstruction Cage
Cancellous bone screw
6.5 x 20, 6.5 x 55
SM120
UC (Unicompartment) PLUS Solution Knee System Uni Tibial Baseplate
Uni Tibial Baseplate, CoCr, cemented for fixed insert
Tibial - 40 - 56 x (8, 10, 12, 14mm)
SM121
UC (Unicompartment) PLUS Solution Knee System Uni Tibial Insert
Uni Tibial Insert, UHMWPE, fixed
40 (8mm, 10mm, 12mm, 14mm), 44 (8mm, 10mm, 12,, 14mm), 48 

(8mm, 10mm, 12mm, 14mm), 52 (8mm, 10mm, 12mm, 14mm), 56 

(8mm, 10mm, 12mm, 14mm)
New Products for Prostheses List Report
Page 26 of 36
Billing Code
Product Name
Further Description
Size
SM122
POLARSTEM FEMORAL STEM SYSTEM
CEMENTLESS  WITH TITANIUM COATING VPS AND HA 
0-8

COATING
SM123
POLARSTEM FEMORAL STEM SYSTEM
CEMENTED POLISHED TAPERED STEM STANDARD AND 
0-8

LATERAL 10/12 TAPER AND 12/14 TAPER
SM124
POLARSTEM FEMORAL STEM SYSTEM
FEMORAL HEAD CERAMIC FOR POLAR STEM
28MM
SM125
POLARSTEM FEMORAL STEM SYSTEM
CEMENTLESS WITH TITANIUM COATING STANDARD AND 
0-8

LATERAL 10/12 TAPER AND 12/14 TAPER
SM126
PLUS HIP JOINT PROSTHESES SYSTEM
SL PLUS GRIT BLASTED TITANIUM MIA STEM STANDARD 
01-12

AND LATERAL
SM127
PLUS HIP JOINT PROSTHESES SYSTEM
SL PLUS  TITANIUM TVPS/HA MIA STEM STANDARD AND 
01-12

LATERAL
SM128
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY SHELL TITANIUM VPS
43-67MM
SM129
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY SHELL TITANIUM VPS WITH PEGS AND 
43-67MM

FLANGES
SM130
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY SHELL TITANIUM VPS HA
43-67MM
SM131
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY SHELL TITANIUM VPS HA WITH PEGS AND 
43-67MM

FLANGES
SM132
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY VPS SHELL GRIT BLASTED HA WITH PEGS 
43-67MM

AND FLANGES
SM133
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY VPS SHELL CEMENTED
43-63MM
SM134
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY CONSTRAINED LINER FOR POLAR CUP
22.2-28MM BY 43-67MM
SM135
POLAR CUP ACETABULAR CUP SYSTEM
DUAL MOBILITY CONSTRAINED LINER FOR POLAR CUP - 
22.2-28MM BY 43-67MM

MODIFIED POLYETHYLENE
SM136
Polar Cup Acetabular Cup System
Impacting Anchorage Pegs for Polar Cup Shell
15mm
SM137
Polar Cup Acetabular Cup System
Corital Screws for Polar Cup Shell
4.5mm by 40-60mm
SM138
Polar Cup Acetabular Cup System
Acetabular Reconstruction Cage
43 - 78
SM139
RT (Rotating Hinge) PLUS Knee System Tibial Augment
Tibial Augment Half blocks, CoCr, includes screws for fixation (Larger
15mm

 block)
SM140
RT (Rotating Hinge) PLUS Knee System Femoral and Tibial Stems
Femoral and Tibial Stems, Titanium, uncemented (offset stems)
  10-20mm diam                         95mm- 200mm length
SM141
TC (Tri Compartment) PLUS Knee System Femoral Component
Femoral Component, CoCr, Cemented posterior stabilised
2-10mm
SM142
TC (Tri Compartment) PLUS Knee System and VKS Patella 
Patella Component, metal backed, uncemented,Titanium Plasma 
8-26mm - 12/35mm

Spray (Vacuum spray and triple layer), moulded
SM143
Plus Hip Joint System
Ceramic Delta Acetabular Liners
44mm-72mm *28mm - 44mm
SM144
Plus Hip Joint System
Femoral Head Delta Ceramic
<32 - S, M, L, XL
SM145
PLUS Hip Joint Prostheses System
Modular Body
>=75mm
SN852
Gen II Mobile Bearing PS Insert
Primary Mobile Bearing Posterior Stabilised Tibia Insert
2-12
SN853
Endobutton
Fixation for ACL/PCL reconstruction
5-9mm, 15-60mm
SN854
Fast-Fix Ultra
Meniscal suture anchor
One Size
SN855
R3 Acetabular system
Delta Ceramic Liner
40-78mm
SN856
R3 Acetabular System
XLPE Constrained Acetabular liner
40-78mm
New Products for Prostheses List Report
Page 27 of 36
Billing Code
Product Name
Further Description
Size
SN857
Genesis II Knee System Tibial Baseplate
Tibial Baseplate, cemented, Titanium, grit blasted
1 - 9
SN858
Profix Knee System Tibial Baseplate
Tibial Baseplate, cemented, Titanium, grit blasted
1 - 8
SN859
Genesis II Knee System Tibial Baseplate
Tibial Baseplate, cementless, titanium, beaded, for fixed insert
Left / Right 1-8
SN860
Profix Knee System Tibial Baseplate
Tibial Baseplate, cementless, titanium, beaded, for fixed insert
Left / Right 1-8
SN861
Genesis II Knee System Tibial Baseplate
Tibial baseplate, cementless, titanium, beaded, HA for fixed insert
Left / Right 1 - 8
SN862
Profix Knee System Tibial Baseplate
Tibial baseplate, cementless, titanium, beaded, HA for fixed insert
Left / Right 1 - 8
SN863
Genesis II Knee System Tibial Insert
Tibial insert, UHMWPE, fixed, totally constrained
Left / Right 1 - 8
SN864
Profix Knee System Tibial Insert
Tibial insert, UHMWPE, fixed, totally constrained
Left / Right 1 - 8
SN865
Genesis II Knee System Femoral Component
Femoral component, cemented, totally stabilised, CoCr
Left / Right 1 - 8
SN866
Profix Knee System Femoral Component
Femoral component, cemented, totally stabilised, CoCr
Left / Right 1 - 8
SN867
Genesis II Knee System Tibial Insert
Tibial insert, UHWPE, fixed
1-9
SN868
Profix Knee System Tibial Insert
Tibial insert, UHWPE, fixed
1-9
SN869
Genesis II Knee System Tibial Baseplate
Tibial Baseplate, all poly, cemented
Left / Right 1 - 8
SN870
Profix Knee System Tibial Baseplate
Tibial Baseplate, all poly, cemented
Left / Right 1 - 8
SN871
Genesis II Knee System Femoral Component
Femoral component, cemented posterior stabilised, CoCr
Left / Right 1-8
SN872
Profix Knee System Femoral Component
Femoral component, cemented posterior stabilised, CoCr
Left / Right 1-8
SN873
Genesis II Knee System Femoral Component
Femoral component, CoCr, cementless, beaded, posterior stabilised
Left / Right 1-8
SN874
Profix Knee System Femoral Component
Femoral component, CoCr, cementless, beaded, posterior stabilised
Left / Right 1-8
SN875
Genesis II Knee System Tibial Insert
Tibial Insert, UHMWPE, posterior stabilised with peg, fixed
1-8
SN876
Profix Knee System Tibial Insert
Tibial Insert, UHMWPE, posterior stabilised with peg, fixed
1-8
SN877
Genesis II Knee System Femoral Component
Femoral component, CoCr, cementless, beaded, HA
Left / Right 1-8
SN878
Profix Knee System Femoral Component
Femoral component, CoCr, cementless, beaded, HA
Left / Right 1-8
SN879
Genesis II Knee System Femoral Component
Femoral component, Oxinium, cemented
Left / Right 1-9
SN880
Profix Knee System Femoral Component
Femoral component, Oxinium, cemented
Left / Right 1-9
SN881
Profix Knee System Tibial Insert
Tibial Insert, UHMWPE, fixed, includes standard and deep dished / 
Left / Right 1 - 8

high flex insert without peg
SN882
Genesis II Knee System Tibial Insert
Tibial Insert, UHMWPE, fixed, includes standard and deep dished / 
Left / Right 1 - 8

high flex insert without peg
SN883
Genesis II Knee System Femoral Component
Femoral Component, cemented, posterior stabilised, Oxinium
1-9
SN884
Profix Knee System Femoral Component
Femoral Component, cemented, posterior stabilised, Oxinium
1-8
SN885
Genesis II Knee System Offset Couplers
Offset Coupler, titanium
2-4
SN886
Profix Knee System Offset Couplers
Offset Coupler, titanium
2-4
SN887
Polar Hip System
Acetabular Reconstruction Shell
49-71mm
New Products for Prostheses List Report
Page 28 of 36
Billing Code
Product Name
Further Description
Size
Sorin Group
Cardio-thoracic
SA127
AnnuloFlo Annuloplasty System
Annuloflex Ring or AnnuloFlo Ring
26-36mm
SA128
CarboSeal Ascending Aortic Prosthesis, sterile, CarboSeal Ascending 
Mechanical Conduit
AP 21-33mm, CP 21 - 33mm

Aortic Prosthesis with Handle Model AP21, Model AP23, Model AP25, 

Model AP27, Model AP29, Model AP31, Model AP33, Carboseal 

Valsalva
SA129
Optiform
Mechanical Valve
19mm to 33mm
SA130
Mitroflow
Pericardial Bioprosthesis
19-27mm
SA136
Symphony DR 2550
Active Implantable pacemaker
1 size only
SA137
Symphony SR
Titanium
one size only
SA138
OVATIO CRT-D 6750
Titanium, dual chamber ICD with CRT
30cc
SA139
OVATIO VR 6250
Titanium, single chamber, sterile, VR 6250, 34J
29cc
SA140
OVATIO DR 6550
Titanium dual chamber ICD, 29 cc
29cc
St. Jude Medical Australia Pty Ltd
Cardio-thoracic
SJ117
Promote CRT-D 3107
Cardiac Resynchronisation Therapy Defibrillator
41cc, 80g
SJ118
OptiSense 1699T/1699TC
Endocardial, Bi-polar Active-fixation Pacing Leads with Optim 
40-58cm

Insulation
SJ120
Current DR RF 2207
Dual Chamber Cardioverter Defibrillator with RF Telemetry
80g, 42cc
SJ121
Current VR 1107-36
Single Chamber Cardioverter Defibrillator
38cc 76g
SJ122
Riata ST Optim 7020/1/2 and 7030/1
7020/1 - Active fixation, true bipolar, 7022 - Active fixation, true 
60, 65 and 75cm length and 7Fr introducer

bipolar - single coil, 7030/1 - Active fixation, integrated bipolar, dual 

coil steroid eluting endocardial defibrillation leads with Optim insulation

 overlay
SJ123
Current DR 2107
Dual Chamber Cardio-verter Defibrillator
39cc 78g
SJ124
Current RF VR 1207-36
Single Chamber Cardioverter Defibrillator with RF Telemetry
79g, 41cc
SJ125
 Tendril ST 1788T/TC and 1782TC
Endocardial Bipolar Steroid-Eluting Active Fixation Pacing Leads
40cm, 46cm, 52cm, 58cm, 65cm
SJ126
QuickSite XL 1058T
Bipolar, Steroid-Eluting, Titanium Nitride Coated Electrodes, 
75-86cm

Guidewire/Stylet-Placed Left Heart Lead with Fast-Pass Coating
SJ127
Proxis Embolic Protection System - Long Sheath
Proximal embolic protection device and delivery system
6F and 7F
SJ128
Promote RF CRT-D 3213
Cardiac Resynchronisation Therapy Defibrillator with RF Telemetry
43cc, 82g
SJ129
Tendril ST 1888TC and 1882TC
Endocardial Bi-polar Steroid-Eluting Active Fixation Pacing Leads
46-65cm
SJ130
Riata ST Optim 7070/1
Passive Fixation, True bipolar, Dual Coil, Steroid Eluting, Endocardial 
60, 65 and 70cm length, 7Fr introducer

Defibrillation Leads with Optim insulation overlay
SJ131
Zephyr XL SR 5626
Single-Chamber Rate-Responsive Pacemaker
23.5g and 10.4cc
SJ132
Myodex 1084T
Steroid-Eluting Bipolar Sutureless Myocardial Pacing Lead with 
35cm and 54cm

Titanium Nitride Electrodes
New Products for Prostheses List Report
Page 29 of 36
Billing Code
Product Name
Further Description
Size
Stryker Australia Pty Ltd
Orthopaedic
SK482
Stryker Neck Taper Adaptor
Adaptor Sleeve for Stryker stems
-5, -4, 0, +4, +5, +8 +10, +12, +15, +16mm offset
SK483
HA Apex Pins
HA coated bone screw
4-6mm diameters, various lengths.
SK484
Stryker Cannulated Screw System
Asnis III Cannulated screws
4.0 - 8.0 mm diameter
SK485
Hoffmann Xpress - Universal Pin Clamp
Hoffmann Xpress External Fixation Device - Adapted to fit the needs 
One size to fit the Rod to Rod

of medically trained staff of such occupations as the Armed Forces
SK486
Hoffmann Xpress - connecting tube
Hoffman Xpress External Fixation Device - Adapted to fit the needs of 
15 mm diameter / 150 to 440 mm in length

medically trained staff of such occupations as the Armed Forces
SK487
Hoffmann Xpress - 5 Pin Clamp Posts
Hoffmann Xpress External Fixation Device - adapted to fit needs of 
2 categories, a 1 post clamp and a 2 post clamp

medically trained staff of such occupations as the Armed Forces
SR070
Mitch Hip System - Dysplasia Cup
Dysplasia Cup
44mm-68mm
SR071
Stryker Locking Plate System
Calcaneus Locking Plates
Small, Medium & Large
SR072
Dall miles Trochanteric grip with divergent hooks
stainless steel dall miles trochanteric grip with diverging proximal hooks
small, medium, large  43-53mm
SR073
Stryker Locking Plate System
Screw; Locking, Cancellous & Cortical
Diameter 2.7 to 3.5mm, Length 10mm to 70mm
SR074
Triathlon X3 PS Tibial Insert
Intended use as part of a total knee system in primary cemented and 
Sizes 1-8 available in 9,11,13,16,19,22 and 25mm thicknesses

primary uncemented total knee arthroplasty. Intended to be used in 

situation where the posterior cruciate ligament is absent, or cannot be 

preserved.
SR075
Stryker Locking Plate System
Locking Plates
Straight, Curved, H, T, L & 3-D
SR076
Triathlon X3 CR Tibial Insert
Intended use as part of a total knee system in primary cemented and 
Sizes 1-8 available in 9,11,13,16,19mm thicknesses

primary uncemented total knee arthroplasty.
SR077
Scorpio NRG X3 CR Tibial Insert
Intended use as part of a total knee system in primary cemented and 
Sizes 3,5,7,9,11 in thicknesses: 8,10,12,15,18,21,24mm

primary uncemented total knee arthroplasty.
SR078
Scorpio NRG X3 PS tibial Insert
intended to be used in situations where the posterior cruciate ligament is
3,5,7,9,11 in thickness: 8,10,12,15,18,21,24mm

 absent, or cannot be preserved.
SR079
Triathlon X3 CS Lipped Tibial Insert
Intended use as part of a total knee system in primary cemented and 
Sizes 1-8 available in 9,11,13,16,19,22 and 25mm thicknesses

primary uncemented total knee arthroplasty.
SR080
Duracon Knee System Stemmed Revision Baseplate
Stemmed revision baseplate, CoCr, (Vitallium). Cemented, Fixed
XS1, XS2, S1, S2, M1, M2,  L1, L2, Xl1, Xl2
SR081
Duracon Knee System Stemmed Revision Baseplate
Stemmed revision baseplate, CoCr, (Vitallium), uncemented, beaded, 
S1, S2, M1, M2, L1, L2 XL1, XL2

with screw holes for screw fixation, fixed
Surgeons Choice Australia Pty Ltd
Plastic and Reconstructive
SH001
Eurosilicone Breast Implants
Textured Cohesive Gel Breast Implants for Plastic and Reconstructive 
100cc to 900cc

Surgery
SH002
Eurosilicone Breast Implants
Round Cohesive Gel Breast Implants for Pastic and Reconstructive 
100cc to 900cc

Surgery
SH003
Eurosilicone Breast Implants
Anatomical Cohesive Gel Breast Implants for Plastic and Reconstrive 
100cc to 500cc

Surgery
New Products for Prostheses List Report
Page 30 of 36
Billing Code
Product Name
Further Description
Size
Surgical House
Orthopaedic
SU209
Plus Spinal Fixation System - Pedicle Screws
Titanium, mono-axial pedicle screws for attachment to PLUS 6mm 
Diameter 4.5mm, Length 20mm-45mm                   Diameter 5.5mm, 

diameter rods to form a multi-level spinal fixation construct
Length 20mm-50mm             Diameter 6.5mm, Length 25mm-60mm  

          Diameter 7.5mm, Length 25mm-90mm              Diameter 

8.5mm, Length 30mm-90mm
SU210
PLUS Spinal Fixation System - Rod Connectors
Titanium blocks fitted with set screws for longitudinal parallel joining of
one size each of: Dual Conector, Small Dual Rod Connector, Open 

 2 PLUS system 6mm diameter rods
Dual Rod Connector
SU211
PLUS Spinal Fixation System - Clip
Titanium clip that fits over the head of the PLUS system pedicle 
one size

screws to secure a 6mm rod to the screw. Clip incorporates a set screw

 which tightens the clip firmly against the rod/pedicle screw.
SU212
PLUS Spinal Fixation System - Sacral Screws
Titanium bone screws used for fixation of PLUS 6mm rods to the 
Diameter 6.5mm, Length 30-45mm

sacrum via PLUS sacral connectors
SU213
PLUS Spinal Fixatin System - Rods
Titanium, 6mm diameter rods of various lengths and rigidity for 
Hex rods, Rods and Stiff rods - Diameter 6mm, length 40mm, 50mm, 

fixation to either pedicle screws to form a multi-level spinal fixation 
60mm, 70mm, 80mm, 90mm, 100mm, 110mm, 120mm, 130mm, 

construct
140mm, 150mm, 160mm, 170mm, 180mm 190mm, 200mm, 210mm,

 220mm, 230mm, 240mm, 250mm, 260mm, 270mm, 280mm, 

290mm, 300mm, 310mm, 320mm, 330mm, 340mm, 350mm, 

360mm, 370mm, 380mm, 390mm, 400mm, 410mm, 420mm, 

430mm, 440mm, 450mm, 460mm, 470mm, 480mm, 490mm, 

500mm, 510mm, 510mm, 520mm, 530mm, 540mm, 550mm, 

560mm, 570mm
SU214
PLUS Spinal Fixation System - Lateral Connectors
Single piece titanium clamp fitted to the end of a 30mm x 6mm rod. 
one size

The short rod section is fixed to the head of PLUS system pedicle 

screw a 90 (degrees) to the long axis of the spine. A 6mm longitudinal 

rod can be fixed to the Lateral Connector as part of pedicle screw/rod 
SU215
PLUS Spinal Fixation System - MATC Bars
Titanium, 6mm diameter rods of various lengths for transverse fixation
Double Spherical Ends: Diameter 6mm, Length 20mm-65mm              

 between 2 PLUS system longitudinal rods as part of a multi-level 
                                                Single Spherical End: One size

spinal fixation construct. Available with one spherical end or two for 

fixation to fixed angle MATC connectors or multi-axial angle MATC 
SU216
PLUS Spinal Fixation System - MATC
Titanium clamp, fitted to a 6mm PLUS longitudinal rod that fixes a 
One size each of fixed angle style and multi-axial angle style

short transverse support rod between two longitudinal rods as part of 

pedicle screw/rod construct. Available in either fixed angle or multi-

axial angle. The use of a combination of a fixed angle MATC on one 

longitudinal rod and a multi-axial angle MATC on the other allows fo 

compression/distraction to be applied to the transverse rod, thus 

allowing a corrective procedures to be performed
SU217
PLUS Spinal Fixation System - Multi-Axial Pedicle Screws
Titanium, multi-axial (variable angle) pedicle screws for attachment to
Diameter 4.5mm, Length 20mm-45mm         Diameter 5.5mm, 

 PLUS 6mm diameter rods to form a multi-level spinal fixation 
Length 20mm-50mm           Diameter 6.5mm, Length 25mm-60mm    

       Diameter 7.5mm, Length 25mm-90mm              Diameter 8.5mm,

 Length 30mm-90mm
SU218
PLUS Spinal Fixation System - Sacral Connectors
Titanium connectors designed for the fixation of the distal end of PLUS
left and right

 6mm rods to PLUS bone screws placed into the sacrum
SU219
PLUS Spinal Fixation System -Hooks
Titanium hooks of varying styles that are applied to the spina pedicles 
Pedicle Regular, Pedicle Small, Laminar Regular, Laminar Narrow, 

and lamina and then attached to longitudinal PLUS system rods via 
Laminar Angled, Laminar Tall, Laminar Small, Laminar Regular 

PLUS system clips that fix the hooks to the rods
Oblique, Laminar Narrow Oblique, Laminar Open Offset.
New Products for Prostheses List Report
Page 31 of 36
Billing Code
Product Name
Further Description
Size
SU220
PLUS Spinal Fixation System - Set Screws
Titanium set screws used to secure PLUS system clips to PLUS system
Regular, Spherical

 pedicle screws and hooks and to tighten PLUS system connectors 

against 6mm rods. All clips and connectors are supplied with set screws

 pre-loaded. Separate set screws are only required for situations where 

a pre-loaded set screw is dropped etc during surgery
SU221
Newdeal Surfix Style Screws
Titanium bone screw +locking screw for the fixation of specific 
Diameter 3.5mm, Length 10-50mm; Diameter 4.5mm, length 14-

Newdeal bone plates
65mm; Diameter 6.5, length 20-100mm
SU222
Qwix Screw
Self drilling, self tapping, cannulated, titanium lag screws for extremity
Diameter 3.0mm and 4.3mm, length 10mm-60mm

 fixation of osteotomies and fractures
Surgical Synergies Pty Ltd
General/Miscellaneous
SS007
Painbuster C bloc
Continuous Nerve Block kit -provides continual flow of local anaesthetic
400ml

 near a nerve
SS008
Painbuster C Bloc
Continuous Nerve Block Kit -provides continual flow of local 
400-600ml

anaesthetic near a nerve, with options of variable flow rate, bolus or 

dual flow.
Surgiplas Medical
Orthopaedic
SP050
The Radius Plating System - Screws
The Radius System - 2.7-3.0mm diameter Locking anchor, cancellous, 
2.7-3.0mm diameter screws, 8-38mm length.

bone screws.
SP051
CONTOUR Hand Screws
Screws
1.2, 1.7 and 2.3mm in diameter screws ranging between 4 and 24 mm 

in length.
SP052
CONTOUR Hand
Contour Hand - Plates
XS / S / M / L; straight plate 4-16 hole; Z plate, Y plate, T plate, L plate 

5-9 hole; Straight plate, T plate with stabilizers 5-6 hole; Square, Grid-

rectangular plate 4-8 hole; Straight, T, Y Compression Plate 4-7 hole; 

Condylar plate w/out stabilizer 5-6 hole.
SP053
The Radius Plating System - Locking Plates
Distal radius plate system
Fracture plates volar and dorsal 2.0mm thickness, left and right of short 

and long.
SP054
ExtremiFix Screws
Headless Cannulated Compression Screw
Diameter 2.0mm, 2.4mm, 3.0mm, 4.0mm. Length 10mm to 52mm.
Synthes Australia Pty Ltd
Neurosurgical
SY429
Vertecem Vertebral Augmentation Kit
Vertecem Cement, Closed Mixing System, Delivery System, 
21gm

Viscosafe Percutaneous Administration Kit
Orthopaedic
SY418
Distraction Osteogenesis Ring System
Bolt-connecting, clamp, eye, wire offset, wire slotted, MRI safe.
One size
SY419
Distraction Osteogenesis Ring System
Spherical/Spacing Washer; Nut-Speed, Square, Hexagonal, Standoff; 
1mm-50mm

MRI Safe
SY420
Distraction Osteogenesis Ring System
Wire Post MRI Safe
Short, Long
SY421
Distraction Osteogenesis Ring System
Threaded Rod, MRI Safe
250mm-350mm
SY422
Distraction Osteogenesis Ring System
Femoral Arch Plate, Titanium
90mm-120mm, 180mm-240mm
New Products for Prostheses List Report
Page 32 of 36
Billing Code
Product Name
Further Description
Size
SY423
Distraction Osteogenesis Ring System
Femoral Arch Plate, Carbon Fibre
90mm-120mm, 180mm-240mm
SY424
Distraction Osteogenesis Ring System
Half,5/8 Ring, MRI Safe, Titanium
80mm-240mm Diameter
SY425
Distraction Osteogenesis Ring System
Full Ring, MRI safe, Titanium
140mm-200mm Diameter
SY426
Distraction Osteogenesis Ring System
Half, 5/8 ring, carbon fibre
100mm-200mm Diameter
SY427
Distraction Osteogenesis Ring System
Foot Plates, Carbon Fibre
100mm-180mm
SY428
Distraction Osteogenesis Ring System
Locking Hinge, MRI safe
One Size
SY430
Epoca Custom Offset Shoulder Prosthesis
Epoca Stem
6 - 14mm, Length: 115 - 215mm
SY431
Epoca Custom Offset Shoulder Prosthesis
Epoca ZF Cementless Stem
6 - 14mm, Length: 115 - 135mm
SY432
Epoca Custom Offset Shoulder Prosthesis
Epoca Head
40 - 54mm, Height: 15 - 20.25mm
SY433
Epoca Custom Offset Shoulder Prosthesis
Epoca Eccenter
One size only
SY434
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid
40mm - 54mm
SY435
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid Shell Screw
10; 15; 20mm
SY436
Epoca Custom Offset Shoulder Prosthesis
Epoca Reco Glenoid
42 - 52mm
SY437
Epoca Custom Offset Shoulder Prosthesis
Epoca Glenoid Insert
42 - 54mm
SY438
Epoca Resurfacing Head
The humeral head surface replacement is designed to replace the 
Diameter 40 - 54mm

humeral articulating surface and is chrome cobalt with hydroxyapatite 

coating underneath
Taylor Bryant Pty Ltd
Neurosurgical
TB382
Signus Anterior Cervical Plate - Bone Screws
Provides stability in patients undergoing anterior cervical spine fusion 
4.0 & 4.5mm diameter x 12-16mm length

procedures. It consists of a pre-contoured titanium plate, secured onto 

the spinal vertebrae by either fixed or variable angle colour coded 

screws. These screws have an integral locking mechanism and 

expanding thread design
TB383
Signus Anterior Cervical Plate - Two level
Provides stability in patients undergoing anterior cervical spine fusion 
38mm-54mm lengths in 2mm increments

procedures. It consists of a pre-contoured titanium plate, secured ont 

the spinal vertebrae by either fixed or variable angle colour coded 

screws. These screws have an intergral locking mechanism and 

expanding thread design
TB384
Signus Anterior Cervical Plate - Three Level
Provides stability in patients undergoing anterior cervical spine fusion 
50mm - 71mm in 3mm increments

procedures. It consists of a pre-contoured titanium plate, secured onto 

the spinal vertebrae by either fixed or variable angle colour coded 

screws. These screws have an integral locking mechanism and 

expanding thread design.
TB385
Signus Anterior Cervical Plate - Four Level
Provide stability in patients undergoing anterior cervical spine fusion 
68mm - 100mm in 4mm increments

procedures. It consists of a pre-contoured titanium plate, secured onto 

the spinal vertebrae by either fixed or variable angle colour coded 

screws. These screws have an integral locking mechanism and 

expanding thread design.
TB386
Blackstone Medical ACP - 3 Level
Titanium Alloy Anterior Cervical Plate - 3 Level
54mm - 68mm in 2mm increments. 70mm - 90mm in 4mm 
TB387
Blackstone Medical ACP - 2 level
Titanium Alloy Anterior Cervical plate 2 level
38mm - 54mm in 2mm increments
New Products for Prostheses List Report
Page 33 of 36
Billing Code
Product Name
Further Description
Size
TB388
Blackstone Medical ACP - 1 level
Titanium Alloy Anterior Cervical Plate
20mm - 36mm in 2mm increments
TB389
Signus Athlet VBR System - Main Body
Peek Vertebral Body Replacement System (Main body)
12, 18, 24, 30, 36 and 42mm lengths
TB392
Signus Anterior Cervical Plate - One Level
Provides stability in patients undergoing anterior cervical spine fusion 
22mm to 36mm in 2mm increments

procedures. It consists of a pre-contoured titanium plate, secured onto 

the spinal vertebrae by either fixed or variable angle colour coded 

screws. These screws have an integral locking mechanism and 

expanding thread design.
TB393
Blackstone Construx Mini PEEK VBR System
The Construx Mini is an anterior Cervical Interbody PEEK Cage
12mm x 12mm 5 degrees lordotic. 5mm-12mm in 1mm increments. 

12mm x 12mm, Parallel. 5mm - 12mm in 1mm increments. 15mm x 

12mm, 5 degrees lordotic. 5mm - 12mm in 1mm increments. 15mm x

 12mm, Parallel. 5mm-12mm in 1mm increments
TB394
Blackstone Medical Pillar AL
Anterior Lumbar Interbody Fusion PEEK cage
26mm x 20mm, 7 degrees (lordotic). 8-20mm height in 2mm 

increments. 30mm x 24mm, 0 degrees (parallel). 8mm 18mm height 

in 2mm increments. 30mm x 24mm, 7 degrees (lorotic). 10-22mm 

height in 2mm increments. 30mm x 24mm, 12 degrees (lordotic). 12-

24mm height in 2mm increments. 34mm x 28mm, 12 degrees 

(lordotic). 12-24mm height in 2mm increments
TB395
Blackstone Medical Pillar PL
Posterior Lumbar Interbody Fusion PEEK Cage
9mm x 23mm, 0 degrees (parallel). 8mm - 16mm height in 1mm 

increments. 9mm x 23mm, 8 degrees (lordotic). 8mm-16mm height in

 1mm increments
TB396
Blackstone Medical Pillar TL
Transforaminal Lumbar Interbody Fusion PEEK cage
9mm x 27mm, 0 degrees (parallel). 8mm -16mm height in 1mm 

increments. 9mm x 27mm, 8 degrees (lordotic). 8mm -16mm height 

in 1mm increments
TB397
Signus Athlet VBR System - End Body
Peek Vertebral Body Replacement System (End body)
4, 6, 8mm heights
TB398
Blackstone Medical ACP Bone Screw
Titanium Alloy Bone Screw
4.1mm x 10mm - 18mm. 4.5mm x 10mm - 18mm
Orthopaedic
TB390
Artelon
Co-polymer biomaterial built on well known chemical components 
Standard & Large

(PUUR) - Polycaprolactone & Urethrane Urea
TB399
Delta Modular head
Biolox Delta ceramic femoral ball head
>36mm
TB400
Ulnar Head Implants
UlnarHead CoCr
1,2,3,4
TB401
Ulnar Head Implants
Ulnar Stem CoCr
1,2,3,4
TB402
Radial Head Implants
Radial Head
2,3,4,4N
TB403
Radial Head Implants
Radial Stem
2,3,4,4N
Tornier Pty Ltd
Orthopaedic
TO030
Aequalis Humeral Plate
Proximal Humeral Plate
90mm length with 3-holes shaft and 120mm length with 5-hole shaft
TO031
Aequalis Resurfacing Shoulder
Resurfacing humeral head
12 head sizes from 37mm x 13.5mm to 54mm x 27mm, 3 stem 

lengths: 30, 35 and 40mm
TO032
Aequalis Humeral Plate Screws
Proximal humeral plate screws (Cancellous self-tapping locking 
Proximal locking screws: 4mm, cortical self tapping locking screws: 20 

screws, Cortical self-tapping locking screws or Cortical Self-tapping 
to 60mm length; proxmial inferior locking screws: 3.5mm, cortical self 

compression screws)
tapping locking screws: 10 to 40mm length; distal compression screws: 

3.5mm, cortical self-tapping compression and locking screws: 10 to 

50mm length
New Products for Prostheses List Report
Page 34 of 36
Billing Code
Product Name
Further Description
Size
TO033
HLS Noetos Tibial Baseplate, mobile
Tibial Baseplate/Tray, Cemented, Mobile Bearing, CoCr
Size 1 to 6
TO034
HLS Noetos Tibial Baseplate, Fixed
Tibial Baseplate/Tray, Cemented, Fixed Bearing, CoCr
Size 1 to 6
TO035
HLS Noetos Tibial insert, mobile
Tibial Insert, Mobile, UHMWPE, Posterior Stabilised
1 to 6, 9, 11 & 13mm
TO036
HLS Noetos Tibial insert, fixed
Tibial Insert, fixed, UHMWPE, posterior stabilised
1 to 6, 9, 11 & 13mm
William A Cook Australia Pty Ltd
Urogenital
WC236
Paterson-Forrester Subcutaneous Urinary Diversion Stent
Subcutaneous Urinary Diversion Stent
Stent 8.5 French, 65cm long
WC237
Radiance Ureteric Stent Set
Synthetic Thermosensitive Ureteral Stent Set with Heparin Coating
Multiple French Sizes and Lengths
Vascular
WC238
Zenith Thoracic Endovascular Graft
Thoracic Proximal Grft
22mm to 42mm diameter, 115mm to 179mm Length
WC239
Zenith Thoracic Endovascular Graft
Thoracic Proximal Grft
22mm to 42mm diameter, 180mm to 216mm Length
WC240
Zenith Thoracic Endovascular Graft
Thoracic Distal Graft
26mm to 42mm diameter, 127mm to 179mm Length
WC241
Zenith Thoracic Endovascular Graft
Thoracic Distal Graft
26mm to 42mm diameter, 180mm to 207mm Length
Zimmer Pty Ltd
Orthopaedic
ZI560
Nexgen complete knee solution
Rotating hinge knee cement shield servicing kit
B, C, D, E & F
ZI561
Trabecular Metal Acetabular Revision System
Cemented Constrained Liner
50x28mm; 52x28mm; 54x32mm; 56x32mm; 58x36mm; 60x36mm; 

66/68/70x36mm; 72/74x36mm; 76/78/80x36mm
ZI562
ANATOMICAL SHOULDER
ANATOMICAL REMOVABLE HEAD
D40 H14; D42 H15; D44 H16; D46 H16; D48 H17; D50 H18; D52 H19;

 D48 H20; D50 H21; D52 H23.
ZI563
Zimmer Gender Solutions Patellofemoral Joint System
Patellofemoral joint fem implant PMMA precoat
Sizes 1 - 5 - Left & Right
ZI564
ANATOMICAL SHOULDER
ANATOMICAL INVERSE/REVERSE GLENOID HEAD
36mm; 40mm
ZI565
ANATOMICAL SHOULDER
ANATOMICAL FRACTURE HUMERAL HEAD
40mm Left & Right; 44mm Left & Right; 48mm Left and Right.
ZI566
Zimmer segmental system - articulating surfaces
Segmental articulating surface
B, C, D, E & F - 12, 14, 17, 20, 23 & 26mm
ZI567
Zimmer Hip System
VerSys Endo Adaptors
+7.0mm; +10.5mm; +14.0mm
ZI568
Trilogy Acetabular System
Longevity Constrained Liner
50/52/54mmODx28mmID; 56mmODx32mmID; 

58mmODx32mmID; 60mmODx36mmID; 62mmODx36mmID; 

64mmODx36mmID; 66mmODx36ID; 68mmODx36mmID; 

70mmODx36mmID; 72mmODx36mmID; 74mmODx36mmID; 

76mmODx36mmID; 78mmODx36mmID; 80mmODx36mmID
ZI569
Nexgen Trabecular Metal Tibial Tray
Nexgen Trabecular Metal Tibial Tray
sizes 2, 3, 4, 5, 6, 7 & 8
ZI570
Zimmer segmental system - distal femoral component
Distal femoral component
B & C, left and right
ZI571
Zimmer segmental system - segmental poly insert
Segmental poly insert
B & C
ZI572
Zimmer segmental system - smooth stem collar
Segmental smooth stem collar
12-16mm & 17-19mm
ZI573
Zimmer segmental system - hinge servicing kit
Segmental femoral hinge servicing kit
B & C
ZI574
Zimmer segmental system - cemented stem
Segmental cemented stem
12-19mm x 130mm; 190mm, 250mm
New Products for Prostheses List Report
Page 35 of 36
Billing Code
Product Name
Further Description
Size
ZI575
ANATOMICAL SHOULDER
ANATOMICAL FRACTURE STEM
7-14mm x 130mm; 7mm x 170mm; 9, 11, 13mm x 200mm.
ZI576
Zimmer segmental system - segments - femoral/ tibial
fem/tib segment male-female
Male/female x 30, 40, 60, 80, 100, 120, 140, 160, 180,200, 220mm. 

Male/Male x 80, 90, 200mm.
ZI577
ANATOMICAL SHOULDER
ANATOMICAL INVERSE/REVERSE HUMERAL POLY INLAY
36mm x 0, 3 & 6mm; 40mm x 0, 3 & 6mm.
ZI578
ANATOMICAL SHOULDER
ANATOMICAL INVERSE/REVERSE GLENOID FIXATION
One size only.
ZI579
ANATOMICAL SHOULDER
ANATOMICAL CEMENTED HUMERAL STEM
7 x 100mm; 9 x 110mm; 12 x 110mm; 7 x 200mm; 9 x 210mm; 14 x 

210mm
ZI580
ANATOMICAL SHOULDER
ANATOMICAL INVERSE/REVERSE HUMERAL CUP
Zero degree Retro; Zero degree Retro +6; +10 degree Retro; –10 

degree Retro; +20 degree Retro; -20 degree Retro;9mm 0 degree 

Retro; 9mm 0 degree Retro +6.
ZI581
ANATOMICAL SHOULDER
ANATOMICAL PEGGED GLENOID
Small, Medium and Large
ZI582
ANATOMICAL SHOULDER
ANATOMICAL PRESS-FIT HUMERAL STEM
7 x 100mm, 9 x 110mm, 10.5 x 110mm, 12 x 110mm, 14 x 110mm
ZI583
Zimmer segmental system - TM stem collar
Segmental TM stem collar
12-16mm, 25mm: 12-16mm, 30mm: 12-16mm, 35mm; 17-19mm, 

30mm; 17-19mm, 35mm
ZI584
NexGen Prolong Flex Articulating Surface
Highly Crosslinked - Ultra High Molecular Weight Polyethylene - 
Sizes 1 to 10, 9mm to 23mm

Fixed Bearing - CR
ZI585
NexGen Prolong Flex Articulating Surface
Highly Crosslinked - Ultra High Molecular Weight Polyethylene - 
Sizes 1 to 10, 9mm to 23mm

Mobile Bearing - CR
ZI586
NexGen Prolong Flex Articulating Surface
Highly Crosslinked - Ultra high Molecular Weight Polyethylene - Fixed
Sizes 1 to 10, 9mm to 23mm

 Bearing - LPS
ZI587
NexGen Prolong Flex Articulating Surface
Highly Crosslinked - Ultra high Molecular Weight Polyethylene - 
Sizes 1 to 10, 9mm to 23mm

Mobile Bearing - LPS
ZI588
NexGen LPS Flex Femoral Component - PreCoat
Cobalt Chrome, High Flex, cemented, PMMA coating, posterior 
Sizes A to G, Left to Right

stabilised
ZI589
NexGen LPS Flex GSF Femoral Components - Option
Cobalt Chrome, High Flex, cemented, posterior stabilised
Sizes GSF C to G, Left to Right
ZI590
NexGen CR Flex Femoral Components - Precoat
Cobalt Chrome, High Flex, Precoat cemented, Cruciate retaining
Sizes A to G, Left to Right, GSF C to G Left to Right
ZI591
NexGen CR Flex Femoral Components - Uncemented
Cobalt Chrome, High Flex, Uncemented, Cruciate retaining
Sizes A to G, Left to Right, GSF C to G Left to Right
ZI592
NexGen LPS Flex Femoral Components - Uncemented
Cobalt Chrome, High Flex, Uncemented, Posterior stabilised
Sizes A to G, Left to Right, GSF C to G Left to Right
ZI594
NexGen Knee Tibial Components Stemmed - Precoat
Precoat - Titanium
1 to 10
ZI595
NexGen Knee Tibial Components Stemmed - Option
Option - Titanium
1 to 10
Grand Total:
735 Records
New Products for Prostheses List Report
Page 36 of 36
